## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_988-8_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_988-8_0_1_node_49 | 0.4 | n |  | TRUE
2 | bus_LV_988-8_0_1_node_50 | 0.4 | n |  | TRUE
3 | bus_LV_988-8_0_1_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_988-8_0_1_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_988-8_0_1_node_1 | 0.4 | n |  | TRUE
6 | bus_LV_988-8_0_1_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_988-8_0_1_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_988-8_0_1_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_988-8_0_1_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_988-8_0_1_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_988-8_0_1_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_988-8_0_1_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_988-8_0_1_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_988-8_0_1_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_988-8_0_1_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_988-8_0_1_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_988-8_0_1_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_988-8_0_1_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_988-8_0_1_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_988-8_0_1_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_988-8_0_1_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_988-8_0_1_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_988-8_0_1_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_988-8_0_1_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_988-8_0_1_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_988-8_0_1_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_988-8_0_1_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_988-8_0_1_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_988-8_0_1_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_988-8_0_1_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_988-8_0_1_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_988-8_0_1_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_988-8_0_1_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_988-8_0_1_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_988-8_0_1_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_988-8_0_1_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_988-8_0_1_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_988-8_0_1_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_988-8_0_1_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_988-8_0_1_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_988-8_0_1_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_988-8_0_1_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_988-8_0_1_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_988-8_0_1_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_988-8_0_1_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_988-8_0_1_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_988-8_0_1_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_988-8_0_1_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_988-8_0_1_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_988-8_0_1_node_51 | 0.4 | n |  | TRUE
51 | bus_MV_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_988-8_0_1_load_0 | 0 | 0.0047296 | 0.0011853 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_988-8_0_1_load_50 | 2 | 0.0047421 | 0.0011885 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_988-8_0_1_load_23 | 3 | 0.0007953 | 0.00019932 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_988-8_0_1_load_1 | 5 | 0.00055893 | 0.00014008 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_988-8_0_1_load_2 | 6 | 0.00015991 | 4.0078e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_988-8_0_1_load_4 | 8 | 6.9319e-05 | 1.7373e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_988-8_0_1_load_7 | 11 | 0.00015025 | 3.7655e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_988-8_0_1_load_8 | 12 | 0.00026362 | 6.607e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_988-8_0_1_load_9 | 13 | 0.00018373 | 4.6047e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_988-8_0_1_load_14 | 14 | 0.00011099 | 2.7817e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_988-8_0_1_load_10 | 15 | 0.0011302 | 0.00028325 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_988-8_0_1_load_12 | 20 | 6.1047e-05 | 1.53e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_988-8_0_1_load_13 | 21 | 0.00016604 | 4.1614e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_988-8_0_1_load_17 | 24 | 5.6449e-05 | 1.4147e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_988-8_0_1_load_19 | 25 | 0.00012111 | 3.0352e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_988-8_0_1_load_18 | 26 | 0.0011751 | 0.00029451 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_988-8_0_1_load_22 | 27 | 0.00012488 | 3.1297e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_988-8_0_1_load_28 | 29 | 0.00014508 | 3.636e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_988-8_0_1_load_29 | 30 | 0.00056327 | 0.00014117 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_988-8_0_1_load_30 | 31 | 0.00079282 | 0.0001987 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_988-8_0_1_load_31 | 32 | 0.00010196 | 2.5554e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_988-8_0_1_load_32 | 33 | 0.00015289 | 3.8318e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_988-8_0_1_load_34 | 34 | 0.00064477 | 0.0001616 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_988-8_0_1_load_33 | 35 | 0.00015382 | 3.8552e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_988-8_0_1_load_35 | 36 | 0.0018958 | 0.00047514 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_988-8_0_1_load_36 | 37 | 0.0011171 | 0.00027997 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_988-8_0_1_load_37 | 38 | 0.00095757 | 0.00023999 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_988-8_0_1_load_38 | 40 | 0.00081892 | 0.00020524 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_988-8_0_1_load_39 | 41 | 0.001545 | 0.00038721 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_988-8_0_1_load_41 | 43 | 0.000551 | 0.00013809 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_988-8_0_1_load_42 | 44 | 0.0008382 | 0.00021007 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_988-8_0_1_load_45 | 47 | 0.0026554 | 0.00066551 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_988-8_0_1_load_47 | 48 | 0.0061947 | 0.0015525 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_988-8_0_1_load_51 | 50 | 0.0023795 | 0.00059637 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_988-8_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.25183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_988-8_0_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.030243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_988-8_0_1_line_2 | NAYY 4x150 SE | 2 | 27 | 0.76741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_988-8_0_1_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0061066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_988-8_0_1_line_4 | NAYY 4x150 SE | 4 | 27 | 0.018884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_988-8_0_1_line_5 | NAYY 4x150 SE | 4 | 22 | 0.028443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_988-8_0_1_line_6 | NAYY 4x150 SE | 5 | 6 | 0.038763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_988-8_0_1_line_7 | NAYY 4x150 SE | 5 | 7 | 0.022015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_988-8_0_1_line_8 | NAYY 4x150 SE | 6 | 8 | 0.013076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_988-8_0_1_line_9 | NAYY 4x150 SE | 7 | 9 | 0.017308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_988-8_0_1_line_10 | NAYY 4x150 SE | 7 | 10 | 0.023409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_988-8_0_1_line_11 | NAYY 4x150 SE | 8 | 11 | 0.0024711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_988-8_0_1_line_12 | NAYY 4x150 SE | 9 | 12 | 0.012308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_988-8_0_1_line_13 | NAYY 4x150 SE | 10 | 13 | 0.09078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_988-8_0_1_line_14 | NAYY 4x150 SE | 11 | 14 | 0.014856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_988-8_0_1_line_15 | NAYY 4x150 SE | 12 | 15 | 0.031769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_988-8_0_1_line_16 | NAYY 4x150 SE | 13 | 16 | 0.035126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_988-8_0_1_line_17 | NAYY 4x150 SE | 14 | 17 | 0.032555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_988-8_0_1_line_18 | NAYY 4x150 SE | 16 | 18 | 0.03487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_988-8_0_1_line_19 | NAYY 4x150 SE | 16 | 19 | 0.021296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_988-8_0_1_line_20 | NAYY 4x150 SE | 17 | 23 | 0.025698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_988-8_0_1_line_21 | NAYY 4x150 SE | 17 | 24 | 0.033247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_988-8_0_1_line_22 | NAYY 4x150 SE | 18 | 28 | 0.00747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_988-8_0_1_line_23 | NAYY 4x150 SE | 18 | 29 | 0.018475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_988-8_0_1_line_24 | NAYY 4x150 SE | 19 | 30 | 0.068393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_988-8_0_1_line_25 | NAYY 4x150 SE | 19 | 31 | 0.020047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_988-8_0_1_line_26 | NAYY 4x150 SE | 20 | 21 | 0.015105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_988-8_0_1_line_27 | NAYY 4x150 SE | 21 | 22 | 0.025182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_988-8_0_1_line_28 | NAYY 4x150 SE | 22 | 23 | 0.009792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_988-8_0_1_line_29 | NAYY 4x150 SE | 23 | 25 | 0.018722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_988-8_0_1_line_30 | NAYY 4x150 SE | 24 | 26 | 0.0045813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_988-8_0_1_line_31 | NAYY 4x150 SE | 28 | 32 | 0.012887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_988-8_0_1_line_32 | NAYY 4x150 SE | 28 | 33 | 0.011355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_988-8_0_1_line_33 | NAYY 4x150 SE | 30 | 34 | 0.0025327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_988-8_0_1_line_34 | NAYY 4x150 SE | 32 | 35 | 0.011822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_988-8_0_1_line_35 | NAYY 4x150 SE | 34 | 36 | 0.35455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_988-8_0_1_line_36 | NAYY 4x150 SE | 36 | 37 | 0.11189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_988-8_0_1_line_37 | NAYY 4x150 SE | 37 | 38 | 0.0083199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_988-8_0_1_line_38 | NAYY 4x150 SE | 38 | 39 | 0.022426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_988-8_0_1_line_39 | NAYY 4x150 SE | 39 | 49 | 0.016987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_988-8_0_1_line_40 | NAYY 4x150 SE | 39 | 45 | 0.051575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_988-8_0_1_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0020658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_988-8_0_1_line_42 | NAYY 4x150 SE | 40 | 42 | 0.011402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_988-8_0_1_line_43 | NAYY 4x150 SE | 41 | 43 | 0.042674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_988-8_0_1_line_44 | NAYY 4x150 SE | 42 | 44 | 0.005879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_988-8_0_1_line_45 | NAYY 4x150 SE | 42 | 45 | 0.037741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_988-8_0_1_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0046351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_988-8_0_1_line_47 | NAYY 4x150 SE | 45 | 47 | 0.015034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_988-8_0_1_line_48 | NAYY 4x150 SE | 46 | 48 | 0.018255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_988-8_0_1_line_49 | NAYY 4x150 SE | 49 | 50 | 0.02378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_988-8_0_1_trafo_32 | 0.25 MVA 20/0.4 kV | 51 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2620792.0498 | 1219542.8249 | 2621043.7022 | 1219552.3895
1 | 2620792.0498 | 1219542.8249 | 2620787.2381 | 1219540.9516 | 2620777.9621 | 1219542.031 | 2620770.897 | 1219546.6313 | 2620767.7174 | 1219553.2797
2 | 2620505.8745 | 1220274.6355 | 2620767.7174 | 1219553.2797
3 | 2620518.6719 | 1220288.4777 | 2620519.5757 | 1220282.4383
4 | 2620518.6719 | 1220288.4777 | 2620508.5378 | 1220276.8806 | 2620505.8745 | 1220274.6355
5 | 2620529.1654 | 1220314.6733 | 2620522.0854 | 1220301.8749 | 2620518.6719 | 1220288.4777
6 | 2620593.2473 | 1220430.0719 | 2620592.9217 | 1220418.8977 | 2620591.7469 | 1220409.7661 | 2620589.4074 | 1220399.5855 | 2620586.6557 | 1220392.1465
7 | 2620590.858 | 1220451.9208 | 2620592.8508 | 1220439.4427 | 2620593.2473 | 1220430.0719
8 | 2620586.6557 | 1220392.1465 | 2620582.1192 | 1220379.8828
9 | 2620590.858 | 1220451.9208 | 2620586.361 | 1220457.9977 | 2620577.2524 | 1220461.5573
10 | 2620600.9912 | 1220472.4232 | 2620594.0706 | 1220464.1056 | 2620590.858 | 1220451.9208
11 | 2620581.2619 | 1220377.5652 | 2620582.1192 | 1220379.8828
12 | 2620577.2524 | 1220461.5573 | 2620569.7829 | 1220456.1951 | 2620567.6499 | 1220453.9279
13 | 2620600.9912 | 1220472.4232 | 2620616.4599 | 1220485.6954 | 2620678.8417 | 1220518.3192
14 | 2620573.0073 | 1220365.2962 | 2620580.5378 | 1220375.6077 | 2620581.2619 | 1220377.5652
15 | 2620567.6499 | 1220453.9279 | 2620545.8814 | 1220430.7896
16 | 2620710.0684 | 1220534.403 | 2620696.1109 | 1220527.3506 | 2620678.8417 | 1220518.3192
17 | 2620553.8069 | 1220339.0055 | 2620573.0073 | 1220365.2962
18 | 2620740.6675 | 1220551.0633 | 2620736.9987 | 1220548.0044 | 2620710.0684 | 1220534.403
19 | 2620701.1024 | 1220553.7276 | 2620710.0684 | 1220534.403
20 | 2620553.8069 | 1220339.0055 | 2620550.0597 | 1220332.1998 | 2620537.4719 | 1220319.3935
21 | 2620553.8069 | 1220339.0055 | 2620534.6175 | 1220355.1711 | 2620533.2879 | 1220363.2179
22 | 2620740.6675 | 1220551.0633 | 2620746.4166 | 1220555.8527
23 | 2620740.6675 | 1220551.0633 | 2620746.9123 | 1220546.3823 | 2620757.4927 | 1220544.996
24 | 2620701.1024 | 1220553.7276 | 2620689.41 | 1220580.4693 | 2620677.6946 | 1220613.8925 | 2620677.4332 | 1220617.673
25 | 2620701.1024 | 1220553.7276 | 2620703.3094 | 1220562.6627 | 2620702.7671 | 1220573.4925
26 | 2620512.015 | 1220349.6839 | 2620516.0198 | 1220335.1193
27 | 2620529.1654 | 1220314.6733 | 2620523.8552 | 1220318.9242 | 2620518.7506 | 1220325.1881 | 2620516.0198 | 1220335.1193
28 | 2620529.1654 | 1220314.6733 | 2620534.6519 | 1220316.5266 | 2620537.4719 | 1220319.3935
29 | 2620543.4461 | 1220302.9601 | 2620544.0327 | 1220311.0779 | 2620537.4719 | 1220319.3935
30 | 2620532.5411 | 1220367.7379 | 2620533.2879 | 1220363.2179
31 | 2620746.4166 | 1220555.8527 | 2620740.8338 | 1220567.4682
32 | 2620746.4166 | 1220555.8527 | 2620751.2731 | 1220559.8942 | 2620755.0782 | 1220563.1946
33 | 2620677.2586 | 1220620.1997 | 2620677.4332 | 1220617.673
34 | 2620733.9849 | 1220576.9663 | 2620738.8895 | 1220571.5135 | 2620740.8338 | 1220567.4682
35 | 2620677.2586 | 1220620.1997 | 2620745.111 | 1220968.199
36 | 2620795.6574 | 1221068.0168 | 2620745.111 | 1220968.199
37 | 2620798.2536 | 1221075.9212 | 2620795.6574 | 1221068.0168
38 | 2620805.2515 | 1221097.2273 | 2620798.2536 | 1221075.9212
39 | 2620805.2515 | 1221097.2273 | 2620798.3604 | 1221095.9692 | 2620790.3896 | 1221101.9783
40 | 2620793.1502 | 1221145.6911 | 2620794.8917 | 1221135.7469 | 2620799.613 | 1221124.001 | 2620807.4723 | 1221099.9255 | 2620805.2515 | 1221097.2273
41 | 2620746.7308 | 1221151.3691 | 2620744.9673 | 1221150.293
42 | 2620757.0209 | 1221156.1715 | 2620750.574 | 1221153.7143 | 2620746.7308 | 1221151.3691
43 | 2620744.9673 | 1221150.293 | 2620735.4574 | 1221144.4898 | 2620719.9611 | 1221133.1961 | 2620710.7999 | 1221124.9021
44 | 2620757.0209 | 1221156.1715 | 2620754.14 | 1221161.2963
45 | 2620793.1502 | 1221145.6911 | 2620776.5205 | 1221148.3903 | 2620757.0209 | 1221156.1715
46 | 2620751.8687 | 1221165.3367 | 2620754.14 | 1221161.2963
47 | 2620793.1502 | 1221145.6911 | 2620796.2622 | 1221160.3993
48 | 2620735.576 | 1221173.6627 | 2620751.8687 | 1221165.3367
49 | 2620775.4123 | 1221120.259 | 2620788.6924 | 1221105.7523 | 2620790.3896 | 1221101.9783

## bus_geodata
| x | y | coords
0 | 2621043.7022 | 1219552.3895
1 | 2620792.0498 | 1219542.8249
2 | 2620767.7174 | 1219553.2797
3 | 2620519.5757 | 1220282.4383
4 | 2620518.6719 | 1220288.4777
5 | 2620593.2473 | 1220430.0719
6 | 2620586.6557 | 1220392.1465
7 | 2620590.858 | 1220451.9208
8 | 2620582.1192 | 1220379.8828
9 | 2620577.2524 | 1220461.5573
10 | 2620600.9912 | 1220472.4232
11 | 2620581.2619 | 1220377.5652
12 | 2620567.6499 | 1220453.9279
13 | 2620678.8417 | 1220518.3192
14 | 2620573.0073 | 1220365.2962
15 | 2620545.8814 | 1220430.7896
16 | 2620710.0684 | 1220534.403
17 | 2620553.8069 | 1220339.0055
18 | 2620740.6675 | 1220551.0633
19 | 2620701.1024 | 1220553.7276
20 | 2620512.015 | 1220349.6839
21 | 2620516.0198 | 1220335.1193
22 | 2620529.1654 | 1220314.6733
23 | 2620537.4719 | 1220319.3935
24 | 2620533.2879 | 1220363.2179
25 | 2620543.4461 | 1220302.9601
26 | 2620532.5411 | 1220367.7379
27 | 2620505.8745 | 1220274.6355
28 | 2620746.4166 | 1220555.8527
29 | 2620757.4927 | 1220544.996
30 | 2620677.4332 | 1220617.673
31 | 2620702.7671 | 1220573.4925
32 | 2620740.8338 | 1220567.4682
33 | 2620755.0782 | 1220563.1946
34 | 2620677.2586 | 1220620.1997
35 | 2620733.9849 | 1220576.9663
36 | 2620745.111 | 1220968.199
37 | 2620795.6574 | 1221068.0168
38 | 2620798.2536 | 1221075.9212
39 | 2620805.2515 | 1221097.2273
40 | 2620746.7308 | 1221151.3691
41 | 2620744.9673 | 1221150.293
42 | 2620757.0209 | 1221156.1715
43 | 2620710.7999 | 1221124.9021
44 | 2620754.14 | 1221161.2963
45 | 2620793.1502 | 1221145.6911
46 | 2620751.8687 | 1221165.3367
47 | 2620796.2622 | 1221160.3993
48 | 2620735.576 | 1221173.6627
49 | 2620790.3896 | 1221101.9783
50 | 2620775.4123 | 1221120.259
51 | 2620755.0782 | 1220563.1946

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1