## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_992-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_992-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_992-15_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_992-15_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_992-15_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_992-15_0_3_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_992-15_0_3_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_992-15_0_3_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_992-15_0_3_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_992-15_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_992-15_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_992-15_0_3_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_992-15_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_992-15_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_992-15_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_992-15_0_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_992-15_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_992-15_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_992-15_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_992-15_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_992-15_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_992-15_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_992-15_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_992-15_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_992-15_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_992-15_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_992-15_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_992-15_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_992-15_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_992-15_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_992-15_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_992-15_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_992-15_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_992-15_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_992-15_0_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_992-15_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_992-15_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_992-15_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_992-15_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_992-15_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_992-15_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_992-15_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_992-15_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_992-15_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_992-15_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_992-15_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_992-15_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_992-15_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_992-15_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_992-15_0_3_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_992-15_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_992-15_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_992-15_0_3_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_992-15_0_3_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_992-15_0_3_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_992-15_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_992-15_0_3_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_992-15_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_992-15_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_992-15_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_992-15_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_992-15_0_3_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_992-15_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_992-15_0_3_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_992-15_0_3_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_992-15_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_992-15_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_992-15_0_3_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_992-15_0_3_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_992-15_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_992-15_0_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_992-15_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_992-15_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_992-15_0_3_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_992-15_0_3_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_992-15_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_MV_346_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_992-15_0_3_load_0 | 0 | 0.017944 | 0.0044973 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_992-15_0_3_load_82 | 6 | 0.0071904 | 0.0018021 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_992-15_0_3_load_46 | 7 | 0.0038574 | 0.00096675 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_992-15_0_3_load_44 | 8 | 0.0030698 | 0.00076937 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_992-15_0_3_load_5 | 9 | 0.030482 | 0.0076395 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_992-15_0_3_load_68 | 11 | 0.004196 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_992-15_0_3_load_9 | 13 | 0.0073647 | 0.0018458 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_992-15_0_3_load_19 | 14 | 0.0022046 | 0.00055252 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_992-15_0_3_load_47 | 15 | 0.0016192 | 0.0004058 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_992-15_0_3_load_20 | 16 | 0.0014443 | 0.00036198 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_992-15_0_3_load_10 | 17 | 0.00066881 | 0.00016762 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_992-15_0_3_load_11 | 19 | 0.0013586 | 0.0003405 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_992-15_0_3_load_14 | 21 | 0.0015966 | 0.00040015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_992-15_0_3_load_15 | 22 | 0.00057038 | 0.00014295 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_992-15_0_3_load_26 | 23 | 0.00078768 | 0.00019741 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_992-15_0_3_load_22 | 24 | 0.00057191 | 0.00014334 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_992-15_0_3_load_16 | 25 | 0.0019571 | 0.0004905 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_992-15_0_3_load_27 | 27 | 0.0014802 | 0.00037098 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_992-15_0_3_load_17 | 29 | 0.001448 | 0.00036289 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_992-15_0_3_load_18 | 31 | 0.0018659 | 0.00046765 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_992-15_0_3_load_29 | 32 | 0.002627 | 0.00065838 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_992-15_0_3_load_30 | 33 | 0.0009646 | 0.00024175 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_992-15_0_3_load_39 | 34 | 0.0010399 | 0.00026063 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_992-15_0_3_load_24 | 35 | 0.0066976 | 0.0016786 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_992-15_0_3_load_36 | 37 | 0.00052174 | 0.00013076 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_992-15_0_3_load_37 | 38 | 0.0017189 | 0.00043079 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_992-15_0_3_load_28 | 39 | 0.00089524 | 0.00022437 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_992-15_0_3_load_35 | 40 | 0.0010685 | 0.0002678 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_992-15_0_3_load_33 | 41 | 0.00062693 | 0.00015712 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_992-15_0_3_load_32 | 42 | 0.00067801 | 0.00016992 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_992-15_0_3_load_40 | 45 | 0.00094891 | 0.00023782 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_992-15_0_3_load_48 | 46 | 0.0039667 | 0.00099416 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_992-15_0_3_load_59 | 50 | 0.0062406 | 0.001564 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_992-15_0_3_load_64 | 53 | 0.0031307 | 0.00078463 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_992-15_0_3_load_80 | 54 | 0.0020488 | 0.00051349 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_992-15_0_3_load_53 | 57 | 0.0028264 | 0.00070837 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_992-15_0_3_load_54 | 58 | 0.0030119 | 0.00075486 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_992-15_0_3_load_56 | 60 | 0.011959 | 0.0029971 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_992-15_0_3_load_70 | 61 | 0.0040146 | 0.0010061 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_992-15_0_3_load_75 | 63 | 0.0089823 | 0.0022512 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_992-15_0_3_load_74 | 64 | 0.0085524 | 0.0021434 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_992-15_0_3_load_63 | 65 | 0.0052267 | 0.0013099 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_992-15_0_3_load_72 | 66 | 0.0042875 | 0.0010746 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_992-15_0_3_load_83 | 68 | 0.0052145 | 0.0013069 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_992-15_0_3_load_62 | 69 | 0.013518 | 0.003388 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_992-15_0_3_load_79 | 70 | 0.0042378 | 0.0010621 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_992-15_0_3_load_66 | 71 | 0.0026402 | 0.0006617 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_992-15_0_3_load_67 | 72 | 0.0051791 | 0.001298 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_992-15_0_3_load_76 | 74 | 0.0083225 | 0.0020858 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_992-15_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.07331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_992-15_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.006121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_992-15_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.009233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_992-15_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_992-15_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.042457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_992-15_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.026352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_992-15_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.015275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_992-15_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.039493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_992-15_0_3_line_8 | NAYY 4x150 SE | 5 | 11 | 0.025501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_992-15_0_3_line_9 | NAYY 4x150 SE | 7 | 15 | 0.013896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_992-15_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.014005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_992-15_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.00836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_992-15_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.013822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_992-15_0_3_line_13 | NAYY 4x150 SE | 11 | 60 | 0.032757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_992-15_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.015688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_992-15_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.005077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_992-15_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.029162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_992-15_0_3_line_17 | NAYY 4x150 SE | 16 | 26 | 0.025077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_992-15_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.013739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_992-15_0_3_line_19 | NAYY 4x150 SE | 18 | 21 | 0.0061465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_992-15_0_3_line_20 | NAYY 4x150 SE | 18 | 22 | 0.018003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_992-15_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.020644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_992-15_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.0082612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_992-15_0_3_line_23 | NAYY 4x150 SE | 20 | 24 | 0.017383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_992-15_0_3_line_24 | NAYY 4x150 SE | 21 | 25 | 0.01097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_992-15_0_3_line_25 | NAYY 4x150 SE | 22 | 26 | 0.021718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_992-15_0_3_line_26 | NAYY 4x150 SE | 23 | 27 | 0.012781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_992-15_0_3_line_27 | NAYY 4x150 SE | 24 | 28 | 0.01543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_992-15_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.013912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_992-15_0_3_line_29 | NAYY 4x150 SE | 26 | 30 | 0.0148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_992-15_0_3_line_30 | NAYY 4x150 SE | 27 | 39 | 0.011011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_992-15_0_3_line_31 | NAYY 4x150 SE | 28 | 35 | 0.021706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_992-15_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.010893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_992-15_0_3_line_33 | NAYY 4x150 SE | 30 | 34 | 0.017915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_992-15_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.013553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_992-15_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0099292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_992-15_0_3_line_36 | NAYY 4x150 SE | 34 | 45 | 0.016107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_992-15_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.023135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_992-15_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0033863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_992-15_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.019133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_992-15_0_3_line_40 | NAYY 4x150 SE | 38 | 43 | 0.022455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_992-15_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.010554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_992-15_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0022929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_992-15_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.013435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_992-15_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.013835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_992-15_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.028089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_992-15_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.0042877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_992-15_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.052223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_992-15_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.041443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_992-15_0_3_line_49 | NAYY 4x150 SE | 48 | 50 | 0.030038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_992-15_0_3_line_50 | NAYY 4x150 SE | 49 | 54 | 0.013925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_992-15_0_3_line_51 | NAYY 4x150 SE | 49 | 55 | 0.013492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_992-15_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.037862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_992-15_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.017597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_992-15_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.032839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_992-15_0_3_line_55 | NAYY 4x150 SE | 53 | 56 | 0.014928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_992-15_0_3_line_56 | NAYY 4x150 SE | 54 | 70 | 0.0033106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_992-15_0_3_line_57 | NAYY 4x150 SE | 55 | 65 | 0.010822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_992-15_0_3_line_58 | NAYY 4x150 SE | 55 | 59 | 0.033055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_992-15_0_3_line_59 | NAYY 4x150 SE | 56 | 71 | 0.012856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_992-15_0_3_line_60 | NAYY 4x150 SE | 56 | 72 | 0.015503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_992-15_0_3_line_61 | NAYY 4x150 SE | 57 | 58 | 0.0095404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_992-15_0_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.017604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_992-15_0_3_line_63 | NAYY 4x150 SE | 58 | 60 | 0.023044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_992-15_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.043836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_992-15_0_3_line_65 | NAYY 4x150 SE | 61 | 66 | 0.006808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_992-15_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.0072823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_992-15_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.012117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_992-15_0_3_line_68 | NAYY 4x150 SE | 63 | 67 | 0.030231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_992-15_0_3_line_69 | NAYY 4x150 SE | 64 | 68 | 0.036055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_992-15_0_3_line_70 | NAYY 4x150 SE | 65 | 69 | 0.017429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_992-15_0_3_line_71 | NAYY 4x150 SE | 67 | 75 | 0.003885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_992-15_0_3_line_72 | NAYY 4x150 SE | 70 | 75 | 0.0131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_992-15_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.014041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_992-15_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.012833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_992-15_0_3_trafo_0 | 0.25 MVA 20/0.4 kV | 76 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2616309.25 | 1231012.7189 | 2616299.114 | 1231008.3552 | 2616270.5447 | 1230990.2219 | 2616261.3355 | 1230981.9808 | 2616250.8391 | 1230969.8013
1 | 2616309.25 | 1231012.7189 | 2616309.9558 | 1231006.6394
2 | 2616308.3918 | 1231021.9109 | 2616309.25 | 1231012.7189
3 | 2616309.9558 | 1231006.6394 | 2616314.5907 | 1231006.5853 | 2616322.2095 | 1231006.4839 | 2616326.2851 | 1231006.0281
4 | 2616308.3918 | 1231021.9109 | 2616306.9663 | 1231030.868 | 2616303.4051 | 1231050.9592 | 2616301.4843 | 1231063.795
5 | 2616308.3918 | 1231021.9109 | 2616316.0841 | 1231028.1579 | 2616326.7855 | 1231040.6416
6 | 2616326.2851 | 1231006.0281 | 2616325.394 | 1230990.7791
7 | 2616326.2851 | 1231006.0281 | 2616365.5564 | 1231001.8473
8 | 2616301.4843 | 1231063.795 | 2616291.9028 | 1231061.612 | 2616282.4278 | 1231059.2291 | 2616276.7919 | 1231057.4708
9 | 2616324.4186 | 1230976.9179 | 2616325.0408 | 1230984.7341 | 2616325.394 | 1230990.7791
10 | 2616313.154 | 1230964.2449 | 2616312.8428 | 1230967.2569 | 2616312.0403 | 1230978.2041
11 | 2616314.0249 | 1230955.9311 | 2616313.154 | 1230964.2449
12 | 2616313.154 | 1230964.2449 | 2616318.2842 | 1230965.8487 | 2616321.1115 | 1230967.7131 | 2616324.0158 | 1230971.8569
13 | 2616245.521 | 1231047.7146 | 2616276.7919 | 1231057.4708
14 | 2616314.0249 | 1230955.9311 | 2616315.6443 | 1230940.3266
15 | 2616324.0158 | 1230971.8569 | 2616324.4186 | 1230976.9179
16 | 2616319.9592 | 1230911.4886 | 2616315.8761 | 1230938.0921 | 2616315.6443 | 1230940.3266
17 | 2616322.5376 | 1230886.6017 | 2616322.3831 | 1230896.018 | 2616320.5103 | 1230907.8978 | 2616319.9592 | 1230911.4886
18 | 2616354.0596 | 1230910.6802 | 2616363.6123 | 1230900.8051
19 | 2616354.0596 | 1230910.6802 | 2616358.4637 | 1230914.9678
20 | 2616354.0596 | 1230910.6802 | 2616340.1815 | 1230899.2124
21 | 2616398.7136 | 1230876.8046 | 2616392.5349 | 1230870.9063 | 2616384.121 | 1230879.6042
22 | 2616398.7136 | 1230876.8046 | 2616404.6903 | 1230882.5079
23 | 2616398.7136 | 1230876.8046 | 2616404.5641 | 1230869.8721 | 2616410.0192 | 1230863.6013
24 | 2616366.3242 | 1230922.6204 | 2616358.4637 | 1230914.9678
25 | 2616322.5376 | 1230886.6017 | 2616330.3241 | 1230891.6927 | 2616334.0132 | 1230894.1154 | 2616340.1815 | 1230899.2124
26 | 2616413.9368 | 1230891.3316 | 2616404.6903 | 1230882.5079
27 | 2616420.1462 | 1230851.9598 | 2616410.0192 | 1230863.6013
28 | 2616376.2928 | 1230932.3253 | 2616366.3242 | 1230922.6204
29 | 2616322.5376 | 1230886.6017 | 2616317.9261 | 1230872.5362
30 | 2616421.9144 | 1230898.9218 | 2616414.2888 | 1230891.6675 | 2616413.9368 | 1230891.3316
31 | 2616420.1462 | 1230851.9598 | 2616404.0853 | 1230837.3579
32 | 2616384.0979 | 1230939.9239 | 2616376.2928 | 1230932.3253
33 | 2616317.9261 | 1230872.5362 | 2616324.1546 | 1230868.5508 | 2616331.6409 | 1230861.1591
34 | 2616384.0979 | 1230939.9239 | 2616393.8086 | 1230949.3778
35 | 2616400.9231 | 1230956.3041 | 2616393.8086 | 1230949.3778
36 | 2616331.6409 | 1230861.1591 | 2616333.1154 | 1230859.7033 | 2616336.5238 | 1230846.0882
37 | 2616386.9672 | 1230821.7949 | 2616404.0853 | 1230837.3579
38 | 2616386.9672 | 1230821.7949 | 2616384.4655 | 1230819.5126
39 | 2616384.4655 | 1230819.5126 | 2616384.1192 | 1230819.1966 | 2616373.6847 | 1230810.3182 | 2616368.8007 | 1230809.4313
40 | 2616346.7067 | 1230805.4191 | 2616368.8007 | 1230809.4313
41 | 2616429.5614 | 1230906.1963 | 2616421.9144 | 1230898.9218
42 | 2616431.2227 | 1230907.7767 | 2616429.5614 | 1230906.1963
43 | 2616431.2227 | 1230907.7767 | 2616440.9565 | 1230917.0365
44 | 2616346.7067 | 1230805.4191 | 2616343.3452 | 1230818.8402
45 | 2616343.3452 | 1230818.8402 | 2616336.5238 | 1230846.0882
46 | 2616080.7948 | 1230989.3404 | 2616077.9484 | 1230992.547
47 | 2616115.9266 | 1231000.5419 | 2616093.3199 | 1230975.6215 | 2616080.7948 | 1230989.3404
48 | 2616115.9266 | 1231000.5419 | 2616120.8628 | 1231003.8572 | 2616128.7264 | 1231008.4701 | 2616144.5223 | 1231014.6388 | 2616153.5039 | 1231017.487
49 | 2616115.9266 | 1231000.5419 | 2616095.9017 | 1231022.9307
50 | 2616153.5039 | 1231017.487 | 2616148.6643 | 1231030.5437
51 | 2616166.3973 | 1231021.5799 | 2616153.5039 | 1231017.487
52 | 2616070.7376 | 1231051.2172 | 2616072.5679 | 1231049.2876 | 2616084.0537 | 1231036.1773 | 2616095.9017 | 1231022.9307
53 | 2616070.7376 | 1231051.2172 | 2616059.0169 | 1231064.3713
54 | 2616059.0169 | 1231064.3713 | 2616069.075 | 1231072.4032 | 2616081.4854 | 1231078.6848 | 2616087.2737 | 1231080.4735
55 | 2616101.8538 | 1231082.5977 | 2616094.6969 | 1231082.7673 | 2616087.2737 | 1231080.4735
56 | 2616147.5137 | 1231033.6479 | 2616148.6643 | 1231030.5437
57 | 2616166.3973 | 1231021.5799 | 2616169.7271 | 1231011.2828
58 | 2616166.3973 | 1231021.5799 | 2616197.8274 | 1231032.0937
59 | 2616101.8538 | 1231082.5977 | 2616109.7189 | 1231072.4288
60 | 2616101.8538 | 1231082.5977 | 2616116.6357 | 1231087.2697
61 | 2616214.5212 | 1231037.6812 | 2616223.5683 | 1231040.7094
62 | 2616197.8274 | 1231032.0937 | 2616214.5212 | 1231037.6812
63 | 2616245.521 | 1231047.7146 | 2616230.4452 | 1231043.0111 | 2616223.5683 | 1231040.7094
64 | 2616245.521 | 1231047.7146 | 2616234.9994 | 1231090.2686
65 | 2616228.4435 | 1231088.433 | 2616234.9994 | 1231090.2686
66 | 2616181.5085 | 1231059.5993 | 2616174.5341 | 1231057.5042
67 | 2616181.5085 | 1231059.5993 | 2616178.2291 | 1231071.2638
68 | 2616145.581 | 1231048.8066 | 2616174.5341 | 1231057.5042
69 | 2616178.2291 | 1231071.2638 | 2616178.1984 | 1231107.319
70 | 2616185.8929 | 1231014.0952 | 2616172.4809 | 1231009.5336 | 2616169.7271 | 1231011.2828 | 2616169.7271 | 1231011.2828
71 | 2616142.9609 | 1231045.9311 | 2616145.581 | 1231048.8066
72 | 2616142.9609 | 1231045.9311 | 2616147.5137 | 1231033.6479
73 | 2616130.024 | 1231091.5013 | 2616116.6357 | 1231087.2697
74 | 2616130.024 | 1231091.5013 | 2616142.3617 | 1231095.0331

## bus_geodata
| x | y | coords
0 | 2616250.8391 | 1230969.8013
1 | 2616309.25 | 1231012.7189
2 | 2616309.9558 | 1231006.6394
3 | 2616308.3918 | 1231021.9109
4 | 2616326.2851 | 1231006.0281
5 | 2616301.4843 | 1231063.795
6 | 2616326.7855 | 1231040.6416
7 | 2616325.394 | 1230990.7791
8 | 2616365.5564 | 1231001.8473
9 | 2616312.0403 | 1230978.2041
10 | 2616313.154 | 1230964.2449
11 | 2616276.7919 | 1231057.4708
12 | 2616314.0249 | 1230955.9311
13 | 2616324.0158 | 1230971.8569
14 | 2616315.6443 | 1230940.3266
15 | 2616324.4186 | 1230976.9179
16 | 2616319.9592 | 1230911.4886
17 | 2616363.6123 | 1230900.8051
18 | 2616354.0596 | 1230910.6802
19 | 2616384.121 | 1230879.6042
20 | 2616398.7136 | 1230876.8046
21 | 2616358.4637 | 1230914.9678
22 | 2616340.1815 | 1230899.2124
23 | 2616404.6903 | 1230882.5079
24 | 2616410.0192 | 1230863.6013
25 | 2616366.3242 | 1230922.6204
26 | 2616322.5376 | 1230886.6017
27 | 2616413.9368 | 1230891.3316
28 | 2616420.1462 | 1230851.9598
29 | 2616376.2928 | 1230932.3253
30 | 2616317.9261 | 1230872.5362
31 | 2616384.0979 | 1230939.9239
32 | 2616393.8086 | 1230949.3778
33 | 2616400.9231 | 1230956.3041
34 | 2616331.6409 | 1230861.1591
35 | 2616404.0853 | 1230837.3579
36 | 2616386.9672 | 1230821.7949
37 | 2616384.4655 | 1230819.5126
38 | 2616368.8007 | 1230809.4313
39 | 2616421.9144 | 1230898.9218
40 | 2616429.5614 | 1230906.1963
41 | 2616431.2227 | 1230907.7767
42 | 2616440.9565 | 1230917.0365
43 | 2616346.7067 | 1230805.4191
44 | 2616343.3452 | 1230818.8402
45 | 2616336.5238 | 1230846.0882
46 | 2616077.9484 | 1230992.547
47 | 2616080.7948 | 1230989.3404
48 | 2616115.9266 | 1231000.5419
49 | 2616153.5039 | 1231017.487
50 | 2616095.9017 | 1231022.9307
51 | 2616059.0169 | 1231064.3713
52 | 2616070.7376 | 1231051.2172
53 | 2616087.2737 | 1231080.4735
54 | 2616148.6643 | 1231030.5437
55 | 2616166.3973 | 1231021.5799
56 | 2616101.8538 | 1231082.5977
57 | 2616214.5212 | 1231037.6812
58 | 2616223.5683 | 1231040.7094
59 | 2616197.8274 | 1231032.0937
60 | 2616245.521 | 1231047.7146
61 | 2616234.9994 | 1231090.2686
62 | 2616181.5085 | 1231059.5993
63 | 2616174.5341 | 1231057.5042
64 | 2616178.2291 | 1231071.2639
65 | 2616169.7271 | 1231011.2828
66 | 2616228.4435 | 1231088.433
67 | 2616145.581 | 1231048.8066
68 | 2616178.1984 | 1231107.319
69 | 2616185.8929 | 1231014.0952
70 | 2616147.5137 | 1231033.6479
71 | 2616109.7189 | 1231072.4288
72 | 2616116.6357 | 1231087.2697
73 | 2616130.024 | 1231091.5013
74 | 2616142.3617 | 1231095.0331
75 | 2616142.9609 | 1231045.9311
76 | 2616309.25 | 1231012.7189

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1