## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_992-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_992-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_992-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_992-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_992-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_992-16_0_4_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_992-16_0_4_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_992-16_0_4_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_992-16_0_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_992-16_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_992-16_0_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_992-16_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_992-16_0_4_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_992-16_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_992-16_0_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_992-16_0_4_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_992-16_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_992-16_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_992-16_0_4_node_5 | 0.4 | n |  | TRUE
19 | bus_LV_992-16_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_992-16_0_4_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_992-16_0_4_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_992-16_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_992-16_0_4_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_992-16_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_992-16_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_992-16_0_4_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_992-16_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_992-16_0_4_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_992-16_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_992-16_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_992-16_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_992-16_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_992-16_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_992-16_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_992-16_0_4_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_992-16_0_4_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_992-16_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_992-16_0_4_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_992-16_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_992-16_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_992-16_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_992-16_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_992-16_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_992-16_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_992-16_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_992-16_0_4_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_992-16_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_992-16_0_4_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_992-16_0_4_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_992-16_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_992-16_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_992-16_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_992-16_0_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_992-16_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_992-16_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_992-16_0_4_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_992-16_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_992-16_0_4_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_992-16_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_992-16_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_992-16_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_992-16_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_992-16_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_992-16_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_992-16_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_992-16_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_992-16_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_992-16_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_992-16_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_992-16_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_992-16_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_992-16_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_992-16_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_992-16_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_MV_346_0_node_208 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_992-16_0_4_load_0 | 0 | 0.0063865 | 0.0016006 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_992-16_0_4_load_1 | 1 | 0.0038502 | 0.00096494 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_992-16_0_4_load_2 | 2 | 0.0046482 | 0.001165 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_992-16_0_4_load_4 | 4 | 0.0036411 | 0.00091256 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_992-16_0_4_load_41 | 6 | 0.0017395 | 0.00043597 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_992-16_0_4_load_42 | 7 | 0.00126 | 0.00031579 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_992-16_0_4_load_38 | 8 | 0.003281 | 0.00082228 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_992-16_0_4_load_27 | 9 | 0.0030149 | 0.0007556 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_992-16_0_4_load_28 | 10 | 0.0030213 | 0.0007572 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_992-16_0_4_load_19 | 11 | 0.0026599 | 0.00066663 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_992-16_0_4_load_47 | 12 | 0.0011506 | 0.00028837 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_992-16_0_4_load_54 | 14 | 0.0041613 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_992-16_0_4_load_17 | 16 | 0.0022182 | 0.00055593 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_992-16_0_4_load_48 | 17 | 0.00079147 | 0.00019836 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_992-16_0_4_load_5 | 18 | 0.0079796 | 0.0019999 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_992-16_0_4_load_6 | 20 | 0.004528 | 0.0011348 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_992-16_0_4_load_8 | 21 | 0.0087495 | 0.0021928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_992-16_0_4_load_37 | 23 | 0.0016037 | 0.00040193 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_992-16_0_4_load_13 | 25 | 0.01075 | 0.0026941 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_992-16_0_4_load_10 | 26 | 0.0019974 | 0.00050059 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_992-16_0_4_load_11 | 27 | 0.0022526 | 0.00056455 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_992-16_0_4_load_12 | 28 | 0.0023037 | 0.00057736 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_992-16_0_4_load_33 | 31 | 0.0014546 | 0.00036456 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_992-16_0_4_load_15 | 32 | 0.011195 | 0.0028056 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_992-16_0_4_load_74 | 35 | 0.0028884 | 0.00072389 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_992-16_0_4_load_73 | 36 | 0.001885 | 0.00047242 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_992-16_0_4_load_60 | 37 | 0.0046826 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_992-16_0_4_load_59 | 38 | 0.0011028 | 0.00027638 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_992-16_0_4_load_20 | 39 | 0.0015133 | 0.00037927 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_992-16_0_4_load_23 | 42 | 0.0014312 | 0.00035868 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_992-16_0_4_load_24 | 43 | 0.0026805 | 0.00067179 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_992-16_0_4_load_25 | 44 | 0.0023054 | 0.00057778 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_992-16_0_4_load_26 | 45 | 0.0017548 | 0.00043978 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_992-16_0_4_load_63 | 46 | 0.0019357 | 0.00048514 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_992-16_0_4_load_72 | 48 | 0.0018106 | 0.00045378 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_992-16_0_4_load_71 | 49 | 0.0017373 | 0.0004354 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_992-16_0_4_load_31 | 50 | 0.0015645 | 0.0003921 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_992-16_0_4_load_52 | 51 | 0.00099033 | 0.0002482 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_992-16_0_4_load_61 | 52 | 0.0015259 | 0.00038243 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_992-16_0_4_load_62 | 53 | 0.0013878 | 0.00034781 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_992-16_0_4_load_49 | 54 | 0.00079571 | 0.00019942 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_992-16_0_4_load_43 | 57 | 0.0015834 | 0.00039683 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_992-16_0_4_load_70 | 58 | 0.0024075 | 0.00060337 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_992-16_0_4_load_34 | 59 | 0.0030295 | 0.00075926 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_992-16_0_4_load_35 | 60 | 0.0020233 | 0.00050709 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_992-16_0_4_load_36 | 61 | 0.0018738 | 0.00046963 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_992-16_0_4_load_56 | 62 | 0.001684 | 0.00042205 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_992-16_0_4_load_55 | 63 | 0.0014088 | 0.00035308 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_992-16_0_4_load_44 | 64 | 0.0018854 | 0.00047254 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_992-16_0_4_load_46 | 65 | 0.0016565 | 0.00041517 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_992-16_0_4_load_50 | 66 | 0.0024218 | 0.00060697 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_992-16_0_4_load_51 | 67 | 0.0019879 | 0.00049823 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_992-16_0_4_load_53 | 68 | 0.0034368 | 0.00086135 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_992-16_0_4_load_68 | 71 | 0.0019124 | 0.00047929 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_992-16_0_4_load_67 | 72 | 0.0024113 | 0.00060433 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_992-16_0_4_load_65 | 73 | 0.0027534 | 0.00069006 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_992-16_0_4_load_66 | 74 | 0.0016808 | 0.00042124 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_992-16_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_992-16_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0057628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_992-16_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_992-16_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_992-16_0_4_line_4 | NAYY 4x150 SE | 3 | 9 | 0.02391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_992-16_0_4_line_5 | NAYY 4x150 SE | 3 | 10 | 0.011073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_992-16_0_4_line_6 | NAYY 4x150 SE | 3 | 11 | 0.02161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_992-16_0_4_line_7 | NAYY 4x150 SE | 4 | 13 | 0.0049324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_992-16_0_4_line_8 | NAYY 4x150 SE | 5 | 6 | 0.025105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_992-16_0_4_line_9 | NAYY 4x150 SE | 5 | 7 | 0.036732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_992-16_0_4_line_10 | NAYY 4x150 SE | 5 | 8 | 0.021024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_992-16_0_4_line_11 | NAYY 4x150 SE | 6 | 12 | 0.02507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_992-16_0_4_line_12 | NAYY 4x150 SE | 7 | 62 | 0.00016459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_992-16_0_4_line_13 | NAYY 4x150 SE | 8 | 19 | 0.03533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_992-16_0_4_line_14 | NAYY 4x150 SE | 9 | 14 | 0.0092243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_992-16_0_4_line_15 | NAYY 4x150 SE | 10 | 15 | 0.027641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_992-16_0_4_line_16 | NAYY 4x150 SE | 11 | 16 | 0.013338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_992-16_0_4_line_17 | NAYY 4x150 SE | 12 | 17 | 0.022881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_992-16_0_4_line_18 | NAYY 4x150 SE | 13 | 18 | 0.0209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_992-16_0_4_line_19 | NAYY 4x150 SE | 14 | 51 | 0.014224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_992-16_0_4_line_20 | NAYY 4x150 SE | 15 | 17 | 0.015129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_992-16_0_4_line_21 | NAYY 4x150 SE | 16 | 33 | 0.028831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_992-16_0_4_line_22 | NAYY 4x150 SE | 17 | 54 | 0.0078451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_992-16_0_4_line_23 | NAYY 4x150 SE | 18 | 20 | 0.010784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_992-16_0_4_line_24 | NAYY 4x150 SE | 19 | 23 | 0.016794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_992-16_0_4_line_25 | NAYY 4x150 SE | 20 | 21 | 0.013249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_992-16_0_4_line_26 | NAYY 4x150 SE | 21 | 22 | 0.015351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_992-16_0_4_line_27 | NAYY 4x150 SE | 22 | 24 | 0.030623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_992-16_0_4_line_28 | NAYY 4x150 SE | 23 | 61 | 0.026801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_992-16_0_4_line_29 | NAYY 4x150 SE | 24 | 25 | 0.025998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_992-16_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.00050101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_992-16_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.022814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_992-16_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.016236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_992-16_0_4_line_33 | NAYY 4x150 SE | 29 | 30 | 0.033717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_992-16_0_4_line_34 | NAYY 4x150 SE | 29 | 31 | 0.017922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_992-16_0_4_line_35 | NAYY 4x150 SE | 30 | 55 | 0.024908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_992-16_0_4_line_36 | NAYY 4x150 SE | 30 | 46 | 0.034367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_992-16_0_4_line_37 | NAYY 4x150 SE | 31 | 56 | 0.0041494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_992-16_0_4_line_38 | NAYY 4x150 SE | 32 | 33 | 0.0065826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_992-16_0_4_line_39 | NAYY 4x150 SE | 33 | 34 | 0.002134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_992-16_0_4_line_40 | NAYY 4x150 SE | 34 | 35 | 0.019441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_992-16_0_4_line_41 | NAYY 4x150 SE | 35 | 36 | 0.016339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_992-16_0_4_line_42 | NAYY 4x150 SE | 36 | 49 | 0.01818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_992-16_0_4_line_43 | NAYY 4x150 SE | 37 | 38 | 0.0034807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_992-16_0_4_line_44 | NAYY 4x150 SE | 38 | 42 | 0.031782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_992-16_0_4_line_45 | NAYY 4x150 SE | 39 | 40 | 0.024158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_992-16_0_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.0038807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_992-16_0_4_line_47 | NAYY 4x150 SE | 40 | 42 | 0.024716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_992-16_0_4_line_48 | NAYY 4x150 SE | 40 | 43 | 0.0032307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_992-16_0_4_line_49 | NAYY 4x150 SE | 41 | 44 | 0.01424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_992-16_0_4_line_50 | NAYY 4x150 SE | 41 | 45 | 0.028371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_992-16_0_4_line_51 | NAYY 4x150 SE | 43 | 46 | 0.034845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_992-16_0_4_line_52 | NAYY 4x150 SE | 45 | 47 | 0.010818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_992-16_0_4_line_53 | NAYY 4x150 SE | 47 | 50 | 0.011232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_992-16_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.021038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_992-16_0_4_line_55 | NAYY 4x150 SE | 51 | 66 | 0.0017116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_992-16_0_4_line_56 | NAYY 4x150 SE | 52 | 53 | 0.019625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_992-16_0_4_line_57 | NAYY 4x150 SE | 52 | 54 | 0.010575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_992-16_0_4_line_58 | NAYY 4x150 SE | 53 | 65 | 0.022815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_992-16_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.01218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_992-16_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.015485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_992-16_0_4_line_61 | NAYY 4x150 SE | 57 | 64 | 0.029096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_992-16_0_4_line_62 | NAYY 4x150 SE | 59 | 60 | 0.028268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_992-16_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.025722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_992-16_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.025325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_992-16_0_4_line_65 | NAYY 4x150 SE | 63 | 69 | 0.0073136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_992-16_0_4_line_66 | NAYY 4x150 SE | 64 | 65 | 0.02087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_992-16_0_4_line_67 | NAYY 4x150 SE | 66 | 67 | 0.01541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_992-16_0_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0075989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_992-16_0_4_line_69 | NAYY 4x150 SE | 69 | 70 | 0.031169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_992-16_0_4_line_70 | NAYY 4x150 SE | 70 | 71 | 0.01932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_992-16_0_4_line_71 | NAYY 4x150 SE | 70 | 72 | 0.015266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_992-16_0_4_line_72 | NAYY 4x150 SE | 72 | 73 | 0.032968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_992-16_0_4_line_73 | NAYY 4x150 SE | 73 | 74 | 0.022362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_992-16_0_4_trafo_3 | 0.25 MVA 20/0.4 kV | 75 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2615779.5224 | 1231326.9365 | 2615795.3497 | 1231325.554
1 | 2615779.5224 | 1231326.9365 | 2615773.7815 | 1231327.438
2 | 2615823.7181 | 1231323.076 | 2615795.3497 | 1231325.554
3 | 2615751.2725 | 1231331.2367 | 2615758.2446 | 1231328.7951 | 2615773.7815 | 1231327.438
4 | 2615823.7181 | 1231323.076 | 2615847.6183 | 1231323.7552
5 | 2615823.7181 | 1231323.076 | 2615827.2527 | 1231312.582
6 | 2615823.7181 | 1231323.076 | 2615817.9154 | 1231343.8925
7 | 2615746.6174 | 1231332.8669 | 2615751.2725 | 1231331.2367
8 | 2615762.0292 | 1231280.7318 | 2615786.993 | 1231278.0772
9 | 2615762.0292 | 1231280.7318 | 2615763.6543 | 1231244.0362
10 | 2615762.0292 | 1231280.7318 | 2615741.0379 | 1231281.9083
11 | 2615811.8482 | 1231274.8781 | 2615802.4261 | 1231276.436 | 2615786.993 | 1231278.0772
12 | 2615763.6616 | 1231243.8718 | 2615763.6543 | 1231244.0362
13 | 2615705.7629 | 1231283.8853 | 2615741.0379 | 1231281.9083
14 | 2615847.6183 | 1231323.7552 | 2615856.8389 | 1231324.0172
15 | 2615836.0757 | 1231286.3868 | 2615827.2527 | 1231312.582
16 | 2615817.9154 | 1231343.8925 | 2615814.3341 | 1231356.7402
17 | 2615811.8482 | 1231274.8781 | 2615833.3971 | 1231271.315 | 2615834.4356 | 1231271.3473
18 | 2615746.6174 | 1231332.8669 | 2615744.3972 | 1231330.5152 | 2615738.6485 | 1231328.0207 | 2615731.0475 | 1231327.2891 | 2615727.3502 | 1231327.9909
19 | 2615856.8389 | 1231324.0172 | 2615871.057 | 1231324.4212
20 | 2615834.4356 | 1231271.3473 | 2615836.0757 | 1231286.3868
21 | 2615806.5925 | 1231384.512 | 2615814.3341 | 1231356.7402
22 | 2615842.2769 | 1231271.5906 | 2615834.4356 | 1231271.3473
23 | 2615727.3502 | 1231327.9909 | 2615727.3502 | 1231327.9909 | 2615724.4999 | 1231331.9525 | 2615724.0491 | 1231337.839
24 | 2615705.7629 | 1231283.8853 | 2615706.1732 | 1231267.096
25 | 2615724.0491 | 1231337.839 | 2615723.7627 | 1231341.5785 | 2615723.4575 | 1231351.0723
26 | 2615732.2337 | 1231362.758 | 2615726.2771 | 1231358.7288 | 2615723.4575 | 1231351.0723
27 | 2615727.4825 | 1231392.6746 | 2615727.0362 | 1231386.7588 | 2615728.2328 | 1231375.1994 | 2615732.2337 | 1231362.758
28 | 2615706.1732 | 1231267.096 | 2615706.828 | 1231240.3029
29 | 2615727.4825 | 1231392.6746 | 2615738.3798 | 1231392.5588 | 2615753.1946 | 1231389.6395
30 | 2615972.7516 | 1231338.6838 | 2615972.6131 | 1231339.1653
31 | 2615972.7516 | 1231338.6838 | 2615979.0579 | 1231316.7585
32 | 2615983.5457 | 1231301.1554 | 2615979.0579 | 1231316.7585
33 | 2615983.5457 | 1231301.1554 | 2615951.0457 | 1231291.8407
34 | 2615983.5457 | 1231301.1554 | 2616000.483 | 1231307.0147
35 | 2615951.0457 | 1231291.8407 | 2615952.4136 | 1231287.2304 | 2615953.7051 | 1231282.8424 | 2615956.3335 | 1231271.2869 | 2615957.0701 | 1231267.6867
36 | 2615951.0457 | 1231291.8407 | 2615940.2421 | 1231324.465
37 | 2616004.4043 | 1231308.3712 | 2616000.483 | 1231307.0147
38 | 2615806.5925 | 1231384.512 | 2615800.4938 | 1231382.6726 | 2615800.4304 | 1231382.8755
39 | 2615806.5925 | 1231384.512 | 2615806.0191 | 1231386.5673
40 | 2615806.0191 | 1231386.5673 | 2615825.4594 | 1231386.6522
41 | 2615825.4594 | 1231386.6522 | 2615841.7984 | 1231386.7235
42 | 2615859.9786 | 1231386.8029 | 2615841.7984 | 1231386.7235
43 | 2615909.9852 | 1231417.7323 | 2615911.0465 | 1231414.4174
44 | 2615920.7367 | 1231384.1492 | 2615911.0465 | 1231414.4174
45 | 2615928.2726 | 1231360.6101 | 2615951.4887 | 1231367.2913
46 | 2615955.2181 | 1231368.3645 | 2615951.4887 | 1231367.2913
47 | 2615928.2726 | 1231360.6101 | 2615920.7367 | 1231384.1492
48 | 2615928.2726 | 1231360.6101 | 2615929.2882 | 1231357.5431
49 | 2615955.2181 | 1231368.3645 | 2615950.8049 | 1231381.9053
50 | 2615955.2181 | 1231368.3645 | 2615982.4823 | 1231376.2127
51 | 2615940.2421 | 1231324.465 | 2615929.2882 | 1231357.5431
52 | 2615992.878 | 1231379.2052 | 2615982.4823 | 1231376.2127
53 | 2615994.747 | 1231368.4815 | 2615995.4261 | 1231372.1855 | 2615992.878 | 1231379.2052
54 | 2615859.9786 | 1231386.8029 | 2615881.0161 | 1231386.8947
55 | 2615872.7679 | 1231324.4698 | 2615871.057 | 1231324.4212
56 | 2615872.4625 | 1231272.5273 | 2615852.8473 | 1231271.9186
57 | 2615842.2769 | 1231271.5906 | 2615852.8473 | 1231271.9186
58 | 2615872.4625 | 1231272.5273 | 2615893.3533 | 1231273.1755 | 2615895.2666 | 1231273.1198
59 | 2615957.0701 | 1231267.6867 | 2615945.0175 | 1231269.4422
60 | 2616005.3091 | 1231295.755 | 2616008.4185 | 1231296.8528 | 2616005.9312 | 1231303.7837 | 2616004.4043 | 1231308.3712
61 | 2615945.0175 | 1231269.4422 | 2615925.8885 | 1231272.2283 | 2615916.1278 | 1231272.5125
62 | 2615709.9583 | 1231186.4074 | 2615708.2142 | 1231214.6213
63 | 2615708.2142 | 1231214.6213 | 2615706.9597 | 1231234.9146 | 2615706.828 | 1231240.3029
64 | 2615764.7821 | 1231218.5712 | 2615763.6616 | 1231243.8718
65 | 2615765.1056 | 1231211.2648 | 2615764.7821 | 1231218.5712
66 | 2615895.2666 | 1231273.1198 | 2615916.1278 | 1231272.5125
67 | 2615872.7679 | 1231324.4698 | 2615888.1719 | 1231324.9075
68 | 2615888.1719 | 1231324.9075 | 2615895.7677 | 1231325.1234
69 | 2615796.3566 | 1231212.0702 | 2615765.1056 | 1231211.2648
70 | 2615796.3566 | 1231212.0702 | 2615796.243 | 1231226.3785 | 2615794.3133 | 1231228.7081 | 2615792.3219 | 1231228.625
71 | 2615796.3566 | 1231212.0702 | 2615811.6171 | 1231212.4634
72 | 2615844.5744 | 1231213.3125 | 2615811.6171 | 1231212.4634
73 | 2615844.5744 | 1231213.3125 | 2615866.9289 | 1231213.8885

## bus_geodata
| x | y | coords
0 | 2615779.5224 | 1231326.9365
1 | 2615795.3497 | 1231325.554
2 | 2615773.7815 | 1231327.438
3 | 2615823.7181 | 1231323.076
4 | 2615751.2725 | 1231331.2367
5 | 2615762.0292 | 1231280.7318
6 | 2615786.993 | 1231278.0772
7 | 2615763.6543 | 1231244.0362
8 | 2615741.0379 | 1231281.9083
9 | 2615847.6183 | 1231323.7552
10 | 2615827.2527 | 1231312.582
11 | 2615817.9154 | 1231343.8925
12 | 2615811.8482 | 1231274.8781
13 | 2615746.6174 | 1231332.8669
14 | 2615856.8389 | 1231324.0172
15 | 2615836.0757 | 1231286.3868
16 | 2615814.3341 | 1231356.7402
17 | 2615834.4356 | 1231271.3473
18 | 2615727.3502 | 1231327.9909
19 | 2615705.763 | 1231283.8853
20 | 2615724.0491 | 1231337.839
21 | 2615723.4575 | 1231351.0723
22 | 2615732.2337 | 1231362.758
23 | 2615706.1732 | 1231267.096
24 | 2615727.4825 | 1231392.6746
25 | 2615753.1946 | 1231389.6395
26 | 2615972.6131 | 1231339.1653
27 | 2615972.7516 | 1231338.6838
28 | 2615979.0579 | 1231316.7585
29 | 2615983.5457 | 1231301.1554
30 | 2615951.0457 | 1231291.8407
31 | 2616000.483 | 1231307.0147
32 | 2615800.4304 | 1231382.8755
33 | 2615806.5925 | 1231384.512
34 | 2615806.0191 | 1231386.5673
35 | 2615825.4594 | 1231386.6522
36 | 2615841.7984 | 1231386.7235
37 | 2615909.9852 | 1231417.7323
38 | 2615911.0465 | 1231414.4174
39 | 2615951.4887 | 1231367.2913
40 | 2615928.2726 | 1231360.6101
41 | 2615955.2181 | 1231368.3645
42 | 2615920.7367 | 1231384.1492
43 | 2615929.2882 | 1231357.5431
44 | 2615950.8049 | 1231381.9053
45 | 2615982.4823 | 1231376.2127
46 | 2615940.2421 | 1231324.465
47 | 2615992.878 | 1231379.2052
48 | 2615881.0161 | 1231386.8947
49 | 2615859.9786 | 1231386.8029
50 | 2615994.747 | 1231368.4815
51 | 2615871.057 | 1231324.4212
52 | 2615852.8473 | 1231271.9186
53 | 2615872.4625 | 1231272.5273
54 | 2615842.277 | 1231271.5906
55 | 2615957.0701 | 1231267.6867
56 | 2616004.4044 | 1231308.3712
57 | 2615945.0175 | 1231269.4422
58 | 2616005.3091 | 1231295.755
59 | 2615709.9583 | 1231186.4074
60 | 2615708.2142 | 1231214.6213
61 | 2615706.828 | 1231240.3029
62 | 2615763.6616 | 1231243.8718
63 | 2615764.7821 | 1231218.5712
64 | 2615916.1278 | 1231272.5125
65 | 2615895.2666 | 1231273.1198
66 | 2615872.7679 | 1231324.4698
67 | 2615888.1719 | 1231324.9075
68 | 2615895.7677 | 1231325.1234
69 | 2615765.1056 | 1231211.2648
70 | 2615796.3566 | 1231212.0702
71 | 2615792.3219 | 1231228.625
72 | 2615811.6171 | 1231212.4634
73 | 2615844.5744 | 1231213.3125
74 | 2615866.9289 | 1231213.8885
75 | 2615836.0757 | 1231286.3868

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1