## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_995-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_995-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_995-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_995-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_995-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_995-14_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_995-14_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_995-14_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_995-14_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_995-14_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_995-14_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_995-14_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_995-14_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_995-14_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_995-14_0_3_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_995-14_0_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_995-14_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_995-14_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_995-14_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_995-14_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_995-14_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_995-14_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_995-14_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_995-14_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_995-14_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_995-14_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_995-14_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_995-14_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_995-14_0_3_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_995-14_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_995-14_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_995-14_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_995-14_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_995-14_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_MV_346_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_995-14_0_3_load_0 | 0 | 0.0033733 | 0.00084543 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_995-14_0_3_load_1 | 1 | 0.0026985 | 0.00067631 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_995-14_0_3_load_2 | 2 | 0.0053431 | 0.0013391 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_995-14_0_3_load_3 | 3 | 0.0021064 | 0.00052792 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_995-14_0_3_load_4 | 4 | 0.0046773 | 0.0011722 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_995-14_0_3_load_5 | 5 | 0.0048798 | 0.001223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_995-14_0_3_load_9 | 6 | 0.0025365 | 0.0006357 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_995-14_0_3_load_6 | 7 | 0.0044369 | 0.001112 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_995-14_0_3_load_10 | 9 | 0.0050692 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_995-14_0_3_load_11 | 10 | 0.0015504 | 0.00038856 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_995-14_0_3_load_12 | 13 | 0.0038748 | 0.00097112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_995-14_0_3_load_36 | 14 | 0.0016467 | 0.00041271 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_995-14_0_3_load_28 | 15 | 0.0066948 | 0.0016779 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_995-14_0_3_load_16 | 17 | 0.0035086 | 0.00087934 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_995-14_0_3_load_25 | 19 | 0.0058866 | 0.0014753 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_995-14_0_3_load_23 | 21 | 0.031127 | 0.0078012 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_995-14_0_3_load_24 | 22 | 0.011648 | 0.0029192 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_995-14_0_3_load_19 | 23 | 0.0060587 | 0.0015184 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_995-14_0_3_load_21 | 24 | 0.008718 | 0.0021849 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_995-14_0_3_load_22 | 26 | 0.010606 | 0.002658 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_995-14_0_3_load_33 | 28 | 0.0015655 | 0.00039236 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_995-14_0_3_load_31 | 29 | 0.0051485 | 0.0012903 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_995-14_0_3_load_30 | 31 | 0.0012658 | 0.00031724 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_995-14_0_3_load_29 | 32 | 0.012324 | 0.0030886 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_995-14_0_3_load_34 | 33 | 0.0031219 | 0.00078241 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_995-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_995-14_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0016724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_995-14_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0055785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_995-14_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_995-14_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0013958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_995-14_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.049357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_995-14_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.056244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_995-14_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.016748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_995-14_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.033249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_995-14_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.008753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_995-14_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.026731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_995-14_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.032543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_995-14_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.024534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_995-14_0_3_line_13 | NAYY 4x150 SE | 12 | 18 | 0.007286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_995-14_0_3_line_14 | NAYY 4x150 SE | 12 | 19 | 0.0030222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_995-14_0_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.0098436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_995-14_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.046895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_995-14_0_3_line_17 | NAYY 4x150 SE | 15 | 30 | 0.0327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_995-14_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.022041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_995-14_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.028638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_995-14_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.042377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_995-14_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.011788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_995-14_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.041094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_995-14_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.00012349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_995-14_0_3_line_24 | NAYY 4x150 SE | 22 | 30 | 0.039677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_995-14_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.027311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_995-14_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.023836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_995-14_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.027471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_995-14_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.040567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_995-14_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0037808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_995-14_0_3_line_30 | NAYY 4x150 SE | 28 | 33 | 0.002744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_995-14_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.0066115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_995-14_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.034737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_995-14_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 34 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2615521.1766 | 1233202.5986 | 2615528.619 | 1233209.8394 | 2615529.1283 | 1233210.3133
1 | 2615521.1766 | 1233202.5986 | 2615519.9779 | 1233201.4323
2 | 2615533.2122 | 1233214.1134 | 2615529.1283 | 1233210.3133
3 | 2615498.1164 | 1233181.4318 | 2615509.1747 | 1233190.9218 | 2615519.9779 | 1233201.4323
4 | 2615533.2122 | 1233214.1134 | 2615534.2341 | 1233215.0642
5 | 2615498.1164 | 1233181.4318 | 2615481.8541 | 1233202.3355 | 2615481.7265 | 1233207.7274 | 2615487.6703 | 1233213.1349 | 2615494.5796 | 1233206.6967
6 | 2615534.2341 | 1233215.0642 | 2615549.1679 | 1233228.96 | 2615570.2557 | 1233244.6023 | 2615578.5562 | 1233249.4047
7 | 2615593.0531 | 1233257.792 | 2615578.5562 | 1233249.4047
8 | 2615593.0531 | 1233257.792 | 2615581.1803 | 1233288.8491
9 | 2615593.0531 | 1233257.792 | 2615599.72 | 1233263.4636
10 | 2615572.6481 | 1233314.1062 | 2615573.7763 | 1233308.2167 | 2615581.1803 | 1233288.8491
11 | 2615595.2241 | 1233336.5676 | 2615589.7085 | 1233332.5063 | 2615578.9791 | 1233324.7736 | 2615575.1763 | 1233319.983 | 2615572.6481 | 1233314.1062
12 | 2615572.6481 | 1233314.1062 | 2615562.3514 | 1233314.5685 | 2615548.361 | 1233311.986
13 | 2615588.239 | 1233338.6506 | 2615589.7839 | 1233338.399 | 2615595.2241 | 1233336.5676
14 | 2615595.2241 | 1233336.5676 | 2615597.4728 | 1233338.5868
15 | 2615538.5833 | 1233310.8487 | 2615548.361 | 1233311.986
16 | 2615642.0867 | 1233341.9092 | 2615643.6242 | 1233326.2992 | 2615642.8546 | 1233310.8768 | 2615640.5606 | 1233302.3322 | 2615636.7473 | 1233296.5564
17 | 2615635.3703 | 1233373.395 | 2615639.8133 | 1233364.9905 | 2615642.0867 | 1233341.9092
18 | 2615538.5833 | 1233310.8487 | 2615525.2153 | 1233310.4692 | 2615516.5477 | 1233310.4235
19 | 2615487.9101 | 1233310.2722 | 2615516.5477 | 1233310.4235
20 | 2615588.239 | 1233338.6506 | 2615585.914 | 1233339.0115 | 2615581.0478 | 1233341.3668 | 2615579.1649 | 1233343.4743 | 2615572.5192 | 1233357.6322 | 2615557.3608 | 1233352.055
21 | 2615606.2435 | 1233346.4624 | 2615597.4728 | 1233338.5868
22 | 2615487.9101 | 1233310.2722 | 2615485.0923 | 1233343.0069 | 2615492.8797 | 1233345.6962
23 | 2615557.2449 | 1233352.0124 | 2615557.3608 | 1233352.055
24 | 2615635.3703 | 1233373.395 | 2615623.8098 | 1233362.2358 | 2615606.2435 | 1233346.4624
25 | 2615540.1078 | 1233362.0059 | 2615545.9812 | 1233347.8682 | 2615557.2449 | 1233352.0124
26 | 2615540.1078 | 1233362.0059 | 2615537.0464 | 1233371.9039 | 2615531.889 | 1233384.3536
27 | 2615553.3889 | 1233401.4533 | 2615531.889 | 1233384.3536
28 | 2615553.3889 | 1233401.4533 | 2615545.0364 | 1233408.2801 | 2615524.3039 | 1233429.6577
29 | 2615553.3889 | 1233401.4533 | 2615556.7814 | 1233399.7846
30 | 2615522.3734 | 1233431.6073 | 2615523.085 | 1233430.9145 | 2615524.3039 | 1233429.6577
31 | 2615562.7141 | 1233396.8665 | 2615556.7814 | 1233399.7846
32 | 2615562.7141 | 1233396.8665 | 2615562.7423 | 1233396.8527 | 2615571.7347 | 1233394.2746 | 2615579.1643 | 1233392.9821 | 2615587.8871 | 1233392.171 | 2615596.9361 | 1233392.1384

## bus_geodata
| x | y | coords
0 | 2615521.1766 | 1233202.5986
1 | 2615529.1283 | 1233210.3133
2 | 2615519.9779 | 1233201.4323
3 | 2615533.2122 | 1233214.1134
4 | 2615498.1164 | 1233181.4318
5 | 2615534.2341 | 1233215.0642
6 | 2615494.5796 | 1233206.6967
7 | 2615578.5562 | 1233249.4047
8 | 2615593.0531 | 1233257.792
9 | 2615581.1802 | 1233288.8491
10 | 2615599.72 | 1233263.4636
11 | 2615572.6481 | 1233314.1062
12 | 2615595.2241 | 1233336.5676
13 | 2615548.361 | 1233311.986
14 | 2615636.7473 | 1233296.5564
15 | 2615642.0867 | 1233341.9092
16 | 2615538.5833 | 1233310.8487
17 | 2615516.5477 | 1233310.4235
18 | 2615588.239 | 1233338.6506
19 | 2615597.4728 | 1233338.5868
20 | 2615487.9101 | 1233310.2722
21 | 2615557.3608 | 1233352.055
22 | 2615606.2435 | 1233346.4624
23 | 2615492.8797 | 1233345.6962
24 | 2615557.2449 | 1233352.0124
25 | 2615540.1078 | 1233362.0059
26 | 2615531.889 | 1233384.3536
27 | 2615553.3889 | 1233401.4533
28 | 2615524.3039 | 1233429.6577
29 | 2615556.7814 | 1233399.7846
30 | 2615635.3703 | 1233373.395
31 | 2615596.9361 | 1233392.1384
32 | 2615562.7141 | 1233396.8665
33 | 2615522.3734 | 1233431.6073
34 | 2615538.5833 | 1233310.8487

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99143 | -0.060007 | 0.0033733 | 0.00084543
1 | 0.99168 | -0.058214 | 0.0026985 | 0.00067631
2 | 0.9914 | -0.06022 | 0.0053431 | 0.0013391
3 | 0.99183 | -0.057159 | 0.0021064 | 0.00052792
4 | 0.99109 | -0.062394 | 0.0046773 | 0.0011722
5 | 0.99188 | -0.056866 | 0.0048798 | 0.001223
6 | 0.99091 | -0.063668 | 0.0025365 | 0.0006357
7 | 0.99395 | -0.042274 | 0.0044369 | 0.001112
8 | 0.99467 | -0.03719 | 0 | 0
9 | 0.99618 | -0.026601 | 0.0050692 | 0.0012705
10 | 0.99465 | -0.037327 | 0.0015504 | 0.00038856
11 | 0.99759 | -0.01675 | 0 | 0
12 | 0.9929 | -0.049471 | 0 | 0
13 | 1 | 0 | -0.14827 | -0.037149
14 | 0.99147 | -0.059565 | 0.0016467 | 0.00041271
15 | 0.99158 | -0.05878 | 0.0066948 | 0.0016779
16 | 0.99987 | -0.00094096 | 0 | 0
17 | 0.99956 | -0.0030485 | 0.0035086 | 0.00087934
18 | 0.99212 | -0.054926 | 0 | 0
19 | 0.99279 | -0.050263 | 0.0058866 | 0.0014753
20 | 0.99932 | -0.0047836 | 0 | 0
21 | 0.9876 | -0.086822 | 0.031127 | 0.0078012
22 | 0.99245 | -0.052651 | 0.011648 | 0.0029192
23 | 0.99896 | -0.0072736 | 0.0060587 | 0.0015184
24 | 0.98759 | -0.086876 | 0.008718 | 0.0021849
25 | 0.98625 | -0.096403 | 0 | 0
26 | 0.98507 | -0.10474 | 0.010606 | 0.002658
27 | 0.98414 | -0.11137 | 0 | 0
28 | 0.98386 | -0.11333 | 0.0015655 | 0.00039236
29 | 0.98404 | -0.1121 | 0.0051485 | 0.0012903
30 | 0.99198 | -0.05601 | 0 | 0
31 | 0.98384 | -0.11348 | 0.0012658 | 0.00031724
32 | 0.98391 | -0.11302 | 0.012324 | 0.0030886
33 | 0.98385 | -0.11342 | 0.0031219 | 0.00078241
34 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015933 | -0.0039926 | 0.015937 | 0.003994 | 3.9535e-06 | 1.3777e-06 | 0.023913 | 0.023913 | 0.023913 | 0.99143 | -0.060007 | 0.99168 | -0.058214 | 8.8568
1 | 0.01256 | 0.0031472 | -0.012559 | -0.003147 | 3.7083e-07 | 1.2106e-07 | 0.018851 | 0.018851 | 0.018851 | 0.99143 | -0.060007 | 0.9914 | -0.06022 | 6.9817
2 | -0.018636 | -0.0046703 | 0.018638 | 0.0046713 | 2.7218e-06 | 9.7485e-07 | 0.027963 | 0.027963 | 0.027963 | 0.99168 | -0.058214 | 0.99183 | -0.057159 | 10.3565
3 | 0.0072164 | 0.0018079 | -0.0072142 | -0.0018075 | 2.1701e-06 | 4.5251e-07 | 0.010831 | 0.010831 | 0.010831 | 0.9914 | -0.06022 | 0.99109 | -0.062394 | 4.0115
4 | -0.020745 | -0.0051992 | 0.020746 | 0.0051995 | 8.4365e-07 | 3.0647e-07 | 0.031123 | 0.031123 | 0.031123 | 0.99183 | -0.057159 | 0.99188 | -0.056866 | 11.5269
5 | 0.0025369 | 0.00063524 | -0.0025365 | -0.0006357 | 4.4681e-07 | -4.6409e-07 | 0.0038087 | 0.0038089 | 0.0038089 | 0.99109 | -0.062394 | 0.99091 | -0.063668 | 1.4107
6 | -0.025625 | -0.0064225 | 0.025677 | 0.0064417 | 5.1869e-05 | 1.9222e-05 | 0.038443 | 0.038443 | 0.038443 | 0.99188 | -0.056866 | 0.99395 | -0.042274 | 14.2383
7 | -0.030114 | -0.0075537 | 0.030135 | 0.0075616 | 2.1244e-05 | 7.9534e-06 | 0.045086 | 0.045085 | 0.045086 | 0.99395 | -0.042274 | 0.99467 | -0.03719 | 16.6984
8 | -0.031686 | -0.0079501 | 0.031732 | 0.0079676 | 4.6624e-05 | 1.75e-05 | 0.047405 | 0.047405 | 0.047405 | 0.99467 | -0.03719 | 0.99618 | -0.026601 | 17.5573
9 | 0.0015504 | 0.00038846 | -0.0015504 | -0.00038856 | 2.9382e-08 | -1.0231e-07 | 0.0023194 | 0.0023194 | 0.0023194 | 0.99467 | -0.03719 | 0.99465 | -0.037327 | 0.85904
10 | -0.036802 | -0.0092381 | 0.036852 | 0.0092571 | 5.0415e-05 | 1.9042e-05 | 0.054977 | 0.054976 | 0.054977 | 0.99618 | -0.026601 | 0.99759 | -0.01675 | 20.3617
11 | 0.10072 | 0.025369 | -0.10027 | -0.025193 | 0.00045865 | 0.00017598 | 0.15029 | 0.15029 | 0.15029 | 0.99759 | -0.01675 | 0.9929 | -0.049471 | 55.6615
12 | -0.13758 | -0.034626 | 0.1379 | 0.03475 | 0.00032251 | 0.0001234 | 0.20526 | 0.20526 | 0.20526 | 0.99759 | -0.01675 | 1 | 0 | 38.0116
13 | 0.074373 | 0.018703 | -0.074316 | -0.018682 | 5.6504e-05 | 2.1638e-05 | 0.11148 | 0.11148 | 0.11148 | 0.9929 | -0.049471 | 0.99212 | -0.054926 | 41.2895
14 | 0.025893 | 0.0064898 | -0.02589 | -0.0064888 | 2.8397e-06 | 1.0531e-06 | 0.038804 | 0.038804 | 0.038804 | 0.9929 | -0.049471 | 0.99279 | -0.050263 | 14.372
15 | 0.0095748 | 0.0023994 | -0.0095736 | -0.002399 | 1.2468e-06 | 3.5043e-07 | 0.014247 | 0.014247 | 0.014247 | 1 | 0 | 0.99987 | -0.00094096 | 5.2768
16 | -0.0016467 | -0.00041271 | 0.0016469 | 0.00041217 | 1.7872e-07 | -5.3612e-07 | 0.0024714 | 0.0024712 | 0.0024714 | 0.99147 | -0.059565 | 0.99158 | -0.05878 | 0.91535
17 | -0.0083417 | -0.0020901 | 0.0083449 | 0.0020909 | 3.1973e-06 | 8.0774e-07 | 0.012518 | 0.012518 | 0.012518 | 0.99158 | -0.05878 | 0.99198 | -0.05601 | 4.6362
18 | 0.0095736 | 0.002399 | -0.0095708 | -0.0023982 | 2.7919e-06 | 7.848e-07 | 0.014247 | 0.014248 | 0.014248 | 0.99987 | -0.00094096 | 0.99956 | -0.0030485 | 5.2769
19 | 0.0060622 | 0.0015189 | -0.0060608 | -0.0015187 | 1.4554e-06 | 1.8447e-07 | 0.0090245 | 0.0090246 | 0.0090246 | 0.99956 | -0.0030485 | 0.99932 | -0.0047836 | 3.3424
20 | 0.074316 | 0.018682 | -0.073988 | -0.018556 | 0.00032864 | 0.00012586 | 0.11148 | 0.11148 | 0.11148 | 0.99212 | -0.054926 | 0.9876 | -0.086822 | 41.2896
21 | 0.020003 | 0.0050135 | -0.019997 | -0.0050111 | 6.6118e-06 | 2.3906e-06 | 0.029981 | 0.029981 | 0.029981 | 0.99279 | -0.050263 | 0.99245 | -0.052651 | 11.1043
22 | 0.0060608 | 0.0015187 | -0.0060587 | -0.0015184 | 2.0885e-06 | 2.6506e-07 | 0.0090246 | 0.0090248 | 0.0090248 | 0.99932 | -0.0047836 | 0.99896 | -0.0072736 | 3.3425
23 | 0.04286 | 0.010755 | -0.04286 | -0.010755 | 3.2141e-07 | 1.2204e-07 | 0.064582 | 0.064582 | 0.064582 | 0.9876 | -0.086822 | 0.98759 | -0.086876 | 23.9194
24 | 0.0083488 | 0.0020918 | -0.0083449 | -0.0020909 | 3.8793e-06 | 9.796e-07 | 0.012517 | 0.012518 | 0.012518 | 0.99245 | -0.052651 | 0.99198 | -0.05601 | 4.6362
25 | 0.034142 | 0.0085696 | -0.034097 | -0.0085526 | 4.5107e-05 | 1.7e-05 | 0.051447 | 0.051447 | 0.051447 | 0.98759 | -0.086876 | 0.98625 | -0.096403 | 19.0544
26 | 0.034097 | 0.0085526 | -0.034058 | -0.0085377 | 3.9368e-05 | 1.4838e-05 | 0.051447 | 0.051447 | 0.051447 | 0.98625 | -0.096403 | 0.98507 | -0.10474 | 19.0545
27 | 0.023452 | 0.0058797 | -0.023431 | -0.0058718 | 2.1514e-05 | 7.9251e-06 | 0.035427 | 0.035427 | 0.035427 | 0.98507 | -0.10474 | 0.98414 | -0.11137 | 13.121
28 | 0.0046887 | 0.0011747 | -0.0046874 | -0.0011747 | 1.2722e-06 | -2.6006e-08 | 0.0070892 | 0.0070893 | 0.0070893 | 0.98414 | -0.11137 | 0.98386 | -0.11333 | 2.6257
29 | 0.018742 | 0.0046971 | -0.01874 | -0.0046964 | 1.8945e-06 | 6.8061e-07 | 0.028338 | 0.028338 | 0.028338 | 0.98414 | -0.11137 | 0.98404 | -0.1121 | 10.4954
30 | 0.0031219 | 0.00078239 | -0.0031219 | -0.00078241 | 3.8172e-08 | -2.0164e-08 | 0.0047216 | 0.0047216 | 0.0047216 | 0.98386 | -0.11333 | 0.98385 | -0.11342 | 1.7488
31 | 0.013591 | 0.0034061 | -0.01359 | -0.0034055 | 1.7426e-06 | 5.8627e-07 | 0.020552 | 0.020552 | 0.020552 | 0.98404 | -0.1121 | 0.98391 | -0.11302 | 7.612
32 | -0.0012658 | -0.00031724 | 0.0012659 | 0.00031683 | 7.9439e-08 | -4.1059e-07 | 0.0019145 | 0.0019143 | 0.0019145 | 0.98384 | -0.11348 | 0.98391 | -0.11302 | 0.70906

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15215 | 0.03812

## res_load
| p_mw | q_mvar
0 | 0.0033733 | 0.00084543
1 | 0.0026985 | 0.00067631
2 | 0.0053431 | 0.0013391
3 | 0.0021064 | 0.00052792
4 | 0.0046773 | 0.0011722
5 | 0.0048798 | 0.001223
6 | 0.0025365 | 0.0006357
7 | 0.0044369 | 0.001112
8 | 0.0050692 | 0.0012705
9 | 0.0015504 | 0.00038856
10 | 0.0038748 | 0.00097112
11 | 0.0016467 | 0.00041271
12 | 0.0066948 | 0.0016779
13 | 0.0035086 | 0.00087934
14 | 0.0058866 | 0.0014753
15 | 0.031127 | 0.0078012
16 | 0.011648 | 0.0029192
17 | 0.0060587 | 0.0015184
18 | 0.008718 | 0.0021849
19 | 0.010606 | 0.002658
20 | 0.0015655 | 0.00039236
21 | 0.0051485 | 0.0012903
22 | 0.0012658 | 0.00031724
23 | 0.012324 | 0.0030886
24 | 0.0031219 | 0.00078241

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1