## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_995-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_995-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_995-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_995-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_995-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_995-15_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_995-15_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_995-15_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_995-15_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_995-15_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_995-15_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_995-15_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_995-15_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_995-15_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_995-15_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_995-15_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_995-15_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_995-15_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_995-15_0_3_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_995-15_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_995-15_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_995-15_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_995-15_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_995-15_0_3_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_995-15_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_995-15_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_995-15_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_995-15_0_3_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_995-15_0_3_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_995-15_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_995-15_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_995-15_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_995-15_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_995-15_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_995-15_0_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_995-15_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_995-15_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_995-15_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_995-15_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_995-15_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_995-15_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_995-15_0_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_995-15_0_3_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_995-15_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_MV_346_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_995-15_0_3_load_0 | 0 | 0.0049134 | 0.0012314 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_995-15_0_3_load_1 | 1 | 0.004588 | 0.0011499 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_995-15_0_3_load_2 | 2 | 0.0034729 | 0.00087038 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_995-15_0_3_load_4 | 4 | 0.0025924 | 0.00064972 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_995-15_0_3_load_5 | 5 | 0.0024483 | 0.00061361 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_995-15_0_3_load_6 | 6 | 0.01087 | 0.0027243 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_995-15_0_3_load_12 | 7 | 0.0038421 | 0.00096292 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_995-15_0_3_load_15 | 8 | 0.0030878 | 0.00077387 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_995-15_0_3_load_9 | 9 | 0.0034198 | 0.00085709 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_995-15_0_3_load_14 | 10 | 0.0040759 | 0.0010215 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_995-15_0_3_load_7 | 11 | 0.0064227 | 0.0016097 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_995-15_0_3_load_8 | 12 | 0.010645 | 0.0026679 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_995-15_0_3_load_10 | 13 | 0.0015341 | 0.00038449 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_995-15_0_3_load_11 | 14 | 0.0090218 | 0.0022611 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_995-15_0_3_load_25 | 16 | 0.0036622 | 0.00091783 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_995-15_0_3_load_33 | 18 | 0.0064278 | 0.001611 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_995-15_0_3_load_26 | 19 | 0.0032436 | 0.00081291 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_995-15_0_3_load_23 | 20 | 0.0080249 | 0.0020112 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_995-15_0_3_load_41 | 23 | 0.0021455 | 0.00053772 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_995-15_0_3_load_46 | 24 | 0.0024973 | 0.00062587 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_995-15_0_3_load_42 | 27 | 0.0022962 | 0.00057548 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_995-15_0_3_load_45 | 28 | 0.0018366 | 0.0004603 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_995-15_0_3_load_20 | 29 | 0.011254 | 0.0028204 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_995-15_0_3_load_21 | 30 | 0.0018389 | 0.00046086 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_995-15_0_3_load_22 | 31 | 0.0019606 | 0.00049136 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_995-15_0_3_load_24 | 32 | 0.0090859 | 0.0022771 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_995-15_0_3_load_39 | 34 | 0.0011842 | 0.0002968 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_995-15_0_3_load_34 | 35 | 0.0020219 | 0.00050674 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_995-15_0_3_load_31 | 36 | 0.0034669 | 0.00086889 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_995-15_0_3_load_37 | 38 | 0.0025674 | 0.00064346 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_995-15_0_3_load_38 | 39 | 0.0018321 | 0.00045917 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_995-15_0_3_load_48 | 40 | 0.0017938 | 0.00044956 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_995-15_0_3_load_47 | 42 | 0.0023956 | 0.0006004 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_995-15_0_3_load_43 | 43 | 0.0025915 | 0.00064948 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_995-15_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0078406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_995-15_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0076814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_995-15_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0061831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_995-15_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0045107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_995-15_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0017899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_995-15_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.015307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_995-15_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0052099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_995-15_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0073644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_995-15_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.00478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_995-15_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.010713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_995-15_0_3_line_10 | NAYY 4x150 SE | 9 | 14 | 0.013323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_995-15_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0076394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_995-15_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.014154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_995-15_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.009797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_995-15_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0039321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_995-15_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0034782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_995-15_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.043267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_995-15_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.016897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_995-15_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.010278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_995-15_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.033638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_995-15_0_3_line_20 | NAYY 4x150 SE | 19 | 25 | 0.017884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_995-15_0_3_line_21 | NAYY 4x150 SE | 20 | 30 | 0.02605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_995-15_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.26131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_995-15_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.038325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_995-15_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.032749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_995-15_0_3_line_25 | NAYY 4x150 SE | 23 | 27 | 0.0060821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_995-15_0_3_line_26 | NAYY 4x150 SE | 24 | 28 | 0.016843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_995-15_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.009174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_995-15_0_3_line_28 | NAYY 4x150 SE | 26 | 36 | 0.0036815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_995-15_0_3_line_29 | NAYY 4x150 SE | 28 | 41 | 0.013486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_995-15_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 5.1608e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_995-15_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0086334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_995-15_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.014865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_995-15_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.022416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_995-15_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.006114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_995-15_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.032867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_995-15_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0012182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_995-15_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.022914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_995-15_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_995-15_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0084727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_995-15_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.019164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_995-15_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.0086738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_995-15_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.031029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_995-15_0_3_trafo_9 | 0.25 MVA 20/0.4 kV | 44 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2615775.4186 | 1233466.5355 | 2615776.2056 | 1233467.256 | 2615780.918 | 1233472.1217
1 | 2615775.4186 | 1233466.5355 | 2615769.7531 | 1233461.3484
2 | 2615785.2195 | 1233476.5633 | 2615780.918 | 1233472.1217
3 | 2615766.4262 | 1233458.3025 | 2615769.7531 | 1233461.3484
4 | 2615785.2195 | 1233476.5633 | 2615786.5359 | 1233477.7761
5 | 2615785.2195 | 1233476.5633 | 2615780.1449 | 1233483.3428 | 2615776.0671 | 1233488.8319
6 | 2615762.3329 | 1233455.0795 | 2615766.4262 | 1233458.3025 | 2615766.4262 | 1233458.3025
7 | 2615786.5359 | 1233477.7761 | 2615791.9519 | 1233482.7662
8 | 2615758.5773 | 1233452.1225 | 2615762.3329 | 1233455.0795
9 | 2615799.8306 | 1233490.0253 | 2615791.9519 | 1233482.7662
10 | 2615758.5773 | 1233452.1225 | 2615751.8912 | 1233463.6467
11 | 2615758.5773 | 1233452.1225 | 2615752.1827 | 1233447.9427
12 | 2615752.1827 | 1233447.9427 | 2615740.3354 | 1233440.1988
13 | 2615732.0446 | 1233434.9932 | 2615733.6092 | 1233435.8022 | 2615740.3354 | 1233440.1988
14 | 2615728.5517 | 1233433.1873 | 2615732.0446 | 1233434.9932
15 | 2615751.8912 | 1233463.6467 | 2615750.1457 | 1233466.6552
16 | 2615728.5517 | 1233433.1873 | 2615715.4583 | 1233426.4376 | 2615691.4263 | 1233419.5924 | 2615687.8094 | 1233419.027
17 | 2615728.5517 | 1233433.1873 | 2615726.1309 | 1233438.3285 | 2615721.1817 | 1233448.3921
18 | 2615744.9879 | 1233475.5452 | 2615750.1457 | 1233466.6552
19 | 2615687.8094 | 1233419.027 | 2615695.3914 | 1233411.5869 | 2615704.7941 | 1233405.5635 | 2615709.6091 | 1233399.6615 | 2615713.6595 | 1233398.4364
20 | 2615739.6666 | 1233492.6193 | 2615744.9879 | 1233475.5452 | 2615744.9879 | 1233475.5452
21 | 2615713.6595 | 1233398.4364 | 2615724.9507 | 1233395.0213 | 2615734.1245 | 1233398.2808 | 2615738.0003 | 1233400.6028
22 | 2615851.2092 | 1233492.748 | 2615860.404 | 1233505.1133 | 2615874.0118 | 1233523.2827 | 2615872.5122 | 1233532.1063 | 2615882.3211 | 1233535.5679 | 2615913.8089 | 1233542.3225 | 2615935.0259 | 1233545.6701 | 2615936.0139 | 1233541.359 | 2615937.2432 | 1233537.4155 | 2615941.8769 | 1233528.578 | 2615951.1203 | 1233514.194 | 2615953.6566 | 1233508.3973 | 2615954.338 | 1233505.5307 | 2615954.8463 | 1233502.2968 | 2615954.4526 | 1233499.4829 | 2615953.5068 | 1233496.4785 | 2615951.5607 | 1233493.9162 | 2615945.7687 | 1233488.6086 | 2615923.642 | 1233471.5169 | 2615907.9867 | 1233451.8966 | 2615888.3641 | 1233426.7958
23 | 2615888.3641 | 1233426.7958 | 2615871.0659 | 1233407.1378 | 2615869.268 | 1233405.7099 | 2615867.4759 | 1233404.9603 | 2615865.9776 | 1233404.7562 | 2615864.4852 | 1233405.1636 | 2615863.0371 | 1233406.0158 | 2615861.7612 | 1233407.5466 | 2615861.2988 | 1233408.6203
24 | 2615851.2092 | 1233492.748 | 2615834.1997 | 1233469.8779 | 2615831.8192 | 1233466.3603
25 | 2615860.6904 | 1233414.5258 | 2615860.3401 | 1233412.4792 | 2615860.7329 | 1233409.9342 | 2615861.2988 | 1233408.6203
26 | 2615822.3792 | 1233452.4111 | 2615831.8192 | 1233466.3603
27 | 2615739.6666 | 1233492.6193 | 2615731.5403 | 1233488.3175
28 | 2615731.5403 | 1233488.3175 | 2615728.2333 | 1233486.6995
29 | 2615814.8209 | 1233441.2425 | 2615822.3792 | 1233452.4111
30 | 2615738.0048 | 1233400.6054 | 2615738.0003 | 1233400.6028
31 | 2615745.721 | 1233404.3475 | 2615742.6803 | 1233403.4065 | 2615738.0048 | 1233400.6054
32 | 2615759.4639 | 1233407.3989 | 2615758.7686 | 1233408.3853 | 2615745.721 | 1233404.3475
33 | 2615772.3776 | 1233389.0763 | 2615759.4639 | 1233407.3989
34 | 2615772.3776 | 1233389.0763 | 2615767.4559 | 1233385.4489
35 | 2615772.3776 | 1233389.0763 | 2615788.137 | 1233401.0919 | 2615797.8 | 1233409.8625
36 | 2615798.7021 | 1233410.6812 | 2615797.8 | 1233409.8625
37 | 2615798.7021 | 1233410.6812 | 2615811.1541 | 1233391.4456
38 | 2615798.7021 | 1233410.6812 | 2615806.2578 | 1233424.1002
39 | 2615811.1541 | 1233391.4456 | 2615815.7584 | 1233384.3331
40 | 2615814.8209 | 1233441.2425 | 2615807.1031 | 1233425.6014 | 2615806.2578 | 1233424.1002
41 | 2615820.4719 | 1233377.0519 | 2615815.7584 | 1233384.3331
42 | 2615814.8209 | 1233441.2425 | 2615830.0149 | 1233432.2884 | 2615832.132 | 1233430.3929 | 2615838.4924 | 1233421.9748

## bus_geodata
| x | y | coords
0 | 2615775.4186 | 1233466.5355
1 | 2615780.918 | 1233472.1217
2 | 2615769.7531 | 1233461.3484
3 | 2615785.2195 | 1233476.5633
4 | 2615766.4262 | 1233458.3025
5 | 2615786.5359 | 1233477.7761
6 | 2615776.0671 | 1233488.8319
7 | 2615762.3329 | 1233455.0795
8 | 2615791.9519 | 1233482.7662
9 | 2615758.5773 | 1233452.1225
10 | 2615799.8306 | 1233490.0253
11 | 2615752.1827 | 1233447.9427
12 | 2615740.3354 | 1233440.1988
13 | 2615732.0446 | 1233434.9932
14 | 2615751.8912 | 1233463.6467
15 | 2615728.5517 | 1233433.1873
16 | 2615750.1457 | 1233466.6552
17 | 2615687.8094 | 1233419.027
18 | 2615721.1817 | 1233448.3921
19 | 2615744.9879 | 1233475.5452
20 | 2615713.6595 | 1233398.4364
21 | 2615888.3641 | 1233426.7958
22 | 2615851.2092 | 1233492.748
23 | 2615861.2988 | 1233408.6203
24 | 2615831.8192 | 1233466.3603
25 | 2615739.6666 | 1233492.6193
26 | 2615731.5403 | 1233488.3175
27 | 2615860.6904 | 1233414.5258
28 | 2615822.3792 | 1233452.4111
29 | 2615738.0048 | 1233400.6054
30 | 2615738.0003 | 1233400.6028
31 | 2615745.721 | 1233404.3475
32 | 2615759.4639 | 1233407.3989
33 | 2615772.3776 | 1233389.0763
34 | 2615767.4559 | 1233385.4489
35 | 2615797.8 | 1233409.8625
36 | 2615728.2333 | 1233486.6995
37 | 2615798.7021 | 1233410.6812
38 | 2615811.1541 | 1233391.4456
39 | 2615806.2578 | 1233424.1002
40 | 2615815.7584 | 1233384.3331
41 | 2615814.8209 | 1233441.2425
42 | 2615820.4719 | 1233377.0519
43 | 2615838.4924 | 1233421.9748
44 | 2615728.5517 | 1233433.1873

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99892 | -0.0075917 | 0.0049134 | 0.0012314
1 | 0.99863 | -0.0095586 | 0.004588 | 0.0011499
2 | 0.99924 | -0.0052884 | 0.0034729 | 0.00087038
3 | 0.99845 | -0.010826 | 0 | 0
4 | 0.99946 | -0.0037801 | 0.0025924 | 0.00064972
5 | 0.99843 | -0.010999 | 0.0024483 | 0.00061361
6 | 0.99822 | -0.012493 | 0.01087 | 0.0027243
7 | 0.99973 | -0.0019039 | 0.0038421 | 0.00096292
8 | 0.99835 | -0.011527 | 0.0030878 | 0.00077387
9 | 1 | 0 | -0.14127 | -0.035306
10 | 0.99829 | -0.011964 | 0.0040759 | 0.0010215
11 | 0.99912 | -0.0061372 | 0.0064227 | 0.0016097
12 | 0.99761 | -0.016625 | 0.010645 | 0.0026679
13 | 0.99671 | -0.022854 | 0.0015341 | 0.00038449
14 | 0.99963 | -0.0025805 | 0.0090218 | 0.0022611
15 | 0.99636 | -0.025297 | 0 | 0
16 | 0.99958 | -0.002941 | 0.0036622 | 0.00091783
17 | 0.99291 | -0.049473 | 0 | 0
18 | 0.99621 | -0.02639 | 0.0064278 | 0.001611
19 | 0.99948 | -0.0036304 | 0.0032436 | 0.00081291
20 | 0.99022 | -0.068384 | 0.0080249 | 0.0020112
21 | 0.98264 | -0.12222 | 0 | 0
22 | 0.98432 | -0.1102 | 0 | 0
23 | 0.98239 | -0.12398 | 0.0021455 | 0.00053772
24 | 0.98453 | -0.10869 | 0.0024973 | 0.00062587
25 | 0.99939 | -0.0042503 | 0 | 0
26 | 0.99935 | -0.0045682 | 0 | 0
27 | 0.98237 | -0.12412 | 0.0022962 | 0.00057548
28 | 0.9847 | -0.10748 | 0.0018366 | 0.0004603
29 | 0.98844 | -0.080965 | 0.011254 | 0.0028204
30 | 0.98844 | -0.080963 | 0.0018389 | 0.00046086
31 | 0.98801 | -0.083988 | 0.0019606 | 0.00049136
32 | 0.98732 | -0.088901 | 0.0090859 | 0.0022771
33 | 0.98657 | -0.094232 | 0 | 0
34 | 0.98656 | -0.094306 | 0.0011842 | 0.0002968
35 | 0.98552 | -0.10166 | 0.0020219 | 0.00050674
36 | 0.99933 | -0.0046957 | 0.0034669 | 0.00086889
37 | 0.98548 | -0.10191 | 0 | 0
38 | 0.98526 | -0.1035 | 0.0025674 | 0.00064346
39 | 0.98519 | -0.10401 | 0.0018321 | 0.00045917
40 | 0.98521 | -0.10387 | 0.0017938 | 0.00044956
41 | 0.98487 | -0.10626 | 0 | 0
42 | 0.98518 | -0.10408 | 0.0023956 | 0.0006004
43 | 0.98476 | -0.10709 | 0.0025915 | 0.00064948
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.025084 | 0.0062878 | -0.025077 | -0.0062853 | 6.8312e-06 | 2.5248e-06 | 0.037366 | 0.037366 | 0.037366 | 0.99892 | -0.0075917 | 0.99863 | -0.0095586 | 13.8393
1 | -0.029997 | -0.0075193 | 0.030007 | 0.0075228 | 9.5709e-06 | 3.5805e-06 | 0.044685 | 0.044685 | 0.044685 | 0.99892 | -0.0075917 | 0.99924 | -0.0052884 | 16.5501
2 | 0.020489 | 0.0051355 | -0.020486 | -0.0051342 | 3.5962e-06 | 1.3023e-06 | 0.03053 | 0.03053 | 0.03053 | 0.99863 | -0.0095586 | 0.99845 | -0.010826 | 11.3074
3 | -0.03348 | -0.0083932 | 0.033487 | 0.0083958 | 6.9964e-06 | 2.6318e-06 | 0.049857 | 0.049857 | 0.049857 | 0.99924 | -0.0052884 | 0.99946 | -0.0037801 | 18.4655
4 | 0.009613 | 0.0024091 | -0.0096128 | -0.0024091 | 2.2924e-07 | 6.4761e-08 | 0.014326 | 0.014326 | 0.014326 | 0.99845 | -0.010826 | 0.99843 | -0.010999 | 5.3061
5 | 0.010872 | 0.002725 | -0.01087 | -0.0027243 | 2.5077e-06 | 7.6437e-07 | 0.016204 | 0.016204 | 0.016204 | 0.99845 | -0.010826 | 0.99822 | -0.012493 | 6.0013
6 | -0.036079 | -0.0090456 | 0.036089 | 0.0090491 | 9.3805e-06 | 3.5396e-06 | 0.053716 | 0.053716 | 0.053716 | 0.99946 | -0.0037801 | 0.99973 | -0.0019039 | 19.895
7 | 0.0071645 | 0.0017955 | -0.007164 | -0.0017954 | 5.2393e-07 | 1.052e-07 | 0.010678 | 0.010678 | 0.010678 | 0.99843 | -0.010999 | 0.99835 | -0.011527 | 3.9547
8 | -0.039931 | -0.010012 | 0.039941 | 0.010016 | 1.0537e-05 | 3.9898e-06 | 0.059435 | 0.059435 | 0.059435 | 0.99973 | -0.0019039 | 1 | 0 | 22.013
9 | 0.0040762 | 0.0010215 | -0.0040759 | -0.0010215 | 2.4674e-07 | -4.5174e-08 | 0.0060754 | 0.0060754 | 0.0060754 | 0.99835 | -0.011527 | 0.99829 | -0.011964 | 2.2502
10 | 0.019403 | 0.0048633 | -0.019396 | -0.0048608 | 6.9304e-06 | 2.4908e-06 | 0.028872 | 0.028872 | 0.028872 | 1 | 0 | 0.99963 | -0.0025805 | 10.6934
11 | 0.081127 | 0.020427 | -0.081057 | -0.0204 | 6.9507e-05 | 2.6633e-05 | 0.12075 | 0.12075 | 0.12075 | 1 | 0 | 0.99912 | -0.0061372 | 44.7228
12 | 0.074635 | 0.01879 | -0.074526 | -0.018748 | 0.00010918 | 4.1808e-05 | 0.11119 | 0.11119 | 0.11119 | 0.99912 | -0.0061372 | 0.99761 | -0.016625 | 41.18
13 | 0.063881 | 0.016081 | -0.063825 | -0.016059 | 5.5531e-05 | 2.123e-05 | 0.095308 | 0.095308 | 0.095308 | 0.99761 | -0.016625 | 0.99671 | -0.022854 | 35.2993
14 | 0.062291 | 0.015675 | -0.06227 | -0.015667 | 2.1229e-05 | 8.1139e-06 | 0.093018 | 0.093018 | 0.093018 | 0.99671 | -0.022854 | 0.99636 | -0.025297 | 34.451
15 | 0.010374 | 0.0025997 | -0.010374 | -0.0025995 | 5.1759e-07 | 1.5348e-07 | 0.015443 | 0.015443 | 0.015443 | 0.99963 | -0.0025805 | 0.99958 | -0.002941 | 5.7195
16 | 0.055841 | 0.014056 | -0.055653 | -0.013984 | 0.00018787 | 7.1695e-05 | 0.083417 | 0.083417 | 0.083417 | 0.99636 | -0.025297 | 0.99291 | -0.049473 | 30.8952
17 | 0.0064288 | 0.0016111 | -0.0064278 | -0.001611 | 9.7194e-07 | 1.5378e-07 | 0.009601 | 0.009601 | 0.009601 | 0.99636 | -0.025297 | 0.99621 | -0.02639 | 3.5559
18 | 0.0067116 | 0.0016817 | -0.006711 | -0.0016816 | 6.402e-07 | 1.1152e-07 | 0.0099911 | 0.0099911 | 0.0099911 | 0.99958 | -0.002941 | 0.99948 | -0.0036304 | 3.7004
19 | 0.055653 | 0.013984 | -0.055507 | -0.013928 | 0.00014606 | 5.5742e-05 | 0.083417 | 0.083417 | 0.083417 | 0.99291 | -0.049473 | 0.99022 | -0.068384 | 30.8952
20 | 0.0034674 | 0.00086868 | -0.0034671 | -0.0008688 | 2.9738e-07 | -1.1998e-07 | 0.0051621 | 0.0051622 | 0.0051622 | 0.99948 | -0.0036304 | 0.99939 | -0.0042503 | 1.9119
21 | 0.047482 | 0.011917 | -0.047399 | -0.011885 | 8.2772e-05 | 3.1501e-05 | 0.071358 | 0.071358 | 0.071358 | 0.99022 | -0.068384 | 0.98844 | -0.080963 | 26.429
22 | -0.0044428 | -0.0011131 | 0.0044502 | 0.0011126 | 7.3789e-06 | -4.7781e-07 | 0.0067277 | 0.0067265 | 0.0067277 | 0.98264 | -0.12222 | 0.98432 | -0.1102 | 2.4917
23 | 0.0044428 | 0.0011131 | -0.0044418 | -0.0011131 | 1.0824e-06 | -6.904e-08 | 0.0067277 | 0.0067279 | 0.0067279 | 0.98264 | -0.12222 | 0.98239 | -0.12398 | 2.4918
24 | -0.0044502 | -0.0011126 | 0.0044511 | 0.0011125 | 9.2461e-07 | -6.0755e-08 | 0.0067265 | 0.0067264 | 0.0067265 | 0.98432 | -0.1102 | 0.98453 | -0.10869 | 2.4913
25 | 0.0022963 | 0.00057542 | -0.0022962 | -0.00057548 | 4.5912e-08 | -5.9348e-08 | 0.0034781 | 0.0034781 | 0.0034781 | 0.98239 | -0.12398 | 0.98237 | -0.12412 | 1.2882
26 | -0.0069484 | -0.0017384 | 0.0069496 | 0.0017386 | 1.1589e-06 | 2.315e-07 | 0.010501 | 0.010501 | 0.010501 | 0.98453 | -0.10869 | 0.9847 | -0.10748 | 3.8891
27 | 0.0034671 | 0.0008688 | -0.003467 | -0.00086886 | 1.5255e-07 | -6.1531e-08 | 0.0051622 | 0.0051623 | 0.0051623 | 0.99939 | -0.0042503 | 0.99935 | -0.0045682 | 1.9119
28 | 0.003467 | 0.00086886 | -0.0034669 | -0.00086889 | 6.122e-08 | -2.4689e-08 | 0.0051623 | 0.0051623 | 0.0051623 | 0.99935 | -0.0045682 | 0.99933 | -0.0046957 | 1.912
29 | -0.0087862 | -0.0021989 | 0.0087877 | 0.0021993 | 1.4832e-06 | 3.9887e-07 | 0.013276 | 0.013276 | 0.013276 | 0.9847 | -0.10748 | 0.98487 | -0.10626 | 4.917
30 | -0.04556 | -0.011425 | 0.04556 | 0.011425 | 1.515e-08 | 5.7623e-09 | 0.06859 | 0.06859 | 0.06859 | 0.98844 | -0.080965 | 0.98844 | -0.080963 | 25.4037
31 | 0.034307 | 0.0086042 | -0.034293 | -0.0085988 | 1.4371e-05 | 5.4166e-06 | 0.051649 | 0.051649 | 0.051649 | 0.98844 | -0.080965 | 0.98801 | -0.083988 | 19.1291
32 | 0.032332 | 0.0081074 | -0.03231 | -0.0080991 | 2.1996e-05 | 8.2696e-06 | 0.048696 | 0.048696 | 0.048696 | 0.98801 | -0.083988 | 0.98732 | -0.088901 | 18.0356
33 | 0.023224 | 0.005822 | -0.023207 | -0.0058157 | 1.7137e-05 | 6.3048e-06 | 0.035002 | 0.035002 | 0.035002 | 0.98732 | -0.088901 | 0.98657 | -0.094232 | 12.9639
34 | 0.0011842 | 0.00029672 | -0.0011842 | -0.0002968 | 1.2172e-08 | -7.3388e-08 | 0.0017862 | 0.0017862 | 0.0017862 | 0.98657 | -0.094232 | 0.98656 | -0.094306 | 0.66155
35 | 0.022023 | 0.005519 | -0.022 | -0.0055107 | 2.2628e-05 | 8.284e-06 | 0.033216 | 0.033216 | 0.033216 | 0.98657 | -0.094232 | 0.98552 | -0.10166 | 12.3024
36 | 0.019978 | 0.005004 | -0.019978 | -0.0050037 | 6.9164e-07 | 2.5049e-07 | 0.030164 | 0.030164 | 0.030164 | 0.98552 | -0.10166 | 0.98548 | -0.10191 | 11.1717
37 | 0.0067586 | 0.0016936 | -0.0067571 | -0.0016933 | 1.4891e-06 | 2.8083e-07 | 0.010205 | 0.010205 | 0.010205 | 0.98548 | -0.10191 | 0.98526 | -0.1035 | 3.7796
38 | 0.013219 | 0.0033101 | -0.013215 | -0.0033088 | 3.828e-06 | 1.2761e-06 | 0.019959 | 0.019959 | 0.019959 | 0.98548 | -0.10191 | 0.98519 | -0.10401 | 7.3921
39 | 0.0041897 | 0.0010499 | -0.0041895 | -0.0010499 | 2.1168e-07 | -2.6483e-08 | 0.0063275 | 0.0063275 | 0.0063275 | 0.98526 | -0.1035 | 0.98521 | -0.10387 | 2.3435
40 | 0.011383 | 0.0028497 | -0.011379 | -0.0028485 | 3.5344e-06 | 1.1154e-06 | 0.017192 | 0.017192 | 0.017192 | 0.98519 | -0.10401 | 0.98487 | -0.10626 | 6.3673
41 | 0.0023957 | 0.00060032 | -0.0023956 | -0.0006004 | 7.0862e-08 | -8.3194e-08 | 0.0036183 | 0.0036184 | 0.0036184 | 0.98521 | -0.10387 | 0.98518 | -0.10408 | 1.3401
42 | 0.0025918 | 0.0006492 | -0.0025915 | -0.00064948 | 2.9688e-07 | -2.8062e-07 | 0.0039157 | 0.0039158 | 0.0039158 | 0.98487 | -0.10626 | 0.98476 | -0.10709 | 1.4503

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14469 | 0.036163

## res_load
| p_mw | q_mvar
0 | 0.0049134 | 0.0012314
1 | 0.004588 | 0.0011499
2 | 0.0034729 | 0.00087038
3 | 0.0025924 | 0.00064972
4 | 0.0024483 | 0.00061361
5 | 0.01087 | 0.0027243
6 | 0.0038421 | 0.00096292
7 | 0.0030878 | 0.00077387
8 | 0.0034198 | 0.00085709
9 | 0.0040759 | 0.0010215
10 | 0.0064227 | 0.0016097
11 | 0.010645 | 0.0026679
12 | 0.0015341 | 0.00038449
13 | 0.0090218 | 0.0022611
14 | 0.0036622 | 0.00091783
15 | 0.0064278 | 0.001611
16 | 0.0032436 | 0.00081291
17 | 0.0080249 | 0.0020112
18 | 0.0021455 | 0.00053772
19 | 0.0024973 | 0.00062587
20 | 0.0022962 | 0.00057548
21 | 0.0018366 | 0.0004603
22 | 0.011254 | 0.0028204
23 | 0.0018389 | 0.00046086
24 | 0.0019606 | 0.00049136
25 | 0.0090859 | 0.0022771
26 | 0.0011842 | 0.0002968
27 | 0.0020219 | 0.00050674
28 | 0.0034669 | 0.00086889
29 | 0.0025674 | 0.00064346
30 | 0.0018321 | 0.00045917
31 | 0.0017938 | 0.00044956
32 | 0.0023956 | 0.0006004
33 | 0.0025915 | 0.00064948

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1