## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_995-16_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_995-16_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_995-16_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_995-16_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_995-16_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_995-16_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_995-16_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_995-16_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_995-16_0_2_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_995-16_0_2_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_995-16_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_995-16_0_2_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_995-16_0_2_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_995-16_0_2_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_995-16_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_995-16_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_995-16_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_995-16_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_995-16_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_995-16_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_995-16_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_995-16_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_995-16_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_995-16_0_2_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_995-16_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_MV_346_0_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_995-16_0_2_load_0 | 0 | 0.037625 | 0.0094297 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_995-16_0_2_load_1 | 1 | 0.088188 | 0.022102 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_995-16_0_2_load_3 | 3 | 0.0013977 | 0.0003503 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_995-16_0_2_load_6 | 6 | 0.0022687 | 0.0005686 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_995-16_0_2_load_14 | 8 | 0.0067463 | 0.0016908 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_995-16_0_2_load_22 | 9 | 0.021706 | 0.0054399 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_995-16_0_2_load_7 | 10 | 0.0047825 | 0.0011986 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_995-16_0_2_load_26 | 11 | 0.00145 | 0.00036341 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_995-16_0_2_load_25 | 12 | 0.014201 | 0.0035592 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_995-16_0_2_load_15 | 13 | 0.0060897 | 0.0015262 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_995-16_0_2_load_8 | 14 | 0.0012467 | 0.00031246 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_995-16_0_2_load_12 | 15 | 0.001907 | 0.00047795 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_995-16_0_2_load_13 | 16 | 0.0014521 | 0.00036393 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_995-16_0_2_load_9 | 17 | 0.003628 | 0.00090927 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_995-16_0_2_load_17 | 18 | 0.0021393 | 0.00053617 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_995-16_0_2_load_16 | 20 | 0.0012366 | 0.00030992 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_995-16_0_2_load_20 | 22 | 0.0027403 | 0.00068679 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_995-16_0_2_load_24 | 23 | 0.0057459 | 0.0014401 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_995-16_0_2_load_21 | 24 | 0.0016554 | 0.00041489 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_995-16_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_995-16_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_995-16_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_995-16_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.044987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_995-16_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.095736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_995-16_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.013393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_995-16_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.14614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_995-16_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.051186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_995-16_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.015372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_995-16_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.002806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_995-16_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.05959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_995-16_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.077612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_995-16_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.010804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_995-16_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.027533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_995-16_0_2_line_14 | NAYY 4x150 SE | 13 | 20 | 0.0060835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_995-16_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.021266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_995-16_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.013665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_995-16_0_2_line_17 | NAYY 4x150 SE | 16 | 21 | 0.014159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_995-16_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.036715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_995-16_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.071334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_995-16_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.010005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_995-16_0_2_line_21 | NAYY 4x150 SE | 19 | 23 | 0.019283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_995-16_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.017423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_995-16_0_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.021183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_995-16_0_2_trafo_1 | 0.25 MVA 20/0.4 kV | 25 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2615940.4827 | 1233531.2371 | 2615941.8769 | 1233528.578 | 2615951.1203 | 1233514.194 | 2615952.0349 | 1233512.1038
1 | 2615935.0259 | 1233545.6701 | 2615936.0139 | 1233541.359 | 2615937.2432 | 1233537.4155 | 2615940.4827 | 1233531.2371
2 | 2615952.0349 | 1233512.1038 | 2615953.6566 | 1233508.3973 | 2615954.338 | 1233505.5307 | 2615954.8463 | 1233502.2968 | 2615954.4526 | 1233499.4829 | 2615953.5068 | 1233496.4785 | 2615951.5885 | 1233493.9529
3 | 2615935.0259 | 1233545.6701 | 2615940.5572 | 1233546.4965 | 2615966.5044 | 1233553.0032 | 2615978.6129 | 1233557.0491
4 | 2615860.404 | 1233505.1133 | 2615874.0118 | 1233523.2827 | 2615872.5122 | 1233532.1063 | 2615882.3211 | 1233535.5679 | 2615913.8089 | 1233542.3225 | 2615935.0259 | 1233545.6701
5 | 2615941.4234 | 1233485.2521 | 2615945.7687 | 1233488.6086 | 2615951.5607 | 1233493.9162 | 2615951.5885 | 1233493.9529
6 | 2615978.6129 | 1233557.0491 | 2615987.2835 | 1233561.5418 | 2616001.034 | 1233568.6496 | 2616030.3701 | 1233584.4268 | 2616043.729 | 1233590.7443 | 2616055.177 | 1233595.4335 | 2616062.2184 | 1233597.6983 | 2616066.0609 | 1233598.8093 | 2616073.5508 | 1233600.3416 | 2616086.5205 | 1233602.1776 | 2616101.711 | 1233602.9413 | 2616101.4123 | 1233598.6379 | 2616101.7359 | 1233593.7358 | 2616102.6317 | 1233589.9804
7 | 2615978.6129 | 1233557.0491 | 2615984.1165 | 1233548.4698 | 2615987.501 | 1233545.3547 | 2615992.297 | 1233540.9316 | 2616008.4602 | 1233526.2772 | 2616013.2297 | 1233519.7904
8 | 2615860.404 | 1233505.1133 | 2615869.756 | 1233498.2562 | 2615871.0319 | 1233496.6809 | 2615871.7629 | 1233495.093
9 | 2615941.4234 | 1233485.2521 | 2615939.2028 | 1233483.5368
10 | 2616102.6317 | 1233589.9804 | 2616087.6919 | 1233580.4454 | 2616080.4336 | 1233574.411 | 2616079.5321 | 1233571.8404 | 2616079.5158 | 1233569.4834 | 2616080.4986 | 1233567.1401 | 2616091.9934 | 1233551.7062 | 2616094.9344 | 1233550.28 | 2616097.2018 | 1233549.9426
11 | 2616102.6317 | 1233589.9804 | 2616115.3026 | 1233595.9515 | 2616121.3027 | 1233596.9573 | 2616130.7229 | 1233595.6931 | 2616132.958 | 1233594.9876 | 2616134.4834 | 1233593.5575 | 2616139.2516 | 1233588.2338 | 2616142.0939 | 1233584.1057 | 2616142.4851 | 1233582.1945 | 2616142.4517 | 1233580.5489 | 2616141.6317 | 1233578.6678 | 2616139.534 | 1233576.2051 | 2616121.1595 | 1233563.1527
12 | 2616013.2297 | 1233519.7904 | 2616014.0977 | 1233518.6099 | 2616019.6283 | 1233511.0854
13 | 2615939.2028 | 1233483.5368 | 2615923.642 | 1233471.5169 | 2615918.733 | 1233465.3646
14 | 2616023.2313 | 1233506.1836 | 2616019.6283 | 1233511.0854
15 | 2615918.733 | 1233465.3646 | 2615907.9867 | 1233451.8966 | 2615905.5007 | 1233448.7165
16 | 2615897.0845 | 1233437.9507 | 2615905.5007 | 1233448.7165
17 | 2615888.3641 | 1233426.7958 | 2615897.0845 | 1233437.9507
18 | 2616029.1568 | 1233498.1219 | 2616029.3204 | 1233461.4068
19 | 2616072.9336 | 1233441.8104 | 2616053.8755 | 1233465.9293 | 2616039.1929 | 1233484.4677 | 2616029.1568 | 1233498.1219
20 | 2616029.1568 | 1233498.1219 | 2616023.2313 | 1233506.1836
21 | 2616072.9336 | 1233441.8104 | 2616056.4203 | 1233431.8534
22 | 2615888.3641 | 1233426.7958 | 2615896.4574 | 1233411.367
23 | 2615906.2975 | 1233392.6083 | 2615896.4574 | 1233411.367

## bus_geodata
| x | y | coords
0 | 2615940.4827 | 1233531.2371
1 | 2615952.0349 | 1233512.1038
2 | 2615935.0259 | 1233545.6701
3 | 2615951.5885 | 1233493.9529
4 | 2615978.6129 | 1233557.0491
5 | 2615860.404 | 1233505.1133
6 | 2615941.4234 | 1233485.2521
7 | 2616102.6317 | 1233589.9804
8 | 2616013.2297 | 1233519.7904
9 | 2615871.7629 | 1233495.093
10 | 2615939.2028 | 1233483.5368
11 | 2616097.2018 | 1233549.9426
12 | 2616121.1595 | 1233563.1527
13 | 2616019.6283 | 1233511.0854
14 | 2615918.733 | 1233465.3646
15 | 2615905.5007 | 1233448.7165
16 | 2615897.0845 | 1233437.9507
17 | 2616029.3204 | 1233461.4068
18 | 2616029.1568 | 1233498.1219
19 | 2616072.9336 | 1233441.8104
20 | 2616023.2313 | 1233506.1836
21 | 2615888.3641 | 1233426.7958
22 | 2615896.4574 | 1233411.367
23 | 2616056.4203 | 1233431.8534
24 | 2615906.2975 | 1233392.6083
25 | 2615935.0259 | 1233545.6701

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99677 | -0.022552 | 0.037625 | 0.0094297
1 | 1 | 0 | -0.11956 | -0.029852
2 | 0.99536 | -0.032395 | 0 | 0
3 | 0.99952 | -0.003388 | 0.0013977 | 0.0003503
4 | 0.99269 | -0.051155 | 0 | 0
5 | 0.99237 | -0.053396 | 0 | 0
6 | 0.99921 | -0.0055381 | 0.0022687 | 0.0005686
7 | 0.98939 | -0.074428 | 0 | 0
8 | 0.9908 | -0.064453 | 0.0067463 | 0.0016908
9 | 0.9919 | -0.056779 | 0.021706 | 0.0054399
10 | 0.99915 | -0.005925 | 0.0047825 | 0.0011986
11 | 0.98926 | -0.075311 | 0.00145 | 0.00036341
12 | 0.9878 | -0.085686 | 0.014201 | 0.0035592
13 | 0.99051 | -0.066525 | 0.0060897 | 0.0015262
14 | 0.9988 | -0.0084064 | 0.0012467 | 0.00031246
15 | 0.99856 | -0.010058 | 0.001907 | 0.00047795
16 | 0.99845 | -0.010859 | 0.0014521 | 0.00036393
17 | 0.99004 | -0.069845 | 0.003628 | 0.00090927
18 | 0.99023 | -0.068488 | 0.0021393 | 0.00053617
19 | 0.98964 | -0.072666 | 0 | 0
20 | 0.9904 | -0.067315 | 0.0012366 | 0.00030992
21 | 0.99836 | -0.011483 | 0 | 0
22 | 0.99825 | -0.01225 | 0.0027403 | 0.00068679
23 | 0.98948 | -0.073796 | 0.0057459 | 0.0014401
24 | 0.9982 | -0.012602 | 0.0016554 | 0.00041489
25 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10097 | -0.025351 | 0.10129 | 0.025473 | 0.00031738 | 0.00012178 | 0.15075 | 0.15075 | 0.15075 | 0.99677 | -0.022552 | 1 | 0 | 55.8325
1 | 0.063345 | 0.015921 | -0.063258 | -0.015888 | 8.6685e-05 | 3.3138e-05 | 0.09458 | 0.09458 | 0.09458 | 0.99677 | -0.022552 | 0.99536 | -0.032395 | 35.0296
2 | 0.017471 | 0.0043793 | -0.017463 | -0.0043764 | 8.1935e-06 | 2.8966e-06 | 0.025997 | 0.025997 | 0.025997 | 1 | 0 | 0.99952 | -0.003388 | 9.6285
3 | 0.041479 | 0.010421 | -0.041371 | -0.01038 | 0.00010797 | 4.0945e-05 | 0.062018 | 0.062018 | 0.062018 | 0.99536 | -0.032395 | 0.99269 | -0.051155 | 22.9698
4 | 0.021779 | 0.0054668 | -0.021716 | -0.0054436 | 6.334e-05 | 2.3121e-05 | 0.032562 | 0.032562 | 0.032562 | 0.99536 | -0.032395 | 0.99237 | -0.053396 | 12.06
5 | 0.016065 | 0.0040261 | -0.01606 | -0.0040244 | 4.7801e-06 | 1.663e-06 | 0.023916 | 0.023916 | 0.023916 | 0.99952 | -0.003388 | 0.99921 | -0.0055381 | 8.8579
6 | 0.015724 | 0.0039471 | -0.015674 | -0.0039294 | 5.0674e-05 | 1.7607e-05 | 0.023573 | 0.023573 | 0.023573 | 0.99269 | -0.051155 | 0.98939 | -0.074428 | 8.7309
7 | 0.025647 | 0.0064332 | -0.025599 | -0.0064157 | 4.721e-05 | 1.7497e-05 | 0.038446 | 0.038446 | 0.038446 | 0.99269 | -0.051155 | 0.9908 | -0.064453 | 14.2392
8 | 0.021716 | 0.0054436 | -0.021706 | -0.0054399 | 1.017e-05 | 3.7131e-06 | 0.032562 | 0.032562 | 0.032562 | 0.99237 | -0.053396 | 0.9919 | -0.056779 | 12.06
9 | 0.013791 | 0.0034558 | -0.013791 | -0.0034556 | 7.3855e-07 | 2.473e-07 | 0.020538 | 0.020538 | 0.020538 | 0.99921 | -0.0055381 | 0.99915 | -0.005925 | 7.6066
10 | 0.0014502 | 0.00036272 | -0.00145 | -0.00036341 | 1.7687e-07 | -6.9715e-07 | 0.0021808 | 0.0021811 | 0.0021811 | 0.98939 | -0.074428 | 0.98926 | -0.075311 | 0.80781
11 | 0.014224 | 0.0035667 | -0.014201 | -0.0035592 | 2.2164e-05 | 7.5295e-06 | 0.021393 | 0.021393 | 0.021393 | 0.98939 | -0.074428 | 0.9878 | -0.085686 | 7.9233
12 | 0.018853 | 0.0047249 | -0.018848 | -0.0047229 | 5.4046e-06 | 1.9396e-06 | 0.028314 | 0.028314 | 0.028314 | 0.9908 | -0.064453 | 0.99051 | -0.066525 | 10.4868
13 | 0.009008 | 0.002257 | -0.0090049 | -0.0022562 | 3.092e-06 | 8.2876e-07 | 0.013415 | 0.013415 | 0.013415 | 0.99915 | -0.005925 | 0.9988 | -0.0084064 | 4.9686
14 | 0.012758 | 0.0031967 | -0.012757 | -0.0031963 | 1.3944e-06 | 4.5802e-07 | 0.019166 | 0.019166 | 0.019166 | 0.99051 | -0.066525 | 0.9904 | -0.067315 | 7.0985
15 | 0.0077582 | 0.0019437 | -0.0077564 | -0.0019433 | 1.7727e-06 | 4.0356e-07 | 0.011558 | 0.011558 | 0.011558 | 0.9988 | -0.0084064 | 0.99856 | -0.010058 | 4.2808
16 | 0.0058494 | 0.0014653 | -0.0058488 | -0.0014653 | 6.4784e-07 | 7.0426e-08 | 0.0087163 | 0.0087164 | 0.0087164 | 0.99856 | -0.010058 | 0.99845 | -0.010859 | 3.2283
17 | 0.0043967 | 0.0011013 | -0.0043963 | -0.0011014 | 3.7932e-07 | -3.9272e-08 | 0.0065523 | 0.0065524 | 0.0065524 | 0.99845 | -0.010859 | 0.99836 | -0.011483 | 2.4268
18 | -0.003628 | -0.00090927 | 0.0036287 | 0.00090906 | 6.812e-07 | -2.1023e-07 | 0.0054529 | 0.0054527 | 0.0054529 | 0.99004 | -0.069845 | 0.99023 | -0.068488 | 2.0196
19 | 0.0057502 | 0.0014405 | -0.0057468 | -0.0014402 | 3.3234e-06 | 3.611e-07 | 0.0086405 | 0.0086408 | 0.0086408 | 0.99023 | -0.068488 | 0.98964 | -0.072666 | 3.2003
20 | -0.011518 | -0.0028858 | 0.01152 | 0.0028863 | 1.8702e-06 | 5.906e-07 | 0.017308 | 0.017308 | 0.017308 | 0.99023 | -0.068488 | 0.9904 | -0.067315 | 6.4104
21 | 0.0057468 | 0.0014402 | -0.0057459 | -0.0014401 | 8.9841e-07 | 9.7817e-08 | 0.0086408 | 0.0086409 | 0.0086409 | 0.98964 | -0.072666 | 0.98948 | -0.073796 | 3.2003
22 | 0.0043963 | 0.0011014 | -0.0043958 | -0.0011014 | 4.6676e-07 | -4.8274e-08 | 0.0065524 | 0.0065524 | 0.0065524 | 0.99836 | -0.011483 | 0.99825 | -0.01225 | 2.4268
23 | 0.0016555 | 0.00041464 | -0.0016554 | -0.00041489 | 8.0492e-08 | -2.4596e-07 | 0.0024676 | 0.0024677 | 0.0024677 | 0.99825 | -0.01225 | 0.9982 | -0.012602 | 0.91398

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20775 | 0.051954

## res_load
| p_mw | q_mvar
0 | 0.037625 | 0.0094297
1 | 0.088188 | 0.022102
2 | 0.0013977 | 0.0003503
3 | 0.0022687 | 0.0005686
4 | 0.0067463 | 0.0016908
5 | 0.021706 | 0.0054399
6 | 0.0047825 | 0.0011986
7 | 0.00145 | 0.00036341
8 | 0.014201 | 0.0035592
9 | 0.0060897 | 0.0015262
10 | 0.0012467 | 0.00031246
11 | 0.001907 | 0.00047795
12 | 0.0014521 | 0.00036393
13 | 0.003628 | 0.00090927
14 | 0.0021393 | 0.00053617
15 | 0.0012366 | 0.00030992
16 | 0.0027403 | 0.00068679
17 | 0.0057459 | 0.0014401
18 | 0.0016554 | 0.00041489

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1