## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_995-3_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_995-3_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_995-3_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_995-3_0_1_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_995-3_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_995-3_0_1_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_995-3_0_1_node_65 | 0.4 | n |  | TRUE
7 | bus_LV_995-3_0_1_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_995-3_0_1_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_995-3_0_1_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_995-3_0_1_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_995-3_0_1_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_995-3_0_1_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_995-3_0_1_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_995-3_0_1_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_995-3_0_1_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_995-3_0_1_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_995-3_0_1_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_995-3_0_1_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_995-3_0_1_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_995-3_0_1_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_995-3_0_1_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_995-3_0_1_node_66 | 0.4 | n |  | TRUE
23 | bus_MV_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_995-3_0_1_load_0 | 0 | 0.0034061 | 0.00085365 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_995-3_0_1_load_1 | 1 | 0.0012703 | 0.00031836 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_995-3_0_1_load_3 | 5 | 0.006463 | 0.0016198 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_995-3_0_1_load_65 | 6 | 0.0020456 | 0.00051268 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_995-3_0_1_load_6 | 8 | 0.0014459 | 0.00036239 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_995-3_0_1_load_13 | 10 | 0.0017099 | 0.00042855 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_995-3_0_1_load_17 | 14 | 0.0012833 | 0.00032161 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_995-3_0_1_load_22 | 15 | 0.024011 | 0.0060178 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_995-3_0_1_load_59 | 16 | 0.0031582 | 0.00079152 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_995-3_0_1_load_14 | 17 | 0.0013904 | 0.00034848 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_995-3_0_1_load_15 | 18 | 0.0020181 | 0.00050578 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_995-3_0_1_load_16 | 19 | 0.0016273 | 0.00040785 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_995-3_0_1_load_18 | 20 | 0.00092179 | 0.00023102 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_995-3_0_1_load_66 | 22 | 0.0020211 | 0.00050654 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_995-3_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.041374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_995-3_0_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.016061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_995-3_0_1_line_2 | NAYY 4x150 SE | 2 | 3 | 0.021075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_995-3_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_995-3_0_1_line_4 | NAYY 4x150 SE | 3 | 6 | 0.011923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_995-3_0_1_line_5 | NAYY 4x150 SE | 3 | 7 | 0.032914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_995-3_0_1_line_6 | NAYY 4x150 SE | 4 | 5 | 0.060787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_995-3_0_1_line_7 | NAYY 4x150 SE | 7 | 22 | 0.011683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_995-3_0_1_line_8 | NAYY 4x150 SE | 7 | 21 | 0.01363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_995-3_0_1_line_9 | NAYY 4x150 SE | 8 | 9 | 0.011338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_995-3_0_1_line_10 | NAYY 4x150 SE | 9 | 10 | 0.063733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_995-3_0_1_line_11 | NAYY 4x150 SE | 9 | 11 | 0.15218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_995-3_0_1_line_12 | NAYY 4x150 SE | 11 | 16 | 0.021797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_995-3_0_1_line_13 | NAYY 4x150 SE | 11 | 13 | 0.10763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_995-3_0_1_line_14 | NAYY 4x150 SE | 12 | 13 | 0.082931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_995-3_0_1_line_15 | NAYY 4x150 SE | 12 | 14 | 0.016128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_995-3_0_1_line_16 | NAYY 4x150 SE | 13 | 15 | 0.060743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_995-3_0_1_line_17 | NAYY 4x150 SE | 14 | 18 | 0.031306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_995-3_0_1_line_18 | NAYY 4x150 SE | 16 | 21 | 0.02365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_995-3_0_1_line_19 | NAYY 4x150 SE | 17 | 18 | 0.034397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_995-3_0_1_line_20 | NAYY 4x150 SE | 17 | 19 | 0.015312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_995-3_0_1_line_21 | NAYY 4x150 SE | 19 | 20 | 0.014074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_995-3_0_1_trafo_22 | 0.25 MVA 20/0.4 kV | 23 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2616601.7675 | 1231926.6491 | 2616601.2091 | 1231942.6282 | 2616575.8337 | 1231941.938
1 | 2616559.7787 | 1231941.5013 | 2616575.8337 | 1231941.938
2 | 2616540.2123 | 1231944.4377 | 2616555.0595 | 1231944.9124 | 2616558.1133 | 1231944.0537 | 2616559.7787 | 1231941.5013
3 | 2616559.7787 | 1231941.5013 | 2616558.1133 | 1231944.0537 | 2616568.2113 | 1231953.3096
4 | 2616540.5028 | 1231932.5202 | 2616540.2123 | 1231944.4377
5 | 2616507.3152 | 1231943.3904 | 2616523.7524 | 1231943.9251 | 2616540.2123 | 1231944.4377
6 | 2616568.2113 | 1231953.3096 | 2616567.1028 | 1231984.3586 | 2616596.7891 | 1231985.7258
7 | 2616507.7716 | 1231931.7179 | 2616507.3152 | 1231943.3904
8 | 2616493.6488 | 1231943.0746 | 2616502.9239 | 1231943.2559 | 2616507.3152 | 1231943.3904
9 | 2616331.0837 | 1231961.0271 | 2616323.5119 | 1231969.4659
10 | 2616331.0837 | 1231961.0271 | 2616339.563 | 1231964.2301 | 2616377.4605 | 1231969.6706 | 2616379.0678 | 1231971.6762 | 2616377.8484 | 1231985.5701
11 | 2616331.0837 | 1231961.0271 | 2616341.7861 | 1231948.7379 | 2616346.1105 | 1231945.6701 | 2616363.0541 | 1231932.7199 | 2616378.2927 | 1231923.0336 | 2616395.3123 | 1231918.3109 | 2616411.0731 | 1231914.2629 | 2616413.1035 | 1231922.0954 | 2616414.5418 | 1231927.7361 | 2616415.7854 | 1231932.5869 | 2616417.651 | 1231939.7852 | 2616424.613 | 1231938.5259 | 2616431.9434 | 1231938.257 | 2616448.285 | 1231940.4922
12 | 2616448.285 | 1231940.4922 | 2616464.5836 | 1231941.8602 | 2616470.0197 | 1231942.0874
13 | 2616444.9791 | 1232005.2778 | 2616444.5291 | 1232000.9739 | 2616443.0772 | 1231997.5345 | 2616440.6469 | 1231994.7039 | 2616437.4722 | 1231992.7273 | 2616433.8554 | 1231991.7945 | 2616430.1144 | 1231991.9955 | 2616423.4563 | 1231968.1183 | 2616417.651 | 1231939.7852 | 2616424.613 | 1231938.5259 | 2616431.9434 | 1231938.257 | 2616448.285 | 1231940.4922
14 | 2616380.8108 | 1232017.9645 | 2616392.606 | 1232015.8511 | 2616410.3008 | 1232013.2982 | 2616410.6459 | 1232006.206 | 2616420.402 | 1232004.9098 | 2616421.2025 | 1232008.403 | 2616422.9809 | 1232011.5209 | 2616425.594 | 1232013.9852 | 2616428.8152 | 1232015.5839 | 2616432.3571 | 1232016.194 | 2616435.9322 | 1232015.748 | 2616439.3741 | 1232014.1788 | 2616442.1827 | 1232011.6406 | 2616444.0771 | 1232008.3771 | 2616444.9791 | 1232005.2778
15 | 2616380.8108 | 1232017.9645 | 2616380.7083 | 1232019.4762 | 2616380.4317 | 1232034.0865
16 | 2616444.9791 | 1232005.2778 | 2616476.6102 | 1232006.7437 | 2616505.6828 | 1232007.2885
17 | 2616380.4317 | 1232034.0865 | 2616379.8668 | 1232063.9229 | 2616380.1737 | 1232065.3547
18 | 2616493.6488 | 1231943.0746 | 2616470.0197 | 1231942.0874
19 | 2616409.7063 | 1232077.5412 | 2616385.3772 | 1232072.8879 | 2616380.9658 | 1232069.0512 | 2616380.1737 | 1232065.3547
20 | 2616409.7063 | 1232077.5412 | 2616415.8677 | 1232078.7197 | 2616424.731 | 1232080.4922
21 | 2616424.731 | 1232080.4922 | 2616438.5319 | 1232083.2523

## bus_geodata
| x | y | coords
0 | 2616601.7675 | 1231926.6491
1 | 2616575.8337 | 1231941.938
2 | 2616559.7787 | 1231941.5013
3 | 2616540.2123 | 1231944.4377
4 | 2616568.2113 | 1231953.3096
5 | 2616596.7891 | 1231985.7258
6 | 2616540.5028 | 1231932.5202
7 | 2616507.3152 | 1231943.3904
8 | 2616323.5119 | 1231969.4659
9 | 2616331.0837 | 1231961.0271
10 | 2616377.8484 | 1231985.5701
11 | 2616448.285 | 1231940.4922
12 | 2616380.8108 | 1232017.9645
13 | 2616444.9791 | 1232005.2778
14 | 2616380.4317 | 1232034.0865
15 | 2616505.6828 | 1232007.2885
16 | 2616470.0197 | 1231942.0874
17 | 2616409.7063 | 1232077.5412
18 | 2616380.1737 | 1232065.3547
19 | 2616424.731 | 1232080.4922
20 | 2616438.5319 | 1232083.2523
21 | 2616493.6488 | 1231943.0746
22 | 2616507.7716 | 1231931.7179
23 | 2616505.6828 | 1232007.2885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9915 | -0.059671 | 0.0034061 | 0.00085365
1 | 0.99171 | -0.05824 | 0.0012703 | 0.00031836
2 | 0.99181 | -0.057477 | 0 | 0
3 | 0.99215 | -0.055093 | 0 | 0
4 | 0.99166 | -0.058577 | 0 | 0
5 | 0.99109 | -0.062568 | 0.006463 | 0.0016198
6 | 0.99212 | -0.055341 | 0.0020456 | 0.00051268
7 | 0.99278 | -0.05069 | 0 | 0
8 | 0.99345 | -0.045938 | 0.0014459 | 0.00036239
9 | 0.99348 | -0.045772 | 0 | 0
10 | 0.99332 | -0.046876 | 0.0017099 | 0.00042855
11 | 0.99417 | -0.040896 | 0 | 0
12 | 0.99663 | -0.023569 | 0 | 0
13 | 0.99749 | -0.017529 | 0 | 0
14 | 0.99647 | -0.024745 | 0.0012833 | 0.00032161
15 | 1 | 0 | -0.029754 | -0.0072711
16 | 0.99359 | -0.044946 | 0.0031582 | 0.00079152
17 | 0.99601 | -0.027987 | 0.0013904 | 0.00034848
18 | 0.9962 | -0.026622 | 0.0020181 | 0.00050578
19 | 0.99595 | -0.02838 | 0.0016273 | 0.00040785
20 | 0.99593 | -0.028511 | 0.00092179 | 0.00023102
21 | 0.99307 | -0.048589 | 0 | 0
22 | 0.99274 | -0.050929 | 0.0020211 | 0.00050654
23 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0034061 | -0.00085364 | 0.0034068 | 0.00085337 | 6.7457e-07 | -2.7427e-07 | 0.0051117 | 0.0051116 | 0.0051117 | 0.9915 | -0.059671 | 0.99171 | -0.05824 | 1.8932
1 | -0.004677 | -0.0011717 | 0.0046775 | 0.0011717 | 4.9354e-07 | -1.7427e-08 | 0.0070175 | 0.0070175 | 0.0070175 | 0.99171 | -0.05824 | 0.99181 | -0.057477 | 2.5991
2 | -0.011145 | -0.0027922 | 0.011149 | 0.0027934 | 3.6766e-06 | 1.142e-06 | 0.016721 | 0.016721 | 0.016721 | 0.99181 | -0.057477 | 0.99215 | -0.055093 | 6.1928
3 | 0.0064676 | 0.0016205 | -0.0064666 | -0.0016204 | 9.8383e-07 | 1.6232e-07 | 0.0097031 | 0.0097032 | 0.0097032 | 0.99181 | -0.057477 | 0.99166 | -0.058577 | 3.5938
4 | 0.0020457 | 0.00051255 | -0.0020456 | -0.00051268 | 7.0032e-08 | -1.2703e-07 | 0.003068 | 0.0030681 | 0.0030681 | 0.99215 | -0.055093 | 0.99212 | -0.055341 | 1.1363
5 | -0.013194 | -0.0033059 | 0.013202 | 0.0033086 | 8.0424e-06 | 2.6679e-06 | 0.019789 | 0.019788 | 0.019789 | 0.99215 | -0.055093 | 0.99278 | -0.05069 | 7.3291
6 | 0.0064666 | 0.0016204 | -0.006463 | -0.0016198 | 3.5714e-06 | 5.8982e-07 | 0.0097032 | 0.0097035 | 0.0097035 | 0.99166 | -0.058577 | 0.99109 | -0.062568 | 3.5939
7 | 0.0020212 | 0.00050642 | -0.0020211 | -0.00050654 | 6.6906e-08 | -1.2533e-07 | 0.0030294 | 0.0030295 | 0.0030295 | 0.99278 | -0.05069 | 0.99274 | -0.050929 | 1.122
8 | -0.015224 | -0.003815 | 0.015228 | 0.0038165 | 4.4282e-06 | 1.5269e-06 | 0.022818 | 0.022818 | 0.022818 | 0.99278 | -0.05069 | 0.99307 | -0.048589 | 8.451
9 | -0.0014459 | -0.00036239 | 0.001446 | 0.00036225 | 3.3184e-08 | -1.3404e-07 | 0.0021658 | 0.0021657 | 0.0021658 | 0.99345 | -0.045938 | 0.99348 | -0.045772 | 0.80214
10 | 0.0017102 | 0.00042782 | -0.0017099 | -0.00042855 | 2.6091e-07 | -7.2478e-07 | 0.0025612 | 0.0025615 | 0.0025615 | 0.99348 | -0.045772 | 0.99332 | -0.046876 | 0.94871
11 | -0.0031562 | -0.00079008 | 0.0031583 | 0.00078892 | 2.1214e-06 | -1.1559e-06 | 0.0047269 | 0.0047262 | 0.0047269 | 0.99348 | -0.045772 | 0.99417 | -0.040896 | 1.7507
12 | 0.018404 | 0.0046144 | -0.018394 | -0.0046107 | 1.0321e-05 | 3.6873e-06 | 0.027547 | 0.027547 | 0.027547 | 0.99417 | -0.040896 | 0.99359 | -0.044946 | 10.2027
13 | -0.021563 | -0.0054033 | 0.021633 | 0.0054288 | 6.9951e-05 | 2.5504e-05 | 0.032274 | 0.032273 | 0.032274 | 0.99417 | -0.040896 | 0.99749 | -0.017529 | 11.9532
14 | -0.0072445 | -0.0018147 | 0.0072506 | 0.0018159 | 6.0537e-06 | 1.2467e-06 | 0.010816 | 0.010816 | 0.010816 | 0.99663 | -0.023569 | 0.99749 | -0.017529 | 4.0059
15 | 0.0072445 | 0.0018147 | -0.0072434 | -0.0018144 | 1.1774e-06 | 2.427e-07 | 0.010816 | 0.010816 | 0.010816 | 0.99663 | -0.023569 | 0.99647 | -0.024745 | 4.006
16 | -0.028883 | -0.0072448 | 0.028954 | 0.007271 | 7.0373e-05 | 2.6271e-05 | 0.043089 | 0.043088 | 0.043089 | 0.99749 | -0.017529 | 1 | 0 | 15.9588
17 | 0.0059601 | 0.0014928 | -0.0059586 | -0.0014926 | 1.5473e-06 | 1.8742e-07 | 0.0088999 | 0.0089 | 0.0089 | 0.99647 | -0.024745 | 0.9962 | -0.026622 | 3.2963
18 | 0.015236 | 0.0038192 | -0.015228 | -0.0038166 | 7.6834e-06 | 2.649e-06 | 0.022818 | 0.022818 | 0.022818 | 0.99359 | -0.044946 | 0.99307 | -0.048589 | 8.451
19 | -0.0039397 | -0.00098702 | 0.0039405 | 0.00098686 | 7.4352e-07 | -1.6178e-07 | 0.0058857 | 0.0058856 | 0.0058857 | 0.99601 | -0.027987 | 0.9962 | -0.026622 | 2.1799
20 | 0.0025493 | 0.00063855 | -0.0025491 | -0.00063869 | 1.3858e-07 | -1.4597e-07 | 0.0038084 | 0.0038085 | 0.0038085 | 0.99601 | -0.027987 | 0.99595 | -0.02838 | 1.4106
21 | 0.0009218 | 0.00023084 | -0.00092179 | -0.00023102 | 1.6657e-08 | -1.7674e-07 | 0.0013772 | 0.0013772 | 0.0013772 | 0.99595 | -0.02838 | 0.99593 | -0.028511 | 0.51009

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.053765 | 0.013289

## res_load
| p_mw | q_mvar
0 | 0.0034061 | 0.00085365
1 | 0.0012703 | 0.00031836
2 | 0.006463 | 0.0016198
3 | 0.0020456 | 0.00051268
4 | 0.0014459 | 0.00036239
5 | 0.0017099 | 0.00042855
6 | 0.0012833 | 0.00032161
7 | 0.024011 | 0.0060178
8 | 0.0031582 | 0.00079152
9 | 0.0013904 | 0.00034848
10 | 0.0020181 | 0.00050578
11 | 0.0016273 | 0.00040785
12 | 0.00092179 | 0.00023102
13 | 0.0020211 | 0.00050654

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1