## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_995-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_995-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_995-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_995-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_995-4_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_995-4_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_995-4_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_995-4_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_995-4_0_2_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_995-4_0_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_995-4_0_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_995-4_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_995-4_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_995-4_0_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_995-4_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_995-4_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_995-4_0_2_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_995-4_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_995-4_0_2_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_995-4_0_2_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_995-4_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_995-4_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_995-4_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_995-4_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_995-4_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_995-4_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_995-4_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_995-4_0_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_995-4_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_995-4_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_995-4_0_2_node_33 | 0.4 | n |  | TRUE
31 | bus_MV_346_0_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_995-4_0_2_load_0 | 0 | 0.0027485 | 0.00068885 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_995-4_0_2_load_3 | 3 | 0.0049182 | 0.0012326 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_995-4_0_2_load_4 | 4 | 0.0087233 | 0.0021863 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_995-4_0_2_load_6 | 6 | 0.0032835 | 0.00082293 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_995-4_0_2_load_31 | 8 | 0.0020169 | 0.00050548 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_995-4_0_2_load_13 | 9 | 0.0059108 | 0.0014814 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_995-4_0_2_load_11 | 10 | 0.0055097 | 0.0013809 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_995-4_0_2_load_14 | 11 | 0.0075183 | 0.0018843 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_995-4_0_2_load_7 | 12 | 0.0041512 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_995-4_0_2_load_27 | 13 | 0.0066739 | 0.0016726 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_995-4_0_2_load_12 | 14 | 0.0032085 | 0.00080413 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_995-4_0_2_load_15 | 15 | 0.005649 | 0.0014158 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_995-4_0_2_load_16 | 17 | 0.0013849 | 0.00034709 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_995-4_0_2_load_30 | 18 | 0.0071229 | 0.0017852 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_995-4_0_2_load_34 | 19 | 0.003864 | 0.00096842 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_995-4_0_2_load_17 | 20 | 0.0092129 | 0.002309 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_995-4_0_2_load_20 | 23 | 0.0040761 | 0.0010216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_995-4_0_2_load_21 | 24 | 0.0048071 | 0.0012048 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_995-4_0_2_load_22 | 25 | 0.0073659 | 0.0018461 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_995-4_0_2_load_26 | 26 | 0.0016452 | 0.00041234 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_995-4_0_2_load_29 | 27 | 0.005887 | 0.0014754 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_995-4_0_2_load_24 | 28 | 0.0051856 | 0.0012996 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_995-4_0_2_load_25 | 29 | 0.0059162 | 0.0014828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_995-4_0_2_load_33 | 30 | 0.0045178 | 0.0011323 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_995-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_995-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_995-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_995-4_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.0072631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_995-4_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.007429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_995-4_0_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.028482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_995-4_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.0077735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_995-4_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.010801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_995-4_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.01325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_995-4_0_2_line_9 | NAYY 4x150 SE | 5 | 10 | 0.01566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_995-4_0_2_line_10 | NAYY 4x150 SE | 6 | 11 | 0.020061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_995-4_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.029851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_995-4_0_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.010881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_995-4_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0021872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_995-4_0_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.0019804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_995-4_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.019249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_995-4_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.016876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_995-4_0_2_line_17 | NAYY 4x150 SE | 16 | 26 | 0.0087126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_995-4_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.027496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_995-4_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.066883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_995-4_0_2_line_20 | NAYY 4x150 SE | 19 | 30 | 0.0088966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_995-4_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_995-4_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.016202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_995-4_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.022702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_995-4_0_2_line_24 | NAYY 4x150 SE | 21 | 24 | 0.0092869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_995-4_0_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.021119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_995-4_0_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.010139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_995-4_0_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.0024733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_995-4_0_2_line_28 | NAYY 4x150 SE | 25 | 28 | 5.8314e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_995-4_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.00016155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_995-4_0_2_trafo_6 | 0.25 MVA 20/0.4 kV | 31 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2615648.1187 | 1233396.3424 | 2615653.3506 | 1233398.8576 | 2615658.0607 | 1233401.1269 | 2615668.5981 | 1233409.015
1 | 2615680.4467 | 1233417.8847 | 2615668.5981 | 1233409.015
2 | 2615648.1187 | 1233396.3424 | 2615648.5843 | 1233394.8871 | 2615648.8992 | 1233393.1647 | 2615648.8726 | 1233391.7638 | 2615648.5281 | 1233390.3287 | 2615646.583 | 1233387.2884 | 2615640.2523 | 1233379.4442
3 | 2615648.1187 | 1233396.3424 | 2615646.5688 | 1233398.4618 | 2615645.1659 | 1233399.4142 | 2615643.4757 | 1233400.2103 | 2615642.4341 | 1233400.4701
4 | 2615680.4467 | 1233417.8847 | 2615687.8094 | 1233419.027
5 | 2615680.4467 | 1233417.8847 | 2615675.8609 | 1233431.6588 | 2615669.9434 | 1233444.3079
6 | 2615635.3703 | 1233373.395 | 2615640.2523 | 1233379.4442
7 | 2615631.9388 | 1233399.042 | 2615637.9253 | 1233400.7961 | 2615640.7411 | 1233400.8924 | 2615642.4341 | 1233400.4701
8 | 2615687.8094 | 1233419.027 | 2615691.4263 | 1233419.5924 | 2615700.6485 | 1233422.2192
9 | 2615687.8094 | 1233419.027 | 2615695.3914 | 1233411.5869 | 2615699.6329 | 1233408.8698
10 | 2615669.9434 | 1233444.3079 | 2615661.4427 | 1233462.4786
11 | 2615635.3703 | 1233373.395 | 2615643.0184 | 1233369.6239 | 2615648.0082 | 1233369.2256 | 2615664.322 | 1233369.5835
12 | 2615700.6485 | 1233422.2192 | 2615711.1129 | 1233425.1999
13 | 2615701.4747 | 1233407.69 | 2615699.6329 | 1233408.8698
14 | 2615660.6035 | 1233464.2724 | 2615661.4427 | 1233462.4786
15 | 2615728.5517 | 1233433.1873 | 2615715.4583 | 1233426.4376 | 2615711.1129 | 1233425.1999
16 | 2615660.6035 | 1233464.2724 | 2615653.4523 | 1233479.5585
17 | 2615728.5517 | 1233433.1873 | 2615726.1309 | 1233438.3285 | 2615724.7937 | 1233441.0475
18 | 2615653.4523 | 1233479.5585 | 2615649.2012 | 1233488.6456 | 2615648.0501 | 1233494.5795 | 2615647.8939 | 1233499.3042 | 2615649.6256 | 1233505.7682
19 | 2615649.6256 | 1233505.7682 | 2615622.3426 | 1233566.8337
20 | 2615622.3426 | 1233566.8337 | 2615614.0812 | 1233563.5325
21 | 2615710.3005 | 1233470.5174 | 2615716.9869 | 1233481.197
22 | 2615731.5403 | 1233488.3175 | 2615716.9869 | 1233481.197
23 | 2615710.3005 | 1233470.5174 | 2615717.3176 | 1233456.2495 | 2615720.3195 | 1233450.1453
24 | 2615710.3005 | 1233470.5174 | 2615703.2026 | 1233464.5285
25 | 2615731.5403 | 1233488.3175 | 2615724.6868 | 1233500.8181 | 2615721.3079 | 1233506.7914
26 | 2615720.3195 | 1233450.1453 | 2615724.7937 | 1233441.0475
27 | 2615701.3122 | 1233462.9336 | 2615703.2026 | 1233464.5285
28 | 2615721.2792 | 1233506.8422 | 2615721.3079 | 1233506.7914
29 | 2615721.1996 | 1233506.9828 | 2615721.2792 | 1233506.8422

## bus_geodata
| x | y | coords
0 | 2615668.5981 | 1233409.015
1 | 2615648.1187 | 1233396.3424
2 | 2615680.4467 | 1233417.8847
3 | 2615640.2523 | 1233379.4442
4 | 2615642.4341 | 1233400.4701
5 | 2615687.8094 | 1233419.027
6 | 2615669.9434 | 1233444.3079
7 | 2615635.3703 | 1233373.395
8 | 2615631.9388 | 1233399.042
9 | 2615700.6485 | 1233422.2192
10 | 2615699.6329 | 1233408.8698
11 | 2615661.4427 | 1233462.4786
12 | 2615664.322 | 1233369.5835
13 | 2615711.1129 | 1233425.1999
14 | 2615701.4747 | 1233407.69
15 | 2615660.6035 | 1233464.2724
16 | 2615728.5517 | 1233433.1873
17 | 2615653.4523 | 1233479.5585
18 | 2615649.6256 | 1233505.7682
19 | 2615622.3426 | 1233566.8337
20 | 2615716.9869 | 1233481.197
21 | 2615710.3005 | 1233470.5174
22 | 2615731.5403 | 1233488.3175
23 | 2615720.3195 | 1233450.1453
24 | 2615703.2026 | 1233464.5285
25 | 2615721.3079 | 1233506.7914
26 | 2615724.7937 | 1233441.0475
27 | 2615701.3122 | 1233462.9336
28 | 2615721.2792 | 1233506.8422
29 | 2615721.1996 | 1233506.9828
30 | 2615614.0812 | 1233563.5325
31 | 2615680.4467 | 1233417.8847

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99592 | -0.028461 | 0.0027485 | 0.00068885
1 | 0.99524 | -0.033289 | 0 | 0
2 | 0.9964 | -0.025102 | 0 | 0
3 | 0.99498 | -0.035104 | 0.0049182 | 0.0012326
4 | 0.99512 | -0.034076 | 0.0087233 | 0.0021863
5 | 0.9957 | -0.02999 | 0 | 0
6 | 1 | 0 | -0.11953 | -0.029846
7 | 0.99493 | -0.03543 | 0 | 0
8 | 0.99509 | -0.034295 | 0.0020169 | 0.00050548
9 | 0.99462 | -0.03756 | 0.0059108 | 0.0014814
10 | 0.99551 | -0.031365 | 0.0055097 | 0.0013809
11 | 0.99914 | -0.0060255 | 0.0075183 | 0.0018843
12 | 0.99475 | -0.03668 | 0.0041512 | 0.0010404
13 | 0.99383 | -0.043139 | 0.0066739 | 0.0016726
14 | 0.9955 | -0.031436 | 0.0032085 | 0.00080413
15 | 0.99908 | -0.006472 | 0.005649 | 0.0014158
16 | 0.9926 | -0.051729 | 0 | 0
17 | 0.99867 | -0.009325 | 0.0013849 | 0.00034709
18 | 0.99806 | -0.013596 | 0.0071229 | 0.0017852
19 | 0.99726 | -0.01922 | 0.003864 | 0.00096842
20 | 0.98967 | -0.072403 | 0.0092129 | 0.002309
21 | 0.99018 | -0.06885 | 0 | 0
22 | 0.98924 | -0.075454 | 0 | 0
23 | 0.99143 | -0.059992 | 0.0040761 | 0.0010216
24 | 0.99003 | -0.069862 | 0.0048071 | 0.0012048
25 | 0.98868 | -0.079434 | 0.0073659 | 0.0018461
26 | 0.99205 | -0.055624 | 0.0016452 | 0.00041234
27 | 0.99001 | -0.07001 | 0.005887 | 0.0014754
28 | 0.98868 | -0.07944 | 0.0051856 | 0.0012996
29 | 0.98868 | -0.07945 | 0.0059162 | 0.0014828
30 | 0.9972 | -0.019624 | 0.0045178 | 0.0011323
31 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.019827 | 0.0049703 | -0.019814 | -0.0049655 | 1.3251e-05 | 4.7818e-06 | 0.029625 | 0.029625 | 0.029625 | 0.99592 | -0.028461 | 0.99524 | -0.033289 | 10.9721
1 | -0.022576 | -0.0056591 | 0.022586 | 0.005663 | 1.0508e-05 | 3.8489e-06 | 0.033731 | 0.033731 | 0.033731 | 0.99592 | -0.028461 | 0.9964 | -0.025102 | 12.493
2 | 0.0090726 | 0.0022735 | -0.0090704 | -0.0022729 | 2.2786e-06 | 6.1857e-07 | 0.013565 | 0.013565 | 0.013565 | 0.99524 | -0.033289 | 0.99498 | -0.035104 | 5.024
3 | 0.010741 | 0.002692 | -0.01074 | -0.0026916 | 1.1689e-06 | 3.5522e-07 | 0.01606 | 0.01606 | 0.01606 | 0.99524 | -0.033289 | 0.99512 | -0.034076 | 5.9481
4 | 0.065728 | 0.016515 | -0.065683 | -0.016498 | 4.4678e-05 | 1.7087e-05 | 0.098172 | 0.098172 | 0.098172 | 0.9964 | -0.025102 | 0.9957 | -0.02999 | 36.3601
5 | -0.088314 | -0.022178 | 0.088623 | 0.022296 | 0.00030922 | 0.00011856 | 0.1319 | 0.1319 | 0.1319 | 0.9964 | -0.025102 | 1 | 0 | 48.853
6 | 0.0041521 | 0.0010403 | -0.0041519 | -0.0010403 | 1.8703e-07 | -2.9022e-08 | 0.0062095 | 0.0062095 | 0.0062095 | 0.99498 | -0.035104 | 0.99493 | -0.03543 | 2.2998
7 | 0.0020169 | 0.00050536 | -0.0020169 | -0.00050548 | 6.1301e-08 | -1.1674e-07 | 0.0030159 | 0.0030159 | 0.0030159 | 0.99512 | -0.034076 | 0.99509 | -0.034295 | 1.117
8 | 0.056963 | 0.014312 | -0.056903 | -0.014289 | 5.9934e-05 | 2.2879e-05 | 0.085141 | 0.085141 | 0.085141 | 0.9957 | -0.02999 | 0.99462 | -0.03756 | 31.5336
9 | 0.0087199 | 0.0021854 | -0.0087183 | -0.002185 | 1.6594e-06 | 4.346e-07 | 0.013031 | 0.013031 | 0.013031 | 0.9957 | -0.02999 | 0.99551 | -0.031365 | 4.8265
10 | 0.030106 | 0.00755 | -0.030081 | -0.0075406 | 2.5124e-05 | 9.4001e-06 | 0.0448 | 0.0448 | 0.0448 | 1 | 0 | 0.99914 | -0.0060255 | 16.5926
11 | 0.0041519 | 0.0010403 | -0.0041512 | -0.0010404 | 7.1822e-07 | -1.1135e-07 | 0.0062095 | 0.0062096 | 0.0062096 | 0.99493 | -0.03543 | 0.99475 | -0.03668 | 2.2999
12 | 0.050992 | 0.012808 | -0.050953 | -0.012793 | 3.9524e-05 | 1.5061e-05 | 0.076298 | 0.076298 | 0.076298 | 0.99462 | -0.03756 | 0.99383 | -0.043139 | 28.2585
13 | 0.0032085 | 0.00080411 | -0.0032085 | -0.00080413 | 3.1392e-08 | -1.6364e-08 | 0.0047959 | 0.0047959 | 0.0047959 | 0.99551 | -0.031365 | 0.9955 | -0.031436 | 1.7763
14 | 0.022563 | 0.0056564 | -0.022561 | -0.0056558 | 1.3954e-06 | 5.1076e-07 | 0.033603 | 0.033603 | 0.033603 | 0.99914 | -0.0060255 | 0.99908 | -0.006472 | 12.4456
15 | 0.044279 | 0.01112 | -0.044226 | -0.0111 | 5.2807e-05 | 2.0061e-05 | 0.066305 | 0.066305 | 0.066305 | 0.99383 | -0.043139 | 0.9926 | -0.051729 | 24.5576
16 | 0.016912 | 0.0042401 | -0.016906 | -0.0042377 | 6.6819e-06 | 2.3491e-06 | 0.02519 | 0.02519 | 0.02519 | 0.99908 | -0.006472 | 0.99867 | -0.009325 | 9.3295
17 | 0.044226 | 0.0111 | -0.044202 | -0.011091 | 2.3902e-05 | 9.0805e-06 | 0.066305 | 0.066305 | 0.066305 | 0.9926 | -0.051729 | 0.99205 | -0.055624 | 24.5576
18 | 0.015521 | 0.0038906 | -0.015512 | -0.0038875 | 9.1762e-06 | 3.1698e-06 | 0.023126 | 0.023126 | 0.023126 | 0.99867 | -0.009325 | 0.99806 | -0.013596 | 8.5653
19 | 0.0083886 | 0.0021023 | -0.0083821 | -0.0021007 | 6.5282e-06 | 1.6375e-06 | 0.012507 | 0.012507 | 0.012507 | 0.99806 | -0.013596 | 0.99726 | -0.01922 | 4.6322
20 | 0.0045181 | 0.0011323 | -0.0045178 | -0.0011323 | 2.523e-07 | -1.9033e-08 | 0.0067414 | 0.0067415 | 0.0067415 | 0.99726 | -0.01922 | 0.9972 | -0.019624 | 2.4968
21 | -0.027699 | -0.0069439 | 0.027712 | 0.0069489 | 1.3637e-05 | 5.083e-06 | 0.041647 | 0.041647 | 0.041647 | 0.98967 | -0.072403 | 0.99018 | -0.06885 | 15.4247
22 | 0.018486 | 0.0046349 | -0.018478 | -0.0046321 | 7.8105e-06 | 2.7959e-06 | 0.027795 | 0.027795 | 0.027795 | 0.98967 | -0.072403 | 0.98924 | -0.075454 | 10.2944
23 | -0.038408 | -0.0096296 | 0.038455 | 0.0096475 | 4.7197e-05 | 1.786e-05 | 0.05772 | 0.05772 | 0.05772 | 0.99018 | -0.06885 | 0.99143 | -0.059992 | 21.3778
24 | 0.010696 | 0.0026807 | -0.010694 | -0.0026802 | 1.4972e-06 | 4.564e-07 | 0.016073 | 0.016073 | 0.016073 | 0.99018 | -0.06885 | 0.99003 | -0.069862 | 5.9531
25 | 0.018478 | 0.0046321 | -0.018468 | -0.0046285 | 1.0181e-05 | 3.6447e-06 | 0.027795 | 0.027795 | 0.027795 | 0.98924 | -0.075454 | 0.98868 | -0.079434 | 10.2944
26 | -0.042531 | -0.010669 | 0.042557 | 0.010679 | 2.5782e-05 | 9.7853e-06 | 0.063838 | 0.063838 | 0.063838 | 0.99143 | -0.059992 | 0.99205 | -0.055624 | 23.6436
27 | 0.0058871 | 0.0014754 | -0.005887 | -0.0014754 | 1.2083e-07 | 1.467e-08 | 0.0088483 | 0.0088483 | 0.0088483 | 0.99003 | -0.069862 | 0.99001 | -0.07001 | 3.2772
28 | 0.011102 | 0.0027824 | -0.011102 | -0.0027824 | 1.016e-08 | 3.1583e-09 | 0.016709 | 0.016709 | 0.016709 | 0.98868 | -0.079434 | 0.98868 | -0.07944 | 6.1885
29 | 0.0059163 | 0.0014828 | -0.0059162 | -0.0014828 | 7.9914e-09 | 1.0023e-09 | 0.0089043 | 0.0089043 | 0.0089043 | 0.98868 | -0.07944 | 0.98868 | -0.07945 | 3.2979

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12281 | 0.030669

## res_load
| p_mw | q_mvar
0 | 0.0027485 | 0.00068885
1 | 0.0049182 | 0.0012326
2 | 0.0087233 | 0.0021863
3 | 0.0032835 | 0.00082293
4 | 0.0020169 | 0.00050548
5 | 0.0059108 | 0.0014814
6 | 0.0055097 | 0.0013809
7 | 0.0075183 | 0.0018843
8 | 0.0041512 | 0.0010404
9 | 0.0066739 | 0.0016726
10 | 0.0032085 | 0.00080413
11 | 0.005649 | 0.0014158
12 | 0.0013849 | 0.00034709
13 | 0.0071229 | 0.0017852
14 | 0.003864 | 0.00096842
15 | 0.0092129 | 0.002309
16 | 0.0040761 | 0.0010216
17 | 0.0048071 | 0.0012048
18 | 0.0073659 | 0.0018461
19 | 0.0016452 | 0.00041234
20 | 0.005887 | 0.0014754
21 | 0.0051856 | 0.0012996
22 | 0.0059162 | 0.0014828
23 | 0.0045178 | 0.0011323

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1