## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-13_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-13_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-13_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-13_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1024-13_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1024-13_0_5_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_1024-13_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1024-13_0_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_1024-13_0_5_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1024-13_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1024-13_0_5_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1024-13_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1024-13_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1024-13_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1024-13_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1024-13_0_5_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1024-13_0_5_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1024-13_0_5_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1024-13_0_5_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1024-13_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1024-13_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1024-13_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1024-13_0_5_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1024-13_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1024-13_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1024-13_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1024-13_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1024-13_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1024-13_0_5_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1024-13_0_5_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1024-13_0_5_node_15 | 0.4 | n |  | TRUE
32 | bus_MV_214_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-13_0_5_load_0 | 0 | 0.00065124 | 0.00016322 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-13_0_5_load_1 | 1 | 0.00026487 | 6.6384e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-13_0_5_load_2 | 2 | 0.00067755 | 0.00016981 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-13_0_5_load_3 | 3 | 0.00043269 | 0.00010844 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-13_0_5_load_5 | 4 | 0.00036439 | 9.1325e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-13_0_5_load_26 | 6 | 0.082893 | 0.020775 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-13_0_5_load_7 | 7 | 0.012174 | 0.0030512 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-13_0_5_load_36 | 8 | 0.00028074 | 7.0359e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-13_0_5_load_14 | 10 | 0.013319 | 0.0033381 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-13_0_5_load_17 | 11 | 0.00081984 | 0.00020547 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-13_0_5_load_11 | 13 | 0.0092992 | 0.0023306 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-13_0_5_load_10 | 14 | 0.025762 | 0.0064565 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-13_0_5_load_12 | 15 | 0.081323 | 0.020381 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-13_0_5_load_23 | 16 | 0.0053076 | 0.0013302 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-13_0_5_load_31 | 18 | 0.00064299 | 0.00016115 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-13_0_5_load_32 | 19 | 0.00019379 | 4.8568e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-13_0_5_load_34 | 20 | 0.00015863 | 3.9755e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-13_0_5_load_28 | 23 | 0.00014664 | 3.6753e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-13_0_5_load_19 | 24 | 0.00050623 | 0.00012687 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-13_0_5_load_20 | 25 | 0.00025556 | 6.405e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-13_0_5_load_22 | 26 | 0.030807 | 0.0077209 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-13_0_5_load_18 | 27 | 0.0021023 | 0.00052687 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-13_0_5_load_16 | 28 | 0.0062721 | 0.0015719 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-13_0_5_load_29 | 29 | 0.00018823 | 4.7175e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-13_0_5_load_30 | 30 | 0.0036179 | 0.00090672 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-13_0_5_load_15 | 31 | 0.0010399 | 0.00026063 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-13_0_5_line_0 |  | 0 | 1 | 0.028544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-13_0_5_line_1 |  | 0 | 2 | 0.0085163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-13_0_5_line_2 |  | 1 | 3 | 0.030743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-13_0_5_line_3 |  | 3 | 4 | 0.037728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-13_0_5_line_4 |  | 4 | 5 | 0.043441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-13_0_5_line_5 |  | 5 | 6 | 0.068257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-13_0_5_line_6 |  | 5 | 7 | 0.075001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1024-13_0_5_line_7 |  | 6 | 9 | 0.073223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-13_0_5_line_8 |  | 6 | 16 | 0.12892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-13_0_5_line_9 |  | 7 | 12 | 0.12689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1024-13_0_5_line_10 |  | 8 | 9 | 0.01627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-13_0_5_line_11 |  | 10 | 11 | 0.053321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-13_0_5_line_12 |  | 11 | 31 | 0.0071072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-13_0_5_line_13 |  | 12 | 13 | 0.052723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1024-13_0_5_line_14 |  | 13 | 22 | 0.059094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1024-13_0_5_line_15 |  | 14 | 15 | 0.024521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-13_0_5_line_16 |  | 15 | 23 | 0.12262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1024-13_0_5_line_17 |  | 16 | 17 | 0.060581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-13_0_5_line_18 |  | 17 | 21 | 0.027133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-13_0_5_line_19 |  | 17 | 24 | 0.022869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-13_0_5_line_20 |  | 18 | 19 | 0.043649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-13_0_5_line_21 |  | 19 | 20 | 0.072595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-13_0_5_line_22 |  | 20 | 21 | 0.041034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-13_0_5_line_23 |  | 22 | 27 | 0.059282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1024-13_0_5_line_24 |  | 22 | 28 | 0.0050805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-13_0_5_line_25 |  | 23 | 29 | 0.011046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1024-13_0_5_line_26 |  | 24 | 25 | 0.011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-13_0_5_line_27 |  | 25 | 26 | 0.025229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-13_0_5_line_28 |  | 27 | 30 | 0.0050614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1024-13_0_5_line_29 |  | 28 | 31 | 0.0062269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-13_0_5_line_30 |  | 29 | 30 | 0.037627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-13_0_5_trafo_8 | 0.63 MVA 20/0.4 kV | 32 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2666112.6509 | 1215520.6508 | 2666118.1655 | 1215537.1102 | 2666119.8257 | 1215548.1718
1 | 2666112.6509 | 1215520.6508 | 2666109.9454 | 1215512.5756
2 | 2666124.3887 | 1215578.5745 | 2666119.8257 | 1215548.1718
3 | 2666124.3887 | 1215578.5745 | 2666129.9884 | 1215615.8848
4 | 2666108.1567 | 1215643.9215 | 2666128.8743 | 1215636.1909 | 2666132.1588 | 1215630.3459 | 2666129.9884 | 1215615.8848
5 | 2666108.1567 | 1215643.9215 | 2666164.7603 | 1215682.0668
6 | 2666108.1567 | 1215643.9215 | 2666083.9104 | 1215572.9476
7 | 2666164.7603 | 1215682.0668 | 2666233.755 | 1215657.546
8 | 2666164.7603 | 1215682.0668 | 2666174.5981 | 1215729.6232 | 2666188.843 | 1215793.9326 | 2666193.0165 | 1215807.8117
9 | 2666042.8885 | 1215452.8679 | 2666083.9104 | 1215572.9476
10 | 2666233.755 | 1215657.546 | 2666233.5029 | 1215641.2776
11 | 2665930.8882 | 1215472.5687 | 2665925.9401 | 1215459.3668 | 2665921.6649 | 1215442.1977 | 2665920.7874 | 1215428.157 | 2665922.3347 | 1215420.8587
12 | 2665930.8882 | 1215472.5687 | 2665933.3825 | 1215479.2238
13 | 2666042.8885 | 1215452.8679 | 2665993.1259 | 1215470.2876
14 | 2665937.3509 | 1215489.812 | 2665993.1259 | 1215470.2876
15 | 2666023.8761 | 1215733.6661 | 2666023.8761 | 1215733.6661 | 2666015.2296 | 1215710.72
16 | 2665970.1634 | 1215596.76 | 2665991.1206 | 1215651.8191 | 2665999.5552 | 1215669.1232 | 2666015.2296 | 1215710.72
17 | 2666217.5979 | 1215863.0617 | 2666201.9003 | 1215831.8235 | 2666194.9649 | 1215814.2911 | 2666193.0165 | 1215807.8117
18 | 2666232.372 | 1215880.37 | 2666222.8215 | 1215861.0629 | 2666217.5979 | 1215863.0617
19 | 2666217.5979 | 1215863.0617 | 2666211.6346 | 1215865.3414 | 2666209.4842 | 1215866.1625 | 2666214.3663 | 1215879.4783
20 | 2666380.6196 | 1215847.976 | 2666373.1259 | 1215843.1228 | 2666369.3796 | 1215841.3245 | 2666363.3241 | 1215839.6004 | 2666356.375 | 1215840.3903 | 2666347.5557 | 1215843.4274 | 2666340.4216 | 1215846.9309
21 | 2666340.4216 | 1215846.9309 | 2666322.4516 | 1215855.7558 | 2666306.2151 | 1215862.0792 | 2666272.5562 | 1215872.2112
22 | 2666232.372 | 1215880.37 | 2666266.7497 | 1215873.959 | 2666272.5562 | 1215872.2112
23 | 2665937.3509 | 1215489.812 | 2665958.1491 | 1215545.3258
24 | 2665937.3509 | 1215489.812 | 2665935.5679 | 1215485.0547
25 | 2665970.1634 | 1215596.76 | 2665966.234 | 1215586.4365
26 | 2666218.2588 | 1215890.0951 | 2666214.3663 | 1215879.4783
27 | 2666226.9434 | 1215913.7824 | 2666218.2588 | 1215890.0951
28 | 2665958.1491 | 1215545.3258 | 2665959.9248 | 1215550.0655
29 | 2665933.3825 | 1215479.2238 | 2665935.5679 | 1215485.0547
30 | 2665966.234 | 1215586.4365 | 2665964.4234 | 1215581.6799 | 2665964.9735 | 1215563.5413 | 2665959.9248 | 1215550.0655

## bus_geodata
| x | y | coords
0 | 2666112.6509 | 1215520.6508
1 | 2666119.8257 | 1215548.1718
2 | 2666109.9454 | 1215512.5756
3 | 2666124.3887 | 1215578.5745
4 | 2666129.9884 | 1215615.8848
5 | 2666108.1567 | 1215643.9215
6 | 2666164.7603 | 1215682.0668
7 | 2666083.9104 | 1215572.9476
8 | 2666233.5029 | 1215641.2776
9 | 2666233.755 | 1215657.546
10 | 2665922.3347 | 1215420.8587
11 | 2665930.8882 | 1215472.5687
12 | 2666042.8885 | 1215452.8679
13 | 2665993.126 | 1215470.2876
14 | 2666023.8761 | 1215733.6661
15 | 2666015.2296 | 1215710.72
16 | 2666193.0165 | 1215807.8117
17 | 2666217.5979 | 1215863.0617
18 | 2666380.6196 | 1215847.976
19 | 2666340.4216 | 1215846.9309
20 | 2666272.5562 | 1215872.2111
21 | 2666232.372 | 1215880.37
22 | 2665937.3509 | 1215489.812
23 | 2665970.1634 | 1215596.76
24 | 2666214.3663 | 1215879.4783
25 | 2666218.2588 | 1215890.0951
26 | 2666226.9434 | 1215913.7824
27 | 2665958.1491 | 1215545.3258
28 | 2665935.5679 | 1215485.0547
29 | 2665966.234 | 1215586.4365
30 | 2665959.9248 | 1215550.0655
31 | 2665933.3825 | 1215479.2238
32 | 2666042.8885 | 1215452.8679

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99976 | -0.0046653 | 0.00065124 | 0.00016322
1 | 0.99979 | -0.0040035 | 0.00026487 | 6.6384e-05
2 | 0.99975 | -0.0047659 | 0.00067755 | 0.00016981
3 | 0.99984 | -0.0031483 | 0.00043269 | 0.00010844
4 | 0.99991 | -0.0018136 | 0.00036439 | 9.1325e-05
5 | 1 | 0 | -0.28521 | -0.07262
6 | 0.99243 | -0.14512 | 0.082893 | 0.020775
7 | 0.99638 | -0.068272 | 0.012174 | 0.0030512
8 | 0.99241 | -0.14557 | 0.00028074 | 7.0359e-05
9 | 0.99241 | -0.14549 | 0 | 0
10 | 0.98499 | -0.28641 | 0.013319 | 0.0033381
11 | 0.98565 | -0.27366 | 0.00081984 | 0.00020547
12 | 0.99073 | -0.17576 | 0 | 0
13 | 0.98839 | -0.22078 | 0.0092992 | 0.0023306
14 | 0.97537 | -0.47416 | 0.025762 | 0.0064565
15 | 0.97595 | -0.46259 | 0.081323 | 0.020381
16 | 0.98793 | -0.23195 | 0.0053076 | 0.0013302
17 | 0.98612 | -0.26725 | 0 | 0
18 | 0.98597 | -0.27007 | 0.00064299 | 0.00016115
19 | 0.986 | -0.26957 | 0.00019379 | 4.8568e-05
20 | 0.98605 | -0.26847 | 0.00015863 | 3.9755e-05
21 | 0.98609 | -0.26774 | 0 | 0
22 | 0.98593 | -0.26821 | 0 | 0
23 | 0.98205 | -0.3432 | 0.00014664 | 3.6753e-05
24 | 0.98545 | -0.2802 | 0.00050623 | 0.00012687
25 | 0.98513 | -0.28651 | 0.00025556 | 6.405e-05
26 | 0.98441 | -0.30048 | 0.030807 | 0.0077209
27 | 0.98385 | -0.30839 | 0.0021023 | 0.00052687
28 | 0.98583 | -0.27016 | 0.0062721 | 0.0015719
29 | 0.98242 | -0.33606 | 0.00018823 | 4.7175e-05
30 | 0.98367 | -0.31176 | 0.0036179 | 0.00090672
31 | 0.98574 | -0.27186 | 0.0010399 | 0.00026063
32 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0013288 | -0.00033292 | 0.0013288 | 0.00033257 | 4.1864e-08 | -3.4752e-07 | 0.0019777 | 0.0019776 | 0.0019777 | 0.99976 | -0.0046653 | 0.99979 | -0.0040035 | 0.54333
1 | 0.00067755 | 0.0001697 | -0.00067755 | -0.00016981 | 3.2477e-09 | -1.0959e-07 | 0.0010084 | 0.0010084 | 0.0010084 | 0.99976 | -0.0046653 | 0.99975 | -0.0047659 | 0.27705
2 | -0.0015937 | -0.00039895 | 0.0015938 | 0.00039859 | 6.485e-08 | -3.6167e-07 | 0.0023718 | 0.0023717 | 0.0023718 | 0.99979 | -0.0040035 | 0.99984 | -0.0031483 | 0.65159
3 | -0.0020265 | -0.00050703 | 0.0020266 | 0.00050662 | 1.2865e-07 | -4.125e-07 | 0.0030156 | 0.0030154 | 0.0030156 | 0.99984 | -0.0031483 | 0.99991 | -0.0018136 | 0.82847
4 | -0.002391 | -0.00059795 | 0.0023912 | 0.00059751 | 2.0618e-07 | -4.379e-07 | 0.0035577 | 0.0035575 | 0.0035577 | 0.99991 | -0.0018136 | 1 | 0 | 0.97739
5 | 0.12215 | 0.031039 | -0.12131 | -0.030498 | 0.00084709 | 0.00054125 | 0.18192 | 0.18192 | 0.18192 | 1 | 0 | 0.99243 | -0.14512 | 49.9775
6 | 0.15902 | 0.040983 | -0.15849 | -0.040649 | 0.0005267 | 0.00033414 | 0.23702 | 0.23702 | 0.23702 | 1 | 0 | 0.99638 | -0.068272 | 21.7055
7 | 0.00028074 | 6.9207e-05 | -0.00028074 | -7.015e-05 | 4.8597e-09 | -9.4301e-07 | 0.00042053 | 0.00042086 | 0.00042086 | 0.99243 | -0.14512 | 0.99241 | -0.14549 | 0.11562
8 | 0.038134 | 0.0096541 | -0.037976 | -0.0095545 | 0.00015825 | 9.962e-05 | 0.057211 | 0.057212 | 0.057212 | 0.99243 | -0.14512 | 0.98793 | -0.23195 | 15.7176
9 | 0.14632 | 0.037597 | -0.14556 | -0.037116 | 0.00075965 | 0.00048125 | 0.21884 | 0.21884 | 0.21884 | 0.99638 | -0.068272 | 0.99073 | -0.17576 | 20.0407
10 | -0.00028074 | -7.0359e-05 | 0.00028074 | 7.015e-05 | 1.0809e-09 | -2.0954e-07 | 0.00042094 | 0.00042086 | 0.00042094 | 0.99241 | -0.14557 | 0.99241 | -0.14549 | 0.11564
11 | -0.013319 | -0.0033381 | 0.013327 | 0.0033426 | 8.0952e-06 | 4.5018e-06 | 0.020121 | 0.020121 | 0.020121 | 0.98499 | -0.28641 | 0.98565 | -0.27366 | 5.5278
12 | -0.014147 | -0.0035481 | 0.014148 | 0.0035488 | 1.2158e-06 | 6.8755e-07 | 0.021359 | 0.021359 | 0.021359 | 0.98565 | -0.27366 | 0.98574 | -0.27186 | 5.8678
13 | 0.14556 | 0.037116 | -0.14524 | -0.036916 | 0.00031564 | 0.00019997 | 0.21884 | 0.21884 | 0.21884 | 0.99073 | -0.17576 | 0.98839 | -0.22078 | 20.0407
14 | 0.13594 | 0.034586 | -0.13563 | -0.03439 | 0.00030996 | 0.00019611 | 0.20485 | 0.20485 | 0.20485 | 0.98839 | -0.22078 | 0.98593 | -0.26821 | 18.7588
15 | -0.025762 | -0.0064565 | 0.025776 | 0.0064653 | 1.4204e-05 | 8.7842e-06 | 0.039302 | 0.039302 | 0.039302 | 0.97537 | -0.47416 | 0.97595 | -0.46259 | 10.7973
16 | -0.1071 | -0.026847 | 0.10771 | 0.027236 | 0.00061303 | 0.00038925 | 0.16329 | 0.16329 | 0.16329 | 0.97595 | -0.46259 | 0.98205 | -0.3432 | 22.4304
17 | 0.032668 | 0.0082243 | -0.032613 | -0.0081898 | 5.5032e-05 | 3.4446e-05 | 0.049218 | 0.049218 | 0.049218 | 0.98793 | -0.23195 | 0.98612 | -0.26725 | 13.5215
18 | 0.00099553 | 0.0002472 | -0.0009955 | -0.00024753 | 2.2938e-08 | -3.3146e-07 | 0.0015014 | 0.0015015 | 0.0015015 | 0.98612 | -0.26725 | 0.98609 | -0.26774 | 0.41251
19 | 0.031618 | 0.0079426 | -0.031598 | -0.0079304 | 1.9526e-05 | 1.2205e-05 | 0.047717 | 0.047717 | 0.047717 | 0.98612 | -0.26725 | 0.98545 | -0.2802 | 13.109
20 | -0.00064299 | -0.00016115 | 0.00064301 | 0.0001606 | 1.5411e-08 | -5.4684e-07 | 0.0009704 | 0.0009702 | 0.0009704 | 0.98597 | -0.27007 | 0.986 | -0.26957 | 0.26659
21 | -0.0008368 | -0.00020917 | 0.00083684 | 0.00020827 | 4.3391e-08 | -8.982e-07 | 0.0012627 | 0.0012623 | 0.0012627 | 0.986 | -0.26957 | 0.98605 | -0.26847 | 0.34688
22 | -0.00099547 | -0.00024803 | 0.0009955 | 0.00024753 | 3.4697e-08 | -5.0124e-07 | 0.0015017 | 0.0015015 | 0.0015017 | 0.98605 | -0.26847 | 0.98609 | -0.26774 | 0.41256
23 | 0.11417 | 0.029006 | -0.11395 | -0.028867 | 0.00022038 | 0.00013878 | 0.17245 | 0.17245 | 0.17245 | 0.98593 | -0.26821 | 0.98385 | -0.30839 | 15.7922
24 | 0.021464 | 0.0053833 | -0.021462 | -0.0053821 | 1.9994e-06 | 1.2149e-06 | 0.032396 | 0.032396 | 0.032396 | 0.98593 | -0.26821 | 0.98583 | -0.27016 | 8.8999
25 | -0.10786 | -0.027273 | 0.1079 | 0.027296 | 3.6917e-05 | 2.3208e-05 | 0.16351 | 0.16351 | 0.16351 | 0.98205 | -0.3432 | 0.98242 | -0.33606 | 14.9739
26 | 0.031092 | 0.0078036 | -0.031083 | -0.0077977 | 9.3482e-06 | 5.8389e-06 | 0.046952 | 0.046952 | 0.046952 | 0.98545 | -0.2802 | 0.98513 | -0.28651 | 12.899
27 | 0.030827 | 0.0077337 | -0.030807 | -0.0077209 | 2.0515e-05 | 1.2809e-05 | 0.046566 | 0.046567 | 0.046567 | 0.98513 | -0.28651 | 0.98441 | -0.30048 | 12.793
28 | 0.11185 | 0.028341 | -0.11183 | -0.028329 | 1.8128e-05 | 1.1409e-05 | 0.16927 | 0.16927 | 0.16927 | 0.98385 | -0.30839 | 0.98367 | -0.31176 | 15.5011
29 | 0.01519 | 0.0038101 | -0.015188 | -0.0038094 | 1.2276e-06 | 7.0627e-07 | 0.022928 | 0.022928 | 0.022928 | 0.98583 | -0.27016 | 0.98574 | -0.27186 | 6.299
30 | -0.10808 | -0.027343 | 0.10821 | 0.027422 | 0.00012619 | 7.9332e-05 | 0.1638 | 0.1638 | 0.1638 | 0.98242 | -0.33606 | 0.98367 | -0.31176 | 15

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28521 | 0.07262

## res_load
| p_mw | q_mvar
0 | 0.00065124 | 0.00016322
1 | 0.00026487 | 6.6384e-05
2 | 0.00067755 | 0.00016981
3 | 0.00043269 | 0.00010844
4 | 0.00036439 | 9.1325e-05
5 | 0.082893 | 0.020775
6 | 0.012174 | 0.0030512
7 | 0.00028074 | 7.0359e-05
8 | 0.013319 | 0.0033381
9 | 0.00081984 | 0.00020547
10 | 0.0092992 | 0.0023306
11 | 0.025762 | 0.0064565
12 | 0.081323 | 0.020381
13 | 0.0053076 | 0.0013302
14 | 0.00064299 | 0.00016115
15 | 0.00019379 | 4.8568e-05
16 | 0.00015863 | 3.9755e-05
17 | 0.00014664 | 3.6753e-05
18 | 0.00050623 | 0.00012687
19 | 0.00025556 | 6.405e-05
20 | 0.030807 | 0.0077209
21 | 0.0021023 | 0.00052687
22 | 0.0062721 | 0.0015719
23 | 0.00018823 | 4.7175e-05
24 | 0.0036179 | 0.00090672
25 | 0.0010399 | 0.00026063

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1