## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-14_1_3_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_1024-14_1_3_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_1024-14_1_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_1024-14_1_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1024-14_1_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1024-14_1_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1024-14_1_3_node_102 | 0.4 | n |  | TRUE
7 | bus_LV_1024-14_1_3_node_100 | 0.4 | n |  | TRUE
8 | bus_LV_1024-14_1_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1024-14_1_3_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_1024-14_1_3_node_98 | 0.4 | n |  | TRUE
11 | bus_LV_1024-14_1_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1024-14_1_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1024-14_1_3_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1024-14_1_3_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_1024-14_1_3_node_101 | 0.4 | n |  | TRUE
16 | bus_LV_1024-14_1_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_1024-14_1_3_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_1024-14_1_3_node_113 | 0.4 | n |  | TRUE
19 | bus_LV_1024-14_1_3_node_112 | 0.4 | n |  | TRUE
20 | bus_LV_1024-14_1_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_1024-14_1_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_1024-14_1_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1024-14_1_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1024-14_1_3_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_1024-14_1_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1024-14_1_3_node_83 | 0.4 | n |  | TRUE
27 | bus_LV_1024-14_1_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_1024-14_1_3_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_1024-14_1_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_1024-14_1_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1024-14_1_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1024-14_1_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1024-14_1_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1024-14_1_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1024-14_1_3_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_1024-14_1_3_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_1024-14_1_3_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_1024-14_1_3_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_1024-14_1_3_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_1024-14_1_3_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1024-14_1_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1024-14_1_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_1024-14_1_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1024-14_1_3_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_1024-14_1_3_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_1024-14_1_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_1024-14_1_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_1024-14_1_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_1024-14_1_3_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1024-14_1_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_1024-14_1_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_1024-14_1_3_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_1024-14_1_3_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_1024-14_1_3_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_1024-14_1_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_1024-14_1_3_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_1024-14_1_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_1024-14_1_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_1024-14_1_3_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_1024-14_1_3_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_1024-14_1_3_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_1024-14_1_3_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_1024-14_1_3_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_1024-14_1_3_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_1024-14_1_3_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_1024-14_1_3_node_104 | 0.4 | n |  | TRUE
67 | bus_LV_1024-14_1_3_node_106 | 0.4 | n |  | TRUE
68 | bus_LV_1024-14_1_3_node_111 | 0.4 | n |  | TRUE
69 | bus_LV_1024-14_1_3_node_108 | 0.4 | n |  | TRUE
70 | bus_LV_1024-14_1_3_node_109 | 0.4 | n |  | TRUE
71 | bus_MV_214_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-14_1_3_load_3 | 0 | 0.0086451 | 0.0021667 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-14_1_3_load_4 | 1 | 0.0072048 | 0.0018057 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-14_1_3_load_102 | 6 | 0.00063718 | 0.00015969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-14_1_3_load_100 | 7 | 0.00028856 | 7.232e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-14_1_3_load_40 | 9 | 0.0043194 | 0.0010825 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-14_1_3_load_98 | 10 | 0.0015112 | 0.00037873 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-14_1_3_load_51 | 13 | 0.0055554 | 0.0013923 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-14_1_3_load_50 | 14 | 0.0054204 | 0.0013585 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-14_1_3_load_101 | 15 | 0.00056472 | 0.00014153 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-14_1_3_load_38 | 16 | 0.0013778 | 0.00034531 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-14_1_3_load_113 | 18 | 0.012347 | 0.0030945 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-14_1_3_load_112 | 19 | 0.024396 | 0.0061143 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-14_1_3_load_32 | 21 | 0.0029914 | 0.00074972 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-14_1_3_load_33 | 22 | 0.0032064 | 0.0008036 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-14_1_3_load_34 | 23 | 0.0030999 | 0.00077691 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-14_1_3_load_35 | 24 | 0.0040163 | 0.0010066 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-14_1_3_load_36 | 25 | 0.0028917 | 0.00072472 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-14_1_3_load_83 | 26 | 0.0024521 | 0.00061454 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-14_1_3_load_57 | 27 | 0.016937 | 0.0042449 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-14_1_3_load_82 | 28 | 0.0022786 | 0.00057107 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-14_1_3_load_37 | 29 | 0.002012 | 0.00050426 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-14_1_3_load_39 | 30 | 0.0023457 | 0.00058788 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-14_1_3_load_41 | 31 | 0.003095 | 0.00077568 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-14_1_3_load_42 | 32 | 0.0050395 | 0.001263 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-14_1_3_load_43 | 33 | 0.004796 | 0.001202 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-14_1_3_load_84 | 35 | 0.0026648 | 0.00066787 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-14_1_3_load_87 | 36 | 0.0024747 | 0.00062021 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-14_1_3_load_58 | 37 | 0.00038928 | 9.7562e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-14_1_3_load_110 | 39 | 7.7668e-05 | 1.9465e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-14_1_3_load_46 | 40 | 0.0020845 | 0.00052243 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-14_1_3_load_47 | 41 | 0.0020854 | 0.00052266 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-14_1_3_load_48 | 42 | 0.0041911 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-14_1_3_load_49 | 43 | 0.0020134 | 0.0005046 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-14_1_3_load_85 | 45 | 0.0042106 | 0.0010553 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-14_1_3_load_52 | 47 | 0.00060715 | 0.00015217 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-14_1_3_load_53 | 48 | 0.008032 | 0.002013 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-14_1_3_load_54 | 49 | 0.0005113 | 0.00012814 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-14_1_3_load_55 | 50 | 0.0011814 | 0.00029608 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-14_1_3_load_56 | 51 | 0.00025298 | 6.3402e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1024-14_1_3_load_88 | 53 | 0.0083042 | 0.0020812 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1024-14_1_3_load_60 | 55 | 0.002843 | 0.00071253 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1024-14_1_3_load_90 | 56 | 0.0017052 | 0.00042735 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1024-14_1_3_load_62 | 57 | 0.0061623 | 0.0015444 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1024-14_1_3_load_65 | 59 | 0.0022617 | 0.00056683 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1024-14_1_3_load_86 | 63 | 0.0028948 | 0.00072551 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1024-14_1_3_load_118 | 64 | 0.0057823 | 0.0014492 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1024-14_1_3_load_89 | 65 | 0.0079506 | 0.0019926 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1024-14_1_3_load_104 | 66 | 0.00027365 | 6.8584e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1024-14_1_3_load_106 | 67 | 0.00029336 | 7.3523e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1024-14_1_3_load_111 | 68 | 0.00091818 | 0.00023012 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1024-14_1_3_load_108 | 69 | 0.0001473 | 3.6917e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1024-14_1_3_load_109 | 70 | 8.1698e-05 | 2.0475e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-14_1_3_line_0 |  | 0 | 1 | 0.039211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-14_1_3_line_1 |  | 0 | 2 | 0.042694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-14_1_3_line_2 |  | 1 | 3 | 0.11777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-14_1_3_line_3 |  | 2 | 4 | 0.004029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-14_1_3_line_4 |  | 3 | 5 | 0.016406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-14_1_3_line_5 |  | 4 | 6 | 0.030273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-14_1_3_line_6 |  | 4 | 7 | 0.01765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-14_1_3_line_7 |  | 5 | 8 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-14_1_3_line_8 |  | 5 | 9 | 0.067011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-14_1_3_line_9 |  | 7 | 15 | 0.015487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-14_1_3_line_10 |  | 8 | 10 | 0.0059033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-14_1_3_line_11 |  | 9 | 16 | 0.036439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-14_1_3_line_12 |  | 10 | 11 | 0.01601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-14_1_3_line_13 |  | 11 | 12 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-14_1_3_line_14 |  | 12 | 13 | 0.019926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-14_1_3_line_15 |  | 12 | 14 | 0.043367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-14_1_3_line_16 |  | 13 | 20 | 0.00061158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-14_1_3_line_17 |  | 16 | 29 | 0.012567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-14_1_3_line_18 |  | 17 | 18 | 0.041765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-14_1_3_line_19 |  | 17 | 19 | 0.040804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-14_1_3_line_20 |  | 17 | 20 | 0.00385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-14_1_3_line_21 |  | 18 | 46 | 0.0030349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-14_1_3_line_22 |  | 21 | 22 | 1.9338e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1024-14_1_3_line_23 |  | 21 | 23 | 0.00036277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1024-14_1_3_line_24 |  | 22 | 24 | 0.024048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1024-14_1_3_line_25 |  | 23 | 25 | 9.0737e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1024-14_1_3_line_26 |  | 24 | 26 | 0.00032199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1024-14_1_3_line_27 |  | 25 | 27 | 0.0094083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-14_1_3_line_28 |  | 26 | 28 | 0.0009841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1024-14_1_3_line_29 |  | 28 | 34 | 0.018251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1024-14_1_3_line_30 |  | 29 | 30 | 0.010408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-14_1_3_line_31 |  | 31 | 32 | 0.010826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-14_1_3_line_32 |  | 31 | 33 | 0.02694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-14_1_3_line_33 |  | 32 | 34 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-14_1_3_line_34 |  | 34 | 35 | 0.0016774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1024-14_1_3_line_35 |  | 35 | 36 | 0.025492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1024-14_1_3_line_36 |  | 36 | 63 | 0.019258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1024-14_1_3_line_37 |  | 37 | 38 | 0.14652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-14_1_3_line_38 |  | 37 | 39 | 0.44845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-14_1_3_line_39 |  | 38 | 55 | 0.058796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-14_1_3_line_40 |  | 38 | 51 | 0.018258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-14_1_3_line_41 |  | 39 | 70 | 0.015474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-14_1_3_line_42 |  | 40 | 41 | 0.0081765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-14_1_3_line_43 |  | 40 | 42 | 0.0067418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-14_1_3_line_44 |  | 41 | 43 | 0.013705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-14_1_3_line_45 |  | 43 | 44 | 0.01326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-14_1_3_line_46 |  | 44 | 45 | 0.022387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-14_1_3_line_47 |  | 44 | 46 | 0.003878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-14_1_3_line_48 |  | 45 | 60 | 0.023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-14_1_3_line_49 |  | 47 | 48 | 0.051121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-14_1_3_line_50 |  | 47 | 49 | 0.028769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1024-14_1_3_line_51 |  | 48 | 50 | 0.058612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-14_1_3_line_52 |  | 49 | 51 | 0.0015079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-14_1_3_line_53 |  | 50 | 52 | 0.010284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-14_1_3_line_54 |  | 52 | 53 | 0.071758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1024-14_1_3_line_55 |  | 52 | 54 | 0.024387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1024-14_1_3_line_56 |  | 53 | 65 | 0.022259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1024-14_1_3_line_57 |  | 54 | 59 | 0.008377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1024-14_1_3_line_58 |  | 54 | 57 | 0.022535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1024-14_1_3_line_59 |  | 55 | 56 | 0.020072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1024-14_1_3_line_60 |  | 57 | 58 | 0.05532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1024-14_1_3_line_61 |  | 58 | 60 | 0.002614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1024-14_1_3_line_62 |  | 58 | 61 | 0.009398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1024-14_1_3_line_63 |  | 60 | 62 | 0.008307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1024-14_1_3_line_64 |  | 61 | 64 | 0.039844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1024-14_1_3_line_65 |  | 62 | 63 | 0.019019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1024-14_1_3_line_66 |  | 66 | 67 | 0.0095376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1024-14_1_3_line_67 |  | 66 | 68 | 0.16337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1024-14_1_3_line_68 |  | 67 | 69 | 0.0037001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1024-14_1_3_line_69 |  | 69 | 70 | 0.027664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-14_1_3_trafo_36 | 0.63 MVA 20/0.4 kV | 71 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2665150.2525 | 1215876.9464 | 2665121.1168 | 1215850.7046
1 | 2665181.7326 | 1215905.7865 | 2665152.0898 | 1215878.6011 | 2665150.2525 | 1215876.9464
2 | 2665037.0911 | 1215768.5661 | 2665045.7933 | 1215780.3795 | 2665063.6326 | 1215798.9301 | 2665121.1168 | 1215850.7046
3 | 2665181.7326 | 1215905.7865 | 2665179.0421 | 1215908.7923
4 | 2665037.0911 | 1215768.5661 | 2665032.3011 | 1215760.0863 | 2665037.6598 | 1215756.1201
5 | 2665179.0421 | 1215908.7923 | 2665156.8201 | 1215888.2345
6 | 2665179.0421 | 1215908.7923 | 2665167.3348 | 1215922.0003
7 | 2665027.2643 | 1215749.8695 | 2665033.1119 | 1215747.0204 | 2665037.6598 | 1215756.1201
8 | 2665037.6598 | 1215756.1201 | 2665091.5344 | 1215716.2708
9 | 2665157.062 | 1215933.5898 | 2665167.3348 | 1215922.0003
10 | 2665027.2643 | 1215749.8695 | 2665021.9586 | 1215752.4577
11 | 2665113.998 | 1215688.234 | 2665113.0504 | 1215690.4908 | 2665105.536 | 1215703.4057 | 2665095.2656 | 1215713.511 | 2665091.5344 | 1215716.2708
12 | 2665019.7409 | 1215765.7196 | 2665023.9736 | 1215761.9523 | 2665024.9574 | 1215759.4725 | 2665024.7072 | 1215758.0467 | 2665021.9586 | 1215752.4577
13 | 2665013.8977 | 1215775.1284 | 2665021.9577 | 1215768.5455 | 2665020.1603 | 1215766.2578 | 2665019.7409 | 1215765.7196
14 | 2665013.8977 | 1215775.1284 | 2664998.473 | 1215787.7427
15 | 2665013.8977 | 1215775.1284 | 2665041.8687 | 1215808.2689
16 | 2664997.9996 | 1215788.1298 | 2664998.473 | 1215787.7427
17 | 2665118.8632 | 1215676.6469 | 2665113.998 | 1215688.234
18 | 2664996.6188 | 1215784.5348 | 2664964.2214 | 1215810.8917
19 | 2664996.6188 | 1215784.5348 | 2664981.979 | 1215746.4476
20 | 2664997.9996 | 1215788.1298 | 2664996.6188 | 1215784.5348
21 | 2664961.8671 | 1215812.807 | 2664964.2214 | 1215810.8917
22 | 2664983.1698 | 1215909.2252 | 2664983.1717 | 1215909.2247
23 | 2664983.1717 | 1215909.2247 | 2664983.523 | 1215909.1343
24 | 2664983.1698 | 1215909.2252 | 2664959.8802 | 1215915.2174
25 | 2664983.523 | 1215909.1343 | 2664983.5239 | 1215909.1341
26 | 2664959.5683 | 1215915.2976 | 2664959.8802 | 1215915.2174
27 | 2664992.6354 | 1215906.7898 | 2664983.5239 | 1215909.1341
28 | 2664958.6153 | 1215915.5428 | 2664959.5683 | 1215915.2976
29 | 2664940.9402 | 1215920.0904 | 2664958.6153 | 1215915.5428
30 | 2665118.8632 | 1215676.6469 | 2665122.8927 | 1215667.0503
31 | 2664945.9905 | 1215949.509 | 2664944.1588 | 1215938.839
32 | 2664945.9905 | 1215949.509 | 2664947.6731 | 1215959.3104 | 2664949.5715 | 1215976.1993
33 | 2664940.9402 | 1215920.0904 | 2664944.1588 | 1215938.839
34 | 2664940.9402 | 1215920.0904 | 2664940.6564 | 1215918.4372
35 | 2664936.427 | 1215893.3014 | 2664936.5348 | 1215894.4264 | 2664940.6564 | 1215918.4372
36 | 2664934.5899 | 1215874.1312 | 2664936.427 | 1215893.3014
37 | 2664840.3139 | 1216085.5985 | 2664860.6483 | 1216119.0517 | 2664885.8258 | 1216142.8182 | 2664914.9201 | 1216161.1018 | 2664951.6998 | 1216172.0929
38 | 2664951.6998 | 1216172.0929 | 2664695.1015 | 1216539.8712
39 | 2664807.7633 | 1216036.6808 | 2664816.3881 | 1216047.2367 | 2664840.3139 | 1216085.5985
40 | 2664840.3139 | 1216085.5985 | 2664855.7595 | 1216078.4843 | 2664856.7823 | 1216077.7604
41 | 2664695.1015 | 1216539.8712 | 2664698.3626 | 1216547.2001 | 2664699.5377 | 1216551.5489 | 2664700.1821 | 1216554.4247
42 | 2664989.6275 | 1215840.2349 | 2664983.808 | 1215834.4913
43 | 2664994.4258 | 1215844.9708 | 2664989.6275 | 1215840.2349
44 | 2664983.808 | 1215834.4913 | 2664974.0537 | 1215824.8641
45 | 2664964.6164 | 1215815.5498 | 2664974.0537 | 1215824.8641
46 | 2664964.6164 | 1215815.5498 | 2664947.3174 | 1215829.7593
47 | 2664961.8671 | 1215812.807 | 2664962.5432 | 1215813.4815 | 2664964.6164 | 1215815.5498
48 | 2664932.5657 | 1215847.5429 | 2664934.8249 | 1215844.3877 | 2664943.7377 | 1215832.6997 | 2664947.3174 | 1215829.7593
49 | 2664880.861 | 1216059.5849 | 2664884.2251 | 1216055.5241 | 2664888.0398 | 1216046.182 | 2664894.9148 | 1216017.2944 | 2664896.684 | 1216011.4958
50 | 2664880.861 | 1216059.5849 | 2664878.593 | 1216062.3226 | 2664858.0131 | 1216076.8892
51 | 2664896.684 | 1216011.4958 | 2664903.1983 | 1215990.1454 | 2664910.9977 | 1215954.7034
52 | 2664856.7823 | 1216077.7604 | 2664858.0131 | 1216076.8892
53 | 2664913.208 | 1215944.6593 | 2664910.9977 | 1215954.7034
54 | 2664913.208 | 1215944.6593 | 2664922.2058 | 1215993.4544 | 2664926.8612 | 1216010.8048 | 2664928.0939 | 1216014.7944
55 | 2664913.208 | 1215944.6593 | 2664913.374 | 1215933.5987 | 2664915.6022 | 1215923.5278 | 2664912.594 | 1215923.6507
56 | 2664934.665 | 1216036.061 | 2664928.0939 | 1216014.7944
57 | 2664904.1996 | 1215924.0039 | 2664912.594 | 1215923.6507
58 | 2664912.594 | 1215923.6507 | 2664917.3238 | 1215901.6171
59 | 2664807.7633 | 1216036.6808 | 2664800.7617 | 1216038.1501 | 2664797.8847 | 1216037.385 | 2664789.3709 | 1216032.2524
60 | 2664929.9582 | 1215847.8147 | 2664927.9508 | 1215853.6409 | 2664927.0805 | 1215856.1663 | 2664917.3238 | 1215901.6171
61 | 2664932.5657 | 1215847.5429 | 2664929.9582 | 1215847.8147
62 | 2664920.5849 | 1215848.8021 | 2664929.9582 | 1215847.8147
63 | 2664932.5657 | 1215847.5429 | 2664930.6552 | 1215855.6271
64 | 2664920.5849 | 1215848.8021 | 2664886.338 | 1215852.3983 | 2664886.9162 | 1215857.8746
65 | 2664930.6552 | 1215855.6271 | 2664933.7735 | 1215865.6117 | 2664934.5899 | 1215874.1312
66 | 2664707.1168 | 1216594.7248 | 2664707.1168 | 1216594.7248 | 2664705.1759 | 1216585.3868
67 | 2664707.1168 | 1216594.7248 | 2664547.0804 | 1216627.5612
68 | 2664704.5942 | 1216581.7327 | 2664705.1759 | 1216585.3868 | 2664705.1759 | 1216585.3868
69 | 2664704.5942 | 1216581.7327 | 2664700.4067 | 1216555.4274 | 2664700.1821 | 1216554.4247

## bus_geodata
| x | y | coords
0 | 2665150.2525 | 1215876.9464
1 | 2665121.1168 | 1215850.7046
2 | 2665181.7326 | 1215905.7865
3 | 2665037.0911 | 1215768.5661
4 | 2665179.0421 | 1215908.7923
5 | 2665037.6598 | 1215756.1201
6 | 2665156.8201 | 1215888.2345
7 | 2665167.3348 | 1215922.0003
8 | 2665027.2643 | 1215749.8695
9 | 2665091.5344 | 1215716.2708
10 | 2665021.9586 | 1215752.4577
11 | 2665019.7409 | 1215765.7196
12 | 2665013.8977 | 1215775.1284
13 | 2664998.473 | 1215787.7427
14 | 2665041.8687 | 1215808.2689
15 | 2665157.062 | 1215933.5898
16 | 2665113.998 | 1215688.234
17 | 2664996.6188 | 1215784.5348
18 | 2664964.2214 | 1215810.8917
19 | 2664981.979 | 1215746.4476
20 | 2664997.9996 | 1215788.1298
21 | 2664983.1717 | 1215909.2247
22 | 2664983.1698 | 1215909.2252
23 | 2664983.523 | 1215909.1343
24 | 2664959.8802 | 1215915.2174
25 | 2664983.5239 | 1215909.1341
26 | 2664959.5683 | 1215915.2976
27 | 2664992.6354 | 1215906.7898
28 | 2664958.6153 | 1215915.5428
29 | 2665118.8632 | 1215676.6469
30 | 2665122.8927 | 1215667.0503
31 | 2664945.9905 | 1215949.509
32 | 2664944.1588 | 1215938.839
33 | 2664949.5715 | 1215976.1993
34 | 2664940.9402 | 1215920.0904
35 | 2664940.6564 | 1215918.4372
36 | 2664936.427 | 1215893.3014
37 | 2664951.6998 | 1216172.0929
38 | 2664840.3139 | 1216085.5985
39 | 2664695.1015 | 1216539.8712
40 | 2664989.6275 | 1215840.2349
41 | 2664983.808 | 1215834.4913
42 | 2664994.4258 | 1215844.9708
43 | 2664974.0537 | 1215824.8641
44 | 2664964.6164 | 1215815.5498
45 | 2664947.3174 | 1215829.7593
46 | 2664961.8671 | 1215812.807
47 | 2664880.861 | 1216059.5849
48 | 2664896.684 | 1216011.4958
49 | 2664858.0131 | 1216076.8892
50 | 2664910.9977 | 1215954.7034
51 | 2664856.7823 | 1216077.7604
52 | 2664913.208 | 1215944.6593
53 | 2664928.0939 | 1216014.7944
54 | 2664912.594 | 1215923.6507
55 | 2664807.7633 | 1216036.6808
56 | 2664789.3709 | 1216032.2524
57 | 2664917.3238 | 1215901.6171
58 | 2664929.9582 | 1215847.8147
59 | 2664904.1996 | 1215924.0039
60 | 2664932.5657 | 1215847.5429
61 | 2664920.5849 | 1215848.8021
62 | 2664930.6552 | 1215855.6271
63 | 2664934.5899 | 1215874.1312
64 | 2664886.9162 | 1215857.8746
65 | 2664934.665 | 1216036.061
66 | 2664707.1168 | 1216594.7248
67 | 2664705.1759 | 1216585.3868
68 | 2664547.0804 | 1216627.5612
69 | 2664704.5942 | 1216581.7327
70 | 2664700.1821 | 1216554.4247
71 | 2664992.6354 | 1215906.7898

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97867 | -0.41164 | 0.0086451 | 0.0021667
1 | 0.97904 | -0.4044 | 0.0072048 | 0.0018057
2 | 0.97861 | -0.4128 | 0 | 0
3 | 0.98093 | -0.36733 | 0 | 0
4 | 0.9786 | -0.41291 | 0 | 0
5 | 0.98119 | -0.36217 | 0 | 0
6 | 0.97859 | -0.41326 | 0.00063718 | 0.00015969
7 | 0.97859 | -0.41318 | 0.00028856 | 7.232e-05
8 | 0.98161 | -0.3539 | 0 | 0
9 | 0.98057 | -0.37438 | 0.0043194 | 0.0010825
10 | 0.98176 | -0.35097 | 0.0015112 | 0.00037873
11 | 0.98219 | -0.3426 | 0 | 0
12 | 0.98257 | -0.33529 | 0 | 0
13 | 0.9832 | -0.32295 | 0.0055554 | 0.0013923
14 | 0.98235 | -0.33954 | 0.0054204 | 0.0013585
15 | 0.97858 | -0.41334 | 0.00056472 | 0.00014153
16 | 0.98038 | -0.37817 | 0.0013778 | 0.00034531
17 | 0.98336 | -0.31974 | 0 | 0
18 | 0.98585 | -0.27146 | 0.012347 | 0.0030945
19 | 0.98245 | -0.3377 | 0.024396 | 0.0061143
20 | 0.98322 | -0.32251 | 0 | 0
21 | 0.99997 | -0.00055458 | 0.0029914 | 0.00074972
22 | 0.99997 | -0.00055748 | 0.0032064 | 0.0008036
23 | 1 | -1.4081e-06 | 0.0030999 | 0.00077691
24 | 0.9981 | -0.035996 | 0.0040163 | 0.0010066
25 | 1 | 0 | -0.19877 | -0.050226
26 | 0.99808 | -0.03646 | 0.0024521 | 0.00061454
27 | 0.99986 | -0.0027778 | 0.016937 | 0.0042449
28 | 0.99801 | -0.037857 | 0.0022786 | 0.00057107
29 | 0.98032 | -0.37916 | 0.002012 | 0.00050426
30 | 0.9803 | -0.37961 | 0.0023457 | 0.00058788
31 | 0.99636 | -0.069262 | 0.003095 | 0.00077568
32 | 0.99644 | -0.067762 | 0.0050395 | 0.001263
33 | 0.99624 | -0.071531 | 0.004796 | 0.001202
34 | 0.99666 | -0.063445 | 0 | 0
35 | 0.99655 | -0.06561 | 0.0026648 | 0.00066787
36 | 0.99485 | -0.097972 | 0.0024747 | 0.00062021
37 | 0.98431 | -0.30195 | 0.00038928 | 9.7562e-05
38 | 0.9846 | -0.29614 | 0 | 0
39 | 0.98357 | -0.31653 | 7.7668e-05 | 1.9465e-05
40 | 0.98606 | -0.2674 | 0.0020845 | 0.00052243
41 | 0.9861 | -0.26648 | 0.0020854 | 0.00052266
42 | 0.98603 | -0.26791 | 0.0041911 | 0.0010504
43 | 0.98621 | -0.26443 | 0.0020134 | 0.0005046
44 | 0.98634 | -0.26196 | 0 | 0
45 | 0.98813 | -0.22712 | 0.0042106 | 0.0010553
46 | 0.98606 | -0.26729 | 0 | 0
47 | 0.98492 | -0.28984 | 0.00060715 | 0.00015217
48 | 0.98531 | -0.28237 | 0.008032 | 0.002013
49 | 0.98473 | -0.29373 | 0.0005113 | 0.00012814
50 | 0.98618 | -0.26538 | 0.0011814 | 0.00029608
51 | 0.98472 | -0.29392 | 0.00025298 | 6.3402e-05
52 | 0.98634 | -0.26218 | 0 | 0
53 | 0.98527 | -0.2831 | 0.0083042 | 0.0020812
54 | 0.98709 | -0.24751 | 0 | 0
55 | 0.98436 | -0.30095 | 0.002843 | 0.00071253
56 | 0.98433 | -0.30157 | 0.0017052 | 0.00042735
57 | 0.98784 | -0.23306 | 0.0061623 | 0.0015444
58 | 0.98997 | -0.19162 | 0 | 0
59 | 0.98708 | -0.24785 | 0.0022617 | 0.00056683
60 | 0.99009 | -0.18939 | 0 | 0
61 | 0.98992 | -0.19258 | 0 | 0
62 | 0.99115 | -0.16888 | 0 | 0
63 | 0.99359 | -0.12207 | 0.0028948 | 0.00072551
64 | 0.98971 | -0.19668 | 0.0057823 | 0.0014492
65 | 0.9851 | -0.28628 | 0.0079506 | 0.0019926
66 | 0.98349 | -0.31813 | 0.00027365 | 6.8584e-05
67 | 0.9835 | -0.31793 | 0.00029336 | 7.3523e-05
68 | 0.98335 | -0.32085 | 0.00091818 | 0.00023012
69 | 0.9835 | -0.31783 | 0.0001473 | 3.6917e-05
70 | 0.98355 | -0.31701 | 8.1698e-05 | 2.0475e-05
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010136 | -0.0025389 | 0.010139 | 0.0025406 | 3.4919e-06 | 1.7419e-06 | 0.01541 | 0.01541 | 0.01541 | 0.97867 | -0.41164 | 0.97904 | -0.4044 | 4.2336
1 | 0.0014906 | 0.00037224 | -0.0014905 | -0.00037272 | 8.2206e-08 | -4.8383e-07 | 0.0022659 | 0.0022661 | 0.0022661 | 0.97867 | -0.41164 | 0.97861 | -0.4128 | 0.62254
2 | -0.017344 | -0.0043463 | 0.017375 | 0.0043645 | 3.0688e-05 | 1.8157e-05 | 0.026361 | 0.02636 | 0.026361 | 0.97904 | -0.4044 | 0.98093 | -0.36733 | 7.2419
3 | 0.0014905 | 0.00037272 | -0.0014905 | -0.00037276 | 7.7584e-09 | -4.5655e-08 | 0.0022661 | 0.0022661 | 0.0022661 | 0.97861 | -0.4128 | 0.9786 | -0.41291 | 0.62255
4 | -0.017375 | -0.0043645 | 0.017379 | 0.004367 | 4.2749e-06 | 2.5287e-06 | 0.02636 | 0.02636 | 0.02636 | 0.98093 | -0.36733 | 0.98119 | -0.36217 | 7.2418
5 | 0.00063719 | 0.00015932 | -0.00063718 | -0.00015969 | 1.0655e-08 | -3.7352e-07 | 0.00096874 | 0.00096888 | 0.00096888 | 0.9786 | -0.41291 | 0.97859 | -0.41326 | 0.26618
6 | 0.0008533 | 0.00021345 | -0.00085329 | -0.00021366 | 1.114e-08 | -2.1462e-07 | 0.0012973 | 0.0012974 | 0.0012974 | 0.9786 | -0.41291 | 0.97859 | -0.41318 | 0.35643
7 | -0.027441 | -0.00689 | 0.027452 | 0.0068967 | 1.0833e-05 | 6.7227e-06 | 0.04162 | 0.04162 | 0.04162 | 0.98119 | -0.36217 | 0.98161 | -0.3539 | 11.434
8 | 0.010062 | 0.002523 | -0.010056 | -0.0025201 | 5.8518e-06 | 2.8993e-06 | 0.01526 | 0.01526 | 0.01526 | 0.98119 | -0.36217 | 0.98057 | -0.37438 | 4.1924
9 | 0.00056472 | 0.00014134 | -0.00056472 | -0.00014153 | 4.282e-09 | -1.9183e-07 | 0.00085863 | 0.0008587 | 0.0008587 | 0.97859 | -0.41318 | 0.97858 | -0.41334 | 0.23591
10 | -0.027452 | -0.0068967 | 0.027456 | 0.0068991 | 3.8346e-06 | 2.3795e-06 | 0.04162 | 0.04162 | 0.04162 | 0.98161 | -0.3539 | 0.98176 | -0.35097 | 11.434
11 | 0.0057368 | 0.0014375 | -0.0057358 | -0.0014373 | 1.0356e-06 | 2.0322e-07 | 0.0087055 | 0.0087057 | 0.0087057 | 0.98057 | -0.37438 | 0.98038 | -0.37817 | 2.3917
12 | -0.028967 | -0.0072778 | 0.028978 | 0.007285 | 1.1576e-05 | 7.206e-06 | 0.04391 | 0.04391 | 0.04391 | 0.98176 | -0.35097 | 0.98219 | -0.3426 | 12.0632
13 | -0.028978 | -0.007285 | 0.028988 | 0.0072913 | 1.0121e-05 | 6.3004e-06 | 0.04391 | 0.04391 | 0.04391 | 0.98219 | -0.3426 | 0.98257 | -0.33529 | 12.0632
14 | -0.03441 | -0.00865 | 0.03443 | 0.0086627 | 2.0298e-05 | 1.2738e-05 | 0.05212 | 0.05212 | 0.05212 | 0.98257 | -0.33529 | 0.9832 | -0.32295 | 14.3188
15 | 0.0054215 | 0.0013586 | -0.0054204 | -0.0013585 | 1.0963e-06 | 1.5248e-07 | 0.0082104 | 0.0082106 | 0.0082106 | 0.98257 | -0.33529 | 0.98235 | -0.33954 | 2.2557
16 | -0.039986 | -0.010055 | 0.039987 | 0.010056 | 8.4023e-07 | 5.2999e-07 | 0.060528 | 0.060528 | 0.060528 | 0.9832 | -0.32295 | 0.98322 | -0.32251 | 16.6286
17 | 0.004358 | 0.001092 | -0.0043578 | -0.001092 | 2.0618e-07 | -2.6497e-08 | 0.0066145 | 0.0066145 | 0.0066145 | 0.98038 | -0.37817 | 0.98032 | -0.37916 | 1.8172
18 | -0.064409 | -0.016186 | 0.064558 | 0.016281 | 0.00014882 | 9.4713e-05 | 0.097479 | 0.097478 | 0.097479 | 0.98336 | -0.31974 | 0.98585 | -0.27146 | 26.7798
19 | 0.024417 | 0.0061271 | -0.024396 | -0.0061143 | 2.0892e-05 | 1.2854e-05 | 0.036951 | 0.036951 | 0.036951 | 0.98336 | -0.31974 | 0.98245 | -0.3377 | 10.1513
20 | 0.039992 | 0.010059 | -0.039987 | -0.010056 | 5.2894e-06 | 3.3364e-06 | 0.060528 | 0.060528 | 0.060528 | 0.98336 | -0.31974 | 0.98322 | -0.32251 | 16.6286
21 | -0.076905 | -0.019375 | 0.07692 | 0.019385 | 1.5345e-05 | 9.7818e-06 | 0.11611 | 0.11611 | 0.11611 | 0.98585 | -0.27146 | 0.98606 | -0.26729 | 31.8997
22 | 0.17408 | 0.04445 | -0.17408 | -0.04445 | 2.4387e-08 | 1.5608e-08 | 0.25934 | 0.25934 | 0.25934 | 0.99997 | -0.00055458 | 0.99997 | -0.00055748 | 35.6234
23 | -0.17708 | -0.045199 | 0.17708 | 0.045202 | 4.7331e-06 | 3.0197e-06 | 0.26379 | 0.26379 | 0.26379 | 0.99997 | -0.00055458 | 1 | -1.4081e-06 | 36.2349
24 | 0.17088 | 0.043646 | -0.17059 | -0.04346 | 0.0002922 | 0.00018638 | 0.25457 | 0.25457 | 0.25457 | 0.99997 | -0.00055748 | 0.9981 | -0.035996 | 34.968
25 | -0.18018 | -0.045979 | 0.18018 | 0.045979 | 1.2256e-08 | 7.844e-09 | 0.2684 | 0.2684 | 0.2684 | 1 | -1.4081e-06 | 1 | 0 | 36.8685
26 | 0.16657 | 0.042453 | -0.16657 | -0.042451 | 3.7306e-06 | 2.3792e-06 | 0.24858 | 0.24858 | 0.24858 | 0.9981 | -0.035996 | 0.99808 | -0.03646 | 34.1456
27 | 0.01694 | 0.0042462 | -0.016937 | -0.0042449 | 2.2417e-06 | 1.3113e-06 | 0.025207 | 0.025207 | 0.025207 | 1 | 0 | 0.99986 | -0.0027778 | 6.9249
28 | 0.16411 | 0.041836 | -0.1641 | -0.041829 | 1.1069e-05 | 7.0583e-06 | 0.24492 | 0.24492 | 0.24492 | 0.99808 | -0.03646 | 0.99801 | -0.037857 | 33.6434
29 | 0.16182 | 0.041258 | -0.16162 | -0.041131 | 0.00019962 | 0.00012728 | 0.24153 | 0.24153 | 0.24153 | 0.99801 | -0.037857 | 0.99666 | -0.063445 | 33.1768
30 | 0.0023457 | 0.00058778 | -0.0023457 | -0.00058788 | 4.948e-08 | -9.9558e-08 | 0.0035605 | 0.0035605 | 0.0035605 | 0.98032 | -0.37916 | 0.9803 | -0.37961 | 0.97817
31 | -0.0078915 | -0.0019776 | 0.007892 | 0.0019779 | 5.6389e-07 | 2.1988e-07 | 0.011786 | 0.011785 | 0.011786 | 0.99636 | -0.069262 | 0.99644 | -0.067762 | 3.2378
32 | 0.0047965 | 0.001202 | -0.004796 | -0.001202 | 5.184e-07 | -1.905e-08 | 0.0071633 | 0.0071634 | 0.0071634 | 0.99636 | -0.069262 | 0.99624 | -0.071531 | 1.968
33 | -0.012932 | -0.0032409 | 0.012934 | 0.0032423 | 2.6602e-06 | 1.4547e-06 | 0.019311 | 0.019311 | 0.019311 | 0.99644 | -0.067762 | 0.99666 | -0.063445 | 5.3052
34 | 0.14869 | 0.037888 | -0.14867 | -0.037878 | 1.553e-05 | 9.8958e-06 | 0.22222 | 0.22222 | 0.22222 | 0.99666 | -0.063445 | 0.99655 | -0.06561 | 30.5242
35 | 0.14601 | 0.037211 | -0.14578 | -0.037066 | 0.00022765 | 0.00014503 | 0.21824 | 0.21824 | 0.21824 | 0.99655 | -0.06561 | 0.99485 | -0.097972 | 29.9776
36 | 0.14331 | 0.036445 | -0.14314 | -0.036339 | 0.00016619 | 0.00010586 | 0.21454 | 0.21454 | 0.21454 | 0.99485 | -0.097972 | 0.99359 | -0.12207 | 29.4692
37 | -0.0021826 | -0.0005391 | 0.0021832 | 0.00053762 | 5.9705e-07 | -1.4808e-06 | 0.0032967 | 0.0032961 | 0.0032967 | 0.98431 | -0.30195 | 0.9846 | -0.29614 | 0.90569
38 | 0.0017933 | 0.00044154 | -0.0017921 | -0.00044645 | 1.2344e-06 | -4.9058e-06 | 0.0027083 | 0.0027103 | 0.0027103 | 0.98431 | -0.30195 | 0.98357 | -0.31653 | 0.74458
39 | 0.0045493 | 0.0011396 | -0.0045482 | -0.0011397 | 1.0422e-06 | -8.0606e-08 | 0.006875 | 0.0068753 | 0.0068753 | 0.9846 | -0.29614 | 0.98436 | -0.30095 | 1.8888
40 | -0.0067325 | -0.0016772 | 0.0067332 | 0.0016774 | 7.0831e-07 | 2.2108e-07 | 0.010171 | 0.010171 | 0.010171 | 0.9846 | -0.29614 | 0.98472 | -0.29392 | 2.7943
41 | 0.0017144 | 0.00042698 | -0.0017144 | -0.00042715 | 3.9008e-08 | -1.7142e-07 | 0.0025928 | 0.0025928 | 0.0025928 | 0.98357 | -0.31653 | 0.98355 | -0.31701 | 0.71232
42 | -0.0062757 | -0.0015728 | 0.006276 | 0.0015729 | 2.75e-07 | 7.1696e-08 | 0.0094704 | 0.0094704 | 0.0094704 | 0.98606 | -0.2674 | 0.9861 | -0.26648 | 2.6018
43 | 0.0041912 | 0.0010504 | -0.0041911 | -0.0010504 | 1.0113e-07 | -2.1271e-08 | 0.0063247 | 0.0063248 | 0.0063248 | 0.98606 | -0.2674 | 0.98603 | -0.26791 | 1.7376
44 | -0.0083614 | -0.0020955 | 0.0083622 | 0.0020959 | 8.1817e-07 | 3.4877e-07 | 0.012617 | 0.012617 | 0.012617 | 0.9861 | -0.26648 | 0.98621 | -0.26443 | 3.4663
45 | -0.010376 | -0.0026005 | 0.010377 | 0.0026011 | 1.2186e-06 | 6.107e-07 | 0.015655 | 0.015655 | 0.015655 | 0.98621 | -0.26443 | 0.98634 | -0.26196 | 4.3008
46 | -0.087317 | -0.021999 | 0.087463 | 0.022092 | 0.00014576 | 9.3003e-05 | 0.13177 | 0.13177 | 0.13177 | 0.98634 | -0.26196 | 0.98813 | -0.22712 | 36.2005
47 | 0.07694 | 0.019398 | -0.07692 | -0.019385 | 1.9607e-05 | 1.2499e-05 | 0.11611 | 0.11611 | 0.11611 | 0.98634 | -0.26196 | 0.98606 | -0.26729 | 31.8997
48 | -0.091673 | -0.023147 | 0.091839 | 0.023253 | 0.00016603 | 0.00010596 | 0.13811 | 0.13811 | 0.13811 | 0.98813 | -0.22712 | 0.99009 | -0.18939 | 37.9424
49 | -0.0081061 | -0.0020217 | 0.0081089 | 0.0020229 | 2.8734e-06 | 1.1881e-06 | 0.012243 | 0.012243 | 0.012243 | 0.98492 | -0.28984 | 0.98531 | -0.28237 | 3.3635
50 | 0.0074989 | 0.0018695 | -0.0074975 | -0.001869 | 1.3839e-06 | 5.1961e-07 | 0.011326 | 0.011326 | 0.011326 | 0.98492 | -0.28984 | 0.98473 | -0.29373 | 3.1115
51 | -0.016141 | -0.0040359 | 0.016154 | 0.0040435 | 1.3057e-05 | 7.609e-06 | 0.024373 | 0.024373 | 0.024373 | 0.98531 | -0.28237 | 0.98618 | -0.26538 | 6.6958
52 | 0.0069862 | 0.0017408 | -0.0069862 | -0.0017408 | 6.2976e-08 | 2.1122e-08 | 0.010553 | 0.010553 | 0.010553 | 0.98473 | -0.29373 | 0.98472 | -0.29392 | 2.8993
53 | -0.017335 | -0.0043396 | 0.017338 | 0.0043411 | 2.6383e-06 | 1.5573e-06 | 0.026155 | 0.026155 | 0.026155 | 0.98618 | -0.26538 | 0.98634 | -0.26218 | 7.1855
54 | 0.016272 | 0.0040838 | -0.016256 | -0.0040743 | 1.6219e-05 | 9.4654e-06 | 0.024551 | 0.024551 | 0.024551 | 0.98634 | -0.26218 | 0.98527 | -0.2831 | 6.7448
55 | -0.03361 | -0.0084249 | 0.033634 | 0.0084396 | 2.3513e-05 | 1.4737e-05 | 0.050706 | 0.050706 | 0.050706 | 0.98634 | -0.26218 | 0.98709 | -0.24751 | 13.9301
56 | 0.0079518 | 0.0019931 | -0.0079506 | -0.0019926 | 1.2039e-06 | 4.8704e-07 | 0.012009 | 0.012009 | 0.012009 | 0.98527 | -0.2831 | 0.9851 | -0.28628 | 3.2993
57 | 0.0022617 | 0.00056674 | -0.0022617 | -0.00056683 | 3.6516e-08 | -8.3709e-08 | 0.0034094 | 0.0034095 | 0.0034095 | 0.98709 | -0.24751 | 0.98708 | -0.24785 | 0.93667
58 | -0.035895 | -0.0090064 | 0.03592 | 0.0090219 | 2.4748e-05 | 1.555e-05 | 0.054115 | 0.054115 | 0.054115 | 0.98709 | -0.24751 | 0.98784 | -0.23306 | 14.8668
59 | 0.0017052 | 0.00042713 | -0.0017052 | -0.00042735 | 5.0013e-08 | -2.2314e-07 | 0.0025776 | 0.0025777 | 0.0025777 | 0.98436 | -0.30095 | 0.98433 | -0.30157 | 0.70816
60 | -0.042082 | -0.010566 | 0.042166 | 0.010619 | 8.3378e-05 | 5.2652e-05 | 0.063397 | 0.063397 | 0.063397 | 0.98784 | -0.23306 | 0.98997 | -0.19162 | 17.4169
61 | -0.04795 | -0.012068 | 0.047955 | 0.012072 | 5.0944e-06 | 3.2268e-06 | 0.07209 | 0.07209 | 0.07209 | 0.98997 | -0.19162 | 0.99009 | -0.18939 | 19.8051
62 | 0.0057836 | 0.0014494 | -0.0057834 | -0.0014494 | 2.6634e-07 | 4.9629e-08 | 0.0086933 | 0.0086933 | 0.0086933 | 0.98997 | -0.19162 | 0.98992 | -0.19258 | 2.3883
63 | -0.13979 | -0.035325 | 0.13993 | 0.035412 | 0.00013764 | 8.7983e-05 | 0.2102 | 0.2102 | 0.2102 | 0.99009 | -0.18939 | 0.99115 | -0.16888 | 57.7475
64 | 0.0057834 | 0.0014494 | -0.0057823 | -0.0014492 | 1.1292e-06 | 2.1056e-07 | 0.0086933 | 0.0086935 | 0.0086935 | 0.98992 | -0.19258 | 0.98971 | -0.19668 | 2.3883
65 | -0.13993 | -0.035412 | 0.14025 | 0.035614 | 0.00031512 | 0.00020143 | 0.2102 | 0.2102 | 0.2102 | 0.99115 | -0.16888 | 0.99359 | -0.12207 | 57.7475
66 | -0.001192 | -0.0002967 | 0.001192 | 0.00029659 | 1.1623e-08 | -1.1359e-07 | 0.0018027 | 0.0018027 | 0.0018027 | 0.98349 | -0.31813 | 0.9835 | -0.31793 | 0.49525
67 | 0.0009183 | 0.00022812 | -0.00091818 | -0.00023012 | 1.182e-07 | -1.9972e-06 | 0.0013887 | 0.0013894 | 0.0013894 | 0.98349 | -0.31813 | 0.98335 | -0.32085 | 0.3817
68 | -0.0014853 | -0.00037011 | 0.0014853 | 0.00037007 | 7.0025e-09 | -4.2472e-08 | 0.0022465 | 0.0022465 | 0.0022465 | 0.9835 | -0.31793 | 0.9835 | -0.31783 | 0.61717
69 | -0.0016326 | -0.00040699 | 0.0016327 | 0.00040668 | 6.3255e-08 | -3.1059e-07 | 0.0024694 | 0.0024692 | 0.0024694 | 0.9835 | -0.31783 | 0.98355 | -0.31701 | 0.67839

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20166 | 0.05095

## res_load
| p_mw | q_mvar
0 | 0.0086451 | 0.0021667
1 | 0.0072048 | 0.0018057
2 | 0.00063718 | 0.00015969
3 | 0.00028856 | 7.232e-05
4 | 0.0043194 | 0.0010825
5 | 0.0015112 | 0.00037873
6 | 0.0055554 | 0.0013923
7 | 0.0054204 | 0.0013585
8 | 0.00056472 | 0.00014153
9 | 0.0013778 | 0.00034531
10 | 0.012347 | 0.0030945
11 | 0.024396 | 0.0061143
12 | 0.0029914 | 0.00074972
13 | 0.0032064 | 0.0008036
14 | 0.0030999 | 0.00077691
15 | 0.0040163 | 0.0010066
16 | 0.0028917 | 0.00072472
17 | 0.0024521 | 0.00061454
18 | 0.016937 | 0.0042449
19 | 0.0022786 | 0.00057107
20 | 0.002012 | 0.00050426
21 | 0.0023457 | 0.00058788
22 | 0.003095 | 0.00077568
23 | 0.0050395 | 0.001263
24 | 0.004796 | 0.001202
25 | 0.0026648 | 0.00066787
26 | 0.0024747 | 0.00062021
27 | 0.00038928 | 9.7562e-05
28 | 7.7668e-05 | 1.9465e-05
29 | 0.0020845 | 0.00052243
30 | 0.0020854 | 0.00052266
31 | 0.0041911 | 0.0010504
32 | 0.0020134 | 0.0005046
33 | 0.0042106 | 0.0010553
34 | 0.00060715 | 0.00015217
35 | 0.008032 | 0.002013
36 | 0.0005113 | 0.00012814
37 | 0.0011814 | 0.00029608
38 | 0.00025298 | 6.3402e-05
39 | 0.0083042 | 0.0020812
40 | 0.002843 | 0.00071253
41 | 0.0017052 | 0.00042735
42 | 0.0061623 | 0.0015444
43 | 0.0022617 | 0.00056683
44 | 0.0028948 | 0.00072551
45 | 0.0057823 | 0.0014492
46 | 0.0079506 | 0.0019926
47 | 0.00027365 | 6.8584e-05
48 | 0.00029336 | 7.3523e-05
49 | 0.00091818 | 0.00023012
50 | 0.0001473 | 3.6917e-05
51 | 8.1698e-05 | 2.0475e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1