## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1024-17_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1024-17_0_4_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_1024-17_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1024-17_0_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_1024-17_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1024-17_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1024-17_0_4_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_1024-17_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1024-17_0_4_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_1024-17_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1024-17_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1024-17_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1024-17_0_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_1024-17_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1024-17_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_1024-17_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1024-17_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1024-17_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_1024-17_0_4_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_1024-17_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1024-17_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1024-17_0_4_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_1024-17_0_4_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_1024-17_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1024-17_0_4_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1024-17_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1024-17_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1024-17_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_1024-17_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1024-17_0_4_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_1024-17_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1024-17_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1024-17_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1024-17_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1024-17_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1024-17_0_4_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_1024-17_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_1024-17_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1024-17_0_4_node_15 | 0.4 | n |  | TRUE
44 | bus_LV_1024-17_0_4_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_1024-17_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1024-17_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_1024-17_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1024-17_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_MV_218_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-17_0_4_load_0 | 0 | 0.0041572 | 0.0010419 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-17_0_4_load_1 | 1 | 0.0023786 | 0.00059614 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-17_0_4_load_3 | 3 | 0.007387 | 0.0018514 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-17_0_4_load_5 | 5 | 0.0072724 | 0.0018226 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-17_0_4_load_43 | 6 | 0.011981 | 0.0030027 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-17_0_4_load_47 | 8 | 0.001218 | 0.00030525 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-17_0_4_load_20 | 10 | 0.0061101 | 0.0015313 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-17_0_4_load_54 | 11 | 0.038233 | 0.0095821 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-17_0_4_load_44 | 13 | 0.0058993 | 0.0014785 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-17_0_4_load_14 | 15 | 0.092841 | 0.023268 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-17_0_4_load_12 | 16 | 0.050156 | 0.01257 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-17_0_4_load_45 | 19 | 0.0031093 | 0.00077927 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-17_0_4_load_16 | 20 | 0.0028628 | 0.00071748 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-17_0_4_load_52 | 23 | 0.0014363 | 0.00035997 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-17_0_4_load_53 | 26 | 0.0018699 | 0.00046865 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-17_0_4_load_51 | 27 | 0.0018762 | 0.00047023 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-17_0_4_load_39 | 29 | 0.0022153 | 0.00055521 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-17_0_4_load_36 | 31 | 0.0018532 | 0.00046445 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-17_0_4_load_46 | 32 | 0.0053497 | 0.0013408 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-17_0_4_load_38 | 33 | 0.001598 | 0.0004005 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-17_0_4_load_13 | 34 | 0.0049008 | 0.0012282 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-17_0_4_load_42 | 36 | 0.0060798 | 0.0015237 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-17_0_4_load_40 | 37 | 0.0066638 | 0.0016701 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-17_0_4_load_48 | 40 | 0.0041267 | 0.0010342 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-17_0_4_load_15 | 43 | 0.011308 | 0.002834 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-17_0_4_load_17 | 44 | 0.0090101 | 0.0022581 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-17_0_4_load_32 | 45 | 0.0019774 | 0.00049557 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-17_0_4_load_31 | 46 | 0.0040421 | 0.001013 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-17_0_4_load_37 | 47 | 0.0039215 | 0.00098282 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-17_0_4_load_50 | 48 | 0.015412 | 0.0038626 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-17_0_4_line_0 |  | 0 | 1 | 0.013873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-17_0_4_line_1 |  | 0 | 2 | 0.0096052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-17_0_4_line_2 |  | 1 | 3 | 0.011542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-17_0_4_line_3 |  | 2 | 4 | 0.006946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-17_0_4_line_4 |  | 2 | 5 | 0.013401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-17_0_4_line_5 |  | 3 | 6 | 0.0024796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-17_0_4_line_6 |  | 4 | 7 | 0.0074603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-17_0_4_line_7 |  | 4 | 8 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1024-17_0_4_line_8 |  | 5 | 9 | 0.003427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-17_0_4_line_9 |  | 5 | 10 | 0.027481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-17_0_4_line_10 |  | 6 | 17 | 0.017191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-17_0_4_line_11 |  | 7 | 11 | 0.018964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-17_0_4_line_12 |  | 8 | 15 | 0.01694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1024-17_0_4_line_13 |  | 9 | 12 | 0.0081756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-17_0_4_line_14 |  | 12 | 13 | 0.031386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-17_0_4_line_15 |  | 13 | 33 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-17_0_4_line_16 |  | 14 | 15 | 0.022978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-17_0_4_line_17 |  | 14 | 16 | 0.032448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-17_0_4_line_18 |  | 16 | 34 | 0.017864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-17_0_4_line_19 |  | 17 | 48 | 0.01529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-17_0_4_line_20 |  | 17 | 40 | 0.0050545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-17_0_4_line_21 |  | 18 | 19 | 0.017993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-17_0_4_line_22 |  | 18 | 20 | 0.014127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-17_0_4_line_23 |  | 20 | 43 | 0.019986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-17_0_4_line_24 |  | 21 | 22 | 0.006712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-17_0_4_line_25 |  | 21 | 23 | 0.0076404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-17_0_4_line_26 |  | 22 | 24 | 0.0062755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-17_0_4_line_27 |  | 23 | 27 | 0.0062047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-17_0_4_line_28 |  | 24 | 29 | 0.018369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-17_0_4_line_29 |  | 25 | 26 | 0.0086811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-17_0_4_line_30 |  | 25 | 27 | 0.0049222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-17_0_4_line_31 |  | 28 | 29 | 0.027275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-17_0_4_line_32 |  | 28 | 30 | 0.018534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-17_0_4_line_33 |  | 28 | 31 | 0.018218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-17_0_4_line_34 |  | 30 | 32 | 0.018758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-17_0_4_line_35 |  | 31 | 47 | 0.013255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-17_0_4_line_36 |  | 33 | 47 | 0.017767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-17_0_4_line_37 |  | 35 | 36 | 0.001416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-17_0_4_line_38 |  | 35 | 37 | 0.055728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-17_0_4_line_39 |  | 37 | 42 | 0.039261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-17_0_4_line_40 |  | 38 | 39 | 0.034848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-17_0_4_line_41 |  | 38 | 40 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-17_0_4_line_42 |  | 38 | 41 | 0.032028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-17_0_4_line_43 |  | 39 | 42 | 0.004121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-17_0_4_line_44 |  | 41 | 45 | 0.022843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-17_0_4_line_45 |  | 41 | 44 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-17_0_4_line_46 |  | 43 | 44 | 0.036598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-17_0_4_line_47 |  | 45 | 46 | 0.0052701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-17_0_4_trafo_47 | 0.63 MVA 20/0.4 kV | 49 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2664574.5844 | 1213590.5113 | 2664578.7971 | 1213577.2934
1 | 2664571.6676 | 1213599.663 | 2664574.5844 | 1213590.5113
2 | 2664578.7971 | 1213577.2934 | 2664582.3019 | 1213566.2967
3 | 2664571.6676 | 1213599.663 | 2664576.2702 | 1213601.1248 | 2664578.2988 | 1213601.7916
4 | 2664571.6676 | 1213599.663 | 2664566.4822 | 1213598.0058 | 2664558.8668 | 1213595.5774
5 | 2664583.0549 | 1213563.9342 | 2664582.3019 | 1213566.2967
6 | 2664576.0871 | 1213608.9165 | 2664576.3077 | 1213608.1851 | 2664577.3306 | 1213604.9164 | 2664577.9839 | 1213602.8111 | 2664578.2988 | 1213601.7916
7 | 2664578.2988 | 1213601.7916 | 2664597.1079 | 1213607.9878
8 | 2664557.8741 | 1213598.8576 | 2664558.6225 | 1213596.3864 | 2664558.8668 | 1213595.5774
9 | 2664558.8668 | 1213595.5774 | 2664549.0862 | 1213592.4697 | 2664532.6964 | 1213587.1928
10 | 2664588.2752 | 1213547.555 | 2664583.0549 | 1213563.9342
11 | 2664576.0871 | 1213608.9165 | 2664594.1456 | 1213614.7061
12 | 2664613.2029 | 1213613.2721 | 2664602.1339 | 1213609.6434 | 2664597.1079 | 1213607.9878
13 | 2664557.8741 | 1213598.8576 | 2664557.0392 | 1213601.6058 | 2664556.7162 | 1213602.6697 | 2664558.5026 | 1213603.256 | 2664560.6976 | 1213603.9802
14 | 2664560.6976 | 1213603.9802 | 2664551.0259 | 1213633.8388
15 | 2664545.0729 | 1213652.2168 | 2664551.0259 | 1213633.8388
16 | 2664635.0452 | 1213620.4066 | 2664630.8592 | 1213619.0604 | 2664613.2029 | 1213613.2721
17 | 2664635.0452 | 1213620.4066 | 2664645.3282 | 1213589.6315
18 | 2664645.3282 | 1213589.6315 | 2664650.9894 | 1213572.6885
19 | 2664588.2752 | 1213547.555 | 2664573.6491 | 1213542.9605
20 | 2664588.2752 | 1213547.555 | 2664589.8109 | 1213542.7394
21 | 2664589.0139 | 1213439.4073 | 2664606.0483 | 1213445.2006
22 | 2664589.0139 | 1213439.4073 | 2664584.7197 | 1213452.8653
23 | 2664584.7197 | 1213452.8653 | 2664578.6443 | 1213471.9058
24 | 2664579.549 | 1213708.6712 | 2664578.8279 | 1213706.5176 | 2664577.6736 | 1213705.082 | 2664575.1593 | 1213704.3877
25 | 2664579.549 | 1213708.6712 | 2664579.7067 | 1213710.941 | 2664577.8778 | 1213715.9848
26 | 2664575.1593 | 1213704.3877 | 2664575.3314 | 1213701.1209 | 2664575.4563 | 1213698.7096 | 2664575.4854 | 1213698.1207
27 | 2664575.7627 | 1213721.8179 | 2664577.8778 | 1213715.9848
28 | 2664575.4854 | 1213698.1207 | 2664564.652 | 1213697.5586 | 2664557.1334 | 1213697.755
29 | 2664574.0848 | 1213726.4453 | 2664571.1281 | 1213734.6073
30 | 2664574.0848 | 1213726.4453 | 2664575.7627 | 1213721.8179
31 | 2664529.8992 | 1213699.0613 | 2664540.8774 | 1213698.1795 | 2664557.1334 | 1213697.755
32 | 2664517.8002 | 1213707.3467 | 2664517.5176 | 1213703.2744 | 2664529.019 | 1213701.7757 | 2664529.8992 | 1213699.0613
33 | 2664529.8992 | 1213699.0613 | 2664535.5132 | 1213681.7297
34 | 2664517.8002 | 1213707.3467 | 2664536.4453 | 1213705.2936
35 | 2664539.5979 | 1213669.1194 | 2664535.5132 | 1213681.7297
36 | 2664545.0729 | 1213652.2168 | 2664539.5979 | 1213669.1194
37 | 2664631.7135 | 1213512.9263 | 2664630.8751 | 1213511.7831
38 | 2664631.7135 | 1213512.9263 | 2664641.6907 | 1213505.6187 | 2664646.3455 | 1213489.6593 | 2664636.9987 | 1213476.6611 | 2664626.7906 | 1213473.3661
39 | 2664607.1414 | 1213495.9385 | 2664615.614 | 1213469.7585 | 2664626.7906 | 1213473.3661
40 | 2664603.0769 | 1213496.6838 | 2664593.7874 | 1213530.2707
41 | 2664593.7874 | 1213530.2707 | 2664589.8109 | 1213542.7394
42 | 2664593.7874 | 1213530.2707 | 2664563.1025 | 1213520.7993
43 | 2664607.1414 | 1213495.9385 | 2664603.0769 | 1213496.6838
44 | 2664563.1025 | 1213520.7993 | 2664541.2759 | 1213514.0599
45 | 2664563.1025 | 1213520.7993 | 2664567.5418 | 1213506.7794
46 | 2664567.5418 | 1213506.7794 | 2664570.779 | 1213496.5563 | 2664578.6443 | 1213471.9058
47 | 2664541.2759 | 1213514.0599 | 2664536.2404 | 1213512.5051

## bus_geodata
| x | y | coords
0 | 2664574.5844 | 1213590.5113
1 | 2664578.7971 | 1213577.2934
2 | 2664571.6676 | 1213599.663
3 | 2664582.3019 | 1213566.2967
4 | 2664578.2988 | 1213601.7916
5 | 2664558.8668 | 1213595.5774
6 | 2664583.0549 | 1213563.9342
7 | 2664576.0871 | 1213608.9165
8 | 2664597.1079 | 1213607.9878
9 | 2664557.8741 | 1213598.8576
10 | 2664532.6964 | 1213587.1928
11 | 2664594.1456 | 1213614.7061
12 | 2664560.6976 | 1213603.9802
13 | 2664551.0259 | 1213633.8388
14 | 2664635.0452 | 1213620.4066
15 | 2664613.2029 | 1213613.2721
16 | 2664645.3282 | 1213589.6315
17 | 2664588.2752 | 1213547.555
18 | 2664589.0139 | 1213439.4073
19 | 2664606.0483 | 1213445.2006
20 | 2664584.7197 | 1213452.8653
21 | 2664579.549 | 1213708.6712
22 | 2664575.1593 | 1213704.3877
23 | 2664577.8778 | 1213715.9848
24 | 2664575.4854 | 1213698.1207
25 | 2664574.0848 | 1213726.4453
26 | 2664571.1281 | 1213734.6073
27 | 2664575.7627 | 1213721.8179
28 | 2664529.8992 | 1213699.0613
29 | 2664557.1334 | 1213697.755
30 | 2664517.8002 | 1213707.3467
31 | 2664535.5132 | 1213681.7297
32 | 2664536.4453 | 1213705.2936
33 | 2664545.0729 | 1213652.2168
34 | 2664650.9894 | 1213572.6885
35 | 2664631.7135 | 1213512.9263
36 | 2664630.8751 | 1213511.7831
37 | 2664626.7906 | 1213473.3661
38 | 2664593.7874 | 1213530.2707
39 | 2664603.0769 | 1213496.6838
40 | 2664589.8109 | 1213542.7394
41 | 2664563.1024 | 1213520.7993
42 | 2664607.1414 | 1213495.9385
43 | 2664578.6443 | 1213471.9058
44 | 2664567.5418 | 1213506.7794
45 | 2664541.2759 | 1213514.0599
46 | 2664536.2404 | 1213512.5051
47 | 2664539.5979 | 1213669.1194
48 | 2664573.6491 | 1213542.9605
49 | 2664597.1079 | 1213607.9878

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99686 | -0.060089 | 0.0041572 | 0.0010419
1 | 0.99577 | -0.081123 | 0.0023786 | 0.00059614
2 | 0.99766 | -0.044854 | 0 | 0
3 | 0.99489 | -0.098174 | 0.007387 | 0.0018514
4 | 0.99848 | -0.029064 | 0 | 0
5 | 0.99718 | -0.054107 | 0.0072724 | 0.0018226
6 | 0.99471 | -0.10152 | 0.011981 | 0.0030027
7 | 0.99822 | -0.034052 | 0 | 0
8 | 1 | 0 | -0.31879 | -0.079906
9 | 0.9971 | -0.05567 | 0 | 0
10 | 0.99703 | -0.057051 | 0.0061101 | 0.0015313
11 | 0.99756 | -0.046743 | 0.038233 | 0.0095821
12 | 0.9969 | -0.059401 | 0 | 0
13 | 0.99616 | -0.073738 | 0.0058993 | 0.0014785
14 | 0.99771 | -0.043986 | 0 | 0
15 | 0.99886 | -0.021859 | 0.092841 | 0.023268
16 | 0.99608 | -0.075317 | 0.050156 | 0.01257
17 | 0.9937 | -0.1211 | 0 | 0
18 | 0.9909 | -0.17519 | 0 | 0
19 | 0.99085 | -0.17619 | 0.0031093 | 0.00077927
20 | 0.99094 | -0.17441 | 0.0028628 | 0.00071748
21 | 0.99479 | -0.10027 | 0 | 0
22 | 0.99482 | -0.099654 | 0 | 0
23 | 0.99475 | -0.10096 | 0.0014363 | 0.00035997
24 | 0.99485 | -0.099081 | 0 | 0
25 | 0.99472 | -0.10154 | 0 | 0
26 | 0.9947 | -0.10182 | 0.0018699 | 0.00046865
27 | 0.99473 | -0.10137 | 0.0018762 | 0.00047023
28 | 0.99512 | -0.093851 | 0 | 0
29 | 0.99493 | -0.097404 | 0.0022153 | 0.00055521
30 | 0.99503 | -0.095596 | 0 | 0
31 | 0.99533 | -0.089763 | 0.0018532 | 0.00046445
32 | 0.99494 | -0.097363 | 0.0053497 | 0.0013408
33 | 0.9958 | -0.080569 | 0.001598 | 0.0004005
34 | 0.996 | -0.076855 | 0.0049008 | 0.0012282
35 | 0.99171 | -0.15956 | 0 | 0
36 | 0.9917 | -0.15971 | 0.0060798 | 0.0015237
37 | 0.99202 | -0.15356 | 0.0066638 | 0.0016701
38 | 0.99293 | -0.13591 | 0 | 0
39 | 0.99252 | -0.14377 | 0 | 0
40 | 0.99347 | -0.12549 | 0.0041267 | 0.0010342
41 | 0.99198 | -0.15423 | 0 | 0
42 | 0.99248 | -0.1447 | 0 | 0
43 | 0.99105 | -0.17229 | 0.011308 | 0.002834
44 | 0.99163 | -0.16108 | 0.0090101 | 0.0022581
45 | 0.99186 | -0.15666 | 0.0019774 | 0.00049557
46 | 0.99184 | -0.15704 | 0.0040421 | 0.001013
47 | 0.99551 | -0.086357 | 0.0039215 | 0.00098282
48 | 0.99348 | -0.12526 | 0.015412 | 0.0038626
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.086662 | 0.021841 | -0.086575 | -0.021786 | 8.7116e-05 | 5.5573e-05 | 0.1294 | 0.1294 | 0.1294 | 0.99686 | -0.060089 | 0.99577 | -0.081123 | 35.5505
1 | -0.09082 | -0.022883 | 0.090886 | 0.022925 | 6.6239e-05 | 4.2268e-05 | 0.13561 | 0.13561 | 0.13561 | 0.99686 | -0.060089 | 0.99766 | -0.044854 | 37.2552
2 | 0.084197 | 0.021189 | -0.084128 | -0.021146 | 6.8549e-05 | 4.3721e-05 | 0.12585 | 0.12585 | 0.12585 | 0.99577 | -0.081123 | 0.99489 | -0.098174 | 34.574
3 | -0.13035 | -0.032837 | 0.13045 | 0.0329 | 9.8515e-05 | 6.2959e-05 | 0.19448 | 0.19448 | 0.19448 | 0.99766 | -0.044854 | 0.99848 | -0.029064 | 53.4279
4 | 0.039464 | 0.0099113 | -0.039447 | -0.0099004 | 1.7415e-05 | 1.0971e-05 | 0.058868 | 0.058869 | 0.058869 | 0.99766 | -0.044854 | 0.99718 | -0.054107 | 16.1727
5 | 0.076741 | 0.019294 | -0.076729 | -0.019286 | 1.2255e-05 | 7.8109e-06 | 0.1148 | 0.1148 | 0.1148 | 0.99489 | -0.098174 | 0.99471 | -0.10152 | 31.5387
6 | 0.038265 | 0.0096024 | -0.038256 | -0.0095967 | 9.0992e-06 | 5.7259e-06 | 0.05703 | 0.05703 | 0.05703 | 0.99848 | -0.029064 | 0.99822 | -0.034052 | 15.6677
7 | -0.16871 | -0.042502 | 0.16895 | 0.042652 | 0.00023488 | 0.0001498 | 0.25151 | 0.25151 | 0.25151 | 0.99848 | -0.029064 | 1 | 0 | 34.5478
8 | 0.026063 | 0.0065462 | -0.026062 | -0.006545 | 1.9444e-06 | 1.1997e-06 | 0.038898 | 0.038898 | 0.038898 | 0.99718 | -0.054107 | 0.9971 | -0.05567 | 10.6861
9 | 0.006111 | 0.0015315 | -0.0061101 | -0.0015313 | 8.5695e-07 | 1.9001e-07 | 0.0091189 | 0.0091191 | 0.0091191 | 0.99718 | -0.054107 | 0.99703 | -0.057051 | 2.5052
10 | 0.064748 | 0.016284 | -0.064688 | -0.016245 | 6.0504e-05 | 3.85e-05 | 0.096878 | 0.096878 | 0.096878 | 0.99471 | -0.10152 | 0.9937 | -0.1211 | 26.6149
11 | 0.038256 | 0.0095967 | -0.038233 | -0.0095821 | 2.313e-05 | 1.4555e-05 | 0.05703 | 0.057031 | 0.057031 | 0.99822 | -0.034052 | 0.99756 | -0.046743 | 15.6677
12 | 0.14819 | 0.037254 | -0.14804 | -0.037156 | 0.00015451 | 9.8441e-05 | 0.22055 | 0.22055 | 0.22055 | 1 | 0 | 0.99886 | -0.021859 | 30.2959
13 | 0.026062 | 0.006545 | -0.026057 | -0.0065422 | 4.6387e-06 | 2.8621e-06 | 0.038898 | 0.038898 | 0.038898 | 0.9971 | -0.05567 | 0.9969 | -0.059401 | 10.6862
14 | 0.026057 | 0.0065422 | -0.026039 | -0.0065312 | 1.7808e-05 | 1.0988e-05 | 0.038898 | 0.038898 | 0.038898 | 0.9969 | -0.059401 | 0.99616 | -0.073738 | 10.6862
15 | 0.02014 | 0.0050527 | -0.020133 | -0.0050487 | 6.5572e-06 | 3.9452e-06 | 0.030086 | 0.030086 | 0.030086 | 0.99616 | -0.073738 | 0.9958 | -0.080569 | 8.2653
16 | -0.055139 | -0.013851 | 0.055198 | 0.013888 | 5.8289e-05 | 3.7005e-05 | 0.082248 | 0.082247 | 0.082248 | 0.99771 | -0.043986 | 0.99886 | -0.021859 | 22.5955
17 | 0.055139 | 0.013851 | -0.055057 | -0.013798 | 8.2311e-05 | 5.2256e-05 | 0.082248 | 0.082248 | 0.082248 | 0.99771 | -0.043986 | 0.99608 | -0.075317 | 22.5955
18 | 0.0049011 | 0.0012282 | -0.0049008 | -0.0012282 | 3.591e-07 | -2.6826e-09 | 0.0073216 | 0.0073217 | 0.0073217 | 0.99608 | -0.075317 | 0.996 | -0.076855 | 2.0114
19 | 0.015415 | 0.0038643 | -0.015412 | -0.0038626 | 3.0552e-06 | 1.7573e-06 | 0.023084 | 0.023084 | 0.023084 | 0.9937 | -0.1211 | 0.99348 | -0.12526 | 6.3417
20 | 0.049273 | 0.012381 | -0.049262 | -0.012374 | 1.0322e-05 | 6.5406e-06 | 0.073795 | 0.073795 | 0.073795 | 0.9937 | -0.1211 | 0.99347 | -0.12549 | 20.2733
21 | 0.0031095 | 0.00077913 | -0.0031093 | -0.00077927 | 1.4711e-07 | -1.3761e-07 | 0.0046694 | 0.0046694 | 0.0046694 | 0.9909 | -0.17519 | 0.99085 | -0.17619 | 1.2828
22 | -0.0031095 | -0.00077913 | 0.0031096 | 0.00077902 | 1.155e-07 | -1.0806e-07 | 0.0046694 | 0.0046693 | 0.0046694 | 0.9909 | -0.17519 | 0.99094 | -0.17441 | 1.2828
23 | -0.0059724 | -0.0014965 | 0.005973 | 0.0014966 | 6.0278e-07 | 1.2827e-07 | 0.0089681 | 0.008968 | 0.0089681 | 0.99094 | -0.17441 | 0.99105 | -0.17229 | 2.4638
24 | -0.0051827 | -0.0012987 | 0.0051829 | 0.0012987 | 1.5127e-07 | 9.6678e-09 | 0.0077523 | 0.0077523 | 0.0077523 | 0.99479 | -0.10027 | 0.99482 | -0.099654 | 2.1298
25 | 0.0051827 | 0.0012987 | -0.0051826 | -0.0012987 | 1.7219e-07 | 1.1013e-08 | 0.0077523 | 0.0077524 | 0.0077524 | 0.99479 | -0.10027 | 0.99475 | -0.10096 | 2.1298
26 | -0.0051829 | -0.0012987 | 0.005183 | 0.0012987 | 1.4143e-07 | 9.0333e-09 | 0.0077523 | 0.0077523 | 0.0077523 | 0.99482 | -0.099654 | 0.99485 | -0.099081 | 2.1298
27 | 0.0037463 | 0.00093869 | -0.0037462 | -0.00093872 | 7.3068e-08 | -3.3783e-08 | 0.0056039 | 0.0056039 | 0.0056039 | 0.99475 | -0.10096 | 0.99473 | -0.10137 | 1.5395
28 | -0.005183 | -0.0012987 | 0.0051834 | 0.0012987 | 4.1397e-07 | 2.641e-08 | 0.0077523 | 0.0077522 | 0.0077523 | 0.99485 | -0.099081 | 0.99493 | -0.097404 | 2.1297
29 | 0.00187 | 0.00046855 | -0.0018699 | -0.00046865 | 2.5473e-08 | -9.6386e-08 | 0.0027973 | 0.0027973 | 0.0027973 | 0.99472 | -0.10154 | 0.9947 | -0.10182 | 0.76849
30 | -0.00187 | -0.00046855 | 0.00187 | 0.0004685 | 1.4443e-08 | -5.4653e-08 | 0.0027973 | 0.0027972 | 0.0027973 | 0.99472 | -0.10154 | 0.99473 | -0.10137 | 0.76848
31 | 0.0074 | 0.0018544 | -0.0073987 | -0.0018539 | 1.2524e-06 | 4.4723e-07 | 0.011065 | 0.011065 | 0.011065 | 0.99512 | -0.093851 | 0.99493 | -0.097404 | 3.0399
32 | 0.0053506 | 0.0013408 | -0.0053501 | -0.0013408 | 4.4491e-07 | 4.3978e-08 | 0.0080008 | 0.0080009 | 0.0080009 | 0.99512 | -0.093851 | 0.99503 | -0.095596 | 2.198
33 | -0.012751 | -0.0031952 | 0.012753 | 0.0031966 | 2.4834e-06 | 1.3527e-06 | 0.019066 | 0.019066 | 0.019066 | 0.99512 | -0.093851 | 0.99533 | -0.089763 | 5.2379
34 | 0.0053501 | 0.0013408 | -0.0053497 | -0.0013408 | 4.5029e-07 | 4.4559e-08 | 0.0080009 | 0.0080009 | 0.0080009 | 0.99503 | -0.095596 | 0.99494 | -0.097363 | 2.1981
35 | -0.014606 | -0.003661 | 0.014609 | 0.0036624 | 2.3702e-06 | 1.3446e-06 | 0.021836 | 0.021836 | 0.021836 | 0.99533 | -0.089763 | 0.99551 | -0.086357 | 5.999
36 | 0.018535 | 0.0046482 | -0.01853 | -0.0046452 | 5.1115e-06 | 3.0403e-06 | 0.027698 | 0.027698 | 0.027698 | 0.9958 | -0.080569 | 0.99551 | -0.086357 | 7.6093
37 | 0.0060799 | 0.0015238 | -0.0060798 | -0.0015237 | 4.419e-08 | 1.0012e-08 | 0.0091226 | 0.0091226 | 0.0091226 | 0.99171 | -0.15956 | 0.9917 | -0.15971 | 2.5062
38 | -0.0060799 | -0.0015238 | 0.0060816 | 0.0015241 | 1.7391e-06 | 3.9376e-07 | 0.0091226 | 0.0091223 | 0.0091226 | 0.99171 | -0.15956 | 0.99202 | -0.15356 | 2.5062
39 | -0.012745 | -0.0031942 | 0.012751 | 0.0031972 | 5.3811e-06 | 2.9368e-06 | 0.019118 | 0.019118 | 0.019118 | 0.99202 | -0.15356 | 0.99248 | -0.1447 | 5.2522
40 | 0.012756 | 0.0032001 | -0.012751 | -0.0031975 | 4.7761e-06 | 2.6062e-06 | 0.019118 | 0.019118 | 0.019118 | 0.99293 | -0.13591 | 0.99252 | -0.14377 | 5.2521
41 | -0.045113 | -0.011326 | 0.045136 | 0.01134 | 2.2437e-05 | 1.419e-05 | 0.067614 | 0.067614 | 0.067614 | 0.99293 | -0.13591 | 0.99347 | -0.12549 | 18.5753
42 | 0.032357 | 0.0081259 | -0.032329 | -0.0081082 | 2.8248e-05 | 1.7665e-05 | 0.048496 | 0.048497 | 0.048497 | 0.99293 | -0.13591 | 0.99198 | -0.15423 | 13.3232
43 | 0.012751 | 0.0031975 | -0.012751 | -0.0031972 | 5.6481e-07 | 3.0822e-07 | 0.019118 | 0.019118 | 0.019118 | 0.99252 | -0.14377 | 0.99248 | -0.1447 | 5.2521
44 | 0.0060202 | 0.0015088 | -0.0060195 | -0.0015086 | 6.986e-07 | 1.5224e-07 | 0.0090306 | 0.0090307 | 0.0090307 | 0.99198 | -0.15423 | 0.99186 | -0.15666 | 2.481
45 | 0.026309 | 0.0065995 | -0.0263 | -0.0065942 | 8.5896e-06 | 5.3076e-06 | 0.039466 | 0.039466 | 0.039466 | 0.99198 | -0.15423 | 0.99163 | -0.16108 | 10.8423
46 | -0.017281 | -0.0043306 | 0.01729 | 0.004336 | 9.2391e-06 | 5.4411e-06 | 0.025946 | 0.025946 | 0.025946 | 0.99105 | -0.17229 | 0.99163 | -0.16108 | 7.128
47 | 0.0040422 | 0.001013 | -0.0040421 | -0.001013 | 7.2677e-08 | -2.1504e-08 | 0.0060642 | 0.0060642 | 0.0060642 | 0.99186 | -0.15666 | 0.99184 | -0.15704 | 1.666

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32001 | 0.080212

## res_load
| p_mw | q_mvar
0 | 0.0041572 | 0.0010419
1 | 0.0023786 | 0.00059614
2 | 0.007387 | 0.0018514
3 | 0.0072724 | 0.0018226
4 | 0.011981 | 0.0030027
5 | 0.001218 | 0.00030525
6 | 0.0061101 | 0.0015313
7 | 0.038233 | 0.0095821
8 | 0.0058993 | 0.0014785
9 | 0.092841 | 0.023268
10 | 0.050156 | 0.01257
11 | 0.0031093 | 0.00077927
12 | 0.0028628 | 0.00071748
13 | 0.0014363 | 0.00035997
14 | 0.0018699 | 0.00046865
15 | 0.0018762 | 0.00047023
16 | 0.0022153 | 0.00055521
17 | 0.0018532 | 0.00046445
18 | 0.0053497 | 0.0013408
19 | 0.001598 | 0.0004005
20 | 0.0049008 | 0.0012282
21 | 0.0060798 | 0.0015237
22 | 0.0066638 | 0.0016701
23 | 0.0041267 | 0.0010342
24 | 0.011308 | 0.002834
25 | 0.0090101 | 0.0022581
26 | 0.0019774 | 0.00049557
27 | 0.0040421 | 0.001013
28 | 0.0039215 | 0.00098282
29 | 0.015412 | 0.0038626

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1