## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-18_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-18_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-18_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-18_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-18_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1024-18_0_6_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_1024-18_0_6_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1024-18_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1024-18_0_6_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1024-18_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1024-18_0_6_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1024-18_0_6_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_1024-18_0_6_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_1024-18_0_6_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_1024-18_0_6_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_1024-18_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1024-18_0_6_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1024-18_0_6_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_1024-18_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1024-18_0_6_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_1024-18_0_6_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_1024-18_0_6_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1024-18_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1024-18_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1024-18_0_6_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1024-18_0_6_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1024-18_0_6_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_1024-18_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1024-18_0_6_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1024-18_0_6_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_1024-18_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1024-18_0_6_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1024-18_0_6_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1024-18_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1024-18_0_6_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_1024-18_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1024-18_0_6_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_1024-18_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1024-18_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1024-18_0_6_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1024-18_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1024-18_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1024-18_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1024-18_0_6_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_1024-18_0_6_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_1024-18_0_6_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_1024-18_0_6_node_5 | 0.4 | n |  | TRUE
47 | bus_LV_1024-18_0_6_node_6 | 0.4 | n |  | TRUE
48 | bus_LV_1024-18_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_1024-18_0_6_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1024-18_0_6_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1024-18_0_6_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1024-18_0_6_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_1024-18_0_6_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1024-18_0_6_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_1024-18_0_6_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_1024-18_0_6_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_1024-18_0_6_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_1024-18_0_6_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_1024-18_0_6_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_1024-18_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_1024-18_0_6_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_1024-18_0_6_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_1024-18_0_6_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_1024-18_0_6_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_1024-18_0_6_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_1024-18_0_6_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_1024-18_0_6_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_1024-18_0_6_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_1024-18_0_6_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_1024-18_0_6_node_90 | 0.4 | n |  | TRUE
71 | bus_LV_1024-18_0_6_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_1024-18_0_6_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_1024-18_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_1024-18_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1024-18_0_6_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_1024-18_0_6_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_1024-18_0_6_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_1024-18_0_6_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_1024-18_0_6_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_1024-18_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_1024-18_0_6_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_1024-18_0_6_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_1024-18_0_6_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_1024-18_0_6_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_1024-18_0_6_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_1024-18_0_6_node_78 | 0.4 | n |  | TRUE
87 | bus_MV_218_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-18_0_6_load_0 | 0 | 0.0090055 | 0.002257 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-18_0_6_load_1 | 1 | 0.0094637 | 0.0023718 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-18_0_6_load_2 | 2 | 0.0090395 | 0.0022655 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-18_0_6_load_29 | 5 | 0.0094661 | 0.0023724 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-18_0_6_load_10 | 8 | 0.0077635 | 0.0019457 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-18_0_6_load_7 | 9 | 0.0069904 | 0.001752 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-18_0_6_load_53 | 11 | 0.0058622 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-18_0_6_load_48 | 12 | 0.0021124 | 0.00052942 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-18_0_6_load_50 | 13 | 0.0044603 | 0.0011179 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-18_0_6_load_65 | 17 | 0.0038005 | 0.0009525 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-18_0_6_load_59 | 19 | 0.0067288 | 0.0016864 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-18_0_6_load_60 | 20 | 0.0056996 | 0.0014284 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-18_0_6_load_33 | 24 | 0.0034633 | 0.000868 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-18_0_6_load_30 | 25 | 0.0047037 | 0.0011789 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-18_0_6_load_54 | 26 | 0.0034613 | 0.00086749 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-18_0_6_load_31 | 28 | 0.011223 | 0.0028127 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-18_0_6_load_56 | 29 | 0.020017 | 0.0050167 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-18_0_6_load_38 | 31 | 0.037537 | 0.0094076 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-18_0_6_load_43 | 32 | 0.025813 | 0.0064694 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-18_0_6_load_70 | 34 | 0.011464 | 0.0028731 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-18_0_6_load_69 | 36 | 0.01919 | 0.0048094 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-18_0_6_load_36 | 39 | 0.019292 | 0.004835 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-18_0_6_load_28 | 41 | 0.035991 | 0.0090202 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-18_0_6_load_35 | 42 | 0.024011 | 0.0060176 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-18_0_6_load_79 | 44 | 0.006086 | 0.0015253 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-18_0_6_load_88 | 45 | 0.013713 | 0.0034369 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-18_0_6_load_5 | 46 | 0.0069871 | 0.0017511 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-18_0_6_load_6 | 47 | 0.0069904 | 0.001752 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-18_0_6_load_34 | 48 | 0.0027938 | 0.0007002 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-18_0_6_load_32 | 49 | 0.006069 | 0.001521 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-18_0_6_load_47 | 50 | 0.0044031 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-18_0_6_load_51 | 51 | 0.0038956 | 0.00097633 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-18_0_6_load_71 | 52 | 0.018248 | 0.0045733 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-18_0_6_load_52 | 53 | 0.0025491 | 0.00063886 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-18_0_6_load_76 | 54 | 0.012882 | 0.0032285 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-18_0_6_load_84 | 55 | 0.012884 | 0.0032291 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-18_0_6_load_77 | 56 | 0.013706 | 0.0034351 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-18_0_6_load_87 | 57 | 0.013512 | 0.0033865 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-18_0_6_load_41 | 58 | 0.004501 | 0.0011281 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1024-18_0_6_load_40 | 60 | 0.0034478 | 0.0008641 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1024-18_0_6_load_42 | 63 | 0.0060866 | 0.0015254 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1024-18_0_6_load_45 | 64 | 0.0061743 | 0.0015474 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1024-18_0_6_load_89 | 66 | 0.0043249 | 0.0010839 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1024-18_0_6_load_83 | 68 | 0.0056988 | 0.0014282 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1024-18_0_6_load_90 | 70 | 0.0086899 | 0.0021779 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1024-18_0_6_load_61 | 71 | 0.0051171 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1024-18_0_6_load_49 | 72 | 0.0058647 | 0.0014698 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1024-18_0_6_load_63 | 73 | 0.00411 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1024-18_0_6_load_74 | 74 | 0.012882 | 0.0032285 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1024-18_0_6_load_82 | 75 | 0.012881 | 0.0032282 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1024-18_0_6_load_62 | 76 | 0.0057384 | 0.0014382 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1024-18_0_6_load_64 | 77 | 0.0037217 | 0.00093275 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1024-18_0_6_load_66 | 78 | 0.0224 | 0.005614 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1024-18_0_6_load_86 | 81 | 0.013511 | 0.0033861 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1024-18_0_6_load_85 | 82 | 0.012066 | 0.0030239 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1024-18_0_6_load_72 | 83 | 0.013706 | 0.0034351 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1024-18_0_6_load_73 | 84 | 0.015351 | 0.0038473 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1024-18_0_6_load_75 | 85 | 0.012873 | 0.0032263 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1024-18_0_6_load_78 | 86 | 0.0054329 | 0.0013616 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-18_0_6_line_0 |  | 0 | 1 | 0.027957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-18_0_6_line_1 |  | 0 | 2 | 0.023737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-18_0_6_line_2 |  | 1 | 3 | 0.023225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-18_0_6_line_3 |  | 2 | 4 | 0.017957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-18_0_6_line_4 |  | 3 | 5 | 0.040489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-18_0_6_line_5 |  | 4 | 6 | 0.02824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1024-18_0_6_line_6 |  | 4 | 7 | 0.0087608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1024-18_0_6_line_7 |  | 6 | 14 | 0.035068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1024-18_0_6_line_8 |  | 7 | 8 | 0.023871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1024-18_0_6_line_9 |  | 7 | 9 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-18_0_6_line_10 |  | 8 | 49 | 0.017839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_1024-18_0_6_line_11 |  | 9 | 46 | 0.02768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-18_0_6_line_12 |  | 10 | 11 | 0.014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1024-18_0_6_line_13 |  | 10 | 12 | 0.018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1024-18_0_6_line_14 |  | 10 | 13 | 0.030072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1024-18_0_6_line_15 |  | 11 | 18 | 0.039165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1024-18_0_6_line_16 |  | 12 | 50 | 0.024333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1024-18_0_6_line_17 |  | 13 | 51 | 0.023388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1024-18_0_6_line_18 |  | 14 | 52 | 0.039145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-18_0_6_line_19 |  | 14 | 36 | 0.013983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1024-18_0_6_line_20 |  | 15 | 16 | 0.00607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1024-18_0_6_line_21 |  | 15 | 17 | 0.030137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1024-18_0_6_line_22 |  | 16 | 26 | 0.013656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-18_0_6_line_23 |  | 16 | 22 | 0.0094576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1024-18_0_6_line_24 |  | 17 | 53 | 0.021339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1024-18_0_6_line_25 |  | 18 | 19 | 0.0163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1024-18_0_6_line_26 |  | 18 | 20 | 0.024861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1024-18_0_6_line_27 |  | 18 | 21 | 0.10771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-18_0_6_line_28 |  | 19 | 54 | 0.060629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1024-18_0_6_line_29 |  | 20 | 55 | 0.0020125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1024-18_0_6_line_30 |  | 21 | 29 | 0.035238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-18_0_6_line_31 |  | 22 | 23 | 0.031787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-18_0_6_line_32 |  | 22 | 24 | 0.0054509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1024-18_0_6_line_33 |  | 23 | 25 | 0.021624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-18_0_6_line_34 |  | 24 | 49 | 0.022253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1024-18_0_6_line_35 |  | 25 | 27 | 0.01182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-18_0_6_line_36 |  | 27 | 28 | 0.025184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-18_0_6_line_37 |  | 28 | 48 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-18_0_6_line_38 |  | 30 | 31 | 0.021034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_1024-18_0_6_line_39 |  | 30 | 32 | 0.032299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1024-18_0_6_line_40 |  | 31 | 37 | 0.024121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1024-18_0_6_line_41 |  | 33 | 34 | 0.035756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-18_0_6_line_42 |  | 33 | 35 | 0.026027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1024-18_0_6_line_43 |  | 33 | 36 | 0.033542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_1024-18_0_6_line_44 |  | 35 | 38 | 0.031222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_1024-18_0_6_line_45 |  | 37 | 38 | 0.048162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_1024-18_0_6_line_46 |  | 37 | 39 | 0.00045692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-18_0_6_line_47 |  | 38 | 42 | 0.045436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-18_0_6_line_48 |  | 38 | 40 | 0.007834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-18_0_6_line_49 |  | 40 | 41 | 0.012257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-18_0_6_line_50 |  | 43 | 44 | 0.026685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1024-18_0_6_line_51 |  | 43 | 45 | 0.0074518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-18_0_6_line_52 |  | 44 | 56 | 3.7077e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-18_0_6_line_53 |  | 45 | 57 | 0.00027869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-18_0_6_line_54 |  | 46 | 47 | 0.028604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1024-18_0_6_line_55 |  | 50 | 72 | 0.0055667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_1024-18_0_6_line_56 |  | 51 | 53 | 0.021545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_1024-18_0_6_line_57 |  | 54 | 74 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_1024-18_0_6_line_58 |  | 55 | 75 | 0.028341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_1024-18_0_6_line_59 |  | 56 | 86 | 0.035384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1024-18_0_6_line_60 |  | 57 | 82 | 0.034265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1024-18_0_6_line_61 |  | 58 | 59 | 0.022678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1024-18_0_6_line_62 |  | 59 | 60 | 0.010672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1024-18_0_6_line_63 |  | 60 | 64 | 0.025501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_1024-18_0_6_line_64 |  | 61 | 62 | 0.008581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1024-18_0_6_line_65 |  | 61 | 63 | 0.0026576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1024-18_0_6_line_66 |  | 62 | 65 | 0.013701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1024-18_0_6_line_67 |  | 62 | 66 | 0.01494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1024-18_0_6_line_68 |  | 64 | 67 | 0.015228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_1024-18_0_6_line_69 |  | 65 | 68 | 0.035094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_1024-18_0_6_line_70 |  | 65 | 69 | 0.01169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1024-18_0_6_line_71 |  | 66 | 70 | 0.017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1024-18_0_6_line_72 |  | 67 | 71 | 0.029157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1024-18_0_6_line_73 |  | 67 | 72 | 0.0034153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_1024-18_0_6_line_74 |  | 68 | 75 | 0.004167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_1024-18_0_6_line_75 |  | 69 | 86 | 0.0049952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1024-18_0_6_line_76 |  | 69 | 85 | 0.014486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1024-18_0_6_line_77 |  | 71 | 73 | 0.002945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1024-18_0_6_line_78 |  | 73 | 76 | 0.019778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1024-18_0_6_line_79 |  | 74 | 83 | 0.02896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1024-18_0_6_line_80 |  | 76 | 77 | 0.00048823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1024-18_0_6_line_81 |  | 78 | 79 | 0.02663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1024-18_0_6_line_82 |  | 79 | 80 | 0.015522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1024-18_0_6_line_83 |  | 80 | 81 | 0.011717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1024-18_0_6_line_84 |  | 81 | 82 | 0.00027722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1024-18_0_6_line_85 |  | 83 | 84 | 0.017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-18_0_6_trafo_40 | 0.63 MVA 20/0.4 kV | 87 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2664740.2387 | 1213661.4763 | 2664713.6061 | 1213652.9746
1 | 2664740.2387 | 1213661.4763 | 2664762.8516 | 1213668.6947
2 | 2664691.4811 | 1213645.9119 | 2664713.6061 | 1213652.9746
3 | 2664779.346 | 1213675.1835 | 2664777.4365 | 1213673.3505 | 2664762.8516 | 1213668.6947
4 | 2664691.4811 | 1213645.9119 | 2664683.2535 | 1213685.5558
5 | 2664791.3292 | 1213685.9759 | 2664788.2589 | 1213683.3187 | 2664792.3627 | 1213679.6499 | 2664784.5041 | 1213672.3489 | 2664781.0221 | 1213671.2326 | 2664779.8371 | 1213674.0326 | 2664779.346 | 1213675.1835
6 | 2664779.346 | 1213675.1835 | 2664779.8371 | 1213674.0326 | 2664781.0221 | 1213671.2326 | 2664782.3787 | 1213668.0231 | 2664782.7607 | 1213667.1156
7 | 2664804.2401 | 1213715.5455 | 2664802.3097 | 1213705.8519 | 2664799.7862 | 1213691.3266 | 2664797.4849 | 1213691.3016 | 2664791.3292 | 1213685.9759
8 | 2664782.7607 | 1213667.1156 | 2664790.1882 | 1213669.3532 | 2664793.9127 | 1213669.8273 | 2664796.6094 | 1213669.8121 | 2664799.171 | 1213668.9616 | 2664804.4485 | 1213664.4193
9 | 2664782.7607 | 1213667.1156 | 2664767.2952 | 1213662.3784
10 | 2664816.9942 | 1213651.7614 | 2664807.5902 | 1213661.7153 | 2664804.4485 | 1213664.4193
11 | 2664740.844 | 1213654.2223 | 2664748.177 | 1213656.5225 | 2664767.2952 | 1213662.3784
12 | 2664932.7885 | 1213730.7751 | 2664939.457 | 1213738.5191 | 2664942.499 | 1213741.7068
13 | 2664932.7885 | 1213730.7751 | 2664916.8481 | 1213740.5352
14 | 2664932.7885 | 1213730.7751 | 2664913.2505 | 1213707.9154
15 | 2664969.1518 | 1213770.3844 | 2664964.1806 | 1213764.4266 | 2664942.499 | 1213741.7068
16 | 2664896.0963 | 1213753.2413 | 2664916.8481 | 1213740.5352
17 | 2664913.2505 | 1213707.9154 | 2664909.9122 | 1213704.0095 | 2664897.7456 | 1213690.4069
18 | 2664833.4038 | 1213697.8404 | 2664828.2505 | 1213702.3205 | 2664827.3922 | 1213710.7052 | 2664825.5906 | 1213712.2199 | 2664804.2401 | 1213715.5455
19 | 2664804.2401 | 1213715.5455 | 2664803.1974 | 1213717.8245 | 2664796.6691 | 1213719.5324 | 2664794.676 | 1213723.8212
20 | 2664841.8927 | 1213637.3952 | 2664842.6488 | 1213637.0254 | 2664847.8872 | 1213637.2937
21 | 2664847.8872 | 1213637.2937 | 2664851.0502 | 1213639.1069 | 2664853.8979 | 1213641.973 | 2664869.1019 | 1213658.4926
22 | 2664841.8927 | 1213637.3952 | 2664839.9758 | 1213638.3416 | 2664832.3046 | 1213646.9342
23 | 2664835.0974 | 1213630.8173 | 2664835.6462 | 1213631.3458 | 2664838.698 | 1213634.303 | 2664841.1034 | 1213636.6306 | 2664841.8927 | 1213637.3952
24 | 2664883.3823 | 1213674.3482 | 2664872.6062 | 1213662.3001 | 2664869.1019 | 1213658.4926
25 | 2664969.1518 | 1213770.3844 | 2664976.26 | 1213778.8893 | 2664979.819 | 1213782.7025
26 | 2664969.1518 | 1213770.3844 | 2664947.9114 | 1213783.3039
27 | 2664969.1518 | 1213770.3844 | 2664971.8892 | 1213768.7243 | 2665016.8934 | 1213817.6339 | 2665045.1071 | 1213843.1572
28 | 2665000.2668 | 1213826.4374 | 2665009.4387 | 1213819.3203 | 2665010.6235 | 1213817.243 | 2665010.4674 | 1213815.5403 | 2664979.819 | 1213782.7025
29 | 2664947.9114 | 1213783.3039 | 2664946.192 | 1213784.3498
30 | 2665045.1071 | 1213843.1572 | 2665031.4703 | 1213875.6502
31 | 2664826.2141 | 1213605.9832 | 2664823.4719 | 1213610.1782 | 2664822.9081 | 1213611.0281 | 2664829.1356 | 1213615.3429 | 2664835.0048 | 1213621.8663 | 2664836.1045 | 1213624.1241 | 2664836.3666 | 1213627.2622 | 2664835.0974 | 1213630.8173
32 | 2664835.0974 | 1213630.8173 | 2664831.6689 | 1213635.0549
33 | 2664826.2141 | 1213605.9832 | 2664805.5059 | 1213599.7555
34 | 2664831.6689 | 1213635.0549 | 2664825.0571 | 1213643.227 | 2664816.9942 | 1213651.7614
35 | 2664794.1871 | 1213596.3515 | 2664805.5059 | 1213599.7555
36 | 2664794.1871 | 1213596.3515 | 2664769.4264 | 1213600.9493
37 | 2664769.4264 | 1213600.9493 | 2664748.5351 | 1213604.8286
38 | 2664772.1753 | 1213812.9131 | 2664773.9009 | 1213808.5958 | 2664758.6684 | 1213802.56
39 | 2664772.1753 | 1213812.9131 | 2664802.3517 | 1213824.4276
40 | 2664767.6015 | 1213780.1543 | 2664758.6684 | 1213802.56
41 | 2664770.854 | 1213744.3674 | 2664795.7014 | 1213756.1557 | 2664799.7304 | 1213748.8727
42 | 2664770.854 | 1213744.3674 | 2664752.1352 | 1213735.4921 | 2664749.9632 | 1213740.3381
43 | 2664770.854 | 1213744.3674 | 2664791.9275 | 1213732.967 | 2664793.6668 | 1213725.9927 | 2664794.676 | 1213723.8212
44 | 2664733.138 | 1213757.8441 | 2664734.3551 | 1213758.3799 | 2664737.3034 | 1213759.6794 | 2664739.9947 | 1213760.8649 | 2664740.8338 | 1213761.2409 | 2664749.9632 | 1213740.3381
45 | 2664733.138 | 1213757.8441 | 2664734.3551 | 1213758.3799 | 2664737.3034 | 1213759.6794 | 2664739.9947 | 1213760.8649 | 2664740.8338 | 1213761.2409 | 2664738.7929 | 1213765.9105 | 2664761.9217 | 1213775.0783 | 2664760.9533 | 1213777.5138 | 2664767.6015 | 1213780.1543
46 | 2664768.0246 | 1213780.3268 | 2664767.6015 | 1213780.1543
47 | 2664733.138 | 1213757.8441 | 2664734.7738 | 1213755.4938 | 2664744.8353 | 1213731.3102 | 2664752.7194 | 1213716.9528
48 | 2664733.138 | 1213757.8441 | 2664729.4834 | 1213760.0281 | 2664725.9266 | 1213759.5002
49 | 2664725.9266 | 1213759.5002 | 2664714.6017 | 1213754.8131
50 | 2664939.1561 | 1213879.1029 | 2664922.2869 | 1213858.4258
51 | 2664939.1561 | 1213879.1029 | 2664943.7868 | 1213884.9412
52 | 2664922.2634 | 1213858.397 | 2664922.2869 | 1213858.4258
53 | 2664943.96 | 1213885.1596 | 2664943.7868 | 1213884.9412
54 | 2664740.844 | 1213654.2223 | 2664713.5512 | 1213645.6611
55 | 2664896.0963 | 1213753.2413 | 2664891.3488 | 1213756.1481
56 | 2664883.3823 | 1213674.3482 | 2664897.7456 | 1213690.4069
57 | 2665000.2668 | 1213826.4374 | 2664987.6657 | 1213836.2153
58 | 2664921.978 | 1213799.0779 | 2664946.192 | 1213784.3498
59 | 2664922.2634 | 1213858.397 | 2664899.8952 | 1213830.9796
60 | 2664965.2528 | 1213912.0051 | 2664943.96 | 1213885.1596
61 | 2664844.6955 | 1213784.7613 | 2664824.1629 | 1213775.1329
62 | 2664844.6955 | 1213784.7613 | 2664849.196 | 1213783.0203 | 2664854.1218 | 1213779.871
63 | 2664854.1218 | 1213779.871 | 2664875.6064 | 1213766.1344
64 | 2664876.574 | 1213823.9878 | 2664868.1249 | 1213825.6191
65 | 2664868.1249 | 1213825.6191 | 2664865.5881 | 1213826.4113
66 | 2664876.574 | 1213823.9878 | 2664879.0525 | 1213825.1822 | 2664888.4347 | 1213819.4807
67 | 2664876.574 | 1213823.9878 | 2664869.1154 | 1213811.0429
68 | 2664888.4362 | 1213757.9315 | 2664875.6064 | 1213766.1344
69 | 2664888.4347 | 1213819.4807 | 2664918.4179 | 1213801.2434
70 | 2664888.4347 | 1213819.4807 | 2664894.0031 | 1213826.4011 | 2664896.7375 | 1213827.1091
71 | 2664860.3741 | 1213795.872 | 2664869.1154 | 1213811.0429
72 | 2664888.4362 | 1213757.9315 | 2664868.9602 | 1213736.2337
73 | 2664888.4362 | 1213757.9315 | 2664891.3488 | 1213756.1481
74 | 2664921.978 | 1213799.0779 | 2664918.4179 | 1213801.2434
75 | 2664896.7375 | 1213827.1091 | 2664899.8952 | 1213830.9796
76 | 2664896.7375 | 1213827.1091 | 2664898.1298 | 1213826.2014 | 2664906.4863 | 1213835.9291
77 | 2664868.9602 | 1213736.2337 | 2664866.9929 | 1213734.0421
78 | 2664853.7815 | 1213719.3236 | 2664866.9929 | 1213734.0421
79 | 2664964.7862 | 1213853.969 | 2664987.6657 | 1213836.2153
80 | 2664853.7815 | 1213719.3236 | 2664853.4554 | 1213718.9603
81 | 2664986.7997 | 1213912.9872 | 2665008.5229 | 1213897.5836
82 | 2664986.7997 | 1213912.9872 | 2664976.8942 | 1213920.017 | 2664973.5168 | 1213920.4694
83 | 2664973.5168 | 1213920.4694 | 2664970.6185 | 1213918.7701 | 2664965.425 | 1213912.2223
84 | 2664965.425 | 1213912.2223 | 2664965.2528 | 1213912.0051
85 | 2664964.7862 | 1213853.969 | 2664951.0767 | 1213864.607

## bus_geodata
| x | y | coords
0 | 2664740.2387 | 1213661.4763
1 | 2664713.6061 | 1213652.9746
2 | 2664762.8516 | 1213668.6947
3 | 2664691.4811 | 1213645.9119
4 | 2664779.346 | 1213675.1835
5 | 2664683.2535 | 1213685.5558
6 | 2664791.3292 | 1213685.9759
7 | 2664782.7607 | 1213667.1156
8 | 2664804.4485 | 1213664.4193
9 | 2664767.2952 | 1213662.3784
10 | 2664932.7885 | 1213730.7751
11 | 2664942.499 | 1213741.7068
12 | 2664916.8481 | 1213740.5352
13 | 2664913.2505 | 1213707.9154
14 | 2664804.2401 | 1213715.5455
15 | 2664847.8872 | 1213637.2937
16 | 2664841.8927 | 1213637.3952
17 | 2664869.1019 | 1213658.4926
18 | 2664969.1518 | 1213770.3844
19 | 2664979.819 | 1213782.7025
20 | 2664947.9114 | 1213783.3039
21 | 2665045.1071 | 1213843.1572
22 | 2664835.0974 | 1213630.8173
23 | 2664826.2141 | 1213605.9832
24 | 2664831.6689 | 1213635.0549
25 | 2664805.5059 | 1213599.7555
26 | 2664832.3046 | 1213646.9342
27 | 2664794.1871 | 1213596.3515
28 | 2664769.4264 | 1213600.9493
29 | 2665031.4703 | 1213875.6502
30 | 2664772.1753 | 1213812.9131
31 | 2664758.6684 | 1213802.56
32 | 2664802.3517 | 1213824.4276
33 | 2664770.854 | 1213744.3674
34 | 2664799.7304 | 1213748.8727
35 | 2664749.9632 | 1213740.3381
36 | 2664794.676 | 1213723.8212
37 | 2664767.6015 | 1213780.1543
38 | 2664733.138 | 1213757.8441
39 | 2664768.0246 | 1213780.3268
40 | 2664725.9266 | 1213759.5002
41 | 2664714.6017 | 1213754.8131
42 | 2664752.7194 | 1213716.9528
43 | 2664939.1561 | 1213879.1029
44 | 2664922.2869 | 1213858.4258
45 | 2664943.7868 | 1213884.9412
46 | 2664740.844 | 1213654.2223
47 | 2664713.5512 | 1213645.6611
48 | 2664748.5351 | 1213604.8286
49 | 2664816.9942 | 1213651.7614
50 | 2664896.0963 | 1213753.2413
51 | 2664897.7456 | 1213690.4069
52 | 2664833.4038 | 1213697.8404
53 | 2664883.3823 | 1213674.3482
54 | 2665000.2668 | 1213826.4374
55 | 2664946.192 | 1213784.3498
56 | 2664922.2634 | 1213858.397
57 | 2664943.96 | 1213885.1596
58 | 2664824.1629 | 1213775.1329
59 | 2664844.6955 | 1213784.7613
60 | 2664854.1218 | 1213779.871
61 | 2664868.1249 | 1213825.6191
62 | 2664876.5741 | 1213823.9878
63 | 2664865.5881 | 1213826.4113
64 | 2664875.6064 | 1213766.1344
65 | 2664888.4347 | 1213819.4807
66 | 2664869.1154 | 1213811.0429
67 | 2664888.4362 | 1213757.9315
68 | 2664918.4179 | 1213801.2434
69 | 2664896.7375 | 1213827.1091
70 | 2664860.3741 | 1213795.872
71 | 2664868.9602 | 1213736.2337
72 | 2664891.3488 | 1213756.1481
73 | 2664866.9929 | 1213734.0421
74 | 2664987.6657 | 1213836.2153
75 | 2664921.978 | 1213799.0779
76 | 2664853.7815 | 1213719.3236
77 | 2664853.4554 | 1213718.9603
78 | 2665008.5229 | 1213897.5836
79 | 2664986.7997 | 1213912.9872
80 | 2664973.5168 | 1213920.4694
81 | 2664965.425 | 1213912.2223
82 | 2664965.2528 | 1213912.0051
83 | 2664964.7862 | 1213853.969
84 | 2664951.0767 | 1213864.607
85 | 2664906.4863 | 1213835.9291
86 | 2664899.8952 | 1213830.9796
87 | 2664844.6955 | 1213784.7613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97733 | -0.43504 | 0.0090055 | 0.002257
1 | 0.97684 | -0.44471 | 0.0094637 | 0.0023718
2 | 0.97795 | -0.42295 | 0.0090395 | 0.0022655
3 | 0.97664 | -0.44872 | 0 | 0
4 | 0.97856 | -0.41086 | 0 | 0
5 | 0.97628 | -0.45573 | 0.0094661 | 0.0023724
6 | 0.97756 | -0.43057 | 0 | 0
7 | 0.97894 | -0.40357 | 0 | 0
8 | 0.98005 | -0.38193 | 0.0077635 | 0.0019457
9 | 0.97862 | -0.40974 | 0.0069904 | 0.001752
10 | 0.99006 | -0.18858 | 0 | 0
11 | 0.98937 | -0.20195 | 0.0058622 | 0.0014692
12 | 0.99201 | -0.15137 | 0.0021124 | 0.00052942
13 | 0.98836 | -0.22112 | 0.0044603 | 0.0011179
14 | 0.9763 | -0.45511 | 0 | 0
15 | 0.98309 | -0.32273 | 0 | 0
16 | 0.98277 | -0.32906 | 0 | 0
17 | 0.98471 | -0.29136 | 0.0038005 | 0.0009525
18 | 0.98755 | -0.23705 | 0 | 0
19 | 0.98736 | -0.24064 | 0.0067288 | 0.0016864
20 | 0.98676 | -0.25213 | 0.0056996 | 0.0014284
21 | 0.98556 | -0.27567 | 0 | 0
22 | 0.98226 | -0.33881 | 0 | 0
23 | 0.98171 | -0.34957 | 0 | 0
24 | 0.98199 | -0.34407 | 0.0034633 | 0.000868
25 | 0.98134 | -0.3569 | 0.0047037 | 0.0011789
26 | 0.98272 | -0.32992 | 0.0034613 | 0.00086749
27 | 0.98119 | -0.3599 | 0 | 0
28 | 0.98086 | -0.36629 | 0.011223 | 0.0028127
29 | 0.98491 | -0.28833 | 0.020017 | 0.0050167
30 | 0.97224 | -0.53522 | 0 | 0
31 | 0.97234 | -0.53322 | 0.037537 | 0.0094076
32 | 0.97185 | -0.54291 | 0.025813 | 0.0064694
33 | 0.97489 | -0.48292 | 0 | 0
34 | 0.97451 | -0.49044 | 0.011464 | 0.0028731
35 | 0.9742 | -0.49655 | 0 | 0
36 | 0.97585 | -0.46398 | 0.01919 | 0.0048094
37 | 0.97262 | -0.52759 | 0 | 0
38 | 0.97337 | -0.51293 | 0 | 0
39 | 0.97262 | -0.52775 | 0.019292 | 0.004835
40 | 0.9731 | -0.51812 | 0 | 0
41 | 0.97269 | -0.52624 | 0.035991 | 0.0090202
42 | 0.97235 | -0.53302 | 0.024011 | 0.0060176
43 | 0.97559 | -0.46965 | 0 | 0
44 | 0.97746 | -0.43297 | 0.006086 | 0.0015253
45 | 0.97507 | -0.47992 | 0.013713 | 0.0034369
46 | 0.97826 | -0.41679 | 0.0069871 | 0.0017511
47 | 0.97808 | -0.42043 | 0.0069904 | 0.001752
48 | 0.9808 | -0.36736 | 0.0027938 | 0.0007002
49 | 0.9809 | -0.36528 | 0.006069 | 0.001521
50 | 0.99455 | -0.10298 | 0.0044031 | 0.0011035
51 | 0.98706 | -0.24613 | 0.0038956 | 0.00097633
52 | 0.97564 | -0.46818 | 0.018248 | 0.0045733
53 | 0.98588 | -0.26893 | 0.0025491 | 0.00063886
54 | 0.98675 | -0.25253 | 0.012882 | 0.0032285
55 | 0.9867 | -0.25331 | 0.012884 | 0.0032291
56 | 0.97746 | -0.43292 | 0.013706 | 0.0034351
57 | 0.97505 | -0.48023 | 0.013512 | 0.0033865
58 | 0.99986 | -0.002617 | 0.004501 | 0.0011281
59 | 0.99996 | -0.00083744 | 0 | 0
60 | 1 | 0 | -0.61569 | -0.15836
61 | 0.982 | -0.34442 | 0 | 0
62 | 0.98205 | -0.34347 | 0 | 0
63 | 0.98199 | -0.34471 | 0.0060866 | 0.0015254
64 | 0.99717 | -0.053314 | 0.0061743 | 0.0015474
65 | 0.98229 | -0.33875 | 0 | 0
66 | 0.98187 | -0.34699 | 0.0043249 | 0.0010839
67 | 0.9955 | -0.084964 | 0 | 0
68 | 0.98445 | -0.29687 | 0.0056988 | 0.0014282
69 | 0.98106 | -0.3627 | 0 | 0
70 | 0.98173 | -0.34974 | 0.0086899 | 0.0021779
71 | 0.995 | -0.094552 | 0.0051171 | 0.0012825
72 | 0.99514 | -0.091853 | 0.0058647 | 0.0014698
73 | 0.99497 | -0.095256 | 0.00411 | 0.0010301
74 | 0.9866 | -0.25553 | 0.012882 | 0.0032285
75 | 0.98472 | -0.29169 | 0.012881 | 0.0032282
76 | 0.9948 | -0.098551 | 0.0057384 | 0.0014382
77 | 0.99479 | -0.098583 | 0.0037217 | 0.00093275
78 | 0.97239 | -0.53282 | 0.0224 | 0.005614
79 | 0.97294 | -0.52183 | 0 | 0
80 | 0.97327 | -0.51543 | 0 | 0
81 | 0.97351 | -0.5106 | 0.013511 | 0.0033861
82 | 0.97352 | -0.51042 | 0.012066 | 0.0030239
83 | 0.98582 | -0.27061 | 0.013706 | 0.0034351
84 | 0.98558 | -0.27539 | 0.015351 | 0.0038473
85 | 0.98089 | -0.36608 | 0.012873 | 0.0032263
86 | 0.98059 | -0.37179 | 0.0054329 | 0.0013616
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.018943 | 0.0047519 | -0.018935 | -0.0047466 | 8.7219e-06 | 5.2319e-06 | 0.028843 | 0.028844 | 0.028844 | 0.97733 | -0.43504 | 0.97684 | -0.44471 | 7.9241
1 | -0.027949 | -0.0070089 | 0.027965 | 0.0070189 | 1.6119e-05 | 1.0019e-05 | 0.042555 | 0.042554 | 0.042555 | 0.97733 | -0.43504 | 0.97795 | -0.42295 | 11.6908
2 | 0.0094711 | 0.0023748 | -0.0094693 | -0.0023739 | 1.8129e-06 | 8.6959e-07 | 0.014428 | 0.014428 | 0.014428 | 0.97684 | -0.44471 | 0.97664 | -0.44872 | 3.9637
3 | -0.037005 | -0.0092844 | 0.037026 | 0.0092978 | 2.1351e-05 | 1.3439e-05 | 0.056309 | 0.056309 | 0.056309 | 0.97795 | -0.42295 | 0.97856 | -0.41086 | 15.4694
4 | 0.0094693 | 0.0023739 | -0.0094661 | -0.0023724 | 3.1606e-06 | 1.5163e-06 | 0.014428 | 0.014428 | 0.014428 | 0.97664 | -0.44872 | 0.97628 | -0.45573 | 3.9637
5 | 0.19252 | 0.04861 | -0.19234 | -0.048495 | 0.00018167 | 0.0001145 | 0.29287 | 0.29288 | 0.29288 | 0.97856 | -0.41086 | 0.97756 | -0.43057 | 16.0921
6 | -0.22954 | -0.057908 | 0.22962 | 0.057958 | 8.0115e-05 | 5.0723e-05 | 0.34918 | 0.34918 | 0.34918 | 0.97856 | -0.41086 | 0.97894 | -0.40357 | 19.1859
7 | 0.19234 | 0.048495 | -0.19211 | -0.048353 | 0.0002256 | 0.00014219 | 0.29288 | 0.29288 | 0.29288 | 0.97756 | -0.43057 | 0.9763 | -0.45511 | 16.0921
8 | -0.2506 | -0.06322 | 0.25086 | 0.063385 | 0.00025998 | 0.00016489 | 0.38107 | 0.38107 | 0.38107 | 0.97894 | -0.40357 | 0.98005 | -0.38193 | 20.9382
9 | 0.02098 | 0.0052619 | -0.020974 | -0.0052581 | 6.1691e-06 | 3.745e-06 | 0.031892 | 0.031892 | 0.031892 | 0.97894 | -0.40357 | 0.97862 | -0.40974 | 8.7615
10 | -0.25863 | -0.065331 | 0.25883 | 0.065462 | 0.00020649 | 0.00013103 | 0.39286 | 0.39286 | 0.39286 | 0.98005 | -0.38193 | 0.9809 | -0.36528 | 21.5858
11 | 0.013983 | 0.0035062 | -0.013979 | -0.0035035 | 4.6928e-06 | 2.6558e-06 | 0.021263 | 0.021263 | 0.021263 | 0.97862 | -0.40974 | 0.97826 | -0.41679 | 5.8414
12 | 0.25915 | 0.065772 | -0.25898 | -0.065666 | 0.00016666 | 0.00010572 | 0.38979 | 0.38979 | 0.38979 | 0.99006 | -0.18858 | 0.98937 | -0.20195 | 21.4168
13 | -0.56692 | -0.14447 | 0.56794 | 0.14512 | 0.0010198 | 0.00065145 | 0.85291 | 0.85291 | 0.85291 | 0.99006 | -0.18858 | 0.99201 | -0.15137 | 46.8633
14 | 0.30777 | 0.078696 | -0.30729 | -0.078388 | 0.00048375 | 0.00030767 | 0.46313 | 0.46313 | 0.46313 | 0.99006 | -0.18858 | 0.98836 | -0.22112 | 25.4466
15 | 0.25312 | 0.064197 | -0.2527 | -0.063926 | 0.00042632 | 0.00027033 | 0.38097 | 0.38097 | 0.38097 | 0.98937 | -0.20195 | 0.98755 | -0.23705 | 20.9324
16 | -0.57006 | -0.14565 | 0.57139 | 0.1465 | 0.0013375 | 0.0008544 | 0.85608 | 0.85608 | 0.85608 | 0.99201 | -0.15137 | 0.99455 | -0.10298 | 47.0374
17 | 0.30283 | 0.07727 | -0.30246 | -0.077038 | 0.0003654 | 0.00023236 | 0.45641 | 0.45641 | 0.45641 | 0.98836 | -0.22112 | 0.98706 | -0.24613 | 25.0776
18 | 0.018259 | 0.0045801 | -0.018248 | -0.0045733 | 1.137e-05 | 6.7875e-06 | 0.02783 | 0.027831 | 0.027831 | 0.9763 | -0.45511 | 0.97564 | -0.46818 | 7.6458
19 | 0.17385 | 0.043773 | -0.17378 | -0.043727 | 7.3675e-05 | 4.6278e-05 | 0.26505 | 0.26505 | 0.26505 | 0.9763 | -0.45511 | 0.97585 | -0.46398 | 14.563
20 | 0.29113 | 0.073779 | -0.29104 | -0.073723 | 8.8518e-05 | 5.6267e-05 | 0.44095 | 0.44095 | 0.44095 | 0.98309 | -0.32273 | 0.98277 | -0.32906 | 24.2281
21 | -0.29113 | -0.073779 | 0.29157 | 0.074059 | 0.00043949 | 0.00027936 | 0.44095 | 0.44095 | 0.44095 | 0.98309 | -0.32273 | 0.98471 | -0.29136 | 24.2281
22 | 0.0034614 | 0.0008674 | -0.0034613 | -0.00086749 | 1.4067e-07 | -8.3005e-08 | 0.005241 | 0.005241 | 0.005241 | 0.98277 | -0.32906 | 0.98272 | -0.32992 | 1.4398
23 | 0.28758 | 0.072856 | -0.28745 | -0.07277 | 0.00013466 | 8.5583e-05 | 0.43571 | 0.43571 | 0.43571 | 0.98277 | -0.32906 | 0.98226 | -0.33881 | 23.9402
24 | -0.29537 | -0.075011 | 0.29569 | 0.075214 | 0.00031934 | 0.00020302 | 0.44669 | 0.44669 | 0.44669 | 0.98471 | -0.29136 | 0.98588 | -0.26893 | 24.5436
25 | 0.061622 | 0.015466 | -0.061611 | -0.01546 | 1.0541e-05 | 5.7039e-06 | 0.092858 | 0.092858 | 0.092858 | 0.98755 | -0.23705 | 0.98736 | -0.24064 | 5.1021
26 | 0.17101 | 0.043415 | -0.17089 | -0.043337 | 0.00012399 | 7.7765e-05 | 0.25787 | 0.25787 | 0.25787 | 0.98755 | -0.23705 | 0.98676 | -0.25213 | 14.1688
27 | 0.020066 | 0.0050462 | -0.020029 | -0.005024 | 3.6939e-05 | 2.2266e-05 | 0.030241 | 0.030241 | 0.030241 | 0.98755 | -0.23705 | 0.98556 | -0.27567 | 8.3081
28 | 0.054882 | 0.013773 | -0.054851 | -0.013757 | 3.1113e-05 | 1.6038e-05 | 0.082718 | 0.082719 | 0.082719 | 0.98736 | -0.24064 | 0.98675 | -0.25253 | 4.545
29 | 0.16519 | 0.041908 | -0.16518 | -0.041903 | 9.3792e-06 | 5.8742e-06 | 0.24928 | 0.24928 | 0.24928 | 0.98676 | -0.25213 | 0.9867 | -0.25331 | 13.6966
30 | 0.020029 | 0.005024 | -0.020017 | -0.0050167 | 1.2085e-05 | 7.2858e-06 | 0.030241 | 0.030242 | 0.030242 | 0.98556 | -0.27567 | 0.98491 | -0.28833 | 8.3081
31 | 0.018743 | 0.0047048 | -0.018733 | -0.004699 | 9.6115e-06 | 5.7492e-06 | 0.028396 | 0.028396 | 0.028396 | 0.98226 | -0.33881 | 0.98171 | -0.34957 | 7.8011
32 | 0.2687 | 0.068065 | -0.26864 | -0.068022 | 6.7825e-05 | 4.3063e-05 | 0.40732 | 0.40732 | 0.40732 | 0.98226 | -0.33881 | 0.98199 | -0.34407 | 22.38
33 | 0.018733 | 0.004699 | -0.018727 | -0.0046951 | 6.5387e-06 | 3.9114e-06 | 0.028396 | 0.028396 | 0.028396 | 0.98171 | -0.34957 | 0.98134 | -0.3569 | 7.8011
34 | 0.26517 | 0.067154 | -0.2649 | -0.066983 | 0.0002698 | 0.00017127 | 0.40207 | 0.40207 | 0.40207 | 0.98199 | -0.34407 | 0.9809 | -0.36528 | 22.0916
35 | 0.014023 | 0.0035162 | -0.014021 | -0.0035151 | 2.0041e-06 | 1.1333e-06 | 0.021264 | 0.021264 | 0.021264 | 0.98134 | -0.3569 | 0.98119 | -0.3599 | 5.8417
36 | 0.014021 | 0.0035151 | -0.014017 | -0.0035127 | 4.2701e-06 | 2.4149e-06 | 0.021264 | 0.021264 | 0.021264 | 0.98119 | -0.3599 | 0.98086 | -0.36629 | 5.8417
37 | 0.002794 | 0.00070002 | -0.0027938 | -0.0007002 | 1.4315e-07 | -1.7656e-07 | 0.0042385 | 0.0042386 | 0.0042386 | 0.98086 | -0.36629 | 0.9808 | -0.36736 | 1.1645
38 | -0.025823 | -0.0064747 | 0.025825 | 0.006475 | 2.4642e-06 | 2.7275e-07 | 0.039523 | 0.039523 | 0.039523 | 0.97224 | -0.53522 | 0.97234 | -0.53322 | 2.1716
39 | 0.025823 | 0.0064747 | -0.025813 | -0.0064694 | 9.4599e-06 | 5.2536e-06 | 0.039523 | 0.039523 | 0.039523 | 0.97224 | -0.53522 | 0.97185 | -0.54291 | 5.429
40 | -0.063362 | -0.015883 | 0.063379 | 0.015892 | 1.701e-05 | 9.3899e-06 | 0.096967 | 0.096966 | 0.096967 | 0.97234 | -0.53322 | 0.97262 | -0.52759 | 5.3278
41 | 0.011468 | 0.0028753 | -0.011464 | -0.0028731 | 4.1086e-06 | 2.1838e-06 | 0.017505 | 0.017505 | 0.017505 | 0.97489 | -0.48292 | 0.97451 | -0.49044 | 4.809
42 | 0.14298 | 0.035955 | -0.14289 | -0.035897 | 9.3007e-05 | 5.7903e-05 | 0.21828 | 0.21828 | 0.21828 | 0.97489 | -0.48292 | 0.9742 | -0.49655 | 11.9935
43 | -0.15445 | -0.03883 | 0.15459 | 0.038917 | 0.00013986 | 8.7415e-05 | 0.23579 | 0.23578 | 0.23579 | 0.97489 | -0.48292 | 0.97585 | -0.46398 | 12.9553
44 | 0.14289 | 0.035897 | -0.14278 | -0.035827 | 0.00011157 | 6.9463e-05 | 0.21828 | 0.21828 | 0.21828 | 0.9742 | -0.49655 | 0.97337 | -0.51293 | 11.9935
45 | -0.082671 | -0.020727 | 0.082729 | 0.020761 | 5.7785e-05 | 3.3991e-05 | 0.12648 | 0.12648 | 0.12648 | 0.97262 | -0.52759 | 0.97337 | -0.51293 | 6.9495
46 | 0.019292 | 0.0048351 | -0.019292 | -0.004835 | 1.4927e-07 | 8.9859e-08 | 0.029515 | 0.029515 | 0.029515 | 0.97262 | -0.52759 | 0.97262 | -0.52775 | 8.1085
47 | 0.024034 | 0.0060318 | -0.024011 | -0.0060176 | 2.3004e-05 | 1.4158e-05 | 0.036744 | 0.036744 | 0.036744 | 0.97337 | -0.51293 | 0.97235 | -0.53302 | 10.0945
48 | 0.036014 | 0.0090345 | -0.036005 | -0.0090289 | 8.9056e-06 | 5.6022e-06 | 0.055058 | 0.055059 | 0.055059 | 0.97337 | -0.51293 | 0.9731 | -0.51812 | 15.126
49 | 0.036005 | 0.0090289 | -0.035991 | -0.0090202 | 1.3933e-05 | 8.765e-06 | 0.055059 | 0.055059 | 0.055059 | 0.9731 | -0.51812 | 0.97269 | -0.52624 | 15.126
50 | -0.075333 | -0.01893 | 0.075465 | 0.019014 | 0.00013216 | 8.4247e-05 | 0.11492 | 0.11492 | 0.11492 | 0.97559 | -0.46965 | 0.97746 | -0.43297 | 31.5712
51 | 0.075333 | 0.01893 | -0.075296 | -0.018907 | 3.6904e-05 | 2.3526e-05 | 0.11492 | 0.11492 | 0.11492 | 0.97559 | -0.46965 | 0.97507 | -0.47992 | 31.5712
52 | -0.081551 | -0.02054 | 0.081551 | 0.02054 | 2.1442e-07 | 1.3676e-07 | 0.12418 | 0.12418 | 0.12418 | 0.97746 | -0.43297 | 0.97746 | -0.43292 | 34.1164
53 | 0.061583 | 0.01547 | -0.061582 | -0.015469 | 9.2327e-07 | 5.8741e-07 | 0.093992 | 0.093992 | 0.093992 | 0.97507 | -0.47992 | 0.97505 | -0.48023 | 25.8219
54 | 0.0069916 | 0.0017524 | -0.0069904 | -0.001752 | 1.2132e-06 | 4.1738e-07 | 0.010635 | 0.010635 | 0.010635 | 0.97826 | -0.41679 | 0.97808 | -0.42043 | 2.9217
55 | -0.5758 | -0.14761 | 0.57611 | 0.1478 | 0.0003107 | 0.00019849 | 0.86267 | 0.86267 | 0.86267 | 0.99455 | -0.10298 | 0.99514 | -0.091853 | 47.3993
56 | 0.29857 | 0.076062 | -0.29824 | -0.075853 | 0.000328 | 0.00020855 | 0.45054 | 0.45054 | 0.45054 | 0.98706 | -0.24613 | 0.98588 | -0.26893 | 24.755
57 | 0.04197 | 0.010529 | -0.041964 | -0.010526 | 5.9903e-06 | 3.0189e-06 | 0.063294 | 0.063294 | 0.063294 | 0.98675 | -0.25253 | 0.9866 | -0.25553 | 4.3471
58 | 0.15229 | 0.038674 | -0.15201 | -0.038495 | 0.00028074 | 0.00017895 | 0.22985 | 0.22985 | 0.22985 | 0.9867 | -0.25331 | 0.98472 | -0.29169 | 31.5725
59 | -0.095257 | -0.023975 | 0.095537 | 0.024153 | 0.00027917 | 0.00017823 | 0.14505 | 0.14505 | 0.14505 | 0.97746 | -0.43292 | 0.98059 | -0.37179 | 39.8486
60 | 0.04807 | 0.012083 | -0.048 | -0.012039 | 6.9171e-05 | 4.3843e-05 | 0.073371 | 0.073371 | 0.073371 | 0.97505 | -0.48023 | 0.97352 | -0.51042 | 20.1569
61 | -0.004501 | -0.0011281 | 0.0045014 | 0.001128 | 3.8158e-07 | -5.3254e-08 | 0.0066985 | 0.0066984 | 0.0066985 | 0.99986 | -0.002617 | 0.99996 | -0.00083744 | 1.8403
62 | -0.0045014 | -0.001128 | 0.0045016 | 0.001128 | 1.7956e-07 | -2.5082e-08 | 0.0066984 | 0.0066984 | 0.0066984 | 0.99996 | -0.00083744 | 1 | 0 | 1.8402
63 | 0.60954 | 0.15723 | -0.60796 | -0.15623 | 0.0015789 | 0.0010088 | 0.9086 | 0.9086 | 0.9086 | 1 | 0 | 0.99717 | -0.053314 | 49.923
64 | -0.0060867 | -0.0015255 | 0.0060869 | 0.0015255 | 2.7373e-07 | 6.6619e-08 | 0.0092231 | 0.009223 | 0.0092231 | 0.982 | -0.34442 | 0.98205 | -0.34347 | 2.5338
65 | 0.0060867 | 0.0015255 | -0.0060866 | -0.0015254 | 8.4775e-08 | 2.0635e-08 | 0.0092231 | 0.0092231 | 0.0092231 | 0.982 | -0.34442 | 0.98199 | -0.34471 | 2.5338
66 | -0.019105 | -0.004789 | 0.019109 | 0.0047916 | 4.3056e-06 | 2.5822e-06 | 0.028948 | 0.028948 | 0.028948 | 0.98205 | -0.34347 | 0.98229 | -0.33875 | 7.9529
67 | 0.013018 | 0.0032635 | -0.013016 | -0.0032623 | 2.1799e-06 | 1.2061e-06 | 0.019725 | 0.019725 | 0.019725 | 0.98205 | -0.34347 | 0.98187 | -0.34699 | 5.4191
68 | 0.60179 | 0.15468 | -0.60086 | -0.15409 | 0.00092383 | 0.00059026 | 0.89939 | 0.89939 | 0.89939 | 0.99717 | -0.053314 | 0.9955 | -0.084964 | 49.4168
69 | -0.13313 | -0.033646 | 0.1334 | 0.033816 | 0.00026788 | 0.00017056 | 0.20177 | 0.20177 | 0.20177 | 0.98229 | -0.33875 | 0.98445 | -0.29687 | 27.7157
70 | 0.11402 | 0.028854 | -0.11389 | -0.02877 | 0.00013093 | 8.3648e-05 | 0.17282 | 0.17282 | 0.17282 | 0.98229 | -0.33875 | 0.98106 | -0.3627 | 47.4785
71 | 0.008691 | 0.0021784 | -0.0086899 | -0.0021779 | 1.1391e-06 | 5.0758e-07 | 0.013171 | 0.013171 | 0.013171 | 0.98187 | -0.34699 | 0.98173 | -0.34974 | 3.6185
72 | 0.018698 | 0.0046895 | -0.018689 | -0.0046844 | 8.5411e-06 | 5.0874e-06 | 0.027949 | 0.02795 | 0.02795 | 0.9955 | -0.084964 | 0.995 | -0.094552 | 7.6784
73 | 0.58217 | 0.1494 | -0.58197 | -0.14927 | 0.00019452 | 0.00012427 | 0.87144 | 0.87144 | 0.87144 | 0.9955 | -0.084964 | 0.99514 | -0.091853 | 47.8811
74 | -0.1391 | -0.035244 | 0.13913 | 0.035266 | 3.4582e-05 | 2.2026e-05 | 0.21038 | 0.21038 | 0.21038 | 0.98445 | -0.29687 | 0.98472 | -0.29169 | 28.8988
75 | 0.10101 | 0.025543 | -0.10097 | -0.025515 | 4.4018e-05 | 2.8108e-05 | 0.15329 | 0.15329 | 0.15329 | 0.98106 | -0.3627 | 0.98059 | -0.37179 | 42.1135
76 | 0.012875 | 0.0032275 | -0.012873 | -0.0032263 | 2.0718e-06 | 1.143e-06 | 0.019529 | 0.019529 | 0.019529 | 0.98106 | -0.3627 | 0.98089 | -0.36608 | 5.3651
77 | 0.013572 | 0.0034019 | -0.013572 | -0.0034017 | 4.5497e-07 | 2.5293e-07 | 0.020297 | 0.020297 | 0.020297 | 0.995 | -0.094552 | 0.99497 | -0.095256 | 5.5761
78 | 0.0094616 | 0.0023716 | -0.0094601 | -0.0023709 | 1.4851e-06 | 6.9364e-07 | 0.01415 | 0.01415 | 0.01415 | 0.99497 | -0.095256 | 0.9948 | -0.098551 | 3.8875
79 | 0.029082 | 0.0072975 | -0.029061 | -0.0072845 | 2.0896e-05 | 1.3004e-05 | 0.043865 | 0.043865 | 0.043865 | 0.9866 | -0.25553 | 0.98582 | -0.27061 | 12.0509
80 | 0.0037217 | 0.00093274 | -0.0037217 | -0.00093275 | 5.6741e-09 | -2.7072e-09 | 0.0055669 | 0.0055669 | 0.0055669 | 0.9948 | -0.098551 | 0.99479 | -0.098583 | 1.5294
81 | -0.0224 | -0.005614 | 0.022412 | 0.0056211 | 1.1734e-05 | 7.1791e-06 | 0.034278 | 0.034278 | 0.034278 | 0.97239 | -0.53282 | 0.97294 | -0.52183 | 9.417
82 | -0.022412 | -0.0056211 | 0.022419 | 0.0056253 | 6.8392e-06 | 4.1843e-06 | 0.034278 | 0.034278 | 0.034278 | 0.97294 | -0.52183 | 0.97327 | -0.51543 | 9.417
83 | -0.022419 | -0.0056253 | 0.022424 | 0.0056285 | 5.1627e-06 | 3.1585e-06 | 0.034278 | 0.034278 | 0.034278 | 0.97327 | -0.51543 | 0.97351 | -0.5106 | 9.417
84 | -0.035935 | -0.0090146 | 0.035935 | 0.0090148 | 3.1367e-07 | 1.973e-07 | 0.054929 | 0.054929 | 0.054929 | 0.97351 | -0.5106 | 0.97352 | -0.51042 | 15.0904
85 | 0.015355 | 0.0038494 | -0.015351 | -0.0038473 | 3.4955e-06 | 2.0159e-06 | 0.023177 | 0.023177 | 0.023177 | 0.98582 | -0.27061 | 0.98558 | -0.27539 | 6.3673

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61914 | 0.15923

## res_load
| p_mw | q_mvar
0 | 0.0090055 | 0.002257
1 | 0.0094637 | 0.0023718
2 | 0.0090395 | 0.0022655
3 | 0.0094661 | 0.0023724
4 | 0.0077635 | 0.0019457
5 | 0.0069904 | 0.001752
6 | 0.0058622 | 0.0014692
7 | 0.0021124 | 0.00052942
8 | 0.0044603 | 0.0011179
9 | 0.0038005 | 0.0009525
10 | 0.0067288 | 0.0016864
11 | 0.0056996 | 0.0014284
12 | 0.0034633 | 0.000868
13 | 0.0047037 | 0.0011789
14 | 0.0034613 | 0.00086749
15 | 0.011223 | 0.0028127
16 | 0.020017 | 0.0050167
17 | 0.037537 | 0.0094076
18 | 0.025813 | 0.0064694
19 | 0.011464 | 0.0028731
20 | 0.01919 | 0.0048094
21 | 0.019292 | 0.004835
22 | 0.035991 | 0.0090202
23 | 0.024011 | 0.0060176
24 | 0.006086 | 0.0015253
25 | 0.013713 | 0.0034369
26 | 0.0069871 | 0.0017511
27 | 0.0069904 | 0.001752
28 | 0.0027938 | 0.0007002
29 | 0.006069 | 0.001521
30 | 0.0044031 | 0.0011035
31 | 0.0038956 | 0.00097633
32 | 0.018248 | 0.0045733
33 | 0.0025491 | 0.00063886
34 | 0.012882 | 0.0032285
35 | 0.012884 | 0.0032291
36 | 0.013706 | 0.0034351
37 | 0.013512 | 0.0033865
38 | 0.004501 | 0.0011281
39 | 0.0034478 | 0.0008641
40 | 0.0060866 | 0.0015254
41 | 0.0061743 | 0.0015474
42 | 0.0043249 | 0.0010839
43 | 0.0056988 | 0.0014282
44 | 0.0086899 | 0.0021779
45 | 0.0051171 | 0.0012825
46 | 0.0058647 | 0.0014698
47 | 0.00411 | 0.0010301
48 | 0.012882 | 0.0032285
49 | 0.012881 | 0.0032282
50 | 0.0057384 | 0.0014382
51 | 0.0037217 | 0.00093275
52 | 0.0224 | 0.005614
53 | 0.013511 | 0.0033861
54 | 0.012066 | 0.0030239
55 | 0.013706 | 0.0034351
56 | 0.015351 | 0.0038473
57 | 0.012873 | 0.0032263
58 | 0.0054329 | 0.0013616

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1