## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-1_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1024-1_0_2_node_23 | 0.4 | n |  | TRUE
3 | bus_LV_1024-1_0_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_1024-1_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1024-1_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1024-1_0_2_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_1024-1_0_2_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_1024-1_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1024-1_0_2_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_1024-1_0_2_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_1024-1_0_2_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1024-1_0_2_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1024-1_0_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1024-1_0_2_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_1024-1_0_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1024-1_0_2_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_1024-1_0_2_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_1024-1_0_2_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_1024-1_0_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_1024-1_0_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1024-1_0_2_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1024-1_0_2_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_1024-1_0_2_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_1024-1_0_2_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_1024-1_0_2_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_1024-1_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1024-1_0_2_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_1024-1_0_2_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_1024-1_0_2_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_1024-1_0_2_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_1024-1_0_2_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1024-1_0_2_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1024-1_0_2_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_1024-1_0_2_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_1024-1_0_2_node_55 | 0.4 | n |  | TRUE
36 | bus_MV_218_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-1_0_2_load_0 | 0 | 0.045911 | 0.011506 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-1_0_2_load_45 | 6 | 0.0033518 | 0.00084003 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-1_0_2_load_36 | 7 | 0.01661 | 0.004163 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-1_0_2_load_84 | 9 | 0.0034081 | 0.00085415 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-1_0_2_load_54 | 16 | 0.0050668 | 0.0012699 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-1_0_2_load_78 | 17 | 0.0021932 | 0.00054966 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-1_0_2_load_46 | 18 | 0.022193 | 0.0055621 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-1_0_2_load_44 | 19 | 0.023663 | 0.0059306 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-1_0_2_load_53 | 22 | 0.011312 | 0.0028351 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-1_0_2_load_83 | 23 | 0.0098564 | 0.0024703 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-1_0_2_load_49 | 24 | 0.014818 | 0.0037137 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-1_0_2_load_50 | 25 | 0.020638 | 0.0051724 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-1_0_2_load_82 | 27 | 0.0067868 | 0.0017009 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-1_0_2_load_38 | 30 | 0.015688 | 0.0039319 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-1_0_2_load_39 | 31 | 0.01512 | 0.0037893 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-1_0_2_load_81 | 33 | 0.0023876 | 0.00059839 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-1_0_2_load_47 | 34 | 0.0061974 | 0.0015532 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-1_0_2_load_55 | 35 | 0.011256 | 0.0028211 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-1_0_2_line_0 |  | 0 | 1 | 0.035917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-1_0_2_line_1 |  | 1 | 2 | 0.071924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-1_0_2_line_2 |  | 1 | 3 | 0.067217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-1_0_2_line_3 |  | 2 | 18 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1024-1_0_2_line_4 |  | 2 | 19 | 0.045149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1024-1_0_2_line_5 |  | 3 | 11 | 0.012275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-1_0_2_line_6 |  | 3 | 12 | 0.043931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-1_0_2_line_7 |  | 4 | 5 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1024-1_0_2_line_8 |  | 4 | 6 | 0.051395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1024-1_0_2_line_9 |  | 5 | 7 | 0.071041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1024-1_0_2_line_10 |  | 6 | 19 | 0.031116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1024-1_0_2_line_11 |  | 7 | 10 | 0.025898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1024-1_0_2_line_12 |  | 8 | 9 | 0.020699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-1_0_2_line_13 |  | 8 | 10 | 0.027674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-1_0_2_line_14 |  | 10 | 26 | 0.017211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1024-1_0_2_line_15 |  | 11 | 23 | 0.059707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-1_0_2_line_16 |  | 12 | 17 | 0.012776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-1_0_2_line_17 |  | 13 | 14 | 0.10226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-1_0_2_line_18 |  | 13 | 15 | 0.037966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1024-1_0_2_line_19 |  | 13 | 16 | 0.020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-1_0_2_line_20 |  | 14 | 25 | 0.011953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-1_0_2_line_21 |  | 15 | 32 | 0.022035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1024-1_0_2_line_22 |  | 15 | 34 | 0.014343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-1_0_2_line_23 |  | 16 | 35 | 0.047799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-1_0_2_line_24 |  | 20 | 21 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-1_0_2_line_25 |  | 20 | 22 | 0.011101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-1_0_2_line_26 |  | 21 | 24 | 0.010921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-1_0_2_line_27 |  | 24 | 25 | 0.024896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-1_0_2_line_28 |  | 26 | 27 | 0.0087632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1024-1_0_2_line_29 |  | 27 | 33 | 0.018004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1024-1_0_2_line_30 |  | 28 | 29 | 0.005679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1024-1_0_2_line_31 |  | 28 | 30 | 0.024034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1024-1_0_2_line_32 |  | 29 | 33 | 0.0073739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1024-1_0_2_line_33 |  | 30 | 31 | 0.0079865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1024-1_0_2_line_34 |  | 31 | 32 | 0.0084537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-1_0_2_trafo_46 | 0.63 MVA 20/0.4 kV | 36 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2664208.962 | 1213602.9722 | 2664211.8288 | 1213603.3922 | 2664214.3668 | 1213604.7203 | 2664234.959 | 1213626.7489
1 | 2664161.8869 | 1213637.02 | 2664170.3258 | 1213634.9428 | 2664174.0564 | 1213627.8008 | 2664185.8179 | 1213614.8416 | 2664206.462 | 1213594.5845 | 2664206.8506 | 1213595.8895 | 2664208.962 | 1213602.9722
2 | 2664208.962 | 1213602.9722 | 2664206.8506 | 1213595.8895 | 2664206.462 | 1213594.5845 | 2664212.0358 | 1213589.1078 | 2664201.7434 | 1213578.4905 | 2664197.6095 | 1213574.4101 | 2664212.4288 | 1213575.8928 | 2664220.5798 | 1213571.6334 | 2664225.473 | 1213575.0438
3 | 2664161.8869 | 1213637.02 | 2664158.7567 | 1213637.7868 | 2664145.4586 | 1213650.0401
4 | 2664161.8869 | 1213637.02 | 2664165.211 | 1213642.2368 | 2664174.8173 | 1213655.9041 | 2664187.4994 | 1213674.1955
5 | 2664226.3742 | 1213587.2833 | 2664225.473 | 1213575.0438
6 | 2664225.473 | 1213575.0438 | 2664227.3245 | 1213559.7098 | 2664231.1071 | 1213539.9939 | 2664232.9199 | 1213531.7861
7 | 2664234.7971 | 1213741.7916 | 2664237.1953 | 1213745.5086 | 2664238.8175 | 1213750.0511 | 2664239.606 | 1213754.4179 | 2664239.0495 | 1213757.4248 | 2664239.5058 | 1213758.0746 | 2664242.6481 | 1213762.5334
8 | 2664234.7971 | 1213741.7916 | 2664232.2269 | 1213737.817 | 2664218.8634 | 1213719.6842 | 2664205.1104 | 1213699.8486
9 | 2664242.6481 | 1213762.5334 | 2664235.8377 | 1213765.7621 | 2664222.2737 | 1213767.6616 | 2664172.5778 | 1213771.0034
10 | 2664187.4994 | 1213674.1955 | 2664190.8318 | 1213679.0018 | 2664204.4873 | 1213698.95 | 2664205.1104 | 1213699.8486
11 | 2664146.7384 | 1213772.7409 | 2664172.5778 | 1213771.0034
12 | 2664156.6312 | 1213798.5855 | 2664139.9249 | 1213810.869
13 | 2664146.7384 | 1213772.7409 | 2664148.1221 | 1213776.1579 | 2664156.6312 | 1213798.5855
14 | 2664146.7384 | 1213772.7409 | 2664148.1221 | 1213776.1579 | 2664134.6294 | 1213777.0801
15 | 2664226.3742 | 1213587.2833 | 2664228.3788 | 1213595.1097 | 2664232.1854 | 1213602.7776 | 2664236.5441 | 1213609.2619 | 2664260.9344 | 1213634.7164
16 | 2664232.9199 | 1213531.7861 | 2664236.9502 | 1213519.6628
17 | 2664083.0506 | 1213629.6347 | 2664081.3731 | 1213636.5876 | 2664076.6367 | 1213641.2063 | 2664082.489 | 1213646.5502 | 2664079.3932 | 1213649.7634 | 2664075.8949 | 1213652.9723 | 2664073.879 | 1213651.1272 | 2664078.2329 | 1213646.7602 | 2664093.1513 | 1213660.9181 | 2664098.7759 | 1213666.2485 | 2664105.3644 | 1213673.7573 | 2664105.7307 | 1213676.4295 | 2664094.8183 | 1213686.7408 | 2664094.2856 | 1213688.9476 | 2664096.2208 | 1213692.6484
18 | 2664125.5113 | 1213716.6336 | 2664110.5852 | 1213706.7448 | 2664104.4887 | 1213700.809 | 2664096.2208 | 1213692.6484
19 | 2664096.2208 | 1213692.6484 | 2664090.0373 | 1213698.33 | 2664081.019 | 1213706.9567
20 | 2664083.0506 | 1213629.6347 | 2664091.6681 | 1213621.3507
21 | 2664116.8183 | 1213736.7081 | 2664123.3956 | 1213719.1235 | 2664125.5113 | 1213716.6336
22 | 2664125.5113 | 1213716.6336 | 2664129.4168 | 1213717.2315 | 2664139.3705 | 1213720.2162
23 | 2664081.019 | 1213706.9567 | 2664046.4782 | 1213739.9974
24 | 2664118.3988 | 1213597.5169 | 2664121.9868 | 1213594.4536 | 2664125.7272 | 1213590.6359 | 2664127.5493 | 1213587.8983 | 2664127.9762 | 1213586.3463
25 | 2664127.9762 | 1213586.3463 | 2664128.5138 | 1213584.3842 | 2664129.3252 | 1213579.5678 | 2664129.0435 | 1213575.3955
26 | 2664118.3988 | 1213597.5169 | 2664115.6771 | 1213599.8558 | 2664110.1826 | 1213604.7112
27 | 2664091.6681 | 1213621.3507 | 2664095.2545 | 1213617.903 | 2664110.1826 | 1213604.7112
28 | 2664134.6294 | 1213777.0801 | 2664125.8862 | 1213777.6719
29 | 2664107.9471 | 1213779.1922 | 2664124.2839 | 1213777.7804 | 2664125.8862 | 1213777.6719
30 | 2664103.4488 | 1213774.9102 | 2664100.6006 | 1213779.8271
31 | 2664103.4488 | 1213774.9102 | 2664111.3877 | 1213752.2254
32 | 2664100.6006 | 1213779.8271 | 2664107.9471 | 1213779.1922
33 | 2664111.3877 | 1213752.2254 | 2664114.0258 | 1213744.6873
34 | 2664116.8183 | 1213736.7081 | 2664114.0258 | 1213744.6873

## bus_geodata
| x | y | coords
0 | 2664234.959 | 1213626.7489
1 | 2664208.962 | 1213602.9722
2 | 2664161.8869 | 1213637.02
3 | 2664225.473 | 1213575.0438
4 | 2664234.7971 | 1213741.7916
5 | 2664242.6481 | 1213762.5334
6 | 2664205.1104 | 1213699.8486
7 | 2664172.5778 | 1213771.0034
8 | 2664156.6312 | 1213798.5855
9 | 2664139.9249 | 1213810.869
10 | 2664146.7384 | 1213772.7409
11 | 2664226.3742 | 1213587.2833
12 | 2664232.9199 | 1213531.7861
13 | 2664096.2208 | 1213692.6484
14 | 2664083.0506 | 1213629.6347
15 | 2664125.5113 | 1213716.6336
16 | 2664081.019 | 1213706.9567
17 | 2664236.9502 | 1213519.6628
18 | 2664145.4586 | 1213650.0401
19 | 2664187.4994 | 1213674.1955
20 | 2664127.9762 | 1213586.3463
21 | 2664118.3988 | 1213597.5169
22 | 2664129.0435 | 1213575.3955
23 | 2664260.9344 | 1213634.7164
24 | 2664110.1826 | 1213604.7112
25 | 2664091.6681 | 1213621.3507
26 | 2664134.6294 | 1213777.0801
27 | 2664125.8862 | 1213777.6719
28 | 2664103.4488 | 1213774.9102
29 | 2664100.6006 | 1213779.8271
30 | 2664111.3877 | 1213752.2254
31 | 2664114.0258 | 1213744.6873
32 | 2664116.8183 | 1213736.7081
33 | 2664107.9471 | 1213779.1922
34 | 2664139.3705 | 1213720.2162
35 | 2664046.4782 | 1213739.9974
36 | 2664161.8869 | 1213637.02

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99258 | -0.14226 | 0.045911 | 0.011506
1 | 0.99408 | -0.11313 | 0 | 0
2 | 0.99789 | -0.039876 | 0 | 0
3 | 0.99334 | -0.12744 | 0 | 0
4 | 0.98961 | -0.19725 | 0 | 0
5 | 0.98823 | -0.22375 | 0 | 0
6 | 0.9927 | -0.13829 | 0.0033518 | 0.00084003
7 | 0.98396 | -0.30608 | 0.01661 | 0.004163
8 | 0.98251 | -0.33409 | 0 | 0
9 | 0.98245 | -0.33536 | 0.0034081 | 0.00085415
10 | 0.9826 | -0.33239 | 0 | 0
11 | 0.99323 | -0.12957 | 0 | 0
12 | 0.99325 | -0.12914 | 0 | 0
13 | 0.97628 | -0.45575 | 0 | 0
14 | 0.97181 | -0.54362 | 0 | 0
15 | 0.97739 | -0.43387 | 0 | 0
16 | 0.97596 | -0.46198 | 0.0050668 | 0.0012699
17 | 0.99323 | -0.12963 | 0.0021932 | 0.00054966
18 | 1 | 0 | -0.21932 | -0.055862
19 | 0.99462 | -0.10185 | 0.023663 | 0.0059306
20 | 0.97041 | -0.57139 | 0 | 0
21 | 0.97056 | -0.56826 | 0 | 0
22 | 0.97029 | -0.57371 | 0.011312 | 0.0028351
23 | 0.99269 | -0.13998 | 0.0098564 | 0.0024703
24 | 0.97068 | -0.56597 | 0.014818 | 0.0037137
25 | 0.97129 | -0.55394 | 0.020638 | 0.0051724
26 | 0.98173 | -0.34938 | 0 | 0
27 | 0.98128 | -0.35804 | 0.0067868 | 0.0017009
28 | 0.97981 | -0.38661 | 0 | 0
29 | 0.98008 | -0.38145 | 0 | 0
30 | 0.97869 | -0.40848 | 0.015688 | 0.0039319
31 | 0.97838 | -0.41462 | 0.01512 | 0.0037893
32 | 0.97811 | -0.41995 | 0 | 0
33 | 0.98042 | -0.37476 | 0.0023876 | 0.00059839
34 | 0.97731 | -0.43549 | 0.0061974 | 0.0015532
35 | 0.97546 | -0.47184 | 0.011256 | 0.0028211
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.045911 | -0.011506 | 0.045975 | 0.011547 | 6.3803e-05 | 4.0369e-05 | 0.068827 | 0.068827 | 0.068827 | 0.99258 | -0.14226 | 0.99408 | -0.11313 | 18.9085
1 | -0.058039 | -0.014573 | 0.058242 | 0.014703 | 0.00020361 | 0.00012938 | 0.086886 | 0.086886 | 0.086886 | 0.99408 | -0.11313 | 0.99789 | -0.039876 | 23.8698
2 | 0.012064 | 0.0030266 | -0.012056 | -0.0030222 | 8.2208e-06 | 4.3906e-06 | 0.018059 | 0.01806 | 0.01806 | 0.99408 | -0.11313 | 0.99334 | -0.12744 | 4.9614
3 | -0.21725 | -0.055593 | 0.21767 | 0.055862 | 0.0004203 | 0.00026843 | 0.32436 | 0.32436 | 0.32436 | 0.99789 | -0.039876 | 1 | 0 | 44.5555
4 | 0.15901 | 0.04089 | -0.15853 | -0.040586 | 0.00047742 | 0.00030437 | 0.23748 | 0.23748 | 0.23748 | 0.99789 | -0.039876 | 0.99462 | -0.10185 | 32.6207
5 | 0.0098623 | 0.0024731 | -0.0098613 | -0.0024726 | 1.0048e-06 | 4.8416e-07 | 0.014774 | 0.014774 | 0.014774 | 0.99334 | -0.12744 | 0.99323 | -0.12957 | 4.0588
6 | 0.0021934 | 0.00054907 | -0.0021932 | -0.00054952 | 1.7783e-07 | -4.5483e-07 | 0.0032854 | 0.0032856 | 0.0032856 | 0.99334 | -0.12744 | 0.99325 | -0.12914 | 0.90265
7 | 0.1309 | 0.033426 | -0.13074 | -0.033319 | 0.00016739 | 0.00010654 | 0.19705 | 0.19705 | 0.19705 | 0.98961 | -0.19725 | 0.98823 | -0.22375 | 27.0679
8 | -0.1309 | -0.033426 | 0.13128 | 0.033664 | 0.00037419 | 0.00023816 | 0.19705 | 0.19705 | 0.19705 | 0.98961 | -0.19725 | 0.9927 | -0.13829 | 27.0679
9 | 0.13074 | 0.033319 | -0.13022 | -0.03299 | 0.00051723 | 0.00032922 | 0.19705 | 0.19706 | 0.19706 | 0.98823 | -0.22375 | 0.98396 | -0.30608 | 27.068
10 | -0.13463 | -0.034504 | 0.13487 | 0.034655 | 0.00023825 | 0.00015167 | 0.20208 | 0.20208 | 0.20208 | 0.9927 | -0.13829 | 0.99462 | -0.10185 | 27.7579
11 | 0.11361 | 0.028827 | -0.11347 | -0.028736 | 0.00014355 | 9.1213e-05 | 0.17194 | 0.17194 | 0.17194 | 0.98396 | -0.30608 | 0.9826 | -0.33239 | 23.6175
12 | 0.0034083 | 0.00085402 | -0.0034081 | -0.00085415 | 2.0682e-07 | -1.2976e-07 | 0.0051618 | 0.0051619 | 0.0051619 | 0.98251 | -0.33409 | 0.98245 | -0.33536 | 1.4181
13 | -0.0034083 | -0.00085402 | 0.0034086 | 0.00085385 | 2.765e-07 | -1.7355e-07 | 0.0051618 | 0.0051617 | 0.0051618 | 0.98251 | -0.33409 | 0.9826 | -0.33239 | 1.4181
14 | 0.11006 | 0.027882 | -0.10997 | -0.027825 | 8.9754e-05 | 5.7007e-05 | 0.16677 | 0.16677 | 0.16677 | 0.9826 | -0.33239 | 0.98173 | -0.34938 | 22.9085
15 | 0.0098613 | 0.0024726 | -0.0098564 | -0.0024703 | 4.8873e-06 | 2.3555e-06 | 0.014774 | 0.014774 | 0.014774 | 0.99323 | -0.12957 | 0.99269 | -0.13998 | 4.0589
16 | 0.0021932 | 0.00054952 | -0.0021932 | -0.00054966 | 5.1721e-08 | -1.3225e-07 | 0.0032856 | 0.0032857 | 0.0032857 | 0.99325 | -0.12914 | 0.99323 | -0.12963 | 0.90266
17 | 0.047008 | 0.011872 | -0.046811 | -0.011747 | 0.00019704 | 0.00012483 | 0.071681 | 0.071681 | 0.071681 | 0.97628 | -0.45575 | 0.97181 | -0.54362 | 19.6926
18 | -0.063341 | -0.015969 | 0.063407 | 0.01601 | 6.6395e-05 | 4.1542e-05 | 0.096577 | 0.096576 | 0.096577 | 0.97628 | -0.45575 | 0.97739 | -0.43387 | 13.266
19 | 0.016333 | 0.0040966 | -0.016328 | -0.0040937 | 4.8525e-06 | 2.8446e-06 | 0.024896 | 0.024896 | 0.024896 | 0.97628 | -0.45575 | 0.97596 | -0.46198 | 6.8395
20 | 0.046811 | 0.011747 | -0.046788 | -0.011733 | 2.3032e-05 | 1.4593e-05 | 0.071681 | 0.071681 | 0.071681 | 0.97181 | -0.54362 | 0.97129 | -0.55394 | 19.6926
21 | -0.069605 | -0.017564 | 0.069652 | 0.017593 | 4.6433e-05 | 2.9164e-05 | 0.10601 | 0.10601 | 0.10601 | 0.97739 | -0.43387 | 0.97811 | -0.41995 | 14.5621
22 | 0.0061978 | 0.0015533 | -0.0061974 | -0.0015532 | 4.7887e-07 | 1.2674e-07 | 0.0094358 | 0.0094359 | 0.0094359 | 0.97739 | -0.43387 | 0.97731 | -0.43549 | 2.5923
23 | 0.011262 | 0.0028239 | -0.011256 | -0.0028211 | 5.2848e-06 | 2.7853e-06 | 0.017171 | 0.017171 | 0.017171 | 0.97596 | -0.46198 | 0.97546 | -0.47184 | 4.7173
24 | -0.011314 | -0.0028358 | 0.011315 | 0.0028367 | 1.6866e-06 | 8.9477e-07 | 0.017348 | 0.017348 | 0.017348 | 0.97041 | -0.57139 | 0.97056 | -0.56826 | 4.766
25 | 0.011314 | 0.0028358 | -0.011312 | -0.0028351 | 1.2528e-06 | 6.6469e-07 | 0.017348 | 0.017348 | 0.017348 | 0.97041 | -0.57139 | 0.97029 | -0.57371 | 4.766
26 | -0.011315 | -0.0028367 | 0.011316 | 0.0028373 | 1.2326e-06 | 6.5385e-07 | 0.017348 | 0.017348 | 0.017348 | 0.97056 | -0.56826 | 0.97068 | -0.56597 | 4.766
27 | -0.026134 | -0.006551 | 0.026149 | 0.0065603 | 1.4985e-05 | 9.2826e-06 | 0.040063 | 0.040063 | 0.040063 | 0.97068 | -0.56597 | 0.97129 | -0.55394 | 11.0064
28 | 0.10997 | 0.027825 | -0.10992 | -0.027796 | 4.5701e-05 | 2.9027e-05 | 0.16677 | 0.16677 | 0.16677 | 0.98173 | -0.34938 | 0.98128 | -0.35804 | 22.9086
29 | 0.10314 | 0.026095 | -0.10305 | -0.026042 | 8.266e-05 | 5.2448e-05 | 0.15648 | 0.15648 | 0.15648 | 0.98128 | -0.35804 | 0.98042 | -0.37476 | 21.4949
30 | -0.10061 | -0.025408 | 0.10063 | 0.025424 | 2.488e-05 | 1.578e-05 | 0.15286 | 0.15286 | 0.15286 | 0.97981 | -0.38661 | 0.98008 | -0.38145 | 20.9972
31 | 0.10061 | 0.025408 | -0.1005 | -0.025341 | 0.0001053 | 6.6784e-05 | 0.15286 | 0.15286 | 0.15286 | 0.97981 | -0.38661 | 0.97869 | -0.40848 | 20.9972
32 | -0.10063 | -0.025424 | 0.10066 | 0.025444 | 3.2306e-05 | 2.049e-05 | 0.15286 | 0.15286 | 0.15286 | 0.98008 | -0.38145 | 0.98042 | -0.37476 | 20.9972
33 | 0.084814 | 0.021409 | -0.084789 | -0.021393 | 2.4922e-05 | 1.5749e-05 | 0.12901 | 0.12901 | 0.12901 | 0.97869 | -0.40848 | 0.97838 | -0.41462 | 17.7208
34 | 0.069669 | 0.017604 | -0.069652 | -0.017593 | 1.7814e-05 | 1.1189e-05 | 0.10601 | 0.10601 | 0.10601 | 0.97838 | -0.41462 | 0.97811 | -0.41995 | 14.5621

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24151 | 0.061424

## res_load
| p_mw | q_mvar
0 | 0.045911 | 0.011506
1 | 0.0033518 | 0.00084003
2 | 0.01661 | 0.004163
3 | 0.0034081 | 0.00085415
4 | 0.0050668 | 0.0012699
5 | 0.0021932 | 0.00054966
6 | 0.022193 | 0.0055621
7 | 0.023663 | 0.0059306
8 | 0.011312 | 0.0028351
9 | 0.0098564 | 0.0024703
10 | 0.014818 | 0.0037137
11 | 0.020638 | 0.0051724
12 | 0.0067868 | 0.0017009
13 | 0.015688 | 0.0039319
14 | 0.01512 | 0.0037893
15 | 0.0023876 | 0.00059839
16 | 0.0061974 | 0.0015532
17 | 0.011256 | 0.0028211

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1