## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1024-24_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1024-24_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1024-24_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1024-24_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1024-24_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1024-24_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_1024-24_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1024-24_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1024-24_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1024-24_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1024-24_0_4_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_1024-24_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1024-24_0_4_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_1024-24_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_1024-24_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1024-24_0_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1024-24_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1024-24_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1024-24_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1024-24_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1024-24_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1024-24_0_4_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_1024-24_0_4_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_1024-24_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1024-24_0_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_1024-24_0_4_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_1024-24_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1024-24_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1024-24_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1024-24_0_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_1024-24_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1024-24_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1024-24_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1024-24_0_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_1024-24_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1024-24_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1024-24_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_1024-24_0_4_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_1024-24_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1024-24_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_1024-24_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_1024-24_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_1024-24_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_1024-24_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1024-24_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1024-24_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1024-24_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1024-24_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1024-24_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1024-24_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1024-24_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_MV_490_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-24_0_4_load_0 | 0 | 0.0071207 | 0.0017846 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-24_0_4_load_1 | 1 | 0.0051995 | 0.0013031 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-24_0_4_load_3 | 3 | 0.0065224 | 0.0016347 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-24_0_4_load_20 | 6 | 0.00014893 | 3.7325e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-24_0_4_load_19 | 7 | 0.0085 | 0.0021303 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-24_0_4_load_37 | 10 | 0.014349 | 0.0035962 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-24_0_4_load_36 | 15 | 0.056155 | 0.014074 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-24_0_4_load_51 | 17 | 0.001995 | 0.00049999 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-24_0_4_load_49 | 18 | 0.0019903 | 0.00049882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-24_0_4_load_27 | 20 | 0.027616 | 0.0069211 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-24_0_4_load_26 | 21 | 0.0085586 | 0.002145 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-24_0_4_load_25 | 22 | 0.014326 | 0.0035905 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-24_0_4_load_35 | 25 | 0.041993 | 0.010524 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-24_0_4_load_31 | 26 | 0.017828 | 0.004468 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-24_0_4_load_59 | 27 | 0.023329 | 0.0058467 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-24_0_4_load_58 | 29 | 0.0027557 | 0.00069064 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-24_0_4_load_55 | 30 | 0.028011 | 0.0070203 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-24_0_4_load_32 | 32 | 0.020021 | 0.0050178 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-24_0_4_load_30 | 33 | 0.020199 | 0.0050625 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-24_0_4_load_47 | 34 | 0.001995 | 0.00049999 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-24_0_4_load_28 | 35 | 0.01707 | 0.0042781 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-24_0_4_load_33 | 36 | 0.0088052 | 0.0022068 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-24_0_4_load_34 | 37 | 0.023554 | 0.0059032 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-24_0_4_load_56 | 38 | 0.0073792 | 0.0018494 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-24_0_4_load_22 | 39 | 6.4511e-05 | 1.6168e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-24_0_4_load_40 | 43 | 0.001995 | 0.00049999 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-24_0_4_load_44 | 44 | 6.4442e-05 | 1.6151e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-24_0_4_load_53 | 45 | 0.0004624 | 0.00011589 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-24_0_4_load_38 | 46 | 0.0019903 | 0.00049882 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-24_0_4_load_29 | 47 | 0.033685 | 0.0084423 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-24_0_4_load_54 | 48 | 0.0073741 | 0.0018481 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-24_0_4_load_39 | 49 | 0.001995 | 0.00049999 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-24_0_4_load_41 | 50 | 0.0019932 | 0.00049954 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-24_0_4_load_42 | 51 | 6.45e-05 | 1.6165e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-24_0_4_load_43 | 52 | 6.4442e-05 | 1.6151e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-24_0_4_load_45 | 53 | 0.0018327 | 0.00045933 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-24_0_4_load_48 | 54 | 0.0018318 | 0.0004591 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-24_0_4_load_50 | 55 | 0.0018327 | 0.00045933 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-24_0_4_line_0 |  | 0 | 1 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-24_0_4_line_1 |  | 0 | 2 | 0.0024338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-24_0_4_line_2 |  | 1 | 3 | 0.0040259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-24_0_4_line_3 |  | 2 | 4 | 0.022321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-24_0_4_line_4 |  | 2 | 5 | 0.31179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-24_0_4_line_5 |  | 3 | 6 | 0.025505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-24_0_4_line_6 |  | 4 | 7 | 0.017702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-24_0_4_line_7 |  | 5 | 8 | 0.024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-24_0_4_line_8 |  | 6 | 31 | 0.03715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-24_0_4_line_9 |  | 8 | 9 | 0.024166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1024-24_0_4_line_10 |  | 8 | 10 | 0.0069772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1024-24_0_4_line_11 |  | 9 | 21 | 0.0029365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1024-24_0_4_line_12 |  | 9 | 22 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-24_0_4_line_13 |  | 10 | 15 | 0.035888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1024-24_0_4_line_14 |  | 11 | 12 | 0.016254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1024-24_0_4_line_15 |  | 11 | 13 | 0.035776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-24_0_4_line_16 |  | 11 | 14 | 0.18633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-24_0_4_line_17 |  | 12 | 15 | 0.010112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1024-24_0_4_line_18 |  | 13 | 19 | 0.063649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-24_0_4_line_19 |  | 13 | 20 | 0.013283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-24_0_4_line_20 |  | 14 | 27 | 0.04274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-24_0_4_line_21 |  | 16 | 17 | 0.0086454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-24_0_4_line_22 |  | 16 | 18 | 0.015593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-24_0_4_line_23 |  | 18 | 34 | 0.0056705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-24_0_4_line_24 |  | 19 | 30 | 0.02828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-24_0_4_line_25 |  | 19 | 28 | 0.004307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-24_0_4_line_26 |  | 20 | 35 | 0.0052718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-24_0_4_line_27 |  | 21 | 36 | 0.020475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-24_0_4_line_28 |  | 23 | 24 | 0.01281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-24_0_4_line_29 |  | 23 | 25 | 0.013583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-24_0_4_line_30 |  | 24 | 26 | 0.0080292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-24_0_4_line_31 |  | 25 | 37 | 0.02652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-24_0_4_line_32 |  | 26 | 33 | 0.015774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-24_0_4_line_33 |  | 28 | 29 | 0.047593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-24_0_4_line_34 |  | 30 | 38 | 0.060567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-24_0_4_line_35 |  | 31 | 39 | 0.013457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-24_0_4_line_36 |  | 32 | 33 | 0.015891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-24_0_4_line_37 |  | 34 | 50 | 0.0056746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-24_0_4_line_38 |  | 35 | 47 | 0.043554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-24_0_4_line_39 |  | 36 | 37 | 0.020308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-24_0_4_line_40 |  | 39 | 40 | 0.0096971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-24_0_4_line_41 |  | 40 | 42 | 0.0104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-24_0_4_line_42 |  | 40 | 44 | 0.013789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-24_0_4_line_43 |  | 41 | 42 | 0.004418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-24_0_4_line_44 |  | 41 | 43 | 0.0036784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-24_0_4_line_45 |  | 42 | 45 | 0.017458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-24_0_4_line_46 |  | 43 | 46 | 0.023671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-24_0_4_line_47 |  | 44 | 51 | 0.0058113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-24_0_4_line_48 |  | 46 | 49 | 0.0056705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-24_0_4_line_49 |  | 47 | 48 | 0.038648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-24_0_4_line_50 |  | 49 | 50 | 0.0056746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1024-24_0_4_line_51 |  | 51 | 52 | 0.0058099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-24_0_4_line_52 |  | 52 | 53 | 0.0058104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-24_0_4_line_53 |  | 53 | 54 | 0.0058106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-24_0_4_line_54 |  | 54 | 55 | 0.0058106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-24_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 56 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2663777.4255 | 1214127.9025 | 2663782.4196 | 1214125.9524 | 2663795.2548 | 1214116.117
1 | 2663775.1584 | 1214128.7877 | 2663777.4255 | 1214127.9025
2 | 2663795.2548 | 1214116.117 | 2663795.2548 | 1214116.117 | 2663798.2375 | 1214113.4129
3 | 2663775.1584 | 1214128.7877 | 2663785.1594 | 1214141.7693 | 2663785.8329 | 1214147.6801
4 | 2663707.132 | 1213989.6304 | 2663713.7953 | 1213993.0036 | 2663713.7987 | 1213994.8159 | 2663715.5354 | 1214021.3619 | 2663713.5558 | 1214044.544 | 2663705.0588 | 1214067.0672 | 2663698.2395 | 1214083.9826 | 2663694.3008 | 1214097.182 | 2663692.8196 | 1214108.5621 | 2663693.4014 | 1214123.7777 | 2663695.0137 | 1214146.3311 | 2663694.8432 | 1214155.1791 | 2663700.1558 | 1214155.5694 | 2663698.375 | 1214167.9803 | 2663703.3105 | 1214168.8336 | 2663703.9549 | 1214168.9405 | 2663703.3527 | 1214172.7031 | 2663700.5721 | 1214184.136 | 2663701.7398 | 1214183.6148 | 2663702.6757 | 1214182.7465 | 2663705.0217 | 1214179.2805 | 2663712.4521 | 1214161.3154 | 2663720.6974 | 1214150.9638 | 2663727.1833 | 1214145.3407 | 2663731.6683 | 1214141.4418 | 2663738.707 | 1214138.8154 | 2663771.1617 | 1214130.3459 | 2663775.1584 | 1214128.7877
5 | 2663817.1328 | 1214096.2826 | 2663798.2375 | 1214113.4129
6 | 2663785.8329 | 1214147.6801 | 2663798.9771 | 1214135.8229
7 | 2663707.132 | 1213989.6304 | 2663713.7842 | 1213977.6941 | 2663715.0899 | 1213977.7636 | 2663718.7185 | 1213977.958 | 2663723.1517 | 1213978.2055 | 2663724.1918 | 1213978.2611
8 | 2663844.5217 | 1214071.183 | 2663820.5502 | 1214093.1845 | 2663817.1328 | 1214096.2826
9 | 2663701.6236 | 1213971.2936 | 2663703.2018 | 1213972.1665 | 2663709.3579 | 1213975.3787 | 2663712.8401 | 1213977.1948 | 2663713.7842 | 1213977.6941 | 2663715.0899 | 1213977.7636 | 2663718.7185 | 1213977.958 | 2663723.1517 | 1213978.2055 | 2663724.1918 | 1213978.2611
10 | 2663724.1918 | 1213978.2611 | 2663724.9899 | 1213971.3297
11 | 2663701.6236 | 1213971.2936 | 2663700.1908 | 1213973.8567
12 | 2663701.6236 | 1213971.2936 | 2663710.8988 | 1213954.8752
13 | 2663737.2832 | 1213938.0873 | 2663731.2906 | 1213947.9961 | 2663728.5788 | 1213954.4044 | 2663725.7491 | 1213964.7361 | 2663724.9899 | 1213971.3297
14 | 2663727.3399 | 1213921.7932 | 2663728.624 | 1213922.4629 | 2663734.9542 | 1213925.7437 | 2663735.9664 | 1213926.2659 | 2663736.5484 | 1213926.539 | 2663740.992 | 1213928.6545 | 2663741.8686 | 1213929.0752
15 | 2663698.6636 | 1213904.2539 | 2663704.8019 | 1213906.2985 | 2663718.9453 | 1213911.2637 | 2663723.5497 | 1213913.9701 | 2663725.7922 | 1213916.6513 | 2663726.9853 | 1213918.732 | 2663727.3399 | 1213921.7932
16 | 2663586.8658 | 1213844.8022 | 2663607.8591 | 1213852.0639 | 2663617.8323 | 1213855.628 | 2663627.6012 | 1213859.1232 | 2663649.8365 | 1213866.0091 | 2663676.8809 | 1213874.9255 | 2663685.3693 | 1213877.4065 | 2663721.7379 | 1213889.4801 | 2663725.5829 | 1213890.7553 | 2663730.4345 | 1213892.3748 | 2663735.2027 | 1213893.9712 | 2663732.2557 | 1213901.0663 | 2663729.9712 | 1213906.5786 | 2663729.2851 | 1213908.2279 | 2663728.1001 | 1213911.0836 | 2663726.377 | 1213915.2345 | 2663725.7922 | 1213916.6513 | 2663726.9853 | 1213918.732 | 2663727.3399 | 1213921.7932
17 | 2663741.8686 | 1213929.0752 | 2663737.2832 | 1213938.0873
18 | 2663637.1823 | 1213888.7437 | 2663644.373 | 1213889.6876 | 2663656.8828 | 1213891.1443 | 2663668.9327 | 1213894.4193 | 2663682.3608 | 1213898.7876 | 2663695.1064 | 1213903.0596 | 2663698.6636 | 1213904.2539
19 | 2663698.6636 | 1213904.2539 | 2663694.6947 | 1213916.9302
20 | 2663586.8658 | 1213844.8022 | 2663569.3541 | 1213837.2776 | 2663546.265 | 1213832.0219
21 | 2663844.8968 | 1214141.8307 | 2663839.1331 | 1214135.3868
22 | 2663844.8968 | 1214141.8307 | 2663846.3667 | 1214142.8804 | 2663855.9501 | 1214132.9694
23 | 2663859.8919 | 1214128.8929 | 2663855.9501 | 1214132.9694
24 | 2663637.1823 | 1213888.7437 | 2663635.7277 | 1213916.9861
25 | 2663637.4029 | 1213884.4434 | 2663637.2296 | 1213887.8659 | 2663637.1823 | 1213888.7437
26 | 2663693.1195 | 1213921.9612 | 2663693.1195 | 1213921.9612 | 2663694.6947 | 1213916.9302
27 | 2663700.1908 | 1213973.8567 | 2663690.1998 | 1213991.7289
28 | 2663663.2751 | 1214045.7968 | 2663664.3327 | 1214046.3418 | 2663670.7158 | 1214049.623 | 2663673.8659 | 1214051.2466 | 2663674.6666 | 1214051.6554
29 | 2663663.2751 | 1214045.7968 | 2663669.1385 | 1214033.5449
30 | 2663674.6666 | 1214051.6554 | 2663678.3901 | 1214044.5417
31 | 2663680.9004 | 1214009.7764 | 2663670.4691 | 1214030.7643 | 2663669.1385 | 1214033.5449
32 | 2663685.7053 | 1214030.5661 | 2663678.3901 | 1214044.5417
33 | 2663637.4029 | 1213884.4434 | 2663628.9094 | 1213884.5751 | 2663615.5148 | 1213886.3111 | 2663600.4844 | 1213890.4311 | 2663591.5204 | 1213894.879
34 | 2663635.7277 | 1213916.9861 | 2663633.1772 | 1213966.5045 | 2663627.7146 | 1213976.0332
35 | 2663844.5217 | 1214071.183 | 2663854.4988 | 1214080.2135
36 | 2663693.0745 | 1214016.4872 | 2663685.7053 | 1214030.5661
37 | 2663863.8364 | 1214124.8135 | 2663859.8919 | 1214128.8929
38 | 2663693.1195 | 1213921.9612 | 2663689.6131 | 1213953.6878 | 2663685.8087 | 1213964.6826
39 | 2663680.9004 | 1214009.7764 | 2663687.2282 | 1213997.0446 | 2663690.1998 | 1213991.7289
40 | 2663861.6882 | 1214086.7208 | 2663854.4988 | 1214080.2135
41 | 2663861.6882 | 1214086.7208 | 2663869.414 | 1214093.7078
42 | 2663861.6882 | 1214086.7208 | 2663852.1474 | 1214096.6762
43 | 2663872.6938 | 1214096.6781 | 2663869.414 | 1214093.7078
44 | 2663872.6938 | 1214096.6781 | 2663875.1559 | 1214099.411
45 | 2663869.414 | 1214093.7078 | 2663881.5009 | 1214081.1106
46 | 2663871.7227 | 1214116.6577 | 2663881.5436 | 1214106.5012 | 2663875.1559 | 1214099.411
47 | 2663848.1265 | 1214100.8719 | 2663852.1474 | 1214096.6762
48 | 2663871.7227 | 1214116.6577 | 2663867.781 | 1214120.7342
49 | 2663685.8087 | 1213964.6826 | 2663684.8948 | 1213967.3236 | 2663668.1494 | 1213999.0258
50 | 2663867.781 | 1214120.7342 | 2663863.8364 | 1214124.8135
51 | 2663848.1265 | 1214100.8719 | 2663844.1065 | 1214105.0665
52 | 2663844.1065 | 1214105.0665 | 2663840.0862 | 1214109.2615
53 | 2663840.0862 | 1214109.2615 | 2663836.0658 | 1214113.4567
54 | 2663836.0658 | 1214113.4567 | 2663832.0454 | 1214117.6518

## bus_geodata
| x | y | coords
0 | 2663777.4255 | 1214127.9025
1 | 2663795.2548 | 1214116.117
2 | 2663775.1584 | 1214128.7877
3 | 2663798.2375 | 1214113.4129
4 | 2663785.8329 | 1214147.6801
5 | 2663707.132 | 1213989.6304
6 | 2663817.1328 | 1214096.2826
7 | 2663798.9771 | 1214135.8229
8 | 2663724.1918 | 1213978.2611
9 | 2663701.6236 | 1213971.2936
10 | 2663724.9899 | 1213971.3297
11 | 2663727.3399 | 1213921.7932
12 | 2663741.8686 | 1213929.0752
13 | 2663698.6636 | 1213904.2539
14 | 2663586.8658 | 1213844.8022
15 | 2663737.2832 | 1213938.0873
16 | 2663844.8968 | 1214141.8307
17 | 2663839.1331 | 1214135.3868
18 | 2663855.9501 | 1214132.9694
19 | 2663637.1823 | 1213888.7437
20 | 2663694.6947 | 1213916.9302
21 | 2663700.1908 | 1213973.8567
22 | 2663710.8988 | 1213954.8752
23 | 2663663.2751 | 1214045.7968
24 | 2663674.6666 | 1214051.6554
25 | 2663669.1385 | 1214033.5449
26 | 2663678.3901 | 1214044.5417
27 | 2663546.265 | 1213832.0219
28 | 2663637.4029 | 1213884.4434
29 | 2663591.5204 | 1213894.879
30 | 2663635.7277 | 1213916.9861
31 | 2663844.5217 | 1214071.183
32 | 2663693.0745 | 1214016.4872
33 | 2663685.7053 | 1214030.5661
34 | 2663859.8919 | 1214128.8929
35 | 2663693.1195 | 1213921.9612
36 | 2663690.1998 | 1213991.7289
37 | 2663680.9004 | 1214009.7764
38 | 2663627.7146 | 1213976.0332
39 | 2663854.4988 | 1214080.2135
40 | 2663861.6882 | 1214086.7208
41 | 2663872.6938 | 1214096.6781
42 | 2663869.414 | 1214093.7078
43 | 2663875.1559 | 1214099.411
44 | 2663852.1474 | 1214096.6762
45 | 2663881.5009 | 1214081.1106
46 | 2663871.7227 | 1214116.6577
47 | 2663685.8087 | 1213964.6826
48 | 2663668.1494 | 1213999.0258
49 | 2663867.781 | 1214120.7342
50 | 2663863.8364 | 1214124.8135
51 | 2663848.1265 | 1214100.8719
52 | 2663844.1065 | 1214105.0665
53 | 2663840.0862 | 1214109.2615
54 | 2663836.0658 | 1214113.4567
55 | 2663832.0454 | 1214117.6518
56 | 2663701.6236 | 1213971.2936

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9829 | -0.32843 | 0.0071207 | 0.0017846
1 | 0.98226 | -0.34089 | 0.0051995 | 0.0013031
2 | 0.98299 | -0.32671 | 0 | 0
3 | 0.98216 | -0.34284 | 0.0065224 | 0.0016347
4 | 0.98281 | -0.33013 | 0 | 0
5 | 0.99672 | -0.062262 | 0 | 0
6 | 0.98168 | -0.35221 | 0.00014893 | 3.7325e-05
7 | 0.98267 | -0.33285 | 0.0085 | 0.0021303
8 | 0.99779 | -0.042132 | 0 | 0
9 | 0.99975 | -0.004774 | 0 | 0
10 | 0.99732 | -0.051002 | 0.014349 | 0.0035962
11 | 0.99354 | -0.12358 | 0 | 0
12 | 0.99464 | -0.10247 | 0 | 0
13 | 0.98946 | -0.20217 | 0 | 0
14 | 0.98955 | -0.20065 | 0 | 0
15 | 0.99509 | -0.093734 | 0.056155 | 0.014074
16 | 0.97988 | -0.38758 | 0 | 0
17 | 0.97986 | -0.38789 | 0.001995 | 0.00049999
18 | 0.9799 | -0.38701 | 0.0019903 | 0.00049882
19 | 0.98723 | -0.2455 | 0 | 0
20 | 0.98842 | -0.22247 | 0.027616 | 0.0069211
21 | 1 | 0 | -0.41752 | -0.10567
22 | 0.9995 | -0.0094862 | 0.014326 | 0.0035905
23 | 0.99208 | -0.15219 | 0 | 0
24 | 0.9914 | -0.16537 | 0 | 0
25 | 0.9928 | -0.13824 | 0.041993 | 0.010524
26 | 0.99097 | -0.17364 | 0.017828 | 0.004468
27 | 0.98863 | -0.21842 | 0.023329 | 0.0058467
28 | 0.98722 | -0.24571 | 0 | 0
29 | 0.9871 | -0.24805 | 0.0027557 | 0.00069064
30 | 0.98631 | -0.26341 | 0.028011 | 0.0070203
31 | 0.98099 | -0.36578 | 0 | 0
32 | 0.9901 | -0.19056 | 0.020021 | 0.0050178
33 | 0.99039 | -0.1849 | 0.020199 | 0.0050625
34 | 0.97993 | -0.3866 | 0.001995 | 0.00049999
35 | 0.98814 | -0.22793 | 0.01707 | 0.0042781
36 | 0.99752 | -0.047368 | 0.0088052 | 0.0022068
37 | 0.99523 | -0.091435 | 0.023554 | 0.0059032
38 | 0.9859 | -0.27142 | 0.0073792 | 0.0018494
39 | 0.98074 | -0.3707 | 6.4511e-05 | 1.6168e-05
40 | 0.98056 | -0.37423 | 0 | 0
41 | 0.98036 | -0.37807 | 0 | 0
42 | 0.98042 | -0.37695 | 0 | 0
43 | 0.98031 | -0.379 | 0.001995 | 0.00049999
44 | 0.98048 | -0.37566 | 6.4442e-05 | 1.6151e-05
45 | 0.98041 | -0.3771 | 0.0004624 | 0.00011589
46 | 0.98005 | -0.38414 | 0.0019903 | 0.00049882
47 | 0.98649 | -0.25991 | 0.033685 | 0.0084423
48 | 0.98623 | -0.26502 | 0.0073741 | 0.0018481
49 | 0.98 | -0.38516 | 0.001995 | 0.00049999
50 | 0.97996 | -0.38598 | 0.0019932 | 0.00049954
51 | 0.98045 | -0.37625 | 6.45e-05 | 1.6165e-05
52 | 0.98042 | -0.37683 | 6.4442e-05 | 1.6151e-05
53 | 0.98039 | -0.37741 | 0.0018327 | 0.00045933
54 | 0.98037 | -0.3778 | 0.0018318 | 0.0004591
55 | 0.98036 | -0.37799 | 0.0018327 | 0.00045933
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.032102 | 0.0080657 | -0.032083 | -0.0080538 | 1.9077e-05 | 1.1937e-05 | 0.048607 | 0.048607 | 0.048607 | 0.9829 | -0.32843 | 0.98226 | -0.34089 | 13.3536
1 | -0.039223 | -0.0098503 | 0.039226 | 0.0098524 | 3.2189e-06 | 2.0292e-06 | 0.059387 | 0.059387 | 0.059387 | 0.9829 | -0.32843 | 0.98299 | -0.32671 | 16.3152
2 | 0.026884 | 0.0067507 | -0.026881 | -0.0067491 | 2.5046e-06 | 1.552e-06 | 0.040731 | 0.040731 | 0.040731 | 0.98226 | -0.34089 | 0.98216 | -0.34284 | 11.1897
3 | 0.0085025 | 0.0021314 | -0.0085011 | -0.0021308 | 1.3867e-06 | 6.0457e-07 | 0.012871 | 0.012871 | 0.012871 | 0.98299 | -0.32671 | 0.98281 | -0.33013 | 3.536
4 | -0.047729 | -0.011984 | 0.048339 | 0.01237 | 0.00061046 | 0.00038669 | 0.072258 | 0.072257 | 0.072258 | 0.98299 | -0.32671 | 0.99672 | -0.062262 | 19.8512
5 | 0.020359 | 0.0051144 | -0.02035 | -0.0051089 | 9.1018e-06 | 5.5026e-06 | 0.030849 | 0.030849 | 0.030849 | 0.98216 | -0.34284 | 0.98168 | -0.35221 | 8.475
6 | 0.0085011 | 0.0021308 | -0.0085 | -0.0021303 | 1.0997e-06 | 4.7955e-07 | 0.012871 | 0.012871 | 0.012871 | 0.98281 | -0.33013 | 0.98267 | -0.33285 | 3.536
7 | -0.048339 | -0.01237 | 0.048386 | 0.0124 | 4.7161e-05 | 2.9869e-05 | 0.072257 | 0.072257 | 0.072257 | 0.99672 | -0.062262 | 0.99779 | -0.042132 | 19.8508
8 | 0.020201 | 0.0050716 | -0.020188 | -0.0050637 | 1.3065e-05 | 7.892e-06 | 0.030623 | 0.030623 | 0.030623 | 0.98168 | -0.35221 | 0.98099 | -0.36578 | 8.413
9 | -0.26768 | -0.067965 | 0.26817 | 0.068272 | 0.00048213 | 0.00030762 | 0.39951 | 0.39951 | 0.39951 | 0.99779 | -0.042132 | 0.99975 | -0.004774 | 36.5853
10 | 0.2193 | 0.055564 | -0.2192 | -0.055505 | 9.3404e-05 | 5.9505e-05 | 0.32725 | 0.32725 | 0.32725 | 0.99779 | -0.042132 | 0.99732 | -0.051002 | 29.9684
11 | -0.28249 | -0.071864 | 0.28256 | 0.071906 | 6.5008e-05 | 4.1489e-05 | 0.42084 | 0.42084 | 0.42084 | 0.99975 | -0.004774 | 1 | 0 | 38.5384
12 | 0.014329 | 0.0035923 | -0.014326 | -0.0035905 | 3.2167e-06 | 1.8115e-06 | 0.021328 | 0.021328 | 0.021328 | 0.99975 | -0.004774 | 0.9995 | -0.0094862 | 5.8594
13 | 0.20485 | 0.051908 | -0.20443 | -0.051641 | 0.00041963 | 0.00026716 | 0.30585 | 0.30585 | 0.30585 | 0.99732 | -0.051002 | 0.99509 | -0.093734 | 28.0079
14 | -0.14807 | -0.037433 | 0.14822 | 0.037528 | 0.00015003 | 9.5597e-05 | 0.22188 | 0.22188 | 0.22188 | 0.99354 | -0.12358 | 0.99464 | -0.10247 | 30.4774
15 | 0.12463 | 0.031521 | -0.12417 | -0.031222 | 0.00046796 | 0.00029903 | 0.18676 | 0.18676 | 0.18676 | 0.99354 | -0.12358 | 0.98946 | -0.20217 | 51.309
16 | 0.023434 | 0.0059115 | -0.023348 | -0.0058588 | 8.6141e-05 | 5.2727e-05 | 0.035111 | 0.035112 | 0.035112 | 0.99354 | -0.12358 | 0.98955 | -0.20065 | 9.6462
17 | -0.14822 | -0.037528 | 0.14828 | 0.037568 | 6.2223e-05 | 3.9429e-05 | 0.22188 | 0.22188 | 0.22188 | 0.99464 | -0.10247 | 0.99509 | -0.093734 | 20.3183
18 | 0.038258 | 0.0096296 | -0.038179 | -0.0095799 | 7.9053e-05 | 4.9778e-05 | 0.05755 | 0.05755 | 0.05755 | 0.98946 | -0.20217 | 0.98723 | -0.2455 | 15.8105
19 | 0.085907 | 0.021592 | -0.085824 | -0.021539 | 8.3168e-05 | 5.3057e-05 | 0.12921 | 0.12921 | 0.12921 | 0.98946 | -0.20217 | 0.98842 | -0.22247 | 35.4985
20 | 0.023348 | 0.0058588 | -0.023329 | -0.0058467 | 1.976e-05 | 1.2098e-05 | 0.035112 | 0.035112 | 0.035112 | 0.98955 | -0.20065 | 0.98863 | -0.21842 | 9.6462
21 | 0.001995 | 0.0004999 | -0.001995 | -0.00049999 | 2.9756e-08 | -8.9857e-08 | 0.0030296 | 0.0030296 | 0.0030296 | 0.97988 | -0.38758 | 0.97986 | -0.38789 | 0.83231
22 | -0.001995 | -0.0004999 | 0.0019951 | 0.00049974 | 5.3667e-08 | -1.6207e-07 | 0.0030296 | 0.0030295 | 0.0030296 | 0.97988 | -0.38758 | 0.9799 | -0.38701 | 0.8323
23 | -0.0039854 | -0.00099856 | 0.0039855 | 0.00099854 | 7.788e-08 | -2.1592e-08 | 0.0060518 | 0.0060518 | 0.0060518 | 0.9799 | -0.38701 | 0.97993 | -0.3866 | 1.6626
24 | 0.035423 | 0.0088897 | -0.035393 | -0.0088707 | 3.0237e-05 | 1.899e-05 | 0.053396 | 0.053397 | 0.053397 | 0.98723 | -0.2455 | 0.98631 | -0.26341 | 14.6694
25 | 0.002756 | 0.00069019 | -0.002756 | -0.00069023 | 2.7868e-08 | -3.7235e-08 | 0.0041538 | 0.0041539 | 0.0041539 | 0.98723 | -0.2455 | 0.98722 | -0.24571 | 1.1412
26 | 0.058209 | 0.014618 | -0.058193 | -0.014609 | 1.5185e-05 | 9.6506e-06 | 0.087641 | 0.087641 | 0.087641 | 0.98842 | -0.22247 | 0.98814 | -0.22793 | 24.0772
27 | 0.13331 | 0.033766 | -0.13301 | -0.033572 | 0.00030253 | 0.00019335 | 0.1985 | 0.1985 | 0.1985 | 1 | 0 | 0.99752 | -0.047368 | 54.5324
28 | 0.058135 | 0.014603 | -0.058098 | -0.01458 | 3.6533e-05 | 2.3216e-05 | 0.087208 | 0.087208 | 0.087208 | 0.99208 | -0.15219 | 0.9914 | -0.16537 | 23.9582
29 | -0.058135 | -0.014603 | 0.058173 | 0.014628 | 3.8737e-05 | 2.4616e-05 | 0.087208 | 0.087208 | 0.087208 | 0.99208 | -0.15219 | 0.9928 | -0.13824 | 23.9582
30 | 0.058098 | 0.01458 | -0.058075 | -0.014565 | 2.2899e-05 | 1.4552e-05 | 0.087208 | 0.087208 | 0.087208 | 0.9914 | -0.16537 | 0.99097 | -0.17364 | 23.9582
31 | -0.10017 | -0.025152 | 0.10039 | 0.025295 | 0.0002242 | 0.00014314 | 0.15015 | 0.15015 | 0.15015 | 0.9928 | -0.13824 | 0.99523 | -0.091435 | 41.2491
32 | 0.040248 | 0.010097 | -0.040226 | -0.010084 | 2.1608e-05 | 1.3626e-05 | 0.060438 | 0.060439 | 0.060439 | 0.99097 | -0.17364 | 0.99039 | -0.1849 | 16.604
33 | 0.002756 | 0.00069023 | -0.0027557 | -0.00069064 | 3.0796e-07 | -4.1136e-07 | 0.0041539 | 0.0041541 | 0.0041541 | 0.98722 | -0.24571 | 0.9871 | -0.24805 | 1.1412
34 | 0.007382 | 0.0018504 | -0.0073792 | -0.0018494 | 2.8172e-06 | 1.0304e-06 | 0.011137 | 0.011137 | 0.011137 | 0.98631 | -0.26341 | 0.9859 | -0.27142 | 3.0597
35 | 0.020188 | 0.0050637 | -0.020183 | -0.0050609 | 4.7325e-06 | 2.8589e-06 | 0.030623 | 0.030623 | 0.030623 | 0.98099 | -0.36578 | 0.98074 | -0.3707 | 8.413
36 | -0.020021 | -0.0050178 | 0.020027 | 0.005021 | 5.3953e-06 | 3.2486e-06 | 0.03009 | 0.03009 | 0.03009 | 0.9901 | -0.19056 | 0.99039 | -0.1849 | 8.2664
37 | -0.0059805 | -0.0014985 | 0.0059806 | 0.0014986 | 1.7549e-07 | 4.0824e-08 | 0.0090812 | 0.0090812 | 0.0090812 | 0.97993 | -0.3866 | 0.97996 | -0.38598 | 2.4948
38 | 0.041124 | 0.010331 | -0.041061 | -0.010291 | 6.2654e-05 | 3.9542e-05 | 0.061936 | 0.061936 | 0.061936 | 0.98814 | -0.22793 | 0.98649 | -0.25991 | 17.0154
39 | 0.12421 | 0.031365 | -0.12394 | -0.031198 | 0.00026166 | 0.0001672 | 0.18536 | 0.18536 | 0.18536 | 0.99752 | -0.047368 | 0.99523 | -0.091435 | 50.924
40 | 0.020118 | 0.0050447 | -0.020115 | -0.0050426 | 3.3884e-06 | 2.0463e-06 | 0.030526 | 0.030526 | 0.030526 | 0.98074 | -0.3707 | 0.98056 | -0.37423 | 8.3862
41 | 0.014423 | 0.0036164 | -0.014422 | -0.0036153 | 1.8685e-06 | 1.0647e-06 | 0.021889 | 0.021889 | 0.021889 | 0.98056 | -0.37423 | 0.98042 | -0.37695 | 6.0133
42 | 0.0056916 | 0.0014263 | -0.0056912 | -0.0014262 | 3.8575e-07 | 7.2956e-08 | 0.0086371 | 0.0086372 | 0.0086372 | 0.98056 | -0.37423 | 0.98048 | -0.37566 | 2.3728
43 | -0.013958 | -0.0034992 | 0.013959 | 0.0034996 | 7.4369e-07 | 4.2025e-07 | 0.021187 | 0.021187 | 0.021187 | 0.98036 | -0.37807 | 0.98042 | -0.37695 | 5.8206
44 | 0.013958 | 0.0034992 | -0.013958 | -0.0034989 | 6.192e-07 | 3.4991e-07 | 0.021187 | 0.021187 | 0.021187 | 0.98036 | -0.37807 | 0.98031 | -0.379 | 5.8206
45 | 0.00046241 | 0.00011567 | -0.0004624 | -0.00011589 | 3.2242e-09 | -2.1809e-07 | 0.00070173 | 0.00070181 | 0.00070181 | 0.98042 | -0.37695 | 0.98041 | -0.3771 | 0.19281
46 | 0.011963 | 0.0029989 | -0.01196 | -0.0029973 | 2.927e-06 | 1.5749e-06 | 0.018159 | 0.018159 | 0.018159 | 0.98031 | -0.379 | 0.98005 | -0.38414 | 4.9887
47 | 0.0056268 | 0.0014101 | -0.0056266 | -0.00141 | 1.5891e-07 | 2.8413e-08 | 0.0085394 | 0.0085394 | 0.0085394 | 0.98048 | -0.37566 | 0.98045 | -0.37625 | 2.346
48 | 0.0099696 | 0.0024985 | -0.0099691 | -0.0024982 | 4.8722e-07 | 2.4037e-07 | 0.015137 | 0.015137 | 0.015137 | 0.98005 | -0.38414 | 0.98 | -0.38516 | 4.1585
49 | 0.0073759 | 0.0018488 | -0.0073741 | -0.0018481 | 1.794e-06 | 6.5488e-07 | 0.011126 | 0.011126 | 0.011126 | 0.98649 | -0.25991 | 0.98623 | -0.26502 | 3.0566
50 | 0.0079741 | 0.0019982 | -0.0079738 | -0.0019981 | 3.1195e-07 | 1.2816e-07 | 0.012108 | 0.012108 | 0.012108 | 0.98 | -0.38516 | 0.97996 | -0.38598 | 3.3263
51 | 0.0055621 | 0.0013939 | -0.005562 | -0.0013938 | 1.5525e-07 | 2.6093e-08 | 0.0084415 | 0.0084415 | 0.0084415 | 0.98045 | -0.37625 | 0.98042 | -0.37683 | 2.3191
52 | 0.0054975 | 0.0013777 | -0.0054974 | -0.0013777 | 1.5169e-07 | 2.3811e-08 | 0.0083437 | 0.0083437 | 0.0083437 | 0.98042 | -0.37683 | 0.98039 | -0.37741 | 2.2922
53 | 0.0036646 | 0.00091833 | -0.0036646 | -0.00091836 | 6.741e-08 | -3.0127e-08 | 0.0055621 | 0.0055621 | 0.0055621 | 0.98039 | -0.37741 | 0.98037 | -0.3778 | 1.528
54 | 0.0018328 | 0.00045927 | -0.0018327 | -0.00045933 | 1.6861e-08 | -6.2476e-08 | 0.0027817 | 0.0027818 | 0.0027818 | 0.98037 | -0.3778 | 0.98036 | -0.37799 | 0.76422

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42608 | 0.10782

## res_load
| p_mw | q_mvar
0 | 0.0071207 | 0.0017846
1 | 0.0051995 | 0.0013031
2 | 0.0065224 | 0.0016347
3 | 0.00014893 | 3.7325e-05
4 | 0.0085 | 0.0021303
5 | 0.014349 | 0.0035962
6 | 0.056155 | 0.014074
7 | 0.001995 | 0.00049999
8 | 0.0019903 | 0.00049882
9 | 0.027616 | 0.0069211
10 | 0.0085586 | 0.002145
11 | 0.014326 | 0.0035905
12 | 0.041993 | 0.010524
13 | 0.017828 | 0.004468
14 | 0.023329 | 0.0058467
15 | 0.0027557 | 0.00069064
16 | 0.028011 | 0.0070203
17 | 0.020021 | 0.0050178
18 | 0.020199 | 0.0050625
19 | 0.001995 | 0.00049999
20 | 0.01707 | 0.0042781
21 | 0.0088052 | 0.0022068
22 | 0.023554 | 0.0059032
23 | 0.0073792 | 0.0018494
24 | 6.4511e-05 | 1.6168e-05
25 | 0.001995 | 0.00049999
26 | 6.4442e-05 | 1.6151e-05
27 | 0.0004624 | 0.00011589
28 | 0.0019903 | 0.00049882
29 | 0.033685 | 0.0084423
30 | 0.0073741 | 0.0018481
31 | 0.001995 | 0.00049999
32 | 0.0019932 | 0.00049954
33 | 6.45e-05 | 1.6165e-05
34 | 6.4442e-05 | 1.6151e-05
35 | 0.0018327 | 0.00045933
36 | 0.0018318 | 0.0004591
37 | 0.0018327 | 0.00045933

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1