## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-30_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1024-30_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1024-30_0_4_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_1024-30_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1024-30_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1024-30_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1024-30_0_4_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1024-30_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1024-30_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1024-30_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1024-30_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1024-30_0_4_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_1024-30_0_4_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_1024-30_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1024-30_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1024-30_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1024-30_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_1024-30_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_1024-30_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1024-30_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1024-30_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1024-30_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1024-30_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1024-30_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1024-30_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1024-30_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1024-30_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1024-30_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1024-30_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1024-30_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1024-30_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_MV_214_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-30_0_4_load_0 | 0 | 0.0027763 | 0.00069582 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-30_0_4_load_1 | 1 | 0.003009 | 0.00075412 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-30_0_4_load_4 | 3 | 0.012904 | 0.003234 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-30_0_4_load_25 | 5 | 0.0069173 | 0.0017336 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-30_0_4_load_20 | 6 | 0.0013664 | 0.00034245 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-30_0_4_load_19 | 9 | 0.0011088 | 0.0002779 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-30_0_4_load_15 | 11 | 0.0017229 | 0.00043181 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-30_0_4_load_28 | 14 | 0.011753 | 0.0029457 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-30_0_4_load_33 | 15 | 0.0086651 | 0.0021717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-30_0_4_load_35 | 19 | 0.014108 | 0.0035359 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-30_0_4_load_32 | 20 | 0.011898 | 0.0029818 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-30_0_4_load_31 | 22 | 0.0069184 | 0.0017339 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-30_0_4_load_34 | 23 | 0.0031259 | 0.00078343 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-30_0_4_load_23 | 24 | 0.0034882 | 0.00087423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-30_0_4_load_16 | 25 | 0.0033975 | 0.00085151 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-30_0_4_load_30 | 26 | 0.025861 | 0.0064813 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-30_0_4_load_29 | 27 | 0.01497 | 0.0037519 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-30_0_4_load_26 | 28 | 0.019131 | 0.0047946 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-30_0_4_load_17 | 29 | 0.0032039 | 0.00080297 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-30_0_4_load_24 | 30 | 0.0032882 | 0.00082411 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-30_0_4_load_22 | 31 | 0.0032416 | 0.00081242 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-30_0_4_load_21 | 32 | 0.0031582 | 0.00079152 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-30_0_4_load_27 | 33 | 0.011759 | 0.002947 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-30_0_4_line_0 |  | 0 | 1 | 0.05019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-30_0_4_line_1 |  | 0 | 2 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-30_0_4_line_2 |  | 2 | 3 | 0.023918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-30_0_4_line_3 |  | 2 | 4 | 0.078623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-30_0_4_line_4 |  | 3 | 5 | 0.035596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-30_0_4_line_5 |  | 4 | 6 | 0.0077702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-30_0_4_line_6 |  | 5 | 13 | 0.025608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-30_0_4_line_7 |  | 6 | 7 | 0.037588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-30_0_4_line_8 |  | 7 | 8 | 0.038078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-30_0_4_line_9 |  | 7 | 9 | 0.015639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-30_0_4_line_10 |  | 8 | 10 | 0.025529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-30_0_4_line_11 |  | 8 | 11 | 0.012413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-30_0_4_line_12 |  | 10 | 23 | 0.015993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-30_0_4_line_13 |  | 10 | 24 | 0.013248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-30_0_4_line_14 |  | 11 | 25 | 0.023173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-30_0_4_line_15 |  | 12 | 13 | 0.039191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-30_0_4_line_16 |  | 12 | 14 | 0.015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-30_0_4_line_17 |  | 12 | 15 | 0.033387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-30_0_4_line_18 |  | 14 | 28 | 0.041238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-30_0_4_line_19 |  | 15 | 16 | 0.025781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-30_0_4_line_20 |  | 16 | 17 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-30_0_4_line_21 |  | 17 | 18 | 0.030539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-30_0_4_line_22 |  | 17 | 19 | 0.04825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-30_0_4_line_23 |  | 18 | 20 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-30_0_4_line_24 |  | 20 | 21 | 0.011943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-30_0_4_line_25 |  | 21 | 22 | 0.035578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-30_0_4_line_26 |  | 25 | 29 | 0.023793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-30_0_4_line_27 |  | 26 | 27 | 0.038661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-30_0_4_line_28 |  | 27 | 33 | 0.0010028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-30_0_4_line_29 |  | 28 | 33 | 0.034194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-30_0_4_line_30 |  | 29 | 30 | 0.023633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-30_0_4_line_31 |  | 30 | 31 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-30_0_4_line_32 |  | 31 | 32 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-30_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 34 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2665023.866 | 1214199.4805 | 2665000.8067 | 1214244.0594
1 | 2665026.155 | 1214187.8754 | 2665029.2019 | 1214189.1649 | 2665023.866 | 1214199.4805
2 | 2665026.155 | 1214187.8754 | 2665017.2581 | 1214205.5338 | 2665015.3629 | 1214209.2204
3 | 2665026.155 | 1214187.8754 | 2665027.7792 | 1214183.8128 | 2665031.0824 | 1214184.5826 | 2665085.6407 | 1214206.8026 | 2665086.3892 | 1214205.0318 | 2665087.1067 | 1214203.3164 | 2665087.8084 | 1214201.6564 | 2665088.1749 | 1214200.782 | 2665088.5259 | 1214199.9409 | 2665089.2356 | 1214198.2476 | 2665089.8827 | 1214196.7204 | 2665090.2726 | 1214195.7907
4 | 2664999.0886 | 1214240.8781 | 2665015.3629 | 1214209.2204
5 | 2665090.2726 | 1214195.7907 | 2665097.1796 | 1214199.3501
6 | 2664987.7147 | 1214263.8146 | 2664990.9829 | 1214256.6458 | 2664999.0886 | 1214240.8781
7 | 2665131.5465 | 1214214.5084 | 2665115.2571 | 1214208.0043 | 2665104.5777 | 1214203.1625 | 2665097.1796 | 1214199.3501
8 | 2665111.1367 | 1214246.5944 | 2665123.473 | 1214226.2943 | 2665125.0198 | 1214223.754 | 2665125.4607 | 1214223.025 | 2665128.1833 | 1214218.5409 | 2665131.5465 | 1214214.5084
9 | 2665131.5465 | 1214214.5084 | 2665134.4326 | 1214211.0489 | 2665139.9138 | 1214201.3582
10 | 2665111.1367 | 1214246.5944 | 2665097.8798 | 1214268.4299
11 | 2665111.1367 | 1214246.5944 | 2665099.5097 | 1214242.2484
12 | 2665089.5656 | 1214282.1032 | 2665097.8798 | 1214268.4299
13 | 2665097.8798 | 1214268.4299 | 2665085.5081 | 1214263.6928
14 | 2665077.8037 | 1214234.1351 | 2665099.5097 | 1214242.2484
15 | 2664969.1151 | 1214297.1438 | 2664969.559 | 1214296.1369 | 2664971.2569 | 1214292.2752 | 2664973.2426 | 1214287.7829 | 2664973.6397 | 1214286.8867 | 2664977.2331 | 1214285.4249 | 2664978.5169 | 1214284.0047 | 2664987.7147 | 1214263.8146
16 | 2664969.1151 | 1214297.1438 | 2664969.8966 | 1214298.6087 | 2664970.1952 | 1214300.4798 | 2664969.9268 | 1214302.8117 | 2664966.0292 | 1214311.9498
17 | 2664969.1151 | 1214297.1438 | 2664964.2681 | 1214293.7667 | 2664949.9431 | 1214287.529 | 2664939.0115 | 1214282.9412
18 | 2664949.2905 | 1214349.6362 | 2664952.5271 | 1214342.4468 | 2664962.3038 | 1214320.6842 | 2664966.0292 | 1214311.9498
19 | 2664915.2394 | 1214272.9644 | 2664939.0115 | 1214282.9412
20 | 2664915.2394 | 1214272.9644 | 2664916.6088 | 1214269.9663 | 2664918.9681 | 1214270.926 | 2664921.1136 | 1214266.4021
21 | 2664921.1136 | 1214266.4021 | 2664931.7886 | 1214270.9544 | 2664937.0882 | 1214273.2246 | 2664949.1995 | 1214278.393
22 | 2664921.1136 | 1214266.4021 | 2664941.7861 | 1214222.8053
23 | 2664949.1995 | 1214278.393 | 2664949.6045 | 1214277.4746 | 2664953.0241 | 1214269.6515 | 2664953.546 | 1214268.4564
24 | 2664945.7731 | 1214262.4458 | 2664952.3045 | 1214265.2854 | 2664951.3386 | 1214267.4985 | 2664953.546 | 1214268.4564
25 | 2664945.7731 | 1214262.4458 | 2664948.3048 | 1214256.6476 | 2664946.9591 | 1214256.0659 | 2664952.6297 | 1214243.1085 | 2664958.6774 | 1214245.7315 | 2664959.8537 | 1214243.0316 | 2664962.5978 | 1214244.2289 | 2664963.0418 | 1214243.2108
26 | 2665077.8037 | 1214234.1351 | 2665055.5166 | 1214225.8046
27 | 2664919.0681 | 1214417.0272 | 2664922.9101 | 1214408.2985 | 2664934.1984 | 1214383.0168 | 2664934.791 | 1214381.708
28 | 2664935.2047 | 1214380.7944 | 2664934.791 | 1214381.708
29 | 2664949.2905 | 1214349.6362 | 2664945.5141 | 1214358.0245 | 2664935.2047 | 1214380.7944
30 | 2665055.5166 | 1214225.8046 | 2665046.763 | 1214222.5327 | 2665043.7756 | 1214224.8348 | 2665039.2444 | 1214234.3246
31 | 2665039.3983 | 1214246.0375 | 2665038.6106 | 1214245.7359 | 2665036.2157 | 1214243.1749 | 2665036.609 | 1214239.8438 | 2665039.2444 | 1214234.3246
32 | 2665060.9403 | 1214254.2859 | 2665039.3983 | 1214246.0375

## bus_geodata
| x | y | coords
0 | 2665023.866 | 1214199.4805
1 | 2665000.8067 | 1214244.0594
2 | 2665026.155 | 1214187.8754
3 | 2665015.3629 | 1214209.2204
4 | 2665090.2726 | 1214195.7907
5 | 2664999.0886 | 1214240.8781
6 | 2665097.1796 | 1214199.3501
7 | 2665131.5465 | 1214214.5084
8 | 2665111.1367 | 1214246.5944
9 | 2665139.9138 | 1214201.3582
10 | 2665097.8798 | 1214268.4299
11 | 2665099.5097 | 1214242.2484
12 | 2664969.1151 | 1214297.1438
13 | 2664987.7147 | 1214263.8146
14 | 2664966.0292 | 1214311.9498
15 | 2664939.0115 | 1214282.9412
16 | 2664915.2394 | 1214272.9644
17 | 2664921.1136 | 1214266.4021
18 | 2664949.1995 | 1214278.393
19 | 2664941.7861 | 1214222.8053
20 | 2664953.546 | 1214268.4564
21 | 2664945.7731 | 1214262.4458
22 | 2664963.0418 | 1214243.2108
23 | 2665089.5656 | 1214282.1032
24 | 2665085.5081 | 1214263.6928
25 | 2665077.8037 | 1214234.1351
26 | 2664919.0681 | 1214417.0272
27 | 2664934.791 | 1214381.708
28 | 2664949.2905 | 1214349.6362
29 | 2665055.5166 | 1214225.8046
30 | 2665039.2444 | 1214234.3246
31 | 2665039.3983 | 1214246.0375
32 | 2665060.9403 | 1214254.2859
33 | 2664935.2047 | 1214380.7944
34 | 2664971.2569 | 1214292.2752

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99459 | -0.10375 | 0.0027763 | 0.00069582
1 | 0.99445 | -0.10641 | 0.003009 | 0.00075412
2 | 0.99467 | -0.10223 | 0 | 0
3 | 0.99539 | -0.088374 | 0.012904 | 0.003234
4 | 0.99272 | -0.13985 | 0 | 0
5 | 0.99688 | -0.059734 | 0.0069173 | 0.0017336
6 | 0.99253 | -0.14358 | 0.0013664 | 0.00034245
7 | 0.99164 | -0.16072 | 0 | 0
8 | 0.99078 | -0.17735 | 0 | 0
9 | 0.99162 | -0.16102 | 0.0011088 | 0.0002779
10 | 0.99063 | -0.18035 | 0 | 0
11 | 0.99058 | -0.18133 | 0.0017229 | 0.00043181
12 | 1 | 0 | -0.18025 | -0.04507
13 | 0.99811 | -0.036083 | 0 | 0
14 | 0.9988 | -0.02307 | 0.011753 | 0.0029457
15 | 0.99874 | -0.024236 | 0.0086651 | 0.0021717
16 | 0.99797 | -0.039082 | 0 | 0
17 | 0.99764 | -0.045336 | 0 | 0
18 | 0.99712 | -0.055406 | 0 | 0
19 | 0.99702 | -0.057265 | 0.014108 | 0.0035359
20 | 0.99693 | -0.058984 | 0.011898 | 0.0029818
21 | 0.99686 | -0.060433 | 0 | 0
22 | 0.99663 | -0.064752 | 0.0069184 | 0.0017339
23 | 0.99058 | -0.18124 | 0.0031259 | 0.00078343
24 | 0.99058 | -0.18117 | 0.0034882 | 0.00087423
25 | 0.99023 | -0.18803 | 0.0033975 | 0.00085151
26 | 0.99351 | -0.12489 | 0.025861 | 0.0064813
27 | 0.99442 | -0.10725 | 0.01497 | 0.0037519
28 | 0.9961 | -0.074886 | 0.019131 | 0.0047946
29 | 0.98995 | -0.19349 | 0.0032039 | 0.00080297
30 | 0.98974 | -0.19756 | 0.0032882 | 0.00082411
31 | 0.98966 | -0.19914 | 0.0032416 | 0.00081242
32 | 0.98959 | -0.20043 | 0.0031582 | 0.00079152
33 | 0.99446 | -0.10653 | 0.011759 | 0.002947
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0030093 | 0.00075371 | -0.003009 | -0.00075412 | 3.8151e-07 | -4.071e-07 | 0.0045021 | 0.0045024 | 0.0045024 | 0.99459 | -0.10375 | 0.99445 | -0.10641 | 1.2369
1 | -0.0057857 | -0.0014495 | 0.0057861 | 0.0014496 | 4.1926e-07 | 7.4653e-08 | 0.0086558 | 0.0086558 | 0.0086558 | 0.99459 | -0.10375 | 0.99467 | -0.10223 | 2.378
2 | -0.032998 | -0.0083079 | 0.03302 | 0.0083215 | 2.1869e-05 | 1.3685e-05 | 0.049378 | 0.049378 | 0.049378 | 0.99467 | -0.10223 | 0.99539 | -0.088374 | 13.5654
3 | 0.027212 | 0.0068583 | -0.027163 | -0.006828 | 4.8893e-05 | 3.0273e-05 | 0.040722 | 0.040723 | 0.040723 | 0.99467 | -0.10223 | 0.99272 | -0.13985 | 11.1875
4 | -0.045924 | -0.011556 | 0.045987 | 0.011595 | 6.2941e-05 | 3.9819e-05 | 0.068668 | 0.068668 | 0.068668 | 0.99539 | -0.088374 | 0.99688 | -0.059734 | 18.8648
5 | 0.027163 | 0.006828 | -0.027158 | -0.006825 | 4.8321e-06 | 2.9921e-06 | 0.040723 | 0.040723 | 0.040723 | 0.99272 | -0.13985 | 0.99253 | -0.14358 | 11.1875
6 | -0.052904 | -0.013329 | 0.052964 | 0.013367 | 5.9921e-05 | 3.8015e-05 | 0.078993 | 0.078993 | 0.078993 | 0.99688 | -0.059734 | 0.99811 | -0.036083 | 21.7013
7 | 0.025792 | 0.0064825 | -0.025771 | -0.0064695 | 2.1083e-05 | 1.3008e-05 | 0.038674 | 0.038674 | 0.038674 | 0.99253 | -0.14358 | 0.99164 | -0.16072 | 10.6248
8 | 0.024662 | 0.0061918 | -0.024642 | -0.0061798 | 1.9559e-05 | 1.2027e-05 | 0.03701 | 0.037011 | 0.037011 | 0.99164 | -0.16072 | 0.99078 | -0.17735 | 10.1678
9 | 0.0011088 | 0.00027771 | -0.0011088 | -0.0002779 | 1.6235e-08 | -1.9136e-07 | 0.0016638 | 0.0016639 | 0.0016639 | 0.99164 | -0.16072 | 0.99162 | -0.16102 | 0.45711
10 | 0.0066154 | 0.0016577 | -0.0066144 | -0.0016575 | 9.4499e-07 | 2.7607e-07 | 0.0099353 | 0.0099354 | 0.0099354 | 0.99078 | -0.17735 | 0.99063 | -0.18035 | 2.7295
11 | 0.018027 | 0.0045221 | -0.018024 | -0.00452 | 3.4123e-06 | 2.024e-06 | 0.027075 | 0.027075 | 0.027075 | 0.99078 | -0.17735 | 0.99058 | -0.18133 | 7.4383
12 | 0.0031261 | 0.00078331 | -0.0031259 | -0.00078343 | 1.3224e-07 | -1.2126e-07 | 0.0046956 | 0.0046957 | 0.0046957 | 0.99063 | -0.18035 | 0.99058 | -0.18124 | 1.29
13 | 0.0034883 | 0.00087414 | -0.0034882 | -0.00087422 | 1.364e-07 | -8.3256e-08 | 0.0052398 | 0.0052398 | 0.0052398 | 0.99063 | -0.18035 | 0.99058 | -0.18117 | 1.4395
14 | 0.016301 | 0.0040882 | -0.016295 | -0.0040852 | 5.2107e-06 | 3.0366e-06 | 0.024487 | 0.024487 | 0.024487 | 0.99058 | -0.18133 | 0.99023 | -0.18803 | 6.7273
15 | 0.053055 | 0.013425 | -0.052964 | -0.013367 | 9.1704e-05 | 5.8178e-05 | 0.078992 | 0.078993 | 0.078993 | 1 | 0 | 0.99811 | -0.036083 | 21.7013
16 | 0.083847 | 0.021158 | -0.083754 | -0.021099 | 9.2522e-05 | 5.9007e-05 | 0.12482 | 0.12482 | 0.12482 | 1 | 0 | 0.9988 | -0.02307 | 34.2901
17 | 0.041693 | 0.010487 | -0.041645 | -0.010457 | 4.8211e-05 | 3.0417e-05 | 0.062054 | 0.062054 | 0.062054 | 1 | 0 | 0.99874 | -0.024236 | 17.0477
18 | 0.072001 | 0.018153 | -0.071823 | -0.018039 | 0.00017806 | 0.00011342 | 0.10731 | 0.10731 | 0.10731 | 0.9988 | -0.02307 | 0.9961 | -0.074886 | 29.4796
19 | 0.03298 | 0.0082848 | -0.032957 | -0.0082702 | 2.3349e-05 | 1.4606e-05 | 0.049143 | 0.049144 | 0.049144 | 0.99874 | -0.024236 | 0.99797 | -0.039082 | 13.501
20 | 0.032957 | 0.0082702 | -0.032947 | -0.0082641 | 9.8263e-06 | 6.1471e-06 | 0.049144 | 0.049144 | 0.049144 | 0.99797 | -0.039082 | 0.99764 | -0.045336 | 13.501
21 | 0.01883 | 0.0047237 | -0.018821 | -0.0047183 | 9.0346e-06 | 5.3836e-06 | 0.028088 | 0.028088 | 0.028088 | 0.99764 | -0.045336 | 0.99712 | -0.055406 | 7.7164
22 | 0.014117 | 0.0035404 | -0.014108 | -0.0035359 | 8.0221e-06 | 4.5045e-06 | 0.021056 | 0.021056 | 0.021056 | 0.99764 | -0.045336 | 0.99702 | -0.057265 | 5.7847
23 | 0.018821 | 0.0047183 | -0.018818 | -0.0047164 | 3.2086e-06 | 1.9121e-06 | 0.028088 | 0.028088 | 0.028088 | 0.99712 | -0.055406 | 0.99693 | -0.058984 | 7.7164
24 | 0.0069203 | 0.0017345 | -0.0069198 | -0.0017344 | 4.7784e-07 | 1.501e-07 | 0.010329 | 0.010329 | 0.010329 | 0.99693 | -0.058984 | 0.99686 | -0.060433 | 2.8377
25 | 0.0069198 | 0.0017344 | -0.0069184 | -0.0017339 | 1.4235e-06 | 4.4732e-07 | 0.010329 | 0.010329 | 0.010329 | 0.99686 | -0.060433 | 0.99663 | -0.064752 | 2.8378
26 | 0.012898 | 0.0032337 | -0.012894 | -0.0032319 | 3.3518e-06 | 1.8392e-06 | 0.019382 | 0.019382 | 0.019382 | 0.99023 | -0.18803 | 0.98995 | -0.19349 | 5.3247
27 | -0.025861 | -0.0064813 | 0.025882 | 0.0064947 | 2.175e-05 | 1.3419e-05 | 0.038733 | 0.038732 | 0.038733 | 0.99351 | -0.12489 | 0.99442 | -0.10725 | 10.6408
28 | -0.040853 | -0.010247 | 0.040854 | 0.010247 | 1.4055e-06 | 8.8648e-07 | 0.061133 | 0.061133 | 0.061133 | 0.99442 | -0.10725 | 0.99446 | -0.10653 | 16.7948
29 | 0.052692 | 0.013245 | -0.052613 | -0.013194 | 7.9477e-05 | 5.0421e-05 | 0.078728 | 0.078728 | 0.078728 | 0.9961 | -0.074886 | 0.99446 | -0.10653 | 21.6285
30 | 0.0096906 | 0.0024289 | -0.0096887 | -0.002428 | 1.8804e-06 | 8.9964e-07 | 0.014566 | 0.014566 | 0.014566 | 0.98995 | -0.19349 | 0.98974 | -0.19756 | 4.0017
31 | 0.0064005 | 0.0016039 | -0.0064 | -0.0016038 | 4.7988e-07 | 1.2953e-07 | 0.0096226 | 0.0096227 | 0.0096227 | 0.98974 | -0.19756 | 0.98966 | -0.19914 | 2.6436
32 | 0.0031584 | 0.00079134 | -0.0031582 | -0.00079151 | 1.9507e-07 | -1.7153e-07 | 0.0047487 | 0.0047488 | 0.0047488 | 0.98966 | -0.19914 | 0.98959 | -0.20043 | 1.3046

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.18025 | 0.04507

## res_load
| p_mw | q_mvar
0 | 0.0027763 | 0.00069582
1 | 0.003009 | 0.00075412
2 | 0.012904 | 0.003234
3 | 0.0069173 | 0.0017336
4 | 0.0013664 | 0.00034245
5 | 0.0011088 | 0.0002779
6 | 0.0017229 | 0.00043181
7 | 0.011753 | 0.0029457
8 | 0.0086651 | 0.0021717
9 | 0.014108 | 0.0035359
10 | 0.011898 | 0.0029818
11 | 0.0069184 | 0.0017339
12 | 0.0031259 | 0.00078343
13 | 0.0034882 | 0.00087423
14 | 0.0033975 | 0.00085151
15 | 0.025861 | 0.0064813
16 | 0.01497 | 0.0037519
17 | 0.019131 | 0.0047946
18 | 0.0032039 | 0.00080297
19 | 0.0032882 | 0.00082411
20 | 0.0032416 | 0.00081242
21 | 0.0031582 | 0.00079152
22 | 0.011759 | 0.002947

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1