## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-36_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-36_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-36_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-36_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-36_0_3_node_91 | 0.4 | n |  | TRUE
5 | bus_LV_1024-36_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1024-36_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1024-36_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1024-36_0_3_node_98 | 0.4 | n |  | TRUE
9 | bus_LV_1024-36_0_3_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_1024-36_0_3_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_1024-36_0_3_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_1024-36_0_3_node_114 | 0.4 | n |  | TRUE
13 | bus_LV_1024-36_0_3_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_1024-36_0_3_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_1024-36_0_3_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_1024-36_0_3_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_1024-36_0_3_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_1024-36_0_3_node_113 | 0.4 | n |  | TRUE
19 | bus_LV_1024-36_0_3_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_1024-36_0_3_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_1024-36_0_3_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_1024-36_0_3_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_1024-36_0_3_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_1024-36_0_3_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_1024-36_0_3_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_1024-36_0_3_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_1024-36_0_3_node_123 | 0.4 | n |  | TRUE
28 | bus_LV_1024-36_0_3_node_111 | 0.4 | n |  | TRUE
29 | bus_LV_1024-36_0_3_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_1024-36_0_3_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_1024-36_0_3_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_1024-36_0_3_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_1024-36_0_3_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_1024-36_0_3_node_118 | 0.4 | n |  | TRUE
35 | bus_LV_1024-36_0_3_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_1024-36_0_3_node_96 | 0.4 | n |  | TRUE
37 | bus_LV_1024-36_0_3_node_119 | 0.4 | n |  | TRUE
38 | bus_LV_1024-36_0_3_node_100 | 0.4 | n |  | TRUE
39 | bus_LV_1024-36_0_3_node_101 | 0.4 | n |  | TRUE
40 | bus_LV_1024-36_0_3_node_102 | 0.4 | n |  | TRUE
41 | bus_LV_1024-36_0_3_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_1024-36_0_3_node_105 | 0.4 | n |  | TRUE
43 | bus_LV_1024-36_0_3_node_104 | 0.4 | n |  | TRUE
44 | bus_LV_1024-36_0_3_node_126 | 0.4 | n |  | TRUE
45 | bus_LV_1024-36_0_3_node_125 | 0.4 | n |  | TRUE
46 | bus_LV_1024-36_0_3_node_110 | 0.4 | n |  | TRUE
47 | bus_LV_1024-36_0_3_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_1024-36_0_3_node_124 | 0.4 | n |  | TRUE
49 | bus_LV_1024-36_0_3_node_117 | 0.4 | n |  | TRUE
50 | bus_LV_1024-36_0_3_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_1024-36_0_3_node_115 | 0.4 | n |  | TRUE
52 | bus_MV_354_1_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-36_0_3_load_0 | 0 | 0.0026298 | 0.00065909 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-36_0_3_load_1 | 1 | 0.0030715 | 0.0007698 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-36_0_3_load_2 | 2 | 0.0011642 | 0.00029178 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-36_0_3_load_3 | 3 | 0.0035272 | 0.00088399 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-36_0_3_load_91 | 4 | 0.003156 | 0.00079097 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-36_0_3_load_5 | 6 | 0.0010432 | 0.00026144 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-36_0_3_load_6 | 7 | 0.0018755 | 0.00047003 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-36_0_3_load_98 | 8 | 0.0030444 | 0.000763 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-36_0_3_load_65 | 11 | 0.0051224 | 0.0012838 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-36_0_3_load_69 | 13 | 0.0021291 | 0.00053359 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-36_0_3_load_70 | 14 | 0.001704 | 0.00042706 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-36_0_3_load_71 | 15 | 0.0061655 | 0.0015452 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-36_0_3_load_72 | 16 | 0.003463 | 0.0008679 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-36_0_3_load_73 | 17 | 0.0068629 | 0.00172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-36_0_3_load_81 | 19 | 0.014291 | 0.0035815 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-36_0_3_load_82 | 20 | 0.0076753 | 0.0019236 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-36_0_3_load_85 | 23 | 0.010518 | 0.0026361 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-36_0_3_load_87 | 25 | 0.0048383 | 0.0012126 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-36_0_3_load_88 | 26 | 0.0056426 | 0.0014142 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-36_0_3_load_123 | 27 | 0.0076655 | 0.0019212 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-36_0_3_load_94 | 29 | 0.0029162 | 0.00073087 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-36_0_3_load_89 | 30 | 0.00099272 | 0.0002488 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-36_0_3_load_90 | 31 | 0.0011285 | 0.00028282 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-36_0_3_load_92 | 32 | 0.0011285 | 0.00028282 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-36_0_3_load_93 | 33 | 0.0011285 | 0.00028282 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-36_0_3_load_118 | 34 | 0.0016894 | 0.0004234 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-36_0_3_load_95 | 35 | 0.011126 | 0.0027885 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-36_0_3_load_96 | 36 | 0.0053031 | 0.0013291 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-36_0_3_load_119 | 37 | 0.0031217 | 0.00078236 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-36_0_3_load_100 | 38 | 0.015197 | 0.0038087 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-36_0_3_load_101 | 39 | 0.015199 | 0.0038091 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-36_0_3_load_102 | 40 | 0.015195 | 0.0038082 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-36_0_3_load_126 | 44 | 0.026717 | 0.0066958 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-36_0_3_load_125 | 45 | 0.010052 | 0.0025194 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-36_0_3_load_110 | 46 | 0.018071 | 0.0045289 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-36_0_3_load_124 | 48 | 0.012183 | 0.0030534 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-36_0_3_load_117 | 49 | 0.0032949 | 0.00082579 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-36_0_3_load_116 | 50 | 0.0032398 | 0.00081196 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-36_0_3_load_115 | 51 | 0.0036773 | 0.00092161 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-36_0_3_line_0 |  | 0 | 1 | 0.034383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-36_0_3_line_1 |  | 0 | 2 | 0.025392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-36_0_3_line_2 |  | 1 | 3 | 0.022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-36_0_3_line_3 |  | 1 | 4 | 0.058759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-36_0_3_line_4 |  | 2 | 5 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-36_0_3_line_5 |  | 3 | 6 | 0.0033252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-36_0_3_line_6 |  | 4 | 30 | 0.020303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-36_0_3_line_7 |  | 5 | 7 | 0.024892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-36_0_3_line_8 |  | 7 | 8 | 0.02465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-36_0_3_line_9 |  | 8 | 37 | 0.027984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-36_0_3_line_10 |  | 9 | 10 | 0.024658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-36_0_3_line_11 |  | 9 | 11 | 0.0089138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-36_0_3_line_12 |  | 10 | 19 | 0.0081444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-36_0_3_line_13 |  | 11 | 12 | 0.052622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-36_0_3_line_14 |  | 12 | 50 | 0.017685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-36_0_3_line_15 |  | 12 | 49 | 0.019062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-36_0_3_line_16 |  | 12 | 51 | 0.031196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-36_0_3_line_17 |  | 13 | 14 | 0.008963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-36_0_3_line_18 |  | 13 | 15 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-36_0_3_line_19 |  | 14 | 16 | 0.0093445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-36_0_3_line_20 |  | 16 | 17 | 0.0052536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-36_0_3_line_21 |  | 17 | 18 | 0.028111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-36_0_3_line_22 |  | 18 | 49 | 0.019194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-36_0_3_line_23 |  | 18 | 47 | 0.020225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-36_0_3_line_24 |  | 20 | 21 | 0.028918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-36_0_3_line_25 |  | 21 | 22 | 0.004868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-36_0_3_line_26 |  | 21 | 23 | 0.023651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-36_0_3_line_27 |  | 22 | 24 | 0.009089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-36_0_3_line_28 |  | 22 | 25 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-36_0_3_line_29 |  | 23 | 26 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-36_0_3_line_30 |  | 24 | 27 | 0.0048553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-36_0_3_line_31 |  | 25 | 28 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-36_0_3_line_32 |  | 26 | 29 | 0.02675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-36_0_3_line_33 |  | 28 | 47 | 0.040549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-36_0_3_line_34 |  | 29 | 35 | 0.01417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-36_0_3_line_35 |  | 30 | 31 | 0.0009308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-36_0_3_line_36 |  | 31 | 32 | 6.7182e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-36_0_3_line_37 |  | 32 | 33 | 6.3137e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-36_0_3_line_38 |  | 33 | 34 | 0.0074245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-36_0_3_line_39 |  | 34 | 50 | 0.013106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-36_0_3_line_40 |  | 35 | 36 | 0.01454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-36_0_3_line_41 |  | 38 | 39 | 0.025403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-36_0_3_line_42 |  | 39 | 40 | 0.017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-36_0_3_line_43 |  | 40 | 41 | 0.025738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-36_0_3_line_44 |  | 41 | 42 | 0.0038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-36_0_3_line_45 |  | 42 | 46 | 0.036767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-36_0_3_line_46 |  | 42 | 43 | 0.02049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-36_0_3_line_47 |  | 43 | 44 | 0.042686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-36_0_3_line_48 |  | 43 | 45 | 0.03928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-36_0_3_line_49 |  | 45 | 48 | 0.043938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1024-36_0_3_line_50 |  | 47 | 48 | 0.024526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-36_0_3_trafo_125 | 0.63 MVA 20/0.4 kV | 52 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2662990.6667 | 1215605.9721 | 2662999.2126 | 1215617.2282 | 2663005.6334 | 1215629.0367 | 2663007.2425 | 1215635.6533
1 | 2662990.6667 | 1215605.9721 | 2662975.3123 | 1215585.7481
2 | 2663007.2425 | 1215635.6533 | 2663007.802 | 1215637.954 | 2663006.1922 | 1215647.2872 | 2663004.1317 | 1215652.5687 | 2663001.509 | 1215656.6679
3 | 2663065.519 | 1215643.165 | 2663007.2425 | 1215635.6533
4 | 2662967.1541 | 1215576.8535 | 2662972.5956 | 1215582.1698 | 2662975.3123 | 1215585.7481
5 | 2662999.7169 | 1215659.4688 | 2663001.509 | 1215656.6679
6 | 2663080.2638 | 1215657.1228 | 2663065.519 | 1215643.165
7 | 2662967.1541 | 1215576.8535 | 2662955.1535 | 1215582.1412 | 2662945.455 | 1215575.4577
8 | 2662922.5986 | 1215568.0412 | 2662925.2076 | 1215568.8947 | 2662938.1462 | 1215570.4211 | 2662945.455 | 1215575.4577
9 | 2662895.8003 | 1215563.6481 | 2662901.5232 | 1215564.5867 | 2662910.7486 | 1215563.2165 | 2662914.4619 | 1215565.3792 | 2662922.5986 | 1215568.0412
10 | 2663180.8111 | 1215618.7281 | 2663157.0395 | 1215611.9277
11 | 2663157.0395 | 1215611.9277 | 2663149.0396 | 1215607.9961
12 | 2663180.8111 | 1215618.7281 | 2663188.641 | 1215620.9698
13 | 2663108.222 | 1215641.2068 | 2663149.0396 | 1215607.9961
14 | 2663108.222 | 1215641.2068 | 2663095.7032 | 1215653.699
15 | 2663108.222 | 1215641.2068 | 2663114.1892 | 1215647.0624 | 2663121.8737 | 1215654.5108
16 | 2663108.222 | 1215641.2068 | 2663092.6802 | 1215625.944 | 2663085.896 | 1215619.4193
17 | 2663099.9829 | 1215699.0299 | 2663104.9056 | 1215691.5398
18 | 2663099.9829 | 1215699.0299 | 2663096.621 | 1215704.1452 | 2663088.0046 | 1215712.8685
19 | 2663104.9056 | 1215691.5398 | 2663105.728 | 1215690.2886 | 2663111.2226 | 1215684.6861
20 | 2663111.2226 | 1215684.6861 | 2663114.9012 | 1215680.9354
21 | 2663135.6558 | 1215667.8692 | 2663117.915 | 1215683.8802 | 2663114.9012 | 1215680.9354 | 2663114.9012 | 1215680.9354
22 | 2663135.6558 | 1215667.8692 | 2663121.8737 | 1215654.5108
23 | 2663135.6558 | 1215667.8692 | 2663140.6767 | 1215672.7365 | 2663150.1998 | 1215681.9653
24 | 2663153.3685 | 1215736.9329 | 2663132.8743 | 1215757.3353
25 | 2663153.3685 | 1215736.9329 | 2663156.7618 | 1215733.4333
26 | 2663153.3685 | 1215736.9329 | 2663170.5544 | 1215753.1816
27 | 2663150.1152 | 1215727.2147 | 2663156.7618 | 1215733.4333
28 | 2663156.7618 | 1215733.4333 | 2663169.6943 | 1215720.1033
29 | 2663170.5544 | 1215753.1816 | 2663183.1138 | 1215765.0562
30 | 2663150.1152 | 1215727.2147 | 2663146.5748 | 1215723.892
31 | 2663179.2255 | 1215710.2792 | 2663169.6943 | 1215720.1033
32 | 2663201.0172 | 1215784.926 | 2663183.9443 | 1215765.8414 | 2663183.1138 | 1215765.0562
33 | 2663150.1998 | 1215681.9653 | 2663151.3198 | 1215683.0445 | 2663154.9427 | 1215686.5517 | 2663158.6181 | 1215690.115 | 2663163.2406 | 1215694.589 | 2663175.5355 | 1215706.6601 | 2663179.2255 | 1215710.2792
34 | 2663201.0172 | 1215784.926 | 2663208.0033 | 1215792.7352 | 2663210.4923 | 1215790.0084
35 | 2663080.2638 | 1215657.1228 | 2663080.9397 | 1215657.7627
36 | 2663080.9397 | 1215657.7627 | 2663080.9885 | 1215657.8089
37 | 2663080.9885 | 1215657.8089 | 2663081.0344 | 1215657.8523
38 | 2663086.4262 | 1215662.9563 | 2663081.0344 | 1215657.8523
39 | 2663095.7032 | 1215653.699 | 2663086.4262 | 1215662.9563 | 2663086.4262 | 1215662.9563
40 | 2663210.4923 | 1215790.0084 | 2663220.2946 | 1215779.2695
41 | 2663100.6399 | 1215834.3902 | 2663085.3104 | 1215828.6249 | 2663079.3873 | 1215822.2027 | 2663079.2809 | 1215821.9341
42 | 2663079.2809 | 1215821.9341 | 2663072.7977 | 1215805.5672 | 2663072.7977 | 1215805.5672
43 | 2663082.1105 | 1215781.573 | 2663072.7977 | 1215805.5672
44 | 2663083.4844 | 1215778.0298 | 2663082.1105 | 1215781.573
45 | 2663083.4844 | 1215778.0298 | 2663117.7361 | 1215791.3941
46 | 2663078.8957 | 1215761.0374 | 2663081.8374 | 1215762.1803 | 2663079.9498 | 1215769.0535 | 2663080.3543 | 1215774.6057 | 2663083.4844 | 1215778.0298
47 | 2663039.0281 | 1215745.484 | 2663078.8957 | 1215761.0374
48 | 2663078.8957 | 1215761.0374 | 2663081.3043 | 1215758.0277 | 2663095.4101 | 1215743.9237 | 2663106.0976 | 1215732.728
49 | 2663136.623 | 1215701.1261 | 2663114.6065 | 1215723.8144 | 2663106.0976 | 1215732.728
50 | 2663150.1998 | 1215681.9653 | 2663150.4224 | 1215686.0368 | 2663137.8762 | 1215699.8348 | 2663136.623 | 1215701.1261

## bus_geodata
| x | y | coords
0 | 2662990.6667 | 1215605.9721
1 | 2663007.2425 | 1215635.6533
2 | 2662975.3123 | 1215585.7481
3 | 2663001.509 | 1215656.6679
4 | 2663065.519 | 1215643.165
5 | 2662967.1541 | 1215576.8535
6 | 2662999.7169 | 1215659.4688
7 | 2662945.455 | 1215575.4577
8 | 2662922.5986 | 1215568.0412
9 | 2663157.0395 | 1215611.9277
10 | 2663180.8111 | 1215618.7281
11 | 2663149.0396 | 1215607.9961
12 | 2663108.222 | 1215641.2068
13 | 2663099.9829 | 1215699.0299
14 | 2663104.9056 | 1215691.5398
15 | 2663088.0046 | 1215712.8685
16 | 2663111.2226 | 1215684.6861
17 | 2663114.9012 | 1215680.9354
18 | 2663135.6558 | 1215667.8692
19 | 2663188.641 | 1215620.9698
20 | 2663132.8743 | 1215757.3353
21 | 2663153.3685 | 1215736.9329
22 | 2663156.7618 | 1215733.4333
23 | 2663170.5544 | 1215753.1816
24 | 2663150.1152 | 1215727.2147
25 | 2663169.6943 | 1215720.1033
26 | 2663183.1138 | 1215765.0562
27 | 2663146.5748 | 1215723.892
28 | 2663179.2255 | 1215710.2792
29 | 2663201.0172 | 1215784.926
30 | 2663080.2638 | 1215657.1228
31 | 2663080.9397 | 1215657.7627
32 | 2663080.9885 | 1215657.8089
33 | 2663081.0344 | 1215657.8523
34 | 2663086.4262 | 1215662.9563
35 | 2663210.4923 | 1215790.0084
36 | 2663220.2946 | 1215779.2695
37 | 2662895.8003 | 1215563.6481
38 | 2663100.6399 | 1215834.3902
39 | 2663079.2809 | 1215821.9341
40 | 2663072.7977 | 1215805.5672
41 | 2663082.1105 | 1215781.573
42 | 2663083.4844 | 1215778.0298
43 | 2663078.8957 | 1215761.0374
44 | 2663039.0281 | 1215745.484
45 | 2663106.0976 | 1215732.728
46 | 2663117.7361 | 1215791.3941
47 | 2663150.1998 | 1215681.9653
48 | 2663136.623 | 1215701.1261
49 | 2663121.8737 | 1215654.5108
50 | 2663095.7032 | 1215653.699
51 | 2663085.896 | 1215619.4193
52 | 2663078.8957 | 1215761.0374

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98767 | -0.23742 | 0.0026298 | 0.00065909
1 | 0.98804 | -0.23015 | 0.0030715 | 0.0007698
2 | 0.98745 | -0.2416 | 0.0011642 | 0.00029178
3 | 0.98795 | -0.23197 | 0.0035272 | 0.00088399
4 | 0.98909 | -0.20973 | 0.003156 | 0.00079097
5 | 0.98736 | -0.24334 | 0 | 0
6 | 0.98794 | -0.23204 | 0.0010432 | 0.00026144
7 | 0.98718 | -0.24692 | 0.0018755 | 0.00047003
8 | 0.98704 | -0.24964 | 0.0030444 | 0.000763
9 | 0.98953 | -0.20122 | 0 | 0
10 | 0.98921 | -0.20749 | 0 | 0
11 | 0.98965 | -0.19895 | 0.0051224 | 0.0012838
12 | 0.99058 | -0.18079 | 0 | 0
13 | 0.99183 | -0.15668 | 0.0021291 | 0.00053359
14 | 0.9919 | -0.15536 | 0.001704 | 0.00042706
15 | 0.99173 | -0.15869 | 0.0061655 | 0.0015452
16 | 0.99199 | -0.1537 | 0.003463 | 0.0008679
17 | 0.99205 | -0.15245 | 0.0068629 | 0.00172
18 | 0.99257 | -0.14234 | 0 | 0
19 | 0.9891 | -0.20957 | 0.014291 | 0.0035815
20 | 0.99 | -0.19211 | 0.0076753 | 0.0019236
21 | 0.9902 | -0.18816 | 0 | 0
22 | 0.9904 | -0.18443 | 0 | 0
23 | 0.98943 | -0.2031 | 0.010518 | 0.0026361
24 | 0.99033 | -0.18567 | 0 | 0
25 | 0.99126 | -0.16766 | 0.0048383 | 0.0012126
26 | 0.98904 | -0.2108 | 0.0056426 | 0.0014142
27 | 0.9903 | -0.18633 | 0.0076655 | 0.0019212
28 | 0.99196 | -0.15415 | 0 | 0
29 | 0.98856 | -0.22002 | 0.0029162 | 0.00073087
30 | 0.98951 | -0.20154 | 0.00099272 | 0.0002488
31 | 0.98953 | -0.20115 | 0.0011285 | 0.00028282
32 | 0.98954 | -0.20112 | 0.0011285 | 0.00028282
33 | 0.98954 | -0.20109 | 0.0011285 | 0.00028282
34 | 0.98972 | -0.19752 | 0.0016894 | 0.0004234
35 | 0.98835 | -0.22418 | 0.011126 | 0.0027885
36 | 0.98828 | -0.22555 | 0.0053031 | 0.0013291
37 | 0.98696 | -0.2512 | 0.0031217 | 0.00078236
38 | 0.9935 | -0.12496 | 0.015197 | 0.0038087
39 | 0.99386 | -0.11814 | 0.015199 | 0.0038091
40 | 0.99434 | -0.1087 | 0.015195 | 0.0038082
41 | 0.99542 | -0.088039 | 0 | 0
42 | 0.99557 | -0.084992 | 0 | 0
43 | 0.99676 | -0.062081 | 0 | 0
44 | 0.99572 | -0.082108 | 0.026717 | 0.0066958
45 | 1 | 0 | -0.24032 | -0.060493
46 | 0.99497 | -0.096683 | 0.018071 | 0.0045289
47 | 0.99403 | -0.11423 | 0 | 0
48 | 0.99705 | -0.056279 | 0.012183 | 0.0030534
49 | 0.99155 | -0.16217 | 0.0032949 | 0.00082579
50 | 0.99007 | -0.19083 | 0.0032398 | 0.00081196
51 | 0.99048 | -0.18283 | 0.0036773 | 0.00092161
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01184 | -0.0029679 | 0.011845 | 0.0029701 | 4.1031e-06 | 2.1858e-06 | 0.017839 | 0.017839 | 0.017839 | 0.98767 | -0.23742 | 0.98804 | -0.23015 | 4.9008
1 | 0.0092106 | 0.0023088 | -0.0092088 | -0.002308 | 1.8337e-06 | 8.4865e-07 | 0.013877 | 0.013877 | 0.013877 | 0.98767 | -0.23742 | 0.98745 | -0.2416 | 3.8124
2 | 0.0045707 | 0.0011454 | -0.0045703 | -0.0011454 | 3.9757e-07 | -3.2084e-08 | 0.0068836 | 0.0068837 | 0.0068837 | 0.98804 | -0.23015 | 0.98795 | -0.23197 | 1.8911
3 | -0.019487 | -0.0048853 | 0.019506 | 0.0048967 | 1.8978e-05 | 1.1393e-05 | 0.029348 | 0.029348 | 0.029348 | 0.98804 | -0.23015 | 0.98909 | -0.20973 | 8.0627
4 | 0.0080446 | 0.0020162 | -0.0080439 | -0.0020159 | 6.6683e-07 | 2.72e-07 | 0.012123 | 0.012123 | 0.012123 | 0.98745 | -0.2416 | 0.98736 | -0.24334 | 3.3304
5 | 0.0010432 | 0.0002614 | -0.0010432 | -0.00026144 | 3.0781e-09 | -4.0608e-08 | 0.0015712 | 0.0015712 | 0.0015712 | 0.98795 | -0.23197 | 0.98794 | -0.23204 | 0.43164
6 | -0.022662 | -0.0056876 | 0.022671 | 0.005693 | 8.8512e-06 | 5.4041e-06 | 0.034096 | 0.034096 | 0.034096 | 0.98909 | -0.20973 | 0.98951 | -0.20154 | 9.367
7 | 0.0080439 | 0.0020159 | -0.0080425 | -0.0020154 | 1.3718e-06 | 5.5965e-07 | 0.012123 | 0.012123 | 0.012123 | 0.98736 | -0.24334 | 0.98718 | -0.24692 | 3.3304
8 | 0.0061671 | 0.0015453 | -0.0061663 | -0.0015451 | 7.9876e-07 | 1.9611e-07 | 0.0092958 | 0.0092959 | 0.0092959 | 0.98718 | -0.24692 | 0.98704 | -0.24964 | 2.5538
9 | 0.0031219 | 0.00078215 | -0.0031217 | -0.00078236 | 2.3244e-07 | -2.0889e-07 | 0.0047063 | 0.0047064 | 0.0047064 | 0.98704 | -0.24964 | 0.98696 | -0.2512 | 1.293
10 | 0.014296 | 0.0035848 | -0.014292 | -0.0035823 | 4.2738e-06 | 2.4186e-06 | 0.021499 | 0.021499 | 0.021499 | 0.98953 | -0.20122 | 0.98921 | -0.20749 | 5.9063
11 | -0.014296 | -0.0035848 | 0.014298 | 0.0035856 | 1.545e-06 | 8.7425e-07 | 0.021499 | 0.021499 | 0.021499 | 0.98953 | -0.20122 | 0.98965 | -0.19895 | 5.9062
12 | 0.014292 | 0.0035823 | -0.014291 | -0.0035815 | 1.4116e-06 | 7.989e-07 | 0.021499 | 0.021499 | 0.021499 | 0.98921 | -0.20749 | 0.9891 | -0.20957 | 5.9063
13 | -0.01942 | -0.0048694 | 0.019437 | 0.0048795 | 1.6826e-05 | 1.0092e-05 | 0.029201 | 0.0292 | 0.029201 | 0.98965 | -0.19895 | 0.99058 | -0.18079 | 8.0221
14 | 0.032007 | 0.0080441 | -0.031992 | -0.0080345 | 1.5336e-05 | 9.5878e-06 | 0.048088 | 0.048088 | 0.048088 | 0.99058 | -0.18079 | 0.99007 | -0.19083 | 13.2111
15 | -0.055122 | -0.013845 | 0.055171 | 0.013876 | 4.9023e-05 | 3.1129e-05 | 0.082813 | 0.082813 | 0.082813 | 0.99058 | -0.18079 | 0.99155 | -0.16217 | 22.7508
16 | 0.0036776 | 0.00092144 | -0.0036773 | -0.00092161 | 3.5702e-07 | -1.7306e-07 | 0.0055243 | 0.0055244 | 0.0055244 | 0.99058 | -0.18079 | 0.99048 | -0.18283 | 1.5177
17 | -0.0082951 | -0.0020789 | 0.0082956 | 0.0020792 | 5.2055e-07 | 2.1747e-07 | 0.012445 | 0.012445 | 0.012445 | 0.99183 | -0.15668 | 0.9919 | -0.15536 | 3.4189
18 | 0.006166 | 0.0015453 | -0.0061655 | -0.0015452 | 5.8991e-07 | 1.4033e-07 | 0.0092507 | 0.0092508 | 0.0092508 | 0.99183 | -0.15668 | 0.99173 | -0.15869 | 2.5414
19 | -0.0099996 | -0.0025062 | 0.01 | 0.0025066 | 7.8855e-07 | 3.8405e-07 | 0.015001 | 0.015001 | 0.015001 | 0.9919 | -0.15536 | 0.99199 | -0.1537 | 4.1212
20 | -0.013463 | -0.0033745 | 0.013464 | 0.0033749 | 8.0353e-07 | 4.4643e-07 | 0.020196 | 0.020196 | 0.020196 | 0.99199 | -0.1537 | 0.99205 | -0.15245 | 5.5482
21 | -0.020327 | -0.0050949 | 0.020337 | 0.0051009 | 9.7996e-06 | 5.9086e-06 | 0.03049 | 0.030489 | 0.03049 | 0.99205 | -0.15245 | 0.99257 | -0.14234 | 8.3762
22 | 0.058521 | 0.014737 | -0.058466 | -0.014702 | 5.5431e-05 | 3.5228e-05 | 0.087757 | 0.087757 | 0.087757 | 0.99257 | -0.14234 | 0.99155 | -0.16217 | 24.1092
23 | -0.078858 | -0.019838 | 0.078964 | 0.019906 | 0.00010605 | 6.7608e-05 | 0.11825 | 0.11825 | 0.11825 | 0.99257 | -0.14234 | 0.99403 | -0.11423 | 32.4854
24 | -0.0076753 | -0.0019236 | 0.0076768 | 0.0019242 | 1.4432e-06 | 5.5176e-07 | 0.011536 | 0.011536 | 0.011536 | 0.99 | -0.19211 | 0.9902 | -0.18816 | 3.1693
25 | -0.04323 | -0.010852 | 0.043238 | 0.010856 | 7.7055e-06 | 4.8689e-06 | 0.064969 | 0.064969 | 0.064969 | 0.9902 | -0.18816 | 0.9904 | -0.18443 | 17.8487
26 | 0.035553 | 0.0089274 | -0.035528 | -0.0089115 | 2.5322e-05 | 1.5902e-05 | 0.053433 | 0.053433 | 0.053433 | 0.9902 | -0.18816 | 0.98943 | -0.2031 | 14.6795
27 | 0.0076662 | 0.0019214 | -0.0076657 | -0.0019212 | 4.5218e-07 | 1.7244e-07 | 0.011518 | 0.011518 | 0.011518 | 0.9904 | -0.18443 | 0.99033 | -0.18567 | 3.1643
28 | -0.050904 | -0.012778 | 0.050945 | 0.012804 | 4.0746e-05 | 2.5838e-05 | 0.076487 | 0.076487 | 0.076487 | 0.9904 | -0.18443 | 0.99126 | -0.16766 | 21.013
29 | 0.02501 | 0.0062753 | -0.025 | -0.0062697 | 9.1705e-06 | 5.6472e-06 | 0.037615 | 0.037615 | 0.037615 | 0.98943 | -0.2031 | 0.98904 | -0.2108 | 10.3337
30 | 0.0076657 | 0.0019212 | -0.0076655 | -0.0019212 | 2.4155e-07 | 9.2123e-08 | 0.011518 | 0.011518 | 0.011518 | 0.99033 | -0.18567 | 0.9903 | -0.18633 | 3.1643
31 | -0.055783 | -0.014016 | 0.055819 | 0.014039 | 3.6003e-05 | 2.2865e-05 | 0.08375 | 0.08375 | 0.08375 | 0.99126 | -0.16766 | 0.99196 | -0.15415 | 23.0083
32 | 0.019358 | 0.0048555 | -0.019349 | -0.0048504 | 8.5093e-06 | 5.1028e-06 | 0.029125 | 0.029125 | 0.029125 | 0.98904 | -0.2108 | 0.98856 | -0.22002 | 8.0015
33 | -0.055819 | -0.014039 | 0.055926 | 0.014107 | 0.00010665 | 6.7734e-05 | 0.08375 | 0.08375 | 0.08375 | 0.99196 | -0.15415 | 0.99403 | -0.11423 | 23.0083
34 | 0.016433 | 0.0041195 | -0.01643 | -0.0041176 | 3.2513e-06 | 1.8992e-06 | 0.024736 | 0.024736 | 0.024736 | 0.98856 | -0.22002 | 0.98835 | -0.22418 | 6.7956
35 | -0.023663 | -0.0059418 | 0.023664 | 0.0059421 | 4.4209e-07 | 2.7098e-07 | 0.035589 | 0.035589 | 0.035589 | 0.98951 | -0.20154 | 0.98953 | -0.20115 | 9.7771
36 | -0.024792 | -0.0062249 | 0.024792 | 0.0062249 | 3.5023e-08 | 2.1551e-08 | 0.037285 | 0.037285 | 0.037285 | 0.98953 | -0.20115 | 0.98954 | -0.20112 | 10.2433
37 | -0.025921 | -0.0065078 | 0.025921 | 0.0065078 | 3.598e-08 | 2.2215e-08 | 0.038982 | 0.038982 | 0.038982 | 0.98954 | -0.20112 | 0.98954 | -0.20109 | 10.7095
38 | -0.027049 | -0.0067906 | 0.027054 | 0.0067935 | 4.6073e-06 | 2.8533e-06 | 0.040679 | 0.040679 | 0.040679 | 0.98954 | -0.20109 | 0.98972 | -0.19752 | 11.1756
39 | -0.028743 | -0.0072169 | 0.028752 | 0.0072226 | 9.1801e-06 | 5.7068e-06 | 0.043219 | 0.043219 | 0.043219 | 0.98972 | -0.19752 | 0.99007 | -0.19083 | 11.8734
40 | 0.0053034 | 0.0013291 | -0.0053031 | -0.0013291 | 3.4762e-07 | 3.6153e-08 | 0.0079846 | 0.0079846 | 0.0079846 | 0.98835 | -0.22418 | 0.98828 | -0.22555 | 2.1936
41 | -0.015197 | -0.0038087 | 0.015202 | 0.0038115 | 4.9352e-06 | 2.8295e-06 | 0.022761 | 0.022761 | 0.022761 | 0.9935 | -0.12496 | 0.99386 | -0.11814 | 6.253
42 | -0.0304 | -0.0076207 | 0.030414 | 0.0076292 | 1.3677e-05 | 8.5249e-06 | 0.045517 | 0.045517 | 0.045517 | 0.99386 | -0.11814 | 0.99434 | -0.1087 | 12.5046
43 | -0.045609 | -0.011437 | 0.045654 | 0.011466 | 4.4966e-05 | 2.8444e-05 | 0.068256 | 0.068255 | 0.068256 | 0.99434 | -0.1087 | 0.99542 | -0.088039 | 18.7515
44 | -0.045654 | -0.011466 | 0.045661 | 0.01147 | 6.6388e-06 | 4.1994e-06 | 0.068255 | 0.068255 | 0.068255 | 0.99542 | -0.088039 | 0.99557 | -0.084992 | 18.7515
45 | 0.018081 | 0.0045349 | -0.018071 | -0.0045289 | 1.007e-05 | 5.9669e-06 | 0.027025 | 0.027025 | 0.027025 | 0.99557 | -0.084992 | 0.99497 | -0.096683 | 7.4245
46 | -0.063741 | -0.016005 | 0.063811 | 0.016049 | 6.9755e-05 | 4.4376e-05 | 0.095281 | 0.09528 | 0.095281 | 0.99557 | -0.084992 | 0.99676 | -0.062081 | 26.176
47 | 0.026742 | 0.0067116 | -0.026717 | -0.0066958 | 2.5516e-05 | 1.5774e-05 | 0.039925 | 0.039925 | 0.039925 | 0.99676 | -0.062081 | 0.99572 | -0.082108 | 10.9685
48 | -0.090553 | -0.022761 | 0.090823 | 0.022933 | 0.00026927 | 0.00017182 | 0.13521 | 0.13521 | 0.13521 | 0.99676 | -0.062081 | 1 | 0 | 37.1444
49 | 0.14785 | 0.03756 | -0.14745 | -0.037306 | 0.00039938 | 0.00025445 | 0.22018 | 0.22018 | 0.22018 | 1 | 0 | 0.99705 | -0.056279 | 30.2443
50 | -0.13489 | -0.034013 | 0.13527 | 0.034252 | 0.00037528 | 0.00023986 | 0.202 | 0.202 | 0.202 | 0.99403 | -0.11423 | 0.99705 | -0.056279 | 55.4936

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25037 | 0.063012

## res_load
| p_mw | q_mvar
0 | 0.0026298 | 0.00065909
1 | 0.0030715 | 0.0007698
2 | 0.0011642 | 0.00029178
3 | 0.0035272 | 0.00088399
4 | 0.003156 | 0.00079097
5 | 0.0010432 | 0.00026144
6 | 0.0018755 | 0.00047003
7 | 0.0030444 | 0.000763
8 | 0.0051224 | 0.0012838
9 | 0.0021291 | 0.00053359
10 | 0.001704 | 0.00042706
11 | 0.0061655 | 0.0015452
12 | 0.003463 | 0.0008679
13 | 0.0068629 | 0.00172
14 | 0.014291 | 0.0035815
15 | 0.0076753 | 0.0019236
16 | 0.010518 | 0.0026361
17 | 0.0048383 | 0.0012126
18 | 0.0056426 | 0.0014142
19 | 0.0076655 | 0.0019212
20 | 0.0029162 | 0.00073087
21 | 0.00099272 | 0.0002488
22 | 0.0011285 | 0.00028282
23 | 0.0011285 | 0.00028282
24 | 0.0011285 | 0.00028282
25 | 0.0016894 | 0.0004234
26 | 0.011126 | 0.0027885
27 | 0.0053031 | 0.0013291
28 | 0.0031217 | 0.00078236
29 | 0.015197 | 0.0038087
30 | 0.015199 | 0.0038091
31 | 0.015195 | 0.0038082
32 | 0.026717 | 0.0066958
33 | 0.010052 | 0.0025194
34 | 0.018071 | 0.0045289
35 | 0.012183 | 0.0030534
36 | 0.0032949 | 0.00082579
37 | 0.0032398 | 0.00081196
38 | 0.0036773 | 0.00092161

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1