## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-36_1_5_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_1024-36_1_5_node_99 | 0.4 | n |  | TRUE
2 | bus_LV_1024-36_1_5_node_38 | 0.4 | n |  | TRUE
3 | bus_LV_1024-36_1_5_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_1024-36_1_5_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1024-36_1_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1024-36_1_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1024-36_1_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1024-36_1_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1024-36_1_5_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1024-36_1_5_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1024-36_1_5_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_1024-36_1_5_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_1024-36_1_5_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1024-36_1_5_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_1024-36_1_5_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_1024-36_1_5_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_1024-36_1_5_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_1024-36_1_5_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_1024-36_1_5_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_1024-36_1_5_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_1024-36_1_5_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_1024-36_1_5_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1024-36_1_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1024-36_1_5_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_1024-36_1_5_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_1024-36_1_5_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1024-36_1_5_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_1024-36_1_5_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_1024-36_1_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1024-36_1_5_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_1024-36_1_5_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1024-36_1_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1024-36_1_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1024-36_1_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1024-36_1_5_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_1024-36_1_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_1024-36_1_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1024-36_1_5_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_1024-36_1_5_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_1024-36_1_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1024-36_1_5_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1024-36_1_5_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_1024-36_1_5_node_122 | 0.4 | n |  | TRUE
44 | bus_LV_1024-36_1_5_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_1024-36_1_5_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_1024-36_1_5_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_1024-36_1_5_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_1024-36_1_5_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1024-36_1_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1024-36_1_5_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1024-36_1_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1024-36_1_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1024-36_1_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1024-36_1_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1024-36_1_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1024-36_1_5_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_1024-36_1_5_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_1024-36_1_5_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_1024-36_1_5_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_1024-36_1_5_node_129 | 0.4 | n |  | TRUE
61 | bus_LV_1024-36_1_5_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_1024-36_1_5_node_106 | 0.4 | n |  | TRUE
63 | bus_LV_1024-36_1_5_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_1024-36_1_5_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_1024-36_1_5_node_127 | 0.4 | n |  | TRUE
66 | bus_LV_1024-36_1_5_node_128 | 0.4 | n |  | TRUE
67 | bus_MV_354_1_node_218 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-36_1_5_load_99 | 1 | 0.0053882 | 0.0013504 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-36_1_5_load_9 | 4 | 0.001823 | 0.00045688 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-36_1_5_load_10 | 5 | 0.0030768 | 0.00077113 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-36_1_5_load_11 | 6 | 0.0013516 | 0.00033874 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-36_1_5_load_12 | 7 | 0.0066758 | 0.0016731 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-36_1_5_load_13 | 8 | 0.0027374 | 0.00068605 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-36_1_5_load_15 | 10 | 0.0012954 | 0.00032466 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-36_1_5_load_19 | 13 | 0.0022939 | 0.00057491 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-36_1_5_load_74 | 16 | 0.012405 | 0.0031089 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-36_1_5_load_53 | 18 | 0.0041709 | 0.0010453 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-36_1_5_load_52 | 20 | 0.0090612 | 0.0022709 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-36_1_5_load_61 | 21 | 0.0048142 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-36_1_5_load_76 | 24 | 0.013543 | 0.0033942 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-36_1_5_load_60 | 25 | 0.0037176 | 0.00093172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-36_1_5_load_67 | 28 | 0.0045731 | 0.0011461 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-36_1_5_load_57 | 30 | 0.0042779 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-36_1_5_load_24 | 32 | 0.0014476 | 0.0003628 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-36_1_5_load_50 | 34 | 0.0022297 | 0.00055881 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-36_1_5_load_16 | 35 | 0.002767 | 0.00069348 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-36_1_5_load_17 | 36 | 0.0014132 | 0.00035419 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-36_1_5_load_21 | 37 | 0.0047029 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-36_1_5_load_54 | 38 | 0.0045583 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-36_1_5_load_59 | 39 | 0.0012359 | 0.00030975 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-36_1_5_load_44 | 40 | 0.0042951 | 0.0010765 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-36_1_5_load_40 | 41 | 0.0024861 | 0.00062307 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-36_1_5_load_55 | 42 | 0.0026185 | 0.00065626 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-36_1_5_load_122 | 43 | 0.0021678 | 0.00054329 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-36_1_5_load_121 | 44 | 0.0021715 | 0.00054424 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-36_1_5_load_66 | 45 | 0.0039097 | 0.00097987 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-36_1_5_load_77 | 46 | 0.00756 | 0.0018947 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-36_1_5_load_78 | 47 | 0.013905 | 0.003485 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-36_1_5_load_48 | 48 | 0.0044764 | 0.0011219 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-36_1_5_load_39 | 49 | 0.03181 | 0.0079722 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-36_1_5_load_45 | 52 | 0.060691 | 0.015211 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-36_1_5_load_49 | 55 | 0.021132 | 0.0052961 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-36_1_5_load_58 | 56 | 0.0021949 | 0.00055009 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-36_1_5_load_62 | 57 | 0.0044516 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-36_1_5_load_63 | 58 | 0.0047138 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-36_1_5_load_64 | 59 | 0.0044799 | 0.0011228 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1024-36_1_5_load_129 | 60 | 0.0021662 | 0.0005429 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1024-36_1_5_load_109 | 61 | 0.020697 | 0.005187 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1024-36_1_5_load_106 | 62 | 0.0019378 | 0.00048567 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1024-36_1_5_load_108 | 64 | 0.0020249 | 0.00050749 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1024-36_1_5_load_127 | 65 | 0.0020849 | 0.00052252 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1024-36_1_5_load_128 | 66 | 0.0021541 | 0.00053987 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-36_1_5_line_0 |  | 0 | 1 | 0.043549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-36_1_5_line_1 |  | 0 | 2 | 0.028725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-36_1_5_line_2 |  | 2 | 3 | 0.21421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-36_1_5_line_3 |  | 3 | 30 | 0.018515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-36_1_5_line_4 |  | 3 | 31 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-36_1_5_line_5 |  | 3 | 29 | 0.060562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1024-36_1_5_line_6 |  | 4 | 5 | 0.033295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-36_1_5_line_7 |  | 4 | 6 | 0.0047181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-36_1_5_line_8 |  | 5 | 7 | 0.00088278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-36_1_5_line_9 |  | 6 | 8 | 0.029968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-36_1_5_line_10 |  | 7 | 9 | 0.013751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-36_1_5_line_11 |  | 8 | 10 | 0.020947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-36_1_5_line_12 |  | 9 | 11 | 0.00535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-36_1_5_line_13 |  | 9 | 12 | 0.034756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-36_1_5_line_14 |  | 11 | 13 | 0.018635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-36_1_5_line_15 |  | 12 | 34 | 0.036292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-36_1_5_line_16 |  | 12 | 22 | 0.010821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-36_1_5_line_17 |  | 13 | 36 | 0.012504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-36_1_5_line_18 |  | 14 | 15 | 0.025207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-36_1_5_line_19 |  | 14 | 16 | 0.010958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-36_1_5_line_20 |  | 15 | 46 | 0.0095982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-36_1_5_line_21 |  | 15 | 47 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-36_1_5_line_22 |  | 16 | 23 | 0.011004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-36_1_5_line_23 |  | 17 | 18 | 0.011193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-36_1_5_line_24 |  | 17 | 19 | 0.045797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-36_1_5_line_25 |  | 17 | 20 | 0.023533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-36_1_5_line_26 |  | 19 | 21 | 0.0085415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-36_1_5_line_27 |  | 19 | 22 | 0.0214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-36_1_5_line_28 |  | 22 | 25 | 0.036498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-36_1_5_line_29 |  | 23 | 24 | 0.034235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-36_1_5_line_30 |  | 26 | 27 | 0.039542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-36_1_5_line_31 |  | 26 | 28 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-36_1_5_line_32 |  | 26 | 29 | 0.035157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-36_1_5_line_33 |  | 27 | 43 | 0.01105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-36_1_5_line_34 |  | 27 | 44 | 0.0082492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-36_1_5_line_35 |  | 28 | 45 | 0.021893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-36_1_5_line_36 |  | 29 | 32 | 0.066403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-36_1_5_line_37 |  | 29 | 33 | 0.008116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-36_1_5_line_38 |  | 30 | 39 | 0.034603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-36_1_5_line_39 |  | 31 | 40 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-36_1_5_line_40 |  | 31 | 41 | 0.027989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-36_1_5_line_41 |  | 32 | 38 | 0.013359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-36_1_5_line_42 |  | 33 | 37 | 0.040867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-36_1_5_line_43 |  | 33 | 35 | 0.01765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-36_1_5_line_44 |  | 34 | 48 | 0.027069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-36_1_5_line_45 |  | 35 | 36 | 0.014861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-36_1_5_line_46 |  | 38 | 42 | 0.026423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-36_1_5_line_47 |  | 39 | 56 | 0.048354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-36_1_5_line_48 |  | 40 | 53 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-36_1_5_line_49 |  | 43 | 60 | 0.0051251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-36_1_5_line_50 |  | 44 | 61 | 0.03168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1024-36_1_5_line_51 |  | 45 | 59 | 0.018583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-36_1_5_line_52 |  | 46 | 61 | 0.03148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-36_1_5_line_53 |  | 49 | 50 | 0.038893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-36_1_5_line_54 |  | 50 | 51 | 0.075417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1024-36_1_5_line_55 |  | 51 | 52 | 0.015422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1024-36_1_5_line_56 |  | 52 | 53 | 0.11307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1024-36_1_5_line_57 |  | 53 | 54 | 0.272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1024-36_1_5_line_58 |  | 54 | 55 | 0.06494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1024-36_1_5_line_59 |  | 57 | 58 | 0.020881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1024-36_1_5_line_60 |  | 57 | 59 | 0.030959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1024-36_1_5_line_61 |  | 60 | 66 | 0.0051094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1024-36_1_5_line_62 |  | 62 | 63 | 0.015845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1024-36_1_5_line_63 |  | 63 | 64 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1024-36_1_5_line_64 |  | 64 | 65 | 0.0093749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1024-36_1_5_line_65 |  | 65 | 66 | 0.0052249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-36_1_5_trafo_23 | 0.63 MVA 20/0.4 kV | 67 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2662953.6382 | 1215528.6254 | 2662983.4107 | 1215554.6893 | 2662986.3043 | 1215557.5216
1 | 2662986.3043 | 1215557.5216 | 2663001.1329 | 1215548.3503 | 2663007.6924 | 1215547.041 | 2663012.2332 | 1215547.7783
2 | 2663012.2332 | 1215547.7783 | 2663015.4711 | 1215543.1875 | 2663017.8023 | 1215546.0583 | 2663038.124 | 1215566.0522 | 2663050.7268 | 1215552.6549 | 2663066.0453 | 1215567.5149 | 2663070.9824 | 1215570.9915 | 2663140.187 | 1215496.0441 | 2663142.6723 | 1215492.9685 | 2663154.3526 | 1215480.6735 | 2663156.5418 | 1215473.3032
3 | 2663156.5418 | 1215473.3032 | 2663161.9959 | 1215465.9675 | 2663163.6826 | 1215463.7284 | 2663167.5416 | 1215460.0226 | 2663168.4213 | 1215459.1767
4 | 2663142.3742 | 1215468.7837 | 2663147.4209 | 1215471.2275 | 2663150.7943 | 1215472.4974 | 2663156.5418 | 1215473.3032
5 | 2663156.5418 | 1215473.3032 | 2663166.8302 | 1215474.1238 | 2663201.5821 | 1215467.3878 | 2663216.4851 | 1215465.5669
6 | 2663283.2075 | 1215424.4407 | 2663285.5768 | 1215457.6517
7 | 2663282.8717 | 1215419.7345 | 2663283.2075 | 1215424.4407
8 | 2663285.5768 | 1215457.6517 | 2663285.6396 | 1215458.5322
9 | 2663282.8717 | 1215419.7345 | 2663280.7391 | 1215389.8426
10 | 2663286.6182 | 1215472.2482 | 2663285.6396 | 1215458.5322
11 | 2663279.2485 | 1215368.9483 | 2663280.7391 | 1215389.8426
12 | 2663286.6182 | 1215472.2482 | 2663281.2601 | 1215471.9578
13 | 2663286.6182 | 1215472.2482 | 2663299.8821 | 1215472.4669 | 2663305.1663 | 1215471.8448 | 2663306.9454 | 1215471.6413 | 2663310.2594 | 1215470.6314 | 2663313.139 | 1215468.3384 | 2663315.1964 | 1215465.5251 | 2663316.5095 | 1215462.0147
14 | 2663281.2601 | 1215471.9578 | 2663279.7043 | 1215471.8746 | 2663262.8985 | 1215468.8442
15 | 2663316.5095 | 1215462.0147 | 2663317.1522 | 1215457.9857 | 2663316.9761 | 1215453.1141 | 2663315.3189 | 1215439.6993 | 2663313.8612 | 1215425.9554
16 | 2663316.5095 | 1215462.0147 | 2663317.4101 | 1215462.3022 | 2663321.0805 | 1215463.4752 | 2663322.1325 | 1215463.8088 | 2663323.2137 | 1215463.5424 | 2663326.3201 | 1215462.7749 | 2663326.9064 | 1215462.6254
17 | 2663250.5932 | 1215466.6254 | 2663262.8985 | 1215468.8442
18 | 2663293.7474 | 1215522.4216 | 2663275.4918 | 1215522.4612 | 2663268.7703 | 1215520.422
19 | 2663293.7474 | 1215522.4216 | 2663295.4207 | 1215533.2512
20 | 2663268.7703 | 1215520.422 | 2663263.0296 | 1215512.7298
21 | 2663268.7703 | 1215520.422 | 2663258.7314 | 1215528.2981 | 2663256.2586 | 1215538.7725
22 | 2663297.1011 | 1215544.1262 | 2663295.4207 | 1215533.2512
23 | 2663376.5321 | 1215481.8423 | 2663380.7486 | 1215483.0879 | 2663387.3923 | 1215481.6574
24 | 2663341.9983 | 1215474.4708 | 2663342.245 | 1215475.5519 | 2663343.1953 | 1215479.7424 | 2663343.3476 | 1215480.4111 | 2663357.8962 | 1215476.2186 | 2663368.8467 | 1215471.8989 | 2663371.1446 | 1215475.7479 | 2663373.4873 | 1215479.6753 | 2663376.5321 | 1215481.8423
25 | 2663376.5321 | 1215481.8423 | 2663371.6728 | 1215491.7746 | 2663359.7036 | 1215495.2933
26 | 2663341.9983 | 1215474.4708 | 2663349.4516 | 1215473.3938 | 2663350.4317 | 1215473.1467
27 | 2663326.9064 | 1215462.6254 | 2663328.0454 | 1215466.918 | 2663329.6798 | 1215469.6148 | 2663332.6651 | 1215472.3815 | 2663336.2995 | 1215474.0879 | 2663339.4677 | 1215474.6552 | 2663341.9983 | 1215474.4708
28 | 2663326.9064 | 1215462.6254 | 2663324.9452 | 1215447.8065 | 2663322.7801 | 1215432.1628 | 2663322.2369 | 1215426.4314
29 | 2663297.1011 | 1215544.1262 | 2663300.0431 | 1215563.1247 | 2663300.5455 | 1215572.3024 | 2663296.4767 | 1215576.4618
30 | 2663204.7813 | 1215498.6855 | 2663199.9506 | 1215510.2415 | 2663199.7003 | 1215524.5366 | 2663200.8851 | 1215533.8327 | 2663204.1022 | 1215534.7896
31 | 2663204.7813 | 1215498.6855 | 2663196.6359 | 1215508.4608 | 2663187.232 | 1215514.0393
32 | 2663204.7813 | 1215498.6855 | 2663210.4956 | 1215484.7152 | 2663214.7323 | 1215471.1629 | 2663216.4851 | 1215465.5669
33 | 2663204.1022 | 1215534.7896 | 2663204.8227 | 1215537.7435 | 2663209.9613 | 1215543.8878
34 | 2663204.1022 | 1215534.7896 | 2663210.9192 | 1215530.1443
35 | 2663168.699 | 1215525.6903 | 2663183.1024 | 1215516.4891 | 2663187.232 | 1215514.0393
36 | 2663216.4851 | 1215465.5669 | 2663213.8665 | 1215447.5502 | 2663213.9412 | 1215428.3391 | 2663221.1854 | 1215400.2736
37 | 2663216.4851 | 1215465.5669 | 2663219.844 | 1215458.1757
38 | 2663168.4213 | 1215459.1767 | 2663171.2931 | 1215456.4156 | 2663177.2509 | 1215447.4176 | 2663187.1331 | 1215430.2278
39 | 2663142.3742 | 1215468.7837 | 2663132.6262 | 1215461.7709
40 | 2663142.3742 | 1215468.7837 | 2663128.1953 | 1215478.9621 | 2663119.1228 | 1215484.3166
41 | 2663221.1854 | 1215400.2736 | 2663224.1412 | 1215388.8227 | 2663224.3662 | 1215387.3067
42 | 2663219.844 | 1215458.1757 | 2663228.6538 | 1215438.7459 | 2663234.5074 | 1215420.1099
43 | 2663219.844 | 1215458.1757 | 2663221.2726 | 1215459.5139 | 2663222.9189 | 1215461.0878 | 2663225.596 | 1215462.1391 | 2663231.7219 | 1215463.0602 | 2663235.9899 | 1215463.8683
44 | 2663311.5475 | 1215398.9891 | 2663312.7926 | 1215415.88 | 2663313.8612 | 1215425.9554
45 | 2663250.5932 | 1215466.6254 | 2663249.6981 | 1215466.464 | 2663235.9899 | 1215463.8683
46 | 2663228.2468 | 1215361.1699 | 2663224.3662 | 1215387.3067
47 | 2663199.9918 | 1215384.6062 | 2663199.2888 | 1215397.2089 | 2663198.0983 | 1215408.5033 | 2663193.5206 | 1215419.1169 | 2663187.1331 | 1215430.2278
48 | 2663123.799 | 1215453.0996 | 2663131.9591 | 1215461.291 | 2663132.6262 | 1215461.7709
49 | 2663209.9613 | 1215543.8878 | 2663213.2493 | 1215547.8193
50 | 2663237.2382 | 1215512.5633 | 2663235.9448 | 1215513.0915 | 2663210.9192 | 1215530.1443
51 | 2663168.699 | 1215525.6903 | 2663163.6371 | 1215528.9239 | 2663155.5551 | 1215538.5592
52 | 2663237.2382 | 1215512.5633 | 2663256.9106 | 1215504.5308 | 2663263.0296 | 1215512.7298
53 | 2662970.8453 | 1215473.2839 | 2662998.9264 | 1215500.194
54 | 2662970.8453 | 1215473.2839 | 2663015.8637 | 1215427.0531 | 2663020.457 | 1215417.0843
55 | 2663020.457 | 1215417.0843 | 2663029.4631 | 1215419.2475 | 2663033.8816 | 1215423.5397
56 | 2663123.799 | 1215453.0996 | 2663115.7954 | 1215455.95 | 2663096.1382 | 1215470.0173 | 2663078.2536 | 1215467.282 | 2663048.2545 | 1215437.5019 | 2663033.8816 | 1215423.5397
57 | 2663099.3498 | 1215281.4235 | 2663083.8042 | 1215263.5591 | 2663040.1636 | 1215306.4464 | 2663027.3164 | 1215321.3643 | 2663073.098 | 1215373.9475 | 2663106.668 | 1215414.3276 | 2663125.4376 | 1215438.9193 | 2663123.799 | 1215453.0996
58 | 2663099.3498 | 1215281.4235 | 2663141.9874 | 1215330.4051
59 | 2663138.2847 | 1215564.1686 | 2663129.5144 | 1215583.1184
60 | 2663138.2847 | 1215564.1686 | 2663139.1665 | 1215562.2632 | 2663150.955 | 1215544.0434 | 2663155.5551 | 1215538.5592
61 | 2663213.2493 | 1215547.8193 | 2663216.5272 | 1215551.7386
62 | 2663230.2386 | 1215576.3924 | 2663243.0185 | 1215567.0257
63 | 2663230.2386 | 1215576.3924 | 2663226.4523 | 1215568.9588 | 2663225.8935 | 1215562.938
64 | 2663225.8935 | 1215562.938 | 2663225.8935 | 1215562.938 | 2663219.8791 | 1215555.7466
65 | 2663219.8791 | 1215555.7466 | 2663216.5272 | 1215551.7386

## bus_geodata
| x | y | coords
0 | 2662986.3044 | 1215557.5216
1 | 2662953.6382 | 1215528.6254
2 | 2663012.2332 | 1215547.7783
3 | 2663156.5418 | 1215473.3032
4 | 2663283.2075 | 1215424.4407
5 | 2663285.5768 | 1215457.6517
6 | 2663282.8717 | 1215419.7345
7 | 2663285.6396 | 1215458.5322
8 | 2663280.7391 | 1215389.8426
9 | 2663286.6182 | 1215472.2482
10 | 2663279.2485 | 1215368.9483
11 | 2663281.2601 | 1215471.9578
12 | 2663316.5095 | 1215462.0147
13 | 2663262.8985 | 1215468.8442
14 | 2663293.7474 | 1215522.4216
15 | 2663268.7703 | 1215520.422
16 | 2663295.4207 | 1215533.2512
17 | 2663376.5321 | 1215481.8423
18 | 2663387.3923 | 1215481.6574
19 | 2663341.9983 | 1215474.4708
20 | 2663359.7036 | 1215495.2933
21 | 2663350.4317 | 1215473.1467
22 | 2663326.9064 | 1215462.6254
23 | 2663297.1011 | 1215544.1262
24 | 2663296.4767 | 1215576.4618
25 | 2663322.2369 | 1215426.4314
26 | 2663204.7813 | 1215498.6855
27 | 2663204.1022 | 1215534.7896
28 | 2663187.232 | 1215514.0393
29 | 2663216.4851 | 1215465.5669
30 | 2663168.4213 | 1215459.1767
31 | 2663142.3742 | 1215468.7837
32 | 2663221.1854 | 1215400.2736
33 | 2663219.844 | 1215458.1757
34 | 2663313.8612 | 1215425.9554
35 | 2663235.9899 | 1215463.8683
36 | 2663250.5932 | 1215466.6254
37 | 2663234.5074 | 1215420.1099
38 | 2663224.3662 | 1215387.3067
39 | 2663187.1331 | 1215430.2278
40 | 2663132.6262 | 1215461.7709
41 | 2663119.1228 | 1215484.3166
42 | 2663228.2468 | 1215361.1699
43 | 2663209.9613 | 1215543.8878
44 | 2663210.9192 | 1215530.1443
45 | 2663168.699 | 1215525.6903
46 | 2663263.0296 | 1215512.7298
47 | 2663256.2586 | 1215538.7724
48 | 2663311.5475 | 1215398.9891
49 | 2662998.9264 | 1215500.194
50 | 2662970.8453 | 1215473.2839
51 | 2663020.457 | 1215417.0843
52 | 2663033.8816 | 1215423.5397
53 | 2663123.799 | 1215453.0996
54 | 2663099.3498 | 1215281.4235
55 | 2663141.9874 | 1215330.4051
56 | 2663199.9918 | 1215384.6062
57 | 2663138.2847 | 1215564.1686
58 | 2663129.5144 | 1215583.1184
59 | 2663155.5551 | 1215538.5592
60 | 2663213.2493 | 1215547.8193
61 | 2663237.2382 | 1215512.5633
62 | 2663243.0185 | 1215567.0257
63 | 2663230.2386 | 1215576.3924
64 | 2663225.8935 | 1215562.938
65 | 2663219.8791 | 1215555.7466
66 | 2663216.5272 | 1215551.7386
67 | 2663154.3526 | 1215480.6735

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99881 | -0.022865 | 0 | 0
1 | 0.9986 | -0.026966 | 0.0053882 | 0.0013504
2 | 0.99895 | -0.020161 | 0 | 0
3 | 1 | 0 | -0.30869 | -0.07823
4 | 0.99136 | -0.16579 | 0.001823 | 0.00045688
5 | 0.99158 | -0.16153 | 0.0030768 | 0.00077113
6 | 0.99133 | -0.16624 | 0.0013516 | 0.00033874
7 | 0.99159 | -0.16137 | 0.0066758 | 0.0016731
8 | 0.99122 | -0.16838 | 0.0027374 | 0.00068605
9 | 0.9918 | -0.15724 | 0 | 0
10 | 0.9912 | -0.16886 | 0.0012954 | 0.00032466
11 | 0.99202 | -0.15293 | 0 | 0
12 | 0.99089 | -0.17479 | 0 | 0
13 | 0.9928 | -0.13794 | 0.0022939 | 0.00057491
14 | 0.98401 | -0.30795 | 0 | 0
15 | 0.98461 | -0.29619 | 0 | 0
16 | 0.98375 | -0.31307 | 0.012405 | 0.0031089
17 | 0.98977 | -0.19661 | 0 | 0
18 | 0.98973 | -0.19744 | 0.0041709 | 0.0010453
19 | 0.99032 | -0.18584 | 0 | 0
20 | 0.98957 | -0.20041 | 0.0090612 | 0.0022709
21 | 0.99029 | -0.18657 | 0.0048142 | 0.0012066
22 | 0.99068 | -0.17897 | 0 | 0
23 | 0.98361 | -0.31576 | 0 | 0
24 | 0.98318 | -0.32412 | 0.013543 | 0.0033942
25 | 0.99055 | -0.18138 | 0.0037176 | 0.00093172
26 | 0.99188 | -0.15541 | 0 | 0
27 | 0.98886 | -0.21361 | 0 | 0
28 | 0.9914 | -0.16469 | 0.0045731 | 0.0011461
29 | 0.99527 | -0.090262 | 0 | 0
30 | 0.99987 | -0.0024889 | 0.0042779 | 0.0010721
31 | 0.99834 | -0.031488 | 0 | 0
32 | 0.99475 | -0.10035 | 0.0014476 | 0.0003628
33 | 0.99485 | -0.098351 | 0 | 0
34 | 0.99067 | -0.17911 | 0.0022297 | 0.00055881
35 | 0.99401 | -0.1145 | 0.002767 | 0.00069348
36 | 0.99334 | -0.1274 | 0.0014132 | 0.00035419
37 | 0.99467 | -0.10174 | 0.0047029 | 0.0011787
38 | 0.99466 | -0.10204 | 0.0045583 | 0.0011424
39 | 0.99976 | -0.0045602 | 0.0012359 | 0.00030975
40 | 0.99704 | -0.056289 | 0.0042951 | 0.0010765
41 | 0.99828 | -0.032706 | 0.0024861 | 0.00062307
42 | 0.9946 | -0.10325 | 0.0026185 | 0.00065626
43 | 0.98873 | -0.21608 | 0.0021678 | 0.00054329
44 | 0.98833 | -0.22395 | 0.0021715 | 0.00054424
45 | 0.99105 | -0.17151 | 0.0039097 | 0.00097987
46 | 0.98497 | -0.28931 | 0.00756 | 0.0018947
47 | 0.98431 | -0.30207 | 0.013905 | 0.003485
48 | 0.99056 | -0.18127 | 0.0044764 | 0.0011219
49 | 0.9823 | -0.34092 | 0.03181 | 0.0079722
50 | 0.98344 | -0.3186 | 0 | 0
51 | 0.98565 | -0.27546 | 0 | 0
52 | 0.98611 | -0.26666 | 0.060691 | 0.015211
53 | 0.99574 | -0.080999 | 0 | 0
54 | 0.99047 | -0.18261 | 0 | 0
55 | 0.98921 | -0.20702 | 0.021132 | 0.0052961
56 | 0.99967 | -0.0064117 | 0.0021949 | 0.00055009
57 | 0.99055 | -0.18105 | 0.0044516 | 0.0011157
58 | 0.99046 | -0.1828 | 0.0047138 | 0.0011814
59 | 0.99081 | -0.17601 | 0.0044799 | 0.0011228
60 | 0.98869 | -0.21703 | 0.0021662 | 0.0005429
61 | 0.98634 | -0.26253 | 0.020697 | 0.005187
62 | 0.98853 | -0.22005 | 0.0019378 | 0.00048567
63 | 0.98856 | -0.2195 | 0 | 0
64 | 0.98858 | -0.219 | 0.0020249 | 0.00050749
65 | 0.98862 | -0.21834 | 0.0020849 | 0.00052252
66 | 0.98865 | -0.21778 | 0.0021541 | 0.00053987
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0053892 | 0.0013505 | -0.0053882 | -0.0013504 | 1.0527e-06 | 1.039e-07 | 0.0080288 | 0.008029 | 0.008029 | 0.99881 | -0.022865 | 0.9986 | -0.026966 | 2.2058
1 | -0.0053892 | -0.0013505 | 0.0053899 | 0.0013506 | 6.9435e-07 | 6.8378e-08 | 0.0080288 | 0.0080286 | 0.0080288 | 0.99881 | -0.022865 | 0.99895 | -0.020161 | 2.2057
2 | -0.0053899 | -0.0013506 | 0.0053951 | 0.0013511 | 5.1773e-06 | 5.0612e-07 | 0.0080286 | 0.0080277 | 0.0080286 | 0.99895 | -0.020161 | 1 | 0 | 2.2057
3 | 0.0077101 | 0.0019316 | -0.0077092 | -0.0019312 | 9.1384e-07 | 3.4199e-07 | 0.011472 | 0.011473 | 0.011473 | 1 | 0 | 0.99987 | -0.0024889 | 3.1518
4 | 0.12195 | 0.031152 | -0.12176 | -0.031033 | 0.00018535 | 0.00011843 | 0.18167 | 0.18167 | 0.18167 | 1 | 0 | 0.99834 | -0.031488 | 49.9087
5 | 0.17199 | 0.043795 | -0.17124 | -0.04332 | 0.00074515 | 0.00047532 | 0.25617 | 0.25617 | 0.25617 | 1 | 0 | 0.99527 | -0.090262 | 35.1877
6 | -0.0072079 | -0.001806 | 0.0072094 | 0.0018065 | 1.4614e-06 | 5.059e-07 | 0.010819 | 0.010819 | 0.010819 | 0.99136 | -0.16579 | 0.99158 | -0.16153 | 2.9722
7 | 0.0053849 | 0.0013491 | -0.0053848 | -0.0013491 | 1.1558e-07 | 1.3142e-08 | 0.0080825 | 0.0080826 | 0.0080826 | 0.99136 | -0.16579 | 0.99133 | -0.16624 | 2.2205
8 | -0.010286 | -0.0025776 | 0.010286 | 0.0025776 | 7.8876e-08 | 3.9094e-08 | 0.015436 | 0.015436 | 0.015436 | 0.99158 | -0.16153 | 0.99159 | -0.16137 | 4.2406
9 | 0.0040332 | 0.0010103 | -0.0040328 | -0.0010105 | 4.1186e-07 | -1.2274e-07 | 0.0060538 | 0.0060539 | 0.0060539 | 0.99133 | -0.16624 | 0.99122 | -0.16838 | 1.6632
10 | -0.016962 | -0.0042508 | 0.016965 | 0.0042527 | 3.3409e-06 | 1.9608e-06 | 0.025454 | 0.025454 | 0.025454 | 0.99159 | -0.16137 | 0.9918 | -0.15724 | 6.9928
11 | 0.0012954 | 0.00032441 | -0.0012954 | -0.00032466 | 2.9707e-08 | -2.5099e-07 | 0.0019446 | 0.0019447 | 0.0019447 | 0.99122 | -0.16838 | 0.9912 | -0.16886 | 0.53426
12 | -0.045481 | -0.011414 | 0.04549 | 0.011419 | 9.3427e-06 | 5.9103e-06 | 0.068241 | 0.068241 | 0.068241 | 0.9918 | -0.15724 | 0.99202 | -0.15293 | 18.7475
13 | 0.028515 | 0.0071609 | -0.028491 | -0.007146 | 2.3861e-05 | 1.4823e-05 | 0.042787 | 0.042787 | 0.042787 | 0.9918 | -0.15724 | 0.99089 | -0.17479 | 11.7547
14 | -0.04549 | -0.011419 | 0.045522 | 0.01144 | 3.2542e-05 | 2.0586e-05 | 0.068241 | 0.068241 | 0.068241 | 0.99202 | -0.15293 | 0.9928 | -0.13794 | 18.7474
15 | 0.0067079 | 0.0016811 | -0.0067065 | -0.0016806 | 1.381e-06 | 4.1643e-07 | 0.010073 | 0.010073 | 0.010073 | 0.99089 | -0.17479 | 0.99067 | -0.17911 | 2.7674
16 | 0.021783 | 0.005465 | -0.021779 | -0.0054623 | 4.3426e-06 | 2.6399e-06 | 0.032714 | 0.032714 | 0.032714 | 0.99089 | -0.17479 | 0.99068 | -0.17897 | 8.9873
17 | -0.047816 | -0.012015 | 0.04784 | 0.01203 | 2.4091e-05 | 1.5256e-05 | 0.071679 | 0.071679 | 0.071679 | 0.9928 | -0.13794 | 0.99334 | -0.1274 | 19.692
18 | -0.025961 | -0.006511 | 0.025976 | 0.00652 | 1.457e-05 | 9.0041e-06 | 0.03926 | 0.03926 | 0.03926 | 0.98401 | -0.30795 | 0.98461 | -0.29619 | 10.7857
19 | 0.025961 | 0.006511 | -0.025955 | -0.0065071 | 6.3338e-06 | 3.9145e-06 | 0.03926 | 0.03926 | 0.03926 | 0.98401 | -0.30795 | 0.98375 | -0.31307 | 10.7857
20 | -0.039885 | -0.010007 | 0.039898 | 0.010015 | 1.3079e-05 | 8.2485e-06 | 0.060281 | 0.060281 | 0.060281 | 0.98461 | -0.29619 | 0.98497 | -0.28931 | 16.5606
21 | 0.013909 | 0.0034872 | -0.013905 | -0.003485 | 3.8977e-06 | 2.1955e-06 | 0.021021 | 0.021021 | 0.021021 | 0.98461 | -0.29619 | 0.98431 | -0.30207 | 5.775
22 | 0.01355 | 0.0033982 | -0.013548 | -0.0033972 | 1.7336e-06 | 9.6982e-07 | 0.020497 | 0.020497 | 0.020497 | 0.98375 | -0.31307 | 0.98361 | -0.31576 | 5.631
23 | 0.0041711 | 0.0010453 | -0.0041709 | -0.0010453 | 1.6505e-07 | -3.8214e-08 | 0.0062707 | 0.0062708 | 0.0062708 | 0.98977 | -0.19661 | 0.98973 | -0.19744 | 1.7227
24 | -0.013234 | -0.003317 | 0.013241 | 0.0033207 | 6.7981e-06 | 3.7619e-06 | 0.019896 | 0.019896 | 0.019896 | 0.98977 | -0.19661 | 0.99032 | -0.18584 | 5.4659
25 | 0.0090628 | 0.0022717 | -0.0090612 | -0.0022709 | 1.6383e-06 | 7.4612e-07 | 0.013625 | 0.013625 | 0.013625 | 0.98977 | -0.19661 | 0.98957 | -0.20041 | 3.7432
26 | 0.0048144 | 0.0012066 | -0.0048142 | -0.0012066 | 1.6761e-07 | -2.6222e-09 | 0.0072339 | 0.0072339 | 0.0072339 | 0.99032 | -0.18584 | 0.99029 | -0.18657 | 1.9873
27 | -0.018055 | -0.0045273 | 0.018061 | 0.0045308 | 5.9065e-06 | 3.5047e-06 | 0.02713 | 0.027129 | 0.02713 | 0.99032 | -0.18584 | 0.99068 | -0.17897 | 7.4532
28 | 0.003718 | 0.00093153 | -0.0037176 | -0.00093172 | 4.2685e-07 | -1.967e-07 | 0.0055845 | 0.0055846 | 0.0055846 | 0.99068 | -0.17897 | 0.99055 | -0.18138 | 1.5342
29 | 0.013548 | 0.0033972 | -0.013543 | -0.0033942 | 5.3935e-06 | 3.0175e-06 | 0.020497 | 0.020497 | 0.020497 | 0.98361 | -0.31576 | 0.98318 | -0.32412 | 5.631
30 | 0.083318 | 0.021073 | -0.083086 | -0.020925 | 0.00023192 | 0.00014792 | 0.12506 | 0.12506 | 0.12506 | 0.99188 | -0.15541 | 0.98886 | -0.21361 | 34.3576
31 | 0.022149 | 0.0055578 | -0.022139 | -0.0055518 | 9.797e-06 | 5.9648e-06 | 0.033231 | 0.033231 | 0.033231 | 0.99188 | -0.15541 | 0.9914 | -0.16469 | 9.1293
32 | -0.10547 | -0.026631 | 0.1058 | 0.026841 | 0.00033034 | 0.00021096 | 0.15829 | 0.15829 | 0.15829 | 0.99188 | -0.15541 | 0.99527 | -0.090262 | 43.4868
33 | 0.012538 | 0.0031426 | -0.012537 | -0.0031418 | 1.4752e-06 | 8.0236e-07 | 0.018867 | 0.018868 | 0.018868 | 0.98886 | -0.21361 | 0.98873 | -0.21608 | 5.1834
34 | 0.070547 | 0.017782 | -0.070513 | -0.01776 | 3.4886e-05 | 2.2221e-05 | 0.10619 | 0.10619 | 0.10619 | 0.98886 | -0.21361 | 0.98833 | -0.22395 | 29.1742
35 | 0.017566 | 0.0044057 | -0.017561 | -0.0044023 | 5.7076e-06 | 3.3707e-06 | 0.026367 | 0.026367 | 0.026367 | 0.9914 | -0.16469 | 0.99105 | -0.17151 | 7.2437
36 | 0.0086293 | 0.0021632 | -0.0086251 | -0.0021614 | 4.1449e-06 | 1.7903e-06 | 0.012902 | 0.012902 | 0.012902 | 0.99527 | -0.090262 | 0.99475 | -0.10035 | 3.5445
37 | 0.056817 | 0.014315 | -0.056795 | -0.014301 | 2.1975e-05 | 1.3959e-05 | 0.084973 | 0.084973 | 0.084973 | 0.99527 | -0.090262 | 0.99485 | -0.098351 | 23.3442
38 | 0.0034313 | 0.00085909 | -0.003431 | -0.00085933 | 3.3835e-07 | -2.3726e-07 | 0.0051062 | 0.0051064 | 0.0051064 | 0.99987 | -0.0024889 | 0.99976 | -0.0045602 | 1.4028
39 | 0.11928 | 0.03041 | -0.11913 | -0.030319 | 0.00014262 | 9.1119e-05 | 0.17796 | 0.17796 | 0.17796 | 0.99834 | -0.031488 | 0.99704 | -0.056289 | 48.8907
40 | 0.0024862 | 0.0006228 | -0.0024861 | -0.00062307 | 1.4413e-07 | -2.7371e-07 | 0.0037056 | 0.0037057 | 0.0037057 | 0.99834 | -0.031488 | 0.99828 | -0.032706 | 1.0181
41 | 0.0071775 | 0.0017986 | -0.0071769 | -0.0017984 | 5.7748e-07 | 1.9618e-07 | 0.010737 | 0.010737 | 0.010737 | 0.99475 | -0.10035 | 0.99466 | -0.10204 | 2.9496
42 | 0.0047037 | 0.0011786 | -0.0047029 | -0.0011787 | 7.5855e-07 | -4.5078e-08 | 0.0070353 | 0.0070355 | 0.0070355 | 0.99485 | -0.098351 | 0.99467 | -0.10174 | 1.9328
43 | 0.052091 | 0.013123 | -0.052051 | -0.013097 | 4.0204e-05 | 2.5501e-05 | 0.077938 | 0.077938 | 0.077938 | 0.99485 | -0.098351 | 0.99401 | -0.1145 | 21.4115
44 | 0.0044768 | 0.0011218 | -0.0044764 | -0.0011219 | 4.5899e-07 | -5.4736e-08 | 0.0067243 | 0.0067244 | 0.0067244 | 0.99067 | -0.17911 | 0.99056 | -0.18127 | 1.8474
45 | 0.049284 | 0.012404 | -0.049254 | -0.012384 | 3.035e-05 | 1.9231e-05 | 0.073796 | 0.073796 | 0.073796 | 0.99401 | -0.1145 | 0.99334 | -0.1274 | 20.2736
46 | 0.0026186 | 0.00065601 | -0.0026185 | -0.00065626 | 1.5206e-07 | -2.4562e-07 | 0.0039174 | 0.0039175 | 0.0039175 | 0.99466 | -0.10204 | 0.9946 | -0.10325 | 1.0762
47 | 0.0021951 | 0.00054958 | -0.0021949 | -0.00055009 | 1.9353e-07 | -5.1015e-07 | 0.0032669 | 0.0032671 | 0.0032671 | 0.99976 | -0.0045602 | 0.99967 | -0.0064117 | 0.89755
48 | 0.11484 | 0.029243 | -0.1147 | -0.029156 | 0.00013667 | 8.731e-05 | 0.17155 | 0.17155 | 0.17155 | 0.99704 | -0.056289 | 0.99574 | -0.080999 | 47.1297
49 | 0.010369 | 0.0025985 | -0.010369 | -0.0025983 | 4.6803e-07 | 2.3381e-07 | 0.015605 | 0.015605 | 0.015605 | 0.98873 | -0.21608 | 0.98869 | -0.21703 | 4.2871
50 | 0.068341 | 0.017216 | -0.068215 | -0.017136 | 0.00012585 | 8.014e-05 | 0.10292 | 0.10292 | 0.10292 | 0.98833 | -0.22395 | 0.98634 | -0.26253 | 28.2761
51 | 0.013651 | 0.0034225 | -0.013648 | -0.0034208 | 2.9275e-06 | 1.6342e-06 | 0.020497 | 0.020497 | 0.020497 | 0.99105 | -0.17151 | 0.99081 | -0.17601 | 5.631
52 | -0.047458 | -0.01191 | 0.047519 | 0.011949 | 6.0691e-05 | 3.8441e-05 | 0.071702 | 0.071702 | 0.071702 | 0.98497 | -0.28931 | 0.98634 | -0.26253 | 19.6983
53 | -0.03181 | -0.0079722 | 0.031843 | 0.0079934 | 3.3865e-05 | 2.1181e-05 | 0.048186 | 0.048186 | 0.048186 | 0.9823 | -0.34092 | 0.98344 | -0.3186 | 13.238
54 | -0.031843 | -0.0079934 | 0.031909 | 0.0080345 | 6.5666e-05 | 4.1067e-05 | 0.048186 | 0.048186 | 0.048186 | 0.98344 | -0.3186 | 0.98565 | -0.27546 | 13.2379
55 | -0.031909 | -0.0080345 | 0.031923 | 0.0080429 | 1.3428e-05 | 8.3974e-06 | 0.048186 | 0.048186 | 0.048186 | 0.98565 | -0.27546 | 0.98611 | -0.26666 | 13.2378
56 | -0.092613 | -0.023253 | 0.093442 | 0.023782 | 0.00082829 | 0.00052865 | 0.13977 | 0.13977 | 0.13977 | 0.98611 | -0.26666 | 0.99574 | -0.080999 | 38.3975
57 | 0.021259 | 0.0053734 | -0.021156 | -0.005311 | 0.00010306 | 6.2437e-05 | 0.031786 | 0.031787 | 0.031787 | 0.99574 | -0.080999 | 0.99047 | -0.18261 | 8.7326
58 | 0.021156 | 0.005311 | -0.021132 | -0.0052961 | 2.4606e-05 | 1.4913e-05 | 0.031787 | 0.031787 | 0.031787 | 0.99047 | -0.18261 | 0.98921 | -0.20702 | 8.7327
59 | 0.0047142 | 0.0011814 | -0.0047138 | -0.0011814 | 3.927e-07 | -1.7442e-08 | 0.0070817 | 0.0070818 | 0.0070818 | 0.99055 | -0.18105 | 0.99046 | -0.1828 | 1.9455
60 | -0.0091658 | -0.002297 | 0.009168 | 0.0022981 | 2.2009e-06 | 1.01e-06 | 0.013769 | 0.013769 | 0.013769 | 0.99055 | -0.18105 | 0.99081 | -0.17601 | 3.7826
61 | 0.0082024 | 0.0020553 | -0.0082022 | -0.0020552 | 2.9199e-07 | 1.2136e-07 | 0.012345 | 0.012345 | 0.012345 | 0.98869 | -0.21703 | 0.98865 | -0.21778 | 3.3915
62 | -0.0019378 | -0.00048567 | 0.0019379 | 0.00048549 | 5.0556e-08 | -1.7078e-07 | 0.002917 | 0.0029169 | 0.002917 | 0.98853 | -0.22005 | 0.98856 | -0.2195 | 0.80137
63 | -0.0019379 | -0.00048549 | 0.0019379 | 0.00048534 | 4.5909e-08 | -1.551e-07 | 0.0029169 | 0.0029168 | 0.0029169 | 0.98856 | -0.2195 | 0.98858 | -0.219 | 0.80135
64 | -0.0039628 | -0.00099283 | 0.003963 | 0.00099279 | 1.2508e-07 | -4.0155e-08 | 0.0059648 | 0.0059647 | 0.0059648 | 0.98858 | -0.219 | 0.98862 | -0.21834 | 1.6387
65 | -0.0060479 | -0.0015153 | 0.006048 | 0.0015154 | 1.6235e-07 | 3.6908e-08 | 0.0091028 | 0.0091028 | 0.0091028 | 0.98862 | -0.21834 | 0.98865 | -0.21778 | 2.5008

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30869 | 0.07823

## res_load
| p_mw | q_mvar
0 | 0.0053882 | 0.0013504
1 | 0.001823 | 0.00045688
2 | 0.0030768 | 0.00077113
3 | 0.0013516 | 0.00033874
4 | 0.0066758 | 0.0016731
5 | 0.0027374 | 0.00068605
6 | 0.0012954 | 0.00032466
7 | 0.0022939 | 0.00057491
8 | 0.012405 | 0.0031089
9 | 0.0041709 | 0.0010453
10 | 0.0090612 | 0.0022709
11 | 0.0048142 | 0.0012066
12 | 0.013543 | 0.0033942
13 | 0.0037176 | 0.00093172
14 | 0.0045731 | 0.0011461
15 | 0.0042779 | 0.0010721
16 | 0.0014476 | 0.0003628
17 | 0.0022297 | 0.00055881
18 | 0.002767 | 0.00069348
19 | 0.0014132 | 0.00035419
20 | 0.0047029 | 0.0011787
21 | 0.0045583 | 0.0011424
22 | 0.0012359 | 0.00030975
23 | 0.0042951 | 0.0010765
24 | 0.0024861 | 0.00062307
25 | 0.0026185 | 0.00065626
26 | 0.0021678 | 0.00054329
27 | 0.0021715 | 0.00054424
28 | 0.0039097 | 0.00097987
29 | 0.00756 | 0.0018947
30 | 0.013905 | 0.003485
31 | 0.0044764 | 0.0011219
32 | 0.03181 | 0.0079722
33 | 0.060691 | 0.015211
34 | 0.021132 | 0.0052961
35 | 0.0021949 | 0.00055009
36 | 0.0044516 | 0.0011157
37 | 0.0047138 | 0.0011814
38 | 0.0044799 | 0.0011228
39 | 0.0021662 | 0.0005429
40 | 0.020697 | 0.005187
41 | 0.0019378 | 0.00048567
42 | 0.0020249 | 0.00050749
43 | 0.0020849 | 0.00052252
44 | 0.0021541 | 0.00053987

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1