## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-37_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-37_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1024-37_0_4_node_59 | 0.4 | n |  | TRUE
4 | bus_LV_1024-37_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1024-37_0_4_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_1024-37_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1024-37_0_4_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_1024-37_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1024-37_0_4_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_1024-37_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1024-37_0_4_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_1024-37_0_4_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_1024-37_0_4_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_1024-37_0_4_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_1024-37_0_4_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_1024-37_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1024-37_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_1024-37_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1024-37_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1024-37_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1024-37_0_4_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_1024-37_0_4_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_1024-37_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1024-37_0_4_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_1024-37_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1024-37_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1024-37_0_4_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_1024-37_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1024-37_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1024-37_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1024-37_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1024-37_0_4_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_1024-37_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1024-37_0_4_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_1024-37_0_4_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_1024-37_0_4_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_1024-37_0_4_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_1024-37_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1024-37_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1024-37_0_4_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_1024-37_0_4_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_1024-37_0_4_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_1024-37_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_1024-37_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_1024-37_0_4_node_15 | 0.4 | n |  | TRUE
46 | bus_LV_1024-37_0_4_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_1024-37_0_4_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_1024-37_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_1024-37_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_1024-37_0_4_node_7 | 0.4 | n |  | TRUE
51 | bus_LV_1024-37_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_1024-37_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_1024-37_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1024-37_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_1024-37_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_1024-37_0_4_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_1024-37_0_4_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_1024-37_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_1024-37_0_4_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1024-37_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_1024-37_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_1024-37_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_1024-37_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_1024-37_0_4_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_1024-37_0_4_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_1024-37_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_1024-37_0_4_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_1024-37_0_4_node_38 | 0.4 | n |  | TRUE
69 | bus_LV_1024-37_0_4_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_1024-37_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_1024-37_0_4_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_1024-37_0_4_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_1024-37_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_1024-37_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_1024-37_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_1024-37_0_4_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_1024-37_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_MV_354_1_node_222 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-37_0_4_load_0 | 0 | 0.0021783 | 0.00054593 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-37_0_4_load_1 | 1 | 0.0015166 | 0.00038008 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-37_0_4_load_3 | 2 | 0.0019854 | 0.00049758 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-37_0_4_load_59 | 3 | 0.0012332 | 0.00030907 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-37_0_4_load_41 | 5 | 0.0021339 | 0.0005348 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-37_0_4_load_40 | 7 | 0.0034029 | 0.00085284 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-37_0_4_load_58 | 9 | 0.00768 | 0.0019248 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-37_0_4_load_70 | 11 | 0.0063328 | 0.0015872 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-37_0_4_load_48 | 12 | 0.0030032 | 0.00075268 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-37_0_4_load_60 | 13 | 0.0014584 | 0.0003655 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-37_0_4_load_64 | 14 | 0.010082 | 0.0025268 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-37_0_4_load_71 | 15 | 0.014121 | 0.003539 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-37_0_4_load_33 | 17 | 0.011134 | 0.0027905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-37_0_4_load_42 | 22 | 0.0039456 | 0.00098886 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-37_0_4_load_69 | 24 | 0.0092145 | 0.0023094 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-37_0_4_load_76 | 27 | 0.015127 | 0.0037913 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-37_0_4_load_66 | 32 | 0.0037462 | 0.00093888 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-37_0_4_load_73 | 36 | 0.01524 | 0.0038194 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-37_0_4_load_83 | 37 | 0.01513 | 0.003792 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-37_0_4_load_79 | 41 | 0.01513 | 0.003792 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-37_0_4_load_55 | 44 | 0.00698 | 0.0017493 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-37_0_4_load_82 | 46 | 0.0090267 | 0.0022623 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-37_0_4_load_81 | 47 | 0.014114 | 0.0035374 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-37_0_4_load_30 | 48 | 0.0030204 | 0.00075698 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-37_0_4_load_31 | 49 | 0.006578 | 0.0016486 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-37_0_4_load_7 | 50 | 0.0042297 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-37_0_4_load_34 | 51 | 0.0038289 | 0.00095961 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-37_0_4_load_32 | 52 | 0.004209 | 0.0010549 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-37_0_4_load_53 | 53 | 0.0081167 | 0.0020342 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-37_0_4_load_35 | 54 | 0.0042435 | 0.0010635 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-37_0_4_load_39 | 55 | 0.0034225 | 0.00085777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-37_0_4_load_77 | 56 | 0.051527 | 0.012914 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-37_0_4_load_68 | 58 | 0.0028296 | 0.00070916 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-37_0_4_load_67 | 59 | 0.001315 | 0.00032957 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-37_0_4_load_54 | 60 | 0.0035146 | 0.00088084 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-37_0_4_load_36 | 61 | 0.0039569 | 0.0009917 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-37_0_4_load_44 | 62 | 0.035193 | 0.0088203 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-37_0_4_load_56 | 63 | 0.0068623 | 0.0017198 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-37_0_4_load_84 | 64 | 0.015133 | 0.0037926 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1024-37_0_4_load_80 | 65 | 0.017482 | 0.0043815 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1024-37_0_4_load_65 | 66 | 0.0015072 | 0.00037773 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1024-37_0_4_load_43 | 67 | 0.0027163 | 0.00068076 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1024-37_0_4_load_38 | 68 | 0.0036727 | 0.00092047 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1024-37_0_4_load_37 | 69 | 0.0032456 | 0.00081342 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1024-37_0_4_load_63 | 70 | 0.0092513 | 0.0023186 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1024-37_0_4_load_49 | 71 | 0.0016629 | 0.00041677 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1024-37_0_4_load_50 | 72 | 0.001565 | 0.00039224 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1024-37_0_4_load_51 | 73 | 0.0070306 | 0.001762 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1024-37_0_4_load_52 | 74 | 0.0018014 | 0.00045146 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1024-37_0_4_load_61 | 75 | 0.0020226 | 0.00050691 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1024-37_0_4_load_57 | 76 | 0.0077697 | 0.0019473 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1024-37_0_4_load_62 | 77 | 0.0074179 | 0.0018591 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-37_0_4_line_0 |  | 0 | 1 | 0.010414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-37_0_4_line_1 |  | 1 | 2 | 0.0074912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-37_0_4_line_2 |  | 2 | 3 | 0.00083529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-37_0_4_line_3 |  | 3 | 13 | 0.006304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-37_0_4_line_4 |  | 4 | 5 | 0.019834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-37_0_4_line_5 |  | 4 | 6 | 0.025895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1024-37_0_4_line_6 |  | 4 | 7 | 0.017072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-37_0_4_line_7 |  | 5 | 14 | 0.0081963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-37_0_4_line_8 |  | 6 | 15 | 0.020018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1024-37_0_4_line_9 |  | 7 | 18 | 0.042865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-37_0_4_line_10 |  | 8 | 9 | 0.018744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-37_0_4_line_11 |  | 8 | 10 | 0.055391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-37_0_4_line_12 |  | 8 | 11 | 0.016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-37_0_4_line_13 |  | 9 | 42 | 0.017731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-37_0_4_line_14 |  | 10 | 12 | 0.0075346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-37_0_4_line_15 |  | 11 | 53 | 0.0036418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-37_0_4_line_16 |  | 13 | 75 | 0.0040496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-37_0_4_line_17 |  | 14 | 70 | 0.0074627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-37_0_4_line_18 |  | 15 | 57 | 0.011155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1024-37_0_4_line_19 |  | 16 | 17 | 0.035985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-37_0_4_line_20 |  | 16 | 18 | 0.0079045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-37_0_4_line_21 |  | 17 | 52 | 0.040543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-37_0_4_line_22 |  | 18 | 19 | 0.065738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-37_0_4_line_23 |  | 19 | 48 | 0.042996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-37_0_4_line_24 |  | 19 | 49 | 0.017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-37_0_4_line_25 |  | 19 | 50 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-37_0_4_line_26 |  | 20 | 21 | 0.009307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-37_0_4_line_27 |  | 20 | 22 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-37_0_4_line_28 |  | 20 | 23 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-37_0_4_line_29 |  | 21 | 24 | 0.017371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-37_0_4_line_30 |  | 22 | 67 | 0.0091521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-37_0_4_line_31 |  | 23 | 51 | 0.012004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-37_0_4_line_32 |  | 23 | 52 | 0.039267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-37_0_4_line_33 |  | 24 | 29 | 0.076738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-37_0_4_line_34 |  | 25 | 26 | 0.023966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-37_0_4_line_35 |  | 25 | 27 | 0.012641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-37_0_4_line_36 |  | 26 | 37 | 0.009753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-37_0_4_line_37 |  | 26 | 38 | 0.048411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-37_0_4_line_38 |  | 27 | 35 | 0.017691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-37_0_4_line_39 |  | 28 | 29 | 0.010821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-37_0_4_line_40 |  | 28 | 30 | 0.034756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-37_0_4_line_41 |  | 30 | 31 | 0.074784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-37_0_4_line_42 |  | 31 | 32 | 0.12767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-37_0_4_line_43 |  | 32 | 59 | 0.014541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-37_0_4_line_44 |  | 33 | 34 | 0.017054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-37_0_4_line_45 |  | 33 | 35 | 0.04431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-37_0_4_line_46 |  | 33 | 36 | 0.015372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1024-37_0_4_line_47 |  | 34 | 65 | 0.015976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-37_0_4_line_48 |  | 35 | 40 | 0.03014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-37_0_4_line_49 |  | 35 | 56 | 0.014777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-37_0_4_line_50 |  | 36 | 57 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1024-37_0_4_line_51 |  | 38 | 47 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-37_0_4_line_52 |  | 38 | 45 | 0.077537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-37_0_4_line_53 |  | 39 | 40 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-37_0_4_line_54 |  | 39 | 41 | 0.015211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1024-37_0_4_line_55 |  | 40 | 64 | 0.011913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1024-37_0_4_line_56 |  | 42 | 43 | 0.042846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1024-37_0_4_line_57 |  | 42 | 44 | 0.018526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1024-37_0_4_line_58 |  | 43 | 62 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1024-37_0_4_line_59 |  | 44 | 63 | 0.0088838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1024-37_0_4_line_60 |  | 45 | 46 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1024-37_0_4_line_61 |  | 48 | 54 | 0.027149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1024-37_0_4_line_62 |  | 49 | 55 | 0.032604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1024-37_0_4_line_63 |  | 51 | 66 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1024-37_0_4_line_64 |  | 53 | 73 | 0.016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1024-37_0_4_line_65 |  | 54 | 61 | 0.028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1024-37_0_4_line_66 |  | 55 | 69 | 0.030646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1024-37_0_4_line_67 |  | 58 | 59 | 0.022539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1024-37_0_4_line_68 |  | 60 | 61 | 0.027842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1024-37_0_4_line_69 |  | 63 | 76 | 0.0091302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1024-37_0_4_line_70 |  | 68 | 69 | 0.028801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1024-37_0_4_line_71 |  | 70 | 77 | 0.013747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1024-37_0_4_line_72 |  | 71 | 72 | 0.0065593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1024-37_0_4_line_73 |  | 71 | 73 | 0.015673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1024-37_0_4_line_74 |  | 72 | 74 | 0.014174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1024-37_0_4_line_75 |  | 74 | 75 | 0.0072341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1024-37_0_4_line_76 |  | 76 | 77 | 0.0071259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-37_0_4_trafo_21 | 0.63 MVA 20/0.4 kV | 78 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2663381.6651 | 1215180.3134 | 2663391.6179 | 1215177.2473
1 | 2663397.5412 | 1215181.8334 | 2663391.6179 | 1215177.2473 | 2663391.6179 | 1215177.2473
2 | 2663398.2017 | 1215182.3447 | 2663397.5412 | 1215181.8334
3 | 2663398.2017 | 1215182.3447 | 2663403.1863 | 1215186.204
4 | 2663372.4041 | 1215210.1746 | 2663381.2296 | 1215213.6261 | 2663389.9468 | 1215219.2192
5 | 2663372.4041 | 1215210.1746 | 2663371.9435 | 1215214.2056 | 2663376.5405 | 1215215.3885 | 2663381.3611 | 1215216.974 | 2663386.8637 | 1215219.4007 | 2663384.2849 | 1215224.8211
6 | 2663372.4041 | 1215210.1746 | 2663365.55 | 1215209.1456 | 2663355.4119 | 1215209.3854
7 | 2663396.8142 | 1215223.6904 | 2663396.1715 | 1215223.2131 | 2663389.9468 | 1215219.2192
8 | 2663384.2849 | 1215224.8211 | 2663383.6228 | 1215227.0932 | 2663381.8533 | 1215233.5339 | 2663380.8015 | 1215242.4616 | 2663380.7082 | 1215244.4424
9 | 2663312.5968 | 1215210.5619 | 2663323.0191 | 1215210.9617 | 2663345.7701 | 1215209.6135 | 2663355.4119 | 1215209.3854
10 | 2663470.601 | 1215233.1664 | 2663459.4205 | 1215248.2104
11 | 2663470.601 | 1215233.1664 | 2663474.7108 | 1215228.7519 | 2663478.9513 | 1215224.1942 | 2663482.8811 | 1215218.8549 | 2663489.8886 | 1215220.4528 | 2663497.1657 | 1215226.6785 | 2663504.6497 | 1215221.3216 | 2663506.9114 | 1215219.3111 | 2663509.4566 | 1215219.1937 | 2663513.35 | 1215222.2704
12 | 2663470.601 | 1215233.1664 | 2663457.1498 | 1215223.4794
13 | 2663448.8438 | 1215262.4419 | 2663459.4205 | 1215248.2104
14 | 2663513.35 | 1215222.2704 | 2663517.8619 | 1215216.2361
15 | 2663454.1946 | 1215221.3512 | 2663454.1946 | 1215221.3512 | 2663457.1498 | 1215223.4794
16 | 2663406.3884 | 1215188.6831 | 2663403.1863 | 1215186.204
17 | 2663402.8053 | 1215228.1399 | 2663396.8142 | 1215223.6904
18 | 2663380.1835 | 1215255.5854 | 2663380.7082 | 1215244.4424
19 | 2663313.5386 | 1215218.4101 | 2663311.9313 | 1215219.5937 | 2663308.9959 | 1215222.1197 | 2663308.2322 | 1215224.6687 | 2663309.0312 | 1215235.2393 | 2663310.0201 | 1215252.0651
20 | 2663312.5968 | 1215210.5619 | 2663312.7296 | 1215211.6417 | 2663313.0015 | 1215213.9238 | 2663313.4409 | 1215217.5974 | 2663313.5386 | 1215218.4101
21 | 2663310.0201 | 1215252.0651 | 2663311.0057 | 1215268.8366 | 2663312.6813 | 1215292.5202
22 | 2663301.0889 | 1215260.882 | 2663306.6812 | 1215260.5856 | 2663303.6968 | 1215224.8318 | 2663302.8074 | 1215214.1935 | 2663313.0015 | 1215213.9238 | 2663312.7296 | 1215211.6417 | 2663312.5968 | 1215210.5619
23 | 2663301.0889 | 1215260.882 | 2663273.7355 | 1215262.3037 | 2663271.9569 | 1215266.7431 | 2663272.7271 | 1215277.5385
24 | 2663301.0889 | 1215260.882 | 2663302.5172 | 1215266.5451 | 2663303.3007 | 1215278.2578
25 | 2663301.0889 | 1215260.882 | 2663299.9956 | 1215256.5677 | 2663299.0956 | 1215244.4444
26 | 2663317.1634 | 1215359.7138 | 2663317.8546 | 1215368.9936
27 | 2663317.1634 | 1215359.7138 | 2663329.9159 | 1215358.8687
28 | 2663315.4563 | 1215331.6894 | 2663316.4185 | 1215349.7775 | 2663317.1634 | 1215359.7138
29 | 2663317.8546 | 1215368.9936 | 2663318.9349 | 1215386.3305
30 | 2663339.048 | 1215358.2635 | 2663329.9159 | 1215358.8687
31 | 2663315.4563 | 1215331.6894 | 2663327.4279 | 1215330.814
32 | 2663315.4563 | 1215331.6894 | 2663313.2374 | 1215300.3798 | 2663312.6813 | 1215292.5202
33 | 2663326.9064 | 1215462.6254 | 2663324.9452 | 1215447.8065 | 2663322.7801 | 1215432.1628 | 2663321.8583 | 1215422.4358 | 2663319.6647 | 1215398.0419 | 2663318.9349 | 1215386.3305
34 | 2663412.9561 | 1215362.9336 | 2663422.0391 | 1215340.7498
35 | 2663422.0391 | 1215340.7498 | 2663421.1288 | 1215328.1416
36 | 2663412.9561 | 1215362.9336 | 2663409.1094 | 1215371.8983
37 | 2663412.9561 | 1215362.9336 | 2663403.458 | 1215356.3396 | 2663396.0327 | 1215351.202 | 2663392.4144 | 1215348.6842 | 2663386.1553 | 1215344.5706 | 2663372.8526 | 1215335.8239
38 | 2663419.855 | 1215310.4967 | 2663421.1288 | 1215328.1416
39 | 2663316.5095 | 1215462.0147 | 2663317.4101 | 1215462.3022 | 2663321.0805 | 1215463.4752 | 2663322.1325 | 1215463.8088 | 2663323.2137 | 1215463.5424 | 2663326.3201 | 1215462.7749 | 2663326.9064 | 1215462.6254
40 | 2663286.6182 | 1215472.2482 | 2663299.8821 | 1215472.4669 | 2663305.1663 | 1215471.8448 | 2663306.9454 | 1215471.6413 | 2663310.2594 | 1215470.6314 | 2663313.139 | 1215468.3384 | 2663315.1964 | 1215465.5251 | 2663316.5095 | 1215462.0147
41 | 2663216.4851 | 1215465.5669 | 2663234.9907 | 1215467.7422 | 2663258.6739 | 1215472.185 | 2663274.715 | 1215475.4683 | 2663280.7369 | 1215476.1771 | 2663281.1518 | 1215472.8572 | 2663281.2601 | 1215471.9578 | 2663286.6182 | 1215472.2482
42 | 2663216.4851 | 1215465.5669 | 2663213.8665 | 1215447.5502 | 2663213.9412 | 1215428.3391 | 2663224.1412 | 1215388.8227 | 2663229.1053 | 1215355.388 | 2663228.7036 | 1215339.7575
43 | 2663228.7036 | 1215339.7575 | 2663228.6323 | 1215336.9827 | 2663223.3691 | 1215326.4599
44 | 2663382.783 | 1215286.0652 | 2663368.6927 | 1215276.3984
45 | 2663382.783 | 1215286.0652 | 2663412.2075 | 1215305.5345 | 2663419.855 | 1215310.4967
46 | 2663382.783 | 1215286.0652 | 2663381.4768 | 1215270.7493
47 | 2663362.0464 | 1215290.8367 | 2663366.4479 | 1215283.2566 | 2663368.6927 | 1215276.3984
48 | 2663444.6556 | 1215327.7267 | 2663433.5976 | 1215319.9932 | 2663425.7121 | 1215314.5726 | 2663423.0737 | 1215312.7434 | 2663419.855 | 1215310.4967
49 | 2663419.855 | 1215310.4967 | 2663419.5455 | 1215304.612 | 2663419.0115 | 1215295.7442
50 | 2663380.1835 | 1215255.5854 | 2663381.4768 | 1215270.7493
51 | 2663367.2666 | 1215346.2487 | 2663372.8526 | 1215335.8239
52 | 2663377.5865 | 1215403.3938 | 2663381.6664 | 1215396.0659 | 2663388.2783 | 1215383.4284 | 2663388.662 | 1215377.3398 | 2663387.431 | 1215363.1402 | 2663386.1553 | 1215344.5706 | 2663372.8526 | 1215335.8239
53 | 2663444.6556 | 1215327.7267 | 2663448.221 | 1215330.2217 | 2663458.1443 | 1215336.8203
54 | 2663458.1443 | 1215336.8203 | 2663457.122 | 1215321.6435
55 | 2663444.6556 | 1215327.7267 | 2663441.9279 | 1215332.8564 | 2663439.1061 | 1215338.2742
56 | 2663479.4182 | 1215260.9219 | 2663468.083 | 1215276.3664 | 2663448.8438 | 1215262.4419
57 | 2663448.8438 | 1215262.4419 | 2663434.0041 | 1215251.3519
58 | 2663479.4182 | 1215260.9219 | 2663480.5815 | 1215259.3667 | 2663483.4784 | 1215255.4618 | 2663486.3738 | 1215251.5708
59 | 2663434.0041 | 1215251.3519 | 2663426.8879 | 1215246.0339
60 | 2663377.5865 | 1215403.3938 | 2663373.0033 | 1215411.6391 | 2663372.7093 | 1215414.2932
61 | 2663274.659 | 1215304.6184 | 2663272.7271 | 1215277.5385
62 | 2663303.3007 | 1215278.2578 | 2663305.477 | 1215310.7892
63 | 2663335.8525 | 1215326.2609 | 2663336.1658 | 1215330.1751 | 2663327.4279 | 1215330.814
64 | 2663454.1946 | 1215221.3512 | 2663450.1933 | 1215223.421 | 2663440.1464 | 1215216.1847
65 | 2663276.6691 | 1215332.7934 | 2663274.659 | 1215304.6184
66 | 2663305.477 | 1215310.7892 | 2663307.5225 | 1215341.3665
67 | 2663212.399 | 1215306.8379 | 2663216.199 | 1215312.1244 | 2663223.3691 | 1215326.4599
68 | 2663276.6691 | 1215332.7934 | 2663278.6504 | 1215360.5644
69 | 2663426.8879 | 1215246.0339 | 2663425.119 | 1215244.7119 | 2663419.562 | 1215240.5848
70 | 2663307.5225 | 1215341.3665 | 2663309.4449 | 1215370.1032
71 | 2663402.8053 | 1215228.1399 | 2663413.8413 | 1215236.3362
72 | 2663428.5024 | 1215205.8045 | 2663423.3159 | 1215201.789
73 | 2663428.5024 | 1215205.8045 | 2663430.3476 | 1215207.2332 | 2663435.5126 | 1215212.8472 | 2663440.1464 | 1215216.1847
74 | 2663423.3159 | 1215201.789 | 2663412.1084 | 1215193.1118
75 | 2663412.1084 | 1215193.1118 | 2663406.3884 | 1215188.6831
76 | 2663419.562 | 1215240.5848 | 2663413.8413 | 1215236.3362

## bus_geodata
| x | y | coords
0 | 2663381.6651 | 1215180.3134
1 | 2663391.6179 | 1215177.2473
2 | 2663397.5412 | 1215181.8334
3 | 2663398.2017 | 1215182.3447
4 | 2663372.4041 | 1215210.1746
5 | 2663389.9468 | 1215219.2192
6 | 2663384.2849 | 1215224.8211
7 | 2663355.4119 | 1215209.3854
8 | 2663470.601 | 1215233.1664
9 | 2663459.4205 | 1215248.2104
10 | 2663513.35 | 1215222.2704
11 | 2663457.1498 | 1215223.4794
12 | 2663517.8619 | 1215216.2361
13 | 2663403.1863 | 1215186.204
14 | 2663396.8142 | 1215223.6904
15 | 2663380.7082 | 1215244.4424
16 | 2663313.5386 | 1215218.4101
17 | 2663310.0201 | 1215252.0651
18 | 2663312.5968 | 1215210.5619
19 | 2663301.0889 | 1215260.882
20 | 2663317.1634 | 1215359.7138
21 | 2663317.8546 | 1215368.9936
22 | 2663329.9159 | 1215358.8687
23 | 2663315.4563 | 1215331.6894
24 | 2663318.9349 | 1215386.3305
25 | 2663422.0391 | 1215340.7498
26 | 2663412.9561 | 1215362.9336
27 | 2663421.1288 | 1215328.1416
28 | 2663316.5095 | 1215462.0147
29 | 2663326.9064 | 1215462.6254
30 | 2663286.6182 | 1215472.2482
31 | 2663216.4851 | 1215465.5669
32 | 2663228.7036 | 1215339.7575
33 | 2663382.783 | 1215286.0652
34 | 2663368.6927 | 1215276.3984
35 | 2663419.855 | 1215310.4967
36 | 2663381.4768 | 1215270.7493
37 | 2663409.1094 | 1215371.8983
38 | 2663372.8526 | 1215335.8239
39 | 2663458.1443 | 1215336.8203
40 | 2663444.6556 | 1215327.7267
41 | 2663457.122 | 1215321.6435
42 | 2663448.8438 | 1215262.4419
43 | 2663479.4182 | 1215260.9219
44 | 2663434.0041 | 1215251.3519
45 | 2663377.5865 | 1215403.3938
46 | 2663372.7093 | 1215414.2932
47 | 2663367.2666 | 1215346.2487
48 | 2663272.7271 | 1215277.5385
49 | 2663303.3007 | 1215278.2578
50 | 2663299.0956 | 1215244.4444
51 | 2663327.4279 | 1215330.814
52 | 2663312.6813 | 1215292.5202
53 | 2663454.1946 | 1215221.3512
54 | 2663274.659 | 1215304.6184
55 | 2663305.477 | 1215310.7892
56 | 2663419.0115 | 1215295.7442
57 | 2663380.1835 | 1215255.5854
58 | 2663212.399 | 1215306.8379
59 | 2663223.3691 | 1215326.4599
60 | 2663278.6504 | 1215360.5644
61 | 2663276.6691 | 1215332.7934
62 | 2663486.3738 | 1215251.5708
63 | 2663426.8879 | 1215246.0339
64 | 2663439.1061 | 1215338.2742
65 | 2663362.0464 | 1215290.8367
66 | 2663335.8525 | 1215326.2609
67 | 2663339.048 | 1215358.2635
68 | 2663309.4449 | 1215370.1032
69 | 2663307.5225 | 1215341.3665
70 | 2663402.8053 | 1215228.1399
71 | 2663428.5024 | 1215205.8045
72 | 2663423.3159 | 1215201.789
73 | 2663440.1464 | 1215216.1847
74 | 2663412.1084 | 1215193.1118
75 | 2663406.3884 | 1215188.6831
76 | 2663419.562 | 1215240.5848
77 | 2663413.8413 | 1215236.3362
78 | 2663368.6927 | 1215276.3984

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97832 | -0.41776 | 0.0021783 | 0.00054593
1 | 0.97834 | -0.41734 | 0.0015166 | 0.00038008
2 | 0.97837 | -0.41684 | 0.0019854 | 0.00049758
3 | 0.97837 | -0.41675 | 0.0012332 | 0.00030907
4 | 0.99083 | -0.17459 | 0 | 0
5 | 0.98839 | -0.22164 | 0.0021339 | 0.0005348
6 | 0.99343 | -0.12483 | 0 | 0
7 | 0.98951 | -0.20001 | 0.0034029 | 0.00085284
8 | 0.98 | -0.38476 | 0 | 0
9 | 0.9807 | -0.37119 | 0.00768 | 0.0019248
10 | 0.97985 | -0.38778 | 0 | 0
11 | 0.97944 | -0.39587 | 0.0063328 | 0.0015872
12 | 0.97983 | -0.38819 | 0.0030032 | 0.00075268
13 | 0.97841 | -0.41596 | 0.0014584 | 0.0003655
14 | 0.9874 | -0.24084 | 0.010082 | 0.0025268
15 | 0.99544 | -0.08654 | 0.014121 | 0.003539
16 | 0.98601 | -0.26783 | 0 | 0
17 | 0.98453 | -0.29656 | 0.011134 | 0.0027905
18 | 0.98634 | -0.26153 | 0 | 0
19 | 0.98416 | -0.3039 | 0 | 0
20 | 0.98161 | -0.35359 | 0 | 0
21 | 0.98146 | -0.35647 | 0 | 0
22 | 0.98153 | -0.35513 | 0.0039456 | 0.00098886
23 | 0.98223 | -0.34152 | 0 | 0
24 | 0.98119 | -0.36186 | 0.0092145 | 0.0023094
25 | 0.99322 | -0.1302 | 0 | 0
26 | 0.99238 | -0.14642 | 0 | 0
27 | 0.99367 | -0.12165 | 0.015127 | 0.0037913
28 | 0.98055 | -0.37439 | 0 | 0
29 | 0.98063 | -0.37284 | 0 | 0
30 | 0.9803 | -0.37937 | 0 | 0
31 | 0.97975 | -0.39008 | 0 | 0
32 | 0.97882 | -0.4084 | 0.0037462 | 0.00093888
33 | 1 | 0 | -0.40526 | -0.10291
34 | 0.99973 | -0.0051981 | 0 | 0
35 | 0.99453 | -0.10499 | 0 | 0
36 | 0.99825 | -0.033068 | 0.01524 | 0.0038194
37 | 0.99225 | -0.14903 | 0.01513 | 0.003792
38 | 0.99136 | -0.16627 | 0 | 0
39 | 0.99347 | -0.12541 | 0 | 0
40 | 0.9937 | -0.12108 | 0 | 0
41 | 0.99326 | -0.12948 | 0.01513 | 0.003792
42 | 0.98148 | -0.35591 | 0 | 0
43 | 0.98008 | -0.38323 | 0 | 0
44 | 0.9829 | -0.3282 | 0.00698 | 0.0017493
45 | 0.99072 | -0.17869 | 0 | 0
46 | 0.99062 | -0.18063 | 0.0090267 | 0.0022623
47 | 0.99121 | -0.16923 | 0.014114 | 0.0035374
48 | 0.98358 | -0.31531 | 0.0030204 | 0.00075698
49 | 0.98389 | -0.30925 | 0.006578 | 0.0016486
50 | 0.9841 | -0.30516 | 0.0042297 | 0.0010601
51 | 0.98217 | -0.34268 | 0.0038289 | 0.00095961
52 | 0.98329 | -0.32089 | 0.004209 | 0.0010549
53 | 0.97933 | -0.39789 | 0.0081167 | 0.0020342
54 | 0.98328 | -0.32104 | 0.0042435 | 0.0010635
55 | 0.98358 | -0.31532 | 0.0034225 | 0.00085777
56 | 0.99383 | -0.11842 | 0.051527 | 0.012914
57 | 0.99663 | -0.063886 | 0 | 0
58 | 0.9787 | -0.41066 | 0.0028296 | 0.00070916
59 | 0.97876 | -0.4095 | 0.001315 | 0.00032957
60 | 0.983 | -0.32661 | 0.0035146 | 0.00088084
61 | 0.98309 | -0.32485 | 0.0039569 | 0.0009917
62 | 0.9797 | -0.39068 | 0.035193 | 0.0088203
63 | 0.98363 | -0.31382 | 0.0068623 | 0.0017198
64 | 0.99353 | -0.12426 | 0.015133 | 0.0037926
65 | 0.99948 | -0.01007 | 0.017482 | 0.0043815
66 | 0.98215 | -0.34302 | 0.0015072 | 0.00037773
67 | 0.98151 | -0.35558 | 0.0027163 | 0.00068076
68 | 0.98328 | -0.32105 | 0.0036727 | 0.00092047
69 | 0.98338 | -0.31915 | 0.0032456 | 0.00081342
70 | 0.98656 | -0.25701 | 0.0092513 | 0.0023186
71 | 0.97876 | -0.40918 | 0.0016629 | 0.00041677
72 | 0.97867 | -0.41083 | 0.001565 | 0.00039224
73 | 0.97898 | -0.40479 | 0.0070306 | 0.001762
74 | 0.97851 | -0.41397 | 0.0018014 | 0.00045146
75 | 0.97844 | -0.41534 | 0.0020226 | 0.00050691
76 | 0.98445 | -0.29794 | 0.0077697 | 0.0019473
77 | 0.98514 | -0.28457 | 0.0074179 | 0.0018591
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0021783 | -0.00054593 | 0.0021783 | 0.00054583 | 4.2868e-08 | -1.0334e-07 | 0.0033131 | 0.0033131 | 0.0033131 | 0.97832 | -0.41776 | 0.97834 | -0.41734 | 0.9102
1 | -0.0036949 | -0.00092591 | 0.003695 | 0.00092587 | 8.8717e-08 | -3.7292e-08 | 0.0056197 | 0.0056197 | 0.0056197 | 0.97834 | -0.41734 | 0.97837 | -0.41684 | 1.5439
2 | -0.0056803 | -0.0014235 | 0.0056804 | 0.0014235 | 2.3379e-08 | 4.4729e-09 | 0.0086392 | 0.0086392 | 0.0086392 | 0.97837 | -0.41684 | 0.97837 | -0.41675 | 2.3734
3 | -0.0069135 | -0.0017325 | 0.0069138 | 0.0017326 | 2.6137e-07 | 8.8106e-08 | 0.010515 | 0.010515 | 0.010515 | 0.97837 | -0.41675 | 0.97841 | -0.41596 | 2.8887
4 | 0.13441 | 0.034126 | -0.13411 | -0.033932 | 0.00030354 | 0.00019401 | 0.20202 | 0.20202 | 0.20202 | 0.99083 | -0.17459 | 0.98839 | -0.22164 | 55.4994
5 | -0.21876 | -0.055494 | 0.21929 | 0.055829 | 0.00052482 | 0.00033522 | 0.32877 | 0.32877 | 0.32877 | 0.99083 | -0.17459 | 0.99343 | -0.12483 | 45.1612
6 | 0.08435 | 0.021368 | -0.084247 | -0.021302 | 0.00010286 | 6.5611e-05 | 0.12676 | 0.12676 | 0.12676 | 0.99083 | -0.17459 | 0.98951 | -0.20001 | 34.8231
7 | 0.13198 | 0.033397 | -0.13186 | -0.033319 | 0.00012148 | 7.7642e-05 | 0.19881 | 0.19881 | 0.19881 | 0.98839 | -0.22164 | 0.9874 | -0.24084 | 54.6168
8 | -0.21929 | -0.055829 | 0.21969 | 0.056088 | 0.00040572 | 0.00025914 | 0.32877 | 0.32877 | 0.32877 | 0.99343 | -0.12483 | 0.99544 | -0.08654 | 45.1612
9 | 0.080844 | 0.02045 | -0.080606 | -0.020298 | 0.00023784 | 0.00015167 | 0.12164 | 0.12164 | 0.12164 | 0.98951 | -0.20001 | 0.98634 | -0.26153 | 33.4174
10 | -0.039945 | -0.010024 | 0.039971 | 0.01004 | 2.586e-05 | 1.6314e-05 | 0.060656 | 0.060656 | 0.060656 | 0.98 | -0.38476 | 0.9807 | -0.37119 | 16.6637
11 | 0.0030037 | 0.0007522 | -0.0030033 | -0.00075262 | 4.3204e-07 | -4.2129e-07 | 0.0045606 | 0.0045608 | 0.0045608 | 0.98 | -0.38476 | 0.97985 | -0.38778 | 1.253
12 | 0.036941 | 0.0092715 | -0.036922 | -0.0092592 | 1.956e-05 | 1.231e-05 | 0.056095 | 0.056096 | 0.056096 | 0.98 | -0.38476 | 0.97944 | -0.39587 | 15.4109
13 | -0.047651 | -0.011965 | 0.047685 | 0.011987 | 3.4766e-05 | 2.2026e-05 | 0.072309 | 0.072309 | 0.072309 | 0.9807 | -0.37119 | 0.98148 | -0.35591 | 19.8651
14 | 0.0030033 | 0.00075262 | -0.0030032 | -0.00075268 | 5.8773e-08 | -5.7288e-08 | 0.0045608 | 0.0045608 | 0.0045608 | 0.97985 | -0.38778 | 0.97983 | -0.38819 | 1.253
15 | 0.030589 | 0.007672 | -0.030586 | -0.0076702 | 2.9497e-06 | 1.842e-06 | 0.046474 | 0.046474 | 0.046474 | 0.97944 | -0.39587 | 0.97933 | -0.39789 | 12.7677
16 | -0.0083722 | -0.0020981 | 0.0083724 | 0.0020982 | 2.462e-07 | 1.0671e-07 | 0.012733 | 0.012733 | 0.012733 | 0.97841 | -0.41596 | 0.97844 | -0.41534 | 3.498
17 | 0.12177 | 0.030792 | -0.12168 | -0.030732 | 9.4346e-05 | 6.0286e-05 | 0.18361 | 0.18361 | 0.18361 | 0.9874 | -0.24084 | 0.98656 | -0.25701 | 50.4427
18 | -0.23382 | -0.059627 | 0.23407 | 0.059791 | 0.00025605 | 0.00016358 | 0.34988 | 0.34988 | 0.34988 | 0.99544 | -0.08654 | 0.99663 | -0.063886 | 48.0606
19 | 0.044614 | 0.011239 | -0.044553 | -0.011201 | 6.121e-05 | 3.8716e-05 | 0.067349 | 0.067349 | 0.067349 | 0.98601 | -0.26783 | 0.98453 | -0.29656 | 18.5026
20 | -0.044614 | -0.011239 | 0.044628 | 0.011248 | 1.3445e-05 | 8.5042e-06 | 0.067349 | 0.067349 | 0.067349 | 0.98601 | -0.26783 | 0.98634 | -0.26153 | 18.5025
21 | 0.033419 | 0.0084103 | -0.03338 | -0.0083859 | 3.8806e-05 | 2.4321e-05 | 0.050521 | 0.050522 | 0.050522 | 0.98453 | -0.29656 | 0.98329 | -0.32089 | 13.8795
22 | 0.035979 | 0.0090499 | -0.035906 | -0.0090042 | 7.2659e-05 | 4.5664e-05 | 0.05429 | 0.05429 | 0.05429 | 0.98634 | -0.26153 | 0.98416 | -0.3039 | 14.9149
23 | 0.014748 | 0.0036997 | -0.01474 | -0.0036951 | 8.0181e-06 | 4.5856e-06 | 0.0223 | 0.0223 | 0.0223 | 0.98416 | -0.3039 | 0.98358 | -0.31531 | 6.1264
24 | 0.016928 | 0.0042446 | -0.016923 | -0.004242 | 4.3186e-06 | 2.5406e-06 | 0.025595 | 0.025595 | 0.025595 | 0.98416 | -0.3039 | 0.98389 | -0.30925 | 7.0316
25 | 0.0042299 | 0.00106 | -0.0042297 | -0.0010601 | 2.5473e-07 | -4.7987e-08 | 0.0063955 | 0.0063956 | 0.0063956 | 0.98416 | -0.3039 | 0.9841 | -0.30516 | 1.757
26 | 0.01713 | 0.0042978 | -0.017127 | -0.0042964 | 2.3536e-06 | 1.3887e-06 | 0.025969 | 0.025969 | 0.025969 | 0.98161 | -0.35359 | 0.98146 | -0.35647 | 7.1342
27 | 0.0066624 | 0.0016697 | -0.006662 | -0.0016696 | 4.8886e-07 | 1.5132e-07 | 0.0101 | 0.0101 | 0.0101 | 0.98161 | -0.35359 | 0.98153 | -0.35513 | 2.7746
28 | -0.023792 | -0.0059675 | 0.023806 | 0.005976 | 1.37e-05 | 8.4128e-06 | 0.036068 | 0.036068 | 0.036068 | 0.98161 | -0.35359 | 0.98223 | -0.34152 | 9.9088
29 | 0.017127 | 0.0042964 | -0.017123 | -0.0042939 | 4.3928e-06 | 2.592e-06 | 0.025969 | 0.025969 | 0.025969 | 0.98146 | -0.35647 | 0.98119 | -0.36186 | 7.1343
30 | 0.0027163 | 0.00068069 | -0.0027163 | -0.00068076 | 5.82e-08 | -7.8425e-08 | 0.004118 | 0.004118 | 0.004118 | 0.98153 | -0.35513 | 0.98151 | -0.35558 | 1.1313
31 | 0.0053364 | 0.0013372 | -0.0053361 | -0.0013372 | 2.9418e-07 | 3.6356e-08 | 0.0080842 | 0.0080843 | 0.0080843 | 0.98223 | -0.34152 | 0.98217 | -0.34268 | 2.2209
32 | -0.029142 | -0.0073132 | 0.029171 | 0.0073311 | 2.8706e-05 | 1.7874e-05 | 0.044152 | 0.044152 | 0.044152 | 0.98223 | -0.34152 | 0.98329 | -0.32089 | 12.1297
33 | 0.0079086 | 0.0019845 | -0.0079045 | -0.0019828 | 4.1402e-06 | 1.6811e-06 | 0.011995 | 0.011995 | 0.011995 | 0.98119 | -0.36186 | 0.98063 | -0.37284 | 3.2953
34 | 0.038333 | 0.0096288 | -0.038303 | -0.0096101 | 2.9649e-05 | 1.8665e-05 | 0.057437 | 0.057437 | 0.057437 | 0.99322 | -0.1302 | 0.99238 | -0.14642 | 15.7794
35 | -0.038333 | -0.0096288 | 0.038349 | 0.0096386 | 1.5639e-05 | 9.845e-06 | 0.057437 | 0.057437 | 0.057437 | 0.99322 | -0.1302 | 0.99367 | -0.12165 | 15.7794
36 | 0.015132 | 0.0037931 | -0.01513 | -0.003792 | 1.8829e-06 | 1.0791e-06 | 0.02269 | 0.02269 | 0.02269 | 0.99238 | -0.14642 | 0.99225 | -0.14903 | 6.2335
37 | 0.023171 | 0.0058171 | -0.023149 | -0.0058037 | 2.1919e-05 | 1.3403e-05 | 0.034747 | 0.034748 | 0.034748 | 0.99238 | -0.14642 | 0.99136 | -0.16627 | 9.546
38 | -0.053476 | -0.01343 | 0.053519 | 0.013457 | 4.2554e-05 | 2.7005e-05 | 0.08009 | 0.08009 | 0.08009 | 0.99367 | -0.12165 | 0.99453 | -0.10499 | 22.0028
39 | -0.0079039 | -0.0019826 | 0.0079045 | 0.0019828 | 5.8383e-07 | 2.3715e-07 | 0.011995 | 0.011995 | 0.011995 | 0.98055 | -0.37439 | 0.98063 | -0.37284 | 3.2953
40 | 0.0079039 | 0.0019826 | -0.007902 | -0.0019818 | 1.8753e-06 | 7.6189e-07 | 0.011995 | 0.011995 | 0.011995 | 0.98055 | -0.37439 | 0.9803 | -0.37937 | 3.2954
41 | 0.007902 | 0.0019818 | -0.007898 | -0.0019802 | 4.0352e-06 | 1.6402e-06 | 0.011995 | 0.011995 | 0.011995 | 0.9803 | -0.37937 | 0.97975 | -0.39008 | 3.2955
42 | 0.007898 | 0.0019802 | -0.0078911 | -0.0019774 | 6.8891e-06 | 2.8028e-06 | 0.011995 | 0.011996 | 0.011996 | 0.97975 | -0.39008 | 0.97882 | -0.4084 | 3.2956
43 | 0.0041449 | 0.0010385 | -0.0041447 | -0.0010385 | 2.1651e-07 | -4.42e-08 | 0.0063011 | 0.0063012 | 0.0063012 | 0.97882 | -0.4084 | 0.97876 | -0.4095 | 1.7311
44 | 0.017491 | 0.0043864 | -0.017486 | -0.0043839 | 4.3324e-06 | 2.5491e-06 | 0.026028 | 0.026028 | 0.026028 | 1 | 0 | 0.99973 | -0.0051981 | 7.1505
45 | 0.13606 | 0.034431 | -0.13537 | -0.033996 | 0.00068184 | 0.0004358 | 0.20257 | 0.20257 | 0.20257 | 1 | 0 | 0.99453 | -0.10499 | 55.651
46 | 0.25006 | 0.064089 | -0.24966 | -0.063833 | 0.00040013 | 0.00025568 | 0.3726 | 0.3726 | 0.3726 | 1 | 0 | 0.99825 | -0.033068 | 51.1809
47 | 0.017486 | 0.0043839 | -0.017482 | -0.0043815 | 4.0586e-06 | 2.3881e-06 | 0.026028 | 0.026028 | 0.026028 | 0.99973 | -0.0051981 | 0.99948 | -0.01007 | 7.1505
48 | 0.030295 | 0.0076039 | -0.030271 | -0.0075894 | 2.3225e-05 | 1.4473e-05 | 0.045331 | 0.045331 | 0.045331 | 0.99453 | -0.10499 | 0.9937 | -0.12108 | 12.4535
49 | 0.05156 | 0.012935 | -0.051527 | -0.012914 | 3.2981e-05 | 2.0916e-05 | 0.077149 | 0.077149 | 0.077149 | 0.99453 | -0.10499 | 0.99383 | -0.11842 | 21.1948
50 | 0.23442 | 0.060014 | -0.23407 | -0.059791 | 0.00034932 | 0.00022317 | 0.34988 | 0.34988 | 0.34988 | 0.99825 | -0.033068 | 0.99663 | -0.063886 | 48.0606
51 | 0.014116 | 0.0035385 | -0.014114 | -0.0035374 | 1.9904e-06 | 1.1214e-06 | 0.021189 | 0.021189 | 0.021189 | 0.99136 | -0.16627 | 0.99121 | -0.16923 | 5.8211
52 | 0.0090329 | 0.0022651 | -0.0090275 | -0.0022627 | 5.3455e-06 | 2.422e-06 | 0.013559 | 0.013559 | 0.013559 | 0.99136 | -0.16627 | 0.99072 | -0.17869 | 3.725
53 | -0.015133 | -0.0037937 | 0.015136 | 0.0037955 | 3.1282e-06 | 1.7918e-06 | 0.022667 | 0.022667 | 0.022667 | 0.99347 | -0.12541 | 0.9937 | -0.12108 | 6.2272
54 | 0.015133 | 0.0037937 | -0.01513 | -0.003792 | 2.9308e-06 | 1.6788e-06 | 0.022667 | 0.022667 | 0.022667 | 0.99347 | -0.12541 | 0.99326 | -0.12948 | 6.2272
55 | 0.015135 | 0.0037939 | -0.015133 | -0.0037926 | 2.2947e-06 | 1.3143e-06 | 0.022664 | 0.022664 | 0.022664 | 0.9937 | -0.12108 | 0.99353 | -0.12426 | 6.2264
56 | 0.035252 | 0.0088569 | -0.035206 | -0.0088281 | 4.5908e-05 | 2.884e-05 | 0.053453 | 0.053453 | 0.053453 | 0.98148 | -0.35591 | 0.98008 | -0.38323 | 14.6849
57 | -0.082937 | -0.020844 | 0.083047 | 0.020914 | 0.00010988 | 7.0086e-05 | 0.12576 | 0.12576 | 0.12576 | 0.98148 | -0.35591 | 0.9829 | -0.3282 | 34.5499
58 | 0.035206 | 0.0088281 | -0.035193 | -0.0088203 | 1.2487e-05 | 7.845e-06 | 0.053453 | 0.053453 | 0.053453 | 0.98008 | -0.38323 | 0.9797 | -0.39068 | 14.6849
59 | -0.090027 | -0.022663 | 0.090089 | 0.022703 | 6.1916e-05 | 3.9514e-05 | 0.13633 | 0.13633 | 0.13633 | 0.9829 | -0.3282 | 0.98363 | -0.31382 | 37.4529
60 | 0.0090275 | 0.0022627 | -0.0090267 | -0.0022623 | 8.3421e-07 | 3.781e-07 | 0.013559 | 0.013559 | 0.013559 | 0.99072 | -0.17869 | 0.99062 | -0.18063 | 3.725
61 | 0.01172 | 0.0029381 | -0.011717 | -0.0029364 | 3.2007e-06 | 1.704e-06 | 0.017731 | 0.017731 | 0.017731 | 0.98358 | -0.31531 | 0.98328 | -0.32104 | 4.8711
62 | 0.010345 | 0.0025934 | -0.010342 | -0.0025919 | 2.9932e-06 | 1.5017e-06 | 0.015646 | 0.015647 | 0.015647 | 0.98389 | -0.30925 | 0.98358 | -0.31532 | 4.2985
63 | 0.0015072 | 0.00037759 | -0.0015072 | -0.00037773 | 2.4808e-08 | -1.4469e-07 | 0.0022834 | 0.0022834 | 0.0022834 | 0.98217 | -0.34268 | 0.98215 | -0.34302 | 0.62732
64 | 0.022469 | 0.005636 | -0.022462 | -0.0056314 | 7.3815e-06 | 4.5117e-06 | 0.034142 | 0.034142 | 0.034142 | 0.97933 | -0.39789 | 0.97898 | -0.40479 | 9.3796
65 | 0.0074731 | 0.0018729 | -0.0074718 | -0.0018724 | 1.3548e-06 | 5.0883e-07 | 0.011309 | 0.011309 | 0.011309 | 0.98328 | -0.32104 | 0.98309 | -0.32485 | 3.107
66 | 0.0069199 | 0.0017341 | -0.0069186 | -0.0017337 | 1.2595e-06 | 4.1721e-07 | 0.010469 | 0.010469 | 0.010469 | 0.98358 | -0.31532 | 0.98338 | -0.31915 | 2.8761
67 | -0.0028296 | -0.00070916 | 0.0028297 | 0.00070897 | 1.5643e-07 | -1.8314e-07 | 0.0043021 | 0.004302 | 0.0043021 | 0.9787 | -0.41066 | 0.97876 | -0.4095 | 1.1819
68 | -0.0035146 | -0.00088084 | 0.0035149 | 0.00088067 | 2.9551e-07 | -1.6385e-07 | 0.0053202 | 0.0053201 | 0.0053202 | 0.983 | -0.32661 | 0.98309 | -0.32485 | 1.4616
69 | -0.096951 | -0.024423 | 0.097025 | 0.02447 | 7.3694e-05 | 4.7048e-05 | 0.14671 | 0.14671 | 0.14671 | 0.98363 | -0.31382 | 0.98445 | -0.29794 | 40.3048
70 | -0.0036727 | -0.00092047 | 0.003673 | 0.00092031 | 3.3362e-07 | -1.5184e-07 | 0.005558 | 0.0055578 | 0.005558 | 0.98328 | -0.32105 | 0.98338 | -0.31915 | 1.5269
71 | 0.11243 | 0.028414 | -0.11228 | -0.028319 | 0.00014838 | 9.4788e-05 | 0.16966 | 0.16966 | 0.16966 | 0.98656 | -0.25701 | 0.98514 | -0.28457 | 46.6093
72 | 0.013765 | 0.0034508 | -0.013764 | -0.0034502 | 1.0773e-06 | 6.0702e-07 | 0.020927 | 0.020927 | 0.020927 | 0.97876 | -0.40918 | 0.97867 | -0.41083 | 5.7493
73 | -0.015428 | -0.0038675 | 0.015431 | 0.0038694 | 3.2335e-06 | 1.8724e-06 | 0.023456 | 0.023456 | 0.023456 | 0.97876 | -0.40918 | 0.97898 | -0.40479 | 6.4438
74 | 0.012199 | 0.0030579 | -0.012197 | -0.0030569 | 1.8286e-06 | 9.9221e-07 | 0.018548 | 0.018548 | 0.018548 | 0.97867 | -0.41083 | 0.97851 | -0.41397 | 5.0956
75 | 0.010396 | 0.0026055 | -0.010395 | -0.0026051 | 6.7796e-07 | 3.4303e-07 | 0.015809 | 0.015809 | 0.015809 | 0.97851 | -0.41397 | 0.97844 | -0.41534 | 4.343
76 | -0.10479 | -0.026417 | 0.10486 | 0.02646 | 6.7092e-05 | 4.2848e-05 | 0.15845 | 0.15845 | 0.15845 | 0.98445 | -0.29794 | 0.98514 | -0.28457 | 43.5312

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40526 | 0.10291

## res_load
| p_mw | q_mvar
0 | 0.0021783 | 0.00054593
1 | 0.0015166 | 0.00038008
2 | 0.0019854 | 0.00049758
3 | 0.0012332 | 0.00030907
4 | 0.0021339 | 0.0005348
5 | 0.0034029 | 0.00085284
6 | 0.00768 | 0.0019248
7 | 0.0063328 | 0.0015872
8 | 0.0030032 | 0.00075268
9 | 0.0014584 | 0.0003655
10 | 0.010082 | 0.0025268
11 | 0.014121 | 0.003539
12 | 0.011134 | 0.0027905
13 | 0.0039456 | 0.00098886
14 | 0.0092145 | 0.0023094
15 | 0.015127 | 0.0037913
16 | 0.0037462 | 0.00093888
17 | 0.01524 | 0.0038194
18 | 0.01513 | 0.003792
19 | 0.01513 | 0.003792
20 | 0.00698 | 0.0017493
21 | 0.0090267 | 0.0022623
22 | 0.014114 | 0.0035374
23 | 0.0030204 | 0.00075698
24 | 0.006578 | 0.0016486
25 | 0.0042297 | 0.0010601
26 | 0.0038289 | 0.00095961
27 | 0.004209 | 0.0010549
28 | 0.0081167 | 0.0020342
29 | 0.0042435 | 0.0010635
30 | 0.0034225 | 0.00085777
31 | 0.051527 | 0.012914
32 | 0.0028296 | 0.00070916
33 | 0.001315 | 0.00032957
34 | 0.0035146 | 0.00088084
35 | 0.0039569 | 0.0009917
36 | 0.035193 | 0.0088203
37 | 0.0068623 | 0.0017198
38 | 0.015133 | 0.0037926
39 | 0.017482 | 0.0043815
40 | 0.0015072 | 0.00037773
41 | 0.0027163 | 0.00068076
42 | 0.0036727 | 0.00092047
43 | 0.0032456 | 0.00081342
44 | 0.0092513 | 0.0023186
45 | 0.0016629 | 0.00041677
46 | 0.001565 | 0.00039224
47 | 0.0070306 | 0.001762
48 | 0.0018014 | 0.00045146
49 | 0.0020226 | 0.00050691
50 | 0.0077697 | 0.0019473
51 | 0.0074179 | 0.0018591

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1