## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-40_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-40_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-40_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-40_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-40_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1024-40_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1024-40_0_5_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_1024-40_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1024-40_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1024-40_0_5_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_1024-40_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1024-40_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1024-40_0_5_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_1024-40_0_5_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1024-40_0_5_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_1024-40_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1024-40_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1024-40_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1024-40_0_5_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_1024-40_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1024-40_0_5_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_1024-40_0_5_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_1024-40_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1024-40_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1024-40_0_5_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1024-40_0_5_node_77 | 0.4 | n |  | TRUE
26 | bus_LV_1024-40_0_5_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_1024-40_0_5_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1024-40_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1024-40_0_5_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_1024-40_0_5_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_1024-40_0_5_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1024-40_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1024-40_0_5_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1024-40_0_5_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_1024-40_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_1024-40_0_5_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_1024-40_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1024-40_0_5_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_1024-40_0_5_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_1024-40_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1024-40_0_5_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1024-40_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1024-40_0_5_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_1024-40_0_5_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_1024-40_0_5_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_1024-40_0_5_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_1024-40_0_5_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_1024-40_0_5_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_1024-40_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_1024-40_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1024-40_0_5_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1024-40_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1024-40_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_1024-40_0_5_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1024-40_0_5_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_1024-40_0_5_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_1024-40_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_1024-40_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_1024-40_0_5_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_1024-40_0_5_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_1024-40_0_5_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_1024-40_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_1024-40_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_1024-40_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_1024-40_0_5_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_1024-40_0_5_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_1024-40_0_5_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_1024-40_0_5_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_1024-40_0_5_node_52 | 0.4 | n |  | TRUE
70 | bus_MV_354_1_node_210 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-40_0_5_load_0 | 0 | 0.008435 | 0.002114 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-40_0_5_load_1 | 1 | 0.0086476 | 0.0021673 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-40_0_5_load_4 | 4 | 0.011027 | 0.0027636 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-40_0_5_load_41 | 9 | 0.015326 | 0.0038412 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-40_0_5_load_43 | 13 | 0.0093416 | 0.0023412 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-40_0_5_load_64 | 14 | 0.016197 | 0.0040594 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-40_0_5_load_60 | 18 | 0.0067395 | 0.0016891 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-40_0_5_load_45 | 20 | 0.0050312 | 0.0012609 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-40_0_5_load_58 | 21 | 0.0057955 | 0.0014525 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-40_0_5_load_77 | 25 | 0.015329 | 0.0038419 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-40_0_5_load_71 | 26 | 0.017426 | 0.0043674 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-40_0_5_load_55 | 27 | 0.017821 | 0.0044664 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-40_0_5_load_75 | 30 | 0.0093813 | 0.0023512 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-40_0_5_load_34 | 31 | 0.0049986 | 0.0012528 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-40_0_5_load_57 | 34 | 0.0050063 | 0.0012547 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-40_0_5_load_47 | 36 | 0.0099839 | 0.0025022 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-40_0_5_load_78 | 38 | 0.0018379 | 0.00046061 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-40_0_5_load_63 | 39 | 0.030828 | 0.0077263 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-40_0_5_load_40 | 41 | 0.048332 | 0.012113 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-40_0_5_load_54 | 43 | 0.0029107 | 0.00072948 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-40_0_5_load_49 | 44 | 0.002913 | 0.00073006 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-40_0_5_load_76 | 46 | 0.017016 | 0.0042645 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-40_0_5_load_62 | 47 | 0.0041833 | 0.0010484 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-40_0_5_load_61 | 48 | 0.023702 | 0.0059403 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-40_0_5_load_44 | 51 | 0.006983 | 0.0017501 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-40_0_5_load_42 | 52 | 0.0096305 | 0.0024136 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-40_0_5_load_59 | 53 | 0.010811 | 0.0027096 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-40_0_5_load_56 | 54 | 0.0063363 | 0.001588 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-40_0_5_load_36 | 57 | 0.0031898 | 0.00079943 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-40_0_5_load_70 | 59 | 0.0049821 | 0.0012486 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-40_0_5_load_68 | 60 | 0.0036554 | 0.00091613 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-40_0_5_load_65 | 61 | 0.0031903 | 0.00079956 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-40_0_5_load_48 | 62 | 0.0049229 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-40_0_5_load_53 | 63 | 0.01298 | 0.0032531 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-40_0_5_load_50 | 64 | 0.013621 | 0.0034136 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-40_0_5_load_69 | 65 | 0.0023008 | 0.00057665 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-40_0_5_load_67 | 66 | 0.0031367 | 0.00078612 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-40_0_5_load_72 | 67 | 0.0024617 | 0.00061697 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-40_0_5_load_51 | 68 | 0.003057 | 0.00076617 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1024-40_0_5_load_52 | 69 | 0.0025216 | 0.00063196 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-40_0_5_line_0 |  | 0 | 1 | 0.014654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-40_0_5_line_1 |  | 0 | 2 | 0.0093038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-40_0_5_line_2 |  | 1 | 3 | 0.016419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-40_0_5_line_3 |  | 2 | 4 | 0.029304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-40_0_5_line_4 |  | 2 | 5 | 0.030078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-40_0_5_line_5 |  | 3 | 6 | 0.041169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-40_0_5_line_6 |  | 3 | 7 | 0.025511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-40_0_5_line_7 |  | 5 | 8 | 0.010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1024-40_0_5_line_8 |  | 5 | 9 | 0.0043725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-40_0_5_line_9 |  | 6 | 37 | 0.035701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-40_0_5_line_10 |  | 6 | 38 | 0.011535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-40_0_5_line_11 |  | 6 | 35 | 0.028793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-40_0_5_line_12 |  | 7 | 31 | 0.0039191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-40_0_5_line_13 |  | 8 | 11 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1024-40_0_5_line_14 |  | 9 | 40 | 0.022564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-40_0_5_line_15 |  | 10 | 11 | 0.025523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-40_0_5_line_16 |  | 10 | 12 | 0.028442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-40_0_5_line_17 |  | 10 | 13 | 0.0070609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-40_0_5_line_18 |  | 11 | 14 | 0.015908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1024-40_0_5_line_19 |  | 12 | 47 | 0.032598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-40_0_5_line_20 |  | 12 | 48 | 0.017477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-40_0_5_line_21 |  | 13 | 52 | 0.012397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-40_0_5_line_22 |  | 14 | 16 | 0.016084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1024-40_0_5_line_23 |  | 15 | 16 | 0.024807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1024-40_0_5_line_24 |  | 15 | 17 | 0.0084972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1024-40_0_5_line_25 |  | 15 | 18 | 0.0093055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-40_0_5_line_26 |  | 17 | 27 | 0.019124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-40_0_5_line_27 |  | 17 | 23 | 0.010859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1024-40_0_5_line_28 |  | 18 | 19 | 0.010643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-40_0_5_line_29 |  | 19 | 20 | 0.01334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-40_0_5_line_30 |  | 19 | 21 | 0.040707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-40_0_5_line_31 |  | 20 | 51 | 0.024947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-40_0_5_line_32 |  | 21 | 53 | 0.015504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-40_0_5_line_33 |  | 22 | 23 | 0.0077389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1024-40_0_5_line_34 |  | 22 | 24 | 0.025788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-40_0_5_line_35 |  | 22 | 25 | 0.022369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-40_0_5_line_36 |  | 23 | 26 | 0.050055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-40_0_5_line_37 |  | 24 | 45 | 0.036765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-40_0_5_line_38 |  | 27 | 54 | 0.033523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-40_0_5_line_39 |  | 28 | 29 | 0.006262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-40_0_5_line_40 |  | 28 | 30 | 0.0089427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-40_0_5_line_41 |  | 29 | 61 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-40_0_5_line_42 |  | 29 | 58 | 0.032344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-40_0_5_line_43 |  | 30 | 33 | 0.0020113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-40_0_5_line_44 |  | 32 | 33 | 0.0080308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-40_0_5_line_45 |  | 32 | 34 | 0.040835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-40_0_5_line_46 |  | 34 | 54 | 0.032812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-40_0_5_line_47 |  | 35 | 36 | 0.011013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-40_0_5_line_48 |  | 36 | 62 | 0.019037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-40_0_5_line_49 |  | 37 | 39 | 0.055069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-40_0_5_line_50 |  | 40 | 41 | 0.020764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1024-40_0_5_line_51 |  | 42 | 43 | 0.0064601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-40_0_5_line_52 |  | 42 | 44 | 0.0052545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-40_0_5_line_53 |  | 44 | 62 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-40_0_5_line_54 |  | 45 | 46 | 0.023309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1024-40_0_5_line_55 |  | 49 | 50 | 0.03058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1024-40_0_5_line_56 |  | 49 | 51 | 0.017756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1024-40_0_5_line_57 |  | 50 | 63 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1024-40_0_5_line_58 |  | 50 | 64 | 0.0090332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1024-40_0_5_line_59 |  | 55 | 56 | 0.001695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1024-40_0_5_line_60 |  | 55 | 57 | 0.0083834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1024-40_0_5_line_61 |  | 56 | 65 | 0.037025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1024-40_0_5_line_62 |  | 56 | 66 | 0.022695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1024-40_0_5_line_63 |  | 58 | 59 | 0.029435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1024-40_0_5_line_64 |  | 58 | 60 | 0.011522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1024-40_0_5_line_65 |  | 60 | 66 | 0.023013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1024-40_0_5_line_66 |  | 63 | 67 | 0.0078931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1024-40_0_5_line_67 |  | 64 | 68 | 0.0030767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1024-40_0_5_line_68 |  | 68 | 69 | 0.020623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-40_0_5_trafo_13 | 0.63 MVA 20/0.4 kV | 70 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2663266.6914 | 1214794.0447 | 2663253.9748 | 1214801.3265
1 | 2663274.9922 | 1214791.2367 | 2663272.7054 | 1214790.601 | 2663266.6914 | 1214794.0447
2 | 2663239.7268 | 1214809.4851 | 2663253.9748 | 1214801.3265
3 | 2663274.9922 | 1214791.2367 | 2663277.1958 | 1214791.8494 | 2663279.901 | 1214793.846 | 2663280.7765 | 1214817.4847
4 | 2663268.8981 | 1214766.5012 | 2663270.036 | 1214767.3361 | 2663274.2784 | 1214770.483 | 2663277.27 | 1214772.6939 | 2663279.1688 | 1214775.538 | 2663277.6579 | 1214781.2255 | 2663276.4554 | 1214785.76 | 2663275.6013 | 1214788.9529 | 2663274.9922 | 1214791.2367
5 | 2663207.9216 | 1214821.5888 | 2663208.6263 | 1214820.3066 | 2663209.989 | 1214817.8417 | 2663211.2746 | 1214815.4983 | 2663212.9782 | 1214812.4034 | 2663218.4992 | 1214813.1401 | 2663221.9255 | 1214814.4661 | 2663225.6542 | 1214815.9177 | 2663229.7374 | 1214816.1722 | 2663231.5133 | 1214816.2911 | 2663231.5128 | 1214814.1898 | 2663239.7268 | 1214809.4851
6 | 2663239.7268 | 1214809.4851 | 2663241.558 | 1214812.9845 | 2663251.5546 | 1214832.1023
7 | 2663270.7644 | 1214755.959 | 2663270.304 | 1214763.5588 | 2663268.8981 | 1214766.5012
8 | 2663268.8981 | 1214766.5012 | 2663268.0282 | 1214768.3265 | 2663266.5106 | 1214770.1215
9 | 2663183.7083 | 1214808.8688 | 2663184.928 | 1214814.1628 | 2663192.0585 | 1214812.8041 | 2663204.1841 | 1214815.2341 | 2663209.989 | 1214817.8417 | 2663208.6263 | 1214820.3066 | 2663207.9216 | 1214821.5888
10 | 2663207.9216 | 1214821.5888 | 2663212.3173 | 1214824.5928 | 2663216.2277 | 1214829.4176
11 | 2663207.9216 | 1214821.5888 | 2663204.1177 | 1214820.0586 | 2663200.0925 | 1214819.3489 | 2663194.6213 | 1214819.6466 | 2663179.7047 | 1214822.6015
12 | 2663251.5546 | 1214832.1023 | 2663254.2235 | 1214834.9722
13 | 2663270.7644 | 1214755.959 | 2663272.0027 | 1214755.205 | 2663278.4239 | 1214751.2818 | 2663284.5928 | 1214747.5116 | 2663286.0529 | 1214746.6154
14 | 2663248.3296 | 1214783.1823 | 2663258.3401 | 1214777.3738 | 2663263.8826 | 1214773.23 | 2663266.5106 | 1214770.1215
15 | 2663286.0529 | 1214746.6154 | 2663292.2548 | 1214747.604 | 2663293.3304 | 1214748.5827 | 2663295.8578 | 1214750.8776 | 2663298.1822 | 1214752.9814 | 2663299.8973 | 1214754.5339 | 2663302.6881 | 1214757.0651 | 2663305.7722 | 1214759.8551 | 2663306.5093 | 1214760.53
16 | 2663321.8917 | 1214779.5272 | 2663303.7886 | 1214764.9928 | 2663306.5093 | 1214760.53
17 | 2663306.5093 | 1214760.53 | 2663310.9105 | 1214755.0085
18 | 2663286.0529 | 1214746.6154 | 2663280.8887 | 1214742.3024 | 2663275.5255 | 1214734.8528
19 | 2663321.8917 | 1214779.5272 | 2663331.6674 | 1214780.1092 | 2663335.4798 | 1214785.831 | 2663340.4144 | 1214801.015
20 | 2663321.8917 | 1214779.5272 | 2663322.7111 | 1214784.6057 | 2663321.7821 | 1214796.9031
21 | 2663310.9105 | 1214755.0085 | 2663318.6374 | 1214745.3145
22 | 2663265.2314 | 1214722.7131 | 2663266.1132 | 1214723.3562 | 2663268.33 | 1214724.8584 | 2663275.5255 | 1214734.8528
23 | 2663265.2314 | 1214722.7131 | 2663263.6866 | 1214721.5738 | 2663259.8654 | 1214716.6635 | 2663250.3964 | 1214702.9213
24 | 2663243.2989 | 1214707.5933 | 2663244.2855 | 1214706.9479 | 2663247.1077 | 1214705.0877 | 2663249.6851 | 1214703.3918 | 2663250.3964 | 1214702.9213
25 | 2663250.3964 | 1214702.9213 | 2663245.7965 | 1214696.2462 | 2663245.1366 | 1214695.2452
26 | 2663243.2989 | 1214707.5933 | 2663241.5786 | 1214705.0958 | 2663239.1714 | 1214705.0702 | 2663231.481 | 1214693.7519
27 | 2663239.5599 | 1214717.1263 | 2663240.2943 | 1214715.9111 | 2663242.8068 | 1214711.7463 | 2663243.9871 | 1214708.5901 | 2663243.2989 | 1214707.5933
28 | 2663239.2788 | 1214686.3598 | 2663245.1366 | 1214695.2452
29 | 2663239.2788 | 1214686.3598 | 2663231.9406 | 1214675.2192
30 | 2663239.2788 | 1214686.3598 | 2663273.5392 | 1214664.3757
31 | 2663231.9406 | 1214675.2192 | 2663231.5279 | 1214674.5926 | 2663218.3584 | 1214654.2939
32 | 2663273.5392 | 1214664.3757 | 2663286.5882 | 1214656.0024
33 | 2663239.5599 | 1214717.1263 | 2663239.557 | 1214718.1157 | 2663239.7552 | 1214720.9084 | 2663239.9879 | 1214724.0351 | 2663240.0476 | 1214724.8473
34 | 2663240.0476 | 1214724.8473 | 2663226.7745 | 1214726.0518 | 2663231.0096 | 1214737.7706
35 | 2663240.0476 | 1214724.8473 | 2663247.8227 | 1214724.3072 | 2663254.8904 | 1214737.0537
36 | 2663239.5599 | 1214717.1263 | 2663231.0599 | 1214717.9922 | 2663207.569 | 1214720.189 | 2663189.7357 | 1214721.9274
37 | 2663202.563 | 1214728.1743 | 2663222.7682 | 1214726.4207 | 2663226.7745 | 1214726.0518 | 2663231.0096 | 1214737.7706
38 | 2663231.481 | 1214693.7519 | 2663220.5213 | 1214677.6222 | 2663221.3135 | 1214673.8283 | 2663215.7691 | 1214665.3302
39 | 2663175.5188 | 1214584.0988 | 2663176.0268 | 1214584.9046 | 2663178.6512 | 1214589.5242
40 | 2663178.6512 | 1214589.5242 | 2663183.1076 | 1214597.2774
41 | 2663175.5188 | 1214584.0988 | 2663167.0824 | 1214570.7505
42 | 2663175.5188 | 1214584.0988 | 2663177.1482 | 1214583.7158 | 2663178.2711 | 1214583.1051 | 2663189.2551 | 1214560.7187 | 2663192.0417 | 1214557.2127
43 | 2663184.1099 | 1214599.0212 | 2663183.1076 | 1214597.2774
44 | 2663176.9847 | 1214602.7258 | 2663178.0081 | 1214602.1918 | 2663180.7573 | 1214600.7645 | 2663183.4608 | 1214599.359 | 2663184.1099 | 1214599.0212
45 | 2663176.9847 | 1214602.7258 | 2663198.4126 | 1214637.4869
46 | 2663215.7691 | 1214665.3302 | 2663212.2708 | 1214659.9683 | 2663198.4126 | 1214637.4869
47 | 2663179.7047 | 1214822.6015 | 2663182.0226 | 1214833.3679
48 | 2663190.4102 | 1214849.3329 | 2663190.0342 | 1214849.0162 | 2663184.3733 | 1214844.2866 | 2663182.0226 | 1214833.3679
49 | 2663183.7083 | 1214808.8688 | 2663175.234 | 1214772.2008 | 2663192.2223 | 1214768.2801
50 | 2663248.3296 | 1214783.1823 | 2663245.6106 | 1214778.1837 | 2663240.4884 | 1214764.0065
51 | 2663205.9769 | 1214865.3174 | 2663207.1024 | 1214865.1737 | 2663211.2189 | 1214868.5523
52 | 2663205.9769 | 1214865.3174 | 2663205.2166 | 1214862.5299 | 2663203.7921 | 1214860.6419
53 | 2663203.7921 | 1214860.6419 | 2663203.7113 | 1214860.5349 | 2663190.4102 | 1214849.3329
54 | 2663202.563 | 1214728.1743 | 2663179.3617 | 1214730.409
55 | 2663208.8368 | 1214639.3081 | 2663234.8461 | 1214623.1071
56 | 2663208.8368 | 1214639.3081 | 2663213.1303 | 1214646.2356 | 2663218.3584 | 1214654.2939
57 | 2663234.8461 | 1214623.1071 | 2663226.3938 | 1214608.6832
58 | 2663234.8461 | 1214623.1071 | 2663242.5131 | 1214618.3304
59 | 2663248.3629 | 1214548.1374 | 2663249.068 | 1214549.6792
60 | 2663249.068 | 1214549.6792 | 2663254.3606 | 1214554.794 | 2663255.2584 | 1214555.2848
61 | 2663248.3629 | 1214548.1374 | 2663232.9806 | 1214514.4585
62 | 2663248.3629 | 1214548.1374 | 2663244.3077 | 1214548.806 | 2663235.4136 | 1214550.2792 | 2663225.9241 | 1214551.5128
63 | 2663192.0417 | 1214557.2127 | 2663175.5727 | 1214532.8156
64 | 2663192.0417 | 1214557.2127 | 2663194.753 | 1214555.785 | 2663197.2195 | 1214555.2442 | 2663203.1028 | 1214554.4794
65 | 2663225.9241 | 1214551.5128 | 2663203.1028 | 1214554.4794
66 | 2663222.4032 | 1214601.8732 | 2663226.3938 | 1214608.6832
67 | 2663245.1245 | 1214616.7035 | 2663242.5131 | 1214618.3304
68 | 2663262.628 | 1214605.7984 | 2663245.1245 | 1214616.7035

## bus_geodata
| x | y | coords
0 | 2663266.6914 | 1214794.0447
1 | 2663253.9748 | 1214801.3265
2 | 2663274.9922 | 1214791.2367
3 | 2663239.7268 | 1214809.4851
4 | 2663280.7765 | 1214817.4847
5 | 2663268.8981 | 1214766.5012
6 | 2663207.9216 | 1214821.5888
7 | 2663251.5546 | 1214832.1023
8 | 2663270.7644 | 1214755.959
9 | 2663266.5106 | 1214770.1215
10 | 2663306.5093 | 1214760.53
11 | 2663286.0529 | 1214746.6154
12 | 2663321.8917 | 1214779.5272
13 | 2663310.9105 | 1214755.0085
14 | 2663275.5255 | 1214734.8528
15 | 2663250.3964 | 1214702.9213
16 | 2663265.2314 | 1214722.7131
17 | 2663243.2989 | 1214707.5933
18 | 2663245.1366 | 1214695.2452
19 | 2663239.2788 | 1214686.3598
20 | 2663231.9406 | 1214675.2192
21 | 2663273.5392 | 1214664.3757
22 | 2663240.0476 | 1214724.8473
23 | 2663239.5599 | 1214717.1263
24 | 2663231.0096 | 1214737.7706
25 | 2663254.8904 | 1214737.0537
26 | 2663189.7357 | 1214721.9274
27 | 2663231.481 | 1214693.7519
28 | 2663178.6512 | 1214589.5242
29 | 2663175.5188 | 1214584.0988
30 | 2663183.1076 | 1214597.2774
31 | 2663254.2235 | 1214834.9722
32 | 2663176.9847 | 1214602.7258
33 | 2663184.1099 | 1214599.0212
34 | 2663198.4126 | 1214637.4869
35 | 2663179.7047 | 1214822.6015
36 | 2663182.0226 | 1214833.3679
37 | 2663183.7083 | 1214808.8688
38 | 2663216.2277 | 1214829.4176
39 | 2663192.2223 | 1214768.2801
40 | 2663248.3296 | 1214783.1823
41 | 2663240.4884 | 1214764.0065
42 | 2663205.9769 | 1214865.3174
43 | 2663211.2189 | 1214868.5523
44 | 2663203.7921 | 1214860.6419
45 | 2663202.563 | 1214728.1743
46 | 2663179.3617 | 1214730.409
47 | 2663340.4144 | 1214801.015
48 | 2663321.7821 | 1214796.9031
49 | 2663208.8368 | 1214639.3081
50 | 2663234.8461 | 1214623.1071
51 | 2663218.3584 | 1214654.2939
52 | 2663318.6374 | 1214745.3145
53 | 2663286.5882 | 1214656.0024
54 | 2663215.7691 | 1214665.3302
55 | 2663249.068 | 1214549.6792
56 | 2663248.3629 | 1214548.1374
57 | 2663255.2584 | 1214555.2848
58 | 2663192.0417 | 1214557.2127
59 | 2663175.5727 | 1214532.8156
60 | 2663203.1028 | 1214554.4794
61 | 2663167.0824 | 1214570.7505
62 | 2663190.4102 | 1214849.3329
63 | 2663226.3938 | 1214608.6832
64 | 2663242.5131 | 1214618.3304
65 | 2663232.9806 | 1214514.4585
66 | 2663225.9241 | 1214551.5128
67 | 2663222.4032 | 1214601.8732
68 | 2663245.1245 | 1214616.7035
69 | 2663262.628 | 1214605.7984
70 | 2663239.7552 | 1214720.9084

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98904 | -0.21038 | 0.008435 | 0.002114
1 | 0.98814 | -0.22791 | 0.0086476 | 0.0021673
2 | 0.98969 | -0.19788 | 0 | 0
3 | 0.98725 | -0.24504 | 0 | 0
4 | 0.98939 | -0.20363 | 0.011027 | 0.0027636
5 | 0.99208 | -0.15169 | 0 | 0
6 | 0.98522 | -0.28444 | 0 | 0
7 | 0.98713 | -0.24732 | 0 | 0
8 | 0.99283 | -0.13724 | 0 | 0
9 | 0.99183 | -0.15662 | 0.015326 | 0.0038412
10 | 0.99256 | -0.14253 | 0 | 0
11 | 0.99366 | -0.12139 | 0 | 0
12 | 0.99184 | -0.15657 | 0 | 0
13 | 0.99244 | -0.1449 | 0.0093416 | 0.0023412
14 | 0.99462 | -0.10296 | 0.016197 | 0.0040594
15 | 0.99728 | -0.05189 | 0 | 0
16 | 0.99566 | -0.082841 | 0 | 0
17 | 0.99802 | -0.03784 | 0 | 0
18 | 0.99669 | -0.063313 | 0.0067395 | 0.0016891
19 | 0.99607 | -0.075135 | 0 | 0
20 | 0.99551 | -0.086075 | 0.0050312 | 0.0012609
21 | 0.99546 | -0.087019 | 0.0057955 | 0.0014525
22 | 1 | 0 | -0.39654 | -0.10008
23 | 0.99915 | -0.016186 | 0 | 0
24 | 0.9996 | -0.0076522 | 0 | 0
25 | 0.99969 | -0.0059785 | 0.015329 | 0.0038419
26 | 0.99836 | -0.031428 | 0.017426 | 0.0043674
27 | 0.99699 | -0.057608 | 0.017821 | 0.0044664
28 | 0.99313 | -0.13199 | 0 | 0
29 | 0.99301 | -0.13426 | 0 | 0
30 | 0.9933 | -0.12876 | 0.0093813 | 0.0023512
31 | 0.98712 | -0.24767 | 0.0049986 | 0.0012528
32 | 0.99357 | -0.12347 | 0 | 0
33 | 0.99335 | -0.1277 | 0 | 0
34 | 0.99468 | -0.10197 | 0.0050063 | 0.0012547
35 | 0.98468 | -0.29516 | 0 | 0
36 | 0.98446 | -0.29927 | 0.0099839 | 0.0025022
37 | 0.98421 | -0.30422 | 0 | 0
38 | 0.98521 | -0.28482 | 0.0018379 | 0.00046061
39 | 0.98264 | -0.33482 | 0.030828 | 0.0077263
40 | 0.99083 | -0.17596 | 0 | 0
41 | 0.98991 | -0.19379 | 0.048332 | 0.012113
42 | 0.98417 | -0.30506 | 0 | 0
43 | 0.98415 | -0.3054 | 0.0029107 | 0.00072948
44 | 0.98418 | -0.30478 | 0.002913 | 0.00073006
45 | 0.99903 | -0.018571 | 0 | 0
46 | 0.99867 | -0.0255 | 0.017016 | 0.0042645
47 | 0.99171 | -0.15899 | 0.0041833 | 0.0010484
48 | 0.99146 | -0.16391 | 0.023702 | 0.0059403
49 | 0.994 | -0.1152 | 0 | 0
50 | 0.99303 | -0.13391 | 0 | 0
51 | 0.99456 | -0.10436 | 0.006983 | 0.0017501
52 | 0.99233 | -0.14701 | 0.0096305 | 0.0024136
53 | 0.9953 | -0.089967 | 0.010811 | 0.0027096
54 | 0.99573 | -0.081851 | 0.0063363 | 0.001588
55 | 0.99207 | -0.15246 | 0 | 0
56 | 0.99208 | -0.15236 | 0 | 0
57 | 0.99205 | -0.15293 | 0.0031898 | 0.00079943
58 | 0.9925 | -0.14414 | 0 | 0
59 | 0.99237 | -0.14673 | 0.0049821 | 0.0012486
60 | 0.99237 | -0.14664 | 0.0036554 | 0.00091613
61 | 0.99297 | -0.13515 | 0.0031903 | 0.00079956
62 | 0.98428 | -0.30295 | 0.0049229 | 0.0012338
63 | 0.99279 | -0.13847 | 0.01298 | 0.0032531
64 | 0.99287 | -0.13697 | 0.013621 | 0.0034136
65 | 0.992 | -0.15387 | 0.0023008 | 0.00057665
66 | 0.99219 | -0.15016 | 0.0031367 | 0.00078612
67 | 0.99277 | -0.13882 | 0.0024617 | 0.00061697
68 | 0.99285 | -0.13728 | 0.003057 | 0.00076617
69 | 0.99281 | -0.1382 | 0.0025216 | 0.00063196
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.06734 | 0.016989 | -0.067283 | -0.016953 | 5.6449e-05 | 3.5939e-05 | 0.10135 | 0.10135 | 0.10135 | 0.98904 | -0.21038 | 0.98814 | -0.22791 | 27.8442
1 | -0.075775 | -0.019103 | 0.07582 | 0.019132 | 4.5377e-05 | 2.8922e-05 | 0.11404 | 0.11404 | 0.11404 | 0.98904 | -0.21038 | 0.98969 | -0.19788 | 31.3306
2 | 0.058636 | 0.014786 | -0.058588 | -0.014755 | 4.8039e-05 | 3.0535e-05 | 0.088331 | 0.088331 | 0.088331 | 0.98814 | -0.22791 | 0.98725 | -0.24504 | 24.2667
3 | 0.01103 | 0.0027652 | -0.011027 | -0.0027636 | 3.0224e-06 | 1.5579e-06 | 0.016584 | 0.016584 | 0.016584 | 0.98969 | -0.19788 | 0.98939 | -0.20363 | 4.5561
4 | -0.08685 | -0.021897 | 0.087043 | 0.02202 | 0.00019246 | 0.00012279 | 0.13063 | 0.13063 | 0.13063 | 0.98969 | -0.19788 | 0.99208 | -0.15169 | 35.8867
5 | 0.053589 | 0.013502 | -0.053488 | -0.013438 | 0.00010078 | 6.3974e-05 | 0.080796 | 0.080796 | 0.080796 | 0.98725 | -0.24504 | 0.98522 | -0.28444 | 22.1967
6 | 0.0049992 | 0.0012528 | -0.0049987 | -0.0012528 | 5.4315e-07 | 2.1448e-08 | 0.0075349 | 0.007535 | 0.007535 | 0.98725 | -0.24504 | 0.98713 | -0.24732 | 2.0701
7 | -0.1508 | -0.038038 | 0.15091 | 0.038105 | 0.0001044 | 6.6534e-05 | 0.22627 | 0.22627 | 0.22627 | 0.99208 | -0.15169 | 0.99283 | -0.13724 | 31.0815
8 | 0.063759 | 0.016018 | -0.063744 | -0.016009 | 1.5e-05 | 9.5437e-06 | 0.095646 | 0.095646 | 0.095646 | 0.99208 | -0.15169 | 0.99183 | -0.15662 | 26.2763
9 | 0.030902 | 0.0077726 | -0.030873 | -0.0077544 | 2.9176e-05 | 1.8219e-05 | 0.046683 | 0.046683 | 0.046683 | 0.98522 | -0.28444 | 0.98421 | -0.30422 | 12.8249
10 | 0.0018379 | 0.00046049 | -0.0018379 | -0.00046061 | 3.3328e-08 | -1.2556e-07 | 0.0027758 | 0.0027758 | 0.0027758 | 0.98522 | -0.28444 | 0.98521 | -0.28482 | 0.76259
11 | 0.020748 | 0.0052054 | -0.020737 | -0.005199 | 1.0604e-05 | 6.4199e-06 | 0.031338 | 0.031338 | 0.031338 | 0.98522 | -0.28444 | 0.98468 | -0.29516 | 8.6093
12 | 0.0049987 | 0.0012528 | -0.0049986 | -0.0012528 | 8.3442e-08 | 3.3028e-09 | 0.007535 | 0.007535 | 0.007535 | 0.98713 | -0.24732 | 0.98712 | -0.24767 | 2.0701
13 | -0.15091 | -0.038105 | 0.15102 | 0.038177 | 0.00011467 | 7.2694e-05 | 0.22627 | 0.22627 | 0.22627 | 0.99283 | -0.13724 | 0.99366 | -0.12139 | 20.721
14 | 0.048418 | 0.012168 | -0.048373 | -0.012139 | 4.4663e-05 | 2.8294e-05 | 0.072652 | 0.072652 | 0.072652 | 0.99183 | -0.15662 | 0.99083 | -0.17596 | 19.9594
15 | -0.046888 | -0.011762 | 0.046935 | 0.011792 | 4.7296e-05 | 2.9939e-05 | 0.070297 | 0.070297 | 0.070297 | 0.99256 | -0.14253 | 0.99366 | -0.12139 | 19.3123
16 | 0.027913 | 0.0070053 | -0.027894 | -0.0069937 | 1.868e-05 | 1.1588e-05 | 0.04185 | 0.04185 | 0.04185 | 0.99256 | -0.14253 | 0.99184 | -0.15657 | 11.4972
17 | 0.018975 | 0.0047566 | -0.018973 | -0.0047553 | 2.1428e-06 | 1.2801e-06 | 0.028447 | 0.028447 | 0.028447 | 0.99256 | -0.14253 | 0.99244 | -0.1449 | 7.8152
18 | -0.19796 | -0.049969 | 0.19813 | 0.050081 | 0.00017489 | 0.00011131 | 0.29657 | 0.29657 | 0.29657 | 0.99366 | -0.12139 | 0.99462 | -0.10296 | 27.1584
19 | 0.0041837 | 0.0010483 | -0.0041833 | -0.0010484 | 4.816e-07 | -1.1244e-07 | 0.0062766 | 0.0062768 | 0.0062768 | 0.99184 | -0.15657 | 0.99171 | -0.15899 | 1.7244
20 | 0.023711 | 0.0059454 | -0.023702 | -0.0059403 | 8.2934e-06 | 5.0823e-06 | 0.035573 | 0.035573 | 0.035573 | 0.99184 | -0.15657 | 0.99146 | -0.16391 | 9.7728
21 | 0.0096315 | 0.0024141 | -0.0096305 | -0.0024136 | 9.6947e-07 | 4.6029e-07 | 0.014441 | 0.014441 | 0.014441 | 0.99244 | -0.1449 | 0.99233 | -0.14701 | 3.9673
22 | -0.21433 | -0.05414 | 0.21454 | 0.054272 | 0.00020691 | 0.0001318 | 0.3208 | 0.3208 | 0.3208 | 0.99462 | -0.10296 | 0.99566 | -0.082841 | 29.3774
23 | 0.21485 | 0.054475 | -0.21454 | -0.054272 | 0.00031912 | 0.00020327 | 0.3208 | 0.3208 | 0.3208 | 0.99728 | -0.05189 | 0.99566 | -0.082841 | 29.3774
24 | -0.28506 | -0.072145 | 0.28525 | 0.072268 | 0.00019237 | 0.00012278 | 0.42557 | 0.42557 | 0.42557 | 0.99728 | -0.05189 | 0.99802 | -0.03784 | 38.972
25 | 0.070203 | 0.01767 | -0.070164 | -0.017646 | 3.8307e-05 | 2.4395e-05 | 0.10477 | 0.10477 | 0.10477 | 0.99728 | -0.05189 | 0.99669 | -0.063313 | 28.7841
26 | 0.059194 | 0.014906 | -0.059138 | -0.014871 | 5.5891e-05 | 3.5521e-05 | 0.088281 | 0.088281 | 0.088281 | 0.99802 | -0.03784 | 0.99699 | -0.057608 | 24.253
27 | -0.34444 | -0.087174 | 0.3448 | 0.087403 | 0.00035841 | 0.00022896 | 0.51386 | 0.51386 | 0.51386 | 0.99802 | -0.03784 | 0.99915 | -0.016186 | 47.0564
28 | 0.063425 | 0.015956 | -0.063389 | -0.015934 | 3.5801e-05 | 2.2774e-05 | 0.094712 | 0.094712 | 0.094712 | 0.99669 | -0.063313 | 0.99607 | -0.075135 | 26.0199
29 | 0.046771 | 0.011765 | -0.046747 | -0.01175 | 2.4433e-05 | 1.5463e-05 | 0.069886 | 0.069886 | 0.069886 | 0.99607 | -0.075135 | 0.99551 | -0.086075 | 19.1995
30 | 0.016618 | 0.0041684 | -0.016609 | -0.0041629 | 9.4088e-06 | 5.4921e-06 | 0.024826 | 0.024827 | 0.024827 | 0.99607 | -0.075135 | 0.99546 | -0.087019 | 6.8205
31 | 0.041716 | 0.010489 | -0.041679 | -0.010466 | 3.6386e-05 | 2.2963e-05 | 0.062366 | 0.062366 | 0.062366 | 0.99551 | -0.086075 | 0.99456 | -0.10436 | 17.1335
32 | 0.010813 | 0.0027104 | -0.010811 | -0.0027096 | 1.519e-06 | 7.7063e-07 | 0.016163 | 0.016164 | 0.016164 | 0.99546 | -0.087019 | 0.9953 | -0.089967 | 4.4405
33 | 0.36252 | 0.091958 | -0.36224 | -0.091778 | 0.0002819 | 0.00018011 | 0.53983 | 0.53983 | 0.53983 | 1 | 0 | 0.99915 | -0.016186 | 49.4348
34 | 0.017036 | 0.0042766 | -0.01703 | -0.004273 | 6.2158e-06 | 3.6399e-06 | 0.025353 | 0.025353 | 0.025353 | 1 | 0 | 0.9996 | -0.0076522 | 6.965
35 | 0.015334 | 0.0038444 | -0.015329 | -0.0038419 | 4.3672e-06 | 2.5016e-06 | 0.022817 | 0.022817 | 0.022817 | 1 | 0 | 0.99969 | -0.0059785 | 6.2685
36 | 0.017439 | 0.0043748 | -0.017426 | -0.0043674 | 1.2662e-05 | 7.4488e-06 | 0.025973 | 0.025973 | 0.025973 | 0.99915 | -0.016186 | 0.99836 | -0.031428 | 7.1354
37 | 0.01703 | 0.004273 | -0.017021 | -0.0042678 | 8.8617e-06 | 5.1898e-06 | 0.025353 | 0.025353 | 0.025353 | 0.9996 | -0.0076522 | 0.99903 | -0.018571 | 6.9651
38 | 0.041316 | 0.010404 | -0.041269 | -0.010374 | 4.7831e-05 | 3.0175e-05 | 0.061683 | 0.061683 | 0.061683 | 0.99699 | -0.057608 | 0.99573 | -0.081851 | 16.9459
39 | 0.02047 | 0.0051336 | -0.020468 | -0.0051323 | 2.2091e-06 | 1.3328e-06 | 0.030671 | 0.030671 | 0.030671 | 0.99313 | -0.13199 | 0.99301 | -0.13426 | 8.4262
40 | -0.02047 | -0.0051336 | 0.020473 | 0.0051355 | 3.1548e-06 | 1.9033e-06 | 0.030671 | 0.030671 | 0.030671 | 0.99313 | -0.13199 | 0.9933 | -0.12876 | 8.4262
41 | 0.0031904 | 0.00079945 | -0.0031903 | -0.00079956 | 1.3534e-07 | -1.1765e-07 | 0.0047808 | 0.0047808 | 0.0047808 | 0.99301 | -0.13426 | 0.99297 | -0.13515 | 1.3134
42 | 0.017277 | 0.0043328 | -0.017269 | -0.004328 | 8.1304e-06 | 4.7853e-06 | 0.025891 | 0.025891 | 0.025891 | 0.99301 | -0.13426 | 0.9925 | -0.14414 | 7.1129
43 | -0.029854 | -0.0074867 | 0.029856 | 0.0074876 | 1.5087e-06 | 9.3956e-07 | 0.044725 | 0.044725 | 0.044725 | 0.9933 | -0.12876 | 0.99335 | -0.1277 | 12.2871
44 | 0.029862 | 0.0074914 | -0.029856 | -0.0074876 | 6.0241e-06 | 3.7514e-06 | 0.044725 | 0.044725 | 0.044725 | 0.99357 | -0.12347 | 0.99335 | -0.1277 | 12.2871
45 | -0.029862 | -0.0074914 | 0.029893 | 0.0075104 | 3.0631e-05 | 1.9074e-05 | 0.044725 | 0.044725 | 0.044725 | 0.99357 | -0.12347 | 0.99468 | -0.10197 | 12.2871
46 | -0.034899 | -0.0087651 | 0.034932 | 0.0087862 | 3.3546e-05 | 2.1043e-05 | 0.052214 | 0.052214 | 0.052214 | 0.99468 | -0.10197 | 0.99573 | -0.081851 | 14.3445
47 | 0.020737 | 0.005199 | -0.020733 | -0.0051965 | 4.0558e-06 | 2.4557e-06 | 0.031338 | 0.031338 | 0.031338 | 0.98468 | -0.29516 | 0.98446 | -0.29927 | 8.6093
48 | 0.010749 | 0.0026943 | -0.010747 | -0.0026934 | 1.8845e-06 | 9.6408e-07 | 0.016247 | 0.016247 | 0.016247 | 0.98446 | -0.29927 | 0.98428 | -0.30295 | 4.4636
49 | 0.030873 | 0.0077544 | -0.030828 | -0.0077263 | 4.5005e-05 | 2.8104e-05 | 0.046683 | 0.046683 | 0.046683 | 0.98421 | -0.30422 | 0.98264 | -0.33482 | 12.825
50 | 0.048373 | 0.012139 | -0.048332 | -0.012113 | 4.1101e-05 | 2.6037e-05 | 0.072652 | 0.072652 | 0.072652 | 0.99083 | -0.17596 | 0.98991 | -0.19379 | 19.9594
51 | 0.0029107 | 0.00072943 | -0.0029107 | -0.00072948 | 4.6918e-08 | -5.206e-08 | 0.0044008 | 0.0044009 | 0.0044009 | 0.98417 | -0.30506 | 0.98415 | -0.3054 | 1.209
52 | -0.0029107 | -0.00072943 | 0.0029107 | 0.00072939 | 3.8162e-08 | -4.2347e-08 | 0.0044008 | 0.0044008 | 0.0044008 | 0.98417 | -0.30506 | 0.98418 | -0.30478 | 1.209
53 | -0.0058237 | -0.0014594 | 0.0058242 | 0.0014595 | 5.0947e-07 | 1.0335e-07 | 0.008805 | 0.0088049 | 0.008805 | 0.98418 | -0.30478 | 0.98428 | -0.30295 | 2.419
54 | 0.017021 | 0.0042678 | -0.017016 | -0.0042645 | 5.6183e-06 | 3.2906e-06 | 0.025353 | 0.025353 | 0.025353 | 0.99903 | -0.018571 | 0.99867 | -0.0255 | 6.9651
55 | 0.034678 | 0.0087046 | -0.034647 | -0.0086852 | 3.0911e-05 | 1.9387e-05 | 0.051918 | 0.051918 | 0.051918 | 0.994 | -0.1152 | 0.99303 | -0.13391 | 14.2633
56 | -0.034678 | -0.0087046 | 0.034696 | 0.0087158 | 1.7948e-05 | 1.1256e-05 | 0.051918 | 0.051918 | 0.051918 | 0.994 | -0.1152 | 0.99456 | -0.10436 | 14.2632
57 | 0.015445 | 0.0038719 | -0.015442 | -0.00387 | 3.3582e-06 | 1.933e-06 | 0.023144 | 0.023144 | 0.023144 | 0.99303 | -0.13391 | 0.99279 | -0.13847 | 6.3584
58 | 0.019202 | 0.0048133 | -0.019199 | -0.0048116 | 2.8046e-06 | 1.6781e-06 | 0.028774 | 0.028774 | 0.028774 | 0.99303 | -0.13391 | 0.99287 | -0.13697 | 7.9049
59 | -0.0031898 | -0.00079937 | 0.0031899 | 0.00079936 | 1.455e-08 | -1.2574e-08 | 0.0047844 | 0.0047844 | 0.0047844 | 0.99207 | -0.15246 | 0.99208 | -0.15236 | 1.3144
60 | 0.0031898 | 0.00079937 | -0.0031898 | -0.00079943 | 7.1964e-08 | -6.2188e-08 | 0.0047844 | 0.0047845 | 0.0047845 | 0.99207 | -0.15246 | 0.99205 | -0.15293 | 1.3144
61 | 0.002301 | 0.00057627 | -0.0023008 | -0.00057665 | 1.6538e-07 | -3.722e-07 | 0.0034511 | 0.0034513 | 0.0034513 | 0.99208 | -0.15236 | 0.992 | -0.15387 | 0.94816
62 | -0.0054909 | -0.0013756 | 0.0054914 | 0.0013757 | 5.7721e-07 | 7.6343e-08 | 0.0082356 | 0.0082355 | 0.0082356 | 0.99208 | -0.15236 | 0.99219 | -0.15016 | 2.2625
63 | 0.0049827 | 0.0012486 | -0.0049821 | -0.0012486 | 6.1601e-07 | 1.3891e-08 | 0.0074703 | 0.0074704 | 0.0074704 | 0.9925 | -0.14414 | 0.99237 | -0.14673 | 2.0523
64 | 0.012286 | 0.0030794 | -0.012285 | -0.0030786 | 1.4661e-06 | 7.8944e-07 | 0.018421 | 0.018421 | 0.018421 | 0.9925 | -0.14414 | 0.99237 | -0.14664 | 5.0606
65 | 0.0086296 | 0.0021625 | -0.0086281 | -0.0021618 | 1.4449e-06 | 6.2748e-07 | 0.01294 | 0.01294 | 0.01294 | 0.99237 | -0.14664 | 0.99219 | -0.15016 | 3.5548
66 | 0.0024618 | 0.00061689 | -0.0024617 | -0.00061697 | 4.0297e-08 | -7.6273e-08 | 0.0036897 | 0.0036898 | 0.0036898 | 0.99279 | -0.13847 | 0.99277 | -0.13882 | 1.0137
67 | 0.0055788 | 0.0013979 | -0.0055787 | -0.0013979 | 8.0654e-08 | 1.1828e-08 | 0.0083609 | 0.0083609 | 0.0083609 | 0.99287 | -0.13697 | 0.99285 | -0.13728 | 2.2969
68 | 0.0025217 | 0.00063176 | -0.0025216 | -0.00063196 | 1.1046e-07 | -1.96e-07 | 0.0037792 | 0.0037793 | 0.0037793 | 0.99285 | -0.13728 | 0.99281 | -0.1382 | 1.0383

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39654 | 0.10008

## res_load
| p_mw | q_mvar
0 | 0.008435 | 0.002114
1 | 0.0086476 | 0.0021673
2 | 0.011027 | 0.0027636
3 | 0.015326 | 0.0038412
4 | 0.0093416 | 0.0023412
5 | 0.016197 | 0.0040594
6 | 0.0067395 | 0.0016891
7 | 0.0050312 | 0.0012609
8 | 0.0057955 | 0.0014525
9 | 0.015329 | 0.0038419
10 | 0.017426 | 0.0043674
11 | 0.017821 | 0.0044664
12 | 0.0093813 | 0.0023512
13 | 0.0049986 | 0.0012528
14 | 0.0050063 | 0.0012547
15 | 0.0099839 | 0.0025022
16 | 0.0018379 | 0.00046061
17 | 0.030828 | 0.0077263
18 | 0.048332 | 0.012113
19 | 0.0029107 | 0.00072948
20 | 0.002913 | 0.00073006
21 | 0.017016 | 0.0042645
22 | 0.0041833 | 0.0010484
23 | 0.023702 | 0.0059403
24 | 0.006983 | 0.0017501
25 | 0.0096305 | 0.0024136
26 | 0.010811 | 0.0027096
27 | 0.0063363 | 0.001588
28 | 0.0031898 | 0.00079943
29 | 0.0049821 | 0.0012486
30 | 0.0036554 | 0.00091613
31 | 0.0031903 | 0.00079956
32 | 0.0049229 | 0.0012338
33 | 0.01298 | 0.0032531
34 | 0.013621 | 0.0034136
35 | 0.0023008 | 0.00057665
36 | 0.0031367 | 0.00078612
37 | 0.0024617 | 0.00061697
38 | 0.003057 | 0.00076617
39 | 0.0025216 | 0.00063196

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1