## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-43_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-43_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-43_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-43_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-43_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1024-43_0_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1024-43_0_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1024-43_0_2_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_1024-43_0_2_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1024-43_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1024-43_0_2_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1024-43_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1024-43_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1024-43_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1024-43_0_2_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_1024-43_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1024-43_0_2_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1024-43_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1024-43_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1024-43_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1024-43_0_2_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1024-43_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1024-43_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1024-43_0_2_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_1024-43_0_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1024-43_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1024-43_0_2_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_1024-43_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1024-43_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1024-43_0_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1024-43_0_2_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_1024-43_0_2_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1024-43_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1024-43_0_2_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1024-43_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1024-43_0_2_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1024-43_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1024-43_0_2_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1024-43_0_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1024-43_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1024-43_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1024-43_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1024-43_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1024-43_0_2_node_43 | 0.4 | n |  | TRUE
44 | bus_MV_212_2_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-43_0_2_load_0 | 0 | 0.00010314 | 2.5849e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-43_0_2_load_1 | 1 | 0.00033702 | 8.4465e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-43_0_2_load_2 | 2 | 0.00011483 | 2.878e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-43_0_2_load_4 | 4 | 0.00014064 | 3.5247e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-43_0_2_load_20 | 5 | 3.9511e-05 | 9.9024e-06 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-43_0_2_load_17 | 6 | 0.00063524 | 0.00015921 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-43_0_2_load_28 | 7 | 0.00010549 | 2.6439e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-43_0_2_load_32 | 8 | 0.00014117 | 3.538e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-43_0_2_load_18 | 9 | 0.00020353 | 5.101e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-43_0_2_load_27 | 10 | 4.3141e-05 | 1.0812e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-43_0_2_load_5 | 11 | 0.015322 | 0.00384 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-43_0_2_load_6 | 12 | 0.055164 | 0.013825 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-43_0_2_load_7 | 13 | 0.011459 | 0.0028718 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-43_0_2_load_44 | 14 | 0.020348 | 0.0050998 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-43_0_2_load_16 | 18 | 7.2188e-05 | 1.8092e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-43_0_2_load_12 | 19 | 0.00020698 | 5.1873e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-43_0_2_load_9 | 20 | 0.0002127 | 5.3309e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-43_0_2_load_10 | 21 | 0.00017127 | 4.2924e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-43_0_2_load_11 | 22 | 0.00066288 | 0.00016613 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-43_0_2_load_45 | 24 | 0.0015483 | 0.00038805 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-43_0_2_load_40 | 26 | 0.00015596 | 3.9086e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-43_0_2_load_13 | 27 | 0.0017266 | 0.00043272 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-43_0_2_load_41 | 30 | 0.00022125 | 5.5451e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-43_0_2_load_19 | 31 | 6.9779e-05 | 1.7488e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-43_0_2_load_21 | 33 | 6.9319e-05 | 1.7373e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-43_0_2_load_22 | 35 | 0.00022482 | 5.6345e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-43_0_2_load_24 | 36 | 0.00095141 | 0.00023845 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-43_0_2_load_38 | 38 | 0.00014452 | 3.6221e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-43_0_2_load_37 | 39 | 0.00058156 | 0.00014575 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-43_0_2_load_33 | 40 | 0.063112 | 0.015817 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-43_0_2_load_39 | 42 | 0.00026456 | 6.6306e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-43_0_2_load_43 | 43 | 6.1547e-05 | 1.5425e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-43_0_2_line_0 |  | 0 | 1 | 0.0074219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-43_0_2_line_1 |  | 0 | 2 | 0.08032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-43_0_2_line_2 |  | 1 | 3 | 0.024111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-43_0_2_line_3 |  | 2 | 4 | 0.0040809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-43_0_2_line_4 |  | 3 | 5 | 0.0073914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-43_0_2_line_5 |  | 3 | 6 | 0.049076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-43_0_2_line_6 |  | 4 | 7 | 0.0068959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-43_0_2_line_7 |  | 5 | 8 | 0.0075906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-43_0_2_line_8 |  | 6 | 9 | 0.0081763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-43_0_2_line_9 |  | 7 | 10 | 0.033968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-43_0_2_line_10 |  | 8 | 32 | 0.042222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-43_0_2_line_11 |  | 9 | 31 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-43_0_2_line_12 |  | 10 | 29 | 0.016829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-43_0_2_line_13 |  | 11 | 12 | 0.029833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-43_0_2_line_14 |  | 11 | 13 | 0.010543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-43_0_2_line_15 |  | 12 | 14 | 0.10828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-43_0_2_line_16 |  | 13 | 15 | 0.11086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-43_0_2_line_17 |  | 14 | 16 | 0.037547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-43_0_2_line_18 |  | 15 | 17 | 0.19577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-43_0_2_line_19 |  | 16 | 41 | 0.029419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-43_0_2_line_20 |  | 17 | 18 | 0.060671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-43_0_2_line_21 |  | 17 | 19 | 0.028554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-43_0_2_line_22 |  | 18 | 30 | 0.052159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-43_0_2_line_23 |  | 19 | 27 | 0.03333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-43_0_2_line_24 |  | 20 | 21 | 0.0099793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-43_0_2_line_25 |  | 21 | 22 | 0.03114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-43_0_2_line_26 |  | 22 | 23 | 0.022469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-43_0_2_line_27 |  | 22 | 24 | 0.15253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-43_0_2_line_28 |  | 23 | 25 | 0.078077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-43_0_2_line_29 |  | 24 | 26 | 0.16783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-43_0_2_line_30 |  | 25 | 38 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-43_0_2_line_31 |  | 26 | 42 | 0.017087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-43_0_2_line_32 |  | 27 | 28 | 0.035313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-43_0_2_line_33 |  | 28 | 29 | 0.017153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-43_0_2_line_34 |  | 32 | 38 | 0.017044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-43_0_2_line_35 |  | 32 | 34 | 0.028368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-43_0_2_line_36 |  | 33 | 34 | 0.020558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-43_0_2_line_37 |  | 34 | 37 | 0.019081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-43_0_2_line_38 |  | 35 | 36 | 0.020569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-43_0_2_line_39 |  | 36 | 37 | 0.0096484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-43_0_2_line_40 |  | 37 | 39 | 0.026607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-43_0_2_line_41 |  | 40 | 41 | 0.11762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-43_0_2_line_42 |  | 42 | 43 | 0.13681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-43_0_2_trafo_6 | 0.63 MVA 20/0.4 kV | 44 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2667144.6068 | 1217100.2067 | 2667143.9886 | 1217100.9325 | 2667140.1624 | 1217106.148
1 | 2667144.6068 | 1217100.2067 | 2667153.9901 | 1217089.1933 | 2667173.7702 | 1217065.9904 | 2667183.8251 | 1217056.9424 | 2667196.488 | 1217046.1895 | 2667200.6924 | 1217043.0916
2 | 2667125.9005 | 1217125.5887 | 2667140.1624 | 1217106.148
3 | 2667203.9778 | 1217040.6709 | 2667200.6924 | 1217043.0916
4 | 2667125.9005 | 1217125.5887 | 2667121.0663 | 1217131.1801
5 | 2667125.9005 | 1217125.5887 | 2667144.4512 | 1217136.0042 | 2667165.8672 | 1217153.7317
6 | 2667209.5294 | 1217036.5803 | 2667203.9778 | 1217040.6709
7 | 2667121.0663 | 1217131.1801 | 2667116.1018 | 1217136.9221
8 | 2667172.1655 | 1217158.9453 | 2667165.8672 | 1217153.7317
9 | 2667209.5294 | 1217036.5803 | 2667236.876 | 1217016.4308
10 | 2667088.4871 | 1217168.8615 | 2667116.1018 | 1217136.9221
11 | 2667172.1655 | 1217158.9453 | 2667187.9131 | 1217171.9807
12 | 2667251.2409 | 1217007.7938 | 2667243.3472 | 1217011.6628 | 2667236.876 | 1217016.4308
13 | 2667571.9032 | 1217044.0148 | 2667579.1666 | 1217047.7605 | 2667598.3576 | 1217052.5478 | 2667600.2079 | 1217052.8913
14 | 2667571.9032 | 1217044.0148 | 2667562.5324 | 1217039.1823
15 | 2667667.2402 | 1217137.9275 | 2667600.2079 | 1217052.8913
16 | 2667472.015 | 1216975.4013 | 2667551.3911 | 1217033.4367 | 2667562.5324 | 1217039.1823
17 | 2667702.5821 | 1217147.0679 | 2667698.9049 | 1217145.3139 | 2667673.7655 | 1217142.9269 | 2667667.2402 | 1217137.9275
18 | 2667289.8756 | 1216903.6308 | 2667472.015 | 1216975.4013
19 | 2667702.5821 | 1217147.0679 | 2667699.355 | 1217149.1325 | 2667690.8174 | 1217156.8738 | 2667682.2181 | 1217168.0499
20 | 2667289.8756 | 1216903.6308 | 2667280.1339 | 1216892.3026 | 2667249.9172 | 1216878.8866 | 2667237.5956 | 1216875.9404
21 | 2667289.8756 | 1216903.6308 | 2667288.6632 | 1216905.4405 | 2667282.8182 | 1216916.7928 | 2667279.9049 | 1216923.3418 | 2667279.4299 | 1216929.7631
22 | 2667186.5736 | 1216865.2179 | 2667210.6811 | 1216869.5049 | 2667237.5956 | 1216875.9404
23 | 2667274.8995 | 1216962.5964 | 2667277.5561 | 1216954.5238 | 2667278.7849 | 1216938.4832 | 2667279.4299 | 1216929.7631
24 | 2666951.7462 | 1217269.1824 | 2666943.0489 | 1217274.0756
25 | 2666951.7462 | 1217269.1824 | 2666978.8854 | 1217253.9132
26 | 2666998.4677 | 1217242.8958 | 2666978.8854 | 1217253.9132
27 | 2666978.8854 | 1217253.9132 | 2666891.4622 | 1217128.9247
28 | 2666998.4677 | 1217242.8958 | 2667041.6189 | 1217221.245 | 2667059.7488 | 1217203.6045 | 2667062.6195 | 1217200.1346
29 | 2666891.4622 | 1217128.9247 | 2666732.274 | 1217075.7717
30 | 2667062.6195 | 1217200.1346 | 2667068.4303 | 1217193.1067 | 2667077.6229 | 1217181.9944
31 | 2666732.274 | 1217075.7717 | 2666727.3879 | 1217059.3985
32 | 2667263.8611 | 1216996.14 | 2667274.8995 | 1216962.5964
33 | 2667263.8611 | 1216996.14 | 2667251.2409 | 1217007.7938
34 | 2667088.4871 | 1217168.8615 | 2667077.6229 | 1217181.9944
35 | 2667088.4871 | 1217168.8615 | 2667088.4215 | 1217157.1645 | 2667087.3315 | 1217150.1367 | 2667084.1076 | 1217141.1392
36 | 2667084.1076 | 1217141.1392 | 2667083.995 | 1217134.9563 | 2667083.5408 | 1217120.5897
37 | 2667068.5716 | 1217132.0031 | 2667074.8198 | 1217132.6516 | 2667081.6162 | 1217137.2087 | 2667084.1076 | 1217141.1392
38 | 2667069.5807 | 1217107.777 | 2667066.898 | 1217108.7029 | 2667064.8389 | 1217111.5482 | 2667061.6179 | 1217123.2082 | 2667061.837 | 1217125.3192
39 | 2667068.5716 | 1217132.0031 | 2667061.9055 | 1217125.9799 | 2667061.837 | 1217125.3192
40 | 2667068.5716 | 1217132.0031 | 2667065.2281 | 1217134.3003 | 2667056.3648 | 1217155.0364
41 | 2667682.2181 | 1217168.0499 | 2667660.4608 | 1217190.0723 | 2667635.5792 | 1217215.1503 | 2667597.3044 | 1217249.3591
42 | 2666727.3879 | 1217059.3985 | 2666825.0249 | 1216963.5692

## bus_geodata
| x | y | coords
0 | 2667144.6068 | 1217100.2067
1 | 2667140.1624 | 1217106.148
2 | 2667200.6924 | 1217043.0916
3 | 2667125.9005 | 1217125.5887
4 | 2667203.9778 | 1217040.6709
5 | 2667121.0663 | 1217131.1801
6 | 2667165.8672 | 1217153.7317
7 | 2667209.5294 | 1217036.5803
8 | 2667116.1018 | 1217136.9221
9 | 2667172.1655 | 1217158.9453
10 | 2667236.876 | 1217016.4309
11 | 2667571.9032 | 1217044.0148
12 | 2667600.2079 | 1217052.8913
13 | 2667562.5324 | 1217039.1823
14 | 2667667.2402 | 1217137.9275
15 | 2667472.015 | 1216975.4013
16 | 2667702.5821 | 1217147.0679
17 | 2667289.8756 | 1216903.6308
18 | 2667237.5956 | 1216875.9404
19 | 2667279.4299 | 1216929.7631
20 | 2666943.0489 | 1217274.0756
21 | 2666951.7462 | 1217269.1824
22 | 2666978.8854 | 1217253.9132
23 | 2666998.4677 | 1217242.8958
24 | 2666891.4622 | 1217128.9247
25 | 2667062.6195 | 1217200.1346
26 | 2666732.274 | 1217075.7717
27 | 2667274.8995 | 1216962.5964
28 | 2667263.8611 | 1216996.14
29 | 2667251.2409 | 1217007.7938
30 | 2667186.5736 | 1216865.2179
31 | 2667187.9131 | 1217171.9807
32 | 2667088.4871 | 1217168.8615
33 | 2667083.5408 | 1217120.5897
34 | 2667084.1076 | 1217141.1392
35 | 2667069.5807 | 1217107.777
36 | 2667061.837 | 1217125.3192
37 | 2667068.5716 | 1217132.0031
38 | 2667077.6229 | 1217181.9944
39 | 2667056.3648 | 1217155.0364
40 | 2667597.3044 | 1217249.3591
41 | 2667682.2181 | 1217168.0499
42 | 2666727.3879 | 1217059.3985
43 | 2666825.0249 | 1216963.5692
44 | 2667472.015 | 1216975.4013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99455 | -0.10531 | 0.00010314 | 2.5849e-05
1 | 0.99451 | -0.10616 | 0.00033702 | 8.4465e-05
2 | 0.99503 | -0.095957 | 0.00011483 | 2.878e-05
3 | 0.99437 | -0.10878 | 0 | 0
4 | 0.99506 | -0.095474 | 0.00014064 | 3.5247e-05
5 | 0.99434 | -0.10947 | 3.9511e-05 | 9.9024e-06
6 | 0.99433 | -0.10957 | 0.00063524 | 0.00015921
7 | 0.9951 | -0.09464 | 0.00010549 | 2.6439e-05
8 | 0.9943 | -0.11017 | 0.00014117 | 3.538e-05
9 | 0.99433 | -0.10961 | 0.00020353 | 5.101e-05
10 | 0.99532 | -0.090471 | 4.3141e-05 | 1.0812e-05
11 | 0.99902 | -0.018761 | 0.015322 | 0.00384
12 | 1 | 0 | -0.12246 | -0.030779
13 | 0.99883 | -0.022577 | 0.011459 | 0.0028718
14 | 0.99166 | -0.15885 | 0.020348 | 0.0050998
15 | 0.9979 | -0.040532 | 0 | 0
16 | 0.98947 | -0.20095 | 0 | 0
17 | 0.99625 | -0.072302 | 0 | 0
18 | 0.99624 | -0.072618 | 7.2188e-05 | 1.8092e-05
19 | 0.99602 | -0.076794 | 0.00020698 | 5.1873e-05
20 | 0.9937 | -0.12195 | 0.0002127 | 5.3309e-05
21 | 0.9937 | -0.12191 | 0.00017127 | 4.2924e-05
22 | 0.99371 | -0.1217 | 0.00066288 | 0.00016613
23 | 0.99377 | -0.12047 | 0 | 0
24 | 0.99343 | -0.1272 | 0.0015483 | 0.00038805
25 | 0.99399 | -0.11621 | 0 | 0
26 | 0.99335 | -0.12865 | 0.00015596 | 3.9086e-05
27 | 0.99576 | -0.081918 | 0.0017266 | 0.00043272
28 | 0.99553 | -0.086276 | 0 | 0
29 | 0.99542 | -0.088394 | 0 | 0
30 | 0.99623 | -0.072821 | 0.00022125 | 5.5451e-05
31 | 0.99433 | -0.10963 | 6.9779e-05 | 1.7488e-05
32 | 0.99411 | -0.11394 | 0 | 0
33 | 0.99406 | -0.11489 | 6.9319e-05 | 1.7373e-05
34 | 0.99406 | -0.11486 | 0 | 0
35 | 0.99402 | -0.11573 | 0.00022482 | 5.6345e-05
36 | 0.99402 | -0.11565 | 0.00095141 | 0.00023845
37 | 0.99403 | -0.11545 | 0 | 0
38 | 0.99406 | -0.11492 | 0.00014452 | 3.6221e-05
39 | 0.99402 | -0.11573 | 0.00058156 | 0.00014575
40 | 0.98089 | -0.3676 | 0.063112 | 0.015817
41 | 0.98775 | -0.23406 | 0 | 0
42 | 0.99335 | -0.12875 | 0.00026456 | 6.6306e-05
43 | 0.99334 | -0.12891 | 6.1547e-05 | 1.5425e-05
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0064793 | 0.0016132 | -0.006479 | -0.0016131 | 2.6135e-07 | 7.0957e-08 | 0.0096903 | 0.0096904 | 0.0096904 | 0.99455 | -0.10531 | 0.99451 | -0.10616 | 2.6622
1 | -0.0065824 | -0.0016391 | 0.0065853 | 0.0016399 | 2.919e-06 | 8.2539e-07 | 0.0098447 | 0.0098443 | 0.0098447 | 0.99455 | -0.10531 | 0.99503 | -0.095957 | 2.7046
2 | 0.006142 | 0.0015287 | -0.0061412 | -0.0015285 | 7.6298e-07 | 1.755e-07 | 0.0091861 | 0.0091862 | 0.0091862 | 0.99451 | -0.10616 | 0.99437 | -0.10878 | 2.5237
3 | -0.0067002 | -0.0016687 | 0.0067003 | 0.0016687 | 1.5352e-07 | 4.5246e-08 | 0.010016 | 0.010016 | 0.010016 | 0.99503 | -0.095957 | 0.99506 | -0.095474 | 2.7517
4 | 0.0052327 | 0.0013018 | -0.0052325 | -0.0013018 | 1.698e-07 | 1.2795e-08 | 0.0078269 | 0.007827 | 0.007827 | 0.99437 | -0.10878 | 0.99434 | -0.10947 | 2.1503
5 | 0.00090859 | 0.00022672 | -0.00090855 | -0.00022733 | 3.4009e-08 | -6.1482e-07 | 0.0013593 | 0.0013595 | 0.0013595 | 0.99437 | -0.10878 | 0.99433 | -0.10957 | 0.37349
6 | -0.006841 | -0.0017039 | 0.0068412 | 0.001704 | 2.7043e-07 | 8.3495e-08 | 0.010226 | 0.010226 | 0.010226 | 0.99506 | -0.095474 | 0.9951 | -0.09464 | 2.8094
7 | 0.005193 | 0.0012919 | -0.0051928 | -0.0012918 | 1.7176e-07 | 1.1468e-08 | 0.0077678 | 0.0077679 | 0.0077679 | 0.99434 | -0.10947 | 0.9943 | -0.11017 | 2.134
8 | 0.00027331 | 6.8127e-05 | -0.00027331 | -6.8233e-05 | 5.1265e-10 | -1.0573e-07 | 0.00040888 | 0.00040892 | 0.00040892 | 0.99433 | -0.10957 | 0.99433 | -0.10961 | 0.11234
9 | -0.0069467 | -0.0017305 | 0.0069481 | 0.0017309 | 1.3735e-06 | 4.3766e-07 | 0.010384 | 0.010384 | 0.010384 | 0.9951 | -0.09464 | 0.99532 | -0.090471 | 2.8528
10 | 0.0050516 | 0.0012565 | -0.0050507 | -0.0012564 | 9.0414e-07 | 3.1127e-08 | 0.0075566 | 0.0075568 | 0.0075568 | 0.9943 | -0.11017 | 0.99411 | -0.11394 | 2.076
11 | 6.9779e-05 | 1.7223e-05 | -6.9779e-05 | -1.7488e-05 | 8.3521e-11 | -2.6511e-07 | 0.00010433 | 0.00010442 | 0.00010442 | 0.99433 | -0.10961 | 0.99433 | -0.10963 | 0.028688
12 | -0.0069912 | -0.0017417 | 0.0069919 | 0.0017419 | 6.8894e-07 | 2.2218e-07 | 0.010448 | 0.010448 | 0.010448 | 0.99532 | -0.090471 | 0.99542 | -0.088394 | 2.8704
13 | -0.036031 | -0.0090251 | 0.036063 | 0.0090454 | 3.222e-05 | 2.023e-05 | 0.053666 | 0.053665 | 0.053666 | 0.99902 | -0.018761 | 1 | 0 | 14.7433
14 | 0.020709 | 0.0051851 | -0.020706 | -0.0051828 | 3.7615e-06 | 2.2693e-06 | 0.030844 | 0.030844 | 0.030844 | 0.99902 | -0.018761 | 0.99883 | -0.022577 | 8.4737
15 | 0.084742 | 0.021734 | -0.084095 | -0.021321 | 0.00064745 | 0.00041296 | 0.12627 | 0.12627 | 0.12627 | 1 | 0 | 0.99166 | -0.15885 | 34.6906
16 | 0.0092469 | 0.002311 | -0.009239 | -0.0023074 | 7.8873e-06 | 3.5982e-06 | 0.013773 | 0.013774 | 0.013774 | 0.99883 | -0.022577 | 0.9979 | -0.040532 | 3.7841
17 | 0.063746 | 0.016221 | -0.063617 | -0.016139 | 0.00012906 | 8.2116e-05 | 0.09574 | 0.095741 | 0.095741 | 0.99166 | -0.15885 | 0.98947 | -0.20095 | 26.3024
18 | 0.009239 | 0.0023074 | -0.0092251 | -0.0023011 | 1.3929e-05 | 6.3613e-06 | 0.013774 | 0.013775 | 0.013775 | 0.9979 | -0.040532 | 0.99625 | -0.072302 | 3.7843
19 | 0.063617 | 0.016139 | -0.063516 | -0.016075 | 0.00010112 | 6.4342e-05 | 0.095741 | 0.095741 | 0.095741 | 0.98947 | -0.20095 | 0.98775 | -0.23406 | 26.3024
20 | 0.00029345 | 7.2078e-05 | -0.00029344 | -7.2865e-05 | 4.3631e-09 | -7.872e-07 | 0.00043778 | 0.00043806 | 0.00043806 | 0.99625 | -0.072302 | 0.99624 | -0.072618 | 0.12035
21 | 0.0089317 | 0.002229 | -0.0089298 | -0.0022282 | 1.9047e-06 | 8.4727e-07 | 0.013337 | 0.013337 | 0.013337 | 0.99625 | -0.072302 | 0.99602 | -0.076794 | 3.6641
22 | 0.00022125 | 5.4773e-05 | -0.00022125 | -5.5451e-05 | 2.1346e-09 | -6.7778e-07 | 0.00033023 | 0.00033047 | 0.00033047 | 0.99624 | -0.072618 | 0.99623 | -0.072821 | 0.090789
23 | 0.0087228 | 0.0021763 | -0.0087207 | -0.0021754 | 2.1214e-06 | 9.2403e-07 | 0.013028 | 0.013028 | 0.013028 | 0.99602 | -0.076794 | 0.99576 | -0.081918 | 3.5792
24 | -0.0002127 | -5.3309e-05 | 0.0002127 | 5.318e-05 | 3.7959e-10 | -1.2903e-07 | 0.00031851 | 0.00031847 | 0.00031851 | 0.9937 | -0.12195 | 0.9937 | -0.12191 | 0.087504
25 | -0.00038397 | -9.6103e-05 | 0.00038398 | 9.5702e-05 | 3.859e-09 | -4.0094e-07 | 0.00057493 | 0.00057479 | 0.00057493 | 0.9937 | -0.12191 | 0.99371 | -0.1217 | 0.15795
26 | -0.0030778 | -0.00076492 | 0.003078 | 0.00076475 | 1.788e-07 | -1.7667e-07 | 0.0046066 | 0.0046065 | 0.0046066 | 0.99371 | -0.1217 | 0.99377 | -0.12047 | 1.2655
27 | 0.002031 | 0.00050309 | -0.0020304 | -0.00050472 | 5.2843e-07 | -1.6372e-06 | 0.0030392 | 0.0030398 | 0.0030398 | 0.99371 | -0.1217 | 0.99343 | -0.1272 | 0.83512
28 | -0.003078 | -0.00076475 | 0.0030786 | 0.00076413 | 6.2124e-07 | -6.1424e-07 | 0.0046065 | 0.0046061 | 0.0046065 | 0.99377 | -0.12047 | 0.99399 | -0.11621 | 1.2655
29 | 0.0004821 | 0.00011667 | -0.00048207 | -0.00011883 | 3.2721e-08 | -2.1518e-06 | 0.00072068 | 0.00072143 | 0.00072143 | 0.99343 | -0.1272 | 0.99335 | -0.12865 | 0.19819
30 | -0.0030786 | -0.00076413 | 0.0030788 | 0.00076395 | 1.8729e-07 | -1.853e-07 | 0.0046061 | 0.004606 | 0.0046061 | 0.99399 | -0.11621 | 0.99406 | -0.11492 | 1.2654
31 | 0.00032611 | 7.974e-05 | -0.00032611 | -7.996e-05 | 1.525e-09 | -2.2022e-07 | 0.00048781 | 0.00048789 | 0.00048789 | 0.99335 | -0.12865 | 0.99335 | -0.12875 | 0.13403
32 | 0.0069941 | 0.0017426 | -0.0069926 | -0.0017422 | 1.4456e-06 | 4.6592e-07 | 0.010448 | 0.010448 | 0.010448 | 0.99576 | -0.081918 | 0.99553 | -0.086276 | 2.8704
33 | 0.0069926 | 0.0017422 | -0.0069919 | -0.0017419 | 7.022e-07 | 2.264e-07 | 0.010448 | 0.010448 | 0.010448 | 0.99553 | -0.086276 | 0.99542 | -0.088394 | 2.8704
34 | 0.0032235 | 0.00080004 | -0.0032233 | -0.00080017 | 1.4863e-07 | -1.2584e-07 | 0.0048223 | 0.0048223 | 0.0048223 | 0.99411 | -0.11394 | 0.99406 | -0.11492 | 1.3248
35 | 0.0018273 | 0.00045639 | -0.0018272 | -0.00045671 | 7.9552e-08 | -3.1686e-07 | 0.0027345 | 0.0027347 | 0.0027347 | 0.99411 | -0.11394 | 0.99406 | -0.11486 | 0.75128
36 | -6.9319e-05 | -1.7373e-05 | 6.9319e-05 | 1.7106e-05 | 8.2929e-11 | -2.6646e-07 | 0.00010376 | 0.00010367 | 0.00010376 | 0.99406 | -0.11489 | 0.99406 | -0.11486 | 0.028507
37 | 0.0017579 | 0.0004396 | -0.0017578 | -0.00043982 | 4.9533e-08 | -2.1566e-07 | 0.002631 | 0.0026311 | 0.0026311 | 0.99406 | -0.11486 | 0.99403 | -0.11545 | 0.72283
38 | -0.00022482 | -5.6345e-05 | 0.00022482 | 5.6078e-05 | 8.7341e-10 | -2.6608e-07 | 0.00033655 | 0.00033645 | 0.00033655 | 0.99402 | -0.11573 | 0.99402 | -0.11565 | 0.092458
39 | -0.0011762 | -0.00029452 | 0.0011762 | 0.00029441 | 1.1216e-08 | -1.1789e-07 | 0.0017607 | 0.0017606 | 0.0017607 | 0.99402 | -0.11565 | 0.99403 | -0.11545 | 0.4837
40 | 0.00058157 | 0.00014541 | -0.00058156 | -0.00014575 | 7.5612e-09 | -3.4007e-07 | 0.00087046 | 0.00087058 | 0.00087058 | 0.99403 | -0.11545 | 0.99402 | -0.11573 | 0.23917
41 | -0.063112 | -0.015817 | 0.063516 | 0.016075 | 0.0004043 | 0.00025726 | 0.095741 | 0.095741 | 0.095741 | 0.98089 | -0.3676 | 0.98775 | -0.23406 | 26.3025
42 | 6.1547e-05 | 1.3654e-05 | -6.1547e-05 | -1.5425e-05 | 4.3321e-10 | -1.7707e-06 | 9.1605e-05 | 9.2196e-05 | 9.2196e-05 | 0.99335 | -0.12875 | 0.99334 | -0.12891 | 0.025329

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17762 | 0.044605

## res_load
| p_mw | q_mvar
0 | 0.00010314 | 2.5849e-05
1 | 0.00033702 | 8.4465e-05
2 | 0.00011483 | 2.878e-05
3 | 0.00014064 | 3.5247e-05
4 | 3.9511e-05 | 9.9024e-06
5 | 0.00063524 | 0.00015921
6 | 0.00010549 | 2.6439e-05
7 | 0.00014117 | 3.538e-05
8 | 0.00020353 | 5.101e-05
9 | 4.3141e-05 | 1.0812e-05
10 | 0.015322 | 0.00384
11 | 0.055164 | 0.013825
12 | 0.011459 | 0.0028718
13 | 0.020348 | 0.0050998
14 | 7.2188e-05 | 1.8092e-05
15 | 0.00020698 | 5.1873e-05
16 | 0.0002127 | 5.3309e-05
17 | 0.00017127 | 4.2924e-05
18 | 0.00066288 | 0.00016613
19 | 0.0015483 | 0.00038805
20 | 0.00015596 | 3.9086e-05
21 | 0.0017266 | 0.00043272
22 | 0.00022125 | 5.5451e-05
23 | 6.9779e-05 | 1.7488e-05
24 | 6.9319e-05 | 1.7373e-05
25 | 0.00022482 | 5.6345e-05
26 | 0.00095141 | 0.00023845
27 | 0.00014452 | 3.6221e-05
28 | 0.00058156 | 0.00014575
29 | 0.063112 | 0.015817
30 | 0.00026456 | 6.6306e-05
31 | 6.1547e-05 | 1.5425e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1