## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-49_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-49_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-49_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-49_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-49_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1024-49_0_4_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_1024-49_0_4_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_1024-49_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1024-49_0_4_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_1024-49_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1024-49_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_1024-49_0_4_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_1024-49_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1024-49_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1024-49_0_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_1024-49_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1024-49_0_4_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1024-49_0_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_1024-49_0_4_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_1024-49_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1024-49_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1024-49_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1024-49_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_1024-49_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1024-49_0_4_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_1024-49_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1024-49_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1024-49_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1024-49_0_4_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_1024-49_0_4_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_1024-49_0_4_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_1024-49_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1024-49_0_4_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_1024-49_0_4_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_1024-49_0_4_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_1024-49_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1024-49_0_4_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_1024-49_0_4_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_1024-49_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1024-49_0_4_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_1024-49_0_4_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_1024-49_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_1024-49_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_1024-49_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_1024-49_0_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_1024-49_0_4_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_1024-49_0_4_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_1024-49_0_4_node_9 | 0.4 | n |  | TRUE
48 | bus_LV_1024-49_0_4_node_10 | 0.4 | n |  | TRUE
49 | bus_LV_1024-49_0_4_node_7 | 0.4 | n |  | TRUE
50 | bus_LV_1024-49_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1024-49_0_4_node_19 | 0.4 | n |  | TRUE
52 | bus_LV_1024-49_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1024-49_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_1024-49_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_1024-49_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1024-49_0_4_node_8 | 0.4 | n |  | TRUE
57 | bus_LV_1024-49_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_1024-49_0_4_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_1024-49_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_1024-49_0_4_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_1024-49_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_1024-49_0_4_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_1024-49_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_1024-49_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_1024-49_0_4_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_1024-49_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_1024-49_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_1024-49_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_1024-49_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_1024-49_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_1024-49_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_1024-49_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_1024-49_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_MV_221_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-49_0_4_load_0 | 0 | 0.019989 | 0.0050097 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-49_0_4_load_1 | 1 | 0.01763 | 0.0044185 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-49_0_4_load_4 | 4 | 0.019588 | 0.0049093 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-49_0_4_load_40 | 5 | 0.01182 | 0.0029624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-49_0_4_load_61 | 10 | 0.019517 | 0.0048914 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-49_0_4_load_52 | 11 | 0.019461 | 0.0048773 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-49_0_4_load_41 | 14 | 0.0189 | 0.0047368 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-49_0_4_load_36 | 17 | 0.016366 | 0.0041016 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-49_0_4_load_43 | 22 | 0.0017352 | 0.00043489 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-49_0_4_load_73 | 24 | 0.010273 | 0.0025747 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-49_0_4_load_74 | 28 | 0.011863 | 0.0029731 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-49_0_4_load_66 | 29 | 0.0030217 | 0.00075732 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-49_0_4_load_65 | 30 | 0.0079459 | 0.0019914 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-49_0_4_load_55 | 32 | 0.010465 | 0.0026229 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-49_0_4_load_76 | 33 | 0.0061163 | 0.0015329 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-49_0_4_load_75 | 34 | 0.0057039 | 0.0014295 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-49_0_4_load_70 | 36 | 0.01046 | 0.0026216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-49_0_4_load_56 | 39 | 0.011169 | 0.0027992 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-49_0_4_load_69 | 40 | 0.010811 | 0.0027096 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-49_0_4_load_48 | 42 | 0.0023453 | 0.00058778 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-49_0_4_load_67 | 44 | 0.010461 | 0.0026218 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-49_0_4_load_68 | 45 | 0.011172 | 0.0028 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-49_0_4_load_72 | 46 | 0.011136 | 0.002791 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-49_0_4_load_10 | 48 | 0.006562 | 0.0016446 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-49_0_4_load_7 | 49 | 0.011493 | 0.0028805 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-49_0_4_load_38 | 50 | 0.0017525 | 0.00043921 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-49_0_4_load_39 | 52 | 0.011404 | 0.0028581 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-49_0_4_load_63 | 53 | 0.0098424 | 0.0024667 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-49_0_4_load_8 | 56 | 0.0026523 | 0.00066472 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-49_0_4_load_33 | 57 | 0.016806 | 0.0042121 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-49_0_4_load_32 | 58 | 0.016799 | 0.0042103 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-49_0_4_load_42 | 59 | 0.0017254 | 0.00043242 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-49_0_4_load_37 | 60 | 0.0017275 | 0.00043295 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-49_0_4_load_77 | 61 | 0.010189 | 0.0025537 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-49_0_4_load_47 | 63 | 0.0021284 | 0.00053343 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-49_0_4_load_49 | 64 | 0.0021399 | 0.00053631 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-49_0_4_load_35 | 65 | 0.016448 | 0.0041222 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-49_0_4_load_44 | 66 | 0.001737 | 0.00043534 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-49_0_4_load_45 | 67 | 0.0021364 | 0.00053544 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1024-49_0_4_load_46 | 68 | 0.0021347 | 0.000535 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1024-49_0_4_load_50 | 69 | 0.002135 | 0.00053507 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1024-49_0_4_load_57 | 70 | 0.011073 | 0.0027752 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1024-49_0_4_load_64 | 73 | 0.00014042 | 3.5192e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-49_0_4_line_0 |  | 0 | 1 | 0.017316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-49_0_4_line_1 |  | 0 | 2 | 0.018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-49_0_4_line_2 |  | 1 | 3 | 0.039662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-49_0_4_line_3 |  | 2 | 4 | 0.02147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-49_0_4_line_4 |  | 3 | 5 | 0.027987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-49_0_4_line_5 |  | 4 | 6 | 0.016785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-49_0_4_line_6 |  | 5 | 52 | 0.017846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-49_0_4_line_7 |  | 6 | 53 | 0.012353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-49_0_4_line_8 |  | 6 | 54 | 0.033734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-49_0_4_line_9 |  | 7 | 8 | 0.10782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-49_0_4_line_10 |  | 7 | 9 | 0.09528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-49_0_4_line_11 |  | 7 | 10 | 0.11721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-49_0_4_line_12 |  | 8 | 55 | 0.17533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-49_0_4_line_13 |  | 9 | 11 | 0.035883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-49_0_4_line_14 |  | 11 | 54 | 0.004236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-49_0_4_line_15 |  | 12 | 13 | 0.016833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1024-49_0_4_line_16 |  | 12 | 14 | 0.018644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1024-49_0_4_line_17 |  | 12 | 15 | 0.055866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-49_0_4_line_18 |  | 13 | 39 | 0.032047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-49_0_4_line_19 |  | 13 | 32 | 0.021155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-49_0_4_line_20 |  | 14 | 51 | 0.030326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1024-49_0_4_line_21 |  | 15 | 28 | 0.001617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-49_0_4_line_22 |  | 15 | 27 | 0.020268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-49_0_4_line_23 |  | 16 | 17 | 0.020933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-49_0_4_line_24 |  | 16 | 18 | 0.036623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-49_0_4_line_25 |  | 17 | 62 | 0.015926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-49_0_4_line_26 |  | 18 | 63 | 0.0050308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-49_0_4_line_27 |  | 18 | 64 | 0.0078542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-49_0_4_line_28 |  | 19 | 20 | 0.049796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-49_0_4_line_29 |  | 19 | 21 | 0.010774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-49_0_4_line_30 |  | 19 | 22 | 0.028709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-49_0_4_line_31 |  | 20 | 31 | 0.018628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-49_0_4_line_32 |  | 20 | 32 | 0.029226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-49_0_4_line_33 |  | 21 | 50 | 0.0055902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-49_0_4_line_34 |  | 21 | 41 | 0.027383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-49_0_4_line_35 |  | 22 | 59 | 0.0069708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-49_0_4_line_36 |  | 23 | 24 | 0.005381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-49_0_4_line_37 |  | 23 | 25 | 0.058983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-49_0_4_line_38 |  | 23 | 26 | 0.017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-49_0_4_line_39 |  | 23 | 27 | 0.02052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-49_0_4_line_40 |  | 25 | 29 | 0.002757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-49_0_4_line_41 |  | 25 | 30 | 0.022641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-49_0_4_line_42 |  | 26 | 40 | 0.008099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-49_0_4_line_43 |  | 27 | 46 | 0.002238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-49_0_4_line_44 |  | 27 | 47 | 0.049426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-49_0_4_line_45 |  | 31 | 33 | 0.024092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-49_0_4_line_46 |  | 31 | 34 | 0.008228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-49_0_4_line_47 |  | 35 | 36 | 0.009488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-49_0_4_line_48 |  | 35 | 37 | 0.015574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-49_0_4_line_49 |  | 35 | 38 | 0.072916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-49_0_4_line_50 |  | 37 | 61 | 0.00873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1024-49_0_4_line_51 |  | 38 | 43 | 0.032719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-49_0_4_line_52 |  | 38 | 39 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-49_0_4_line_53 |  | 41 | 42 | 0.12023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-49_0_4_line_54 |  | 43 | 44 | 0.006373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1024-49_0_4_line_55 |  | 43 | 45 | 0.023198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1024-49_0_4_line_56 |  | 47 | 48 | 0.00222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1024-49_0_4_line_57 |  | 47 | 49 | 0.0085068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1024-49_0_4_line_58 |  | 49 | 56 | 0.013752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1024-49_0_4_line_59 |  | 50 | 60 | 0.00029104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1024-49_0_4_line_60 |  | 51 | 52 | 0.010808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1024-49_0_4_line_61 |  | 55 | 70 | 0.038069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1024-49_0_4_line_62 |  | 57 | 58 | 0.004457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1024-49_0_4_line_63 |  | 58 | 62 | 0.020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1024-49_0_4_line_64 |  | 59 | 66 | 0.012863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1024-49_0_4_line_65 |  | 62 | 65 | 0.018618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1024-49_0_4_line_66 |  | 63 | 68 | 0.0069366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1024-49_0_4_line_67 |  | 64 | 69 | 0.006959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1024-49_0_4_line_68 |  | 66 | 67 | 0.0069363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1024-49_0_4_line_69 |  | 67 | 68 | 0.013296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1024-49_0_4_line_70 |  | 70 | 71 | 0.015787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1024-49_0_4_line_71 |  | 71 | 72 | 0.04514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1024-49_0_4_line_72 |  | 72 | 73 | 0.009801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-49_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 74 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2663043.3286 | 1214142.0952 | 2663036.1642 | 1214147.1103 | 2663029.3988 | 1214152.3716
1 | 2663057.6865 | 1214130.8834 | 2663049.8078 | 1214137.5598 | 2663043.3286 | 1214142.0952
2 | 2663001.4201 | 1214180.4194 | 2663015.4186 | 1214165.3135 | 2663026.6295 | 1214154.5253 | 2663029.3988 | 1214152.3716
3 | 2663057.6865 | 1214130.8834 | 2663043.7878 | 1214114.519
4 | 2663001.4201 | 1214180.4194 | 2662980.2708 | 1214162.0894
5 | 2663032.9223 | 1214101.7259 | 2663043.7878 | 1214114.519
6 | 2662980.2708 | 1214162.0894 | 2662966.7846 | 1214150.401
7 | 2663032.9223 | 1214101.7259 | 2663040.7707 | 1214092.1696
8 | 2663011.0535 | 1214075.9901 | 2663032.9223 | 1214101.7259
9 | 2663123.1416 | 1214075.1413 | 2663126.2072 | 1214073.2726 | 2663136.9328 | 1214066.7488 | 2663155.1064 | 1214062.6831 | 2663158.5437 | 1214065.1543 | 2663165.7167 | 1214080.6621 | 2663170.7577 | 1214085.1849 | 2663193.2959 | 1214092.1279 | 2663214.6709 | 1214091.9988
10 | 2663043.1709 | 1214051.948 | 2663076.4691 | 1214082.1519 | 2663082.6288 | 1214077.1473 | 2663108.4651 | 1214081.0786 | 2663113.9679 | 1214080.7255 | 2663123.1416 | 1214075.1413
11 | 2663123.1416 | 1214075.1413 | 2663116.9173 | 1214063.2904 | 2663100.425 | 1214052.7538 | 2663075.8685 | 1214024.7769 | 2663050.615 | 1213985.1077
12 | 2663214.6709 | 1214091.9988 | 2663235.1952 | 1213917.8756
13 | 2663043.1709 | 1214051.948 | 2663014.4447 | 1214073.4516
14 | 2663011.0535 | 1214075.9901 | 2663014.4447 | 1214073.4516
15 | 2662914.0579 | 1214104.1725 | 2662918.8474 | 1214120.3108
16 | 2662918.8474 | 1214120.3108 | 2662930.7861 | 1214119.0026 | 2662935.7816 | 1214123.3679
17 | 2662918.8474 | 1214120.3108 | 2662914.3143 | 1214125.2215 | 2662911.3687 | 1214128.6815 | 2662929.3447 | 1214144.7366 | 2662927.6449 | 1214146.7421 | 2662918.9001 | 1214157.0562 | 2662916.4643 | 1214155.3961 | 2662915.5412 | 1214156.4982
18 | 2662914.0579 | 1214104.1725 | 2662935.0422 | 1214079.9512
19 | 2662914.0579 | 1214104.1725 | 2662897.9414 | 1214090.4693
20 | 2662958.6171 | 1214143.3224 | 2662935.7816 | 1214123.3679
21 | 2662914.3758 | 1214155.3741 | 2662915.5412 | 1214156.4982
22 | 2662902.2485 | 1214168.81 | 2662903.9875 | 1214170.2848 | 2662915.5412 | 1214156.4982
23 | 2662813.0402 | 1214152.2931 | 2662827.3198 | 1214136.9868
24 | 2662786.2416 | 1214127.2511 | 2662813.0402 | 1214152.2931
25 | 2662838.1841 | 1214125.3414 | 2662827.3198 | 1214136.9868
26 | 2662786.2416 | 1214127.2511 | 2662789.645 | 1214123.5463
27 | 2662786.2416 | 1214127.2511 | 2662780.9283 | 1214133.0353
28 | 2662840.8643 | 1214067.7897 | 2662844.4141 | 1214063.9247 | 2662845.7755 | 1214065.1954 | 2662865.505 | 1214083.5479 | 2662871.8725 | 1214089.074 | 2662876.6251 | 1214083.5207
29 | 2662832.6898 | 1214060.7437 | 2662840.8643 | 1214067.7897
30 | 2662840.8643 | 1214067.7897 | 2662821.4425 | 1214088.9319
31 | 2662876.6251 | 1214083.5207 | 2662870.6338 | 1214077.6094 | 2662877.3007 | 1214069.8749
32 | 2662876.6251 | 1214083.5207 | 2662882.162 | 1214077.0528 | 2662897.9414 | 1214090.4693
33 | 2662832.6898 | 1214060.7437 | 2662828.4547 | 1214057.0949
34 | 2662818.2775 | 1214045.9494 | 2662823.5655 | 1214046.5277 | 2662827.7164 | 1214048.3392 | 2662829.4273 | 1214049.6025 | 2662836.3728 | 1214056.5021 | 2662835.5424 | 1214057.4606 | 2662833.4357 | 1214059.8843 | 2662832.6898 | 1214060.7437
35 | 2662816.7268 | 1214094.0654 | 2662821.4425 | 1214088.9319
36 | 2662885.5431 | 1214179.1959 | 2662888.2511 | 1214183.8495
37 | 2662888.2511 | 1214183.8495 | 2662907.5164 | 1214199.3511 | 2662896.603 | 1214212.2106 | 2662908.4858 | 1214221.9308 | 2662909.8161 | 1214220.3883
38 | 2662888.2511 | 1214183.8495 | 2662876.7735 | 1214197.6259
39 | 2662888.2511 | 1214183.8495 | 2662902.2485 | 1214168.81
40 | 2662911.6155 | 1214218.2949 | 2662909.8161 | 1214220.3883
41 | 2662926.7128 | 1214227.8489 | 2662923.4372 | 1214231.6389 | 2662909.8161 | 1214220.3883
42 | 2662870.7008 | 1214192.2474 | 2662876.7735 | 1214197.6259
43 | 2662900.532 | 1214167.3688 | 2662902.2485 | 1214168.81
44 | 2662902.2485 | 1214168.81 | 2662903.9875 | 1214170.2848 | 2662926.7309 | 1214189.4365 | 2662938.5612 | 1214199.1006 | 2662939.9681 | 1214197.4923
45 | 2662877.3007 | 1214069.8749 | 2662890.5188 | 1214054.5715 | 2662887.8984 | 1214051.6866
46 | 2662870.8377 | 1214064.7592 | 2662877.3007 | 1214069.8749
47 | 2662934.164 | 1214009.8376 | 2662941.2675 | 1214016.1498
48 | 2662951.9002 | 1214004.7439 | 2662941.2675 | 1214016.1498
49 | 2662941.2675 | 1214016.1498 | 2662933.6696 | 1214024.2857 | 2662923.1846 | 1214038.2615 | 2662952.5501 | 1214059.729 | 2662947.3597 | 1214065.7335
50 | 2662945.2841 | 1213999.0261 | 2662951.9002 | 1214004.7439
51 | 2662947.3597 | 1214065.7335 | 2662952.5501 | 1214059.729 | 2662968.8046 | 1214041.0224
52 | 2662947.3597 | 1214065.7335 | 2662935.0422 | 1214079.9512
53 | 2662818.2775 | 1214045.9494 | 2662815.403 | 1214046.9976 | 2662809.449 | 1214050.5148 | 2662733.5501 | 1214130.482
54 | 2662968.8046 | 1214041.0224 | 2662964.2412 | 1214036.5604
55 | 2662968.8046 | 1214041.0224 | 2662980.6996 | 1214027.3284 | 2662976.6995 | 1214024.1843
56 | 2662941.4289 | 1214195.8178 | 2662939.9681 | 1214197.4923
57 | 2662939.9681 | 1214197.4923 | 2662946.5373 | 1214202.8971
58 | 2662956.7823 | 1214205.5858 | 2662953.7253 | 1214208.8111 | 2662946.5373 | 1214202.8971
59 | 2662828.2342 | 1214056.9049 | 2662828.4547 | 1214057.0949
60 | 2662958.6171 | 1214143.3224 | 2662966.7846 | 1214150.401
61 | 2663235.1952 | 1213917.8756 | 2663235.2424 | 1213916.2863 | 2663236.4668 | 1213879.8284
62 | 2662853.0851 | 1214138.9229 | 2662856.3791 | 1214141.9252
63 | 2662838.1841 | 1214125.3414 | 2662853.0851 | 1214138.9229
64 | 2662816.7268 | 1214094.0654 | 2662808.0246 | 1214103.5385
65 | 2662838.1841 | 1214125.3414 | 2662850.8553 | 1214111.7004
66 | 2662789.645 | 1214123.5463 | 2662794.3377 | 1214118.4379
67 | 2662780.9283 | 1214133.0353 | 2662776.2206 | 1214138.1602
68 | 2662803.3322 | 1214108.6466 | 2662808.0246 | 1214103.5385
69 | 2662803.3322 | 1214108.6466 | 2662794.3377 | 1214118.4379
70 | 2663236.9966 | 1213864.0504 | 2663236.4668 | 1213879.8284
71 | 2663236.9966 | 1213864.0504 | 2663237.3748 | 1213852.7475 | 2663238.2578 | 1213829.6537 | 2663238.5984 | 1213826.1885 | 2663239.2976 | 1213818.9915
72 | 2663239.2976 | 1213818.9915 | 2663232.1597 | 1213812.2751

## bus_geodata
| x | y | coords
0 | 2663043.3286 | 1214142.0952
1 | 2663029.3988 | 1214152.3716
2 | 2663057.6865 | 1214130.8834
3 | 2663001.4201 | 1214180.4194
4 | 2663043.7878 | 1214114.519
5 | 2662980.2708 | 1214162.0894
6 | 2663032.9223 | 1214101.7259
7 | 2663123.1416 | 1214075.1413
8 | 2663214.6709 | 1214091.9988
9 | 2663043.1709 | 1214051.948
10 | 2663050.615 | 1213985.1077
11 | 2663014.4447 | 1214073.4516
12 | 2662918.8474 | 1214120.3108
13 | 2662914.0579 | 1214104.1725
14 | 2662935.7816 | 1214123.3679
15 | 2662915.5412 | 1214156.4982
16 | 2662813.0402 | 1214152.2931
17 | 2662827.3198 | 1214136.9868
18 | 2662786.2416 | 1214127.2511
19 | 2662840.8643 | 1214067.7897
20 | 2662876.6251 | 1214083.5207
21 | 2662832.6898 | 1214060.7437
22 | 2662821.4425 | 1214088.9319
23 | 2662888.2511 | 1214183.8495
24 | 2662885.5431 | 1214179.1959
25 | 2662909.8161 | 1214220.3883
26 | 2662876.7735 | 1214197.6259
27 | 2662902.2485 | 1214168.81
28 | 2662914.3758 | 1214155.3741
29 | 2662911.6155 | 1214218.2949
30 | 2662926.7128 | 1214227.8489
31 | 2662877.3007 | 1214069.8749
32 | 2662897.9414 | 1214090.4693
33 | 2662887.8984 | 1214051.6866
34 | 2662870.8377 | 1214064.7592
35 | 2662941.2675 | 1214016.1498
36 | 2662934.164 | 1214009.8376
37 | 2662951.9002 | 1214004.7439
38 | 2662947.3597 | 1214065.7335
39 | 2662935.0422 | 1214079.9512
40 | 2662870.7008 | 1214192.2474
41 | 2662818.2775 | 1214045.9494
42 | 2662733.5501 | 1214130.482
43 | 2662968.8046 | 1214041.0224
44 | 2662964.2412 | 1214036.5604
45 | 2662976.6995 | 1214024.1843
46 | 2662900.532 | 1214167.3688
47 | 2662939.9681 | 1214197.4923
48 | 2662941.4289 | 1214195.8178
49 | 2662946.5373 | 1214202.8971
50 | 2662828.4547 | 1214057.0949
51 | 2662958.6171 | 1214143.3224
52 | 2662966.7846 | 1214150.401
53 | 2663040.7707 | 1214092.1696
54 | 2663011.0535 | 1214075.9901
55 | 2663235.1952 | 1213917.8756
56 | 2662956.7823 | 1214205.5858
57 | 2662856.3791 | 1214141.9252
58 | 2662853.0851 | 1214138.9229
59 | 2662816.7268 | 1214094.0654
60 | 2662828.2342 | 1214056.9049
61 | 2662945.2841 | 1213999.0261
62 | 2662838.1841 | 1214125.3414
63 | 2662789.645 | 1214123.5463
64 | 2662780.9283 | 1214133.0353
65 | 2662850.8553 | 1214111.7004
66 | 2662808.0246 | 1214103.5385
67 | 2662803.3322 | 1214108.6466
68 | 2662794.3377 | 1214118.4379
69 | 2662776.2206 | 1214138.1602
70 | 2663236.4668 | 1213879.8284
71 | 2663236.9966 | 1213864.0504
72 | 2663239.2976 | 1213818.9915
73 | 2663232.1597 | 1213812.2751
74 | 2662918.8474 | 1214120.3108

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98628 | -0.26245 | 0.019989 | 0.0050097
1 | 0.98787 | -0.23159 | 0.01763 | 0.0044185
2 | 0.98493 | -0.28851 | 0 | 0
3 | 0.99217 | -0.14888 | 0 | 0
4 | 0.98335 | -0.31928 | 0.019588 | 0.0049093
5 | 0.99521 | -0.090952 | 0.01182 | 0.0029624
6 | 0.98241 | -0.33747 | 0 | 0
7 | 0.97689 | -0.44534 | 0 | 0
8 | 0.97577 | -0.46747 | 0 | 0
9 | 0.97962 | -0.39198 | 0 | 0
10 | 0.97476 | -0.48722 | 0.019517 | 0.0048914
11 | 0.98064 | -0.37196 | 0.019461 | 0.0048773
12 | 0.99795 | -0.039018 | 0 | 0
13 | 0.99668 | -0.063188 | 0 | 0
14 | 1 | 0 | -0.38653 | -0.098305
15 | 0.99408 | -0.11339 | 0 | 0
16 | 0.97962 | -0.39181 | 0 | 0
17 | 0.97833 | -0.41709 | 0.016366 | 0.0041016
18 | 0.98188 | -0.34773 | 0 | 0
19 | 0.98775 | -0.23396 | 0 | 0
20 | 0.99181 | -0.15588 | 0 | 0
21 | 0.98769 | -0.23508 | 0 | 0
22 | 0.98556 | -0.27626 | 0.0017352 | 0.00043489
23 | 0.9923 | -0.14789 | 0 | 0
24 | 0.99224 | -0.14887 | 0.010273 | 0.0025747
25 | 0.9917 | -0.15935 | 0 | 0
26 | 0.99212 | -0.15132 | 0 | 0
27 | 0.9929 | -0.13626 | 0 | 0
28 | 0.99406 | -0.11372 | 0.011863 | 0.0029731
29 | 0.9917 | -0.1595 | 0.0030217 | 0.00075732
30 | 0.99154 | -0.16254 | 0.0079459 | 0.0019914
31 | 0.99161 | -0.15978 | 0 | 0
32 | 0.99452 | -0.10426 | 0.010465 | 0.0026229
33 | 0.99148 | -0.1624 | 0.0061163 | 0.0015329
34 | 0.99157 | -0.16061 | 0.0057039 | 0.0014295
35 | 0.99301 | -0.13389 | 0 | 0
36 | 0.99292 | -0.13564 | 0.01046 | 0.0026216
37 | 0.99287 | -0.13669 | 0 | 0
38 | 0.99439 | -0.10731 | 0 | 0
39 | 0.99511 | -0.093294 | 0.011169 | 0.0027992
40 | 0.99204 | -0.15287 | 0.010811 | 0.0027096
41 | 0.98763 | -0.23623 | 0 | 0
42 | 0.98737 | -0.24127 | 0.0023453 | 0.00058778
43 | 0.99374 | -0.11979 | 0 | 0
44 | 0.99368 | -0.12097 | 0.010461 | 0.0026218
45 | 0.99351 | -0.12437 | 0.011172 | 0.0028
46 | 0.99287 | -0.1367 | 0.011136 | 0.002791
47 | 0.99196 | -0.15437 | 0 | 0
48 | 0.99195 | -0.15463 | 0.006562 | 0.0016446
49 | 0.99185 | -0.1565 | 0.011493 | 0.0028805
50 | 0.98767 | -0.23543 | 0.0017525 | 0.00043921
51 | 0.99803 | -0.037203 | 0 | 0
52 | 0.99733 | -0.050497 | 0.011404 | 0.0028581
53 | 0.9823 | -0.33967 | 0.0098424 | 0.0024667
54 | 0.98084 | -0.36811 | 0 | 0
55 | 0.97394 | -0.50355 | 0 | 0
56 | 0.99182 | -0.15715 | 0.0026523 | 0.00066472
57 | 0.97689 | -0.44535 | 0.016806 | 0.0042121
58 | 0.97696 | -0.44399 | 0.016799 | 0.0042103
59 | 0.98503 | -0.28634 | 0.0017254 | 0.00043242
60 | 0.98767 | -0.23544 | 0.0017275 | 0.00043295
61 | 0.99279 | -0.13826 | 0.010189 | 0.0025537
62 | 0.97759 | -0.43162 | 0 | 0
63 | 0.9822 | -0.3413 | 0.0021284 | 0.00053343
64 | 0.98184 | -0.34833 | 0.0021399 | 0.00053631
65 | 0.9773 | -0.43721 | 0.016448 | 0.0041222
66 | 0.98409 | -0.30458 | 0.001737 | 0.00043534
67 | 0.9836 | -0.31421 | 0.0021364 | 0.00053544
68 | 0.98267 | -0.33218 | 0.0021347 | 0.000535
69 | 0.98183 | -0.3486 | 0.002135 | 0.00053507
70 | 0.97354 | -0.5114 | 0.011073 | 0.0027752
71 | 0.97354 | -0.51144 | 0 | 0
72 | 0.97353 | -0.51156 | 0 | 0
73 | 0.97353 | -0.51158 | 0.00014042 | 3.5192e-05
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10015 | -0.0253 | 0.1003 | 0.025394 | 0.00014838 | 9.4744e-05 | 0.15117 | 0.15117 | 0.15117 | 0.98628 | -0.26245 | 0.98787 | -0.23159 | 41.5295
1 | 0.08016 | 0.02029 | -0.08006 | -0.020226 | 0.00010014 | 6.3856e-05 | 0.12101 | 0.12101 | 0.12101 | 0.98628 | -0.26245 | 0.98493 | -0.28851 | 33.2445
2 | -0.11793 | -0.029813 | 0.1184 | 0.030113 | 0.00046977 | 0.00030014 | 0.17772 | 0.17772 | 0.17772 | 0.98787 | -0.23159 | 0.99217 | -0.14888 | 48.825
3 | 0.08006 | 0.020226 | -0.079942 | -0.020151 | 0.0001179 | 7.5182e-05 | 0.12101 | 0.12101 | 0.12101 | 0.98493 | -0.28851 | 0.98335 | -0.31928 | 33.2445
4 | -0.1184 | -0.030113 | 0.11873 | 0.030325 | 0.00033149 | 0.00021179 | 0.17772 | 0.17772 | 0.17772 | 0.99217 | -0.14888 | 0.99521 | -0.090952 | 48.825
5 | 0.060353 | 0.015242 | -0.060301 | -0.015208 | 5.2546e-05 | 3.3417e-05 | 0.091369 | 0.091369 | 0.091369 | 0.98335 | -0.31928 | 0.98241 | -0.33747 | 25.1013
6 | -0.13055 | -0.033287 | 0.1308 | 0.03345 | 0.00025551 | 0.0001633 | 0.1954 | 0.1954 | 0.1954 | 0.99521 | -0.090952 | 0.99733 | -0.050497 | 53.6802
7 | 0.0098434 | 0.0024672 | -0.0098424 | -0.0024667 | 1.0297e-06 | 5.0264e-07 | 0.014909 | 0.014909 | 0.014909 | 0.98241 | -0.33747 | 0.9823 | -0.33967 | 4.096
8 | 0.050457 | 0.012741 | -0.050383 | -0.012694 | 7.3954e-05 | 4.6904e-05 | 0.076459 | 0.07646 | 0.07646 | 0.98241 | -0.33747 | 0.98084 | -0.36811 | 21.0054
9 | 0.011249 | 0.0028282 | -0.011237 | -0.0028219 | 1.1876e-05 | 6.252e-06 | 0.017138 | 0.017138 | 0.017138 | 0.97689 | -0.44534 | 0.97577 | -0.46747 | 4.7084
10 | -0.030805 | -0.0077431 | 0.030884 | 0.0077922 | 7.8694e-05 | 4.9168e-05 | 0.046931 | 0.04693 | 0.046931 | 0.97689 | -0.44534 | 0.97962 | -0.39198 | 12.8931
11 | 0.019556 | 0.0049149 | -0.019517 | -0.0048914 | 3.9014e-05 | 2.3504e-05 | 0.029793 | 0.029793 | 0.029793 | 0.97689 | -0.44534 | 0.97476 | -0.48722 | 8.185
12 | 0.011237 | 0.0028219 | -0.011218 | -0.0028118 | 1.9313e-05 | 1.0174e-05 | 0.017138 | 0.017139 | 0.017139 | 0.97577 | -0.46747 | 0.97394 | -0.50355 | 4.7086
13 | -0.030884 | -0.0077922 | 0.030913 | 0.0078108 | 2.9636e-05 | 1.8515e-05 | 0.04693 | 0.04693 | 0.04693 | 0.97962 | -0.39198 | 0.98064 | -0.37196 | 12.8929
14 | -0.050374 | -0.012688 | 0.050383 | 0.012694 | 9.2865e-06 | 5.8899e-06 | 0.07646 | 0.07646 | 0.07646 | 0.98064 | -0.37196 | 0.98084 | -0.36811 | 21.0054
15 | 0.16572 | 0.042252 | -0.16553 | -0.042129 | 0.00019312 | 0.00012316 | 0.24736 | 0.24736 | 0.24736 | 0.99795 | -0.039018 | 0.99668 | -0.063188 | 33.9781
16 | -0.24187 | -0.061484 | 0.24233 | 0.061775 | 0.00045546 | 0.000291 | 0.36095 | 0.36095 | 0.36095 | 0.99795 | -0.039018 | 1 | 0 | 49.5815
17 | 0.076147 | 0.019232 | -0.075877 | -0.019059 | 0.00027032 | 0.00017228 | 0.11359 | 0.11359 | 0.11359 | 0.99795 | -0.039018 | 0.99408 | -0.11339 | 31.207
18 | 0.053602 | 0.01349 | -0.053525 | -0.013441 | 7.7002e-05 | 4.8864e-05 | 0.080046 | 0.080046 | 0.080046 | 0.99668 | -0.063188 | 0.99511 | -0.093294 | 21.9907
19 | 0.11193 | 0.028639 | -0.11171 | -0.028497 | 0.00022208 | 0.00014186 | 0.16731 | 0.16731 | 0.16731 | 0.99668 | -0.063188 | 0.99452 | -0.10426 | 45.9656
20 | 0.14256 | 0.03653 | -0.1423 | -0.036367 | 0.00025654 | 0.00016339 | 0.21241 | 0.21241 | 0.21241 | 1 | 0 | 0.99803 | -0.037203 | 29.1772
21 | 0.011863 | 0.0029732 | -0.011863 | -0.0029731 | 1.9121e-07 | 1.0141e-07 | 0.017758 | 0.017758 | 0.017758 | 0.99408 | -0.11339 | 0.99406 | -0.11372 | 4.8785
22 | 0.064014 | 0.016086 | -0.063944 | -0.016042 | 6.9807e-05 | 4.4414e-05 | 0.095836 | 0.095836 | 0.095836 | 0.99408 | -0.11339 | 0.9929 | -0.13626 | 26.3286
23 | 0.06656 | 0.016735 | -0.066479 | -0.016684 | 8.027e-05 | 5.1109e-05 | 0.10112 | 0.10112 | 0.10112 | 0.97962 | -0.39181 | 0.97833 | -0.41709 | 27.7807
24 | -0.06656 | -0.016735 | 0.0667 | 0.016824 | 0.00014043 | 8.9416e-05 | 0.10112 | 0.10112 | 0.10112 | 0.97962 | -0.39181 | 0.98188 | -0.34773 | 27.7807
25 | 0.050114 | 0.012582 | -0.050079 | -0.01256 | 3.4705e-05 | 2.2012e-05 | 0.07623 | 0.07623 | 0.07623 | 0.97833 | -0.41709 | 0.97759 | -0.43162 | 20.9423
26 | -0.070975 | -0.017896 | 0.070997 | 0.01791 | 2.1842e-05 | 1.3915e-05 | 0.1076 | 0.1076 | 0.1076 | 0.98188 | -0.34773 | 0.9822 | -0.3413 | 29.5605
27 | 0.004275 | 0.0010713 | -0.0042749 | -0.0010713 | 1.2362e-07 | -2.0217e-08 | 0.0064787 | 0.0064787 | 0.0064787 | 0.98188 | -0.34773 | 0.98184 | -0.34833 | 1.7799
28 | -0.08883 | -0.022536 | 0.089165 | 0.02275 | 0.00033489 | 0.00021369 | 0.13392 | 0.13392 | 0.13392 | 0.98775 | -0.23396 | 0.99181 | -0.15588 | 36.7907
29 | 0.0058263 | 0.0014585 | -0.005826 | -0.0014585 | 3.1121e-07 | 6.1281e-08 | 0.0087766 | 0.0087766 | 0.0087766 | 0.98775 | -0.23396 | 0.98769 | -0.23508 | 2.4112
30 | 0.083004 | 0.021077 | -0.082835 | -0.02097 | 0.0001686 | 0.00010754 | 0.12514 | 0.12514 | 0.12514 | 0.98775 | -0.23396 | 0.98556 | -0.27626 | 34.3796
31 | 0.011823 | 0.0029638 | -0.011821 | -0.0029626 | 2.1981e-06 | 1.1664e-06 | 0.017739 | 0.017739 | 0.017739 | 0.99181 | -0.15588 | 0.99161 | -0.15978 | 4.8733
32 | -0.10099 | -0.025713 | 0.10124 | 0.025874 | 0.00025207 | 0.00016095 | 0.15166 | 0.15166 | 0.15166 | 0.99181 | -0.15588 | 0.99452 | -0.10426 | 41.6639
33 | 0.00348 | 0.00087212 | -0.00348 | -0.00087216 | 5.7623e-08 | -3.4665e-08 | 0.0052429 | 0.0052429 | 0.0052429 | 0.98769 | -0.23508 | 0.98767 | -0.23543 | 1.4404
34 | 0.0023459 | 0.00058633 | -0.0023458 | -0.0005866 | 1.2823e-07 | -2.6836e-07 | 0.0035337 | 0.0035339 | 0.0035339 | 0.98769 | -0.23508 | 0.98763 | -0.23623 | 0.97084
35 | 0.0811 | 0.020535 | -0.081061 | -0.02051 | 3.9241e-05 | 2.5025e-05 | 0.12252 | 0.12252 | 0.12252 | 0.98556 | -0.27626 | 0.98503 | -0.28634 | 33.6598
36 | 0.010274 | 0.002575 | -0.010273 | -0.0025747 | 4.7895e-07 | 2.3702e-07 | 0.015406 | 0.015406 | 0.015406 | 0.9923 | -0.14789 | 0.99224 | -0.14887 | 4.2325
37 | 0.010975 | 0.0027523 | -0.010969 | -0.0027492 | 5.9914e-06 | 3.073e-06 | 0.016458 | 0.016458 | 0.016458 | 0.9923 | -0.14789 | 0.9917 | -0.15935 | 4.5216
38 | 0.010814 | 0.0027109 | -0.010812 | -0.00271 | 1.7664e-06 | 8.9915e-07 | 0.016216 | 0.016217 | 0.016217 | 0.9923 | -0.14789 | 0.99212 | -0.15132 | 4.4551
39 | -0.032063 | -0.0080381 | 0.03208 | 0.0080493 | 1.7789e-05 | 1.112e-05 | 0.048081 | 0.048081 | 0.048081 | 0.9923 | -0.14789 | 0.9929 | -0.13626 | 13.209
40 | 0.0030217 | 0.00075729 | -0.0030217 | -0.00075732 | 2.1254e-08 | -2.197e-08 | 0.004534 | 0.004534 | 0.004534 | 0.9917 | -0.15935 | 0.9917 | -0.1595 | 1.2456
41 | 0.0079471 | 0.0019919 | -0.0079459 | -0.0019914 | 1.2073e-06 | 4.8058e-07 | 0.011924 | 0.011925 | 0.011925 | 0.9917 | -0.15935 | 0.99154 | -0.16254 | 3.276
42 | 0.010812 | 0.00271 | -0.010811 | -0.0027096 | 7.9869e-07 | 4.0659e-07 | 0.016217 | 0.016217 | 0.016217 | 0.99212 | -0.15132 | 0.99204 | -0.15287 | 4.4551
43 | 0.011137 | 0.0027911 | -0.011136 | -0.002791 | 2.3378e-07 | 1.2067e-07 | 0.01669 | 0.01669 | 0.01669 | 0.9929 | -0.13626 | 0.99287 | -0.1367 | 4.5852
44 | 0.020727 | 0.0052013 | -0.020709 | -0.0051905 | 1.7887e-05 | 1.0809e-05 | 0.031065 | 0.031065 | 0.031065 | 0.9929 | -0.13626 | 0.99196 | -0.15437 | 8.5344
45 | 0.0061171 | 0.0015331 | -0.0061163 | -0.0015329 | 7.6126e-07 | 1.7646e-07 | 0.0091793 | 0.0091794 | 0.0091794 | 0.99161 | -0.15978 | 0.99148 | -0.1624 | 2.5218
46 | 0.0057041 | 0.0014296 | -0.0057039 | -0.0014295 | 2.2607e-07 | 3.8545e-08 | 0.0085596 | 0.0085596 | 0.0085596 | 0.99161 | -0.15978 | 0.99157 | -0.16061 | 2.3516
47 | 0.010461 | 0.002622 | -0.01046 | -0.0026216 | 8.7431e-07 | 4.3682e-07 | 0.015676 | 0.015676 | 0.015676 | 0.99301 | -0.13389 | 0.99292 | -0.13564 | 4.3065
48 | 0.010191 | 0.0025547 | -0.01019 | -0.0025541 | 1.3621e-06 | 6.7032e-07 | 0.015272 | 0.015272 | 0.015272 | 0.99301 | -0.13389 | 0.99287 | -0.13669 | 4.1956
49 | -0.020652 | -0.0051767 | 0.020679 | 0.0051925 | 2.6188e-05 | 1.5816e-05 | 0.030948 | 0.030947 | 0.030948 | 0.99301 | -0.13389 | 0.99439 | -0.10731 | 8.5021
50 | 0.01019 | 0.0025541 | -0.010189 | -0.0025537 | 7.6355e-07 | 3.7578e-07 | 0.015272 | 0.015272 | 0.015272 | 0.99287 | -0.13669 | 0.99279 | -0.13826 | 4.1956
51 | 0.021649 | 0.0054312 | -0.021636 | -0.0054234 | 1.2879e-05 | 7.8182e-06 | 0.032398 | 0.032398 | 0.032398 | 0.99439 | -0.10731 | 0.99374 | -0.11979 | 8.9006
52 | -0.042328 | -0.010624 | 0.042356 | 0.010642 | 2.8306e-05 | 1.7872e-05 | 0.063345 | 0.063345 | 0.063345 | 0.99439 | -0.10731 | 0.99511 | -0.093294 | 17.4026
53 | 0.0023458 | 0.0005866 | -0.0023453 | -0.00058778 | 5.6312e-07 | -1.1777e-06 | 0.0035339 | 0.0035344 | 0.0035344 | 0.98763 | -0.23623 | 0.98737 | -0.24127 | 0.97099
54 | 0.010462 | 0.0026221 | -0.010461 | -0.0026218 | 5.8647e-07 | 2.9278e-07 | 0.015665 | 0.015665 | 0.015665 | 0.99374 | -0.11979 | 0.99368 | -0.12097 | 4.3036
55 | 0.011175 | 0.0028013 | -0.011172 | -0.0028 | 2.4358e-06 | 1.2584e-06 | 0.016733 | 0.016733 | 0.016733 | 0.99374 | -0.11979 | 0.99351 | -0.12437 | 4.597
56 | 0.0065621 | 0.0016446 | -0.006562 | -0.0016446 | 8.0666e-08 | 2.2968e-08 | 0.0098436 | 0.0098436 | 0.0098436 | 0.99196 | -0.15437 | 0.99195 | -0.15463 | 2.7043
57 | 0.014147 | 0.0035459 | -0.014146 | -0.0035451 | 1.4367e-06 | 8.0968e-07 | 0.021222 | 0.021222 | 0.021222 | 0.99196 | -0.15437 | 0.99185 | -0.1565 | 5.8302
58 | 0.0026524 | 0.0006646 | -0.0026523 | -0.00066472 | 8.1654e-08 | -1.2522e-07 | 0.0039791 | 0.0039792 | 0.0039792 | 0.99185 | -0.1565 | 0.99182 | -0.15715 | 1.0932
59 | 0.0017275 | 0.00043295 | -0.0017275 | -0.00043295 | 7.3925e-10 | -3.2516e-09 | 0.0026026 | 0.0026026 | 0.0026026 | 0.98767 | -0.23543 | 0.98767 | -0.23544 | 0.71501
60 | 0.1423 | 0.036367 | -0.14221 | -0.036309 | 9.1432e-05 | 5.8234e-05 | 0.21241 | 0.21241 | 0.21241 | 0.99803 | -0.037203 | 0.99733 | -0.050497 | 29.1772
61 | 0.011218 | 0.0028118 | -0.011214 | -0.0028095 | 4.1936e-06 | 2.2103e-06 | 0.017139 | 0.017139 | 0.017139 | 0.97394 | -0.50355 | 0.97354 | -0.5114 | 4.7086
62 | -0.016806 | -0.0042121 | 0.016808 | 0.0042127 | 1.0953e-06 | 6.4521e-07 | 0.0256 | 0.0256 | 0.0256 | 0.97689 | -0.44535 | 0.97696 | -0.44399 | 7.033
63 | -0.033607 | -0.008423 | 0.033627 | 0.0084354 | 1.981e-05 | 1.2426e-05 | 0.051187 | 0.051187 | 0.051187 | 0.97696 | -0.44399 | 0.97759 | -0.43162 | 14.0623
64 | 0.079335 | 0.020078 | -0.079266 | -0.020033 | 6.9364e-05 | 4.4229e-05 | 0.11992 | 0.11992 | 0.11992 | 0.98503 | -0.28634 | 0.98409 | -0.30458 | 32.9438
65 | 0.016452 | 0.0041248 | -0.016448 | -0.0041222 | 4.3787e-06 | 2.569e-06 | 0.025043 | 0.025043 | 0.025043 | 0.97759 | -0.43162 | 0.9773 | -0.43721 | 6.88
66 | -0.073125 | -0.018443 | 0.073157 | 0.018463 | 3.1949e-05 | 2.0359e-05 | 0.11082 | 0.11082 | 0.11082 | 0.9822 | -0.3413 | 0.98267 | -0.33218 | 30.4463
67 | 0.002135 | 0.000535 | -0.002135 | -0.00053507 | 2.7321e-08 | -7.0525e-08 | 0.0032356 | 0.0032357 | 0.0032357 | 0.98184 | -0.34833 | 0.98183 | -0.3486 | 0.88892
68 | 0.077529 | 0.019598 | -0.077493 | -0.019575 | 3.5783e-05 | 2.2813e-05 | 0.11729 | 0.11729 | 0.11729 | 0.98409 | -0.30458 | 0.9836 | -0.31421 | 32.2223
69 | 0.075357 | 0.01904 | -0.075292 | -0.018998 | 6.4861e-05 | 4.1342e-05 | 0.11406 | 0.11406 | 0.11406 | 0.9836 | -0.31421 | 0.98267 | -0.33218 | 31.3343
70 | 0.00014042 | 3.4313e-05 | -0.00014042 | -3.4509e-05 | 2.7199e-10 | -1.9612e-07 | 0.00021431 | 0.00021438 | 0.00021438 | 0.97354 | -0.5114 | 0.97354 | -0.51144 | 0.058895
71 | 0.00014042 | 3.4509e-05 | -0.00014042 | -3.507e-05 | 7.7868e-10 | -5.6077e-07 | 0.00021438 | 0.00021458 | 0.00021458 | 0.97354 | -0.51144 | 0.97353 | -0.51156 | 0.05895
72 | 0.00014042 | 3.507e-05 | -0.00014042 | -3.5192e-05 | 1.6927e-10 | -1.2176e-07 | 0.00021458 | 0.00021462 | 0.00021462 | 0.97353 | -0.51156 | 0.97353 | -0.51158 | 0.058962

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40543 | 0.10304

## res_load
| p_mw | q_mvar
0 | 0.019989 | 0.0050097
1 | 0.01763 | 0.0044185
2 | 0.019588 | 0.0049093
3 | 0.01182 | 0.0029624
4 | 0.019517 | 0.0048914
5 | 0.019461 | 0.0048773
6 | 0.0189 | 0.0047368
7 | 0.016366 | 0.0041016
8 | 0.0017352 | 0.00043489
9 | 0.010273 | 0.0025747
10 | 0.011863 | 0.0029731
11 | 0.0030217 | 0.00075732
12 | 0.0079459 | 0.0019914
13 | 0.010465 | 0.0026229
14 | 0.0061163 | 0.0015329
15 | 0.0057039 | 0.0014295
16 | 0.01046 | 0.0026216
17 | 0.011169 | 0.0027992
18 | 0.010811 | 0.0027096
19 | 0.0023453 | 0.00058778
20 | 0.010461 | 0.0026218
21 | 0.011172 | 0.0028
22 | 0.011136 | 0.002791
23 | 0.006562 | 0.0016446
24 | 0.011493 | 0.0028805
25 | 0.0017525 | 0.00043921
26 | 0.011404 | 0.0028581
27 | 0.0098424 | 0.0024667
28 | 0.0026523 | 0.00066472
29 | 0.016806 | 0.0042121
30 | 0.016799 | 0.0042103
31 | 0.0017254 | 0.00043242
32 | 0.0017275 | 0.00043295
33 | 0.010189 | 0.0025537
34 | 0.0021284 | 0.00053343
35 | 0.0021399 | 0.00053631
36 | 0.016448 | 0.0041222
37 | 0.001737 | 0.00043534
38 | 0.0021364 | 0.00053544
39 | 0.0021347 | 0.000535
40 | 0.002135 | 0.00053507
41 | 0.011073 | 0.0027752
42 | 0.00014042 | 3.5192e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1