## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-53_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-53_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-53_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-53_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-53_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1024-53_0_6_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1024-53_0_6_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1024-53_0_6_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1024-53_0_6_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1024-53_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1024-53_0_6_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_1024-53_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1024-53_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1024-53_0_6_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1024-53_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1024-53_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1024-53_0_6_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_1024-53_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1024-53_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1024-53_0_6_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1024-53_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1024-53_0_6_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1024-53_0_6_node_5 | 0.4 | n |  | TRUE
23 | bus_LV_1024-53_0_6_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1024-53_0_6_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1024-53_0_6_node_6 | 0.4 | n |  | TRUE
26 | bus_LV_1024-53_0_6_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_1024-53_0_6_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1024-53_0_6_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1024-53_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1024-53_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1024-53_0_6_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1024-53_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1024-53_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1024-53_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_MV_214_1_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-53_0_6_load_0 | 0 | 0.0070145 | 0.001758 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-53_0_6_load_1 | 1 | 0.020505 | 0.0051391 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-53_0_6_load_2 | 2 | 0.034153 | 0.0085595 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-53_0_6_load_3 | 3 | 0.016101 | 0.0040352 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-53_0_6_load_22 | 6 | 0.010835 | 0.0027154 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-53_0_6_load_29 | 10 | 0.035817 | 0.0089767 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-53_0_6_load_35 | 13 | 0.013603 | 0.0034092 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-53_0_6_load_30 | 16 | 0.023804 | 0.0059658 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-53_0_6_load_33 | 19 | 0.021708 | 0.0054405 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-53_0_6_load_26 | 20 | 0.013481 | 0.0033787 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-53_0_6_load_34 | 21 | 0.023632 | 0.0059228 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-53_0_6_load_5 | 22 | 0.0085422 | 0.0021409 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-53_0_6_load_20 | 23 | 0.010635 | 0.0026655 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-53_0_6_load_25 | 24 | 0.067166 | 0.016833 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-53_0_6_load_31 | 27 | 0.023163 | 0.0058052 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-53_0_6_load_32 | 28 | 0.018118 | 0.0045409 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-53_0_6_load_28 | 31 | 0.045199 | 0.011328 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-53_0_6_load_23 | 32 | 0.012961 | 0.0032483 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-53_0_6_load_27 | 33 | 0.022399 | 0.0056136 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-53_0_6_load_24 | 34 | 0.015417 | 0.003864 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-53_0_6_line_0 |  | 0 | 1 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_1024-53_0_6_line_1 |  | 0 | 2 | 0.0047347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1024-53_0_6_line_2 |  | 1 | 3 | 0.029102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1024-53_0_6_line_3 |  | 2 | 4 | 0.038599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1024-53_0_6_line_4 |  | 3 | 5 | 0.050583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1024-53_0_6_line_5 |  | 4 | 6 | 0.017047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-53_0_6_line_6 |  | 5 | 7 | 0.26887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1024-53_0_6_line_7 |  | 6 | 8 | 0.034491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-53_0_6_line_8 |  | 7 | 24 | 0.055811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1024-53_0_6_line_9 |  | 8 | 23 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-53_0_6_line_10 |  | 9 | 10 | 0.006522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-53_0_6_line_11 |  | 9 | 11 | 0.029604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-53_0_6_line_12 |  | 11 | 22 | 0.027054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-53_0_6_line_13 |  | 12 | 13 | 0.008125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-53_0_6_line_14 |  | 12 | 14 | 0.040843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-53_0_6_line_15 |  | 14 | 21 | 0.009523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-53_0_6_line_16 |  | 14 | 17 | 0.02906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-53_0_6_line_17 |  | 15 | 16 | 0.007739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-53_0_6_line_18 |  | 15 | 17 | 0.054451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_1024-53_0_6_line_19 |  | 15 | 18 | 0.032673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1024-53_0_6_line_20 |  | 17 | 19 | 0.008195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-53_0_6_line_21 |  | 17 | 20 | 0.022278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1024-53_0_6_line_22 |  | 18 | 27 | 0.008618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-53_0_6_line_23 |  | 18 | 25 | 0.013658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1024-53_0_6_line_24 |  | 20 | 33 | 0.10491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1024-53_0_6_line_25 |  | 22 | 25 | 0.021923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-53_0_6_line_26 |  | 24 | 30 | 0.042246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1024-53_0_6_line_27 |  | 25 | 26 | 0.029552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1024-53_0_6_line_28 |  | 26 | 28 | 0.010997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-53_0_6_line_29 |  | 29 | 30 | 0.069961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1024-53_0_6_line_30 |  | 29 | 31 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_1024-53_0_6_line_31 |  | 30 | 32 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-53_0_6_line_32 |  | 31 | 33 | 0.0066423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1024-53_0_6_line_33 |  | 32 | 34 | 0.010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-53_0_6_trafo_9 | 0.63 MVA 20/0.4 kV | 35 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2663926.3264 | 1215514.4302 | 2663922.3879 | 1215515.4335 | 2663910.2123 | 1215515.7032 | 2663910.1879 | 1215521.453
1 | 2663926.3264 | 1215514.4302 | 2663930.9146 | 1215513.2614
2 | 2663910.1879 | 1215521.453 | 2663910.0642 | 1215550.5551
3 | 2663969.4749 | 1215513.4483 | 2663932.0202 | 1215512.9797 | 2663930.9146 | 1215513.2614
4 | 2663927.0589 | 1215584.7266 | 2663915.83 | 1215584.5395 | 2663915.7599 | 1215578.3349 | 2663909.9481 | 1215577.8723 | 2663910.0642 | 1215550.5551
5 | 2663969.4749 | 1215513.4483 | 2663974.815 | 1215523.8899 | 2663977.0158 | 1215528.732
6 | 2663859.7052 | 1215728.4498 | 2663867.0317 | 1215728.5616 | 2663874.3489 | 1215735.1997 | 2663884.204 | 1215741.6759 | 2663908.2317 | 1215754.219 | 2663911.1362 | 1215755.2841 | 2663913.1103 | 1215750.3355 | 2663918.6579 | 1215736.4752 | 2663917.4239 | 1215726.2112 | 2663911.5732 | 1215716.6537 | 2663891.4082 | 1215694.4015 | 2663907.4298 | 1215691.627 | 2663924.657 | 1215676.9804 | 2663929.1582 | 1215667.2337 | 2663929.1438 | 1215657.95 | 2663931.369 | 1215649.4352 | 2663932.1287 | 1215641.6163 | 2663929.4292 | 1215628.5125 | 2663924.3274 | 1215612.1366 | 2663920.9016 | 1215603.7391 | 2663920.7527 | 1215592.1414 | 2663922.0084 | 1215589.0529 | 2663926.6178 | 1215587.6237 | 2663927.0589 | 1215584.7266
7 | 2663990.3456 | 1215560.5237 | 2663989.8165 | 1215558.8836 | 2663984.2142 | 1215544.5702 | 2663977.0158 | 1215528.732
8 | 2663859.7052 | 1215728.4498 | 2663843.0178 | 1215728.182 | 2663804.0291 | 1215731.4001
9 | 2663990.3456 | 1215560.5237 | 2663978.4362 | 1215561.4743 | 2663978.3809 | 1215562.4482
10 | 2663818.8671 | 1215637.7563 | 2663823.593 | 1215633.2485
11 | 2663795.5436 | 1215627.467 | 2663805.8932 | 1215633.8928 | 2663815.7661 | 1215641.5699 | 2663818.8671 | 1215637.7563
12 | 2663795.5436 | 1215627.467 | 2663796.6862 | 1215624.2995 | 2663796.8417 | 1215620.4098 | 2663782.7418 | 1215606.5181
13 | 2663671.8187 | 1215508.3819 | 2663677.4326 | 1215502.4938
14 | 2663671.8187 | 1215508.3819 | 2663670.1046 | 1215510.3204 | 2663672.1638 | 1215512.3325 | 2663697.3523 | 1215537.1725
15 | 2663697.3523 | 1215537.1725 | 2663703.648 | 1215530.013
16 | 2663718.4687 | 1215557.1994 | 2663697.3523 | 1215537.1725
17 | 2663758.9365 | 1215551.3949 | 2663753.6665 | 1215557.0755
18 | 2663718.4687 | 1215557.1994 | 2663719.9559 | 1215558.7273 | 2663733.0511 | 1215572.5758 | 2663740.7257 | 1215565.0087 | 2663741.3086 | 1215560.9124 | 2663750.5587 | 1215552.2948 | 2663753.6665 | 1215557.0755
19 | 2663776.0554 | 1215580.9297 | 2663753.6665 | 1215557.0755
20 | 2663718.4687 | 1215557.1994 | 2663724.1137 | 1215551.2449
21 | 2663718.4687 | 1215557.1994 | 2663714.0585 | 1215579.0367
22 | 2663782.383 | 1215575.0604 | 2663776.0554 | 1215580.9297
23 | 2663776.0554 | 1215580.9297 | 2663773.0459 | 1215583.9994 | 2663779.7108 | 1215590.597
24 | 2663725.3061 | 1215674.8009 | 2663725.2558 | 1215661.0363 | 2663725.4115 | 1215657.1244 | 2663727.0313 | 1215655.4852 | 2663730.3152 | 1215652.3183 | 2663730.2683 | 1215620.4869 | 2663732.4722 | 1215604.7007 | 2663731.8768 | 1215598.6017 | 2663714.0585 | 1215579.0367
25 | 2663779.7108 | 1215590.597 | 2663773.7051 | 1215597.6149 | 2663782.7418 | 1215606.5181
26 | 2663767.6447 | 1215718.3361 | 2663784.9336 | 1215733.3526 | 2663794.3999 | 1215733.5984 | 2663804.0291 | 1215731.4001
27 | 2663800.7577 | 1215611.4017 | 2663779.7108 | 1215590.597
28 | 2663808.6762 | 1215603.7483 | 2663800.7577 | 1215611.4017
29 | 2663734.6628 | 1215661.1591 | 2663738.6243 | 1215664.2145 | 2663758.4697 | 1215679.4917 | 2663767.6447 | 1215718.3361
30 | 2663731.7113 | 1215676.5594 | 2663731.6843 | 1215666.3083 | 2663734.6628 | 1215661.1591
31 | 2663767.6447 | 1215718.3361 | 2663758.9718 | 1215726.2483 | 2663758.9718 | 1215726.2483
32 | 2663731.7113 | 1215676.5594 | 2663725.3061 | 1215674.8009
33 | 2663758.7319 | 1215736.8515 | 2663758.9718 | 1215726.2483

## bus_geodata
| x | y | coords
0 | 2663926.3264 | 1215514.4302
1 | 2663910.1879 | 1215521.453
2 | 2663930.9146 | 1215513.2614
3 | 2663910.0642 | 1215550.5551
4 | 2663969.4749 | 1215513.4483
5 | 2663927.0589 | 1215584.7266
6 | 2663977.0158 | 1215528.732
7 | 2663859.7052 | 1215728.4498
8 | 2663990.3456 | 1215560.5237
9 | 2663818.8671 | 1215637.7563
10 | 2663823.593 | 1215633.2485
11 | 2663795.5436 | 1215627.467
12 | 2663671.8187 | 1215508.3819
13 | 2663677.4326 | 1215502.4938
14 | 2663697.3523 | 1215537.1725
15 | 2663753.6665 | 1215557.0755
16 | 2663758.9365 | 1215551.3949
17 | 2663718.4687 | 1215557.1994
18 | 2663776.0554 | 1215580.9297
19 | 2663724.1137 | 1215551.2449
20 | 2663714.0585 | 1215579.0367
21 | 2663703.648 | 1215530.013
22 | 2663782.7418 | 1215606.5181
23 | 2663978.3809 | 1215562.4482
24 | 2663804.0291 | 1215731.4001
25 | 2663779.7108 | 1215590.597
26 | 2663800.7577 | 1215611.4017
27 | 2663782.383 | 1215575.0604
28 | 2663808.6762 | 1215603.7483
29 | 2663734.6628 | 1215661.1591
30 | 2663767.6447 | 1215718.3361
31 | 2663731.7113 | 1215676.5594
32 | 2663758.9718 | 1215726.2483
33 | 2663725.3061 | 1215674.8009
34 | 2663758.7319 | 1215736.8515
35 | 2663808.6762 | 1215603.7483

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97255 | -0.5302 | 0.0070145 | 0.001758
1 | 0.97281 | -0.52512 | 0.020505 | 0.0051391
2 | 0.9725 | -0.53117 | 0.034153 | 0.0085595
3 | 0.97326 | -0.51621 | 0.016101 | 0.0040352
4 | 0.97212 | -0.53881 | 0 | 0
5 | 0.9742 | -0.49776 | 0 | 0
6 | 0.97177 | -0.54557 | 0.010835 | 0.0027154
7 | 0.97917 | -0.4002 | 0 | 0
8 | 0.97143 | -0.55234 | 0 | 0
9 | 0.99494 | -0.096725 | 0 | 0
10 | 0.99473 | -0.10084 | 0.035817 | 0.0089767
11 | 0.99591 | -0.078074 | 0 | 0
12 | 0.98967 | -0.19711 | 0 | 0
13 | 0.98957 | -0.19908 | 0.013603 | 0.0034092
14 | 0.99018 | -0.18723 | 0 | 0
15 | 0.99455 | -0.10352 | 0 | 0
16 | 0.99438 | -0.10677 | 0.023804 | 0.0059658
17 | 0.99117 | -0.16801 | 0 | 0
18 | 0.99671 | -0.062301 | 0 | 0
19 | 0.99101 | -0.17117 | 0.021708 | 0.0054405
20 | 0.99003 | -0.18985 | 0.013481 | 0.0033787
21 | 0.98998 | -0.19123 | 0.023632 | 0.0059228
22 | 0.99679 | -0.06106 | 0.0085422 | 0.0021409
23 | 0.9713 | -0.55488 | 0.010635 | 0.0026655
24 | 0.98021 | -0.38007 | 0.067166 | 0.016833
25 | 0.99768 | -0.044015 | 0 | 0
26 | 1 | 0 | -0.45223 | -0.11533
27 | 0.99653 | -0.065804 | 0.023163 | 0.0058052
28 | 0.99982 | -0.0034734 | 0.018118 | 0.0045409
29 | 0.98405 | -0.30538 | 0 | 0
30 | 0.98151 | -0.35459 | 0 | 0
31 | 0.98463 | -0.29403 | 0.045199 | 0.011328
32 | 0.98121 | -0.36062 | 0.012961 | 0.0032483
33 | 0.98493 | -0.28829 | 0.022399 | 0.0056136
34 | 0.98105 | -0.36358 | 0.015417 | 0.003864
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.06266 | -0.015711 | 0.062675 | 0.015719 | 1.5161e-05 | 8.3381e-06 | 0.095872 | 0.095872 | 0.095872 | 0.97255 | -0.5302 | 0.97281 | -0.52512 | 5.2677
1 | 0.055645 | 0.013952 | -0.055642 | -0.013951 | 2.5741e-06 | 1.3537e-06 | 0.08514 | 0.08514 | 0.08514 | 0.97255 | -0.5302 | 0.9725 | -0.53117 | 4.678
2 | -0.08318 | -0.020858 | 0.083216 | 0.020879 | 3.5336e-05 | 2.0807e-05 | 0.12724 | 0.12724 | 0.12724 | 0.97281 | -0.52512 | 0.97326 | -0.51621 | 6.991
3 | 0.02149 | 0.0053916 | -0.021482 | -0.0053876 | 7.8257e-06 | 4.051e-06 | 0.032883 | 0.032884 | 0.032884 | 0.9725 | -0.53117 | 0.97212 | -0.53881 | 4.517
4 | -0.099316 | -0.024914 | 0.099404 | 0.024967 | 8.748e-05 | 5.2841e-05 | 0.15185 | 0.15185 | 0.15185 | 0.97326 | -0.51621 | 0.9742 | -0.49776 | 8.3436
5 | 0.021482 | 0.0053876 | -0.021475 | -0.0053834 | 6.9124e-06 | 4.2127e-06 | 0.032884 | 0.032884 | 0.032884 | 0.97212 | -0.53881 | 0.97177 | -0.54557 | 9.034
6 | -0.099404 | -0.024967 | 0.099869 | 0.025248 | 0.00046496 | 0.00028075 | 0.15185 | 0.15185 | 0.15185 | 0.9742 | -0.49776 | 0.97917 | -0.4002 | 8.3435
7 | 0.01064 | 0.0026679 | -0.010637 | -0.0026662 | 3.4336e-06 | 1.7703e-06 | 0.016293 | 0.016293 | 0.016293 | 0.97177 | -0.54557 | 0.97143 | -0.55234 | 4.4762
8 | -0.099869 | -0.025248 | 0.099965 | 0.025306 | 9.6512e-05 | 5.8254e-05 | 0.15185 | 0.15184 | 0.15185 | 0.97917 | -0.4002 | 0.98021 | -0.38007 | 8.3432
9 | 0.010637 | 0.0026662 | -0.010635 | -0.0026655 | 1.2865e-06 | 6.6338e-07 | 0.016293 | 0.016293 | 0.016293 | 0.97143 | -0.55234 | 0.9713 | -0.55488 | 4.4762
10 | 0.035824 | 0.0089811 | -0.035817 | -0.0089767 | 7.0211e-06 | 4.4088e-06 | 0.053579 | 0.053579 | 0.053579 | 0.99494 | -0.096725 | 0.99473 | -0.10084 | 14.7196
11 | -0.035824 | -0.0089811 | 0.035856 | 0.0090011 | 3.1869e-05 | 2.0011e-05 | 0.053579 | 0.053579 | 0.053579 | 0.99494 | -0.096725 | 0.99591 | -0.078074 | 14.7196
12 | -0.035856 | -0.0090011 | 0.035885 | 0.0090194 | 2.9124e-05 | 1.8287e-05 | 0.053579 | 0.053579 | 0.053579 | 0.99591 | -0.078074 | 0.99679 | -0.06106 | 14.7195
13 | 0.013604 | 0.0034099 | -0.013603 | -0.0034092 | 1.2748e-06 | 7.1147e-07 | 0.020455 | 0.020455 | 0.020455 | 0.98967 | -0.19711 | 0.98957 | -0.19908 | 5.6194
14 | -0.013604 | -0.0034099 | 0.013611 | 0.0034135 | 6.408e-06 | 3.576e-06 | 0.020455 | 0.020454 | 0.020455 | 0.98967 | -0.19711 | 0.99018 | -0.18723 | 5.6194
15 | 0.023637 | 0.0059255 | -0.023632 | -0.0059228 | 4.5059e-06 | 2.7613e-06 | 0.035521 | 0.035521 | 0.035521 | 0.99018 | -0.18723 | 0.98998 | -0.19123 | 9.7586
16 | -0.037247 | -0.009339 | 0.037281 | 0.0093605 | 3.4145e-05 | 2.1478e-05 | 0.055975 | 0.055975 | 0.055975 | 0.99018 | -0.18723 | 0.99117 | -0.16801 | 15.3779
17 | 0.023807 | 0.005968 | -0.023804 | -0.0059658 | 3.6823e-06 | 2.2563e-06 | 0.035621 | 0.035621 | 0.035621 | 0.99455 | -0.10352 | 0.99438 | -0.10677 | 9.7859
18 | 0.33903 | 0.086562 | -0.33798 | -0.085892 | 0.0010531 | 0.00067049 | 0.50782 | 0.50782 | 0.50782 | 0.99455 | -0.10352 | 0.99117 | -0.16801 | 27.9021
19 | -0.36284 | -0.09253 | 0.36356 | 0.092991 | 0.00072368 | 0.00046103 | 0.54344 | 0.54344 | 0.54344 | 0.99455 | -0.10352 | 0.99671 | -0.062301 | 29.8592
20 | 0.021711 | 0.0054425 | -0.021708 | -0.0054405 | 3.2649e-06 | 1.9839e-06 | 0.032595 | 0.032595 | 0.032595 | 0.99117 | -0.16801 | 0.99101 | -0.17117 | 8.9546
21 | 0.27898 | 0.071089 | -0.27869 | -0.070902 | 0.00029369 | 0.00018653 | 0.41925 | 0.41925 | 0.41925 | 0.99117 | -0.16801 | 0.99003 | -0.18985 | 23.0356
22 | 0.023167 | 0.0058075 | -0.023163 | -0.0058052 | 3.866e-06 | 2.3619e-06 | 0.034587 | 0.034587 | 0.034587 | 0.99671 | -0.062301 | 0.99653 | -0.065804 | 9.5019
23 | -0.38673 | -0.098799 | 0.38707 | 0.099017 | 0.00034225 | 0.00021815 | 0.57802 | 0.57802 | 0.57802 | 0.99671 | -0.062301 | 0.99768 | -0.044015 | 31.7595
24 | 0.26521 | 0.067523 | -0.26396 | -0.066728 | 0.0012525 | 0.00079491 | 0.39899 | 0.39899 | 0.39899 | 0.99003 | -0.18985 | 0.98493 | -0.28829 | 21.9225
25 | -0.044428 | -0.01116 | 0.044464 | 0.011183 | 3.617e-05 | 2.2863e-05 | 0.066331 | 0.066331 | 0.066331 | 0.99679 | -0.06106 | 0.99768 | -0.044015 | 18.2228
26 | -0.16713 | -0.042139 | 0.16734 | 0.042267 | 0.00020411 | 0.00012796 | 0.25381 | 0.25381 | 0.25381 | 0.98021 | -0.38007 | 0.98151 | -0.35459 | 13.9454
27 | -0.43153 | -0.1102 | 0.43245 | 0.11079 | 0.00092023 | 0.00058701 | 0.64435 | 0.64435 | 0.64435 | 0.99768 | -0.044015 | 1 | 0 | 35.404
28 | 0.018121 | 0.0045427 | -0.018118 | -0.0045409 | 2.9986e-06 | 1.7749e-06 | 0.026965 | 0.026965 | 0.026965 | 1 | 0 | 0.99982 | -0.0034734 | 7.4081
29 | 0.19619 | 0.049677 | -0.19572 | -0.049386 | 0.00046235 | 0.00029147 | 0.29684 | 0.29685 | 0.29685 | 0.98405 | -0.30538 | 0.98151 | -0.35459 | 16.3102
30 | -0.19619 | -0.049677 | 0.19629 | 0.049745 | 0.00010705 | 6.7481e-05 | 0.29684 | 0.29684 | 0.29684 | 0.98405 | -0.30538 | 0.98463 | -0.29403 | 16.3101
31 | 0.028389 | 0.0071186 | -0.02838 | -0.0071135 | 8.155e-06 | 5.0709e-06 | 0.04304 | 0.04304 | 0.04304 | 0.98151 | -0.35459 | 0.98121 | -0.36062 | 11.8241
32 | -0.24149 | -0.061073 | 0.24156 | 0.061115 | 6.6423e-05 | 4.2088e-05 | 0.36515 | 0.36515 | 0.36515 | 0.98463 | -0.29403 | 0.98493 | -0.28829 | 20.0632
33 | 0.01542 | 0.0038652 | -0.015417 | -0.003864 | 2.1749e-06 | 1.258e-06 | 0.023384 | 0.023384 | 0.023384 | 0.98121 | -0.36062 | 0.98105 | -0.36358 | 6.4243

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45223 | 0.11533

## res_load
| p_mw | q_mvar
0 | 0.0070145 | 0.001758
1 | 0.020505 | 0.0051391
2 | 0.034153 | 0.0085595
3 | 0.016101 | 0.0040352
4 | 0.010835 | 0.0027154
5 | 0.035817 | 0.0089767
6 | 0.013603 | 0.0034092
7 | 0.023804 | 0.0059658
8 | 0.021708 | 0.0054405
9 | 0.013481 | 0.0033787
10 | 0.023632 | 0.0059228
11 | 0.0085422 | 0.0021409
12 | 0.010635 | 0.0026655
13 | 0.067166 | 0.016833
14 | 0.023163 | 0.0058052
15 | 0.018118 | 0.0045409
16 | 0.045199 | 0.011328
17 | 0.012961 | 0.0032483
18 | 0.022399 | 0.0056136
19 | 0.015417 | 0.003864

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1