## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-55_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-55_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1024-55_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1024-55_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1024-55_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1024-55_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1024-55_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1024-55_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1024-55_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1024-55_0_3_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_1024-55_0_3_node_133 | 0.4 | n |  | TRUE
11 | bus_LV_1024-55_0_3_node_134 | 0.4 | n |  | TRUE
12 | bus_LV_1024-55_0_3_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_1024-55_0_3_node_136 | 0.4 | n |  | TRUE
14 | bus_LV_1024-55_0_3_node_151 | 0.4 | n |  | TRUE
15 | bus_LV_1024-55_0_3_node_140 | 0.4 | n |  | TRUE
16 | bus_LV_1024-55_0_3_node_141 | 0.4 | n |  | TRUE
17 | bus_LV_1024-55_0_3_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_1024-55_0_3_node_150 | 0.4 | n |  | TRUE
19 | bus_LV_1024-55_0_3_node_107 | 0.4 | n |  | TRUE
20 | bus_LV_1024-55_0_3_node_154 | 0.4 | n |  | TRUE
21 | bus_LV_1024-55_0_3_node_153 | 0.4 | n |  | TRUE
22 | bus_LV_1024-55_0_3_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_1024-55_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1024-55_0_3_node_167 | 0.4 | n |  | TRUE
25 | bus_LV_1024-55_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1024-55_0_3_node_164 | 0.4 | n |  | TRUE
27 | bus_LV_1024-55_0_3_node_163 | 0.4 | n |  | TRUE
28 | bus_LV_1024-55_0_3_node_112 | 0.4 | n |  | TRUE
29 | bus_LV_1024-55_0_3_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_1024-55_0_3_node_118 | 0.4 | n |  | TRUE
31 | bus_LV_1024-55_0_3_node_165 | 0.4 | n |  | TRUE
32 | bus_LV_1024-55_0_3_node_166 | 0.4 | n |  | TRUE
33 | bus_LV_1024-55_0_3_node_168 | 0.4 | n |  | TRUE
34 | bus_LV_1024-55_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1024-55_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_1024-55_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1024-55_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1024-55_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1024-55_0_3_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_1024-55_0_3_node_111 | 0.4 | n |  | TRUE
41 | bus_LV_1024-55_0_3_node_126 | 0.4 | n |  | TRUE
42 | bus_LV_1024-55_0_3_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_1024-55_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_1024-55_0_3_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_1024-55_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1024-55_0_3_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_1024-55_0_3_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_1024-55_0_3_node_116 | 0.4 | n |  | TRUE
49 | bus_LV_1024-55_0_3_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1024-55_0_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_1024-55_0_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_1024-55_0_3_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_1024-55_0_3_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_1024-55_0_3_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_1024-55_0_3_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_1024-55_0_3_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_1024-55_0_3_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_1024-55_0_3_node_125 | 0.4 | n |  | TRUE
59 | bus_LV_1024-55_0_3_node_127 | 0.4 | n |  | TRUE
60 | bus_MV_214_1_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-55_0_3_load_0 | 0 | 0.0033809 | 0.00084733 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-55_0_3_load_4 | 2 | 0.022231 | 0.0055717 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-55_0_3_load_9 | 4 | 0.0010427 | 0.00026133 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-55_0_3_load_6 | 5 | 0.010348 | 0.0025935 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-55_0_3_load_5 | 6 | 0.0057679 | 0.0014456 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-55_0_3_load_7 | 7 | 0.006456 | 0.001618 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-55_0_3_load_8 | 8 | 0.0061505 | 0.0015414 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-55_0_3_load_46 | 9 | 0.001056 | 0.00026466 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-55_0_3_load_133 | 10 | 0.0023639 | 0.00059245 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-55_0_3_load_134 | 11 | 0.0024711 | 0.00061931 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-55_0_3_load_135 | 12 | 0.0018152 | 0.00045494 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-55_0_3_load_136 | 13 | 0.0022875 | 0.00057331 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-55_0_3_load_140 | 15 | 0.0025861 | 0.00064814 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-55_0_3_load_141 | 16 | 0.0025236 | 0.00063249 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-55_0_3_load_56 | 17 | 0.0049871 | 0.0012499 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-55_0_3_load_150 | 18 | 0.0022995 | 0.0005763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-55_0_3_load_107 | 19 | 0.0025198 | 0.00063153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-55_0_3_load_154 | 20 | 0.0046752 | 0.0011717 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-55_0_3_load_153 | 21 | 0.0059172 | 0.001483 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-55_0_3_load_164 | 26 | 0.004644 | 0.0011639 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-55_0_3_load_163 | 27 | 0.0018516 | 0.00046404 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-55_0_3_load_112 | 28 | 0.0013294 | 0.00033319 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-55_0_3_load_118 | 30 | 0.016348 | 0.0040973 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-55_0_3_load_165 | 31 | 0.00087101 | 0.00021829 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-55_0_3_load_166 | 32 | 0.00083321 | 0.00020882 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-55_0_3_load_168 | 33 | 0.0025581 | 0.00064112 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-55_0_3_load_42 | 34 | 0.0051379 | 0.0012877 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-55_0_3_load_43 | 35 | 0.0074799 | 0.0018746 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-55_0_3_load_47 | 37 | 0.0014483 | 0.00036297 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-55_0_3_load_45 | 38 | 0.0089676 | 0.0022475 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-55_0_3_load_91 | 39 | 0.015359 | 0.0038493 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-55_0_3_load_111 | 40 | 0.00080773 | 0.00020244 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-55_0_3_load_126 | 41 | 0.0073827 | 0.0018503 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-55_0_3_load_52 | 42 | 0.0050243 | 0.0012592 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-55_0_3_load_53 | 43 | 0.0063287 | 0.0015861 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-55_0_3_load_57 | 46 | 0.0024021 | 0.00060201 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-55_0_3_load_116 | 48 | 0.0060936 | 0.0015272 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-55_0_3_load_61 | 49 | 0.0041414 | 0.0010379 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-55_0_3_load_62 | 50 | 0.0019145 | 0.00047981 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1024-55_0_3_load_63 | 51 | 0.0042079 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1024-55_0_3_load_95 | 53 | 0.0029296 | 0.00073423 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1024-55_0_3_load_105 | 54 | 0.0034337 | 0.00086056 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1024-55_0_3_load_106 | 55 | 0.0016399 | 0.000411 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1024-55_0_3_load_115 | 56 | 0.0071213 | 0.0017848 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1024-55_0_3_load_117 | 57 | 0.0055568 | 0.0013927 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1024-55_0_3_load_125 | 58 | 0.0024049 | 0.00060273 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1024-55_0_3_load_127 | 59 | 0.0059065 | 0.0014803 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-55_0_3_line_0 |  | 0 | 1 | 0.017155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-55_0_3_line_1 |  | 1 | 2 | 0.003373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-55_0_3_line_2 |  | 1 | 3 | 0.22886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-55_0_3_line_3 |  | 3 | 4 | 0.14913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-55_0_3_line_4 |  | 3 | 5 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-55_0_3_line_5 |  | 4 | 9 | 0.016864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-55_0_3_line_6 |  | 5 | 6 | 0.036788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-55_0_3_line_7 |  | 6 | 7 | 0.034661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-55_0_3_line_8 |  | 7 | 8 | 0.037904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-55_0_3_line_9 |  | 9 | 36 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-55_0_3_line_10 |  | 10 | 11 | 0.00077193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-55_0_3_line_11 |  | 10 | 12 | 0.0085641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-55_0_3_line_12 |  | 11 | 13 | 0.023579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-55_0_3_line_13 |  | 13 | 14 | 0.0034643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-55_0_3_line_14 |  | 14 | 20 | 0.030936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-55_0_3_line_15 |  | 14 | 18 | 0.011286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-55_0_3_line_16 |  | 15 | 16 | 0.021621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-55_0_3_line_17 |  | 16 | 17 | 0.038539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-55_0_3_line_18 |  | 17 | 44 | 0.013519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-55_0_3_line_19 |  | 18 | 19 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-55_0_3_line_20 |  | 19 | 55 | 0.012113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-55_0_3_line_21 |  | 20 | 21 | 0.022054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-55_0_3_line_22 |  | 21 | 22 | 0.010979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-55_0_3_line_23 |  | 22 | 41 | 0.01443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-55_0_3_line_24 |  | 22 | 36 | 0.027375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-55_0_3_line_25 |  | 23 | 24 | 0.041649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-55_0_3_line_26 |  | 23 | 25 | 0.063857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-55_0_3_line_27 |  | 23 | 26 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-55_0_3_line_28 |  | 24 | 33 | 0.036613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-55_0_3_line_29 |  | 25 | 29 | 0.002417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-55_0_3_line_30 |  | 25 | 30 | 0.0048995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-55_0_3_line_31 |  | 26 | 31 | 0.015701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-55_0_3_line_32 |  | 27 | 28 | 0.0090723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-55_0_3_line_33 |  | 28 | 40 | 0.00257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-55_0_3_line_34 |  | 29 | 39 | 0.019983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-55_0_3_line_35 |  | 30 | 45 | 0.024175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-55_0_3_line_36 |  | 31 | 32 | 0.010298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-55_0_3_line_37 |  | 34 | 35 | 0.00082119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-55_0_3_line_38 |  | 34 | 36 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-55_0_3_line_39 |  | 36 | 37 | 0.037152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-55_0_3_line_40 |  | 37 | 40 | 0.024834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-55_0_3_line_41 |  | 38 | 39 | 0.0041988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-55_0_3_line_42 |  | 41 | 58 | 0.0001083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-55_0_3_line_43 |  | 42 | 43 | 0.026353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-55_0_3_line_44 |  | 42 | 44 | 0.038046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-55_0_3_line_45 |  | 43 | 45 | 0.024287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-55_0_3_line_46 |  | 44 | 46 | 0.016586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-55_0_3_line_47 |  | 45 | 47 | 0.005781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-55_0_3_line_48 |  | 45 | 48 | 0.014906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-55_0_3_line_49 |  | 47 | 51 | 0.029923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-55_0_3_line_50 |  | 48 | 57 | 8.8519e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1024-55_0_3_line_51 |  | 49 | 50 | 0.031756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-55_0_3_line_52 |  | 49 | 51 | 0.0010684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-55_0_3_line_53 |  | 50 | 52 | 0.033128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-55_0_3_line_54 |  | 52 | 53 | 0.011378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1024-55_0_3_line_55 |  | 52 | 54 | 0.026751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1024-55_0_3_line_56 |  | 54 | 55 | 0.0090542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1024-55_0_3_line_57 |  | 56 | 57 | 0.022503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1024-55_0_3_line_58 |  | 58 | 59 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-55_0_3_trafo_48 | 0.63 MVA 20/0.4 kV | 60 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2663648.0755 | 1215486.1258 | 2663660.5913 | 1215497.8577
1 | 2663648.0755 | 1215486.1258 | 2663650.5828 | 1215483.8623
2 | 2663592.0766 | 1215469.318 | 2663567.7155 | 1215452.2699 | 2663553.1163 | 1215439.8288 | 2663545.5612 | 1215431.9212 | 2663535.0622 | 1215418.0896 | 2663534 | 1215417.2889 | 2663534.5528 | 1215416.7278 | 2663536.987 | 1215414.1966 | 2663539.3094 | 1215416.4561 | 2663546.4757 | 1215425.9272 | 2663549.3153 | 1215429.5264 | 2663555.4291 | 1215426.6008 | 2663564.944 | 1215435.8746 | 2663573.2913 | 1215442.8235 | 2663582.9857 | 1215449.4976 | 2663600.7112 | 1215462.8616 | 2663614.4981 | 1215473.1372 | 2663627.0175 | 1215483.3438 | 2663640.9604 | 1215493.9325 | 2663643.0811 | 1215491.6092 | 2663648.0755 | 1215486.1258
3 | 2663592.0766 | 1215469.318 | 2663577.256 | 1215490.4508 | 2663569.9583 | 1215503.281 | 2663584.3587 | 1215515.8312 | 2663600.1312 | 1215532.8655 | 2663605.2279 | 1215538.4344 | 2663619.4251 | 1215561.4668 | 2663618.2505 | 1215563.3777 | 2663611.4433 | 1215570.0981 | 2663596.0898 | 1215582.6418
4 | 2663592.0766 | 1215469.318 | 2663606.6361 | 1215479.057 | 2663607.8604 | 1215479.9816
5 | 2663583.5396 | 1215593.8966 | 2663592.5834 | 1215585.5065 | 2663596.0898 | 1215582.6418
6 | 2663636.9775 | 1215502.461 | 2663625.3632 | 1215493.1989 | 2663607.8604 | 1215479.9816
7 | 2663636.9775 | 1215502.461 | 2663654.3595 | 1215516.3227 | 2663663.4571 | 1215524.7902
8 | 2663689.9356 | 1215551.8674 | 2663683.5141 | 1215544.5181 | 2663673.9839 | 1215534.588 | 2663663.4571 | 1215524.7902
9 | 2663571.9678 | 1215604.6319 | 2663583.5396 | 1215593.8966
10 | 2663640.3739 | 1215648.3215 | 2663640.1108 | 1215649.0472
11 | 2663643.2932 | 1215640.2704 | 2663640.3739 | 1215648.3215
12 | 2663632.0733 | 1215671.2136 | 2663640.1108 | 1215649.0472
13 | 2663630.8924 | 1215674.4704 | 2663632.0733 | 1215671.2136
14 | 2663630.8924 | 1215674.4704 | 2663610.9433 | 1215650.8253
15 | 2663630.8924 | 1215674.4704 | 2663627.6898 | 1215685.2924
16 | 2663539.1796 | 1215757.6314 | 2663554.8686 | 1215742.7539
17 | 2663593.0084 | 1215748.2893 | 2663554.8686 | 1215742.7539
18 | 2663602.9869 | 1215739.1684 | 2663593.0084 | 1215748.2893
19 | 2663624.6307 | 1215695.6293 | 2663627.6898 | 1215685.2924
20 | 2663621.1934 | 1215707.2444 | 2663624.6307 | 1215695.6293
21 | 2663610.9433 | 1215650.8253 | 2663596.722 | 1215633.9692
22 | 2663589.6424 | 1215625.5778 | 2663596.722 | 1215633.9692
23 | 2663589.6424 | 1215625.5778 | 2663600.7907 | 1215616.4156
24 | 2663589.6424 | 1215625.5778 | 2663571.9678 | 1215604.6319
25 | 2663470.7765 | 1215567.5199 | 2663469.467 | 1215572.1088 | 2663468.8618 | 1215579.0289 | 2663469.674 | 1215584.7633 | 2663472.3324 | 1215590.4062 | 2663481.9367 | 1215605.529
26 | 2663523.0005 | 1215654.1742 | 2663483.2678 | 1215608.8785 | 2663481.9367 | 1215605.529
27 | 2663481.9367 | 1215605.529 | 2663492.8378 | 1215595.2758
28 | 2663495.5612 | 1215540.5115 | 2663475.1087 | 1215562.8743 | 2663470.7765 | 1215567.5199
29 | 2663524.6215 | 1215655.9703 | 2663523.0005 | 1215654.1742
30 | 2663523.0005 | 1215654.1742 | 2663525.6267 | 1215658.3104
31 | 2663492.8378 | 1215595.2758 | 2663502.3093 | 1215586.3673 | 2663502.5662 | 1215585.0581 | 2663502.4364 | 1215583.7003
32 | 2663550.5396 | 1215556.8406 | 2663543.4916 | 1215562.5531
33 | 2663543.4916 | 1215562.5531 | 2663541.8611 | 1215563.8747 | 2663541.5192 | 1215564.1989
34 | 2663524.6215 | 1215655.9703 | 2663539.4157 | 1215642.5365
35 | 2663544.1241 | 1215672.833 | 2663542.3984 | 1215669.457 | 2663526.9735 | 1215660.4315 | 2663525.6267 | 1215658.3104
36 | 2663495.9609 | 1215575.6931 | 2663502.4364 | 1215583.7003
37 | 2663560.9694 | 1215614.7713 | 2663560.3656 | 1215615.3279
38 | 2663571.9678 | 1215604.6319 | 2663560.9694 | 1215614.7713
39 | 2663571.9678 | 1215604.6319 | 2663554.7343 | 1215592.8743 | 2663542.2119 | 1215587.2373 | 2663540.1949 | 1215585.6659
40 | 2663541.5192 | 1215564.1989 | 2663538.2786 | 1215567.2719 | 2663536.003 | 1215571.3169 | 2663535.5693 | 1215575.6705 | 2663536.3454 | 1215579.8036 | 2663538.725 | 1215584.5207 | 2663540.1949 | 1215585.6659
41 | 2663542.5242 | 1215639.7139 | 2663539.4157 | 1215642.5365
42 | 2663600.8744 | 1215616.3468 | 2663600.7907 | 1215616.4156
43 | 2663577.7351 | 1215710.7109 | 2663560.2439 | 1215690.9992
44 | 2663602.9869 | 1215739.1684 | 2663577.7351 | 1215710.7109
45 | 2663544.1241 | 1215672.833 | 2663560.2439 | 1215690.9992
46 | 2663602.9869 | 1215739.1684 | 2663609.4705 | 1215747.098 | 2663613.6543 | 1215751.8663
47 | 2663548.4929 | 1215669.0328 | 2663544.1241 | 1215672.833
48 | 2663544.1241 | 1215672.833 | 2663532.8664 | 1215682.6025
49 | 2663548.4929 | 1215669.0328 | 2663567.7367 | 1215691.947
50 | 2663532.8664 | 1215682.6025 | 2663532.7996 | 1215682.6606
51 | 2663568.4238 | 1215692.7651 | 2663588.8464 | 1215717.0831
52 | 2663568.4238 | 1215692.7651 | 2663567.7367 | 1215691.947
53 | 2663611.0329 | 1215741.5779 | 2663605.3141 | 1215736.6916 | 2663588.8464 | 1215717.0831
54 | 2663611.0329 | 1215741.5779 | 2663618.4905 | 1215750.1709
55 | 2663611.0329 | 1215741.5779 | 2663618.6241 | 1215715.9264
56 | 2663621.1934 | 1215707.2444 | 2663618.6241 | 1215715.9264
57 | 2663529.1697 | 1215698.4276 | 2663523.0011 | 1215691.1638 | 2663532.7996 | 1215682.6606
58 | 2663614.9228 | 1215604.8012 | 2663600.8744 | 1215616.3468

## bus_geodata
| x | y | coords
0 | 2663660.5913 | 1215497.8577
1 | 2663648.0755 | 1215486.1258
2 | 2663650.5828 | 1215483.8623
3 | 2663592.0766 | 1215469.318
4 | 2663596.0898 | 1215582.6418
5 | 2663607.8604 | 1215479.9816
6 | 2663636.9775 | 1215502.461
7 | 2663663.4571 | 1215524.7902
8 | 2663689.9356 | 1215551.8674
9 | 2663583.5396 | 1215593.8966
10 | 2663640.3739 | 1215648.3215
11 | 2663640.1108 | 1215649.0472
12 | 2663643.2932 | 1215640.2704
13 | 2663632.0733 | 1215671.2136
14 | 2663630.8924 | 1215674.4704
15 | 2663539.1796 | 1215757.6314
16 | 2663554.8686 | 1215742.7539
17 | 2663593.0084 | 1215748.2893
18 | 2663627.6898 | 1215685.2924
19 | 2663624.6307 | 1215695.6293
20 | 2663610.9433 | 1215650.8253
21 | 2663596.722 | 1215633.9692
22 | 2663589.6424 | 1215625.5778
23 | 2663481.9367 | 1215605.529
24 | 2663470.7765 | 1215567.5199
25 | 2663523.0005 | 1215654.1742
26 | 2663492.8378 | 1215595.2758
27 | 2663550.5396 | 1215556.8406
28 | 2663543.4916 | 1215562.5531
29 | 2663524.6215 | 1215655.9703
30 | 2663525.6267 | 1215658.3104
31 | 2663502.4364 | 1215583.7003
32 | 2663495.9609 | 1215575.6931
33 | 2663495.5612 | 1215540.5115
34 | 2663560.9694 | 1215614.7713
35 | 2663560.3656 | 1215615.3279
36 | 2663571.9678 | 1215604.6319
37 | 2663540.1949 | 1215585.6659
38 | 2663542.5242 | 1215639.7139
39 | 2663539.4157 | 1215642.5365
40 | 2663541.5192 | 1215564.1989
41 | 2663600.7907 | 1215616.4156
42 | 2663577.7351 | 1215710.7109
43 | 2663560.2439 | 1215690.9992
44 | 2663602.9869 | 1215739.1684
45 | 2663544.1241 | 1215672.833
46 | 2663613.6543 | 1215751.8663
47 | 2663548.4929 | 1215669.0328
48 | 2663532.8664 | 1215682.6025
49 | 2663568.4238 | 1215692.7651
50 | 2663588.8464 | 1215717.0831
51 | 2663567.7367 | 1215691.947
52 | 2663611.0329 | 1215741.5779
53 | 2663618.4905 | 1215750.1709
54 | 2663618.6241 | 1215715.9264
55 | 2663621.1934 | 1215707.2444
56 | 2663529.1697 | 1215698.4276
57 | 2663532.7996 | 1215682.6606
58 | 2663600.8744 | 1215616.3468
59 | 2663614.9228 | 1215604.8012
60 | 2663571.9678 | 1215604.6319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98353 | -0.31704 | 0.0033809 | 0.00084733
1 | 0.98359 | -0.316 | 0 | 0
2 | 0.98352 | -0.31735 | 0.022231 | 0.0055717
3 | 0.98899 | -0.21095 | 0 | 0
4 | 0.99645 | -0.067604 | 0.0010427 | 0.00026133
5 | 0.98849 | -0.22071 | 0.010348 | 0.0025935
6 | 0.98787 | -0.23278 | 0.0057679 | 0.0014456
7 | 0.98747 | -0.24059 | 0.006456 | 0.001618
8 | 0.98725 | -0.24475 | 0.0061505 | 0.0015414
9 | 0.99731 | -0.05122 | 0.001056 | 0.00026466
10 | 0.99224 | -0.14683 | 0.0023639 | 0.00059245
11 | 0.99225 | -0.14677 | 0.0024711 | 0.00061931
12 | 0.99223 | -0.1471 | 0.0018152 | 0.00045494
13 | 0.99239 | -0.14399 | 0.0022875 | 0.00057331
14 | 0.99242 | -0.14344 | 0 | 0
15 | 0.97423 | -0.49596 | 0.0025861 | 0.00064814
16 | 0.97428 | -0.49493 | 0.0025236 | 0.00063249
17 | 0.97447 | -0.49131 | 0.0049871 | 0.0012499
18 | 0.99121 | -0.1665 | 0.0022995 | 0.0005763
19 | 0.99008 | -0.18814 | 0.0025198 | 0.00063153
20 | 0.99599 | -0.075665 | 0.0046752 | 0.0011717
21 | 0.99863 | -0.025839 | 0.0059172 | 0.001483
22 | 1 | 0 | -0.23002 | -0.058525
23 | 0.97421 | -0.4964 | 0 | 0
24 | 0.97411 | -0.49836 | 0 | 0
25 | 0.97474 | -0.48596 | 0 | 0
26 | 0.97412 | -0.49815 | 0.004644 | 0.0011639
27 | 0.99783 | -0.041325 | 0.0018516 | 0.00046404
28 | 0.99785 | -0.041031 | 0.0013294 | 0.00033319
29 | 0.97468 | -0.48704 | 0 | 0
30 | 0.97489 | -0.48297 | 0.016348 | 0.0040973
31 | 0.97409 | -0.49864 | 0.00087101 | 0.00021829
32 | 0.97409 | -0.4988 | 0.00083321 | 0.00020882
33 | 0.97402 | -0.50008 | 0.0025581 | 0.00064112
34 | 0.99796 | -0.03892 | 0.0051379 | 0.0012877
35 | 0.99795 | -0.039028 | 0.0074799 | 0.0018746
36 | 0.99813 | -0.035618 | 0 | 0
37 | 0.99795 | -0.039153 | 0.0014483 | 0.00036297
38 | 0.97419 | -0.49665 | 0.0089676 | 0.0022475
39 | 0.97423 | -0.49596 | 0.015359 | 0.0038493
40 | 0.99786 | -0.040888 | 0.00080773 | 0.00020244
41 | 0.99979 | -0.0039483 | 0.0073827 | 0.0018503
42 | 0.97504 | -0.48008 | 0.0050243 | 0.0012592
43 | 0.97546 | -0.47162 | 0.0063287 | 0.0015861
44 | 0.97459 | -0.48881 | 0 | 0
45 | 0.976 | -0.46101 | 0 | 0
46 | 0.97456 | -0.48954 | 0.0024021 | 0.00060201
47 | 0.9765 | -0.45126 | 0 | 0
48 | 0.97574 | -0.46613 | 0.0060936 | 0.0015272
49 | 0.97916 | -0.39908 | 0.0041414 | 0.0010379
50 | 0.98213 | -0.3412 | 0.0019145 | 0.00047981
51 | 0.97907 | -0.40096 | 0.0042079 | 0.0010546
52 | 0.98529 | -0.28005 | 0 | 0
53 | 0.98526 | -0.28065 | 0.0029296 | 0.00073423
54 | 0.98791 | -0.22955 | 0.0034337 | 0.00086056
55 | 0.98883 | -0.21197 | 0.0016399 | 0.000411
56 | 0.97559 | -0.46909 | 0.0071213 | 0.0017848
57 | 0.97574 | -0.46615 | 0.0055568 | 0.0013927
58 | 0.99979 | -0.003964 | 0.0024049 | 0.00060273
59 | 0.9997 | -0.005837 | 0.0059065 | 0.0014803
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0033809 | -0.00084733 | 0.003381 | 0.00084722 | 1.6831e-07 | -1.1e-07 | 0.005115 | 0.0051149 | 0.005115 | 0.98353 | -0.31704 | 0.98359 | -0.316 | 1.4052
1 | 0.022233 | 0.0055726 | -0.022231 | -0.0055717 | 1.431e-06 | 8.7302e-07 | 0.033635 | 0.033635 | 0.033635 | 0.98359 | -0.316 | 0.98352 | -0.31735 | 9.2404
2 | -0.025614 | -0.0064198 | 0.025743 | 0.0064994 | 0.00012886 | 7.9553e-05 | 0.03875 | 0.038749 | 0.03875 | 0.98359 | -0.316 | 0.98899 | -0.21095 | 10.6456
3 | -0.054495 | -0.013715 | 0.054871 | 0.013954 | 0.00037614 | 0.0002388 | 0.082013 | 0.082012 | 0.082013 | 0.98899 | -0.21095 | 0.99645 | -0.067604 | 22.5309
4 | 0.028752 | 0.007216 | -0.028739 | -0.0072077 | 1.3372e-05 | 8.3136e-06 | 0.043264 | 0.043264 | 0.043264 | 0.98899 | -0.21095 | 0.98849 | -0.22071 | 11.8856
5 | -0.055914 | -0.014216 | 0.055958 | 0.014244 | 4.4166e-05 | 2.8046e-05 | 0.083569 | 0.083569 | 0.083569 | 0.99645 | -0.067604 | 0.99731 | -0.05122 | 22.9585
6 | 0.018391 | 0.0046142 | -0.01838 | -0.0046079 | 1.0575e-05 | 6.2965e-06 | 0.027686 | 0.027686 | 0.027686 | 0.98849 | -0.22071 | 0.98787 | -0.23278 | 7.6062
7 | 0.012612 | 0.0031623 | -0.012608 | -0.0031598 | 4.6914e-06 | 2.5589e-06 | 0.018998 | 0.018998 | 0.018998 | 0.98787 | -0.23278 | 0.98747 | -0.24059 | 5.2194
8 | 0.0061517 | 0.0015417 | -0.0061505 | -0.0015414 | 1.2215e-06 | 2.9695e-07 | 0.00927 | 0.0092701 | 0.0092701 | 0.98747 | -0.24059 | 0.98725 | -0.24475 | 2.5467
9 | -0.057014 | -0.014508 | 0.057057 | 0.014535 | 4.2912e-05 | 2.7257e-05 | 0.085145 | 0.085144 | 0.085145 | 0.99731 | -0.05122 | 0.99813 | -0.035618 | 23.3914
10 | -0.0041791 | -0.0010473 | 0.0041791 | 0.0010473 | 1.137e-08 | -2.6942e-09 | 0.0062672 | 0.0062672 | 0.0062672 | 0.99224 | -0.14683 | 0.99225 | -0.14677 | 1.7218
11 | 0.0018153 | 0.00045484 | -0.0018152 | -0.00045494 | 2.3799e-08 | -9.5385e-08 | 0.0027222 | 0.0027222 | 0.0027222 | 0.99224 | -0.14683 | 0.99223 | -0.1471 | 0.74787
12 | -0.0066502 | -0.0016666 | 0.0066511 | 0.0016669 | 8.7941e-07 | 2.5822e-07 | 0.0099729 | 0.0099728 | 0.0099729 | 0.99225 | -0.14677 | 0.99239 | -0.14399 | 2.7398
13 | -0.0089386 | -0.0022402 | 0.0089389 | 0.0022403 | 2.3337e-07 | 1.0459e-07 | 0.013403 | 0.013403 | 0.013403 | 0.99239 | -0.14399 | 0.99242 | -0.14344 | 3.6821
14 | -0.12593 | -0.032213 | 0.12634 | 0.032478 | 0.0004146 | 0.00026494 | 0.18904 | 0.18904 | 0.18904 | 0.99242 | -0.14344 | 0.99599 | -0.075665 | 51.9354
15 | 0.11699 | 0.029972 | -0.11686 | -0.029889 | 0.00013057 | 8.3416e-05 | 0.17564 | 0.17564 | 0.17564 | 0.99242 | -0.14344 | 0.99121 | -0.1665 | 48.2534
16 | -0.0025861 | -0.00064814 | 0.0025862 | 0.00064795 | 1.265e-07 | -1.8828e-07 | 0.0039499 | 0.0039498 | 0.0039499 | 0.97423 | -0.49596 | 0.97428 | -0.49493 | 1.0851
17 | -0.0051099 | -0.0012804 | 0.0051108 | 0.0012805 | 8.802e-07 | 8.3302e-08 | 0.0078042 | 0.007804 | 0.0078042 | 0.97428 | -0.49493 | 0.97447 | -0.49131 | 2.144
18 | -0.010098 | -0.0025304 | 0.010099 | 0.002531 | 1.2053e-06 | 6.0296e-07 | 0.015419 | 0.015419 | 0.015419 | 0.97447 | -0.49131 | 0.97459 | -0.48881 | 4.2361
19 | 0.11456 | 0.029313 | -0.11444 | -0.029236 | 0.00011986 | 7.6571e-05 | 0.17219 | 0.17219 | 0.17219 | 0.99121 | -0.1665 | 0.99008 | -0.18814 | 47.3051
20 | 0.11192 | 0.028604 | -0.11179 | -0.028522 | 0.00012882 | 8.229e-05 | 0.1684 | 0.1684 | 0.1684 | 0.99008 | -0.18814 | 0.98883 | -0.21197 | 46.2647
21 | -0.13102 | -0.033649 | 0.13133 | 0.033852 | 0.0003178 | 0.00020311 | 0.19603 | 0.19603 | 0.19603 | 0.99599 | -0.075665 | 0.99863 | -0.025839 | 53.8542
22 | -0.13725 | -0.035335 | 0.13742 | 0.035446 | 0.00017276 | 0.00011042 | 0.20485 | 0.20485 | 0.20485 | 0.99863 | -0.025839 | 1 | 0 | 56.2764
23 | 0.015698 | 0.0039351 | -0.015695 | -0.0039334 | 2.9526e-06 | 1.7004e-06 | 0.023359 | 0.023359 | 0.023359 | 1 | 0 | 0.99979 | -0.0039483 | 6.4172
24 | 0.075244 | 0.019144 | -0.075115 | -0.019061 | 0.00012892 | 8.2152e-05 | 0.11207 | 0.11207 | 0.11207 | 1 | 0 | 0.99813 | -0.035618 | 30.7872
25 | 0.0025585 | 0.00064043 | -0.0025583 | -0.00064079 | 2.385e-07 | -3.6589e-07 | 0.0039076 | 0.0039078 | 0.0039078 | 0.97421 | -0.4964 | 0.97411 | -0.49836 | 1.0736
26 | -0.0089074 | -0.0022313 | 0.0089118 | 0.0022333 | 4.4322e-06 | 2.0411e-06 | 0.013605 | 0.013605 | 0.013605 | 0.97421 | -0.4964 | 0.97474 | -0.48596 | 3.7376
27 | 0.0063488 | 0.0015909 | -0.0063483 | -0.0015907 | 5.2773e-07 | 1.5143e-07 | 0.0096972 | 0.0096972 | 0.0096972 | 0.97421 | -0.4964 | 0.97412 | -0.49815 | 2.6641
28 | 0.0025583 | 0.00064079 | -0.0025581 | -0.00064112 | 2.0968e-07 | -3.2155e-07 | 0.0039078 | 0.003908 | 0.003908 | 0.97411 | -0.49836 | 0.97402 | -0.50008 | 1.0736
29 | 0.024339 | 0.0061041 | -0.024337 | -0.0061034 | 1.2513e-06 | 7.7073e-07 | 0.037156 | 0.037156 | 0.037156 | 0.97474 | -0.48596 | 0.97468 | -0.48704 | 10.2078
30 | -0.03325 | -0.0083375 | 0.033255 | 0.0083404 | 4.7342e-06 | 2.9688e-06 | 0.050761 | 0.050761 | 0.050761 | 0.97474 | -0.48596 | 0.97489 | -0.48297 | 13.9453
31 | 0.0017043 | 0.00042682 | -0.0017042 | -0.00042699 | 3.9902e-08 | -1.6992e-07 | 0.0026032 | 0.0026033 | 0.0026033 | 0.97412 | -0.49815 | 0.97409 | -0.49864 | 0.7152
32 | -0.0018516 | -0.00046404 | 0.0018516 | 0.00046394 | 2.5937e-08 | -1.0191e-07 | 0.0027611 | 0.0027611 | 0.0027611 | 0.99783 | -0.041325 | 0.99785 | -0.041031 | 0.75855
33 | -0.003181 | -0.00079713 | 0.0031811 | 0.00079711 | 2.1686e-08 | -1.9693e-08 | 0.0047436 | 0.0047436 | 0.0047436 | 0.99785 | -0.041031 | 0.99786 | -0.040888 | 1.3032
34 | 0.024337 | 0.0061034 | -0.024327 | -0.006097 | 1.0346e-05 | 6.3724e-06 | 0.037156 | 0.037156 | 0.037156 | 0.97468 | -0.48704 | 0.97423 | -0.49596 | 10.2078
35 | -0.049603 | -0.012438 | 0.049655 | 0.012471 | 5.1971e-05 | 3.2959e-05 | 0.075714 | 0.075714 | 0.075714 | 0.97489 | -0.48297 | 0.976 | -0.46101 | 20.8006
36 | 0.00083322 | 0.0002087 | -0.00083321 | -0.00020882 | 6.256e-09 | -1.2419e-07 | 0.0012728 | 0.0012728 | 0.0012728 | 0.97409 | -0.49864 | 0.97409 | -0.4988 | 0.34968
37 | 0.0074799 | 0.0018746 | -0.0074799 | -0.0018746 | 3.8305e-08 | 1.3786e-08 | 0.011153 | 0.011153 | 0.011153 | 0.99796 | -0.03892 | 0.99795 | -0.039028 | 3.064
38 | -0.012618 | -0.0031623 | 0.01262 | 0.0031634 | 1.9856e-06 | 1.0753e-06 | 0.018814 | 0.018814 | 0.018814 | 0.99796 | -0.03892 | 0.99813 | -0.035618 | 5.1687
39 | 0.0054383 | 0.0013625 | -0.0054374 | -0.0013624 | 9.1575e-07 | 1.0058e-07 | 0.0081073 | 0.0081075 | 0.0081075 | 0.99813 | -0.035618 | 0.99795 | -0.039153 | 2.2273
40 | 0.0039891 | 0.00099944 | -0.0039888 | -0.00099955 | 3.2948e-07 | -1.1357e-07 | 0.005948 | 0.0059481 | 0.0059481 | 0.99795 | -0.039153 | 0.99786 | -0.040888 | 1.6341
41 | -0.0089676 | -0.0022475 | 0.0089679 | 0.0022476 | 2.9542e-07 | 1.3679e-07 | 0.013697 | 0.013697 | 0.013697 | 0.97419 | -0.49665 | 0.97423 | -0.49596 | 3.763
42 | 0.008312 | 0.0020832 | -0.008312 | -0.0020832 | 6.2155e-09 | 2.5576e-09 | 0.012371 | 0.012371 | 0.012371 | 0.99979 | -0.0039483 | 0.99979 | -0.003964 | 3.3986
43 | -0.017531 | -0.0043949 | 0.017538 | 0.0043991 | 7.0737e-06 | 4.1983e-06 | 0.026754 | 0.026754 | 0.026754 | 0.97504 | -0.48008 | 0.97546 | -0.47162 | 7.3501
44 | 0.012506 | 0.0031357 | -0.012501 | -0.0031329 | 5.1976e-06 | 2.8521e-06 | 0.019087 | 0.019087 | 0.019087 | 0.97504 | -0.48008 | 0.97459 | -0.48881 | 5.2436
45 | -0.023866 | -0.0059852 | 0.023878 | 0.0059926 | 1.2073e-05 | 7.4231e-06 | 0.036408 | 0.036408 | 0.036408 | 0.97546 | -0.47162 | 0.976 | -0.46101 | 10.0022
46 | 0.0024021 | 0.00060186 | -0.0024021 | -0.00060201 | 8.3665e-08 | -1.5313e-07 | 0.0036675 | 0.0036676 | 0.0036676 | 0.97459 | -0.48881 | 0.97456 | -0.48954 | 1.0076
47 | -0.092311 | -0.023171 | 0.092354 | 0.023198 | 4.2947e-05 | 2.7414e-05 | 0.14075 | 0.14075 | 0.14075 | 0.976 | -0.46101 | 0.9765 | -0.45126 | 38.6677
48 | 0.018777 | 0.0047077 | -0.018773 | -0.004705 | 4.5812e-06 | 2.7457e-06 | 0.028628 | 0.028629 | 0.028629 | 0.976 | -0.46101 | 0.97574 | -0.46613 | 7.865
49 | -0.092354 | -0.023198 | 0.092576 | 0.02334 | 0.0002223 | 0.0001419 | 0.14075 | 0.14075 | 0.14075 | 0.9765 | -0.45126 | 0.97907 | -0.40096 | 38.6677
50 | 0.012679 | 0.0031778 | -0.012679 | -0.0031778 | 1.2412e-08 | 6.8388e-09 | 0.019336 | 0.019336 | 0.019336 | 0.97574 | -0.46613 | 0.97574 | -0.46615 | 5.312
51 | -0.10093 | -0.025438 | 0.10121 | 0.025617 | 0.00028037 | 0.00017904 | 0.15344 | 0.15344 | 0.15344 | 0.97916 | -0.39908 | 0.98213 | -0.3412 | 42.1536
52 | 0.096793 | 0.0244 | -0.096784 | -0.024395 | 8.6747e-06 | 5.5384e-06 | 0.14715 | 0.14715 | 0.14715 | 0.97916 | -0.39908 | 0.97907 | -0.40096 | 40.4246
53 | -0.10313 | -0.026097 | 0.10343 | 0.026291 | 0.00030365 | 0.00019391 | 0.15634 | 0.15634 | 0.15634 | 0.98213 | -0.3412 | 0.98529 | -0.28005 | 42.9505
54 | 0.0029297 | 0.00073414 | -0.0029296 | -0.00073423 | 8.3526e-08 | -9.1449e-08 | 0.0044245 | 0.0044245 | 0.0044245 | 0.98529 | -0.28005 | 0.98526 | -0.28065 | 1.2155
55 | -0.10636 | -0.027025 | 0.10662 | 0.027191 | 0.00025927 | 0.00016559 | 0.16076 | 0.16076 | 0.16076 | 0.98529 | -0.28005 | 0.98791 | -0.22955 | 44.1659
56 | -0.11006 | -0.028051 | 0.11015 | 0.028111 | 9.3489e-05 | 5.9717e-05 | 0.16594 | 0.16594 | 0.16594 | 0.98791 | -0.22955 | 0.98883 | -0.21197 | 45.5867
57 | -0.0071213 | -0.0017848 | 0.0071222 | 0.0017851 | 9.9555e-07 | 3.5612e-07 | 0.010862 | 0.010862 | 0.010862 | 0.97559 | -0.46909 | 0.97574 | -0.46615 | 2.984
58 | 0.0059071 | 0.0014804 | -0.0059065 | -0.0014803 | 5.2706e-07 | 9.888e-08 | 0.0087916 | 0.0087917 | 0.0087917 | 0.99979 | -0.003964 | 0.9997 | -0.005837 | 2.4153

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23002 | 0.058525

## res_load
| p_mw | q_mvar
0 | 0.0033809 | 0.00084733
1 | 0.022231 | 0.0055717
2 | 0.0010427 | 0.00026133
3 | 0.010348 | 0.0025935
4 | 0.0057679 | 0.0014456
5 | 0.006456 | 0.001618
6 | 0.0061505 | 0.0015414
7 | 0.001056 | 0.00026466
8 | 0.0023639 | 0.00059245
9 | 0.0024711 | 0.00061931
10 | 0.0018152 | 0.00045494
11 | 0.0022875 | 0.00057331
12 | 0.0025861 | 0.00064814
13 | 0.0025236 | 0.00063249
14 | 0.0049871 | 0.0012499
15 | 0.0022995 | 0.0005763
16 | 0.0025198 | 0.00063153
17 | 0.0046752 | 0.0011717
18 | 0.0059172 | 0.001483
19 | 0.004644 | 0.0011639
20 | 0.0018516 | 0.00046404
21 | 0.0013294 | 0.00033319
22 | 0.016348 | 0.0040973
23 | 0.00087101 | 0.00021829
24 | 0.00083321 | 0.00020882
25 | 0.0025581 | 0.00064112
26 | 0.0051379 | 0.0012877
27 | 0.0074799 | 0.0018746
28 | 0.0014483 | 0.00036297
29 | 0.0089676 | 0.0022475
30 | 0.015359 | 0.0038493
31 | 0.00080773 | 0.00020244
32 | 0.0073827 | 0.0018503
33 | 0.0050243 | 0.0012592
34 | 0.0063287 | 0.0015861
35 | 0.0024021 | 0.00060201
36 | 0.0060936 | 0.0015272
37 | 0.0041414 | 0.0010379
38 | 0.0019145 | 0.00047981
39 | 0.0042079 | 0.0010546
40 | 0.0029296 | 0.00073423
41 | 0.0034337 | 0.00086056
42 | 0.0016399 | 0.000411
43 | 0.0071213 | 0.0017848
44 | 0.0055568 | 0.0013927
45 | 0.0024049 | 0.00060273
46 | 0.0059065 | 0.0014803

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1