## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-62_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-62_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1024-62_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1024-62_0_5_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1024-62_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1024-62_0_5_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1024-62_0_5_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1024-62_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1024-62_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1024-62_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1024-62_0_5_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_1024-62_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1024-62_0_5_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_1024-62_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1024-62_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1024-62_0_5_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_1024-62_0_5_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_1024-62_0_5_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_1024-62_0_5_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_1024-62_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1024-62_0_5_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_1024-62_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1024-62_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1024-62_0_5_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_1024-62_0_5_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_1024-62_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1024-62_0_5_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_1024-62_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1024-62_0_5_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_1024-62_0_5_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_1024-62_0_5_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1024-62_0_5_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_1024-62_0_5_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1024-62_0_5_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_1024-62_0_5_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_1024-62_0_5_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_1024-62_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1024-62_0_5_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_1024-62_0_5_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1024-62_0_5_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_1024-62_0_5_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_1024-62_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1024-62_0_5_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_1024-62_0_5_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_1024-62_0_5_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_1024-62_0_5_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1024-62_0_5_node_17 | 0.4 | n |  | TRUE
47 | bus_LV_1024-62_0_5_node_18 | 0.4 | n |  | TRUE
48 | bus_LV_1024-62_0_5_node_19 | 0.4 | n |  | TRUE
49 | bus_LV_1024-62_0_5_node_20 | 0.4 | n |  | TRUE
50 | bus_LV_1024-62_0_5_node_21 | 0.4 | n |  | TRUE
51 | bus_LV_1024-62_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_1024-62_0_5_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_1024-62_0_5_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_1024-62_0_5_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_1024-62_0_5_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_1024-62_0_5_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_1024-62_0_5_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_1024-62_0_5_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_1024-62_0_5_node_30 | 0.4 | n |  | TRUE
60 | bus_LV_1024-62_0_5_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_1024-62_0_5_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_1024-62_0_5_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_1024-62_0_5_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_1024-62_0_5_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_1024-62_0_5_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_1024-62_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_1024-62_0_5_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1024-62_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_1024-62_0_5_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_1024-62_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_1024-62_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_1024-62_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_1024-62_0_5_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_1024-62_0_5_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_1024-62_0_5_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_1024-62_0_5_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_1024-62_0_5_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_1024-62_0_5_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_1024-62_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_1024-62_0_5_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_1024-62_0_5_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_1024-62_0_5_node_82 | 0.4 | n |  | TRUE
83 | bus_MV_214_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-62_0_5_load_0 | 0 | 0.0042863 | 0.0010742 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-62_0_5_load_1 | 1 | 0.013935 | 0.0034923 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-62_0_5_load_52 | 10 | 0.0047119 | 0.0011809 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-62_0_5_load_84 | 12 | 0.0024656 | 0.00061795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-62_0_5_load_83 | 15 | 0.021959 | 0.0055033 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-62_0_5_load_54 | 17 | 0.0089997 | 0.0022555 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-62_0_5_load_85 | 18 | 0.0088537 | 0.0022189 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-62_0_5_load_79 | 20 | 0.0024591 | 0.00061631 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-62_0_5_load_23 | 21 | 0.0020078 | 0.00050319 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-62_0_5_load_22 | 22 | 0.0052239 | 0.0013092 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-62_0_5_load_81 | 23 | 0.020931 | 0.0052457 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-62_0_5_load_78 | 24 | 0.019677 | 0.0049316 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-62_0_5_load_49 | 26 | 0.0077441 | 0.0019408 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-62_0_5_load_59 | 28 | 0.0048783 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-62_0_5_load_56 | 29 | 0.003566 | 0.00089372 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-62_0_5_load_48 | 31 | 0.0079907 | 0.0020027 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-62_0_5_load_35 | 32 | 0.003914 | 0.00098095 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-62_0_5_load_72 | 33 | 0.0090137 | 0.0022591 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-62_0_5_load_53 | 34 | 0.0099074 | 0.002483 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-62_0_5_load_77 | 39 | 0.0074937 | 0.0018781 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-62_0_5_load_51 | 40 | 0.0067358 | 0.0016882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-62_0_5_load_41 | 41 | 0.0048068 | 0.0012047 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-62_0_5_load_50 | 42 | 0.0067416 | 0.0016896 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-62_0_5_load_57 | 44 | 0.0059665 | 0.0014954 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-62_0_5_load_47 | 45 | 0.018262 | 0.0045768 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-62_0_5_load_17 | 46 | 0.0043557 | 0.0010916 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-62_0_5_load_18 | 47 | 0.0059177 | 0.0014831 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-62_0_5_load_19 | 48 | 0.0058424 | 0.0014642 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-62_0_5_load_20 | 49 | 0.0059213 | 0.001484 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-62_0_5_load_21 | 50 | 0.019497 | 0.0048865 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-62_0_5_load_33 | 51 | 0.005179 | 0.001298 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-62_0_5_load_25 | 52 | 0.0030447 | 0.00076308 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-62_0_5_load_24 | 53 | 0.0041641 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-62_0_5_load_28 | 55 | 0.0021838 | 0.00054731 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-62_0_5_load_29 | 56 | 0.0038604 | 0.0009675 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-62_0_5_load_86 | 57 | 0.0041875 | 0.0010495 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-62_0_5_load_30 | 59 | 0.018924 | 0.0047429 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-62_0_5_load_34 | 61 | 0.001343 | 0.00033659 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-62_0_5_load_37 | 63 | 0.0018706 | 0.00046883 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1024-62_0_5_load_36 | 64 | 0.0025107 | 0.00062923 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1024-62_0_5_load_40 | 65 | 0.0070525 | 0.0017675 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1024-62_0_5_load_46 | 66 | 0.011383 | 0.0028528 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1024-62_0_5_load_63 | 67 | 0.011387 | 0.002854 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1024-62_0_5_load_58 | 68 | 0.0074963 | 0.0018788 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1024-62_0_5_load_61 | 69 | 0.011382 | 0.0028526 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1024-62_0_5_load_60 | 70 | 0.013305 | 0.0033346 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1024-62_0_5_load_64 | 71 | 0.003096 | 0.00077592 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1024-62_0_5_load_65 | 72 | 0.0010558 | 0.00026462 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1024-62_0_5_load_67 | 74 | 0.0028552 | 0.00071558 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1024-62_0_5_load_74 | 77 | 0.0042037 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1024-62_0_5_load_71 | 80 | 0.0030795 | 0.00077179 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1024-62_0_5_load_75 | 81 | 0.0040496 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1024-62_0_5_load_82 | 82 | 0.013793 | 0.0034569 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-62_0_5_line_0 |  | 0 | 1 | 0.036509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-62_0_5_line_1 |  | 0 | 2 | 0.0028876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-62_0_5_line_2 |  | 2 | 3 | 0.050886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-62_0_5_line_3 |  | 3 | 19 | 0.052824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1024-62_0_5_line_4 |  | 3 | 20 | 0.013175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1024-62_0_5_line_5 |  | 4 | 5 | 0.036125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1024-62_0_5_line_6 |  | 4 | 6 | 0.01232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1024-62_0_5_line_7 |  | 5 | 19 | 0.050365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1024-62_0_5_line_8 |  | 5 | 23 | 0.015559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-62_0_5_line_9 |  | 6 | 21 | 0.04183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1024-62_0_5_line_10 |  | 6 | 22 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-62_0_5_line_11 |  | 7 | 8 | 0.031887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-62_0_5_line_12 |  | 7 | 9 | 0.070038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-62_0_5_line_13 |  | 7 | 10 | 0.023261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1024-62_0_5_line_14 |  | 8 | 17 | 0.032512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-62_0_5_line_15 |  | 9 | 25 | 0.045559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-62_0_5_line_16 |  | 9 | 26 | 0.010484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-62_0_5_line_17 |  | 10 | 32 | 0.021259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1024-62_0_5_line_18 |  | 11 | 12 | 0.026738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-62_0_5_line_19 |  | 11 | 13 | 0.1454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-62_0_5_line_20 |  | 11 | 14 | 0.024585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-62_0_5_line_21 |  | 13 | 18 | 0.02646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-62_0_5_line_22 |  | 14 | 15 | 0.015657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1024-62_0_5_line_23 |  | 14 | 16 | 0.02656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1024-62_0_5_line_24 |  | 16 | 33 | 0.021047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1024-62_0_5_line_25 |  | 17 | 34 | 0.028043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1024-62_0_5_line_26 |  | 19 | 24 | 0.020955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1024-62_0_5_line_27 |  | 20 | 35 | 0.058447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1024-62_0_5_line_28 |  | 21 | 36 | 0.017544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1024-62_0_5_line_29 |  | 25 | 30 | 0.038593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-62_0_5_line_30 |  | 25 | 31 | 0.029419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-62_0_5_line_31 |  | 26 | 42 | 0.014832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-62_0_5_line_32 |  | 27 | 28 | 0.010005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-62_0_5_line_33 |  | 27 | 29 | 0.012418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-62_0_5_line_34 |  | 28 | 43 | 0.030854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-62_0_5_line_35 |  | 29 | 44 | 0.014081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-62_0_5_line_36 |  | 30 | 41 | 0.053646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-62_0_5_line_37 |  | 31 | 45 | 0.031352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-62_0_5_line_38 |  | 32 | 60 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1024-62_0_5_line_39 |  | 33 | 76 | 0.045528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-62_0_5_line_40 |  | 34 | 49 | 0.012381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-62_0_5_line_41 |  | 35 | 79 | 0.021168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-62_0_5_line_42 |  | 36 | 51 | 0.017667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1024-62_0_5_line_43 |  | 36 | 52 | 0.0029714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1024-62_0_5_line_44 |  | 37 | 38 | 0.04821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1024-62_0_5_line_45 |  | 37 | 39 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-62_0_5_line_46 |  | 38 | 40 | 0.0062223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-62_0_5_line_47 |  | 39 | 68 | 0.013619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-62_0_5_line_48 |  | 40 | 42 | 0.014006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-62_0_5_line_49 |  | 43 | 70 | 0.016742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-62_0_5_line_50 |  | 44 | 68 | 0.013199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1024-62_0_5_line_51 |  | 46 | 47 | 0.021767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-62_0_5_line_52 |  | 46 | 48 | 0.028096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-62_0_5_line_53 |  | 47 | 49 | 0.01035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-62_0_5_line_54 |  | 48 | 50 | 0.056539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1024-62_0_5_line_55 |  | 51 | 58 | 0.042243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1024-62_0_5_line_56 |  | 52 | 53 | 0.023804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1024-62_0_5_line_57 |  | 53 | 54 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1024-62_0_5_line_58 |  | 54 | 55 | 0.008668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1024-62_0_5_line_59 |  | 54 | 56 | 0.01638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1024-62_0_5_line_60 |  | 56 | 57 | 0.010027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1024-62_0_5_line_61 |  | 58 | 61 | 0.13386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1024-62_0_5_line_62 |  | 58 | 59 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1024-62_0_5_line_63 |  | 59 | 60 | 0.028056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_1024-62_0_5_line_64 |  | 61 | 62 | 0.19146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1024-62_0_5_line_65 |  | 62 | 63 | 0.067117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1024-62_0_5_line_66 |  | 63 | 65 | 0.028553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1024-62_0_5_line_67 |  | 63 | 64 | 0.029274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1024-62_0_5_line_68 |  | 66 | 67 | 0.013284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1024-62_0_5_line_69 |  | 67 | 69 | 0.013284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1024-62_0_5_line_70 |  | 69 | 70 | 0.014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1024-62_0_5_line_71 |  | 71 | 72 | 0.061067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1024-62_0_5_line_72 |  | 71 | 73 | 0.0031549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1024-62_0_5_line_73 |  | 72 | 74 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1024-62_0_5_line_74 |  | 73 | 75 | 0.036135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1024-62_0_5_line_75 |  | 74 | 76 | 0.01774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1024-62_0_5_line_76 |  | 75 | 77 | 0.015728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1024-62_0_5_line_77 |  | 76 | 80 | 0.023138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1024-62_0_5_line_78 |  | 77 | 81 | 0.023842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1024-62_0_5_line_79 |  | 78 | 79 | 0.017686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1024-62_0_5_line_80 |  | 78 | 80 | 0.026644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1024-62_0_5_line_81 |  | 79 | 82 | 0.015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-62_0_5_trafo_52 | 0.63 MVA 20/0.4 kV | 83 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2664709.7955 | 1215293.3444 | 2664708.4083 | 1215292.572 | 2664699.9297 | 1215286.6208 | 2664681.0494 | 1215270.9089
1 | 2664712.3183 | 1215294.7492 | 2664709.7955 | 1215293.3444
2 | 2664678.4875 | 1215298.2176 | 2664683.1775 | 1215291.4977 | 2664684.4732 | 1215289.6661 | 2664685.9655 | 1215291.4056 | 2664701.8044 | 1215304.8969 | 2664703.7595 | 1215306.6748 | 2664708.6407 | 1215300.5462 | 2664709.2874 | 1215299.7305 | 2664709.6585 | 1215299.123 | 2664712.3183 | 1215294.7492
3 | 2664678.4875 | 1215298.2176 | 2664683.1775 | 1215291.4977 | 2664684.4732 | 1215289.6661 | 2664683.7233 | 1215288.7908 | 2664681.0901 | 1215285.1155 | 2664678.8454 | 1215282.0337 | 2664672.4942 | 1215275.2717 | 2664660.6502 | 1215265.2259 | 2664654.249 | 1215260.2757
4 | 2664678.4875 | 1215298.2176 | 2664676.2979 | 1215301.2513 | 2664670.77 | 1215308.8961
5 | 2664615.0405 | 1215244.919 | 2664618.8169 | 1215239.1118 | 2664620.3331 | 1215237.2493 | 2664614.8882 | 1215233.7437 | 2664608.2743 | 1215228.7912 | 2664608.9301 | 1215227.8422 | 2664610.9128 | 1215224.9841 | 2664611.584 | 1215224.013 | 2664612.1071 | 1215223.396 | 2664615.338 | 1215219.5731 | 2664615.615 | 1215219.2426
6 | 2664608.9942 | 1215211.4215 | 2664608.1228 | 1215212.6462 | 2664607.6215 | 1215213.3523 | 2664612.6886 | 1215216.6871 | 2664615.615 | 1215219.2426
7 | 2664615.0405 | 1215244.919 | 2664618.8169 | 1215239.1118 | 2664620.3331 | 1215237.2493 | 2664632.2006 | 1215244.438 | 2664641.083 | 1215250.2823 | 2664654.249 | 1215260.2757
8 | 2664615.0405 | 1215244.919 | 2664606.3798 | 1215257.8443
9 | 2664608.9942 | 1215211.4215 | 2664633.2205 | 1215177.3215
10 | 2664608.9942 | 1215211.4215 | 2664601.5263 | 1215203.28 | 2664594.8683 | 1215199.4719
11 | 2664770.0942 | 1215280.701 | 2664765.9428 | 1215276.9758 | 2664762.2802 | 1215273.6895 | 2664778.0817 | 1215265.456 | 2664775.5499 | 1215262.9381
12 | 2664775.5499 | 1215262.9381 | 2664780.141 | 1215261.1424 | 2664787.2353 | 1215259.6074 | 2664793.3092 | 1215259.0286 | 2664814.3825 | 1215258.346 | 2664824.1906 | 1215256.5626 | 2664827.8056 | 1215255.1455 | 2664838.666 | 1215250.872 | 2664843.2032 | 1215248.4532
13 | 2664775.5499 | 1215262.9381 | 2664757.1934 | 1215248.6506
14 | 2664770.0942 | 1215280.701 | 2664778.7179 | 1215288.6663 | 2664789.0351 | 1215298.0286 | 2664794.6423 | 1215301.9461
15 | 2664878.6563 | 1215227.1477 | 2664864.8887 | 1215238.2715 | 2664844.3005 | 1215251.6004 | 2664843.2032 | 1215248.4532
16 | 2664843.2032 | 1215248.4532 | 2664840.2919 | 1215241.7284 | 2664842.2262 | 1215239.2345
17 | 2664743.6006 | 1215232.6419 | 2664751.0386 | 1215243.86 | 2664757.1934 | 1215248.6506
18 | 2664699.2649 | 1215336.6669 | 2664721.6591 | 1215351.3746
19 | 2664721.6591 | 1215351.3746 | 2664721.4081 | 1215345.1236 | 2664720.4643 | 1215335.5296 | 2664721.7093 | 1215335.5653 | 2664726.4694 | 1215335.6837 | 2664727.6538 | 1215335.7077 | 2664728.4188 | 1215335.8939 | 2664734.3417 | 1215337.3258 | 2664740.8141 | 1215335.7061 | 2664744.1413 | 1215335.6089 | 2664746.4367 | 1215334.7221 | 2664750.0547 | 1215332.3266 | 2664750.743 | 1215331.8782 | 2664757.6452 | 1215341.0255 | 2664765.094 | 1215348.789 | 2664768.6587 | 1215351.9964 | 2664781.5405 | 1215363.6435 | 2664792.0132 | 1215366.3701 | 2664796.9012 | 1215371.482 | 2664816.0351 | 1215388.4894 | 2664823.3528 | 1215381.7647
20 | 2664721.2973 | 1215372.8062 | 2664718.6721 | 1215371.8994 | 2664717.5523 | 1215371.5204 | 2664719.087 | 1215366.5561 | 2664721.0005 | 1215358.1828 | 2664721.6591 | 1215351.3746
21 | 2664842.6832 | 1215370.9348 | 2664826.814 | 1215385.4046 | 2664823.3528 | 1215381.7647
22 | 2664736.1332 | 1215377.9371 | 2664721.2973 | 1215372.8062
23 | 2664710.8555 | 1215393.1056 | 2664712.2556 | 1215388.6513 | 2664717.5523 | 1215371.5204 | 2664718.6721 | 1215371.8994 | 2664721.2973 | 1215372.8062
24 | 2664710.8555 | 1215393.1056 | 2664707.5868 | 1215392.0138 | 2664692.8449 | 1215382.3979
25 | 2664794.6423 | 1215301.9461 | 2664809.9043 | 1215312.6089 | 2664818.2151 | 1215317.0537
26 | 2664654.249 | 1215260.2757 | 2664652.3277 | 1215263.0788 | 2664648.1876 | 1215268.1037 | 2664642.4957 | 1215277.5701
27 | 2664631.4755 | 1215315.5076 | 2664634.6589 | 1215315.3642 | 2664638.4769 | 1215316.2284 | 2664664.2284 | 1215326.6918 | 2664666.606 | 1215326.6287 | 2664668.1212 | 1215324.8551 | 2664668.1784 | 1215319.5858 | 2664670.0627 | 1215315.9929 | 2664673.5037 | 1215311.0049 | 2664670.77 | 1215308.8961
28 | 2664643.3812 | 1215163.0197 | 2664633.2205 | 1215177.3215
29 | 2664872.2325 | 1215200.5613 | 2664884.5142 | 1215211.5351 | 2664886.1703 | 1215212.8761 | 2664889.385 | 1215215.4461 | 2664882.8383 | 1215222.4792 | 2664878.6563 | 1215227.1477
30 | 2664878.6563 | 1215227.1477 | 2664880.376 | 1215229.6235 | 2664895.4228 | 1215251.3214
31 | 2664842.2262 | 1215239.2345 | 2664851.3166 | 1215227.5146
32 | 2664800.0384 | 1215231.7069 | 2664792.1693 | 1215225.5287
33 | 2664800.0384 | 1215231.7069 | 2664807.7208 | 1215221.9502
34 | 2664767.9011 | 1215206.4755 | 2664792.1693 | 1215225.5287
35 | 2664807.7208 | 1215221.9502 | 2664816.4318 | 1215210.8873
36 | 2664872.2325 | 1215200.5613 | 2664845.1864 | 1215174.362 | 2664833.4184 | 1215163.5347
37 | 2664913.2891 | 1215277.0848 | 2664895.4228 | 1215251.3214
38 | 2664734.9102 | 1215219.959 | 2664737.9258 | 1215224.0832 | 2664743.6006 | 1215232.6419
39 | 2664650.2394 | 1215372.98 | 2664671.8583 | 1215375.8607 | 2664679.9057 | 1215373.9579 | 2664692.8449 | 1215382.3979
40 | 2664828.6247 | 1215323.7065 | 2664822.7847 | 1215319.4976 | 2664818.2151 | 1215317.0537
41 | 2664614.8689 | 1215328.6914 | 2664631.4755 | 1215315.5076
42 | 2664643.3812 | 1215163.0197 | 2664658.9353 | 1215171.3982
43 | 2664643.3812 | 1215163.0197 | 2664640.8169 | 1215161.5185
44 | 2664842.8915 | 1215177.2833 | 2664849.0027 | 1215183.0645 | 2664865.5331 | 1215198.5983 | 2664870.1992 | 1215203.1742 | 2664863.7141 | 1215211.531
45 | 2664842.8915 | 1215177.2833 | 2664833.0225 | 1215189.817
46 | 2664863.7141 | 1215211.531 | 2664859.9005 | 1215216.4477
47 | 2664833.0225 | 1215189.817 | 2664824.5972 | 1215200.5172
48 | 2664859.9005 | 1215216.4477 | 2664851.3166 | 1215227.5146
49 | 2664767.9011 | 1215206.4755 | 2664778.2381 | 1215193.3055
50 | 2664824.5972 | 1215200.5172 | 2664816.4318 | 1215210.8873
51 | 2664854.5831 | 1215342.6125 | 2664852.0124 | 1215340.5618 | 2664837.0211 | 1215329.7577
52 | 2664854.5831 | 1215342.6125 | 2664863.9377 | 1215350.0752 | 2664875.2934 | 1215361.5296
53 | 2664828.6247 | 1215323.7065 | 2664837.0211 | 1215329.7577
54 | 2664919.9012 | 1215383.8718 | 2664912.5508 | 1215388.0166 | 2664907.3612 | 1215388.983 | 2664903.5638 | 1215388.3301 | 2664886.7799 | 1215373.1158 | 2664875.2934 | 1215361.5296
55 | 2664696.1256 | 1215191.4315 | 2664658.9353 | 1215171.3982
56 | 2664640.8169 | 1215161.5185 | 2664622.9082 | 1215151.0348 | 2664620.4793 | 1215149.1865
57 | 2664610.7184 | 1215140.6407 | 2664615.9863 | 1215145.7676 | 2664620.4793 | 1215149.1865
58 | 2664610.7184 | 1215140.6407 | 2664606.6333 | 1215148.2901
59 | 2664610.7184 | 1215140.6407 | 2664598.9574 | 1215129.2062
60 | 2664598.9574 | 1215129.2062 | 2664593.7611 | 1215137.7886
61 | 2664696.1256 | 1215191.4315 | 2664700.5748 | 1215182.4186 | 2664700.0436 | 1215169.7939 | 2664694.6876 | 1215159.496 | 2664686.368 | 1215147.2649 | 2664668.3908 | 1215130.6373 | 2664650.8782 | 1215117.3726 | 2664632.4091 | 1215100.5619 | 2664624.1557 | 1215090.0783
62 | 2664696.1256 | 1215191.4315 | 2664712.3094 | 1215203.3353
63 | 2664734.9102 | 1215219.959 | 2664712.3094 | 1215203.3353
64 | 2664640.439 | 1214942.751 | 2664612.836 | 1214955.8044 | 2664597.311 | 1214965.798 | 2664588.6594 | 1214975.0545 | 2664583.1589 | 1214986.4687 | 2664581.3125 | 1215003.3814 | 2664583.4991 | 1215029.3657 | 2664587.2721 | 1215042.8037 | 2664593.6214 | 1215053.279 | 2664612.3779 | 1215075.118 | 2664624.1557 | 1215090.0783
65 | 2664705.5668 | 1214926.1469 | 2664689.4637 | 1214930.6083 | 2664649.9373 | 1214941.5643 | 2664640.439 | 1214942.751
66 | 2664705.5668 | 1214926.1469 | 2664701.1209 | 1214897.942
67 | 2664705.5668 | 1214926.1469 | 2664715.896 | 1214923.2794 | 2664730.4776 | 1214918.3679 | 2664733.215 | 1214916.7748
68 | 2664803.5342 | 1215161.0764 | 2664795.3324 | 1215171.5262
69 | 2664795.3324 | 1215171.5262 | 2664787.1305 | 1215181.9759
70 | 2664778.2381 | 1215193.3055 | 2664787.1305 | 1215181.9759
71 | 2664599.2687 | 1215413.0635 | 2664621.3684 | 1215428.2237 | 2664636.7874 | 1215406.1882 | 2664630.5963 | 1215402.1853
72 | 2664596.6671 | 1215411.2789 | 2664599.2687 | 1215413.0635
73 | 2664640.3389 | 1215387.7001 | 2664630.5963 | 1215402.1853 | 2664630.5963 | 1215402.1853
74 | 2664567.0594 | 1215394.4033 | 2664574.4257 | 1215393.6715 | 2664577.3078 | 1215398.2055 | 2664596.6671 | 1215411.2789
75 | 2664650.2394 | 1215372.98 | 2664640.3389 | 1215387.7001
76 | 2664567.0594 | 1215394.4033 | 2664559.3794 | 1215387.6271 | 2664554.7954 | 1215384.6141
77 | 2664650.2394 | 1215372.98 | 2664631.1736 | 1215359.8699
78 | 2664554.7954 | 1215384.6141 | 2664534.8717 | 1215371.5188
79 | 2664614.8689 | 1215328.6914 | 2664615.2657 | 1215334.1102 | 2664609.2193 | 1215344.7735
80 | 2664609.2193 | 1215344.7735 | 2664631.1736 | 1215359.8699
81 | 2664614.8689 | 1215328.6914 | 2664606.8233 | 1215315.0068

## bus_geodata
| x | y | coords
0 | 2664709.7955 | 1215293.3444
1 | 2664681.0494 | 1215270.9089
2 | 2664712.3183 | 1215294.7492
3 | 2664678.4875 | 1215298.2176
4 | 2664615.615 | 1215219.2426
5 | 2664615.0405 | 1215244.919
6 | 2664608.9942 | 1215211.4215
7 | 2664775.5499 | 1215262.9381
8 | 2664770.0942 | 1215280.701
9 | 2664843.2032 | 1215248.4532
10 | 2664757.1934 | 1215248.6506
11 | 2664721.6591 | 1215351.3746
12 | 2664699.2649 | 1215336.6669
13 | 2664823.3528 | 1215381.7647
14 | 2664721.2973 | 1215372.8062
15 | 2664736.1332 | 1215377.9371
16 | 2664710.8555 | 1215393.1056
17 | 2664794.6423 | 1215301.9461
18 | 2664842.6832 | 1215370.9348
19 | 2664654.249 | 1215260.2757
20 | 2664670.77 | 1215308.8961
21 | 2664633.2205 | 1215177.3215
22 | 2664594.8683 | 1215199.4719
23 | 2664606.3798 | 1215257.8443
24 | 2664642.4957 | 1215277.5701
25 | 2664878.6563 | 1215227.1477
26 | 2664842.2262 | 1215239.2345
27 | 2664800.0384 | 1215231.7069
28 | 2664792.1693 | 1215225.5287
29 | 2664807.7208 | 1215221.9502
30 | 2664872.2325 | 1215200.5613
31 | 2664895.4228 | 1215251.3214
32 | 2664743.6006 | 1215232.6419
33 | 2664692.8449 | 1215382.3979
34 | 2664818.2151 | 1215317.0537
35 | 2664631.4755 | 1215315.5076
36 | 2664643.3812 | 1215163.0197
37 | 2664842.8915 | 1215177.2833
38 | 2664863.7141 | 1215211.531
39 | 2664833.0225 | 1215189.817
40 | 2664859.9005 | 1215216.4477
41 | 2664833.4184 | 1215163.5347
42 | 2664851.3166 | 1215227.5146
43 | 2664767.9011 | 1215206.4755
44 | 2664816.4318 | 1215210.8873
45 | 2664913.2891 | 1215277.0848
46 | 2664854.5831 | 1215342.6125
47 | 2664837.0211 | 1215329.7577
48 | 2664875.2934 | 1215361.5296
49 | 2664828.6247 | 1215323.7065
50 | 2664919.9012 | 1215383.8718
51 | 2664658.9353 | 1215171.3982
52 | 2664640.8169 | 1215161.5185
53 | 2664620.4793 | 1215149.1865
54 | 2664610.7184 | 1215140.6407
55 | 2664606.6333 | 1215148.2901
56 | 2664598.9574 | 1215129.2062
57 | 2664593.7611 | 1215137.7886
58 | 2664696.1256 | 1215191.4315
59 | 2664712.3094 | 1215203.3353
60 | 2664734.9102 | 1215219.959
61 | 2664624.1557 | 1215090.0783
62 | 2664640.439 | 1214942.751
63 | 2664705.5668 | 1214926.1469
64 | 2664733.215 | 1214916.7748
65 | 2664701.1209 | 1214897.942
66 | 2664803.5342 | 1215161.0764
67 | 2664795.3324 | 1215171.5262
68 | 2664824.5972 | 1215200.5172
69 | 2664787.1305 | 1215181.9759
70 | 2664778.2381 | 1215193.3055
71 | 2664599.2687 | 1215413.0635
72 | 2664630.5963 | 1215402.1853
73 | 2664596.6671 | 1215411.2789
74 | 2664640.3389 | 1215387.7001
75 | 2664567.0594 | 1215394.4033
76 | 2664650.2394 | 1215372.98
77 | 2664554.7954 | 1215384.6141
78 | 2664609.2193 | 1215344.7735
79 | 2664614.8689 | 1215328.6914
80 | 2664631.1736 | 1215359.8699
81 | 2664534.8717 | 1215371.5188
82 | 2664606.8233 | 1215315.0068
83 | 2664775.5499 | 1215262.9381

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98304 | -0.32502 | 0.0042863 | 0.0010742
1 | 0.98257 | -0.3342 | 0.013935 | 0.0034923
2 | 0.98309 | -0.32407 | 0 | 0
3 | 0.98395 | -0.30736 | 0 | 0
4 | 0.9888 | -0.21354 | 0 | 0
5 | 0.98729 | -0.24272 | 0 | 0
6 | 0.98932 | -0.20361 | 0 | 0
7 | 0.99797 | -0.038514 | 0 | 0
8 | 0.9962 | -0.072307 | 0 | 0
9 | 0.9896 | -0.19816 | 0 | 0
10 | 1 | 0 | -0.39816 | -0.10157
11 | 0.97287 | -0.52401 | 0 | 0
12 | 0.9728 | -0.52523 | 0.0024656 | 0.00061795
13 | 0.97166 | -0.54776 | 0 | 0
14 | 0.97313 | -0.51889 | 0 | 0
15 | 0.9728 | -0.52522 | 0.021959 | 0.0055033
16 | 0.97395 | -0.50263 | 0 | 0
17 | 0.99441 | -0.10688 | 0.0089997 | 0.0022555
18 | 0.97145 | -0.55208 | 0.0088537 | 0.0022189
19 | 0.9855 | -0.27725 | 0 | 0
20 | 0.98363 | -0.31345 | 0.0024591 | 0.00061631
21 | 0.99114 | -0.16866 | 0.0020078 | 0.00050319
22 | 0.98923 | -0.20535 | 0.0052239 | 0.0013092
23 | 0.98699 | -0.24855 | 0.020931 | 0.0052457
24 | 0.98512 | -0.28466 | 0.019677 | 0.0049316
25 | 0.9883 | -0.22338 | 0 | 0
26 | 0.98865 | -0.21648 | 0.0077441 | 0.0019408
27 | 0.97832 | -0.41685 | 0 | 0
28 | 0.97783 | -0.4264 | 0.0048783 | 0.0012226
29 | 0.97892 | -0.40503 | 0.003566 | 0.00089372
30 | 0.98813 | -0.22669 | 0 | 0
31 | 0.98759 | -0.23717 | 0.0079907 | 0.0020027
32 | 0.99868 | -0.024891 | 0.003914 | 0.00098095
33 | 0.9746 | -0.48977 | 0.0090137 | 0.0022591
34 | 0.99309 | -0.13235 | 0.0099074 | 0.002483
35 | 0.98161 | -0.35272 | 0 | 0
36 | 0.99191 | -0.15384 | 0 | 0
37 | 0.98243 | -0.33662 | 0 | 0
38 | 0.98587 | -0.26993 | 0 | 0
39 | 0.98129 | -0.35878 | 0.0074937 | 0.0018781
40 | 0.98632 | -0.26136 | 0.0067358 | 0.0016882
41 | 0.98789 | -0.2313 | 0.0048068 | 0.0012047
42 | 0.9874 | -0.2404 | 0.0067416 | 0.0016896
43 | 0.97647 | -0.45312 | 0 | 0
44 | 0.97966 | -0.39072 | 0.0059665 | 0.0014954
45 | 0.98706 | -0.24741 | 0.018262 | 0.0045768
46 | 0.99169 | -0.15941 | 0.0043557 | 0.0010916
47 | 0.99228 | -0.14796 | 0.0059177 | 0.0014831
48 | 0.99104 | -0.17204 | 0.0058424 | 0.0014642
49 | 0.99262 | -0.14144 | 0.0059213 | 0.001484
50 | 0.99003 | -0.19162 | 0.019497 | 0.0048865
51 | 0.99279 | -0.13712 | 0.005179 | 0.001298
52 | 0.99187 | -0.15476 | 0.0030447 | 0.00076308
53 | 0.99155 | -0.16083 | 0.0041641 | 0.0010436
54 | 0.99143 | -0.16319 | 0 | 0
55 | 0.99141 | -0.16352 | 0.0021838 | 0.00054731
56 | 0.99131 | -0.16553 | 0.0038604 | 0.0009675
57 | 0.99127 | -0.16627 | 0.0041875 | 0.0010495
58 | 0.99494 | -0.095966 | 0 | 0
59 | 0.99605 | -0.074953 | 0.018924 | 0.0047429
60 | 0.99775 | -0.042586 | 0 | 0
61 | 0.99338 | -0.12616 | 0.001343 | 0.00033659
62 | 0.99138 | -0.16493 | 0 | 0
63 | 0.99067 | -0.17855 | 0.0018706 | 0.00046883
64 | 0.99061 | -0.17985 | 0.0025107 | 0.00062923
65 | 0.99049 | -0.18212 | 0.0070525 | 0.0017675
66 | 0.97485 | -0.48499 | 0.011383 | 0.0028528
67 | 0.97499 | -0.48221 | 0.011387 | 0.002854
68 | 0.98042 | -0.3759 | 0.0074963 | 0.0018788
69 | 0.97528 | -0.47667 | 0.011382 | 0.0028526
70 | 0.97573 | -0.46766 | 0.013305 | 0.0033346
71 | 0.9753 | -0.4761 | 0.003096 | 0.00077592
72 | 0.97594 | -0.46341 | 0.0010558 | 0.00026462
73 | 0.97528 | -0.47658 | 0 | 0
74 | 0.97615 | -0.45944 | 0.0028552 | 0.00071558
75 | 0.975 | -0.48205 | 0 | 0
76 | 0.9764 | -0.45449 | 0 | 0
77 | 0.97488 | -0.48443 | 0.0042037 | 0.0010535
78 | 0.97914 | -0.40075 | 0 | 0
79 | 0.98014 | -0.38127 | 0 | 0
80 | 0.97764 | -0.43017 | 0.0030795 | 0.00077179
81 | 0.97479 | -0.4862 | 0.0040496 | 0.0010149
82 | 0.97994 | -0.38524 | 0.013793 | 0.0034569
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013941 | 0.0034958 | -0.013935 | -0.0034923 | 6.0968e-06 | 3.4393e-06 | 0.021102 | 0.021103 | 0.021103 | 0.98304 | -0.32502 | 0.98257 | -0.3342 | 5.7974
1 | -0.018227 | -0.00457 | 0.018228 | 0.0045705 | 8.243e-07 | 4.9094e-07 | 0.027591 | 0.02759 | 0.027591 | 0.98304 | -0.32502 | 0.98309 | -0.32407 | 7.5798
2 | -0.018228 | -0.0045705 | 0.018242 | 0.0045791 | 1.4526e-05 | 8.6508e-06 | 0.02759 | 0.02759 | 0.02759 | 0.98309 | -0.32407 | 0.98395 | -0.30736 | 7.5798
3 | -0.09576 | -0.024244 | 0.095899 | 0.024331 | 0.00013865 | 8.6719e-05 | 0.14491 | 0.14491 | 0.14491 | 0.98395 | -0.30736 | 0.9855 | -0.27725 | 13.2698
4 | 0.077518 | 0.019665 | -0.077496 | -0.019651 | 2.2666e-05 | 1.4005e-05 | 0.11732 | 0.11732 | 0.11732 | 0.98395 | -0.30736 | 0.98363 | -0.31345 | 10.7432
5 | 0.1369 | 0.034759 | -0.13671 | -0.034637 | 0.00019196 | 0.00012147 | 0.20618 | 0.20618 | 0.20618 | 0.9888 | -0.21354 | 0.98729 | -0.24272 | 18.8811
6 | -0.1369 | -0.034759 | 0.13697 | 0.0348 | 6.5467e-05 | 4.1425e-05 | 0.20618 | 0.20618 | 0.20618 | 0.9888 | -0.21354 | 0.98932 | -0.20361 | 18.8811
7 | 0.11578 | 0.029388 | -0.11558 | -0.029267 | 0.00019198 | 0.00012094 | 0.17463 | 0.17463 | 0.17463 | 0.98729 | -0.24272 | 0.9855 | -0.27725 | 15.9915
8 | 0.020937 | 0.0052493 | -0.020931 | -0.0052457 | 5.8098e-06 | 3.5194e-06 | 0.031556 | 0.031556 | 0.031556 | 0.98729 | -0.24272 | 0.98699 | -0.24855 | 8.6692
9 | -0.14219 | -0.036109 | 0.14243 | 0.036261 | 0.00023954 | 0.00015169 | 0.21404 | 0.21404 | 0.21404 | 0.98932 | -0.20361 | 0.99114 | -0.16866 | 19.6006
10 | 0.0052243 | 0.0013093 | -0.0052239 | -0.0013092 | 4.334e-07 | 3.705e-08 | 0.0078577 | 0.0078578 | 0.0078578 | 0.98932 | -0.20361 | 0.98923 | -0.20535 | 2.1587
11 | 0.060782 | 0.015363 | -0.060684 | -0.0153 | 9.8315e-05 | 6.2505e-05 | 0.090674 | 0.090675 | 0.090675 | 0.99797 | -0.038514 | 0.9962 | -0.072307 | 24.9106
12 | 0.13116 | 0.033652 | -0.13015 | -0.033008 | 0.0010074 | 0.0006438 | 0.19584 | 0.19584 | 0.19584 | 0.99797 | -0.038514 | 0.9896 | -0.19816 | 53.8029
13 | -0.19194 | -0.049015 | 0.1923 | 0.049243 | 0.00035804 | 0.00022854 | 0.28652 | 0.28652 | 0.28652 | 0.99797 | -0.038514 | 1 | 0 | 39.3566
14 | 0.060684 | 0.0153 | -0.060583 | -0.015237 | 0.00010024 | 6.3731e-05 | 0.090675 | 0.090675 | 0.090675 | 0.9962 | -0.072307 | 0.99441 | -0.10688 | 24.9106
15 | 0.031125 | 0.0078235 | -0.031087 | -0.0078001 | 3.7434e-05 | 2.3373e-05 | 0.046809 | 0.046809 | 0.046809 | 0.9896 | -0.19816 | 0.9883 | -0.22338 | 12.8596
16 | 0.099027 | 0.025184 | -0.09894 | -0.025129 | 8.7323e-05 | 5.5752e-05 | 0.14903 | 0.14903 | 0.14903 | 0.9896 | -0.19816 | 0.98865 | -0.21648 | 40.9434
17 | 0.20421 | 0.052329 | -0.20396 | -0.052172 | 0.00024604 | 0.00015663 | 0.30428 | 0.30428 | 0.30428 | 1 | 0 | 0.99868 | -0.024891 | 27.8641
18 | 0.0024658 | 0.00061771 | -0.0024656 | -0.00061795 | 1.4262e-07 | -2.4071e-07 | 0.0037714 | 0.0037715 | 0.0037715 | 0.97287 | -0.52401 | 0.9728 | -0.52523 | 1.0361
19 | 0.0088655 | 0.0022244 | -0.0088555 | -0.0022198 | 1.0028e-05 | 4.6145e-06 | 0.013561 | 0.013562 | 0.013562 | 0.97287 | -0.52401 | 0.97166 | -0.54776 | 3.7257
20 | -0.011331 | -0.0028421 | 0.011334 | 0.0028436 | 2.7695e-06 | 1.4672e-06 | 0.017332 | 0.017332 | 0.017332 | 0.97287 | -0.52401 | 0.97313 | -0.51889 | 4.7616
21 | 0.0088555 | 0.0022198 | -0.0088537 | -0.0022189 | 1.8249e-06 | 8.4028e-07 | 0.013562 | 0.013562 | 0.013562 | 0.97166 | -0.54776 | 0.97145 | -0.55208 | 3.7257
22 | 0.021965 | 0.0055074 | -0.021959 | -0.0055033 | 6.6238e-06 | 4.0448e-06 | 0.033588 | 0.033588 | 0.033588 | 0.97313 | -0.51889 | 0.9728 | -0.52522 | 9.2275
23 | -0.033299 | -0.008351 | 0.033325 | 0.0083672 | 2.5825e-05 | 1.6198e-05 | 0.05092 | 0.05092 | 0.05092 | 0.97313 | -0.51889 | 0.97395 | -0.50263 | 13.9891
24 | -0.033325 | -0.0083672 | 0.033346 | 0.00838 | 2.0464e-05 | 1.2835e-05 | 0.05092 | 0.05092 | 0.05092 | 0.97395 | -0.50263 | 0.9746 | -0.48977 | 13.989
25 | 0.051584 | 0.012981 | -0.051521 | -0.012941 | 6.2686e-05 | 3.9756e-05 | 0.077208 | 0.077208 | 0.077208 | 0.99441 | -0.10688 | 0.99309 | -0.13235 | 21.2109
26 | 0.019684 | 0.0049357 | -0.019677 | -0.0049316 | 6.9419e-06 | 4.1759e-06 | 0.029722 | 0.029722 | 0.029722 | 0.9855 | -0.27725 | 0.98512 | -0.28466 | 8.1654
27 | 0.075036 | 0.019035 | -0.074895 | -0.018946 | 0.00014141 | 8.9024e-05 | 0.1136 | 0.1136 | 0.1136 | 0.98363 | -0.31345 | 0.98161 | -0.35272 | 15.6039
28 | -0.14444 | -0.036764 | 0.14454 | 0.03683 | 0.00010331 | 6.5443e-05 | 0.21705 | 0.21705 | 0.21705 | 0.99114 | -0.16866 | 0.99191 | -0.15384 | 19.8766
29 | 0.0048086 | 0.0012047 | -0.0048079 | -0.0012047 | 7.586e-07 | -8.9465e-09 | 0.0072399 | 0.00724 | 0.00724 | 0.9883 | -0.22338 | 0.98813 | -0.22669 | 1.989
30 | 0.026278 | 0.0065954 | -0.026261 | -0.0065848 | 1.7273e-05 | 1.0678e-05 | 0.039569 | 0.039569 | 0.039569 | 0.9883 | -0.22338 | 0.98759 | -0.23717 | 10.8707
31 | 0.091196 | 0.023188 | -0.091091 | -0.023121 | 0.00010497 | 6.6992e-05 | 0.13738 | 0.13738 | 0.13738 | 0.98865 | -0.21648 | 0.9874 | -0.2404 | 37.7413
32 | 0.052475 | 0.013205 | -0.052451 | -0.01319 | 2.3911e-05 | 1.5178e-05 | 0.079833 | 0.079834 | 0.079834 | 0.97832 | -0.41685 | 0.97783 | -0.4264 | 21.9323
33 | -0.052475 | -0.013205 | 0.052505 | 0.013224 | 2.968e-05 | 1.8839e-05 | 0.079833 | 0.079833 | 0.079833 | 0.97832 | -0.41685 | 0.97892 | -0.40503 | 21.9323
34 | 0.047573 | 0.011967 | -0.047512 | -0.011928 | 6.0665e-05 | 3.8439e-05 | 0.07241 | 0.07241 | 0.07241 | 0.97783 | -0.4264 | 0.97647 | -0.45312 | 19.8929
35 | -0.056071 | -0.014117 | 0.056109 | 0.014142 | 3.8379e-05 | 2.4385e-05 | 0.085254 | 0.085254 | 0.085254 | 0.97892 | -0.40503 | 0.97966 | -0.39072 | 23.4214
36 | 0.0048079 | 0.0012047 | -0.0048068 | -0.0012047 | 1.0545e-06 | -1.2114e-08 | 0.00724 | 0.0072403 | 0.0072403 | 0.98813 | -0.22669 | 0.98789 | -0.2313 | 1.9891
37 | 0.01827 | 0.0045821 | -0.018262 | -0.0045768 | 8.9104e-06 | 5.3017e-06 | 0.02753 | 0.02753 | 0.02753 | 0.98759 | -0.23717 | 0.98706 | -0.24741 | 7.5631
38 | 0.20005 | 0.051191 | -0.19988 | -0.051082 | 0.00017122 | 0.00010897 | 0.29844 | 0.29844 | 0.29844 | 0.99868 | -0.024891 | 0.99775 | -0.042586 | 27.3301
39 | -0.042359 | -0.010639 | 0.042431 | 0.010684 | 7.1429e-05 | 4.5146e-05 | 0.064682 | 0.064682 | 0.064682 | 0.9746 | -0.48977 | 0.9764 | -0.45449 | 17.7698
40 | 0.041614 | 0.010458 | -0.041595 | -0.010447 | 1.8056e-05 | 1.1396e-05 | 0.062363 | 0.062363 | 0.062363 | 0.99309 | -0.13235 | 0.99262 | -0.14144 | 17.1327
41 | 0.074895 | 0.018946 | -0.074793 | -0.018881 | 0.00010243 | 6.529e-05 | 0.1136 | 0.1136 | 0.1136 | 0.98161 | -0.35272 | 0.98014 | -0.38127 | 31.2078
42 | -0.16199 | -0.041204 | 0.16212 | 0.041287 | 0.00013065 | 8.293e-05 | 0.24323 | 0.24323 | 0.24323 | 0.99191 | -0.15384 | 0.99279 | -0.13712 | 22.2735
43 | 0.017448 | 0.0043746 | -0.017447 | -0.0043742 | 7.634e-07 | 4.5022e-07 | 0.026175 | 0.026175 | 0.026175 | 0.99191 | -0.15384 | 0.99187 | -0.15476 | 7.1908
44 | -0.077249 | -0.01951 | 0.077497 | 0.019668 | 0.00024772 | 0.00015793 | 0.11706 | 0.11706 | 0.11706 | 0.98243 | -0.33662 | 0.98587 | -0.26993 | 32.1586
45 | 0.077249 | 0.01951 | -0.077167 | -0.019458 | 8.1972e-05 | 5.226e-05 | 0.11706 | 0.11706 | 0.11706 | 0.98243 | -0.33662 | 0.98129 | -0.35878 | 32.1586
46 | -0.077497 | -0.019668 | 0.077529 | 0.019689 | 3.1973e-05 | 2.0383e-05 | 0.11706 | 0.11706 | 0.11706 | 0.98587 | -0.26993 | 0.98632 | -0.26136 | 32.1585
47 | 0.069673 | 0.01758 | -0.069616 | -0.017544 | 5.7053e-05 | 3.6342e-05 | 0.10569 | 0.10569 | 0.10569 | 0.98129 | -0.35878 | 0.98042 | -0.3759 | 29.0368
48 | -0.084264 | -0.021377 | 0.084349 | 0.021431 | 8.5004e-05 | 5.4224e-05 | 0.12722 | 0.12722 | 0.12722 | 0.98632 | -0.26136 | 0.9874 | -0.2404 | 34.9503
49 | 0.047512 | 0.011928 | -0.04748 | -0.011908 | 3.2919e-05 | 2.0859e-05 | 0.07241 | 0.07241 | 0.07241 | 0.97647 | -0.45312 | 0.97573 | -0.46766 | 19.8929
50 | -0.062076 | -0.015637 | 0.06212 | 0.015665 | 4.403e-05 | 2.8013e-05 | 0.094317 | 0.094316 | 0.094317 | 0.97966 | -0.39072 | 0.98042 | -0.3759 | 25.9111
51 | -0.029729 | -0.0074627 | 0.029745 | 0.0074729 | 1.6246e-05 | 1.0116e-05 | 0.044612 | 0.044612 | 0.044612 | 0.99169 | -0.15941 | 0.99228 | -0.14796 | 12.2561
52 | 0.025373 | 0.0063711 | -0.025358 | -0.0063617 | 1.5275e-05 | 9.414e-06 | 0.038077 | 0.038077 | 0.038077 | 0.99169 | -0.15941 | 0.99104 | -0.17204 | 10.4606
53 | -0.035663 | -0.008956 | 0.035674 | 0.008963 | 1.1103e-05 | 6.9723e-06 | 0.053486 | 0.053486 | 0.053486 | 0.99228 | -0.14796 | 0.99262 | -0.14144 | 14.6941
54 | 0.019516 | 0.0048975 | -0.019497 | -0.0048865 | 1.8208e-05 | 1.0925e-05 | 0.029305 | 0.029305 | 0.029305 | 0.99104 | -0.17204 | 0.99003 | -0.19162 | 8.0508
55 | -0.1673 | -0.042585 | 0.16763 | 0.042796 | 0.00033264 | 0.00021125 | 0.25099 | 0.25099 | 0.25099 | 0.99279 | -0.13712 | 0.99494 | -0.095966 | 22.9843
56 | 0.014402 | 0.0036111 | -0.014398 | -0.0036087 | 4.1674e-06 | 2.36e-06 | 0.021607 | 0.021607 | 0.021607 | 0.99187 | -0.15476 | 0.99155 | -0.16083 | 5.936
57 | 0.010234 | 0.0025651 | -0.010233 | -0.0025645 | 1.1496e-06 | 5.6811e-07 | 0.015358 | 0.015358 | 0.015358 | 0.99155 | -0.16083 | 0.99143 | -0.16319 | 4.2192
58 | 0.0021838 | 0.00054722 | -0.0021838 | -0.00054731 | 3.492e-08 | -8.9427e-08 | 0.0032776 | 0.0032777 | 0.0032777 | 0.99143 | -0.16319 | 0.99141 | -0.16352 | 0.90045
59 | 0.0080489 | 0.0020173 | -0.008048 | -0.002017 | 8.9642e-07 | 3.6251e-07 | 0.01208 | 0.012081 | 0.012081 | 0.99143 | -0.16319 | 0.99131 | -0.16553 | 3.3188
60 | 0.0041876 | 0.0010494 | -0.0041875 | -0.0010495 | 1.4857e-07 | -3.4181e-08 | 0.0062858 | 0.0062859 | 0.0062859 | 0.99131 | -0.16553 | 0.99127 | -0.16627 | 1.7269
61 | 0.012825 | 0.0032273 | -0.012807 | -0.0032173 | 1.8478e-05 | 1.009e-05 | 0.019186 | 0.019186 | 0.019186 | 0.99494 | -0.095966 | 0.99338 | -0.12616 | 5.271
62 | -0.18046 | -0.046024 | 0.18064 | 0.04614 | 0.00018331 | 0.00011653 | 0.27017 | 0.27017 | 0.27017 | 0.99494 | -0.095966 | 0.99605 | -0.074953 | 24.7412
63 | -0.19957 | -0.050883 | 0.19988 | 0.051082 | 0.00031237 | 0.00019882 | 0.29845 | 0.29844 | 0.29845 | 0.99605 | -0.074953 | 0.99775 | -0.042586 | 27.3301
64 | 0.011464 | 0.0028807 | -0.011443 | -0.0028696 | 2.1179e-05 | 1.1081e-05 | 0.017175 | 0.017175 | 0.017175 | 0.99338 | -0.12616 | 0.99138 | -0.16493 | 4.7185
65 | 0.011443 | 0.0028696 | -0.011435 | -0.0028657 | 7.4249e-06 | 3.8871e-06 | 0.017175 | 0.017176 | 0.017176 | 0.99138 | -0.16493 | 0.99067 | -0.17855 | 4.7186
66 | 0.0070537 | 0.0017679 | -0.0070525 | -0.0017675 | 1.2019e-06 | 4.0166e-07 | 0.010595 | 0.010595 | 0.010595 | 0.99067 | -0.17855 | 0.99049 | -0.18212 | 2.9107
67 | 0.0025108 | 0.00062895 | -0.0025107 | -0.00062923 | 1.5613e-07 | -2.7697e-07 | 0.0037712 | 0.0037713 | 0.0037713 | 0.99067 | -0.17855 | 0.99061 | -0.17985 | 1.0361
68 | -0.011383 | -0.0028528 | 0.011384 | 0.0028535 | 1.5038e-06 | 7.9677e-07 | 0.017374 | 0.017374 | 0.017374 | 0.97485 | -0.48499 | 0.97499 | -0.48221 | 4.7732
69 | -0.022772 | -0.0057075 | 0.022778 | 0.0057112 | 6.0168e-06 | 3.685e-06 | 0.034754 | 0.034754 | 0.034754 | 0.97499 | -0.48221 | 0.97528 | -0.47667 | 9.5477
70 | -0.03416 | -0.0085638 | 0.034174 | 0.008573 | 1.4671e-05 | 9.2099e-06 | 0.05212 | 0.05212 | 0.05212 | 0.97528 | -0.47667 | 0.97573 | -0.46766 | 14.3186
71 | -0.011353 | -0.0028457 | 0.01136 | 0.0028494 | 6.8705e-06 | 3.6345e-06 | 0.017321 | 0.017321 | 0.017321 | 0.9753 | -0.4761 | 0.97594 | -0.46341 | 4.7586
72 | 0.0082569 | 0.0020698 | -0.0082567 | -0.0020697 | 1.8776e-07 | 8.0796e-08 | 0.012598 | 0.012598 | 0.012598 | 0.9753 | -0.4761 | 0.97528 | -0.47658 | 3.4609
73 | -0.012416 | -0.003114 | 0.012418 | 0.0031153 | 2.346e-06 | 1.2833e-06 | 0.018931 | 0.018931 | 0.018931 | 0.97594 | -0.46341 | 0.97615 | -0.45944 | 5.2008
74 | 0.0082567 | 0.0020697 | -0.0082546 | -0.0020688 | 2.1506e-06 | 9.2558e-07 | 0.012598 | 0.012598 | 0.012598 | 0.97528 | -0.47658 | 0.975 | -0.48205 | 3.461
75 | -0.015273 | -0.0038308 | 0.015277 | 0.0038329 | 3.6063e-06 | 2.0862e-06 | 0.023283 | 0.023283 | 0.023283 | 0.97615 | -0.45944 | 0.9764 | -0.45449 | 6.3965
76 | 0.0082546 | 0.0020688 | -0.0082536 | -0.0020684 | 9.3603e-07 | 4.0294e-07 | 0.012598 | 0.012598 | 0.012598 | 0.975 | -0.48205 | 0.97488 | -0.48443 | 3.461
77 | -0.057707 | -0.014517 | 0.057775 | 0.01456 | 6.714e-05 | 4.268e-05 | 0.087965 | 0.087965 | 0.087965 | 0.9764 | -0.45449 | 0.97764 | -0.43017 | 24.1662
78 | 0.0040499 | 0.0010148 | -0.0040496 | -0.0010149 | 3.4165e-07 | -7.8586e-08 | 0.0061816 | 0.0061817 | 0.0061817 | 0.97488 | -0.48443 | 0.97479 | -0.4862 | 1.6983
79 | -0.06094 | -0.015386 | 0.060997 | 0.015422 | 5.6934e-05 | 3.6215e-05 | 0.092652 | 0.092652 | 0.092652 | 0.97914 | -0.40075 | 0.98014 | -0.38127 | 25.4538
80 | 0.06094 | 0.015386 | -0.060854 | -0.015332 | 8.577e-05 | 5.4558e-05 | 0.092652 | 0.092652 | 0.092652 | 0.97914 | -0.40075 | 0.97764 | -0.43017 | 25.4539
81 | 0.013796 | 0.0034584 | -0.013793 | -0.0034569 | 2.6097e-06 | 1.4703e-06 | 0.020944 | 0.020945 | 0.020945 | 0.98014 | -0.38127 | 0.97994 | -0.38524 | 5.754

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40287 | 0.10275

## res_load
| p_mw | q_mvar
0 | 0.0042863 | 0.0010742
1 | 0.013935 | 0.0034923
2 | 0.0047119 | 0.0011809
3 | 0.0024656 | 0.00061795
4 | 0.021959 | 0.0055033
5 | 0.0089997 | 0.0022555
6 | 0.0088537 | 0.0022189
7 | 0.0024591 | 0.00061631
8 | 0.0020078 | 0.00050319
9 | 0.0052239 | 0.0013092
10 | 0.020931 | 0.0052457
11 | 0.019677 | 0.0049316
12 | 0.0077441 | 0.0019408
13 | 0.0048783 | 0.0012226
14 | 0.003566 | 0.00089372
15 | 0.0079907 | 0.0020027
16 | 0.003914 | 0.00098095
17 | 0.0090137 | 0.0022591
18 | 0.0099074 | 0.002483
19 | 0.0074937 | 0.0018781
20 | 0.0067358 | 0.0016882
21 | 0.0048068 | 0.0012047
22 | 0.0067416 | 0.0016896
23 | 0.0059665 | 0.0014954
24 | 0.018262 | 0.0045768
25 | 0.0043557 | 0.0010916
26 | 0.0059177 | 0.0014831
27 | 0.0058424 | 0.0014642
28 | 0.0059213 | 0.001484
29 | 0.019497 | 0.0048865
30 | 0.005179 | 0.001298
31 | 0.0030447 | 0.00076308
32 | 0.0041641 | 0.0010436
33 | 0.0021838 | 0.00054731
34 | 0.0038604 | 0.0009675
35 | 0.0041875 | 0.0010495
36 | 0.018924 | 0.0047429
37 | 0.001343 | 0.00033659
38 | 0.0018706 | 0.00046883
39 | 0.0025107 | 0.00062923
40 | 0.0070525 | 0.0017675
41 | 0.011383 | 0.0028528
42 | 0.011387 | 0.002854
43 | 0.0074963 | 0.0018788
44 | 0.011382 | 0.0028526
45 | 0.013305 | 0.0033346
46 | 0.003096 | 0.00077592
47 | 0.0010558 | 0.00026462
48 | 0.0028552 | 0.00071558
49 | 0.0042037 | 0.0010535
50 | 0.0030795 | 0.00077179
51 | 0.0040496 | 0.0010149
52 | 0.013793 | 0.0034569

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1