## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1024-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1024-9_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1024-9_0_4_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_1024-9_0_4_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_1024-9_0_4_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_1024-9_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1024-9_0_4_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1024-9_0_4_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_1024-9_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1024-9_0_4_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_1024-9_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1024-9_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1024-9_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1024-9_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1024-9_0_4_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_1024-9_0_4_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_1024-9_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1024-9_0_4_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_1024-9_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1024-9_0_4_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_1024-9_0_4_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_1024-9_0_4_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_1024-9_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1024-9_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1024-9_0_4_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_1024-9_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1024-9_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_1024-9_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1024-9_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1024-9_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1024-9_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1024-9_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_1024-9_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1024-9_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1024-9_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1024-9_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1024-9_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1024-9_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1024-9_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1024-9_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1024-9_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_1024-9_0_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1024-9_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1024-9_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1024-9_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_1024-9_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1024-9_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1024-9_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1024-9_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1024-9_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_1024-9_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1024-9_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1024-9_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1024-9_0_4_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_1024-9_0_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_1024-9_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1024-9_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_1024-9_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_1024-9_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_1024-9_0_4_node_62 | 0.4 | n |  | TRUE
60 | bus_MV_218_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1024-9_0_4_load_0 | 0 | 0.00098588 | 0.00024708 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1024-9_0_4_load_22 | 3 | 0.0011303 | 0.00028328 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1024-9_0_4_load_23 | 4 | 0.0042755 | 0.0010715 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1024-9_0_4_load_49 | 7 | 0.00048674 | 0.00012199 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1024-9_0_4_load_66 | 9 | 0.0028676 | 0.0007187 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1024-9_0_4_load_27 | 12 | 0.092099 | 0.023082 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1024-9_0_4_load_34 | 14 | 0.0060226 | 0.0015094 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1024-9_0_4_load_63 | 15 | 0.0050157 | 0.0012571 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1024-9_0_4_load_55 | 17 | 0.048679 | 0.0122 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1024-9_0_4_load_52 | 20 | 0.045819 | 0.011483 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1024-9_0_4_load_50 | 21 | 0.0019315 | 0.00048409 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1024-9_0_4_load_53 | 24 | 0.0041385 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1024-9_0_4_load_56 | 26 | 0.0061125 | 0.0015319 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1024-9_0_4_load_32 | 27 | 0.0097716 | 0.002449 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1024-9_0_4_load_45 | 31 | 0.0058642 | 0.0014697 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1024-9_0_4_load_24 | 32 | 0.0054076 | 0.0013553 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1024-9_0_4_load_33 | 33 | 0.0030291 | 0.00075917 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1024-9_0_4_load_25 | 34 | 0.0027746 | 0.00069538 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1024-9_0_4_load_29 | 35 | 0.00062883 | 0.0001576 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1024-9_0_4_load_46 | 36 | 0.028302 | 0.0070932 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1024-9_0_4_load_39 | 37 | 0.00049452 | 0.00012394 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1024-9_0_4_load_38 | 38 | 0.0043557 | 0.0010916 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1024-9_0_4_load_42 | 39 | 0.0031059 | 0.0007784 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1024-9_0_4_load_57 | 40 | 0.0058635 | 0.0014695 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1024-9_0_4_load_54 | 41 | 0.0043724 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1024-9_0_4_load_43 | 42 | 0.083644 | 0.020963 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1024-9_0_4_load_31 | 43 | 0.018168 | 0.0045532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1024-9_0_4_load_26 | 44 | 0.00014582 | 3.6546e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1024-9_0_4_load_30 | 45 | 0.0054878 | 0.0013754 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1024-9_0_4_load_47 | 46 | 0.013449 | 0.0033706 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1024-9_0_4_load_40 | 47 | 0.0095849 | 0.0024022 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1024-9_0_4_load_35 | 49 | 0.00052705 | 0.00013209 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1024-9_0_4_load_36 | 50 | 0.0045206 | 0.001133 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1024-9_0_4_load_37 | 51 | 0.00055657 | 0.00013949 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1024-9_0_4_load_44 | 52 | 0.038828 | 0.0097311 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1024-9_0_4_load_64 | 53 | 0.039799 | 0.0099747 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1024-9_0_4_load_58 | 55 | 0.0021134 | 0.00052966 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1024-9_0_4_load_59 | 56 | 0.0053649 | 0.0013446 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1024-9_0_4_load_60 | 57 | 0.002032 | 0.00050928 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1024-9_0_4_load_61 | 58 | 0.0077799 | 0.0019498 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1024-9_0_4_line_0 |  | 0 | 1 | 0.012679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1024-9_0_4_line_1 |  | 1 | 2 | 0.006014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1024-9_0_4_line_2 |  | 1 | 3 | 0.026281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1024-9_0_4_line_3 |  | 1 | 4 | 0.038767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1024-9_0_4_line_4 |  | 2 | 34 | 0.030546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1024-9_0_4_line_5 |  | 3 | 35 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1024-9_0_4_line_6 |  | 4 | 31 | 0.031761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1024-9_0_4_line_7 |  | 5 | 6 | 0.003079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1024-9_0_4_line_8 |  | 5 | 7 | 0.043189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1024-9_0_4_line_9 |  | 6 | 36 | 0.016753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1024-9_0_4_line_10 |  | 6 | 11 | 0.067048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1024-9_0_4_line_11 |  | 7 | 37 | 0.031663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1024-9_0_4_line_12 |  | 8 | 9 | 0.017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1024-9_0_4_line_13 |  | 8 | 10 | 0.17398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1024-9_0_4_line_14 |  | 10 | 24 | 0.032563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1024-9_0_4_line_15 |  | 10 | 16 | 0.010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1024-9_0_4_line_16 |  | 11 | 12 | 0.026368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1024-9_0_4_line_17 |  | 13 | 14 | 0.041323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1024-9_0_4_line_18 |  | 13 | 15 | 0.035219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1024-9_0_4_line_19 |  | 14 | 25 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1024-9_0_4_line_20 |  | 16 | 17 | 0.016131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1024-9_0_4_line_21 |  | 17 | 20 | 0.03528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1024-9_0_4_line_22 |  | 18 | 19 | 0.011426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1024-9_0_4_line_23 |  | 18 | 20 | 0.019431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1024-9_0_4_line_24 |  | 18 | 21 | 0.06107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1024-9_0_4_line_25 |  | 19 | 38 | 0.0035022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1024-9_0_4_line_26 |  | 21 | 39 | 0.014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1024-9_0_4_line_27 |  | 22 | 23 | 0.003145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1024-9_0_4_line_28 |  | 22 | 24 | 0.0085743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1024-9_0_4_line_29 |  | 23 | 25 | 0.042751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1024-9_0_4_line_30 |  | 23 | 26 | 0.033023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1024-9_0_4_line_31 |  | 25 | 27 | 0.045579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1024-9_0_4_line_32 |  | 26 | 40 | 0.017125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1024-9_0_4_line_33 |  | 27 | 43 | 0.0062237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1024-9_0_4_line_34 |  | 28 | 29 | 0.098273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1024-9_0_4_line_35 |  | 28 | 30 | 0.18912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1024-9_0_4_line_36 |  | 28 | 31 | 0.012258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1024-9_0_4_line_37 |  | 29 | 32 | 0.073358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1024-9_0_4_line_38 |  | 30 | 33 | 0.069056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1024-9_0_4_line_39 |  | 34 | 44 | 0.010012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1024-9_0_4_line_40 |  | 35 | 45 | 0.0511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1024-9_0_4_line_41 |  | 36 | 46 | 0.060883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1024-9_0_4_line_42 |  | 37 | 51 | 0.024825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1024-9_0_4_line_43 |  | 38 | 50 | 0.02614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1024-9_0_4_line_44 |  | 39 | 48 | 0.012983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1024-9_0_4_line_45 |  | 40 | 55 | 0.012188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1024-9_0_4_line_46 |  | 41 | 42 | 0.044227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1024-9_0_4_line_47 |  | 42 | 48 | 0.048949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1024-9_0_4_line_48 |  | 45 | 47 | 0.026468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1024-9_0_4_line_49 |  | 47 | 48 | 0.036619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1024-9_0_4_line_50 |  | 48 | 52 | 0.023593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1024-9_0_4_line_51 |  | 49 | 50 | 0.026013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1024-9_0_4_line_52 |  | 49 | 51 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1024-9_0_4_line_53 |  | 52 | 53 | 0.032597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1024-9_0_4_line_54 |  | 53 | 54 | 0.025698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1024-9_0_4_line_55 |  | 54 | 59 | 0.016158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1024-9_0_4_line_56 |  | 56 | 57 | 0.0054271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1024-9_0_4_line_57 |  | 56 | 58 | 0.0033347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1024-9_0_4_line_58 |  | 57 | 59 | 0.059247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1024-9_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 60 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2664332.8452 | 1213353.9643 | 2664322.2995 | 1213361.0032
1 | 2664332.8452 | 1213353.9643 | 2664330.2343 | 1213359.3839
2 | 2664332.8452 | 1213353.9643 | 2664357.8105 | 1213362.1739
3 | 2664332.8452 | 1213353.9643 | 2664362.219 | 1213335.1139 | 2664365.3861 | 1213332.8996
4 | 2664330.2343 | 1213359.3839 | 2664326.4656 | 1213367.2036 | 2664319.7254 | 1213388.0039
5 | 2664374.2715 | 1213367.587 | 2664357.8105 | 1213362.1739
6 | 2664365.3861 | 1213332.8996 | 2664391.4162 | 1213314.7001
7 | 2664274.4292 | 1213429.9926 | 2664273.7606 | 1213432.1201 | 2664273.5012 | 1213432.9289
8 | 2664274.4292 | 1213429.9926 | 2664315.5757 | 1213443.1179
9 | 2664273.5012 | 1213432.9289 | 2664278.3853 | 1213433.6708 | 2664289.6408 | 1213437.257
10 | 2664273.5012 | 1213432.9289 | 2664269.4468 | 1213434.1526 | 2664266.3512 | 1213435.9204 | 2664263.9295 | 1213438.5959 | 2664257.5587 | 1213457.3945 | 2664248.8331 | 1213482.5271 | 2664246.1705 | 1213491.3483
11 | 2664345.7416 | 1213452.7405 | 2664315.5757 | 1213443.1179
12 | 2664336.8782 | 1213640.518 | 2664346.3904 | 1213647.3804 | 2664350.5709 | 1213650.6498
13 | 2664350.5709 | 1213650.6498 | 2664362.6882 | 1213652.615 | 2664383.7202 | 1213673.1547 | 2664388.9684 | 1213676.0353 | 2664391.8027 | 1213671.0184 | 2664403.2299 | 1213655.9991 | 2664407.661 | 1213647.3194 | 2664434.8085 | 1213563.0605 | 2664431.5611 | 1213562.0137
14 | 2664431.5611 | 1213562.0137 | 2664400.5765 | 1213551.9982
15 | 2664431.5611 | 1213562.0137 | 2664434.8085 | 1213563.0605 | 2664435.9325 | 1213559.5705 | 2664436.9717 | 1213556.1907
16 | 2664246.1705 | 1213491.3483 | 2664248.074 | 1213493.7592 | 2664249.4665 | 1213494.9416 | 2664269.8973 | 1213501.5394
17 | 2664299.1356 | 1213519.1584 | 2664338.4509 | 1213531.8819
18 | 2664299.1356 | 1213519.1584 | 2664288.1834 | 1213552.6309
19 | 2664348.7481 | 1213535.2143 | 2664338.4509 | 1213531.8819
20 | 2664436.9717 | 1213556.1907 | 2664441.7186 | 1213540.774
21 | 2664452.1006 | 1213507.0558 | 2664441.7186 | 1213540.774
22 | 2664457.8185 | 1213488.4852 | 2664446.9022 | 1213485.0096
23 | 2664457.8185 | 1213488.4852 | 2664452.1006 | 1213507.0558
24 | 2664457.8185 | 1213488.4852 | 2664474.9612 | 1213429.8705
25 | 2664446.9022 | 1213485.0096 | 2664443.5657 | 1213483.9453
26 | 2664474.9612 | 1213429.8705 | 2664479.1003 | 1213415.7181
27 | 2664392.4179 | 1213549.361 | 2664389.4203 | 1213548.3836
28 | 2664392.4179 | 1213549.361 | 2664400.5765 | 1213551.9982
29 | 2664348.7481 | 1213535.2143 | 2664385.1662 | 1213547.0035 | 2664389.4203 | 1213548.3836
30 | 2664389.4203 | 1213548.3836 | 2664379.178 | 1213579.7775
31 | 2664348.7481 | 1213535.2143 | 2664337.4599 | 1213571.8374 | 2664335.2627 | 1213578.752
32 | 2664379.178 | 1213579.7775 | 2664373.8665 | 1213596.058
33 | 2664333.378 | 1213584.6835 | 2664335.2627 | 1213578.752
34 | 2664336.8238 | 1213283.7416 | 2664338.3347 | 1213285.2255 | 2664344.2448 | 1213284.5221 | 2664360.784 | 1213276.6401 | 2664367.1566 | 1213277.4316 | 2664385.5079 | 1213280.4203 | 2664392.6772 | 1213279.1858 | 2664395.5655 | 1213284.6648 | 2664407.5388 | 1213292.9992 | 2664409.329 | 1213296.7542 | 2664408.5044 | 1213302.7601 | 2664401.4625 | 1213307.676
35 | 2664401.4625 | 1213307.676 | 2664408.5044 | 1213302.7601 | 2664417.2381 | 1213296.6507 | 2664429.2461 | 1213291.9219 | 2664432.154 | 1213287.1503 | 2664487.2822 | 1213300.4764 | 2664531.7417 | 1213315.4887 | 2664549.2761 | 1213322.3493 | 2664573.9226 | 1213337.4587
36 | 2664401.4625 | 1213307.676 | 2664391.4162 | 1213314.7001
37 | 2664336.8238 | 1213283.7416 | 2664330.6615 | 1213288.1112 | 2664311.8599 | 1213298.6928 | 2664289.937 | 1213309.8967 | 2664271.9582 | 1213317.7235
38 | 2664573.9226 | 1213337.4587 | 2664599.9726 | 1213352.7279 | 2664628.5069 | 1213379.1088
39 | 2664316.639 | 1213397.5288 | 2664319.7254 | 1213388.0039
40 | 2664422.8143 | 1213383.5499 | 2664374.2715 | 1213367.587
41 | 2664289.6408 | 1213437.257 | 2664304.7149 | 1213442.0598 | 2664339.3025 | 1213453.184 | 2664347.6038 | 1213455.8851
42 | 2664345.7416 | 1213452.7405 | 2664369.3922 | 1213460.2848
43 | 2664443.5657 | 1213483.9453 | 2664418.6616 | 1213476.0011
44 | 2664482.7445 | 1213403.2575 | 2664479.1003 | 1213415.7181
45 | 2664370.0862 | 1213607.6448 | 2664373.8665 | 1213596.058
46 | 2664570.9568 | 1213433.2648 | 2664529.086 | 1213419.0215
47 | 2664482.7445 | 1213403.2575 | 2664529.086 | 1213419.0215
48 | 2664447.9577 | 1213391.8181 | 2664422.8143 | 1213383.5499
49 | 2664482.7445 | 1213403.2575 | 2664447.9577 | 1213391.8181
50 | 2664482.7445 | 1213403.2575 | 2664490.2507 | 1213380.8902
51 | 2664418.6616 | 1213476.0011 | 2664393.879 | 1213468.0958
52 | 2664369.3922 | 1213460.2848 | 2664393.879 | 1213468.0958
53 | 2664490.2507 | 1213380.8902 | 2664500.6213 | 1213349.987
54 | 2664508.797 | 1213325.6246 | 2664500.6213 | 1213349.987
55 | 2664493.0131 | 1213321.9628 | 2664508.797 | 1213325.6246
56 | 2664458.1627 | 1213354.5888 | 2664463.3853 | 1213356.0644
57 | 2664454.9536 | 1213353.6821 | 2664458.1627 | 1213354.5888
58 | 2664493.0131 | 1213321.9628 | 2664481.0588 | 1213361.0577 | 2664463.3853 | 1213356.0644

## bus_geodata
| x | y | coords
0 | 2664322.2995 | 1213361.0032
1 | 2664332.8452 | 1213353.9643
2 | 2664330.2343 | 1213359.3839
3 | 2664357.8105 | 1213362.1739
4 | 2664365.3861 | 1213332.8996
5 | 2664274.4292 | 1213429.9926
6 | 2664273.5012 | 1213432.9289
7 | 2664315.5757 | 1213443.1179
8 | 2664350.5709 | 1213650.6498
9 | 2664336.8782 | 1213640.518
10 | 2664431.5611 | 1213562.0137
11 | 2664246.1705 | 1213491.3483
12 | 2664269.8973 | 1213501.5394
13 | 2664299.1356 | 1213519.1584
14 | 2664338.4509 | 1213531.8819
15 | 2664288.1834 | 1213552.6309
16 | 2664436.9717 | 1213556.1907
17 | 2664441.7186 | 1213540.774
18 | 2664457.8185 | 1213488.4852
19 | 2664446.9022 | 1213485.0096
20 | 2664452.1006 | 1213507.0558
21 | 2664474.9612 | 1213429.8705
22 | 2664392.4179 | 1213549.361
23 | 2664389.4203 | 1213548.3836
24 | 2664400.5765 | 1213551.9982
25 | 2664348.7481 | 1213535.2143
26 | 2664379.178 | 1213579.7775
27 | 2664335.2627 | 1213578.752
28 | 2664401.4625 | 1213307.676
29 | 2664336.8238 | 1213283.7416
30 | 2664573.9226 | 1213337.4587
31 | 2664391.4162 | 1213314.7001
32 | 2664271.9582 | 1213317.7235
33 | 2664628.5069 | 1213379.1088
34 | 2664319.7254 | 1213388.0039
35 | 2664374.2715 | 1213367.587
36 | 2664289.6408 | 1213437.257
37 | 2664345.7416 | 1213452.7405
38 | 2664443.5657 | 1213483.9453
39 | 2664479.1003 | 1213415.7181
40 | 2664373.8665 | 1213596.058
41 | 2664570.9568 | 1213433.2648
42 | 2664529.086 | 1213419.0215
43 | 2664333.378 | 1213584.6835
44 | 2664316.639 | 1213397.5288
45 | 2664422.8143 | 1213383.5499
46 | 2664347.6038 | 1213455.8851
47 | 2664447.9577 | 1213391.8181
48 | 2664482.7445 | 1213403.2575
49 | 2664393.879 | 1213468.0958
50 | 2664418.6616 | 1213476.0011
51 | 2664369.3922 | 1213460.2848
52 | 2664490.2507 | 1213380.8902
53 | 2664500.6213 | 1213349.987
54 | 2664508.797 | 1213325.6246
55 | 2664370.0862 | 1213607.6448
56 | 2664458.1627 | 1213354.5888
57 | 2664463.3853 | 1213356.0644
58 | 2664454.9536 | 1213353.6821
59 | 2664493.0131 | 1213321.9628
60 | 2664446.9022 | 1213485.0096

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98447 | -0.29876 | 0.00098588 | 0.00024708
1 | 0.98448 | -0.29854 | 0 | 0
2 | 0.98446 | -0.29885 | 0 | 0
3 | 0.98502 | -0.28791 | 0.0011303 | 0.00028328
4 | 0.98381 | -0.31151 | 0.0042755 | 0.0010715
5 | 0.981 | -0.36242 | 0 | 0
6 | 0.98062 | -0.36988 | 0 | 0
7 | 0.98638 | -0.25828 | 0.00048674 | 0.00012199
8 | 0.98833 | -0.22391 | 0 | 0
9 | 0.98829 | -0.22478 | 0.0028676 | 0.0007187
10 | 0.98879 | -0.215 | 0 | 0
11 | 0.97486 | -0.48247 | 0 | 0
12 | 0.97259 | -0.52711 | 0.092099 | 0.023082
13 | 0.98467 | -0.29518 | 0 | 0
14 | 0.98486 | -0.29145 | 0.0060226 | 0.0015094
15 | 0.9845 | -0.29835 | 0.0050157 | 0.0012571
16 | 0.98938 | -0.20364 | 0 | 0
17 | 0.99027 | -0.1864 | 0.048679 | 0.0122
18 | 0.99517 | -0.091966 | 0 | 0
19 | 0.9965 | -0.066475 | 0 | 0
20 | 0.99379 | -0.11843 | 0.045819 | 0.011483
21 | 0.99093 | -0.17335 | 0.0019315 | 0.00048409
22 | 0.98666 | -0.25642 | 0 | 0
23 | 0.9865 | -0.25941 | 0 | 0
24 | 0.98707 | -0.24827 | 0.0041385 | 0.0010372
25 | 0.98497 | -0.2893 | 0 | 0
26 | 0.98607 | -0.26775 | 0.0061125 | 0.0015319
27 | 0.98379 | -0.31221 | 0.0097716 | 0.002449
28 | 0.9833 | -0.32157 | 0 | 0
29 | 0.98281 | -0.33116 | 0 | 0
30 | 0.98277 | -0.33192 | 0 | 0
31 | 0.9834 | -0.3197 | 0.0058642 | 0.0014697
32 | 0.98244 | -0.33832 | 0.0054076 | 0.0013553
33 | 0.98258 | -0.33569 | 0.0030291 | 0.00075917
34 | 0.98438 | -0.30046 | 0.0027746 | 0.00069538
35 | 0.9854 | -0.28055 | 0.00062883 | 0.0001576
36 | 0.97997 | -0.38257 | 0.028302 | 0.0070932
37 | 0.99034 | -0.18239 | 0.00049452 | 0.00012394
38 | 0.99691 | -0.058676 | 0.0043557 | 0.0010916
39 | 0.98992 | -0.19294 | 0.0031059 | 0.0007784
40 | 0.98595 | -0.27019 | 0.0058635 | 0.0014695
41 | 0.98445 | -0.29913 | 0.0043724 | 0.0010958
42 | 0.98463 | -0.29566 | 0.083644 | 0.020963
43 | 0.98369 | -0.31424 | 0.018168 | 0.0045532
44 | 0.98438 | -0.30048 | 0.00014582 | 3.6546e-05
45 | 0.98654 | -0.25833 | 0.0054878 | 0.0013754
46 | 0.97921 | -0.39744 | 0.013449 | 0.0033706
47 | 0.98727 | -0.24423 | 0.0095849 | 0.0024022
48 | 0.98859 | -0.21851 | 0 | 0
49 | 0.9967 | -0.061831 | 0.00052705 | 0.00013209
50 | 1 | 0 | -0.53053 | -0.13559
51 | 0.99346 | -0.12309 | 0.00055657 | 0.00013949
52 | 0.98656 | -0.25806 | 0.038828 | 0.0097311
53 | 0.98491 | -0.29021 | 0.039799 | 0.0099747
54 | 0.98455 | -0.29722 | 0 | 0
55 | 0.98592 | -0.27066 | 0.0021134 | 0.00052966
56 | 0.98343 | -0.31911 | 0.0053649 | 0.0013446
57 | 0.98349 | -0.31782 | 0.002032 | 0.00050928
58 | 0.9834 | -0.31958 | 0.0077799 | 0.0019498
59 | 0.98432 | -0.30163 | 0 | 0
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00098588 | -0.00024708 | 0.00098589 | 0.00024693 | 1.0558e-08 | -1.5446e-07 | 0.0014902 | 0.0014901 | 0.0014902 | 0.98447 | -0.29876 | 0.98448 | -0.29854 | 0.40938
1 | 0.0029207 | 0.0007315 | -0.0029206 | -0.00073155 | 4.3947e-08 | -4.8342e-08 | 0.0044143 | 0.0044144 | 0.0044144 | 0.98448 | -0.29854 | 0.98446 | -0.29885 | 1.2127
2 | -0.022507 | -0.0056431 | 0.022519 | 0.0056501 | 1.1406e-05 | 6.9654e-06 | 0.03402 | 0.03402 | 0.03402 | 0.98448 | -0.29854 | 0.98502 | -0.28791 | 9.3461
3 | 0.018601 | 0.0046647 | -0.018589 | -0.0046578 | 1.1492e-05 | 6.862e-06 | 0.028115 | 0.028116 | 0.028116 | 0.98448 | -0.29854 | 0.98381 | -0.31151 | 7.724
4 | 0.0029206 | 0.00073155 | -0.0029204 | -0.00073179 | 2.2322e-07 | -2.4549e-07 | 0.0044144 | 0.0044145 | 0.0044145 | 0.98446 | -0.29885 | 0.98438 | -0.30046 | 1.2128
5 | -0.023649 | -0.0059333 | 0.023657 | 0.0059384 | 8.2943e-06 | 5.0877e-06 | 0.035727 | 0.035727 | 0.035727 | 0.98502 | -0.28791 | 0.9854 | -0.28055 | 9.8151
6 | 0.014314 | 0.0035863 | -0.014308 | -0.0035831 | 5.5822e-06 | 3.1694e-06 | 0.021649 | 0.021649 | 0.021649 | 0.98381 | -0.31151 | 0.9834 | -0.3197 | 5.9475
7 | 0.13463 | 0.034042 | -0.13458 | -0.034011 | 4.8201e-05 | 3.081e-05 | 0.20432 | 0.20432 | 0.20432 | 0.981 | -0.36242 | 0.98062 | -0.36988 | 56.1313
8 | -0.13463 | -0.034042 | 0.1353 | 0.034474 | 0.00067611 | 0.00043216 | 0.20432 | 0.20432 | 0.20432 | 0.981 | -0.36242 | 0.98638 | -0.25828 | 56.1313
9 | 0.041786 | 0.010485 | -0.041761 | -0.010469 | 2.5262e-05 | 1.5956e-05 | 0.063412 | 0.063412 | 0.063412 | 0.98062 | -0.36988 | 0.97997 | -0.38257 | 17.4208
10 | 0.092795 | 0.023526 | -0.092295 | -0.023208 | 0.0004992 | 0.00031865 | 0.14091 | 0.14091 | 0.14091 | 0.98062 | -0.36988 | 0.97486 | -0.48247 | 38.7106
11 | -0.13579 | -0.034596 | 0.13629 | 0.034915 | 0.00049925 | 0.00031911 | 0.20505 | 0.20505 | 0.20505 | 0.98638 | -0.25828 | 0.99034 | -0.18239 | 56.333
12 | 0.0028678 | 0.00071856 | -0.0028676 | -0.0007187 | 1.1888e-07 | -1.4183e-07 | 0.0043176 | 0.0043177 | 0.0043177 | 0.98833 | -0.22391 | 0.98829 | -0.22478 | 1.1862
13 | -0.0028678 | -0.00071856 | 0.002869 | 0.00071711 | 1.216e-06 | -1.4523e-06 | 0.0043176 | 0.0043168 | 0.0043176 | 0.98833 | -0.22391 | 0.98879 | -0.215 | 1.1862
14 | 0.057422 | 0.014472 | -0.057331 | -0.014414 | 9.1246e-05 | 5.7981e-05 | 0.086443 | 0.086443 | 0.086443 | 0.98879 | -0.215 | 0.98707 | -0.24827 | 23.748
15 | -0.060291 | -0.015189 | 0.060324 | 0.01521 | 3.2788e-05 | 2.0848e-05 | 0.09076 | 0.090759 | 0.09076 | 0.98879 | -0.215 | 0.98938 | -0.20364 | 24.9339
16 | 0.092295 | 0.023208 | -0.092099 | -0.023082 | 0.00019632 | 0.00012532 | 0.14091 | 0.14091 | 0.14091 | 0.97486 | -0.48247 | 0.97259 | -0.52711 | 38.7106
17 | -0.0050165 | -0.0012571 | 0.0050174 | 0.0012571 | 8.9052e-07 | 4.4203e-08 | 0.0075808 | 0.0075806 | 0.0075808 | 0.98467 | -0.29518 | 0.98486 | -0.29145 | 2.0826
18 | 0.0050165 | 0.0012571 | -0.0050157 | -0.0012571 | 7.5901e-07 | 3.7857e-08 | 0.0075808 | 0.007581 | 0.007581 | 0.98467 | -0.29518 | 0.9845 | -0.29835 | 2.0827
19 | -0.01104 | -0.0027666 | 0.011041 | 0.0027671 | 1.1292e-06 | 5.8497e-07 | 0.01668 | 0.01668 | 0.01668 | 0.98486 | -0.29145 | 0.98497 | -0.2893 | 4.5825
20 | -0.060324 | -0.01521 | 0.060374 | 0.015242 | 4.9828e-05 | 3.1683e-05 | 0.090759 | 0.090759 | 0.090759 | 0.98938 | -0.20364 | 0.99027 | -0.1864 | 24.9339
21 | -0.10905 | -0.027442 | 0.10941 | 0.027669 | 0.00035543 | 0.00022702 | 0.16391 | 0.16391 | 0.16391 | 0.99027 | -0.1864 | 0.99379 | -0.11843 | 45.0292
22 | -0.38372 | -0.097303 | 0.38419 | 0.097604 | 0.00047082 | 0.00030088 | 0.57415 | 0.57415 | 0.57415 | 0.99517 | -0.091966 | 0.9965 | -0.066475 | 52.5779
23 | 0.15542 | 0.039278 | -0.15523 | -0.039152 | 0.00019696 | 0.00012555 | 0.23251 | 0.23251 | 0.23251 | 0.99517 | -0.091966 | 0.99379 | -0.11843 | 31.9383
24 | 0.22829 | 0.058026 | -0.2274 | -0.057458 | 0.000891 | 0.00056787 | 0.34164 | 0.34164 | 0.34164 | 0.99517 | -0.091966 | 0.99093 | -0.17335 | 31.2858
25 | -0.38419 | -0.097604 | 0.38433 | 0.097697 | 0.00014431 | 9.2223e-05 | 0.57415 | 0.57415 | 0.57415 | 0.9965 | -0.066475 | 0.99691 | -0.058676 | 52.5779
26 | 0.22547 | 0.056974 | -0.22526 | -0.056839 | 0.00021149 | 0.00013479 | 0.33874 | 0.33874 | 0.33874 | 0.99093 | -0.17335 | 0.98992 | -0.19294 | 31.0202
27 | 0.053172 | 0.013364 | -0.053164 | -0.013359 | 7.5866e-06 | 4.8152e-06 | 0.080204 | 0.080204 | 0.080204 | 0.98666 | -0.25642 | 0.9865 | -0.25941 | 22.0341
28 | -0.053172 | -0.013364 | 0.053193 | 0.013377 | 2.0683e-05 | 1.3128e-05 | 0.080204 | 0.080204 | 0.080204 | 0.98666 | -0.25642 | 0.98707 | -0.24827 | 22.0341
29 | 0.039068 | 0.0098245 | -0.039013 | -0.0097894 | 5.5696e-05 | 3.51e-05 | 0.058941 | 0.058942 | 0.058942 | 0.9865 | -0.25941 | 0.98497 | -0.2893 | 16.1928
30 | 0.014096 | 0.0035346 | -0.01409 | -0.0035314 | 5.5986e-06 | 3.1617e-06 | 0.021263 | 0.021263 | 0.021263 | 0.9865 | -0.25941 | 0.98607 | -0.26775 | 5.8415
31 | 0.027971 | 0.0070222 | -0.027941 | -0.0070033 | 3.0527e-05 | 1.8958e-05 | 0.042262 | 0.042262 | 0.042262 | 0.98497 | -0.2893 | 0.98379 | -0.31221 | 11.6104
32 | 0.0079779 | 0.0019995 | -0.007977 | -0.0019991 | 9.3076e-07 | 3.7726e-07 | 0.012039 | 0.012039 | 0.012039 | 0.98607 | -0.26775 | 0.98595 | -0.27019 | 3.3074
33 | 0.018169 | 0.0045543 | -0.018168 | -0.0045532 | 1.7627e-06 | 1.0491e-06 | 0.027482 | 0.027482 | 0.027482 | 0.98379 | -0.31221 | 0.98369 | -0.31424 | 7.55
34 | 0.0054119 | 0.0013559 | -0.0054094 | -0.0013555 | 2.4718e-06 | 3.3599e-07 | 0.0081896 | 0.00819 | 0.00819 | 0.9833 | -0.32157 | 0.98281 | -0.33116 | 2.25
35 | 0.0030312 | 0.0007572 | -0.0030297 | -0.00075864 | 1.4919e-06 | -1.4428e-06 | 0.0045861 | 0.004587 | 0.004587 | 0.9833 | -0.32157 | 0.98277 | -0.33192 | 1.2602
36 | -0.008443 | -0.0021131 | 0.0084438 | 0.0021134 | 7.5029e-07 | 3.2468e-07 | 0.012776 | 0.012776 | 0.012776 | 0.9833 | -0.32157 | 0.9834 | -0.3197 | 3.5098
37 | 0.0054094 | 0.0013555 | -0.0054076 | -0.0013553 | 1.8453e-06 | 2.5173e-07 | 0.00819 | 0.0081903 | 0.0081903 | 0.98281 | -0.33116 | 0.98244 | -0.33832 | 2.2501
38 | 0.0030297 | 0.00075864 | -0.0030291 | -0.00075917 | 5.449e-07 | -5.2611e-07 | 0.004587 | 0.0045873 | 0.0045873 | 0.98277 | -0.33192 | 0.98258 | -0.33569 | 1.2602
39 | 0.00014582 | 3.6418e-05 | -0.00014582 | -3.6546e-05 | 1.8239e-10 | -1.2717e-07 | 0.00022038 | 0.00022042 | 0.00022042 | 0.98438 | -0.30046 | 0.98438 | -0.30048 | 0.060556
40 | -0.024286 | -0.006096 | 0.024312 | 0.0061119 | 2.5777e-05 | 1.5845e-05 | 0.036677 | 0.036676 | 0.036677 | 0.9854 | -0.28055 | 0.98654 | -0.25833 | 10.076
41 | 0.013458 | 0.0033759 | -0.013449 | -0.0033706 | 9.5358e-06 | 5.3364e-06 | 0.020437 | 0.020437 | 0.020437 | 0.97997 | -0.38257 | 0.97921 | -0.39744 | 5.6146
42 | -0.13679 | -0.035039 | 0.13718 | 0.035291 | 0.00039426 | 0.00025201 | 0.20579 | 0.20579 | 0.20579 | 0.99034 | -0.18239 | 0.99346 | -0.12309 | 56.537
43 | -0.38869 | -0.098788 | 0.38979 | 0.099492 | 0.0011017 | 0.00070405 | 0.58065 | 0.58065 | 0.58065 | 0.99691 | -0.058676 | 1 | 0 | 53.1732
44 | 0.22215 | 0.056061 | -0.22188 | -0.055887 | 0.00027167 | 0.00017354 | 0.33407 | 0.33407 | 0.33407 | 0.98992 | -0.19294 | 0.98859 | -0.21851 | 45.8891
45 | 0.0021134 | 0.00052954 | -0.0021134 | -0.00052966 | 4.6499e-08 | -1.2567e-07 | 0.0031896 | 0.0031897 | 0.0031897 | 0.98595 | -0.27019 | 0.98592 | -0.27066 | 0.87628
46 | -0.0043724 | -0.0010958 | 0.0043731 | 0.0010957 | 7.2439e-07 | -9.8811e-08 | 0.006609 | 0.0066088 | 0.006609 | 0.98445 | -0.29913 | 0.98463 | -0.29566 | 1.8157
47 | -0.088017 | -0.022059 | 0.088342 | 0.022266 | 0.00032478 | 0.00020723 | 0.13302 | 0.13302 | 0.13302 | 0.98463 | -0.29566 | 0.98859 | -0.21851 | 36.5429
48 | -0.029799 | -0.0074872 | 0.02982 | 0.0074997 | 2.0058e-05 | 1.2499e-05 | 0.044954 | 0.044954 | 0.044954 | 0.98654 | -0.25833 | 0.98727 | -0.24423 | 12.3499
49 | -0.039404 | -0.0099019 | 0.039453 | 0.0099325 | 4.8452e-05 | 3.0541e-05 | 0.0594 | 0.0594 | 0.0594 | 0.98727 | -0.24423 | 0.98859 | -0.21851 | 16.3187
50 | 0.094087 | 0.023688 | -0.093909 | -0.023575 | 0.00017754 | 0.00011332 | 0.14166 | 0.14166 | 0.14166 | 0.98859 | -0.21851 | 0.98656 | -0.25806 | 38.9167
51 | -0.13867 | -0.035826 | 0.13909 | 0.036094 | 0.00041966 | 0.00026824 | 0.20742 | 0.20741 | 0.20742 | 0.9967 | -0.061831 | 1 | 0 | 56.9822
52 | 0.13815 | 0.035694 | -0.13774 | -0.035431 | 0.00041151 | 0.00026304 | 0.20663 | 0.20663 | 0.20663 | 0.9967 | -0.061831 | 0.99346 | -0.12309 | 56.766
53 | 0.055082 | 0.013844 | -0.054997 | -0.01379 | 8.44e-05 | 5.36e-05 | 0.083093 | 0.083093 | 0.083093 | 0.98656 | -0.25806 | 0.98491 | -0.29021 | 22.8279
54 | 0.015198 | 0.0038157 | -0.015193 | -0.0038128 | 5.0817e-06 | 2.9254e-06 | 0.022964 | 0.022964 | 0.022964 | 0.98491 | -0.29021 | 0.98455 | -0.29722 | 6.3087
55 | 0.015193 | 0.0038128 | -0.01519 | -0.0038109 | 3.1953e-06 | 1.8395e-06 | 0.022964 | 0.022964 | 0.022964 | 0.98455 | -0.29722 | 0.98432 | -0.30163 | 6.3087
56 | -0.013145 | -0.0032945 | 0.013146 | 0.0032949 | 8.051e-07 | 4.464e-07 | 0.01989 | 0.01989 | 0.01989 | 0.98343 | -0.31911 | 0.98349 | -0.31782 | 5.4642
57 | 0.0077801 | 0.0019499 | -0.0077799 | -0.0019498 | 1.733e-07 | 6.8602e-08 | 0.011772 | 0.011772 | 0.011772 | 0.98343 | -0.31911 | 0.9834 | -0.31958 | 3.2341
58 | -0.015178 | -0.0038042 | 0.01519 | 0.0038109 | 1.1716e-05 | 6.746e-06 | 0.022964 | 0.022964 | 0.022964 | 0.98349 | -0.31782 | 0.98432 | -0.30163 | 6.3088

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53505 | 0.13672

## res_load
| p_mw | q_mvar
0 | 0.00098588 | 0.00024708
1 | 0.0011303 | 0.00028328
2 | 0.0042755 | 0.0010715
3 | 0.00048674 | 0.00012199
4 | 0.0028676 | 0.0007187
5 | 0.092099 | 0.023082
6 | 0.0060226 | 0.0015094
7 | 0.0050157 | 0.0012571
8 | 0.048679 | 0.0122
9 | 0.045819 | 0.011483
10 | 0.0019315 | 0.00048409
11 | 0.0041385 | 0.0010372
12 | 0.0061125 | 0.0015319
13 | 0.0097716 | 0.002449
14 | 0.0058642 | 0.0014697
15 | 0.0054076 | 0.0013553
16 | 0.0030291 | 0.00075917
17 | 0.0027746 | 0.00069538
18 | 0.00062883 | 0.0001576
19 | 0.028302 | 0.0070932
20 | 0.00049452 | 0.00012394
21 | 0.0043557 | 0.0010916
22 | 0.0031059 | 0.0007784
23 | 0.0058635 | 0.0014695
24 | 0.0043724 | 0.0010958
25 | 0.083644 | 0.020963
26 | 0.018168 | 0.0045532
27 | 0.00014582 | 3.6546e-05
28 | 0.0054878 | 0.0013754
29 | 0.013449 | 0.0033706
30 | 0.0095849 | 0.0024022
31 | 0.00052705 | 0.00013209
32 | 0.0045206 | 0.001133
33 | 0.00055657 | 0.00013949
34 | 0.038828 | 0.0097311
35 | 0.039799 | 0.0099747
36 | 0.0021134 | 0.00052966
37 | 0.0053649 | 0.0013446
38 | 0.002032 | 0.00050928
39 | 0.0077799 | 0.0019498

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1