## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1040-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1040-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1040-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1040-14_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1040-14_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1040-14_0_5_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_1040-14_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1040-14_0_5_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_1040-14_0_5_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_1040-14_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1040-14_0_5_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_1040-14_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1040-14_0_5_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1040-14_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1040-14_0_5_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_1040-14_0_5_node_102 | 0.4 | n |  | TRUE
16 | bus_LV_1040-14_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1040-14_0_5_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_1040-14_0_5_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_1040-14_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1040-14_0_5_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_1040-14_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1040-14_0_5_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1040-14_0_5_node_104 | 0.4 | n |  | TRUE
24 | bus_LV_1040-14_0_5_node_89 | 0.4 | n |  | TRUE
25 | bus_LV_1040-14_0_5_node_105 | 0.4 | n |  | TRUE
26 | bus_LV_1040-14_0_5_node_107 | 0.4 | n |  | TRUE
27 | bus_LV_1040-14_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1040-14_0_5_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_1040-14_0_5_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_1040-14_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1040-14_0_5_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_1040-14_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1040-14_0_5_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_1040-14_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1040-14_0_5_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_1040-14_0_5_node_99 | 0.4 | n |  | TRUE
37 | bus_LV_1040-14_0_5_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_1040-14_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1040-14_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1040-14_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1040-14_0_5_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_1040-14_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1040-14_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1040-14_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1040-14_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1040-14_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_1040-14_0_5_node_106 | 0.4 | n |  | TRUE
48 | bus_LV_1040-14_0_5_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_1040-14_0_5_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1040-14_0_5_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_1040-14_0_5_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_1040-14_0_5_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_1040-14_0_5_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1040-14_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_1040-14_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_1040-14_0_5_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_1040-14_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_1040-14_0_5_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_1040-14_0_5_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_1040-14_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_1040-14_0_5_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_1040-14_0_5_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_1040-14_0_5_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_1040-14_0_5_node_96 | 0.4 | n |  | TRUE
65 | bus_LV_1040-14_0_5_node_98 | 0.4 | n |  | TRUE
66 | bus_LV_1040-14_0_5_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_1040-14_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_1040-14_0_5_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_1040-14_0_5_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_1040-14_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_1040-14_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_1040-14_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_1040-14_0_5_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_1040-14_0_5_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_1040-14_0_5_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_1040-14_0_5_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_1040-14_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_1040-14_0_5_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_1040-14_0_5_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_1040-14_0_5_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_1040-14_0_5_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_1040-14_0_5_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_1040-14_0_5_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_1040-14_0_5_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_1040-14_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_1040-14_0_5_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_1040-14_0_5_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_1040-14_0_5_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_1040-14_0_5_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_1040-14_0_5_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_1040-14_0_5_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_1040-14_0_5_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_1040-14_0_5_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_1040-14_0_5_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_1040-14_0_5_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_1040-14_0_5_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_1040-14_0_5_node_100 | 0.4 | n |  | TRUE
98 | bus_MV_214_1_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1040-14_0_5_load_0 | 0 | 0.0157 | 0.0039347 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1040-14_0_5_load_4 | 3 | 0.015571 | 0.0039025 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1040-14_0_5_load_73 | 7 | 0.0012364 | 0.00030987 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1040-14_0_5_load_46 | 8 | 0.013401 | 0.0033586 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1040-14_0_5_load_45 | 10 | 0.037421 | 0.0093786 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1040-14_0_5_load_87 | 14 | 0.0040573 | 0.0010169 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1040-14_0_5_load_102 | 15 | 0.022991 | 0.0057621 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1040-14_0_5_load_40 | 18 | 0.016145 | 0.0040464 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1040-14_0_5_load_104 | 23 | 0.039685 | 0.0099459 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1040-14_0_5_load_105 | 25 | 0.0022313 | 0.00055921 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1040-14_0_5_load_107 | 26 | 0.0096456 | 0.0024174 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1040-14_0_5_load_50 | 28 | 0.0039976 | 0.0010019 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1040-14_0_5_load_49 | 29 | 0.015962 | 0.0040004 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1040-14_0_5_load_83 | 31 | 0.011256 | 0.0028211 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1040-14_0_5_load_86 | 33 | 0.0054264 | 0.00136 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1040-14_0_5_load_85 | 35 | 0.0056888 | 0.0014257 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1040-14_0_5_load_99 | 36 | 0.0019678 | 0.00049319 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1040-14_0_5_load_27 | 38 | 0.016756 | 0.0041996 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1040-14_0_5_load_103 | 41 | 0.0060849 | 0.001525 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1040-14_0_5_load_34 | 42 | 0.011649 | 0.0029196 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1040-14_0_5_load_31 | 43 | 0.0030397 | 0.00076182 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1040-14_0_5_load_37 | 46 | 0.016419 | 0.0041149 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1040-14_0_5_load_106 | 47 | 0.006903 | 0.00173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1040-14_0_5_load_57 | 50 | 0.0034492 | 0.00086444 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1040-14_0_5_load_63 | 51 | 0.0035143 | 0.00088076 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1040-14_0_5_load_56 | 52 | 0.0032571 | 0.0008163 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1040-14_0_5_load_51 | 53 | 0.025481 | 0.0063861 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1040-14_0_5_load_42 | 55 | 0.0061727 | 0.001547 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1040-14_0_5_load_41 | 56 | 0.0063006 | 0.0015791 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1040-14_0_5_load_35 | 57 | 0.01703 | 0.0042682 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1040-14_0_5_load_78 | 58 | 0.024193 | 0.0060634 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1040-14_0_5_load_48 | 60 | 0.02252 | 0.0056441 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1040-14_0_5_load_82 | 62 | 0.0051774 | 0.0012976 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1040-14_0_5_load_81 | 63 | 0.010867 | 0.0027235 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1040-14_0_5_load_96 | 64 | 0.0022076 | 0.00055327 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1040-14_0_5_load_98 | 65 | 0.0019126 | 0.00047934 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1040-14_0_5_load_93 | 66 | 0.0028044 | 0.00070286 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1040-14_0_5_load_43 | 67 | 0.025057 | 0.00628 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1040-14_0_5_load_64 | 70 | 0.0036298 | 0.00090971 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1040-14_0_5_load_65 | 71 | 0.003375 | 0.00084586 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1040-14_0_5_load_66 | 72 | 0.0028358 | 0.00071073 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1040-14_0_5_load_52 | 73 | 0.0031381 | 0.00078647 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1040-14_0_5_load_53 | 74 | 0.0033198 | 0.00083202 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1040-14_0_5_load_54 | 75 | 0.0032953 | 0.00082589 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1040-14_0_5_load_55 | 76 | 0.0033132 | 0.00083038 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1040-14_0_5_load_62 | 78 | 0.0031882 | 0.00079905 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1040-14_0_5_load_58 | 79 | 0.0029449 | 0.00073806 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1040-14_0_5_load_75 | 80 | 0.003125 | 0.00078319 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1040-14_0_5_load_76 | 81 | 0.0033956 | 0.00085102 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1040-14_0_5_load_67 | 82 | 0.0028898 | 0.00072425 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1040-14_0_5_load_84 | 83 | 0.0032818 | 0.0008225 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1040-14_0_5_load_68 | 84 | 0.0035565 | 0.00089135 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1040-14_0_5_load_69 | 85 | 0.00039681 | 9.9449e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1040-14_0_5_load_70 | 86 | 0.0031436 | 0.00078786 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1040-14_0_5_load_71 | 87 | 0.00041902 | 0.00010502 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1040-14_0_5_load_77 | 89 | 0.0032684 | 0.00081913 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1040-14_0_5_load_88 | 90 | 0.0034823 | 0.00087274 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1040-14_0_5_load_80 | 91 | 0.0048951 | 0.0012268 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1040-14_0_5_load_90 | 92 | 0.0017985 | 0.00045074 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1040-14_0_5_load_92 | 94 | 0.0021169 | 0.00053054 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1040-14_0_5_load_94 | 95 | 0.0029939 | 0.00075035 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1040-14_0_5_load_95 | 96 | 0.0078806 | 0.0019751 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1040-14_0_5_load_100 | 97 | 0.0050969 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1040-14_0_5_line_0 |  | 0 | 1 | 0.018295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1040-14_0_5_line_1 |  | 0 | 2 | 0.01896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1040-14_0_5_line_2 |  | 1 | 3 | 0.017766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1040-14_0_5_line_3 |  | 2 | 4 | 0.004843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1040-14_0_5_line_4 |  | 3 | 5 | 0.017269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1040-14_0_5_line_5 |  | 4 | 6 | 0.062285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1040-14_0_5_line_6 |  | 4 | 7 | 0.013097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1040-14_0_5_line_7 |  | 5 | 18 | 0.018159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1040-14_0_5_line_8 |  | 5 | 40 | 0.03118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1040-14_0_5_line_9 |  | 6 | 8 | 0.021636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1040-14_0_5_line_10 |  | 6 | 9 | 0.031692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1040-14_0_5_line_11 |  | 6 | 10 | 0.021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1040-14_0_5_line_12 |  | 7 | 19 | 0.035987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1040-14_0_5_line_13 |  | 9 | 15 | 0.0048089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1040-14_0_5_line_14 |  | 10 | 22 | 0.0039728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1040-14_0_5_line_15 |  | 11 | 12 | 0.039786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1040-14_0_5_line_16 |  | 11 | 13 | 0.067959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1040-14_0_5_line_17 |  | 11 | 14 | 0.021582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1040-14_0_5_line_18 |  | 12 | 26 | 0.015129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1040-14_0_5_line_19 |  | 13 | 20 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1040-14_0_5_line_20 |  | 13 | 24 | 0.022352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1040-14_0_5_line_21 |  | 13 | 25 | 0.042613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1040-14_0_5_line_22 |  | 14 | 30 | 0.047486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1040-14_0_5_line_23 |  | 15 | 41 | 0.015461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1040-14_0_5_line_24 |  | 16 | 17 | 0.010655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1040-14_0_5_line_25 |  | 16 | 18 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1040-14_0_5_line_26 |  | 17 | 42 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1040-14_0_5_line_27 |  | 17 | 43 | 0.011093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1040-14_0_5_line_28 |  | 19 | 20 | 0.026157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1040-14_0_5_line_29 |  | 20 | 47 | 0.016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1040-14_0_5_line_30 |  | 21 | 22 | 0.031439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1040-14_0_5_line_31 |  | 21 | 23 | 0.025727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1040-14_0_5_line_32 |  | 24 | 33 | 0.0051296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1040-14_0_5_line_33 |  | 27 | 28 | 0.0073445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1040-14_0_5_line_34 |  | 27 | 29 | 0.02978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1040-14_0_5_line_35 |  | 28 | 60 | 0.018445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1040-14_0_5_line_36 |  | 29 | 61 | 0.0061987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1040-14_0_5_line_37 |  | 30 | 31 | 0.048399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1040-14_0_5_line_38 |  | 31 | 62 | 0.037252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1040-14_0_5_line_39 |  | 32 | 33 | 0.023662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1040-14_0_5_line_40 |  | 32 | 34 | 0.13602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1040-14_0_5_line_41 |  | 32 | 35 | 0.044077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1040-14_0_5_line_42 |  | 34 | 36 | 0.027125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1040-14_0_5_line_43 |  | 34 | 37 | 0.004473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1040-14_0_5_line_44 |  | 36 | 65 | 0.0025098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1040-14_0_5_line_45 |  | 37 | 66 | 0.0072562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1040-14_0_5_line_46 |  | 38 | 39 | 0.018844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1040-14_0_5_line_47 |  | 39 | 40 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1040-14_0_5_line_48 |  | 40 | 46 | 0.00026268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1040-14_0_5_line_49 |  | 44 | 45 | 0.02013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1040-14_0_5_line_50 |  | 44 | 46 | 0.034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1040-14_0_5_line_51 |  | 45 | 53 | 0.022372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1040-14_0_5_line_52 |  | 45 | 54 | 0.022413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1040-14_0_5_line_53 |  | 48 | 49 | 0.084818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1040-14_0_5_line_54 |  | 48 | 50 | 0.02619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1040-14_0_5_line_55 |  | 49 | 64 | 0.050876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1040-14_0_5_line_56 |  | 50 | 79 | 0.00072573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1040-14_0_5_line_57 |  | 51 | 52 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1040-14_0_5_line_58 |  | 52 | 70 | 0.010019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1040-14_0_5_line_59 |  | 52 | 75 | 0.006811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1040-14_0_5_line_60 |  | 53 | 61 | 0.033184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1040-14_0_5_line_61 |  | 54 | 57 | 0.033396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1040-14_0_5_line_62 |  | 55 | 56 | 0.0085382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1040-14_0_5_line_63 |  | 56 | 67 | 0.031614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1040-14_0_5_line_64 |  | 58 | 59 | 0.024116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1040-14_0_5_line_65 |  | 59 | 91 | 0.025594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1040-14_0_5_line_66 |  | 60 | 68 | 0.0075589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1040-14_0_5_line_67 |  | 62 | 63 | 0.00019082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1040-14_0_5_line_68 |  | 65 | 97 | 0.0068313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1040-14_0_5_line_69 |  | 66 | 93 | 0.040375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1040-14_0_5_line_70 |  | 67 | 68 | 0.022593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1040-14_0_5_line_71 |  | 68 | 69 | 0.026113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1040-14_0_5_line_72 |  | 69 | 70 | 0.0085941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1040-14_0_5_line_73 |  | 69 | 71 | 0.0091901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1040-14_0_5_line_74 |  | 71 | 72 | 0.012391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1040-14_0_5_line_75 |  | 72 | 82 | 0.0067594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1040-14_0_5_line_76 |  | 73 | 74 | 0.0064063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1040-14_0_5_line_77 |  | 73 | 75 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1040-14_0_5_line_78 |  | 74 | 76 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1040-14_0_5_line_79 |  | 76 | 77 | 0.01315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1040-14_0_5_line_80 |  | 77 | 78 | 0.010012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1040-14_0_5_line_81 |  | 77 | 79 | 0.0080208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1040-14_0_5_line_82 |  | 78 | 80 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1040-14_0_5_line_83 |  | 80 | 81 | 0.0057954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1040-14_0_5_line_84 |  | 81 | 89 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1040-14_0_5_line_85 |  | 82 | 83 | 0.0071267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1040-14_0_5_line_86 |  | 84 | 85 | 0.010683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1040-14_0_5_line_87 |  | 84 | 86 | 0.0056291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1040-14_0_5_line_88 |  | 85 | 87 | 0.00061497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_1040-14_0_5_line_89 |  | 86 | 88 | 0.0050179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_1040-14_0_5_line_90 |  | 87 | 89 | 0.0074746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_1040-14_0_5_line_91 |  | 88 | 90 | 0.0063709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_1040-14_0_5_line_92 |  | 90 | 91 | 0.0029003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_1040-14_0_5_line_93 |  | 92 | 93 | 0.030766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_1040-14_0_5_line_94 |  | 93 | 94 | 0.018923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_1040-14_0_5_line_95 |  | 94 | 95 | 0.033479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_1040-14_0_5_line_96 |  | 95 | 96 | 0.0094734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1040-14_0_5_trafo_27 | 0.63 MVA 20/0.4 kV | 98 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2662988.1289 | 1216186.6641 | 2662978.7374 | 1216202.3647
1 | 2662982.5916 | 1216219.9151 | 2662981.2979 | 1216215.8767 | 2662977.1455 | 1216205.0261 | 2662978.7374 | 1216202.3647
2 | 2662988.1289 | 1216186.6641 | 2662999.115 | 1216172.7025
3 | 2662984.0537 | 1216224.5334 | 2662983.657 | 1216223.2729 | 2662982.5916 | 1216219.9151
4 | 2663009.7937 | 1216159.1314 | 2662999.115 | 1216172.7025
5 | 2662984.0537 | 1216224.5334 | 2662985.7497 | 1216224.9849 | 2662987.4861 | 1216226.6488 | 2662989.183 | 1216231.3251 | 2662990.5368 | 1216239.0109 | 2662989.3712 | 1216243.6904 | 2662990.819 | 1216243.1942 | 2662996.9761 | 1216241.1024 | 2663004.6726 | 1216238.471 | 2663006.791 | 1216237.7485 | 2663008.5141 | 1216237.7889 | 2663014.371 | 1216236.7947 | 2663023.9328 | 1216233.6827 | 2663022.3895 | 1216229.5638
6 | 2662984.0537 | 1216224.5334 | 2662981.4569 | 1216223.8278 | 2662975.1325 | 1216224.5058 | 2662971.0993 | 1216224.1863
7 | 2663009.7937 | 1216159.1314 | 2663023.2134 | 1216146.8984
8 | 2663009.7937 | 1216159.1314 | 2662997.6585 | 1216148.5411 | 2662986.268 | 1216138.5924
9 | 2663022.3895 | 1216229.5638 | 2663014.7832 | 1216209.3042
10 | 2663022.3895 | 1216229.5638 | 2663023.9328 | 1216233.6827 | 2663025.4098 | 1216237.6118 | 2663016.8681 | 1216240.4678 | 2663018.1422 | 1216244.2058 | 2663021.4194 | 1216253.8019
11 | 2663022.3895 | 1216229.5638 | 2663042.4942 | 1216223.0665
12 | 2662941.2263 | 1216205.5361 | 2662944.3915 | 1216208.5047 | 2662946.5966 | 1216211.074 | 2662954.231 | 1216217.1917 | 2662960.9301 | 1216221.2872 | 2662968.98 | 1216224.0183 | 2662971.0993 | 1216224.1863
13 | 2663021.4194 | 1216253.8019 | 2663016.8655 | 1216255.347
14 | 2663046.2744 | 1216221.8448 | 2663042.4942 | 1216223.0665
15 | 2662916.6748 | 1216280.7125 | 2662918.553 | 1216284.0344 | 2662938.1037 | 1216273.3007 | 2662939.6021 | 1216275.9182 | 2662940.0271 | 1216276.6564 | 2662943.1121 | 1216274.9991 | 2662948.7303 | 1216272.1566
16 | 2662909.8394 | 1216226.9515 | 2662924.0833 | 1216250.6943 | 2662936.0462 | 1216269.6879 | 2662936.5905 | 1216270.6386 | 2662938.1037 | 1216273.3007 | 2662939.6021 | 1216275.9182 | 2662940.0271 | 1216276.6564 | 2662943.1121 | 1216274.9991 | 2662948.7303 | 1216272.1566
17 | 2662948.7303 | 1216272.1566 | 2662954.9901 | 1216292.8112
18 | 2662916.6748 | 1216280.7125 | 2662909.2212 | 1216267.5368
19 | 2662909.8394 | 1216226.9515 | 2662910.9111 | 1216223.2494 | 2662918.5309 | 1216218.538
20 | 2662899.9832 | 1216208.3248 | 2662906.8244 | 1216217.6695 | 2662910.9111 | 1216223.2494 | 2662909.8394 | 1216226.9515
21 | 2662909.8394 | 1216226.9515 | 2662873.8418 | 1216249.7564
22 | 2662972.3726 | 1216336.9465 | 2662958.4151 | 1216304.112 | 2662954.9901 | 1216292.8112
23 | 2663002.2245 | 1216260.3142 | 2663016.8655 | 1216255.347
24 | 2663033.8827 | 1216137.1724 | 2663042.1768 | 1216130.4559
25 | 2663033.8827 | 1216137.1724 | 2663023.2134 | 1216146.8984
26 | 2663042.1768 | 1216130.4559 | 2663053.3656 | 1216121.4242 | 2663054.0368 | 1216120.9843
27 | 2663042.1768 | 1216130.4559 | 2663034.8819 | 1216122.0988
28 | 2662941.2263 | 1216205.5361 | 2662932.542 | 1216210.3919 | 2662918.5309 | 1216218.538
29 | 2662918.5309 | 1216218.538 | 2662927.7051 | 1216231.9876
30 | 2663046.2744 | 1216221.8448 | 2663047.6594 | 1216225.862 | 2663046.2424 | 1216226.3028 | 2663046.5961 | 1216227.3183 | 2663047.6135 | 1216230.1975 | 2663054.6519 | 1216228.0484 | 2663059.2398 | 1216241.5053
31 | 2663059.2398 | 1216241.5053 | 2663065.785 | 1216239.3287 | 2663071.8738 | 1216257.1464
32 | 2662899.9832 | 1216208.3248 | 2662895.3337 | 1216206.1583
33 | 2662907.5564 | 1216125.3088 | 2662902.0224 | 1216120.48
34 | 2662907.5564 | 1216125.3088 | 2662918.8538 | 1216121.0698 | 2662935.9129 | 1216116.3002
35 | 2662902.0224 | 1216120.48 | 2662899.9726 | 1216118.6914 | 2662893.0864 | 1216104.5552
36 | 2662941.8827 | 1216114.6311 | 2662935.9129 | 1216116.3002
37 | 2662972.3726 | 1216336.9465 | 2663002.2716 | 1216325.5219 | 2663017.5837 | 1216319.6711
38 | 2663052.3822 | 1216306.3746 | 2663017.5837 | 1216319.6711
39 | 2662873.8861 | 1216196.1643 | 2662895.3337 | 1216206.1583
40 | 2662777.2507 | 1216210.0548 | 2662789.5076 | 1216227.8615 | 2662803.6864 | 1216248.4569 | 2662812.1812 | 1216245.7114 | 2662824.049 | 1216238.4764 | 2662834.317 | 1216231.747 | 2662847.7454 | 1216222.6829 | 2662851.8404 | 1216216.6891 | 2662857.1434 | 1216207.7394 | 2662860.5261 | 1216204.4953 | 2662873.8861 | 1216196.1643
41 | 2662873.8861 | 1216196.1643 | 2662840.611 | 1216180.6595 | 2662837.1565 | 1216174.1524
42 | 2662777.2507 | 1216210.0548 | 2662800.2144 | 1216195.6174
43 | 2662777.2507 | 1216210.0548 | 2662774.708 | 1216206.3701
44 | 2662802.3391 | 1216194.2816 | 2662800.2144 | 1216195.6174
45 | 2662774.708 | 1216206.3701 | 2662770.5926 | 1216200.3939
46 | 2662972.6005 | 1216153.0014 | 2662962.1692 | 1216168.6951
47 | 2662972.6005 | 1216153.0014 | 2662986.268 | 1216138.5924
48 | 2662986.4488 | 1216138.4018 | 2662986.268 | 1216138.5924
49 | 2662995.3884 | 1216099.6757 | 2663010.056 | 1216113.5059
50 | 2663010.056 | 1216113.5059 | 2662986.4488 | 1216138.4018
51 | 2662995.3884 | 1216099.6757 | 2662973.8421 | 1216105.6981
52 | 2662995.3884 | 1216099.6757 | 2663017.0315 | 1216093.6228
53 | 2662819.8158 | 1216017.7282 | 2662813.8407 | 1216019.8333 | 2662786.2136 | 1216040.3662 | 2662768.438 | 1216080.7818
54 | 2662819.8158 | 1216017.7282 | 2662824.6794 | 1216020.9481 | 2662830.1825 | 1216023.9969 | 2662833.3574 | 1216037.6997
55 | 2662768.438 | 1216080.7818 | 2662761.2104 | 1216113.1369 | 2662764.9219 | 1216127.6961 | 2662766.2702 | 1216130.0342
56 | 2662833.5212 | 1216038.4067 | 2662833.3574 | 1216037.6997
57 | 2662882.1659 | 1216061.2568 | 2662890.833 | 1216067.3965 | 2662895.8722 | 1216065.5383
58 | 2662882.1659 | 1216061.2568 | 2662877.3201 | 1216070.0261
59 | 2662882.1659 | 1216061.2568 | 2662876.4489 | 1216057.5547
60 | 2662941.8827 | 1216114.6311 | 2662973.8421 | 1216105.6981
61 | 2663017.0315 | 1216093.6228 | 2663035.9406 | 1216088.3417 | 2663047.9805 | 1216081.6731
62 | 2662940.6467 | 1216086.3498 | 2662948.9257 | 1216084.2616
63 | 2662911.5712 | 1216091.8085 | 2662931.6046 | 1216086.3384 | 2662932.2883 | 1216088.458 | 2662940.6467 | 1216086.3498
64 | 2662849.1528 | 1216094.9964 | 2662855.3572 | 1216118.3002
65 | 2662849.1528 | 1216094.9964 | 2662824.4361 | 1216101.64 | 2662824.4361 | 1216101.64
66 | 2662889.7761 | 1216097.7597 | 2662893.0864 | 1216104.5552
67 | 2663052.5605 | 1216306.3065 | 2663052.3822 | 1216306.3746
68 | 2662808.1224 | 1216190.6456 | 2662802.3391 | 1216194.2816
69 | 2662779.1155 | 1216168.5375 | 2662776.9429 | 1216172.9618 | 2662767.0521 | 1216184.2425 | 2662762.6079 | 1216188.7985 | 2662770.5926 | 1216200.3939
70 | 2662889.7761 | 1216097.7597 | 2662911.5712 | 1216091.8085
71 | 2662889.7761 | 1216097.7597 | 2662881.8395 | 1216080.6765 | 2662878.5297 | 1216078.4514 | 2662875.2211 | 1216078.2719
72 | 2662875.2211 | 1216078.2719 | 2662876.3449 | 1216071.7909 | 2662877.3201 | 1216070.0261
73 | 2662875.2211 | 1216078.2719 | 2662866.3618 | 1216080.7157
74 | 2662866.3618 | 1216080.7157 | 2662854.4174 | 1216084.0105
75 | 2662854.4174 | 1216084.0105 | 2662847.9013 | 1216085.8079
76 | 2662865.7739 | 1216051.0918 | 2662860.033 | 1216048.2488
77 | 2662865.7739 | 1216051.0918 | 2662868.7271 | 1216052.5542 | 2662876.4489 | 1216057.5547
78 | 2662860.033 | 1216048.2488 | 2662860.033 | 1216048.2488 | 2662851.8906 | 1216045.628 | 2662848.3863 | 1216045.4342
79 | 2662835.3316 | 1216046.2205 | 2662842.4504 | 1216045.1059 | 2662848.3863 | 1216045.4342
80 | 2662835.3316 | 1216046.2205 | 2662827.7458 | 1216049.865 | 2662826.5281 | 1216050.8974
81 | 2662835.3316 | 1216046.2205 | 2662833.5212 | 1216038.4067
82 | 2662817.4811 | 1216059.6463 | 2662820.207 | 1216056.2562 | 2662826.5281 | 1216050.8974
83 | 2662817.4811 | 1216059.6463 | 2662814.4981 | 1216063.3561 | 2662813.9987 | 1216064.2626
84 | 2662813.9987 | 1216064.2626 | 2662810.1864 | 1216071.1822 | 2662807.996 | 1216076.0983
85 | 2662847.9013 | 1216085.8079 | 2662841.0312 | 1216087.703
86 | 2662814.4147 | 1216087.9388 | 2662804.7037 | 1216083.4876
87 | 2662814.4147 | 1216087.9388 | 2662819.5319 | 1216090.2843
88 | 2662804.954 | 1216082.9259 | 2662804.7037 | 1216083.4876 | 2662804.7037 | 1216083.4876
89 | 2662824.0934 | 1216092.3751 | 2662819.5319 | 1216090.2843
90 | 2662804.954 | 1216082.9259 | 2662807.996 | 1216076.0983
91 | 2662824.0934 | 1216092.3751 | 2662824.3289 | 1216098.7417
92 | 2662824.4361 | 1216101.64 | 2662824.3289 | 1216098.7417
93 | 2662779.1155 | 1216168.5375 | 2662805.2575 | 1216152.3159
94 | 2662779.1155 | 1216168.5375 | 2662779.7831 | 1216160.6619 | 2662779.4205 | 1216154.7211 | 2662778.6231 | 1216149.7167
95 | 2662778.6231 | 1216149.7167 | 2662778.3736 | 1216148.1504 | 2662776.4676 | 1216142.4046 | 2662776.6565 | 1216139.6048 | 2662796.0165 | 1216127.1254
96 | 2662803.979 | 1216121.9927 | 2662796.0165 | 1216127.1254

## bus_geodata
| x | y | coords
0 | 2662978.7374 | 1216202.3647
1 | 2662988.1289 | 1216186.6641
2 | 2662982.5916 | 1216219.9151
3 | 2662999.115 | 1216172.7025
4 | 2662984.0537 | 1216224.5334
5 | 2663009.7937 | 1216159.1314
6 | 2663022.3895 | 1216229.5638
7 | 2662971.0993 | 1216224.1863
8 | 2663014.7832 | 1216209.3042
9 | 2663021.4194 | 1216253.8019
10 | 2663042.4942 | 1216223.0665
11 | 2662948.7303 | 1216272.1566
12 | 2662916.6748 | 1216280.7125
13 | 2662909.8394 | 1216226.9515
14 | 2662954.9901 | 1216292.8112
15 | 2663016.8655 | 1216255.347
16 | 2663033.8827 | 1216137.1724
17 | 2663042.1768 | 1216130.4559
18 | 2663023.2134 | 1216146.8984
19 | 2662941.2263 | 1216205.5361
20 | 2662918.5309 | 1216218.538
21 | 2663059.2398 | 1216241.5053
22 | 2663046.2744 | 1216221.8448
23 | 2663071.8738 | 1216257.1464
24 | 2662899.9832 | 1216208.3248
25 | 2662873.8418 | 1216249.7564
26 | 2662909.2212 | 1216267.5368
27 | 2662907.5564 | 1216125.3088
28 | 2662902.0224 | 1216120.48
29 | 2662935.9129 | 1216116.3002
30 | 2662972.3726 | 1216336.9465
31 | 2663017.5837 | 1216319.6711
32 | 2662873.8861 | 1216196.1643
33 | 2662895.3337 | 1216206.1583
34 | 2662777.2507 | 1216210.0548
35 | 2662837.1565 | 1216174.1524
36 | 2662800.2144 | 1216195.6174
37 | 2662774.708 | 1216206.3701
38 | 2662962.1692 | 1216168.6951
39 | 2662972.6005 | 1216153.0014
40 | 2662986.268 | 1216138.5924
41 | 2663002.2245 | 1216260.3142
42 | 2663054.0368 | 1216120.9843
43 | 2663034.8819 | 1216122.0988
44 | 2663010.056 | 1216113.5059
45 | 2662995.3884 | 1216099.6757
46 | 2662986.4488 | 1216138.4018
47 | 2662927.7051 | 1216231.9876
48 | 2662819.8158 | 1216017.7282
49 | 2662768.438 | 1216080.7818
50 | 2662833.3574 | 1216037.6997
51 | 2662895.8722 | 1216065.5383
52 | 2662882.1659 | 1216061.2568
53 | 2662973.8421 | 1216105.6981
54 | 2663017.0315 | 1216093.6228
55 | 2662948.9256 | 1216084.2616
56 | 2662940.6467 | 1216086.3498
57 | 2663047.9805 | 1216081.6731
58 | 2662855.3572 | 1216118.3002
59 | 2662849.1528 | 1216094.9964
60 | 2662893.0864 | 1216104.5552
61 | 2662941.8827 | 1216114.6311
62 | 2663052.3822 | 1216306.3746
63 | 2663052.5605 | 1216306.3065
64 | 2662766.2702 | 1216130.0342
65 | 2662802.3391 | 1216194.2816
66 | 2662770.5926 | 1216200.3939
67 | 2662911.5712 | 1216091.8085
68 | 2662889.7761 | 1216097.7597
69 | 2662875.2211 | 1216078.2719
70 | 2662877.3201 | 1216070.0261
71 | 2662866.3618 | 1216080.7157
72 | 2662854.4174 | 1216084.0105
73 | 2662865.7739 | 1216051.0918
74 | 2662860.033 | 1216048.2488
75 | 2662876.4489 | 1216057.5547
76 | 2662848.3863 | 1216045.4342
77 | 2662835.3316 | 1216046.2205
78 | 2662826.5281 | 1216050.8974
79 | 2662833.5212 | 1216038.4067
80 | 2662817.4811 | 1216059.6463
81 | 2662813.9987 | 1216064.2626
82 | 2662847.9013 | 1216085.8079
83 | 2662841.0312 | 1216087.703
84 | 2662814.4147 | 1216087.9388
85 | 2662804.7037 | 1216083.4876
86 | 2662819.5319 | 1216090.2843
87 | 2662804.954 | 1216082.9259
88 | 2662824.0934 | 1216092.3751
89 | 2662807.996 | 1216076.0983
90 | 2662824.3289 | 1216098.7417
91 | 2662824.4361 | 1216101.64
92 | 2662805.2575 | 1216152.3159
93 | 2662779.1155 | 1216168.5375
94 | 2662778.6231 | 1216149.7167
95 | 2662796.0165 | 1216127.1254
96 | 2662803.979 | 1216121.9927
97 | 2662808.1224 | 1216190.6456
98 | 2662961.7975 | 1216169.2682

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99069 | -0.17725 | 0.0157 | 0.0039347
1 | 0.99164 | -0.15904 | 0 | 0
2 | 0.98977 | -0.19483 | 0 | 0
3 | 0.99256 | -0.1414 | 0.015571 | 0.0039025
4 | 0.98931 | -0.20383 | 0 | 0
5 | 0.99352 | -0.12309 | 0 | 0
6 | 0.98242 | -0.3374 | 0 | 0
7 | 0.98822 | -0.22463 | 0.0012364 | 0.00030987
8 | 0.98215 | -0.34264 | 0.013401 | 0.0033586
9 | 0.98156 | -0.35406 | 0 | 0
10 | 0.98091 | -0.36687 | 0.037421 | 0.0093786
11 | 0.97961 | -0.39177 | 0 | 0
12 | 0.97926 | -0.39874 | 0 | 0
13 | 0.9822 | -0.34128 | 0 | 0
14 | 0.97898 | -0.40407 | 0.0040573 | 0.0010169
15 | 0.98143 | -0.35659 | 0.022991 | 0.0057621
16 | 0.99282 | -0.13673 | 0 | 0
17 | 0.99267 | -0.1395 | 0 | 0
18 | 0.99301 | -0.13298 | 0.016145 | 0.0040464
19 | 0.98529 | -0.28122 | 0 | 0
20 | 0.98316 | -0.32257 | 0 | 0
21 | 0.97961 | -0.39236 | 0 | 0
22 | 0.98076 | -0.36973 | 0 | 0
23 | 0.97866 | -0.41092 | 0.039685 | 0.0099459
24 | 0.98142 | -0.35652 | 0 | 0
25 | 0.98211 | -0.343 | 0.0022313 | 0.00055921
26 | 0.97912 | -0.4014 | 0.0096456 | 0.0024174
27 | 0.98892 | -0.21154 | 0 | 0
28 | 0.98865 | -0.21683 | 0.0039976 | 0.0010019
29 | 0.99004 | -0.19013 | 0.015962 | 0.0040004
30 | 0.97778 | -0.42768 | 0 | 0
31 | 0.97655 | -0.4518 | 0.011256 | 0.0028211
32 | 0.98053 | -0.37385 | 0 | 0
33 | 0.98124 | -0.36002 | 0.0054264 | 0.00136
34 | 0.97717 | -0.43962 | 0 | 0
35 | 0.9803 | -0.3784 | 0.0056888 | 0.0014257
36 | 0.97695 | -0.44407 | 0.0019678 | 0.00049319
37 | 0.9771 | -0.44106 | 0 | 0
38 | 1 | 0 | -0.51659 | -0.13203
39 | 0.99779 | -0.041747 | 0 | 0
40 | 0.99547 | -0.085888 | 0 | 0
41 | 0.98135 | -0.35829 | 0.0060849 | 0.001525
42 | 0.99251 | -0.14263 | 0.011649 | 0.0029196
43 | 0.99264 | -0.14009 | 0.0030397 | 0.00076182
44 | 0.99372 | -0.11942 | 0 | 0
45 | 0.9927 | -0.13899 | 0 | 0
46 | 0.99546 | -0.086161 | 0.016419 | 0.0041149
47 | 0.98306 | -0.32459 | 0.006903 | 0.00173
48 | 0.97926 | -0.39929 | 0 | 0
49 | 0.97908 | -0.4027 | 0 | 0
50 | 0.97931 | -0.39824 | 0.0034492 | 0.00086444
51 | 0.98251 | -0.33572 | 0.0035143 | 0.00088076
52 | 0.98257 | -0.3347 | 0.0032571 | 0.0008163
53 | 0.99165 | -0.15909 | 0.025481 | 0.0063861
54 | 0.99235 | -0.14574 | 0 | 0
55 | 0.98517 | -0.28428 | 0.0061727 | 0.001547
56 | 0.98522 | -0.28334 | 0.0063006 | 0.0015791
57 | 0.99183 | -0.15581 | 0.01703 | 0.0042682
58 | 0.97509 | -0.48107 | 0.024193 | 0.0060634
59 | 0.97564 | -0.47038 | 0 | 0
60 | 0.98731 | -0.24278 | 0.02252 | 0.0056441
61 | 0.99029 | -0.18524 | 0 | 0
62 | 0.976 | -0.46273 | 0.0051774 | 0.0012976
63 | 0.976 | -0.46277 | 0.010867 | 0.0027235
64 | 0.97898 | -0.40474 | 0.0022076 | 0.00055327
65 | 0.97693 | -0.44439 | 0.0019126 | 0.00047934
66 | 0.97698 | -0.44339 | 0.0028044 | 0.00070286
67 | 0.98558 | -0.27626 | 0.025057 | 0.00628
68 | 0.98636 | -0.26106 | 0 | 0
69 | 0.984 | -0.30679 | 0 | 0
70 | 0.98332 | -0.31997 | 0.0036298 | 0.00090971
71 | 0.9839 | -0.30884 | 0.003375 | 0.00084586
72 | 0.98379 | -0.31085 | 0.0028358 | 0.00071073
73 | 0.98127 | -0.36005 | 0.0031381 | 0.00078647
74 | 0.98086 | -0.36797 | 0.0033198 | 0.00083202
75 | 0.98209 | -0.3439 | 0.0032953 | 0.00082589
76 | 0.98013 | -0.38218 | 0.0033132 | 0.00083038
77 | 0.97938 | -0.39691 | 0 | 0
78 | 0.97889 | -0.40657 | 0.0031882 | 0.00079905
79 | 0.97931 | -0.39816 | 0.0029449 | 0.00073806
80 | 0.9783 | -0.41804 | 0.003125 | 0.00078319
81 | 0.97805 | -0.42298 | 0.0033956 | 0.00085102
82 | 0.98376 | -0.3116 | 0.0028898 | 0.00072425
83 | 0.98373 | -0.31202 | 0.0032818 | 0.0008225
84 | 0.97682 | -0.44705 | 0.0035565 | 0.00089135
85 | 0.97721 | -0.43939 | 0.00039681 | 9.9449e-05
86 | 0.97664 | -0.45072 | 0.0031436 | 0.00078786
87 | 0.97723 | -0.43894 | 0.00041902 | 0.00010502
88 | 0.97648 | -0.45371 | 0 | 0
89 | 0.97751 | -0.43348 | 0.0032684 | 0.00081913
90 | 0.97629 | -0.4575 | 0.0034823 | 0.00087274
91 | 0.97621 | -0.45905 | 0.0048951 | 0.0012268
92 | 0.97638 | -0.45531 | 0.0017985 | 0.00045074
93 | 0.97643 | -0.4543 | 0 | 0
94 | 0.9762 | -0.4588 | 0.0021169 | 0.00053054
95 | 0.97586 | -0.46546 | 0.0029939 | 0.00075035
96 | 0.97579 | -0.46683 | 0.0078806 | 0.0019751
97 | 0.9769 | -0.44502 | 0.0050969 | 0.0012774
98 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.22654 | -0.057616 | 0.22674 | 0.057742 | 0.00019892 | 0.00012637 | 0.34056 | 0.34056 | 0.34056 | 0.99069 | -0.17725 | 0.99164 | -0.15904 | 23.39
1 | 0.21084 | 0.053681 | -0.21066 | -0.053568 | 0.00017859 | 0.00011332 | 0.31698 | 0.31698 | 0.31698 | 0.99069 | -0.17725 | 0.98977 | -0.19483 | 21.7705
2 | -0.22674 | -0.057742 | 0.22693 | 0.057865 | 0.00019317 | 0.00012271 | 0.34056 | 0.34056 | 0.34056 | 0.99164 | -0.15904 | 0.99256 | -0.1414 | 23.39
3 | 0.21066 | 0.053568 | -0.21057 | -0.05351 | 9.1238e-05 | 5.8268e-05 | 0.31698 | 0.31698 | 0.31698 | 0.98977 | -0.19483 | 0.98931 | -0.20383 | 43.5411
4 | -0.2425 | -0.061767 | 0.24272 | 0.061904 | 0.00021439 | 0.00013631 | 0.3639 | 0.3639 | 0.3639 | 0.99256 | -0.1414 | 0.99352 | -0.12309 | 24.9933
5 | 0.12057 | 0.030602 | -0.11981 | -0.030111 | 0.00076937 | 0.0004916 | 0.18149 | 0.18149 | 0.18149 | 0.98931 | -0.20383 | 0.98242 | -0.3374 | 49.8609
6 | 0.089994 | 0.022907 | -0.089903 | -0.02285 | 9.0158e-05 | 5.7533e-05 | 0.13549 | 0.13549 | 0.13549 | 0.98931 | -0.20383 | 0.98822 | -0.22463 | 37.2213
7 | 0.030855 | 0.0077402 | -0.03084 | -0.0077312 | 1.4544e-05 | 9.0729e-06 | 0.046215 | 0.046215 | 0.046215 | 0.99352 | -0.12309 | 0.99301 | -0.13298 | 12.6963
8 | -0.27357 | -0.069644 | 0.27406 | 0.069957 | 0.00049165 | 0.00031304 | 0.41012 | 0.41012 | 0.41012 | 0.99352 | -0.12309 | 0.99547 | -0.085888 | 28.1673
9 | 0.013404 | 0.0033604 | -0.013401 | -0.0033586 | 3.3445e-06 | 1.8666e-06 | 0.020303 | 0.020303 | 0.020303 | 0.98242 | -0.3374 | 0.98215 | -0.34264 | 5.5778
10 | 0.029103 | 0.0073038 | -0.02908 | -0.0072895 | 2.3097e-05 | 1.4381e-05 | 0.044085 | 0.044085 | 0.044085 | 0.98242 | -0.3374 | 0.98156 | -0.35406 | 12.1112
11 | 0.077298 | 0.019446 | -0.077189 | -0.019377 | 0.00010866 | 6.9273e-05 | 0.11711 | 0.11711 | 0.11711 | 0.98242 | -0.3374 | 0.98091 | -0.36687 | 32.172
12 | 0.088667 | 0.02254 | -0.088426 | -0.022386 | 0.00024096 | 0.00015375 | 0.13362 | 0.13362 | 0.13362 | 0.98822 | -0.22463 | 0.98529 | -0.28122 | 36.7099
13 | 0.02908 | 0.0072895 | -0.029077 | -0.0072873 | 3.5048e-06 | 2.1823e-06 | 0.044085 | 0.044085 | 0.044085 | 0.98156 | -0.35406 | 0.98143 | -0.35659 | 12.1112
14 | 0.039768 | 0.0099986 | -0.039763 | -0.0099952 | 5.424e-06 | 3.4212e-06 | 0.060339 | 0.060339 | 0.060339 | 0.98091 | -0.36687 | 0.98076 | -0.36973 | 16.5766
15 | 0.00965 | 0.0024195 | -0.0096468 | -0.002418 | 3.2059e-06 | 1.551e-06 | 0.014659 | 0.014659 | 0.014659 | 0.97961 | -0.39177 | 0.97926 | -0.39874 | 4.0271
16 | -0.041097 | -0.010334 | 0.041196 | 0.010396 | 9.9349e-05 | 6.2725e-05 | 0.062437 | 0.062437 | 0.062437 | 0.97961 | -0.39177 | 0.9822 | -0.34128 | 17.1531
17 | 0.031447 | 0.0079141 | -0.031428 | -0.0079025 | 1.8476e-05 | 1.1553e-05 | 0.047779 | 0.047779 | 0.047779 | 0.97961 | -0.39177 | 0.97898 | -0.40407 | 13.1261
18 | 0.0096468 | 0.002418 | -0.0096456 | -0.0024174 | 1.2191e-06 | 5.8991e-07 | 0.014659 | 0.014659 | 0.014659 | 0.97926 | -0.39874 | 0.97912 | -0.4014 | 4.0271
19 | -0.081274 | -0.020498 | 0.081347 | 0.020544 | 7.2899e-05 | 4.6493e-05 | 0.12318 | 0.12318 | 0.12318 | 0.9822 | -0.34128 | 0.98316 | -0.32257 | 33.8394
20 | 0.037847 | 0.0095425 | -0.037819 | -0.0095251 | 2.7576e-05 | 1.7366e-05 | 0.057358 | 0.057358 | 0.057358 | 0.9822 | -0.34128 | 0.98142 | -0.35652 | 15.7577
21 | 0.0022314 | 0.00055878 | -0.0022313 | -0.00055921 | 1.8262e-07 | -4.2241e-07 | 0.0033804 | 0.0033806 | 0.0033806 | 0.9822 | -0.34128 | 0.98211 | -0.343 | 0.92874
22 | 0.027371 | 0.0068856 | -0.02734 | -0.0068665 | 3.0835e-05 | 1.9138e-05 | 0.041612 | 0.041612 | 0.041612 | 0.97898 | -0.40407 | 0.97778 | -0.42768 | 11.4319
23 | 0.0060854 | 0.0015251 | -0.0060849 | -0.001525 | 4.9355e-07 | 1.2052e-07 | 0.0092264 | 0.0092265 | 0.0092265 | 0.98143 | -0.35659 | 0.98135 | -0.35829 | 2.5348
24 | 0.014693 | 0.0036833 | -0.014691 | -0.0036822 | 1.9377e-06 | 1.1023e-06 | 0.022021 | 0.022021 | 0.022021 | 0.99282 | -0.13673 | 0.99267 | -0.1395 | 6.0499
25 | -0.014693 | -0.0036833 | 0.014695 | 0.0036848 | 2.6254e-06 | 1.4935e-06 | 0.022021 | 0.022021 | 0.022021 | 0.99282 | -0.13673 | 0.99301 | -0.13298 | 6.0498
26 | 0.011651 | 0.0029205 | -0.011649 | -0.0029196 | 1.7365e-06 | 9.1515e-07 | 0.017465 | 0.017465 | 0.017465 | 0.99267 | -0.1395 | 0.99251 | -0.14263 | 4.7981
27 | 0.0030398 | 0.00076173 | -0.0030397 | -0.00076182 | 8.6371e-08 | -8.8127e-08 | 0.0045566 | 0.0045566 | 0.0045566 | 0.99267 | -0.1395 | 0.99264 | -0.14009 | 1.2518
28 | 0.088426 | 0.022386 | -0.088251 | -0.022274 | 0.00017514 | 0.00011176 | 0.13362 | 0.13362 | 0.13362 | 0.98529 | -0.28122 | 0.98316 | -0.32257 | 36.7099
29 | 0.0069036 | 0.0017303 | -0.006903 | -0.00173 | 6.6599e-07 | 2.1997e-07 | 0.010449 | 0.010449 | 0.010449 | 0.98316 | -0.32257 | 0.98306 | -0.32459 | 2.8705
30 | -0.03972 | -0.0099681 | 0.039763 | 0.0099952 | 4.2923e-05 | 2.7075e-05 | 0.060339 | 0.060339 | 0.060339 | 0.97961 | -0.39236 | 0.98076 | -0.36973 | 16.5767
31 | 0.03972 | 0.0099681 | -0.039685 | -0.0099459 | 3.5125e-05 | 2.2157e-05 | 0.060339 | 0.060339 | 0.060339 | 0.97961 | -0.39236 | 0.97866 | -0.41092 | 16.5767
32 | 0.037819 | 0.0095251 | -0.037813 | -0.0095211 | 6.3285e-06 | 3.9854e-06 | 0.057358 | 0.057358 | 0.057358 | 0.98142 | -0.35652 | 0.98124 | -0.36002 | 15.7577
33 | 0.16264 | 0.041174 | -0.1626 | -0.041148 | 4.1286e-05 | 2.6046e-05 | 0.24487 | 0.24487 | 0.24487 | 0.98892 | -0.21154 | 0.98865 | -0.21683 | 16.818
34 | -0.16264 | -0.041174 | 0.16281 | 0.041279 | 0.0001674 | 0.00010561 | 0.24487 | 0.24487 | 0.24487 | 0.98892 | -0.21154 | 0.99004 | -0.19013 | 16.818
35 | 0.1586 | 0.040146 | -0.1584 | -0.04002 | 0.0001973 | 0.0001258 | 0.23885 | 0.23885 | 0.23885 | 0.98865 | -0.21683 | 0.98731 | -0.24278 | 32.8095
36 | -0.17877 | -0.04528 | 0.17881 | 0.045306 | 4.2007e-05 | 2.6566e-05 | 0.26886 | 0.26886 | 0.26886 | 0.99004 | -0.19013 | 0.99029 | -0.18524 | 18.4656
37 | 0.02734 | 0.0068665 | -0.027309 | -0.006847 | 3.1428e-05 | 1.9507e-05 | 0.041612 | 0.041612 | 0.041612 | 0.97778 | -0.42768 | 0.97655 | -0.4518 | 11.432
38 | 0.016053 | 0.0040259 | -0.016044 | -0.0040211 | 8.3586e-06 | 4.8837e-06 | 0.024461 | 0.024461 | 0.024461 | 0.97655 | -0.4518 | 0.976 | -0.46273 | 6.7201
39 | -0.032365 | -0.0081477 | 0.032387 | 0.0081612 | 2.1417e-05 | 1.3408e-05 | 0.049129 | 0.049129 | 0.049129 | 0.98053 | -0.37385 | 0.98124 | -0.36002 | 13.4971
40 | 0.026675 | 0.0067218 | -0.026592 | -0.0066699 | 8.3643e-05 | 5.1822e-05 | 0.040494 | 0.040495 | 0.040495 | 0.98053 | -0.37385 | 0.97717 | -0.43962 | 11.125
41 | 0.00569 | 0.001426 | -0.0056888 | -0.0014257 | 1.2325e-06 | 2.3295e-07 | 0.008635 | 0.0086352 | 0.0086352 | 0.98053 | -0.37385 | 0.9803 | -0.3784 | 2.3723
42 | 0.0089795 | 0.0022509 | -0.0089776 | -0.00225 | 1.9019e-06 | 8.7751e-07 | 0.013674 | 0.013674 | 0.013674 | 0.97717 | -0.43962 | 0.97695 | -0.44407 | 3.7566
43 | 0.017612 | 0.0044191 | -0.017611 | -0.0044184 | 1.2067e-06 | 7.1623e-07 | 0.026821 | 0.026821 | 0.026821 | 0.97717 | -0.43962 | 0.9771 | -0.44106 | 7.3684
44 | 0.0070098 | 0.0017568 | -0.0070097 | -0.0017568 | 1.0729e-07 | 3.7239e-08 | 0.010677 | 0.010677 | 0.010677 | 0.97695 | -0.44407 | 0.97693 | -0.44439 | 2.9332
45 | 0.017611 | 0.0044184 | -0.017609 | -0.0044172 | 1.9575e-06 | 1.1619e-06 | 0.026821 | 0.026821 | 0.026821 | 0.9771 | -0.44106 | 0.97698 | -0.44339 | 7.3684
46 | 0.51494 | 0.13203 | -0.5139 | -0.13137 | 0.0010401 | 0.00066468 | 0.7673 | 0.7673 | 0.7673 | 1 | 0 | 0.99779 | -0.041747 | 52.6991
47 | 0.5139 | 0.13137 | -0.51281 | -0.13067 | 0.0010948 | 0.00069964 | 0.7673 | 0.7673 | 0.7673 | 0.99779 | -0.041747 | 0.99547 | -0.085888 | 52.6992
48 | 0.23875 | 0.060712 | -0.23874 | -0.06071 | 3.1418e-06 | 1.9971e-06 | 0.35718 | 0.35718 | 0.35718 | 0.99547 | -0.085888 | 0.99546 | -0.086161 | 24.5319
49 | 0.22197 | 0.056369 | -0.22176 | -0.056236 | 0.00020882 | 0.0001326 | 0.33264 | 0.33264 | 0.33264 | 0.99372 | -0.11942 | 0.9927 | -0.13899 | 22.8464
50 | -0.22197 | -0.056369 | 0.22232 | 0.056595 | 0.00035591 | 0.000226 | 0.33264 | 0.33264 | 0.33264 | 0.99372 | -0.11942 | 0.99546 | -0.086161 | 22.8464
51 | 0.20472 | 0.05196 | -0.20452 | -0.051835 | 0.0001978 | 0.00012543 | 0.30709 | 0.30709 | 0.30709 | 0.9927 | -0.13899 | 0.99165 | -0.15909 | 21.0916
52 | 0.017044 | 0.0042762 | -0.017038 | -0.004273 | 5.4867e-06 | 3.2218e-06 | 0.02555 | 0.02555 | 0.02555 | 0.9927 | -0.13899 | 0.99235 | -0.14574 | 7.0192
53 | 0.0022082 | 0.00055193 | -0.0022078 | -0.00055277 | 3.5802e-07 | -8.3774e-07 | 0.0033548 | 0.0033552 | 0.0033552 | 0.97926 | -0.39929 | 0.97908 | -0.4027 | 0.92176
54 | -0.0022082 | -0.00055193 | 0.0022083 | 0.00055167 | 1.1053e-07 | -2.5876e-07 | 0.0033548 | 0.0033547 | 0.0033548 | 0.97926 | -0.39929 | 0.97931 | -0.39824 | 0.92166
55 | 0.0022078 | 0.00055277 | -0.0022076 | -0.00055327 | 2.1479e-07 | -5.023e-07 | 0.0033552 | 0.0033555 | 0.0033555 | 0.97908 | -0.4027 | 0.97898 | -0.40474 | 0.92183
56 | -0.0056574 | -0.0014161 | 0.0056575 | 0.0014161 | 2.0107e-08 | 3.7376e-09 | 0.0085956 | 0.0085956 | 0.0085956 | 0.97931 | -0.39824 | 0.97931 | -0.39816 | 2.3614
57 | -0.0035143 | -0.00088076 | 0.0035145 | 0.00088067 | 1.6988e-07 | -9.382e-08 | 0.0053224 | 0.0053223 | 0.0053224 | 0.98251 | -0.33572 | 0.98257 | -0.3347 | 1.4622
58 | -0.081862 | -0.020651 | 0.081919 | 0.020688 | 5.779e-05 | 3.6858e-05 | 0.12402 | 0.12402 | 0.12402 | 0.98257 | -0.3347 | 0.98332 | -0.31997 | 34.0717
59 | 0.07509 | 0.018954 | -0.075057 | -0.018933 | 3.3057e-05 | 2.1071e-05 | 0.11377 | 0.11377 | 0.11377 | 0.98257 | -0.3347 | 0.98209 | -0.3439 | 31.2545
60 | 0.17904 | 0.045448 | -0.17881 | -0.045306 | 0.00022488 | 0.00014221 | 0.26886 | 0.26886 | 0.26886 | 0.99165 | -0.15909 | 0.99029 | -0.18524 | 18.4656
61 | 0.017038 | 0.004273 | -0.01703 | -0.0042682 | 8.1754e-06 | 4.8011e-06 | 0.02555 | 0.02555 | 0.02555 | 0.99235 | -0.14574 | 0.99183 | -0.15581 | 7.0193
62 | -0.0061727 | -0.001547 | 0.006173 | 0.0015471 | 2.7832e-07 | 6.9399e-08 | 0.0093233 | 0.0093233 | 0.0093233 | 0.98517 | -0.28428 | 0.98522 | -0.28334 | 2.5613
63 | -0.012474 | -0.0031262 | 0.012478 | 0.0031285 | 4.2077e-06 | 2.2902e-06 | 0.018839 | 0.018839 | 0.018839 | 0.98522 | -0.28334 | 0.98558 | -0.27626 | 5.1756
64 | -0.024193 | -0.0060634 | 0.024205 | 0.0060709 | 1.2326e-05 | 7.5879e-06 | 0.036919 | 0.036919 | 0.036919 | 0.97509 | -0.48107 | 0.97564 | -0.47038 | 10.1426
65 | -0.024205 | -0.0060709 | 0.024219 | 0.006079 | 1.3082e-05 | 8.0526e-06 | 0.036919 | 0.036919 | 0.036919 | 0.97564 | -0.47038 | 0.97621 | -0.45905 | 10.1426
66 | 0.13588 | 0.034376 | -0.13577 | -0.0343 | 0.00011902 | 7.6078e-05 | 0.20491 | 0.20491 | 0.20491 | 0.98731 | -0.24278 | 0.98636 | -0.26106 | 56.2946
67 | 0.010867 | 0.0027235 | -0.010867 | -0.0027235 | 1.9642e-08 | 1.0186e-08 | 0.016568 | 0.016568 | 0.016568 | 0.976 | -0.46273 | 0.976 | -0.46277 | 4.5515
68 | 0.0050971 | 0.0012774 | -0.0050969 | -0.0012774 | 1.5441e-07 | 1.3288e-08 | 0.0077636 | 0.0077636 | 0.0077636 | 0.97693 | -0.44439 | 0.9769 | -0.44502 | 2.1329
69 | 0.014804 | 0.0037143 | -0.014797 | -0.0037099 | 7.6989e-06 | 4.422e-06 | 0.02255 | 0.02255 | 0.02255 | 0.97698 | -0.44339 | 0.97643 | -0.4543 | 6.195
70 | -0.037535 | -0.0094084 | 0.037562 | 0.0094256 | 2.7209e-05 | 1.7126e-05 | 0.05667 | 0.05667 | 0.05667 | 0.98558 | -0.27626 | 0.98636 | -0.26106 | 15.5688
71 | 0.098203 | 0.024874 | -0.097988 | -0.024737 | 0.00021519 | 0.00013739 | 0.14824 | 0.14824 | 0.14824 | 0.98636 | -0.26106 | 0.984 | -0.30679 | 40.7259
72 | 0.085603 | 0.021632 | -0.085549 | -0.021598 | 5.4058e-05 | 3.4488e-05 | 0.12951 | 0.12951 | 0.12951 | 0.984 | -0.30679 | 0.98332 | -0.31997 | 35.5807
73 | 0.012385 | 0.0031044 | -0.012384 | -0.0031037 | 1.2088e-06 | 6.5692e-07 | 0.018729 | 0.018729 | 0.018729 | 0.984 | -0.30679 | 0.9839 | -0.30884 | 5.1452
74 | 0.0090086 | 0.0022579 | -0.0090077 | -0.0022575 | 8.6249e-07 | 3.9465e-07 | 0.013624 | 0.013624 | 0.013624 | 0.9839 | -0.30884 | 0.98379 | -0.31085 | 3.743
75 | 0.0061719 | 0.0015468 | -0.0061717 | -0.0015467 | 2.2089e-07 | 5.5547e-08 | 0.0093351 | 0.0093352 | 0.0093352 | 0.98379 | -0.31085 | 0.98376 | -0.3116 | 2.5646
76 | 0.068568 | 0.017286 | -0.068542 | -0.017269 | 2.5991e-05 | 1.6554e-05 | 0.10401 | 0.10401 | 0.10401 | 0.98127 | -0.36005 | 0.98086 | -0.36797 | 28.5755
77 | -0.071706 | -0.018072 | 0.071762 | 0.018108 | 5.5439e-05 | 3.5323e-05 | 0.10877 | 0.10877 | 0.10877 | 0.98127 | -0.36005 | 0.98209 | -0.3439 | 29.8828
78 | 0.065222 | 0.016437 | -0.065178 | -0.016409 | 4.4318e-05 | 2.8212e-05 | 0.098978 | 0.098979 | 0.098979 | 0.98086 | -0.36797 | 0.98013 | -0.38218 | 27.1919
79 | 0.061865 | 0.015579 | -0.061821 | -0.015551 | 4.3526e-05 | 2.7691e-05 | 0.093948 | 0.093948 | 0.093948 | 0.98013 | -0.38218 | 0.97938 | -0.39691 | 25.81
80 | 0.053218 | 0.013396 | -0.053194 | -0.013381 | 2.456e-05 | 1.5593e-05 | 0.080878 | 0.080878 | 0.080878 | 0.97938 | -0.39691 | 0.97889 | -0.40657 | 22.2193
81 | 0.0086029 | 0.0021544 | -0.0086024 | -0.0021542 | 5.1382e-07 | 2.2792e-07 | 0.01307 | 0.01307 | 0.01307 | 0.97938 | -0.39691 | 0.97931 | -0.39816 | 3.5907
82 | 0.050006 | 0.012582 | -0.049978 | -0.012564 | 2.7395e-05 | 1.7374e-05 | 0.076032 | 0.076032 | 0.076032 | 0.97889 | -0.40657 | 0.9783 | -0.41804 | 20.8879
83 | 0.046853 | 0.011781 | -0.046842 | -0.011774 | 1.1042e-05 | 6.9939e-06 | 0.071279 | 0.071279 | 0.071279 | 0.9783 | -0.41804 | 0.97805 | -0.42298 | 19.5821
84 | 0.043447 | 0.010923 | -0.043425 | -0.010909 | 2.1771e-05 | 1.3767e-05 | 0.066113 | 0.066113 | 0.066113 | 0.97805 | -0.42298 | 0.97751 | -0.43348 | 18.1628
85 | 0.0032819 | 0.00082245 | -0.0032818 | -0.0008225 | 6.5858e-08 | -4.8334e-08 | 0.0049641 | 0.0049641 | 0.0049641 | 0.98376 | -0.3116 | 0.98373 | -0.31202 | 1.3638
86 | -0.039315 | -0.0098697 | 0.039329 | 0.0098787 | 1.4371e-05 | 9.0638e-06 | 0.059895 | 0.059895 | 0.059895 | 0.97682 | -0.44705 | 0.97721 | -0.43939 | 16.4548
87 | 0.035758 | 0.0089783 | -0.035752 | -0.0089744 | 6.2648e-06 | 3.939e-06 | 0.054478 | 0.054478 | 0.054478 | 0.97682 | -0.44705 | 0.97664 | -0.45072 | 14.9664
88 | -0.039726 | -0.0099782 | 0.039727 | 0.0099787 | 8.4409e-07 | 5.3251e-07 | 0.0605 | 0.0605 | 0.0605 | 0.97721 | -0.43939 | 0.97723 | -0.43894 | 16.6207
89 | 0.032609 | 0.0081865 | -0.032604 | -0.0081836 | 4.6458e-06 | 2.9105e-06 | 0.049688 | 0.049688 | 0.049688 | 0.97664 | -0.45072 | 0.97648 | -0.45371 | 13.6505
90 | -0.040146 | -0.010084 | 0.040156 | 0.01009 | 1.0477e-05 | 6.6116e-06 | 0.061138 | 0.061138 | 0.061138 | 0.97723 | -0.43894 | 0.97751 | -0.43348 | 16.796
91 | 0.032604 | 0.0081836 | -0.032598 | -0.0081799 | 5.8984e-06 | 3.6953e-06 | 0.049688 | 0.049688 | 0.049688 | 0.97648 | -0.45371 | 0.97629 | -0.4575 | 13.6505
92 | 0.029116 | 0.0073072 | -0.029114 | -0.0073058 | 2.1422e-06 | 1.3347e-06 | 0.04438 | 0.04438 | 0.04438 | 0.97629 | -0.4575 | 0.97621 | -0.45905 | 12.1924
93 | -0.0017985 | -0.00045074 | 0.0017985 | 0.00045041 | 8.6669e-08 | -3.2933e-07 | 0.0027409 | 0.0027407 | 0.0027409 | 0.97638 | -0.45531 | 0.97643 | -0.4543 | 0.75299
94 | 0.012998 | 0.0032595 | -0.012995 | -0.003258 | 2.7846e-06 | 1.5455e-06 | 0.019809 | 0.019809 | 0.019809 | 0.97643 | -0.4543 | 0.9762 | -0.4588 | 5.4421
95 | 0.010879 | 0.0027274 | -0.010875 | -0.0027256 | 3.4523e-06 | 1.7911e-06 | 0.016583 | 0.016583 | 0.016583 | 0.9762 | -0.4588 | 0.97586 | -0.46546 | 4.5557
96 | 0.0078811 | 0.0019753 | -0.0078806 | -0.0019751 | 5.1305e-07 | 2.1001e-07 | 0.012017 | 0.012017 | 0.012017 | 0.97586 | -0.46546 | 0.97579 | -0.46683 | 3.3015

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53335 | 0.13623

## res_load
| p_mw | q_mvar
0 | 0.0157 | 0.0039347
1 | 0.015571 | 0.0039025
2 | 0.0012364 | 0.00030987
3 | 0.013401 | 0.0033586
4 | 0.037421 | 0.0093786
5 | 0.0040573 | 0.0010169
6 | 0.022991 | 0.0057621
7 | 0.016145 | 0.0040464
8 | 0.039685 | 0.0099459
9 | 0.0022313 | 0.00055921
10 | 0.0096456 | 0.0024174
11 | 0.0039976 | 0.0010019
12 | 0.015962 | 0.0040004
13 | 0.011256 | 0.0028211
14 | 0.0054264 | 0.00136
15 | 0.0056888 | 0.0014257
16 | 0.0019678 | 0.00049319
17 | 0.016756 | 0.0041996
18 | 0.0060849 | 0.001525
19 | 0.011649 | 0.0029196
20 | 0.0030397 | 0.00076182
21 | 0.016419 | 0.0041149
22 | 0.006903 | 0.00173
23 | 0.0034492 | 0.00086444
24 | 0.0035143 | 0.00088076
25 | 0.0032571 | 0.0008163
26 | 0.025481 | 0.0063861
27 | 0.0061727 | 0.001547
28 | 0.0063006 | 0.0015791
29 | 0.01703 | 0.0042682
30 | 0.024193 | 0.0060634
31 | 0.02252 | 0.0056441
32 | 0.0051774 | 0.0012976
33 | 0.010867 | 0.0027235
34 | 0.0022076 | 0.00055327
35 | 0.0019126 | 0.00047934
36 | 0.0028044 | 0.00070286
37 | 0.025057 | 0.00628
38 | 0.0036298 | 0.00090971
39 | 0.003375 | 0.00084586
40 | 0.0028358 | 0.00071073
41 | 0.0031381 | 0.00078647
42 | 0.0033198 | 0.00083202
43 | 0.0032953 | 0.00082589
44 | 0.0033132 | 0.00083038
45 | 0.0031882 | 0.00079905
46 | 0.0029449 | 0.00073806
47 | 0.003125 | 0.00078319
48 | 0.0033956 | 0.00085102
49 | 0.0028898 | 0.00072425
50 | 0.0032818 | 0.0008225
51 | 0.0035565 | 0.00089135
52 | 0.00039681 | 9.9449e-05
53 | 0.0031436 | 0.00078786
54 | 0.00041902 | 0.00010502
55 | 0.0032684 | 0.00081913
56 | 0.0034823 | 0.00087274
57 | 0.0048951 | 0.0012268
58 | 0.0017985 | 0.00045074
59 | 0.0021169 | 0.00053054
60 | 0.0029939 | 0.00075035
61 | 0.0078806 | 0.0019751
62 | 0.0050969 | 0.0012774

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1