## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1040-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1040-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1040-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1040-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1040-3_0_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1040-3_0_2_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_1040-3_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1040-3_0_2_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_1040-3_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1040-3_0_2_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1040-3_0_2_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_1040-3_0_2_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_1040-3_0_2_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_1040-3_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1040-3_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1040-3_0_2_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_1040-3_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1040-3_0_2_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1040-3_0_2_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_1040-3_0_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1040-3_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1040-3_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1040-3_0_2_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_1040-3_0_2_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_1040-3_0_2_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_1040-3_0_2_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1040-3_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1040-3_0_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1040-3_0_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1040-3_0_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1040-3_0_2_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_1040-3_0_2_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_1040-3_0_2_node_60 | 0.4 | n |  | TRUE
33 | bus_MV_354_1_node_196 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1040-3_0_2_load_0 | 0 | 0.0056672 | 0.0014203 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1040-3_0_2_load_22 | 5 | 0.00031666 | 7.9364e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1040-3_0_2_load_39 | 7 | 0.0031204 | 0.00078204 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1040-3_0_2_load_69 | 10 | 0.078039 | 0.019559 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1040-3_0_2_load_49 | 11 | 0.0025639 | 0.00064257 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1040-3_0_2_load_53 | 12 | 0.0015642 | 0.00039203 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1040-3_0_2_load_67 | 15 | 0.00065232 | 0.00016349 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1040-3_0_2_load_68 | 18 | 0.0018368 | 0.00046034 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1040-3_0_2_load_23 | 20 | 0.007018 | 0.0017589 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1040-3_0_2_load_57 | 22 | 0.018398 | 0.004611 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1040-3_0_2_load_59 | 23 | 0.01615 | 0.0040476 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1040-3_0_2_load_70 | 24 | 0.0049485 | 0.0012402 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1040-3_0_2_load_27 | 25 | 0.0027478 | 0.00068865 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1040-3_0_2_load_28 | 26 | 0.0011982 | 0.00030031 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1040-3_0_2_load_30 | 28 | 0.0012409 | 0.000311 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1040-3_0_2_load_31 | 29 | 0.00022192 | 5.5619e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1040-3_0_2_load_48 | 30 | 0.0045468 | 0.0011395 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1040-3_0_2_load_60 | 32 | 0.038781 | 0.0097195 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1040-3_0_2_line_0 |  | 0 | 1 | 0.010072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1040-3_0_2_line_1 |  | 0 | 2 | 0.034579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1040-3_0_2_line_2 |  | 1 | 3 | 0.038312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1040-3_0_2_line_3 |  | 1 | 4 | 0.025262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1040-3_0_2_line_4 |  | 2 | 5 | 0.011538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1040-3_0_2_line_5 |  | 3 | 6 | 0.004295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1040-3_0_2_line_6 |  | 3 | 7 | 0.033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1040-3_0_2_line_7 |  | 4 | 9 | 0.045223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1040-3_0_2_line_8 |  | 6 | 11 | 0.019021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1040-3_0_2_line_9 |  | 6 | 12 | 0.12858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1040-3_0_2_line_10 |  | 8 | 9 | 0.10968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1040-3_0_2_line_11 |  | 8 | 10 | 0.013839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1040-3_0_2_line_12 |  | 9 | 15 | 0.046452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1040-3_0_2_line_13 |  | 9 | 16 | 0.030472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1040-3_0_2_line_14 |  | 11 | 30 | 0.03022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1040-3_0_2_line_15 |  | 12 | 29 | 0.020861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1040-3_0_2_line_16 |  | 13 | 14 | 0.056424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1040-3_0_2_line_17 |  | 13 | 15 | 0.0085575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1040-3_0_2_line_18 |  | 14 | 19 | 0.002309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1040-3_0_2_line_19 |  | 14 | 20 | 0.021759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1040-3_0_2_line_20 |  | 16 | 17 | 0.067732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1040-3_0_2_line_21 |  | 16 | 18 | 0.02471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1040-3_0_2_line_22 |  | 17 | 24 | 0.032432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1040-3_0_2_line_23 |  | 19 | 23 | 0.013978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1040-3_0_2_line_24 |  | 21 | 22 | 0.03156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1040-3_0_2_line_25 |  | 22 | 31 | 0.032198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1040-3_0_2_line_26 |  | 23 | 31 | 0.024554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1040-3_0_2_line_27 |  | 25 | 26 | 0.0045194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1040-3_0_2_line_28 |  | 25 | 27 | 0.017573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1040-3_0_2_line_29 |  | 27 | 28 | 0.027358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1040-3_0_2_line_30 |  | 27 | 29 | 0.023666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1040-3_0_2_line_31 |  | 31 | 32 | 0.01219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1040-3_0_2_trafo_14 | 0.63 MVA 20/0.4 kV | 33 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2661534.1828 | 1215546.5436 | 2661532.3921 | 1215549.3602 | 2661528.3808 | 1215554.7694
1 | 2661503.1015 | 1215578.2648 | 2661517.563 | 1215566.162 | 2661527.5483 | 1215555.892 | 2661528.3808 | 1215554.7694
2 | 2661534.1828 | 1215546.5436 | 2661535.0705 | 1215545.1519 | 2661537.0402 | 1215541.1809 | 2661539.6954 | 1215534.8155 | 2661539.9601 | 1215534.1845 | 2661543.2113 | 1215523.7783 | 2661544.6692 | 1215517.167 | 2661545.7579 | 1215510.274
3 | 2661534.1828 | 1215546.5436 | 2661535.3305 | 1215547.178 | 2661538.6526 | 1215549.0246 | 2661541.5972 | 1215550.6671 | 2661542.2163 | 1215551.007 | 2661542.9273 | 1215549.8136 | 2661543.8459 | 1215550.568 | 2661550.2495 | 1215559.1727 | 2661553.0149 | 1215559.0456
4 | 2661503.1015 | 1215578.2648 | 2661495.5252 | 1215569.5622
5 | 2661546.5078 | 1215506.0458 | 2661545.7579 | 1215510.274
6 | 2661545.7579 | 1215510.274 | 2661531.8254 | 1215508.6292 | 2661526.0561 | 1215509.1812 | 2661522.0767 | 1215512.1642 | 2661522.4839 | 1215516.849 | 2661524.8547 | 1215519.9099
7 | 2661553.0149 | 1215559.0456 | 2661554.1977 | 1215562.8936 | 2661560.1862 | 1215590.3723 | 2661563.9371 | 1215602.8965
8 | 2661546.5078 | 1215506.0458 | 2661549.169 | 1215487.2118
9 | 2661546.5078 | 1215506.0458 | 2661518.2476 | 1215503.5193 | 2661510.3219 | 1215501.1139 | 2661493.6935 | 1215482.5532 | 2661471.3988 | 1215455.2843 | 2661454.7583 | 1215434.1887 | 2661452.7622 | 1215429.7032
10 | 2661563.9371 | 1215602.8965 | 2661560.3715 | 1215602.5706 | 2661557.9683 | 1215594.8411 | 2661557.401 | 1215592.4226 | 2661570.0089 | 1215581.8685 | 2661572.7341 | 1215580.4846 | 2661571.8027 | 1215575.8277 | 2661575.5778 | 1215574.9773 | 2661583.2967 | 1215575.3461 | 2661584.8063 | 1215570.3475 | 2661587.984 | 1215565.5885 | 2661590.8039 | 1215567.5299 | 2661591.3996 | 1215567.9363 | 2661594.5969 | 1215562.755 | 2661598.0304 | 1215558.2321 | 2661622.0222 | 1215535.8329
11 | 2661622.0222 | 1215535.8329 | 2661632.1061 | 1215526.355
12 | 2661563.9371 | 1215602.8965 | 2661568.1442 | 1215613.8912 | 2661574.8712 | 1215628.6698 | 2661582.0496 | 1215641.6519 | 2661584.1088 | 1215644.6142
13 | 2661563.9371 | 1215602.8965 | 2661560.3715 | 1215602.5706 | 2661557.9683 | 1215594.8411 | 2661557.401 | 1215592.4226 | 2661544.8701 | 1215602.8664
14 | 2661553.3804 | 1215457.2868 | 2661550.2271 | 1215479.7235 | 2661549.169 | 1215487.2118
15 | 2661452.7622 | 1215429.7032 | 2661444.917 | 1215412.0737 | 2661444.3665 | 1215410.6091
16 | 2661588.9931 | 1215651.6409 | 2661595.4951 | 1215647.0385 | 2661600.3754 | 1215643.5868 | 2661601.9124 | 1215645.4927 | 2661604.6645 | 1215648.1117 | 2661608.7929 | 1215649.822 | 2661614.9331 | 1215650.0968 | 2661619.2575 | 1215649.0074 | 2661621.7969 | 1215647.2215 | 2661627.0952 | 1215654.0248 | 2661632.8879 | 1215661.4671
17 | 2661588.9931 | 1215651.6409 | 2661584.1088 | 1215644.6142
18 | 2661632.8879 | 1215661.4671 | 2661634.4094 | 1215659.7262
19 | 2661632.8879 | 1215661.4671 | 2661631.6661 | 1215662.8664 | 2661630.4329 | 1215666.8339 | 2661629.6827 | 1215674.0306 | 2661630.6545 | 1215678.4545 | 2661632.2082 | 1215682.1205
20 | 2661494.8982 | 1215648.4012 | 2661499.753 | 1215641.5248 | 2661544.8701 | 1215602.8664
21 | 2661544.8701 | 1215602.8664 | 2661560.3474 | 1215622.1282
22 | 2661494.8982 | 1215648.4012 | 2661516.7165 | 1215672.4522
23 | 2661634.4094 | 1215659.7262 | 2661635.9978 | 1215658.1305 | 2661638.1616 | 1215655.9626 | 2661644.2845 | 1215649.8333
24 | 2661615.2761 | 1215586.8057 | 2661637.5598 | 1215609.1541
25 | 2661660.2942 | 1215631.9544 | 2661637.5598 | 1215609.1541
26 | 2661660.2942 | 1215631.9544 | 2661644.3059 | 1215647.7655 | 2661644.2845 | 1215649.8333
27 | 2661418.3678 | 1215401.063 | 2661420.8454 | 1215397.2833
28 | 2661436.0404 | 1215388.4566 | 2661420.8454 | 1215397.2833
29 | 2661436.0404 | 1215388.4566 | 2661447.6548 | 1215377.0581 | 2661453.8139 | 1215367.8421
30 | 2661436.0404 | 1215388.4566 | 2661444.3665 | 1215410.6091
31 | 2661660.2942 | 1215631.9544 | 2661668.9015 | 1215640.586

## bus_geodata
| x | y | coords
0 | 2661528.3808 | 1215554.7694
1 | 2661534.1828 | 1215546.5436
2 | 2661503.1015 | 1215578.2648
3 | 2661545.7579 | 1215510.274
4 | 2661553.0149 | 1215559.0456
5 | 2661495.5252 | 1215569.5622
6 | 2661546.5078 | 1215506.0458
7 | 2661524.8547 | 1215519.9099
8 | 2661622.0222 | 1215535.8329
9 | 2661563.9371 | 1215602.8965
10 | 2661632.1061 | 1215526.355
11 | 2661549.169 | 1215487.2118
12 | 2661452.7622 | 1215429.7032
13 | 2661588.9931 | 1215651.6409
14 | 2661632.8879 | 1215661.4671
15 | 2661584.1088 | 1215644.6142
16 | 2661544.8701 | 1215602.8664
17 | 2661494.8982 | 1215648.4012
18 | 2661560.3474 | 1215622.1282
19 | 2661634.4094 | 1215659.7262
20 | 2661632.2082 | 1215682.1205
21 | 2661615.2761 | 1215586.8057
22 | 2661637.5598 | 1215609.1541
23 | 2661644.2845 | 1215649.8333
24 | 2661516.7165 | 1215672.4522
25 | 2661420.8454 | 1215397.2833
26 | 2661418.3678 | 1215401.063
27 | 2661436.0404 | 1215388.4566
28 | 2661453.8139 | 1215367.8421
29 | 2661444.3665 | 1215410.6091
30 | 2661553.3804 | 1215457.2868
31 | 2661660.2942 | 1215631.9544
32 | 2661668.9015 | 1215640.586
33 | 2661601.2021 | 1215601.8029

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9786 | -0.40983 | 0.0056672 | 0.0014203
1 | 0.97865 | -0.40873 | 0 | 0
2 | 0.97859 | -0.41003 | 0 | 0
3 | 0.97804 | -0.42074 | 0 | 0
4 | 0.9792 | -0.39807 | 0 | 0
5 | 0.97858 | -0.4101 | 0.00031666 | 7.9364e-05
6 | 0.97799 | -0.42185 | 0 | 0
7 | 0.97794 | -0.42264 | 0.0031204 | 0.00078204
8 | 0.97217 | -0.53559 | 0 | 0
9 | 0.98017 | -0.37902 | 0 | 0
10 | 0.97117 | -0.55552 | 0.078039 | 0.019559
11 | 0.97786 | -0.42431 | 0.0025639 | 0.00064257
12 | 0.97715 | -0.43821 | 0.0015642 | 0.00039203
13 | 0.98571 | -0.27171 | 0 | 0
14 | 0.99144 | -0.16233 | 0 | 0
15 | 0.98485 | -0.28841 | 0.00065232 | 0.00016349
16 | 0.97998 | -0.38277 | 0 | 0
17 | 0.97967 | -0.38886 | 0 | 0
18 | 0.97993 | -0.3836 | 0.0018368 | 0.00046034
19 | 0.99169 | -0.15759 | 0 | 0
20 | 0.9913 | -0.16504 | 0.007018 | 0.0017589
21 | 1 | 0 | -0.19381 | -0.049372
22 | 0.99724 | -0.052138 | 0.018398 | 0.004611
23 | 0.99319 | -0.12897 | 0.01615 | 0.0040476
24 | 0.97952 | -0.39178 | 0.0049485 | 0.0012402
25 | 0.97687 | -0.44378 | 0.0027478 | 0.00068865
26 | 0.97687 | -0.44388 | 0.0011982 | 0.00030031
27 | 0.97693 | -0.44251 | 0 | 0
28 | 0.9769 | -0.44313 | 0.0012409 | 0.000311
29 | 0.97705 | -0.44027 | 0.00022192 | 5.5619e-05
30 | 0.97773 | -0.42682 | 0.0045468 | 0.0011395
31 | 0.9947 | -0.10041 | 0 | 0
32 | 0.99427 | -0.10874 | 0.038781 | 0.0097195
33 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0059839 | -0.0014991 | 0.0059842 | 0.0014992 | 3.1268e-07 | 7.3565e-08 | 0.0090987 | 0.0090986 | 0.0090987 | 0.9786 | -0.40983 | 0.97865 | -0.40873 | 2.4996
1 | 0.00031667 | 7.8787e-05 | -0.00031667 | -7.9219e-05 | 3.0049e-09 | -4.3252e-07 | 0.00048131 | 0.00048146 | 0.00048146 | 0.9786 | -0.40983 | 0.97859 | -0.41003 | 0.13227
2 | 0.017223 | 0.0043196 | -0.017213 | -0.0043138 | 9.8535e-06 | 5.8251e-06 | 0.026189 | 0.026189 | 0.026189 | 0.97865 | -0.40873 | 0.97804 | -0.42074 | 7.1947
3 | -0.023207 | -0.0058188 | 0.023219 | 0.005826 | 1.1796e-05 | 7.2318e-06 | 0.035287 | 0.035287 | 0.035287 | 0.97865 | -0.40873 | 0.9792 | -0.39807 | 9.6943
4 | 0.00031667 | 7.9219e-05 | -0.00031666 | -7.9364e-05 | 1.0031e-09 | -1.4432e-07 | 0.00048146 | 0.00048151 | 0.00048151 | 0.97859 | -0.41003 | 0.97858 | -0.4101 | 0.13228
5 | 0.014093 | 0.003532 | -0.014092 | -0.0035316 | 7.4043e-07 | 4.1998e-07 | 0.021441 | 0.021441 | 0.021441 | 0.97804 | -0.42074 | 0.97799 | -0.42185 | 5.8904
6 | 0.0031206 | 0.0007818 | -0.0031204 | -0.00078204 | 2.821e-07 | -2.3822e-07 | 0.0047477 | 0.0047479 | 0.0047479 | 0.97804 | -0.42074 | 0.97794 | -0.42264 | 1.3044
7 | -0.023219 | -0.005826 | 0.02324 | 0.005839 | 2.1116e-05 | 1.2945e-05 | 0.035287 | 0.035287 | 0.035287 | 0.9792 | -0.39807 | 0.98017 | -0.37902 | 9.6942
8 | 0.0071121 | 0.0017824 | -0.0071113 | -0.0017821 | 8.3524e-07 | 2.9591e-07 | 0.010821 | 0.010821 | 0.010821 | 0.97799 | -0.42185 | 0.97786 | -0.42431 | 2.9729
9 | 0.0069799 | 0.0017492 | -0.0069744 | -0.0017473 | 5.4382e-06 | 1.8684e-06 | 0.01062 | 0.01062 | 0.01062 | 0.97799 | -0.42185 | 0.97715 | -0.43821 | 2.9177
10 | -0.078114 | -0.019606 | 0.078702 | 0.019981 | 0.00058807 | 0.00037499 | 0.11957 | 0.11957 | 0.11957 | 0.97217 | -0.53559 | 0.98017 | -0.37902 | 32.8494
11 | 0.078114 | 0.019606 | -0.078039 | -0.019559 | 7.4198e-05 | 4.7315e-05 | 0.11957 | 0.11957 | 0.11957 | 0.97217 | -0.53559 | 0.97117 | -0.55552 | 32.8494
12 | -0.10873 | -0.027521 | 0.10921 | 0.027824 | 0.00047519 | 0.00030353 | 0.16516 | 0.16516 | 0.16516 | 0.98017 | -0.37902 | 0.98485 | -0.28841 | 45.3747
13 | 0.0067887 | 0.0017008 | -0.0067875 | -0.0017004 | 1.2137e-06 | 3.9275e-07 | 0.010306 | 0.010306 | 0.010306 | 0.98017 | -0.37902 | 0.97998 | -0.38277 | 2.8313
14 | 0.0045474 | 0.0011395 | -0.0045468 | -0.0011395 | 5.4263e-07 | -3.1768e-08 | 0.0069197 | 0.0069198 | 0.0069198 | 0.97786 | -0.42431 | 0.97773 | -0.42682 | 1.9011
15 | 0.0054102 | 0.0013553 | -0.0054096 | -0.0013552 | 5.3096e-07 | 7.8522e-08 | 0.0082384 | 0.0082385 | 0.0082385 | 0.97715 | -0.43821 | 0.97705 | -0.44027 | 2.2633
16 | -0.10995 | -0.028044 | 0.11053 | 0.028417 | 0.00058411 | 0.00037311 | 0.16615 | 0.16615 | 0.16615 | 0.98571 | -0.27171 | 0.99144 | -0.16233 | 45.6454
17 | 0.10995 | 0.028044 | -0.10986 | -0.027988 | 8.8588e-05 | 5.6587e-05 | 0.16615 | 0.16615 | 0.16615 | 0.98571 | -0.27171 | 0.98485 | -0.28841 | 45.6454
18 | -0.11755 | -0.030176 | 0.11758 | 0.030194 | 2.703e-05 | 1.7269e-05 | 0.17668 | 0.17668 | 0.17668 | 0.99144 | -0.16233 | 0.99169 | -0.15759 | 48.5393
19 | 0.0070189 | 0.0017592 | -0.007018 | -0.0017589 | 9.0552e-07 | 2.9898e-07 | 0.010534 | 0.010535 | 0.010535 | 0.99144 | -0.16233 | 0.9913 | -0.16504 | 2.8941
20 | 0.0049506 | 0.0012403 | -0.0049492 | -0.0012402 | 1.4353e-06 | 6.5464e-08 | 0.007517 | 0.0075173 | 0.0075173 | 0.97998 | -0.38277 | 0.97967 | -0.38886 | 2.0652
21 | 0.0018368 | 0.00046007 | -0.0018368 | -0.00046034 | 7.2079e-08 | -2.6518e-07 | 0.002789 | 0.0027891 | 0.0027891 | 0.97998 | -0.38277 | 0.97993 | -0.3836 | 0.76624
22 | 0.0049492 | 0.0012402 | -0.0049485 | -0.0012402 | 6.8728e-07 | 3.1564e-08 | 0.0075173 | 0.0075174 | 0.0075174 | 0.97967 | -0.38886 | 0.97952 | -0.39178 | 2.0652
23 | -0.11758 | -0.030194 | 0.11774 | 0.030298 | 0.00016363 | 0.00010454 | 0.17668 | 0.17668 | 0.17668 | 0.99169 | -0.15759 | 0.99319 | -0.12897 | 48.5393
24 | 0.19216 | 0.049372 | -0.19168 | -0.049063 | 0.00048527 | 0.00030975 | 0.28637 | 0.28637 | 0.28637 | 1 | 0 | 0.99724 | -0.052138 | 39.3365
25 | 0.17328 | 0.044451 | -0.17287 | -0.044193 | 0.00040472 | 0.00025818 | 0.25892 | 0.25892 | 0.25892 | 0.99724 | -0.052138 | 0.9947 | -0.10041 | 35.5656
26 | -0.13389 | -0.034346 | 0.13408 | 0.034464 | 0.00018578 | 0.00011826 | 0.20088 | 0.20088 | 0.20088 | 0.99319 | -0.12897 | 0.9947 | -0.10041 | 27.5933
27 | 0.0011983 | 0.00030026 | -0.0011982 | -0.00030031 | 5.646e-09 | -5.2966e-08 | 0.0018252 | 0.0018252 | 0.0018252 | 0.97687 | -0.44378 | 0.97687 | -0.44388 | 0.50144
28 | -0.003946 | -0.00098891 | 0.0039462 | 0.00098884 | 2.3808e-07 | -6.7644e-08 | 0.0060107 | 0.0060107 | 0.0060107 | 0.97687 | -0.44378 | 0.97693 | -0.44251 | 1.6513
29 | 0.0012409 | 0.00031068 | -0.0012409 | -0.000311 | 3.6649e-08 | -3.1908e-07 | 0.00189 | 0.0018901 | 0.0018901 | 0.97693 | -0.44251 | 0.9769 | -0.44313 | 0.51926
30 | -0.0051872 | -0.0012995 | 0.0051877 | 0.0012996 | 5.5395e-07 | 5.8173e-08 | 0.0079006 | 0.0079005 | 0.0079006 | 0.97693 | -0.44251 | 0.97705 | -0.44027 | 2.1705
31 | 0.038796 | 0.0097292 | -0.038781 | -0.0097195 | 1.5398e-05 | 9.6968e-06 | 0.05804 | 0.05804 | 0.05804 | 0.9947 | -0.10041 | 0.99427 | -0.10874 | 15.945

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19381 | 0.049372

## res_load
| p_mw | q_mvar
0 | 0.0056672 | 0.0014203
1 | 0.00031666 | 7.9364e-05
2 | 0.0031204 | 0.00078204
3 | 0.078039 | 0.019559
4 | 0.0025639 | 0.00064257
5 | 0.0015642 | 0.00039203
6 | 0.00065232 | 0.00016349
7 | 0.0018368 | 0.00046034
8 | 0.007018 | 0.0017589
9 | 0.018398 | 0.004611
10 | 0.01615 | 0.0040476
11 | 0.0049485 | 0.0012402
12 | 0.0027478 | 0.00068865
13 | 0.0011982 | 0.00030031
14 | 0.0012409 | 0.000311
15 | 0.00022192 | 5.5619e-05
16 | 0.0045468 | 0.0011395
17 | 0.038781 | 0.0097195

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1