## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1040-3_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_1040-3_1_3_node_66 | 0.4 | n |  | TRUE
2 | bus_LV_1040-3_1_3_node_41 | 0.4 | n |  | TRUE
3 | bus_LV_1040-3_1_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1040-3_1_3_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_1040-3_1_3_node_65 | 0.4 | n |  | TRUE
6 | bus_LV_1040-3_1_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1040-3_1_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1040-3_1_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1040-3_1_3_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_1040-3_1_3_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_1040-3_1_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_1040-3_1_3_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_1040-3_1_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1040-3_1_3_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_1040-3_1_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1040-3_1_3_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_1040-3_1_3_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_1040-3_1_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_1040-3_1_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1040-3_1_3_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_1040-3_1_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_1040-3_1_3_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_1040-3_1_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1040-3_1_3_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_1040-3_1_3_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_1040-3_1_3_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_1040-3_1_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1040-3_1_3_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_1040-3_1_3_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_1040-3_1_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_1040-3_1_3_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_1040-3_1_3_node_63 | 0.4 | n |  | TRUE
33 | bus_MV_354_1_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1040-3_1_3_load_66 | 1 | 0.0072822 | 0.0018251 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1040-3_1_3_load_41 | 2 | 0.017907 | 0.0044879 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1040-3_1_3_load_65 | 5 | 0.0028823 | 0.00072238 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1040-3_1_3_load_54 | 9 | 0.0065714 | 0.001647 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1040-3_1_3_load_50 | 10 | 0.00074717 | 0.00018726 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1040-3_1_3_load_45 | 11 | 0.081728 | 0.020483 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1040-3_1_3_load_40 | 12 | 0.0013965 | 0.00034998 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1040-3_1_3_load_24 | 15 | 0.0052393 | 0.0013131 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1040-3_1_3_load_47 | 16 | 0.025019 | 0.0062704 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1040-3_1_3_load_46 | 17 | 0.025103 | 0.0062913 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1040-3_1_3_load_51 | 18 | 0.0004976 | 0.00012471 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1040-3_1_3_load_25 | 19 | 0.0017295 | 0.00043345 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1040-3_1_3_load_42 | 20 | 0.011267 | 0.0028238 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1040-3_1_3_load_35 | 21 | 0.0015348 | 0.00038465 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1040-3_1_3_load_38 | 24 | 0.00036309 | 9.0998e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1040-3_1_3_load_61 | 25 | 0.00040949 | 0.00010263 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1040-3_1_3_load_62 | 26 | 0.0027412 | 0.00068701 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1040-3_1_3_load_55 | 27 | 0.00055144 | 0.0001382 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1040-3_1_3_load_52 | 28 | 0.0025374 | 0.00063592 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1040-3_1_3_load_56 | 29 | 0.00039682 | 9.9453e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1040-3_1_3_load_64 | 31 | 0.0041943 | 0.0010512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1040-3_1_3_load_63 | 32 | 0.00033839 | 8.4808e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1040-3_1_3_line_0 |  | 0 | 1 | 0.020778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1040-3_1_3_line_1 |  | 0 | 2 | 0.03984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1040-3_1_3_line_2 |  | 1 | 11 | 0.024889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1040-3_1_3_line_3 |  | 2 | 12 | 0.027132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1040-3_1_3_line_4 |  | 3 | 4 | 0.68342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1040-3_1_3_line_5 |  | 3 | 5 | 0.0056613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1040-3_1_3_line_6 |  | 4 | 6 | 0.16714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1040-3_1_3_line_7 |  | 5 | 13 | 0.080689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1040-3_1_3_line_8 |  | 6 | 7 | 0.36287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1040-3_1_3_line_9 |  | 6 | 8 | 0.033479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1040-3_1_3_line_10 |  | 6 | 9 | 0.038614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1040-3_1_3_line_11 |  | 7 | 10 | 0.070066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1040-3_1_3_line_12 |  | 8 | 15 | 0.036586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1040-3_1_3_line_13 |  | 10 | 18 | 0.023524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1040-3_1_3_line_14 |  | 11 | 14 | 0.04381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1040-3_1_3_line_15 |  | 13 | 14 | 0.082896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1040-3_1_3_line_16 |  | 14 | 20 | 0.036591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1040-3_1_3_line_17 |  | 15 | 19 | 0.022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1040-3_1_3_line_18 |  | 16 | 17 | 0.084629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1040-3_1_3_line_19 |  | 17 | 30 | 0.025551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1040-3_1_3_line_20 |  | 18 | 28 | 0.01841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1040-3_1_3_line_21 |  | 20 | 30 | 0.067887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1040-3_1_3_line_22 |  | 21 | 22 | 0.037245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1040-3_1_3_line_23 |  | 22 | 23 | 0.020699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1040-3_1_3_line_24 |  | 22 | 24 | 0.023987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1040-3_1_3_line_25 |  | 23 | 25 | 0.028408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1040-3_1_3_line_26 |  | 23 | 26 | 0.0034173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1040-3_1_3_line_27 |  | 24 | 27 | 0.011676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1040-3_1_3_line_28 |  | 25 | 28 | 0.038466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1040-3_1_3_line_29 |  | 27 | 29 | 0.014478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1040-3_1_3_line_30 |  | 29 | 31 | 0.0013494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1040-3_1_3_line_31 |  | 31 | 32 | 0.0059283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1040-3_1_3_trafo_47 | 0.63 MVA 20/0.4 kV | 33 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44
0 | 2661651.0968 | 1215312.0509 | 2661655.3581 | 1215291.7145
1 | 2661651.0968 | 1215312.0509 | 2661649.3467 | 1215331.4782 | 2661646.028 | 1215351.5397
2 | 2661655.3581 | 1215291.7145 | 2661660.4625 | 1215267.3549
3 | 2661646.028 | 1215351.5397 | 2661641.5997 | 1215378.3082
4 | 2661573.4425 | 1215319.331 | 2661577.5757 | 1215353.6726 | 2661578.1407 | 1215372.4789 | 2661578.1004 | 1215379.3271 | 2661577.9469 | 1215398.593 | 2661574.9307 | 1215426.668 | 2661570.9889 | 1215456.1344 | 2661563.1115 | 1215513.7441 | 2661561.8583 | 1215529.2074 | 2661561.4235 | 1215548.5037 | 2661563.5405 | 1215570.717 | 2661568.4256 | 1215594.0041 | 2661573.5277 | 1215609.5107 | 2661580.9469 | 1215625.6417 | 2661595.4951 | 1215647.0385 | 2661600.3754 | 1215643.5868 | 2661601.9124 | 1215645.4927 | 2661604.6645 | 1215648.1117 | 2661608.7929 | 1215649.822 | 2661614.9331 | 1215650.0968 | 2661619.2575 | 1215649.0074 | 2661621.7969 | 1215647.2215 | 2661623.459 | 1215645.104 | 2661616.3995 | 1215636.7926 | 2661611.3032 | 1215628.079 | 2661606.2176 | 1215622.0116 | 2661584.7327 | 1215598.7754 | 2661583.671 | 1215596.4407 | 2661583.6156 | 1215590.0473 | 2661576.3773 | 1215582.1233 | 2661572.7341 | 1215580.4846 | 2661571.8027 | 1215575.8277 | 2661575.5778 | 1215574.9773 | 2661583.2967 | 1215575.3461 | 2661584.8063 | 1215570.3475 | 2661587.984 | 1215565.5885 | 2661591.9561 | 1215559.6481 | 2661595.1298 | 1215555.2781 | 2661608.5995 | 1215541.4421 | 2661618.5476 | 1215532.5838 | 2661630.6421 | 1215521.7688 | 2661643.3145 | 1215510.882 | 2661672.5885 | 1215484.4127 | 2661733.9639 | 1215433.4941 | 2661737.497 | 1215436.9662
5 | 2661573.4425 | 1215319.331 | 2661578.027 | 1215318.8113 | 2661579.0685 | 1215318.6998
6 | 2661737.497 | 1215436.9662 | 2661774.0129 | 1215407.8819 | 2661770.7277 | 1215404.6681 | 2661806.1596 | 1215376.907 | 2661821.2733 | 1215370.8488 | 2661837.5334 | 1215369.2164 | 2661873.5546 | 1215356.4154
7 | 2661572.4482 | 1215241.3616 | 2661573.3308 | 1215245.6066 | 2661573.5697 | 1215246.7431 | 2661571.0218 | 1215248.5846 | 2661568.6972 | 1215252.3518 | 2661568.2118 | 1215255.9601 | 2661569.1734 | 1215261.3845 | 2661574.8502 | 1215280.8329 | 2661576.0729 | 1215288.906 | 2661575.8553 | 1215298.2095 | 2661579.0685 | 1215318.6998
8 | 2661873.5546 | 1215356.4154 | 2661837.5334 | 1215369.2164 | 2661821.2733 | 1215370.8488 | 2661844.2525 | 1215345.2046 | 2661880.9822 | 1215313.9218 | 2661913.4283 | 1215284.9184 | 2661923.642 | 1215282.0116 | 2661963.306 | 1215281.1897 | 2661979.8787 | 1215284.5751 | 2662016.3913 | 1215301.265 | 2662025.6905 | 1215305.9646 | 2662039.8167 | 1215313.1159 | 2662072.7842 | 1215336.9403 | 2662078.4232 | 1215342.3579
9 | 2661873.5546 | 1215356.4154 | 2661897.3031 | 1215339.3513 | 2661901.0237 | 1215337.1997
10 | 2661873.5546 | 1215356.4154 | 2661901.9178 | 1215382.6177
11 | 2662078.4232 | 1215342.3579 | 2662089.9644 | 1215353.4293 | 2662105.005 | 1215360.9906 | 2662126.9698 | 1215370.125 | 2662138.2308 | 1215377.4806
12 | 2661901.0237 | 1215337.1997 | 2661904.9352 | 1215334.9389 | 2661921.2782 | 1215335.5756 | 2661935.9694 | 1215341.1486
13 | 2662138.2308 | 1215377.4806 | 2662152.3275 | 1215386.6883 | 2662156.912 | 1215391.5565
14 | 2661654.4593 | 1215227.7782 | 2661664.4697 | 1215239.3777 | 2661665.0843 | 1215245.2989 | 2661660.4625 | 1215267.3549
15 | 2661572.4482 | 1215241.3616 | 2661597.3947 | 1215236.9164 | 2661654.4593 | 1215227.7782
16 | 2661654.4593 | 1215227.7782 | 2661690.6542 | 1215222.4094
17 | 2661956.561 | 1215348.9597 | 2661935.9694 | 1215341.1486
18 | 2661772.3033 | 1215257.751 | 2661787.2168 | 1215269.589 | 2661806.7562 | 1215283.4889 | 2661808.321 | 1215290.7652 | 2661806.4347 | 1215296.9161 | 2661793.963 | 1215309.6058 | 2661786.5372 | 1215316.2144
19 | 2661752.291 | 1215241.8657 | 2661772.3033 | 1215257.751
20 | 2662169.5265 | 1215404.9651 | 2662169.4893 | 1215404.9118 | 2662156.912 | 1215391.5565
21 | 2661752.291 | 1215241.8657 | 2661725.1963 | 1215223.4739 | 2661713.6807 | 1215220.1082 | 2661691.7346 | 1215222.2491 | 2661690.6542 | 1215222.4094
22 | 2662182.1859 | 1215450.0498 | 2662175.3761 | 1215444.064 | 2662161.8679 | 1215432.316 | 2662152.9165 | 1215427.2698
23 | 2662182.1859 | 1215450.0498 | 2662197.7622 | 1215463.7318
24 | 2662182.1859 | 1215450.0498 | 2662169.3462 | 1215470.3106
25 | 2662197.7622 | 1215463.7318 | 2662196.5162 | 1215446.3192 | 2662190.957 | 1215436.8839
26 | 2662197.7622 | 1215463.7318 | 2662200.0049 | 1215466.3101
27 | 2662169.3462 | 1215470.3106 | 2662163.0961 | 1215480.1729
28 | 2662169.5265 | 1215404.9651 | 2662186.3461 | 1215429.058 | 2662190.957 | 1215436.8839
29 | 2662155.3464 | 1215492.4017 | 2662163.0961 | 1215480.1729
30 | 2662155.3464 | 1215492.4017 | 2662154.6241 | 1215493.5415
31 | 2662151.4508 | 1215498.5489 | 2662154.6241 | 1215493.5415

## bus_geodata
| x | y | coords
0 | 2661651.0968 | 1215312.0509
1 | 2661655.3581 | 1215291.7145
2 | 2661646.028 | 1215351.5397
3 | 2661573.4425 | 1215319.331
4 | 2661737.497 | 1215436.9662
5 | 2661579.0685 | 1215318.6998
6 | 2661873.5546 | 1215356.4154
7 | 2662078.4232 | 1215342.3579
8 | 2661901.0237 | 1215337.1997
9 | 2661901.9178 | 1215382.6177
10 | 2662138.2308 | 1215377.4806
11 | 2661660.4625 | 1215267.3549
12 | 2661641.5997 | 1215378.3082
13 | 2661572.4482 | 1215241.3616
14 | 2661654.4593 | 1215227.7782
15 | 2661935.9694 | 1215341.1486
16 | 2661786.5372 | 1215316.2144
17 | 2661772.3033 | 1215257.751
18 | 2662156.912 | 1215391.5565
19 | 2661956.561 | 1215348.9597
20 | 2661690.6542 | 1215222.4094
21 | 2662152.9165 | 1215427.2698
22 | 2662182.1859 | 1215450.0498
23 | 2662197.7622 | 1215463.7318
24 | 2662169.3462 | 1215470.3106
25 | 2662190.957 | 1215436.8839
26 | 2662200.0049 | 1215466.3101
27 | 2662163.0961 | 1215480.1729
28 | 2662169.5265 | 1215404.9651
29 | 2662155.3464 | 1215492.4017
30 | 2661752.291 | 1215241.8657
31 | 2662154.6241 | 1215493.5415
32 | 2662151.4508 | 1215498.5489
33 | 2661770.8534 | 1215333.9385

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98421 | -0.30361 | 0 | 0
1 | 0.98458 | -0.2964 | 0.0072822 | 0.0018251
2 | 0.9835 | -0.31746 | 0.017907 | 0.0044879
3 | 0.98796 | -0.2306 | 0 | 0
4 | 0.98207 | -0.34489 | 0 | 0
5 | 0.98801 | -0.22966 | 0.0028823 | 0.00072238
6 | 0.98063 | -0.373 | 0 | 0
7 | 0.97579 | -0.4677 | 0 | 0
8 | 0.98041 | -0.37723 | 0 | 0
9 | 0.98039 | -0.3776 | 0.0065714 | 0.001647
10 | 0.97486 | -0.48608 | 0.00074717 | 0.00018726
11 | 0.98519 | -0.28451 | 0.081728 | 0.020483
12 | 0.98347 | -0.31814 | 0.0013965 | 0.00034998
13 | 0.98877 | -0.21486 | 0 | 0
14 | 0.98956 | -0.19967 | 0 | 0
15 | 0.98018 | -0.38186 | 0.0052393 | 0.0013131
16 | 1 | 0 | -0.17942 | -0.045413
17 | 0.99544 | -0.086717 | 0.025103 | 0.0062913
18 | 0.97456 | -0.49194 | 0.0004976 | 0.00012471
19 | 0.98014 | -0.38255 | 0.0017295 | 0.00043345
20 | 0.99113 | -0.1695 | 0.011267 | 0.0028238
21 | 0.9735 | -0.51295 | 0.0015348 | 0.00038465
22 | 0.97355 | -0.5119 | 0 | 0
23 | 0.97369 | -0.50909 | 0 | 0
24 | 0.97342 | -0.51447 | 0.00036309 | 9.0998e-05
25 | 0.97396 | -0.5038 | 0.00040949 | 0.00010263
26 | 0.97368 | -0.50926 | 0.0027412 | 0.00068701
27 | 0.97336 | -0.51565 | 0.00055144 | 0.0001382
28 | 0.97434 | -0.49636 | 0.0025374 | 0.00063592
29 | 0.97329 | -0.51697 | 0.00039682 | 9.9453e-05
30 | 0.99426 | -0.10928 | 0 | 0
31 | 0.97329 | -0.51708 | 0.0041943 | 0.0010512
32 | 0.97328 | -0.51711 | 0.00033839 | 8.4808e-05
33 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.019316 | -0.0048452 | 0.019323 | 0.0048492 | 6.6459e-06 | 3.9892e-06 | 0.029205 | 0.029205 | 0.029205 | 0.98421 | -0.30361 | 0.98458 | -0.2964 | 8.0234
1 | 0.019316 | 0.0048452 | -0.019303 | -0.0048375 | 1.2743e-05 | 7.6496e-06 | 0.029205 | 0.029205 | 0.029205 | 0.98421 | -0.30361 | 0.9835 | -0.31746 | 8.0234
2 | -0.026605 | -0.0066743 | 0.02662 | 0.0066836 | 1.5091e-05 | 9.3414e-06 | 0.040211 | 0.040211 | 0.040211 | 0.98458 | -0.2964 | 0.98519 | -0.28451 | 11.0469
3 | 0.0013965 | 0.00034967 | -0.0013965 | -0.00034998 | 4.5419e-08 | -3.1523e-07 | 0.0021127 | 0.0021129 | 0.0021129 | 0.9835 | -0.31746 | 0.98347 | -0.31814 | 0.58046
4 | 0.028141 | 0.0071227 | -0.027987 | -0.0070505 | 0.00015368 | 7.2255e-05 | 0.042409 | 0.042418 | 0.042418 | 0.98796 | -0.2306 | 0.98207 | -0.34489 | 3.8845
5 | -0.028141 | -0.0071227 | 0.028142 | 0.0071233 | 1.2727e-06 | 5.9706e-07 | 0.042409 | 0.042409 | 0.042409 | 0.98796 | -0.2306 | 0.98801 | -0.22966 | 3.8836
6 | 0.027987 | 0.0070505 | -0.027949 | -0.0070327 | 3.7595e-05 | 1.7725e-05 | 0.042418 | 0.042421 | 0.042421 | 0.98207 | -0.34489 | 0.98063 | -0.373 | 3.8847
7 | -0.031024 | -0.0078457 | 0.031046 | 0.0078567 | 2.2043e-05 | 1.1005e-05 | 0.04675 | 0.046749 | 0.04675 | 0.98801 | -0.22966 | 0.98877 | -0.21486 | 4.2811
8 | 0.014405 | 0.003638 | -0.01434 | -0.003601 | 6.5076e-05 | 3.7093e-05 | 0.021868 | 0.021869 | 0.021869 | 0.98063 | -0.373 | 0.97579 | -0.4677 | 6.0081
9 | 0.0069718 | 0.0017473 | -0.0069704 | -0.0017468 | 1.4051e-06 | 4.7698e-07 | 0.010579 | 0.010579 | 0.010579 | 0.98063 | -0.373 | 0.98041 | -0.37723 | 2.9064
10 | 0.0065729 | 0.0016474 | -0.0065714 | -0.001647 | 1.4405e-06 | 4.3487e-07 | 0.0099738 | 0.009974 | 0.009974 | 0.98063 | -0.373 | 0.98039 | -0.3776 | 2.7401
11 | 0.01434 | 0.003601 | -0.014327 | -0.0035938 | 1.2567e-05 | 7.1682e-06 | 0.021869 | 0.02187 | 0.02187 | 0.97579 | -0.4677 | 0.97486 | -0.48608 | 6.0082
12 | 0.0069704 | 0.0017468 | -0.0069688 | -0.0017463 | 1.5355e-06 | 5.2149e-07 | 0.010579 | 0.010579 | 0.010579 | 0.98041 | -0.37723 | 0.98018 | -0.38186 | 2.9064
13 | 0.01358 | 0.0034065 | -0.013576 | -0.0034044 | 3.7907e-06 | 2.1328e-06 | 0.020729 | 0.020729 | 0.020729 | 0.97486 | -0.48608 | 0.97456 | -0.49194 | 5.6949
14 | -0.10835 | -0.027167 | 0.10879 | 0.027448 | 0.00043999 | 0.00028103 | 0.16365 | 0.16365 | 0.16365 | 0.98519 | -0.28451 | 0.98956 | -0.19967 | 44.9592
15 | -0.031046 | -0.0078567 | 0.031069 | 0.007868 | 2.2645e-05 | 1.1301e-05 | 0.046749 | 0.046748 | 0.046749 | 0.98877 | -0.21486 | 0.98956 | -0.19967 | 4.281
16 | -0.13986 | -0.035316 | 0.14006 | 0.035444 | 0.00020247 | 0.00012817 | 0.2104 | 0.2104 | 0.2104 | 0.98956 | -0.19967 | 0.99113 | -0.1695 | 19.2673
17 | 0.0017295 | 0.0004332 | -0.0017295 | -0.00043345 | 5.6933e-08 | -2.4114e-07 | 0.0026255 | 0.0026256 | 0.0026256 | 0.98018 | -0.38186 | 0.98014 | -0.38255 | 0.72132
18 | 0.17777 | 0.045413 | -0.17703 | -0.044942 | 0.00074197 | 0.00047154 | 0.26484 | 0.26484 | 0.26484 | 1 | 0 | 0.99544 | -0.086717 | 24.2524
19 | 0.15193 | 0.03865 | -0.15176 | -0.038546 | 0.00016503 | 0.00010462 | 0.22731 | 0.22731 | 0.22731 | 0.99544 | -0.086717 | 0.99426 | -0.10928 | 20.8162
20 | 0.013078 | 0.0032797 | -0.013076 | -0.0032782 | 2.7532e-06 | 1.5327e-06 | 0.01997 | 0.01997 | 0.01997 | 0.97456 | -0.49194 | 0.97434 | -0.49636 | 5.4862
21 | -0.15133 | -0.038268 | 0.15176 | 0.038546 | 0.00043848 | 0.00027799 | 0.22731 | 0.22731 | 0.22731 | 0.99113 | -0.1695 | 0.99426 | -0.10928 | 20.8163
22 | -0.0015348 | -0.00038465 | 0.0015348 | 0.00038423 | 7.6858e-08 | -4.139e-07 | 0.0023459 | 0.0023458 | 0.0023459 | 0.9735 | -0.51295 | 0.97355 | -0.5119 | 0.64448
23 | -0.0073803 | -0.001849 | 0.0073812 | 0.0018494 | 9.8765e-07 | 3.7468e-07 | 0.01128 | 0.01128 | 0.01128 | 0.97355 | -0.5119 | 0.97369 | -0.50909 | 3.0989
24 | 0.0058454 | 0.0014648 | -0.0058447 | -0.0014647 | 7.1801e-07 | 1.6131e-07 | 0.0089343 | 0.0089345 | 0.0089345 | 0.97355 | -0.5119 | 0.97342 | -0.51447 | 2.4545
25 | -0.010122 | -0.0025364 | 0.010125 | 0.0025377 | 2.5492e-06 | 1.2781e-06 | 0.015469 | 0.015469 | 0.015469 | 0.97369 | -0.50909 | 0.97396 | -0.5038 | 4.2498
26 | 0.0027412 | 0.00068699 | -0.0027412 | -0.00068701 | 2.2489e-08 | -2.8111e-08 | 0.0041892 | 0.0041892 | 0.0041892 | 0.97369 | -0.50909 | 0.97368 | -0.50926 | 1.1509
27 | 0.0054816 | 0.0013737 | -0.0054813 | -0.0013736 | 3.0744e-07 | 5.1623e-08 | 0.0083794 | 0.0083795 | 0.0083795 | 0.97342 | -0.51447 | 0.97336 | -0.51565 | 2.3021
28 | -0.010535 | -0.0026403 | 0.010538 | 0.0026422 | 3.7366e-06 | 1.9125e-06 | 0.016095 | 0.016095 | 0.016095 | 0.97396 | -0.5038 | 0.97434 | -0.49636 | 4.4216
29 | 0.0049299 | 0.0012354 | -0.0049296 | -0.0012354 | 3.0837e-07 | 1.7416e-08 | 0.0075365 | 0.0075365 | 0.0075365 | 0.97336 | -0.51565 | 0.97329 | -0.51697 | 2.0705
30 | 0.0045327 | 0.0011359 | -0.0045327 | -0.0011359 | 2.4301e-08 | -1.2176e-09 | 0.0069299 | 0.0069299 | 0.0069299 | 0.97329 | -0.51697 | 0.97329 | -0.51708 | 1.9038
31 | 0.00033839 | 8.4735e-05 | -0.00033839 | -8.4808e-05 | 5.9499e-10 | -7.3294e-08 | 0.00051732 | 0.00051735 | 0.00051735 | 0.97329 | -0.51708 | 0.97328 | -0.51711 | 0.14213

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20444 | 0.051684

## res_load
| p_mw | q_mvar
0 | 0.0072822 | 0.0018251
1 | 0.017907 | 0.0044879
2 | 0.0028823 | 0.00072238
3 | 0.0065714 | 0.001647
4 | 0.00074717 | 0.00018726
5 | 0.081728 | 0.020483
6 | 0.0013965 | 0.00034998
7 | 0.0052393 | 0.0013131
8 | 0.025019 | 0.0062704
9 | 0.025103 | 0.0062913
10 | 0.0004976 | 0.00012471
11 | 0.0017295 | 0.00043345
12 | 0.011267 | 0.0028238
13 | 0.0015348 | 0.00038465
14 | 0.00036309 | 9.0998e-05
15 | 0.00040949 | 0.00010263
16 | 0.0027412 | 0.00068701
17 | 0.00055144 | 0.0001382
18 | 0.0025374 | 0.00063592
19 | 0.00039682 | 9.9453e-05
20 | 0.0041943 | 0.0010512
21 | 0.00033839 | 8.4808e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1