## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1095-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1095-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1095-14_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1095-14_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1095-14_0_6_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_1095-14_0_6_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1095-14_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1095-14_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1095-14_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1095-14_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1095-14_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1095-14_0_6_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1095-14_0_6_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1095-14_0_6_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1095-14_0_6_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1095-14_0_6_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_1095-14_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1095-14_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1095-14_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1095-14_0_6_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_1095-14_0_6_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1095-14_0_6_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_1095-14_0_6_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_1095-14_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1095-14_0_6_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1095-14_0_6_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1095-14_0_6_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1095-14_0_6_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1095-14_0_6_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1095-14_0_6_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1095-14_0_6_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1095-14_0_6_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_1095-14_0_6_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1095-14_0_6_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1095-14_0_6_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1095-14_0_6_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_1095-14_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1095-14_0_6_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1095-14_0_6_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1095-14_0_6_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_1095-14_0_6_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1095-14_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1095-14_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1095-14_0_6_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1095-14_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_MV_131_1_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1095-14_0_6_load_0 | 0 | 0.0035543 | 0.00089079 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1095-14_0_6_load_3 | 2 | 0.0069924 | 0.0017525 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1095-14_0_6_load_4 | 3 | 0.0029788 | 0.00074656 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1095-14_0_6_load_18 | 4 | 0.036933 | 0.0092563 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1095-14_0_6_load_11 | 5 | 0.0010274 | 0.00025749 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1095-14_0_6_load_14 | 6 | 0.0033954 | 0.00085097 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1095-14_0_6_load_7 | 7 | 0.00082091 | 0.00020574 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1095-14_0_6_load_5 | 8 | 0.00088806 | 0.00022257 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1095-14_0_6_load_6 | 9 | 0.0011964 | 0.00029985 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1095-14_0_6_load_8 | 10 | 0.0022683 | 0.00056849 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1095-14_0_6_load_19 | 11 | 0.0039649 | 0.00099369 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1095-14_0_6_load_16 | 12 | 0.0049326 | 0.0012362 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1095-14_0_6_load_17 | 13 | 0.0082641 | 0.0020712 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1095-14_0_6_load_20 | 14 | 0.029558 | 0.007408 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1095-14_0_6_load_35 | 15 | 0.019118 | 0.0047915 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1095-14_0_6_load_10 | 16 | 0.0087558 | 0.0021944 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1095-14_0_6_load_12 | 17 | 0.002493 | 0.00062481 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1095-14_0_6_load_13 | 18 | 0.018212 | 0.0045644 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1095-14_0_6_load_27 | 19 | 0.0087024 | 0.002181 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1095-14_0_6_load_28 | 20 | 0.0086092 | 0.0021577 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1095-14_0_6_load_36 | 21 | 0.0040928 | 0.0010258 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1095-14_0_6_load_37 | 22 | 0.034689 | 0.0086938 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1095-14_0_6_load_21 | 23 | 0.0024324 | 0.00060961 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1095-14_0_6_load_33 | 27 | 0.00037419 | 9.3781e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1095-14_0_6_load_24 | 28 | 0.012731 | 0.0031907 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1095-14_0_6_load_31 | 30 | 0.00093026 | 0.00023315 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1095-14_0_6_load_46 | 31 | 0.011399 | 0.0028568 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1095-14_0_6_load_30 | 34 | 0.0012832 | 0.00032159 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1095-14_0_6_load_45 | 35 | 0.084422 | 0.021158 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1095-14_0_6_load_29 | 36 | 0.0078266 | 0.0019615 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1095-14_0_6_load_38 | 37 | 0.012613 | 0.0031611 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1095-14_0_6_load_39 | 38 | 0.0042902 | 0.0010752 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1095-14_0_6_load_44 | 39 | 0.012226 | 0.0030641 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1095-14_0_6_load_40 | 40 | 0.0040938 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1095-14_0_6_load_41 | 41 | 0.0041075 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1095-14_0_6_load_42 | 42 | 0.0082946 | 0.0020788 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1095-14_0_6_load_43 | 43 | 0.011301 | 0.0028324 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1095-14_0_6_load_47 | 44 | 0.017417 | 0.0043651 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1095-14_0_6_line_0 |  | 0 | 1 | 0.039412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1095-14_0_6_line_1 |  | 1 | 2 | 0.024033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1095-14_0_6_line_2 |  | 1 | 3 | 0.01219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1095-14_0_6_line_3 |  | 2 | 4 | 0.17566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1095-14_0_6_line_4 |  | 3 | 5 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1095-14_0_6_line_5 |  | 4 | 14 | 0.066394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1095-14_0_6_line_6 |  | 4 | 12 | 0.0052634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1095-14_0_6_line_7 |  | 5 | 16 | 0.018262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1095-14_0_6_line_8 |  | 6 | 7 | 0.0010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1095-14_0_6_line_9 |  | 7 | 9 | 0.063916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1095-14_0_6_line_10 |  | 8 | 9 | 0.020789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1095-14_0_6_line_11 |  | 8 | 10 | 0.14901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1095-14_0_6_line_12 |  | 8 | 11 | 0.24853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1095-14_0_6_line_13 |  | 11 | 13 | 0.054086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1095-14_0_6_line_14 |  | 12 | 13 | 0.025754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1095-14_0_6_line_15 |  | 14 | 15 | 0.061413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1095-14_0_6_line_16 |  | 15 | 21 | 0.024765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1095-14_0_6_line_17 |  | 16 | 17 | 0.0058751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1095-14_0_6_line_18 |  | 17 | 18 | 0.050129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1095-14_0_6_line_19 |  | 18 | 19 | 0.049007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1095-14_0_6_line_20 |  | 19 | 20 | 0.038308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1095-14_0_6_line_21 |  | 20 | 36 | 0.0034059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1095-14_0_6_line_22 |  | 21 | 22 | 0.008058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1095-14_0_6_line_23 |  | 22 | 37 | 0.017172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1095-14_0_6_line_24 |  | 23 | 24 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1095-14_0_6_line_25 |  | 24 | 25 | 0.007864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1095-14_0_6_line_26 |  | 25 | 26 | 0.044944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1095-14_0_6_line_27 |  | 25 | 27 | 0.014781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1095-14_0_6_line_28 |  | 25 | 28 | 0.13656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1095-14_0_6_line_29 |  | 26 | 29 | 0.031466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1095-14_0_6_line_30 |  | 27 | 30 | 0.026926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1095-14_0_6_line_31 |  | 29 | 31 | 0.051223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1095-14_0_6_line_32 |  | 30 | 34 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1095-14_0_6_line_33 |  | 31 | 35 | 0.0054792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1095-14_0_6_line_34 |  | 32 | 33 | 0.028803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1095-14_0_6_line_35 |  | 32 | 34 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1095-14_0_6_line_36 |  | 33 | 44 | 0.01031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1095-14_0_6_line_37 |  | 35 | 36 | 0.032628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1095-14_0_6_line_38 |  | 37 | 38 | 0.025773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1095-14_0_6_line_39 |  | 38 | 39 | 0.025308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1095-14_0_6_line_40 |  | 39 | 42 | 0.0015862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1095-14_0_6_line_41 |  | 40 | 41 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1095-14_0_6_line_42 |  | 40 | 42 | 0.032063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1095-14_0_6_line_43 |  | 41 | 43 | 0.0069277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1095-14_0_6_trafo_13 | 0.63 MVA 20/0.4 kV | 45 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2649078.0671 | 1223674.4541 | 2649059.3531 | 1223674.3777 | 2649053.3961 | 1223673.9951 | 2649048.2403 | 1223672.9964 | 2649042.9596 | 1223671.5187 | 2649039.3254 | 1223669.8646
1 | 2649078.0671 | 1223674.4541 | 2649071.9803 | 1223688.8906 | 2649066.9299 | 1223695.5599
2 | 2649078.0671 | 1223674.4541 | 2649090.2441 | 1223675.0249
3 | 2649066.9299 | 1223695.5599 | 2649072.7117 | 1223871.1277
4 | 2649109.6383 | 1223675.9341 | 2649090.2441 | 1223675.0249
5 | 2649072.7117 | 1223871.1277 | 2649086.7335 | 1223864.9314 | 2649109.3676 | 1223859.4368 | 2649137.106 | 1223858.0484
6 | 2649072.7117 | 1223871.1277 | 2649067.8974 | 1223873.2552
7 | 2649109.6383 | 1223675.9341 | 2649114.6178 | 1223676.1675 | 2649127.8941 | 1223676.0999
8 | 2648754.1939 | 1224079.9943 | 2648755.2219 | 1224079.9561
9 | 2648817.3832 | 1224093.0308 | 2648814.2179 | 1224091.7426 | 2648794.2333 | 1224085.8753 | 2648772.9777 | 1224080.598 | 2648756.0441 | 1224079.9256 | 2648755.2219 | 1224079.9561
10 | 2648836.3518 | 1224101.4738 | 2648831.0023 | 1224098.5733 | 2648817.3832 | 1224093.0308
11 | 2648836.3518 | 1224101.4738 | 2648959.1834 | 1224185.8285
12 | 2649020.7808 | 1223934.8777 | 2648836.3518 | 1224101.4738
13 | 2649020.7808 | 1223934.8777 | 2649022.7562 | 1223926.9093 | 2649028.2254 | 1223913.7574 | 2649035.9307 | 1223901.6245 | 2649047.4334 | 1223888.7557 | 2649047.4334 | 1223888.7557
14 | 2649067.8974 | 1223873.2552 | 2649065.394 | 1223874.3614 | 2649047.4334 | 1223888.7557
15 | 2649137.106 | 1223858.0484 | 2649198.4423 | 1223854.9783
16 | 2649223.2007 | 1223854.4245 | 2649199.9348 | 1223854.9036 | 2649198.4423 | 1223854.9783
17 | 2649133.7691 | 1223676.07 | 2649127.8941 | 1223676.0999
18 | 2649133.7691 | 1223676.07 | 2649162.1116 | 1223675.9258 | 2649183.8939 | 1223675.5375
19 | 2649232.5088 | 1223669.6626 | 2649190.2408 | 1223675.4243 | 2649183.8939 | 1223675.5375
20 | 2649232.5088 | 1223669.6626 | 2649245.4536 | 1223667.8981 | 2649257.4192 | 1223665.1842 | 2649264.9907 | 1223662.8899 | 2649269.4674 | 1223660.5257
21 | 2649272.4303 | 1223658.857 | 2649271.9139 | 1223659.2338 | 2649269.4674 | 1223660.5257
22 | 2649231.257 | 1223854.2586 | 2649223.2007 | 1223854.4245
23 | 2649231.257 | 1223854.2586 | 2649248.4258 | 1223853.9051
24 | 2649277.1733 | 1223504.7824 | 2649285.0368 | 1223486.1626
25 | 2649277.1733 | 1223504.7824 | 2649274.1104 | 1223512.0282
26 | 2649271.6974 | 1223555.2792 | 2649268.909 | 1223550.431 | 2649267.8661 | 1223539.0153 | 2649269.0994 | 1223526.5179 | 2649274.1104 | 1223512.0282
27 | 2649274.1104 | 1223512.0282 | 2649280.9704 | 1223516.0207 | 2649286.8169 | 1223519.578
28 | 2649274.1104 | 1223512.0282 | 2649138.7506 | 1223493.9995
29 | 2649271.6974 | 1223555.2792 | 2649274.9044 | 1223560.8536 | 2649284.0883 | 1223569.9129 | 2649294.4468 | 1223576.3248
30 | 2649312.128 | 1223528.623 | 2649306.0042 | 1223526.7789 | 2649288.4174 | 1223520.5518 | 2649286.8169 | 1223519.578
31 | 2649294.4468 | 1223576.3248 | 2649291.7107 | 1223586.2305 | 2649290.9873 | 1223593.9181 | 2649291.1915 | 1223616.8894 | 2649291.0543 | 1223627.1412
32 | 2649326.2007 | 1223532.8609 | 2649312.128 | 1223528.623
33 | 2649289.8319 | 1223632.4787 | 2649291.0523 | 1223627.2947 | 2649291.0543 | 1223627.1412
34 | 2649365.8124 | 1223558.7605 | 2649348.3372 | 1223552.8232 | 2649338.2115 | 1223550.3489
35 | 2649338.2115 | 1223550.3489 | 2649336.0666 | 1223542.8932 | 2649332.376 | 1223537.1147 | 2649326.2007 | 1223532.8609 | 2649326.2007 | 1223532.8609
36 | 2649365.8124 | 1223558.7605 | 2649364.1921 | 1223563.0386 | 2649362.3491 | 1223564.9022 | 2649359.2884 | 1223565.4772
37 | 2649272.4303 | 1223658.857 | 2649278.6045 | 1223654.3528 | 2649284.3729 | 1223647.2962 | 2649288.3565 | 1223638.7461 | 2649289.8319 | 1223632.4787
38 | 2649274.1936 | 1223853.3745 | 2649248.4258 | 1223853.9051
39 | 2649299.4958 | 1223852.8535 | 2649274.1936 | 1223853.3745
40 | 2649299.4958 | 1223852.8535 | 2649301.0816 | 1223852.8209
41 | 2649333.0001 | 1223850.3832 | 2649346.4878 | 1223847.6449
42 | 2649333.0001 | 1223850.3832 | 2649328.8102 | 1223851.2337 | 2649312.792 | 1223852.5797 | 2649301.0816 | 1223852.8209
43 | 2649353.2018 | 1223845.9647 | 2649349.8042 | 1223846.9717 | 2649346.4878 | 1223847.6449

## bus_geodata
| x | y | coords
0 | 2649039.3254 | 1223669.8646
1 | 2649078.0671 | 1223674.4541
2 | 2649066.9299 | 1223695.5599
3 | 2649090.2441 | 1223675.0249
4 | 2649072.7117 | 1223871.1277
5 | 2649109.6383 | 1223675.9341
6 | 2648754.1939 | 1224079.9943
7 | 2648755.2219 | 1224079.9561
8 | 2648836.3518 | 1224101.4738
9 | 2648817.3832 | 1224093.0308
10 | 2648959.1834 | 1224185.8285
11 | 2649020.7808 | 1223934.8777
12 | 2649067.8974 | 1223873.2552
13 | 2649047.4334 | 1223888.7557
14 | 2649137.106 | 1223858.0484
15 | 2649198.4423 | 1223854.9783
16 | 2649127.8941 | 1223676.0999
17 | 2649133.7691 | 1223676.07
18 | 2649183.8939 | 1223675.5375
19 | 2649232.5088 | 1223669.6626
20 | 2649269.4674 | 1223660.5257
21 | 2649223.2007 | 1223854.4245
22 | 2649231.257 | 1223854.2586
23 | 2649285.0368 | 1223486.1626
24 | 2649277.1733 | 1223504.7824
25 | 2649274.1104 | 1223512.0282
26 | 2649271.6974 | 1223555.2792
27 | 2649286.8169 | 1223519.578
28 | 2649138.7506 | 1223493.9995
29 | 2649294.4468 | 1223576.3248
30 | 2649312.128 | 1223528.623
31 | 2649291.0543 | 1223627.1412
32 | 2649338.2115 | 1223550.3489
33 | 2649365.8124 | 1223558.7605
34 | 2649326.2007 | 1223532.8609
35 | 2649289.8319 | 1223632.4787
36 | 2649272.4303 | 1223658.857
37 | 2649248.4258 | 1223853.9051
38 | 2649274.1936 | 1223853.3745
39 | 2649299.4958 | 1223852.8535
40 | 2649333.0001 | 1223850.3832
41 | 2649346.4878 | 1223847.6449
42 | 2649301.0816 | 1223852.8209
43 | 2649353.2018 | 1223845.9647
44 | 2649359.2884 | 1223565.4772
45 | 2649078.0671 | 1223674.4541

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99243 | -0.14305 | 0.0035543 | 0.00089079
1 | 0.99256 | -0.14057 | 0 | 0
2 | 0.99096 | -0.17096 | 0.0069924 | 0.0017525
3 | 0.99338 | -0.12493 | 0.0029788 | 0.00074656
4 | 0.97968 | -0.38867 | 0.036933 | 0.0092563
5 | 0.99471 | -0.099745 | 0.0010274 | 0.00025749
6 | 0.97609 | -0.45918 | 0.0033954 | 0.00085097
7 | 0.9761 | -0.45911 | 0.00082091 | 0.00020574
8 | 0.97645 | -0.45213 | 0.00088806 | 0.00022257
9 | 0.97635 | -0.45418 | 0.0011964 | 0.00029985
10 | 0.97614 | -0.45831 | 0.0022683 | 0.00056849
11 | 0.97843 | -0.41322 | 0.0039649 | 0.00099369
12 | 0.97955 | -0.39113 | 0.0049326 | 0.0012362
13 | 0.97906 | -0.40087 | 0.0082641 | 0.0020712
14 | 0.9767 | -0.44688 | 0.029558 | 0.007408
15 | 0.97451 | -0.48993 | 0.019118 | 0.0047915
16 | 0.99596 | -0.076006 | 0.0087558 | 0.0021944
17 | 0.99638 | -0.068081 | 0.002493 | 0.00062481
18 | 1 | 0 | -0.39699 | -0.10152
19 | 0.99766 | -0.044562 | 0.0087024 | 0.002181
20 | 0.99507 | -0.094144 | 0.0086092 | 0.0021577
21 | 0.97378 | -0.50444 | 0.0040928 | 0.0010258
22 | 0.97355 | -0.50896 | 0.034689 | 0.0086938
23 | 0.98629 | -0.26393 | 0.0024324 | 0.00060961
24 | 0.98634 | -0.26305 | 0 | 0
25 | 0.98635 | -0.26271 | 0 | 0
26 | 0.98781 | -0.23443 | 0 | 0
27 | 0.98608 | -0.26801 | 0.00037419 | 9.3781e-05
28 | 0.98475 | -0.29391 | 0.012731 | 0.0031907
29 | 0.98883 | -0.21467 | 0 | 0
30 | 0.98559 | -0.27749 | 0.00093026 | 0.00023315
31 | 0.99049 | -0.18261 | 0.011399 | 0.0028568
32 | 0.98499 | -0.28934 | 0 | 0
33 | 0.98452 | -0.29836 | 0 | 0
34 | 0.98534 | -0.28242 | 0.0012832 | 0.00032159
35 | 0.99072 | -0.17807 | 0.084422 | 0.021158
36 | 0.99464 | -0.10247 | 0.0078266 | 0.0019615
37 | 0.97324 | -0.51496 | 0.012613 | 0.0031611
38 | 0.97271 | -0.52547 | 0.0042902 | 0.0010752
39 | 0.97176 | -0.54415 | 0.012226 | 0.0030641
40 | 0.97114 | -0.55652 | 0.0040938 | 0.001026
41 | 0.97094 | -0.56044 | 0.0041075 | 0.0010294
42 | 0.97172 | -0.54497 | 0.0082946 | 0.0020788
43 | 0.97087 | -0.56188 | 0.011301 | 0.0028324
44 | 0.98436 | -0.30159 | 0.017417 | 0.0043651
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0035543 | -0.00089079 | 0.0035547 | 0.00089055 | 4.1972e-07 | -2.407e-07 | 0.0053292 | 0.005329 | 0.0053292 | 0.99243 | -0.14305 | 0.99256 | -0.14057 | 1.4641
1 | 0.21741 | 0.055775 | -0.21709 | -0.055571 | 0.00032003 | 0.00020389 | 0.32639 | 0.32639 | 0.32639 | 0.99256 | -0.14057 | 0.99096 | -0.17096 | 29.8893
2 | -0.22096 | -0.056665 | 0.22113 | 0.056772 | 0.00016768 | 0.00010684 | 0.33172 | 0.33172 | 0.33172 | 0.99256 | -0.14057 | 0.99338 | -0.12493 | 30.3772
3 | 0.21009 | 0.053818 | -0.2079 | -0.052423 | 0.0021911 | 0.0013956 | 0.31589 | 0.31589 | 0.31589 | 0.99096 | -0.17096 | 0.97968 | -0.38867 | 28.928
4 | -0.22411 | -0.057519 | 0.22438 | 0.057694 | 0.00027429 | 0.00017479 | 0.33618 | 0.33618 | 0.33618 | 0.99338 | -0.12493 | 0.99471 | -0.099745 | 30.7858
5 | 0.1452 | 0.036701 | -0.1448 | -0.036444 | 0.00040408 | 0.00025611 | 0.22065 | 0.22066 | 0.22066 | 0.97968 | -0.38867 | 0.9767 | -0.44688 | 20.2065
6 | 0.025769 | 0.006466 | -0.025766 | -0.0064642 | 3.0241e-06 | 1.8692e-06 | 0.039143 | 0.039143 | 0.039143 | 0.97968 | -0.38867 | 0.97955 | -0.39113 | 10.7535
7 | -0.22541 | -0.057951 | 0.22567 | 0.058117 | 0.00026035 | 0.00016591 | 0.33772 | 0.33772 | 0.33772 | 0.99471 | -0.099745 | 0.99596 | -0.076006 | 30.9265
8 | -0.0033954 | -0.00085097 | 0.0033954 | 0.00085097 | 1.0335e-08 | -6.243e-09 | 0.0051762 | 0.0051762 | 0.0051762 | 0.97609 | -0.45918 | 0.9761 | -0.45911 | 1.422
9 | -0.0042164 | -0.0010567 | 0.0042173 | 0.0010565 | 9.9021e-07 | -1.654e-07 | 0.0064276 | 0.0064274 | 0.0064276 | 0.9761 | -0.45911 | 0.97635 | -0.45418 | 1.7658
10 | 0.0054143 | 0.0013565 | -0.0054137 | -0.0013564 | 5.307e-07 | 7.9631e-08 | 0.0082507 | 0.0082508 | 0.0082508 | 0.97645 | -0.45213 | 0.97635 | -0.45418 | 2.2667
11 | 0.002269 | 0.00056705 | -0.0022683 | -0.00056849 | 6.6796e-07 | -1.4358e-06 | 0.0034571 | 0.0034578 | 0.0034578 | 0.97645 | -0.45213 | 0.97614 | -0.45831 | 0.94994
12 | -0.0085713 | -0.0021461 | 0.0085872 | 0.0021532 | 1.5898e-05 | 7.0595e-06 | 0.013061 | 0.01306 | 0.013061 | 0.97645 | -0.45213 | 0.97843 | -0.41322 | 3.5882
13 | -0.012552 | -0.0031468 | 0.012559 | 0.0031509 | 7.3913e-06 | 4.0507e-06 | 0.01909 | 0.01909 | 0.01909 | 0.97843 | -0.41322 | 0.97906 | -0.40087 | 5.2445
14 | 0.020833 | 0.0052279 | -0.020824 | -0.0052221 | 9.6741e-06 | 5.8674e-06 | 0.03165 | 0.03165 | 0.03165 | 0.97955 | -0.39113 | 0.97906 | -0.40087 | 8.695
15 | 0.11524 | 0.029036 | -0.115 | -0.028887 | 0.00023677 | 0.00014924 | 0.17562 | 0.17562 | 0.17562 | 0.9767 | -0.44688 | 0.97451 | -0.48993 | 16.0828
16 | 0.095884 | 0.024096 | -0.095817 | -0.024054 | 6.6378e-05 | 4.1557e-05 | 0.14643 | 0.14643 | 0.14643 | 0.97451 | -0.48993 | 0.97378 | -0.50444 | 13.4095
17 | -0.23443 | -0.060311 | 0.23452 | 0.060369 | 9.0373e-05 | 5.7609e-05 | 0.3508 | 0.3508 | 0.3508 | 0.99596 | -0.076006 | 0.99638 | -0.068081 | 32.1244
18 | -0.23701 | -0.060994 | 0.2378 | 0.061496 | 0.00078755 | 0.00050207 | 0.35452 | 0.35452 | 0.35452 | 0.99638 | -0.068081 | 1 | 0 | 32.4654
19 | 0.15755 | 0.040029 | -0.15721 | -0.039815 | 0.00033722 | 0.0002139 | 0.23462 | 0.23462 | 0.23462 | 1 | 0 | 0.99766 | -0.044562 | 21.4857
20 | 0.14851 | 0.037634 | -0.14815 | -0.037409 | 0.00035286 | 0.00022483 | 0.22164 | 0.22164 | 0.22164 | 0.99766 | -0.044562 | 0.99507 | -0.094144 | 30.4457
21 | 0.13954 | 0.035251 | -0.13949 | -0.035216 | 5.5667e-05 | 3.5583e-05 | 0.20877 | 0.20877 | 0.20877 | 0.99507 | -0.094144 | 0.99464 | -0.10247 | 57.3546
22 | 0.091725 | 0.023028 | -0.091705 | -0.023016 | 1.9792e-05 | 1.2366e-05 | 0.14018 | 0.14018 | 0.14018 | 0.97378 | -0.50444 | 0.97355 | -0.50896 | 12.8368
23 | 0.057016 | 0.014322 | -0.057 | -0.014312 | 1.6306e-05 | 9.7957e-06 | 0.087158 | 0.087158 | 0.087158 | 0.97355 | -0.50896 | 0.97324 | -0.51496 | 7.9815
24 | -0.0024324 | -0.00060961 | 0.0024325 | 0.00060942 | 1.0207e-07 | -1.9264e-07 | 0.0036697 | 0.0036696 | 0.0036697 | 0.98629 | -0.26393 | 0.98634 | -0.26305 | 1.0082
25 | -0.0024325 | -0.00060942 | 0.0024325 | 0.00060934 | 3.9712e-08 | -7.4956e-08 | 0.0036696 | 0.0036696 | 0.0036696 | 0.98634 | -0.26305 | 0.98635 | -0.26271 | 1.0081
26 | -0.035221 | -0.0088445 | 0.035269 | 0.0088744 | 4.7595e-05 | 2.9887e-05 | 0.053141 | 0.053141 | 0.053141 | 0.98635 | -0.26271 | 0.98781 | -0.23443 | 14.5992
27 | 0.020039 | 0.005034 | -0.020034 | -0.005031 | 5.067e-06 | 3.0542e-06 | 0.030235 | 0.030235 | 0.030235 | 0.98635 | -0.26271 | 0.98608 | -0.26801 | 8.3063
28 | 0.01275 | 0.0032011 | -0.012731 | -0.0031907 | 1.8951e-05 | 1.0388e-05 | 0.019237 | 0.019237 | 0.019237 | 0.98635 | -0.26271 | 0.98475 | -0.29391 | 5.285
29 | -0.035269 | -0.0088744 | 0.035302 | 0.0088953 | 3.3322e-05 | 2.0923e-05 | 0.053141 | 0.053141 | 0.053141 | 0.98781 | -0.23443 | 0.98883 | -0.21467 | 14.5992
30 | 0.01966 | 0.0049372 | -0.019651 | -0.0049319 | 8.8887e-06 | 5.3455e-06 | 0.02967 | 0.02967 | 0.02967 | 0.98608 | -0.26801 | 0.98559 | -0.27749 | 8.1512
31 | -0.035302 | -0.0088953 | 0.035357 | 0.0089294 | 5.4244e-05 | 3.4058e-05 | 0.053141 | 0.053141 | 0.053141 | 0.98883 | -0.21467 | 0.99049 | -0.18261 | 14.5991
32 | 0.01872 | 0.0046987 | -0.018716 | -0.0046961 | 4.4033e-06 | 2.6309e-06 | 0.028266 | 0.028266 | 0.028266 | 0.98559 | -0.27749 | 0.98534 | -0.28242 | 7.7653
33 | -0.046755 | -0.011786 | 0.046765 | 0.011793 | 1.0145e-05 | 6.4219e-06 | 0.070265 | 0.070265 | 0.070265 | 0.99049 | -0.18261 | 0.99072 | -0.17807 | 19.3036
34 | 0.017427 | 0.0043711 | -0.01742 | -0.0043667 | 7.4871e-06 | 4.4253e-06 | 0.026328 | 0.026328 | 0.026328 | 0.98499 | -0.28934 | 0.98452 | -0.29836 | 7.2331
35 | -0.017427 | -0.0043711 | 0.017433 | 0.0043745 | 5.7481e-06 | 3.3972e-06 | 0.026328 | 0.026328 | 0.026328 | 0.98499 | -0.28934 | 0.98534 | -0.28242 | 7.233
36 | 0.01742 | 0.0043667 | -0.017417 | -0.0043651 | 2.68e-06 | 1.5841e-06 | 0.026328 | 0.026328 | 0.026328 | 0.98452 | -0.29836 | 0.98436 | -0.30159 | 7.2331
37 | -0.13119 | -0.032951 | 0.13166 | 0.033254 | 0.00047515 | 0.00030367 | 0.19706 | 0.19706 | 0.19706 | 0.99072 | -0.17807 | 0.99464 | -0.10247 | 54.1379
38 | 0.044387 | 0.011151 | -0.044365 | -0.011138 | 2.2263e-05 | 1.3608e-05 | 0.067874 | 0.067874 | 0.067874 | 0.97324 | -0.51496 | 0.97271 | -0.52547 | 9.3234
39 | 0.040074 | 0.010063 | -0.040039 | -0.01004 | 3.5675e-05 | 2.2518e-05 | 0.061311 | 0.061311 | 0.061311 | 0.97271 | -0.52547 | 0.97176 | -0.54415 | 16.8438
40 | 0.027813 | 0.0069759 | -0.027812 | -0.0069752 | 1.0789e-06 | 6.7088e-07 | 0.04259 | 0.04259 | 0.04259 | 0.97176 | -0.54415 | 0.97172 | -0.54497 | 11.7007
41 | 0.015413 | 0.0038639 | -0.01541 | -0.0038623 | 2.8785e-06 | 1.672e-06 | 0.023616 | 0.023616 | 0.023616 | 0.97114 | -0.55652 | 0.97094 | -0.56044 | 6.488
42 | -0.019506 | -0.0048899 | 0.019517 | 0.0048964 | 1.0741e-05 | 6.4774e-06 | 0.029889 | 0.029889 | 0.029889 | 0.97114 | -0.55652 | 0.97172 | -0.54497 | 8.2112
43 | 0.011302 | 0.0028328 | -0.011301 | -0.0028324 | 7.7944e-07 | 4.1317e-07 | 0.017321 | 0.017321 | 0.017321 | 0.97094 | -0.56044 | 0.97087 | -0.56188 | 4.7586

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4152 | 0.10609

## res_load
| p_mw | q_mvar
0 | 0.0035543 | 0.00089079
1 | 0.0069924 | 0.0017525
2 | 0.0029788 | 0.00074656
3 | 0.036933 | 0.0092563
4 | 0.0010274 | 0.00025749
5 | 0.0033954 | 0.00085097
6 | 0.00082091 | 0.00020574
7 | 0.00088806 | 0.00022257
8 | 0.0011964 | 0.00029985
9 | 0.0022683 | 0.00056849
10 | 0.0039649 | 0.00099369
11 | 0.0049326 | 0.0012362
12 | 0.0082641 | 0.0020712
13 | 0.029558 | 0.007408
14 | 0.019118 | 0.0047915
15 | 0.0087558 | 0.0021944
16 | 0.002493 | 0.00062481
17 | 0.018212 | 0.0045644
18 | 0.0087024 | 0.002181
19 | 0.0086092 | 0.0021577
20 | 0.0040928 | 0.0010258
21 | 0.034689 | 0.0086938
22 | 0.0024324 | 0.00060961
23 | 0.00037419 | 9.3781e-05
24 | 0.012731 | 0.0031907
25 | 0.00093026 | 0.00023315
26 | 0.011399 | 0.0028568
27 | 0.0012832 | 0.00032159
28 | 0.084422 | 0.021158
29 | 0.0078266 | 0.0019615
30 | 0.012613 | 0.0031611
31 | 0.0042902 | 0.0010752
32 | 0.012226 | 0.0030641
33 | 0.0040938 | 0.001026
34 | 0.0041075 | 0.0010294
35 | 0.0082946 | 0.0020788
36 | 0.011301 | 0.0028324
37 | 0.017417 | 0.0043651

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1