## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1095-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1095-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1095-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1095-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1095-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1095-9_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1095-9_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1095-9_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1095-9_0_4_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_1095-9_0_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1095-9_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1095-9_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1095-9_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1095-9_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1095-9_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1095-9_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_1095-9_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_1095-9_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1095-9_0_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1095-9_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1095-9_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1095-9_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1095-9_0_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_1095-9_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1095-9_0_4_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_1095-9_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_1095-9_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_1095-9_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1095-9_0_4_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_1095-9_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1095-9_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1095-9_0_4_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_1095-9_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1095-9_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1095-9_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1095-9_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1095-9_0_4_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_1095-9_0_4_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_1095-9_0_4_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_1095-9_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1095-9_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1095-9_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1095-9_0_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_1095-9_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1095-9_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1095-9_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_1095-9_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1095-9_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1095-9_0_4_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_1095-9_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_1095-9_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_1095-9_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1095-9_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_1095-9_0_4_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_1095-9_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_1095-9_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_1095-9_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_1095-9_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_1095-9_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_1095-9_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_1095-9_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_1095-9_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_1095-9_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1095-9_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_1095-9_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_1095-9_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_1095-9_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_1095-9_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_1095-9_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_MV_471_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1095-9_0_4_load_0 | 0 | 0.008122 | 0.0020356 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1095-9_0_4_load_1 | 1 | 0.035917 | 0.0090016 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1095-9_0_4_load_2 | 2 | 0.0059251 | 0.001485 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1095-9_0_4_load_3 | 3 | 0.0034911 | 0.00087495 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1095-9_0_4_load_4 | 4 | 0.0067735 | 0.0016976 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1095-9_0_4_load_6 | 7 | 0.0059403 | 0.0014888 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1095-9_0_4_load_57 | 8 | 0.00026277 | 6.5856e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1095-9_0_4_load_38 | 9 | 0.0012957 | 0.00032474 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1095-9_0_4_load_8 | 10 | 0.0031578 | 0.00079143 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1095-9_0_4_load_9 | 11 | 0.0014002 | 0.00035091 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1095-9_0_4_load_11 | 13 | 0.010217 | 0.0025607 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1095-9_0_4_load_27 | 16 | 0.00045089 | 0.000113 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1095-9_0_4_load_21 | 18 | 0.0029983 | 0.00075145 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1095-9_0_4_load_67 | 22 | 0.0058954 | 0.0014775 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1095-9_0_4_load_69 | 24 | 0.0053188 | 0.001333 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1095-9_0_4_load_65 | 26 | 0.0025764 | 0.0006457 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1095-9_0_4_load_59 | 28 | 0.0067563 | 0.0016933 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1095-9_0_4_load_43 | 31 | 0.012538 | 0.0031424 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1095-9_0_4_load_22 | 33 | 0.03215 | 0.0080577 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1095-9_0_4_load_26 | 34 | 0.0033714 | 0.00084495 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1095-9_0_4_load_24 | 35 | 0.0042234 | 0.0010585 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1095-9_0_4_load_68 | 36 | 0.0067255 | 0.0016856 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1095-9_0_4_load_66 | 37 | 0.0016192 | 0.00040581 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1095-9_0_4_load_58 | 38 | 0.0015543 | 0.00038954 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1095-9_0_4_load_32 | 39 | 0.0419 | 0.010501 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1095-9_0_4_load_54 | 42 | 0.0030861 | 0.00077346 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1095-9_0_4_load_30 | 43 | 0.010987 | 0.0027536 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1095-9_0_4_load_29 | 44 | 0.0019505 | 0.00048883 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1095-9_0_4_load_31 | 45 | 0.00074778 | 0.00018741 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1095-9_0_4_load_55 | 48 | 0.00081027 | 0.00020307 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1095-9_0_4_load_56 | 49 | 0.0027788 | 0.00069643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1095-9_0_4_load_39 | 50 | 0.013938 | 0.0034931 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1095-9_0_4_load_34 | 52 | 0.0047055 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1095-9_0_4_load_35 | 53 | 0.00057069 | 0.00014303 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1095-9_0_4_load_36 | 54 | 0.0011871 | 0.00029752 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1095-9_0_4_load_37 | 55 | 0.00055337 | 0.00013869 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1095-9_0_4_load_49 | 56 | 0.001972 | 0.00049424 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1095-9_0_4_load_40 | 57 | 0.0085034 | 0.0021311 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1095-9_0_4_load_51 | 60 | 0.00053704 | 0.0001346 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1095-9_0_4_load_52 | 62 | 0.00069394 | 0.00017392 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1095-9_0_4_load_46 | 63 | 0.00081352 | 0.00020389 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1095-9_0_4_load_47 | 64 | 0.0008978 | 0.00022501 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1095-9_0_4_load_61 | 65 | 0.0018393 | 0.00046096 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1095-9_0_4_load_62 | 67 | 0.0028946 | 0.00072545 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1095-9_0_4_load_64 | 68 | 0.0013584 | 0.00034044 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1095-9_0_4_line_0 |  | 0 | 1 | 0.0065789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1095-9_0_4_line_1 |  | 0 | 2 | 0.023217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1095-9_0_4_line_2 |  | 1 | 3 | 0.06174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1095-9_0_4_line_3 |  | 2 | 4 | 0.016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1095-9_0_4_line_4 |  | 3 | 5 | 0.065672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1095-9_0_4_line_5 |  | 5 | 6 | 0.52172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1095-9_0_4_line_6 |  | 5 | 7 | 0.21118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1095-9_0_4_line_7 |  | 6 | 8 | 0.096114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1095-9_0_4_line_8 |  | 8 | 9 | 0.004627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1095-9_0_4_line_9 |  | 9 | 54 | 0.008418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1095-9_0_4_line_10 |  | 10 | 11 | 0.04436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1095-9_0_4_line_11 |  | 10 | 12 | 0.032982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1095-9_0_4_line_12 |  | 11 | 13 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1095-9_0_4_line_13 |  | 12 | 14 | 0.004274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1095-9_0_4_line_14 |  | 12 | 15 | 0.15358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1095-9_0_4_line_15 |  | 14 | 16 | 0.12791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1095-9_0_4_line_16 |  | 15 | 24 | 0.027029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1095-9_0_4_line_17 |  | 15 | 17 | 0.081151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1095-9_0_4_line_18 |  | 16 | 32 | 0.0435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1095-9_0_4_line_19 |  | 17 | 18 | 0.093329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1095-9_0_4_line_20 |  | 18 | 33 | 0.092697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1095-9_0_4_line_21 |  | 19 | 20 | 0.15503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1095-9_0_4_line_22 |  | 19 | 21 | 0.095188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1095-9_0_4_line_23 |  | 19 | 22 | 0.023819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1095-9_0_4_line_24 |  | 20 | 23 | 0.14302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1095-9_0_4_line_25 |  | 20 | 24 | 0.041227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1095-9_0_4_line_26 |  | 21 | 34 | 0.030944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1095-9_0_4_line_27 |  | 21 | 35 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1095-9_0_4_line_28 |  | 22 | 36 | 0.0080997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1095-9_0_4_line_29 |  | 23 | 25 | 0.03496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1095-9_0_4_line_30 |  | 23 | 26 | 0.03528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1095-9_0_4_line_31 |  | 25 | 37 | 0.079938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1095-9_0_4_line_32 |  | 25 | 27 | 0.004379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1095-9_0_4_line_33 |  | 27 | 28 | 0.045255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1095-9_0_4_line_34 |  | 28 | 38 | 0.059465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1095-9_0_4_line_35 |  | 29 | 30 | 0.007829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1095-9_0_4_line_36 |  | 29 | 31 | 0.097844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1095-9_0_4_line_37 |  | 30 | 39 | 0.030295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1095-9_0_4_line_38 |  | 30 | 33 | 0.091326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1095-9_0_4_line_39 |  | 31 | 40 | 0.037218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1095-9_0_4_line_40 |  | 32 | 44 | 0.040069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1095-9_0_4_line_41 |  | 38 | 59 | 0.068093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1095-9_0_4_line_42 |  | 39 | 43 | 0.012924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1095-9_0_4_line_43 |  | 40 | 50 | 0.022804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1095-9_0_4_line_44 |  | 40 | 41 | 0.2401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1095-9_0_4_line_45 |  | 41 | 42 | 0.035924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1095-9_0_4_line_46 |  | 42 | 51 | 0.0474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1095-9_0_4_line_47 |  | 44 | 45 | 0.049706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1095-9_0_4_line_48 |  | 46 | 47 | 0.10046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1095-9_0_4_line_49 |  | 46 | 48 | 0.019144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1095-9_0_4_line_50 |  | 47 | 49 | 0.026007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1095-9_0_4_line_51 |  | 48 | 51 | 0.017039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1095-9_0_4_line_52 |  | 50 | 57 | 0.013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1095-9_0_4_line_53 |  | 51 | 56 | 0.019386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1095-9_0_4_line_54 |  | 52 | 53 | 0.0055393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1095-9_0_4_line_55 |  | 52 | 54 | 0.005122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1095-9_0_4_line_56 |  | 53 | 55 | 0.018927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1095-9_0_4_line_57 |  | 55 | 56 | 0.080961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_1095-9_0_4_line_58 |  | 58 | 59 | 0.02711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1095-9_0_4_line_59 |  | 58 | 60 | 0.0088696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1095-9_0_4_line_60 |  | 59 | 61 | 0.00591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1095-9_0_4_line_61 |  | 60 | 62 | 0.01007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1095-9_0_4_line_62 |  | 61 | 65 | 0.031494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1095-9_0_4_line_63 |  | 61 | 64 | 0.098164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1095-9_0_4_line_64 |  | 63 | 64 | 0.028147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1095-9_0_4_line_65 |  | 65 | 66 | 0.24185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1095-9_0_4_line_66 |  | 66 | 67 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1095-9_0_4_line_67 |  | 67 | 68 | 0.073533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1095-9_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 69 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2651756.6886 | 1222590.9768 | 2651750.7341 | 1222588.1792
1 | 2651756.6886 | 1222590.9768 | 2651777.7015 | 1222600.8493
2 | 2651750.7341 | 1222588.1792 | 2651744.5888 | 1222585.292 | 2651696.7525 | 1222558.2508
3 | 2651792.6743 | 1222607.8839 | 2651777.7015 | 1222600.8493
4 | 2651639.5824 | 1222525.9333 | 2651696.7525 | 1222558.2508
5 | 2651937.8004 | 1222142.7008 | 2651931.1101 | 1222138.3954 | 2651925.6456 | 1222132.6998 | 2651880.1688 | 1222171.5831 | 2651767.7403 | 1222261.1715 | 2651766.5705 | 1222263.9853 | 2651766.4538 | 1222266.9416 | 2651767.7956 | 1222269.6438 | 2651771.8469 | 1222275.6271 | 2651772.836 | 1222278.7599 | 2651772.7032 | 1222280.949 | 2651771.9123 | 1222282.9322 | 2651765.4531 | 1222294.8056 | 2651730.0376 | 1222363.1845 | 2651718.8072 | 1222386.468 | 2651716.5726 | 1222395.7543 | 2651715.2488 | 1222406.694 | 2651712.6834 | 1222413.8984 | 2651647.2662 | 1222511.8468 | 2651639.5824 | 1222525.9333
6 | 2651639.5824 | 1222525.9333 | 2651582.4107 | 1222643.2658 | 2651579.1116 | 1222646.7616 | 2651574.1331 | 1222648.8865 | 2651567.6695 | 1222649.0974 | 2651505.0209 | 1222636.1294
7 | 2651937.8004 | 1222142.7008 | 2651959.1076 | 1222125.1869 | 2651961.9965 | 1222120.9539 | 2651963.0827 | 1222117.3056 | 2651963.0836 | 1222112.8473 | 2651960.488 | 1222106.9433 | 2651949.8255 | 1222093.6755 | 2651947.0074 | 1222089.793 | 2651941.1421 | 1222085.6838 | 2651922.3218 | 1222079.8173
8 | 2651917.9044 | 1222078.4404 | 2651922.3218 | 1222079.8173
9 | 2651917.9044 | 1222078.4404 | 2651909.8677 | 1222075.9354
10 | 2651344.155 | 1222655.6677 | 2651329.8552 | 1222642.2618 | 2651328.3328 | 1222639.3802 | 2651328.504 | 1222636.2353 | 2651341.3144 | 1222623.0962
11 | 2651368.2171 | 1222678.2256 | 2651344.155 | 1222655.6677
12 | 2651352.7225 | 1222611.3954 | 2651341.3144 | 1222623.0962
13 | 2651368.2171 | 1222678.2256 | 2651371.3393 | 1222681.1543
14 | 2651290.3328 | 1222578.9491 | 2651296.0252 | 1222600.478 | 2651296.5437 | 1222611.6005 | 2651305.716 | 1222624.4762 | 2651309.6626 | 1222632.9488 | 2651317.5073 | 1222650.2603 | 2651326.5171 | 1222664.3688 | 2651329.6058 | 1222668.5425 | 2651332.1915 | 1222666.8526 | 2651339.0138 | 1222676.9398 | 2651346.1961 | 1222685.7293 | 2651348.7933 | 1222687.9753 | 2651350.7352 | 1222688.8148 | 2651355.8517 | 1222689.1369 | 2651357.6382 | 1222688.652 | 2651360.1011 | 1222687.1278 | 2651368.2171 | 1222678.2256
15 | 2651371.3393 | 1222681.1543 | 2651423.4042 | 1222623.3012 | 2651451.3606 | 1222589.8776 | 2651455.2417 | 1222584.6527
16 | 2651290.3328 | 1222578.9491 | 2651289.8627 | 1222577.1662 | 2651286.3353 | 1222563.1606 | 2651285.5643 | 1222552.4458
17 | 2651290.3328 | 1222578.9491 | 2651299.2017 | 1222584.7846 | 2651310.4378 | 1222586.9939 | 2651322.2977 | 1222587.2295 | 2651338.0348 | 1222572.3337 | 2651349.1463 | 1222561.734 | 2651359.3368 | 1222562.0665
18 | 2651481.1804 | 1222549.7327 | 2651455.2417 | 1222584.6527
19 | 2651359.3368 | 1222562.0665 | 2651401.565 | 1222520.0826 | 2651424.7017 | 1222495.4679
20 | 2651424.7017 | 1222495.4679 | 2651488.1889 | 1222427.9247
21 | 2651290.4957 | 1222511.6091 | 2651294.0567 | 1222512.0401 | 2651295.6292 | 1222502.0586 | 2651298.2251 | 1222485.0927 | 2651299.0264 | 1222477.4838 | 2651299.934 | 1222465.4509 | 2651299.8841 | 1222449.2294 | 2651307.5392 | 1222448.0835 | 2651312.4478 | 1222445.2796 | 2651329.6357 | 1222428.4062 | 2651364.8923 | 1222464.9213
22 | 2651364.8923 | 1222464.9213 | 2651432.9782 | 1222398.2121
23 | 2651364.8923 | 1222464.9213 | 2651381.6379 | 1222481.8608
24 | 2651278.1684 | 1222375.3971 | 2651283.1936 | 1222374.9067 | 2651291.4749 | 1222421.7067 | 2651292.2599 | 1222430.9525 | 2651293.8771 | 1222450.1227 | 2651293.0824 | 1222470.1837 | 2651289.7942 | 1222504.1096 | 2651291.1028 | 1222508.0455 | 2651290.4957 | 1222511.6091
25 | 2651290.4957 | 1222511.6091 | 2651288.8732 | 1222521.2233 | 2651286.5809 | 1222534.6451 | 2651285.7534 | 1222542.6652 | 2651285.3667 | 1222549.6995 | 2651285.5643 | 1222552.4458
26 | 2651432.9782 | 1222398.2121 | 2651454.5722 | 1222420.3761
27 | 2651432.9782 | 1222398.2121 | 2651421.5355 | 1222386.4712
28 | 2651381.6379 | 1222481.8608 | 2651387.3322 | 1222487.621
29 | 2651275.525 | 1222340.6196 | 2651275.5619 | 1222350.426 | 2651275.7722 | 1222358.5995 | 2651276.9489 | 1222368.1599 | 2651278.1684 | 1222375.3971
30 | 2651278.1684 | 1222375.3971 | 2651269.9168 | 1222376.2155 | 2651242.9312 | 1222375.8609
31 | 2651275.525 | 1222340.6196 | 2651266.1801 | 1222340.6837 | 2651238.1711 | 1222337.0294 | 2651196.5939 | 1222328.9946
32 | 2651279.9168 | 1222340.5907 | 2651275.525 | 1222340.6196
33 | 2651279.9168 | 1222340.5907 | 2651279.8386 | 1222330.2949 | 2651282.3205 | 1222305.4343 | 2651284.6364 | 1222295.732
34 | 2651298.4426 | 1222237.8923 | 2651284.6364 | 1222295.732
35 | 2651547.7034 | 1222358.7237 | 2651541.2726 | 1222354.232
36 | 2651541.2726 | 1222354.232 | 2651565.7885 | 1222322.4357 | 2651598.0947 | 1222274.6346
37 | 2651547.7034 | 1222358.7237 | 2651559.5698 | 1222367.0204 | 2651571.6949 | 1222377.1757
38 | 2651547.7034 | 1222358.7237 | 2651511.6118 | 1222403.0055 | 2651488.1889 | 1222427.9247
39 | 2651617.9907 | 1222243.1834 | 2651600.2937 | 1222271.3808 | 2651598.0947 | 1222274.6346
40 | 2651481.1804 | 1222549.7327 | 2651463.3199 | 1222539.9946 | 2651444.5633 | 1222533.8845
41 | 2651314.252 | 1222171.6604 | 2651298.4426 | 1222237.8923
42 | 2651571.6949 | 1222377.1757 | 2651581.6025 | 1222385.4737
43 | 2651617.9907 | 1222243.1834 | 2651597.5591 | 1222233.0552
44 | 2651739.7552 | 1222042.6163 | 2651734.7256 | 1222040.0822 | 2651698.6184 | 1222111.9907 | 2651670.7903 | 1222159.056 | 2651617.9907 | 1222243.1834
45 | 2651739.7552 | 1222042.6163 | 2651755.2594 | 1222050.4335 | 2651765.4622 | 1222034.9293
46 | 2651800.0275 | 1222008.4523 | 2651789.0532 | 1222023.9887 | 2651775.2947 | 1222024.7696 | 2651770.6019 | 1222027.1191 | 2651765.4622 | 1222034.9293
47 | 2651407.6028 | 1222538.4683 | 2651413.4833 | 1222524.1102 | 2651416.3828 | 1222522.1006 | 2651420.3058 | 1222522.7682 | 2651444.5633 | 1222533.8845
48 | 2651816.2116 | 1221899.7707 | 2651808.8421 | 1221910.7244 | 2651783.8024 | 1221956.1791 | 2651778.8882 | 1221965.6645 | 2651776.7494 | 1221973.484 | 2651774.3686 | 1221979.4893 | 2651769.7993 | 1221988.5662
49 | 2651769.7993 | 1221988.5662 | 2651785.7928 | 1221999.0878
50 | 2651816.2116 | 1221899.7707 | 2651823.6983 | 1221904.9945 | 2651839.5522 | 1221910.7851
51 | 2651800.0275 | 1222008.4523 | 2651785.7928 | 1221999.0878
52 | 2651597.5591 | 1222233.0552 | 2651585.6047 | 1222227.1292
53 | 2651800.0275 | 1222008.4523 | 2651815.7881 | 1222019.74
54 | 2651904.9778 | 1222074.4112 | 2651899.6895 | 1222072.7628
55 | 2651904.9778 | 1222074.4112 | 2651909.8677 | 1222075.9354
56 | 2651881.9172 | 1222066.346 | 2651888.2287 | 1222069.1904 | 2651899.6895 | 1222072.7628
57 | 2651881.9172 | 1222066.346 | 2651879.0716 | 1222065.0637 | 2651815.7881 | 1222019.74
58 | 2651340.417 | 1222179.0347 | 2651314.252 | 1222171.6604
59 | 2651340.417 | 1222179.0347 | 2651338.1056 | 1222187.5978
60 | 2651314.252 | 1222171.6604 | 2651315.6289 | 1222165.9131
61 | 2651342.3404 | 1222196.1062 | 2651339.3821 | 1222193.4902 | 2651338.2892 | 1222190.9348 | 2651338.1056 | 1222187.5978
62 | 2651315.6289 | 1222165.9131 | 2651287.7748 | 1222151.2147
63 | 2651315.6289 | 1222165.9131 | 2651322.2898 | 1222141.1108 | 2651346.4704 | 1222072.78
64 | 2651355.8602 | 1222046.2459 | 2651346.4704 | 1222072.78
65 | 2651147.9199 | 1222010.4424 | 2651163.579 | 1222014.446 | 2651186.7515 | 1222017.0799 | 2651213.382 | 1222018.9321 | 2651220.8925 | 1222021.4315 | 2651226.5483 | 1222026.1497 | 2651229.3297 | 1222033.467 | 2651229.273 | 1222043.5838 | 2651225.3016 | 1222080.25 | 2651226.3598 | 1222098.3146 | 2651232.0571 | 1222118.476 | 2651242.1109 | 1222132.1486 | 2651256.4998 | 1222139.1655 | 2651285.7286 | 1222150.1349 | 2651287.7748 | 1222151.2147
66 | 2651147.9199 | 1222010.4424 | 2651152.8762 | 1221991.629
67 | 2651140.159 | 1221943.468 | 2651140.9799 | 1221940.6178 | 2651143.8606 | 1221939.0527 | 2651149.3813 | 1221939.2001 | 2651155.211 | 1221940.4732 | 2651159.2854 | 1221942.0981 | 2651161.3896 | 1221944.3842 | 2651162.1005 | 1221948.1593 | 2651161.0836 | 1221955.2882 | 2651154.9452 | 1221983.7752 | 2651152.8762 | 1221991.629

## bus_geodata
| x | y | coords
0 | 2651756.6886 | 1222590.9768
1 | 2651750.7341 | 1222588.1792
2 | 2651777.7016 | 1222600.8493
3 | 2651696.7525 | 1222558.2508
4 | 2651792.6743 | 1222607.8839
5 | 2651639.5824 | 1222525.9333
6 | 2651937.8004 | 1222142.7008
7 | 2651505.0209 | 1222636.1294
8 | 2651922.3218 | 1222079.8173
9 | 2651917.9044 | 1222078.4404
10 | 2651344.155 | 1222655.6677
11 | 2651341.3144 | 1222623.0962
12 | 2651368.2171 | 1222678.2256
13 | 2651352.7225 | 1222611.3954
14 | 2651371.3393 | 1222681.1544
15 | 2651290.3328 | 1222578.9491
16 | 2651455.2417 | 1222584.6527
17 | 2651359.3368 | 1222562.0665
18 | 2651424.7017 | 1222495.4679
19 | 2651364.8923 | 1222464.9213
20 | 2651290.4957 | 1222511.6091
21 | 2651432.9782 | 1222398.2121
22 | 2651381.6379 | 1222481.8608
23 | 2651278.1684 | 1222375.3971
24 | 2651285.5643 | 1222552.4458
25 | 2651275.525 | 1222340.6196
26 | 2651242.9312 | 1222375.8609
27 | 2651279.9168 | 1222340.5907
28 | 2651284.6364 | 1222295.732
29 | 2651541.2726 | 1222354.232
30 | 2651547.7034 | 1222358.7237
31 | 2651598.0947 | 1222274.6346
32 | 2651481.1804 | 1222549.7327
33 | 2651488.1889 | 1222427.9247
34 | 2651454.5722 | 1222420.3761
35 | 2651421.5355 | 1222386.4712
36 | 2651387.3322 | 1222487.621
37 | 2651196.5939 | 1222328.9946
38 | 2651298.4426 | 1222237.8923
39 | 2651571.6949 | 1222377.1757
40 | 2651617.9907 | 1222243.1834
41 | 2651739.7552 | 1222042.6163
42 | 2651765.4622 | 1222034.9293
43 | 2651581.6025 | 1222385.4737
44 | 2651444.5633 | 1222533.8845
45 | 2651407.6028 | 1222538.4683
46 | 2651769.7993 | 1221988.5662
47 | 2651816.2116 | 1221899.7707
48 | 2651785.7928 | 1221999.0878
49 | 2651839.5522 | 1221910.7851
50 | 2651597.5591 | 1222233.0552
51 | 2651800.0275 | 1222008.4523
52 | 2651904.9778 | 1222074.4112
53 | 2651899.6895 | 1222072.7628
54 | 2651909.8677 | 1222075.9354
55 | 2651881.9172 | 1222066.346
56 | 2651815.7881 | 1222019.74
57 | 2651585.6047 | 1222227.1292
58 | 2651340.417 | 1222179.0347
59 | 2651314.252 | 1222171.6604
60 | 2651338.1056 | 1222187.5978
61 | 2651315.6289 | 1222165.9131
62 | 2651342.3404 | 1222196.1062
63 | 2651355.8602 | 1222046.2459
64 | 2651346.4704 | 1222072.78
65 | 2651287.7748 | 1222151.2147
66 | 2651147.9199 | 1222010.4424
67 | 2651152.8762 | 1221991.629
68 | 2651140.159 | 1221943.468
69 | 2651547.7034 | 1222358.7237

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97099 | -0.55951 | 0.008122 | 0.0020356
1 | 0.97112 | -0.55697 | 0.035917 | 0.0090016
2 | 0.97071 | -0.56496 | 0.0059251 | 0.001485
3 | 0.97439 | -0.49245 | 0.0034911 | 0.00087495
4 | 0.97061 | -0.56703 | 0.0067735 | 0.0016976
5 | 0.97562 | -0.46827 | 0 | 0
6 | 0.98368 | -0.31141 | 0 | 0
7 | 0.97445 | -0.49129 | 0.0059403 | 0.0014888
8 | 0.98516 | -0.28278 | 0.00026277 | 6.5856e-05
9 | 0.98524 | -0.2814 | 0.0012957 | 0.00032474
10 | 0.97695 | -0.44289 | 0.0031578 | 0.00079143
11 | 0.97647 | -0.45231 | 0.0014002 | 0.00035091
12 | 0.97741 | -0.434 | 0 | 0
13 | 0.97632 | -0.45536 | 0.010217 | 0.0025607
14 | 0.97739 | -0.43424 | 0 | 0
15 | 0.97996 | -0.38386 | 0 | 0
16 | 0.97702 | -0.44161 | 0.00045089 | 0.000113
17 | 0.98487 | -0.28851 | 0 | 0
18 | 0.99052 | -0.18002 | 0.0029983 | 0.00075145
19 | 0.97425 | -0.49581 | 0 | 0
20 | 0.97717 | -0.43841 | 0 | 0
21 | 0.97358 | -0.5091 | 0 | 0
22 | 0.97397 | -0.50133 | 0.0058954 | 0.0014775
23 | 0.9743 | -0.49489 | 0 | 0
24 | 0.97878 | -0.40701 | 0.0053188 | 0.001333
25 | 0.97368 | -0.50709 | 0 | 0
26 | 0.97421 | -0.49656 | 0.0025764 | 0.0006457
27 | 0.97361 | -0.50848 | 0 | 0
28 | 0.97288 | -0.52295 | 0.0067563 | 0.0016933
29 | 0.99748 | -0.047726 | 0 | 0
30 | 0.99769 | -0.043662 | 0 | 0
31 | 0.99479 | -0.09866 | 0.012538 | 0.0031424
32 | 0.97691 | -0.44376 | 0 | 0
33 | 0.99346 | -0.12414 | 0.03215 | 0.0080577
34 | 0.97348 | -0.51102 | 0.0033714 | 0.00084495
35 | 0.97352 | -0.51038 | 0.0042234 | 0.0010585
36 | 0.97392 | -0.50234 | 0.0067255 | 0.0016856
37 | 0.97356 | -0.50947 | 0.0016192 | 0.00040581
38 | 0.97229 | -0.53457 | 0.0015543 | 0.00038954
39 | 0.99922 | -0.014691 | 0.0419 | 0.010501
40 | 0.99388 | -0.11605 | 0 | 0
41 | 0.98922 | -0.20494 | 0 | 0
42 | 0.98852 | -0.21831 | 0.0030861 | 0.00077346
43 | 1 | 0 | -0.26607 | -0.067721
44 | 0.97681 | -0.44573 | 0.0019505 | 0.00048883
45 | 0.97678 | -0.44641 | 0.00074778 | 0.00018741
46 | 0.98753 | -0.23737 | 0 | 0
47 | 0.98727 | -0.24237 | 0 | 0
48 | 0.98758 | -0.23642 | 0.00081027 | 0.00020307
49 | 0.9872 | -0.24366 | 0.0027788 | 0.00069643
50 | 0.99341 | -0.12508 | 0.013938 | 0.0034931
51 | 0.98763 | -0.23533 | 0 | 0
52 | 0.98545 | -0.27725 | 0.0047055 | 0.0011793
53 | 0.98555 | -0.27542 | 0.00057069 | 0.00014303
54 | 0.98537 | -0.27883 | 0.0011871 | 0.00029752
55 | 0.98587 | -0.26911 | 0.00055337 | 0.00013869
56 | 0.98729 | -0.24198 | 0.001972 | 0.00049424
57 | 0.99331 | -0.12708 | 0.0085034 | 0.0021311
58 | 0.97168 | -0.54656 | 0 | 0
59 | 0.97172 | -0.54594 | 0 | 0
60 | 0.97167 | -0.54676 | 0.00053704 | 0.0001346
61 | 0.97167 | -0.5468 | 0 | 0
62 | 0.97167 | -0.54689 | 0.00069394 | 0.00017392
63 | 0.97149 | -0.55033 | 0.00081352 | 0.00020389
64 | 0.97152 | -0.5499 | 0.0008978 | 0.00022501
65 | 0.97149 | -0.55035 | 0.0018393 | 0.00046096
66 | 0.97053 | -0.56939 | 0 | 0
67 | 0.97046 | -0.57092 | 0.0028946 | 0.00072545
68 | 0.97036 | -0.57277 | 0.0013584 | 0.00034044
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.020825 | -0.0052202 | 0.020827 | 0.0052217 | 2.5126e-06 | 1.5267e-06 | 0.031914 | 0.031914 | 0.031914 | 0.97099 | -0.55951 | 0.97112 | -0.55697 | 8.7675
1 | 0.012703 | 0.0031846 | -0.012699 | -0.0031828 | 3.2993e-06 | 1.8245e-06 | 0.019467 | 0.019467 | 0.019467 | 0.97099 | -0.55951 | 0.97071 | -0.56496 | 5.3481
2 | -0.056744 | -0.014223 | 0.056919 | 0.014335 | 0.00017503 | 0.00011125 | 0.086948 | 0.086948 | 0.086948 | 0.97112 | -0.55697 | 0.97439 | -0.49245 | 23.8868
3 | 0.0067742 | 0.0016978 | -0.0067735 | -0.0016976 | 6.6895e-07 | 2.2364e-07 | 0.010384 | 0.010384 | 0.010384 | 0.97071 | -0.56496 | 0.97061 | -0.56703 | 2.8528
4 | -0.06041 | -0.01521 | 0.06048 | 0.015252 | 6.9903e-05 | 4.2281e-05 | 0.092279 | 0.092278 | 0.092279 | 0.97439 | -0.49245 | 0.97562 | -0.46827 | 8.4505
5 | -0.066427 | -0.016742 | 0.066929 | 0.017037 | 0.00050235 | 0.00029523 | 0.10135 | 0.10134 | 0.10135 | 0.97562 | -0.46827 | 0.98368 | -0.31141 | 6.9607
6 | 0.0059468 | 0.0014903 | -0.0059403 | -0.0014888 | 6.5156e-06 | 1.536e-06 | 0.00907 | 0.009071 | 0.009071 | 0.97562 | -0.46827 | 0.97445 | -0.49129 | 2.492
7 | -0.066929 | -0.017037 | 0.067022 | 0.017092 | 9.2534e-05 | 5.4334e-05 | 0.10134 | 0.10134 | 0.10134 | 0.98368 | -0.31141 | 0.98516 | -0.28278 | 6.9601
8 | -0.067284 | -0.017158 | 0.067289 | 0.01716 | 4.4895e-06 | 2.6376e-06 | 0.10173 | 0.10173 | 0.10173 | 0.98516 | -0.28278 | 0.98524 | -0.2814 | 6.9872
9 | -0.068585 | -0.017485 | 0.068593 | 0.01749 | 8.4852e-06 | 5.0016e-06 | 0.10369 | 0.10369 | 0.10369 | 0.98524 | -0.2814 | 0.98537 | -0.27883 | 7.1216
10 | 0.011624 | 0.0029152 | -0.011619 | -0.0029124 | 5.2151e-06 | 2.7825e-06 | 0.017706 | 0.017706 | 0.017706 | 0.97695 | -0.44289 | 0.97647 | -0.45231 | 4.8643
11 | -0.014782 | -0.0037066 | 0.014788 | 0.0037102 | 6.2702e-06 | 3.5997e-06 | 0.022516 | 0.022515 | 0.022516 | 0.97695 | -0.44289 | 0.97741 | -0.434 | 6.1856
12 | 0.010219 | 0.0025615 | -0.010217 | -0.0025607 | 1.4861e-06 | 7.467e-07 | 0.015572 | 0.015572 | 0.015572 | 0.97647 | -0.45231 | 0.97632 | -0.45536 | 4.2781
13 | 0.0031508 | 0.00078701 | -0.0031508 | -0.00078704 | 3.6865e-08 | -2.9973e-08 | 0.0047959 | 0.0047959 | 0.0047959 | 0.97741 | -0.434 | 0.97739 | -0.43424 | 1.3176
14 | -0.017939 | -0.0044972 | 0.017982 | 0.0045228 | 4.2959e-05 | 2.5564e-05 | 0.027311 | 0.027311 | 0.027311 | 0.97741 | -0.434 | 0.97996 | -0.38386 | 7.5031
15 | 0.0031508 | 0.00078704 | -0.0031497 | -0.00078793 | 1.1034e-06 | -8.9631e-07 | 0.0047959 | 0.0047965 | 0.0047965 | 0.97739 | -0.43424 | 0.97702 | -0.44161 | 1.3177
16 | 0.047355 | 0.01196 | -0.047302 | -0.011926 | 5.2455e-05 | 3.3231e-05 | 0.071938 | 0.071938 | 0.071938 | 0.97996 | -0.38386 | 0.97878 | -0.40701 | 19.7633
17 | -0.065337 | -0.016482 | 0.065637 | 0.016673 | 0.00029976 | 0.00019082 | 0.099249 | 0.099249 | 0.099249 | 0.97996 | -0.38386 | 0.98487 | -0.28851 | 27.2662
18 | 0.0026988 | 0.00067493 | -0.0026985 | -0.0006753 | 2.7553e-07 | -3.6835e-07 | 0.0041098 | 0.00411 | 0.00411 | 0.97702 | -0.44161 | 0.97691 | -0.44376 | 1.1291
19 | -0.065637 | -0.016673 | 0.065981 | 0.016893 | 0.00034474 | 0.00021944 | 0.099249 | 0.099248 | 0.099249 | 0.98487 | -0.28851 | 0.99052 | -0.18002 | 27.2661
20 | -0.06898 | -0.017644 | 0.069167 | 0.017761 | 0.00018709 | 0.00011735 | 0.10375 | 0.10375 | 0.10375 | 0.99052 | -0.18002 | 0.99346 | -0.12414 | 14.2517
21 | -0.020225 | -0.0050701 | 0.02028 | 0.0051037 | 5.5475e-05 | 3.3567e-05 | 0.030891 | 0.03089 | 0.030891 | 0.97425 | -0.49581 | 0.97717 | -0.43841 | 8.4864
22 | 0.0076002 | 0.0019051 | -0.0075954 | -0.0019032 | 4.8101e-06 | 1.894e-06 | 0.011608 | 0.011609 | 0.011609 | 0.97425 | -0.49581 | 0.97358 | -0.5091 | 3.1892
23 | 0.012625 | 0.003165 | -0.012621 | -0.0031632 | 3.3211e-06 | 1.829e-06 | 0.019282 | 0.019283 | 0.019283 | 0.97425 | -0.49581 | 0.97397 | -0.50133 | 5.2974
24 | 0.02164 | 0.0054497 | -0.021582 | -0.0054142 | 5.8274e-05 | 3.5509e-05 | 0.032963 | 0.032963 | 0.032963 | 0.97717 | -0.43841 | 0.9743 | -0.49489 | 9.0559
25 | -0.041921 | -0.010553 | 0.041984 | 0.010593 | 6.3034e-05 | 3.9824e-05 | 0.063853 | 0.063852 | 0.063853 | 0.97717 | -0.43841 | 0.97878 | -0.40701 | 17.5419
26 | 0.0033717 | 0.00084476 | -0.0033714 | -0.00084495 | 3.0816e-07 | -1.8754e-07 | 0.0051532 | 0.0051533 | 0.0051533 | 0.97358 | -0.5091 | 0.97348 | -0.51102 | 1.4157
27 | 0.0042237 | 0.0010585 | -0.0042234 | -0.0010585 | 2.5621e-07 | -3.9885e-08 | 0.0064554 | 0.0064555 | 0.0064555 | 0.97358 | -0.5091 | 0.97352 | -0.51038 | 1.7735
28 | 0.0067259 | 0.0016857 | -0.0067255 | -0.0016856 | 3.2072e-07 | 1.0446e-07 | 0.010276 | 0.010276 | 0.010276 | 0.97397 | -0.50133 | 0.97392 | -0.50234 | 2.823
29 | 0.019005 | 0.0047688 | -0.018994 | -0.0047622 | 1.1047e-05 | 6.6351e-06 | 0.029028 | 0.029029 | 0.029029 | 0.9743 | -0.49489 | 0.97368 | -0.50709 | 7.9749
30 | 0.0025766 | 0.0006454 | -0.0025764 | -0.0006457 | 2.0487e-07 | -3.0821e-07 | 0.003935 | 0.0039352 | 0.0039352 | 0.9743 | -0.49489 | 0.97421 | -0.49656 | 1.0811
31 | 0.0016194 | 0.00040493 | -0.0016192 | -0.00040581 | 1.8357e-07 | -8.7664e-07 | 0.0024745 | 0.0024748 | 0.0024748 | 0.97368 | -0.50709 | 0.97356 | -0.50947 | 0.67989
32 | 0.017375 | 0.0043573 | -0.017374 | -0.0043566 | 1.1579e-06 | 6.8659e-07 | 0.026554 | 0.026554 | 0.026554 | 0.97368 | -0.50709 | 0.97361 | -0.50848 | 7.2951
33 | 0.017374 | 0.0043566 | -0.017362 | -0.0043495 | 1.1966e-05 | 7.0962e-06 | 0.026554 | 0.026554 | 0.026554 | 0.97361 | -0.50848 | 0.97288 | -0.52295 | 7.2951
34 | 0.010606 | 0.0026562 | -0.0106 | -0.0026532 | 5.8671e-06 | 3.017e-06 | 0.01622 | 0.016221 | 0.016221 | 0.97288 | -0.52295 | 0.97229 | -0.53457 | 4.4563
35 | -0.12028 | -0.030817 | 0.1203 | 0.030832 | 2.3693e-05 | 1.4755e-05 | 0.17967 | 0.17967 | 0.17967 | 0.99748 | -0.047726 | 0.99769 | -0.043662 | 12.34
36 | 0.12028 | 0.030817 | -0.11998 | -0.030633 | 0.00029612 | 0.00018442 | 0.17967 | 0.17967 | 0.17967 | 0.99748 | -0.047726 | 0.99479 | -0.09866 | 12.3401
37 | -0.22202 | -0.056901 | 0.22233 | 0.0571 | 0.00031225 | 0.00019826 | 0.33158 | 0.33157 | 0.33158 | 0.99769 | -0.043662 | 0.99922 | -0.014691 | 22.773
38 | 0.10171 | 0.026069 | -0.10132 | -0.025819 | 0.00039514 | 0.00025051 | 0.15191 | 0.15191 | 0.15191 | 0.99769 | -0.043662 | 0.99346 | -0.12414 | 20.8663
39 | 0.10745 | 0.02749 | -0.10735 | -0.027434 | 9.035e-05 | 5.5893e-05 | 0.16092 | 0.16092 | 0.16092 | 0.99479 | -0.09866 | 0.99388 | -0.11605 | 11.052
40 | 0.0026985 | 0.0006753 | -0.0026983 | -0.00067564 | 2.5383e-07 | -3.3918e-07 | 0.00411 | 0.0041102 | 0.0041102 | 0.97691 | -0.44376 | 0.97681 | -0.44573 | 1.1292
41 | 0.0090454 | 0.0022636 | -0.0090405 | -0.0022613 | 4.8926e-06 | 2.2873e-06 | 0.013842 | 0.013842 | 0.013842 | 0.97229 | -0.53457 | 0.97172 | -0.54594 | 3.8028
42 | -0.26423 | -0.067601 | 0.26442 | 0.06772 | 0.00018805 | 0.00011968 | 0.39397 | 0.39397 | 0.39397 | 0.99922 | -0.014691 | 1 | 0 | 27.0584
43 | 0.022452 | 0.0056305 | -0.022442 | -0.0056246 | 9.6632e-06 | 5.889e-06 | 0.033615 | 0.033615 | 0.033615 | 0.99388 | -0.11605 | 0.99341 | -0.12508 | 9.235
44 | 0.084903 | 0.021804 | -0.084539 | -0.021583 | 0.0003648 | 0.00022108 | 0.1273 | 0.12731 | 0.12731 | 0.99388 | -0.11605 | 0.98922 | -0.20494 | 8.7436
45 | 0.084539 | 0.021583 | -0.084484 | -0.02155 | 5.4583e-05 | 3.309e-05 | 0.12731 | 0.12731 | 0.12731 | 0.98922 | -0.20494 | 0.98852 | -0.21831 | 8.7437
46 | 0.081398 | 0.020776 | -0.081331 | -0.020736 | 6.6861e-05 | 4.0363e-05 | 0.12266 | 0.12266 | 0.12266 | 0.98852 | -0.21831 | 0.98763 | -0.23533 | 8.4247
47 | 0.00074781 | 0.00018681 | -0.00074778 | -0.00018741 | 2.4184e-08 | -6.0671e-07 | 0.0011389 | 0.0011392 | 0.0011392 | 0.97681 | -0.44573 | 0.97678 | -0.44641 | 0.31296
48 | 0.0027796 | 0.00069535 | -0.002779 | -0.00069621 | 6.6081e-07 | -8.6206e-07 | 0.0041879 | 0.0041884 | 0.0041884 | 0.98753 | -0.23737 | 0.98727 | -0.24237 | 1.1507
49 | -0.0027796 | -0.00069535 | 0.0027798 | 0.00069519 | 1.2591e-07 | -1.6436e-07 | 0.0041879 | 0.0041878 | 0.0041879 | 0.98753 | -0.23737 | 0.98758 | -0.23642 | 1.1505
50 | 0.002779 | 0.00069621 | -0.0027788 | -0.00069643 | 1.7109e-07 | -2.2305e-07 | 0.0041884 | 0.0041885 | 0.0041885 | 0.98727 | -0.24237 | 0.9872 | -0.24366 | 1.1507
51 | -0.00359 | -0.00089826 | 0.0035902 | 0.00089816 | 1.8692e-07 | -9.8402e-08 | 0.0054087 | 0.0054086 | 0.0054087 | 0.98758 | -0.23642 | 0.98763 | -0.23533 | 1.4859
52 | 0.0085042 | 0.0021315 | -0.0085034 | -0.0021311 | 8.119e-07 | 3.4688e-07 | 0.012738 | 0.012738 | 0.012738 | 0.99341 | -0.12508 | 0.99331 | -0.12708 | 3.4996
53 | 0.077741 | 0.019838 | -0.077716 | -0.019823 | 2.4987e-05 | 1.5e-05 | 0.11725 | 0.11726 | 0.11726 | 0.98763 | -0.23533 | 0.98729 | -0.24198 | 8.0532
54 | -0.074491 | -0.01897 | 0.074498 | 0.018974 | 6.5828e-06 | 3.9307e-06 | 0.11259 | 0.11259 | 0.11259 | 0.98545 | -0.27725 | 0.98555 | -0.27542 | 7.7327
55 | 0.069786 | 0.017791 | -0.06978 | -0.017787 | 5.3428e-06 | 3.1584e-06 | 0.10548 | 0.10548 | 0.10548 | 0.98545 | -0.27725 | 0.98537 | -0.27883 | 7.2447
56 | -0.075068 | -0.019117 | 0.075091 | 0.019131 | 2.2839e-05 | 1.3652e-05 | 0.11345 | 0.11345 | 0.11345 | 0.98555 | -0.27542 | 0.98587 | -0.26911 | 7.7919
57 | -0.075645 | -0.019269 | 0.075744 | 0.019329 | 9.9133e-05 | 5.931e-05 | 0.11428 | 0.11428 | 0.11428 | 0.98587 | -0.26911 | 0.98729 | -0.24198 | 7.8492
58 | -0.001231 | -0.00030829 | 0.001231 | 0.00030798 | 3.6123e-08 | -3.127e-07 | 0.001885 | 0.0018849 | 0.001885 | 0.97168 | -0.54656 | 0.97172 | -0.54594 | 0.51787
59 | 0.001231 | 0.00030829 | -0.001231 | -0.00030839 | 1.1819e-08 | -1.023e-07 | 0.001885 | 0.0018851 | 0.0018851 | 0.97168 | -0.54656 | 0.97167 | -0.54676 | 0.51788
60 | 0.0078094 | 0.0019534 | -0.0078091 | -0.0019532 | 3.1688e-07 | 1.296e-07 | 0.011957 | 0.011957 | 0.011957 | 0.97172 | -0.54594 | 0.97167 | -0.5468 | 3.285
61 | 0.00069395 | 0.0001738 | -0.00069394 | -0.00017392 | 4.2647e-09 | -1.2201e-07 | 0.0010627 | 0.0010627 | 0.0010627 | 0.97167 | -0.54676 | 0.97167 | -0.54689 | 0.29195
62 | 0.0060975 | 0.0015257 | -0.0060965 | -0.0015255 | 1.0296e-06 | 2.6892e-07 | 0.0093369 | 0.009337 | 0.009337 | 0.97167 | -0.5468 | 0.97149 | -0.55035 | 2.5651
63 | 0.0017116 | 0.0004275 | -0.0017113 | -0.00042856 | 2.5285e-07 | -1.0539e-06 | 0.0026206 | 0.002621 | 0.002621 | 0.97167 | -0.5468 | 0.97152 | -0.5499 | 0.72006
64 | -0.00081352 | -0.00020389 | 0.00081353 | 0.00020355 | 1.6386e-08 | -3.3803e-07 | 0.001246 | 0.0012459 | 0.001246 | 0.97149 | -0.55033 | 0.97152 | -0.5499 | 0.34232
65 | 0.0042573 | 0.0010645 | -0.0042534 | -0.001065 | 3.8558e-06 | -5.2384e-07 | 0.0065199 | 0.0065209 | 0.0065209 | 0.97149 | -0.55035 | 0.97053 | -0.56939 | 1.7915
66 | 0.0042534 | 0.001065 | -0.0042531 | -0.0010651 | 3.1024e-07 | -4.1848e-08 | 0.0065209 | 0.006521 | 0.006521 | 0.97053 | -0.56939 | 0.97046 | -0.57092 | 1.7915
67 | 0.0013585 | 0.00033961 | -0.0013584 | -0.00034044 | 1.1963e-07 | -8.3189e-07 | 0.0020827 | 0.002083 | 0.002083 | 0.97046 | -0.57092 | 0.97036 | -0.57277 | 0.57226

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27705 | 0.070474

## res_load
| p_mw | q_mvar
0 | 0.008122 | 0.0020356
1 | 0.035917 | 0.0090016
2 | 0.0059251 | 0.001485
3 | 0.0034911 | 0.00087495
4 | 0.0067735 | 0.0016976
5 | 0.0059403 | 0.0014888
6 | 0.00026277 | 6.5856e-05
7 | 0.0012957 | 0.00032474
8 | 0.0031578 | 0.00079143
9 | 0.0014002 | 0.00035091
10 | 0.010217 | 0.0025607
11 | 0.00045089 | 0.000113
12 | 0.0029983 | 0.00075145
13 | 0.0058954 | 0.0014775
14 | 0.0053188 | 0.001333
15 | 0.0025764 | 0.0006457
16 | 0.0067563 | 0.0016933
17 | 0.012538 | 0.0031424
18 | 0.03215 | 0.0080577
19 | 0.0033714 | 0.00084495
20 | 0.0042234 | 0.0010585
21 | 0.0067255 | 0.0016856
22 | 0.0016192 | 0.00040581
23 | 0.0015543 | 0.00038954
24 | 0.0419 | 0.010501
25 | 0.0030861 | 0.00077346
26 | 0.010987 | 0.0027536
27 | 0.0019505 | 0.00048883
28 | 0.00074778 | 0.00018741
29 | 0.00081027 | 0.00020307
30 | 0.0027788 | 0.00069643
31 | 0.013938 | 0.0034931
32 | 0.0047055 | 0.0011793
33 | 0.00057069 | 0.00014303
34 | 0.0011871 | 0.00029752
35 | 0.00055337 | 0.00013869
36 | 0.001972 | 0.00049424
37 | 0.0085034 | 0.0021311
38 | 0.00053704 | 0.0001346
39 | 0.00069394 | 0.00017392
40 | 0.00081352 | 0.00020389
41 | 0.0008978 | 0.00022501
42 | 0.0018393 | 0.00046096
43 | 0.0028946 | 0.00072545
44 | 0.0013584 | 0.00034044

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1