## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1103-19_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1103-19_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1103-19_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1103-19_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1103-19_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1103-19_0_6_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1103-19_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1103-19_0_6_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1103-19_0_6_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1103-19_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1103-19_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1103-19_0_6_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1103-19_0_6_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_1103-19_0_6_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_1103-19_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1103-19_0_6_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_1103-19_0_6_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_1103-19_0_6_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_1103-19_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1103-19_0_6_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_1103-19_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1103-19_0_6_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_1103-19_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1103-19_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1103-19_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1103-19_0_6_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1103-19_0_6_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1103-19_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1103-19_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1103-19_0_6_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1103-19_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1103-19_0_6_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1103-19_0_6_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_1103-19_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1103-19_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1103-19_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1103-19_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1103-19_0_6_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1103-19_0_6_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1103-19_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1103-19_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1103-19_0_6_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1103-19_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1103-19_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1103-19_0_6_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_1103-19_0_6_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_1103-19_0_6_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_1103-19_0_6_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1103-19_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1103-19_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1103-19_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1103-19_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1103-19_0_6_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1103-19_0_6_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_1103-19_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_1103-19_0_6_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1103-19_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_1103-19_0_6_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_1103-19_0_6_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_1103-19_0_6_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_1103-19_0_6_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_1103-19_0_6_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_1103-19_0_6_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_1103-19_0_6_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_1103-19_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_1103-19_0_6_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_1103-19_0_6_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_1103-19_0_6_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_1103-19_0_6_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_1103-19_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1103-19_0_6_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_1103-19_0_6_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_1103-19_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_1103-19_0_6_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_1103-19_0_6_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_1103-19_0_6_node_72 | 0.4 | n |  | TRUE
76 | bus_MV_471_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1103-19_0_6_load_0 | 0 | 0.019069 | 0.0047791 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1103-19_0_6_load_1 | 1 | 0.0064454 | 0.0016154 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1103-19_0_6_load_2 | 2 | 0.0083787 | 0.0020999 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1103-19_0_6_load_3 | 3 | 0.0071291 | 0.0017867 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1103-19_0_6_load_4 | 4 | 0.0092927 | 0.002329 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1103-19_0_6_load_11 | 5 | 0.02473 | 0.006198 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1103-19_0_6_load_10 | 8 | 0.0089238 | 0.0022365 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1103-19_0_6_load_5 | 10 | 0.017061 | 0.0042759 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1103-19_0_6_load_13 | 11 | 0.052222 | 0.013088 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1103-19_0_6_load_73 | 12 | 0.022555 | 0.0056528 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1103-19_0_6_load_76 | 16 | 0.021981 | 0.0055091 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1103-19_0_6_load_79 | 17 | 0.013562 | 0.003399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1103-19_0_6_load_54 | 19 | 0.0041694 | 0.001045 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1103-19_0_6_load_16 | 22 | 0.012702 | 0.0031834 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1103-19_0_6_load_15 | 23 | 0.012486 | 0.0031292 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1103-19_0_6_load_19 | 24 | 0.0032941 | 0.00082559 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1103-19_0_6_load_25 | 25 | 0.010781 | 0.0027019 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1103-19_0_6_load_22 | 27 | 0.0074053 | 0.0018559 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1103-19_0_6_load_21 | 28 | 0.0068679 | 0.0017212 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1103-19_0_6_load_26 | 29 | 0.0069152 | 0.0017331 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1103-19_0_6_load_27 | 30 | 0.038071 | 0.0095416 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1103-19_0_6_load_28 | 31 | 0.037194 | 0.0093217 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1103-19_0_6_load_78 | 32 | 0.0057321 | 0.0014366 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1103-19_0_6_load_23 | 33 | 0.0017808 | 0.00044632 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1103-19_0_6_load_24 | 34 | 0.0022148 | 0.00055509 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1103-19_0_6_load_31 | 35 | 0.0017495 | 0.00043847 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1103-19_0_6_load_32 | 36 | 0.0010781 | 0.00027019 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1103-19_0_6_load_34 | 37 | 0.0033148 | 0.00083076 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1103-19_0_6_load_33 | 38 | 0.036918 | 0.0092524 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1103-19_0_6_load_29 | 39 | 0.0054096 | 0.0013558 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1103-19_0_6_load_30 | 40 | 0.0052528 | 0.0013165 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1103-19_0_6_load_35 | 41 | 0.0043933 | 0.0011011 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1103-19_0_6_load_36 | 42 | 0.0059895 | 0.0015011 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1103-19_0_6_load_70 | 46 | 0.001749 | 0.00043835 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1103-19_0_6_load_38 | 47 | 0.021426 | 0.0053699 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1103-19_0_6_load_42 | 50 | 0.054979 | 0.013779 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1103-19_0_6_load_43 | 51 | 0.0069903 | 0.0017519 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1103-19_0_6_load_53 | 52 | 0.018671 | 0.0046794 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1103-19_0_6_load_51 | 54 | 0.0064112 | 0.0016068 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1103-19_0_6_load_44 | 56 | 0.0033496 | 0.00083949 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1103-19_0_6_load_45 | 57 | 0.0017889 | 0.00044833 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1103-19_0_6_load_46 | 58 | 0.002134 | 0.00053483 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1103-19_0_6_load_47 | 59 | 0.0045395 | 0.0011377 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1103-19_0_6_load_48 | 60 | 0.0029964 | 0.00075096 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1103-19_0_6_load_66 | 61 | 0.003267 | 0.00081878 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1103-19_0_6_load_69 | 62 | 0.0025991 | 0.00065141 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1103-19_0_6_load_67 | 63 | 0.0029347 | 0.00073549 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1103-19_0_6_load_52 | 64 | 0.0022032 | 0.00055218 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1103-19_0_6_load_49 | 65 | 0.0051846 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1103-19_0_6_load_50 | 66 | 0.0012151 | 0.00030454 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1103-19_0_6_load_56 | 67 | 0.0055374 | 0.0013878 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1103-19_0_6_load_57 | 68 | 0.0043142 | 0.0010812 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1103-19_0_6_load_59 | 69 | 0.01571 | 0.0039373 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1103-19_0_6_load_62 | 71 | 0.0020735 | 0.00051967 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1103-19_0_6_load_68 | 72 | 0.002588 | 0.00064862 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1103-19_0_6_load_64 | 73 | 0.0023615 | 0.00059185 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1103-19_0_6_load_71 | 74 | 0.0019085 | 0.00047832 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1103-19_0_6_load_72 | 75 | 0.0030168 | 0.00075608 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1103-19_0_6_line_0 |  | 0 | 1 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1103-19_0_6_line_1 |  | 0 | 2 | 0.015667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1103-19_0_6_line_2 |  | 1 | 3 | 0.027317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1103-19_0_6_line_3 |  | 2 | 4 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1103-19_0_6_line_4 |  | 3 | 5 | 0.0076046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1103-19_0_6_line_5 |  | 4 | 6 | 0.025993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1103-19_0_6_line_6 |  | 5 | 7 | 0.033785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1103-19_0_6_line_7 |  | 6 | 8 | 0.017958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1103-19_0_6_line_8 |  | 6 | 9 | 0.013531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1103-19_0_6_line_9 |  | 7 | 15 | 0.048652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1103-19_0_6_line_10 |  | 7 | 16 | 0.068739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1103-19_0_6_line_11 |  | 8 | 11 | 0.043971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1103-19_0_6_line_12 |  | 9 | 10 | 0.029953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1103-19_0_6_line_13 |  | 11 | 14 | 0.020088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1103-19_0_6_line_14 |  | 12 | 13 | 0.010743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1103-19_0_6_line_15 |  | 13 | 21 | 0.063945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1103-19_0_6_line_16 |  | 14 | 22 | 0.036214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1103-19_0_6_line_17 |  | 15 | 17 | 0.016532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1103-19_0_6_line_18 |  | 16 | 21 | 0.0050558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1103-19_0_6_line_19 |  | 18 | 19 | 0.020739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1103-19_0_6_line_20 |  | 18 | 20 | 0.029183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1103-19_0_6_line_21 |  | 19 | 26 | 0.040689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1103-19_0_6_line_22 |  | 20 | 24 | 0.016133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1103-19_0_6_line_23 |  | 20 | 23 | 0.046081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1103-19_0_6_line_24 |  | 22 | 23 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1103-19_0_6_line_25 |  | 24 | 25 | 0.0050499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1103-19_0_6_line_26 |  | 25 | 29 | 0.046553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1103-19_0_6_line_27 |  | 26 | 52 | 0.016475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1103-19_0_6_line_28 |  | 26 | 48 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1103-19_0_6_line_29 |  | 27 | 28 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1103-19_0_6_line_30 |  | 28 | 33 | 0.0074256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1103-19_0_6_line_31 |  | 29 | 37 | 0.00039663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1103-19_0_6_line_32 |  | 30 | 31 | 0.036251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1103-19_0_6_line_33 |  | 30 | 32 | 0.040667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1103-19_0_6_line_34 |  | 31 | 39 | 0.00096813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1103-19_0_6_line_35 |  | 33 | 34 | 0.022558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1103-19_0_6_line_36 |  | 34 | 35 | 0.0026599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1103-19_0_6_line_37 |  | 35 | 36 | 0.015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1103-19_0_6_line_38 |  | 36 | 41 | 0.014707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1103-19_0_6_line_39 |  | 37 | 38 | 0.036581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1103-19_0_6_line_40 |  | 38 | 40 | 1.5736e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1103-19_0_6_line_41 |  | 39 | 40 | 0.036985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1103-19_0_6_line_42 |  | 41 | 42 | 0.012472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1103-19_0_6_line_43 |  | 42 | 43 | 0.038717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1103-19_0_6_line_44 |  | 43 | 44 | 0.048639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1103-19_0_6_line_45 |  | 44 | 45 | 0.030052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1103-19_0_6_line_46 |  | 44 | 46 | 0.015521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1103-19_0_6_line_47 |  | 45 | 70 | 0.030668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1103-19_0_6_line_48 |  | 45 | 71 | 0.014696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1103-19_0_6_line_49 |  | 46 | 72 | 0.022899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1103-19_0_6_line_50 |  | 47 | 48 | 0.018941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1103-19_0_6_line_51 |  | 47 | 49 | 0.0139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1103-19_0_6_line_52 |  | 48 | 50 | 0.028006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1103-19_0_6_line_53 |  | 49 | 51 | 0.015386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1103-19_0_6_line_54 |  | 50 | 53 | 0.029746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1103-19_0_6_line_55 |  | 52 | 54 | 0.00035771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1103-19_0_6_line_56 |  | 53 | 55 | 0.027954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1103-19_0_6_line_57 |  | 54 | 65 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1103-19_0_6_line_58 |  | 55 | 67 | 0.070835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1103-19_0_6_line_59 |  | 56 | 57 | 0.0073157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1103-19_0_6_line_60 |  | 56 | 58 | 0.018953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1103-19_0_6_line_61 |  | 57 | 59 | 0.015715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1103-19_0_6_line_62 |  | 58 | 60 | 0.0040556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1103-19_0_6_line_63 |  | 59 | 61 | 0.0074504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1103-19_0_6_line_64 |  | 60 | 62 | 0.0065201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1103-19_0_6_line_65 |  | 61 | 63 | 0.004658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1103-19_0_6_line_66 |  | 62 | 64 | 0.0031002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1103-19_0_6_line_67 |  | 63 | 72 | 0.026749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1103-19_0_6_line_68 |  | 64 | 66 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1103-19_0_6_line_69 |  | 65 | 66 | 0.0019705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1103-19_0_6_line_70 |  | 67 | 68 | 0.038281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1103-19_0_6_line_71 |  | 68 | 69 | 0.0047099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1103-19_0_6_line_72 |  | 70 | 74 | 0.021357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1103-19_0_6_line_73 |  | 71 | 73 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1103-19_0_6_line_74 |  | 74 | 75 | 0.0085165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1103-19_0_6_trafo_17 | 0.63 MVA 20/0.4 kV | 76 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2650237.5704 | 1224662.4935 | 2650249.8018 | 1224666.8877
1 | 2650237.5704 | 1224662.4935 | 2650222.8265 | 1224657.1967
2 | 2650275.5099 | 1224676.1234 | 2650249.8018 | 1224666.8877
3 | 2650213.1703 | 1224653.7277 | 2650222.8265 | 1224657.1967
4 | 2650275.5099 | 1224676.1234 | 2650282.6667 | 1224678.6945
5 | 2650188.7077 | 1224644.9395 | 2650213.1703 | 1224653.7277
6 | 2650314.4626 | 1224690.1172 | 2650282.6667 | 1224678.6945
7 | 2650188.7077 | 1224644.9395 | 2650194.5199 | 1224627.9485
8 | 2650188.7077 | 1224644.9395 | 2650175.9408 | 1224640.3513
9 | 2650314.4626 | 1224690.1172 | 2650319.0053 | 1224678.3039 | 2650324.8968 | 1224662.9998 | 2650343.0687 | 1224670.3356
10 | 2650314.4626 | 1224690.1172 | 2650309.1985 | 1224702.0691 | 2650295.2769 | 1224733.671 | 2650286.7552 | 1224753.0251
11 | 2650194.5199 | 1224627.9485 | 2650208.7518 | 1224586.3446
12 | 2650175.9408 | 1224640.3513 | 2650165.9031 | 1224668.5718
13 | 2650215.2538 | 1224567.3375 | 2650208.7518 | 1224586.3446
14 | 2650240.0681 | 1224787.5273 | 2650230.2588 | 1224783.1457
15 | 2650240.0681 | 1224787.5273 | 2650248.8814 | 1224789.803 | 2650258.1472 | 1224791.46 | 2650260.8559 | 1224789.4149 | 2650264.0424 | 1224788.2411 | 2650267.4407 | 1224788.0363 | 2650271.1362 | 1224784.0539 | 2650278.0649 | 1224773.3836 | 2650284.7179 | 1224757.6522
16 | 2650215.2538 | 1224567.3375 | 2650249.2695 | 1224579.7615
17 | 2650349.2259 | 1224654.9893 | 2650343.0687 | 1224670.3356
18 | 2650284.7179 | 1224757.6522 | 2650286.7552 | 1224753.0251
19 | 2650343.6644 | 1224614.2393 | 2650358.1163 | 1224619.487 | 2650363.159 | 1224621.3154
20 | 2650316.182 | 1224604.2009 | 2650328.9331 | 1224608.856 | 2650343.6644 | 1224614.2393
21 | 2650401.4116 | 1224635.1851 | 2650363.159 | 1224621.3154
22 | 2650316.182 | 1224604.2009 | 2650321.7222 | 1224589.0488
23 | 2650316.182 | 1224604.2009 | 2650272.8977 | 1224588.3915
24 | 2650272.8977 | 1224588.3915 | 2650249.2695 | 1224579.7615
25 | 2650321.7222 | 1224589.0488 | 2650323.4564 | 1224584.3061
26 | 2650323.4564 | 1224584.3061 | 2650328.6155 | 1224570.196 | 2650329.4332 | 1224564.9553 | 2650327.8866 | 1224560.4617 | 2650323.43 | 1224557.5889 | 2650308.2052 | 1224552.1396
27 | 2650401.4116 | 1224635.1851 | 2650406.7935 | 1224619.6143
28 | 2650401.4116 | 1224635.1851 | 2650415.908 | 1224640.5333
29 | 2650365.5006 | 1224553.082 | 2650360.1776 | 1224567.9902
30 | 2650365.5006 | 1224553.082 | 2650367.9975 | 1224546.0887
31 | 2650307.8318 | 1224552.0059 | 2650308.2052 | 1224552.1396
32 | 2650203.5119 | 1224514.6673 | 2650237.6428 | 1224526.8835
33 | 2650203.5119 | 1224514.6673 | 2650184.4681 | 1224478.7344
34 | 2650237.6428 | 1224526.8835 | 2650238.5543 | 1224527.2098
35 | 2650375.583 | 1224524.8438 | 2650367.9975 | 1224546.0887
36 | 2650375.583 | 1224524.8438 | 2650376.4774 | 1224522.3388
37 | 2650376.4774 | 1224522.3388 | 2650381.5367 | 1224508.1692
38 | 2650386.4822 | 1224494.3182 | 2650381.5367 | 1224508.1692
39 | 2650273.3907 | 1224539.6786 | 2650307.8318 | 1224552.0059
40 | 2650273.3758 | 1224539.6733 | 2650273.3907 | 1224539.6786
41 | 2650273.3758 | 1224539.6733 | 2650238.5543 | 1224527.2098
42 | 2650386.4822 | 1224494.3182 | 2650390.676 | 1224482.5723
43 | 2650403.6949 | 1224446.1098 | 2650390.676 | 1224482.5723
44 | 2650450.4646 | 1224459.9365 | 2650403.6949 | 1224446.1098
45 | 2650450.4646 | 1224459.9365 | 2650479.3628 | 1224468.4755
46 | 2650450.4646 | 1224459.9365 | 2650446.3758 | 1224474.9093
47 | 2650479.3628 | 1224468.4755 | 2650508.8508 | 1224477.1976
48 | 2650479.3628 | 1224468.4755 | 2650475.302 | 1224482.5995
49 | 2650440.3435 | 1224496.9991 | 2650440.6837 | 1224495.7536 | 2650446.3758 | 1224474.9093
50 | 2650415.908 | 1224640.5333 | 2650409.0245 | 1224658.1795
51 | 2650403.9731 | 1224671.129 | 2650409.0245 | 1224658.1795
52 | 2650415.908 | 1224640.5333 | 2650442.1801 | 1224650.2343
53 | 2650403.9731 | 1224671.129 | 2650389.4149 | 1224666.1496
54 | 2650470.0842 | 1224660.5378 | 2650442.1801 | 1224650.2343
55 | 2650406.9104 | 1224619.2762 | 2650406.7935 | 1224619.6143
56 | 2650496.2778 | 1224670.4993 | 2650486.145 | 1224666.4665 | 2650474.3469 | 1224662.1083 | 2650470.0842 | 1224660.5378
57 | 2650413.3022 | 1224600.7837 | 2650406.9104 | 1224619.2762
58 | 2650496.2778 | 1224670.4993 | 2650507.6257 | 1224637.653 | 2650508.082 | 1224633.0207 | 2650506.5637 | 1224629.6835 | 2650502.716 | 1224627.4495 | 2650500.6302 | 1224625.753 | 2650499.5965 | 1224622.4867 | 2650505.3455 | 1224606.277
59 | 2650419.3008 | 1224553.6065 | 2650418.8357 | 1224549.1016 | 2650419.5764 | 1224546.415
60 | 2650419.3008 | 1224553.6065 | 2650419.5434 | 1224555.9563 | 2650421.4625 | 1224561.2202 | 2650422.3451 | 1224567.1202 | 2650421.7064 | 1224572.1016
61 | 2650419.5764 | 1224546.415 | 2650420.9398 | 1224541.4702 | 2650427.6509 | 1224533.284
62 | 2650420.8847 | 1224576.0632 | 2650421.4764 | 1224573.8948 | 2650421.7064 | 1224572.1016
63 | 2650432.0839 | 1224527.3003 | 2650428.9686 | 1224531.6766 | 2650427.6509 | 1224533.284
64 | 2650420.8847 | 1224576.0632 | 2650419.168 | 1224582.3532
65 | 2650432.0839 | 1224527.3003 | 2650432.0839 | 1224527.3003 | 2650433.2959 | 1224522.8028
66 | 2650418.3518 | 1224585.344 | 2650419.168 | 1224582.3532
67 | 2650440.3435 | 1224496.9991 | 2650433.3364 | 1224522.6525 | 2650433.2959 | 1224522.8028
68 | 2650413.946 | 1224598.9213 | 2650417.2746 | 1224589.291 | 2650418.3518 | 1224585.344
69 | 2650413.3022 | 1224600.7837 | 2650413.946 | 1224598.9213
70 | 2650505.3455 | 1224606.277 | 2650518.1414 | 1224570.1979
71 | 2650519.7157 | 1224565.759 | 2650518.1414 | 1224570.1979
72 | 2650508.8508 | 1224477.1976 | 2650502.6553 | 1224497.6359
73 | 2650469.2927 | 1224503.5007 | 2650475.302 | 1224482.5995
74 | 2650500.1847 | 1224505.7862 | 2650502.6553 | 1224497.6359

## bus_geodata
| x | y | coords
0 | 2650237.5704 | 1224662.4935
1 | 2650249.8018 | 1224666.8877
2 | 2650222.8265 | 1224657.1967
3 | 2650275.5099 | 1224676.1234
4 | 2650213.1703 | 1224653.7277
5 | 2650282.6667 | 1224678.6945
6 | 2650188.7077 | 1224644.9395
7 | 2650314.4626 | 1224690.1173
8 | 2650194.5199 | 1224627.9485
9 | 2650175.9408 | 1224640.3513
10 | 2650165.9031 | 1224668.5718
11 | 2650208.7518 | 1224586.3446
12 | 2650230.2588 | 1224783.1457
13 | 2650240.0681 | 1224787.5273
14 | 2650215.2538 | 1224567.3375
15 | 2650343.0687 | 1224670.3356
16 | 2650286.7552 | 1224753.0251
17 | 2650349.2259 | 1224654.9893
18 | 2650343.6644 | 1224614.2393
19 | 2650363.159 | 1224621.3154
20 | 2650316.182 | 1224604.2009
21 | 2650284.7179 | 1224757.6522
22 | 2650249.2695 | 1224579.7615
23 | 2650272.8977 | 1224588.3915
24 | 2650321.7222 | 1224589.0488
25 | 2650323.4564 | 1224584.3061
26 | 2650401.4116 | 1224635.1851
27 | 2650360.1776 | 1224567.9902
28 | 2650365.5006 | 1224553.082
29 | 2650308.2052 | 1224552.1396
30 | 2650203.5119 | 1224514.6673
31 | 2650237.6428 | 1224526.8835
32 | 2650184.4681 | 1224478.7344
33 | 2650367.9975 | 1224546.0887
34 | 2650375.583 | 1224524.8438
35 | 2650376.4774 | 1224522.3388
36 | 2650381.5367 | 1224508.1692
37 | 2650307.8318 | 1224552.0059
38 | 2650273.3907 | 1224539.6786
39 | 2650238.5543 | 1224527.2098
40 | 2650273.3758 | 1224539.6733
41 | 2650386.4822 | 1224494.3182
42 | 2650390.676 | 1224482.5723
43 | 2650403.6949 | 1224446.1098
44 | 2650450.4646 | 1224459.9365
45 | 2650479.3628 | 1224468.4755
46 | 2650446.3758 | 1224474.9093
47 | 2650409.0245 | 1224658.1795
48 | 2650415.908 | 1224640.5333
49 | 2650403.9731 | 1224671.129
50 | 2650442.1801 | 1224650.2343
51 | 2650389.4149 | 1224666.1496
52 | 2650406.7935 | 1224619.6143
53 | 2650470.0842 | 1224660.5378
54 | 2650406.9104 | 1224619.2762
55 | 2650496.2778 | 1224670.4993
56 | 2650419.3008 | 1224553.6065
57 | 2650419.5764 | 1224546.415
58 | 2650421.7064 | 1224572.1016
59 | 2650427.6509 | 1224533.284
60 | 2650420.8847 | 1224576.0632
61 | 2650432.0839 | 1224527.3003
62 | 2650419.168 | 1224582.3532
63 | 2650433.2959 | 1224522.8028
64 | 2650418.3518 | 1224585.344
65 | 2650413.3022 | 1224600.7837
66 | 2650413.946 | 1224598.9213
67 | 2650505.3455 | 1224606.277
68 | 2650518.1414 | 1224570.1979
69 | 2650519.7157 | 1224565.759
70 | 2650508.8508 | 1224477.1976
71 | 2650475.302 | 1224482.5995
72 | 2650440.3435 | 1224496.9991
73 | 2650469.2927 | 1224503.5007
74 | 2650502.6553 | 1224497.6359
75 | 2650500.1847 | 1224505.7862
76 | 2650343.6644 | 1224614.2393

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97928 | -0.39756 | 0.019069 | 0.0047791
1 | 0.9787 | -0.40895 | 0.0064454 | 0.0016154
2 | 0.98013 | -0.38113 | 0.0083787 | 0.0020999
3 | 0.97756 | -0.43134 | 0.0071291 | 0.0017867
4 | 0.98072 | -0.36961 | 0.0092927 | 0.002329
5 | 0.97697 | -0.44283 | 0.02473 | 0.006198
6 | 0.98233 | -0.3383 | 0 | 0
7 | 0.97514 | -0.47875 | 0 | 0
8 | 0.98358 | -0.31397 | 0.0089238 | 0.0022365
9 | 0.98211 | -0.34247 | 0 | 0
10 | 0.98164 | -0.35171 | 0.017061 | 0.0042759
11 | 0.98683 | -0.25114 | 0.052222 | 0.013088
12 | 0.9706 | -0.56826 | 0.022555 | 0.0056528
13 | 0.97083 | -0.56377 | 0 | 0
14 | 0.9888 | -0.21322 | 0 | 0
15 | 0.97452 | -0.49085 | 0 | 0
16 | 0.97228 | -0.53503 | 0.021981 | 0.0055091
17 | 0.97432 | -0.49497 | 0.013562 | 0.003399
18 | 0.9971 | -0.054998 | 0 | 0
19 | 0.99504 | -0.094277 | 0.0041694 | 0.001045
20 | 1 | 0 | -0.61563 | -0.15734
21 | 0.97217 | -0.53714 | 0 | 0
22 | 0.99234 | -0.14523 | 0.012702 | 0.0031834
23 | 0.99495 | -0.095482 | 0.012486 | 0.0031292
24 | 0.99887 | -0.02152 | 0.0032941 | 0.00082559
25 | 0.99852 | -0.028121 | 0.010781 | 0.0027019
26 | 0.99108 | -0.17031 | 0 | 0
27 | 0.97674 | -0.44917 | 0.0074053 | 0.0018559
28 | 0.97685 | -0.44703 | 0.0068679 | 0.0017212
29 | 0.99257 | -0.14176 | 0.0069152 | 0.0017331
30 | 0.98371 | -0.31348 | 0.038071 | 0.0095416
31 | 0.98518 | -0.28492 | 0.037194 | 0.0093217
32 | 0.9835 | -0.31768 | 0.0057321 | 0.0014366
33 | 0.97695 | -0.44509 | 0.0017808 | 0.00044632
34 | 0.97728 | -0.43848 | 0.0022148 | 0.00055509
35 | 0.97733 | -0.43759 | 0.0017495 | 0.00043847
36 | 0.97761 | -0.4321 | 0.0010781 | 0.00027019
37 | 0.99252 | -0.14269 | 0.0033148 | 0.00083076
38 | 0.9882 | -0.22627 | 0.036918 | 0.0092524
39 | 0.98525 | -0.28351 | 0.0054096 | 0.0013558
40 | 0.98819 | -0.2263 | 0.0052528 | 0.0013165
41 | 0.9779 | -0.42644 | 0.0043933 | 0.0011011
42 | 0.97819 | -0.42065 | 0.0059895 | 0.0015011
43 | 0.97932 | -0.39847 | 0 | 0
44 | 0.98074 | -0.37068 | 0 | 0
45 | 0.98048 | -0.37578 | 0 | 0
46 | 0.98133 | -0.3592 | 0.001749 | 0.00043835
47 | 0.98904 | -0.20974 | 0.021426 | 0.0053699
48 | 0.98954 | -0.20016 | 0 | 0
49 | 0.98896 | -0.21147 | 0 | 0
50 | 0.98746 | -0.24039 | 0.054979 | 0.013779
51 | 0.98886 | -0.21339 | 0.0069903 | 0.0017519
52 | 0.98952 | -0.20032 | 0.018671 | 0.0046794
53 | 0.98676 | -0.254 | 0 | 0
54 | 0.9895 | -0.20085 | 0.0064112 | 0.0016068
55 | 0.98611 | -0.2668 | 0 | 0
56 | 0.98512 | -0.28542 | 0.0033496 | 0.00083949
57 | 0.98473 | -0.293 | 0.0017889 | 0.00044833
58 | 0.98619 | -0.26465 | 0.002134 | 0.00053483
59 | 0.98392 | -0.30881 | 0.0045395 | 0.0011377
60 | 0.98643 | -0.26006 | 0.0029964 | 0.00075096
61 | 0.98356 | -0.31571 | 0.003267 | 0.00081878
62 | 0.98683 | -0.25233 | 0.0025991 | 0.00065141
63 | 0.98335 | -0.31975 | 0.0029347 | 0.00073549
64 | 0.98703 | -0.24851 | 0.0022032 | 0.00055218
65 | 0.9881 | -0.22785 | 0.0051846 | 0.0012994
66 | 0.98796 | -0.23039 | 0.0012151 | 0.00030454
67 | 0.98444 | -0.29931 | 0.0055374 | 0.0013878
68 | 0.98373 | -0.31311 | 0.0043142 | 0.0010812
69 | 0.98366 | -0.31444 | 0.01571 | 0.0039373
70 | 0.98034 | -0.37852 | 0 | 0
71 | 0.98042 | -0.37696 | 0.0020735 | 0.00051967
72 | 0.98223 | -0.34156 | 0.002588 | 0.00064862
73 | 0.98037 | -0.3779 | 0.0023615 | 0.00059185
74 | 0.98025 | -0.38043 | 0.0019085 | 0.00047832
75 | 0.98022 | -0.3809 | 0.0030168 | 0.00075608
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.096865 | 0.024452 | -0.096812 | -0.024419 | 5.2837e-05 | 3.3489e-05 | 0.14725 | 0.14725 | 0.14725 | 0.97928 | -0.39756 | 0.9787 | -0.40895 | 20.2265
1 | -0.11593 | -0.029231 | 0.11602 | 0.029289 | 9.1222e-05 | 5.7988e-05 | 0.17622 | 0.17622 | 0.17622 | 0.97928 | -0.39756 | 0.98013 | -0.38113 | 24.2066
2 | 0.090367 | 0.022803 | -0.09027 | -0.022742 | 9.6765e-05 | 6.1244e-05 | 0.13745 | 0.13745 | 0.13745 | 0.9787 | -0.40895 | 0.97756 | -0.43134 | 18.8805
3 | -0.1244 | -0.031389 | 0.12447 | 0.031433 | 6.868e-05 | 4.3697e-05 | 0.18894 | 0.18894 | 0.18894 | 0.98013 | -0.38113 | 0.98072 | -0.36961 | 25.9539
4 | 0.083141 | 0.020955 | -0.083095 | -0.020926 | 4.5705e-05 | 2.9156e-05 | 0.1266 | 0.1266 | 0.1266 | 0.97756 | -0.43134 | 0.97697 | -0.44283 | 34.7797
5 | -0.13377 | -0.033762 | 0.13397 | 0.03389 | 0.00020093 | 0.00012794 | 0.20304 | 0.20304 | 0.20304 | 0.98072 | -0.36961 | 0.98233 | -0.3383 | 27.8906
6 | 0.058365 | 0.014728 | -0.058265 | -0.014665 | 0.0001002 | 6.3707e-05 | 0.088932 | 0.088932 | 0.088932 | 0.97697 | -0.44283 | 0.97514 | -0.47875 | 24.4318
7 | -0.15104 | -0.038172 | 0.15121 | 0.038285 | 0.00017642 | 0.00011246 | 0.2289 | 0.2289 | 0.2289 | 0.98233 | -0.3383 | 0.98358 | -0.31397 | 31.443
8 | 0.017072 | 0.0042823 | -0.017069 | -0.0042803 | 3.3937e-06 | 2.0007e-06 | 0.025862 | 0.025862 | 0.025862 | 0.98233 | -0.3383 | 0.98211 | -0.34247 | 7.1049
9 | 0.013573 | 0.0034049 | -0.013565 | -0.0034005 | 7.8271e-06 | 4.4028e-06 | 0.020712 | 0.020713 | 0.020713 | 0.97514 | -0.47875 | 0.97452 | -0.49085 | 5.6903
10 | 0.044692 | 0.01126 | -0.044572 | -0.011184 | 0.00011997 | 7.5923e-05 | 0.068219 | 0.06822 | 0.06822 | 0.97514 | -0.47875 | 0.97228 | -0.53503 | 18.7417
11 | -0.16014 | -0.040521 | 0.16062 | 0.04083 | 0.00048445 | 0.00030893 | 0.24241 | 0.2424 | 0.24241 | 0.98358 | -0.31397 | 0.98683 | -0.25114 | 33.2974
12 | 0.017069 | 0.0042803 | -0.017061 | -0.0042759 | 7.5125e-06 | 4.4291e-06 | 0.025862 | 0.025862 | 0.025862 | 0.98211 | -0.34247 | 0.98164 | -0.35171 | 7.1049
13 | -0.21284 | -0.053918 | 0.21323 | 0.054166 | 0.00038847 | 0.00024811 | 0.32115 | 0.32115 | 0.32115 | 0.98683 | -0.25114 | 0.9888 | -0.21322 | 44.1138
14 | -0.022555 | -0.0056528 | 0.02256 | 0.0056558 | 4.8172e-06 | 2.9502e-06 | 0.034579 | 0.034579 | 0.034579 | 0.9706 | -0.56826 | 0.97083 | -0.56377 | 9.4997
15 | -0.02256 | -0.0056558 | 0.022589 | 0.0056733 | 2.8672e-05 | 1.7558e-05 | 0.034579 | 0.034579 | 0.034579 | 0.97083 | -0.56377 | 0.97217 | -0.53714 | 9.4997
16 | -0.21323 | -0.054166 | 0.21393 | 0.054613 | 0.0007003 | 0.00044726 | 0.32115 | 0.32115 | 0.32115 | 0.9888 | -0.21322 | 0.99234 | -0.14523 | 44.1138
17 | 0.013565 | 0.0034005 | -0.013562 | -0.003399 | 2.6597e-06 | 1.4962e-06 | 0.020713 | 0.020713 | 0.020713 | 0.97452 | -0.49085 | 0.97432 | -0.49497 | 5.6903
18 | 0.022591 | 0.0056747 | -0.022589 | -0.0056733 | 2.2669e-06 | 1.3881e-06 | 0.034579 | 0.034579 | 0.034579 | 0.97228 | -0.53503 | 0.97217 | -0.53714 | 9.4996
19 | 0.21793 | 0.055519 | -0.21752 | -0.055255 | 0.00041213 | 0.00026322 | 0.32555 | 0.32555 | 0.32555 | 0.9971 | -0.054998 | 0.99504 | -0.094277 | 44.7187
20 | -0.21793 | -0.055519 | 0.21851 | 0.055889 | 0.00057992 | 0.00037039 | 0.32555 | 0.32555 | 0.32555 | 0.9971 | -0.054998 | 1 | 0 | 44.7186
21 | 0.21335 | 0.05421 | -0.21258 | -0.053714 | 0.00077791 | 0.00049681 | 0.31932 | 0.31932 | 0.31932 | 0.99504 | -0.094277 | 0.99108 | -0.17031 | 43.8623
22 | 0.15468 | 0.039465 | -0.15452 | -0.039363 | 0.0001606 | 0.00010236 | 0.23042 | 0.23042 | 0.23042 | 1 | 0 | 0.99887 | -0.02152 | 31.6507
23 | 0.24078 | 0.061986 | -0.23967 | -0.061275 | 0.0011127 | 0.00071095 | 0.35887 | 0.35887 | 0.35887 | 1 | 0 | 0.99495 | -0.095482 | 49.295
24 | -0.22664 | -0.057797 | 0.22718 | 0.058146 | 0.00054585 | 0.0003487 | 0.34019 | 0.34019 | 0.34019 | 0.99234 | -0.14523 | 0.99495 | -0.095482 | 46.73
25 | 0.15123 | 0.038537 | -0.15118 | -0.038506 | 4.8152e-05 | 3.0685e-05 | 0.22551 | 0.22551 | 0.22551 | 0.99887 | -0.02152 | 0.99852 | -0.028121 | 30.9766
26 | 0.1404 | 0.035804 | -0.13963 | -0.035315 | 0.0007658 | 0.00048951 | 0.20944 | 0.20944 | 0.20944 | 0.99852 | -0.028121 | 0.99257 | -0.14176 | 57.5397
27 | 0.10321 | 0.026146 | -0.10306 | -0.026052 | 0.00014853 | 9.4849e-05 | 0.15506 | 0.15506 | 0.15506 | 0.99108 | -0.17031 | 0.98952 | -0.20032 | 42.5976
28 | 0.10937 | 0.027567 | -0.10921 | -0.027468 | 0.00015594 | 9.9605e-05 | 0.16426 | 0.16426 | 0.16426 | 0.99108 | -0.17031 | 0.98954 | -0.20016 | 45.1269
29 | -0.0074053 | -0.0018559 | 0.007406 | 0.0018562 | 7.5553e-07 | 2.8539e-07 | 0.011282 | 0.011282 | 0.011282 | 0.97674 | -0.44917 | 0.97685 | -0.44703 | 3.0993
30 | -0.014274 | -0.0035775 | 0.014275 | 0.0035782 | 1.3165e-06 | 7.4957e-07 | 0.021743 | 0.021743 | 0.021743 | 0.97685 | -0.44703 | 0.97695 | -0.44509 | 5.9734
31 | 0.13272 | 0.033582 | -0.13271 | -0.033578 | 5.8947e-06 | 3.7675e-06 | 0.19908 | 0.19908 | 0.19908 | 0.99257 | -0.14176 | 0.99252 | -0.14269 | 54.6917
32 | -0.043805 | -0.010978 | 0.043864 | 0.011016 | 5.9686e-05 | 3.7738e-05 | 0.066261 | 0.066261 | 0.066261 | 0.98371 | -0.31348 | 0.98518 | -0.28492 | 18.2036
33 | 0.0057333 | 0.0014368 | -0.0057321 | -0.0014366 | 1.147e-06 | 2.1791e-07 | 0.0086724 | 0.0086726 | 0.0086726 | 0.98371 | -0.31348 | 0.9835 | -0.31768 | 2.3826
34 | -0.081058 | -0.020338 | 0.081064 | 0.020341 | 5.4425e-06 | 3.4709e-06 | 0.12244 | 0.12244 | 0.12244 | 0.98518 | -0.28492 | 0.98525 | -0.28351 | 33.637
35 | -0.016056 | -0.0040245 | 0.016061 | 0.0040275 | 5.0594e-06 | 2.9554e-06 | 0.024456 | 0.024455 | 0.024456 | 0.97695 | -0.44509 | 0.97728 | -0.43848 | 6.7186
36 | -0.018276 | -0.0045826 | 0.018277 | 0.004583 | 7.7243e-07 | 4.6102e-07 | 0.027828 | 0.027828 | 0.027828 | 0.97728 | -0.43848 | 0.97733 | -0.43759 | 7.645
37 | -0.020026 | -0.0050215 | 0.020031 | 0.0050247 | 5.2457e-06 | 3.1686e-06 | 0.030491 | 0.030491 | 0.030491 | 0.97733 | -0.43759 | 0.97761 | -0.4321 | 8.3768
38 | -0.02111 | -0.0052949 | 0.021115 | 0.0052983 | 5.6945e-06 | 3.46e-06 | 0.032132 | 0.032132 | 0.032132 | 0.97761 | -0.4321 | 0.9779 | -0.42644 | 8.8276
39 | 0.1294 | 0.032747 | -0.12888 | -0.032417 | 0.00051686 | 0.00033032 | 0.19411 | 0.19411 | 0.19411 | 0.99252 | -0.14269 | 0.9882 | -0.22627 | 53.3264
40 | 0.091963 | 0.023165 | -0.091963 | -0.023164 | 1.1322e-07 | 7.227e-08 | 0.13852 | 0.13852 | 0.13852 | 0.9882 | -0.22627 | 0.98819 | -0.2263 | 38.0544
41 | -0.086473 | -0.021697 | 0.08671 | 0.021848 | 0.00023659 | 0.00015095 | 0.13061 | 0.13061 | 0.13061 | 0.98525 | -0.28351 | 0.98819 | -0.2263 | 35.8815
42 | -0.025509 | -0.0063994 | 0.025516 | 0.0064038 | 7.0473e-06 | 4.3538e-06 | 0.038817 | 0.038817 | 0.038817 | 0.9779 | -0.42644 | 0.97819 | -0.42065 | 10.6641
43 | -0.031505 | -0.0079049 | 0.031539 | 0.0079257 | 3.3352e-05 | 2.0859e-05 | 0.047929 | 0.047928 | 0.047929 | 0.97819 | -0.42065 | 0.97932 | -0.39847 | 13.1672
44 | -0.031539 | -0.0079257 | 0.03158 | 0.0079519 | 4.1899e-05 | 2.6202e-05 | 0.047928 | 0.047928 | 0.047928 | 0.97932 | -0.39847 | 0.98074 | -0.37068 | 13.1672
45 | 0.0093641 | 0.0023467 | -0.0093619 | -0.0023457 | 2.2748e-06 | 1.0768e-06 | 0.014208 | 0.014208 | 0.014208 | 0.98074 | -0.37068 | 0.98048 | -0.37578 | 3.9032
46 | -0.040945 | -0.010299 | 0.040967 | 0.010313 | 2.2472e-05 | 1.4186e-05 | 0.062136 | 0.062136 | 0.062136 | 0.98074 | -0.37068 | 0.98133 | -0.3592 | 17.0703
47 | 0.0049265 | 0.0012344 | -0.0049258 | -0.0012344 | 6.4287e-07 | 2.47e-08 | 0.0074765 | 0.0074766 | 0.0074766 | 0.98048 | -0.37578 | 0.98034 | -0.37852 | 2.054
48 | 0.0044354 | 0.0011113 | -0.0044351 | -0.0011113 | 2.497e-07 | -2.5529e-08 | 0.0067312 | 0.0067313 | 0.0067313 | 0.98048 | -0.37578 | 0.98042 | -0.37696 | 1.8492
49 | -0.042716 | -0.010751 | 0.042752 | 0.010774 | 3.6044e-05 | 2.2778e-05 | 0.064788 | 0.064788 | 0.064788 | 0.98133 | -0.3592 | 0.98223 | -0.34156 | 17.7988
50 | -0.028418 | -0.0071222 | 0.028431 | 0.0071303 | 1.2984e-05 | 8.0664e-06 | 0.042754 | 0.042754 | 0.042754 | 0.98904 | -0.20974 | 0.98954 | -0.20016 | 11.7457
51 | 0.0069915 | 0.0017523 | -0.0069909 | -0.0017521 | 5.7673e-07 | 1.9074e-07 | 0.010519 | 0.010519 | 0.010519 | 0.98904 | -0.20974 | 0.98896 | -0.21147 | 2.8898
52 | 0.080782 | 0.020337 | -0.080627 | -0.020238 | 0.00015506 | 9.8877e-05 | 0.12151 | 0.12151 | 0.12151 | 0.98954 | -0.20016 | 0.98746 | -0.24039 | 33.3813
53 | 0.0069909 | 0.0017521 | -0.0069903 | -0.0017519 | 6.384e-07 | 2.1118e-07 | 0.010519 | 0.010519 | 0.010519 | 0.98896 | -0.21147 | 0.98886 | -0.21339 | 2.8898
54 | 0.025648 | 0.0064593 | -0.025631 | -0.006449 | 1.6672e-05 | 1.029e-05 | 0.03866 | 0.03866 | 0.03866 | 0.98746 | -0.24039 | 0.98676 | -0.254 | 10.6209
55 | 0.084387 | 0.021372 | -0.084385 | -0.021371 | 2.1629e-06 | 1.3796e-06 | 0.12698 | 0.12698 | 0.12698 | 0.98952 | -0.20032 | 0.9895 | -0.20085 | 34.8842
56 | 0.025631 | 0.006449 | -0.025615 | -0.0064394 | 1.5668e-05 | 9.6704e-06 | 0.03866 | 0.03866 | 0.03866 | 0.98676 | -0.254 | 0.98611 | -0.2668 | 10.6209
57 | 0.077974 | 0.019764 | -0.077873 | -0.0197 | 0.00010102 | 6.4402e-05 | 0.11734 | 0.11734 | 0.11734 | 0.9895 | -0.20085 | 0.9881 | -0.22785 | 32.2356
58 | 0.025615 | 0.0064394 | -0.025576 | -0.0064148 | 3.9702e-05 | 2.4507e-05 | 0.03866 | 0.038661 | 0.038661 | 0.98611 | -0.2668 | 0.98444 | -0.29931 | 10.621
59 | 0.058008 | 0.01465 | -0.057986 | -0.014637 | 2.1081e-05 | 1.3399e-05 | 0.08766 | 0.08766 | 0.08766 | 0.98512 | -0.28542 | 0.98473 | -0.293 | 24.0824
60 | -0.061357 | -0.01549 | 0.061418 | 0.015528 | 6.1101e-05 | 3.8863e-05 | 0.092719 | 0.092719 | 0.092719 | 0.98512 | -0.28542 | 0.98619 | -0.26465 | 25.4724
61 | 0.056198 | 0.014188 | -0.056155 | -0.014161 | 4.2534e-05 | 2.7022e-05 | 0.084957 | 0.084957 | 0.084957 | 0.98473 | -0.293 | 0.98392 | -0.30881 | 23.3398
62 | -0.063552 | -0.016063 | 0.063566 | 0.016072 | 1.3998e-05 | 8.9072e-06 | 0.095939 | 0.095939 | 0.095939 | 0.98619 | -0.26465 | 0.98643 | -0.26006 | 26.3569
63 | 0.051616 | 0.013024 | -0.051598 | -0.013013 | 1.7038e-05 | 1.081e-05 | 0.078091 | 0.078092 | 0.078092 | 0.98392 | -0.30881 | 0.98356 | -0.31571 | 21.4537
64 | -0.066563 | -0.016823 | 0.066587 | 0.016839 | 2.4675e-05 | 1.5709e-05 | 0.10046 | 0.10046 | 0.10046 | 0.98643 | -0.26006 | 0.98683 | -0.25233 | 27.5987
65 | 0.048332 | 0.012194 | -0.048322 | -0.012188 | 9.3464e-06 | 5.9226e-06 | 0.073149 | 0.073149 | 0.073149 | 0.98356 | -0.31571 | 0.98335 | -0.31975 | 20.0959
66 | -0.069186 | -0.01749 | 0.069199 | 0.017498 | 1.2666e-05 | 8.0666e-06 | 0.10438 | 0.10438 | 0.10438 | 0.98683 | -0.25233 | 0.98703 | -0.24851 | 28.6753
67 | 0.045388 | 0.011453 | -0.04534 | -0.011423 | 4.7354e-05 | 2.9967e-05 | 0.068708 | 0.068708 | 0.068708 | 0.98335 | -0.31975 | 0.98223 | -0.34156 | 18.8759
68 | -0.071402 | -0.01805 | 0.071464 | 0.01809 | 6.2117e-05 | 3.9572e-05 | 0.1077 | 0.1077 | 0.1077 | 0.98703 | -0.24851 | 0.98796 | -0.23039 | 29.5878
69 | 0.072688 | 0.0184 | -0.07268 | -0.018395 | 8.8648e-06 | 5.6482e-06 | 0.10953 | 0.10953 | 0.10953 | 0.9881 | -0.22785 | 0.98796 | -0.23039 | 30.0906
70 | 0.020038 | 0.0050271 | -0.020025 | -0.0050191 | 1.3171e-05 | 7.9433e-06 | 0.030291 | 0.030291 | 0.030291 | 0.98444 | -0.29931 | 0.98373 | -0.31311 | 8.3216
71 | 0.015711 | 0.0039379 | -0.01571 | -0.0039373 | 9.975e-07 | 5.7861e-07 | 0.023765 | 0.023765 | 0.023765 | 0.98373 | -0.31311 | 0.98366 | -0.31444 | 6.5288
72 | 0.0049258 | 0.0012344 | -0.0049254 | -0.0012343 | 4.477e-07 | 1.7275e-08 | 0.0074766 | 0.0074767 | 0.0074767 | 0.98034 | -0.37852 | 0.98025 | -0.38043 | 2.054
73 | 0.0023616 | 0.00059164 | -0.0023615 | -0.00059185 | 1.0477e-07 | -2.0719e-07 | 0.0035842 | 0.0035843 | 0.0035843 | 0.98042 | -0.37696 | 0.98037 | -0.3779 | 0.9847
74 | 0.0030169 | 0.00075602 | -0.0030168 | -0.00075608 | 6.6981e-08 | -6.449e-08 | 0.0045796 | 0.0045796 | 0.0045796 | 0.98025 | -0.38043 | 0.98022 | -0.3809 | 1.2581

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61563 | 0.15734

## res_load
| p_mw | q_mvar
0 | 0.019069 | 0.0047791
1 | 0.0064454 | 0.0016154
2 | 0.0083787 | 0.0020999
3 | 0.0071291 | 0.0017867
4 | 0.0092927 | 0.002329
5 | 0.02473 | 0.006198
6 | 0.0089238 | 0.0022365
7 | 0.017061 | 0.0042759
8 | 0.052222 | 0.013088
9 | 0.022555 | 0.0056528
10 | 0.021981 | 0.0055091
11 | 0.013562 | 0.003399
12 | 0.0041694 | 0.001045
13 | 0.012702 | 0.0031834
14 | 0.012486 | 0.0031292
15 | 0.0032941 | 0.00082559
16 | 0.010781 | 0.0027019
17 | 0.0074053 | 0.0018559
18 | 0.0068679 | 0.0017212
19 | 0.0069152 | 0.0017331
20 | 0.038071 | 0.0095416
21 | 0.037194 | 0.0093217
22 | 0.0057321 | 0.0014366
23 | 0.0017808 | 0.00044632
24 | 0.0022148 | 0.00055509
25 | 0.0017495 | 0.00043847
26 | 0.0010781 | 0.00027019
27 | 0.0033148 | 0.00083076
28 | 0.036918 | 0.0092524
29 | 0.0054096 | 0.0013558
30 | 0.0052528 | 0.0013165
31 | 0.0043933 | 0.0011011
32 | 0.0059895 | 0.0015011
33 | 0.001749 | 0.00043835
34 | 0.021426 | 0.0053699
35 | 0.054979 | 0.013779
36 | 0.0069903 | 0.0017519
37 | 0.018671 | 0.0046794
38 | 0.0064112 | 0.0016068
39 | 0.0033496 | 0.00083949
40 | 0.0017889 | 0.00044833
41 | 0.002134 | 0.00053483
42 | 0.0045395 | 0.0011377
43 | 0.0029964 | 0.00075096
44 | 0.003267 | 0.00081878
45 | 0.0025991 | 0.00065141
46 | 0.0029347 | 0.00073549
47 | 0.0022032 | 0.00055218
48 | 0.0051846 | 0.0012994
49 | 0.0012151 | 0.00030454
50 | 0.0055374 | 0.0013878
51 | 0.0043142 | 0.0010812
52 | 0.01571 | 0.0039373
53 | 0.0020735 | 0.00051967
54 | 0.002588 | 0.00064862
55 | 0.0023615 | 0.00059185
56 | 0.0019085 | 0.00047832
57 | 0.0030168 | 0.00075608

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1