## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1103-20_1_4_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_1103-20_1_4_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_1103-20_1_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1103-20_1_4_node_60 | 0.4 | n |  | TRUE
4 | bus_LV_1103-20_1_4_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_1103-20_1_4_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_1103-20_1_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1103-20_1_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1103-20_1_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1103-20_1_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1103-20_1_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1103-20_1_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1103-20_1_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1103-20_1_4_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_1103-20_1_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_1103-20_1_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_1103-20_1_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1103-20_1_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_1103-20_1_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_1103-20_1_4_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_1103-20_1_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1103-20_1_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1103-20_1_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1103-20_1_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1103-20_1_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1103-20_1_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1103-20_1_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1103-20_1_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1103-20_1_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1103-20_1_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1103-20_1_4_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_1103-20_1_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_1103-20_1_4_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_1103-20_1_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1103-20_1_4_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_1103-20_1_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_1103-20_1_4_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_1103-20_1_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1103-20_1_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1103-20_1_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1103-20_1_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1103-20_1_4_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_1103-20_1_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1103-20_1_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_1103-20_1_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_1103-20_1_4_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_1103-20_1_4_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_1103-20_1_4_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_1103-20_1_4_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_1103-20_1_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1103-20_1_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1103-20_1_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_1103-20_1_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_1103-20_1_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1103-20_1_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_1103-20_1_4_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_1103-20_1_4_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_1103-20_1_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_1103-20_1_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_1103-20_1_4_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_1103-20_1_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_1103-20_1_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_1103-20_1_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_1103-20_1_4_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_1103-20_1_4_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_1103-20_1_4_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_1103-20_1_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_1103-20_1_4_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_1103-20_1_4_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_1103-20_1_4_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_1103-20_1_4_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_1103-20_1_4_node_87 | 0.4 | n |  | TRUE
72 | bus_MV_471_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1103-20_1_4_load_6 | 1 | 0.0017442 | 0.00043715 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1103-20_1_4_load_7 | 2 | 0.00094366 | 0.0002365 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1103-20_1_4_load_60 | 3 | 0.0026543 | 0.00066524 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1103-20_1_4_load_25 | 4 | 0.00094316 | 0.00023638 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1103-20_1_4_load_61 | 5 | 0.0020523 | 0.00051434 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1103-20_1_4_load_12 | 6 | 0.0013829 | 0.00034659 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1103-20_1_4_load_8 | 7 | 0.0033897 | 0.00084954 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1103-20_1_4_load_9 | 8 | 0.0025979 | 0.0006511 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1103-20_1_4_load_10 | 9 | 0.00094317 | 0.00023638 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1103-20_1_4_load_19 | 11 | 0.0031073 | 0.00077877 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1103-20_1_4_load_16 | 12 | 0.0018682 | 0.00046823 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1103-20_1_4_load_64 | 13 | 0.0012993 | 0.00032565 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1103-20_1_4_load_17 | 14 | 0.0016908 | 0.00042374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1103-20_1_4_load_18 | 15 | 0.0024043 | 0.00060258 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1103-20_1_4_load_23 | 16 | 0.042628 | 0.010684 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1103-20_1_4_load_26 | 17 | 0.0027275 | 0.00068357 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1103-20_1_4_load_37 | 18 | 0.010365 | 0.0025977 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1103-20_1_4_load_62 | 19 | 0.0025418 | 0.00063702 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1103-20_1_4_load_20 | 20 | 0.0090571 | 0.0022699 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1103-20_1_4_load_21 | 21 | 0.0024885 | 0.00062369 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1103-20_1_4_load_27 | 23 | 0.0031493 | 0.00078929 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1103-20_1_4_load_28 | 24 | 0.0030147 | 0.00075556 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1103-20_1_4_load_29 | 25 | 0.0036114 | 0.0009051 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1103-20_1_4_load_31 | 27 | 0.0028545 | 0.0007154 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1103-20_1_4_load_36 | 28 | 0.0079559 | 0.0019939 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1103-20_1_4_load_32 | 29 | 0.003736 | 0.00093632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1103-20_1_4_load_47 | 30 | 0.0043268 | 0.0010844 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1103-20_1_4_load_51 | 31 | 0.012033 | 0.0030156 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1103-20_1_4_load_35 | 33 | 0.007121 | 0.0017847 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1103-20_1_4_load_57 | 34 | 0.0026535 | 0.00066504 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1103-20_1_4_load_58 | 35 | 0.0030658 | 0.00076837 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1103-20_1_4_load_49 | 36 | 0.0081516 | 0.002043 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1103-20_1_4_load_39 | 37 | 0.013726 | 0.0034402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1103-20_1_4_load_40 | 38 | 0.0049175 | 0.0012324 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1103-20_1_4_load_41 | 39 | 0.0034445 | 0.00086327 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1103-20_1_4_load_42 | 40 | 0.0034506 | 0.00086481 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1103-20_1_4_load_82 | 41 | 0.011986 | 0.0030039 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1103-20_1_4_load_43 | 42 | 0.019868 | 0.0049794 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1103-20_1_4_load_70 | 43 | 0.0026313 | 0.00065947 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1103-20_1_4_load_89 | 45 | 0.043193 | 0.010825 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1103-20_1_4_load_88 | 47 | 0.019186 | 0.0048085 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1103-20_1_4_load_50 | 49 | 0.0031824 | 0.00079758 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1103-20_1_4_load_52 | 50 | 0.0031824 | 0.00079758 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1103-20_1_4_load_56 | 52 | 0.0025909 | 0.00064934 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1103-20_1_4_load_53 | 53 | 0.0049364 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1103-20_1_4_load_59 | 54 | 0.003253 | 0.00081527 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1103-20_1_4_load_74 | 56 | 0.0017761 | 0.00044513 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1103-20_1_4_load_63 | 57 | 0.001795 | 0.00044987 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1103-20_1_4_load_65 | 58 | 0.0094942 | 0.0023795 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1103-20_1_4_load_72 | 59 | 0.0067673 | 0.0016961 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1103-20_1_4_load_66 | 61 | 0.0076522 | 0.0019178 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1103-20_1_4_load_67 | 62 | 0.010508 | 0.0026335 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1103-20_1_4_load_68 | 63 | 0.0047199 | 0.0011829 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1103-20_1_4_load_71 | 64 | 0.004423 | 0.0011085 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1103-20_1_4_load_78 | 66 | 0.0018665 | 0.00046778 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1103-20_1_4_load_84 | 67 | 0.0079117 | 0.0019829 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1103-20_1_4_load_79 | 68 | 0.002584 | 0.00064762 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1103-20_1_4_load_77 | 70 | 0.002369 | 0.00059373 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1103-20_1_4_load_87 | 71 | 0.019193 | 0.0048102 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1103-20_1_4_line_0 |  | 0 | 1 | 0.012596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1103-20_1_4_line_1 |  | 0 | 2 | 0.017612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1103-20_1_4_line_2 |  | 1 | 3 | 0.028107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1103-20_1_4_line_3 |  | 2 | 4 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1103-20_1_4_line_4 |  | 3 | 5 | 0.0037648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1103-20_1_4_line_5 |  | 4 | 6 | 0.001394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1103-20_1_4_line_6 |  | 5 | 55 | 0.0043026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1103-20_1_4_line_7 |  | 6 | 9 | 0.0080522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1103-20_1_4_line_8 |  | 7 | 8 | 0.0027802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1103-20_1_4_line_9 |  | 7 | 9 | 0.026222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1103-20_1_4_line_10 |  | 8 | 10 | 0.01988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1103-20_1_4_line_11 |  | 10 | 11 | 0.019063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1103-20_1_4_line_12 |  | 10 | 12 | 0.0074637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1103-20_1_4_line_13 |  | 11 | 13 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1103-20_1_4_line_14 |  | 12 | 14 | 0.014305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1103-20_1_4_line_15 |  | 13 | 19 | 0.007559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1103-20_1_4_line_16 |  | 14 | 15 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1103-20_1_4_line_17 |  | 14 | 16 | 0.04655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1103-20_1_4_line_18 |  | 15 | 17 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1103-20_1_4_line_19 |  | 16 | 21 | 0.023881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1103-20_1_4_line_20 |  | 17 | 18 | 0.018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1103-20_1_4_line_21 |  | 18 | 22 | 0.018073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1103-20_1_4_line_22 |  | 19 | 57 | 0.019726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1103-20_1_4_line_23 |  | 20 | 21 | 0.0047881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1103-20_1_4_line_24 |  | 22 | 37 | 0.024698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1103-20_1_4_line_25 |  | 22 | 38 | 0.022401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1103-20_1_4_line_26 |  | 22 | 39 | 0.039064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1103-20_1_4_line_27 |  | 23 | 24 | 0.011376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1103-20_1_4_line_28 |  | 23 | 25 | 0.00091105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1103-20_1_4_line_29 |  | 24 | 26 | 0.0052288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1103-20_1_4_line_30 |  | 25 | 27 | 0.012569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1103-20_1_4_line_31 |  | 26 | 28 | 0.023117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1103-20_1_4_line_32 |  | 26 | 29 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1103-20_1_4_line_33 |  | 27 | 30 | 0.016949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1103-20_1_4_line_34 |  | 28 | 31 | 0.005161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1103-20_1_4_line_35 |  | 30 | 32 | 0.0018623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1103-20_1_4_line_36 |  | 31 | 36 | 0.021283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1103-20_1_4_line_37 |  | 32 | 44 | 0.03051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1103-20_1_4_line_38 |  | 32 | 42 | 0.0055779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1103-20_1_4_line_39 |  | 33 | 34 | 0.024172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1103-20_1_4_line_40 |  | 34 | 35 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1103-20_1_4_line_41 |  | 35 | 54 | 0.0026674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1103-20_1_4_line_42 |  | 36 | 49 | 0.020165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1103-20_1_4_line_43 |  | 37 | 40 | 0.037205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1103-20_1_4_line_44 |  | 38 | 41 | 0.023408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1103-20_1_4_line_45 |  | 40 | 42 | 0.0082989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1103-20_1_4_line_46 |  | 41 | 43 | 0.0093145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1103-20_1_4_line_47 |  | 43 | 63 | 0.016824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1103-20_1_4_line_48 |  | 44 | 45 | 0.004563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1103-20_1_4_line_49 |  | 44 | 46 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1103-20_1_4_line_50 |  | 46 | 47 | 0.004671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1103-20_1_4_line_51 |  | 46 | 48 | 0.017217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1103-20_1_4_line_52 |  | 48 | 71 | 0.004274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1103-20_1_4_line_53 |  | 49 | 50 | 0.00023252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1103-20_1_4_line_54 |  | 50 | 51 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1103-20_1_4_line_55 |  | 51 | 52 | 0.01651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1103-20_1_4_line_56 |  | 51 | 53 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1103-20_1_4_line_57 |  | 52 | 54 | 0.016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1103-20_1_4_line_58 |  | 55 | 56 | 0.019864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1103-20_1_4_line_59 |  | 56 | 69 | 0.01027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1103-20_1_4_line_60 |  | 57 | 58 | 0.0043448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1103-20_1_4_line_61 |  | 58 | 59 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1103-20_1_4_line_62 |  | 59 | 60 | 0.018832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1103-20_1_4_line_63 |  | 60 | 66 | 0.013659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1103-20_1_4_line_64 |  | 61 | 62 | 0.0090937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1103-20_1_4_line_65 |  | 61 | 63 | 0.019579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1103-20_1_4_line_66 |  | 63 | 64 | 0.056114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1103-20_1_4_line_67 |  | 64 | 65 | 0.0044639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1103-20_1_4_line_68 |  | 65 | 67 | 0.022258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1103-20_1_4_line_69 |  | 66 | 68 | 0.020134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1103-20_1_4_line_70 |  | 69 | 70 | 0.022988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1103-20_1_4_trafo_39 | 0.63 MVA 20/0.4 kV | 72 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2650403.6949 | 1224446.1098 | 2650415.7743 | 1224449.6809
1 | 2650403.6949 | 1224446.1098 | 2650409.5146 | 1224429.4872
2 | 2650415.7743 | 1224449.6809 | 2650442.7282 | 1224457.6494
3 | 2650409.5146 | 1224429.4872 | 2650411.2007 | 1224424.6712 | 2650413.5196 | 1224419.6979
4 | 2650442.7282 | 1224457.6494 | 2650446.3385 | 1224458.7167
5 | 2650414.1086 | 1224418.4345 | 2650413.5196 | 1224419.6979
6 | 2650450.4646 | 1224459.9365 | 2650446.3385 | 1224458.7167
7 | 2650414.1086 | 1224418.4345 | 2650415.5174 | 1224415.4131 | 2650417.6343 | 1224411.1961
8 | 2650429.3979 | 1224387.7614 | 2650430.6452 | 1224385.2767
9 | 2650429.3979 | 1224387.7614 | 2650417.6343 | 1224411.1961
10 | 2650439.564 | 1224367.5094 | 2650430.6452 | 1224385.2767
11 | 2650439.564 | 1224367.5094 | 2650457.0004 | 1224375.2141
12 | 2650439.564 | 1224367.5094 | 2650442.7809 | 1224360.7745
13 | 2650457.0004 | 1224375.2141 | 2650474.8785 | 1224383.1141
14 | 2650448.9462 | 1224347.8666 | 2650442.7809 | 1224360.7745
15 | 2650481.7926 | 1224386.1692 | 2650474.8785 | 1224383.1141
16 | 2650448.9462 | 1224347.8666 | 2650456.6049 | 1224331.8324
17 | 2650448.9462 | 1224347.8666 | 2650404.4297 | 1224334.2581
18 | 2650456.6049 | 1224331.8324 | 2650462.0091 | 1224320.5182
19 | 2650404.4297 | 1224334.2581 | 2650393.6233 | 1224355.5543
20 | 2650469.9456 | 1224303.9023 | 2650462.0091 | 1224320.5182
21 | 2650477.7349 | 1224287.5945 | 2650469.9456 | 1224303.9023
22 | 2650481.7926 | 1224386.1692 | 2650499.8358 | 1224394.1421
23 | 2650391.4567 | 1224359.8242 | 2650393.6233 | 1224355.5543
24 | 2650477.7349 | 1224287.5945 | 2650466.7968 | 1224277.4177 | 2650460.0068 | 1224270.4101
25 | 2650477.7349 | 1224287.5945 | 2650491.9696 | 1224303.336 | 2650492.8051 | 1224304.1659
26 | 2650477.7349 | 1224287.5945 | 2650483.889 | 1224275.3946 | 2650495.3257 | 1224252.7148
27 | 2650400.3314 | 1224212.4002 | 2650397.0965 | 1224209.9304 | 2650391.0501 | 1224205.8291
28 | 2650400.3314 | 1224212.4002 | 2650401.0555 | 1224212.953
29 | 2650386.7229 | 1224202.8938 | 2650391.0501 | 1224205.8291
30 | 2650401.0555 | 1224212.953 | 2650411.0459 | 1224220.5804
31 | 2650386.7229 | 1224202.8938 | 2650387.5606 | 1224179.7919
32 | 2650386.7229 | 1224202.8938 | 2650375.4719 | 1224197.3734
33 | 2650411.0459 | 1224220.5804 | 2650413.6628 | 1224222.5784 | 2650423.1679 | 1224232.3839
34 | 2650387.7476 | 1224174.6342 | 2650387.5606 | 1224179.7919
35 | 2650424.4641 | 1224233.7211 | 2650423.1679 | 1224232.3839
36 | 2650390.9685 | 1224153.7058 | 2650388.0779 | 1224165.5267 | 2650387.7476 | 1224174.6342
37 | 2650424.4641 | 1224233.7211 | 2650431.5879 | 1224230.5461 | 2650434.1328 | 1224229.9784 | 2650434.6027 | 1224230.0047 | 2650443.6519 | 1224212.5817
38 | 2650424.4641 | 1224233.7211 | 2650428.3434 | 1224237.7291
39 | 2650343.9285 | 1224175.249 | 2650358.7825 | 1224157.1404 | 2650359.2372 | 1224156.5436
40 | 2650370.831 | 1224141.3242 | 2650359.2372 | 1224156.5436
41 | 2650370.831 | 1224141.3242 | 2650372.4474 | 1224139.2024
42 | 2650390.9685 | 1224153.7058 | 2650393.5366 | 1224143.2035 | 2650396.3982 | 1224134.2986
43 | 2650434.1169 | 1224243.6905 | 2650460.0068 | 1224270.4101
44 | 2650492.8051 | 1224304.1659 | 2650509.4113 | 1224320.6636
45 | 2650434.1169 | 1224243.6905 | 2650430.9959 | 1224240.4695 | 2650428.3434 | 1224237.7291
46 | 2650516.0192 | 1224327.2283 | 2650509.4113 | 1224320.6636
47 | 2650527.9543 | 1224339.0854 | 2650516.0192 | 1224327.2283
48 | 2650439.4824 | 1224210.7007 | 2650443.6519 | 1224212.5817
49 | 2650449.4342 | 1224201.2903 | 2650443.6519 | 1224212.5817
50 | 2650445.1511 | 1224199.3973 | 2650449.4342 | 1224201.2903
51 | 2650456.7997 | 1224185.7209 | 2650449.4342 | 1224201.2903
52 | 2650452.9178 | 1224183.9091 | 2650456.7997 | 1224185.7209
53 | 2650396.4694 | 1224134.0773 | 2650396.3982 | 1224134.2986
54 | 2650392.915 | 1224113.6245 | 2650400.1248 | 1224122.7022 | 2650396.4694 | 1224134.0773
55 | 2650392.915 | 1224113.6245 | 2650385.5345 | 1224122.0228 | 2650382.3052 | 1224126.2619
56 | 2650392.915 | 1224113.6245 | 2650399.5491 | 1224105.7929
57 | 2650372.4474 | 1224139.2024 | 2650382.3052 | 1224126.2619
58 | 2650450.4646 | 1224459.9365 | 2650469.514 | 1224465.5654
59 | 2650479.3628 | 1224468.4755 | 2650469.514 | 1224465.5654
60 | 2650503.8098 | 1224395.8982 | 2650499.8358 | 1224394.1421
61 | 2650503.8098 | 1224395.8982 | 2650517.934 | 1224402.1394 | 2650521.321 | 1224404.3879
62 | 2650536.9399 | 1224414.9085 | 2650527.7731 | 1224408.6713 | 2650521.321 | 1224404.3879
63 | 2650536.9399 | 1224414.9085 | 2650533.235 | 1224428.0552
64 | 2650543.0155 | 1224351.5957 | 2650550.0107 | 1224357.4061
65 | 2650527.9543 | 1224339.0854 | 2650543.0155 | 1224351.5957
66 | 2650527.9543 | 1224339.0854 | 2650551.6408 | 1224288.2151
67 | 2650553.525 | 1224284.1684 | 2650551.6408 | 1224288.2151
68 | 2650553.525 | 1224284.1684 | 2650565.59 | 1224290.219 | 2650571.6551 | 1224296.5411
69 | 2650533.235 | 1224428.0552 | 2650527.7738 | 1224447.4345
70 | 2650479.3628 | 1224468.4755 | 2650501.4065 | 1224474.9957

## bus_geodata
| x | y | coords
0 | 2650403.6949 | 1224446.1098
1 | 2650415.7743 | 1224449.6809
2 | 2650409.5146 | 1224429.4872
3 | 2650442.7282 | 1224457.6494
4 | 2650413.5196 | 1224419.6979
5 | 2650446.3385 | 1224458.7167
6 | 2650414.1086 | 1224418.4345
7 | 2650429.3979 | 1224387.7614
8 | 2650430.6452 | 1224385.2767
9 | 2650417.6342 | 1224411.1961
10 | 2650439.564 | 1224367.5094
11 | 2650457.0004 | 1224375.2141
12 | 2650442.7809 | 1224360.7745
13 | 2650474.8785 | 1224383.1141
14 | 2650448.9462 | 1224347.8666
15 | 2650456.6049 | 1224331.8324
16 | 2650404.4297 | 1224334.2581
17 | 2650462.0091 | 1224320.5182
18 | 2650469.9456 | 1224303.9023
19 | 2650481.7926 | 1224386.1692
20 | 2650391.4567 | 1224359.8242
21 | 2650393.6233 | 1224355.5543
22 | 2650477.7349 | 1224287.5945
23 | 2650400.3314 | 1224212.4002
24 | 2650391.0501 | 1224205.8291
25 | 2650401.0555 | 1224212.953
26 | 2650386.7229 | 1224202.8938
27 | 2650411.0459 | 1224220.5804
28 | 2650387.5606 | 1224179.7919
29 | 2650375.4719 | 1224197.3734
30 | 2650423.1679 | 1224232.3839
31 | 2650387.7476 | 1224174.6342
32 | 2650424.4641 | 1224233.7211
33 | 2650343.9285 | 1224175.249
34 | 2650359.2372 | 1224156.5436
35 | 2650370.831 | 1224141.3242
36 | 2650390.9685 | 1224153.7058
37 | 2650460.0068 | 1224270.4101
38 | 2650492.8051 | 1224304.1659
39 | 2650495.3257 | 1224252.7148
40 | 2650434.1169 | 1224243.6905
41 | 2650509.4113 | 1224320.6636
42 | 2650428.3434 | 1224237.7291
43 | 2650516.0192 | 1224327.2283
44 | 2650443.6519 | 1224212.5816
45 | 2650439.4824 | 1224210.7007
46 | 2650449.4342 | 1224201.2903
47 | 2650445.1511 | 1224199.3973
48 | 2650456.7997 | 1224185.7209
49 | 2650396.3982 | 1224134.2986
50 | 2650396.4694 | 1224134.0773
51 | 2650392.915 | 1224113.6245
52 | 2650382.3052 | 1224126.2619
53 | 2650399.5491 | 1224105.7929
54 | 2650372.4474 | 1224139.2024
55 | 2650450.4646 | 1224459.9365
56 | 2650469.514 | 1224465.5654
57 | 2650499.8358 | 1224394.1421
58 | 2650503.8098 | 1224395.8982
59 | 2650521.321 | 1224404.3879
60 | 2650536.9399 | 1224414.9085
61 | 2650543.0155 | 1224351.5957
62 | 2650550.0107 | 1224357.4061
63 | 2650527.9543 | 1224339.0854
64 | 2650551.6408 | 1224288.2151
65 | 2650553.525 | 1224284.1685
66 | 2650533.2351 | 1224428.0552
67 | 2650571.6551 | 1224296.5411
68 | 2650527.7738 | 1224447.4345
69 | 2650479.3628 | 1224468.4755
70 | 2650501.4065 | 1224474.9957
71 | 2650452.9178 | 1224183.9091
72 | 2650477.7349 | 1224287.5945

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98875 | -0.21636 | 0 | 0
1 | 0.98863 | -0.21874 | 0.0017442 | 0.00043715
2 | 0.98892 | -0.21303 | 0.00094366 | 0.0002365
3 | 0.9884 | -0.22318 | 0.0026543 | 0.00066524
4 | 0.98903 | -0.21085 | 0.00094316 | 0.00023638
5 | 0.98838 | -0.22359 | 0.0020523 | 0.00051434
6 | 0.98905 | -0.21054 | 0.0013829 | 0.00034659
7 | 0.98951 | -0.20163 | 0.0033897 | 0.00084954
8 | 0.98955 | -0.20073 | 0.0025979 | 0.0006511
9 | 0.98915 | -0.20855 | 0.00094317 | 0.00023638
10 | 0.98993 | -0.19338 | 0 | 0
11 | 0.98942 | -0.20337 | 0.0031073 | 0.00077877
12 | 0.99028 | -0.18671 | 0.0018682 | 0.00046823
13 | 0.98894 | -0.21254 | 0.0012993 | 0.00032565
14 | 0.99096 | -0.17346 | 0.0016908 | 0.00042374
15 | 0.99272 | -0.13946 | 0.0024043 | 0.00060258
16 | 0.98865 | -0.21833 | 0.042628 | 0.010684
17 | 0.99399 | -0.11501 | 0.0027275 | 0.00068357
18 | 0.9959 | -0.07833 | 0.010365 | 0.0025977
19 | 0.98877 | -0.21592 | 0.0025418 | 0.00063702
20 | 0.98835 | -0.22402 | 0.0090571 | 0.0022699
21 | 0.98839 | -0.22324 | 0.0024885 | 0.00062369
22 | 0.99795 | -0.039188 | 0 | 0
23 | 0.99361 | -0.12253 | 0.0031493 | 0.00078929
24 | 0.99294 | -0.13557 | 0.0030147 | 0.00075556
25 | 0.99367 | -0.12143 | 0.0036114 | 0.0009051
26 | 0.99264 | -0.14129 | 0 | 0
27 | 0.99449 | -0.10555 | 0.0028545 | 0.0007154
28 | 0.99141 | -0.16509 | 0.0079559 | 0.0019939
29 | 0.9926 | -0.14212 | 0.003736 | 0.00093632
30 | 0.99565 | -0.083324 | 0.0043268 | 0.0010844
31 | 0.99117 | -0.16968 | 0.012033 | 0.0030156
32 | 0.99578 | -0.080743 | 0 | 0
33 | 0.98848 | -0.22203 | 0.007121 | 0.0017847
34 | 0.98863 | -0.21896 | 0.0026535 | 0.00066504
35 | 0.98881 | -0.21562 | 0.0030658 | 0.00076837
36 | 0.99043 | -0.18409 | 0.0081516 | 0.002043
37 | 1 | 0 | -0.36975 | -0.093297
38 | 0.99683 | -0.060678 | 0.0049175 | 0.0012324
39 | 0.99782 | -0.041544 | 0.0034445 | 0.00086327
40 | 0.99688 | -0.059755 | 0.0034506 | 0.00086481
41 | 0.99577 | -0.081163 | 0.011986 | 0.0030039
42 | 0.99619 | -0.072884 | 0.019868 | 0.0049794
43 | 0.99544 | -0.087362 | 0.0026313 | 0.00065947
44 | 0.99351 | -0.12459 | 0 | 0
45 | 0.99333 | -0.12807 | 0.043193 | 0.010825
46 | 0.99307 | -0.13319 | 0 | 0
47 | 0.99299 | -0.13477 | 0.019186 | 0.0048085
48 | 0.99277 | -0.13903 | 0 | 0
49 | 0.98988 | -0.19484 | 0.0031824 | 0.00079758
50 | 0.98987 | -0.19495 | 0.0031824 | 0.00079758
51 | 0.98936 | -0.20485 | 0 | 0
52 | 0.98908 | -0.21035 | 0.0025909 | 0.00064934
53 | 0.98931 | -0.20575 | 0.0049364 | 0.0012372
54 | 0.98884 | -0.21501 | 0.003253 | 0.00081527
55 | 0.98836 | -0.22391 | 0 | 0
56 | 0.98828 | -0.22538 | 0.0017761 | 0.00044513
57 | 0.98836 | -0.22384 | 0.001795 | 0.00044987
58 | 0.98828 | -0.22544 | 0.0094942 | 0.0023795
59 | 0.98808 | -0.22935 | 0.0067673 | 0.0016961
60 | 0.988 | -0.23085 | 0 | 0
61 | 0.99458 | -0.10405 | 0.0076522 | 0.0019178
62 | 0.99449 | -0.10574 | 0.010508 | 0.0026335
63 | 0.9949 | -0.097789 | 0.0047199 | 0.0011829
64 | 0.99427 | -0.10999 | 0.004423 | 0.0011085
65 | 0.99424 | -0.11061 | 0 | 0
66 | 0.98795 | -0.23193 | 0.0018665 | 0.00046778
67 | 0.99408 | -0.11371 | 0.0079117 | 0.0019829
68 | 0.9879 | -0.23286 | 0.002584 | 0.00064762
69 | 0.98826 | -0.22582 | 0 | 0
70 | 0.98821 | -0.22679 | 0.002369 | 0.00059373
71 | 0.99269 | -0.14048 | 0.019193 | 0.0048102
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0106 | 0.0026567 | -0.010598 | -0.002656 | 1.202e-06 | 6.0774e-07 | 0.015952 | 0.015952 | 0.015952 | 0.98875 | -0.21636 | 0.98863 | -0.21874 | 4.3824
1 | -0.0106 | -0.0026567 | 0.010601 | 0.0026575 | 1.6806e-06 | 8.4966e-07 | 0.015952 | 0.015952 | 0.015952 | 0.98875 | -0.21636 | 0.98892 | -0.21303 | 4.3824
2 | 0.0088542 | 0.0022189 | -0.0088523 | -0.0022181 | 1.872e-06 | 8.3773e-07 | 0.013327 | 0.013327 | 0.013327 | 0.98863 | -0.21874 | 0.9884 | -0.22318 | 3.6612
3 | -0.011545 | -0.002894 | 0.011546 | 0.0028946 | 1.1984e-06 | 6.3111e-07 | 0.017372 | 0.017372 | 0.017372 | 0.98892 | -0.21303 | 0.98903 | -0.21085 | 4.7725
4 | 0.006198 | 0.0015528 | -0.0061979 | -0.0015528 | 1.2292e-07 | 3.0416e-08 | 0.0093308 | 0.0093308 | 0.0093308 | 0.9884 | -0.22318 | 0.98838 | -0.22359 | 2.5634
5 | -0.012489 | -0.003131 | 0.01249 | 0.0031311 | 1.8457e-07 | 1.0024e-07 | 0.018791 | 0.018791 | 0.018791 | 0.98903 | -0.21085 | 0.98905 | -0.21054 | 5.1623
6 | 0.0041456 | 0.0010385 | -0.0041456 | -0.0010385 | 6.2848e-08 | -1.4919e-08 | 0.0062411 | 0.0062411 | 0.0062411 | 0.98838 | -0.22359 | 0.98836 | -0.22391 | 1.7146
7 | -0.013872 | -0.0034777 | 0.013874 | 0.0034784 | 1.3154e-06 | 7.3848e-07 | 0.020871 | 0.020871 | 0.020871 | 0.98905 | -0.21054 | 0.98915 | -0.20855 | 5.7339
8 | -0.018211 | -0.0045672 | 0.018212 | 0.0045676 | 7.82e-07 | 4.6477e-07 | 0.027387 | 0.027387 | 0.027387 | 0.98951 | -0.20163 | 0.98955 | -0.20073 | 7.524
9 | 0.014822 | 0.0037176 | -0.014817 | -0.0037148 | 4.8855e-06 | 2.79e-06 | 0.02229 | 0.02229 | 0.02229 | 0.98951 | -0.20163 | 0.98915 | -0.20855 | 6.1237
10 | -0.02081 | -0.0052187 | 0.020817 | 0.0052231 | 7.3008e-06 | 4.417e-06 | 0.031294 | 0.031294 | 0.031294 | 0.98955 | -0.20073 | 0.98993 | -0.19338 | 8.5972
11 | 0.029498 | 0.0074076 | -0.029484 | -0.0073988 | 1.4058e-05 | 8.7519e-06 | 0.044345 | 0.044345 | 0.044345 | 0.98993 | -0.19338 | 0.98942 | -0.20337 | 12.1827
12 | -0.050315 | -0.012631 | 0.050331 | 0.012641 | 1.6013e-05 | 1.0152e-05 | 0.075639 | 0.075639 | 0.075639 | 0.98993 | -0.19338 | 0.99028 | -0.18671 | 20.7799
13 | 0.026377 | 0.0066201 | -0.026365 | -0.0066129 | 1.1536e-05 | 7.1321e-06 | 0.039672 | 0.039672 | 0.039672 | 0.98942 | -0.20337 | 0.98894 | -0.21254 | 10.8989
14 | -0.0522 | -0.013109 | 0.052233 | 0.01313 | 3.3011e-05 | 2.0943e-05 | 0.078446 | 0.078446 | 0.078446 | 0.99028 | -0.18671 | 0.99096 | -0.17346 | 21.5511
15 | 0.025066 | 0.0062873 | -0.025062 | -0.0062848 | 4.0324e-06 | 2.4838e-06 | 0.037717 | 0.037717 | 0.037717 | 0.98894 | -0.21254 | 0.98877 | -0.21592 | 10.3618
16 | -0.10822 | -0.027206 | 0.10839 | 0.027319 | 0.00017601 | 0.00011242 | 0.16253 | 0.16253 | 0.16253 | 0.99096 | -0.17346 | 0.99272 | -0.13946 | 44.65
17 | 0.054292 | 0.013652 | -0.054176 | -0.013579 | 0.00011607 | 7.3684e-05 | 0.081541 | 0.081541 | 0.081541 | 0.99096 | -0.17346 | 0.98865 | -0.21833 | 22.4015
18 | -0.1108 | -0.027921 | 0.11093 | 0.028004 | 0.00012977 | 8.2891e-05 | 0.16613 | 0.16613 | 0.16613 | 0.99272 | -0.13946 | 0.99399 | -0.11501 | 45.6401
19 | 0.011549 | 0.0028952 | -0.011546 | -0.0028938 | 2.7058e-06 | 1.4256e-06 | 0.017382 | 0.017382 | 0.017382 | 0.98865 | -0.21833 | 0.98839 | -0.22324 | 4.7754
20 | -0.11365 | -0.028688 | 0.11385 | 0.028815 | 0.00020006 | 0.0001278 | 0.17021 | 0.17021 | 0.17021 | 0.99399 | -0.11501 | 0.9959 | -0.07833 | 46.7618
21 | -0.12422 | -0.031413 | 0.12445 | 0.031562 | 0.00023371 | 0.00014934 | 0.1857 | 0.1857 | 0.1857 | 0.9959 | -0.07833 | 0.99795 | -0.039188 | 51.0164
22 | 0.02252 | 0.0056478 | -0.022511 | -0.0056426 | 8.497e-06 | 5.1852e-06 | 0.033892 | 0.033892 | 0.033892 | 0.98877 | -0.21592 | 0.98836 | -0.22384 | 9.311
23 | -0.0090571 | -0.0022699 | 0.0090574 | 0.0022701 | 3.3386e-07 | 1.523e-07 | 0.013636 | 0.013636 | 0.013636 | 0.98835 | -0.22402 | 0.98839 | -0.22324 | 3.7461
24 | -0.18279 | -0.04624 | 0.18314 | 0.046459 | 0.0003444 | 0.00021977 | 0.27271 | 0.27271 | 0.27271 | 0.99795 | -0.039188 | 1 | 0 | 37.4605
25 | 0.054898 | 0.013814 | -0.054841 | -0.013778 | 5.6313e-05 | 3.5748e-05 | 0.081876 | 0.081876 | 0.081876 | 0.99795 | -0.039188 | 0.99683 | -0.060678 | 22.4935
26 | 0.0034449 | 0.000863 | -0.0034445 | -0.00086327 | 3.865e-07 | -2.6297e-07 | 0.0051364 | 0.0051366 | 0.0051366 | 0.99795 | -0.039188 | 0.99782 | -0.041544 | 1.4112
27 | 0.065075 | 0.016384 | -0.065035 | -0.016359 | 4.0539e-05 | 2.5798e-05 | 0.097482 | 0.097482 | 0.097482 | 0.99361 | -0.12253 | 0.99294 | -0.13557 | 26.7809
28 | -0.068225 | -0.017174 | 0.068228 | 0.017176 | 3.5683e-06 | 2.2719e-06 | 0.1022 | 0.1022 | 0.1022 | 0.99361 | -0.12253 | 0.99367 | -0.12143 | 28.0765
29 | 0.06202 | 0.015603 | -0.062003 | -0.015592 | 1.6946e-05 | 1.0778e-05 | 0.092964 | 0.092964 | 0.092964 | 0.99294 | -0.13557 | 0.99264 | -0.14129 | 25.5397
30 | -0.07184 | -0.018081 | 0.071894 | 0.018116 | 5.4578e-05 | 3.4767e-05 | 0.10761 | 0.10761 | 0.10761 | 0.99367 | -0.12143 | 0.99449 | -0.10555 | 29.5623
31 | 0.058267 | 0.014656 | -0.058201 | -0.014614 | 6.6165e-05 | 4.2047e-05 | 0.087364 | 0.087364 | 0.087364 | 0.99264 | -0.14129 | 0.99141 | -0.16509 | 24.0011
32 | 0.0037361 | 0.00093625 | -0.003736 | -0.00093632 | 1.4741e-07 | -6.7654e-08 | 0.0056006 | 0.0056006 | 0.0056006 | 0.99264 | -0.14129 | 0.9926 | -0.14212 | 1.5386
33 | -0.074749 | -0.018831 | 0.074828 | 0.018882 | 7.9553e-05 | 5.0694e-05 | 0.11188 | 0.11188 | 0.11188 | 0.99449 | -0.10555 | 0.99565 | -0.083324 | 30.7356
34 | 0.050245 | 0.01262 | -0.050234 | -0.012613 | 1.101e-05 | 6.9797e-06 | 0.075423 | 0.075423 | 0.075423 | 0.99141 | -0.16509 | 0.99117 | -0.16968 | 20.7206
35 | -0.079155 | -0.019966 | 0.079165 | 0.019973 | 9.7808e-06 | 6.2355e-06 | 0.11834 | 0.11834 | 0.11834 | 0.99565 | -0.083324 | 0.99578 | -0.080743 | 32.5121
36 | 0.038202 | 0.0095974 | -0.038175 | -0.0095808 | 2.6258e-05 | 1.6531e-05 | 0.057359 | 0.057359 | 0.057359 | 0.99117 | -0.16968 | 0.99043 | -0.18409 | 15.758
37 | 0.081774 | 0.020572 | -0.081603 | -0.020463 | 0.00017092 | 0.00010899 | 0.12222 | 0.12222 | 0.12222 | 0.99578 | -0.080743 | 0.99351 | -0.12459 | 33.5781
38 | -0.16094 | -0.040545 | 0.161 | 0.040583 | 6.0527e-05 | 3.8592e-05 | 0.24057 | 0.24057 | 0.24057 | 0.99578 | -0.080743 | 0.99619 | -0.072884 | 33.0451
39 | -0.007121 | -0.0017847 | 0.0071221 | 0.0017851 | 1.0416e-06 | 3.5673e-07 | 0.01072 | 0.01072 | 0.01072 | 0.98848 | -0.22203 | 0.98863 | -0.21896 | 2.945
40 | -0.0097756 | -0.0024501 | 0.0097772 | 0.0024508 | 1.5532e-06 | 7.4868e-07 | 0.014714 | 0.014713 | 0.014714 | 0.98863 | -0.21896 | 0.98881 | -0.21562 | 4.0422
41 | -0.012843 | -0.0032192 | 0.012843 | 0.0032194 | 3.7363e-07 | 2.0491e-07 | 0.019327 | 0.019327 | 0.019327 | 0.98881 | -0.21562 | 0.98884 | -0.21501 | 5.3096
42 | 0.030024 | 0.0075379 | -0.030008 | -0.0075283 | 1.5389e-05 | 9.5898e-06 | 0.045112 | 0.045112 | 0.045112 | 0.99043 | -0.18409 | 0.98988 | -0.19484 | 12.3935
43 | 0.18496 | 0.046838 | -0.18443 | -0.0465 | 0.00052908 | 0.00033764 | 0.2754 | 0.2754 | 0.2754 | 1 | 0 | 0.99688 | -0.059755 | 37.8291
44 | 0.049924 | 0.012546 | -0.049875 | -0.012515 | 4.8767e-05 | 3.0906e-05 | 0.074536 | 0.074536 | 0.074536 | 0.99683 | -0.060678 | 0.99577 | -0.081163 | 20.4769
45 | 0.18098 | 0.045635 | -0.18087 | -0.045563 | 0.00011364 | 7.2515e-05 | 0.27024 | 0.27024 | 0.27024 | 0.99688 | -0.059755 | 0.99619 | -0.072884 | 37.1216
46 | 0.03789 | 0.0095112 | -0.037878 | -0.0095041 | 1.12e-05 | 7.0468e-06 | 0.056625 | 0.056625 | 0.056625 | 0.99577 | -0.081163 | 0.99544 | -0.087362 | 15.5564
47 | 0.035247 | 0.0088447 | -0.035229 | -0.0088337 | 1.7516e-05 | 1.0992e-05 | 0.052692 | 0.052692 | 0.052692 | 0.99544 | -0.087362 | 0.9949 | -0.097789 | 14.4758
48 | 0.0432 | 0.01083 | -0.043193 | -0.010825 | 7.1638e-06 | 4.5257e-06 | 0.064704 | 0.064704 | 0.064704 | 0.99351 | -0.12459 | 0.99333 | -0.12807 | 17.7758
49 | 0.038403 | 0.0096335 | -0.038387 | -0.0096236 | 1.5732e-05 | 9.9046e-06 | 0.05752 | 0.057521 | 0.057521 | 0.99351 | -0.12459 | 0.99307 | -0.13319 | 15.8023
50 | 0.019188 | 0.0048094 | -0.019186 | -0.0048085 | 1.4479e-06 | 8.6625e-07 | 0.028751 | 0.028751 | 0.028751 | 0.99307 | -0.13319 | 0.99299 | -0.13477 | 7.8987
51 | 0.019199 | 0.0048142 | -0.019194 | -0.004811 | 5.3438e-06 | 3.1974e-06 | 0.028769 | 0.028769 | 0.028769 | 0.99307 | -0.13319 | 0.99277 | -0.13903 | 7.9037
52 | 0.019194 | 0.004811 | -0.019193 | -0.0048102 | 1.3266e-06 | 7.9374e-07 | 0.028769 | 0.028769 | 0.028769 | 0.99277 | -0.13903 | 0.99269 | -0.14048 | 7.9037
53 | 0.026826 | 0.0067307 | -0.026826 | -0.0067306 | 1.4181e-07 | 8.7769e-08 | 0.040328 | 0.040328 | 0.040328 | 0.98988 | -0.19484 | 0.98987 | -0.19495 | 11.0792
54 | 0.023643 | 0.005933 | -0.023632 | -0.0059262 | 1.1153e-05 | 6.8355e-06 | 0.035544 | 0.035545 | 0.035545 | 0.98987 | -0.19495 | 0.98936 | -0.20485 | 9.765
55 | 0.018696 | 0.004689 | -0.018691 | -0.0046861 | 4.8955e-06 | 2.9212e-06 | 0.02812 | 0.02812 | 0.02812 | 0.98936 | -0.20485 | 0.98908 | -0.21035 | 7.7253
56 | 0.0049366 | 0.0012372 | -0.0049364 | -0.0012372 | 2.1217e-07 | 3.9955e-09 | 0.0074247 | 0.0074247 | 0.0074247 | 0.98936 | -0.20485 | 0.98931 | -0.20575 | 2.0398
57 | 0.0161 | 0.0040368 | -0.016096 | -0.0040347 | 3.5791e-06 | 2.0819e-06 | 0.024222 | 0.024222 | 0.024222 | 0.98908 | -0.21035 | 0.98884 | -0.21501 | 6.6544
58 | 0.0041456 | 0.0010385 | -0.0041453 | -0.0010385 | 2.9015e-07 | -6.8851e-08 | 0.0062411 | 0.0062412 | 0.0062412 | 0.98836 | -0.22391 | 0.98828 | -0.22538 | 1.7146
59 | 0.0023692 | 0.00059341 | -0.0023691 | -0.00059351 | 4.9001e-08 | -1.0023e-07 | 0.003567 | 0.0035671 | 0.0035671 | 0.98828 | -0.22538 | 0.98826 | -0.22582 | 0.97996
60 | 0.020716 | 0.0051927 | -0.020715 | -0.0051918 | 1.5849e-06 | 9.5869e-07 | 0.031189 | 0.03119 | 0.03119 | 0.98836 | -0.22384 | 0.98828 | -0.22544 | 8.5685
61 | 0.011221 | 0.0028123 | -0.011219 | -0.0028112 | 2.0879e-06 | 1.0864e-06 | 0.016894 | 0.016895 | 0.016895 | 0.98828 | -0.22544 | 0.98808 | -0.22935 | 4.6414
62 | 0.0044512 | 0.0011152 | -0.0044509 | -0.0011152 | 3.1732e-07 | -3.8104e-08 | 0.0067032 | 0.0067033 | 0.0067033 | 0.98808 | -0.22935 | 0.988 | -0.23085 | 1.8416
63 | 0.0044509 | 0.0011152 | -0.0044506 | -0.0011152 | 2.3016e-07 | -2.761e-08 | 0.0067033 | 0.0067033 | 0.0067033 | 0.988 | -0.23085 | 0.98795 | -0.23193 | 1.8416
64 | 0.010509 | 0.0026339 | -0.010508 | -0.0026335 | 8.4294e-07 | 4.2148e-07 | 0.015722 | 0.015722 | 0.015722 | 0.99458 | -0.10405 | 0.99449 | -0.10574 | 4.3193
65 | -0.018161 | -0.0045517 | 0.018166 | 0.004555 | 5.4204e-06 | 3.2149e-06 | 0.027171 | 0.027171 | 0.027171 | 0.99458 | -0.10405 | 0.9949 | -0.097789 | 7.4645
66 | 0.012343 | 0.0030958 | -0.012336 | -0.0030919 | 7.1724e-06 | 3.8621e-06 | 0.018462 | 0.018462 | 0.018462 | 0.9949 | -0.097789 | 0.99427 | -0.10999 | 5.072
67 | 0.0079131 | 0.0019834 | -0.0079129 | -0.0019833 | 2.3477e-07 | 9.2362e-08 | 0.011843 | 0.011843 | 0.011843 | 0.99427 | -0.10999 | 0.99424 | -0.11061 | 3.2535
68 | 0.0079129 | 0.0019833 | -0.0079117 | -0.0019829 | 1.1706e-06 | 4.6061e-07 | 0.011843 | 0.011843 | 0.011843 | 0.99424 | -0.11061 | 0.99408 | -0.11371 | 3.2535
69 | 0.0025842 | 0.00064744 | -0.002584 | -0.00064762 | 1.1438e-07 | -1.846e-07 | 0.0038921 | 0.0038922 | 0.0038922 | 0.98795 | -0.23193 | 0.9879 | -0.23286 | 1.0693
70 | 0.0023691 | 0.00059351 | -0.002369 | -0.00059373 | 1.0969e-07 | -2.2433e-07 | 0.0035671 | 0.0035672 | 0.0035672 | 0.98826 | -0.22582 | 0.98821 | -0.22679 | 0.97999

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38348 | 0.096737

## res_load
| p_mw | q_mvar
0 | 0.0017442 | 0.00043715
1 | 0.00094366 | 0.0002365
2 | 0.0026543 | 0.00066524
3 | 0.00094316 | 0.00023638
4 | 0.0020523 | 0.00051434
5 | 0.0013829 | 0.00034659
6 | 0.0033897 | 0.00084954
7 | 0.0025979 | 0.0006511
8 | 0.00094317 | 0.00023638
9 | 0.0031073 | 0.00077877
10 | 0.0018682 | 0.00046823
11 | 0.0012993 | 0.00032565
12 | 0.0016908 | 0.00042374
13 | 0.0024043 | 0.00060258
14 | 0.042628 | 0.010684
15 | 0.0027275 | 0.00068357
16 | 0.010365 | 0.0025977
17 | 0.0025418 | 0.00063702
18 | 0.0090571 | 0.0022699
19 | 0.0024885 | 0.00062369
20 | 0.0031493 | 0.00078929
21 | 0.0030147 | 0.00075556
22 | 0.0036114 | 0.0009051
23 | 0.0028545 | 0.0007154
24 | 0.0079559 | 0.0019939
25 | 0.003736 | 0.00093632
26 | 0.0043268 | 0.0010844
27 | 0.012033 | 0.0030156
28 | 0.007121 | 0.0017847
29 | 0.0026535 | 0.00066504
30 | 0.0030658 | 0.00076837
31 | 0.0081516 | 0.002043
32 | 0.013726 | 0.0034402
33 | 0.0049175 | 0.0012324
34 | 0.0034445 | 0.00086327
35 | 0.0034506 | 0.00086481
36 | 0.011986 | 0.0030039
37 | 0.019868 | 0.0049794
38 | 0.0026313 | 0.00065947
39 | 0.043193 | 0.010825
40 | 0.019186 | 0.0048085
41 | 0.0031824 | 0.00079758
42 | 0.0031824 | 0.00079758
43 | 0.0025909 | 0.00064934
44 | 0.0049364 | 0.0012372
45 | 0.003253 | 0.00081527
46 | 0.0017761 | 0.00044513
47 | 0.001795 | 0.00044987
48 | 0.0094942 | 0.0023795
49 | 0.0067673 | 0.0016961
50 | 0.0076522 | 0.0019178
51 | 0.010508 | 0.0026335
52 | 0.0047199 | 0.0011829
53 | 0.004423 | 0.0011085
54 | 0.0018665 | 0.00046778
55 | 0.0079117 | 0.0019829
56 | 0.002584 | 0.00064762
57 | 0.002369 | 0.00059373
58 | 0.019193 | 0.0048102

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1