## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1103-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1103-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1103-21_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1103-21_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1103-21_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1103-21_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1103-21_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1103-21_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1103-21_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1103-21_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1103-21_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1103-21_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_1103-21_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1103-21_0_4_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_1103-21_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1103-21_0_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_1103-21_0_4_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1103-21_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_1103-21_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1103-21_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1103-21_0_4_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_1103-21_0_4_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_1103-21_0_4_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_1103-21_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1103-21_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1103-21_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1103-21_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1103-21_0_4_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_1103-21_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1103-21_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1103-21_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1103-21_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1103-21_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1103-21_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1103-21_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_MV_471_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1103-21_0_4_load_0 | 0 | 0.0099858 | 0.0025027 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1103-21_0_4_load_1 | 1 | 0.00065403 | 0.00016392 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1103-21_0_4_load_4 | 4 | 0.017068 | 0.0042777 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1103-21_0_4_load_27 | 8 | 0.0074036 | 0.0018555 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1103-21_0_4_load_19 | 10 | 0.0025172 | 0.00063088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1103-21_0_4_load_28 | 11 | 0.0011737 | 0.00029417 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1103-21_0_4_load_31 | 13 | 0.03179 | 0.0079673 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1103-21_0_4_load_30 | 15 | 0.053737 | 0.013468 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1103-21_0_4_load_26 | 16 | 0.014509 | 0.0036364 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1103-21_0_4_load_38 | 18 | 0.0042038 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1103-21_0_4_load_6 | 20 | 0.044489 | 0.01115 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1103-21_0_4_load_8 | 22 | 0.013155 | 0.0032968 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1103-21_0_4_load_29 | 24 | 0.0095708 | 0.0023987 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1103-21_0_4_load_15 | 25 | 0.046676 | 0.011698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1103-21_0_4_load_16 | 26 | 0.049902 | 0.012507 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1103-21_0_4_load_36 | 27 | 0.055232 | 0.013843 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1103-21_0_4_load_20 | 28 | 0.020193 | 0.0050609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1103-21_0_4_load_21 | 29 | 0.0081508 | 0.0020428 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1103-21_0_4_load_35 | 30 | 0.0039712 | 0.00099527 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1103-21_0_4_load_34 | 31 | 0.0028914 | 0.00072465 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1103-21_0_4_load_32 | 32 | 0.0026452 | 0.00066294 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1103-21_0_4_load_37 | 33 | 0.0032492 | 0.00081432 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1103-21_0_4_load_33 | 34 | 0.0014286 | 0.00035805 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1103-21_0_4_line_0 |  | 0 | 1 | 0.020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1103-21_0_4_line_1 |  | 1 | 2 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1103-21_0_4_line_2 |  | 2 | 6 | 0.020074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1103-21_0_4_line_3 |  | 2 | 7 | 0.15277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1103-21_0_4_line_4 |  | 3 | 4 | 0.029769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1103-21_0_4_line_5 |  | 3 | 5 | 0.034295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1103-21_0_4_line_6 |  | 4 | 8 | 0.017846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1103-21_0_4_line_7 |  | 5 | 9 | 0.021003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1103-21_0_4_line_8 |  | 5 | 10 | 0.030362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1103-21_0_4_line_9 |  | 6 | 11 | 0.021622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1103-21_0_4_line_10 |  | 7 | 12 | 0.16504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1103-21_0_4_line_11 |  | 8 | 17 | 0.022703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1103-21_0_4_line_12 |  | 9 | 18 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1103-21_0_4_line_13 |  | 10 | 19 | 0.011726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1103-21_0_4_line_14 |  | 11 | 17 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1103-21_0_4_line_15 |  | 12 | 13 | 0.022457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1103-21_0_4_line_16 |  | 12 | 14 | 0.038978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1103-21_0_4_line_17 |  | 12 | 15 | 0.052935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1103-21_0_4_line_18 |  | 14 | 16 | 0.012287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1103-21_0_4_line_19 |  | 17 | 29 | 0.027585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1103-21_0_4_line_20 |  | 18 | 30 | 0.0051961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1103-21_0_4_line_21 |  | 19 | 23 | 0.022365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1103-21_0_4_line_22 |  | 19 | 26 | 0.027339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1103-21_0_4_line_23 |  | 20 | 21 | 0.025774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1103-21_0_4_line_24 |  | 21 | 22 | 0.024608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1103-21_0_4_line_25 |  | 22 | 23 | 0.0034182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1103-21_0_4_line_26 |  | 23 | 24 | 0.023313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1103-21_0_4_line_27 |  | 24 | 27 | 0.0015614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1103-21_0_4_line_28 |  | 25 | 26 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1103-21_0_4_line_29 |  | 27 | 33 | 0.014531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1103-21_0_4_line_30 |  | 28 | 29 | 0.019873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1103-21_0_4_line_31 |  | 30 | 34 | 0.019897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1103-21_0_4_line_32 |  | 31 | 32 | 0.011814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1103-21_0_4_line_33 |  | 32 | 34 | 0.031379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1103-21_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 35 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2650562.6677 | 1224796.674 | 2650562.9415 | 1224817.2036
1 | 2650563.1031 | 1224829.3201 | 2650562.9415 | 1224817.2036
2 | 2650563.1031 | 1224829.3201 | 2650583.1699 | 1224827.6895
3 | 2650473.3709 | 1224894.3325 | 2650472.3266 | 1224882.483 | 2650469.6166 | 1224851.5965 | 2650468.7789 | 1224847.5647 | 2650466.9289 | 1224838.6324 | 2650480.7626 | 1224837.1376 | 2650509.0446 | 1224834.0866 | 2650563.1031 | 1224829.3201
4 | 2650554.9644 | 1224731.5683 | 2650568.5764 | 1224735.6753 | 2650572.8194 | 1224738.6687 | 2650575.2542 | 1224742.1137 | 2650577.3142 | 1224747.8972
5 | 2650554.9644 | 1224731.5683 | 2650551.1612 | 1224708.0326 | 2650554.5508 | 1224698.1441
6 | 2650577.3142 | 1224747.8972 | 2650578.0903 | 1224750.0761 | 2650583.112 | 1224764.7754
7 | 2650573.7422 | 1224706.8013 | 2650570.5021 | 1224705.3395 | 2650554.5508 | 1224698.1441
8 | 2650554.5508 | 1224698.1441 | 2650527.2901 | 1224684.7751
9 | 2650583.1699 | 1224827.6895 | 2650586.9128 | 1224806.3936
10 | 2650438.1405 | 1224737.7261 | 2650442.9826 | 1224741.6028 | 2650455.2728 | 1224756.7496 | 2650460.6744 | 1224770.6484 | 2650462.3162 | 1224785.3492 | 2650463.4163 | 1224799.5673 | 2650465.4037 | 1224825.3779 | 2650465.486 | 1224826.4015 | 2650466.9289 | 1224838.6324 | 2650468.7789 | 1224847.5647 | 2650469.6166 | 1224851.5965 | 2650472.3266 | 1224882.483 | 2650473.3709 | 1224894.3325
11 | 2650590.4515 | 1224786.259 | 2650583.112 | 1224764.7754
12 | 2650573.7422 | 1224706.8013 | 2650579.2856 | 1224692.8302
13 | 2650516.762 | 1224679.612 | 2650527.2901 | 1224684.7751
14 | 2650590.4515 | 1224786.259 | 2650586.9128 | 1224806.3936
15 | 2650438.1405 | 1224737.7261 | 2650449.708 | 1224718.4774
16 | 2650402.7766 | 1224722.0059 | 2650431.3179 | 1224732.2538 | 2650438.1405 | 1224737.7261
17 | 2650438.1405 | 1224737.7261 | 2650419.9774 | 1224776.8187 | 2650424.852 | 1224785.3534
18 | 2650402.7766 | 1224722.0059 | 2650391.2176 | 1224717.838
19 | 2650590.4515 | 1224786.259 | 2650593.5632 | 1224774.2891 | 2650599.7847 | 1224760.4021
20 | 2650581.2019 | 1224688.0004 | 2650579.2856 | 1224692.8302
21 | 2650516.762 | 1224679.612 | 2650496.2778 | 1224670.4993
22 | 2650516.762 | 1224679.612 | 2650505.6702 | 1224704.6001
23 | 2650470.0842 | 1224660.5378 | 2650461.0538 | 1224684.678
24 | 2650470.0842 | 1224660.5378 | 2650474.3469 | 1224662.1083 | 2650486.145 | 1224666.4665 | 2650493.1019 | 1224669.2354
25 | 2650496.2778 | 1224670.4993 | 2650493.1019 | 1224669.2354
26 | 2650496.2778 | 1224670.4993 | 2650503.8907 | 1224648.4639
27 | 2650503.8907 | 1224648.4639 | 2650504.4006 | 1224646.9881
28 | 2650503.9669 | 1224719.7849 | 2650505.6702 | 1224704.6001
29 | 2650508.082 | 1224633.0207 | 2650507.6257 | 1224637.653 | 2650504.4006 | 1224646.9881
30 | 2650607.9098 | 1224742.2663 | 2650599.7847 | 1224760.4021
31 | 2650588.1623 | 1224669.3797 | 2650587.2307 | 1224672.8059 | 2650581.2019 | 1224688.0004
32 | 2650594.9377 | 1224638.7497 | 2650597.3622 | 1224627.1875
33 | 2650594.9377 | 1224638.7497 | 2650589.7038 | 1224663.7102 | 2650588.1623 | 1224669.3797

## bus_geodata
| x | y | coords
0 | 2650562.6677 | 1224796.674
1 | 2650562.9415 | 1224817.2036
2 | 2650563.1031 | 1224829.3201
3 | 2650554.9644 | 1224731.5683
4 | 2650577.3142 | 1224747.8972
5 | 2650554.5508 | 1224698.1441
6 | 2650583.1699 | 1224827.6895
7 | 2650473.3709 | 1224894.3325
8 | 2650583.112 | 1224764.7754
9 | 2650573.7422 | 1224706.8013
10 | 2650527.2901 | 1224684.7751
11 | 2650586.9128 | 1224806.3936
12 | 2650438.1405 | 1224737.7261
13 | 2650449.708 | 1224718.4774
14 | 2650402.7766 | 1224722.0059
15 | 2650424.852 | 1224785.3534
16 | 2650391.2176 | 1224717.838
17 | 2650590.4515 | 1224786.259
18 | 2650579.2856 | 1224692.8302
19 | 2650516.762 | 1224679.612
20 | 2650461.0538 | 1224684.678
21 | 2650470.0842 | 1224660.5378
22 | 2650493.1019 | 1224669.2354
23 | 2650496.2778 | 1224670.4993
24 | 2650503.8907 | 1224648.4639
25 | 2650503.9669 | 1224719.7849
26 | 2650505.6702 | 1224704.6001
27 | 2650504.4006 | 1224646.9881
28 | 2650607.9098 | 1224742.2663
29 | 2650599.7847 | 1224760.4021
30 | 2650581.2019 | 1224688.0004
31 | 2650597.3622 | 1224627.1875
32 | 2650594.9377 | 1224638.7497
33 | 2650508.082 | 1224633.0207
34 | 2650588.1623 | 1224669.3797
35 | 2650503.7898 | 1224752.8807

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98587 | -0.26971 | 0.0099858 | 0.0025027
1 | 0.98606 | -0.26603 | 0.00065403 | 0.00016392
2 | 0.98617 | -0.26372 | 0 | 0
3 | 0.99164 | -0.15901 | 0 | 0
4 | 0.99012 | -0.18802 | 0.017068 | 0.0042777
5 | 0.99339 | -0.1257 | 0 | 0
6 | 0.98686 | -0.25045 | 0 | 0
7 | 0.98142 | -0.35548 | 0 | 0
8 | 0.98931 | -0.20365 | 0.0074036 | 0.0018555
9 | 0.9931 | -0.13131 | 0 | 0
10 | 0.99507 | -0.093599 | 0.0025172 | 0.00063088
11 | 0.98761 | -0.23618 | 0.0011737 | 0.00029417
12 | 0.97371 | -0.50606 | 0 | 0
13 | 0.97305 | -0.51919 | 0.03179 | 0.0079673
14 | 0.97319 | -0.51646 | 0 | 0
15 | 0.97106 | -0.55849 | 0.053737 | 0.013468
16 | 0.97302 | -0.51974 | 0.014509 | 0.0036364
17 | 0.98832 | -0.22257 | 0 | 0
18 | 0.99289 | -0.13534 | 0.0042038 | 0.0010536
19 | 0.99573 | -0.08106 | 0 | 0
20 | 0.99093 | -0.17379 | 0.044489 | 0.01115
21 | 0.99198 | -0.15346 | 0 | 0
22 | 0.99298 | -0.13409 | 0.013155 | 0.0032968
23 | 0.99316 | -0.13061 | 0 | 0
24 | 0.99171 | -0.15868 | 0.0095708 | 0.0023987
25 | 1 | 0 | -0.3641 | -0.092575
26 | 0.99832 | -0.031833 | 0.049902 | 0.012507
27 | 0.99163 | -0.1603 | 0.055232 | 0.013843
28 | 0.98723 | -0.24371 | 0.020193 | 0.0050609
29 | 0.9876 | -0.23653 | 0.0081508 | 0.0020428
30 | 0.99284 | -0.13634 | 0.0039712 | 0.00099527
31 | 0.99252 | -0.14247 | 0.0028914 | 0.00072465
32 | 0.99255 | -0.14187 | 0.0026452 | 0.00066294
33 | 0.99159 | -0.16114 | 0.0032492 | 0.00081432
34 | 0.99271 | -0.13879 | 0.0014286 | 0.00035805
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0099858 | -0.0025027 | 0.0099876 | 0.0025035 | 1.749e-06 | 8.5752e-07 | 0.015072 | 0.015072 | 0.015072 | 0.98587 | -0.26971 | 0.98606 | -0.26603 | 4.1407
1 | -0.010642 | -0.0026675 | 0.010643 | 0.0026681 | 1.1719e-06 | 5.9541e-07 | 0.016059 | 0.016059 | 0.016059 | 0.98606 | -0.26603 | 0.98617 | -0.26372 | 4.4118
2 | -0.11202 | -0.028584 | 0.11209 | 0.028629 | 7.1838e-05 | 4.5207e-05 | 0.1692 | 0.1692 | 0.1692 | 0.98617 | -0.26372 | 0.98686 | -0.25045 | 15.4947
3 | 0.10137 | 0.025916 | -0.10093 | -0.025635 | 0.00044786 | 0.00028081 | 0.15314 | 0.15315 | 0.15315 | 0.98617 | -0.26372 | 0.98142 | -0.35548 | 14.0243
4 | 0.16673 | 0.042574 | -0.1665 | -0.042425 | 0.00023345 | 0.00014826 | 0.25047 | 0.25047 | 0.25047 | 0.99164 | -0.15901 | 0.99012 | -0.18802 | 22.937
5 | -0.16673 | -0.042574 | 0.167 | 0.042744 | 0.00026894 | 0.00017079 | 0.25047 | 0.25047 | 0.25047 | 0.99164 | -0.15901 | 0.99339 | -0.1257 | 22.937
6 | 0.14943 | 0.038148 | -0.14932 | -0.038076 | 0.00011276 | 7.1475e-05 | 0.22482 | 0.22482 | 0.22482 | 0.99012 | -0.18802 | 0.98931 | -0.20365 | 20.588
7 | 0.015149 | 0.003799 | -0.015145 | -0.0037967 | 4.0561e-06 | 2.3241e-06 | 0.022693 | 0.022693 | 0.022693 | 0.99339 | -0.1257 | 0.9931 | -0.13131 | 6.2344
8 | -0.18215 | -0.046543 | 0.18243 | 0.046723 | 0.0002832 | 0.00018007 | 0.27316 | 0.27316 | 0.27316 | 0.99339 | -0.1257 | 0.99507 | -0.093599 | 25.015
9 | -0.11209 | -0.028629 | 0.11217 | 0.028678 | 7.7378e-05 | 4.8693e-05 | 0.1692 | 0.1692 | 0.1692 | 0.98686 | -0.25045 | 0.98761 | -0.23618 | 15.4947
10 | 0.10093 | 0.025635 | -0.1002 | -0.025175 | 0.00072579 | 0.00046037 | 0.15315 | 0.15315 | 0.15315 | 0.98142 | -0.35548 | 0.97371 | -0.50606 | 21.0366
11 | 0.14191 | 0.036221 | -0.14178 | -0.036139 | 0.00012958 | 8.2058e-05 | 0.21369 | 0.21369 | 0.21369 | 0.98931 | -0.20365 | 0.98832 | -0.22257 | 19.5683
12 | 0.015145 | 0.0037967 | -0.015142 | -0.003795 | 2.9028e-06 | 1.6633e-06 | 0.022693 | 0.022693 | 0.022693 | 0.9931 | -0.13131 | 0.99289 | -0.13534 | 6.2345
13 | -0.18495 | -0.047354 | 0.18506 | 0.047426 | 0.00011241 | 7.1483e-05 | 0.27693 | 0.27693 | 0.27693 | 0.99507 | -0.093599 | 0.99573 | -0.08106 | 25.3597
14 | -0.11334 | -0.028972 | 0.11341 | 0.029019 | 7.4696e-05 | 4.702e-05 | 0.17097 | 0.17097 | 0.17097 | 0.98761 | -0.23618 | 0.98832 | -0.22257 | 15.6566
15 | 0.03181 | 0.0079798 | -0.03179 | -0.0079673 | 1.9903e-05 | 1.2458e-05 | 0.048614 | 0.048614 | 0.048614 | 0.97371 | -0.50606 | 0.97305 | -0.51919 | 13.3555
16 | 0.014519 | 0.0036418 | -0.014512 | -0.0036377 | 7.1963e-06 | 4.1211e-06 | 0.022189 | 0.022189 | 0.022189 | 0.97371 | -0.50606 | 0.97319 | -0.51646 | 6.0958
17 | 0.053871 | 0.013553 | -0.053737 | -0.013468 | 0.0001346 | 8.5486e-05 | 0.082344 | 0.082344 | 0.082344 | 0.97371 | -0.50606 | 0.97106 | -0.55849 | 22.6221
18 | 0.014512 | 0.0036377 | -0.014509 | -0.0036364 | 2.2686e-06 | 1.2993e-06 | 0.022189 | 0.022189 | 0.022189 | 0.97319 | -0.51646 | 0.97302 | -0.51974 | 6.0958
19 | 0.02837 | 0.0071195 | -0.028351 | -0.0071078 | 1.8875e-05 | 1.1727e-05 | 0.042717 | 0.042717 | 0.042717 | 0.98832 | -0.22257 | 0.9876 | -0.23653 | 11.7354
20 | 0.010939 | 0.0027415 | -0.010938 | -0.0027412 | 5.2365e-07 | 2.6794e-07 | 0.016393 | 0.016393 | 0.016393 | 0.99289 | -0.13534 | 0.99284 | -0.13634 | 4.5037
21 | 0.12618 | 0.031813 | -0.12589 | -0.031623 | 0.00029843 | 0.00019071 | 0.18864 | 0.18864 | 0.18864 | 0.99573 | -0.08106 | 0.99316 | -0.13061 | 51.823
22 | -0.31125 | -0.079239 | 0.31199 | 0.079712 | 0.00074071 | 0.00047299 | 0.46556 | 0.46556 | 0.46556 | 0.99573 | -0.08106 | 0.99832 | -0.031833 | 42.6339
23 | -0.044489 | -0.01115 | 0.044533 | 0.011177 | 4.3137e-05 | 2.7275e-05 | 0.066807 | 0.066807 | 0.066807 | 0.99093 | -0.17379 | 0.99198 | -0.15346 | 18.3535
24 | -0.044533 | -0.011177 | 0.044574 | 0.011203 | 4.1185e-05 | 2.6041e-05 | 0.066807 | 0.066807 | 0.066807 | 0.99198 | -0.15346 | 0.99298 | -0.13409 | 18.3535
25 | -0.057728 | -0.0145 | 0.057738 | 0.014506 | 9.595e-06 | 6.0966e-06 | 0.086519 | 0.086519 | 0.086519 | 0.99298 | -0.13409 | 0.99316 | -0.13061 | 23.769
26 | 0.068148 | 0.017116 | -0.068057 | -0.017058 | 9.1166e-05 | 5.8045e-05 | 0.10212 | 0.10212 | 0.10212 | 0.99316 | -0.13061 | 0.99171 | -0.15868 | 28.0541
27 | 0.058486 | 0.01466 | -0.058482 | -0.014657 | 4.5093e-06 | 2.8658e-06 | 0.087756 | 0.087756 | 0.087756 | 0.99171 | -0.15868 | 0.99163 | -0.1603 | 24.1089
28 | 0.36245 | 0.092575 | -0.36189 | -0.092219 | 0.00055684 | 0.00035578 | 0.53994 | 0.53994 | 0.53994 | 1 | 0 | 0.99832 | -0.031833 | 49.4452
29 | 0.0032493 | 0.00081422 | -0.0032492 | -0.00081432 | 1.2955e-07 | -1.0454e-07 | 0.0048758 | 0.0048759 | 0.0048759 | 0.99163 | -0.1603 | 0.99159 | -0.16114 | 1.3395
30 | -0.020193 | -0.0050609 | 0.0202 | 0.005065 | 6.9035e-06 | 4.164e-06 | 0.030436 | 0.030436 | 0.030436 | 0.98723 | -0.24371 | 0.9876 | -0.23653 | 8.3616
31 | 0.0069669 | 0.0017459 | -0.0069661 | -0.0017457 | 8.1351e-07 | 2.6337e-07 | 0.010442 | 0.010442 | 0.010442 | 0.99284 | -0.13634 | 0.99271 | -0.13879 | 2.8686
32 | -0.0028914 | -0.00072465 | 0.0028915 | 0.00072455 | 8.3245e-08 | -9.9405e-08 | 0.0043349 | 0.0043348 | 0.0043349 | 0.99252 | -0.14247 | 0.99255 | -0.14187 | 1.1909
33 | -0.0055366 | -0.0013875 | 0.0055374 | 0.0013876 | 8.1069e-07 | 1.1322e-07 | 0.0083004 | 0.0083002 | 0.0083004 | 0.99255 | -0.14187 | 0.99271 | -0.13879 | 2.2803

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41077 | 0.10427

## res_load
| p_mw | q_mvar
0 | 0.0099858 | 0.0025027
1 | 0.00065403 | 0.00016392
2 | 0.017068 | 0.0042777
3 | 0.0074036 | 0.0018555
4 | 0.0025172 | 0.00063088
5 | 0.0011737 | 0.00029417
6 | 0.03179 | 0.0079673
7 | 0.053737 | 0.013468
8 | 0.014509 | 0.0036364
9 | 0.0042038 | 0.0010536
10 | 0.044489 | 0.01115
11 | 0.013155 | 0.0032968
12 | 0.0095708 | 0.0023987
13 | 0.046676 | 0.011698
14 | 0.049902 | 0.012507
15 | 0.055232 | 0.013843
16 | 0.020193 | 0.0050609
17 | 0.0081508 | 0.0020428
18 | 0.0039712 | 0.00099527
19 | 0.0028914 | 0.00072465
20 | 0.0026452 | 0.00066294
21 | 0.0032492 | 0.00081432
22 | 0.0014286 | 0.00035805

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1