## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1103-27_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1103-27_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1103-27_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1103-27_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1103-27_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1103-27_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1103-27_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1103-27_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1103-27_0_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_1103-27_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1103-27_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1103-27_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1103-27_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1103-27_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1103-27_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1103-27_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1103-27_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1103-27_0_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_1103-27_0_3_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_1103-27_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1103-27_0_3_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_1103-27_0_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_1103-27_0_3_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_1103-27_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1103-27_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1103-27_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1103-27_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1103-27_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1103-27_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1103-27_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1103-27_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1103-27_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1103-27_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1103-27_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1103-27_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1103-27_0_3_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1103-27_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1103-27_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1103-27_0_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_1103-27_0_3_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_1103-27_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_1103-27_0_3_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_1103-27_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1103-27_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1103-27_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_1103-27_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1103-27_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1103-27_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_1103-27_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1103-27_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1103-27_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1103-27_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1103-27_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_1103-27_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_1103-27_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1103-27_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1103-27_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_1103-27_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1103-27_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_MV_471_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1103-27_0_3_load_0 | 0 | 0.0014027 | 0.00035154 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1103-27_0_3_load_1 | 1 | 0.0039747 | 0.00099616 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1103-27_0_3_load_4 | 4 | 0.011114 | 0.0027854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1103-27_0_3_load_14 | 6 | 0.0068893 | 0.0017266 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1103-27_0_3_load_23 | 7 | 0.0044304 | 0.0011104 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1103-27_0_3_load_42 | 8 | 0.01215 | 0.003045 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1103-27_0_3_load_15 | 10 | 0.018239 | 0.004571 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1103-27_0_3_load_5 | 12 | 0.0039357 | 0.00098637 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1103-27_0_3_load_6 | 13 | 0.0039562 | 0.00099151 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1103-27_0_3_load_7 | 14 | 0.0060454 | 0.0015151 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1103-27_0_3_load_9 | 16 | 0.002707 | 0.00067844 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1103-27_0_3_load_60 | 18 | 0.0097076 | 0.002433 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1103-27_0_3_load_10 | 19 | 0.0028016 | 0.00070215 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1103-27_0_3_load_46 | 21 | 0.011052 | 0.0027699 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1103-27_0_3_load_44 | 22 | 0.010983 | 0.0027525 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1103-27_0_3_load_16 | 23 | 0.0049137 | 0.0012315 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1103-27_0_3_load_17 | 24 | 0.038052 | 0.0095368 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1103-27_0_3_load_18 | 25 | 0.01701 | 0.0042632 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1103-27_0_3_load_22 | 28 | 0.014058 | 0.0035233 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1103-27_0_3_load_47 | 31 | 0.021113 | 0.0052915 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1103-27_0_3_load_36 | 32 | 0.002365 | 0.00059272 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1103-27_0_3_load_34 | 33 | 0.013756 | 0.0034475 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1103-27_0_3_load_27 | 37 | 0.0093299 | 0.0023383 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1103-27_0_3_load_52 | 38 | 0.0066601 | 0.0016692 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1103-27_0_3_load_51 | 39 | 0.0031527 | 0.00079015 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1103-27_0_3_load_26 | 40 | 0.013937 | 0.003493 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1103-27_0_3_load_53 | 41 | 0.0041397 | 0.0010375 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1103-27_0_3_load_32 | 43 | 0.0074113 | 0.0018574 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1103-27_0_3_load_31 | 44 | 0.023343 | 0.0058503 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1103-27_0_3_load_33 | 45 | 0.017838 | 0.0044707 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1103-27_0_3_load_39 | 47 | 0.0029896 | 0.00074927 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1103-27_0_3_load_38 | 48 | 0.017945 | 0.0044975 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1103-27_0_3_load_45 | 50 | 0.0053288 | 0.0013355 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1103-27_0_3_load_48 | 51 | 0.0065665 | 0.0016457 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1103-27_0_3_load_54 | 52 | 0.0035025 | 0.00087782 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1103-27_0_3_load_49 | 53 | 0.0028756 | 0.0007207 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1103-27_0_3_load_50 | 54 | 0.0038093 | 0.00095469 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1103-27_0_3_load_58 | 55 | 0.0029022 | 0.00072736 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1103-27_0_3_load_55 | 56 | 0.004916 | 0.0012321 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1103-27_0_3_load_56 | 57 | 0.0037716 | 0.00094524 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1103-27_0_3_load_57 | 58 | 0.004214 | 0.0010561 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1103-27_0_3_line_0 |  | 0 | 1 | 0.0007658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1103-27_0_3_line_1 |  | 0 | 2 | 0.047986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1103-27_0_3_line_2 |  | 1 | 3 | 0.037098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1103-27_0_3_line_3 |  | 2 | 4 | 0.038229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1103-27_0_3_line_4 |  | 3 | 5 | 0.013849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1103-27_0_3_line_5 |  | 3 | 6 | 0.025129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1103-27_0_3_line_6 |  | 4 | 7 | 0.029343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1103-27_0_3_line_7 |  | 5 | 8 | 0.026717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1103-27_0_3_line_8 |  | 5 | 9 | 0.036663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1103-27_0_3_line_9 |  | 6 | 10 | 0.019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1103-27_0_3_line_10 |  | 7 | 11 | 0.011957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1103-27_0_3_line_11 |  | 8 | 20 | 0.029247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1103-27_0_3_line_12 |  | 9 | 19 | 0.019839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1103-27_0_3_line_13 |  | 10 | 23 | 0.0031462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1103-27_0_3_line_14 |  | 11 | 36 | 0.013064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1103-27_0_3_line_15 |  | 12 | 13 | 0.013641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1103-27_0_3_line_16 |  | 12 | 14 | 0.004399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1103-27_0_3_line_17 |  | 13 | 15 | 0.024731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1103-27_0_3_line_18 |  | 15 | 16 | 0.011468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1103-27_0_3_line_19 |  | 15 | 17 | 0.035769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1103-27_0_3_line_20 |  | 16 | 19 | 0.00021077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1103-27_0_3_line_21 |  | 17 | 18 | 0.031335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1103-27_0_3_line_22 |  | 20 | 22 | 0.025007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1103-27_0_3_line_23 |  | 20 | 30 | 0.042509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1103-27_0_3_line_24 |  | 21 | 22 | 0.019622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1103-27_0_3_line_25 |  | 24 | 25 | 0.023909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1103-27_0_3_line_26 |  | 24 | 26 | 0.0052065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1103-27_0_3_line_27 |  | 25 | 27 | 0.033403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1103-27_0_3_line_28 |  | 26 | 28 | 0.046877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1103-27_0_3_line_29 |  | 27 | 29 | 0.045787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1103-27_0_3_line_30 |  | 28 | 32 | 0.024292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1103-27_0_3_line_31 |  | 29 | 33 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1103-27_0_3_line_32 |  | 30 | 31 | 0.049095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1103-27_0_3_line_33 |  | 33 | 43 | 0.02031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1103-27_0_3_line_34 |  | 34 | 35 | 0.026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1103-27_0_3_line_35 |  | 34 | 36 | 0.021699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1103-27_0_3_line_36 |  | 34 | 37 | 0.029042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1103-27_0_3_line_37 |  | 35 | 41 | 0.014637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1103-27_0_3_line_38 |  | 35 | 42 | 0.01635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1103-27_0_3_line_39 |  | 36 | 38 | 0.017707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1103-27_0_3_line_40 |  | 37 | 40 | 0.03838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1103-27_0_3_line_41 |  | 38 | 39 | 0.026312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1103-27_0_3_line_42 |  | 41 | 52 | 0.010618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1103-27_0_3_line_43 |  | 42 | 49 | 0.0397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1103-27_0_3_line_44 |  | 43 | 44 | 0.044213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1103-27_0_3_line_45 |  | 44 | 45 | 0.039789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1103-27_0_3_line_46 |  | 45 | 46 | 0.041908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1103-27_0_3_line_47 |  | 46 | 47 | 0.019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1103-27_0_3_line_48 |  | 46 | 48 | 0.0015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1103-27_0_3_line_49 |  | 47 | 49 | 0.015232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1103-27_0_3_line_50 |  | 49 | 50 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1103-27_0_3_line_51 |  | 50 | 51 | 0.0053954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1103-27_0_3_line_52 |  | 51 | 53 | 0.016442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1103-27_0_3_line_53 |  | 52 | 56 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1103-27_0_3_line_54 |  | 53 | 54 | 0.018035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1103-27_0_3_line_55 |  | 54 | 55 | 0.0041144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1103-27_0_3_line_56 |  | 56 | 57 | 0.012654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1103-27_0_3_line_57 |  | 57 | 58 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1103-27_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 59 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2650672.216 | 1224280.0137 | 2650671.5699 | 1224279.6027
1 | 2650713.9803 | 1224303.5889 | 2650683.9331 | 1224287.4676 | 2650672.216 | 1224280.0137
2 | 2650640.2686 | 1224259.6902 | 2650671.5699 | 1224279.6027
3 | 2650713.9803 | 1224303.5889 | 2650725.413 | 1224269.0315 | 2650725.8242 | 1224267.2489
4 | 2650640.2686 | 1224259.6902 | 2650628.4415 | 1224252.4296
5 | 2650640.2686 | 1224259.6902 | 2650653.0381 | 1224238.0477
6 | 2650730.3171 | 1224238.3026 | 2650728.4205 | 1224255.9935 | 2650725.8242 | 1224267.2489
7 | 2650628.4415 | 1224252.4296 | 2650629.151 | 1224238.5382 | 2650627.8714 | 1224232.9794 | 2650629.5527 | 1224226.0783
8 | 2650596.6464 | 1224234.037 | 2650614.095 | 1224243.6245 | 2650628.4415 | 1224252.4296
9 | 2650653.0381 | 1224238.0477 | 2650659.7323 | 1224226.702 | 2650663.331 | 1224222.5856 | 2650664.2041 | 1224221.5615
10 | 2650731.5917 | 1224226.4134 | 2650730.3171 | 1224238.3026
11 | 2650646.3909 | 1224203.1406 | 2650641.3407 | 1224210.3132 | 2650634.6693 | 1224214.6592 | 2650629.5527 | 1224226.0783
12 | 2650596.6464 | 1224234.037 | 2650586.9254 | 1224251.331
13 | 2650666.2453 | 1224219.1673 | 2650664.2041 | 1224221.5615
14 | 2650731.5917 | 1224226.4134 | 2650733.0066 | 1224213.4285
15 | 2650614.7504 | 1224280.1399 | 2650602.8243 | 1224273.5176
16 | 2650618.5962 | 1224282.2755 | 2650614.7504 | 1224280.1399
17 | 2650581.2029 | 1224261.5117 | 2650602.8243 | 1224273.5176
18 | 2650581.2029 | 1224261.5117 | 2650586.8222 | 1224251.5147
19 | 2650581.2029 | 1224261.5117 | 2650553.525 | 1224284.1684
20 | 2650586.9254 | 1224251.331 | 2650586.8222 | 1224251.5147
21 | 2650553.525 | 1224284.1684 | 2650565.59 | 1224290.219 | 2650571.6551 | 1224296.5411 | 2650579.3469 | 1224301.4761
22 | 2650646.3909 | 1224203.1406 | 2650632.485 | 1224195.1175 | 2650625.2355 | 1224189.8637
23 | 2650646.3909 | 1224203.1406 | 2650659.2846 | 1224183.0823 | 2650664.915 | 1224168.3211 | 2650664.4538 | 1224165.4932
24 | 2650625.2355 | 1224189.8637 | 2650608.4283 | 1224179.7369
25 | 2650627.1387 | 1224061.3156 | 2650642.5406 | 1224072.8386 | 2650646.2718 | 1224075.6523
26 | 2650650.4288 | 1224078.7871 | 2650646.2718 | 1224075.6523
27 | 2650600.3924 | 1224041.3054 | 2650627.1387 | 1224061.3156
28 | 2650650.4288 | 1224078.7871 | 2650687.851 | 1224107.0186
29 | 2650615.1421 | 1223998.293 | 2650612.9325 | 1224012.0272 | 2650607.656 | 1224026.1911 | 2650600.3924 | 1224041.3054
30 | 2650687.851 | 1224107.0186 | 2650707.2432 | 1224121.6482
31 | 2650615.1421 | 1223998.293 | 2650623.3693 | 1223999.1635 | 2650629.7307 | 1224002.5684
32 | 2650664.4538 | 1224165.4932 | 2650649.9773 | 1224155.0192 | 2650650.213 | 1224151.3745 | 2650628.437 | 1224134.4581
33 | 2650646.0896 | 1224014.5444 | 2650632.4875 | 1224004.044 | 2650629.7307 | 1224002.5684
34 | 2650741.3073 | 1224166.5036 | 2650736.0972 | 1224184.4147 | 2650734.8512 | 1224191.8198
35 | 2650733.0066 | 1224213.4285 | 2650733.2042 | 1224210.6952 | 2650734.3562 | 1224194.7507 | 2650734.8512 | 1224191.8198
36 | 2650734.8512 | 1224191.8198 | 2650726.7584 | 1224190.3388 | 2650721.4853 | 1224188.0703 | 2650709.2961 | 1224179.2011
37 | 2650741.3073 | 1224166.5036 | 2650754.788 | 1224172.2063
38 | 2650741.3073 | 1224166.5036 | 2650745.8994 | 1224150.8108
39 | 2650733.0066 | 1224213.4285 | 2650749.2281 | 1224220.5271
40 | 2650674.258 | 1224166.517 | 2650675.7014 | 1224167.8126 | 2650685.8594 | 1224173.4247 | 2650691.0885 | 1224174.6366 | 2650695.3681 | 1224174.2617 | 2650701.468 | 1224174.7139 | 2650706.5347 | 1224177.1919 | 2650709.2961 | 1224179.2011
41 | 2650773.3335 | 1224231.0756 | 2650749.2281 | 1224220.5271
42 | 2650754.788 | 1224172.2063 | 2650764.5667 | 1224176.343
43 | 2650745.8994 | 1224150.8108 | 2650758.9724 | 1224119.5696 | 2650761.0245 | 1224117.2189 | 2650763.3942 | 1224115.8605
44 | 2650683.7202 | 1224035.4568 | 2650677.2039 | 1224029.6178 | 2650672.2161 | 1224027.6631 | 2650663.5038 | 1224026.7662 | 2650659.0641 | 1224024.5604 | 2650646.0896 | 1224014.5444
45 | 2650683.7202 | 1224035.4568 | 2650691.7348 | 1224042.6384 | 2650700.7423 | 1224052.4878 | 2650712.8867 | 1224062.4074
46 | 2650746.7774 | 1224086.9566 | 2650727.8807 | 1224074.6547 | 2650712.8867 | 1224062.4074
47 | 2650746.7774 | 1224086.9566 | 2650745.8025 | 1224091.0286 | 2650747.1777 | 1224094.2534 | 2650754.2511 | 1224103.6781
48 | 2650746.7774 | 1224086.9566 | 2650748.0762 | 1224087.81
49 | 2650763.3942 | 1224115.8605 | 2650754.2511 | 1224103.6781
50 | 2650763.3942 | 1224115.8605 | 2650766.8739 | 1224115.9346 | 2650770.9464 | 1224117.626 | 2650781.2867 | 1224122.4366
51 | 2650781.2867 | 1224122.4366 | 2650786.1786 | 1224124.7125
52 | 2650786.1786 | 1224124.7125 | 2650801.0859 | 1224131.6479
53 | 2650780.528 | 1224183.0951 | 2650764.5667 | 1224176.343
54 | 2650801.0859 | 1224131.6479 | 2650817.4375 | 1224139.2552
55 | 2650821.168 | 1224140.9907 | 2650817.4375 | 1224139.2552
56 | 2650792.1825 | 1224188.0253 | 2650780.528 | 1224183.0951
57 | 2650792.1825 | 1224188.0253 | 2650802.6416 | 1224192.4498

## bus_geodata
| x | y | coords
0 | 2650672.216 | 1224280.0137
1 | 2650671.5699 | 1224279.6027
2 | 2650713.9803 | 1224303.5889
3 | 2650640.2686 | 1224259.6902
4 | 2650725.8242 | 1224267.2489
5 | 2650628.4415 | 1224252.4296
6 | 2650653.0381 | 1224238.0477
7 | 2650730.3171 | 1224238.3026
8 | 2650629.5527 | 1224226.0783
9 | 2650596.6464 | 1224234.037
10 | 2650664.2041 | 1224221.5615
11 | 2650731.5917 | 1224226.4134
12 | 2650614.7504 | 1224280.1399
13 | 2650602.8243 | 1224273.5176
14 | 2650618.5962 | 1224282.2755
15 | 2650581.2029 | 1224261.5117
16 | 2650586.8222 | 1224251.5147
17 | 2650553.525 | 1224284.1685
18 | 2650579.3469 | 1224301.4761
19 | 2650586.9254 | 1224251.331
20 | 2650646.3909 | 1224203.1406
21 | 2650608.4283 | 1224179.7369
22 | 2650625.2355 | 1224189.8637
23 | 2650666.2453 | 1224219.1673
24 | 2650646.2718 | 1224075.6523
25 | 2650627.1387 | 1224061.3156
26 | 2650650.4288 | 1224078.7871
27 | 2650600.3924 | 1224041.3054
28 | 2650687.851 | 1224107.0186
29 | 2650615.1421 | 1223998.293
30 | 2650664.4538 | 1224165.4932
31 | 2650628.437 | 1224134.4581
32 | 2650707.2432 | 1224121.6482
33 | 2650629.7307 | 1224002.5684
34 | 2650734.8512 | 1224191.8198
35 | 2650741.3073 | 1224166.5036
36 | 2650733.0066 | 1224213.4285
37 | 2650709.2961 | 1224179.2011
38 | 2650749.2281 | 1224220.5271
39 | 2650773.3335 | 1224231.0756
40 | 2650674.258 | 1224166.517
41 | 2650754.788 | 1224172.2063
42 | 2650745.8994 | 1224150.8108
43 | 2650646.0896 | 1224014.5444
44 | 2650683.7202 | 1224035.4568
45 | 2650712.8867 | 1224062.4074
46 | 2650746.7774 | 1224086.9566
47 | 2650754.2511 | 1224103.6781
48 | 2650748.0762 | 1224087.81
49 | 2650763.3942 | 1224115.8605
50 | 2650781.2867 | 1224122.4366
51 | 2650786.1786 | 1224124.7125
52 | 2650764.5667 | 1224176.343
53 | 2650801.0859 | 1224131.6479
54 | 2650817.4375 | 1224139.2552
55 | 2650821.168 | 1224140.9907
56 | 2650780.528 | 1224183.0951
57 | 2650792.1825 | 1224188.0253
58 | 2650802.6416 | 1224192.4498
59 | 2650671.0966 | 1224135.131

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98145 | -0.35435 | 0.0014027 | 0.00035154
1 | 0.98137 | -0.356 | 0.0039747 | 0.00099616
2 | 0.98681 | -0.25083 | 0 | 0
3 | 0.97741 | -0.43319 | 0 | 0
4 | 0.98894 | -0.2099 | 0.011114 | 0.0027854
5 | 0.97633 | -0.45455 | 0 | 0
6 | 0.97671 | -0.44697 | 0.0068893 | 0.0017266
7 | 0.99073 | -0.17571 | 0.0044304 | 0.0011104
8 | 0.97495 | -0.48161 | 0.01215 | 0.003045
9 | 0.97533 | -0.47412 | 0 | 0
10 | 0.97628 | -0.45543 | 0.018239 | 0.004571
11 | 0.99124 | -0.16613 | 0 | 0
12 | 0.97409 | -0.49863 | 0.0039357 | 0.00098637
13 | 0.97421 | -0.49613 | 0.0039562 | 0.00099151
14 | 0.97406 | -0.49912 | 0.0060454 | 0.0015151
15 | 0.97453 | -0.4898 | 0 | 0
16 | 0.97479 | -0.48482 | 0.002707 | 0.00067844
17 | 0.97421 | -0.49618 | 0 | 0
18 | 0.97393 | -0.50176 | 0.0097076 | 0.002433
19 | 0.97479 | -0.48472 | 0.0028016 | 0.00070215
20 | 0.97377 | -0.50478 | 0 | 0
21 | 0.97306 | -0.5189 | 0.011052 | 0.0027699
22 | 0.97326 | -0.51491 | 0.010983 | 0.0027525
23 | 0.97627 | -0.45571 | 0.0049137 | 0.0012315
24 | 0.97153 | -0.54926 | 0.038052 | 0.0095368
25 | 0.97275 | -0.52523 | 0.01701 | 0.0042632
26 | 0.97145 | -0.55084 | 0 | 0
27 | 0.97498 | -0.48135 | 0 | 0
28 | 0.97073 | -0.56507 | 0.014058 | 0.0035233
29 | 0.97803 | -0.42152 | 0 | 0
30 | 0.97293 | -0.52129 | 0 | 0
31 | 0.97197 | -0.54039 | 0.021113 | 0.0052915
32 | 0.97068 | -0.56613 | 0.002365 | 0.00059272
33 | 0.97907 | -0.40136 | 0.013756 | 0.0034475
34 | 0.99276 | -0.13707 | 0 | 0
35 | 0.99117 | -0.16748 | 0 | 0
36 | 0.99178 | -0.15567 | 0 | 0
37 | 0.99583 | -0.078688 | 0.0093299 | 0.0023383
38 | 0.99162 | -0.15875 | 0.0066601 | 0.0016692
39 | 0.99155 | -0.16022 | 0.0031527 | 0.00079015
40 | 1 | 0 | -0.35976 | -0.092355
41 | 0.9909 | -0.17281 | 0.0041397 | 0.0010375
42 | 0.99028 | -0.18453 | 0 | 0
43 | 0.98068 | -0.36993 | 0.0074113 | 0.0018574
44 | 0.98259 | -0.33288 | 0.023343 | 0.0058503
45 | 0.98474 | -0.29131 | 0.017838 | 0.0044707
46 | 0.98647 | -0.25776 | 0 | 0
47 | 0.98739 | -0.24013 | 0.0029896 | 0.00074927
48 | 0.98645 | -0.25826 | 0.017945 | 0.0044975
49 | 0.98812 | -0.22609 | 0 | 0
50 | 0.98774 | -0.23349 | 0.0053288 | 0.0013355
51 | 0.98766 | -0.23505 | 0.0065665 | 0.0016457
52 | 0.99074 | -0.1759 | 0.0035025 | 0.00087782
53 | 0.98751 | -0.23786 | 0.0028756 | 0.0007207
54 | 0.9874 | -0.24003 | 0.0038093 | 0.00095469
55 | 0.98739 | -0.24024 | 0.0029022 | 0.00072736
56 | 0.99053 | -0.17988 | 0.004916 | 0.0012321
57 | 0.99044 | -0.18167 | 0.0037716 | 0.00094524
58 | 0.99039 | -0.18252 | 0.004214 | 0.0010561
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.11925 | 0.030182 | -0.11924 | -0.030176 | 9.3976e-06 | 6.0048e-06 | 0.1809 | 0.1809 | 0.1809 | 0.98145 | -0.35435 | 0.98137 | -0.356 | 49.6974
1 | -0.12065 | -0.030534 | 0.12125 | 0.030919 | 0.00060279 | 0.00038517 | 0.18302 | 0.18302 | 0.18302 | 0.98145 | -0.35435 | 0.98681 | -0.25083 | 50.2816
2 | 0.11526 | 0.02918 | -0.11484 | -0.028909 | 0.00042543 | 0.00027181 | 0.17487 | 0.17487 | 0.17487 | 0.98137 | -0.356 | 0.97741 | -0.43319 | 48.0417
3 | -0.12125 | -0.030919 | 0.12149 | 0.031072 | 0.00024011 | 0.00015269 | 0.18302 | 0.18302 | 0.18302 | 0.98681 | -0.25083 | 0.98894 | -0.2099 | 25.1408
4 | 0.084765 | 0.021361 | -0.084678 | -0.021306 | 8.6541e-05 | 5.5213e-05 | 0.12909 | 0.12909 | 0.12909 | 0.97741 | -0.43319 | 0.97633 | -0.45455 | 35.4638
5 | 0.030071 | 0.0075472 | -0.030051 | -0.0075349 | 1.9753e-05 | 1.2327e-05 | 0.045784 | 0.045784 | 0.045784 | 0.97741 | -0.43319 | 0.97671 | -0.44697 | 12.578
6 | -0.1326 | -0.033857 | 0.13282 | 0.033997 | 0.00021952 | 0.00013974 | 0.19975 | 0.19975 | 0.19975 | 0.98894 | -0.2099 | 0.99073 | -0.17571 | 27.4378
7 | 0.055466 | 0.013964 | -0.055394 | -0.013919 | 7.1635e-05 | 4.5513e-05 | 0.084558 | 0.084558 | 0.084558 | 0.97633 | -0.45455 | 0.97495 | -0.48161 | 23.2303
8 | 0.029212 | 0.007342 | -0.029185 | -0.007325 | 2.7262e-05 | 1.699e-05 | 0.04453 | 0.04453 | 0.04453 | 0.97633 | -0.45455 | 0.97533 | -0.47412 | 12.2336
9 | 0.023162 | 0.0058083 | -0.023152 | -0.0058025 | 9.3332e-06 | 5.7232e-06 | 0.035288 | 0.035288 | 0.035288 | 0.97671 | -0.44697 | 0.97628 | -0.45543 | 9.6945
10 | -0.13725 | -0.035107 | 0.13732 | 0.035148 | 6.3675e-05 | 4.029e-05 | 0.2064 | 0.2064 | 0.2064 | 0.99073 | -0.17571 | 0.99124 | -0.16613 | 18.9012
11 | 0.043244 | 0.010874 | -0.043197 | -0.010843 | 4.7797e-05 | 3.0226e-05 | 0.066015 | 0.066015 | 0.066015 | 0.97495 | -0.48161 | 0.97377 | -0.50478 | 18.1359
12 | 0.029185 | 0.007325 | -0.02917 | -0.0073158 | 1.4752e-05 | 9.1939e-06 | 0.04453 | 0.04453 | 0.04453 | 0.97533 | -0.47412 | 0.97479 | -0.48472 | 12.2336
13 | 0.0049138 | 0.0012315 | -0.0049137 | -0.0012315 | 6.618e-08 | 3.0136e-09 | 0.0074894 | 0.0074895 | 0.0074895 | 0.97628 | -0.45543 | 0.97627 | -0.45571 | 2.0575
14 | -0.13732 | -0.035148 | 0.13739 | 0.035192 | 6.9568e-05 | 4.4018e-05 | 0.2064 | 0.2064 | 0.2064 | 0.99124 | -0.16613 | 0.99178 | -0.15567 | 18.9012
15 | -0.0099813 | -0.0025015 | 0.0099825 | 0.0025021 | 1.1893e-06 | 5.913e-07 | 0.015247 | 0.015247 | 0.015247 | 0.97409 | -0.49863 | 0.97421 | -0.49613 | 4.1888
16 | 0.0060456 | 0.0015152 | -0.0060454 | -0.0015151 | 1.407e-07 | 3.5287e-08 | 0.0092352 | 0.0092353 | 0.0092353 | 0.97409 | -0.49863 | 0.97406 | -0.49912 | 2.5372
17 | -0.013939 | -0.0034936 | 0.013943 | 0.003496 | 4.2036e-06 | 2.3823e-06 | 0.02129 | 0.02129 | 0.02129 | 0.97421 | -0.49613 | 0.97453 | -0.4898 | 5.8489
18 | -0.023656 | -0.0059317 | 0.023662 | 0.0059351 | 5.6111e-06 | 3.4482e-06 | 0.036121 | 0.036121 | 0.036121 | 0.97453 | -0.4898 | 0.97479 | -0.48482 | 9.9234
19 | 0.0097131 | 0.0024357 | -0.0097102 | -0.0024342 | 2.9506e-06 | 1.4428e-06 | 0.014831 | 0.014832 | 0.014832 | 0.97453 | -0.4898 | 0.97421 | -0.49618 | 4.0746
20 | -0.026369 | -0.0066136 | 0.026369 | 0.0066137 | 1.2807e-07 | 7.9339e-08 | 0.040254 | 0.040254 | 0.040254 | 0.97479 | -0.48482 | 0.97479 | -0.48472 | 11.0587
21 | 0.0097102 | 0.0024342 | -0.0097076 | -0.002433 | 2.5849e-06 | 1.2643e-06 | 0.014832 | 0.014832 | 0.014832 | 0.97421 | -0.49618 | 0.97393 | -0.50176 | 4.0747
22 | 0.022047 | 0.00553 | -0.022037 | -0.0055235 | 1.0645e-05 | 6.5021e-06 | 0.033692 | 0.033692 | 0.033692 | 0.97377 | -0.50478 | 0.97326 | -0.51491 | 9.2561
23 | 0.021149 | 0.0053133 | -0.021133 | -0.0053032 | 1.6654e-05 | 1.013e-05 | 0.032323 | 0.032323 | 0.032323 | 0.97377 | -0.50478 | 0.97293 | -0.52129 | 8.8799
24 | -0.011052 | -0.0027699 | 0.011054 | 0.002771 | 2.1019e-06 | 1.1014e-06 | 0.016901 | 0.016901 | 0.016901 | 0.97306 | -0.5189 | 0.97326 | -0.51491 | 4.6432
25 | -0.054488 | -0.01366 | 0.054551 | 0.0137 | 6.2446e-05 | 3.9669e-05 | 0.083457 | 0.083457 | 0.083457 | 0.97153 | -0.54926 | 0.97275 | -0.52523 | 22.9277
26 | 0.016436 | 0.0041231 | -0.016435 | -0.0041224 | 1.2374e-06 | 7.2747e-07 | 0.025175 | 0.025175 | 0.025175 | 0.97153 | -0.54926 | 0.97145 | -0.55084 | 6.9162
27 | -0.071561 | -0.017963 | 0.071711 | 0.018058 | 0.00015013 | 9.5667e-05 | 0.10948 | 0.10948 | 0.10948 | 0.97275 | -0.52523 | 0.97498 | -0.48135 | 30.0762
28 | 0.016435 | 0.0041224 | -0.016423 | -0.0041158 | 1.1141e-05 | 6.5503e-06 | 0.025175 | 0.025175 | 0.025175 | 0.97145 | -0.55084 | 0.97073 | -0.56507 | 6.9162
29 | -0.071711 | -0.018058 | 0.071917 | 0.01819 | 0.00020579 | 0.00013113 | 0.10948 | 0.10948 | 0.10948 | 0.97498 | -0.48135 | 0.97803 | -0.42152 | 30.0761
30 | 0.0023651 | 0.0005925 | -0.002365 | -0.00059272 | 1.1973e-07 | -2.2367e-07 | 0.0036253 | 0.0036254 | 0.0036254 | 0.97073 | -0.56507 | 0.97068 | -0.56613 | 0.996
31 | -0.071917 | -0.01819 | 0.071987 | 0.018234 | 6.9612e-05 | 4.4357e-05 | 0.10948 | 0.10948 | 0.10948 | 0.97803 | -0.42152 | 0.97907 | -0.40136 | 30.0761
32 | 0.021133 | 0.0053032 | -0.021113 | -0.0052915 | 1.9235e-05 | 1.1701e-05 | 0.032323 | 0.032323 | 0.032323 | 0.97293 | -0.52129 | 0.97197 | -0.54039 | 8.88
33 | -0.085742 | -0.021682 | 0.085872 | 0.021764 | 0.00012948 | 8.261e-05 | 0.13038 | 0.13038 | 0.13038 | 0.97907 | -0.40136 | 0.98068 | -0.36993 | 35.8196
34 | 0.1991 | 0.050781 | -0.1988 | -0.050595 | 0.00029184 | 0.00018577 | 0.29873 | 0.29873 | 0.29873 | 0.99276 | -0.13707 | 0.99117 | -0.16748 | 27.3565
35 | 0.14734 | 0.037736 | -0.1472 | -0.037652 | 0.00013263 | 8.4039e-05 | 0.22113 | 0.22113 | 0.22113 | 0.99276 | -0.13707 | 0.99178 | -0.15567 | 20.2496
36 | -0.34643 | -0.088517 | 0.34741 | 0.089143 | 0.00098108 | 0.00062676 | 0.51986 | 0.51986 | 0.51986 | 0.99276 | -0.13707 | 0.99583 | -0.078688 | 47.6061
37 | 0.020555 | 0.0051549 | -0.020549 | -0.0051517 | 5.2272e-06 | 3.1568e-06 | 0.030859 | 0.030859 | 0.030859 | 0.99117 | -0.16748 | 0.9909 | -0.17281 | 8.4779
38 | 0.17825 | 0.04544 | -0.1781 | -0.045347 | 0.00014665 | 9.3226e-05 | 0.26787 | 0.26787 | 0.26787 | 0.99117 | -0.16748 | 0.99028 | -0.18453 | 24.5306
39 | 0.0098145 | 0.0024598 | -0.0098131 | -0.0024591 | 1.4398e-06 | 6.9299e-07 | 0.014725 | 0.014725 | 0.014725 | 0.99178 | -0.15567 | 0.99162 | -0.15875 | 4.0454
40 | -0.35674 | -0.091482 | 0.35811 | 0.092355 | 0.001367 | 0.00087339 | 0.5338 | 0.5338 | 0.5338 | 0.99583 | -0.078688 | 1 | 0 | 48.8827
41 | 0.003153 | 0.00078995 | -0.0031527 | -0.00079015 | 2.2087e-07 | -1.9806e-07 | 0.0047312 | 0.0047313 | 0.0047313 | 0.99162 | -0.15875 | 0.99155 | -0.16022 | 1.2998
42 | 0.01641 | 0.0041142 | -0.016407 | -0.0041128 | 2.4179e-06 | 1.4107e-06 | 0.024643 | 0.024643 | 0.024643 | 0.9909 | -0.17281 | 0.99074 | -0.1759 | 6.77
43 | 0.1781 | 0.045347 | -0.17775 | -0.045121 | 0.00035609 | 0.00022637 | 0.26787 | 0.26787 | 0.26787 | 0.99028 | -0.18453 | 0.98812 | -0.22609 | 24.5307
44 | -0.093283 | -0.023622 | 0.093449 | 0.023727 | 0.00016629 | 0.00010531 | 0.14163 | 0.14163 | 0.14163 | 0.98068 | -0.36993 | 0.98259 | -0.33288 | 19.4545
45 | -0.11679 | -0.029577 | 0.11703 | 0.029726 | 0.00023367 | 0.00014854 | 0.17698 | 0.17698 | 0.17698 | 0.98259 | -0.33288 | 0.98474 | -0.29131 | 24.3102
46 | -0.13486 | -0.034196 | 0.13508 | 0.034334 | 0.00021786 | 0.00013783 | 0.20393 | 0.20393 | 0.20393 | 0.98474 | -0.29131 | 0.98647 | -0.25776 | 18.6752
47 | -0.15303 | -0.038832 | 0.15316 | 0.038914 | 0.00012991 | 8.2398e-05 | 0.231 | 0.231 | 0.231 | 0.98647 | -0.25776 | 0.98739 | -0.24013 | 21.154
48 | 0.017946 | 0.0044978 | -0.017945 | -0.0044975 | 4.2705e-07 | 2.5347e-07 | 0.02707 | 0.02707 | 0.02707 | 0.98647 | -0.25776 | 0.98645 | -0.25826 | 7.4368
49 | -0.15615 | -0.039664 | 0.15625 | 0.039731 | 0.0001056 | 6.7e-05 | 0.23551 | 0.23551 | 0.23551 | 0.98739 | -0.24013 | 0.98812 | -0.22609 | 21.5666
50 | 0.021493 | 0.0053901 | -0.021486 | -0.0053855 | 7.5806e-06 | 4.6046e-06 | 0.032368 | 0.032368 | 0.032368 | 0.98812 | -0.22609 | 0.98774 | -0.23349 | 8.8924
51 | 0.016157 | 0.00405 | -0.016156 | -0.0040493 | 1.1987e-06 | 6.9811e-07 | 0.02434 | 0.02434 | 0.02434 | 0.98774 | -0.23349 | 0.98766 | -0.23505 | 6.6869
52 | 0.0095891 | 0.0024035 | -0.0095878 | -0.0024029 | 1.2869e-06 | 6.1323e-07 | 0.014447 | 0.014447 | 0.014447 | 0.98766 | -0.23505 | 0.98751 | -0.23786 | 3.969
53 | 0.012905 | 0.003235 | -0.012902 | -0.0032337 | 2.4415e-06 | 1.3395e-06 | 0.019382 | 0.019382 | 0.019382 | 0.99074 | -0.1759 | 0.99053 | -0.17988 | 5.3249
54 | 0.0067122 | 0.0016822 | -0.0067115 | -0.001682 | 6.9183e-07 | 2.1207e-07 | 0.010114 | 0.010114 | 0.010114 | 0.98751 | -0.23786 | 0.9874 | -0.24003 | 2.7786
55 | 0.0029022 | 0.00072733 | -0.0029022 | -0.00072736 | 2.9514e-08 | -3.3737e-08 | 0.0043737 | 0.0043737 | 0.0043737 | 0.9874 | -0.24003 | 0.98739 | -0.24024 | 1.2016
56 | 0.0079864 | 0.0020016 | -0.0079857 | -0.0020013 | 6.8305e-07 | 2.7428e-07 | 0.011997 | 0.011998 | 0.011998 | 0.99053 | -0.17988 | 0.99044 | -0.18167 | 3.296
57 | 0.0042141 | 0.0010561 | -0.004214 | -0.0010561 | 1.7071e-07 | -3.6894e-08 | 0.0063312 | 0.0063313 | 0.0063313 | 0.99044 | -0.18167 | 0.99039 | -0.18252 | 1.7394

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3737 | 0.095848

## res_load
| p_mw | q_mvar
0 | 0.0014027 | 0.00035154
1 | 0.0039747 | 0.00099616
2 | 0.011114 | 0.0027854
3 | 0.0068893 | 0.0017266
4 | 0.0044304 | 0.0011104
5 | 0.01215 | 0.003045
6 | 0.018239 | 0.004571
7 | 0.0039357 | 0.00098637
8 | 0.0039562 | 0.00099151
9 | 0.0060454 | 0.0015151
10 | 0.002707 | 0.00067844
11 | 0.0097076 | 0.002433
12 | 0.0028016 | 0.00070215
13 | 0.011052 | 0.0027699
14 | 0.010983 | 0.0027525
15 | 0.0049137 | 0.0012315
16 | 0.038052 | 0.0095368
17 | 0.01701 | 0.0042632
18 | 0.014058 | 0.0035233
19 | 0.021113 | 0.0052915
20 | 0.002365 | 0.00059272
21 | 0.013756 | 0.0034475
22 | 0.0093299 | 0.0023383
23 | 0.0066601 | 0.0016692
24 | 0.0031527 | 0.00079015
25 | 0.013937 | 0.003493
26 | 0.0041397 | 0.0010375
27 | 0.0074113 | 0.0018574
28 | 0.023343 | 0.0058503
29 | 0.017838 | 0.0044707
30 | 0.0029896 | 0.00074927
31 | 0.017945 | 0.0044975
32 | 0.0053288 | 0.0013355
33 | 0.0065665 | 0.0016457
34 | 0.0035025 | 0.00087782
35 | 0.0028756 | 0.0007207
36 | 0.0038093 | 0.00095469
37 | 0.0029022 | 0.00072736
38 | 0.004916 | 0.0012321
39 | 0.0037716 | 0.00094524
40 | 0.004214 | 0.0010561

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1