## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1103-32_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1103-32_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1103-32_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1103-32_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1103-32_0_6_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1103-32_0_6_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_1103-32_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1103-32_0_6_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_1103-32_0_6_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1103-32_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1103-32_0_6_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_1103-32_0_6_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_1103-32_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1103-32_0_6_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1103-32_0_6_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_1103-32_0_6_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_1103-32_0_6_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_1103-32_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1103-32_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1103-32_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1103-32_0_6_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1103-32_0_6_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_1103-32_0_6_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1103-32_0_6_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_1103-32_0_6_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_1103-32_0_6_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1103-32_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1103-32_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1103-32_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1103-32_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1103-32_0_6_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_1103-32_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1103-32_0_6_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_1103-32_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1103-32_0_6_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_1103-32_0_6_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_1103-32_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1103-32_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1103-32_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1103-32_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1103-32_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1103-32_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1103-32_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1103-32_0_6_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1103-32_0_6_node_48 | 0.4 | n |  | TRUE
45 | bus_MV_471_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1103-32_0_6_load_0 | 0 | 0.003141 | 0.00078721 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1103-32_0_6_load_3 | 2 | 0.0014966 | 0.00037508 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1103-32_0_6_load_4 | 3 | 0.030621 | 0.0076744 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1103-32_0_6_load_14 | 4 | 0.0015436 | 0.00038687 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1103-32_0_6_load_29 | 5 | 0.027044 | 0.0067779 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1103-32_0_6_load_36 | 7 | 0.006311 | 0.0015817 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1103-32_0_6_load_32 | 8 | 0.017176 | 0.0043048 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1103-32_0_6_load_37 | 11 | 0.0049996 | 0.001253 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1103-32_0_6_load_12 | 12 | 0.0011684 | 0.00029283 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1103-32_0_6_load_46 | 14 | 0.0098586 | 0.0024708 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1103-32_0_6_load_51 | 16 | 0.0046974 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1103-32_0_6_load_13 | 17 | 0.0088259 | 0.002212 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1103-32_0_6_load_10 | 18 | 0.0025829 | 0.00064735 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1103-32_0_6_load_11 | 19 | 0.0022511 | 0.00056417 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1103-32_0_6_load_35 | 20 | 0.0051187 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1103-32_0_6_load_33 | 22 | 0.0035576 | 0.00089163 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1103-32_0_6_load_50 | 23 | 0.0027054 | 0.00067804 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1103-32_0_6_load_49 | 24 | 0.010041 | 0.0025166 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1103-32_0_6_load_30 | 25 | 0.0055312 | 0.0013863 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1103-32_0_6_load_34 | 26 | 0.0036517 | 0.0009152 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1103-32_0_6_load_15 | 27 | 0.02936 | 0.0073584 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1103-32_0_6_load_38 | 30 | 0.019417 | 0.0048664 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1103-32_0_6_load_23 | 31 | 0.049536 | 0.012415 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1103-32_0_6_load_39 | 32 | 0.0039819 | 0.00099795 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1103-32_0_6_load_21 | 33 | 0.037717 | 0.0094527 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1103-32_0_6_load_47 | 34 | 0.08028 | 0.02012 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1103-32_0_6_load_22 | 36 | 0.030791 | 0.0077169 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1103-32_0_6_load_26 | 37 | 0.042268 | 0.010593 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1103-32_0_6_load_25 | 38 | 0.018532 | 0.0046445 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1103-32_0_6_load_27 | 39 | 0.053641 | 0.013444 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1103-32_0_6_load_28 | 40 | 0.017983 | 0.0045069 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1103-32_0_6_load_41 | 41 | 0.0042356 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1103-32_0_6_load_42 | 42 | 0.019054 | 0.0047753 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1103-32_0_6_load_43 | 43 | 0.0043203 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1103-32_0_6_load_48 | 44 | 0.043748 | 0.010964 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1103-32_0_6_line_0 |  | 0 | 1 | 0.026649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1103-32_0_6_line_1 |  | 1 | 2 | 0.0039044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1103-32_0_6_line_2 |  | 1 | 3 | 0.019709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1103-32_0_6_line_3 |  | 2 | 4 | 0.0047123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1103-32_0_6_line_4 |  | 3 | 5 | 0.0011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1103-32_0_6_line_5 |  | 4 | 12 | 0.004214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1103-32_0_6_line_6 |  | 5 | 13 | 0.015169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1103-32_0_6_line_7 |  | 6 | 7 | 0.015908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1103-32_0_6_line_8 |  | 6 | 8 | 0.0093016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1103-32_0_6_line_9 |  | 7 | 16 | 0.01185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1103-32_0_6_line_10 |  | 8 | 22 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1103-32_0_6_line_11 |  | 9 | 10 | 0.004695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1103-32_0_6_line_12 |  | 9 | 11 | 0.020656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1103-32_0_6_line_13 |  | 10 | 25 | 0.010033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1103-32_0_6_line_14 |  | 10 | 17 | 0.015592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1103-32_0_6_line_15 |  | 11 | 26 | 0.004121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1103-32_0_6_line_16 |  | 12 | 19 | 0.0053232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1103-32_0_6_line_17 |  | 13 | 37 | 0.0074736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1103-32_0_6_line_18 |  | 13 | 36 | 0.0078374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1103-32_0_6_line_19 |  | 14 | 15 | 0.017931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1103-32_0_6_line_20 |  | 15 | 35 | 0.017636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1103-32_0_6_line_21 |  | 15 | 43 | 0.014668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1103-32_0_6_line_22 |  | 18 | 19 | 0.0097201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1103-32_0_6_line_23 |  | 20 | 21 | 0.0040658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1103-32_0_6_line_24 |  | 21 | 41 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1103-32_0_6_line_25 |  | 21 | 32 | 0.0012252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1103-32_0_6_line_26 |  | 22 | 26 | 0.0011061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1103-32_0_6_line_27 |  | 23 | 24 | 0.0085578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1103-32_0_6_line_28 |  | 24 | 44 | 0.0097272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1103-32_0_6_line_29 |  | 25 | 40 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1103-32_0_6_line_30 |  | 27 | 28 | 0.016098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1103-32_0_6_line_31 |  | 28 | 29 | 0.00664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1103-32_0_6_line_32 |  | 29 | 30 | 0.013307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1103-32_0_6_line_33 |  | 29 | 31 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1103-32_0_6_line_34 |  | 30 | 32 | 0.010373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1103-32_0_6_line_35 |  | 31 | 33 | 0.0055527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1103-32_0_6_line_36 |  | 33 | 36 | 0.00058289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1103-32_0_6_line_37 |  | 34 | 35 | 0.0049316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1103-32_0_6_line_38 |  | 35 | 44 | 0.0023408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1103-32_0_6_line_39 |  | 37 | 38 | 0.0088426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1103-32_0_6_line_40 |  | 38 | 39 | 0.00097392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1103-32_0_6_line_41 |  | 39 | 40 | 0.0049447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1103-32_0_6_line_42 |  | 41 | 42 | 0.005079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1103-32_0_6_line_43 |  | 42 | 43 | 0.0066346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1103-32_0_6_trafo_23 | 0.63 MVA 20/0.4 kV | 45 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2650759.0852 | 1224897.6627 | 2650749.7836 | 1224894.0257 | 2650747.1853 | 1224893.77 | 2650745.0315 | 1224894.7412 | 2650743.3175 | 1224896.5944 | 2650739.1655 | 1224904.7635
1 | 2650759.0852 | 1224897.6627 | 2650762.4348 | 1224899.6689
2 | 2650759.0852 | 1224897.6627 | 2650768.84 | 1224880.5373
3 | 2650762.4348 | 1224899.6689 | 2650766.4776 | 1224902.0901
4 | 2650768.84 | 1224880.5373 | 2650769.3873 | 1224879.5763
5 | 2650770.0928 | 1224904.2553 | 2650766.4776 | 1224902.0901
6 | 2650776.8953 | 1224866.3952 | 2650769.3873 | 1224879.5763
7 | 2650846.8165 | 1224843.5998 | 2650843.4824 | 1224828.0447
8 | 2650846.8165 | 1224843.5998 | 2650840.911 | 1224850.7862
9 | 2650840.9989 | 1224816.4581 | 2650843.4824 | 1224828.0447
10 | 2650840.911 | 1224850.7862 | 2650832.1915 | 1224861.3971 | 2650832.1915 | 1224861.3971
11 | 2650821.4348 | 1224884.3195 | 2650817.5457 | 1224886.9658
12 | 2650821.4348 | 1224884.3195 | 2650822.2411 | 1224876.9107 | 2650829.3694 | 1224865.797
13 | 2650817.5457 | 1224886.9658 | 2650811.6297 | 1224881.0449 | 2650810.124 | 1224880.3388
14 | 2650817.5457 | 1224886.9658 | 2650813.858 | 1224891.7817 | 2650811.7616 | 1224897.5674 | 2650811.1873 | 1224900.8911
15 | 2650831.5943 | 1224862.3282 | 2650829.3694 | 1224865.797
16 | 2650774.6595 | 1224906.9904 | 2650770.0928 | 1224904.2553
17 | 2650776.8953 | 1224866.3952 | 2650783.8956 | 1224869.0126
18 | 2650776.8953 | 1224866.3952 | 2650779.3676 | 1224861.869 | 2650780.1291 | 1224859.2995
19 | 2650806.8355 | 1224804.9792 | 2650816.1101 | 1224800.2554 | 2650823.1091 | 1224797.4978
20 | 2650790.5152 | 1224811.7775 | 2650806.8355 | 1224804.9792
21 | 2650806.8355 | 1224804.9792 | 2650807.1758 | 1224819.6433
22 | 2650782.9985 | 1224911.9847 | 2650774.6595 | 1224906.9904
23 | 2650807.7168 | 1224842.9546 | 2650811.7821 | 1224843.0217
24 | 2650807.7168 | 1224842.9546 | 2650807.4476 | 1224831.3537
25 | 2650807.7168 | 1224842.9546 | 2650806.4925 | 1224842.9078
26 | 2650832.1915 | 1224861.3971 | 2650831.5943 | 1224862.3282
27 | 2650805.766 | 1224797.891 | 2650799.4383 | 1224803.6526
28 | 2650792.246 | 1224810.2016 | 2650799.4383 | 1224803.6526
29 | 2650797.6025 | 1224874.4662 | 2650810.124 | 1224880.3388
30 | 2650776.391 | 1224839.3075 | 2650760.4028 | 1224841.1861
31 | 2650776.391 | 1224839.3075 | 2650783.011 | 1224840.031
32 | 2650783.011 | 1224840.031 | 2650796.1779 | 1224841.9538
33 | 2650783.011 | 1224840.031 | 2650781.2621 | 1224853.2869
34 | 2650796.1779 | 1224841.9538 | 2650801.3656 | 1224842.7114 | 2650806.4925 | 1224842.9078
35 | 2650781.2621 | 1224853.2869 | 2650780.7415 | 1224857.2334 | 2650780.2948 | 1224858.7406
36 | 2650780.1291 | 1224859.2995 | 2650780.2948 | 1224858.7406
37 | 2650790.5152 | 1224811.7775 | 2650786.0051 | 1224813.7726
38 | 2650790.5152 | 1224811.7775 | 2650792.246 | 1224810.2016
39 | 2650783.8956 | 1224869.0126 | 2650792.1781 | 1224872.1095
40 | 2650793.0904 | 1224872.4506 | 2650792.1781 | 1224872.1095
41 | 2650797.6025 | 1224874.4662 | 2650794.1487 | 1224872.8463 | 2650793.0904 | 1224872.4506
42 | 2650807.4476 | 1224831.3537 | 2650807.3298 | 1224826.2761
43 | 2650807.1758 | 1224819.6433 | 2650807.3298 | 1224826.2761

## bus_geodata
| x | y | coords
0 | 2650739.1655 | 1224904.7635
1 | 2650759.0852 | 1224897.6627
2 | 2650762.4348 | 1224899.6689
3 | 2650768.84 | 1224880.5373
4 | 2650766.4776 | 1224902.0901
5 | 2650769.3873 | 1224879.5763
6 | 2650846.8165 | 1224843.5998
7 | 2650843.4824 | 1224828.0447
8 | 2650840.911 | 1224850.7862
9 | 2650821.4348 | 1224884.3195
10 | 2650817.5457 | 1224886.9658
11 | 2650829.3694 | 1224865.797
12 | 2650770.0928 | 1224904.2553
13 | 2650776.8953 | 1224866.3952
14 | 2650823.1091 | 1224797.4978
15 | 2650806.8355 | 1224804.9792
16 | 2650840.9989 | 1224816.4581
17 | 2650811.1873 | 1224900.8911
18 | 2650782.9985 | 1224911.9847
19 | 2650774.6595 | 1224906.9904
20 | 2650811.782 | 1224843.0217
21 | 2650807.7168 | 1224842.9546
22 | 2650832.1915 | 1224861.3971
23 | 2650805.766 | 1224797.891
24 | 2650799.4383 | 1224803.6526
25 | 2650810.124 | 1224880.3388
26 | 2650831.5943 | 1224862.3282
27 | 2650760.4028 | 1224841.1861
28 | 2650776.391 | 1224839.3075
29 | 2650783.011 | 1224840.031
30 | 2650796.1779 | 1224841.9538
31 | 2650781.2621 | 1224853.2869
32 | 2650806.4925 | 1224842.9078
33 | 2650780.2948 | 1224858.7406
34 | 2650786.0051 | 1224813.7726
35 | 2650790.5152 | 1224811.7775
36 | 2650780.1291 | 1224859.2995
37 | 2650783.8956 | 1224869.0126
38 | 2650792.1781 | 1224872.1095
39 | 2650793.0904 | 1224872.4506
40 | 2650797.6025 | 1224874.4662
41 | 2650807.4476 | 1224831.3537
42 | 2650807.3298 | 1224826.2761
43 | 2650807.1758 | 1224819.6433
44 | 2650792.246 | 1224810.2016
45 | 2650783.011 | 1224840.031

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99749 | -0.04824 | 0.003141 | 0.00078721
1 | 0.99757 | -0.046774 | 0 | 0
2 | 0.99753 | -0.047392 | 0.0014966 | 0.00037508
3 | 0.99779 | -0.042568 | 0.030621 | 0.0076744
4 | 0.9975 | -0.048015 | 0.0015436 | 0.00038687
5 | 0.99783 | -0.041739 | 0.027044 | 0.0067779
6 | 0.99466 | -0.10278 | 0 | 0
7 | 0.9945 | -0.10586 | 0.006311 | 0.0015817
8 | 0.99475 | -0.10097 | 0.017176 | 0.0043048
9 | 0.99603 | -0.076303 | 0 | 0
10 | 0.9962 | -0.072971 | 0 | 0
11 | 0.99527 | -0.090974 | 0.0049996 | 0.001253
12 | 0.99748 | -0.048458 | 0.0011684 | 0.00029283
13 | 0.99879 | -0.023208 | 0 | 0
14 | 0.99527 | -0.090873 | 0.0098586 | 0.0024708
15 | 0.99543 | -0.087763 | 0 | 0
16 | 0.99445 | -0.10685 | 0.0046974 | 0.0011773
17 | 0.99608 | -0.075389 | 0.0088259 | 0.002212
18 | 0.99743 | -0.049349 | 0.0025829 | 0.00064735
19 | 0.99746 | -0.048909 | 0.0022511 | 0.00056417
20 | 0.99757 | -0.04651 | 0.0051187 | 0.0012829
21 | 0.99759 | -0.046146 | 0 | 0
22 | 0.99511 | -0.094158 | 0.0035576 | 0.00089163
23 | 0.99297 | -0.13522 | 0.0027054 | 0.00067804
24 | 0.99299 | -0.13482 | 0.010041 | 0.0025166
25 | 0.99665 | -0.064302 | 0.0055312 | 0.0013863
26 | 0.99514 | -0.09354 | 0.0036517 | 0.0009152
27 | 0.99845 | -0.029714 | 0.02936 | 0.0073584
28 | 0.99888 | -0.021454 | 0 | 0
29 | 0.99906 | -0.018049 | 0 | 0
30 | 0.99824 | -0.033768 | 0.019417 | 0.0048664
31 | 1 | 0 | -0.56109 | -0.1409
32 | 0.99766 | -0.044863 | 0.0039819 | 0.00099795
33 | 0.99945 | -0.010508 | 0.037717 | 0.0094527
34 | 0.99286 | -0.13728 | 0.08028 | 0.02012
35 | 0.99322 | -0.13029 | 0 | 0
36 | 0.9994 | -0.011483 | 0.030791 | 0.0077169
37 | 0.99837 | -0.031359 | 0.042268 | 0.010593
38 | 0.99778 | -0.042569 | 0.018532 | 0.0046445
39 | 0.99767 | -0.044724 | 0.053641 | 0.013444
40 | 0.99734 | -0.051024 | 0.017983 | 0.0045069
41 | 0.99698 | -0.057957 | 0.0042356 | 0.0010615
42 | 0.99671 | -0.063006 | 0.019054 | 0.0047753
43 | 0.99641 | -0.068865 | 0.0043203 | 0.0010828
44 | 0.9931 | -0.13262 | 0.043748 | 0.010964
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.003141 | -0.00078721 | 0.0031412 | 0.00078701 | 2.194e-07 | -2.0747e-07 | 0.0046856 | 0.0046855 | 0.0046856 | 0.99749 | -0.04824 | 0.99757 | -0.046774 | 1.2873
1 | 0.0090434 | 0.0022664 | -0.0090431 | -0.0022663 | 2.6643e-07 | 1.1954e-07 | 0.01349 | 0.01349 | 0.01349 | 0.99757 | -0.046774 | 0.99753 | -0.047392 | 3.7059
2 | -0.012185 | -0.0030534 | 0.012187 | 0.0030547 | 2.4414e-06 | 1.3051e-06 | 0.018175 | 0.018175 | 0.018175 | 0.99757 | -0.046774 | 0.99779 | -0.042568 | 4.9931
3 | 0.0075466 | 0.0018912 | -0.0075463 | -0.0018912 | 2.2393e-07 | 8.1802e-08 | 0.011257 | 0.011257 | 0.011257 | 0.99753 | -0.047392 | 0.9975 | -0.048015 | 3.0926
4 | -0.042808 | -0.010729 | 0.04281 | 0.01073 | 1.6902e-06 | 1.0673e-06 | 0.063841 | 0.063841 | 0.063841 | 0.99779 | -0.042568 | 0.99783 | -0.041739 | 17.5387
5 | 0.0060027 | 0.0015043 | -0.0060026 | -0.0015043 | 1.2671e-07 | 2.6085e-08 | 0.0089544 | 0.0089545 | 0.0089545 | 0.9975 | -0.048015 | 0.99748 | -0.048458 | 2.46
6 | -0.069854 | -0.017508 | 0.069916 | 0.017547 | 6.1729e-05 | 3.9308e-05 | 0.10417 | 0.10417 | 0.10417 | 0.99783 | -0.041739 | 0.99879 | -0.023208 | 28.6183
7 | 0.01101 | 0.0027598 | -0.011009 | -0.002759 | 1.6186e-06 | 8.2943e-07 | 0.016472 | 0.016472 | 0.016472 | 0.99466 | -0.10278 | 0.9945 | -0.10586 | 4.5252
8 | -0.01101 | -0.0027598 | 0.011011 | 0.0027603 | 9.4635e-07 | 4.8492e-07 | 0.016472 | 0.016471 | 0.016472 | 0.99466 | -0.10278 | 0.99475 | -0.10097 | 4.5251
9 | 0.0046976 | 0.0011773 | -0.0046974 | -0.0011773 | 2.1954e-07 | -1.3244e-08 | 0.0070288 | 0.0070288 | 0.0070288 | 0.9945 | -0.10586 | 0.99445 | -0.10685 | 1.931
10 | -0.028187 | -0.0070651 | 0.028197 | 0.0070707 | 9.1564e-06 | 5.6818e-06 | 0.042165 | 0.042165 | 0.042165 | 0.99475 | -0.10097 | 0.99511 | -0.094158 | 11.5837
11 | -0.040439 | -0.010152 | 0.040445 | 0.010156 | 6.4272e-06 | 4.0523e-06 | 0.06042 | 0.06042 | 0.06042 | 0.99603 | -0.076303 | 0.9962 | -0.072971 | 16.5988
12 | 0.040439 | 0.010152 | -0.040411 | -0.010134 | 2.8277e-05 | 1.7829e-05 | 0.06042 | 0.06042 | 0.06042 | 0.99603 | -0.076303 | 0.99527 | -0.090974 | 16.5988
13 | -0.049272 | -0.012368 | 0.049293 | 0.012381 | 2.0383e-05 | 1.2914e-05 | 0.073604 | 0.073604 | 0.073604 | 0.9962 | -0.072971 | 0.99665 | -0.064302 | 20.221
14 | 0.008827 | 0.0022124 | -0.0088259 | -0.002212 | 1.0165e-06 | 4.4755e-07 | 0.013185 | 0.013185 | 0.013185 | 0.9962 | -0.072971 | 0.99608 | -0.075389 | 3.6222
15 | 0.035411 | 0.0088809 | -0.035407 | -0.0088781 | 4.3319e-06 | 2.7189e-06 | 0.052945 | 0.052945 | 0.052945 | 0.99527 | -0.090974 | 0.99514 | -0.09354 | 14.5453
16 | 0.0048342 | 0.0012114 | -0.0048341 | -0.0012114 | 1.0381e-07 | -3.0433e-09 | 0.0072114 | 0.0072115 | 0.0072115 | 0.99748 | -0.048458 | 0.99746 | -0.048909 | 1.9812
17 | 0.18747 | 0.047096 | -0.18739 | -0.04705 | 7.2892e-05 | 4.6358e-05 | 0.27933 | 0.27933 | 0.27933 | 0.99879 | -0.023208 | 0.99837 | -0.031359 | 25.5798
18 | -0.25738 | -0.064643 | 0.25753 | 0.064735 | 0.00014408 | 9.1906e-05 | 0.3835 | 0.3835 | 0.3835 | 0.99879 | -0.023208 | 0.9994 | -0.011483 | 35.1193
19 | -0.0098586 | -0.0024708 | 0.0098601 | 0.0024715 | 1.4608e-06 | 7.0188e-07 | 0.01474 | 0.014739 | 0.01474 | 0.99527 | -0.090873 | 0.99543 | -0.087763 | 4.0493
20 | 0.13709 | 0.034478 | -0.13681 | -0.034301 | 0.00027785 | 0.00017759 | 0.20497 | 0.20497 | 0.20497 | 0.99543 | -0.087763 | 0.99322 | -0.13029 | 56.3099
21 | -0.14695 | -0.03695 | 0.14708 | 0.037034 | 0.00013276 | 8.4584e-05 | 0.21971 | 0.21971 | 0.21971 | 0.99543 | -0.087763 | 0.99641 | -0.068865 | 30.1796
22 | -0.0025829 | -0.00064735 | 0.002583 | 0.00064725 | 5.4122e-08 | -9.2232e-08 | 0.0038534 | 0.0038533 | 0.0038534 | 0.99743 | -0.049349 | 0.99746 | -0.048909 | 1.0586
23 | -0.0051187 | -0.0012829 | 0.0051188 | 0.0012829 | 8.8884e-08 | 3.8031e-09 | 0.0076353 | 0.0076352 | 0.0076353 | 0.99757 | -0.04651 | 0.99759 | -0.046146 | 2.0976
24 | 0.17487 | 0.04407 | -0.17477 | -0.044007 | 9.8754e-05 | 6.2749e-05 | 0.26093 | 0.26093 | 0.26093 | 0.99759 | -0.046146 | 0.99698 | -0.057957 | 23.8943
25 | -0.17999 | -0.045353 | 0.18 | 0.04536 | 1.1046e-05 | 7.0215e-06 | 0.26856 | 0.26856 | 0.26856 | 0.99759 | -0.046146 | 0.99766 | -0.044863 | 24.5935
26 | -0.031754 | -0.0079624 | 0.031755 | 0.0079629 | 9.3528e-07 | 5.8421e-07 | 0.047485 | 0.047485 | 0.047485 | 0.99511 | -0.094158 | 0.99514 | -0.09354 | 13.0452
27 | -0.0027054 | -0.00067804 | 0.0027055 | 0.00067796 | 5.2747e-08 | -7.6943e-08 | 0.0040542 | 0.0040542 | 0.0040542 | 0.99297 | -0.13522 | 0.99299 | -0.13482 | 1.1138
28 | -0.012747 | -0.0031946 | 0.012748 | 0.0031953 | 1.3309e-06 | 7.2595e-07 | 0.019101 | 0.019101 | 0.019101 | 0.99299 | -0.13482 | 0.9931 | -0.13262 | 5.2477
29 | -0.054824 | -0.013767 | 0.054859 | 0.013789 | 3.4756e-05 | 2.2063e-05 | 0.081862 | 0.081862 | 0.081862 | 0.99665 | -0.064302 | 0.99734 | -0.051024 | 22.4897
30 | -0.02936 | -0.0073584 | 0.029372 | 0.0073656 | 1.1558e-05 | 7.1867e-06 | 0.043757 | 0.043757 | 0.043757 | 0.99845 | -0.029714 | 0.99888 | -0.021454 | 12.0211
31 | -0.029372 | -0.0073656 | 0.029377 | 0.0073686 | 4.7674e-06 | 2.9642e-06 | 0.043757 | 0.043757 | 0.043757 | 0.99888 | -0.021454 | 0.99906 | -0.018049 | 12.021
32 | 0.20365 | 0.051384 | -0.2035 | -0.051286 | 0.00015316 | 9.7497e-05 | 0.30344 | 0.30344 | 0.30344 | 0.99906 | -0.018049 | 0.99824 | -0.033768 | 27.7879
33 | -0.23303 | -0.058752 | 0.23323 | 0.058881 | 0.00020148 | 0.00012842 | 0.3472 | 0.3472 | 0.3472 | 0.99906 | -0.018049 | 1 | 0 | 31.7949
34 | 0.18408 | 0.04642 | -0.18398 | -0.046358 | 9.7704e-05 | 6.2124e-05 | 0.2745 | 0.2745 | 0.2745 | 0.99824 | -0.033768 | 0.99766 | -0.044863 | 25.1374
35 | 0.32621 | 0.082018 | -0.32605 | -0.081913 | 0.0001636 | 0.00010449 | 0.4855 | 0.4855 | 0.4855 | 1 | 0 | 0.99945 | -0.010508 | 44.4598
36 | 0.28833 | 0.072461 | -0.28832 | -0.072452 | 1.3431e-05 | 8.573e-06 | 0.42935 | 0.42935 | 0.42935 | 0.99945 | -0.010508 | 0.9994 | -0.011483 | 39.3175
37 | -0.08028 | -0.02012 | 0.080307 | 0.020137 | 2.6771e-05 | 1.707e-05 | 0.12032 | 0.12032 | 0.12032 | 0.99286 | -0.13728 | 0.99322 | -0.13029 | 33.054
38 | 0.056503 | 0.014164 | -0.056496 | -0.01416 | 6.2902e-06 | 3.9954e-06 | 0.084652 | 0.084652 | 0.084652 | 0.99322 | -0.13029 | 0.9931 | -0.13262 | 23.2559
39 | 0.14513 | 0.036456 | -0.14505 | -0.036407 | 7.7594e-05 | 4.9429e-05 | 0.21633 | 0.21633 | 0.21633 | 0.99837 | -0.031359 | 0.99778 | -0.042569 | 29.7162
40 | 0.12652 | 0.031762 | -0.1265 | -0.031754 | 1.3004e-05 | 8.31e-06 | 0.1887 | 0.1887 | 0.1887 | 0.99778 | -0.042569 | 0.99767 | -0.044724 | 51.8398
41 | 0.072863 | 0.01831 | -0.072842 | -0.018296 | 2.1906e-05 | 1.3955e-05 | 0.10869 | 0.10869 | 0.10869 | 0.99767 | -0.044724 | 0.99734 | -0.051024 | 29.8605
42 | 0.17054 | 0.042945 | -0.1705 | -0.042919 | 4.1155e-05 | 2.614e-05 | 0.2546 | 0.2546 | 0.2546 | 0.99698 | -0.057957 | 0.99671 | -0.063006 | 23.3154
43 | 0.15144 | 0.038144 | -0.1514 | -0.038117 | 4.2418e-05 | 2.6888e-05 | 0.22616 | 0.22616 | 0.22616 | 0.99671 | -0.063006 | 0.99641 | -0.068865 | 20.7105

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61063 | 0.15331

## res_load
| p_mw | q_mvar
0 | 0.003141 | 0.00078721
1 | 0.0014966 | 0.00037508
2 | 0.030621 | 0.0076744
3 | 0.0015436 | 0.00038687
4 | 0.027044 | 0.0067779
5 | 0.006311 | 0.0015817
6 | 0.017176 | 0.0043048
7 | 0.0049996 | 0.001253
8 | 0.0011684 | 0.00029283
9 | 0.0098586 | 0.0024708
10 | 0.0046974 | 0.0011773
11 | 0.0088259 | 0.002212
12 | 0.0025829 | 0.00064735
13 | 0.0022511 | 0.00056417
14 | 0.0051187 | 0.0012829
15 | 0.0035576 | 0.00089163
16 | 0.0027054 | 0.00067804
17 | 0.010041 | 0.0025166
18 | 0.0055312 | 0.0013863
19 | 0.0036517 | 0.0009152
20 | 0.02936 | 0.0073584
21 | 0.019417 | 0.0048664
22 | 0.049536 | 0.012415
23 | 0.0039819 | 0.00099795
24 | 0.037717 | 0.0094527
25 | 0.08028 | 0.02012
26 | 0.030791 | 0.0077169
27 | 0.042268 | 0.010593
28 | 0.018532 | 0.0046445
29 | 0.053641 | 0.013444
30 | 0.017983 | 0.0045069
31 | 0.0042356 | 0.0010615
32 | 0.019054 | 0.0047753
33 | 0.0043203 | 0.0010828
34 | 0.043748 | 0.010964

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1