## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1103-36_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1103-36_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1103-36_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1103-36_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1103-36_0_5_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_1103-36_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1103-36_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1103-36_0_5_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1103-36_0_5_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1103-36_0_5_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_1103-36_0_5_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_1103-36_0_5_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_1103-36_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1103-36_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1103-36_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1103-36_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1103-36_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1103-36_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1103-36_0_5_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_1103-36_0_5_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_1103-36_0_5_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1103-36_0_5_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1103-36_0_5_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_1103-36_0_5_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1103-36_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1103-36_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1103-36_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1103-36_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1103-36_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1103-36_0_5_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_1103-36_0_5_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_1103-36_0_5_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_1103-36_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1103-36_0_5_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1103-36_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1103-36_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1103-36_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1103-36_0_5_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1103-36_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_1103-36_0_5_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_1103-36_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1103-36_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1103-36_0_5_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_1103-36_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1103-36_0_5_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_1103-36_0_5_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_1103-36_0_5_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_1103-36_0_5_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_1103-36_0_5_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_1103-36_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1103-36_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1103-36_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1103-36_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1103-36_0_5_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_1103-36_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1103-36_0_5_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_1103-36_0_5_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_1103-36_0_5_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_1103-36_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_1103-36_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_1103-36_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_1103-36_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_1103-36_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1103-36_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_1103-36_0_5_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1103-36_0_5_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_1103-36_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1103-36_0_5_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1103-36_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_1103-36_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_1103-36_0_5_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_1103-36_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_1103-36_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_1103-36_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_MV_471_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1103-36_0_5_load_0 | 0 | 0.0033774 | 0.00084646 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1103-36_0_5_load_3 | 2 | 0.0052732 | 0.0013216 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1103-36_0_5_load_5 | 3 | 0.0080972 | 0.0020294 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1103-36_0_5_load_13 | 4 | 0.0051028 | 0.0012789 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1103-36_0_5_load_4 | 5 | 0.0089102 | 0.0022331 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1103-36_0_5_load_15 | 6 | 0.0039065 | 0.00097907 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1103-36_0_5_load_39 | 11 | 0.039354 | 0.0098631 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1103-36_0_5_load_7 | 12 | 0.012086 | 0.0030289 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1103-36_0_5_load_8 | 13 | 0.0053907 | 0.001351 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1103-36_0_5_load_9 | 14 | 0.0059133 | 0.001482 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1103-36_0_5_load_10 | 15 | 0.0042328 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1103-36_0_5_load_12 | 17 | 0.014474 | 0.0036274 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1103-36_0_5_load_26 | 18 | 0.0077807 | 0.00195 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1103-36_0_5_load_49 | 19 | 0.0084249 | 0.0021115 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1103-36_0_5_load_29 | 20 | 0.0078729 | 0.0019731 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1103-36_0_5_load_50 | 22 | 0.0082927 | 0.0020783 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1103-36_0_5_load_28 | 23 | 0.004396 | 0.0011017 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1103-36_0_5_load_20 | 25 | 0.0032328 | 0.00081022 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1103-36_0_5_load_18 | 28 | 0.023836 | 0.005974 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1103-36_0_5_load_34 | 29 | 0.004371 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1103-36_0_5_load_54 | 31 | 0.0099377 | 0.0024906 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1103-36_0_5_load_24 | 32 | 0.016317 | 0.0040895 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1103-36_0_5_load_35 | 33 | 0.0080117 | 0.0020079 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1103-36_0_5_load_19 | 34 | 0.0032 | 0.000802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1103-36_0_5_load_21 | 35 | 0.0042417 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1103-36_0_5_load_23 | 36 | 0.0039753 | 0.0009963 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1103-36_0_5_load_47 | 37 | 0.024146 | 0.0060515 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1103-36_0_5_load_43 | 38 | 0.015544 | 0.0038957 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1103-36_0_5_load_53 | 39 | 0.0042078 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1103-36_0_5_load_61 | 42 | 0.027434 | 0.0068757 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1103-36_0_5_load_78 | 44 | 0.010979 | 0.0027517 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1103-36_0_5_load_76 | 45 | 0.0093307 | 0.0023385 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1103-36_0_5_load_75 | 48 | 0.0092692 | 0.0023231 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1103-36_0_5_load_36 | 49 | 0.0055675 | 0.0013954 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1103-36_0_5_load_42 | 52 | 0.009677 | 0.0024253 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1103-36_0_5_load_73 | 53 | 0.01475 | 0.0036966 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1103-36_0_5_load_48 | 54 | 0.045706 | 0.011455 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1103-36_0_5_load_71 | 56 | 0.0090796 | 0.0022755 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1103-36_0_5_load_69 | 57 | 0.0073396 | 0.0018395 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1103-36_0_5_load_46 | 58 | 0.012416 | 0.0031117 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1103-36_0_5_load_44 | 59 | 0.012675 | 0.0031766 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1103-36_0_5_load_55 | 60 | 0.0092213 | 0.0023111 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1103-36_0_5_load_56 | 61 | 0.0084539 | 0.0021188 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1103-36_0_5_load_51 | 62 | 0.0087856 | 0.0022019 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1103-36_0_5_load_52 | 63 | 0.0081681 | 0.0020471 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1103-36_0_5_load_57 | 65 | 0.0042458 | 0.0010641 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1103-36_0_5_load_63 | 67 | 0.0021342 | 0.00053487 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1103-36_0_5_load_64 | 68 | 0.012697 | 0.0031821 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1103-36_0_5_load_74 | 70 | 0.0036077 | 0.00090418 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1103-36_0_5_load_68 | 71 | 0.0095582 | 0.0023955 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1103-36_0_5_load_66 | 72 | 0.0081009 | 0.0020303 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1103-36_0_5_load_67 | 73 | 0.010325 | 0.0025876 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1103-36_0_5_line_0 |  | 0 | 1 | 0.017977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1103-36_0_5_line_1 |  | 1 | 2 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1103-36_0_5_line_2 |  | 1 | 3 | 0.026669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1103-36_0_5_line_3 |  | 2 | 4 | 0.014231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1103-36_0_5_line_4 |  | 4 | 7 | 0.024657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1103-36_0_5_line_5 |  | 5 | 6 | 0.0051224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1103-36_0_5_line_6 |  | 6 | 8 | 0.015605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1103-36_0_5_line_7 |  | 7 | 24 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1103-36_0_5_line_8 |  | 8 | 26 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1103-36_0_5_line_9 |  | 9 | 10 | 0.006891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1103-36_0_5_line_10 |  | 9 | 11 | 0.025495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1103-36_0_5_line_11 |  | 10 | 49 | 0.011087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1103-36_0_5_line_12 |  | 11 | 50 | 0.020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1103-36_0_5_line_13 |  | 12 | 13 | 0.0029196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1103-36_0_5_line_14 |  | 12 | 14 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1103-36_0_5_line_15 |  | 13 | 15 | 0.028339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1103-36_0_5_line_16 |  | 14 | 16 | 0.008722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1103-36_0_5_line_17 |  | 14 | 17 | 0.02912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1103-36_0_5_line_18 |  | 16 | 18 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1103-36_0_5_line_19 |  | 16 | 19 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1103-36_0_5_line_20 |  | 17 | 20 | 0.0046111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1103-36_0_5_line_21 |  | 18 | 21 | 0.018835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1103-36_0_5_line_22 |  | 19 | 22 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1103-36_0_5_line_23 |  | 20 | 23 | 0.026186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1103-36_0_5_line_24 |  | 21 | 32 | 0.017606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1103-36_0_5_line_25 |  | 21 | 36 | 0.021645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1103-36_0_5_line_26 |  | 22 | 62 | 0.006256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1103-36_0_5_line_27 |  | 23 | 40 | 0.029137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1103-36_0_5_line_28 |  | 24 | 25 | 0.014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1103-36_0_5_line_29 |  | 25 | 34 | 0.0067834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1103-36_0_5_line_30 |  | 26 | 27 | 0.018423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1103-36_0_5_line_31 |  | 27 | 30 | 0.018692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1103-36_0_5_line_32 |  | 27 | 31 | 0.0074438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1103-36_0_5_line_33 |  | 28 | 29 | 0.012209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1103-36_0_5_line_34 |  | 29 | 33 | 0.0023651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1103-36_0_5_line_35 |  | 30 | 37 | 0.017495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1103-36_0_5_line_36 |  | 30 | 38 | 0.01266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1103-36_0_5_line_37 |  | 31 | 39 | 0.012956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1103-36_0_5_line_38 |  | 33 | 49 | 0.0081735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1103-36_0_5_line_39 |  | 34 | 35 | 0.0078235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1103-36_0_5_line_40 |  | 35 | 36 | 0.0086226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1103-36_0_5_line_41 |  | 37 | 60 | 0.01792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1103-36_0_5_line_42 |  | 38 | 59 | 0.0030811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1103-36_0_5_line_43 |  | 39 | 63 | 0.0089516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1103-36_0_5_line_44 |  | 40 | 41 | 0.012764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1103-36_0_5_line_45 |  | 41 | 42 | 0.034305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1103-36_0_5_line_46 |  | 43 | 44 | 0.040148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1103-36_0_5_line_47 |  | 43 | 45 | 0.047778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1103-36_0_5_line_48 |  | 44 | 46 | 0.023268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1103-36_0_5_line_49 |  | 45 | 48 | 0.030559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1103-36_0_5_line_50 |  | 46 | 47 | 0.023855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1103-36_0_5_line_51 |  | 47 | 66 | 0.033788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1103-36_0_5_line_52 |  | 50 | 51 | 0.001541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1103-36_0_5_line_53 |  | 50 | 52 | 0.018935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_1103-36_0_5_line_54 |  | 51 | 53 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1103-36_0_5_line_55 |  | 52 | 54 | 0.0037071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1103-36_0_5_line_56 |  | 53 | 56 | 0.022241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1103-36_0_5_line_57 |  | 54 | 58 | 0.0036003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_1103-36_0_5_line_58 |  | 55 | 56 | 0.0025129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1103-36_0_5_line_59 |  | 55 | 57 | 0.0060454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1103-36_0_5_line_60 |  | 57 | 73 | 0.0062543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1103-36_0_5_line_61 |  | 58 | 59 | 0.0076876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_1103-36_0_5_line_62 |  | 60 | 61 | 0.00095246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1103-36_0_5_line_63 |  | 61 | 64 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1103-36_0_5_line_64 |  | 62 | 63 | 0.0055303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1103-36_0_5_line_65 |  | 64 | 65 | 0.0057331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1103-36_0_5_line_66 |  | 66 | 67 | 0.010479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1103-36_0_5_line_67 |  | 67 | 68 | 0.005608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1103-36_0_5_line_68 |  | 68 | 69 | 0.0026699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1103-36_0_5_line_69 |  | 69 | 70 | 0.0057626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1103-36_0_5_line_70 |  | 69 | 71 | 0.012571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1103-36_0_5_line_71 |  | 71 | 72 | 0.0060582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1103-36_0_5_line_72 |  | 72 | 73 | 0.0064387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1103-36_0_5_trafo_47 | 0.63 MVA 20/0.4 kV | 74 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2651087.9842 | 1224763.9587 | 2651101.2191 | 1224776.124
1 | 2651087.9842 | 1224763.9587 | 2651090.7343 | 1224757.1225 | 2651092.5969 | 1224746.1473
2 | 2651087.9842 | 1224763.9587 | 2651077.6163 | 1224788.53
3 | 2651092.5969 | 1224746.1473 | 2651094.9778 | 1224732.1173
4 | 2651099.1032 | 1224707.8082 | 2651094.9778 | 1224732.1173
5 | 2651038.6582 | 1224729.6793 | 2651034.2706 | 1224727.0358
6 | 2651020.5779 | 1224719.5646 | 2651030.0506 | 1224724.4932 | 2651034.2706 | 1224727.0358
7 | 2651099.1032 | 1224707.8082 | 2651101.5946 | 1224693.1428
8 | 2651020.5779 | 1224719.5646 | 2651017.8239 | 1224715.3606 | 2651016.1816 | 1224711.4775 | 2651016.3773 | 1224707.2209
9 | 2650994.2127 | 1224787.2807 | 2650997.8263 | 1224781.408
10 | 2650994.2127 | 1224787.2807 | 2650985.7693 | 1224780.7933 | 2650975.8541 | 1224773.5373 | 2650973.5671 | 1224772.3856
11 | 2650997.8263 | 1224781.408 | 2651003.1227 | 1224771.6677
12 | 2650954.9207 | 1224762.996 | 2650973.5671 | 1224772.3856
13 | 2651017.1329 | 1224631.1926 | 2651018.334 | 1224628.5314
14 | 2651011.9648 | 1224642.6432 | 2651017.1329 | 1224631.1926
15 | 2651030.8293 | 1224603.1168 | 2651024.7014 | 1224614.4237 | 2651018.334 | 1224628.5314
16 | 2651011.9648 | 1224642.6432 | 2651019.0861 | 1224647.7073
17 | 2651011.9648 | 1224642.6432 | 2650989.0113 | 1224624.7229
18 | 2651019.0861 | 1224647.7073 | 2651033.0617 | 1224655.7914
19 | 2651019.0861 | 1224647.7073 | 2651011.0533 | 1224663.1395
20 | 2650985.3767 | 1224621.8853 | 2650989.0113 | 1224624.7229
21 | 2651048.6236 | 1224666.3719 | 2651039.7469 | 1224660.0142 | 2651037.2302 | 1224658.2026 | 2651033.0617 | 1224655.7914
22 | 2651011.0533 | 1224663.1395 | 2651005.5992 | 1224673.6178
23 | 2650985.3767 | 1224621.8853 | 2650965.918 | 1224606.6934 | 2650964.8064 | 1224605.6881
24 | 2651048.6236 | 1224666.3719 | 2651041.472 | 1224673.693 | 2651036.3089 | 1224678.9547
25 | 2651048.6236 | 1224666.3719 | 2651051.2205 | 1224667.6839 | 2651067.9421 | 1224676.1349
26 | 2651005.5992 | 1224673.6178 | 2651002.7107 | 1224679.1671
27 | 2650942.178 | 1224587.3672 | 2650953.2224 | 1224595.6112 | 2650961.5618 | 1224602.7537 | 2650964.8064 | 1224605.6881
28 | 2651101.5946 | 1224693.1428 | 2651088.6742 | 1224686.6129
29 | 2651082.6201 | 1224683.5531 | 2651088.6742 | 1224686.6129
30 | 2650998.6908 | 1224711.4832 | 2651002.4838 | 1224709.4589 | 2651011.4873 | 1224707.2013 | 2651016.3773 | 1224707.2209
31 | 2650983.4869 | 1224722.4154 | 2650998.6908 | 1224711.4832
32 | 2650998.6908 | 1224711.4832 | 2651000.5179 | 1224704.2672
33 | 2651007.4855 | 1224762.0898 | 2651009.5668 | 1224757.0268 | 2651011.6612 | 1224750.6262
34 | 2651007.4855 | 1224762.0898 | 2651006.5863 | 1224764.2773
35 | 2650983.4869 | 1224722.4154 | 2650972.0382 | 1224709.187
36 | 2650983.4869 | 1224722.4154 | 2650975.5918 | 1224732.3124
37 | 2651001.0943 | 1224692.0117 | 2651002.7948 | 1224695.275 | 2651000.5179 | 1224704.2672
38 | 2651006.5863 | 1224764.2773 | 2651004.8668 | 1224768.4603 | 2651003.1227 | 1224771.6677
39 | 2651075.6377 | 1224680.0243 | 2651082.6201 | 1224683.5531
40 | 2651075.6377 | 1224680.0243 | 2651067.9421 | 1224676.1349
41 | 2650972.0382 | 1224709.187 | 2650959.6224 | 1224700.8756 | 2650956.9211 | 1224699.6197
42 | 2650975.5918 | 1224732.3124 | 2650973.6704 | 1224734.721
43 | 2651000.1572 | 1224684.0726 | 2650998.5581 | 1224687.1448 | 2651001.0943 | 1224692.0117
44 | 2650933.5301 | 1224596.7769 | 2650942.178 | 1224587.3672
45 | 2650933.5301 | 1224596.7769 | 2650921.9584 | 1224618.269 | 2650916.8903 | 1224626.7684
46 | 2650862.651 | 1224590.2227 | 2650879.6902 | 1224603.1762 | 2650885.2497 | 1224613.5857 | 2650883.0913 | 1224620.1842
47 | 2650862.651 | 1224590.2227 | 2650849.9287 | 1224607.9806 | 2650834.8279 | 1224629.064
48 | 2650889.8951 | 1224639.5637 | 2650880.4228 | 1224628.3425 | 2650883.0913 | 1224620.1842
49 | 2650817.0338 | 1224653.9079 | 2650834.8279 | 1224629.064
50 | 2650899.5115 | 1224661.4038 | 2650889.8951 | 1224639.5637
51 | 2650887.5301 | 1224690.9419 | 2650890.3477 | 1224685.9407 | 2650900.5214 | 1224672.7417 | 2650899.5115 | 1224661.4038
52 | 2650954.9207 | 1224762.996 | 2650954.0003 | 1224764.2334
53 | 2650954.9207 | 1224762.996 | 2650965.3477 | 1224747.1901
54 | 2650954.0003 | 1224764.2334 | 2650939.1897 | 1224750.0714
55 | 2650965.3477 | 1224747.1901 | 2650967.3891 | 1224744.0957
56 | 2650939.1897 | 1224750.0714 | 2650933.2225 | 1224744.3656 | 2650923.2289 | 1224734.5822
57 | 2650969.3716 | 1224741.0905 | 2650967.3891 | 1224744.0957
58 | 2650921.4333 | 1224732.8243 | 2650923.2289 | 1224734.5822
59 | 2650921.4333 | 1224732.8243 | 2650917.5904 | 1224728.1576
60 | 2650917.5904 | 1224728.1576 | 2650913.6147 | 1224723.3295
61 | 2650969.3716 | 1224741.0905 | 2650973.11 | 1224735.4235 | 2650973.6704 | 1224734.721
62 | 2650956.9211 | 1224699.6197 | 2650956.0575 | 1224699.2181
63 | 2650946.6865 | 1224694.8612 | 2650956.0575 | 1224699.2181
64 | 2651000.1572 | 1224684.0726 | 2651002.7107 | 1224679.1671
65 | 2650946.6865 | 1224694.8612 | 2650947.3191 | 1224689.1631
66 | 2650887.5301 | 1224690.9419 | 2650892.7472 | 1224695.267 | 2650895.6094 | 1224697.6147
67 | 2650895.6094 | 1224697.6147 | 2650898.2809 | 1224699.806 | 2650898.8621 | 1224701.8789 | 2650898.8621 | 1224701.8789
68 | 2650897.4703 | 1224704.1573 | 2650898.8621 | 1224701.8789
69 | 2650897.4703 | 1224704.1573 | 2650894.1283 | 1224708.8518
70 | 2650897.4703 | 1224704.1573 | 2650902.0063 | 1224709.2325 | 2650905.6706 | 1224713.6824
71 | 2650909.5217 | 1224718.3591 | 2650905.6706 | 1224713.6824
72 | 2650909.5217 | 1224718.3591 | 2650913.6147 | 1224723.3295

## bus_geodata
| x | y | coords
0 | 2651101.2191 | 1224776.124
1 | 2651087.9842 | 1224763.9587
2 | 2651092.5969 | 1224746.1473
3 | 2651077.6163 | 1224788.53
4 | 2651094.9778 | 1224732.1173
5 | 2651038.6582 | 1224729.6793
6 | 2651034.2706 | 1224727.0358
7 | 2651099.1032 | 1224707.8082
8 | 2651020.5779 | 1224719.5646
9 | 2650994.2127 | 1224787.2807
10 | 2650997.8263 | 1224781.408
11 | 2650973.5671 | 1224772.3856
12 | 2651017.1329 | 1224631.1926
13 | 2651018.334 | 1224628.5314
14 | 2651011.9648 | 1224642.6432
15 | 2651030.8293 | 1224603.1168
16 | 2651019.0861 | 1224647.7073
17 | 2650989.0113 | 1224624.7229
18 | 2651033.0617 | 1224655.7914
19 | 2651011.0533 | 1224663.1395
20 | 2650985.3767 | 1224621.8853
21 | 2651048.6236 | 1224666.3719
22 | 2651005.5992 | 1224673.6178
23 | 2650964.8064 | 1224605.6881
24 | 2651101.5946 | 1224693.1428
25 | 2651088.6742 | 1224686.6129
26 | 2651016.3773 | 1224707.2209
27 | 2650998.6908 | 1224711.4832
28 | 2651011.6612 | 1224750.6262
29 | 2651007.4855 | 1224762.0898
30 | 2650983.4869 | 1224722.4154
31 | 2651000.5179 | 1224704.2672
32 | 2651036.3089 | 1224678.9547
33 | 2651006.5863 | 1224764.2773
34 | 2651082.6201 | 1224683.5531
35 | 2651075.6377 | 1224680.0243
36 | 2651067.9421 | 1224676.1349
37 | 2650972.0382 | 1224709.187
38 | 2650975.5918 | 1224732.3124
39 | 2651001.0943 | 1224692.0117
40 | 2650942.178 | 1224587.3672
41 | 2650933.5301 | 1224596.7769
42 | 2650916.8903 | 1224626.7684
43 | 2650862.651 | 1224590.2227
44 | 2650883.0913 | 1224620.1842
45 | 2650834.8279 | 1224629.064
46 | 2650889.8951 | 1224639.5637
47 | 2650899.5115 | 1224661.4038
48 | 2650817.0338 | 1224653.9079
49 | 2651003.1227 | 1224771.6677
50 | 2650954.9207 | 1224762.996
51 | 2650954.0003 | 1224764.2334
52 | 2650965.3477 | 1224747.1901
53 | 2650939.1897 | 1224750.0715
54 | 2650967.3891 | 1224744.0957
55 | 2650921.4333 | 1224732.8243
56 | 2650923.2289 | 1224734.5822
57 | 2650917.5904 | 1224728.1576
58 | 2650969.3716 | 1224741.0905
59 | 2650973.6704 | 1224734.721
60 | 2650956.9212 | 1224699.6197
61 | 2650956.0575 | 1224699.2181
62 | 2651002.7107 | 1224679.1671
63 | 2651000.1572 | 1224684.0726
64 | 2650946.6865 | 1224694.8612
65 | 2650947.3191 | 1224689.1631
66 | 2650887.5301 | 1224690.9419
67 | 2650895.6094 | 1224697.6147
68 | 2650898.8621 | 1224701.8789
69 | 2650897.4703 | 1224704.1573
70 | 2650894.1283 | 1224708.8518
71 | 2650905.6706 | 1224713.6824
72 | 2650909.5217 | 1224718.3591
73 | 2650913.6147 | 1224723.3295
74 | 2650983.4869 | 1224722.4154

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98929 | -0.20623 | 0.0033774 | 0.00084646
1 | 0.98935 | -0.20514 | 0 | 0
2 | 0.98954 | -0.20136 | 0.0052732 | 0.0013216
3 | 0.98915 | -0.20899 | 0.0080972 | 0.0020294
4 | 0.98976 | -0.19712 | 0.0051028 | 0.0012789
5 | 0.99659 | -0.06533 | 0.0089102 | 0.0022331
6 | 0.99663 | -0.064529 | 0.0039065 | 0.00097907
7 | 0.99025 | -0.18754 | 0 | 0
8 | 0.99681 | -0.06102 | 0 | 0
9 | 0.99206 | -0.15243 | 0 | 0
10 | 0.9918 | -0.15753 | 0 | 0
11 | 0.99304 | -0.13358 | 0.039354 | 0.0098631
12 | 0.99308 | -0.13276 | 0.012086 | 0.0030289
13 | 0.99306 | -0.13325 | 0.0053907 | 0.001351
14 | 0.99333 | -0.12794 | 0.0059133 | 0.001482
15 | 0.99295 | -0.13538 | 0.0042328 | 0.0010608
16 | 0.99399 | -0.11534 | 0 | 0
17 | 0.99189 | -0.15585 | 0.014474 | 0.0036274
18 | 0.99309 | -0.13262 | 0.0077807 | 0.00195
19 | 0.99512 | -0.093515 | 0.0084249 | 0.0021115
20 | 0.99172 | -0.15909 | 0.0078729 | 0.0019731
21 | 0.99218 | -0.15022 | 0 | 0
22 | 0.99553 | -0.085678 | 0.0082927 | 0.0020783
23 | 0.99096 | -0.17388 | 0.004396 | 0.0011017
24 | 0.99055 | -0.18176 | 0 | 0
25 | 0.99084 | -0.17614 | 0.0032328 | 0.00081022
26 | 0.99697 | -0.057985 | 0 | 0
27 | 0.99718 | -0.053845 | 0 | 0
28 | 0.99078 | -0.17735 | 0.023836 | 0.005974
29 | 0.99104 | -0.17218 | 0.004371 | 0.0010955
30 | 0.99805 | -0.037228 | 0 | 0
31 | 0.99686 | -0.060052 | 0.0099377 | 0.0024906
32 | 0.99192 | -0.15531 | 0.016317 | 0.0040895
33 | 0.9911 | -0.171 | 0.0080117 | 0.0020079
34 | 0.991 | -0.17312 | 0.0032 | 0.000802
35 | 0.9912 | -0.1692 | 0.0042417 | 0.0010631
36 | 0.99146 | -0.16422 | 0.0039753 | 0.0009963
37 | 1 | 0 | -0.51439 | -0.12983
38 | 0.99723 | -0.052988 | 0.015544 | 0.0038957
39 | 0.99633 | -0.0703 | 0.0042078 | 0.0010546
40 | 0.99022 | -0.18808 | 0 | 0
41 | 0.9899 | -0.1943 | 0 | 0
42 | 0.98904 | -0.21106 | 0.027434 | 0.0068757
43 | 0.98472 | -0.29461 | 0 | 0
44 | 0.98541 | -0.2812 | 0.010979 | 0.0027517
45 | 0.9839 | -0.3106 | 0.0093307 | 0.0023385
46 | 0.98605 | -0.26885 | 0 | 0
47 | 0.9867 | -0.25621 | 0 | 0
48 | 0.98364 | -0.3157 | 0.0092692 | 0.0023231
49 | 0.99138 | -0.16575 | 0.0055675 | 0.0013954
50 | 0.99459 | -0.10369 | 0 | 0
51 | 0.99443 | -0.1066 | 0 | 0
52 | 0.99622 | -0.072324 | 0.009677 | 0.0024253
53 | 0.99242 | -0.14539 | 0.01475 | 0.0036966
54 | 0.99639 | -0.069102 | 0.045706 | 0.011455
55 | 0.99034 | -0.18556 | 0 | 0
56 | 0.99053 | -0.18184 | 0.0090796 | 0.0022755
57 | 0.98988 | -0.19452 | 0.0073396 | 0.0018395
58 | 0.99659 | -0.065252 | 0.012416 | 0.0031117
59 | 0.99704 | -0.056618 | 0.012675 | 0.0031766
60 | 0.99964 | -0.0068494 | 0.0092213 | 0.0023111
61 | 0.99963 | -0.0070604 | 0.0084539 | 0.0021188
62 | 0.99575 | -0.081302 | 0.0087856 | 0.0022019
63 | 0.99597 | -0.077222 | 0.0081681 | 0.0020471
64 | 0.99959 | -0.0078258 | 0 | 0
65 | 0.99957 | -0.0082504 | 0.0042458 | 0.0010641
66 | 0.98762 | -0.23833 | 0 | 0
67 | 0.9879 | -0.23279 | 0.0021342 | 0.00053487
68 | 0.98807 | -0.22962 | 0.012697 | 0.0031821
69 | 0.98817 | -0.2275 | 0 | 0
70 | 0.98816 | -0.22787 | 0.0036077 | 0.00090418
71 | 0.98873 | -0.21673 | 0.0095582 | 0.0023955
72 | 0.98905 | -0.21051 | 0.0081009 | 0.0020303
73 | 0.98944 | -0.20298 | 0.010325 | 0.0025876
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0033774 | -0.00084646 | 0.0033776 | 0.00084634 | 1.7397e-07 | -1.1949e-07 | 0.00508 | 0.00508 | 0.00508 | 0.98929 | -0.20623 | 0.98935 | -0.20514 | 1.3956
1 | -0.011476 | -0.0028763 | 0.011478 | 0.0028774 | 2.067e-06 | 1.0853e-06 | 0.017261 | 0.017261 | 0.017261 | 0.98935 | -0.20514 | 0.98954 | -0.20136 | 4.742
2 | 0.0080987 | 0.00203 | -0.0080972 | -0.0020294 | 1.4839e-06 | 6.0728e-07 | 0.012181 | 0.012181 | 0.012181 | 0.98935 | -0.20514 | 0.98915 | -0.20899 | 3.3464
3 | -0.016752 | -0.004199 | 0.016755 | 0.004201 | 3.3862e-06 | 1.9843e-06 | 0.02519 | 0.02519 | 0.02519 | 0.98954 | -0.20136 | 0.98976 | -0.19712 | 6.9204
4 | -0.021858 | -0.0054798 | 0.021868 | 0.0054859 | 9.985e-06 | 6.0733e-06 | 0.032862 | 0.032862 | 0.032862 | 0.98976 | -0.19712 | 0.99025 | -0.18754 | 9.028
5 | -0.0089102 | -0.0022331 | 0.0089106 | 0.0022333 | 3.3999e-07 | 1.5085e-07 | 0.013304 | 0.013304 | 0.013304 | 0.99659 | -0.06533 | 0.99663 | -0.064529 | 3.6549
6 | -0.012817 | -0.0032123 | 0.012819 | 0.0032135 | 2.143e-06 | 1.1681e-06 | 0.019137 | 0.019136 | 0.019137 | 0.99663 | -0.064529 | 0.99681 | -0.06102 | 5.2573
7 | -0.021868 | -0.0054859 | 0.021874 | 0.0054896 | 6.0246e-06 | 3.6643e-06 | 0.032862 | 0.032862 | 0.032862 | 0.99025 | -0.18754 | 0.99055 | -0.18176 | 9.0279
8 | -0.012819 | -0.0032135 | 0.012821 | 0.0032145 | 1.8538e-06 | 1.0104e-06 | 0.019136 | 0.019136 | 0.019136 | 0.99681 | -0.06102 | 0.99697 | -0.057985 | 5.2573
9 | 0.04183 | 0.0105 | -0.04182 | -0.010493 | 1.0174e-05 | 6.4226e-06 | 0.062747 | 0.062747 | 0.062747 | 0.99206 | -0.15243 | 0.9918 | -0.15753 | 17.2382
10 | -0.04183 | -0.0105 | 0.041867 | 0.010524 | 3.7642e-05 | 2.3762e-05 | 0.062747 | 0.062747 | 0.062747 | 0.99206 | -0.15243 | 0.99304 | -0.13358 | 17.2382
11 | 0.04182 | 0.010493 | -0.041803 | -0.010483 | 1.637e-05 | 1.0334e-05 | 0.062747 | 0.062747 | 0.062747 | 0.9918 | -0.15753 | 0.99138 | -0.16575 | 17.2382
12 | -0.081222 | -0.020387 | 0.081338 | 0.020461 | 0.00011599 | 7.396e-05 | 0.12172 | 0.12172 | 0.12172 | 0.99304 | -0.13358 | 0.99459 | -0.10369 | 33.4388
13 | 0.0096242 | 0.0024119 | -0.009624 | -0.0024118 | 2.2768e-07 | 1.0794e-07 | 0.014421 | 0.014421 | 0.014421 | 0.99308 | -0.13276 | 0.99306 | -0.13325 | 3.9617
14 | -0.02171 | -0.0054408 | 0.021715 | 0.0054439 | 4.9851e-06 | 3.0279e-06 | 0.032529 | 0.032529 | 0.032529 | 0.99308 | -0.13276 | 0.99333 | -0.12794 | 8.9367
15 | 0.0042333 | 0.0010608 | -0.0042328 | -0.0010608 | 4.2759e-07 | -9.2943e-08 | 0.0063431 | 0.0063433 | 0.0063433 | 0.99306 | -0.13325 | 0.99295 | -0.13538 | 1.7427
16 | -0.081954 | -0.020598 | 0.082004 | 0.020629 | 4.9313e-05 | 3.1447e-05 | 0.12279 | 0.12279 | 0.12279 | 0.99333 | -0.12794 | 0.99399 | -0.11534 | 33.7331
17 | 0.054326 | 0.013672 | -0.054254 | -0.013626 | 7.2359e-05 | 4.5933e-05 | 0.081401 | 0.081401 | 0.081401 | 0.99333 | -0.12794 | 0.99189 | -0.15585 | 22.363
18 | 0.060767 | 0.015292 | -0.060717 | -0.01526 | 5.0128e-05 | 3.1873e-05 | 0.090992 | 0.090992 | 0.090992 | 0.99399 | -0.11534 | 0.99309 | -0.13262 | 24.9977
19 | -0.14277 | -0.035922 | 0.14292 | 0.036017 | 0.00014908 | 9.4961e-05 | 0.21378 | 0.21378 | 0.21378 | 0.99399 | -0.11534 | 0.99512 | -0.093515 | 29.3654
20 | 0.03978 | 0.0099986 | -0.039774 | -0.0099948 | 6.1604e-06 | 3.8831e-06 | 0.059688 | 0.059688 | 0.059688 | 0.99189 | -0.15585 | 0.99172 | -0.15909 | 16.3978
21 | 0.052936 | 0.01331 | -0.052892 | -0.013282 | 4.4454e-05 | 2.8207e-05 | 0.079333 | 0.079333 | 0.079333 | 0.99309 | -0.13262 | 0.99218 | -0.15022 | 21.7949
22 | -0.15134 | -0.038128 | 0.1514 | 0.038164 | 5.6754e-05 | 3.5708e-05 | 0.22638 | 0.22638 | 0.22638 | 0.99512 | -0.093515 | 0.99553 | -0.085678 | 15.5479
23 | 0.031901 | 0.0080216 | -0.031879 | -0.0080076 | 2.2507e-05 | 1.4067e-05 | 0.047875 | 0.047875 | 0.047875 | 0.99172 | -0.15909 | 0.99096 | -0.17388 | 13.1526
24 | 0.016321 | 0.0040918 | -0.016317 | -0.0040895 | 3.956e-06 | 2.3045e-06 | 0.024478 | 0.024478 | 0.024478 | 0.99218 | -0.15022 | 0.99192 | -0.15531 | 6.7248
25 | 0.036571 | 0.0091904 | -0.036546 | -0.0091751 | 2.4425e-05 | 1.5353e-05 | 0.054855 | 0.054855 | 0.054855 | 0.99218 | -0.15022 | 0.99146 | -0.16422 | 15.0702
26 | -0.15969 | -0.040242 | 0.15973 | 0.040263 | 3.3438e-05 | 2.1075e-05 | 0.23877 | 0.23877 | 0.23877 | 0.99553 | -0.085678 | 0.99575 | -0.081302 | 16.3992
27 | 0.027483 | 0.0069058 | -0.027464 | -0.0068943 | 1.8614e-05 | 1.1538e-05 | 0.041275 | 0.041275 | 0.041275 | 0.99096 | -0.17388 | 0.99022 | -0.18808 | 11.3392
28 | -0.021874 | -0.0054896 | 0.02188 | 0.0054931 | 5.8624e-06 | 3.5656e-06 | 0.032862 | 0.032862 | 0.032862 | 0.99055 | -0.18176 | 0.99084 | -0.17614 | 9.0279
29 | -0.025112 | -0.0063034 | 0.025116 | 0.0063056 | 3.6186e-06 | 2.2285e-06 | 0.037717 | 0.037716 | 0.037717 | 0.99084 | -0.17614 | 0.991 | -0.17312 | 10.3617
30 | -0.012821 | -0.0032145 | 0.012824 | 0.0032159 | 2.5299e-06 | 1.3789e-06 | 0.019136 | 0.019136 | 0.019136 | 0.99697 | -0.057985 | 0.99718 | -0.053845 | 5.2573
31 | -0.20389 | -0.051423 | 0.20405 | 0.051526 | 0.00016233 | 0.00010291 | 0.30436 | 0.30436 | 0.30436 | 0.99718 | -0.053845 | 0.99805 | -0.037228 | 20.9038
32 | 0.19106 | 0.048207 | -0.19101 | -0.048171 | 5.6772e-05 | 3.5946e-05 | 0.28522 | 0.28522 | 0.28522 | 0.99718 | -0.053845 | 0.99686 | -0.060052 | 19.5895
33 | -0.023836 | -0.005974 | 0.023842 | 0.0059776 | 5.8674e-06 | 3.5979e-06 | 0.035799 | 0.035799 | 0.035799 | 0.99078 | -0.17735 | 0.99104 | -0.17218 | 9.835
34 | -0.028213 | -0.0070731 | 0.028215 | 0.0070741 | 1.5916e-06 | 9.8816e-07 | 0.042362 | 0.042362 | 0.042362 | 0.99104 | -0.17218 | 0.9911 | -0.171 | 11.6379
35 | -0.48994 | -0.12377 | 0.49081 | 0.12433 | 0.00087594 | 0.00055969 | 0.7308 | 0.7308 | 0.7308 | 0.99805 | -0.037228 | 1 | 0 | 50.1925
36 | 0.28589 | 0.072249 | -0.28567 | -0.072111 | 0.00021584 | 0.00013748 | 0.42644 | 0.42644 | 0.42644 | 0.99805 | -0.037228 | 0.99723 | -0.052988 | 29.2888
37 | 0.18107 | 0.045681 | -0.18098 | -0.045625 | 8.8799e-05 | 5.6156e-05 | 0.27039 | 0.27039 | 0.27039 | 0.99686 | -0.060052 | 0.99633 | -0.0703 | 18.5707
38 | -0.036227 | -0.009082 | 0.036236 | 0.0090877 | 9.0675e-06 | 5.6979e-06 | 0.054391 | 0.054391 | 0.054391 | 0.9911 | -0.171 | 0.99138 | -0.16575 | 14.9425
39 | -0.028316 | -0.0071076 | 0.028321 | 0.0071109 | 5.3045e-06 | 3.2941e-06 | 0.042521 | 0.042521 | 0.042521 | 0.991 | -0.17312 | 0.9912 | -0.1692 | 11.6817
40 | -0.032563 | -0.008174 | 0.032571 | 0.0081788 | 7.7285e-06 | 4.835e-06 | 0.048889 | 0.048889 | 0.048889 | 0.9912 | -0.1692 | 0.99146 | -0.16422 | 13.4311
41 | 0.021929 | 0.0054983 | -0.021921 | -0.0054939 | 7.1553e-06 | 4.3444e-06 | 0.032631 | 0.032631 | 0.032631 | 1 | 0 | 0.99964 | -0.0068494 | 8.9646
42 | 0.27013 | 0.068215 | -0.27008 | -0.068186 | 4.6971e-05 | 2.9901e-05 | 0.40325 | 0.40325 | 0.40325 | 0.99723 | -0.052988 | 0.99704 | -0.056618 | 27.6958
43 | 0.17677 | 0.04457 | -0.17671 | -0.044533 | 5.8536e-05 | 3.6997e-05 | 0.2641 | 0.2641 | 0.2641 | 0.99633 | -0.0703 | 0.99597 | -0.077222 | 18.1391
44 | 0.027464 | 0.0068943 | -0.027456 | -0.0068892 | 8.1543e-06 | 5.0546e-06 | 0.041275 | 0.041275 | 0.041275 | 0.99022 | -0.18808 | 0.9899 | -0.1943 | 11.3392
45 | 0.027456 | 0.0068892 | -0.027434 | -0.0068757 | 2.1916e-05 | 1.3586e-05 | 0.041275 | 0.041275 | 0.041275 | 0.9899 | -0.1943 | 0.98904 | -0.21106 | 11.3392
46 | -0.018616 | -0.0046711 | 0.018628 | 0.0046782 | 1.1916e-05 | 7.115e-06 | 0.028133 | 0.028133 | 0.028133 | 0.98472 | -0.29461 | 0.98541 | -0.2812 | 7.7289
47 | 0.018616 | 0.0046711 | -0.018602 | -0.0046626 | 1.4181e-05 | 8.4684e-06 | 0.028133 | 0.028133 | 0.028133 | 0.98472 | -0.29461 | 0.9839 | -0.3106 | 7.7289
48 | -0.029608 | -0.0074299 | 0.029625 | 0.0074408 | 1.7444e-05 | 1.0868e-05 | 0.044712 | 0.044712 | 0.044712 | 0.98541 | -0.2812 | 0.98605 | -0.26885 | 12.2836
49 | 0.0092714 | 0.0023241 | -0.0092692 | -0.0023231 | 2.2531e-06 | 1.054e-06 | 0.014022 | 0.014022 | 0.014022 | 0.9839 | -0.3106 | 0.98364 | -0.3157 | 3.8522
50 | -0.029625 | -0.0074408 | 0.029643 | 0.0074519 | 1.7884e-05 | 1.1141e-05 | 0.044712 | 0.044712 | 0.044712 | 0.98605 | -0.26885 | 0.9867 | -0.25621 | 12.2835
51 | -0.029643 | -0.0074519 | 0.029668 | 0.0074677 | 2.533e-05 | 1.5779e-05 | 0.044712 | 0.044712 | 0.044712 | 0.9867 | -0.25621 | 0.98762 | -0.23833 | 12.2835
52 | 0.1078 | 0.027259 | -0.10779 | -0.027249 | 1.5048e-05 | 9.6105e-06 | 0.16137 | 0.16137 | 0.16137 | 0.99459 | -0.10369 | 0.99443 | -0.1066 | 44.3319
53 | -0.18914 | -0.047719 | 0.18942 | 0.047901 | 0.00028452 | 0.0001816 | 0.28309 | 0.28308 | 0.28309 | 0.99459 | -0.10369 | 0.99622 | -0.072324 | 38.8853
54 | 0.10779 | 0.027249 | -0.10759 | -0.027121 | 0.0002001 | 0.0001278 | 0.16137 | 0.16137 | 0.16137 | 0.99443 | -0.1066 | 0.99242 | -0.14539 | 44.3319
55 | -0.1991 | -0.050326 | 0.19913 | 0.050346 | 3.0767e-05 | 1.9498e-05 | 0.29754 | 0.29754 | 0.29754 | 0.99622 | -0.072324 | 0.99639 | -0.069102 | 20.4354
56 | 0.092836 | 0.023425 | -0.092674 | -0.023322 | 0.00016173 | 0.00010322 | 0.13925 | 0.13925 | 0.13925 | 0.99242 | -0.14539 | 0.99053 | -0.18184 | 38.2563
57 | -0.24484 | -0.061801 | 0.24488 | 0.06183 | 4.5163e-05 | 2.8717e-05 | 0.3658 | 0.3658 | 0.3658 | 0.99639 | -0.069102 | 0.99659 | -0.065252 | 25.1234
58 | -0.08358 | -0.021037 | 0.083595 | 0.021046 | 1.4869e-05 | 9.4837e-06 | 0.12561 | 0.12561 | 0.12561 | 0.99034 | -0.18556 | 0.99053 | -0.18184 | 34.5091
59 | 0.08358 | 0.021037 | -0.083544 | -0.021014 | 3.577e-05 | 2.2815e-05 | 0.12561 | 0.12561 | 0.12561 | 0.99034 | -0.18556 | 0.98988 | -0.19452 | 34.5091
60 | 0.076204 | 0.019174 | -0.076174 | -0.019155 | 3.0791e-05 | 1.9626e-05 | 0.11458 | 0.11458 | 0.11458 | 0.98988 | -0.19452 | 0.98944 | -0.20298 | 31.4781
61 | -0.2573 | -0.064941 | 0.2574 | 0.065009 | 0.00010646 | 6.7733e-05 | 0.38433 | 0.38433 | 0.38433 | 0.99659 | -0.065252 | 0.99704 | -0.056618 | 26.3966
62 | 0.0127 | 0.0031829 | -0.0127 | -0.0031828 | 1.2765e-07 | 6.9209e-08 | 0.018905 | 0.018905 | 0.018905 | 0.99964 | -0.0068494 | 0.99963 | -0.0070604 | 5.1936
63 | 0.004246 | 0.001064 | -0.0042459 | -0.0010641 | 1.5481e-07 | -3.6392e-08 | 0.0063205 | 0.0063205 | 0.0063205 | 0.99963 | -0.0070604 | 0.99959 | -0.0078258 | 1.7364
64 | -0.16851 | -0.042465 | 0.16855 | 0.042486 | 3.2899e-05 | 2.0768e-05 | 0.2519 | 0.2519 | 0.2519 | 0.99575 | -0.081302 | 0.99597 | -0.077222 | 17.3009
65 | 0.0042459 | 0.0010641 | -0.0042458 | -0.0010641 | 8.5887e-08 | -2.0184e-08 | 0.0063205 | 0.0063205 | 0.0063205 | 0.99959 | -0.0078258 | 0.99957 | -0.0082504 | 1.7364
66 | -0.029668 | -0.0074677 | 0.029676 | 0.0074726 | 7.8556e-06 | 4.8935e-06 | 0.044712 | 0.044712 | 0.044712 | 0.98762 | -0.23833 | 0.9879 | -0.23279 | 12.2835
67 | -0.03181 | -0.0080074 | 0.031815 | 0.0080105 | 4.8305e-06 | 3.0197e-06 | 0.047926 | 0.047926 | 0.047926 | 0.9879 | -0.23279 | 0.98807 | -0.22962 | 13.1666
68 | -0.044512 | -0.011193 | 0.044516 | 0.011195 | 4.5007e-06 | 2.8463e-06 | 0.067048 | 0.067048 | 0.067048 | 0.98807 | -0.22962 | 0.98817 | -0.2275 | 18.4196
69 | 0.0036078 | 0.00090415 | -0.0036077 | -0.00090418 | 6.378e-08 | -3.3004e-08 | 0.0054327 | 0.0054327 | 0.0054327 | 0.98817 | -0.2275 | 0.98816 | -0.22787 | 1.4925
70 | -0.048124 | -0.0121 | 0.048149 | 0.012115 | 2.4766e-05 | 1.5689e-05 | 0.07248 | 0.07248 | 0.07248 | 0.98817 | -0.2275 | 0.98873 | -0.21673 | 19.9121
71 | -0.057707 | -0.014511 | 0.057724 | 0.014522 | 1.7142e-05 | 1.0893e-05 | 0.086865 | 0.086865 | 0.086865 | 0.98873 | -0.21673 | 0.98905 | -0.21051 | 23.864
72 | -0.065825 | -0.016552 | 0.065849 | 0.016567 | 2.369e-05 | 1.5079e-05 | 0.099053 | 0.099053 | 0.099053 | 0.98905 | -0.21051 | 0.98944 | -0.20298 | 27.2123

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53854 | 0.13588

## res_load
| p_mw | q_mvar
0 | 0.0033774 | 0.00084646
1 | 0.0052732 | 0.0013216
2 | 0.0080972 | 0.0020294
3 | 0.0051028 | 0.0012789
4 | 0.0089102 | 0.0022331
5 | 0.0039065 | 0.00097907
6 | 0.039354 | 0.0098631
7 | 0.012086 | 0.0030289
8 | 0.0053907 | 0.001351
9 | 0.0059133 | 0.001482
10 | 0.0042328 | 0.0010608
11 | 0.014474 | 0.0036274
12 | 0.0077807 | 0.00195
13 | 0.0084249 | 0.0021115
14 | 0.0078729 | 0.0019731
15 | 0.0082927 | 0.0020783
16 | 0.004396 | 0.0011017
17 | 0.0032328 | 0.00081022
18 | 0.023836 | 0.005974
19 | 0.004371 | 0.0010955
20 | 0.0099377 | 0.0024906
21 | 0.016317 | 0.0040895
22 | 0.0080117 | 0.0020079
23 | 0.0032 | 0.000802
24 | 0.0042417 | 0.0010631
25 | 0.0039753 | 0.0009963
26 | 0.024146 | 0.0060515
27 | 0.015544 | 0.0038957
28 | 0.0042078 | 0.0010546
29 | 0.027434 | 0.0068757
30 | 0.010979 | 0.0027517
31 | 0.0093307 | 0.0023385
32 | 0.0092692 | 0.0023231
33 | 0.0055675 | 0.0013954
34 | 0.009677 | 0.0024253
35 | 0.01475 | 0.0036966
36 | 0.045706 | 0.011455
37 | 0.0090796 | 0.0022755
38 | 0.0073396 | 0.0018395
39 | 0.012416 | 0.0031117
40 | 0.012675 | 0.0031766
41 | 0.0092213 | 0.0023111
42 | 0.0084539 | 0.0021188
43 | 0.0087856 | 0.0022019
44 | 0.0081681 | 0.0020471
45 | 0.0042458 | 0.0010641
46 | 0.0021342 | 0.00053487
47 | 0.012697 | 0.0031821
48 | 0.0036077 | 0.00090418
49 | 0.0095582 | 0.0023955
50 | 0.0081009 | 0.0020303
51 | 0.010325 | 0.0025876

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1