## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1103-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1103-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1103-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1103-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1103-6_0_4_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_1103-6_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_1103-6_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1103-6_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1103-6_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1103-6_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1103-6_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1103-6_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1103-6_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1103-6_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1103-6_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1103-6_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1103-6_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1103-6_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_1103-6_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1103-6_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_1103-6_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1103-6_0_4_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_1103-6_0_4_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_1103-6_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1103-6_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1103-6_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1103-6_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_1103-6_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_1103-6_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_1103-6_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1103-6_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1103-6_0_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_1103-6_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1103-6_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1103-6_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1103-6_0_4_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_1103-6_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_1103-6_0_4_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_1103-6_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1103-6_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1103-6_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1103-6_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1103-6_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_1103-6_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1103-6_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_1103-6_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1103-6_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1103-6_0_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_1103-6_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1103-6_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_1103-6_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_1103-6_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1103-6_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_1103-6_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1103-6_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_1103-6_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_1103-6_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1103-6_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_1103-6_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_1103-6_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_1103-6_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_MV_131_1_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1103-6_0_4_load_0 | 0 | 0.018885 | 0.0047331 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1103-6_0_4_load_2 | 2 | 0.00056198 | 0.00014085 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1103-6_0_4_load_19 | 4 | 0.00074241 | 0.00018607 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1103-6_0_4_load_17 | 5 | 0.0019969 | 0.00050047 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1103-6_0_4_load_15 | 6 | 0.0058289 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1103-6_0_4_load_18 | 7 | 0.010974 | 0.0027504 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1103-6_0_4_load_4 | 8 | 0.0013017 | 0.00032624 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1103-6_0_4_load_5 | 9 | 0.0040326 | 0.0010107 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1103-6_0_4_load_7 | 11 | 0.069785 | 0.01749 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1103-6_0_4_load_8 | 12 | 0.013437 | 0.0033676 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1103-6_0_4_load_53 | 17 | 0.0013394 | 0.00033569 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1103-6_0_4_load_45 | 19 | 0.0033223 | 0.00083264 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1103-6_0_4_load_55 | 21 | 0.044811 | 0.011231 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1103-6_0_4_load_61 | 22 | 0.0029367 | 0.00073601 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1103-6_0_4_load_26 | 23 | 0.0012399 | 0.00031075 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1103-6_0_4_load_24 | 24 | 0.0015836 | 0.0003969 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1103-6_0_4_load_54 | 26 | 0.0090979 | 0.0022802 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1103-6_0_4_load_44 | 27 | 0.0096015 | 0.0024064 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1103-6_0_4_load_25 | 29 | 0.0011994 | 0.0003006 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1103-6_0_4_load_23 | 30 | 0.0036588 | 0.00091697 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1103-6_0_4_load_49 | 31 | 0.087896 | 0.022029 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1103-6_0_4_load_20 | 32 | 0.00028666 | 7.1843e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1103-6_0_4_load_21 | 33 | 0.00061131 | 0.00015321 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1103-6_0_4_load_22 | 34 | 0.0028169 | 0.00070598 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1103-6_0_4_load_48 | 35 | 0.072133 | 0.018078 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1103-6_0_4_load_52 | 36 | 0.0036892 | 0.00092459 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1103-6_0_4_load_58 | 37 | 0.0010856 | 0.00027208 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1103-6_0_4_load_27 | 38 | 0.00042868 | 0.00010744 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1103-6_0_4_load_32 | 43 | 0.0010335 | 0.00025902 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1103-6_0_4_load_56 | 44 | 0.00058171 | 0.00014579 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1103-6_0_4_load_39 | 45 | 0.0010727 | 0.00026885 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1103-6_0_4_load_46 | 46 | 0.00055365 | 0.00013876 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1103-6_0_4_load_57 | 47 | 0.0014352 | 0.00035968 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1103-6_0_4_load_33 | 52 | 0.0011895 | 0.00029812 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1103-6_0_4_load_42 | 53 | 0.0017913 | 0.00044894 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1103-6_0_4_load_40 | 55 | 0.00055975 | 0.00014029 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1103-6_0_4_load_50 | 56 | 0.022999 | 0.0057642 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1103-6_0_4_load_41 | 57 | 0.00095951 | 0.00024048 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1103-6_0_4_load_43 | 58 | 0.0013017 | 0.00032624 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1103-6_0_4_load_47 | 59 | 0.00062303 | 0.00015615 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1103-6_0_4_load_59 | 60 | 0.0022413 | 0.00056172 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1103-6_0_4_line_0 |  | 0 | 1 | 0.036573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1103-6_0_4_line_1 |  | 1 | 2 | 0.051419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1103-6_0_4_line_2 |  | 1 | 3 | 0.022178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1103-6_0_4_line_3 |  | 3 | 4 | 0.026458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1103-6_0_4_line_4 |  | 3 | 5 | 0.014328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1103-6_0_4_line_5 |  | 4 | 6 | 0.030265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1103-6_0_4_line_6 |  | 5 | 7 | 0.0085857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1103-6_0_4_line_7 |  | 6 | 14 | 0.033631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1103-6_0_4_line_8 |  | 8 | 9 | 0.0035036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1103-6_0_4_line_9 |  | 8 | 10 | 0.024645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1103-6_0_4_line_10 |  | 9 | 11 | 0.073629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1103-6_0_4_line_11 |  | 10 | 12 | 0.025573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1103-6_0_4_line_12 |  | 10 | 13 | 0.072363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1103-6_0_4_line_13 |  | 11 | 14 | 0.05998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1103-6_0_4_line_14 |  | 13 | 18 | 0.020802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1103-6_0_4_line_15 |  | 13 | 19 | 0.018685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1103-6_0_4_line_16 |  | 14 | 25 | 0.054336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1103-6_0_4_line_17 |  | 15 | 16 | 0.053358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1103-6_0_4_line_18 |  | 15 | 17 | 0.08103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1103-6_0_4_line_19 |  | 16 | 20 | 0.021903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1103-6_0_4_line_20 |  | 16 | 21 | 0.078324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1103-6_0_4_line_21 |  | 17 | 26 | 0.0024756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1103-6_0_4_line_22 |  | 18 | 23 | 0.016433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1103-6_0_4_line_23 |  | 18 | 24 | 0.033348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1103-6_0_4_line_24 |  | 19 | 27 | 0.0092286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1103-6_0_4_line_25 |  | 20 | 22 | 0.042353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1103-6_0_4_line_26 |  | 23 | 28 | 0.025086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1103-6_0_4_line_27 |  | 24 | 29 | 0.0065859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1103-6_0_4_line_28 |  | 25 | 30 | 0.04659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1103-6_0_4_line_29 |  | 26 | 41 | 0.01994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1103-6_0_4_line_30 |  | 27 | 34 | 0.032068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1103-6_0_4_line_31 |  | 28 | 36 | 0.017478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1103-6_0_4_line_32 |  | 28 | 37 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1103-6_0_4_line_33 |  | 30 | 31 | 0.052632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1103-6_0_4_line_34 |  | 31 | 35 | 0.026257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1103-6_0_4_line_35 |  | 32 | 33 | 0.00026969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1103-6_0_4_line_36 |  | 33 | 34 | 0.012716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1103-6_0_4_line_37 |  | 36 | 54 | 0.03188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1103-6_0_4_line_38 |  | 37 | 60 | 0.010768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1103-6_0_4_line_39 |  | 38 | 39 | 0.0079679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1103-6_0_4_line_40 |  | 38 | 40 | 0.02286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1103-6_0_4_line_41 |  | 39 | 41 | 0.024899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1103-6_0_4_line_42 |  | 40 | 42 | 0.08641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1103-6_0_4_line_43 |  | 40 | 43 | 0.02324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1103-6_0_4_line_44 |  | 41 | 44 | 0.018908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1103-6_0_4_line_45 |  | 42 | 45 | 0.01618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1103-6_0_4_line_46 |  | 43 | 46 | 0.010138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1103-6_0_4_line_47 |  | 44 | 47 | 0.010544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1103-6_0_4_line_48 |  | 45 | 48 | 0.021758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1103-6_0_4_line_49 |  | 48 | 49 | 0.023586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1103-6_0_4_line_50 |  | 49 | 52 | 0.010564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1103-6_0_4_line_51 |  | 50 | 51 | 0.032082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1103-6_0_4_line_52 |  | 50 | 52 | 0.010359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1103-6_0_4_line_53 |  | 51 | 53 | 0.020951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1103-6_0_4_line_54 |  | 51 | 54 | 0.009542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1103-6_0_4_line_55 |  | 53 | 55 | 0.013826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1103-6_0_4_line_56 |  | 54 | 56 | 0.062092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1103-6_0_4_line_57 |  | 55 | 57 | 0.024638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1103-6_0_4_line_58 |  | 57 | 58 | 0.00089104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1103-6_0_4_line_59 |  | 58 | 59 | 0.012115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1103-6_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 61 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2650008.7782 | 1225571.666 | 2649997.4029 | 1225574.9169 | 2649977.2986 | 1225560.4953
1 | 2650008.7782 | 1225571.666 | 2649968.1107 | 1225540.1998
2 | 2650027.1468 | 1225584.1724 | 2650008.7782 | 1225571.666
3 | 2650027.1468 | 1225584.1724 | 2650042.6279 | 1225562.7168
4 | 2650027.1468 | 1225584.1724 | 2650018.8787 | 1225595.8739
5 | 2650042.6279 | 1225562.7168 | 2650060.337 | 1225538.1733
6 | 2650018.8787 | 1225595.8739 | 2650013.9242 | 1225602.8858
7 | 2650079.9253 | 1225510.8373 | 2650076.2728 | 1225516.0876 | 2650060.337 | 1225538.1733
8 | 2649968.2982 | 1225431.2563 | 2649971.2728 | 1225433.1076
9 | 2649947.375 | 1225418.2334 | 2649968.2982 | 1225431.2563
10 | 2649971.2728 | 1225433.1076 | 2649975.0968 | 1225435.4878 | 2649986.5533 | 1225443.3666 | 2650031.3632 | 1225475.637
11 | 2649947.375 | 1225418.2334 | 2649932.0868 | 1225438.7624
12 | 2649947.375 | 1225418.2334 | 2649941.3645 | 1225414.4918 | 2649938.2984 | 1225412.198 | 2649971.7453 | 1225393.1445 | 2649979.6115 | 1225380.8251 | 2649985.4683 | 1225374.8817
13 | 2650079.9253 | 1225510.8373 | 2650074.4343 | 1225506.6552 | 2650031.3632 | 1225475.637
14 | 2649984.9451 | 1225360.4462 | 2649977.8797 | 1225365.8791 | 2649983.0571 | 1225373.1271 | 2649985.4683 | 1225374.8817
15 | 2649985.4683 | 1225374.8817 | 2650000.5774 | 1225385.8744
16 | 2650079.9253 | 1225510.8373 | 2650110.9422 | 1225466.1705
17 | 2649858.8327 | 1225377.4551 | 2649856.0305 | 1225384.3804 | 2649854.2709 | 1225390.8141 | 2649852.9992 | 1225396.9294 | 2649852.6522 | 1225402.152 | 2649852.6298 | 1225407.544 | 2649853.0662 | 1225411.5613 | 2649853.9855 | 1225414.9377 | 2649856.0417 | 1225419.2465 | 2649858.7367 | 1225423.3049 | 2649862.5432 | 1225426.8056
18 | 2649858.8327 | 1225377.4551 | 2649869.599 | 1225351.0289 | 2649876.3575 | 1225337.8885 | 2649899.6635 | 1225308.2324
19 | 2649862.5432 | 1225426.8056 | 2649865.9574 | 1225429.1801 | 2649870.0912 | 1225430.7046 | 2649874.701 | 1225431.5215 | 2649871.5633 | 1225439.5891
20 | 2649862.5432 | 1225426.8056 | 2649853.0203 | 1225434.2305 | 2649846.315 | 1225438.3213 | 2649842.6238 | 1225440.0693 | 2649839.0134 | 1225441.2065 | 2649834.2404 | 1225441.778 | 2649828.6548 | 1225441.62 | 2649821.8899 | 1225441.0631 | 2649811.6985 | 1225439.5992 | 2649801.1181 | 1225436.6199 | 2649792.252 | 1225433.4994 | 2649789.8261 | 1225432.4222
21 | 2649899.6635 | 1225308.2324 | 2649901.1932 | 1225306.2859
22 | 2649984.9451 | 1225360.4462 | 2649997.9763 | 1225350.4345
23 | 2649984.9451 | 1225360.4462 | 2649954.7275 | 1225346.3402
24 | 2650000.5774 | 1225385.8744 | 2650008.0399 | 1225391.3038
25 | 2649858.9741 | 1225480.0309 | 2649865.284 | 1225459.7934 | 2649869.8946 | 1225445.123 | 2649870.3088 | 1225443.6477 | 2649871.5633 | 1225439.5891
26 | 2650017.8688 | 1225335.1514 | 2649997.9763 | 1225350.4345
27 | 2649948.7598 | 1225343.5543 | 2649954.7275 | 1225346.3402
28 | 2650110.9422 | 1225466.1705 | 2650138.0018 | 1225428.2439
29 | 2649914.3413 | 1225291.3112 | 2649904.8546 | 1225301.627 | 2649901.1932 | 1225306.2859
30 | 2650008.0399 | 1225391.3038 | 2650033.9711 | 1225410.1701
31 | 2650017.8688 | 1225335.1514 | 2650031.726 | 1225324.5002
32 | 2650017.8688 | 1225335.1514 | 2650008.915 | 1225322.7961
33 | 2650168.5827 | 1225385.4077 | 2650167.5486 | 1225386.8313 | 2650138.0018 | 1225428.2439
34 | 2650184.0144 | 1225364.1636 | 2650168.5827 | 1225385.4077
35 | 2650044.2536 | 1225417.6511 | 2650044.4717 | 1225417.8098
36 | 2650044.2536 | 1225417.6511 | 2650033.9711 | 1225410.1701
37 | 2650055.5402 | 1225303.326 | 2650035.4104 | 1225321.6682 | 2650031.726 | 1225324.5002
38 | 2650002.5961 | 1225314.0767 | 2650008.915 | 1225322.7961
39 | 2649931.2187 | 1225272.9636 | 2649936.6112 | 1225267.0977
40 | 2649952.0822 | 1225250.2689 | 2649936.6112 | 1225267.0977
41 | 2649931.2187 | 1225272.9636 | 2649914.3413 | 1225291.3112
42 | 2649952.0822 | 1225250.2689 | 2649970.8037 | 1225229.9134 | 2649973.4845 | 1225227.5344 | 2649976.5864 | 1225225.5814 | 2649979.1204 | 1225224.4464 | 2649981.7338 | 1225223.7791 | 2649984.7143 | 1225223.6484 | 2649988.1016 | 1225223.8103 | 2649994.7528 | 1225225.2893 | 2650019.0344 | 1225232.531 | 2650026.5485 | 1225234.1729
43 | 2649952.0822 | 1225250.2689 | 2649959.0296 | 1225258.9103 | 2649968.0496 | 1225267.0536
44 | 2649914.3413 | 1225291.3112 | 2649928.3931 | 1225303.963
45 | 2650026.5485 | 1225234.1729 | 2650026.5311 | 1225238.9535 | 2650034.9915 | 1225241.6484 | 2650037.4404 | 1225242.2438
46 | 2649975.5746 | 1225273.8473 | 2649968.0496 | 1225267.0536
47 | 2649936.2288 | 1225311.018 | 2649928.3931 | 1225303.963
48 | 2650059.1132 | 1225242.6518 | 2650044.9797 | 1225242.9665 | 2650040.2495 | 1225242.9267 | 2650037.4404 | 1225242.2438
49 | 2650059.1132 | 1225242.6518 | 2650066.6303 | 1225246.6285 | 2650072.6222 | 1225250.7815 | 2650078.8286 | 1225255.5699
50 | 2650078.8286 | 1225255.5699 | 2650080.1059 | 1225266.056
51 | 2650062.6066 | 1225296.8925 | 2650075.3569 | 1225285.2703 | 2650085.4405 | 1225274.3372
52 | 2650085.4405 | 1225274.3372 | 2650081.205 | 1225270.4658 | 2650080.488 | 1225269.1923 | 2650080.1059 | 1225266.056
53 | 2650062.6066 | 1225296.8925 | 2650049.2431 | 1225291.2989 | 2650043.3557 | 1225288.6295
54 | 2650062.6066 | 1225296.8925 | 2650055.5402 | 1225303.326
55 | 2650031.4492 | 1225281.6214 | 2650041.9478 | 1225287.9911 | 2650043.3557 | 1225288.6295
56 | 2650055.5402 | 1225303.326 | 2650065.7475 | 1225311.9282 | 2650106.7085 | 1225338.3504
57 | 2650031.4492 | 1225281.6214 | 2650010.3847 | 1225268.8409
58 | 2650009.6229 | 1225268.3787 | 2650010.3847 | 1225268.8409
59 | 2649999.2651 | 1225262.0944 | 2650009.6229 | 1225268.3787

## bus_geodata
| x | y | coords
0 | 2649977.2986 | 1225560.4953
1 | 2650008.7782 | 1225571.666
2 | 2649968.1107 | 1225540.1998
3 | 2650027.1468 | 1225584.1724
4 | 2650042.6279 | 1225562.7168
5 | 2650018.8787 | 1225595.8739
6 | 2650060.337 | 1225538.1733
7 | 2650013.9242 | 1225602.8858
8 | 2649968.2982 | 1225431.2563
9 | 2649971.2728 | 1225433.1076
10 | 2649947.375 | 1225418.2334
11 | 2650031.3632 | 1225475.637
12 | 2649932.0868 | 1225438.7624
13 | 2649985.4683 | 1225374.8817
14 | 2650079.9253 | 1225510.8373
15 | 2649858.8327 | 1225377.4551
16 | 2649862.5432 | 1225426.8056
17 | 2649899.6635 | 1225308.2324
18 | 2649984.9451 | 1225360.4462
19 | 2650000.5774 | 1225385.8744
20 | 2649871.5633 | 1225439.5891
21 | 2649789.8261 | 1225432.4222
22 | 2649858.9741 | 1225480.0309
23 | 2649997.9763 | 1225350.4345
24 | 2649954.7275 | 1225346.3402
25 | 2650110.9422 | 1225466.1705
26 | 2649901.1932 | 1225306.2859
27 | 2650008.0399 | 1225391.3038
28 | 2650017.8688 | 1225335.1514
29 | 2649948.7598 | 1225343.5543
30 | 2650138.0018 | 1225428.2439
31 | 2650168.5827 | 1225385.4077
32 | 2650044.4717 | 1225417.8098
33 | 2650044.2536 | 1225417.6511
34 | 2650033.9711 | 1225410.1701
35 | 2650184.0144 | 1225364.1636
36 | 2650031.726 | 1225324.5002
37 | 2650008.915 | 1225322.7961
38 | 2649936.6112 | 1225267.0977
39 | 2649931.2187 | 1225272.9636
40 | 2649952.0822 | 1225250.2689
41 | 2649914.3413 | 1225291.3112
42 | 2650026.5485 | 1225234.1729
43 | 2649968.0496 | 1225267.0536
44 | 2649928.3931 | 1225303.963
45 | 2650037.4404 | 1225242.2438
46 | 2649975.5746 | 1225273.8473
47 | 2649936.2288 | 1225311.018
48 | 2650059.1132 | 1225242.6518
49 | 2650078.8286 | 1225255.5699
50 | 2650085.4405 | 1225274.3372
51 | 2650062.6066 | 1225296.8925
52 | 2650080.1059 | 1225266.056
53 | 2650043.3557 | 1225288.6295
54 | 2650055.5402 | 1225303.326
55 | 2650031.4492 | 1225281.6214
56 | 2650106.7085 | 1225338.3504
57 | 2650010.3847 | 1225268.8409
58 | 2650009.6229 | 1225268.3787
59 | 2649999.2651 | 1225262.0944
60 | 2650002.5961 | 1225314.0767
61 | 2650044.4717 | 1225417.8098

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97494 | -0.48169 | 0.018885 | 0.0047331
1 | 0.97558 | -0.46904 | 0 | 0
2 | 0.97555 | -0.46957 | 0.00056198 | 0.00014085
3 | 0.97598 | -0.46114 | 0 | 0
4 | 0.97678 | -0.44546 | 0.00074241 | 0.00018607
5 | 0.97581 | -0.46454 | 0.0019969 | 0.00050047
6 | 0.97771 | -0.42714 | 0.0058289 | 0.0014609
7 | 0.97572 | -0.46627 | 0.010974 | 0.0027504
8 | 0.98666 | -0.25352 | 0.0013017 | 0.00032624
9 | 0.98643 | -0.25785 | 0.0040326 | 0.0010107
10 | 0.98825 | -0.22292 | 0 | 0
11 | 0.98177 | -0.34813 | 0.069785 | 0.01749
12 | 0.98793 | -0.22905 | 0.013437 | 0.0033676
13 | 0.99315 | -0.12934 | 0 | 0
14 | 0.97893 | -0.40325 | 0 | 0
15 | 0.9757 | -0.4658 | 0 | 0
16 | 0.97332 | -0.51257 | 0 | 0
17 | 0.97932 | -0.39522 | 0.0013394 | 0.00033569
18 | 0.99265 | -0.13888 | 0 | 0
19 | 0.99487 | -0.096781 | 0.0033223 | 0.00083264
20 | 0.97326 | -0.51375 | 0 | 0
21 | 0.97004 | -0.57736 | 0.044811 | 0.011231
22 | 0.97315 | -0.51604 | 0.0029367 | 0.00073601
23 | 0.99227 | -0.14623 | 0.0012399 | 0.00031075
24 | 0.99257 | -0.14052 | 0.0015836 | 0.0003969
25 | 0.97686 | -0.44379 | 0 | 0
26 | 0.97943 | -0.39301 | 0.0090979 | 0.0022802
27 | 0.99572 | -0.080608 | 0.0096015 | 0.0024064
28 | 0.99169 | -0.15731 | 0 | 0
29 | 0.99256 | -0.14066 | 0.0011994 | 0.0003006
30 | 0.97508 | -0.47867 | 0.0036588 | 0.00091697
31 | 0.97312 | -0.51735 | 0.087896 | 0.022029
32 | 1 | 0 | -0.42158 | -0.10854
33 | 0.99997 | -0.00048354 | 0.00061131 | 0.00015321
34 | 0.99876 | -0.023277 | 0.0028169 | 0.00070598
35 | 0.97135 | -0.55228 | 0.072133 | 0.018078
36 | 0.9913 | -0.16478 | 0.0036892 | 0.00092459
37 | 0.99164 | -0.15821 | 0.0010856 | 0.00027208
38 | 0.98236 | -0.33614 | 0.00042868 | 0.00010744
39 | 0.98192 | -0.34481 | 0 | 0
40 | 0.98366 | -0.31114 | 0 | 0
41 | 0.98052 | -0.37195 | 0 | 0
42 | 0.98868 | -0.21476 | 0 | 0
43 | 0.98362 | -0.3118 | 0.0010335 | 0.00025902
44 | 0.98048 | -0.37264 | 0.00058171 | 0.00014579
45 | 0.98899 | -0.20878 | 0.0010727 | 0.00026885
46 | 0.98362 | -0.3119 | 0.00055365 | 0.00013876
47 | 0.98047 | -0.37292 | 0.0014352 | 0.00035968
48 | 0.98931 | -0.20265 | 0 | 0
49 | 0.98966 | -0.196 | 0 | 0
50 | 0.98997 | -0.19005 | 0 | 0
51 | 0.99046 | -0.18086 | 0 | 0
52 | 0.98982 | -0.19303 | 0.0011895 | 0.00029812
53 | 0.99035 | -0.18281 | 0.0017913 | 0.00044894
54 | 0.99061 | -0.1779 | 0 | 0
55 | 0.99031 | -0.18365 | 0.00055975 | 0.00014029
56 | 0.9893 | -0.2033 | 0.022999 | 0.0057642
57 | 0.99025 | -0.18492 | 0.00095951 | 0.00024048
58 | 0.99024 | -0.18495 | 0.0013017 | 0.00032624
59 | 0.99024 | -0.18508 | 0.00062303 | 0.00015615
60 | 0.99162 | -0.15864 | 0.0022413 | 0.00056172
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018885 | -0.0047331 | 0.018897 | 0.00474 | 1.1395e-05 | 6.8362e-06 | 0.028824 | 0.028824 | 0.028824 | 0.97494 | -0.48169 | 0.97558 | -0.46904 | 7.9187
1 | 0.00056199 | 0.00014021 | -0.00056198 | -0.00014085 | 1.4164e-08 | -6.3296e-07 | 0.00085696 | 0.00085719 | 0.00085719 | 0.97558 | -0.46904 | 0.97555 | -0.46957 | 0.23549
2 | -0.019459 | -0.0048802 | 0.019466 | 0.0048846 | 7.3267e-06 | 4.4121e-06 | 0.029681 | 0.029681 | 0.029681 | 0.97558 | -0.46904 | 0.97598 | -0.46114 | 8.1541
3 | -0.03244 | -0.0081371 | 0.032465 | 0.0081523 | 2.4273e-05 | 1.5204e-05 | 0.049462 | 0.049462 | 0.049462 | 0.97598 | -0.46114 | 0.97678 | -0.44546 | 13.5885
4 | 0.012974 | 0.0032525 | -0.012972 | -0.0032514 | 2.1024e-06 | 1.1665e-06 | 0.019781 | 0.019781 | 0.019781 | 0.97598 | -0.46114 | 0.97581 | -0.46454 | 5.4344
5 | -0.033207 | -0.0083384 | 0.033236 | 0.0083566 | 2.9051e-05 | 1.8213e-05 | 0.050593 | 0.050593 | 0.050593 | 0.97678 | -0.44546 | 0.97771 | -0.42714 | 13.8992
6 | 0.010975 | 0.0027509 | -0.010974 | -0.0027504 | 9.0183e-07 | 4.6993e-07 | 0.016736 | 0.016736 | 0.016736 | 0.97581 | -0.46454 | 0.97572 | -0.46627 | 4.5979
7 | -0.039065 | -0.0098175 | 0.03911 | 0.0098456 | 4.4594e-05 | 2.8118e-05 | 0.059464 | 0.059464 | 0.059464 | 0.97771 | -0.42714 | 0.97893 | -0.40325 | 16.3363
8 | 0.27942 | 0.071148 | -0.27936 | -0.071111 | 5.8439e-05 | 3.7222e-05 | 0.4218 | 0.4218 | 0.4218 | 0.98666 | -0.25352 | 0.98643 | -0.25785 | 28.9698
9 | -0.28072 | -0.071474 | 0.28113 | 0.071739 | 0.0004149 | 0.00026428 | 0.42376 | 0.42376 | 0.42376 | 0.98666 | -0.25352 | 0.98825 | -0.22292 | 29.1046
10 | 0.27533 | 0.0701 | -0.27413 | -0.06934 | 0.0011929 | 0.00075974 | 0.41572 | 0.41572 | 0.41572 | 0.98643 | -0.25785 | 0.98177 | -0.34813 | 28.5521
11 | 0.013441 | 0.0033697 | -0.013437 | -0.0033676 | 3.9279e-06 | 2.1863e-06 | 0.020238 | 0.020238 | 0.020238 | 0.98825 | -0.22292 | 0.98793 | -0.22905 | 5.56
12 | -0.29457 | -0.075108 | 0.29591 | 0.075961 | 0.0013374 | 0.0008522 | 0.444 | 0.444 | 0.444 | 0.98825 | -0.22292 | 0.99315 | -0.12934 | 30.4946
13 | 0.20435 | 0.051851 | -0.20381 | -0.051508 | 0.00054021 | 0.00034271 | 0.30995 | 0.30995 | 0.30995 | 0.98177 | -0.34813 | 0.97893 | -0.40325 | 21.2878
14 | 0.10508 | 0.02683 | -0.10503 | -0.0268 | 4.8446e-05 | 2.9929e-05 | 0.15761 | 0.15761 | 0.15761 | 0.99315 | -0.12934 | 0.99265 | -0.13888 | 10.8251
15 | -0.40099 | -0.10279 | 0.40162 | 0.1032 | 0.00063401 | 0.0004048 | 0.60161 | 0.60161 | 0.60161 | 0.99315 | -0.12934 | 0.99487 | -0.096781 | 41.3195
16 | 0.1647 | 0.041662 | -0.16438 | -0.041461 | 0.00031962 | 0.00020183 | 0.25049 | 0.25049 | 0.25049 | 0.97893 | -0.40325 | 0.97686 | -0.44379 | 17.2038
17 | 0.047994 | 0.012122 | -0.047887 | -0.012054 | 0.0001073 | 6.8005e-05 | 0.073228 | 0.073228 | 0.073228 | 0.9757 | -0.4658 | 0.97332 | -0.51257 | 20.1176
18 | -0.047994 | -0.012122 | 0.048157 | 0.012225 | 0.00016294 | 0.00010327 | 0.073228 | 0.073228 | 0.073228 | 0.9757 | -0.4658 | 0.97932 | -0.39522 | 20.1176
19 | 0.0029372 | 0.00073552 | -0.002937 | -0.00073569 | 1.656e-07 | -1.6622e-07 | 0.0044902 | 0.0044903 | 0.0044903 | 0.97332 | -0.51257 | 0.97326 | -0.51375 | 1.2336
20 | 0.044949 | 0.011318 | -0.044811 | -0.011231 | 0.00013878 | 8.7847e-05 | 0.068738 | 0.068738 | 0.068738 | 0.97332 | -0.51257 | 0.97004 | -0.57736 | 18.8842
21 | -0.049496 | -0.012561 | 0.049502 | 0.012564 | 5.2586e-06 | 3.3343e-06 | 0.075263 | 0.075263 | 0.075263 | 0.97932 | -0.39522 | 0.97943 | -0.39301 | 20.6766
22 | 0.10225 | 0.026103 | -0.10221 | -0.026081 | 3.6272e-05 | 2.2365e-05 | 0.15344 | 0.15344 | 0.15344 | 0.99265 | -0.13888 | 0.99227 | -0.14623 | 10.5386
23 | 0.0027833 | 0.00069712 | -0.002783 | -0.00069741 | 2.1768e-07 | -2.9175e-07 | 0.004172 | 0.0041722 | 0.0041722 | 0.99265 | -0.13888 | 0.99257 | -0.14052 | 1.1462
24 | -0.40495 | -0.10403 | 0.40526 | 0.10423 | 0.00031834 | 0.00020326 | 0.60658 | 0.60658 | 0.60658 | 0.99487 | -0.096781 | 0.99572 | -0.080608 | 41.6608
25 | 0.002937 | 0.00073569 | -0.0029367 | -0.00073601 | 3.2024e-07 | -3.2131e-07 | 0.0044903 | 0.0044905 | 0.0044905 | 0.97326 | -0.51375 | 0.97315 | -0.51604 | 1.2336
26 | 0.10097 | 0.02577 | -0.10092 | -0.025737 | 5.4037e-05 | 3.3288e-05 | 0.15158 | 0.15158 | 0.15158 | 0.99227 | -0.14623 | 0.99169 | -0.15731 | 10.4109
27 | 0.0011994 | 0.00030052 | -0.0011994 | -0.0003006 | 7.9849e-09 | -8.0012e-08 | 0.0017981 | 0.0017981 | 0.0017981 | 0.99257 | -0.14052 | 0.99256 | -0.14066 | 0.49398
28 | 0.16438 | 0.041461 | -0.1641 | -0.041287 | 0.00027405 | 0.00017307 | 0.25049 | 0.25049 | 0.25049 | 0.97686 | -0.44379 | 0.97508 | -0.47867 | 17.2038
29 | -0.058599 | -0.014844 | 0.058659 | 0.014882 | 5.9343e-05 | 3.7728e-05 | 0.089085 | 0.089085 | 0.089085 | 0.97943 | -0.39301 | 0.98052 | -0.37195 | 24.4738
30 | -0.41487 | -0.10664 | 0.41602 | 0.10738 | 0.0011591 | 0.00074017 | 0.62093 | 0.62093 | 0.62093 | 0.99572 | -0.080608 | 0.99876 | -0.023277 | 42.6463
31 | 0.097589 | 0.024903 | -0.097554 | -0.024882 | 3.521e-05 | 2.1633e-05 | 0.14659 | 0.14659 | 0.14659 | 0.99169 | -0.15731 | 0.9913 | -0.16478 | 10.0681
32 | 0.0033271 | 0.00083359 | -0.003327 | -0.00083369 | 1.426e-07 | -1.0559e-07 | 0.0049922 | 0.0049923 | 0.0049923 | 0.99169 | -0.15731 | 0.99164 | -0.15821 | 1.3715
33 | 0.16045 | 0.04037 | -0.16015 | -0.040184 | 0.00029595 | 0.00018679 | 0.2449 | 0.24491 | 0.24491 | 0.97508 | -0.47867 | 0.97312 | -0.51735 | 16.8204
34 | 0.072253 | 0.018155 | -0.072133 | -0.018078 | 0.00012023 | 7.6622e-05 | 0.1105 | 0.1105 | 0.1105 | 0.97312 | -0.51735 | 0.97135 | -0.55228 | 30.3574
35 | 0.41993 | 0.10854 | -0.41992 | -0.10853 | 9.9092e-06 | 6.3277e-06 | 0.62603 | 0.62603 | 0.62603 | 1 | 0 | 0.99997 | -0.00048354 | 42.9969
36 | 0.41931 | 0.10838 | -0.41884 | -0.10808 | 0.00046586 | 0.00029748 | 0.62513 | 0.62513 | 0.62513 | 0.99997 | -0.00048354 | 0.99876 | -0.023277 | 42.9344
37 | 0.093865 | 0.023957 | -0.093806 | -0.023921 | 5.9465e-05 | 3.6415e-05 | 0.14105 | 0.14105 | 0.14105 | 0.9913 | -0.16478 | 0.99061 | -0.1779 | 9.6878
38 | 0.0022413 | 0.00056161 | -0.0022413 | -0.00056172 | 4.5676e-08 | -1.0968e-07 | 0.0033632 | 0.0033633 | 0.0033633 | 0.99164 | -0.15821 | 0.99162 | -0.15864 | 0.92397
39 | 0.06078 | 0.015454 | -0.060755 | -0.015438 | 2.537e-05 | 1.6136e-05 | 0.092145 | 0.092145 | 0.092145 | 0.98236 | -0.33614 | 0.98192 | -0.34481 | 25.3146
40 | -0.061209 | -0.015561 | 0.061283 | 0.015608 | 7.3815e-05 | 4.6952e-05 | 0.092795 | 0.092795 | 0.092795 | 0.98236 | -0.33614 | 0.98366 | -0.31114 | 25.493
41 | 0.060755 | 0.015438 | -0.060676 | -0.015387 | 7.9279e-05 | 5.0424e-05 | 0.092145 | 0.092145 | 0.092145 | 0.98192 | -0.34481 | 0.98052 | -0.37195 | 25.3147
42 | -0.06287 | -0.016006 | 0.063164 | 0.016192 | 0.00029365 | 0.00018683 | 0.095195 | 0.095195 | 0.095195 | 0.98366 | -0.31114 | 0.98868 | -0.21476 | 26.1526
43 | 0.0015872 | 0.00039739 | -0.0015871 | -0.00039765 | 5.0237e-08 | -2.6285e-07 | 0.0024009 | 0.002401 | 0.002401 | 0.98366 | -0.31114 | 0.98362 | -0.3118 | 0.65961
44 | 0.002017 | 0.00050516 | -0.0020169 | -0.00050535 | 6.6429e-08 | -1.9597e-07 | 0.0030608 | 0.0030609 | 0.0030609 | 0.98052 | -0.37195 | 0.98048 | -0.37264 | 0.8409
45 | -0.063164 | -0.016192 | 0.063182 | 0.016204 | 1.8328e-05 | 1.1107e-05 | 0.095195 | 0.095195 | 0.095195 | 0.98868 | -0.21476 | 0.98899 | -0.20878 | 8.7175
46 | 0.00055366 | 0.00013863 | -0.00055365 | -0.00013876 | 2.6668e-09 | -1.2698e-07 | 0.00083752 | 0.00083756 | 0.00083756 | 0.98362 | -0.3118 | 0.98362 | -0.3119 | 0.2301
47 | 0.0014352 | 0.00035956 | -0.0014352 | -0.00035968 | 1.8757e-08 | -1.2097e-07 | 0.002178 | 0.0021781 | 0.0021781 | 0.98048 | -0.37264 | 0.98047 | -0.37292 | 0.59837
48 | -0.064255 | -0.016472 | 0.064274 | 0.016484 | 1.9117e-05 | 1.1118e-05 | 0.096809 | 0.096808 | 0.096809 | 0.98899 | -0.20878 | 0.98931 | -0.20265 | 6.6489
49 | -0.064274 | -0.016484 | 0.064295 | 0.016496 | 2.0723e-05 | 1.2051e-05 | 0.096808 | 0.096808 | 0.096808 | 0.98931 | -0.20265 | 0.98966 | -0.196 | 6.6489
50 | -0.064295 | -0.016496 | 0.064304 | 0.016501 | 9.2811e-06 | 5.3969e-06 | 0.096808 | 0.096808 | 0.096808 | 0.98966 | -0.196 | 0.98982 | -0.19303 | 6.6489
51 | -0.065503 | -0.016805 | 0.065532 | 0.016822 | 2.9238e-05 | 1.7061e-05 | 0.098596 | 0.098595 | 0.098596 | 0.98997 | -0.19005 | 0.99046 | -0.18086 | 6.7717
52 | 0.065503 | 0.016805 | -0.065493 | -0.016799 | 9.4409e-06 | 5.5095e-06 | 0.098596 | 0.098596 | 0.098596 | 0.98997 | -0.19005 | 0.98982 | -0.19303 | 6.7717
53 | 0.0052361 | 0.0013117 | -0.0052356 | -0.0013116 | 4.8617e-07 | 4.1529e-08 | 0.0078663 | 0.0078664 | 0.0078664 | 0.99046 | -0.18086 | 0.99035 | -0.18281 | 2.1611
54 | -0.070768 | -0.018133 | 0.070778 | 0.018139 | 1.0139e-05 | 5.9976e-06 | 0.10646 | 0.10646 | 0.10646 | 0.99046 | -0.18086 | 0.99061 | -0.1779 | 7.3119
55 | 0.0034443 | 0.00086269 | -0.0034442 | -0.00086278 | 1.3885e-07 | -8.9031e-08 | 0.0051749 | 0.005175 | 0.005175 | 0.99035 | -0.18281 | 0.99031 | -0.18365 | 1.4217
56 | 0.023027 | 0.0057812 | -0.022999 | -0.0057642 | 2.7865e-05 | 1.7035e-05 | 0.034593 | 0.034593 | 0.034593 | 0.99061 | -0.1779 | 0.9893 | -0.2033 | 9.5037
57 | 0.0028844 | 0.0007225 | -0.0028843 | -0.0007227 | 1.7355e-07 | -2.0591e-07 | 0.0043339 | 0.0043341 | 0.0043341 | 0.99031 | -0.18365 | 0.99025 | -0.18492 | 1.1907
58 | 0.0019248 | 0.00048222 | -0.0019248 | -0.00048223 | 2.7951e-09 | -9.6739e-09 | 0.0028922 | 0.0028922 | 0.0028922 | 0.99025 | -0.18492 | 0.99024 | -0.18495 | 0.79457
59 | 0.00062303 | 0.00015599 | -0.00062303 | -0.00015615 | 3.9819e-09 | -1.5331e-07 | 0.00093616 | 0.00093622 | 0.00093622 | 0.99024 | -0.18495 | 0.99024 | -0.18508 | 0.2572

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42187 | 0.10861

## res_load
| p_mw | q_mvar
0 | 0.018885 | 0.0047331
1 | 0.00056198 | 0.00014085
2 | 0.00074241 | 0.00018607
3 | 0.0019969 | 0.00050047
4 | 0.0058289 | 0.0014609
5 | 0.010974 | 0.0027504
6 | 0.0013017 | 0.00032624
7 | 0.0040326 | 0.0010107
8 | 0.069785 | 0.01749
9 | 0.013437 | 0.0033676
10 | 0.0013394 | 0.00033569
11 | 0.0033223 | 0.00083264
12 | 0.044811 | 0.011231
13 | 0.0029367 | 0.00073601
14 | 0.0012399 | 0.00031075
15 | 0.0015836 | 0.0003969
16 | 0.0090979 | 0.0022802
17 | 0.0096015 | 0.0024064
18 | 0.0011994 | 0.0003006
19 | 0.0036588 | 0.00091697
20 | 0.087896 | 0.022029
21 | 0.00028666 | 7.1843e-05
22 | 0.00061131 | 0.00015321
23 | 0.0028169 | 0.00070598
24 | 0.072133 | 0.018078
25 | 0.0036892 | 0.00092459
26 | 0.0010856 | 0.00027208
27 | 0.00042868 | 0.00010744
28 | 0.0010335 | 0.00025902
29 | 0.00058171 | 0.00014579
30 | 0.0010727 | 0.00026885
31 | 0.00055365 | 0.00013876
32 | 0.0014352 | 0.00035968
33 | 0.0011895 | 0.00029812
34 | 0.0017913 | 0.00044894
35 | 0.00055975 | 0.00014029
36 | 0.022999 | 0.0057642
37 | 0.00095951 | 0.00024048
38 | 0.0013017 | 0.00032624
39 | 0.00062303 | 0.00015615
40 | 0.0022413 | 0.00056172

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1