## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1103-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1103-9_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1103-9_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1103-9_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1103-9_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1103-9_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1103-9_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1103-9_0_4_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_1103-9_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1103-9_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1103-9_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1103-9_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1103-9_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1103-9_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1103-9_0_4_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_1103-9_0_4_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_1103-9_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1103-9_0_4_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_1103-9_0_4_node_79 | 0.4 | n |  | TRUE
19 | bus_LV_1103-9_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1103-9_0_4_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_1103-9_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1103-9_0_4_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_1103-9_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1103-9_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1103-9_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_1103-9_0_4_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_1103-9_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1103-9_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_1103-9_0_4_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_1103-9_0_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_1103-9_0_4_node_81 | 0.4 | n |  | TRUE
32 | bus_MV_131_1_node_195 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1103-9_0_4_load_0 | 0 | 0.0025885 | 0.00064873 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1103-9_0_4_load_3 | 2 | 0.0062719 | 0.0015719 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1103-9_0_4_load_14 | 6 | 0.0065259 | 0.0016355 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1103-9_0_4_load_41 | 7 | 0.0030197 | 0.0007568 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1103-9_0_4_load_10 | 8 | 0.0015606 | 0.00039113 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1103-9_0_4_load_11 | 9 | 0.0041464 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1103-9_0_4_load_13 | 11 | 0.00040273 | 0.00010093 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1103-9_0_4_load_78 | 15 | 0.036026 | 0.0090289 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1103-9_0_4_load_72 | 17 | 0.055205 | 0.013836 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1103-9_0_4_load_79 | 18 | 0.067965 | 0.017034 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1103-9_0_4_load_76 | 20 | 0.0070199 | 0.0017593 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1103-9_0_4_load_75 | 22 | 0.064145 | 0.016076 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1103-9_0_4_load_20 | 23 | 0.021946 | 0.0055001 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1103-9_0_4_load_21 | 24 | 0.0025419 | 0.00063705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1103-9_0_4_load_39 | 25 | 0.00078547 | 0.00019686 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1103-9_0_4_load_40 | 26 | 0.0014216 | 0.0003563 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1103-9_0_4_load_42 | 27 | 0.0032966 | 0.00082621 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1103-9_0_4_load_80 | 30 | 0.064576 | 0.016184 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1103-9_0_4_load_81 | 31 | 0.054429 | 0.013641 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1103-9_0_4_line_0 |  | 0 | 1 | 0.0043227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1103-9_0_4_line_1 |  | 1 | 2 | 0.07445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1103-9_0_4_line_2 |  | 2 | 3 | 0.012147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1103-9_0_4_line_3 |  | 3 | 4 | 0.10974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1103-9_0_4_line_4 |  | 4 | 5 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1103-9_0_4_line_5 |  | 4 | 6 | 0.043255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1103-9_0_4_line_6 |  | 5 | 7 | 0.012803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1103-9_0_4_line_7 |  | 6 | 10 | 0.085297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1103-9_0_4_line_8 |  | 7 | 25 | 0.036835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1103-9_0_4_line_9 |  | 8 | 9 | 0.0096441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1103-9_0_4_line_10 |  | 8 | 10 | 0.048737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1103-9_0_4_line_11 |  | 9 | 11 | 0.0097032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1103-9_0_4_line_12 |  | 10 | 12 | 0.0654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1103-9_0_4_line_13 |  | 10 | 13 | 0.079035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1103-9_0_4_line_14 |  | 12 | 14 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1103-9_0_4_line_15 |  | 12 | 15 | 0.042003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1103-9_0_4_line_16 |  | 13 | 16 | 0.026507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1103-9_0_4_line_17 |  | 13 | 17 | 0.041246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1103-9_0_4_line_18 |  | 14 | 30 | 0.02515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1103-9_0_4_line_19 |  | 14 | 31 | 0.017146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1103-9_0_4_line_20 |  | 16 | 18 | 0.003959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1103-9_0_4_line_21 |  | 17 | 28 | 0.015679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1103-9_0_4_line_22 |  | 19 | 20 | 0.02231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1103-9_0_4_line_23 |  | 19 | 21 | 0.087685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1103-9_0_4_line_24 |  | 19 | 22 | 0.044402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1103-9_0_4_line_25 |  | 21 | 23 | 0.045362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1103-9_0_4_line_26 |  | 22 | 29 | 0.028478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1103-9_0_4_line_27 |  | 23 | 24 | 0.037757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1103-9_0_4_line_28 |  | 25 | 26 | 0.015839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1103-9_0_4_line_29 |  | 26 | 27 | 0.037973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1103-9_0_4_line_30 |  | 28 | 29 | 0.027148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1103-9_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 32 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2649952.0822 | 1225250.2689 | 2649949.1567 | 1225253.4512
1 | 2649952.0822 | 1225250.2689 | 2649970.8037 | 1225229.9134 | 2649973.4845 | 1225227.5344 | 2649976.5864 | 1225225.5814 | 2649979.1204 | 1225224.4464 | 2649981.7338 | 1225223.7791 | 2649984.7143 | 1225223.6484 | 2649988.1016 | 1225223.8103 | 2649994.7528 | 1225225.2893 | 2650014.7646 | 1225231.2575
2 | 2650026.5485 | 1225234.1729 | 2650019.0344 | 1225232.531 | 2650014.7646 | 1225231.2575
3 | 2650026.5485 | 1225234.1729 | 2650031.116 | 1225234.6226 | 2650036.1737 | 1225234.4873 | 2650041.4702 | 1225233.887 | 2650046.3869 | 1225232.483 | 2650053.3144 | 1225229.9507 | 2650065.2546 | 1225224.5255 | 2650061.5211 | 1225217.7455 | 2650058.5996 | 1225210.8722 | 2650055.5518 | 1225201.8855 | 2650052.2002 | 1225188.4601 | 2650051.6496 | 1225184.5197 | 2650050.9797 | 1225179.4443 | 2650050.6308 | 1225174.0491 | 2650050.5095 | 1225166.8436 | 2650050.9407 | 1225157.9418
4 | 2650050.9407 | 1225157.9418 | 2650052.1167 | 1225149.7132 | 2650053.6062 | 1225142.966 | 2650055.5787 | 1225136.4897
5 | 2650050.9407 | 1225157.9418 | 2650036.4563 | 1225154.8737 | 2650014.5012 | 1225146.8065 | 2650009.8587 | 1225144.7968
6 | 2650055.5787 | 1225136.4897 | 2650058.8163 | 1225127.4224 | 2650060.1139 | 1225124.5248
7 | 2649938.1625 | 1225099.5145 | 2649950.3395 | 1225110.1454 | 2649964.7678 | 1225120.8063 | 2649990.4052 | 1225136.3755 | 2650009.8587 | 1225144.7968
8 | 2650079.0808 | 1225093.1009 | 2650074.7583 | 1225098.7053 | 2650068.2562 | 1225108.3233 | 2650063.5138 | 1225116.9332 | 2650060.1139 | 1225124.5248
9 | 2649923.3053 | 1225145.9319 | 2649920.3653 | 1225155.117
10 | 2649938.1625 | 1225099.5145 | 2649923.3053 | 1225145.9319
11 | 2649917.4074 | 1225164.3584 | 2649920.3653 | 1225155.117
12 | 2649938.1625 | 1225099.5145 | 2649931.5612 | 1225092.9662 | 2649966.8837 | 1225049.3799
13 | 2649910.0506 | 1225041.7765 | 2649898.0115 | 1225048.1351 | 2649905.2369 | 1225059.8251 | 2649912.6292 | 1225070.5937 | 2649921.46 | 1225081.5856 | 2649931.5612 | 1225092.9662 | 2649938.1625 | 1225099.5145
14 | 2649966.8837 | 1225049.3799 | 2649982.7072 | 1225053.7042
15 | 2649966.8837 | 1225049.3799 | 2649956.6175 | 1225035.0738 | 2649955.3288 | 1225034.1625 | 2649953.3303 | 1225033.8121 | 2649951.4315 | 1225034.2298 | 2649934.806 | 1225043.2515
16 | 2649910.0506 | 1225041.7765 | 2649899.6262 | 1225017.3963
17 | 2649910.0506 | 1225041.7765 | 2649945.9332 | 1225021.4373
18 | 2650007.0324 | 1225060.357 | 2649982.7072 | 1225053.7042
19 | 2649974.2906 | 1225068.3316 | 2649980.3812 | 1225060.7558 | 2649981.2396 | 1225058.7395 | 2649982.7072 | 1225053.7042
20 | 2649903.3599 | 1225016.0489 | 2649899.6262 | 1225017.3963
21 | 2649960.0106 | 1225014.6897 | 2649954.7573 | 1225016.4356 | 2649945.9332 | 1225021.4373
22 | 2650023.3307 | 1225004.5705 | 2650018.4574 | 1225019.7278 | 2650016.5706 | 1225025.8318
23 | 2650023.3307 | 1225004.5705 | 2650028.0093 | 1224990.023 | 2650052.7104 | 1224995.2671 | 2650062.4324 | 1224997.6392 | 2650071.5829 | 1225000.3511 | 2650086.6624 | 1225005.7034 | 2650084.4989 | 1225012.3449 | 2650083.0444 | 1225016.7243
24 | 2650023.3307 | 1225004.5705 | 2649979.886 | 1224995.3982
25 | 2650083.0444 | 1225016.7243 | 2650071.6957 | 1225013.9716 | 2650069.7274 | 1225013.6437 | 2650068.0581 | 1225013.8076 | 2650066.8705 | 1225014.398 | 2650065.6 | 1225015.8215 | 2650063.8412 | 1225019.4201 | 2650057.3103 | 1225041.2349
26 | 2649951.9076 | 1224990.1399 | 2649963.9913 | 1224992.0424 | 2649979.886 | 1224995.3982
27 | 2650057.3103 | 1225041.2349 | 2650049.7539 | 1225066.4752 | 2650049.6069 | 1225068.6309 | 2650050.2616 | 1225071.0045 | 2650051.5887 | 1225072.7612 | 2650053.8883 | 1225074.2703 | 2650055.6552 | 1225074.7651
28 | 2650079.0808 | 1225093.1009 | 2650088.049 | 1225081.4731 | 2650088.8241 | 1225080.6174
29 | 2650088.8241 | 1225080.6174 | 2650114.3169 | 1225052.4734
30 | 2649951.9076 | 1224990.1399 | 2649955.07 | 1224991.823 | 2649959.352 | 1225005.5452 | 2649959.3969 | 1225007.4245 | 2649959.5782 | 1225012.9183 | 2649960.0106 | 1225014.6897

## bus_geodata
| x | y | coords
0 | 2649949.1567 | 1225253.4512
1 | 2649952.0822 | 1225250.2689
2 | 2650014.7646 | 1225231.2575
3 | 2650026.5485 | 1225234.1729
4 | 2650050.9407 | 1225157.9418
5 | 2650055.5787 | 1225136.4897
6 | 2650009.8587 | 1225144.7968
7 | 2650060.1139 | 1225124.5248
8 | 2649923.3053 | 1225145.9319
9 | 2649920.3653 | 1225155.117
10 | 2649938.1625 | 1225099.5145
11 | 2649917.4074 | 1225164.3584
12 | 2649966.8837 | 1225049.3799
13 | 2649910.0506 | 1225041.7765
14 | 2649982.7072 | 1225053.7042
15 | 2649934.806 | 1225043.2515
16 | 2649899.6262 | 1225017.3963
17 | 2649945.9332 | 1225021.4373
18 | 2649903.3599 | 1225016.0489
19 | 2650023.3307 | 1225004.5705
20 | 2650016.5706 | 1225025.8318
21 | 2650083.0444 | 1225016.7243
22 | 2649979.886 | 1224995.3982
23 | 2650057.3103 | 1225041.2349
24 | 2650055.6552 | 1225074.7651
25 | 2650079.0808 | 1225093.1009
26 | 2650088.8241 | 1225080.6174
27 | 2650114.3169 | 1225052.4734
28 | 2649960.0106 | 1225014.6897
29 | 2649951.9076 | 1224990.1399
30 | 2650007.0324 | 1225060.357
31 | 2649974.2906 | 1225068.3316
32 | 2649982.7072 | 1225053.7042

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98872 | -0.21535 | 0.0025885 | 0.00064873
1 | 0.98873 | -0.21515 | 0 | 0
2 | 0.98891 | -0.21172 | 0.0062719 | 0.0015719
3 | 0.98901 | -0.2098 | 0 | 0
4 | 0.9899 | -0.19248 | 0 | 0
5 | 0.98973 | -0.19581 | 0 | 0
6 | 0.99059 | -0.1791 | 0.0065259 | 0.0016355
7 | 0.98963 | -0.19776 | 0.0030197 | 0.0007568
8 | 0.99219 | -0.1482 | 0.0015606 | 0.00039113
9 | 0.99215 | -0.14897 | 0.0041464 | 0.0010392
10 | 0.99246 | -0.14293 | 0 | 0
11 | 0.99214 | -0.14904 | 0.00040273 | 0.00010093
12 | 1 | 0 | -0.41056 | -0.10443
13 | 0.98444 | -0.2972 | 0 | 0
14 | 0.99823 | -0.033992 | 0 | 0
15 | 0.99863 | -0.026411 | 0.036026 | 0.0090289
16 | 0.98278 | -0.32966 | 0 | 0
17 | 0.98155 | -0.35332 | 0.055205 | 0.013836
18 | 0.98253 | -0.33451 | 0.067965 | 0.017034
19 | 0.97389 | -0.50321 | 0 | 0
20 | 0.97375 | -0.50608 | 0.0070199 | 0.0017593
21 | 0.97189 | -0.54275 | 0 | 0
22 | 0.9752 | -0.47753 | 0.064145 | 0.016076
23 | 0.97085 | -0.56327 | 0.021946 | 0.0055001
24 | 0.97076 | -0.56505 | 0.0025419 | 0.00063705
25 | 0.98944 | -0.20137 | 0.00078547 | 0.00019686
26 | 0.98937 | -0.2027 | 0.0014216 | 0.0003563
27 | 0.98926 | -0.20493 | 0.0032966 | 0.00082621
28 | 0.98015 | -0.3805 | 0 | 0
29 | 0.97773 | -0.42773 | 0 | 0
30 | 0.99675 | -0.062442 | 0.064576 | 0.016184
31 | 0.99738 | -0.05033 | 0.054429 | 0.013641
32 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0025885 | -0.00064873 | 0.0025885 | 0.00064869 | 2.46e-08 | -3.9696e-08 | 0.0038956 | 0.0038956 | 0.0038956 | 0.98872 | -0.21535 | 0.98873 | -0.21515 | 1.0702
1 | -0.0025885 | -0.00064869 | 0.0025889 | 0.00064801 | 4.2365e-07 | -6.8388e-07 | 0.0038956 | 0.0038953 | 0.0038956 | 0.98873 | -0.21515 | 0.98891 | -0.21172 | 1.0702
2 | -0.0088608 | -0.0022199 | 0.0088616 | 0.0022203 | 8.0971e-07 | 3.6235e-07 | 0.013333 | 0.013333 | 0.013333 | 0.98891 | -0.21172 | 0.98901 | -0.2098 | 3.6628
3 | -0.0088616 | -0.0022203 | 0.0088689 | 0.0022235 | 7.315e-06 | 3.2721e-06 | 0.013333 | 0.013332 | 0.013333 | 0.98901 | -0.2098 | 0.9899 | -0.19248 | 3.6628
4 | 0.0085271 | 0.0021369 | -0.0085258 | -0.0021364 | 1.355e-06 | 5.8454e-07 | 0.012818 | 0.012818 | 0.012818 | 0.9899 | -0.19248 | 0.98973 | -0.19581 | 3.5214
5 | -0.017396 | -0.0043605 | 0.017407 | 0.004367 | 1.1092e-05 | 6.5423e-06 | 0.02615 | 0.02615 | 0.02615 | 0.9899 | -0.19248 | 0.99059 | -0.1791 | 7.1841
6 | 0.0085258 | 0.0021364 | -0.008525 | -0.002136 | 7.8882e-07 | 3.4033e-07 | 0.012818 | 0.012818 | 0.012818 | 0.98973 | -0.19581 | 0.98963 | -0.19776 | 3.5214
7 | -0.023933 | -0.0060026 | 0.023974 | 0.0060279 | 4.1345e-05 | 2.5361e-05 | 0.035953 | 0.035952 | 0.035953 | 0.99059 | -0.1791 | 0.99246 | -0.14293 | 9.8771
8 | 0.0055053 | 0.0013792 | -0.0055044 | -0.0013791 | 9.4649e-07 | 1.3257e-07 | 0.0082777 | 0.0082778 | 0.0082778 | 0.98963 | -0.19776 | 0.98944 | -0.20137 | 2.2741
9 | 0.0045493 | 0.00114 | -0.0045491 | -0.00114 | 1.6835e-07 | -1.6807e-08 | 0.0068227 | 0.0068227 | 0.0068227 | 0.99219 | -0.1482 | 0.99215 | -0.14897 | 1.8744
10 | -0.0061099 | -0.0015311 | 0.0061115 | 0.0015315 | 1.5345e-06 | 3.5248e-07 | 0.0091632 | 0.009163 | 0.0091632 | 0.99219 | -0.1482 | 0.99246 | -0.14293 | 2.5174
11 | 0.00040273 | 0.00010081 | -0.00040273 | -0.00010093 | 1.3274e-09 | -1.2446e-07 | 0.00060397 | 0.00060401 | 0.00060401 | 0.99215 | -0.14897 | 0.99214 | -0.14904 | 0.16594
12 | -0.25176 | -0.064219 | 0.25351 | 0.065338 | 0.0017509 | 0.0011189 | 0.37787 | 0.37787 | 0.37787 | 0.99246 | -0.14293 | 1 | 0 | 51.9053
13 | 0.22167 | 0.05666 | -0.22003 | -0.055612 | 0.0016409 | 0.0010481 | 0.33276 | 0.33276 | 0.33276 | 0.99246 | -0.14293 | 0.98444 | -0.2972 | 45.7083
14 | 0.11933 | 0.030032 | -0.11914 | -0.029908 | 0.00019351 | 0.00012363 | 0.17761 | 0.17761 | 0.17761 | 1 | 0 | 0.99823 | -0.033992 | 48.7933
15 | 0.036071 | 0.0090574 | -0.036026 | -0.0090289 | 4.5389e-05 | 2.8498e-05 | 0.053681 | 0.053681 | 0.053681 | 1 | 0 | 0.99863 | -0.026411 | 14.7475
16 | 0.068086 | 0.017111 | -0.067981 | -0.017044 | 0.00010532 | 6.7065e-05 | 0.10293 | 0.10293 | 0.10293 | 0.98444 | -0.2972 | 0.98278 | -0.32966 | 28.278
17 | 0.15195 | 0.038501 | -0.15154 | -0.038241 | 0.00040849 | 0.00026039 | 0.22982 | 0.22983 | 0.22983 | 0.98444 | -0.2972 | 0.98155 | -0.35332 | 31.5694
18 | 0.064664 | 0.01624 | -0.064576 | -0.016184 | 8.765e-05 | 5.5768e-05 | 0.096403 | 0.096403 | 0.096403 | 0.99823 | -0.033992 | 0.99675 | -0.062442 | 26.4845
19 | 0.054472 | 0.013668 | -0.054429 | -0.013641 | 4.2399e-05 | 2.6911e-05 | 0.081204 | 0.081204 | 0.081204 | 0.99823 | -0.033992 | 0.99738 | -0.05033 | 22.3089
20 | 0.067981 | 0.017044 | -0.067965 | -0.017034 | 1.573e-05 | 1.0017e-05 | 0.10293 | 0.10293 | 0.10293 | 0.98278 | -0.32966 | 0.98253 | -0.33451 | 28.278
21 | 0.096334 | 0.024405 | -0.096209 | -0.024325 | 0.00012556 | 8.0162e-05 | 0.14614 | 0.14614 | 0.14614 | 0.98155 | -0.35332 | 0.98015 | -0.3805 | 40.1471
22 | 0.0070208 | 0.0017597 | -0.0070199 | -0.0017593 | 9.6276e-07 | 3.386e-07 | 0.010727 | 0.010727 | 0.010727 | 0.97389 | -0.50321 | 0.97375 | -0.50608 | 2.9471
23 | 0.024558 | 0.0061802 | -0.024512 | -0.0061516 | 4.6318e-05 | 2.8555e-05 | 0.037532 | 0.037532 | 0.037532 | 0.97389 | -0.50321 | 0.97189 | -0.54275 | 10.311
24 | -0.031579 | -0.0079398 | 0.031618 | 0.0079641 | 3.8778e-05 | 2.4265e-05 | 0.048259 | 0.048259 | 0.048259 | 0.97389 | -0.50321 | 0.9752 | -0.47753 | 13.2579
25 | 0.024512 | 0.0061516 | -0.024488 | -0.0061368 | 2.3962e-05 | 1.4774e-05 | 0.037532 | 0.037532 | 0.037532 | 0.97189 | -0.54275 | 0.97085 | -0.56327 | 10.311
26 | -0.095763 | -0.02404 | 0.095991 | 0.024186 | 0.00022806 | 0.0001456 | 0.14614 | 0.14614 | 0.14614 | 0.9752 | -0.47753 | 0.97773 | -0.42773 | 40.1471
27 | 0.0025421 | 0.00063673 | -0.0025419 | -0.00063705 | 2.1494e-07 | -3.2928e-07 | 0.0038961 | 0.0038963 | 0.0038963 | 0.97085 | -0.56327 | 0.97076 | -0.56505 | 1.0704
28 | 0.0047189 | 0.0011822 | -0.0047186 | -0.0011822 | 2.9913e-07 | -1.1974e-08 | 0.0070966 | 0.0070967 | 0.0070967 | 0.98944 | -0.20137 | 0.98937 | -0.2027 | 1.9496
29 | 0.003297 | 0.00082595 | -0.0032966 | -0.00082621 | 3.5013e-07 | -2.6351e-07 | 0.0049585 | 0.0049587 | 0.0049587 | 0.98937 | -0.2027 | 0.98926 | -0.20493 | 1.3623
30 | 0.096209 | 0.024325 | -0.095991 | -0.024186 | 0.00021741 | 0.0001388 | 0.14614 | 0.14614 | 0.14614 | 0.98015 | -0.3805 | 0.97773 | -0.42773 | 40.1471

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41056 | 0.10443

## res_load
| p_mw | q_mvar
0 | 0.0025885 | 0.00064873
1 | 0.0062719 | 0.0015719
2 | 0.0065259 | 0.0016355
3 | 0.0030197 | 0.0007568
4 | 0.0015606 | 0.00039113
5 | 0.0041464 | 0.0010392
6 | 0.00040273 | 0.00010093
7 | 0.036026 | 0.0090289
8 | 0.055205 | 0.013836
9 | 0.067965 | 0.017034
10 | 0.0070199 | 0.0017593
11 | 0.064145 | 0.016076
12 | 0.021946 | 0.0055001
13 | 0.0025419 | 0.00063705
14 | 0.00078547 | 0.00019686
15 | 0.0014216 | 0.0003563
16 | 0.0032966 | 0.00082621
17 | 0.064576 | 0.016184
18 | 0.054429 | 0.013641

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1