## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_113-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_113-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_113-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_113-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_113-15_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_113-15_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_113-15_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_113-15_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_113-15_0_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_113-15_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_113-15_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_113-15_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_113-15_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_113-15_0_4_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_113-15_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_113-15_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_113-15_0_4_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_113-15_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_113-15_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_113-15_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_113-15_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_113-15_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_113-15_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_113-15_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_113-15_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_113-15_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_113-15_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_113-15_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_113-15_0_4_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_113-15_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_113-15_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_113-15_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_113-15_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_113-15_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_113-15_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_113-15_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_113-15_0_4_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_113-15_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_113-15_0_4_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_113-15_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_113-15_0_4_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_113-15_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_113-15_0_4_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_113-15_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_113-15_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_113-15_0_4_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_113-15_0_4_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_113-15_0_4_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_113-15_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_113-15_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_113-15_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_113-15_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_113-15_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_113-15_0_4_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_113-15_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_113-15_0_4_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_113-15_0_4_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_113-15_0_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_113-15_0_4_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_113-15_0_4_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_113-15_0_4_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_113-15_0_4_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_113-15_0_4_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_113-15_0_4_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_113-15_0_4_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_113-15_0_4_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_113-15_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_113-15_0_4_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_113-15_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_113-15_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_113-15_0_4_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_113-15_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_113-15_0_4_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_113-15_0_4_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_113-15_0_4_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_113-15_0_4_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_113-15_0_4_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_113-15_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_113-15_0_4_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_113-15_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_113-15_0_4_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_113-15_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_113-15_0_4_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_113-15_0_4_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_113-15_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_113-15_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_113-15_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_MV_9_2_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_113-15_0_4_load_0 | 0 | 0.0018549 | 0.00046487 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_113-15_0_4_load_1 | 1 | 0.0038546 | 0.00096605 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_113-15_0_4_load_2 | 2 | 0.00277 | 0.00069423 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_113-15_0_4_load_4 | 4 | 0.0037591 | 0.00094212 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_113-15_0_4_load_12 | 5 | 0.0017176 | 0.00043047 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_113-15_0_4_load_9 | 6 | 0.00045036 | 0.00011287 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_113-15_0_4_load_7 | 7 | 0.004169 | 0.0010449 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_113-15_0_4_load_46 | 8 | 0.010362 | 0.0025971 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_113-15_0_4_load_10 | 9 | 0.00063797 | 0.00015989 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_113-15_0_4_load_5 | 10 | 0.012334 | 0.0030913 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_113-15_0_4_load_6 | 11 | 0.013317 | 0.0033375 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_113-15_0_4_load_28 | 13 | 0.0064499 | 0.0016165 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_113-15_0_4_load_41 | 15 | 0.004492 | 0.0011258 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_113-15_0_4_load_39 | 17 | 0.014629 | 0.0036663 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_113-15_0_4_load_27 | 19 | 0.00053274 | 0.00013352 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_113-15_0_4_load_25 | 20 | 0.0095066 | 0.0023826 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_113-15_0_4_load_13 | 21 | 0.0017815 | 0.00044648 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_113-15_0_4_load_16 | 24 | 0.0042224 | 0.0010582 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_113-15_0_4_load_17 | 25 | 0.003656 | 0.00091627 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_113-15_0_4_load_54 | 26 | 0.0011794 | 0.00029558 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_113-15_0_4_load_53 | 28 | 0.0015966 | 0.00040014 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_113-15_0_4_load_18 | 30 | 0.0034307 | 0.0008598 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_113-15_0_4_load_19 | 31 | 0.0080587 | 0.0020197 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_113-15_0_4_load_21 | 33 | 0.0054181 | 0.0013579 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_113-15_0_4_load_38 | 35 | 0.0074938 | 0.0018781 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_113-15_0_4_load_90 | 36 | 0.0056168 | 0.0014077 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_113-15_0_4_load_78 | 38 | 0.0052255 | 0.0013096 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_113-15_0_4_load_88 | 40 | 0.0014103 | 0.00035346 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_113-15_0_4_load_89 | 42 | 0.005698 | 0.001428 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_113-15_0_4_load_73 | 45 | 0.0038911 | 0.00097521 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_113-15_0_4_load_74 | 46 | 0.012296 | 0.0030818 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_113-15_0_4_load_86 | 47 | 0.0049724 | 0.0012462 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_113-15_0_4_load_31 | 48 | 0.0082379 | 0.0020646 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_113-15_0_4_load_33 | 50 | 0.0070305 | 0.001762 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_113-15_0_4_load_77 | 53 | 0.01331 | 0.0033358 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_113-15_0_4_load_75 | 55 | 0.013975 | 0.0035024 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_113-15_0_4_load_81 | 56 | 0.0016244 | 0.0004071 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_113-15_0_4_load_79 | 59 | 0.0017679 | 0.00044309 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_113-15_0_4_load_83 | 62 | 0.013396 | 0.0033574 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_113-15_0_4_load_66 | 63 | 0.0017998 | 0.00045106 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_113-15_0_4_load_84 | 67 | 0.0016246 | 0.00040715 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_113-15_0_4_load_58 | 69 | 0.0011143 | 0.00027928 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_113-15_0_4_load_47 | 71 | 0.00088426 | 0.00022162 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_113-15_0_4_load_48 | 72 | 0.0031602 | 0.00079202 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_113-15_0_4_load_49 | 73 | 0.0016902 | 0.00042359 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_113-15_0_4_load_50 | 74 | 0.0017713 | 0.00044394 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_113-15_0_4_load_51 | 75 | 0.0013967 | 0.00035005 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_113-15_0_4_load_55 | 77 | 0.0013299 | 0.0003333 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_113-15_0_4_load_56 | 78 | 0.0011391 | 0.00028547 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_113-15_0_4_load_59 | 80 | 0.0012601 | 0.00031582 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_113-15_0_4_load_62 | 81 | 0.0026703 | 0.00066924 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_113-15_0_4_load_63 | 82 | 0.0055739 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_113-15_0_4_load_65 | 84 | 0.012096 | 0.0030315 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_113-15_0_4_load_85 | 85 | 0.0016253 | 0.00040735 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_113-15_0_4_load_87 | 86 | 0.013398 | 0.0033579 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_113-15_0_4_line_0 |  | 0 | 1 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_113-15_0_4_line_1 |  | 0 | 2 | 0.015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_113-15_0_4_line_2 |  | 1 | 3 | 0.026558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_113-15_0_4_line_3 |  | 2 | 4 | 0.01573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_113-15_0_4_line_4 |  | 3 | 5 | 0.011362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_113-15_0_4_line_5 |  | 3 | 6 | 0.013244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_113-15_0_4_line_6 |  | 4 | 7 | 0.016173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_113-15_0_4_line_7 |  | 5 | 8 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_113-15_0_4_line_8 |  | 6 | 9 | 0.015566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_113-15_0_4_line_9 |  | 7 | 10 | 0.027485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_113-15_0_4_line_10 |  | 9 | 18 | 0.010839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_113-15_0_4_line_11 |  | 10 | 11 | 0.0066135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_113-15_0_4_line_12 |  | 11 | 12 | 0.028946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_113-15_0_4_line_13 |  | 12 | 13 | 0.001593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_113-15_0_4_line_14 |  | 12 | 14 | 0.017974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_113-15_0_4_line_15 |  | 14 | 15 | 0.026538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_113-15_0_4_line_16 |  | 14 | 16 | 0.04253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_113-15_0_4_line_17 |  | 14 | 17 | 0.017436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_113-15_0_4_line_18 |  | 16 | 47 | 0.02677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_113-15_0_4_line_19 |  | 16 | 39 | 0.023197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_113-15_0_4_line_20 |  | 17 | 34 | 0.0040096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_113-15_0_4_line_21 |  | 18 | 19 | 0.017798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_113-15_0_4_line_22 |  | 18 | 20 | 0.041931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_113-15_0_4_line_23 |  | 21 | 22 | 0.013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_113-15_0_4_line_24 |  | 21 | 23 | 0.015888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_113-15_0_4_line_25 |  | 22 | 24 | 0.018141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_113-15_0_4_line_26 |  | 23 | 25 | 0.0074064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_113-15_0_4_line_27 |  | 24 | 26 | 7.6514e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_113-15_0_4_line_28 |  | 25 | 27 | 0.0045198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_113-15_0_4_line_29 |  | 26 | 28 | 0.022172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_113-15_0_4_line_30 |  | 27 | 29 | 0.020353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_113-15_0_4_line_31 |  | 28 | 75 | 0.0010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_113-15_0_4_line_32 |  | 29 | 36 | 0.002924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_113-15_0_4_line_33 |  | 29 | 32 | 0.026555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_113-15_0_4_line_34 |  | 30 | 31 | 0.029672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_113-15_0_4_line_35 |  | 30 | 32 | 0.015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_113-15_0_4_line_36 |  | 31 | 33 | 0.0044771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_113-15_0_4_line_37 |  | 32 | 34 | 0.015845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_113-15_0_4_line_38 |  | 33 | 35 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_113-15_0_4_line_39 |  | 34 | 37 | 0.038242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_113-15_0_4_line_40 |  | 37 | 38 | 0.028059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_113-15_0_4_line_41 |  | 39 | 40 | 0.003914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_113-15_0_4_line_42 |  | 41 | 42 | 0.005193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_113-15_0_4_line_43 |  | 41 | 43 | 0.044719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_113-15_0_4_line_44 |  | 43 | 68 | 0.006849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_113-15_0_4_line_45 |  | 43 | 69 | 0.0015644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_113-15_0_4_line_46 |  | 44 | 45 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_113-15_0_4_line_47 |  | 44 | 46 | 0.027649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_113-15_0_4_line_48 |  | 45 | 70 | 0.007224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_113-15_0_4_line_49 |  | 46 | 65 | 0.0063371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_113-15_0_4_line_50 |  | 48 | 49 | 0.036686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_113-15_0_4_line_51 |  | 48 | 50 | 0.0030487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_113-15_0_4_line_52 |  | 49 | 51 | 0.01335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_113-15_0_4_line_53 |  | 49 | 52 | 0.032034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_113-15_0_4_line_54 |  | 51 | 53 | 0.004972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_113-15_0_4_line_55 |  | 51 | 54 | 0.06818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_113-15_0_4_line_56 |  | 52 | 55 | 0.03221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_113-15_0_4_line_57 |  | 54 | 56 | 0.006714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_113-15_0_4_line_58 |  | 54 | 57 | 0.043771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_113-15_0_4_line_59 |  | 54 | 58 | 0.050783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_113-15_0_4_line_60 |  | 57 | 61 | 0.013409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_113-15_0_4_line_61 |  | 57 | 62 | 0.005453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_113-15_0_4_line_62 |  | 58 | 59 | 0.005701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_113-15_0_4_line_63 |  | 58 | 60 | 0.013362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_113-15_0_4_line_64 |  | 60 | 85 | 0.005181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_113-15_0_4_line_65 |  | 60 | 66 | 0.024411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_113-15_0_4_line_66 |  | 61 | 86 | 0.007148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_113-15_0_4_line_67 |  | 63 | 64 | 0.0052064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_113-15_0_4_line_68 |  | 64 | 65 | 0.033988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_113-15_0_4_line_69 |  | 64 | 66 | 0.052839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_113-15_0_4_line_70 |  | 66 | 67 | 0.02241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_113-15_0_4_line_71 |  | 68 | 81 | 0.01702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_113-15_0_4_line_72 |  | 69 | 80 | 0.0015014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_113-15_0_4_line_73 |  | 70 | 84 | 0.0049477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_113-15_0_4_line_74 |  | 71 | 72 | 0.021285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_113-15_0_4_line_75 |  | 71 | 73 | 0.0031941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_113-15_0_4_line_76 |  | 72 | 74 | 0.011594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_113-15_0_4_line_77 |  | 73 | 75 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_113-15_0_4_line_78 |  | 74 | 76 | 0.031076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_113-15_0_4_line_79 |  | 76 | 77 | 0.030386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_113-15_0_4_line_80 |  | 77 | 78 | 0.0076307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_113-15_0_4_line_81 |  | 78 | 79 | 0.016947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_113-15_0_4_line_82 |  | 79 | 80 | 0.0041122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_113-15_0_4_line_83 |  | 81 | 82 | 0.0045733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_113-15_0_4_line_84 |  | 82 | 83 | 0.016985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_113-15_0_4_line_85 |  | 83 | 84 | 0.0089627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_113-15_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 87 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2706743.0391 | 1235930.1943 | 2706760.6418 | 1235928.373
1 | 2706743.0391 | 1235930.1943 | 2706727.8756 | 1235931.7633
2 | 2706787.0588 | 1235925.6396 | 2706760.6418 | 1235928.373
3 | 2706712.2294 | 1235933.3822 | 2706727.8756 | 1235931.7633
4 | 2706787.0588 | 1235925.6396 | 2706785.9262 | 1235914.3345
5 | 2706787.0588 | 1235925.6396 | 2706791.0629 | 1235925.2224 | 2706800.2281 | 1235924.2305
6 | 2706696.1423 | 1235935.0468 | 2706712.2294 | 1235933.3822
7 | 2706784.0043 | 1235895.1502 | 2706785.9262 | 1235914.3345
8 | 2706815.704 | 1235922.5557 | 2706800.2281 | 1235924.2305
9 | 2706696.1423 | 1235935.0468 | 2706696.1423 | 1235935.0468 | 2706692.8543 | 1235936.4777 | 2706687.1451 | 1235937.4315 | 2706669.0375 | 1235937.7877
10 | 2706826.4802 | 1235921.3894 | 2706815.704 | 1235922.5557
11 | 2706662.4581 | 1235938.3583 | 2706666.4663 | 1235937.8383 | 2706669.0375 | 1235937.7877
12 | 2706634.3474 | 1235943.4661 | 2706643.1 | 1235942.478 | 2706645.7616 | 1235940.5242 | 2706662.4581 | 1235938.3583
13 | 2706634.3474 | 1235943.4661 | 2706634.0956 | 1235941.8937
14 | 2706616.519 | 1235945.7367 | 2706629.1032 | 1235944.2392 | 2706634.3474 | 1235943.4661
15 | 2706616.519 | 1235945.7367 | 2706606.1789 | 1235944.9284 | 2706604.8671 | 1235957.7035 | 2706601.5053 | 1235957.7655
16 | 2706616.1398 | 1235903.2084 | 2706616.1466 | 1235904.0981 | 2706616.3811 | 1235930.656 | 2706616.519 | 1235945.7367
17 | 2706616.519 | 1235945.7367 | 2706613.5361 | 1235959.6828 | 2706612.6386 | 1235962.7279
18 | 2706606.028 | 1235921.2964 | 2706608.1031 | 1235921.2336 | 2706609.44 | 1235903.266 | 2706616.1398 | 1235903.2084
19 | 2706600.4093 | 1235895.7093 | 2706602.4382 | 1235895.6901 | 2706615.9369 | 1235895.5433 | 2706616.1083 | 1235899.4827 | 2706616.1398 | 1235903.2084
20 | 2706611.5049 | 1235966.5739 | 2706612.6386 | 1235962.7279
21 | 2706826.4802 | 1235921.3894 | 2706829.4154 | 1235938.9441
22 | 2706826.4802 | 1235921.3894 | 2706867.9806 | 1235915.3932
23 | 2706578.0436 | 1236047.836 | 2706577.5817 | 1236041.1003 | 2706580.2375 | 1236034.7955
24 | 2706586.4049 | 1236020.1536 | 2706580.2375 | 1236034.7955
25 | 2706578.0436 | 1236047.836 | 2706566.9293 | 1236042.0989 | 2706562.7368 | 1236038.3361
26 | 2706586.4049 | 1236020.1536 | 2706589.7015 | 1236013.5214
27 | 2706562.6798 | 1236038.2849 | 2706562.7368 | 1236038.3361
28 | 2706591.7134 | 1236009.474 | 2706589.7015 | 1236013.5214
29 | 2706546.1789 | 1236023.4751 | 2706562.6798 | 1236038.2849
30 | 2706588.4564 | 1235996.1053 | 2706588.5868 | 1235998.5428 | 2706588.1078 | 1236000.7693 | 2706584.2654 | 1236007.7835 | 2706591.7134 | 1236009.474
31 | 2706546.1789 | 1236023.4751 | 2706545.3705 | 1236022.7495
32 | 2706585.564 | 1235996.5871 | 2706588.4564 | 1235996.1053
33 | 2706588.4564 | 1235996.1053 | 2706591.0312 | 1235989.7132 | 2706594.5939 | 1235984.3619 | 2706604.3942 | 1235984.46 | 2706605.7753 | 1235981.3157
34 | 2706649.2861 | 1235992.0301 | 2706644.6117 | 1235991.8986 | 2706623.4785 | 1235987.2713 | 2706620.2917 | 1235986.1992
35 | 2706605.7753 | 1235981.3157 | 2706620.2917 | 1235986.1992
36 | 2706649.2861 | 1235992.0301 | 2706653.7614 | 1235992.156
37 | 2706605.7753 | 1235981.3157 | 2706610.0135 | 1235971.651 | 2706611.5049 | 1235966.5739
38 | 2706664.2966 | 1235992.4524 | 2706653.7614 | 1235992.156
39 | 2706576.3524 | 1235963.274 | 2706576.3853 | 1235966.4993 | 2706611.5049 | 1235966.5739
40 | 2706576.3524 | 1235963.274 | 2706552.9463 | 1235963.3987 | 2706552.7887 | 1235958.6812
41 | 2706600.472 | 1235891.7963 | 2706600.4093 | 1235895.7093
42 | 2706560.5271 | 1235925.2165 | 2706560.4264 | 1235930.4076
43 | 2706522.2631 | 1235918.5585 | 2706523.1595 | 1235920.0647 | 2706529.2361 | 1235930.2703 | 2706560.4264 | 1235930.4076
44 | 2706522.2631 | 1235918.5585 | 2706523.8886 | 1235916.5528 | 2706526.5821 | 1235913.243
45 | 2706522.2631 | 1235918.5585 | 2706521.2178 | 1235919.7224
46 | 2706579.5356 | 1235866.4901 | 2706570.129 | 1235872.7039
47 | 2706579.5356 | 1235866.4901 | 2706584.5131 | 1235863.2881 | 2706603.463 | 1235852.6517
48 | 2706564.0927 | 1235876.6987 | 2706570.129 | 1235872.7039
49 | 2706608.9891 | 1235849.55 | 2706603.463 | 1235852.6517
50 | 2706754.2443 | 1235831.8778 | 2706763.758 | 1235841.1893 | 2706772.859 | 1235862.7181
51 | 2706774.0461 | 1235865.5262 | 2706772.859 | 1235862.7181
52 | 2706754.2443 | 1235831.8778 | 2706746.431 | 1235826.9225 | 2706745.747 | 1235822.8627
53 | 2706754.2443 | 1235831.8778 | 2706779.1648 | 1235818.7044 | 2706782.675 | 1235817.133
54 | 2706745.747 | 1235822.8627 | 2706740.8072 | 1235823.5411
55 | 2706700.1324 | 1235819.5853 | 2706699.1651 | 1235812.7627 | 2706715.3001 | 1235810.8176 | 2706729.4402 | 1235808.6811 | 2706742.9673 | 1235806.1221 | 2706745.747 | 1235822.8627
56 | 2706782.675 | 1235817.133 | 2706798.7952 | 1235845.0442
57 | 2706700.1324 | 1235819.5853 | 2706693.5101 | 1235820.8006
58 | 2706700.1324 | 1235819.5853 | 2706702.3356 | 1235832.6126 | 2706716.0073 | 1235830.8457 | 2706718.4112 | 1235847.4461
59 | 2706673.3565 | 1235844.6126 | 2706672.2015 | 1235837.6977 | 2706702.3356 | 1235832.6126 | 2706700.1324 | 1235819.5853
60 | 2706718.4112 | 1235847.4461 | 2706720.9981 | 1235860.6026
61 | 2706713.0273 | 1235848.4057 | 2706718.4112 | 1235847.4461
62 | 2706673.3565 | 1235844.6126 | 2706667.7571 | 1235845.7685
63 | 2706673.3565 | 1235844.6126 | 2706675.876 | 1235857.7346
64 | 2706676.3661 | 1235862.8918 | 2706675.876 | 1235857.7346
65 | 2706651.6783 | 1235861.4475 | 2706675.876 | 1235857.7346
66 | 2706723.2376 | 1235867.3925 | 2706720.9981 | 1235860.6026
67 | 2706636.4467 | 1235829.5384 | 2706640.4921 | 1235826.2609
68 | 2706608.9891 | 1235849.55 | 2706630.9932 | 1235833.9551 | 2706636.4467 | 1235829.5384
69 | 2706636.4467 | 1235829.5384 | 2706630.9932 | 1235833.9551 | 2706633.1173 | 1235850.9729 | 2706635.2769 | 1235857.1609 | 2706635.5789 | 1235859.3124 | 2706636.46 | 1235863.7761 | 2706651.6783 | 1235861.4475
70 | 2706649.0419 | 1235879.2694 | 2706654.4366 | 1235878.132 | 2706651.6783 | 1235861.4475
71 | 2706526.5821 | 1235913.243 | 2706537.8954 | 1235900.527
72 | 2706521.2178 | 1235919.7224 | 2706520.2145 | 1235920.8395
73 | 2706564.0927 | 1235876.6987 | 2706560.2356 | 1235879.7975
74 | 2706529.8357 | 1236008.8068 | 2706513.9952 | 1235994.5897
75 | 2706529.8357 | 1236008.8068 | 2706532.2128 | 1236010.9403
76 | 2706513.9952 | 1235994.5897 | 2706505.3669 | 1235986.8457
77 | 2706532.2128 | 1236010.9403 | 2706545.3705 | 1236022.7495
78 | 2706482.2399 | 1235966.0887 | 2706505.3669 | 1235986.8457
79 | 2706482.2399 | 1235966.0887 | 2706501.7147 | 1235942.7645
80 | 2706501.7147 | 1235942.7645 | 2706506.6054 | 1235936.9072
81 | 2706517.4668 | 1235923.8989 | 2706506.6054 | 1235936.9072
82 | 2706517.4668 | 1235923.8989 | 2706520.2145 | 1235920.8395
83 | 2706537.8954 | 1235900.527 | 2706540.9352 | 1235897.1102
84 | 2706553.2485 | 1235885.4109 | 2706540.9352 | 1235897.1102 | 2706540.9352 | 1235897.1102
85 | 2706553.2485 | 1235885.4109 | 2706560.2356 | 1235879.7975

## bus_geodata
| x | y | coords
0 | 2706743.0391 | 1235930.1943
1 | 2706760.6418 | 1235928.373
2 | 2706727.8756 | 1235931.7633
3 | 2706787.0588 | 1235925.6396
4 | 2706712.2294 | 1235933.3822
5 | 2706785.9262 | 1235914.3345
6 | 2706800.2281 | 1235924.2305
7 | 2706696.1423 | 1235935.0468
8 | 2706784.0043 | 1235895.1502
9 | 2706815.704 | 1235922.5557
10 | 2706669.0375 | 1235937.7877
11 | 2706662.4581 | 1235938.3583
12 | 2706634.3474 | 1235943.4661
13 | 2706634.0956 | 1235941.8937
14 | 2706616.519 | 1235945.7367
15 | 2706601.5053 | 1235957.7655
16 | 2706616.1398 | 1235903.2084
17 | 2706612.6386 | 1235962.7279
18 | 2706826.4802 | 1235921.3894
19 | 2706829.4154 | 1235938.9441
20 | 2706867.9806 | 1235915.3932
21 | 2706580.2375 | 1236034.7955
22 | 2706578.0436 | 1236047.836
23 | 2706586.4049 | 1236020.1536
24 | 2706562.7368 | 1236038.3361
25 | 2706589.7015 | 1236013.5214
26 | 2706562.6798 | 1236038.2849
27 | 2706591.7134 | 1236009.474
28 | 2706546.1789 | 1236023.4751
29 | 2706588.4564 | 1235996.1053
30 | 2706620.2917 | 1235986.1992
31 | 2706649.2861 | 1235992.0301
32 | 2706605.7753 | 1235981.3157
33 | 2706653.7614 | 1235992.156
34 | 2706611.5049 | 1235966.5739
35 | 2706664.2966 | 1235992.4524
36 | 2706585.564 | 1235996.5871
37 | 2706576.3524 | 1235963.274
38 | 2706552.7887 | 1235958.6812
39 | 2706600.4093 | 1235895.7093
40 | 2706600.472 | 1235891.7963
41 | 2706560.4264 | 1235930.4076
42 | 2706560.5271 | 1235925.2165
43 | 2706522.2631 | 1235918.5585
44 | 2706579.5356 | 1235866.4901
45 | 2706570.129 | 1235872.7039
46 | 2706603.463 | 1235852.6517
47 | 2706606.028 | 1235921.2964
48 | 2706772.859 | 1235862.7181
49 | 2706754.2443 | 1235831.8778
50 | 2706774.0461 | 1235865.5262
51 | 2706745.747 | 1235822.8627
52 | 2706782.675 | 1235817.133
53 | 2706740.8072 | 1235823.5411
54 | 2706700.1324 | 1235819.5853
55 | 2706798.7952 | 1235845.0442
56 | 2706693.5101 | 1235820.8006
57 | 2706718.4112 | 1235847.4461
58 | 2706673.3565 | 1235844.6126
59 | 2706667.7571 | 1235845.7685
60 | 2706675.876 | 1235857.7346
61 | 2706720.9981 | 1235860.6026
62 | 2706713.0273 | 1235848.4057
63 | 2706640.4921 | 1235826.2609
64 | 2706636.4467 | 1235829.5384
65 | 2706608.9891 | 1235849.55
66 | 2706651.6783 | 1235861.4475
67 | 2706649.0419 | 1235879.2694
68 | 2706526.5821 | 1235913.243
69 | 2706521.2178 | 1235919.7224
70 | 2706564.0926 | 1235876.6987
71 | 2706529.8357 | 1236008.8068
72 | 2706513.9952 | 1235994.5897
73 | 2706532.2128 | 1236010.9403
74 | 2706505.3669 | 1235986.8457
75 | 2706545.3705 | 1236022.7495
76 | 2706482.2399 | 1235966.0887
77 | 2706501.7147 | 1235942.7645
78 | 2706506.6054 | 1235936.9072
79 | 2706517.4668 | 1235923.8989
80 | 2706520.2145 | 1235920.8395
81 | 2706537.8954 | 1235900.527
82 | 2706540.9352 | 1235897.1102
83 | 2706553.2485 | 1235885.4109
84 | 2706560.2356 | 1235879.7975
85 | 2706676.3661 | 1235862.8918
86 | 2706723.2376 | 1235867.3925
87 | 2706634.3474 | 1235943.4661

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99763 | -0.045457 | 0.0018549 | 0.00046487
1 | 0.9972 | -0.053849 | 0.0038546 | 0.00096605
2 | 0.99803 | -0.037739 | 0.00277 | 0.00069423
3 | 0.99664 | -0.064661 | 0 | 0
4 | 0.99849 | -0.029019 | 0.0037591 | 0.00094212
5 | 0.99651 | -0.067069 | 0.0017176 | 0.00043047
6 | 0.9965 | -0.067248 | 0.00045036 | 0.00011287
7 | 0.99901 | -0.019 | 0.004169 | 0.0010449
8 | 0.99633 | -0.070577 | 0.010362 | 0.0025971
9 | 0.99635 | -0.070166 | 0.00063797 | 0.00015989
10 | 1 | 0 | -0.27136 | -0.068874
11 | 0.99954 | -0.0087183 | 0.013317 | 0.0033375
12 | 0.99764 | -0.044721 | 0 | 0
13 | 0.99763 | -0.044901 | 0.0064499 | 0.0016165
14 | 0.99649 | -0.066467 | 0 | 0
15 | 0.99638 | -0.06856 | 0.004492 | 0.0011258
16 | 0.99625 | -0.071235 | 0 | 0
17 | 0.99544 | -0.086498 | 0.014629 | 0.0036663
18 | 0.99625 | -0.072077 | 0 | 0
19 | 0.99624 | -0.072244 | 0.00053274 | 0.00013352
20 | 0.99589 | -0.079081 | 0.0095066 | 0.0023826
21 | 0.99096 | -0.17198 | 0.0017815 | 0.00044648
22 | 0.99036 | -0.18331 | 0 | 0
23 | 0.99166 | -0.15859 | 0 | 0
24 | 0.98957 | -0.19846 | 0.0042224 | 0.0010582
25 | 0.99198 | -0.15235 | 0.003656 | 0.00091627
26 | 0.98957 | -0.19852 | 0.0011794 | 0.00029558
27 | 0.99219 | -0.14845 | 0 | 0
28 | 0.98864 | -0.21635 | 0.0015966 | 0.00040014
29 | 0.99311 | -0.13089 | 0 | 0
30 | 0.99401 | -0.11376 | 0.0034307 | 0.0008598
31 | 0.99345 | -0.12474 | 0.0080587 | 0.0020197
32 | 0.99435 | -0.10716 | 0 | 0
33 | 0.99339 | -0.12576 | 0.0054181 | 0.0013579
34 | 0.99522 | -0.090766 | 0 | 0
35 | 0.99332 | -0.12715 | 0.0074938 | 0.0018781
36 | 0.99309 | -0.13118 | 0.0056168 | 0.0014077
37 | 0.99503 | -0.094284 | 0 | 0
38 | 0.9949 | -0.096866 | 0.0052255 | 0.0013096
39 | 0.99622 | -0.071809 | 0 | 0
40 | 0.99621 | -0.071906 | 0.0014103 | 0.00035346
41 | 0.98262 | -0.33278 | 0 | 0
42 | 0.98259 | -0.33332 | 0.005698 | 0.001428
43 | 0.98285 | -0.32818 | 0 | 0
44 | 0.98033 | -0.37734 | 0 | 0
45 | 0.98064 | -0.37121 | 0.0038911 | 0.00097521
46 | 0.97955 | -0.39241 | 0.012296 | 0.0030818
47 | 0.99613 | -0.073573 | 0.0049724 | 0.0012462
48 | 0.97311 | -0.51889 | 0.0082379 | 0.0020646
49 | 0.97363 | -0.50859 | 0 | 0
50 | 0.97309 | -0.51929 | 0.0070305 | 0.001762
51 | 0.974 | -0.50141 | 0 | 0
52 | 0.97322 | -0.51682 | 0 | 0
53 | 0.97394 | -0.50263 | 0.01331 | 0.0033358
54 | 0.97535 | -0.47479 | 0 | 0
55 | 0.9728 | -0.52511 | 0.013975 | 0.0035024
56 | 0.97534 | -0.47499 | 0.0016244 | 0.0004071
57 | 0.97426 | -0.49631 | 0 | 0
58 | 0.97647 | -0.4528 | 0 | 0
59 | 0.97646 | -0.45299 | 0.0017679 | 0.00044309
60 | 0.97677 | -0.44688 | 0 | 0
61 | 0.97409 | -0.49961 | 0 | 0
62 | 0.97419 | -0.49765 | 0.013396 | 0.0033574
63 | 0.97857 | -0.4116 | 0.0017998 | 0.00045106
64 | 0.97858 | -0.41143 | 0 | 0
65 | 0.9794 | -0.3954 | 0 | 0
66 | 0.97733 | -0.43583 | 0 | 0
67 | 0.9773 | -0.43649 | 0.0016246 | 0.00040715
68 | 0.98261 | -0.3329 | 0 | 0
69 | 0.98291 | -0.32705 | 0.0011143 | 0.00027928
70 | 0.98085 | -0.36711 | 0 | 0
71 | 0.98774 | -0.23363 | 0.00088426 | 0.00022162
72 | 0.98689 | -0.2501 | 0.0031602 | 0.00079202
73 | 0.98787 | -0.23114 | 0.0016902 | 0.00042359
74 | 0.98643 | -0.25886 | 0.0017713 | 0.00044394
75 | 0.9886 | -0.21721 | 0.0013967 | 0.00035005
76 | 0.98523 | -0.28207 | 0 | 0
77 | 0.98406 | -0.30481 | 0.0013299 | 0.0003333
78 | 0.98376 | -0.31047 | 0.0011391 | 0.00028547
79 | 0.98312 | -0.32293 | 0 | 0
80 | 0.98297 | -0.32596 | 0.0012601 | 0.00031582
81 | 0.98201 | -0.34461 | 0.0026703 | 0.00066924
82 | 0.98185 | -0.34769 | 0.0055739 | 0.0013969
83 | 0.98129 | -0.35856 | 0 | 0
84 | 0.981 | -0.3643 | 0.012096 | 0.0030315
85 | 0.97676 | -0.44703 | 0.0016253 | 0.00040735
86 | 0.974 | -0.50137 | 0.013398 | 0.0033579
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.027095 | 0.0068012 | -0.027084 | -0.0067945 | 1.0841e-05 | 6.7071e-06 | 0.040417 | 0.040417 | 0.040417 | 0.99763 | -0.045457 | 0.9972 | -0.053849 | 11.1037
1 | -0.02895 | -0.0072661 | 0.028961 | 0.0072727 | 1.0661e-05 | 6.6238e-06 | 0.043184 | 0.043184 | 0.043184 | 0.99763 | -0.045457 | 0.99803 | -0.037739 | 11.8637
2 | 0.02323 | 0.0058285 | -0.023218 | -0.0058211 | 1.1968e-05 | 7.3134e-06 | 0.034666 | 0.034666 | 0.034666 | 0.9972 | -0.053849 | 0.99664 | -0.064661 | 9.5236
3 | -0.031731 | -0.007967 | 0.031744 | 0.0079752 | 1.3205e-05 | 8.2454e-06 | 0.047314 | 0.047314 | 0.047314 | 0.99803 | -0.037739 | 0.99849 | -0.029019 | 12.9983
4 | 0.012083 | 0.0030291 | -0.012082 | -0.0030284 | 1.3867e-06 | 7.3947e-07 | 0.018041 | 0.018041 | 0.018041 | 0.99664 | -0.064661 | 0.99651 | -0.067069 | 4.9563
5 | 0.011135 | 0.002792 | -0.011133 | -0.0027913 | 1.3727e-06 | 7.0598e-07 | 0.016625 | 0.016625 | 0.016625 | 0.99664 | -0.064661 | 0.9965 | -0.067248 | 4.5673
6 | -0.035503 | -0.0089173 | 0.03552 | 0.008928 | 1.6982e-05 | 1.0657e-05 | 0.052916 | 0.052916 | 0.052916 | 0.99849 | -0.029019 | 0.99901 | -0.019 | 14.5373
7 | 0.010364 | 0.0025979 | -0.010362 | -0.0025971 | 1.7317e-06 | 8.5716e-07 | 0.015476 | 0.015476 | 0.015476 | 0.99651 | -0.067069 | 0.99633 | -0.070577 | 4.2517
8 | 0.010683 | 0.0026784 | -0.010681 | -0.0026777 | 1.4855e-06 | 7.4796e-07 | 0.015952 | 0.015953 | 0.015953 | 0.9965 | -0.067248 | 0.99635 | -0.070166 | 4.3826
9 | -0.039689 | -0.0099728 | 0.039725 | 0.0099955 | 3.6031e-05 | 2.27e-05 | 0.059126 | 0.059125 | 0.059126 | 0.99901 | -0.019 | 1 | 0 | 16.2433
10 | 0.010043 | 0.0025178 | -0.010043 | -0.0025174 | 9.1452e-07 | 4.4414e-07 | 0.015 | 0.015 | 0.015 | 0.99635 | -0.070166 | 0.99625 | -0.072077 | 4.1208
11 | 0.22998 | 0.058878 | -0.22988 | -0.058816 | 9.7063e-05 | 6.186e-05 | 0.34265 | 0.34265 | 0.34265 | 1 | 0 | 0.99954 | -0.0087183 | 31.3786
12 | 0.21657 | 0.055479 | -0.21619 | -0.055239 | 0.00037709 | 0.0002402 | 0.32283 | 0.32283 | 0.32283 | 0.99954 | -0.0087183 | 0.99764 | -0.044721 | 29.5632
13 | 0.0064499 | 0.0016165 | -0.0064499 | -0.0016165 | 5.5288e-08 | 1.4584e-08 | 0.0096203 | 0.0096203 | 0.0096203 | 0.99764 | -0.044721 | 0.99763 | -0.044901 | 2.643
14 | 0.20974 | 0.053622 | -0.20952 | -0.053482 | 0.00022041 | 0.00014036 | 0.31321 | 0.31321 | 0.31321 | 0.99764 | -0.044721 | 0.99649 | -0.066467 | 28.6822
15 | 0.0044924 | 0.0011257 | -0.004492 | -0.0011258 | 4.4785e-07 | -5.9061e-08 | 0.0067083 | 0.0067084 | 0.0067084 | 0.99649 | -0.066467 | 0.99638 | -0.06856 | 1.843
16 | 0.0063848 | 0.0015997 | -0.0063833 | -0.0015993 | 1.4497e-06 | 3.7389e-07 | 0.0095339 | 0.0095341 | 0.0095341 | 0.99649 | -0.066467 | 0.99625 | -0.071235 | 2.6193
17 | 0.19864 | 0.050756 | -0.19845 | -0.050634 | 0.00019221 | 0.00012233 | 0.29697 | 0.29697 | 0.29697 | 0.99649 | -0.066467 | 0.99544 | -0.086498 | 27.1949
18 | 0.004973 | 0.0012462 | -0.0049724 | -0.0012462 | 5.5386e-07 | 5.9391e-09 | 0.0074277 | 0.0074278 | 0.0074278 | 0.99625 | -0.071235 | 0.99613 | -0.073573 | 2.0406
19 | 0.0014104 | 0.00035313 | -0.0014103 | -0.00035341 | 3.8599e-08 | -2.7734e-07 | 0.0021064 | 0.0021065 | 0.0021065 | 0.99625 | -0.071235 | 0.99622 | -0.071809 | 0.57871
20 | 0.18382 | 0.046968 | -0.18378 | -0.046943 | 3.7931e-05 | 2.412e-05 | 0.2751 | 0.2751 | 0.2751 | 0.99544 | -0.086498 | 0.99522 | -0.090766 | 25.1924
21 | 0.00053274 | 0.00013329 | -0.00053274 | -0.00013352 | 4.2255e-09 | -2.2905e-07 | 0.00079563 | 0.00079571 | 0.00079571 | 0.99625 | -0.072077 | 0.99624 | -0.072244 | 0.2186
22 | 0.0095098 | 0.0023841 | -0.0095066 | -0.0023826 | 3.1725e-06 | 1.4846e-06 | 0.014204 | 0.014204 | 0.014204 | 0.99625 | -0.072077 | 0.99589 | -0.079081 | 3.9023
23 | 0.14247 | 0.03635 | -0.14239 | -0.0363 | 7.7932e-05 | 4.9352e-05 | 0.21417 | 0.21417 | 0.21417 | 0.99096 | -0.17198 | 0.99036 | -0.18331 | 19.6122
24 | -0.14425 | -0.036796 | 0.14435 | 0.036855 | 9.338e-05 | 5.9148e-05 | 0.21684 | 0.21684 | 0.21684 | 0.99096 | -0.17198 | 0.99166 | -0.15859 | 19.8572
25 | 0.14239 | 0.0363 | -0.14229 | -0.036235 | 0.00010401 | 6.5867e-05 | 0.21417 | 0.21417 | 0.21417 | 0.99036 | -0.18331 | 0.98957 | -0.19846 | 19.6122
26 | -0.14435 | -0.036855 | 0.14439 | 0.036883 | 4.353e-05 | 2.7573e-05 | 0.21684 | 0.21684 | 0.21684 | 0.99166 | -0.15859 | 0.99198 | -0.15235 | 19.8571
27 | 0.13807 | 0.035176 | -0.13807 | -0.035176 | 4.1306e-07 | 2.6141e-07 | 0.20782 | 0.20782 | 0.20782 | 0.98957 | -0.19846 | 0.98957 | -0.19852 | 19.0308
28 | -0.14805 | -0.037799 | 0.14807 | 0.037817 | 2.7926e-05 | 1.7697e-05 | 0.22232 | 0.22232 | 0.22232 | 0.99198 | -0.15235 | 0.99219 | -0.14845 | 20.3593
29 | 0.13689 | 0.03488 | -0.13677 | -0.034806 | 0.00011766 | 7.445e-05 | 0.20604 | 0.20604 | 0.20604 | 0.98957 | -0.19852 | 0.98864 | -0.21635 | 18.8684
30 | -0.14807 | -0.037817 | 0.1482 | 0.037897 | 0.00012575 | 7.9693e-05 | 0.22232 | 0.22232 | 0.22232 | 0.99219 | -0.14845 | 0.99311 | -0.13089 | 20.3593
31 | 0.13517 | 0.034406 | -0.13517 | -0.034402 | 5.6311e-06 | 3.5621e-06 | 0.20364 | 0.20364 | 0.20364 | 0.98864 | -0.21635 | 0.9886 | -0.21721 | 18.6484
32 | 0.0056169 | 0.0014077 | -0.0056168 | -0.0014077 | 7.7665e-08 | 1.1872e-08 | 0.0084161 | 0.0084161 | 0.0084161 | 0.99311 | -0.13089 | 0.99309 | -0.13118 | 2.3121
33 | -0.15382 | -0.039304 | 0.15399 | 0.039416 | 0.00017673 | 0.00011207 | 0.23074 | 0.23074 | 0.23074 | 0.99311 | -0.13089 | 0.99435 | -0.10716 | 21.13
34 | 0.020983 | 0.0052629 | -0.020972 | -0.0052562 | 1.0979e-05 | 6.6424e-06 | 0.031412 | 0.031412 | 0.031412 | 0.99401 | -0.11376 | 0.99345 | -0.12474 | 8.6297
35 | -0.024413 | -0.0061227 | 0.024421 | 0.0061274 | 7.6717e-06 | 4.7113e-06 | 0.036548 | 0.036548 | 0.036548 | 0.99401 | -0.11376 | 0.99435 | -0.10716 | 10.0406
36 | 0.012913 | 0.0032365 | -0.012912 | -0.0032362 | 6.2808e-07 | 3.44e-07 | 0.019342 | 0.019342 | 0.019342 | 0.99345 | -0.12474 | 0.99339 | -0.12576 | 5.3136
37 | -0.17841 | -0.045544 | 0.17856 | 0.045634 | 0.0001415 | 8.9942e-05 | 0.26729 | 0.26729 | 0.26729 | 0.99435 | -0.10716 | 0.99522 | -0.090766 | 24.4768
38 | 0.0074943 | 0.0018783 | -0.0074938 | -0.0018781 | 4.9806e-07 | 1.8232e-07 | 0.011226 | 0.011226 | 0.011226 | 0.99339 | -0.12576 | 0.99332 | -0.12715 | 3.084
39 | 0.005227 | 0.0013097 | -0.0052261 | -0.0013097 | 8.7591e-07 | 6.3752e-08 | 0.0078152 | 0.0078153 | 0.0078153 | 0.99522 | -0.090766 | 0.99503 | -0.094284 | 2.1471
40 | 0.0052261 | 0.0013097 | -0.0052255 | -0.0013096 | 6.427e-07 | 4.6908e-08 | 0.0078153 | 0.0078155 | 0.0078155 | 0.99503 | -0.094284 | 0.9949 | -0.096866 | 2.1471
41 | 0.0014103 | 0.00035341 | -0.0014103 | -0.00035346 | 6.5131e-09 | -4.6792e-08 | 0.0021065 | 0.0021065 | 0.0021065 | 0.99622 | -0.071809 | 0.99621 | -0.071906 | 0.57872
42 | 0.0056981 | 0.0014281 | -0.005698 | -0.001428 | 1.45e-07 | 2.702e-08 | 0.0086289 | 0.0086289 | 0.0086289 | 0.98262 | -0.33278 | 0.98259 | -0.33332 | 2.3706
43 | -0.0056981 | -0.0014281 | 0.0056994 | 0.0014283 | 1.2486e-06 | 2.3251e-07 | 0.0086289 | 0.0086287 | 0.0086289 | 0.98262 | -0.33278 | 0.98285 | -0.32818 | 2.3706
44 | 0.11504 | 0.029099 | -0.11502 | -0.029083 | 2.6e-05 | 1.638e-05 | 0.17427 | 0.17427 | 0.17427 | 0.98285 | -0.32818 | 0.98261 | -0.3329 | 15.9586
45 | -0.12074 | -0.030528 | 0.12075 | 0.030532 | 6.5413e-06 | 4.1269e-06 | 0.1829 | 0.1829 | 0.1829 | 0.98285 | -0.32818 | 0.98291 | -0.32705 | 16.7488
46 | -0.090562 | -0.022869 | 0.090588 | 0.022886 | 2.6601e-05 | 1.6599e-05 | 0.13752 | 0.13752 | 0.13752 | 0.98033 | -0.37734 | 0.98064 | -0.37121 | 12.5937
47 | 0.090562 | 0.022869 | -0.090496 | -0.022829 | 6.5366e-05 | 4.0789e-05 | 0.13752 | 0.13752 | 0.13752 | 0.98033 | -0.37734 | 0.97955 | -0.39241 | 12.5937
48 | -0.094479 | -0.023861 | 0.094498 | 0.023873 | 1.8576e-05 | 1.1615e-05 | 0.14343 | 0.14343 | 0.14343 | 0.98064 | -0.37121 | 0.98085 | -0.36711 | 13.1344
49 | 0.0782 | 0.019747 | -0.078189 | -0.01974 | 1.1188e-05 | 6.9211e-06 | 0.11884 | 0.11884 | 0.11884 | 0.97955 | -0.39241 | 0.9794 | -0.3954 | 10.8832
50 | -0.015269 | -0.0038267 | 0.015276 | 0.003831 | 7.4991e-06 | 4.3435e-06 | 0.023348 | 0.023348 | 0.023348 | 0.97311 | -0.51889 | 0.97363 | -0.50859 | 6.4142
51 | 0.0070307 | 0.0017621 | -0.0070305 | -0.001762 | 1.3214e-07 | 4.6695e-08 | 0.010751 | 0.010751 | 0.010751 | 0.97311 | -0.51889 | 0.97309 | -0.51929 | 2.9535
52 | -0.029262 | -0.0073397 | 0.029272 | 0.0073459 | 1.0013e-05 | 6.2425e-06 | 0.044723 | 0.044723 | 0.044723 | 0.97363 | -0.50859 | 0.974 | -0.50141 | 12.2867
53 | 0.013986 | 0.0035087 | -0.01398 | -0.0035056 | 5.4891e-06 | 3.1148e-06 | 0.021376 | 0.021376 | 0.021376 | 0.97363 | -0.50859 | 0.97322 | -0.51682 | 5.8726
54 | 0.013311 | 0.0033362 | -0.01331 | -0.0033358 | 7.7101e-07 | 4.3157e-07 | 0.020335 | 0.020335 | 0.020335 | 0.974 | -0.50141 | 0.97394 | -0.50263 | 5.5866
55 | -0.042583 | -0.010682 | 0.042637 | 0.010715 | 5.4108e-05 | 3.293e-05 | 0.065059 | 0.065058 | 0.065059 | 0.974 | -0.50141 | 0.97535 | -0.47479 | 8.9366
56 | 0.01398 | 0.0035056 | -0.013975 | -0.0035024 | 5.5193e-06 | 3.1323e-06 | 0.021376 | 0.021376 | 0.021376 | 0.97322 | -0.51682 | 0.9728 | -0.52511 | 5.8726
57 | 0.0016244 | 0.00040703 | -0.0016244 | -0.0004071 | 1.5462e-08 | -7.3897e-08 | 0.0024781 | 0.0024782 | 0.0024782 | 0.97535 | -0.47479 | 0.97534 | -0.47499 | 0.68082
58 | 0.026826 | 0.0067347 | -0.026799 | -0.0067176 | 2.7499e-05 | 1.7054e-05 | 0.040931 | 0.040931 | 0.040931 | 0.97535 | -0.47479 | 0.97426 | -0.49631 | 11.2447
59 | -0.071087 | -0.017857 | 0.071162 | 0.017903 | 7.4683e-05 | 4.5893e-05 | 0.10847 | 0.10847 | 0.10847 | 0.97535 | -0.47479 | 0.97647 | -0.4528 | 9.9329
60 | 0.013401 | 0.0033597 | -0.013399 | -0.0033585 | 2.1067e-06 | 1.1814e-06 | 0.020469 | 0.020469 | 0.020469 | 0.97426 | -0.49631 | 0.97409 | -0.49961 | 5.6233
61 | 0.013397 | 0.0033579 | -0.013396 | -0.0033574 | 8.5619e-07 | 4.8006e-07 | 0.020462 | 0.020462 | 0.020462 | 0.97426 | -0.49631 | 0.97419 | -0.49765 | 5.6215
62 | 0.0017679 | 0.00044302 | -0.0017679 | -0.00044309 | 1.5517e-08 | -6.1383e-08 | 0.0026941 | 0.0026941 | 0.0026941 | 0.97647 | -0.4528 | 0.97646 | -0.45299 | 0.74015
63 | -0.07293 | -0.018346 | 0.07295 | 0.018358 | 2.0639e-05 | 1.2707e-05 | 0.11116 | 0.11116 | 0.11116 | 0.97647 | -0.4528 | 0.97677 | -0.44688 | 10.1795
64 | 0.0016254 | 0.00040729 | -0.0016253 | -0.00040735 | 1.1912e-08 | -5.7226e-08 | 0.002476 | 0.0024761 | 0.0024761 | 0.97677 | -0.44688 | 0.97676 | -0.44703 | 0.68024
65 | -0.074576 | -0.018766 | 0.074615 | 0.01879 | 3.9403e-05 | 2.4301e-05 | 0.11364 | 0.11364 | 0.11364 | 0.97677 | -0.44688 | 0.97733 | -0.43583 | 10.4062
66 | 0.013399 | 0.0033585 | -0.013398 | -0.0033579 | 1.123e-06 | 6.2978e-07 | 0.020469 | 0.020469 | 0.020469 | 0.97409 | -0.49961 | 0.974 | -0.50137 | 5.6233
67 | -0.0017998 | -0.00045106 | 0.0017998 | 0.00045101 | 1.4623e-08 | -5.6051e-08 | 0.0027367 | 0.0027367 | 0.0027367 | 0.97857 | -0.4116 | 0.97858 | -0.41143 | 0.75184
68 | -0.078129 | -0.019703 | 0.078189 | 0.01974 | 6.0006e-05 | 3.7122e-05 | 0.11885 | 0.11884 | 0.11885 | 0.97858 | -0.41143 | 0.9794 | -0.3954 | 10.8832
69 | 0.076329 | 0.019252 | -0.07624 | -0.019197 | 8.9043e-05 | 5.4998e-05 | 0.11611 | 0.11611 | 0.11611 | 0.97858 | -0.41143 | 0.97733 | -0.43583 | 10.6327
70 | 0.0016246 | 0.0004069 | -0.0016246 | -0.00040715 | 5.1414e-08 | -2.4791e-07 | 0.0024734 | 0.0024735 | 0.0024735 | 0.97733 | -0.43583 | 0.9773 | -0.43649 | 0.67954
71 | 0.11502 | 0.029083 | -0.11495 | -0.029042 | 6.4612e-05 | 4.0705e-05 | 0.17427 | 0.17427 | 0.17427 | 0.98261 | -0.3329 | 0.98201 | -0.34461 | 15.9586
72 | -0.12186 | -0.030811 | 0.12187 | 0.030815 | 6.3944e-06 | 4.0353e-06 | 0.18458 | 0.18458 | 0.18458 | 0.98291 | -0.32705 | 0.98297 | -0.32596 | 16.9033
73 | -0.094498 | -0.023873 | 0.094511 | 0.023881 | 1.2723e-05 | 7.9551e-06 | 0.14343 | 0.14343 | 0.14343 | 0.98085 | -0.36711 | 0.981 | -0.3643 | 13.1344
74 | 0.13109 | 0.03334 | -0.13099 | -0.033275 | 0.00010395 | 6.5711e-05 | 0.19766 | 0.19766 | 0.19766 | 0.98774 | -0.23363 | 0.98689 | -0.2501 | 18.1008
75 | -0.13198 | -0.033562 | 0.13199 | 0.033572 | 1.581e-05 | 9.9958e-06 | 0.19899 | 0.19899 | 0.19899 | 0.98774 | -0.23363 | 0.98787 | -0.23114 | 18.2227
76 | 0.12783 | 0.032483 | -0.12777 | -0.032448 | 5.3924e-05 | 3.4067e-05 | 0.1929 | 0.1929 | 0.1929 | 0.98689 | -0.2501 | 0.98643 | -0.25886 | 17.6645
77 | -0.13368 | -0.033995 | 0.13377 | 0.034052 | 8.9765e-05 | 5.677e-05 | 0.20154 | 0.20154 | 0.20154 | 0.98787 | -0.23114 | 0.9886 | -0.21721 | 18.4559
78 | 0.126 | 0.032005 | -0.12586 | -0.031916 | 0.00014056 | 8.877e-05 | 0.19022 | 0.19022 | 0.19022 | 0.98643 | -0.25886 | 0.98523 | -0.28207 | 17.4198
79 | 0.12586 | 0.031916 | -0.12572 | -0.031829 | 0.00013744 | 8.6802e-05 | 0.19022 | 0.19022 | 0.19022 | 0.98523 | -0.28207 | 0.98406 | -0.30481 | 17.4198
80 | 0.12439 | 0.031496 | -0.12436 | -0.031474 | 3.3789e-05 | 2.1334e-05 | 0.18821 | 0.18821 | 0.18821 | 0.98406 | -0.30481 | 0.98376 | -0.31047 | 17.2357
81 | 0.12322 | 0.031189 | -0.12315 | -0.031142 | 7.3673e-05 | 4.6505e-05 | 0.18649 | 0.18649 | 0.18649 | 0.98376 | -0.31047 | 0.98312 | -0.32293 | 17.0779
82 | 0.12315 | 0.031142 | -0.12313 | -0.031131 | 1.7877e-05 | 1.1285e-05 | 0.18649 | 0.18649 | 0.18649 | 0.98312 | -0.32293 | 0.98297 | -0.32596 | 17.0779
83 | 0.11228 | 0.028373 | -0.11227 | -0.028363 | 1.6564e-05 | 1.0427e-05 | 0.17022 | 0.17022 | 0.17022 | 0.98201 | -0.34461 | 0.98185 | -0.34769 | 15.5881
84 | 0.10669 | 0.026966 | -0.10664 | -0.026931 | 5.5564e-05 | 3.4917e-05 | 0.16177 | 0.16177 | 0.16177 | 0.98185 | -0.34769 | 0.98129 | -0.35856 | 14.8146
85 | 0.10664 | 0.026931 | -0.10661 | -0.026912 | 2.9321e-05 | 1.8426e-05 | 0.16177 | 0.16178 | 0.16178 | 0.98129 | -0.35856 | 0.981 | -0.3643 | 14.8146

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28369 | 0.071965

## res_load
| p_mw | q_mvar
0 | 0.0018549 | 0.00046487
1 | 0.0038546 | 0.00096605
2 | 0.00277 | 0.00069423
3 | 0.0037591 | 0.00094212
4 | 0.0017176 | 0.00043047
5 | 0.00045036 | 0.00011287
6 | 0.004169 | 0.0010449
7 | 0.010362 | 0.0025971
8 | 0.00063797 | 0.00015989
9 | 0.012334 | 0.0030913
10 | 0.013317 | 0.0033375
11 | 0.0064499 | 0.0016165
12 | 0.004492 | 0.0011258
13 | 0.014629 | 0.0036663
14 | 0.00053274 | 0.00013352
15 | 0.0095066 | 0.0023826
16 | 0.0017815 | 0.00044648
17 | 0.0042224 | 0.0010582
18 | 0.003656 | 0.00091627
19 | 0.0011794 | 0.00029558
20 | 0.0015966 | 0.00040014
21 | 0.0034307 | 0.0008598
22 | 0.0080587 | 0.0020197
23 | 0.0054181 | 0.0013579
24 | 0.0074938 | 0.0018781
25 | 0.0056168 | 0.0014077
26 | 0.0052255 | 0.0013096
27 | 0.0014103 | 0.00035346
28 | 0.005698 | 0.001428
29 | 0.0038911 | 0.00097521
30 | 0.012296 | 0.0030818
31 | 0.0049724 | 0.0012462
32 | 0.0082379 | 0.0020646
33 | 0.0070305 | 0.001762
34 | 0.01331 | 0.0033358
35 | 0.013975 | 0.0035024
36 | 0.0016244 | 0.0004071
37 | 0.0017679 | 0.00044309
38 | 0.013396 | 0.0033574
39 | 0.0017998 | 0.00045106
40 | 0.0016246 | 0.00040715
41 | 0.0011143 | 0.00027928
42 | 0.00088426 | 0.00022162
43 | 0.0031602 | 0.00079202
44 | 0.0016902 | 0.00042359
45 | 0.0017713 | 0.00044394
46 | 0.0013967 | 0.00035005
47 | 0.0013299 | 0.0003333
48 | 0.0011391 | 0.00028547
49 | 0.0012601 | 0.00031582
50 | 0.0026703 | 0.00066924
51 | 0.0055739 | 0.0013969
52 | 0.012096 | 0.0030315
53 | 0.0016253 | 0.00040735
54 | 0.013398 | 0.0033579

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1