## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_118-21_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_118-21_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_118-21_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_118-21_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_118-21_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_118-21_0_5_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_118-21_0_5_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_118-21_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_118-21_0_5_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_118-21_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_118-21_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_118-21_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_118-21_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_118-21_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_118-21_0_5_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_118-21_0_5_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_118-21_0_5_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_118-21_0_5_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_118-21_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_118-21_0_5_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_118-21_0_5_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_118-21_0_5_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_118-21_0_5_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_118-21_0_5_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_118-21_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_118-21_0_5_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_118-21_0_5_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_118-21_0_5_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_118-21_0_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_118-21_0_5_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_118-21_0_5_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_118-21_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_118-21_0_5_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_118-21_0_5_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_118-21_0_5_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_118-21_0_5_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_118-21_0_5_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_118-21_0_5_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_118-21_0_5_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_118-21_0_5_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_118-21_0_5_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_118-21_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_118-21_0_5_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_118-21_0_5_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_118-21_0_5_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_118-21_0_5_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_118-21_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_118-21_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_118-21_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_118-21_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_118-21_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_118-21_0_5_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_118-21_0_5_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_118-21_0_5_node_14 | 0.4 | n |  | TRUE
54 | bus_LV_118-21_0_5_node_15 | 0.4 | n |  | TRUE
55 | bus_LV_118-21_0_5_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_118-21_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_118-21_0_5_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_118-21_0_5_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_118-21_0_5_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_118-21_0_5_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_118-21_0_5_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_118-21_0_5_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_118-21_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_MV_9_2_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_118-21_0_5_load_0 | 0 | 0.0021269 | 0.00053304 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_118-21_0_5_load_1 | 1 | 0.0014105 | 0.00035351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_118-21_0_5_load_2 | 2 | 0.0088994 | 0.0022304 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_118-21_0_5_load_3 | 3 | 0.0026692 | 0.00066896 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_118-21_0_5_load_12 | 5 | 0.0012058 | 0.0003022 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_118-21_0_5_load_9 | 7 | 0.001817 | 0.00045539 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_118-21_0_5_load_60 | 8 | 0.0029452 | 0.00073813 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_118-21_0_5_load_5 | 10 | 0.0019001 | 0.00047621 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_118-21_0_5_load_48 | 14 | 0.015548 | 0.0038967 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_118-21_0_5_load_46 | 15 | 0.02939 | 0.0073659 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_118-21_0_5_load_21 | 16 | 0.0018178 | 0.00045558 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_118-21_0_5_load_53 | 23 | 0.083585 | 0.020948 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_118-21_0_5_load_18 | 24 | 0.074338 | 0.018631 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_118-21_0_5_load_51 | 25 | 0.0010504 | 0.00026325 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_118-21_0_5_load_49 | 26 | 0.0020935 | 0.00052468 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_118-21_0_5_load_59 | 29 | 0.010252 | 0.0025694 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_118-21_0_5_load_69 | 30 | 0.0038291 | 0.00095968 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_118-21_0_5_load_47 | 33 | 0.0016604 | 0.00041613 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_118-21_0_5_load_66 | 36 | 0.02213 | 0.0055464 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_118-21_0_5_load_70 | 37 | 0.0072431 | 0.0018153 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_118-21_0_5_load_62 | 38 | 0.0095883 | 0.002403 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_118-21_0_5_load_54 | 39 | 0.0057646 | 0.0014448 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_118-21_0_5_load_20 | 41 | 0.0050396 | 0.001263 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_118-21_0_5_load_61 | 42 | 0.016297 | 0.0040843 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_118-21_0_5_load_58 | 43 | 0.067429 | 0.016899 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_118-21_0_5_load_24 | 45 | 0.002171 | 0.0005441 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_118-21_0_5_load_43 | 50 | 0.064283 | 0.016111 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_118-21_0_5_load_44 | 51 | 0.0074486 | 0.0018668 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_118-21_0_5_load_55 | 52 | 0.0057289 | 0.0014358 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_118-21_0_5_load_14 | 53 | 0.063292 | 0.015863 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_118-21_0_5_load_52 | 56 | 0.0023894 | 0.00059884 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_118-21_0_5_load_64 | 57 | 0.031983 | 0.0080157 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_118-21_0_5_load_63 | 58 | 0.0061937 | 0.0015523 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_118-21_0_5_load_67 | 60 | 0.0039587 | 0.00099216 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_118-21_0_5_load_68 | 61 | 0.0076718 | 0.0019227 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_118-21_0_5_load_56 | 63 | 0.029829 | 0.0074758 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_118-21_0_5_line_0 |  | 0 | 1 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_118-21_0_5_line_1 |  | 0 | 2 | 0.03063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_118-21_0_5_line_2 |  | 1 | 3 | 0.0026977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_118-21_0_5_line_3 |  | 2 | 4 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_118-21_0_5_line_4 |  | 3 | 5 | 0.002964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_118-21_0_5_line_5 |  | 4 | 6 | 0.021383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_118-21_0_5_line_6 |  | 4 | 7 | 0.021351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_118-21_0_5_line_7 |  | 6 | 8 | 0.0067001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_118-21_0_5_line_8 |  | 7 | 9 | 0.0080333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_118-21_0_5_line_9 |  | 8 | 32 | 0.019972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_118-21_0_5_line_10 |  | 9 | 10 | 0.023102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_118-21_0_5_line_11 |  | 10 | 11 | 0.011271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_118-21_0_5_line_12 |  | 11 | 12 | 0.008835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_118-21_0_5_line_13 |  | 12 | 16 | 0.021899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_118-21_0_5_line_14 |  | 13 | 14 | 0.024377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_118-21_0_5_line_15 |  | 13 | 15 | 0.016325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_118-21_0_5_line_16 |  | 14 | 17 | 0.0051404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_118-21_0_5_line_17 |  | 15 | 46 | 0.0090565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_118-21_0_5_line_18 |  | 16 | 44 | 0.015865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_118-21_0_5_line_19 |  | 17 | 18 | 0.013584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_118-21_0_5_line_20 |  | 17 | 19 | 0.012786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_118-21_0_5_line_21 |  | 18 | 24 | 0.013041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_118-21_0_5_line_22 |  | 19 | 52 | 0.013126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_118-21_0_5_line_23 |  | 20 | 21 | 0.026301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_118-21_0_5_line_24 |  | 20 | 22 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_118-21_0_5_line_25 |  | 20 | 23 | 0.022109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_118-21_0_5_line_26 |  | 21 | 38 | 0.012286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_118-21_0_5_line_27 |  | 21 | 39 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_118-21_0_5_line_28 |  | 22 | 25 | 0.012613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_118-21_0_5_line_29 |  | 22 | 26 | 0.0067957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_118-21_0_5_line_30 |  | 24 | 54 | 0.031762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_118-21_0_5_line_31 |  | 25 | 52 | 0.0092404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_118-21_0_5_line_32 |  | 26 | 55 | 0.0088826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_118-21_0_5_line_33 |  | 27 | 28 | 0.023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_118-21_0_5_line_34 |  | 27 | 29 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_118-21_0_5_line_35 |  | 27 | 30 | 0.0097151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_118-21_0_5_line_36 |  | 27 | 31 | 0.031722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_118-21_0_5_line_37 |  | 28 | 32 | 0.023566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_118-21_0_5_line_38 |  | 28 | 33 | 0.027073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_118-21_0_5_line_39 |  | 29 | 51 | 0.020408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_118-21_0_5_line_40 |  | 30 | 61 | 0.027736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_118-21_0_5_line_41 |  | 31 | 37 | 0.0057783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_118-21_0_5_line_42 |  | 34 | 35 | 0.069861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_118-21_0_5_line_43 |  | 34 | 36 | 0.050376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_118-21_0_5_line_44 |  | 35 | 42 | 0.0094012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_118-21_0_5_line_45 |  | 35 | 43 | 0.057982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_118-21_0_5_line_46 |  | 39 | 40 | 0.03095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_118-21_0_5_line_47 |  | 40 | 41 | 0.027799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_118-21_0_5_line_48 |  | 42 | 49 | 0.0062042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_118-21_0_5_line_49 |  | 43 | 62 | 0.046326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_118-21_0_5_line_50 |  | 44 | 45 | 0.019918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_118-21_0_5_line_51 |  | 46 | 47 | 0.01178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_118-21_0_5_line_52 |  | 47 | 51 | 0.011957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_118-21_0_5_line_53 |  | 47 | 50 | 0.025539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_118-21_0_5_line_54 |  | 48 | 49 | 0.02758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_118-21_0_5_line_55 |  | 48 | 50 | 0.056089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_118-21_0_5_line_56 |  | 49 | 59 | 0.016227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_118-21_0_5_line_57 |  | 53 | 54 | 0.022243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_118-21_0_5_line_58 |  | 55 | 56 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_118-21_0_5_line_59 |  | 57 | 58 | 0.054555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_118-21_0_5_line_60 |  | 58 | 59 | 0.024212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_118-21_0_5_line_61 |  | 60 | 61 | 0.0048022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_118-21_0_5_line_62 |  | 62 | 63 | 0.0058119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_118-21_0_5_trafo_18 | 0.63 MVA 20/0.4 kV | 64 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2707016.126 | 1235243.7149 | 2707028.5288 | 1235232.0027
1 | 2707016.126 | 1235243.7149 | 2707011.5736 | 1235248.0139 | 2707000.7527 | 1235269.8487
2 | 2707030.4902 | 1235230.1505 | 2707028.5288 | 1235232.0027
3 | 2706995.9799 | 1235279.4795 | 2707000.7527 | 1235269.8487
4 | 2707030.4902 | 1235230.1505 | 2707032.6452 | 1235228.1155
5 | 2706995.9799 | 1235279.4795 | 2706975.4877 | 1235285.782
6 | 2706995.9799 | 1235279.4795 | 2707016.8883 | 1235275.1539
7 | 2706975.4877 | 1235285.782 | 2706969.0844 | 1235287.754
8 | 2707024.755 | 1235273.5264 | 2707016.8883 | 1235275.1539
9 | 2706950.2035 | 1235294.2 | 2706955.7034 | 1235291.875 | 2706969.0844 | 1235287.754
10 | 2707024.755 | 1235273.5264 | 2707047.2611 | 1235268.3121
11 | 2707058.2411 | 1235265.7681 | 2707047.2611 | 1235268.3121
12 | 2707058.2411 | 1235265.7681 | 2707067.0078 | 1235264.4807
13 | 2707067.0078 | 1235264.4807 | 2707088.5865 | 1235260.7477
14 | 2707032.7979 | 1235311.9675 | 2707041.9291 | 1235309.7747 | 2707056.7078 | 1235307.2924
15 | 2707032.7979 | 1235311.9675 | 2707025.4458 | 1235313.7364 | 2707018.052 | 1235314.8819 | 2707016.7855 | 1235315.0769
16 | 2707061.7772 | 1235306.4409 | 2707056.7078 | 1235307.2924
17 | 2707007.8344 | 1235316.4547 | 2707016.7855 | 1235315.0769
18 | 2707104.1828 | 1235257.8567 | 2707100.0711 | 1235258.761 | 2707088.5865 | 1235260.7477
19 | 2707061.7772 | 1235306.4409 | 2707063.2912 | 1235312.7397 | 2707064.9379 | 1235319.6524
20 | 2707061.7772 | 1235306.4409 | 2707074.3855 | 1235304.1107
21 | 2707064.9379 | 1235319.6524 | 2707067.8889 | 1235324.7651 | 2707070.9363 | 1235331.2196
22 | 2707074.3855 | 1235304.1107 | 2707083.4496 | 1235302.6952 | 2707087.3052 | 1235301.8264
23 | 2707111.9669 | 1235310.6153 | 2707132.9798 | 1235305.2455 | 2707137.5551 | 1235304.2384
24 | 2707108.6239 | 1235297.0223 | 2707110.1544 | 1235303.2436 | 2707111.9669 | 1235310.6153
25 | 2707111.9669 | 1235310.6153 | 2707103.8898 | 1235311.8706 | 2707090.2248 | 1235314.6006
26 | 2707139.2129 | 1235316.4109 | 2707137.5551 | 1235304.2384
27 | 2707137.5551 | 1235304.2384 | 2707148.5426 | 1235303.2135 | 2707153.0778 | 1235302.5671
28 | 2707108.6239 | 1235297.0223 | 2707096.3195 | 1235299.7951
29 | 2707108.6239 | 1235297.0223 | 2707115.304 | 1235295.774
30 | 2707076.8029 | 1235361.4761 | 2707077.3838 | 1235344.3735 | 2707071.8919 | 1235333.2437 | 2707070.9363 | 1235331.2196
31 | 2707087.3052 | 1235301.8264 | 2707096.3195 | 1235299.7951
32 | 2707124.0355 | 1235294.1424 | 2707115.304 | 1235295.774
33 | 2706954.7846 | 1235309.2607 | 2706951.9284 | 1235315.692 | 2706962.3116 | 1235320.894 | 2706960.956 | 1235325.5509
34 | 2706960.956 | 1235325.5509 | 2706969.3999 | 1235328.3051 | 2706977.0771 | 1235329.6239
35 | 2706960.956 | 1235325.5509 | 2706960.8789 | 1235335.2657
36 | 2706934.3578 | 1235327.0734 | 2706936.3398 | 1235322.5278 | 2706936.7975 | 1235321.4908 | 2706938.6469 | 1235320.1008 | 2706942.6138 | 1235319.6718 | 2706949.5977 | 1235321.1097 | 2706960.956 | 1235325.5509
37 | 2706954.7846 | 1235309.2607 | 2706949.4716 | 1235305.4176 | 2706947.1185 | 1235300.7272 | 2706945.2344 | 1235298.158 | 2706943.9867 | 1235296.8234 | 2706950.2035 | 1235294.2
38 | 2706954.7846 | 1235309.2607 | 2706967.6743 | 1235316.0979 | 2706978.3786 | 1235319.0262 | 2706979.7609 | 1235318.9438
39 | 2706997.412 | 1235329.5901 | 2706995.9139 | 1235329.7724 | 2706988.9782 | 1235330.2813 | 2706979.9576 | 1235330.1187 | 2706977.0771 | 1235329.6239
40 | 2706965.5874 | 1235362.3796 | 2706960.8071 | 1235344.3182 | 2706960.8789 | 1235335.2657
41 | 2706934.3578 | 1235327.0734 | 2706933.2779 | 1235332.7498
42 | 2707105.6007 | 1235373.9714 | 2707108.0265 | 1235378.3963 | 2707111.3008 | 1235385.7276 | 2707111.4958 | 1235391.7024 | 2707110.2824 | 1235394.3381 | 2707119.5867 | 1235396.8077 | 2707131.9736 | 1235397.5094 | 2707141.2813 | 1235398.111 | 2707143.6057 | 1235381.7292
43 | 2707143.6057 | 1235381.7292 | 2707164.5533 | 1235371.1544 | 2707187.9811 | 1235357.9142
44 | 2707105.6007 | 1235373.9714 | 2707108.5177 | 1235372.9899 | 2707106.2167 | 1235367.0999
45 | 2707105.6007 | 1235373.9714 | 2707082.0065 | 1235381.8745 | 2707057.7915 | 1235391.8791 | 2707051.2706 | 1235394.1325
46 | 2707183.9378 | 1235300.8278 | 2707161.2855 | 1235301.3974 | 2707153.0778 | 1235302.5671
47 | 2707183.9378 | 1235300.8278 | 2707188.7167 | 1235300.7028 | 2707191.4672 | 1235304.333 | 2707191.5895 | 1235307.204 | 2707178.1454 | 1235315.0973
48 | 2707103.9591 | 1235361.321 | 2707106.2167 | 1235367.0999
49 | 2707007.3149 | 1235408.705 | 2707014.8829 | 1235406.7065 | 2707051.2706 | 1235394.1325
50 | 2707104.1828 | 1235257.8567 | 2707109.0122 | 1235277.1808
51 | 2707007.8344 | 1235316.4547 | 2707008.5678 | 1235322.3835 | 2707009.2815 | 1235328.1452
52 | 2707009.2815 | 1235328.1452 | 2706997.412 | 1235329.5901
53 | 2707009.2815 | 1235328.1452 | 2707016.3085 | 1235327.1933 | 2707026.1336 | 1235333.9532 | 2707031.2711 | 1235337.9707
54 | 2707077.7557 | 1235368.6655 | 2707086.511 | 1235368.4231 | 2707092.2173 | 1235366.8247 | 2707103.9591 | 1235361.321
55 | 2707077.7557 | 1235368.6655 | 2707069.3139 | 1235365.8 | 2707054.3206 | 1235355.989 | 2707041.8096 | 1235346.2117 | 2707031.2711 | 1235337.9707
56 | 2707103.9591 | 1235361.321 | 2707118.8391 | 1235354.7508
57 | 2707076.8029 | 1235361.4761 | 2707083.4007 | 1235358.7151 | 2707097.1565 | 1235352.5095
58 | 2707124.0355 | 1235294.1424 | 2707135.4323 | 1235291.9617
59 | 2707141.3571 | 1235345.8539 | 2707147.9336 | 1235343.2555 | 2707166.5411 | 1235334.4176 | 2707184.7326 | 1235325.5722 | 2707190.4858 | 1235322.2248
60 | 2707118.8391 | 1235354.7508 | 2707141.3571 | 1235345.8539
61 | 2706966.4769 | 1235367.0559 | 2706966.5409 | 1235365.9825 | 2706965.5874 | 1235362.3796
62 | 2707007.3149 | 1235408.705 | 2707006.7973 | 1235406.7609 | 2707008.1523 | 1235406.3405 | 2707010.4214 | 1235405.6183

## bus_geodata
| x | y | coords
0 | 2707016.126 | 1235243.7149
1 | 2707028.5288 | 1235232.0027
2 | 2707000.7527 | 1235269.8487
3 | 2707030.4902 | 1235230.1505
4 | 2706995.9799 | 1235279.4795
5 | 2707032.6452 | 1235228.1155
6 | 2706975.4877 | 1235285.782
7 | 2707016.8883 | 1235275.1539
8 | 2706969.0844 | 1235287.754
9 | 2707024.755 | 1235273.5264
10 | 2707047.2611 | 1235268.3121
11 | 2707058.2411 | 1235265.7681
12 | 2707067.0078 | 1235264.4807
13 | 2707032.7979 | 1235311.9675
14 | 2707056.7078 | 1235307.2924
15 | 2707016.7855 | 1235315.0768
16 | 2707088.5865 | 1235260.7477
17 | 2707061.7772 | 1235306.4409
18 | 2707064.9379 | 1235319.6524
19 | 2707074.3855 | 1235304.1107
20 | 2707111.9669 | 1235310.6153
21 | 2707137.5551 | 1235304.2384
22 | 2707108.6239 | 1235297.0223
23 | 2707090.2248 | 1235314.6006
24 | 2707070.9363 | 1235331.2196
25 | 2707096.3195 | 1235299.7951
26 | 2707115.304 | 1235295.774
27 | 2706960.956 | 1235325.5509
28 | 2706954.7846 | 1235309.2607
29 | 2706977.0771 | 1235329.6239
30 | 2706960.8789 | 1235335.2657
31 | 2706934.3578 | 1235327.0734
32 | 2706950.2035 | 1235294.2
33 | 2706979.7609 | 1235318.9438
34 | 2707143.6057 | 1235381.7292
35 | 2707105.6007 | 1235373.9714
36 | 2707187.9811 | 1235357.9142
37 | 2706933.2779 | 1235332.7498
38 | 2707139.2129 | 1235316.4109
39 | 2707153.0778 | 1235302.5671
40 | 2707183.9378 | 1235300.8278
41 | 2707178.1454 | 1235315.0973
42 | 2707106.2167 | 1235367.0999
43 | 2707051.2706 | 1235394.1325
44 | 2707104.1828 | 1235257.8567
45 | 2707109.0122 | 1235277.1808
46 | 2707007.8344 | 1235316.4547
47 | 2707009.2815 | 1235328.1452
48 | 2707077.7557 | 1235368.6655
49 | 2707103.9591 | 1235361.321
50 | 2707031.2711 | 1235337.9707
51 | 2706997.412 | 1235329.5901
52 | 2707087.3052 | 1235301.8264
53 | 2707097.1565 | 1235352.5095
54 | 2707076.8029 | 1235361.4761
55 | 2707124.0355 | 1235294.1424
56 | 2707135.4323 | 1235291.9617
57 | 2707190.4858 | 1235322.2248
58 | 2707141.3571 | 1235345.8539
59 | 2707118.8391 | 1235354.7508
60 | 2706966.4769 | 1235367.0559
61 | 2706965.5874 | 1235362.3796
62 | 2707007.3149 | 1235408.705
63 | 2707010.4214 | 1235405.6183
64 | 2707064.9379 | 1235319.6524

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98671 | -0.25528 | 0.0021269 | 0.00053304
1 | 0.98663 | -0.2569 | 0.0014105 | 0.00035351
2 | 0.98692 | -0.25122 | 0.0088994 | 0.0022304
3 | 0.98662 | -0.25708 | 0.0026692 | 0.00066896
4 | 0.98708 | -0.24808 | 0 | 0
5 | 0.98662 | -0.25715 | 0.0012058 | 0.0003022
6 | 0.98755 | -0.23889 | 0 | 0
7 | 0.98693 | -0.25102 | 0.001817 | 0.00045539
8 | 0.9877 | -0.23602 | 0.0029452 | 0.00073813
9 | 0.98689 | -0.25187 | 0 | 0
10 | 0.98676 | -0.25431 | 0.0019001 | 0.00047621
11 | 0.98672 | -0.25511 | 0 | 0
12 | 0.98669 | -0.25574 | 0 | 0
13 | 0.99483 | -0.098375 | 0 | 0
14 | 0.99672 | -0.062318 | 0.015548 | 0.0038967
15 | 0.99357 | -0.1226 | 0.02939 | 0.0073659
16 | 0.98661 | -0.25731 | 0.0018178 | 0.00045558
17 | 0.99714 | -0.054382 | 0 | 0
18 | 0.9986 | -0.026597 | 0 | 0
19 | 0.99579 | -0.080247 | 0 | 0
20 | 0.99089 | -0.17472 | 0 | 0
21 | 0.9904 | -0.18425 | 0 | 0
22 | 0.99222 | -0.14892 | 0 | 0
23 | 0.98919 | -0.20758 | 0.083585 | 0.020948
24 | 1 | 0 | -0.53818 | -0.13673
25 | 0.99347 | -0.12473 | 0.0010504 | 0.00026325
26 | 0.99219 | -0.14946 | 0.0020935 | 0.00052468
27 | 0.9894 | -0.20307 | 0 | 0
28 | 0.98878 | -0.21506 | 0 | 0
29 | 0.99018 | -0.18785 | 0.010252 | 0.0025694
30 | 0.98926 | -0.20575 | 0.0038291 | 0.00095968
31 | 0.98919 | -0.20716 | 0 | 0
32 | 0.9882 | -0.2264 | 0 | 0
33 | 0.98874 | -0.21586 | 0.0016604 | 0.00041613
34 | 0.98297 | -0.32725 | 0 | 0
35 | 0.9844 | -0.2994 | 0 | 0
36 | 0.98194 | -0.34738 | 0.02213 | 0.0055464
37 | 0.98915 | -0.20791 | 0.0072431 | 0.0018153
38 | 0.99029 | -0.18634 | 0.0095883 | 0.002403
39 | 0.99024 | -0.18725 | 0.0057646 | 0.0014448
40 | 0.9901 | -0.19002 | 0 | 0
41 | 0.98997 | -0.19251 | 0.0050396 | 0.001263
42 | 0.98544 | -0.27923 | 0.016297 | 0.0040843
43 | 0.97917 | -0.40137 | 0.067429 | 0.016899
44 | 0.98658 | -0.25793 | 0 | 0
45 | 0.98654 | -0.2587 | 0.002171 | 0.0005441
46 | 0.99293 | -0.13489 | 0 | 0
47 | 0.99209 | -0.1509 | 0 | 0
48 | 0.98843 | -0.22126 | 0 | 0
49 | 0.98622 | -0.26413 | 0 | 0
50 | 0.99069 | -0.17786 | 0.064283 | 0.016111
51 | 0.99134 | -0.16553 | 0.0074486 | 0.0018668
52 | 0.9944 | -0.10687 | 0.0057289 | 0.0014358
53 | 0.99689 | -0.059762 | 0.063292 | 0.015863
54 | 0.99817 | -0.035103 | 0 | 0
55 | 0.99217 | -0.14983 | 0 | 0
56 | 0.99215 | -0.15032 | 0.0023894 | 0.00059884
57 | 0.98318 | -0.32325 | 0.031983 | 0.0080157
58 | 0.98479 | -0.29184 | 0.0061937 | 0.0015523
59 | 0.98565 | -0.27524 | 0 | 0
60 | 0.98895 | -0.21183 | 0.0039587 | 0.00099216
61 | 0.98896 | -0.21149 | 0.0076718 | 0.0019227
62 | 0.97789 | -0.42652 | 0 | 0
63 | 0.97773 | -0.42968 | 0.029829 | 0.0074758
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0052859 | 0.0013247 | -0.0052855 | -0.0013246 | 4.065e-07 | 4.2285e-08 | 0.0079714 | 0.0079715 | 0.0079715 | 0.98671 | -0.25528 | 0.98663 | -0.2569 | 2.19
1 | -0.0074128 | -0.0018577 | 0.0074142 | 0.0018582 | 1.4354e-06 | 5.2733e-07 | 0.011179 | 0.011179 | 0.011179 | 0.98671 | -0.25528 | 0.98692 | -0.25122 | 3.0711
2 | 0.003875 | 0.00097111 | -0.003875 | -0.00097112 | 3.4552e-08 | -1.2338e-08 | 0.0058442 | 0.0058442 | 0.0058442 | 0.98663 | -0.2569 | 0.98662 | -0.25708 | 1.6055
3 | -0.016314 | -0.0040886 | 0.016316 | 0.0040901 | 2.4386e-06 | 1.4233e-06 | 0.024597 | 0.024597 | 0.024597 | 0.98692 | -0.25122 | 0.98708 | -0.24808 | 6.7573
4 | 0.0012058 | 0.00030216 | -0.0012058 | -0.0003022 | 3.6758e-09 | -3.5499e-08 | 0.0018185 | 0.0018186 | 0.0018186 | 0.98662 | -0.25708 | 0.98662 | -0.25715 | 0.4996
5 | -0.024025 | -0.0060214 | 0.024035 | 0.0060279 | 1.0518e-05 | 6.458e-06 | 0.036217 | 0.036217 | 0.036217 | 0.98708 | -0.24808 | 0.98755 | -0.23889 | 9.9498
6 | 0.0077087 | 0.0019314 | -0.0077076 | -0.0019309 | 1.0812e-06 | 4.1909e-07 | 0.011621 | 0.011621 | 0.011621 | 0.98708 | -0.24808 | 0.98693 | -0.25102 | 3.1925
7 | -0.024035 | -0.0060279 | 0.024039 | 0.0060299 | 3.2956e-06 | 2.0235e-06 | 0.036217 | 0.036217 | 0.036217 | 0.98755 | -0.23889 | 0.9877 | -0.23602 | 9.9497
8 | 0.0058905 | 0.0014756 | -0.0058903 | -0.0014755 | 2.376e-07 | 4.9416e-08 | 0.008881 | 0.008881 | 0.008881 | 0.98693 | -0.25102 | 0.98689 | -0.25187 | 2.4398
9 | -0.026984 | -0.006768 | 0.026996 | 0.0067757 | 1.2378e-05 | 7.6665e-06 | 0.040654 | 0.040654 | 0.040654 | 0.9877 | -0.23602 | 0.9882 | -0.2264 | 11.1687
10 | 0.0058903 | 0.0014755 | -0.0058896 | -0.0014754 | 6.8331e-07 | 1.4217e-07 | 0.008881 | 0.0088811 | 0.0088811 | 0.98689 | -0.25187 | 0.98676 | -0.25431 | 2.4399
11 | 0.0039895 | 0.00099915 | -0.0039894 | -0.0009992 | 1.5296e-07 | -4.6075e-08 | 0.0060158 | 0.0060159 | 0.0060159 | 0.98676 | -0.25431 | 0.98672 | -0.25511 | 1.6527
12 | 0.0039894 | 0.0009992 | -0.0039892 | -0.00099923 | 1.1991e-07 | -3.6107e-08 | 0.0060159 | 0.0060159 | 0.0060159 | 0.98672 | -0.25511 | 0.98669 | -0.25574 | 1.6527
13 | 0.0039892 | 0.00099923 | -0.0039889 | -0.00099932 | 2.9722e-07 | -8.9462e-08 | 0.0060159 | 0.006016 | 0.006016 | 0.98669 | -0.25574 | 0.98661 | -0.25731 | 1.6528
14 | -0.33952 | -0.086225 | 0.34011 | 0.086601 | 0.00059029 | 0.00037652 | 0.50823 | 0.50823 | 0.50823 | 0.99483 | -0.098375 | 0.99672 | -0.062318 | 34.906
15 | 0.33952 | 0.086225 | -0.33912 | -0.085972 | 0.00039533 | 0.00025216 | 0.50823 | 0.50823 | 0.50823 | 0.99483 | -0.098375 | 0.99357 | -0.1226 | 34.9061
16 | -0.35565 | -0.090498 | 0.35579 | 0.090585 | 0.00013611 | 8.684e-05 | 0.53144 | 0.53144 | 0.53144 | 0.99672 | -0.062318 | 0.99714 | -0.054382 | 36.5002
17 | 0.30973 | 0.078607 | -0.30955 | -0.07849 | 0.00018297 | 0.00011663 | 0.46422 | 0.46422 | 0.46422 | 0.99357 | -0.1226 | 0.99293 | -0.13489 | 31.883
18 | 0.0021711 | 0.00054374 | -0.0021711 | -0.0005439 | 6.379e-08 | -1.6177e-07 | 0.0032744 | 0.0032745 | 0.0032745 | 0.98661 | -0.25731 | 0.98658 | -0.25793 | 0.89958
19 | -0.47181 | -0.11997 | 0.47245 | 0.12037 | 0.00063242 | 0.00040404 | 0.70469 | 0.70469 | 0.70469 | 0.99714 | -0.054382 | 0.9986 | -0.026597 | 48.399
20 | 0.11602 | 0.029381 | -0.11588 | -0.029289 | 0.00014391 | 9.1937e-05 | 0.17325 | 0.17325 | 0.17325 | 0.99714 | -0.054382 | 0.99579 | -0.080247 | 47.5953
21 | -0.47245 | -0.12037 | 0.47305 | 0.12076 | 0.00060712 | 0.00038787 | 0.70469 | 0.70469 | 0.70469 | 0.9986 | -0.026597 | 1 | 0 | 48.399
22 | 0.11588 | 0.029289 | -0.11573 | -0.029194 | 0.00014774 | 9.4384e-05 | 0.17325 | 0.17325 | 0.17325 | 0.99579 | -0.080247 | 0.9944 | -0.10687 | 47.5954
23 | 0.020405 | 0.0051177 | -0.020396 | -0.0051121 | 9.262e-06 | 5.589e-06 | 0.030644 | 0.030644 | 0.030644 | 0.99089 | -0.17472 | 0.9904 | -0.18425 | 8.4188
24 | -0.10412 | -0.02615 | 0.10425 | 0.026232 | 0.00012837 | 8.1973e-05 | 0.15638 | 0.15638 | 0.15638 | 0.99089 | -0.17472 | 0.99222 | -0.14892 | 42.961
25 | 0.083716 | 0.021032 | -0.083585 | -0.020948 | 0.00013107 | 8.3602e-05 | 0.12573 | 0.12573 | 0.12573 | 0.99089 | -0.17472 | 0.98919 | -0.20758 | 34.5423
26 | 0.0095892 | 0.0024035 | -0.0095883 | -0.002403 | 9.5634e-07 | 4.5397e-07 | 0.014407 | 0.014407 | 0.014407 | 0.9904 | -0.18425 | 0.99029 | -0.18634 | 3.9581
27 | 0.010807 | 0.0027086 | -0.010805 | -0.0027078 | 1.5439e-06 | 7.8717e-07 | 0.016237 | 0.016237 | 0.016237 | 0.9904 | -0.18425 | 0.99024 | -0.18725 | 4.4607
28 | -0.10873 | -0.027355 | 0.10886 | 0.027435 | 0.00012582 | 8.0364e-05 | 0.1631 | 0.1631 | 0.1631 | 0.99222 | -0.14892 | 0.99347 | -0.12473 | 44.808
29 | 0.0044831 | 0.0011233 | -0.004483 | -0.0011233 | 1.1519e-07 | -1.4049e-08 | 0.0067231 | 0.0067232 | 0.0067232 | 0.99222 | -0.14892 | 0.99219 | -0.14946 | 1.847
30 | 0.063473 | 0.015978 | -0.063367 | -0.01591 | 0.00010631 | 6.762e-05 | 0.094473 | 0.094474 | 0.094474 | 1 | 0 | 0.99817 | -0.035103 | 25.9543
31 | -0.10991 | -0.027698 | 0.11 | 0.027759 | 9.3966e-05 | 6.0019e-05 | 0.16467 | 0.16467 | 0.16467 | 0.99347 | -0.12473 | 0.9944 | -0.10687 | 45.2402
32 | 0.0023895 | 0.00059864 | -0.0023894 | -0.00059872 | 4.2775e-08 | -8.7343e-08 | 0.0035835 | 0.0035835 | 0.0035835 | 0.99219 | -0.14946 | 0.99217 | -0.14983 | 0.98449
33 | 0.028688 | 0.0072108 | -0.028671 | -0.0072006 | 1.6411e-05 | 1.0201e-05 | 0.043152 | 0.043153 | 0.043153 | 0.9894 | -0.20307 | 0.98878 | -0.21506 | 11.8551
34 | -0.051397 | -0.012904 | 0.051435 | 0.012928 | 3.7363e-05 | 2.3698e-05 | 0.077308 | 0.077307 | 0.077308 | 0.9894 | -0.20307 | 0.99018 | -0.18785 | 21.2383
35 | 0.015465 | 0.0038774 | -0.015463 | -0.0038762 | 1.9709e-06 | 1.1366e-06 | 0.023259 | 0.023259 | 0.023259 | 0.9894 | -0.20307 | 0.98926 | -0.20575 | 6.3899
36 | 0.0072448 | 0.0018159 | -0.0072433 | -0.0018154 | 1.4123e-06 | 4.9656e-07 | 0.010896 | 0.010896 | 0.010896 | 0.9894 | -0.20307 | 0.98919 | -0.20716 | 2.9934
37 | 0.027011 | 0.0067847 | -0.026996 | -0.0067757 | 1.4605e-05 | 9.0454e-06 | 0.040654 | 0.040654 | 0.040654 | 0.98878 | -0.21506 | 0.9882 | -0.2264 | 11.1687
38 | 0.0016604 | 0.00041582 | -0.0016604 | -0.00041613 | 6.339e-08 | -3.0667e-07 | 0.0024987 | 0.0024988 | 0.0024988 | 0.98878 | -0.21506 | 0.98874 | -0.21586 | 0.68649
39 | -0.061687 | -0.015497 | 0.061753 | 0.015539 | 6.5785e-05 | 4.184e-05 | 0.092714 | 0.092714 | 0.092714 | 0.99018 | -0.18785 | 0.99134 | -0.16553 | 25.4709
40 | 0.011634 | 0.0029166 | -0.011631 | -0.0029149 | 3.1852e-06 | 1.6825e-06 | 0.0175 | 0.0175 | 0.0175 | 0.98926 | -0.20575 | 0.98896 | -0.21149 | 4.8076
41 | 0.0072433 | 0.0018154 | -0.0072431 | -0.0018153 | 2.5726e-07 | 9.0471e-08 | 0.010896 | 0.010896 | 0.010896 | 0.98919 | -0.20716 | 0.98915 | -0.20791 | 2.9934
42 | -0.022152 | -0.0055593 | 0.022181 | 0.0055773 | 2.9463e-05 | 1.797e-05 | 0.033536 | 0.033535 | 0.033536 | 0.98297 | -0.32725 | 0.9844 | -0.2994 | 9.2131
43 | 0.022152 | 0.0055593 | -0.02213 | -0.0055464 | 2.1246e-05 | 1.2959e-05 | 0.033536 | 0.033536 | 0.033536 | 0.98297 | -0.32725 | 0.98194 | -0.34738 | 9.2132
44 | -0.11995 | -0.030281 | 0.12007 | 0.030355 | 0.00011601 | 7.4126e-05 | 0.1814 | 0.1814 | 0.1814 | 0.9844 | -0.2994 | 0.98544 | -0.27923 | 49.8354
45 | 0.097773 | 0.024704 | -0.097298 | -0.0244 | 0.0004754 | 0.00030352 | 0.14787 | 0.14787 | 0.14787 | 0.9844 | -0.2994 | 0.97917 | -0.40137 | 40.6225
46 | 0.0050409 | 0.0012631 | -0.0050402 | -0.0012631 | 6.6593e-07 | 2.8099e-08 | 0.0075747 | 0.0075748 | 0.0075748 | 0.99024 | -0.18725 | 0.9901 | -0.19002 | 2.081
47 | 0.0050402 | 0.0012631 | -0.0050396 | -0.001263 | 5.9815e-07 | 2.535e-08 | 0.0075748 | 0.007575 | 0.007575 | 0.9901 | -0.19002 | 0.98997 | -0.19251 | 2.081
48 | -0.13637 | -0.034439 | 0.13647 | 0.034503 | 9.874e-05 | 6.3114e-05 | 0.20601 | 0.20601 | 0.20601 | 0.98544 | -0.27923 | 0.98622 | -0.26413 | 56.5958
49 | 0.029869 | 0.0075009 | -0.029833 | -0.0074786 | 3.5802e-05 | 2.2331e-05 | 0.045396 | 0.045397 | 0.045397 | 0.97917 | -0.40137 | 0.97789 | -0.42652 | 12.4716
50 | 0.0021711 | 0.0005439 | -0.002171 | -0.0005441 | 8.0091e-08 | -2.0308e-07 | 0.0032745 | 0.0032746 | 0.0032746 | 0.98658 | -0.25793 | 0.98654 | -0.2587 | 0.89961
51 | 0.30955 | 0.07849 | -0.30931 | -0.078338 | 0.00023799 | 0.0001517 | 0.46422 | 0.46422 | 0.46422 | 0.99293 | -0.13489 | 0.99209 | -0.1509 | 31.883
52 | 0.06925 | 0.017437 | -0.069201 | -0.017406 | 4.84e-05 | 3.0822e-05 | 0.10389 | 0.10389 | 0.10389 | 0.99209 | -0.1509 | 0.99134 | -0.16553 | 28.5425
53 | 0.24006 | 0.060902 | -0.23975 | -0.060704 | 0.00031085 | 0.00019763 | 0.36032 | 0.36032 | 0.36032 | 0.99209 | -0.1509 | 0.99069 | -0.17786 | 24.7474
54 | 0.1751 | 0.044362 | -0.17474 | -0.044132 | 0.00035979 | 0.00022956 | 0.26377 | 0.26377 | 0.26377 | 0.98843 | -0.22126 | 0.98622 | -0.26413 | 36.2324
55 | -0.1751 | -0.044362 | 0.17547 | 0.044593 | 0.00036585 | 0.00023126 | 0.26377 | 0.26377 | 0.26377 | 0.98843 | -0.22126 | 0.99069 | -0.17786 | 18.1162
56 | 0.038275 | 0.0096298 | -0.038255 | -0.009617 | 2.0304e-05 | 1.2787e-05 | 0.057763 | 0.057763 | 0.057763 | 0.98622 | -0.26413 | 0.98565 | -0.27524 | 15.869
57 | -0.063292 | -0.015863 | 0.063367 | 0.01591 | 7.4447e-05 | 4.7355e-05 | 0.094474 | 0.094474 | 0.094474 | 0.99689 | -0.059762 | 0.99817 | -0.035103 | 25.9543
58 | 0.0023894 | 0.00059872 | -0.0023894 | -0.00059884 | 5.5879e-08 | -1.1409e-07 | 0.0035835 | 0.0035836 | 0.0035836 | 0.99217 | -0.14983 | 0.99215 | -0.15032 | 0.9845
59 | -0.031983 | -0.0080157 | 0.032031 | 0.0080457 | 4.7934e-05 | 2.9985e-05 | 0.048405 | 0.048405 | 0.048405 | 0.98318 | -0.32325 | 0.98479 | -0.29184 | 13.2981
60 | -0.038225 | -0.0095979 | 0.038255 | 0.009617 | 3.0295e-05 | 1.908e-05 | 0.057763 | 0.057763 | 0.057763 | 0.98479 | -0.29184 | 0.98565 | -0.27524 | 15.8691
61 | -0.0039587 | -0.00099216 | 0.0039588 | 0.00099213 | 6.3893e-08 | -2.0726e-08 | 0.0059565 | 0.0059565 | 0.0059565 | 0.98895 | -0.21183 | 0.98896 | -0.21149 | 1.6364
62 | 0.029833 | 0.0074786 | -0.029829 | -0.0074758 | 4.4915e-06 | 2.8017e-06 | 0.045397 | 0.045397 | 0.045397 | 0.97789 | -0.42652 | 0.97773 | -0.42968 | 12.4716

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61251 | 0.15537

## res_load
| p_mw | q_mvar
0 | 0.0021269 | 0.00053304
1 | 0.0014105 | 0.00035351
2 | 0.0088994 | 0.0022304
3 | 0.0026692 | 0.00066896
4 | 0.0012058 | 0.0003022
5 | 0.001817 | 0.00045539
6 | 0.0029452 | 0.00073813
7 | 0.0019001 | 0.00047621
8 | 0.015548 | 0.0038967
9 | 0.02939 | 0.0073659
10 | 0.0018178 | 0.00045558
11 | 0.083585 | 0.020948
12 | 0.074338 | 0.018631
13 | 0.0010504 | 0.00026325
14 | 0.0020935 | 0.00052468
15 | 0.010252 | 0.0025694
16 | 0.0038291 | 0.00095968
17 | 0.0016604 | 0.00041613
18 | 0.02213 | 0.0055464
19 | 0.0072431 | 0.0018153
20 | 0.0095883 | 0.002403
21 | 0.0057646 | 0.0014448
22 | 0.0050396 | 0.001263
23 | 0.016297 | 0.0040843
24 | 0.067429 | 0.016899
25 | 0.002171 | 0.0005441
26 | 0.064283 | 0.016111
27 | 0.0074486 | 0.0018668
28 | 0.0057289 | 0.0014358
29 | 0.063292 | 0.015863
30 | 0.0023894 | 0.00059884
31 | 0.031983 | 0.0080157
32 | 0.0061937 | 0.0015523
33 | 0.0039587 | 0.00099216
34 | 0.0076718 | 0.0019227
35 | 0.029829 | 0.0074758

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1