## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_118-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_118-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_118-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_118-22_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_118-22_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_118-22_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_118-22_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_118-22_0_4_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_118-22_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_118-22_0_4_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_118-22_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_118-22_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_118-22_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_118-22_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_118-22_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_118-22_0_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_118-22_0_4_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_118-22_0_4_node_66 | 0.4 | n |  | TRUE
18 | bus_LV_118-22_0_4_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_118-22_0_4_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_118-22_0_4_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_118-22_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_118-22_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_118-22_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_118-22_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_118-22_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_118-22_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_118-22_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_118-22_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_118-22_0_4_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_118-22_0_4_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_118-22_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_118-22_0_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_118-22_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_118-22_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_118-22_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_118-22_0_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_118-22_0_4_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_118-22_0_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_118-22_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_118-22_0_4_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_118-22_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_118-22_0_4_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_118-22_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_118-22_0_4_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_118-22_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_118-22_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_118-22_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_118-22_0_4_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_118-22_0_4_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_118-22_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_118-22_0_4_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_118-22_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_118-22_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_118-22_0_4_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_118-22_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_118-22_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_118-22_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_118-22_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_118-22_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_118-22_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_118-22_0_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_118-22_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_118-22_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_118-22_0_4_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_118-22_0_4_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_118-22_0_4_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_118-22_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_118-22_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_118-22_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_118-22_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_118-22_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_118-22_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_118-22_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_MV_9_2_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_118-22_0_4_load_0 | 0 | 0.0046749 | 0.0011716 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_118-22_0_4_load_1 | 1 | 0.0094969 | 0.0023801 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_118-22_0_4_load_5 | 4 | 0.0068467 | 0.001716 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_118-22_0_4_load_33 | 5 | 0.016092 | 0.0040331 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_118-22_0_4_load_30 | 6 | 0.0033398 | 0.00083704 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_118-22_0_4_load_49 | 7 | 0.0067797 | 0.0016991 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_118-22_0_4_load_31 | 8 | 0.001159 | 0.00029048 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_118-22_0_4_load_48 | 9 | 0.0024652 | 0.00061784 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_118-22_0_4_load_6 | 10 | 0.0129 | 0.003233 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_118-22_0_4_load_7 | 11 | 0.0025061 | 0.00062808 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_118-22_0_4_load_8 | 12 | 0.0028829 | 0.00072252 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_118-22_0_4_load_9 | 13 | 0.0082239 | 0.0020611 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_118-22_0_4_load_51 | 15 | 0.0040391 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_118-22_0_4_load_59 | 16 | 0.0030797 | 0.00077184 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_118-22_0_4_load_66 | 17 | 0.0025083 | 0.00062863 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_118-22_0_4_load_78 | 18 | 0.0025794 | 0.00064647 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_118-22_0_4_load_57 | 19 | 0.0028641 | 0.00071781 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_118-22_0_4_load_11 | 21 | 0.0074559 | 0.0018686 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_118-22_0_4_load_29 | 25 | 0.0031789 | 0.00079671 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_118-22_0_4_load_27 | 26 | 0.0048732 | 0.0012213 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_118-22_0_4_load_60 | 29 | 0.0040739 | 0.001021 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_118-22_0_4_load_76 | 30 | 0.0032379 | 0.00081149 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_118-22_0_4_load_42 | 32 | 0.0046124 | 0.001156 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_118-22_0_4_load_38 | 33 | 0.0021281 | 0.00053335 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_118-22_0_4_load_19 | 34 | 0.0076767 | 0.001924 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_118-22_0_4_load_58 | 37 | 0.0046949 | 0.0011767 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_118-22_0_4_load_77 | 38 | 0.0040278 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_118-22_0_4_load_70 | 40 | 0.0017305 | 0.0004337 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_118-22_0_4_load_39 | 41 | 0.0060827 | 0.0015245 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_118-22_0_4_load_20 | 42 | 0.012935 | 0.0032417 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_118-22_0_4_load_21 | 43 | 0.01466 | 0.0036742 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_118-22_0_4_load_23 | 44 | 0.007692 | 0.0019278 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_118-22_0_4_load_35 | 45 | 0.014958 | 0.0037488 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_118-22_0_4_load_67 | 48 | 0.0041321 | 0.0010356 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_118-22_0_4_load_80 | 49 | 0.019442 | 0.0048727 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_118-22_0_4_load_34 | 50 | 0.0066245 | 0.0016603 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_118-22_0_4_load_46 | 52 | 0.0031235 | 0.00078281 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_118-22_0_4_load_43 | 53 | 0.0027264 | 0.0006833 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_118-22_0_4_load_32 | 54 | 0.0031336 | 0.00078535 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_118-22_0_4_load_44 | 55 | 0.0020792 | 0.00052109 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_118-22_0_4_load_36 | 56 | 0.014899 | 0.0037341 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_118-22_0_4_load_40 | 58 | 0.016768 | 0.0042026 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_118-22_0_4_load_50 | 59 | 0.009128 | 0.0022877 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_118-22_0_4_load_47 | 60 | 0.0029503 | 0.00073942 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_118-22_0_4_load_56 | 62 | 0.0022651 | 0.00056769 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_118-22_0_4_load_52 | 63 | 0.0018128 | 0.00045434 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_118-22_0_4_load_71 | 64 | 0.001232 | 0.00030878 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_118-22_0_4_load_79 | 66 | 0.0046611 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_118-22_0_4_load_53 | 67 | 0.0018078 | 0.00045308 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_118-22_0_4_load_55 | 68 | 0.0010489 | 0.00026287 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_118-22_0_4_load_63 | 69 | 0.0016416 | 0.00041142 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_118-22_0_4_load_61 | 70 | 0.0032986 | 0.0008267 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_118-22_0_4_load_62 | 71 | 0.0020159 | 0.00050523 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_118-22_0_4_load_72 | 73 | 0.0012102 | 0.0003033 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_118-22_0_4_line_0 |  | 0 | 1 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_118-22_0_4_line_1 |  | 0 | 2 | 0.0030688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_118-22_0_4_line_2 |  | 2 | 3 | 0.016548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_118-22_0_4_line_3 |  | 2 | 4 | 0.0057318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_118-22_0_4_line_4 |  | 3 | 5 | 0.037595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_118-22_0_4_line_5 |  | 3 | 6 | 0.026416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_118-22_0_4_line_6 |  | 4 | 7 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_118-22_0_4_line_7 |  | 6 | 8 | 0.013823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_118-22_0_4_line_8 |  | 7 | 9 | 0.00676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_118-22_0_4_line_9 |  | 8 | 54 | 0.012505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_118-22_0_4_line_10 |  | 9 | 60 | 0.0065033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_118-22_0_4_line_11 |  | 10 | 11 | 0.027566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_118-22_0_4_line_12 |  | 10 | 12 | 0.003846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_118-22_0_4_line_13 |  | 11 | 13 | 0.011883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_118-22_0_4_line_14 |  | 12 | 14 | 0.013481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_118-22_0_4_line_15 |  | 13 | 15 | 0.024712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_118-22_0_4_line_16 |  | 14 | 16 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_118-22_0_4_line_17 |  | 14 | 17 | 0.025467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_118-22_0_4_line_18 |  | 15 | 18 | 0.011622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_118-22_0_4_line_19 |  | 16 | 19 | 0.011837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_118-22_0_4_line_20 |  | 17 | 20 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_118-22_0_4_line_21 |  | 18 | 66 | 0.015904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_118-22_0_4_line_22 |  | 19 | 37 | 0.014359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_118-22_0_4_line_23 |  | 20 | 69 | 0.0068846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_118-22_0_4_line_24 |  | 20 | 72 | 0.018822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_118-22_0_4_line_25 |  | 21 | 22 | 0.015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_118-22_0_4_line_26 |  | 22 | 23 | 0.003693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_118-22_0_4_line_27 |  | 23 | 31 | 0.029015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_118-22_0_4_line_28 |  | 23 | 32 | 0.01601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_118-22_0_4_line_29 |  | 23 | 33 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_118-22_0_4_line_30 |  | 24 | 25 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_118-22_0_4_line_31 |  | 24 | 26 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_118-22_0_4_line_32 |  | 25 | 36 | 0.021345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_118-22_0_4_line_33 |  | 26 | 35 | 0.0091478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_118-22_0_4_line_34 |  | 27 | 28 | 0.084585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_118-22_0_4_line_35 |  | 27 | 29 | 0.0903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_118-22_0_4_line_36 |  | 28 | 30 | 0.046347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_118-22_0_4_line_37 |  | 29 | 37 | 0.014035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_118-22_0_4_line_38 |  | 30 | 38 | 0.010136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_118-22_0_4_line_39 |  | 31 | 39 | 0.015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_118-22_0_4_line_40 |  | 31 | 40 | 0.020339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_118-22_0_4_line_41 |  | 33 | 41 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_118-22_0_4_line_42 |  | 34 | 35 | 0.031821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_118-22_0_4_line_43 |  | 36 | 52 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_118-22_0_4_line_44 |  | 36 | 53 | 0.0091604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_118-22_0_4_line_45 |  | 39 | 62 | 0.017024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_118-22_0_4_line_46 |  | 39 | 63 | 0.020336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_118-22_0_4_line_47 |  | 40 | 64 | 0.022076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_118-22_0_4_line_48 |  | 42 | 43 | 0.007324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_118-22_0_4_line_49 |  | 43 | 44 | 0.020911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_118-22_0_4_line_50 |  | 44 | 45 | 0.0095456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_118-22_0_4_line_51 |  | 45 | 50 | 0.010385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_118-22_0_4_line_52 |  | 46 | 47 | 0.19093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_118-22_0_4_line_53 |  | 46 | 48 | 0.035643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_118-22_0_4_line_54 |  | 47 | 49 | 0.099192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_118-22_0_4_line_55 |  | 48 | 51 | 0.0053543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_118-22_0_4_line_56 |  | 50 | 56 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_118-22_0_4_line_57 |  | 51 | 61 | 0.029628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_118-22_0_4_line_58 |  | 53 | 55 | 0.020414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_118-22_0_4_line_59 |  | 54 | 55 | 0.0075414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_118-22_0_4_line_60 |  | 56 | 57 | 0.016586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_118-22_0_4_line_61 |  | 57 | 58 | 0.013848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_118-22_0_4_line_62 |  | 57 | 59 | 0.013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_118-22_0_4_line_63 |  | 57 | 60 | 0.02579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_118-22_0_4_line_64 |  | 59 | 61 | 0.0044257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_118-22_0_4_line_65 |  | 61 | 65 | 0.006598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_118-22_0_4_line_66 |  | 63 | 67 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_118-22_0_4_line_67 |  | 64 | 73 | 0.0075111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_118-22_0_4_line_68 |  | 65 | 73 | 0.025084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_118-22_0_4_line_69 |  | 65 | 72 | 0.017046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_118-22_0_4_line_70 |  | 68 | 69 | 0.013927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_118-22_0_4_line_71 |  | 70 | 71 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_118-22_0_4_line_72 |  | 71 | 72 | 0.011149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_118-22_0_4_trafo_73 | 0.63 MVA 20/0.4 kV | 74 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2707138.2189 | 1235397.9131 | 2707131.9736 | 1235397.5094 | 2707126.6158 | 1235397.2059
1 | 2707141.2813 | 1235398.111 | 2707138.2189 | 1235397.9131
2 | 2707141.2813 | 1235398.111 | 2707143.6057 | 1235381.7292
3 | 2707141.2813 | 1235398.111 | 2707147.0109 | 1235398.2696
4 | 2707143.6057 | 1235381.7292 | 2707119.9762 | 1235392.8451 | 2707109.503 | 1235397.5509
5 | 2707143.6057 | 1235381.7292 | 2707164.5533 | 1235371.1544 | 2707167.1219 | 1235369.7028
6 | 2707162.4263 | 1235399.891 | 2707159.7503 | 1235398.6222 | 2707147.0109 | 1235398.2696
7 | 2707179.1563 | 1235362.9015 | 2707167.1219 | 1235369.7028
8 | 2707168.1605 | 1235403.1922 | 2707167.6988 | 1235402.3907 | 2707162.4263 | 1235399.891
9 | 2707190.0353 | 1235356.7361 | 2707189.1492 | 1235357.254 | 2707179.1563 | 1235362.9015
10 | 2707171.407 | 1235408.8273 | 2707168.1605 | 1235403.1922
11 | 2707236.6364 | 1235539.0672 | 2707244.9453 | 1235554.3457 | 2707249.5486 | 1235563.4195
12 | 2707236.6364 | 1235539.0672 | 2707234.799 | 1235535.6885
13 | 2707249.5486 | 1235563.4195 | 2707254.9251 | 1235574.0169
14 | 2707228.3583 | 1235523.8451 | 2707234.799 | 1235535.6885
15 | 2707254.9251 | 1235574.0169 | 2707266.1057 | 1235596.0552
16 | 2707228.3583 | 1235523.8451 | 2707242.1479 | 1235518.1278
17 | 2707228.3583 | 1235523.8451 | 2707225.5961 | 1235518.7692 | 2707217.998 | 1235504.8324 | 2707216.1726 | 1235501.4825
18 | 2707266.1057 | 1235596.0552 | 2707271.3638 | 1235606.4193
19 | 2707253.0822 | 1235513.5931 | 2707245.8086 | 1235516.6101 | 2707242.1479 | 1235518.1278
20 | 2707208.5308 | 1235487.0813 | 2707214.1733 | 1235497.8136 | 2707216.1726 | 1235501.4825
21 | 2707271.3638 | 1235606.4193 | 2707274.563 | 1235612.7253 | 2707279.8189 | 1235619.8248
22 | 2707253.0822 | 1235513.5931 | 2707266.3453 | 1235508.0918
23 | 2707208.5308 | 1235487.0813 | 2707214.9043 | 1235484.4782
24 | 2707208.5308 | 1235487.0813 | 2707199.7707 | 1235470.4104
25 | 2707263.2716 | 1235399.3129 | 2707277.3803 | 1235394.0949
26 | 2707263.2716 | 1235399.3129 | 2707263.099 | 1235403.0015
27 | 2707261.714 | 1235426.45 | 2707268.796 | 1235423.2866 | 2707262.9986 | 1235406.8804 | 2707263.099 | 1235403.0015
28 | 2707263.099 | 1235403.0015 | 2707278.1627 | 1235397.5787
29 | 2707263.099 | 1235403.0015 | 2707251.5293 | 1235407.1654
30 | 2707250.0811 | 1235322.4045 | 2707240.5957 | 1235327.4091
31 | 2707250.0811 | 1235322.4045 | 2707254.1512 | 1235330.929 | 2707255.6416 | 1235336.4614
32 | 2707221.9752 | 1235337.8314 | 2707231.8224 | 1235332.0379 | 2707240.5957 | 1235327.4091
33 | 2707257.2422 | 1235345.4626 | 2707255.9603 | 1235337.6446 | 2707255.6416 | 1235336.4614
34 | 2707362.5264 | 1235467.658 | 2707369.8402 | 1235483.9138 | 2707374.9254 | 1235494.8919 | 2707376.4106 | 1235498.1546 | 2707380.3429 | 1235507.1659 | 2707342.4057 | 1235523.3484
35 | 2707362.5264 | 1235467.658 | 2707297.2904 | 1235495.2564 | 2707279.3093 | 1235502.7146
36 | 2707342.4057 | 1235523.3484 | 2707300.2571 | 1235542.6242
37 | 2707279.3093 | 1235502.7146 | 2707266.3453 | 1235508.0918
38 | 2707300.2571 | 1235542.6242 | 2707300.2571 | 1235542.6242 | 2707304.8741 | 1235551.6475
39 | 2707261.714 | 1235426.45 | 2707267.9868 | 1235440.841
40 | 2707261.714 | 1235426.45 | 2707242.9117 | 1235434.2061
41 | 2707228.9994 | 1235415.274 | 2707251.5293 | 1235407.1654
42 | 2707257.2422 | 1235345.4626 | 2707241.1478 | 1235353.8786 | 2707247.1271 | 1235366.1594
43 | 2707221.9752 | 1235337.8314 | 2707228.3678 | 1235350.2118 | 2707232.3035 | 1235358.2112
44 | 2707221.9752 | 1235337.8314 | 2707214.1287 | 1235342.5584
45 | 2707267.9868 | 1235440.841 | 2707252.3674 | 1235447.6115
46 | 2707267.9868 | 1235440.841 | 2707275.1217 | 1235459.8845 | 2707275.1217 | 1235459.8845
47 | 2707242.9117 | 1235434.2061 | 2707222.5038 | 1235442.6245
48 | 2707112.1805 | 1235442.0169 | 2707104.8584 | 1235441.8528
49 | 2707133.0176 | 1235440.8629 | 2707120.5315 | 1235442.2041 | 2707112.1805 | 1235442.0169
50 | 2707133.0176 | 1235440.8629 | 2707142.5086 | 1235439.8434
51 | 2707142.5086 | 1235439.8434 | 2707152.8339 | 1235438.7343
52 | 2707067.707 | 1235608.124 | 2707069.4236 | 1235597.7247 | 2707073.241 | 1235578.2897 | 2707073.857 | 1235572.6742 | 2707071.0834 | 1235566.1303 | 2707064.1786 | 1235563.6818 | 2707067.5369 | 1235546.1955 | 2707069.3688 | 1235537.3773 | 2707072.0137 | 1235528.3959 | 2707074.5299 | 1235519.4121 | 2707077.6129 | 1235508.3814 | 2707079.0774 | 1235503.1482 | 2707082.625 | 1235497.8414 | 2707087.4134 | 1235498.8618 | 2707120.3896 | 1235505.8727 | 2707121.7703 | 1235497.3132 | 2707125.6501 | 1235473.1758
53 | 2707125.6501 | 1235473.1758 | 2707130.0236 | 1235466.9832 | 2707157.8776 | 1235463.5732
54 | 2707067.707 | 1235608.124 | 2707089.7246 | 1235612.88 | 2707115.0404 | 1235614.393 | 2707131.2353 | 1235607.4908 | 2707164.1723 | 1235614.6264
55 | 2707163.1922 | 1235462.9226 | 2707157.8776 | 1235463.5732
56 | 2707165.5446 | 1235436.9533 | 2707163.0733 | 1235437.6344 | 2707152.8339 | 1235438.7343
57 | 2707189.4816 | 1235449.1195 | 2707172.4038 | 1235457.9405 | 2707163.1922 | 1235462.9226
58 | 2707214.1287 | 1235342.5584 | 2707208.9111 | 1235345.7017 | 2707196.5459 | 1235352.9301
59 | 2707190.0353 | 1235356.7361 | 2707196.5459 | 1235352.9301
60 | 2707181.53 | 1235432.53 | 2707168.1096 | 1235436.2464 | 2707165.5446 | 1235436.9533
61 | 2707181.53 | 1235432.53 | 2707194.5512 | 1235427.817
62 | 2707181.53 | 1235432.53 | 2707187.5687 | 1235445.1286
63 | 2707181.53 | 1235432.53 | 2707172.4697 | 1235410.672 | 2707171.407 | 1235408.8273
64 | 2707189.4816 | 1235449.1195 | 2707187.5687 | 1235445.1286
65 | 2707189.4816 | 1235449.1195 | 2707192.3722 | 1235455.054
66 | 2707275.1217 | 1235459.8845 | 2707265.7069 | 1235463.7297
67 | 2707222.5038 | 1235442.6245 | 2707215.5603 | 1235445.4887
68 | 2707192.3722 | 1235455.054 | 2707215.5603 | 1235445.4887
69 | 2707192.3722 | 1235455.054 | 2707194.1454 | 1235458.7222 | 2707199.7707 | 1235470.4104
70 | 2707214.9043 | 1235484.4782 | 2707227.7979 | 1235479.2123
71 | 2707227.3134 | 1235458.4716 | 2707209.9998 | 1235465.9765
72 | 2707199.7707 | 1235470.4104 | 2707209.9998 | 1235465.9765

## bus_geodata
| x | y | coords
0 | 2707138.2189 | 1235397.9131
1 | 2707126.6158 | 1235397.2059
2 | 2707141.2813 | 1235398.111
3 | 2707143.6057 | 1235381.7292
4 | 2707147.0109 | 1235398.2696
5 | 2707109.503 | 1235397.5509
6 | 2707167.1219 | 1235369.7028
7 | 2707162.4263 | 1235399.891
8 | 2707179.1563 | 1235362.9015
9 | 2707168.1605 | 1235403.1922
10 | 2707236.6364 | 1235539.0672
11 | 2707249.5486 | 1235563.4195
12 | 2707234.799 | 1235535.6885
13 | 2707254.9251 | 1235574.0169
14 | 2707228.3583 | 1235523.8451
15 | 2707266.1057 | 1235596.0552
16 | 2707242.1479 | 1235518.1278
17 | 2707216.1726 | 1235501.4825
18 | 2707271.3638 | 1235606.4193
19 | 2707253.0822 | 1235513.5931
20 | 2707208.5308 | 1235487.0813
21 | 2707277.3803 | 1235394.0949
22 | 2707263.2716 | 1235399.3129
23 | 2707263.099 | 1235403.0015
24 | 2707250.0811 | 1235322.4045
25 | 2707240.5957 | 1235327.4091
26 | 2707255.6416 | 1235336.4614
27 | 2707362.5264 | 1235467.658
28 | 2707342.4057 | 1235523.3484
29 | 2707279.3093 | 1235502.7146
30 | 2707300.2571 | 1235542.6242
31 | 2707261.714 | 1235426.45
32 | 2707278.1627 | 1235397.5787
33 | 2707251.5293 | 1235407.1654
34 | 2707247.1271 | 1235366.1594
35 | 2707257.2422 | 1235345.4626
36 | 2707221.9752 | 1235337.8314
37 | 2707266.3453 | 1235508.0918
38 | 2707304.8741 | 1235551.6475
39 | 2707267.9868 | 1235440.841
40 | 2707242.9117 | 1235434.2061
41 | 2707228.9994 | 1235415.274
42 | 2707104.8584 | 1235441.8528
43 | 2707112.1805 | 1235442.0169
44 | 2707133.0176 | 1235440.8629
45 | 2707142.5086 | 1235439.8434
46 | 2707125.6501 | 1235473.1758
47 | 2707067.707 | 1235608.124
48 | 2707157.8776 | 1235463.5732
49 | 2707164.1723 | 1235614.6264
50 | 2707152.8339 | 1235438.7343
51 | 2707163.1922 | 1235462.9226
52 | 2707232.3035 | 1235358.2112
53 | 2707214.1287 | 1235342.5584
54 | 2707190.0353 | 1235356.7361
55 | 2707196.5459 | 1235352.9301
56 | 2707165.5446 | 1235436.9533
57 | 2707181.53 | 1235432.53
58 | 2707194.5512 | 1235427.817
59 | 2707187.5687 | 1235445.1286
60 | 2707171.407 | 1235408.8273
61 | 2707189.4816 | 1235449.1195
62 | 2707252.3674 | 1235447.6115
63 | 2707275.1217 | 1235459.8845
64 | 2707222.5038 | 1235442.6245
65 | 2707192.3722 | 1235455.054
66 | 2707279.8189 | 1235619.8248
67 | 2707265.7069 | 1235463.7297
68 | 2707227.7979 | 1235479.2123
69 | 2707214.9043 | 1235484.4782
70 | 2707227.3134 | 1235458.4716
71 | 2707209.9998 | 1235465.9765
72 | 2707199.7707 | 1235470.4104
73 | 2707215.5603 | 1235445.4887
74 | 2707194.1454 | 1235458.7222

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99379 | -0.11935 | 0.0046749 | 0.0011716
1 | 0.99369 | -0.1213 | 0.0094969 | 0.0023801
2 | 0.99383 | -0.11858 | 0 | 0
3 | 0.99311 | -0.13243 | 0 | 0
4 | 0.99415 | -0.11236 | 0.0068467 | 0.001716
5 | 0.99256 | -0.14313 | 0.016092 | 0.0040331
6 | 0.99235 | -0.14705 | 0.0033398 | 0.00083704
7 | 0.99513 | -0.093427 | 0.0067797 | 0.0016991
8 | 0.992 | -0.15389 | 0.001159 | 0.00029048
9 | 0.9956 | -0.084485 | 0.0024652 | 0.00061784
10 | 0.99489 | -0.098166 | 0.0129 | 0.003233
11 | 0.99434 | -0.10886 | 0.0025061 | 0.00062808
12 | 0.99501 | -0.095801 | 0.0028829 | 0.00072252
13 | 0.99413 | -0.11294 | 0.0082239 | 0.0020611
14 | 0.99548 | -0.086836 | 0 | 0
15 | 0.99387 | -0.11786 | 0.0040391 | 0.0010123
16 | 0.99518 | -0.09261 | 0.0030797 | 0.00077184
17 | 0.99687 | -0.060094 | 0.0025083 | 0.00062863
18 | 0.9938 | -0.11935 | 0.0025794 | 0.00064647
19 | 0.99498 | -0.09655 | 0.0028641 | 0.00071781
20 | 0.99779 | -0.042298 | 0 | 0
21 | 0.9974 | -0.049915 | 0.0074559 | 0.0018686
22 | 0.99751 | -0.04795 | 0 | 0
23 | 0.99753 | -0.047468 | 0 | 0
24 | 0.99054 | -0.18222 | 0 | 0
25 | 0.99066 | -0.17983 | 0.0031789 | 0.00079671
26 | 0.99036 | -0.18561 | 0.0048732 | 0.0012213
27 | 0.99402 | -0.11499 | 0 | 0
28 | 0.99346 | -0.12584 | 0 | 0
29 | 0.99462 | -0.10341 | 0.0040739 | 0.001021
30 | 0.99315 | -0.13179 | 0.0032379 | 0.00081149
31 | 0.99807 | -0.037166 | 0 | 0
32 | 0.99746 | -0.048762 | 0.0046124 | 0.001156
33 | 0.99744 | -0.049237 | 0.0021281 | 0.00053335
34 | 0.99008 | -0.1912 | 0.0076767 | 0.001924
35 | 0.9903 | -0.18686 | 0 | 0
36 | 0.99097 | -0.17387 | 0 | 0
37 | 0.99477 | -0.10061 | 0.0046949 | 0.0011767
38 | 0.99312 | -0.13251 | 0.0040278 | 0.0010095
39 | 0.99798 | -0.038783 | 0 | 0
40 | 0.99855 | -0.027857 | 0.0017305 | 0.0004337
41 | 0.99731 | -0.051789 | 0.0060827 | 0.0015245
42 | 0.99481 | -0.099766 | 0.012935 | 0.0032417
43 | 0.9949 | -0.098098 | 0.01466 | 0.0036742
44 | 0.99542 | -0.087942 | 0.007692 | 0.0019278
45 | 0.99573 | -0.082019 | 0.014958 | 0.0037488
46 | 0.99801 | -0.038149 | 0 | 0
47 | 0.99462 | -0.10335 | 0 | 0
48 | 0.99864 | -0.026023 | 0.0041321 | 0.0010356
49 | 0.99286 | -0.13739 | 0.019442 | 0.0048727
50 | 0.99621 | -0.07285 | 0.0066245 | 0.0016603
51 | 0.99876 | -0.023816 | 0 | 0
52 | 0.9909 | -0.17514 | 0.0031235 | 0.00078281
53 | 0.99113 | -0.17081 | 0.0027264 | 0.0006833
54 | 0.99169 | -0.15983 | 0.0031336 | 0.00078535
55 | 0.99153 | -0.16299 | 0.0020792 | 0.00052109
56 | 0.99687 | -0.060013 | 0.014899 | 0.0037341
57 | 0.99796 | -0.039157 | 0 | 0
58 | 0.99774 | -0.043222 | 0.016768 | 0.0042026
59 | 0.99903 | -0.018501 | 0.009128 | 0.0022877
60 | 0.99606 | -0.075609 | 0.0029503 | 0.00073942
61 | 0.99939 | -0.011614 | 0 | 0
62 | 0.99795 | -0.039458 | 0.0022651 | 0.00056769
63 | 0.99792 | -0.040071 | 0.0018128 | 0.00045434
64 | 0.99911 | -0.017096 | 0.001232 | 0.00030878
65 | 1 | 0 | -0.30551 | -0.076678
66 | 0.99373 | -0.12065 | 0.0046611 | 0.0011682
67 | 0.9979 | -0.040393 | 0.0018078 | 0.00045308
68 | 0.99776 | -0.042878 | 0.0010489 | 0.00026287
69 | 0.99778 | -0.042623 | 0.0016416 | 0.00041142
70 | 0.9988 | -0.023032 | 0.0032986 | 0.0008267
71 | 0.99885 | -0.021944 | 0.0020159 | 0.00050523
72 | 0.99891 | -0.020909 | 0 | 0
73 | 0.99931 | -0.013276 | 0.0012102 | 0.0003033
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0094978 | 0.0023806 | -0.0094969 | -0.0023801 | 8.8164e-07 | 4.1365e-07 | 0.014221 | 0.014221 | 0.014221 | 0.99379 | -0.11935 | 0.99369 | -0.1213 | 3.907
1 | -0.014173 | -0.0035522 | 0.014173 | 0.0035525 | 5.1824e-07 | 2.9191e-07 | 0.021221 | 0.021221 | 0.021221 | 0.99379 | -0.11935 | 0.99383 | -0.11858 | 5.83
2 | 0.047485 | 0.011938 | -0.047454 | -0.011918 | 3.138e-05 | 1.9869e-05 | 0.071111 | 0.071111 | 0.071111 | 0.99383 | -0.11858 | 0.99311 | -0.13243 | 19.5359
3 | -0.061658 | -0.01549 | 0.061677 | 0.015502 | 1.8324e-05 | 1.1653e-05 | 0.092332 | 0.092332 | 0.092332 | 0.99383 | -0.11858 | 0.99415 | -0.11236 | 25.3659
4 | 0.016101 | 0.0040379 | -0.016092 | -0.0040331 | 8.2055e-06 | 4.7654e-06 | 0.024125 | 0.024125 | 0.024125 | 0.99311 | -0.13243 | 0.99256 | -0.14313 | 6.6278
5 | 0.031353 | 0.0078798 | -0.031331 | -0.0078662 | 2.1869e-05 | 1.3655e-05 | 0.046986 | 0.046986 | 0.046986 | 0.99311 | -0.13243 | 0.99235 | -0.14705 | 12.9082
6 | -0.068523 | -0.017218 | 0.068585 | 0.017257 | 6.1975e-05 | 3.946e-05 | 0.10258 | 0.10258 | 0.10258 | 0.99415 | -0.11236 | 0.99513 | -0.093427 | 28.1812
7 | 0.027992 | 0.0070292 | -0.027982 | -0.0070235 | 9.1344e-06 | 5.6675e-06 | 0.041978 | 0.041978 | 0.041978 | 0.99235 | -0.14705 | 0.992 | -0.15389 | 11.5324
8 | -0.075365 | -0.018956 | 0.075397 | 0.018977 | 3.2208e-05 | 2.0525e-05 | 0.11272 | 0.11272 | 0.11272 | 0.99513 | -0.093427 | 0.9956 | -0.084485 | 30.9663
9 | 0.026823 | 0.006733 | -0.026816 | -0.0067283 | 7.5929e-06 | 4.698e-06 | 0.040239 | 0.040239 | 0.040239 | 0.992 | -0.15389 | 0.99169 | -0.15983 | 11.0548
10 | -0.077863 | -0.019595 | 0.077896 | 0.019616 | 3.3043e-05 | 2.1063e-05 | 0.1164 | 0.1164 | 0.1164 | 0.9956 | -0.084485 | 0.99606 | -0.075609 | 31.9785
11 | 0.022028 | 0.0055268 | -0.022017 | -0.0055199 | 1.1222e-05 | 6.8246e-06 | 0.032949 | 0.032949 | 0.032949 | 0.99489 | -0.098166 | 0.99434 | -0.10886 | 9.0518
12 | -0.034928 | -0.0087597 | 0.034932 | 0.0087622 | 3.9363e-06 | 2.4693e-06 | 0.052242 | 0.052242 | 0.052242 | 0.99489 | -0.098166 | 0.99501 | -0.095801 | 14.3522
13 | 0.019511 | 0.0048919 | -0.019507 | -0.0048896 | 3.7992e-06 | 2.2774e-06 | 0.029198 | 0.029198 | 0.029198 | 0.99434 | -0.10886 | 0.99413 | -0.11294 | 8.0216
14 | -0.037815 | -0.0094847 | 0.037831 | 0.0094949 | 1.6169e-05 | 1.0173e-05 | 0.056553 | 0.056553 | 0.056553 | 0.99501 | -0.095801 | 0.99548 | -0.086836 | 15.5366
15 | 0.011283 | 0.0028285 | -0.01128 | -0.0028271 | 2.6433e-06 | 1.3714e-06 | 0.016889 | 0.016889 | 0.016889 | 0.99413 | -0.11294 | 0.99387 | -0.11786 | 4.6398
16 | 0.022003 | 0.00552 | -0.021996 | -0.0055164 | 6.0559e-06 | 3.6817e-06 | 0.032891 | 0.032891 | 0.032891 | 0.99548 | -0.086836 | 0.99518 | -0.09261 | 9.0359
17 | -0.059833 | -0.015015 | 0.05991 | 0.015064 | 7.6404e-05 | 4.8567e-05 | 0.089444 | 0.089444 | 0.089444 | 0.99548 | -0.086836 | 0.99687 | -0.060094 | 24.5726
18 | 0.0072413 | 0.0018148 | -0.0072408 | -0.0018146 | 5.1226e-07 | 1.7725e-07 | 0.010842 | 0.010842 | 0.010842 | 0.99387 | -0.11786 | 0.9938 | -0.11935 | 2.9785
19 | 0.018917 | 0.0047445 | -0.018913 | -0.0047424 | 3.5517e-06 | 2.1193e-06 | 0.028286 | 0.028286 | 0.028286 | 0.99518 | -0.09261 | 0.99498 | -0.09655 | 7.7709
20 | -0.062418 | -0.015692 | 0.062471 | 0.015726 | 5.3092e-05 | 3.3766e-05 | 0.093188 | 0.093188 | 0.093188 | 0.99687 | -0.060094 | 0.99779 | -0.042298 | 25.6011
21 | 0.0046614 | 0.0011682 | -0.0046611 | -0.0011682 | 2.9054e-07 | -2.0116e-08 | 0.0069795 | 0.0069796 | 0.0069796 | 0.9938 | -0.11935 | 0.99373 | -0.12065 | 1.9175
22 | 0.016049 | 0.0040246 | -0.016046 | -0.0040228 | 3.1022e-06 | 1.799e-06 | 0.024003 | 0.024003 | 0.024003 | 0.99498 | -0.09655 | 0.99477 | -0.10061 | 6.5942
23 | 0.0026905 | 0.00067405 | -0.0026905 | -0.00067412 | 4.1562e-08 | -6.3322e-08 | 0.0040123 | 0.0040123 | 0.0040123 | 0.99779 | -0.042298 | 0.99778 | -0.042623 | 1.1023
24 | -0.065162 | -0.0164 | 0.065228 | 0.016442 | 6.6686e-05 | 4.2433e-05 | 0.0972 | 0.0972 | 0.0972 | 0.99779 | -0.042298 | 0.99891 | -0.020909 | 26.7034
25 | -0.0074559 | -0.0018686 | 0.0074566 | 0.0018689 | 6.9795e-07 | 2.5034e-07 | 0.011123 | 0.011123 | 0.011123 | 0.9974 | -0.049915 | 0.99751 | -0.04795 | 3.0559
26 | -0.0074566 | -0.0018689 | 0.0074567 | 0.0018689 | 1.7135e-07 | 6.1452e-08 | 0.011123 | 0.011123 | 0.011123 | 0.99751 | -0.04795 | 0.99753 | -0.047468 | 3.0558
27 | -0.020282 | -0.0050831 | 0.020292 | 0.0050891 | 9.9591e-06 | 5.9949e-06 | 0.030254 | 0.030254 | 0.030254 | 0.99753 | -0.047468 | 0.99807 | -0.037166 | 8.3116
28 | 0.0046127 | 0.0011559 | -0.0046124 | -0.001156 | 2.8424e-07 | -2.7074e-08 | 0.0068807 | 0.0068808 | 0.0068808 | 0.99753 | -0.047468 | 0.99746 | -0.048762 | 1.8903
29 | 0.0082122 | 0.0020583 | -0.0082116 | -0.002058 | 6.9198e-07 | 2.8236e-07 | 0.01225 | 0.01225 | 0.01225 | 0.99753 | -0.047468 | 0.99744 | -0.049237 | 3.3655
30 | -0.012554 | -0.0031472 | 0.012555 | 0.0031479 | 1.4304e-06 | 7.7739e-07 | 0.018859 | 0.018859 | 0.018859 | 0.99054 | -0.18222 | 0.99066 | -0.17983 | 5.1811
31 | 0.012554 | 0.0031472 | -0.012552 | -0.0031461 | 2.0241e-06 | 1.1001e-06 | 0.018859 | 0.018859 | 0.018859 | 0.99054 | -0.18222 | 0.99036 | -0.18561 | 5.1811
32 | -0.015734 | -0.0039446 | 0.015739 | 0.0039472 | 4.4708e-06 | 2.5864e-06 | 0.023634 | 0.023634 | 0.023634 | 0.99066 | -0.17983 | 0.99097 | -0.17387 | 6.4928
33 | 0.0076787 | 0.0019247 | -0.0076782 | -0.0019246 | 4.5662e-07 | 1.7454e-07 | 0.011537 | 0.011537 | 0.011537 | 0.99036 | -0.18561 | 0.9903 | -0.18686 | 3.1696
34 | 0.0072716 | 0.0018229 | -0.0072679 | -0.0018216 | 3.7587e-06 | 1.3097e-06 | 0.010886 | 0.010886 | 0.010886 | 0.99402 | -0.11499 | 0.99346 | -0.12584 | 2.9906
35 | -0.0072716 | -0.0018229 | 0.0072757 | 0.0018243 | 4.0124e-06 | 1.3967e-06 | 0.010886 | 0.010885 | 0.010886 | 0.99402 | -0.11499 | 0.99462 | -0.10341 | 2.9905
36 | 0.0072679 | 0.0018216 | -0.0072658 | -0.0018209 | 2.0597e-06 | 7.1825e-07 | 0.010886 | 0.010886 | 0.010886 | 0.99346 | -0.12584 | 0.99315 | -0.13179 | 2.9907
37 | -0.01135 | -0.0028454 | 0.011351 | 0.0028461 | 1.5175e-06 | 7.89e-07 | 0.01698 | 0.01698 | 0.01698 | 0.99462 | -0.10341 | 0.99477 | -0.10061 | 4.6648
38 | 0.0040279 | 0.0010094 | -0.0040278 | -0.0010095 | 1.3843e-07 | -4.2558e-08 | 0.0060349 | 0.006035 | 0.006035 | 0.99315 | -0.13179 | 0.99312 | -0.13251 | 1.658
39 | 0.0058865 | 0.0014748 | -0.0058861 | -0.0014747 | 4.5325e-07 | 8.5012e-08 | 0.008776 | 0.0087761 | 0.0087761 | 0.99807 | -0.037166 | 0.99798 | -0.038783 | 2.411
40 | -0.026178 | -0.0065639 | 0.02619 | 0.0065711 | 1.1619e-05 | 7.1701e-06 | 0.03903 | 0.03903 | 0.03903 | 0.99807 | -0.037166 | 0.99855 | -0.027857 | 10.7225
41 | 0.0060835 | 0.0015246 | -0.0060827 | -0.0015245 | 7.3958e-07 | 1.6084e-07 | 0.0090755 | 0.0090756 | 0.0090756 | 0.99744 | -0.049237 | 0.99731 | -0.051789 | 2.4933
42 | -0.0076767 | -0.0019239 | 0.0076782 | 0.0019246 | 1.5884e-06 | 6.0727e-07 | 0.011537 | 0.011537 | 0.011537 | 0.99008 | -0.1912 | 0.9903 | -0.18686 | 3.1696
43 | 0.0031236 | 0.00078264 | -0.0031235 | -0.00078281 | 1.884e-07 | -1.7362e-07 | 0.0046903 | 0.0046904 | 0.0046904 | 0.99097 | -0.17387 | 0.9909 | -0.17514 | 1.2886
44 | -0.018862 | -0.0047299 | 0.018865 | 0.0047315 | 2.7559e-06 | 1.6457e-06 | 0.028324 | 0.028324 | 0.028324 | 0.99097 | -0.17387 | 0.99113 | -0.17081 | 7.7814
45 | 0.0022652 | 0.00056752 | -0.0022651 | -0.00056769 | 7.2821e-08 | -1.7582e-07 | 0.0033774 | 0.0033775 | 0.0033775 | 0.99798 | -0.038783 | 0.99795 | -0.039458 | 0.92788
46 | 0.0036209 | 0.00090718 | -0.0036207 | -0.0009073 | 2.2227e-07 | -1.2345e-07 | 0.0053987 | 0.0053988 | 0.0053988 | 0.99798 | -0.038783 | 0.99792 | -0.040071 | 1.4832
47 | -0.02792 | -0.0070048 | 0.027935 | 0.0070137 | 1.4332e-05 | 8.8838e-06 | 0.041609 | 0.041609 | 0.041609 | 0.99855 | -0.027857 | 0.99911 | -0.017096 | 11.4309
48 | -0.012935 | -0.0032417 | 0.012936 | 0.0032423 | 1.0281e-06 | 5.6287e-07 | 0.019347 | 0.019347 | 0.019347 | 0.99481 | -0.099766 | 0.9949 | -0.098098 | 5.3152
49 | -0.027596 | -0.0069165 | 0.027609 | 0.0069247 | 1.3358e-05 | 8.2776e-06 | 0.041274 | 0.041274 | 0.041274 | 0.9949 | -0.098098 | 0.99542 | -0.087942 | 11.3389
50 | -0.035301 | -0.0088525 | 0.035311 | 0.0088588 | 9.9687e-06 | 6.2559e-06 | 0.052772 | 0.052772 | 0.052772 | 0.99542 | -0.087942 | 0.99573 | -0.082019 | 14.4978
51 | -0.050269 | -0.012608 | 0.050291 | 0.012621 | 2.1978e-05 | 1.3931e-05 | 0.075125 | 0.075125 | 0.075125 | 0.99573 | -0.082019 | 0.99621 | -0.07285 | 20.6387
52 | 0.019535 | 0.004928 | -0.019474 | -0.0048916 | 6.0788e-05 | 3.6418e-05 | 0.029137 | 0.029138 | 0.029138 | 0.99801 | -0.038149 | 0.99462 | -0.10335 | 8.005
53 | -0.019535 | -0.004928 | 0.019546 | 0.0049348 | 1.1348e-05 | 6.7964e-06 | 0.029137 | 0.029137 | 0.029137 | 0.99801 | -0.038149 | 0.99864 | -0.026023 | 8.0048
54 | 0.019474 | 0.0048916 | -0.019442 | -0.0048727 | 3.1582e-05 | 1.8927e-05 | 0.029138 | 0.029139 | 0.029139 | 0.99462 | -0.10335 | 0.99286 | -0.13739 | 8.0051
55 | -0.023678 | -0.0059705 | 0.023681 | 0.005972 | 2.5012e-06 | 1.5307e-06 | 0.035294 | 0.035294 | 0.035294 | 0.99864 | -0.026023 | 0.99876 | -0.023816 | 9.6962
56 | -0.056915 | -0.014282 | 0.05695 | 0.014304 | 3.4863e-05 | 2.2145e-05 | 0.08502 | 0.08502 | 0.08502 | 0.99621 | -0.07285 | 0.99687 | -0.060013 | 23.357
57 | -0.023681 | -0.005972 | 0.023695 | 0.0059805 | 1.384e-05 | 8.4697e-06 | 0.035294 | 0.035294 | 0.035294 | 0.99876 | -0.023816 | 0.99939 | -0.011614 | 9.6962
58 | -0.021591 | -0.0054148 | 0.0216 | 0.0054197 | 8.0449e-06 | 4.8855e-06 | 0.032417 | 0.032417 | 0.032417 | 0.99113 | -0.17081 | 0.99153 | -0.16299 | 8.9059
59 | 0.023682 | 0.005943 | -0.023679 | -0.0059408 | 3.5716e-06 | 2.1885e-06 | 0.035537 | 0.035537 | 0.035537 | 0.99169 | -0.15983 | 0.99153 | -0.16299 | 9.763
60 | -0.07185 | -0.018038 | 0.071921 | 0.018084 | 7.1556e-05 | 4.5579e-05 | 0.10726 | 0.10726 | 0.10726 | 0.99687 | -0.060013 | 0.99796 | -0.039157 | 29.4669
61 | 0.016772 | 0.0042045 | -0.016768 | -0.0042026 | 3.2477e-06 | 1.8976e-06 | 0.025008 | 0.025008 | 0.025008 | 0.99796 | -0.039157 | 0.99774 | -0.043222 | 6.8704
62 | -0.16968 | -0.042733 | 0.16985 | 0.04284 | 0.00016778 | 0.00010701 | 0.25308 | 0.25308 | 0.25308 | 0.99796 | -0.039157 | 0.99903 | -0.018501 | 34.7633
63 | 0.080987 | 0.020445 | -0.080846 | -0.020355 | 0.00014115 | 9.0001e-05 | 0.12081 | 0.12081 | 0.12081 | 0.99796 | -0.039157 | 0.99606 | -0.075609 | 33.1894
64 | -0.17898 | -0.045128 | 0.17903 | 0.045166 | 5.9011e-05 | 3.7651e-05 | 0.26667 | 0.26667 | 0.26667 | 0.99903 | -0.018501 | 0.99939 | -0.011614 | 36.6308
65 | -0.20273 | -0.051146 | 0.20284 | 0.051218 | 0.00011281 | 7.2023e-05 | 0.30197 | 0.30197 | 0.30197 | 0.99939 | -0.011614 | 1 | 0 | 41.4789
66 | 0.0018078 | 0.00045296 | -0.0018078 | -0.00045308 | 2.7713e-08 | -1.1513e-07 | 0.0026957 | 0.0026957 | 0.0026957 | 0.99792 | -0.040071 | 0.9979 | -0.040393 | 0.74058
67 | -0.029167 | -0.0073224 | 0.029172 | 0.0073257 | 5.316e-06 | 3.3038e-06 | 0.043443 | 0.043443 | 0.043443 | 0.99911 | -0.017096 | 0.99931 | -0.013276 | 11.935
68 | 0.030401 | 0.007641 | -0.030382 | -0.007629 | 1.9256e-05 | 1.1995e-05 | 0.045245 | 0.045245 | 0.045245 | 1 | 0 | 0.99931 | -0.013276 | 12.4301
69 | 0.070614 | 0.017819 | -0.070543 | -0.017774 | 7.0631e-05 | 4.4981e-05 | 0.10512 | 0.10512 | 0.10512 | 1 | 0 | 0.99891 | -0.020909 | 28.8784
70 | -0.0010489 | -0.00026287 | 0.0010489 | 0.0002627 | 1.2779e-08 | -1.7373e-07 | 0.0015642 | 0.0015642 | 0.0015642 | 0.99776 | -0.042878 | 0.99778 | -0.042623 | 0.42973
71 | -0.0032986 | -0.0008267 | 0.0032987 | 0.00082656 | 1.7089e-07 | -1.3761e-07 | 0.0049142 | 0.0049141 | 0.0049142 | 0.9988 | -0.023032 | 0.99885 | -0.021944 | 1.3501
72 | -0.0053146 | -0.0013318 | 0.0053149 | 0.0013318 | 2.6206e-07 | 2.1784e-08 | 0.0079173 | 0.0079172 | 0.0079173 | 0.99885 | -0.021944 | 0.99891 | -0.020909 | 2.1751

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30551 | 0.076678

## res_load
| p_mw | q_mvar
0 | 0.0046749 | 0.0011716
1 | 0.0094969 | 0.0023801
2 | 0.0068467 | 0.001716
3 | 0.016092 | 0.0040331
4 | 0.0033398 | 0.00083704
5 | 0.0067797 | 0.0016991
6 | 0.001159 | 0.00029048
7 | 0.0024652 | 0.00061784
8 | 0.0129 | 0.003233
9 | 0.0025061 | 0.00062808
10 | 0.0028829 | 0.00072252
11 | 0.0082239 | 0.0020611
12 | 0.0040391 | 0.0010123
13 | 0.0030797 | 0.00077184
14 | 0.0025083 | 0.00062863
15 | 0.0025794 | 0.00064647
16 | 0.0028641 | 0.00071781
17 | 0.0074559 | 0.0018686
18 | 0.0031789 | 0.00079671
19 | 0.0048732 | 0.0012213
20 | 0.0040739 | 0.001021
21 | 0.0032379 | 0.00081149
22 | 0.0046124 | 0.001156
23 | 0.0021281 | 0.00053335
24 | 0.0076767 | 0.001924
25 | 0.0046949 | 0.0011767
26 | 0.0040278 | 0.0010095
27 | 0.0017305 | 0.0004337
28 | 0.0060827 | 0.0015245
29 | 0.012935 | 0.0032417
30 | 0.01466 | 0.0036742
31 | 0.007692 | 0.0019278
32 | 0.014958 | 0.0037488
33 | 0.0041321 | 0.0010356
34 | 0.019442 | 0.0048727
35 | 0.0066245 | 0.0016603
36 | 0.0031235 | 0.00078281
37 | 0.0027264 | 0.0006833
38 | 0.0031336 | 0.00078535
39 | 0.0020792 | 0.00052109
40 | 0.014899 | 0.0037341
41 | 0.016768 | 0.0042026
42 | 0.009128 | 0.0022877
43 | 0.0029503 | 0.00073942
44 | 0.0022651 | 0.00056769
45 | 0.0018128 | 0.00045434
46 | 0.001232 | 0.00030878
47 | 0.0046611 | 0.0011682
48 | 0.0018078 | 0.00045308
49 | 0.0010489 | 0.00026287
50 | 0.0016416 | 0.00041142
51 | 0.0032986 | 0.0008267
52 | 0.0020159 | 0.00050523
53 | 0.0012102 | 0.0003033

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1