## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_118-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_118-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_118-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_118-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_118-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_118-5_0_3_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_118-5_0_3_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_118-5_0_3_node_90 | 0.4 | n |  | TRUE
8 | bus_LV_118-5_0_3_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_118-5_0_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_118-5_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_118-5_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_118-5_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_118-5_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_118-5_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_118-5_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_118-5_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_118-5_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_118-5_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_118-5_0_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_118-5_0_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_118-5_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_118-5_0_3_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_118-5_0_3_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_118-5_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_118-5_0_3_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_118-5_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_118-5_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_118-5_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_118-5_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_118-5_0_3_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_118-5_0_3_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_118-5_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_118-5_0_3_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_118-5_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_118-5_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_118-5_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_118-5_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_118-5_0_3_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_118-5_0_3_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_118-5_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_118-5_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_118-5_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_118-5_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_118-5_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_118-5_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_118-5_0_3_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_118-5_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_118-5_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_118-5_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_118-5_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_118-5_0_3_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_118-5_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_118-5_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_118-5_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_118-5_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_118-5_0_3_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_118-5_0_3_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_118-5_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_118-5_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_118-5_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_118-5_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_118-5_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_118-5_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_118-5_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_118-5_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_118-5_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_118-5_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_118-5_0_3_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_118-5_0_3_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_118-5_0_3_node_91 | 0.4 | n |  | TRUE
71 | bus_LV_118-5_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_118-5_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_118-5_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_118-5_0_3_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_118-5_0_3_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_118-5_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_118-5_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_118-5_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_118-5_0_3_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_118-5_0_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_118-5_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_118-5_0_3_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_118-5_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_118-5_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_118-5_0_3_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_118-5_0_3_node_89 | 0.4 | n |  | TRUE
87 | bus_MV_9_2_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_118-5_0_3_load_0 | 0 | 0.0023976 | 0.00060089 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_118-5_0_3_load_1 | 1 | 0.0023807 | 0.00059667 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_118-5_0_3_load_2 | 2 | 0.0023764 | 0.00059559 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_118-5_0_3_load_55 | 5 | 0.0023976 | 0.00060091 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_118-5_0_3_load_90 | 7 | 0.0014828 | 0.00037163 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_118-5_0_3_load_53 | 8 | 0.0016331 | 0.0004093 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_118-5_0_3_load_50 | 9 | 0.0012903 | 0.00032339 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_118-5_0_3_load_7 | 10 | 0.0017319 | 0.00043406 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_118-5_0_3_load_6 | 11 | 0.0019721 | 0.00049426 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_118-5_0_3_load_9 | 13 | 0.0011117 | 0.00027863 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_118-5_0_3_load_10 | 14 | 0.00053281 | 0.00013353 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_118-5_0_3_load_12 | 16 | 0.00043392 | 0.00010875 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_118-5_0_3_load_18 | 17 | 0.0017807 | 0.00044629 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_118-5_0_3_load_15 | 18 | 0.0017208 | 0.00043126 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_118-5_0_3_load_65 | 19 | 0.0017834 | 0.00044695 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_118-5_0_3_load_51 | 20 | 0.0014163 | 0.00035496 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_118-5_0_3_load_84 | 22 | 0.0018964 | 0.00047528 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_118-5_0_3_load_83 | 23 | 0.003406 | 0.00085363 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_118-5_0_3_load_13 | 24 | 0.0033408 | 0.00083729 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_118-5_0_3_load_14 | 26 | 0.0034048 | 0.00085332 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_118-5_0_3_load_16 | 27 | 0.0033501 | 0.00083961 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_118-5_0_3_load_17 | 28 | 0.003385 | 0.00084836 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_118-5_0_3_load_92 | 30 | 0.007741 | 0.0019401 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_118-5_0_3_load_80 | 33 | 0.0035018 | 0.00087763 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_118-5_0_3_load_33 | 37 | 0.0058098 | 0.0014561 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_118-5_0_3_load_76 | 38 | 0.0017891 | 0.00044839 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_118-5_0_3_load_85 | 39 | 0.0016782 | 0.00042059 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_118-5_0_3_load_21 | 40 | 0.0040964 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_118-5_0_3_load_22 | 41 | 0.0039172 | 0.00098174 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_118-5_0_3_load_23 | 42 | 0.0044191 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_118-5_0_3_load_27 | 47 | 0.0034866 | 0.00087383 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_118-5_0_3_load_28 | 48 | 0.0045722 | 0.0011459 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_118-5_0_3_load_42 | 49 | 0.025085 | 0.0062869 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_118-5_0_3_load_35 | 50 | 0.002709 | 0.00067893 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_118-5_0_3_load_77 | 51 | 0.0039257 | 0.00098388 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_118-5_0_3_load_32 | 52 | 0.0095225 | 0.0023866 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_118-5_0_3_load_29 | 53 | 0.0016198 | 0.00040597 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_118-5_0_3_load_41 | 55 | 0.049046 | 0.012292 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_118-5_0_3_load_30 | 56 | 0.0043604 | 0.0010928 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_118-5_0_3_load_47 | 58 | 0.00095116 | 0.00023838 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_118-5_0_3_load_45 | 59 | 0.0011576 | 0.00029013 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_118-5_0_3_load_57 | 60 | 0.017666 | 0.0044276 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_118-5_0_3_load_44 | 62 | 0.001803 | 0.00045188 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_118-5_0_3_load_46 | 63 | 0.001296 | 0.00032481 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_118-5_0_3_load_48 | 64 | 0.0050046 | 0.0012543 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_118-5_0_3_load_49 | 65 | 0.0019598 | 0.00049117 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_118-5_0_3_load_61 | 66 | 0.0017914 | 0.00044896 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_118-5_0_3_load_54 | 67 | 0.0014828 | 0.00037163 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_118-5_0_3_load_87 | 68 | 0.0016331 | 0.0004093 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_118-5_0_3_load_88 | 69 | 0.0014435 | 0.00036179 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_118-5_0_3_load_91 | 70 | 0.0050604 | 0.0012682 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_118-5_0_3_load_60 | 71 | 0.069512 | 0.017421 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_118-5_0_3_load_63 | 73 | 0.0052981 | 0.0013278 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_118-5_0_3_load_64 | 74 | 0.0017807 | 0.00044629 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_118-5_0_3_load_86 | 75 | 0.0016461 | 0.00041256 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_118-5_0_3_load_67 | 76 | 0.0016094 | 0.00040334 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_118-5_0_3_load_69 | 78 | 0.0024748 | 0.00062023 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_118-5_0_3_load_70 | 80 | 0.0023769 | 0.0005957 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_118-5_0_3_load_75 | 81 | 0.0010898 | 0.00027313 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_118-5_0_3_load_71 | 82 | 0.0019064 | 0.00047779 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_118-5_0_3_load_72 | 83 | 0.0016931 | 0.00042434 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_118-5_0_3_load_81 | 84 | 0.0021844 | 0.00054746 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_118-5_0_3_load_82 | 85 | 0.0013173 | 0.00033014 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_118-5_0_3_load_89 | 86 | 0.008173 | 0.0020483 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_118-5_0_3_line_0 |  | 0 | 1 | 9.9385e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_118-5_0_3_line_1 |  | 0 | 2 | 0.032146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_118-5_0_3_line_2 |  | 1 | 3 | 0.020737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_118-5_0_3_line_3 |  | 3 | 4 | 0.043783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_118-5_0_3_line_4 |  | 4 | 5 | 0.018904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_118-5_0_3_line_5 |  | 4 | 6 | 0.030703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_118-5_0_3_line_6 |  | 5 | 7 | 0.00021925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_118-5_0_3_line_7 |  | 6 | 8 | 0.02268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_118-5_0_3_line_8 |  | 6 | 9 | 0.0048485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_118-5_0_3_line_9 |  | 7 | 70 | 0.032232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_118-5_0_3_line_10 |  | 8 | 67 | 0.0015757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_118-5_0_3_line_11 |  | 9 | 20 | 0.016358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_118-5_0_3_line_12 |  | 10 | 11 | 0.0028524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_118-5_0_3_line_13 |  | 11 | 12 | 0.027097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_118-5_0_3_line_14 |  | 12 | 13 | 0.021419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_118-5_0_3_line_15 |  | 12 | 14 | 0.0099753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_118-5_0_3_line_16 |  | 13 | 15 | 0.032714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_118-5_0_3_line_17 |  | 14 | 16 | 0.031677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_118-5_0_3_line_18 |  | 15 | 17 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_118-5_0_3_line_19 |  | 15 | 18 | 0.011448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_118-5_0_3_line_20 |  | 16 | 19 | 0.023494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_118-5_0_3_line_21 |  | 17 | 20 | 0.0049932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_118-5_0_3_line_22 |  | 18 | 24 | 0.010885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_118-5_0_3_line_23 |  | 19 | 25 | 0.089615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_118-5_0_3_line_24 |  | 21 | 22 | 0.041741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_118-5_0_3_line_25 |  | 21 | 23 | 0.020347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_118-5_0_3_line_26 |  | 22 | 39 | 0.0013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_118-5_0_3_line_27 |  | 23 | 28 | 0.0050324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_118-5_0_3_line_28 |  | 24 | 26 | 0.0050179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_118-5_0_3_line_29 |  | 25 | 76 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_118-5_0_3_line_30 |  | 25 | 77 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_118-5_0_3_line_31 |  | 26 | 27 | 0.0050217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_118-5_0_3_line_32 |  | 27 | 28 | 0.0050037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_118-5_0_3_line_33 |  | 29 | 30 | 0.013898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_118-5_0_3_line_34 |  | 29 | 31 | 0.034568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_118-5_0_3_line_35 |  | 31 | 61 | 0.012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_118-5_0_3_line_36 |  | 31 | 60 | 0.0031996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_118-5_0_3_line_37 |  | 32 | 33 | 0.024802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_118-5_0_3_line_38 |  | 32 | 34 | 0.056167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_118-5_0_3_line_39 |  | 34 | 38 | 0.039053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_118-5_0_3_line_40 |  | 34 | 35 | 0.059414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_118-5_0_3_line_41 |  | 35 | 36 | 0.016402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_118-5_0_3_line_42 |  | 35 | 37 | 0.032149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_118-5_0_3_line_43 |  | 36 | 55 | 0.070392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_118-5_0_3_line_44 |  | 37 | 50 | 0.015383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_118-5_0_3_line_45 |  | 39 | 75 | 0.0012407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_118-5_0_3_line_46 |  | 40 | 41 | 0.018732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_118-5_0_3_line_47 |  | 40 | 42 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_118-5_0_3_line_48 |  | 41 | 43 | 0.20518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_118-5_0_3_line_49 |  | 42 | 44 | 0.015294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_118-5_0_3_line_50 |  | 43 | 45 | 0.25268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_118-5_0_3_line_51 |  | 43 | 46 | 0.17125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_118-5_0_3_line_52 |  | 44 | 47 | 0.0093228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_118-5_0_3_line_53 |  | 44 | 48 | 0.022201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_118-5_0_3_line_54 |  | 45 | 49 | 0.018631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_118-5_0_3_line_55 |  | 45 | 50 | 0.019024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_118-5_0_3_line_56 |  | 46 | 51 | 0.012665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_118-5_0_3_line_57 |  | 47 | 52 | 0.029447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_118-5_0_3_line_58 |  | 48 | 53 | 0.024312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_118-5_0_3_line_59 |  | 49 | 54 | 0.035857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_118-5_0_3_line_60 |  | 53 | 56 | 0.0039252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_118-5_0_3_line_61 |  | 54 | 60 | 0.022398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_118-5_0_3_line_62 |  | 56 | 57 | 0.028087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_118-5_0_3_line_63 |  | 57 | 58 | 0.020311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_118-5_0_3_line_64 |  | 58 | 59 | 0.012243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_118-5_0_3_line_65 |  | 59 | 62 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_118-5_0_3_line_66 |  | 61 | 71 | 0.023452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_118-5_0_3_line_67 |  | 62 | 63 | 0.0064395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_118-5_0_3_line_68 |  | 63 | 64 | 0.007645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_118-5_0_3_line_69 |  | 64 | 65 | 0.011315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_118-5_0_3_line_70 |  | 65 | 66 | 0.011341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_118-5_0_3_line_71 |  | 67 | 68 | 0.00041038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_118-5_0_3_line_72 |  | 68 | 69 | 0.00044014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_118-5_0_3_line_73 |  | 69 | 86 | 0.012046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_118-5_0_3_line_74 |  | 71 | 72 | 0.016833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_118-5_0_3_line_75 |  | 72 | 73 | 0.039208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_118-5_0_3_line_76 |  | 73 | 74 | 0.015878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_118-5_0_3_line_77 |  | 74 | 75 | 0.0012312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_118-5_0_3_line_78 |  | 76 | 78 | 0.010862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_118-5_0_3_line_79 |  | 77 | 79 | 0.008257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_118-5_0_3_line_80 |  | 77 | 80 | 0.016742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_118-5_0_3_line_81 |  | 79 | 81 | 0.03407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_118-5_0_3_line_82 |  | 80 | 82 | 0.026908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_118-5_0_3_line_83 |  | 81 | 84 | 0.0021213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_118-5_0_3_line_84 |  | 82 | 83 | 0.0057979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_118-5_0_3_line_85 |  | 84 | 85 | 0.0087433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_118-5_0_3_trafo_62 | 0.63 MVA 20/0.4 kV | 87 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2706593.8752 | 1234429.6656 | 2706593.8494 | 1234429.5696
1 | 2706593.8752 | 1234429.6656 | 2706596.6499 | 1234439.9707 | 2706600.1523 | 1234442.6689 | 2706611.9816 | 1234439.5343 | 2706616.6348 | 1234438.297
2 | 2706588.4589 | 1234409.545 | 2706589.1828 | 1234412.2378 | 2706593.8494 | 1234429.5696
3 | 2706588.4589 | 1234409.545 | 2706603.8275 | 1234406.6406 | 2706613.7492 | 1234404.7616 | 2706631.6961 | 1234402.8933
4 | 2706631.6961 | 1234402.8933 | 2706631.9931 | 1234406.5903 | 2706632.8338 | 1234421.7617
5 | 2706662.0777 | 1234398.335 | 2706652.7986 | 1234400.6925 | 2706631.6961 | 1234402.8933
6 | 2706632.8459 | 1234421.9806 | 2706632.8338 | 1234421.7617
7 | 2706662.0777 | 1234398.335 | 2706662.2349 | 1234402.2297 | 2706662.9925 | 1234420.9964
8 | 2706662.0777 | 1234398.335 | 2706666.7911 | 1234397.198
9 | 2706634.6291 | 1234454.1629 | 2706632.8459 | 1234421.9806
10 | 2706663.0561 | 1234422.5708 | 2706662.9925 | 1234420.9964
11 | 2706666.7911 | 1234397.198 | 2706681.5975 | 1234393.6262 | 2706682.6259 | 1234393.1647
12 | 2706632.7098 | 1234368.1657 | 2706635.1595 | 1234366.7044
13 | 2706659.5901 | 1234355.1574 | 2706643.8794 | 1234361.5025 | 2706635.1595 | 1234366.7044
14 | 2706659.5901 | 1234355.1574 | 2706667.2432 | 1234358.6085 | 2706680.0741 | 1234360.8405
15 | 2706659.5901 | 1234355.1574 | 2706664.5517 | 1234346.5035
16 | 2706702.2517 | 1234384.3566 | 2706699.1701 | 1234378.886 | 2706691.8424 | 1234369.9698 | 2706680.0741 | 1234360.8405
17 | 2706681.0998 | 1234319.5113 | 2706679.965 | 1234321.3973 | 2706672.6273 | 1234332.4184 | 2706664.5517 | 1234346.5035
18 | 2706702.2517 | 1234384.3566 | 2706687.1813 | 1234391.1202
19 | 2706702.2517 | 1234384.3566 | 2706709.0348 | 1234386.0797 | 2706713.2803 | 1234384.7487
20 | 2706681.0998 | 1234319.5113 | 2706685.3266 | 1234312.4867 | 2706685.7032 | 1234305.4325 | 2706685.3601 | 1234297.2077
21 | 2706682.6259 | 1234393.1647 | 2706687.1813 | 1234391.1202
22 | 2706713.2803 | 1234384.7487 | 2706719.8696 | 1234382.6828 | 2706723.7987 | 1234382.0528
23 | 2706667.3066 | 1234210.0739 | 2706666.9621 | 1234226.7248 | 2706673.4579 | 1234249.5144 | 2706685.1634 | 1234292.4907 | 2706685.3601 | 1234297.2077
24 | 2706763.7121 | 1234375.6538 | 2706764.0974 | 1234377.8068 | 2706769.0413 | 1234407.2848 | 2706770.9594 | 1234416.757
25 | 2706763.7121 | 1234375.6538 | 2706753.6665 | 1234377.2634 | 2706743.6211 | 1234378.8742
26 | 2706770.9594 | 1234416.757 | 2706771.227 | 1234418.0789
27 | 2706738.6522 | 1234379.671 | 2706743.6211 | 1234378.8742
28 | 2706728.7533 | 1234381.2583 | 2706723.7987 | 1234382.0528
29 | 2706667.3066 | 1234210.0739 | 2706657.4459 | 1234207.0072
30 | 2706667.3066 | 1234210.0739 | 2706672.23 | 1234196.8966
31 | 2706728.7533 | 1234381.2583 | 2706733.7117 | 1234380.4632
32 | 2706733.7117 | 1234380.4632 | 2706738.6522 | 1234379.671
33 | 2706875.16 | 1234389.9679 | 2706879.6456 | 1234388.9367 | 2706881.1745 | 1234388.9642 | 2706882.4861 | 1234389.288 | 2706884.2973 | 1234390.0323 | 2706888.2176 | 1234392.2267
34 | 2706864.9493 | 1234420.1074 | 2706866.9075 | 1234415.2055 | 2706868.8886 | 1234412.4056 | 2706870.326 | 1234410.3633 | 2706869.5527 | 1234409.5821 | 2706868.1981 | 1234401.5516 | 2706868.1988 | 1234400.2506 | 2706868.2262 | 1234398.7277 | 2706869.1634 | 1234397.1322 | 2706870.4094 | 1234395.6313 | 2706871.7594 | 1234394.2434 | 2706873.5124 | 1234392.7515 | 2706874.552 | 1234391.358 | 2706875.16 | 1234389.9679
35 | 2706864.9493 | 1234420.1074 | 2706856.4952 | 1234419.9441 | 2706852.7877 | 1234420.2332
36 | 2706864.9493 | 1234420.1074 | 2706868.0786 | 1234420.7741
37 | 2706991.4976 | 1234295.9115 | 2706983.2203 | 1234289.2907 | 2706980.378 | 1234287.3603 | 2706977.5554 | 1234285.597 | 2706971.2709 | 1234282.248 | 2706970.9954 | 1234282.0905
38 | 2706991.4976 | 1234295.9115 | 2706975.4338 | 1234315.9487 | 2706972.0353 | 1234321.3584 | 2706969.2346 | 1234327.2013 | 2706967.7167 | 1234332.8672 | 2706966.5366 | 1234339.54 | 2706964.9977 | 1234344.2715
39 | 2706964.9977 | 1234344.2715 | 2706948.6219 | 1234335.8147 | 2706945.1193 | 1234334.395 | 2706941.1284 | 1234333.1778 | 2706938.1472 | 1234332.6571 | 2706933.9367 | 1234332.2811 | 2706929.6645 | 1234332.3932 | 2706928.5265 | 1234332.5037
40 | 2706984.3326 | 1234395.6588 | 2706971.9951 | 1234376.5443 | 2706967.7228 | 1234369.9401 | 2706964.8576 | 1234365.4963 | 2706961.9775 | 1234361.041 | 2706960.0358 | 1234357.8703 | 2706963.3514 | 1234349.5014 | 2706964.5906 | 1234345.8542 | 2706964.9977 | 1234344.2715
41 | 2706984.3326 | 1234395.6588 | 2706993.3832 | 1234409.3545
42 | 2706984.3326 | 1234395.6588 | 2706976.312 | 1234407.1566 | 2706970.3314 | 1234413.8429 | 2706964.2314 | 1234414.1334 | 2706961.5393 | 1234412.6949
43 | 2707024.2607 | 1234465.9427 | 2707029.6002 | 1234461.6355 | 2707019.6802 | 1234447.4571 | 2707012.8821 | 1234437.7495 | 2707010.6091 | 1234434.4839 | 2706994.8868 | 1234411.6277 | 2706993.3832 | 1234409.3545
44 | 2706953.4139 | 1234424.9692 | 2706954.1825 | 1234420.5463 | 2706957.3164 | 1234415.9547 | 2706961.5393 | 1234412.6949
45 | 2706771.227 | 1234418.0789 | 2706771.4733 | 1234419.2949
46 | 2706744.3963 | 1234532.6838 | 2706756.09 | 1234531.7807 | 2706763.0062 | 1234530.68
47 | 2706733.282 | 1234533.5421 | 2706744.3963 | 1234532.6838
48 | 2706928.6464 | 1234511.7121 | 2706903.5632 | 1234502.476 | 2706861.7478 | 1234487.7794 | 2706850.6034 | 1234485.2437 | 2706845.4175 | 1234485.6508 | 2706843.4908 | 1234486.6947 | 2706841.9844 | 1234489.6254 | 2706842.2743 | 1234504.2307 | 2706842.7068 | 1234515.9586 | 2706841.462 | 1234521.6072 | 2706836.301 | 1234524.4165 | 2706827.5941 | 1234525.2718 | 2706818.4893 | 1234525.5194 | 2706800.2093 | 1234529.505 | 2706783.2387 | 1234528.0434 | 2706767.5778 | 1234529.9524 | 2706763.0062 | 1234530.68
49 | 2706718.0384 | 1234532.609 | 2706731.3287 | 1234533.693 | 2706733.282 | 1234533.5421
50 | 2706942.3066 | 1234440.1253 | 2706941.1572 | 1234442.1507 | 2706937.7735 | 1234449.6844 | 2706936.7713 | 1234451.9459 | 2706933.3302 | 1234459.7233 | 2706937.13 | 1234469.021 | 2706960.5757 | 1234483.8432 | 2706971.1307 | 1234490.516 | 2706984.7316 | 1234506.3063 | 2706982.7783 | 1234538.6626 | 2706984.6004 | 1234568.218 | 2706983.0803 | 1234574.8513 | 2706981.0055 | 1234564.784 | 2706979.183 | 1234557.1009 | 2706973.2015 | 1234542.4153 | 2706969.9539 | 1234535.6739 | 2706969.786 | 1234535.3261 | 2706968.6475 | 1234532.9594 | 2706965.8775 | 1234528.7063 | 2706958.4758 | 1234522.2459 | 2706948.9145 | 1234517.5702 | 2706928.6464 | 1234511.7121
51 | 2706928.6464 | 1234511.7121 | 2706892.4644 | 1234679.1005
52 | 2706718.0384 | 1234532.609 | 2706719.301 | 1234523.8583 | 2706719.4769 | 1234523.4101
53 | 2706718.0384 | 1234532.609 | 2706704.5307 | 1234538.9825 | 2706697.9804 | 1234542.125
54 | 2706942.3066 | 1234440.1253 | 2706924.3074 | 1234435.3163
55 | 2706953.4139 | 1234424.9692 | 2706951.2718 | 1234426.1982 | 2706950.0225 | 1234427.8882 | 2706946.933 | 1234432.5361 | 2706942.3066 | 1234440.1253
56 | 2706892.4644 | 1234679.1005 | 2706887.7405 | 1234682.874 | 2706884.2809 | 1234685.8029 | 2706882.7271 | 1234687.1945
57 | 2706726.436 | 1234495.0422 | 2706726.0899 | 1234500.8182 | 2706725.1054 | 1234507.9949 | 2706722.8715 | 1234514.7599 | 2706719.4769 | 1234523.4101
58 | 2706674.4371 | 1234546.7972 | 2706691.6398 | 1234545.1669 | 2706697.9804 | 1234542.125
59 | 2706890.0351 | 1234425.0067 | 2706896.7884 | 1234427.9638 | 2706924.3074 | 1234435.3163
60 | 2706674.4371 | 1234546.7972 | 2706670.5293 | 1234547.1676
61 | 2706890.0351 | 1234425.0067 | 2706887.8024 | 1234424.9665 | 2706876.2928 | 1234422.5243 | 2706868.0786 | 1234420.7741
62 | 2706642.5232 | 1234548.7436 | 2706652.5298 | 1234548.8677 | 2706656.4278 | 1234548.504 | 2706670.5293 | 1234547.1676
63 | 2706642.5232 | 1234548.7436 | 2706654.0382 | 1234538.231 | 2706656.4789 | 1234534.1921
64 | 2706656.4789 | 1234534.1921 | 2706660.4131 | 1234527.6818 | 2706661.5056 | 1234523.1763
65 | 2706662.0591 | 1234510.4214 | 2706662.7272 | 1234518.1383 | 2706661.5056 | 1234523.1763
66 | 2706852.7877 | 1234420.2332 | 2706840.5339 | 1234421.2804 | 2706829.5634 | 1234423.29
67 | 2706662.0591 | 1234510.4214 | 2706661.8807 | 1234508.3601 | 2706660.3571 | 1234504.2638
68 | 2706657.6918 | 1234497.0985 | 2706657.6918 | 1234497.0985 | 2706660.3571 | 1234504.2638
69 | 2706657.6918 | 1234497.0985 | 2706653.4233 | 1234491.5287 | 2706650.1196 | 1234488.7793
70 | 2706650.1196 | 1234488.7793 | 2706643.3455 | 1234483.1415 | 2706641.0427 | 1234482.0996
71 | 2706663.0561 | 1234422.5708 | 2706663.0726 | 1234422.9808
72 | 2706663.0726 | 1234422.9808 | 2706663.0904 | 1234423.4206
73 | 2706663.5763 | 1234435.457 | 2706663.0904 | 1234423.4206
74 | 2706813.0123 | 1234426.3562 | 2706815.9142 | 1234425.8191 | 2706824.9465 | 1234424.1357 | 2706829.5634 | 1234423.29
75 | 2706813.0123 | 1234426.3562 | 2706808.7051 | 1234427.1572 | 2706804.8685 | 1234427.8888 | 2706798.8611 | 1234428.9261 | 2706794.7312 | 1234431.2314 | 2706779.9023 | 1234434.8566 | 2706775.2033 | 1234435.973
76 | 2706771.7176 | 1234420.5016 | 2706772.2887 | 1234423.3221 | 2706773.8585 | 1234431.6011 | 2706775.2033 | 1234435.973
77 | 2706771.7176 | 1234420.5016 | 2706771.4733 | 1234419.2949
78 | 2706647.0737 | 1234203.7815 | 2706657.4459 | 1234207.0072
79 | 2706671.4615 | 1234188.6765 | 2706672.23 | 1234196.8966
80 | 2706672.23 | 1234196.8966 | 2706686.333 | 1234197.4613 | 2706688.846 | 1234198.23
81 | 2706671.4615 | 1234188.6765 | 2706648.8554 | 1234182.2326 | 2706641.0478 | 1234181.8922 | 2706638.2997 | 1234181.9461
82 | 2706688.846 | 1234198.23 | 2706697.4549 | 1234200.8635 | 2706700.8641 | 1234205.3838 | 2706712.182 | 1234210.0545
83 | 2706638.2997 | 1234181.9461 | 2706636.1787 | 1234181.9877
84 | 2706717.5414 | 1234212.2663 | 2706712.182 | 1234210.0545
85 | 2706627.4371 | 1234182.1593 | 2706636.1787 | 1234181.9877

## bus_geodata
| x | y | coords
0 | 2706593.8752 | 1234429.6656
1 | 2706593.8494 | 1234429.5696
2 | 2706616.6348 | 1234438.297
3 | 2706588.4589 | 1234409.545
4 | 2706631.6961 | 1234402.8933
5 | 2706632.8338 | 1234421.7617
6 | 2706662.0777 | 1234398.335
7 | 2706632.8459 | 1234421.9806
8 | 2706662.9925 | 1234420.9964
9 | 2706666.7911 | 1234397.198
10 | 2706632.7098 | 1234368.1657
11 | 2706635.1595 | 1234366.7044
12 | 2706659.5901 | 1234355.1574
13 | 2706680.0741 | 1234360.8405
14 | 2706664.5517 | 1234346.5035
15 | 2706702.2517 | 1234384.3566
16 | 2706681.0998 | 1234319.5113
17 | 2706687.1813 | 1234391.1202
18 | 2706713.2803 | 1234384.7487
19 | 2706685.3601 | 1234297.2077
20 | 2706682.6259 | 1234393.1647
21 | 2706763.7121 | 1234375.6538
22 | 2706770.9594 | 1234416.757
23 | 2706743.6211 | 1234378.8742
24 | 2706723.7987 | 1234382.0528
25 | 2706667.3066 | 1234210.0739
26 | 2706728.7533 | 1234381.2583
27 | 2706733.7117 | 1234380.4632
28 | 2706738.6522 | 1234379.671
29 | 2706875.16 | 1234389.9679
30 | 2706888.2176 | 1234392.2267
31 | 2706864.9493 | 1234420.1074
32 | 2706991.4977 | 1234295.9115
33 | 2706970.9954 | 1234282.0905
34 | 2706964.9977 | 1234344.2715
35 | 2706984.3326 | 1234395.6588
36 | 2706993.3832 | 1234409.3545
37 | 2706961.5393 | 1234412.6949
38 | 2706928.5265 | 1234332.5037
39 | 2706771.227 | 1234418.0789
40 | 2706744.3963 | 1234532.6838
41 | 2706763.0062 | 1234530.68
42 | 2706733.282 | 1234533.5421
43 | 2706928.6464 | 1234511.7121
44 | 2706718.0384 | 1234532.609
45 | 2706942.3066 | 1234440.1253
46 | 2706892.4644 | 1234679.1005
47 | 2706719.4769 | 1234523.4101
48 | 2706697.9804 | 1234542.125
49 | 2706924.3074 | 1234435.3163
50 | 2706953.4139 | 1234424.9692
51 | 2706882.7271 | 1234687.1945
52 | 2706726.436 | 1234495.0422
53 | 2706674.4371 | 1234546.7972
54 | 2706890.0351 | 1234425.0067
55 | 2707024.2607 | 1234465.9427
56 | 2706670.5293 | 1234547.1676
57 | 2706642.5232 | 1234548.7436
58 | 2706656.4789 | 1234534.1921
59 | 2706661.5056 | 1234523.1763
60 | 2706868.0786 | 1234420.7741
61 | 2706852.7877 | 1234420.2332
62 | 2706662.0591 | 1234510.4214
63 | 2706660.3571 | 1234504.2638
64 | 2706657.6918 | 1234497.0985
65 | 2706650.1196 | 1234488.7793
66 | 2706641.0427 | 1234482.0996
67 | 2706663.0561 | 1234422.5708
68 | 2706663.0726 | 1234422.9808
69 | 2706663.0904 | 1234423.4206
70 | 2706634.6291 | 1234454.1629
71 | 2706829.5634 | 1234423.29
72 | 2706813.0123 | 1234426.3562
73 | 2706775.2033 | 1234435.973
74 | 2706771.7176 | 1234420.5016
75 | 2706771.4733 | 1234419.2949
76 | 2706657.4459 | 1234207.0072
77 | 2706672.23 | 1234196.8966
78 | 2706647.0737 | 1234203.7815
79 | 2706671.4615 | 1234188.6765
80 | 2706688.846 | 1234198.23
81 | 2706638.2997 | 1234181.9461
82 | 2706712.182 | 1234210.0545
83 | 2706717.5414 | 1234212.2662
84 | 2706636.1787 | 1234181.9877
85 | 2706627.4371 | 1234182.1593
86 | 2706663.5763 | 1234435.457
87 | 2706814.1955 | 1234431.7149

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98642 | -0.26137 | 0.0023976 | 0.00060089
1 | 0.98642 | -0.26137 | 0.0023807 | 0.00059667
2 | 0.98635 | -0.26274 | 0.0023764 | 0.00059559
3 | 0.98655 | -0.25871 | 0 | 0
4 | 0.98684 | -0.2531 | 0 | 0
5 | 0.98669 | -0.25612 | 0.0023976 | 0.00060091
6 | 0.98729 | -0.24425 | 0 | 0
7 | 0.98668 | -0.25615 | 0.0014828 | 0.00037163
8 | 0.987 | -0.25008 | 0.0016331 | 0.0004093
9 | 0.98743 | -0.24161 | 0.0012903 | 0.00032339
10 | 0.98741 | -0.24201 | 0.0017319 | 0.00043406
11 | 0.98741 | -0.24192 | 0.0019721 | 0.00049426
12 | 0.98751 | -0.24013 | 0 | 0
13 | 0.98792 | -0.23205 | 0.0011117 | 0.00027863
14 | 0.98735 | -0.24323 | 0.00053281 | 0.00013353
15 | 0.98859 | -0.21907 | 0 | 0
16 | 0.98685 | -0.2528 | 0.00043392 | 0.00010875
17 | 0.98806 | -0.22937 | 0.0017807 | 0.00044629
18 | 0.98919 | -0.2074 | 0.0017208 | 0.00043126
19 | 0.9865 | -0.25971 | 0.0017834 | 0.00044695
20 | 0.98791 | -0.23233 | 0.0014163 | 0.00035496
21 | 0.99244 | -0.14464 | 0 | 0
22 | 0.99534 | -0.088814 | 0.0018964 | 0.00047528
23 | 0.99102 | -0.17197 | 0.003406 | 0.00085363
24 | 0.98978 | -0.19599 | 0.0033408 | 0.00083729
25 | 0.98529 | -0.28327 | 0 | 0
26 | 0.99007 | -0.19043 | 0.0034048 | 0.00085332
27 | 0.99037 | -0.18457 | 0.0033501 | 0.00083961
28 | 0.99069 | -0.17844 | 0.003385 | 0.00084836
29 | 0.99518 | -0.09173 | 0 | 0
30 | 0.99508 | -0.093623 | 0.007741 | 0.0019401
31 | 0.99542 | -0.087021 | 0 | 0
32 | 0.98632 | -0.26198 | 0 | 0
33 | 0.98624 | -0.26354 | 0.0035018 | 0.00087763
34 | 0.9865 | -0.25846 | 0 | 0
35 | 0.98679 | -0.25282 | 0 | 0
36 | 0.98604 | -0.26723 | 0 | 0
37 | 0.9884 | -0.2216 | 0.0058098 | 0.0014561
38 | 0.98643 | -0.25971 | 0.0017891 | 0.00044839
39 | 0.99544 | -0.086971 | 0.0016782 | 0.00042059
40 | 0.97363 | -0.50786 | 0.0040964 | 0.0010267
41 | 0.97443 | -0.49202 | 0.0039172 | 0.00098174
42 | 0.97319 | -0.51646 | 0.0044191 | 0.0011075
43 | 0.984 | -0.30565 | 0 | 0
44 | 0.97266 | -0.52703 | 0 | 0
45 | 0.99035 | -0.18383 | 0 | 0
46 | 0.98338 | -0.31777 | 0 | 0
47 | 0.97255 | -0.52927 | 0.0034866 | 0.00087383
48 | 0.97215 | -0.53707 | 0.0045722 | 0.0011459
49 | 0.99136 | -0.16452 | 0.025085 | 0.0062869
50 | 0.98925 | -0.20511 | 0.002709 | 0.00067893
51 | 0.98334 | -0.31866 | 0.0039257 | 0.00098388
52 | 0.97228 | -0.53444 | 0.0095225 | 0.0023866
53 | 0.9717 | -0.54602 | 0.0016198 | 0.00040597
54 | 0.99371 | -0.11951 | 0 | 0
55 | 0.98286 | -0.32933 | 0.049046 | 0.012292
56 | 0.97163 | -0.54734 | 0.0043604 | 0.0010928
57 | 0.97126 | -0.55459 | 0 | 0
58 | 0.971 | -0.55983 | 0.00095116 | 0.00023838
59 | 0.97085 | -0.56278 | 0.0011576 | 0.00029013
60 | 0.99518 | -0.091512 | 0.017666 | 0.0044276
61 | 0.99636 | -0.069178 | 0 | 0
62 | 0.97071 | -0.56561 | 0.001803 | 0.00045188
63 | 0.97065 | -0.56681 | 0.001296 | 0.00032481
64 | 0.97058 | -0.56805 | 0.0050046 | 0.0012543
65 | 0.97054 | -0.56883 | 0.0019598 | 0.00049117
66 | 0.97053 | -0.56921 | 0.0017914 | 0.00044896
67 | 0.98698 | -0.25044 | 0.0014828 | 0.00037163
68 | 0.98697 | -0.25052 | 0.0016331 | 0.0004093
69 | 0.98697 | -0.2506 | 0.0014435 | 0.00036179
70 | 0.98653 | -0.25907 | 0.0050604 | 0.0012682
71 | 0.99817 | -0.0348 | 0.069512 | 0.017421
72 | 1 | 0 | -0.33014 | -0.083724
73 | 0.99683 | -0.060396 | 0.0052981 | 0.0013278
74 | 0.99562 | -0.083485 | 0.0017807 | 0.00044629
75 | 0.99553 | -0.085239 | 0.0016461 | 0.00041256
76 | 0.98525 | -0.28403 | 0.0016094 | 0.00040334
77 | 0.98515 | -0.28594 | 0 | 0
78 | 0.98523 | -0.28451 | 0.0024748 | 0.00062023
79 | 0.98512 | -0.28662 | 0 | 0
80 | 0.98506 | -0.28774 | 0.0023769 | 0.0005957
81 | 0.98498 | -0.28943 | 0.0010898 | 0.00027313
82 | 0.98497 | -0.28948 | 0.0019064 | 0.00047779
83 | 0.98496 | -0.28965 | 0.0016931 | 0.00042434
84 | 0.98497 | -0.28956 | 0.0021844 | 0.00054746
85 | 0.98496 | -0.28977 | 0.0013173 | 0.00033014
86 | 0.98688 | -0.25236 | 0.008173 | 0.0020483
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0047742 | -0.0011962 | 0.0047742 | 0.0011962 | 1.9344e-09 | -3.1472e-11 | 0.0072017 | 0.0072017 | 0.0072017 | 0.98642 | -0.26137 | 0.98642 | -0.26137 | 1.9785
1 | 0.0023766 | 0.00059528 | -0.0023764 | -0.00059559 | 1.5493e-07 | -3.1116e-07 | 0.003585 | 0.0035851 | 0.0035851 | 0.98642 | -0.26137 | 0.98635 | -0.26274 | 0.98492
2 | -0.0071549 | -0.0017928 | 0.0071558 | 0.0017931 | 9.0589e-07 | 3.1501e-07 | 0.010793 | 0.010793 | 0.010793 | 0.98642 | -0.26137 | 0.98655 | -0.25871 | 2.9651
3 | -0.0071558 | -0.0017931 | 0.0071577 | 0.0017938 | 1.9125e-06 | 6.648e-07 | 0.010793 | 0.010793 | 0.010793 | 0.98655 | -0.25871 | 0.98684 | -0.2531 | 2.9651
4 | 0.0089428 | 0.0022414 | -0.0089415 | -0.0022408 | 1.289e-06 | 5.8348e-07 | 0.013485 | 0.013485 | 0.013485 | 0.98684 | -0.2531 | 0.98669 | -0.25612 | 3.7046
5 | -0.016101 | -0.0040352 | 0.016107 | 0.0040392 | 6.786e-06 | 3.9506e-06 | 0.024277 | 0.024277 | 0.024277 | 0.98684 | -0.2531 | 0.98729 | -0.24425 | 6.6696
6 | 0.0065439 | 0.0016399 | -0.0065439 | -0.0016399 | 8.0077e-09 | 2.3246e-09 | 0.0098688 | 0.0098688 | 0.0098688 | 0.98669 | -0.25612 | 0.98668 | -0.25615 | 2.7112
7 | 0.014371 | 0.0036031 | -0.014367 | -0.0036008 | 3.9899e-06 | 2.2636e-06 | 0.021659 | 0.021659 | 0.021659 | 0.98729 | -0.24425 | 0.987 | -0.25008 | 5.9504
8 | -0.030478 | -0.0076422 | 0.030482 | 0.0076446 | 3.8367e-06 | 2.3935e-06 | 0.045937 | 0.045936 | 0.045937 | 0.98729 | -0.24425 | 0.98743 | -0.24161 | 12.6199
9 | 0.0050611 | 0.0012683 | -0.0050604 | -0.0012682 | 7.0414e-07 | 3.9045e-08 | 0.0076325 | 0.0076327 | 0.0076327 | 0.98668 | -0.25615 | 0.98653 | -0.25907 | 2.0969
10 | 0.012733 | 0.0031915 | -0.012733 | -0.0031914 | 2.1776e-07 | 1.1923e-07 | 0.019197 | 0.019197 | 0.019197 | 0.987 | -0.25008 | 0.98698 | -0.25044 | 5.274
11 | -0.031772 | -0.007968 | 0.031786 | 0.0079768 | 1.4064e-05 | 8.7913e-06 | 0.047881 | 0.047881 | 0.047881 | 0.98743 | -0.24161 | 0.98791 | -0.23233 | 13.1541
12 | -0.0017319 | -0.00043406 | 0.0017319 | 0.00043403 | 7.2867e-09 | -3.1822e-08 | 0.00261 | 0.00261 | 0.00261 | 0.98741 | -0.24201 | 0.98741 | -0.24192 | 0.71704
13 | -0.0037041 | -0.00092829 | 0.0037044 | 0.00092815 | 3.166e-07 | -1.4401e-07 | 0.0055819 | 0.0055818 | 0.0055819 | 0.98741 | -0.24192 | 0.98751 | -0.24013 | 1.5335
14 | -0.021142 | -0.0053084 | 0.02115 | 0.0053134 | 8.1535e-06 | 4.9441e-06 | 0.031861 | 0.031861 | 0.031861 | 0.98751 | -0.24013 | 0.98792 | -0.23205 | 8.753
15 | 0.017437 | 0.0043803 | -0.017435 | -0.0043788 | 2.5833e-06 | 1.5257e-06 | 0.026279 | 0.026279 | 0.026279 | 0.98751 | -0.24013 | 0.98735 | -0.24323 | 7.2195
16 | -0.022262 | -0.005592 | 0.022276 | 0.0056004 | 1.3796e-05 | 8.4106e-06 | 0.033535 | 0.033535 | 0.033535 | 0.98792 | -0.23205 | 0.98859 | -0.21907 | 9.213
17 | 0.016902 | 0.0042452 | -0.016894 | -0.0042407 | 7.7099e-06 | 4.5294e-06 | 0.025476 | 0.025476 | 0.025476 | 0.98735 | -0.24323 | 0.98685 | -0.2528 | 6.999
18 | 0.035005 | 0.0087918 | -0.034988 | -0.008781 | 1.7201e-05 | 1.0797e-05 | 0.052696 | 0.052696 | 0.052696 | 0.98859 | -0.21907 | 0.98806 | -0.22937 | 14.4769
19 | -0.057281 | -0.014392 | 0.057312 | 0.014412 | 3.1921e-05 | 2.0283e-05 | 0.086231 | 0.086231 | 0.086231 | 0.98859 | -0.21907 | 0.98919 | -0.2074 | 23.6898
20 | 0.01646 | 0.0041319 | -0.016455 | -0.0041288 | 5.4284e-06 | 3.1741e-06 | 0.024822 | 0.024822 | 0.024822 | 0.98685 | -0.2528 | 0.9865 | -0.25971 | 6.8193
21 | 0.033207 | 0.0083347 | -0.033202 | -0.0083318 | 4.6838e-06 | 2.9337e-06 | 0.050014 | 0.050014 | 0.050014 | 0.98806 | -0.22937 | 0.98791 | -0.23233 | 13.7401
22 | -0.059033 | -0.014844 | 0.059065 | 0.014864 | 3.2201e-05 | 2.0469e-05 | 0.088819 | 0.088819 | 0.088819 | 0.98919 | -0.2074 | 0.98978 | -0.19599 | 24.4009
23 | 0.014672 | 0.0036818 | -0.014655 | -0.0036724 | 1.6461e-05 | 9.3925e-06 | 0.022132 | 0.022133 | 0.022133 | 0.9865 | -0.25971 | 0.98529 | -0.28327 | 6.0804
24 | -0.076129 | -0.019209 | 0.076333 | 0.019339 | 0.00020411 | 0.00013009 | 0.11419 | 0.11419 | 0.11419 | 0.99244 | -0.14464 | 0.99534 | -0.088814 | 31.3711
25 | 0.076129 | 0.019209 | -0.07603 | -0.019146 | 9.9495e-05 | 6.3415e-05 | 0.11419 | 0.11419 | 0.11419 | 0.99244 | -0.14464 | 0.99102 | -0.17197 | 31.3711
26 | -0.07823 | -0.019815 | 0.078237 | 0.019819 | 6.9265e-06 | 4.4154e-06 | 0.11703 | 0.11703 | 0.11703 | 0.99534 | -0.088814 | 0.99544 | -0.086971 | 32.1499
27 | 0.072624 | 0.018292 | -0.072601 | -0.018278 | 2.2453e-05 | 1.4305e-05 | 0.10908 | 0.10908 | 0.10908 | 0.99102 | -0.17197 | 0.99069 | -0.17844 | 29.9661
28 | -0.062406 | -0.015701 | 0.062423 | 0.015712 | 1.6571e-05 | 1.0541e-05 | 0.093842 | 0.093842 | 0.093842 | 0.98978 | -0.19599 | 0.99007 | -0.19043 | 25.7807
29 | 0.0040843 | 0.0010234 | -0.0040842 | -0.0010235 | 1.4733e-07 | -3.7221e-08 | 0.0061682 | 0.0061682 | 0.0061682 | 0.98529 | -0.28327 | 0.98525 | -0.28403 | 1.6946
30 | 0.010571 | 0.002649 | -0.01057 | -0.0026483 | 1.3441e-06 | 6.8115e-07 | 0.015964 | 0.015964 | 0.015964 | 0.98529 | -0.28327 | 0.98515 | -0.28594 | 4.3858
31 | -0.065828 | -0.016565 | 0.065846 | 0.016577 | 1.8441e-05 | 1.1738e-05 | 0.098959 | 0.098959 | 0.098959 | 0.99007 | -0.19043 | 0.99037 | -0.18457 | 27.1866
32 | -0.069196 | -0.017417 | 0.069216 | 0.01743 | 2.0292e-05 | 1.2922e-05 | 0.10399 | 0.10399 | 0.10399 | 0.99037 | -0.18457 | 0.99069 | -0.17844 | 28.5694
33 | 0.0077417 | 0.0019404 | -0.007741 | -0.0019401 | 6.9836e-07 | 2.6639e-07 | 0.011576 | 0.011576 | 0.011576 | 0.99518 | -0.09173 | 0.99508 | -0.093623 | 3.1802
34 | -0.0077417 | -0.0019404 | 0.0077435 | 0.001941 | 1.737e-06 | 6.6241e-07 | 0.011576 | 0.011576 | 0.011576 | 0.99518 | -0.09173 | 0.99542 | -0.087021 | 3.1801
35 | -0.16914 | -0.043114 | 0.16929 | 0.043207 | 0.00014581 | 9.3e-05 | 0.2531 | 0.2531 | 0.2531 | 0.99542 | -0.087021 | 0.99636 | -0.069178 | 34.7669
36 | 0.1614 | 0.041173 | -0.16136 | -0.041151 | 3.4997e-05 | 2.2315e-05 | 0.24153 | 0.24153 | 0.24153 | 0.99542 | -0.087021 | 0.99518 | -0.091512 | 33.1768
37 | 0.0035021 | 0.00087748 | -0.0035018 | -0.00087763 | 2.5962e-07 | -1.5036e-07 | 0.0052833 | 0.0052835 | 0.0052835 | 0.98632 | -0.26198 | 0.98624 | -0.26354 | 1.4515
38 | -0.0035021 | -0.00087748 | 0.0035026 | 0.00087714 | 5.8791e-07 | -3.4072e-07 | 0.0052833 | 0.0052831 | 0.0052833 | 0.98632 | -0.26198 | 0.9865 | -0.25846 | 1.4515
39 | 0.0017892 | 0.00044796 | -0.0017891 | -0.00044839 | 1.0666e-07 | -4.3031e-07 | 0.0026986 | 0.0026988 | 0.0026988 | 0.9865 | -0.25846 | 0.98643 | -0.25971 | 0.74143
40 | -0.0052918 | -0.0013251 | 0.0052933 | 0.0013252 | 1.4194e-06 | 1.4961e-07 | 0.0079817 | 0.0079814 | 0.0079817 | 0.9865 | -0.25846 | 0.98679 | -0.25282 | 2.1928
41 | 0.049226 | 0.012406 | -0.049192 | -0.012384 | 3.3913e-05 | 2.1495e-05 | 0.074254 | 0.074254 | 0.074254 | 0.98679 | -0.25282 | 0.98604 | -0.26723 | 20.3994
42 | -0.054519 | -0.013731 | 0.0546 | 0.013783 | 8.1529e-05 | 5.1767e-05 | 0.082235 | 0.082235 | 0.082235 | 0.98679 | -0.25282 | 0.9884 | -0.2216 | 22.5921
43 | 0.049192 | 0.012384 | -0.049046 | -0.012292 | 0.00014554 | 9.2253e-05 | 0.074254 | 0.074254 | 0.074254 | 0.98604 | -0.26723 | 0.98286 | -0.32933 | 20.3995
44 | -0.06041 | -0.015239 | 0.060458 | 0.015269 | 4.775e-05 | 3.0363e-05 | 0.090982 | 0.090981 | 0.090982 | 0.9884 | -0.2216 | 0.98925 | -0.20511 | 24.9949
45 | -0.079915 | -0.02024 | 0.079922 | 0.020244 | 6.6477e-06 | 4.2384e-06 | 0.11953 | 0.11953 | 0.11953 | 0.99544 | -0.086971 | 0.99553 | -0.085239 | 32.8391
46 | -0.046115 | -0.011584 | 0.04615 | 0.011606 | 3.4901e-05 | 2.2103e-05 | 0.070488 | 0.070488 | 0.070488 | 0.97363 | -0.50786 | 0.97443 | -0.49202 | 19.3647
47 | 0.042018 | 0.010557 | -0.042001 | -0.010546 | 1.7244e-05 | 1.0898e-05 | 0.064227 | 0.064227 | 0.064227 | 0.97363 | -0.50786 | 0.97319 | -0.51646 | 17.6448
48 | -0.050067 | -0.012587 | 0.050517 | 0.012873 | 0.00044992 | 0.00028537 | 0.076469 | 0.076468 | 0.076469 | 0.97443 | -0.49202 | 0.984 | -0.30565 | 21.0081
49 | 0.037582 | 0.0094386 | -0.037563 | -0.0094266 | 1.8942e-05 | 1.1933e-05 | 0.05747 | 0.05747 | 0.05747 | 0.97319 | -0.51646 | 0.97266 | -0.52703 | 15.7886
50 | -0.054445 | -0.013856 | 0.054767 | 0.014055 | 0.00032173 | 0.00019945 | 0.082408 | 0.082406 | 0.082408 | 0.984 | -0.30565 | 0.99035 | -0.18383 | 11.3198
51 | 0.0039282 | 0.0009831 | -0.0039259 | -0.00098383 | 2.266e-06 | -7.238e-07 | 0.0059397 | 0.0059405 | 0.0059405 | 0.984 | -0.30565 | 0.98338 | -0.31777 | 1.632
52 | 0.013013 | 0.0032623 | -0.013011 | -0.0032615 | 1.3856e-06 | 7.7107e-07 | 0.019908 | 0.019908 | 0.019908 | 0.97266 | -0.52703 | 0.97255 | -0.52927 | 5.4692
53 | 0.02455 | 0.0061643 | -0.024539 | -0.0061571 | 1.1747e-05 | 7.2424e-06 | 0.037562 | 0.037563 | 0.037563 | 0.97266 | -0.52703 | 0.97215 | -0.53707 | 10.3194
54 | -0.118 | -0.030045 | 0.11811 | 0.030115 | 0.00011001 | 6.9927e-05 | 0.17746 | 0.17746 | 0.17746 | 0.99035 | -0.18383 | 0.99136 | -0.16452 | 24.3766
55 | 0.063231 | 0.015989 | -0.063167 | -0.015948 | 6.4461e-05 | 4.101e-05 | 0.095056 | 0.095056 | 0.095056 | 0.99035 | -0.18383 | 0.98925 | -0.20511 | 26.1144
56 | 0.0039259 | 0.00098383 | -0.0039257 | -0.00098388 | 1.676e-07 | -5.3404e-08 | 0.0059405 | 0.0059406 | 0.0059406 | 0.98338 | -0.31777 | 0.98334 | -0.31866 | 1.632
57 | 0.0095248 | 0.0023877 | -0.0095225 | -0.0023866 | 2.3453e-06 | 1.1357e-06 | 0.014573 | 0.014574 | 0.014574 | 0.97255 | -0.52927 | 0.97228 | -0.53444 | 4.0037
58 | 0.019966 | 0.0050112 | -0.019958 | -0.005006 | 8.5169e-06 | 5.1495e-06 | 0.030564 | 0.030564 | 0.030564 | 0.97215 | -0.53707 | 0.9717 | -0.54602 | 8.3968
59 | -0.14319 | -0.036401 | 0.1435 | 0.0366 | 0.0003111 | 0.00019818 | 0.21511 | 0.21511 | 0.21511 | 0.99136 | -0.16452 | 0.99371 | -0.11951 | 29.5485
60 | 0.018338 | 0.0046001 | -0.018337 | -0.0045994 | 1.1609e-06 | 6.9438e-07 | 0.028084 | 0.028084 | 0.028084 | 0.9717 | -0.54602 | 0.97163 | -0.54734 | 7.7153
61 | -0.1435 | -0.0366 | 0.1437 | 0.036723 | 0.00019433 | 0.00012379 | 0.21511 | 0.21511 | 0.21511 | 0.99371 | -0.11951 | 0.99518 | -0.091512 | 29.5485
62 | 0.013977 | 0.0035066 | -0.013972 | -0.0035038 | 4.8262e-06 | 2.741e-06 | 0.021406 | 0.021406 | 0.021406 | 0.97163 | -0.54734 | 0.97126 | -0.55459 | 5.8808
63 | 0.013972 | 0.0035038 | -0.013968 | -0.0035018 | 3.4901e-06 | 1.9824e-06 | 0.021406 | 0.021406 | 0.021406 | 0.97126 | -0.55459 | 0.971 | -0.55983 | 5.8808
64 | 0.013017 | 0.0032634 | -0.013015 | -0.0032624 | 1.827e-06 | 1.0179e-06 | 0.019949 | 0.019949 | 0.019949 | 0.971 | -0.55983 | 0.97085 | -0.56278 | 5.4804
65 | 0.011858 | 0.0029723 | -0.011856 | -0.0029714 | 1.6015e-06 | 8.6512e-07 | 0.018174 | 0.018174 | 0.018174 | 0.97085 | -0.56278 | 0.97071 | -0.56561 | 4.9929
66 | -0.16929 | -0.043207 | 0.16957 | 0.043387 | 0.00028169 | 0.00017967 | 0.2531 | 0.2531 | 0.2531 | 0.99636 | -0.069178 | 0.99817 | -0.0348 | 34.7668
67 | 0.010053 | 0.0025196 | -0.010052 | -0.0025193 | 5.7348e-07 | 2.8743e-07 | 0.01541 | 0.01541 | 0.01541 | 0.97071 | -0.56561 | 0.97065 | -0.56681 | 4.2337
68 | 0.0087564 | 0.0021945 | -0.0087559 | -0.0021942 | 5.166e-07 | 2.3614e-07 | 0.013424 | 0.013424 | 0.013424 | 0.97065 | -0.56681 | 0.97058 | -0.56805 | 3.6878
69 | 0.0037513 | 0.00093996 | -0.0037512 | -0.00094001 | 1.4035e-07 | -5.0014e-08 | 0.0057512 | 0.0057512 | 0.0057512 | 0.97058 | -0.56805 | 0.97054 | -0.56883 | 1.58
70 | 0.0017914 | 0.00044884 | -0.0017914 | -0.00044896 | 3.2081e-08 | -1.1961e-07 | 0.0027465 | 0.0027466 | 0.0027466 | 0.97054 | -0.56883 | 0.97053 | -0.56921 | 0.75455
71 | 0.01125 | 0.0028197 | -0.01125 | -0.0028197 | 4.4275e-08 | 2.3092e-08 | 0.016962 | 0.016962 | 0.016962 | 0.98698 | -0.25044 | 0.98697 | -0.25052 | 4.6598
72 | 0.0096172 | 0.0024104 | -0.0096172 | -0.0024104 | 3.47e-08 | 1.6583e-08 | 0.0145 | 0.0145 | 0.0145 | 0.98697 | -0.25052 | 0.98697 | -0.2506 | 3.9834
73 | 0.0081736 | 0.0020486 | -0.008173 | -0.0020483 | 6.86e-07 | 2.8511e-07 | 0.012323 | 0.012323 | 0.012323 | 0.98697 | -0.2506 | 0.98688 | -0.25236 | 3.3855
74 | -0.23908 | -0.060808 | 0.23948 | 0.061065 | 0.00040163 | 0.0002566 | 0.35673 | 0.35673 | 0.35673 | 0.99817 | -0.0348 | 1 | 0 | 49.0008
75 | 0.089004 | 0.022659 | -0.088746 | -0.022494 | 0.00025838 | 0.00016485 | 0.13256 | 0.13256 | 0.13256 | 1 | 0 | 0.99683 | -0.060396 | 36.4189
76 | 0.083448 | 0.021166 | -0.083355 | -0.021107 | 9.2526e-05 | 5.901e-05 | 0.12466 | 0.12466 | 0.12466 | 0.99683 | -0.060396 | 0.99562 | -0.083485 | 34.2462
77 | 0.081575 | 0.020661 | -0.081568 | -0.020657 | 6.8712e-06 | 4.3815e-06 | 0.12199 | 0.12199 | 0.12199 | 0.99562 | -0.083485 | 0.99553 | -0.085239 | 33.515
78 | 0.0024748 | 0.00062013 | -0.0024748 | -0.00062023 | 5.6906e-08 | -1.0191e-07 | 0.0037376 | 0.0037377 | 0.0037377 | 0.98525 | -0.28403 | 0.98523 | -0.28451 | 1.0268
79 | 0.0045923 | 0.0011506 | -0.0045921 | -0.0011506 | 1.4897e-07 | -9.7878e-09 | 0.0069362 | 0.0069363 | 0.0069363 | 0.98515 | -0.28594 | 0.98512 | -0.28662 | 1.9056
80 | 0.0059773 | 0.0014977 | -0.0059767 | -0.0014976 | 5.1174e-07 | 1.1436e-07 | 0.0090282 | 0.0090283 | 0.0090283 | 0.98515 | -0.28594 | 0.98506 | -0.28774 | 2.4803
81 | 0.0045921 | 0.0011506 | -0.0045915 | -0.0011506 | 6.1471e-07 | -4.0297e-08 | 0.0069363 | 0.0069364 | 0.0069364 | 0.98512 | -0.28662 | 0.98498 | -0.28943 | 1.9056
82 | 0.0035999 | 0.00090192 | -0.0035996 | -0.00090207 | 2.9838e-07 | -1.5155e-07 | 0.0054378 | 0.0054379 | 0.0054379 | 0.98506 | -0.28774 | 0.98497 | -0.28948 | 1.4939
83 | 0.0035017 | 0.00087749 | -0.0035017 | -0.0008775 | 2.2262e-08 | -1.2753e-08 | 0.00529 | 0.00529 | 0.00529 | 0.98498 | -0.28943 | 0.98497 | -0.28956 | 1.4533
84 | 0.0016931 | 0.00042427 | -0.0016931 | -0.00042434 | 1.4225e-08 | -6.469e-08 | 0.0025578 | 0.0025579 | 0.0025579 | 0.98497 | -0.28948 | 0.98496 | -0.28965 | 0.70271
85 | 0.0013173 | 0.00033004 | -0.0013173 | -0.00033014 | 1.2985e-08 | -1.0297e-07 | 0.00199 | 0.0019901 | 0.0019901 | 0.98497 | -0.28956 | 0.98496 | -0.28977 | 0.54672

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33014 | 0.083724

## res_load
| p_mw | q_mvar
0 | 0.0023976 | 0.00060089
1 | 0.0023807 | 0.00059667
2 | 0.0023764 | 0.00059559
3 | 0.0023976 | 0.00060091
4 | 0.0014828 | 0.00037163
5 | 0.0016331 | 0.0004093
6 | 0.0012903 | 0.00032339
7 | 0.0017319 | 0.00043406
8 | 0.0019721 | 0.00049426
9 | 0.0011117 | 0.00027863
10 | 0.00053281 | 0.00013353
11 | 0.00043392 | 0.00010875
12 | 0.0017807 | 0.00044629
13 | 0.0017208 | 0.00043126
14 | 0.0017834 | 0.00044695
15 | 0.0014163 | 0.00035496
16 | 0.0018964 | 0.00047528
17 | 0.003406 | 0.00085363
18 | 0.0033408 | 0.00083729
19 | 0.0034048 | 0.00085332
20 | 0.0033501 | 0.00083961
21 | 0.003385 | 0.00084836
22 | 0.007741 | 0.0019401
23 | 0.0035018 | 0.00087763
24 | 0.0058098 | 0.0014561
25 | 0.0017891 | 0.00044839
26 | 0.0016782 | 0.00042059
27 | 0.0040964 | 0.0010267
28 | 0.0039172 | 0.00098174
29 | 0.0044191 | 0.0011075
30 | 0.0034866 | 0.00087383
31 | 0.0045722 | 0.0011459
32 | 0.025085 | 0.0062869
33 | 0.002709 | 0.00067893
34 | 0.0039257 | 0.00098388
35 | 0.0095225 | 0.0023866
36 | 0.0016198 | 0.00040597
37 | 0.049046 | 0.012292
38 | 0.0043604 | 0.0010928
39 | 0.00095116 | 0.00023838
40 | 0.0011576 | 0.00029013
41 | 0.017666 | 0.0044276
42 | 0.001803 | 0.00045188
43 | 0.001296 | 0.00032481
44 | 0.0050046 | 0.0012543
45 | 0.0019598 | 0.00049117
46 | 0.0017914 | 0.00044896
47 | 0.0014828 | 0.00037163
48 | 0.0016331 | 0.0004093
49 | 0.0014435 | 0.00036179
50 | 0.0050604 | 0.0012682
51 | 0.069512 | 0.017421
52 | 0.0052981 | 0.0013278
53 | 0.0017807 | 0.00044629
54 | 0.0016461 | 0.00041256
55 | 0.0016094 | 0.00040334
56 | 0.0024748 | 0.00062023
57 | 0.0023769 | 0.0005957
58 | 0.0010898 | 0.00027313
59 | 0.0019064 | 0.00047779
60 | 0.0016931 | 0.00042434
61 | 0.0021844 | 0.00054746
62 | 0.0013173 | 0.00033014
63 | 0.008173 | 0.0020483

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1