## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_121-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_121-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_121-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_121-14_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_121-14_0_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_121-14_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_121-14_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_121-14_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_121-14_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_121-14_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_121-14_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_121-14_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_121-14_0_3_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_121-14_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_121-14_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_121-14_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_121-14_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_121-14_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_121-14_0_3_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_121-14_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_121-14_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_121-14_0_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_121-14_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_121-14_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_121-14_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_121-14_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_121-14_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_121-14_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_121-14_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_121-14_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_121-14_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_121-14_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_121-14_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_121-14_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_121-14_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_121-14_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_121-14_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_121-14_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_121-14_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_MV_357_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-14_0_3_load_0 | 0 | 0.00070308 | 0.00017621 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-14_0_3_load_2 | 2 | 0.0055816 | 0.0013989 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-14_0_3_load_3 | 3 | 0.0051514 | 0.0012911 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-14_0_3_load_26 | 5 | 0.0024591 | 0.0006163 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-14_0_3_load_4 | 10 | 0.0021347 | 0.000535 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-14_0_3_load_5 | 11 | 0.0036687 | 0.00091947 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-14_0_3_load_6 | 12 | 0.0022069 | 0.0005531 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-14_0_3_load_40 | 13 | 0.0055022 | 0.001379 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-14_0_3_load_22 | 15 | 0.036346 | 0.0091092 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-14_0_3_load_32 | 18 | 0.0060887 | 0.001526 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-14_0_3_load_7 | 19 | 0.0015282 | 0.000383 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-14_0_3_load_8 | 20 | 0.0015792 | 0.00039578 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-14_0_3_load_24 | 21 | 0.0099585 | 0.0024958 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-14_0_3_load_37 | 22 | 0.0047293 | 0.0011853 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-14_0_3_load_25 | 24 | 0.004077 | 0.0010218 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-14_0_3_load_13 | 25 | 0.00070969 | 0.00017786 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-14_0_3_load_14 | 26 | 0.0042965 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-14_0_3_load_17 | 30 | 0.0013064 | 0.00032742 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-14_0_3_load_31 | 32 | 0.0064936 | 0.0016274 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-14_0_3_load_21 | 33 | 0.035423 | 0.0088779 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-14_0_3_load_38 | 34 | 0.0015247 | 0.00038213 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-14_0_3_load_27 | 36 | 0.0060334 | 0.0015121 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-14_0_3_load_35 | 38 | 0.02818 | 0.0070626 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-14_0_3_load_39 | 39 | 0.02351 | 0.0058922 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-14_0_3_line_0 |  | 0 | 1 | 0.10763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-14_0_3_line_1 |  | 1 | 2 | 0.010234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-14_0_3_line_2 |  | 1 | 3 | 0.010931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-14_0_3_line_3 |  | 2 | 4 | 0.021091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_121-14_0_3_line_4 |  | 4 | 5 | 0.025109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-14_0_3_line_5 |  | 4 | 6 | 0.054681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_121-14_0_3_line_6 |  | 5 | 24 | 0.0074505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_121-14_0_3_line_7 |  | 6 | 7 | 0.020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-14_0_3_line_8 |  | 6 | 8 | 0.05089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-14_0_3_line_9 |  | 6 | 9 | 0.02226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_121-14_0_3_line_10 |  | 7 | 22 | 0.01612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_121-14_0_3_line_11 |  | 8 | 21 | 0.027753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_121-14_0_3_line_12 |  | 9 | 19 | 0.02749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-14_0_3_line_13 |  | 10 | 11 | 0.0025079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-14_0_3_line_14 |  | 10 | 12 | 0.014657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_121-14_0_3_line_15 |  | 12 | 13 | 0.05064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_121-14_0_3_line_16 |  | 13 | 17 | 0.14657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-14_0_3_line_17 |  | 14 | 15 | 0.042733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_121-14_0_3_line_18 |  | 14 | 16 | 0.046586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_121-14_0_3_line_19 |  | 15 | 23 | 0.0066269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_121-14_0_3_line_20 |  | 16 | 33 | 0.048165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_121-14_0_3_line_21 |  | 16 | 30 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_121-14_0_3_line_22 |  | 17 | 18 | 0.086803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_121-14_0_3_line_23 |  | 18 | 33 | 0.021052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_121-14_0_3_line_24 |  | 19 | 20 | 0.0066774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_121-14_0_3_line_25 |  | 21 | 23 | 0.024612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-14_0_3_line_26 |  | 25 | 26 | 0.0071335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_121-14_0_3_line_27 |  | 25 | 27 | 0.017796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_121-14_0_3_line_28 |  | 27 | 28 | 0.063132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_121-14_0_3_line_29 |  | 28 | 29 | 0.011271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_121-14_0_3_line_30 |  | 28 | 30 | 0.022183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-14_0_3_line_31 |  | 29 | 31 | 0.026546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_121-14_0_3_line_32 |  | 29 | 32 | 0.0021515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-14_0_3_line_33 |  | 31 | 34 | 0.0095124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-14_0_3_line_34 |  | 32 | 35 | 0.06493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-14_0_3_line_35 |  | 34 | 39 | 0.023195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-14_0_3_line_36 |  | 35 | 37 | 0.005548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_121-14_0_3_line_37 |  | 35 | 36 | 0.040953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_121-14_0_3_line_38 |  | 37 | 38 | 0.049029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-14_0_3_trafo_18 | 0.63 MVA 20/0.4 kV | 40 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2702686.8276 | 1241064.8821 | 2702689.7799 | 1241066.4566 | 2702682.8802 | 1241080.1589 | 2702685.6842 | 1241081.564 | 2702692.0516 | 1241068.9089 | 2702705.0559 | 1241075.2053 | 2702711.4026 | 1241062.8723 | 2702714.4835 | 1241064.4491 | 2702707.5106 | 1241078.0055 | 2702706.0788 | 1241082.0839 | 2702710.9123 | 1241087.6941 | 2702714.5009 | 1241092.2708 | 2702718.3184 | 1241098.219
1 | 2702686.8276 | 1241064.8821 | 2702681.387 | 1241060.6958 | 2702678.7372 | 1241058.6142
2 | 2702686.8276 | 1241064.8821 | 2702681.8466 | 1241065.1628 | 2702677.0877 | 1241061.6041
3 | 2702662.1524 | 1241045.5849 | 2702678.7372 | 1241058.6142
4 | 2702662.1524 | 1241045.5849 | 2702676.2027 | 1241024.7751
5 | 2702626.7964 | 1241039.1019 | 2702628.2746 | 1241032.7781 | 2702633.8366 | 1241022.5219 | 2702662.1524 | 1241045.5849
6 | 2702680.3717 | 1241018.6003 | 2702676.2027 | 1241024.7751
7 | 2702626.7964 | 1241039.1019 | 2702626.0776 | 1241042.1807 | 2702622.3322 | 1241059.3403
8 | 2702626.7964 | 1241039.1019 | 2702628.2746 | 1241032.7781 | 2702633.8366 | 1241022.5219 | 2702644.9717 | 1241000.0527 | 2702648.365 | 1240993.195
9 | 2702626.7964 | 1241039.1019 | 2702622.7789 | 1241038.3318 | 2702620.5905 | 1241051.1705 | 2702619.9619 | 1241054.718 | 2702619.5806 | 1241056.2125
10 | 2702622.3322 | 1241059.3403 | 2702633.3425 | 1241064.6236 | 2702637.0874 | 1241065.7403
11 | 2702648.365 | 1240993.195 | 2702654.2476 | 1240982.3328 | 2702661.3795 | 1240968.6837
12 | 2702619.5806 | 1241056.2125 | 2702617.4812 | 1241053.4185 | 2702616.4547 | 1241048.497 | 2702612.7443 | 1241040.9048 | 2702607.8698 | 1241035.0271 | 2702605.5092 | 1241033.3743
13 | 2702878.3395 | 1240864.0471 | 2702877.0573 | 1240866.2024
14 | 2702878.3395 | 1240864.0471 | 2702885.833 | 1240851.451
15 | 2702885.833 | 1240851.451 | 2702862.1184 | 1240806.7069
16 | 2702733.7937 | 1240735.8859 | 2702862.1184 | 1240806.7069
17 | 2702695.6326 | 1240903.121 | 2702675.8457 | 1240940.9967
18 | 2702695.6326 | 1240903.121 | 2702685.5668 | 1240895.6856 | 2702659.8879 | 1240873.1686
19 | 2702672.7772 | 1240946.8704 | 2702675.8457 | 1240940.9967
20 | 2702659.8879 | 1240873.1686 | 2702682.3259 | 1240830.5491
21 | 2702659.8879 | 1240873.1686 | 2702643.8572 | 1240858.9759
22 | 2702733.7937 | 1240735.8859 | 2702728.3438 | 1240743.1416 | 2702692.1334 | 1240811.9206
23 | 2702682.3259 | 1240830.5491 | 2702692.1334 | 1240811.9206
24 | 2702605.5092 | 1241033.3743 | 2702600.0394 | 1241029.5443
25 | 2702672.7772 | 1240946.8704 | 2702661.3795 | 1240968.6837
26 | 2702611.7006 | 1240907.6625 | 2702606.447 | 1240902.8368
27 | 2702593.341 | 1240890.7984 | 2702606.447 | 1240902.8368
28 | 2702627.2479 | 1240844.2709 | 2702588.9189 | 1240886.7411 | 2702593.341 | 1240890.7984
29 | 2702627.2479 | 1240844.2709 | 2702618.8553 | 1240836.72
30 | 2702627.2479 | 1240844.2709 | 2702643.8572 | 1240858.9759
31 | 2702596.697 | 1240843.242 | 2702610.9002 | 1240845.8451 | 2702618.8553 | 1240836.72
32 | 2702618.8553 | 1240836.72 | 2702617.2262 | 1240835.3146
33 | 2702596.697 | 1240843.242 | 2702589.5834 | 1240836.9268
34 | 2702569.9726 | 1240791.0512 | 2702579.317 | 1240802.6104 | 2702617.2262 | 1240835.3146
35 | 2702571.9821 | 1240845.8503 | 2702582.6111 | 1240834.7254 | 2702587.1034 | 1240834.7252 | 2702589.5834 | 1240836.9268
36 | 2702569.9726 | 1240791.0512 | 2702574.4759 | 1240787.7932
37 | 2702569.9726 | 1240791.0512 | 2702536.8389 | 1240815.1193
38 | 2702574.4759 | 1240787.7932 | 2702546.5748 | 1240747.4775

## bus_geodata
| x | y | coords
0 | 2702718.3184 | 1241098.219
1 | 2702686.8276 | 1241064.8821
2 | 2702678.7372 | 1241058.6141
3 | 2702677.0877 | 1241061.6041
4 | 2702662.1524 | 1241045.5849
5 | 2702676.2027 | 1241024.7751
6 | 2702626.7964 | 1241039.1019
7 | 2702622.3322 | 1241059.3403
8 | 2702648.365 | 1240993.195
9 | 2702619.5806 | 1241056.2125
10 | 2702878.3395 | 1240864.0471
11 | 2702877.0573 | 1240866.2024
12 | 2702885.833 | 1240851.451
13 | 2702862.1184 | 1240806.7069
14 | 2702695.6326 | 1240903.121
15 | 2702675.8457 | 1240940.9967
16 | 2702659.8879 | 1240873.1686
17 | 2702733.7937 | 1240735.8859
18 | 2702692.1334 | 1240811.9207
19 | 2702605.5092 | 1241033.3743
20 | 2702600.0394 | 1241029.5443
21 | 2702661.3795 | 1240968.6837
22 | 2702637.0874 | 1241065.7403
23 | 2702672.7772 | 1240946.8704
24 | 2702680.3717 | 1241018.6003
25 | 2702606.447 | 1240902.8368
26 | 2702611.7006 | 1240907.6625
27 | 2702593.341 | 1240890.7984
28 | 2702627.2479 | 1240844.2709
29 | 2702618.8553 | 1240836.72
30 | 2702643.8572 | 1240858.9759
31 | 2702596.697 | 1240843.242
32 | 2702617.2262 | 1240835.3146
33 | 2702682.3259 | 1240830.5491
34 | 2702589.5834 | 1240836.9268
35 | 2702569.9726 | 1240791.0512
36 | 2702536.8389 | 1240815.1193
37 | 2702574.4759 | 1240787.7932
38 | 2702546.5748 | 1240747.4775
39 | 2702571.9821 | 1240845.8503
40 | 2702627.2479 | 1240844.2709

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98999 | -0.1928 | 0.00070308 | 0.00017621
1 | 0.99006 | -0.19145 | 0 | 0
2 | 0.99011 | -0.19039 | 0.0055816 | 0.0013989
3 | 0.99001 | -0.19245 | 0.0051514 | 0.0012911
4 | 0.99033 | -0.1861 | 0 | 0
5 | 0.99018 | -0.18901 | 0.0024591 | 0.0006163
6 | 0.99123 | -0.16864 | 0 | 0
7 | 0.99114 | -0.17038 | 0 | 0
8 | 0.99244 | -0.14536 | 0 | 0
9 | 0.99117 | -0.16987 | 0 | 0
10 | 0.99389 | -0.11766 | 0.0021347 | 0.000535
11 | 0.99388 | -0.11782 | 0.0036687 | 0.00091947
12 | 0.99397 | -0.11616 | 0.0022069 | 0.0005531
13 | 0.99434 | -0.109 | 0.0055022 | 0.001379
14 | 0.99693 | -0.058748 | 0 | 0
15 | 0.99411 | -0.11295 | 0.036346 | 0.0091092
16 | 1 | 0 | -0.20186 | -0.050559
17 | 0.99614 | -0.07414 | 0 | 0
18 | 0.99721 | -0.053547 | 0.0060887 | 0.001526
19 | 0.99109 | -0.17139 | 0.0015282 | 0.000383
20 | 0.99108 | -0.17157 | 0.0015792 | 0.00039578
21 | 0.99309 | -0.13269 | 0.0099585 | 0.0024958
22 | 0.99108 | -0.17173 | 0.0047293 | 0.0011853
23 | 0.9939 | -0.11714 | 0 | 0
24 | 0.99016 | -0.18955 | 0.004077 | 0.0010218
25 | 0.99679 | -0.061513 | 0.00070969 | 0.00017786
26 | 0.99677 | -0.06205 | 0.0042965 | 0.0010768
27 | 0.99687 | -0.05995 | 0 | 0
28 | 0.99716 | -0.054406 | 0 | 0
29 | 0.99649 | -0.067405 | 0 | 0
30 | 0.99859 | -0.026931 | 0.0013064 | 0.00032742
31 | 0.99588 | -0.079078 | 0 | 0
32 | 0.99641 | -0.068943 | 0.0064936 | 0.0016274
33 | 0.99759 | -0.046314 | 0.035423 | 0.0088779
34 | 0.99566 | -0.083264 | 0.0015247 | 0.00038213
35 | 0.99438 | -0.10803 | 0 | 0
36 | 0.99415 | -0.11238 | 0.0060334 | 0.0015121
37 | 0.99424 | -0.11078 | 0 | 0
38 | 0.99297 | -0.13518 | 0.02818 | 0.0070626
39 | 0.99517 | -0.092856 | 0.02351 | 0.0058922
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00070308 | -0.00017621 | 0.00070312 | 0.00017485 | 4.5051e-08 | -1.3551e-06 | 0.0010568 | 0.0010563 | 0.0010568 | 0.98999 | -0.1928 | 0.99006 | -0.19145 | 0.29032
1 | -0.0058548 | -0.0014659 | 0.0058551 | 0.001466 | 2.9713e-07 | 5.8547e-08 | 0.0087989 | 0.0087989 | 0.0087989 | 0.99006 | -0.19145 | 0.99011 | -0.19039 | 2.4173
2 | 0.0051516 | 0.0012911 | -0.0051514 | -0.0012911 | 2.4574e-07 | 1.6711e-08 | 0.0077427 | 0.0077427 | 0.0077427 | 0.99006 | -0.19145 | 0.99001 | -0.19245 | 2.1271
3 | -0.011437 | -0.0028649 | 0.011439 | 0.0028661 | 2.3363e-06 | 1.2239e-06 | 0.017187 | 0.017187 | 0.017187 | 0.99011 | -0.19039 | 0.99033 | -0.1861 | 4.7218
4 | 0.0065371 | 0.0016383 | -0.0065362 | -0.0016381 | 9.0841e-07 | 2.5836e-07 | 0.0098222 | 0.0098223 | 0.0098223 | 0.99033 | -0.1861 | 0.99018 | -0.18901 | 2.6984
5 | -0.017976 | -0.0045044 | 0.017991 | 0.0045133 | 1.4959e-05 | 8.8694e-06 | 0.027009 | 0.027009 | 0.027009 | 0.99033 | -0.1861 | 0.99123 | -0.16864 | 7.4202
6 | 0.0040771 | 0.0010218 | -0.004077 | -0.0010218 | 1.0488e-07 | -2.8708e-08 | 0.0061269 | 0.006127 | 0.006127 | 0.99018 | -0.18901 | 0.99016 | -0.18955 | 1.6832
7 | 0.00473 | 0.0011852 | -0.0047296 | -0.0011853 | 3.9185e-07 | -1.6353e-08 | 0.0071005 | 0.0071005 | 0.0071005 | 0.99123 | -0.16864 | 0.99114 | -0.17038 | 1.9507
8 | -0.025829 | -0.0064768 | 0.025857 | 0.0064945 | 2.8692e-05 | 1.7706e-05 | 0.038775 | 0.038775 | 0.038775 | 0.99123 | -0.16864 | 0.99244 | -0.14536 | 10.6524
9 | 0.0031078 | 0.00077832 | -0.0031076 | -0.00077849 | 1.8167e-07 | -1.7064e-07 | 0.0046651 | 0.0046652 | 0.0046652 | 0.99123 | -0.16864 | 0.99117 | -0.16987 | 1.2817
10 | 0.0047296 | 0.0011853 | -0.0047293 | -0.0011853 | 3.0478e-07 | -1.2681e-08 | 0.0071005 | 0.0071006 | 0.0071006 | 0.99114 | -0.17038 | 0.99108 | -0.17173 | 1.9507
11 | -0.025857 | -0.0064945 | 0.025873 | 0.0065042 | 1.5647e-05 | 9.6552e-06 | 0.038775 | 0.038774 | 0.038775 | 0.99244 | -0.14536 | 0.99309 | -0.13269 | 10.6523
12 | 0.0031076 | 0.00077849 | -0.0031074 | -0.0007787 | 2.2437e-07 | -2.1069e-07 | 0.0046652 | 0.0046654 | 0.0046654 | 0.99117 | -0.16987 | 0.99109 | -0.17139 | 1.2817
13 | 0.0036687 | 0.00091945 | -0.0036687 | -0.00091947 | 2.8374e-08 | -1.4342e-08 | 0.0054927 | 0.0054927 | 0.0054927 | 0.99389 | -0.11766 | 0.99388 | -0.11782 | 1.509
14 | -0.0058034 | -0.0014544 | 0.0058038 | 0.0014545 | 4.1492e-07 | 7.5593e-08 | 0.0086887 | 0.0086886 | 0.0086887 | 0.99389 | -0.11766 | 0.99397 | -0.11616 | 2.387
15 | -0.0080107 | -0.0020076 | 0.0080134 | 0.0020087 | 2.731e-06 | 1.0913e-06 | 0.011992 | 0.011992 | 0.011992 | 0.99397 | -0.11616 | 0.99434 | -0.109 | 3.2946
16 | -0.013516 | -0.0033877 | 0.013538 | 0.0034002 | 2.2485e-05 | 1.2486e-05 | 0.020226 | 0.020226 | 0.020226 | 0.99434 | -0.109 | 0.99614 | -0.07414 | 5.5566
17 | 0.072399 | 0.01825 | -0.072212 | -0.01813 | 0.00018726 | 0.00011929 | 0.1081 | 0.1081 | 0.1081 | 0.99693 | -0.058748 | 0.99411 | -0.11295 | 29.6977
18 | -0.072399 | -0.01825 | 0.072603 | 0.01838 | 0.00020414 | 0.00013004 | 0.1081 | 0.1081 | 0.1081 | 0.99693 | -0.058748 | 1 | 0 | 29.6976
19 | 0.035865 | 0.0090212 | -0.035858 | -0.0090167 | 7.1651e-06 | 4.4998e-06 | 0.053696 | 0.053696 | 0.053696 | 0.99411 | -0.11295 | 0.9939 | -0.11714 | 14.7516
20 | 0.055192 | 0.013893 | -0.05507 | -0.013816 | 0.00012189 | 7.7377e-05 | 0.082148 | 0.082148 | 0.082148 | 1 | 0 | 0.99759 | -0.046314 | 22.5682
21 | 0.072418 | 0.018287 | -0.072325 | -0.018227 | 9.3317e-05 | 5.9442e-05 | 0.10781 | 0.10781 | 0.10781 | 1 | 0 | 0.99859 | -0.026931 | 29.6175
22 | -0.013538 | -0.0034002 | 0.013551 | 0.0034076 | 1.3315e-05 | 7.3907e-06 | 0.020226 | 0.020225 | 0.020226 | 0.99614 | -0.07414 | 0.99721 | -0.053547 | 5.5565
23 | -0.01964 | -0.0049336 | 0.019647 | 0.0049376 | 6.7824e-06 | 4.0659e-06 | 0.029311 | 0.02931 | 0.029311 | 0.99721 | -0.053547 | 0.99759 | -0.046314 | 8.0523
24 | 0.0015792 | 0.0003957 | -0.0015792 | -0.00039578 | 1.4076e-08 | -7.7039e-08 | 0.002371 | 0.002371 | 0.002371 | 0.99109 | -0.17139 | 0.99108 | -0.17157 | 0.65137
25 | -0.035832 | -0.009 | 0.035858 | 0.0090167 | 2.661e-05 | 1.6712e-05 | 0.053696 | 0.053696 | 0.053696 | 0.99309 | -0.13269 | 0.9939 | -0.11714 | 14.7516
26 | 0.0042966 | 0.0010768 | -0.0042965 | -0.0010768 | 1.1005e-07 | -2.2554e-08 | 0.0064139 | 0.006414 | 0.006414 | 0.99679 | -0.061513 | 0.99677 | -0.06205 | 1.7621
27 | -0.0050063 | -0.0012546 | 0.0050066 | 0.0012546 | 3.7271e-07 | 6.5446e-09 | 0.0074734 | 0.0074733 | 0.0074734 | 0.99679 | -0.061513 | 0.99687 | -0.05995 | 2.0531
28 | -0.0050066 | -0.0012546 | 0.005008 | 0.0012547 | 1.3222e-06 | 2.2871e-08 | 0.0074733 | 0.007473 | 0.0074733 | 0.99687 | -0.05995 | 0.99716 | -0.054406 | 2.0531
29 | 0.065917 | 0.016586 | -0.065876 | -0.01656 | 4.0915e-05 | 2.6039e-05 | 0.098388 | 0.098388 | 0.098388 | 0.99716 | -0.054406 | 0.99649 | -0.067405 | 27.0297
30 | -0.070925 | -0.01784 | 0.071018 | 0.0179 | 9.3225e-05 | 5.9374e-05 | 0.10586 | 0.10586 | 0.10586 | 0.99716 | -0.054406 | 0.99859 | -0.026931 | 29.0827
31 | 0.025065 | 0.0062926 | -0.025051 | -0.006284 | 1.3948e-05 | 8.581e-06 | 0.037432 | 0.037432 | 0.037432 | 0.99649 | -0.067405 | 0.99588 | -0.079078 | 10.2835
32 | 0.040812 | 0.010267 | -0.040809 | -0.010265 | 2.9979e-06 | 1.8906e-06 | 0.060956 | 0.060956 | 0.060956 | 0.99649 | -0.067405 | 0.99641 | -0.068943 | 16.7463
33 | 0.025051 | 0.006284 | -0.025046 | -0.0062809 | 4.9981e-06 | 3.0751e-06 | 0.037432 | 0.037432 | 0.037432 | 0.99588 | -0.079078 | 0.99566 | -0.083264 | 10.2835
34 | 0.034315 | 0.0086377 | -0.034251 | -0.0085976 | 6.3977e-05 | 4.0101e-05 | 0.051259 | 0.051259 | 0.051259 | 0.99641 | -0.068943 | 0.99438 | -0.10803 | 14.0822
35 | 0.023521 | 0.0058988 | -0.02351 | -0.0058922 | 1.0749e-05 | 6.5777e-06 | 0.035153 | 0.035153 | 0.035153 | 0.99566 | -0.083264 | 0.99517 | -0.092856 | 9.6575
36 | 0.028217 | 0.0070852 | -0.028213 | -0.0070829 | 3.7101e-06 | 2.3025e-06 | 0.042229 | 0.042229 | 0.042229 | 0.99438 | -0.10803 | 0.99424 | -0.11078 | 11.6013
37 | 0.0060347 | 0.0015124 | -0.0060334 | -0.0015121 | 1.2524e-06 | 2.7041e-07 | 0.0090305 | 0.0090307 | 0.0090307 | 0.99438 | -0.10803 | 0.99415 | -0.11238 | 2.481
38 | 0.028213 | 0.0070829 | -0.02818 | -0.0070626 | 3.2787e-05 | 2.0349e-05 | 0.042229 | 0.042229 | 0.042229 | 0.99424 | -0.11078 | 0.99297 | -0.13518 | 11.6014

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20186 | 0.050559

## res_load
| p_mw | q_mvar
0 | 0.00070308 | 0.00017621
1 | 0.0055816 | 0.0013989
2 | 0.0051514 | 0.0012911
3 | 0.0024591 | 0.0006163
4 | 0.0021347 | 0.000535
5 | 0.0036687 | 0.00091947
6 | 0.0022069 | 0.0005531
7 | 0.0055022 | 0.001379
8 | 0.036346 | 0.0091092
9 | 0.0060887 | 0.001526
10 | 0.0015282 | 0.000383
11 | 0.0015792 | 0.00039578
12 | 0.0099585 | 0.0024958
13 | 0.0047293 | 0.0011853
14 | 0.004077 | 0.0010218
15 | 0.00070969 | 0.00017786
16 | 0.0042965 | 0.0010768
17 | 0.0013064 | 0.00032742
18 | 0.0064936 | 0.0016274
19 | 0.035423 | 0.0088779
20 | 0.0015247 | 0.00038213
21 | 0.0060334 | 0.0015121
22 | 0.02818 | 0.0070626
23 | 0.02351 | 0.0058922

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1