## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_121-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_121-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_121-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_121-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_121-19_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_121-19_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_121-19_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_121-19_0_3_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_121-19_0_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_121-19_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_121-19_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_121-19_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_121-19_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_121-19_0_3_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_121-19_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_121-19_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_121-19_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_121-19_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_121-19_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_121-19_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_121-19_0_3_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_121-19_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_121-19_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_121-19_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_121-19_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_121-19_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_121-19_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_121-19_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_121-19_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_121-19_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_121-19_0_3_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_121-19_0_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_121-19_0_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_121-19_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_121-19_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_121-19_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_121-19_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_121-19_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_121-19_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_121-19_0_3_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_121-19_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_121-19_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_121-19_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_121-19_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_121-19_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_121-19_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_121-19_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_121-19_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_121-19_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_121-19_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_121-19_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_121-19_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_121-19_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_121-19_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_121-19_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_121-19_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_121-19_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_121-19_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_121-19_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_MV_6_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-19_0_3_load_0 | 0 | 0.010016 | 0.0025103 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-19_0_3_load_1 | 1 | 0.011972 | 0.0030004 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-19_0_3_load_3 | 3 | 0.0027181 | 0.00068122 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-19_0_3_load_15 | 6 | 0.040508 | 0.010152 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-19_0_3_load_41 | 8 | 0.00074262 | 0.00018612 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-19_0_3_load_37 | 9 | 0.00043855 | 0.00010991 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-19_0_3_load_35 | 10 | 0.0010512 | 0.00026346 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-19_0_3_load_16 | 11 | 0.070931 | 0.017777 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-19_0_3_load_6 | 12 | 0.018064 | 0.0045272 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-19_0_3_load_42 | 17 | 0.0086261 | 0.0021619 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-19_0_3_load_12 | 18 | 0.015053 | 0.0037726 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-19_0_3_load_53 | 21 | 0.018636 | 0.0046706 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-19_0_3_load_31 | 22 | 0.015048 | 0.0037715 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-19_0_3_load_30 | 23 | 0.002038 | 0.00051077 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-19_0_3_load_17 | 24 | 0.0013905 | 0.0003485 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-19_0_3_load_18 | 25 | 0.0014891 | 0.00037319 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-19_0_3_load_19 | 26 | 0.0035578 | 0.00089167 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-19_0_3_load_62 | 31 | 0.0065224 | 0.0016347 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-19_0_3_load_54 | 33 | 0.022356 | 0.0056031 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-19_0_3_load_25 | 34 | 0.061026 | 0.015295 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-19_0_3_load_21 | 35 | 0.0017581 | 0.00044061 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-19_0_3_load_22 | 36 | 0.0006728 | 0.00016862 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-19_0_3_load_24 | 37 | 0.0011009 | 0.0002759 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-19_0_3_load_28 | 38 | 0.0020626 | 0.00051693 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-19_0_3_load_60 | 40 | 0.006714 | 0.0016827 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-19_0_3_load_32 | 42 | 0.0054942 | 0.001377 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-19_0_3_load_33 | 43 | 0.0038044 | 0.00095347 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-19_0_3_load_34 | 44 | 0.0011153 | 0.00027951 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-19_0_3_load_40 | 46 | 0.0014092 | 0.00035317 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-19_0_3_load_39 | 47 | 0.010432 | 0.0026146 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-19_0_3_load_43 | 48 | 0.00097628 | 0.00024468 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-19_0_3_load_46 | 51 | 0.0009096 | 0.00022797 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-19_0_3_load_47 | 52 | 0.0011843 | 0.00029681 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_121-19_0_3_load_48 | 53 | 0.0032273 | 0.00080885 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_121-19_0_3_load_50 | 54 | 0.0011858 | 0.00029719 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_121-19_0_3_load_55 | 56 | 0.029321 | 0.0073486 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_121-19_0_3_load_57 | 58 | 0.0013523 | 0.00033892 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_121-19_0_3_load_59 | 59 | 0.0018396 | 0.00046105 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-19_0_3_line_0 |  | 0 | 1 | 0.0073486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-19_0_3_line_1 |  | 0 | 2 | 0.036307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-19_0_3_line_2 |  | 1 | 3 | 0.069281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-19_0_3_line_3 |  | 2 | 4 | 0.004687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_121-19_0_3_line_4 |  | 2 | 5 | 0.058085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-19_0_3_line_5 |  | 3 | 6 | 0.028959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_121-19_0_3_line_6 |  | 4 | 7 | 0.015624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_121-19_0_3_line_7 |  | 4 | 8 | 0.035156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-19_0_3_line_8 |  | 5 | 9 | 0.001421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-19_0_3_line_9 |  | 5 | 10 | 0.0083392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_121-19_0_3_line_10 |  | 6 | 11 | 0.038924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_121-19_0_3_line_11 |  | 7 | 12 | 0.013538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_121-19_0_3_line_12 |  | 8 | 13 | 0.017847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-19_0_3_line_13 |  | 10 | 14 | 0.074837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-19_0_3_line_14 |  | 11 | 22 | 0.0071024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_121-19_0_3_line_15 |  | 13 | 17 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_121-19_0_3_line_16 |  | 14 | 45 | 0.053306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-19_0_3_line_17 |  | 15 | 16 | 0.013099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_121-19_0_3_line_18 |  | 15 | 17 | 0.0019718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_121-19_0_3_line_19 |  | 16 | 18 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_121-19_0_3_line_20 |  | 18 | 19 | 0.17122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_121-19_0_3_line_21 |  | 19 | 20 | 0.007369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_121-19_0_3_line_22 |  | 20 | 21 | 0.070755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_121-19_0_3_line_23 |  | 22 | 23 | 0.022183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_121-19_0_3_line_24 |  | 23 | 39 | 0.037726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_121-19_0_3_line_25 |  | 24 | 25 | 0.014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-19_0_3_line_26 |  | 24 | 26 | 0.088502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_121-19_0_3_line_27 |  | 25 | 27 | 0.037586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_121-19_0_3_line_28 |  | 27 | 28 | 0.023333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_121-19_0_3_line_29 |  | 27 | 29 | 0.068882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_121-19_0_3_line_30 |  | 28 | 33 | 0.028238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-19_0_3_line_31 |  | 28 | 30 | 0.030396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_121-19_0_3_line_32 |  | 29 | 34 | 0.016486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-19_0_3_line_33 |  | 29 | 35 | 0.0038028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_121-19_0_3_line_34 |  | 30 | 31 | 0.025987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-19_0_3_line_35 |  | 30 | 32 | 0.021613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_121-19_0_3_line_36 |  | 32 | 40 | 0.025585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_121-19_0_3_line_37 |  | 32 | 41 | 0.015879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_121-19_0_3_line_38 |  | 35 | 36 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_121-19_0_3_line_39 |  | 36 | 37 | 0.029406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_121-19_0_3_line_40 |  | 37 | 38 | 0.02542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_121-19_0_3_line_41 |  | 38 | 39 | 0.034421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_121-19_0_3_line_42 |  | 40 | 59 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_121-19_0_3_line_43 |  | 41 | 53 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_121-19_0_3_line_44 |  | 42 | 43 | 0.01158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_121-19_0_3_line_45 |  | 43 | 44 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_121-19_0_3_line_46 |  | 44 | 45 | 0.0067317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_121-19_0_3_line_47 |  | 45 | 46 | 0.00784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_121-19_0_3_line_48 |  | 46 | 47 | 0.023596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_121-19_0_3_line_49 |  | 48 | 49 | 0.0056135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_121-19_0_3_line_50 |  | 48 | 50 | 0.027174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_121-19_0_3_line_51 |  | 49 | 51 | 0.02363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_121-19_0_3_line_52 |  | 50 | 52 | 0.028572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_121-19_0_3_line_53 |  | 50 | 53 | 0.0071928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_121-19_0_3_line_54 |  | 51 | 54 | 0.019829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_121-19_0_3_line_55 |  | 54 | 55 | 0.044567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_121-19_0_3_line_56 |  | 55 | 58 | 0.037123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_121-19_0_3_line_57 |  | 56 | 57 | 0.055911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_121-19_0_3_line_58 |  | 57 | 58 | 0.0055289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-19_0_3_trafo_3 | 0.63 MVA 20/0.4 kV | 60 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2703048.045 | 1243536.1706 | 2703049.3465 | 1243533.2306 | 2703050.79 | 1243529.3574
1 | 2703031.1773 | 1243568.2646 | 2703042.4539 | 1243548.8008 | 2703048.045 | 1243536.1706
2 | 2703050.79 | 1243529.3574 | 2703063.7538 | 1243494.573 | 2703074.3016 | 1243464.1927
3 | 2703035.2879 | 1243570.5377 | 2703031.1773 | 1243568.2646
4 | 2702997.6283 | 1243615.7413 | 2703031.1773 | 1243568.2646
5 | 2703083.8069 | 1243436.8384 | 2703083.6246 | 1243437.3403 | 2703074.3016 | 1243464.1927
6 | 2703050.9409 | 1243569.7978 | 2703035.2879 | 1243570.5377
7 | 2703035.2879 | 1243570.5377 | 2703034.5561 | 1243605.6857
8 | 2702997.6283 | 1243615.7413 | 2702998.6694 | 1243616.7084
9 | 2702997.6283 | 1243615.7413 | 2702991.3583 | 1243610.2432
10 | 2703097.091 | 1243400.2515 | 2703083.8069 | 1243436.8384
11 | 2703050.9409 | 1243569.7978 | 2703064.4472 | 1243568.8741
12 | 2703052.4034 | 1243605.6956 | 2703034.5561 | 1243605.6857
13 | 2702935.0902 | 1243560.9024 | 2702991.3583 | 1243610.2432
14 | 2703099.5149 | 1243393.5756 | 2703097.091 | 1243400.2515
15 | 2703052.4034 | 1243605.6956 | 2703067.0769 | 1243605.7056
16 | 2702935.0902 | 1243560.9024 | 2702901.6965 | 1243602.5222
17 | 2703082.1866 | 1243605.7129 | 2703069.0487 | 1243605.7069
18 | 2703069.0487 | 1243605.7069 | 2703067.0769 | 1243605.7056
19 | 2703082.1866 | 1243605.7129 | 2703082.4049 | 1243608.808 | 2703089.5154 | 1243611.1445 | 2703094.8932 | 1243611.8273 | 2703100.5288 | 1243611.9789
20 | 2703100.5288 | 1243611.9789 | 2703171.4452 | 1243767.8237
21 | 2703171.4452 | 1243767.8237 | 2703175.7632 | 1243773.8034
22 | 2703175.7632 | 1243773.8034 | 2703178.6033 | 1243777.8337 | 2703182.8308 | 1243783.3671 | 2703184.5178 | 1243786.7658 | 2703184.1795 | 1243790.1292 | 2703181.0721 | 1243792.7772 | 2703167.9802 | 1243801.4452 | 2703160.6025 | 1243808.4001 | 2703151.6754 | 1243818.8197 | 2703147.3978 | 1243825.63
23 | 2703106.9462 | 1243372.6751 | 2703102.1083 | 1243386.433 | 2703099.5149 | 1243393.5756
24 | 2703119.4614 | 1243337.085 | 2703106.9462 | 1243372.6751
25 | 2703244.6164 | 1243360.5729 | 2703245.1387 | 1243361.0445 | 2703257.1707 | 1243367.2427
26 | 2703191.837 | 1243291.9192 | 2703202.0125 | 1243297.5561 | 2703229.5093 | 1243346.9283 | 2703244.6164 | 1243360.5729
27 | 2703286.0881 | 1243389.3013 | 2703279.656 | 1243378.8257 | 2703257.1707 | 1243367.2427
28 | 2703286.0881 | 1243389.3013 | 2703292.4409 | 1243388.7114 | 2703298.4194 | 1243387.4701 | 2703303.4148 | 1243397.0979
29 | 2703286.0881 | 1243389.3013 | 2703278.7264 | 1243389.2287 | 2703271.4365 | 1243388.5013 | 2703255.8109 | 1243385.4603 | 2703219.56 | 1243372.5974
30 | 2703303.4148 | 1243397.0979 | 2703299.8033 | 1243405.6639 | 2703302.5615 | 1243424.404
31 | 2703316.5938 | 1243380.4588 | 2703311.1696 | 1243383.2888 | 2703307.8956 | 1243384.6329 | 2703298.4194 | 1243387.4701 | 2703303.4148 | 1243397.0979
32 | 2703219.56 | 1243372.5974 | 2703214.3588 | 1243388.2413
33 | 2703219.56 | 1243372.5974 | 2703215.976 | 1243371.3259
34 | 2703304.4491 | 1243357.6964 | 2703308.1053 | 1243361.7521 | 2703316.5938 | 1243380.4588
35 | 2703332.3286 | 1243366.8222 | 2703332.0604 | 1243368.3298 | 2703331.4825 | 1243369.8209 | 2703330.5885 | 1243371.2398 | 2703329.3942 | 1243372.5311 | 2703324.6093 | 1243375.9838 | 2703316.5938 | 1243380.4588
36 | 2703332.3286 | 1243366.8222 | 2703332.5793 | 1243364.5804 | 2703332.4619 | 1243362.6435 | 2703332.077 | 1243360.8687 | 2703331.4261 | 1243359.1783 | 2703323.4503 | 1243343.3083
37 | 2703332.3286 | 1243366.8222 | 2703345.5238 | 1243375.7145
38 | 2703203.5719 | 1243366.9253 | 2703215.976 | 1243371.3259
39 | 2703203.5719 | 1243366.9253 | 2703175.8581 | 1243357.0931
40 | 2703175.8581 | 1243357.0931 | 2703151.9015 | 1243348.5939
41 | 2703119.4614 | 1243337.085 | 2703151.9015 | 1243348.5939
42 | 2703315.5901 | 1243327.6683 | 2703323.4503 | 1243343.3083
43 | 2703345.5238 | 1243375.7145 | 2703351.2605 | 1243384.6887
44 | 2702874.3162 | 1243581.2142 | 2702883.4546 | 1243588.326
45 | 2702883.4546 | 1243588.326 | 2702896.3839 | 1243598.3878
46 | 2702901.6965 | 1243602.5222 | 2702896.3839 | 1243598.3878
47 | 2702901.6965 | 1243602.5222 | 2702907.7648 | 1243607.4862
48 | 2702926.0286 | 1243622.4263 | 2702907.7648 | 1243607.4862
49 | 2703372.7882 | 1243418.3781 | 2703369.7658 | 1243413.6478
50 | 2703355.1345 | 1243390.7491 | 2703369.7658 | 1243413.6478
51 | 2703372.7882 | 1243418.3781 | 2703371.9485 | 1243441.9934
52 | 2703355.1345 | 1243390.7491 | 2703363.3072 | 1243390.2689 | 2703383.2454 | 1243394.5137
53 | 2703355.1345 | 1243390.7491 | 2703351.2605 | 1243384.6887
54 | 2703371.9485 | 1243441.9934 | 2703371.7055 | 1243448.8274 | 2703368.3174 | 1243459.7547 | 2703367.7254 | 1243461.1879
55 | 2703367.7254 | 1243461.1879 | 2703341.0607 | 1243496.8977
56 | 2703341.0607 | 1243496.8977 | 2703337.9239 | 1243502.0804 | 2703335.8521 | 1243504.2794 | 2703333.8745 | 1243506.2799 | 2703330.1196 | 1243507.4598 | 2703324.1035 | 1243507.822 | 2703308.8644 | 1243508.7565
57 | 2703303.3459 | 1243509.0949 | 2703304.9943 | 1243556.3604 | 2703305.1197 | 1243564.9768
58 | 2703303.3459 | 1243509.0949 | 2703308.8644 | 1243508.7565

## bus_geodata
| x | y | coords
0 | 2703048.045 | 1243536.1706
1 | 2703050.79 | 1243529.3574
2 | 2703031.1773 | 1243568.2646
3 | 2703074.3016 | 1243464.1927
4 | 2703035.2879 | 1243570.5377
5 | 2702997.6283 | 1243615.7413
6 | 2703083.8069 | 1243436.8384
7 | 2703050.9409 | 1243569.7978
8 | 2703034.5561 | 1243605.6857
9 | 2702998.6694 | 1243616.7084
10 | 2702991.3583 | 1243610.2432
11 | 2703097.091 | 1243400.2515
12 | 2703064.4472 | 1243568.8741
13 | 2703052.4034 | 1243605.6956
14 | 2702935.0902 | 1243560.9024
15 | 2703069.0487 | 1243605.7069
16 | 2703082.1866 | 1243605.7129
17 | 2703067.0769 | 1243605.7056
18 | 2703100.5288 | 1243611.9789
19 | 2703171.4452 | 1243767.8237
20 | 2703175.7632 | 1243773.8034
21 | 2703147.3978 | 1243825.63
22 | 2703099.5149 | 1243393.5756
23 | 2703106.9462 | 1243372.6751
24 | 2703244.6164 | 1243360.5729
25 | 2703257.1707 | 1243367.2427
26 | 2703191.837 | 1243291.9192
27 | 2703286.0881 | 1243389.3013
28 | 2703303.4148 | 1243397.0979
29 | 2703219.56 | 1243372.5974
30 | 2703316.5938 | 1243380.4588
31 | 2703304.4491 | 1243357.6964
32 | 2703332.3286 | 1243366.8222
33 | 2703302.5615 | 1243424.404
34 | 2703214.3588 | 1243388.2413
35 | 2703215.976 | 1243371.3259
36 | 2703203.5719 | 1243366.9253
37 | 2703175.8581 | 1243357.0931
38 | 2703151.9015 | 1243348.5939
39 | 2703119.4614 | 1243337.085
40 | 2703323.4503 | 1243343.3083
41 | 2703345.5238 | 1243375.7145
42 | 2702874.3162 | 1243581.2142
43 | 2702883.4546 | 1243588.326
44 | 2702896.3839 | 1243598.3878
45 | 2702901.6965 | 1243602.5222
46 | 2702907.7648 | 1243607.4862
47 | 2702926.0286 | 1243622.4263
48 | 2703369.7658 | 1243413.6478
49 | 2703372.7882 | 1243418.3781
50 | 2703355.1345 | 1243390.7491
51 | 2703371.9485 | 1243441.9934
52 | 2703383.2454 | 1243394.5137
53 | 2703351.2605 | 1243384.6887
54 | 2703367.7254 | 1243461.1879
55 | 2703341.0607 | 1243496.8977
56 | 2703305.1197 | 1243564.9768
57 | 2703303.3459 | 1243509.0949
58 | 2703308.8644 | 1243508.7565
59 | 2703315.5901 | 1243327.6683
60 | 2703031.1773 | 1243568.2646

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99255 | -0.14227 | 0.010016 | 0.0025103
1 | 0.99319 | -0.12994 | 0.011972 | 0.0030004
2 | 0.98972 | -0.19696 | 0 | 0
3 | 1 | 0 | -0.39106 | -0.099663
4 | 0.98945 | -0.20206 | 0 | 0
5 | 0.98845 | -0.22154 | 0 | 0
6 | 0.9963 | -0.070221 | 0.040508 | 0.010152
7 | 0.98919 | -0.20708 | 0 | 0
8 | 0.98806 | -0.22905 | 0.00074262 | 0.00018612
9 | 0.98845 | -0.22155 | 0.00043855 | 0.00010991
10 | 0.98827 | -0.22501 | 0.0010512 | 0.00026346
11 | 0.99204 | -0.15146 | 0.070931 | 0.017777
12 | 0.98897 | -0.21144 | 0.018064 | 0.0045272
13 | 0.98736 | -0.24254 | 0 | 0
14 | 0.98674 | -0.25478 | 0 | 0
15 | 0.98673 | -0.25484 | 0 | 0
16 | 0.98632 | -0.26275 | 0 | 0
17 | 0.98679 | -0.25365 | 0.0086261 | 0.0021619
18 | 0.98565 | -0.27583 | 0.015053 | 0.0037726
19 | 0.9827 | -0.33326 | 0 | 0
20 | 0.98257 | -0.33574 | 0 | 0
21 | 0.98135 | -0.35957 | 0.018636 | 0.0046706
22 | 0.99149 | -0.16189 | 0.015048 | 0.0037715
23 | 0.98994 | -0.19158 | 0.002038 | 0.00051077
24 | 0.97717 | -0.43897 | 0.0013905 | 0.0003485
25 | 0.97724 | -0.43769 | 0.0014891 | 0.00037319
26 | 0.97688 | -0.44472 | 0.0035578 | 0.00089167
27 | 0.97746 | -0.43327 | 0 | 0
28 | 0.97664 | -0.44937 | 0 | 0
29 | 0.9801 | -0.38185 | 0 | 0
30 | 0.97589 | -0.46417 | 0 | 0
31 | 0.97573 | -0.46728 | 0.0065224 | 0.0016347
32 | 0.97542 | -0.47342 | 0 | 0
33 | 0.97606 | -0.46092 | 0.022356 | 0.0056031
34 | 0.97916 | -0.40012 | 0.061026 | 0.015295
35 | 0.98035 | -0.37692 | 0.0017581 | 0.00044061
36 | 0.98123 | -0.35965 | 0.0006728 | 0.00016862
37 | 0.98322 | -0.32099 | 0.0011009 | 0.0002759
38 | 0.98495 | -0.28746 | 0.0020626 | 0.00051693
39 | 0.98733 | -0.24159 | 0 | 0
40 | 0.97521 | -0.47743 | 0.006714 | 0.0016827
41 | 0.97513 | -0.47897 | 0 | 0
42 | 0.98538 | -0.28118 | 0.0054942 | 0.001377
43 | 0.98544 | -0.28004 | 0.0038044 | 0.00095347
44 | 0.98558 | -0.2773 | 0.0011153 | 0.00027951
45 | 0.98564 | -0.27604 | 0 | 0
46 | 0.98556 | -0.27771 | 0.0014092 | 0.00035317
47 | 0.98533 | -0.28213 | 0.010432 | 0.0026146
48 | 0.9744 | -0.49342 | 0.00097628 | 0.00024468
49 | 0.97431 | -0.49511 | 0 | 0
50 | 0.97483 | -0.485 | 0 | 0
51 | 0.97395 | -0.50222 | 0.0009096 | 0.00022797
52 | 0.9748 | -0.48562 | 0.0011843 | 0.00029681
53 | 0.97494 | -0.4827 | 0.0032273 | 0.00080885
54 | 0.97366 | -0.50803 | 0.0011858 | 0.00029719
55 | 0.97302 | -0.5206 | 0 | 0
56 | 0.97027 | -0.57489 | 0.029321 | 0.0073486
57 | 0.9718 | -0.54458 | 0 | 0
58 | 0.97195 | -0.54159 | 0.0013523 | 0.00033892
59 | 0.97518 | -0.47802 | 0.0018396 | 0.00046105
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.095437 | -0.024126 | 0.095493 | 0.024162 | 5.647e-05 | 3.6046e-05 | 0.14315 | 0.14315 | 0.14315 | 0.99255 | -0.14227 | 0.99319 | -0.12994 | 39.327
1 | 0.08542 | 0.021615 | -0.085197 | -0.021473 | 0.00022354 | 0.0001426 | 0.12813 | 0.12813 | 0.12813 | 0.99255 | -0.14227 | 0.98972 | -0.19696 | 35.2017
2 | -0.10746 | -0.027162 | 0.10814 | 0.027593 | 0.00067416 | 0.00043056 | 0.16109 | 0.16109 | 0.16109 | 0.99319 | -0.12994 | 1 | 0 | 44.2545
3 | 0.06136 | 0.015467 | -0.061345 | -0.015457 | 1.4969e-05 | 9.5199e-06 | 0.092285 | 0.092285 | 0.092285 | 0.98972 | -0.19696 | 0.98945 | -0.20206 | 25.3531
4 | 0.023836 | 0.0060062 | -0.023808 | -0.0059891 | 2.7993e-05 | 1.717e-05 | 0.035849 | 0.035849 | 0.035849 | 0.98972 | -0.19696 | 0.98845 | -0.22154 | 9.8487
5 | 0.28127 | 0.07207 | -0.28032 | -0.07146 | 0.00095368 | 0.0006096 | 0.41909 | 0.41909 | 0.41909 | 1 | 0 | 0.9963 | -0.070221 | 57.5678
6 | 0.018072 | 0.004532 | -0.018067 | -0.0045294 | 4.328e-06 | 2.5693e-06 | 0.027179 | 0.027179 | 0.027179 | 0.98945 | -0.20206 | 0.98919 | -0.20708 | 7.4667
7 | 0.043274 | 0.010925 | -0.043218 | -0.01089 | 5.5882e-05 | 3.5314e-05 | 0.065106 | 0.065107 | 0.065107 | 0.98945 | -0.20206 | 0.98806 | -0.22905 | 17.8864
8 | 0.00043855 | 0.00010989 | -0.00043855 | -0.00010991 | 2.3229e-10 | -1.8066e-08 | 0.00066019 | 0.0006602 | 0.0006602 | 0.98845 | -0.22154 | 0.98845 | -0.22155 | 0.18137
9 | 0.02337 | 0.0058792 | -0.023366 | -0.0058768 | 3.8723e-06 | 2.3714e-06 | 0.035189 | 0.035189 | 0.035189 | 0.98845 | -0.22154 | 0.98827 | -0.22501 | 9.6674
10 | 0.23981 | 0.061308 | -0.23887 | -0.060708 | 0.00093847 | 0.00059961 | 0.35859 | 0.35859 | 0.35859 | 0.9963 | -0.070221 | 0.99204 | -0.15146 | 49.2573
11 | 0.018067 | 0.0045294 | -0.018064 | -0.0045272 | 3.7501e-06 | 2.2263e-06 | 0.027179 | 0.027179 | 0.027179 | 0.98919 | -0.20708 | 0.98897 | -0.21144 | 7.4667
12 | 0.042475 | 0.010704 | -0.042448 | -0.010686 | 2.7403e-05 | 1.731e-05 | 0.063988 | 0.063988 | 0.063988 | 0.98806 | -0.22905 | 0.98736 | -0.24254 | 17.5792
13 | 0.022315 | 0.0056133 | -0.022283 | -0.005594 | 3.1695e-05 | 1.9328e-05 | 0.033606 | 0.033607 | 0.033607 | 0.98827 | -0.22501 | 0.98674 | -0.25478 | 9.2326
14 | 0.16794 | 0.042932 | -0.16785 | -0.042877 | 8.4703e-05 | 5.4027e-05 | 0.2522 | 0.2522 | 0.2522 | 0.99204 | -0.15146 | 0.99149 | -0.16189 | 34.6431
15 | 0.042448 | 0.010686 | -0.042425 | -0.010672 | 2.253e-05 | 1.4232e-05 | 0.063988 | 0.063988 | 0.063988 | 0.98736 | -0.24254 | 0.98679 | -0.25365 | 17.5792
16 | 0.022283 | 0.005594 | -0.022261 | -0.0055802 | 2.2577e-05 | 1.3769e-05 | 0.033607 | 0.033607 | 0.033607 | 0.98674 | -0.25478 | 0.98564 | -0.27604 | 9.2327
17 | 0.033797 | 0.008509 | -0.033784 | -0.008501 | 1.2767e-05 | 8.0035e-06 | 0.050981 | 0.050981 | 0.050981 | 0.98673 | -0.25484 | 0.98632 | -0.26275 | 14.0057
18 | -0.033797 | -0.008509 | 0.033799 | 0.0085102 | 1.9218e-06 | 1.2048e-06 | 0.050981 | 0.050981 | 0.050981 | 0.98673 | -0.25484 | 0.98679 | -0.25365 | 14.0057
19 | 0.033784 | 0.008501 | -0.033763 | -0.0084877 | 2.1097e-05 | 1.3226e-05 | 0.050981 | 0.050981 | 0.050981 | 0.98632 | -0.26275 | 0.98565 | -0.27583 | 14.0057
20 | 0.01871 | 0.0047152 | -0.018659 | -0.0046846 | 5.1265e-05 | 3.0634e-05 | 0.028256 | 0.028257 | 0.028257 | 0.98565 | -0.27583 | 0.9827 | -0.33326 | 7.7629
21 | 0.018659 | 0.0046846 | -0.018657 | -0.0046832 | 2.2064e-06 | 1.3188e-06 | 0.028257 | 0.028257 | 0.028257 | 0.9827 | -0.33326 | 0.98257 | -0.33574 | 7.7629
22 | 0.018657 | 0.0046832 | -0.018636 | -0.0046706 | 2.1186e-05 | 1.2664e-05 | 0.028257 | 0.028257 | 0.028257 | 0.98257 | -0.33574 | 0.98135 | -0.35957 | 7.763
23 | 0.15281 | 0.039106 | -0.15259 | -0.038966 | 0.00021929 | 0.00013978 | 0.22962 | 0.22962 | 0.22962 | 0.99149 | -0.16189 | 0.98994 | -0.19158 | 31.5409
24 | 0.15055 | 0.038455 | -0.15019 | -0.038224 | 0.00036307 | 0.0002314 | 0.22655 | 0.22655 | 0.22655 | 0.98994 | -0.19158 | 0.98733 | -0.24159 | 31.1201
25 | -0.0049493 | -0.0012397 | 0.0049496 | 0.0012397 | 3.0326e-07 | 1.5709e-08 | 0.0075364 | 0.0075364 | 0.0075364 | 0.97717 | -0.43897 | 0.97724 | -0.43769 | 2.0704
26 | 0.0035588 | 0.00089118 | -0.0035578 | -0.00089167 | 9.7464e-07 | -4.8458e-07 | 0.0054189 | 0.0054193 | 0.0054193 | 0.97717 | -0.43897 | 0.97688 | -0.44472 | 1.4888
27 | -0.0064387 | -0.0016129 | 0.00644 | 0.0016133 | 1.3547e-06 | 3.9597e-07 | 0.0098037 | 0.0098035 | 0.0098037 | 0.97724 | -0.43769 | 0.97746 | -0.43327 | 2.6933
28 | 0.075874 | 0.019118 | -0.075816 | -0.019082 | 5.8405e-05 | 3.6795e-05 | 0.11554 | 0.11554 | 0.11554 | 0.97746 | -0.43327 | 0.97664 | -0.44937 | 15.8712
29 | -0.082314 | -0.020732 | 0.082517 | 0.02086 | 0.00020292 | 0.00012814 | 0.12535 | 0.12534 | 0.12535 | 0.97746 | -0.43327 | 0.9801 | -0.38185 | 17.2178
30 | 0.022369 | 0.0056106 | -0.022356 | -0.0056031 | 1.2301e-05 | 7.5195e-06 | 0.034083 | 0.034083 | 0.034083 | 0.97664 | -0.44937 | 0.97606 | -0.46092 | 9.3634
31 | 0.053447 | 0.013471 | -0.053409 | -0.013448 | 3.7818e-05 | 2.3443e-05 | 0.081459 | 0.08146 | 0.08146 | 0.97664 | -0.44937 | 0.97589 | -0.46417 | 11.1895
32 | 0.061079 | 0.015328 | -0.061026 | -0.015295 | 5.3171e-05 | 3.3822e-05 | 0.09274 | 0.09274 | 0.09274 | 0.9801 | -0.38185 | 0.97916 | -0.40012 | 25.478
33 | -0.1436 | -0.036188 | 0.14363 | 0.03621 | 3.3912e-05 | 2.1608e-05 | 0.21808 | 0.21808 | 0.21808 | 0.9801 | -0.38185 | 0.98035 | -0.37692 | 29.9567
34 | 0.0065233 | 0.001635 | -0.0065224 | -0.0016347 | 9.6416e-07 | 2.9243e-07 | 0.0099467 | 0.0099468 | 0.0099468 | 0.97589 | -0.46417 | 0.97573 | -0.46728 | 2.7326
35 | 0.046886 | 0.011813 | -0.046865 | -0.0118 | 2.0725e-05 | 1.2724e-05 | 0.071513 | 0.071513 | 0.071513 | 0.97589 | -0.46417 | 0.97542 | -0.47342 | 9.8232
36 | 0.0085553 | 0.0021443 | -0.0085536 | -0.0021435 | 1.6343e-06 | 7.2665e-07 | 0.013051 | 0.013051 | 0.013051 | 0.97542 | -0.47342 | 0.97521 | -0.47743 | 3.5855
37 | 0.03831 | 0.0096556 | -0.0383 | -0.0096494 | 1.0176e-05 | 6.1163e-06 | 0.058462 | 0.058462 | 0.058462 | 0.97542 | -0.47342 | 0.97513 | -0.47897 | 8.0305
38 | -0.14539 | -0.03665 | 0.14551 | 0.036727 | 0.00012026 | 7.6635e-05 | 0.22075 | 0.22075 | 0.22075 | 0.98035 | -0.37692 | 0.98123 | -0.35965 | 30.3232
39 | -0.14618 | -0.036896 | 0.14645 | 0.037068 | 0.00027118 | 0.00017281 | 0.22177 | 0.22177 | 0.22177 | 0.98123 | -0.35965 | 0.98322 | -0.32099 | 30.4634
40 | -0.14755 | -0.037344 | 0.14779 | 0.037496 | 0.00023795 | 0.00015164 | 0.22344 | 0.22344 | 0.22344 | 0.98322 | -0.32099 | 0.98495 | -0.28746 | 30.6922
41 | -0.14985 | -0.038013 | 0.15019 | 0.038224 | 0.00033126 | 0.00021113 | 0.22655 | 0.22655 | 0.22655 | 0.98495 | -0.28746 | 0.98733 | -0.24159 | 31.1202
42 | 0.0018397 | 0.00046087 | -0.0018396 | -0.00046105 | 5.172e-08 | -1.8529e-07 | 0.002807 | 0.002807 | 0.002807 | 0.97521 | -0.47743 | 0.97518 | -0.47802 | 0.77117
43 | 0.0383 | 0.0096494 | -0.038293 | -0.0096453 | 6.8257e-06 | 4.1028e-06 | 0.058462 | 0.058462 | 0.058462 | 0.97513 | -0.47897 | 0.97494 | -0.4827 | 8.0305
44 | -0.0054942 | -0.001377 | 0.0054945 | 0.001377 | 2.9891e-07 | 4.3784e-08 | 0.0082967 | 0.0082967 | 0.0082967 | 0.98538 | -0.28118 | 0.98544 | -0.28004 | 2.2793
45 | -0.0092989 | -0.0023305 | 0.0093001 | 0.002331 | 1.2113e-06 | 5.6646e-07 | 0.014041 | 0.014041 | 0.014041 | 0.98544 | -0.28004 | 0.98558 | -0.2773 | 3.8575
46 | -0.010415 | -0.0026106 | 0.010416 | 0.0026109 | 6.2422e-07 | 3.1371e-07 | 0.015725 | 0.015725 | 0.015725 | 0.98558 | -0.2773 | 0.98564 | -0.27604 | 4.3201
47 | 0.011845 | 0.0029694 | -0.011844 | -0.0029689 | 9.4011e-07 | 5.0176e-07 | 0.017882 | 0.017882 | 0.017882 | 0.98564 | -0.27604 | 0.98556 | -0.27771 | 4.9126
48 | 0.010435 | 0.0026157 | -0.010432 | -0.0026146 | 2.1962e-06 | 1.105e-06 | 0.015754 | 0.015755 | 0.015755 | 0.98556 | -0.27771 | 0.98533 | -0.28213 | 4.3282
49 | 0.032887 | 0.008285 | -0.032885 | -0.0082834 | 2.6564e-06 | 1.5603e-06 | 0.050238 | 0.050238 | 0.050238 | 0.9744 | -0.49342 | 0.97431 | -0.49511 | 6.9009
50 | -0.033864 | -0.0085297 | 0.033877 | 0.0085377 | 1.3634e-05 | 8.0485e-06 | 0.051729 | 0.051729 | 0.051729 | 0.9744 | -0.49342 | 0.97483 | -0.485 | 7.1056
51 | 0.032885 | 0.0082834 | -0.032874 | -0.0082769 | 1.1183e-05 | 6.5685e-06 | 0.050238 | 0.050238 | 0.050238 | 0.97431 | -0.49511 | 0.97395 | -0.50222 | 6.9009
52 | 0.0011843 | 0.00029647 | -0.0011843 | -0.00029681 | 3.5013e-08 | -3.3379e-07 | 0.0018077 | 0.0018078 | 0.0018078 | 0.97483 | -0.485 | 0.9748 | -0.48562 | 0.49665
53 | -0.035062 | -0.0088342 | 0.035066 | 0.0088365 | 3.8654e-06 | 2.2945e-06 | 0.053537 | 0.053536 | 0.053537 | 0.97483 | -0.485 | 0.97494 | -0.4827 | 7.3539
54 | 0.031964 | 0.0080489 | -0.031955 | -0.0080437 | 8.872e-06 | 5.1847e-06 | 0.048849 | 0.048849 | 0.048849 | 0.97395 | -0.50222 | 0.97366 | -0.50803 | 6.71
55 | 0.030769 | 0.0077465 | -0.030751 | -0.0077358 | 1.8488e-05 | 1.0724e-05 | 0.047037 | 0.047037 | 0.047037 | 0.97366 | -0.50803 | 0.97302 | -0.5206 | 6.4611
56 | 0.030751 | 0.0077358 | -0.03072 | -0.0077165 | 3.08e-05 | 1.9252e-05 | 0.047037 | 0.047037 | 0.047037 | 0.97302 | -0.5206 | 0.97195 | -0.54159 | 12.9223
57 | -0.029321 | -0.0073486 | 0.029364 | 0.007375 | 4.2396e-05 | 2.6442e-05 | 0.044967 | 0.044967 | 0.044967 | 0.97027 | -0.57489 | 0.9718 | -0.54458 | 12.3536
58 | -0.029364 | -0.007375 | 0.029368 | 0.0073776 | 4.1923e-06 | 2.6146e-06 | 0.044967 | 0.044967 | 0.044967 | 0.9718 | -0.54458 | 0.97195 | -0.54159 | 12.3536

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39378 | 0.10034

## res_load
| p_mw | q_mvar
0 | 0.010016 | 0.0025103
1 | 0.011972 | 0.0030004
2 | 0.0027181 | 0.00068122
3 | 0.040508 | 0.010152
4 | 0.00074262 | 0.00018612
5 | 0.00043855 | 0.00010991
6 | 0.0010512 | 0.00026346
7 | 0.070931 | 0.017777
8 | 0.018064 | 0.0045272
9 | 0.0086261 | 0.0021619
10 | 0.015053 | 0.0037726
11 | 0.018636 | 0.0046706
12 | 0.015048 | 0.0037715
13 | 0.002038 | 0.00051077
14 | 0.0013905 | 0.0003485
15 | 0.0014891 | 0.00037319
16 | 0.0035578 | 0.00089167
17 | 0.0065224 | 0.0016347
18 | 0.022356 | 0.0056031
19 | 0.061026 | 0.015295
20 | 0.0017581 | 0.00044061
21 | 0.0006728 | 0.00016862
22 | 0.0011009 | 0.0002759
23 | 0.0020626 | 0.00051693
24 | 0.006714 | 0.0016827
25 | 0.0054942 | 0.001377
26 | 0.0038044 | 0.00095347
27 | 0.0011153 | 0.00027951
28 | 0.0014092 | 0.00035317
29 | 0.010432 | 0.0026146
30 | 0.00097628 | 0.00024468
31 | 0.0009096 | 0.00022797
32 | 0.0011843 | 0.00029681
33 | 0.0032273 | 0.00080885
34 | 0.0011858 | 0.00029719
35 | 0.029321 | 0.0073486
36 | 0.0013523 | 0.00033892
37 | 0.0018396 | 0.00046105

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1