## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_121-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_121-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_121-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_121-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_121-1_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_121-1_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_121-1_0_2_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_121-1_0_2_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_121-1_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_121-1_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_121-1_0_2_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_121-1_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_121-1_0_2_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_121-1_0_2_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_121-1_0_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_121-1_0_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_121-1_0_2_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_121-1_0_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_121-1_0_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_121-1_0_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_121-1_0_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_121-1_0_2_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_121-1_0_2_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_121-1_0_2_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_121-1_0_2_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_121-1_0_2_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_121-1_0_2_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_121-1_0_2_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_121-1_0_2_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_121-1_0_2_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_121-1_0_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_121-1_0_2_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_121-1_0_2_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_121-1_0_2_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_121-1_0_2_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_121-1_0_2_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_121-1_0_2_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_121-1_0_2_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_121-1_0_2_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_121-1_0_2_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_121-1_0_2_node_69 | 0.4 | n |  | TRUE
42 | bus_MV_6_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-1_0_2_load_0 | 0 | 0.00048254 | 0.00012093 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-1_0_2_load_3 | 3 | 0.00089424 | 0.00022412 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-1_0_2_load_4 | 4 | 0.036283 | 0.0090933 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-1_0_2_load_7 | 6 | 0.00034363 | 8.6121e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-1_0_2_load_68 | 8 | 0.00088993 | 0.00022304 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-1_0_2_load_10 | 9 | 0.00036361 | 9.113e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-1_0_2_load_8 | 10 | 0.0011404 | 0.00028581 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-1_0_2_load_19 | 11 | 0.00056902 | 0.00014261 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-1_0_2_load_9 | 12 | 0.00054141 | 0.00013569 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-1_0_2_load_21 | 14 | 0.001012 | 0.00025363 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-1_0_2_load_22 | 15 | 0.0012587 | 0.00031546 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-1_0_2_load_24 | 16 | 0.0007195 | 0.00018032 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-1_0_2_load_27 | 17 | 0.00083921 | 0.00021033 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-1_0_2_load_25 | 18 | 0.00073084 | 0.00018317 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-1_0_2_load_26 | 19 | 0.00073375 | 0.0001839 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-1_0_2_load_28 | 20 | 0.00075739 | 0.00018982 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-1_0_2_load_30 | 21 | 0.00098174 | 0.00024605 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-1_0_2_load_29 | 22 | 0.000673 | 0.00016867 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-1_0_2_load_31 | 23 | 0.00069736 | 0.00017478 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-1_0_2_load_32 | 24 | 0.00072469 | 0.00018163 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-1_0_2_load_67 | 25 | 0.026748 | 0.0067037 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-1_0_2_load_46 | 26 | 0.0036022 | 0.00090279 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-1_0_2_load_47 | 27 | 0.025879 | 0.0064858 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-1_0_2_load_49 | 29 | 0.0050999 | 0.0012782 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-1_0_2_load_51 | 31 | 0.0044177 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-1_0_2_load_56 | 32 | 0.0026233 | 0.00065745 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-1_0_2_load_57 | 34 | 0.0057098 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-1_0_2_load_52 | 35 | 0.08553 | 0.021436 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-1_0_2_load_53 | 36 | 0.0011613 | 0.00029105 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-1_0_2_load_55 | 37 | 0.011271 | 0.0028247 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-1_0_2_load_60 | 39 | 0.02209 | 0.0055363 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-1_0_2_load_62 | 40 | 0.0015988 | 0.0004007 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-1_0_2_load_69 | 41 | 0.00073702 | 0.00018471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-1_0_2_line_0 |  | 0 | 1 | 0.022974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-1_0_2_line_1 |  | 0 | 2 | 0.036905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-1_0_2_line_2 |  | 1 | 3 | 0.029568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_121-1_0_2_line_3 |  | 1 | 4 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_121-1_0_2_line_4 |  | 1 | 5 | 0.064125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-1_0_2_line_5 |  | 2 | 6 | 0.022115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_121-1_0_2_line_6 |  | 3 | 7 | 0.0061383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_121-1_0_2_line_7 |  | 4 | 8 | 0.013271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_121-1_0_2_line_8 |  | 5 | 9 | 0.0070627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-1_0_2_line_9 |  | 7 | 16 | 0.016475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_121-1_0_2_line_10 |  | 7 | 15 | 0.01573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_121-1_0_2_line_11 |  | 8 | 41 | 0.0082614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_121-1_0_2_line_12 |  | 9 | 12 | 0.021786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-1_0_2_line_13 |  | 10 | 11 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-1_0_2_line_14 |  | 11 | 13 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_121-1_0_2_line_15 |  | 13 | 14 | 0.014196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_121-1_0_2_line_16 |  | 14 | 15 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-1_0_2_line_17 |  | 16 | 17 | 0.00010928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_121-1_0_2_line_18 |  | 17 | 18 | 0.02179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_121-1_0_2_line_19 |  | 18 | 19 | 0.0016942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_121-1_0_2_line_20 |  | 19 | 20 | 1.8029e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_121-1_0_2_line_21 |  | 20 | 21 | 0.019028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_121-1_0_2_line_22 |  | 21 | 22 | 0.0020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_121-1_0_2_line_23 |  | 22 | 23 | 0.0011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_121-1_0_2_line_24 |  | 23 | 24 | 2.0395e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_121-1_0_2_line_25 |  | 24 | 25 | 0.0099643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_121-1_0_2_line_26 |  | 26 | 27 | 0.0040303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_121-1_0_2_line_27 |  | 26 | 28 | 0.024937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_121-1_0_2_line_28 |  | 27 | 29 | 0.02982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_121-1_0_2_line_29 |  | 28 | 30 | 0.052636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_121-1_0_2_line_30 |  | 28 | 31 | 0.017443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-1_0_2_line_31 |  | 29 | 32 | 0.021919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_121-1_0_2_line_32 |  | 30 | 33 | 0.0416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_121-1_0_2_line_33 |  | 30 | 34 | 0.022659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-1_0_2_line_34 |  | 32 | 38 | 0.0096934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_121-1_0_2_line_35 |  | 33 | 37 | 0.064879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-1_0_2_line_36 |  | 33 | 35 | 0.098046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_121-1_0_2_line_37 |  | 35 | 36 | 0.047409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_121-1_0_2_line_38 |  | 38 | 40 | 0.019491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_121-1_0_2_line_39 |  | 38 | 39 | 0.046204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_121-1_0_2_line_40 |  | 40 | 41 | 0.0037574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-1_0_2_trafo_67 | 0.63 MVA 20/0.4 kV | 42 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2703018.2168 | 1243092.9036 | 2703031.0808 | 1243073.8689
1 | 2703051.7454 | 1243043.2916 | 2703031.0808 | 1243073.8689
2 | 2703018.2168 | 1243092.9036 | 2703031.6886 | 1243119.2243
3 | 2703018.2168 | 1243092.9036 | 2703009.289 | 1243105.121
4 | 2703005.2304 | 1243043.6399 | 2702996.3293 | 1243058.1745 | 2702994.6338 | 1243060.9027 | 2702991.6012 | 1243065.7539 | 2703014.7685 | 1243087.7397 | 2703018.2168 | 1243092.9036
5 | 2703051.7454 | 1243043.2916 | 2703064.1261 | 1243024.9671
6 | 2703034.4854 | 1243124.6885 | 2703031.6886 | 1243119.2243
7 | 2703009.289 | 1243105.121 | 2703001.4589 | 1243115.8363
8 | 2703005.2304 | 1243043.6399 | 2703011.0215 | 1243047.1098 | 2703011.1997 | 1243046.8542
9 | 2703034.4854 | 1243124.6885 | 2703041.9906 | 1243139.3548
10 | 2703034.4854 | 1243124.6885 | 2703048.6459 | 1243117.8391
11 | 2702996.5846 | 1243122.5066 | 2703001.4589 | 1243115.8363
12 | 2703023.6605 | 1243028.9842 | 2703011.1997 | 1243046.8542
13 | 2703066.6154 | 1243082.9029 | 2703073.4979 | 1243072.2146
14 | 2703074.012 | 1243098.8215 | 2703066.9514 | 1243087.0564 | 2703066.6154 | 1243082.9029 | 2703066.6154 | 1243082.9029
15 | 2703074.012 | 1243098.8215 | 2703065.2585 | 1243108.3435 | 2703064.2157 | 1243109.0541
16 | 2703048.6459 | 1243117.8391 | 2703057.8757 | 1243113.3747 | 2703064.2157 | 1243109.0541
17 | 2703042.0404 | 1243139.4521 | 2703041.9906 | 1243139.3548
18 | 2703042.0404 | 1243139.4521 | 2703051.9667 | 1243158.8495
19 | 2703052.7385 | 1243160.3576 | 2703051.9667 | 1243158.8495
20 | 2703052.7467 | 1243160.3737 | 2703052.7385 | 1243160.3576
21 | 2703052.7467 | 1243160.3737 | 2703061.4148 | 1243177.3125
22 | 2703062.3574 | 1243179.1544 | 2703061.4148 | 1243177.3125
23 | 2703062.8753 | 1243180.1664 | 2703062.3574 | 1243179.1544
24 | 2703062.8846 | 1243180.1846 | 2703062.8753 | 1243180.1664
25 | 2703067.4238 | 1243189.0549 | 2703062.8846 | 1243180.1846
26 | 2702953.5495 | 1243199.8538 | 2702955.3237 | 1243196.235
27 | 2702942.8347 | 1243222.3626 | 2702944.5001 | 1243218.3106 | 2702953.5495 | 1243199.8538
28 | 2702955.3237 | 1243196.235 | 2702968.4516 | 1243169.4599
29 | 2702942.8347 | 1243222.3626 | 2702940.3805 | 1243228.3024 | 2702937.5534 | 1243236.5598 | 2702931.903 | 1243253.297 | 2702929.5538 | 1243263.2084 | 2702927.8168 | 1243272.6856
30 | 2702942.8347 | 1243222.3626 | 2702927.1918 | 1243214.6447
31 | 2702968.4516 | 1243169.4599 | 2702976.6333 | 1243152.7728 | 2702978.3391 | 1243149.9082
32 | 2702967.9906 | 1243283.9135 | 2702945.8464 | 1243277.491 | 2702927.8168 | 1243272.6856
33 | 2702927.8168 | 1243272.6856 | 2702910.3448 | 1243269.2911 | 2702905.5105 | 1243268.7908
34 | 2702983.2989 | 1243141.5797 | 2702978.3391 | 1243149.9082
35 | 2702967.9906 | 1243283.9135 | 2702946.1085 | 1243344.9905
36 | 2702967.9906 | 1243283.9135 | 2703060.5018 | 1243316.3882
37 | 2703060.5018 | 1243316.3882 | 2703105.2346 | 1243332.0909
38 | 2702983.2989 | 1243141.5797 | 2702991.1284 | 1243129.9733 | 2702994.3677 | 1243125.5403
39 | 2702983.2989 | 1243141.5797 | 2702941.8114 | 1243121.2423
40 | 2702996.5846 | 1243122.5066 | 2702994.3677 | 1243125.5403

## bus_geodata
| x | y | coords
0 | 2703031.0808 | 1243073.8689
1 | 2703018.2168 | 1243092.9036
2 | 2703051.7454 | 1243043.2916
3 | 2703031.6886 | 1243119.2243
4 | 2703009.289 | 1243105.121
5 | 2703005.2304 | 1243043.6399
6 | 2703064.1261 | 1243024.9671
7 | 2703034.4854 | 1243124.6885
8 | 2703001.4589 | 1243115.8363
9 | 2703011.1997 | 1243046.8542
10 | 2703073.4979 | 1243072.2146
11 | 2703066.6154 | 1243082.9029
12 | 2703023.6605 | 1243028.9842
13 | 2703074.012 | 1243098.8215
14 | 2703064.2157 | 1243109.0541
15 | 2703048.6459 | 1243117.8391
16 | 2703041.9906 | 1243139.3548
17 | 2703042.0404 | 1243139.4521
18 | 2703051.9667 | 1243158.8495
19 | 2703052.7385 | 1243160.3576
20 | 2703052.7467 | 1243160.3737
21 | 2703061.4148 | 1243177.3125
22 | 2703062.3574 | 1243179.1544
23 | 2703062.8753 | 1243180.1664
24 | 2703062.8846 | 1243180.1846
25 | 2703067.4238 | 1243189.0549
26 | 2702953.5495 | 1243199.8538
27 | 2702955.3237 | 1243196.235
28 | 2702942.8347 | 1243222.3626
29 | 2702968.4516 | 1243169.4599
30 | 2702927.8168 | 1243272.6856
31 | 2702927.1918 | 1243214.6447
32 | 2702978.3391 | 1243149.9082
33 | 2702967.9906 | 1243283.9135
34 | 2702905.5105 | 1243268.7908
35 | 2703060.5018 | 1243316.3882
36 | 2703105.2346 | 1243332.0909
37 | 2702946.1085 | 1243344.9905
38 | 2702983.2989 | 1243141.5797
39 | 2702941.8114 | 1243121.2423
40 | 2702994.3677 | 1243125.5403
41 | 2702996.5846 | 1243122.5066
42 | 2703034.4854 | 1243124.6885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98926 | -0.20374 | 0.00048254 | 0.00012093
1 | 0.98928 | -0.20341 | 0 | 0
2 | 0.98925 | -0.20397 | 0 | 0
3 | 0.99214 | -0.14863 | 0.00089424 | 0.00022412
4 | 0.98783 | -0.23133 | 0.036283 | 0.0090933
5 | 0.98923 | -0.20444 | 0 | 0
6 | 0.98924 | -0.20411 | 0.00034363 | 8.6121e-05
7 | 0.99274 | -0.13724 | 0 | 0
8 | 0.98677 | -0.25157 | 0.00088993 | 0.00022304
9 | 0.98922 | -0.20456 | 0.00036361 | 9.113e-05
10 | 0.99258 | -0.14044 | 0.0011404 | 0.00028581
11 | 0.99259 | -0.14019 | 0.00056902 | 0.00014261
12 | 0.98921 | -0.20477 | 0.00054141 | 0.00013569
13 | 0.99262 | -0.13965 | 0 | 0
14 | 0.99264 | -0.13922 | 0.001012 | 0.00025363
15 | 0.99268 | -0.13835 | 0.0012587 | 0.00031546
16 | 0.99437 | -0.10619 | 0.0007195 | 0.00018032
17 | 0.99439 | -0.10598 | 0.00083921 | 0.00021033
18 | 0.99656 | -0.064763 | 0.00073084 | 0.00018317
19 | 0.99673 | -0.061555 | 0.00073375 | 0.0001839
20 | 0.99673 | -0.061521 | 0.00075739 | 0.00018982
21 | 0.99865 | -0.025317 | 0.00098174 | 0.00024605
22 | 0.99886 | -0.021371 | 0.000673 | 0.00016867
23 | 0.99898 | -0.019197 | 0.00069736 | 0.00017478
24 | 0.99898 | -0.019158 | 0.00072469 | 0.00018163
25 | 1 | 0 | -0.22645 | -0.058053
26 | 0.98007 | -0.38124 | 0.0036022 | 0.00090279
27 | 0.98028 | -0.37716 | 0.025879 | 0.0064858
28 | 0.97881 | -0.40573 | 0 | 0
29 | 0.98219 | -0.34002 | 0.0050999 | 0.0012782
30 | 0.97626 | -0.4555 | 0 | 0
31 | 0.97874 | -0.40713 | 0.0044177 | 0.0011072
32 | 0.98365 | -0.31181 | 0.0026233 | 0.00065745
33 | 0.97436 | -0.49284 | 0 | 0
34 | 0.97614 | -0.45787 | 0.0057098 | 0.001431
35 | 0.97039 | -0.57119 | 0.08553 | 0.021436
36 | 0.97033 | -0.57221 | 0.0011613 | 0.00029105
37 | 0.97368 | -0.50628 | 0.011271 | 0.0028247
38 | 0.98431 | -0.29913 | 0 | 0
39 | 0.98336 | -0.31751 | 0.02209 | 0.0055363
40 | 0.98582 | -0.26983 | 0.0015988 | 0.0004007
41 | 0.98612 | -0.26413 | 0.00073702 | 0.00018471
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00082617 | -0.0002063 | 0.00082618 | 0.00020602 | 1.3298e-08 | -2.8646e-07 | 0.0012424 | 0.0012423 | 0.0012424 | 0.98926 | -0.20374 | 0.98928 | -0.20341 | 0.34133
1 | 0.00034363 | 8.5367e-05 | -0.00034363 | -8.5839e-05 | 3.6948e-09 | -4.7146e-07 | 0.00051661 | 0.00051678 | 0.00051678 | 0.98926 | -0.20374 | 0.98925 | -0.20397 | 0.14197
2 | -0.21092 | -0.053744 | 0.21148 | 0.054101 | 0.00055913 | 0.00035708 | 0.31757 | 0.31757 | 0.31757 | 0.98928 | -0.20341 | 0.99214 | -0.14863 | 43.6227
3 | 0.20919 | 0.053313 | -0.20891 | -0.053133 | 0.00028147 | 0.00017975 | 0.31497 | 0.31497 | 0.31497 | 0.98928 | -0.20341 | 0.98783 | -0.23133 | 43.2651
4 | 0.00090508 | 0.00022566 | -0.00090503 | -0.00022646 | 4.4549e-08 | -7.9478e-07 | 0.0013609 | 0.0013612 | 0.0013612 | 0.98928 | -0.20341 | 0.98923 | -0.20444 | 0.37397
5 | 0.00034363 | 8.5839e-05 | -0.00034363 | -8.6121e-05 | 2.2152e-09 | -2.8251e-07 | 0.00051678 | 0.00051688 | 0.00051688 | 0.98925 | -0.20397 | 0.98924 | -0.20411 | 0.142
6 | -0.21238 | -0.054325 | 0.21249 | 0.0544 | 0.00011706 | 7.4758e-05 | 0.31891 | 0.31891 | 0.31891 | 0.99214 | -0.14863 | 0.99274 | -0.13724 | 43.8069
7 | 0.17263 | 0.044039 | -0.17246 | -0.043932 | 0.00016862 | 0.00010758 | 0.26032 | 0.26032 | 0.26032 | 0.98783 | -0.23133 | 0.98677 | -0.25157 | 35.7577
8 | 0.00090503 | 0.00022646 | -0.00090503 | -0.00022654 | 4.9077e-09 | -8.753e-08 | 0.0013612 | 0.0013613 | 0.0013613 | 0.98923 | -0.20444 | 0.98922 | -0.20456 | 0.37398
9 | -0.21647 | -0.055397 | 0.2168 | 0.055605 | 0.00032605 | 0.00020824 | 0.32488 | 0.32488 | 0.32488 | 0.99274 | -0.13724 | 0.99437 | -0.10619 | 44.6264
10 | 0.0039805 | 0.00099677 | -0.0039803 | -0.00099683 | 2.0997e-07 | -6.8992e-08 | 0.0059661 | 0.0059662 | 0.0059662 | 0.99274 | -0.13724 | 0.99268 | -0.13835 | 1.6391
11 | 0.17157 | 0.043709 | -0.17146 | -0.043643 | 0.00010389 | 6.6278e-05 | 0.25897 | 0.25897 | 0.25897 | 0.98677 | -0.25157 | 0.98612 | -0.26413 | 35.5733
12 | 0.00054141 | 0.00013541 | -0.00054141 | -0.00013569 | 5.4179e-09 | -2.7621e-07 | 0.00081431 | 0.00081441 | 0.00081441 | 0.98922 | -0.20456 | 0.98921 | -0.20477 | 0.22374
13 | -0.0011404 | -0.00028581 | 0.0011404 | 0.00028566 | 1.3933e-08 | -1.554e-07 | 0.0017096 | 0.0017096 | 0.0017096 | 0.99258 | -0.14044 | 0.99259 | -0.14019 | 0.46968
14 | -0.0017094 | -0.00042827 | 0.0017095 | 0.00042806 | 4.405e-08 | -2.0303e-07 | 0.0025626 | 0.0025625 | 0.0025626 | 0.99259 | -0.14019 | 0.99262 | -0.13965 | 0.70401
15 | -0.0017095 | -0.00042806 | 0.0017095 | 0.0004279 | 3.4956e-08 | -1.6113e-07 | 0.0025625 | 0.0025625 | 0.0025625 | 0.99262 | -0.13965 | 0.99264 | -0.13922 | 0.70399
16 | -0.0027215 | -0.00068154 | 0.0027216 | 0.00068138 | 1.1187e-07 | -1.6013e-07 | 0.0040795 | 0.0040794 | 0.0040795 | 0.99264 | -0.13922 | 0.99268 | -0.13835 | 1.1207
17 | -0.21752 | -0.055786 | 0.21752 | 0.055787 | 2.177e-06 | 1.3905e-06 | 0.32596 | 0.32596 | 0.32596 | 0.99437 | -0.10619 | 0.99439 | -0.10598 | 44.7743
18 | -0.21836 | -0.055997 | 0.2188 | 0.056277 | 0.00043743 | 0.00027939 | 0.32721 | 0.32721 | 0.32721 | 0.99439 | -0.10598 | 0.99656 | -0.064763 | 44.9468
19 | -0.21953 | -0.05646 | 0.21956 | 0.056482 | 3.4238e-05 | 2.1868e-05 | 0.3283 | 0.3283 | 0.3283 | 0.99656 | -0.064763 | 0.99673 | -0.061555 | 45.0966
20 | -0.2203 | -0.056666 | 0.2203 | 0.056666 | 3.6679e-07 | 2.3428e-07 | 0.3294 | 0.3294 | 0.3294 | 0.99673 | -0.061555 | 0.99673 | -0.061521 | 45.2471
21 | -0.22105 | -0.056856 | 0.22144 | 0.057105 | 0.00038977 | 0.00024896 | 0.33053 | 0.33053 | 0.33053 | 0.99673 | -0.061521 | 0.99865 | -0.025317 | 45.4024
22 | -0.22243 | -0.057351 | 0.22247 | 0.057378 | 4.2761e-05 | 2.7313e-05 | 0.33199 | 0.33199 | 0.33199 | 0.99865 | -0.025317 | 0.99886 | -0.021371 | 45.6033
23 | -0.22314 | -0.057547 | 0.22317 | 0.057562 | 2.3635e-05 | 1.5097e-05 | 0.33299 | 0.33299 | 0.33299 | 0.99886 | -0.021371 | 0.99898 | -0.019197 | 45.741
24 | -0.22386 | -0.057737 | 0.22386 | 0.057737 | 4.2669e-07 | 2.7254e-07 | 0.33403 | 0.33403 | 0.33403 | 0.99898 | -0.019197 | 0.99898 | -0.019158 | 45.8837
25 | -0.22459 | -0.057918 | 0.2248 | 0.058052 | 0.00020981 | 0.00013402 | 0.33511 | 0.33511 | 0.33511 | 0.99898 | -0.019158 | 1 | 0 | 46.032
26 | -0.11258 | -0.028552 | 0.1126 | 0.028567 | 2.2109e-05 | 1.4048e-05 | 0.17105 | 0.17105 | 0.17105 | 0.98007 | -0.38124 | 0.98028 | -0.37716 | 23.4954
27 | 0.10898 | 0.02765 | -0.10885 | -0.027568 | 0.00012819 | 8.1412e-05 | 0.16558 | 0.16558 | 0.16558 | 0.98007 | -0.38124 | 0.97881 | -0.40573 | 22.7442
28 | -0.13848 | -0.035052 | 0.13873 | 0.03521 | 0.00024735 | 0.00015755 | 0.21033 | 0.21033 | 0.21033 | 0.98028 | -0.37716 | 0.98219 | -0.34002 | 28.8913
29 | 0.10443 | 0.026461 | -0.10418 | -0.026303 | 0.00024907 | 0.00015808 | 0.15886 | 0.15886 | 0.15886 | 0.97881 | -0.40573 | 0.97626 | -0.4555 | 21.8217
30 | 0.004418 | 0.0011072 | -0.0044177 | -0.0011072 | 2.9507e-07 | -3.0383e-08 | 0.0067164 | 0.0067164 | 0.0067164 | 0.97881 | -0.40573 | 0.97874 | -0.40713 | 1.8452
31 | -0.14383 | -0.036488 | 0.14402 | 0.036613 | 0.00019541 | 0.00012451 | 0.21805 | 0.21805 | 0.21805 | 0.98219 | -0.34002 | 0.98365 | -0.31181 | 29.9526
32 | 0.09847 | 0.024872 | -0.098294 | -0.02476 | 0.00017587 | 0.00011152 | 0.15016 | 0.15016 | 0.15016 | 0.97626 | -0.4555 | 0.97436 | -0.49284 | 20.6261
33 | 0.0057104 | 0.0014311 | -0.0057098 | -0.001431 | 6.4371e-07 | 1.2869e-07 | 0.0087038 | 0.0087039 | 0.0087039 | 0.97626 | -0.4555 | 0.97614 | -0.45787 | 2.3912
34 | -0.14664 | -0.03727 | 0.14673 | 0.037327 | 8.9593e-05 | 5.7093e-05 | 0.22202 | 0.22202 | 0.22202 | 0.98365 | -0.31181 | 0.98431 | -0.29913 | 30.4976
35 | 0.011278 | 0.0028285 | -0.011271 | -0.0028247 | 7.218e-06 | 3.812e-06 | 0.017224 | 0.017224 | 0.017224 | 0.97436 | -0.49284 | 0.97368 | -0.50628 | 4.732
36 | 0.087016 | 0.021932 | -0.086692 | -0.021726 | 0.00032487 | 0.00020548 | 0.13293 | 0.13293 | 0.13293 | 0.97436 | -0.49284 | 0.97039 | -0.57119 | 18.2603
37 | 0.0011613 | 0.0002905 | -0.0011613 | -0.00029105 | 5.6375e-08 | -5.4957e-07 | 0.0017806 | 0.0017808 | 0.0017808 | 0.97039 | -0.57119 | 0.97033 | -0.57221 | 0.48924
38 | -0.16884 | -0.042875 | 0.16908 | 0.043027 | 0.00023847 | 0.00015213 | 0.25545 | 0.25545 | 0.25545 | 0.98431 | -0.29913 | 0.98582 | -0.26983 | 35.0891
39 | 0.022109 | 0.0055481 | -0.02209 | -0.0055363 | 1.9359e-05 | 1.1803e-05 | 0.033426 | 0.033426 | 0.033426 | 0.98431 | -0.29913 | 0.98336 | -0.31751 | 9.1831
40 | -0.17068 | -0.043428 | 0.17073 | 0.043458 | 4.6845e-05 | 2.9885e-05 | 0.25786 | 0.25786 | 0.25786 | 0.98582 | -0.26983 | 0.98612 | -0.26413 | 35.4206

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2532 | 0.064756

## res_load
| p_mw | q_mvar
0 | 0.00048254 | 0.00012093
1 | 0.00089424 | 0.00022412
2 | 0.036283 | 0.0090933
3 | 0.00034363 | 8.6121e-05
4 | 0.00088993 | 0.00022304
5 | 0.00036361 | 9.113e-05
6 | 0.0011404 | 0.00028581
7 | 0.00056902 | 0.00014261
8 | 0.00054141 | 0.00013569
9 | 0.001012 | 0.00025363
10 | 0.0012587 | 0.00031546
11 | 0.0007195 | 0.00018032
12 | 0.00083921 | 0.00021033
13 | 0.00073084 | 0.00018317
14 | 0.00073375 | 0.0001839
15 | 0.00075739 | 0.00018982
16 | 0.00098174 | 0.00024605
17 | 0.000673 | 0.00016867
18 | 0.00069736 | 0.00017478
19 | 0.00072469 | 0.00018163
20 | 0.026748 | 0.0067037
21 | 0.0036022 | 0.00090279
22 | 0.025879 | 0.0064858
23 | 0.0050999 | 0.0012782
24 | 0.0044177 | 0.0011072
25 | 0.0026233 | 0.00065745
26 | 0.0057098 | 0.001431
27 | 0.08553 | 0.021436
28 | 0.0011613 | 0.00029105
29 | 0.011271 | 0.0028247
30 | 0.02209 | 0.0055363
31 | 0.0015988 | 0.0004007
32 | 0.00073702 | 0.00018471

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1