## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-23_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_121-23_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_121-23_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_121-23_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_121-23_0_5_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_121-23_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_121-23_0_5_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_121-23_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_121-23_0_5_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_121-23_0_5_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_121-23_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_121-23_0_5_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_121-23_0_5_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_121-23_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_121-23_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_121-23_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_121-23_0_5_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_121-23_0_5_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_121-23_0_5_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_121-23_0_5_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_121-23_0_5_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_121-23_0_5_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_121-23_0_5_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_121-23_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_121-23_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_121-23_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_121-23_0_5_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_121-23_0_5_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_121-23_0_5_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_121-23_0_5_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_121-23_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_121-23_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_121-23_0_5_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_121-23_0_5_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_121-23_0_5_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_121-23_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_121-23_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_121-23_0_5_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_121-23_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_121-23_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_121-23_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_121-23_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_121-23_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_121-23_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_121-23_0_5_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_121-23_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_121-23_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_121-23_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_121-23_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_121-23_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_121-23_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_121-23_0_5_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_121-23_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_121-23_0_5_node_52 | 0.4 | n |  | TRUE
54 | bus_MV_357_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-23_0_5_load_0 | 0 | 0.0048487 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-23_0_5_load_1 | 1 | 0.017351 | 0.0043486 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-23_0_5_load_2 | 2 | 0.0018016 | 0.00045153 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-23_0_5_load_4 | 3 | 0.0018497 | 0.00046359 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-23_0_5_load_5 | 5 | 0.020658 | 0.0051774 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-23_0_5_load_53 | 8 | 0.010806 | 0.0027082 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-23_0_5_load_60 | 9 | 0.030699 | 0.007694 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-23_0_5_load_58 | 12 | 0.022367 | 0.0056058 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-23_0_5_load_15 | 13 | 0.0017809 | 0.00044634 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-23_0_5_load_43 | 16 | 0.037454 | 0.009387 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-23_0_5_load_54 | 17 | 0.015067 | 0.0037762 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-23_0_5_load_37 | 18 | 0.020915 | 0.0052419 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-23_0_5_load_32 | 20 | 0.053265 | 0.01335 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-23_0_5_load_59 | 22 | 0.032479 | 0.0081399 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-23_0_5_load_17 | 23 | 0.0051363 | 0.0012873 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-23_0_5_load_18 | 24 | 0.0057454 | 0.0014399 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-23_0_5_load_16 | 25 | 0.0015975 | 0.00040037 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-23_0_5_load_57 | 26 | 0.015017 | 0.0037636 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-23_0_5_load_56 | 27 | 0.0041487 | 0.0010398 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-23_0_5_load_55 | 28 | 0.026673 | 0.006685 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-23_0_5_load_33 | 29 | 0.0091862 | 0.0023023 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-23_0_5_load_45 | 33 | 0.0021102 | 0.00052887 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-23_0_5_load_51 | 34 | 0.0025698 | 0.00064406 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-23_0_5_load_28 | 35 | 0.0039762 | 0.00099654 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-23_0_5_load_44 | 37 | 0.0050653 | 0.0012695 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-23_0_5_load_24 | 38 | 0.0052419 | 0.0013138 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-23_0_5_load_25 | 39 | 0.0087922 | 0.0022035 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-23_0_5_load_27 | 40 | 0.0017883 | 0.00044818 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-23_0_5_load_29 | 41 | 0.0050625 | 0.0012688 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-23_0_5_load_36 | 43 | 0.013039 | 0.0032678 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-23_0_5_load_41 | 44 | 0.016202 | 0.0040606 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-23_0_5_load_38 | 45 | 0.0074958 | 0.0018786 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-23_0_5_load_34 | 46 | 0.0083255 | 0.0020866 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_121-23_0_5_load_42 | 47 | 0.02796 | 0.0070076 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_121-23_0_5_load_39 | 48 | 0.0067192 | 0.001684 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_121-23_0_5_load_50 | 49 | 0.0081172 | 0.0020344 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_121-23_0_5_load_48 | 50 | 0.024671 | 0.0061832 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_121-23_0_5_load_47 | 52 | 0.0089545 | 0.0022442 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_121-23_0_5_load_52 | 53 | 0.014852 | 0.0037222 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-23_0_5_line_0 |  | 0 | 1 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-23_0_5_line_1 |  | 0 | 2 | 0.031182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-23_0_5_line_2 |  | 2 | 3 | 0.017069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-23_0_5_line_3 |  | 3 | 4 | 0.0050357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_121-23_0_5_line_4 |  | 4 | 13 | 0.028757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-23_0_5_line_5 |  | 4 | 7 | 0.029464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_121-23_0_5_line_6 |  | 5 | 6 | 0.013145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_121-23_0_5_line_7 |  | 6 | 10 | 0.014948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-23_0_5_line_8 |  | 7 | 8 | 0.015355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-23_0_5_line_9 |  | 7 | 9 | 0.013926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_121-23_0_5_line_10 |  | 8 | 21 | 0.0035936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_121-23_0_5_line_11 |  | 9 | 22 | 0.022919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_121-23_0_5_line_12 |  | 10 | 11 | 0.019916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-23_0_5_line_13 |  | 10 | 12 | 0.010433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-23_0_5_line_14 |  | 11 | 17 | 0.019121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_121-23_0_5_line_15 |  | 11 | 18 | 0.014956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_121-23_0_5_line_16 |  | 13 | 25 | 0.0088764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-23_0_5_line_17 |  | 14 | 15 | 0.020593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_121-23_0_5_line_18 |  | 14 | 16 | 0.0079172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_121-23_0_5_line_19 |  | 15 | 19 | 0.024272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_121-23_0_5_line_20 |  | 15 | 20 | 0.022929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_121-23_0_5_line_21 |  | 17 | 28 | 0.022694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_121-23_0_5_line_22 |  | 18 | 19 | 0.0021449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_121-23_0_5_line_23 |  | 20 | 29 | 0.015989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_121-23_0_5_line_24 |  | 21 | 30 | 0.011353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_121-23_0_5_line_25 |  | 22 | 28 | 0.022882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-23_0_5_line_26 |  | 23 | 24 | 0.0042121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_121-23_0_5_line_27 |  | 24 | 30 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_121-23_0_5_line_28 |  | 25 | 27 | 0.017161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_121-23_0_5_line_29 |  | 26 | 27 | 0.016753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_121-23_0_5_line_30 |  | 29 | 46 | 0.0061887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_121-23_0_5_line_31 |  | 31 | 32 | 0.007078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_121-23_0_5_line_32 |  | 31 | 33 | 0.016206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-23_0_5_line_33 |  | 32 | 34 | 0.0051227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-23_0_5_line_34 |  | 33 | 37 | 0.004915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-23_0_5_line_35 |  | 34 | 51 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-23_0_5_line_36 |  | 35 | 36 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_121-23_0_5_line_37 |  | 36 | 41 | 0.034049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_121-23_0_5_line_38 |  | 36 | 38 | 0.020921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_121-23_0_5_line_39 |  | 38 | 39 | 0.017111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_121-23_0_5_line_40 |  | 39 | 40 | 0.002216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_121-23_0_5_line_41 |  | 40 | 42 | 0.022905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_121-23_0_5_line_42 |  | 42 | 43 | 0.0073659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_121-23_0_5_line_43 |  | 42 | 44 | 0.014577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_121-23_0_5_line_44 |  | 42 | 45 | 0.022772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_121-23_0_5_line_45 |  | 43 | 46 | 0.027877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_121-23_0_5_line_46 |  | 44 | 47 | 0.0040807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_121-23_0_5_line_47 |  | 45 | 48 | 0.0082678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_121-23_0_5_line_48 |  | 47 | 49 | 0.0087398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_121-23_0_5_line_49 |  | 49 | 50 | 0.0033652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_121-23_0_5_line_50 |  | 50 | 52 | 0.001658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_121-23_0_5_line_51 |  | 51 | 53 | 0.018144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_121-23_0_5_line_52 |  | 51 | 52 | 0.016686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-23_0_5_trafo_54 | 0.63 MVA 20/0.4 kV | 54 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2702457.4889 | 1241883.8647 | 2702475.2634 | 1241886.1791
1 | 2702457.4889 | 1241883.8647 | 2702435.7987 | 1241881.0404 | 2702427.8264 | 1241879.4349 | 2702426.7238 | 1241879.0242
2 | 2702410.6315 | 1241873.3358 | 2702421.8159 | 1241877.1961 | 2702426.7238 | 1241879.0242
3 | 2702405.8281 | 1241873.8621 | 2702407.1041 | 1241873.0947 | 2702410.3531 | 1241873.2397 | 2702410.6315 | 1241873.3358
4 | 2702405.8281 | 1241873.8621 | 2702415.9737 | 1241880.976 | 2702422.9988 | 1241886.2013 | 2702428.8495 | 1241891.0686
5 | 2702405.8281 | 1241873.8621 | 2702401.3049 | 1241876.5751 | 2702413.4149 | 1241884.6569 | 2702410.1557 | 1241889.0485 | 2702407.6858 | 1241892.3974
6 | 2702487.4287 | 1241940.0883 | 2702496.2229 | 1241930.3182
7 | 2702500.2646 | 1241947.7159 | 2702494.7663 | 1241944.2849 | 2702490.7558 | 1241942.2697 | 2702487.4287 | 1241940.0883
8 | 2702407.6858 | 1241892.3974 | 2702406.2227 | 1241894.3625 | 2702398.9356 | 1241905.0131
9 | 2702407.6858 | 1241892.3974 | 2702418.4337 | 1241901.2533
10 | 2702396.9064 | 1241907.979 | 2702398.9356 | 1241905.0131
11 | 2702436.1222 | 1241915.8279 | 2702418.4337 | 1241901.2533
12 | 2702485.6655 | 1241954.1687 | 2702489.796 | 1241949.681 | 2702494.7663 | 1241944.2849 | 2702500.2646 | 1241947.7159
13 | 2702500.2646 | 1241947.7159 | 2702502.4496 | 1241945.5408 | 2702508.1253 | 1241940.8709
14 | 2702485.6655 | 1241954.1687 | 2702483.084 | 1241951.7223 | 2702477.9502 | 1241945.5733 | 2702472.2124 | 1241940.6597
15 | 2702485.6655 | 1241954.1687 | 2702488.1101 | 1241956.2237 | 2702493.276 | 1241960.5162 | 2702495.6602 | 1241962.1252 | 2702497.5296 | 1241963.2271
16 | 2702435.6732 | 1241896.7455 | 2702428.8495 | 1241891.0686
17 | 2702518.13 | 1241979.7714 | 2702522.4704 | 1241975.8211 | 2702529.7782 | 1241969.0532 | 2702526.1878 | 1241965.9221
18 | 2702526.1878 | 1241965.9221 | 2702531.2682 | 1241964.6533 | 2702533.8159 | 1241963.8191
19 | 2702499.3726 | 1241964.3244 | 2702500.0538 | 1241964.7253 | 2702504.2474 | 1241967.9558 | 2702518.13 | 1241979.7714
20 | 2702518.13 | 1241979.7714 | 2702515.157 | 1241982.4777 | 2702510.0939 | 1241985.8039 | 2702497.6591 | 1241989.0481
21 | 2702454.8745 | 1241926.0178 | 2702466.3414 | 1241935.6319 | 2702472.2124 | 1241940.6597
22 | 2702499.3726 | 1241964.3244 | 2702497.8758 | 1241963.4312 | 2702497.5296 | 1241963.2271
23 | 2702482.188 | 1241993.0845 | 2702497.6591 | 1241989.0481
24 | 2702387.6451 | 1241912.7118 | 2702394.1232 | 1241911.9563 | 2702396.9064 | 1241907.979
25 | 2702454.8745 | 1241926.0178 | 2702450.078 | 1241921.9962 | 2702444.8207 | 1241922.9951 | 2702436.1222 | 1241915.8279
26 | 2702373.2629 | 1241896.2194 | 2702376.0313 | 1241899.394
27 | 2702387.6451 | 1241912.7118 | 2702376.0313 | 1241899.394
28 | 2702448.8661 | 1241907.7211 | 2702435.6732 | 1241896.7455
29 | 2702448.8661 | 1241907.7211 | 2702458.4738 | 1241915.7141 | 2702461.7289 | 1241918.4542
30 | 2702482.188 | 1241993.0845 | 2702476.1997 | 1241994.6468
31 | 2702398.1441 | 1241946.2187 | 2702402.4553 | 1241951.8419
32 | 2702398.1441 | 1241946.2187 | 2702389.8878 | 1241948.3668 | 2702385.4697 | 1241954.642
33 | 2702402.4553 | 1241951.8419 | 2702405.5718 | 1241955.9075
34 | 2702385.4697 | 1241954.642 | 2702382.6402 | 1241958.6609 | 2702382.6402 | 1241958.6609
35 | 2702412.2164 | 1241964.5757 | 2702405.5718 | 1241955.9075
36 | 2702384.1176 | 1242028.5736 | 2702381.4492 | 1242021.5222 | 2702377.998 | 1242013.3897 | 2702376.5512 | 1242010.6691
37 | 2702384.1176 | 1242028.5736 | 2702388.2344 | 1242043.7008 | 2702389.2548 | 1242059.0524 | 2702389.2533 | 1242062.0383
38 | 2702384.1176 | 1242028.5736 | 2702403.3253 | 1242020.2818
39 | 2702419.0353 | 1242013.4999 | 2702403.3253 | 1242020.2818
40 | 2702419.0353 | 1242013.4999 | 2702421.0698 | 1242012.6216
41 | 2702442.0986 | 1242003.5436 | 2702421.0698 | 1242012.6216
42 | 2702442.0986 | 1242003.5436 | 2702449.2259 | 1242001.6842
43 | 2702442.0986 | 1242003.5436 | 2702433.2282 | 1241991.9761
44 | 2702442.0986 | 1242003.5436 | 2702456.1579 | 1242021.4572
45 | 2702476.1997 | 1241994.6468 | 2702449.2259 | 1242001.6842
46 | 2702430.745 | 1241988.7379 | 2702433.2282 | 1241991.9761
47 | 2702456.1579 | 1242021.4572 | 2702461.2624 | 1242027.9611
48 | 2702425.4267 | 1241981.8026 | 2702430.745 | 1241988.7379
49 | 2702425.4267 | 1241981.8026 | 2702423.3789 | 1241979.1322
50 | 2702422.37 | 1241977.8165 | 2702423.3789 | 1241979.1322
51 | 2702412.2164 | 1241964.5757 | 2702426.7462 | 1241953.7087
52 | 2702412.2164 | 1241964.5757 | 2702422.37 | 1241977.8165

## bus_geodata
| x | y | coords
0 | 2702457.4889 | 1241883.8647
1 | 2702475.2634 | 1241886.1791
2 | 2702426.7238 | 1241879.0242
3 | 2702410.6315 | 1241873.3358
4 | 2702405.8281 | 1241873.8621
5 | 2702496.2229 | 1241930.3182
6 | 2702487.4287 | 1241940.0883
7 | 2702407.6858 | 1241892.3974
8 | 2702398.9356 | 1241905.0131
9 | 2702418.4337 | 1241901.2533
10 | 2702500.2646 | 1241947.7159
11 | 2702485.6655 | 1241954.1687
12 | 2702508.1253 | 1241940.8709
13 | 2702428.8495 | 1241891.0686
14 | 2702526.1878 | 1241965.9221
15 | 2702518.13 | 1241979.7714
16 | 2702533.8159 | 1241963.8191
17 | 2702472.2124 | 1241940.6597
18 | 2702497.5296 | 1241963.2271
19 | 2702499.3726 | 1241964.3244
20 | 2702497.6591 | 1241989.0481
21 | 2702396.9064 | 1241907.979
22 | 2702436.1222 | 1241915.8279
23 | 2702373.2629 | 1241896.2194
24 | 2702376.0313 | 1241899.394
25 | 2702435.6732 | 1241896.7455
26 | 2702461.7289 | 1241918.4542
27 | 2702448.8661 | 1241907.7211
28 | 2702454.8745 | 1241926.0178
29 | 2702482.188 | 1241993.0845
30 | 2702387.6451 | 1241912.7118
31 | 2702398.1441 | 1241946.2187
32 | 2702402.4553 | 1241951.8419
33 | 2702385.4697 | 1241954.642
34 | 2702405.5718 | 1241955.9075
35 | 2702376.5512 | 1242010.6691
36 | 2702384.1176 | 1242028.5736
37 | 2702382.6402 | 1241958.6609
38 | 2702403.3253 | 1242020.2818
39 | 2702419.0353 | 1242013.4999
40 | 2702421.0698 | 1242012.6216
41 | 2702389.2533 | 1242062.0383
42 | 2702442.0986 | 1242003.5436
43 | 2702449.2259 | 1242001.6842
44 | 2702433.2282 | 1241991.9761
45 | 2702456.1579 | 1242021.4572
46 | 2702476.1997 | 1241994.6468
47 | 2702430.745 | 1241988.7379
48 | 2702461.2624 | 1242027.9611
49 | 2702425.4267 | 1241981.8026
50 | 2702423.3789 | 1241979.1322
51 | 2702412.2164 | 1241964.5757
52 | 2702422.37 | 1241977.8165
53 | 2702426.7462 | 1241953.7087
54 | 2702485.6655 | 1241954.1687

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99012 | -0.19027 | 0.0048487 | 0.0012152
1 | 0.98983 | -0.1958 | 0.017351 | 0.0043486
2 | 0.99075 | -0.17797 | 0.0018016 | 0.00045153
3 | 0.99113 | -0.1707 | 0.0018497 | 0.00046359
4 | 0.99124 | -0.16839 | 0 | 0
5 | 0.99674 | -0.06245 | 0.020658 | 0.0051774
6 | 0.99699 | -0.057687 | 0 | 0
7 | 0.99255 | -0.14312 | 0 | 0
8 | 0.99225 | -0.14902 | 0.010806 | 0.0027082
9 | 0.99344 | -0.12587 | 0.030699 | 0.007694
10 | 0.99727 | -0.052274 | 0 | 0
11 | 0.99805 | -0.037267 | 0 | 0
12 | 0.99706 | -0.056364 | 0.022367 | 0.0056058
13 | 0.99065 | -0.17989 | 0.0017809 | 0.00044634
14 | 0.99383 | -0.1183 | 0 | 0
15 | 0.99453 | -0.10469 | 0 | 0
16 | 0.99355 | -0.12353 | 0.037454 | 0.009387
17 | 1 | 0 | -0.50002 | -0.12631
18 | 0.99671 | -0.062755 | 0.020915 | 0.0052419
19 | 0.99654 | -0.066153 | 0 | 0
20 | 0.99289 | -0.13618 | 0.053265 | 0.01335
21 | 0.99221 | -0.14971 | 0 | 0
22 | 0.99556 | -0.08516 | 0.032479 | 0.0081399
23 | 0.9919 | -0.15569 | 0.0051363 | 0.0012873
24 | 0.99192 | -0.1553 | 0.0057454 | 0.0014399
25 | 0.99048 | -0.18317 | 0.0015975 | 0.00040037
26 | 0.98995 | -0.19349 | 0.015017 | 0.0037636
27 | 0.99018 | -0.18901 | 0.0041487 | 0.0010398
28 | 0.99834 | -0.031684 | 0.026673 | 0.006685
29 | 0.99201 | -0.15317 | 0.0091862 | 0.0023023
30 | 0.9921 | -0.1519 | 0 | 0
31 | 0.98665 | -0.25728 | 0 | 0
32 | 0.98669 | -0.25637 | 0 | 0
33 | 0.98654 | -0.25936 | 0.0021102 | 0.00052887
34 | 0.98673 | -0.25571 | 0.0025698 | 0.00064406
35 | 0.98876 | -0.21619 | 0.0039762 | 0.00099654
36 | 0.98883 | -0.21481 | 0 | 0
37 | 0.98652 | -0.25981 | 0.0050653 | 0.0012695
38 | 0.989 | -0.21144 | 0.0052419 | 0.0013138
39 | 0.98923 | -0.20708 | 0.0087922 | 0.0022035
40 | 0.98928 | -0.20617 | 0.0017883 | 0.00044818
41 | 0.98867 | -0.21788 | 0.0050625 | 0.0012688
42 | 0.9898 | -0.19604 | 0 | 0
43 | 0.9903 | -0.18624 | 0.013039 | 0.0032678
44 | 0.98832 | -0.22474 | 0.016202 | 0.0040606
45 | 0.9895 | -0.2018 | 0.0074958 | 0.0018786
46 | 0.99169 | -0.15942 | 0.0083255 | 0.0020866
47 | 0.98796 | -0.23161 | 0.02796 | 0.0070076
48 | 0.98945 | -0.20278 | 0.0067192 | 0.001684
49 | 0.98743 | -0.24196 | 0.0081172 | 0.0020344
50 | 0.98725 | -0.24547 | 0.024671 | 0.0061832
51 | 0.98682 | -0.25381 | 0 | 0
52 | 0.9872 | -0.24646 | 0.0089545 | 0.0022442
53 | 0.98658 | -0.25863 | 0.014852 | 0.0037222
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.017356 | 0.0043513 | -0.017351 | -0.0043486 | 4.5732e-06 | 2.6964e-06 | 0.026084 | 0.026084 | 0.026084 | 0.99012 | -0.19027 | 0.98983 | -0.1958 | 7.1659
1 | -0.022204 | -0.0055665 | 0.022217 | 0.0055744 | 1.3022e-05 | 7.9326e-06 | 0.033371 | 0.033371 | 0.033371 | 0.99012 | -0.19027 | 0.99075 | -0.17797 | 9.1678
2 | -0.024019 | -0.0060259 | 0.024027 | 0.0060311 | 8.3309e-06 | 5.1119e-06 | 0.036077 | 0.036076 | 0.036077 | 0.99075 | -0.17797 | 0.99113 | -0.1707 | 9.9111
3 | -0.025877 | -0.0064946 | 0.02588 | 0.0064964 | 2.8507e-06 | 1.7595e-06 | 0.038854 | 0.038854 | 0.038854 | 0.99113 | -0.1707 | 0.99124 | -0.16839 | 10.674
4 | 0.022568 | 0.0056646 | -0.022556 | -0.005657 | 1.2379e-05 | 7.5523e-06 | 0.033881 | 0.033881 | 0.033881 | 0.99124 | -0.16839 | 0.99065 | -0.17989 | 9.3081
5 | -0.048448 | -0.012161 | 0.048506 | 0.012198 | 5.8452e-05 | 3.7029e-05 | 0.072735 | 0.072735 | 0.072735 | 0.99124 | -0.16839 | 0.99255 | -0.14312 | 19.9821
6 | -0.020658 | -0.0051774 | 0.020663 | 0.0051803 | 4.6885e-06 | 2.8292e-06 | 0.03084 | 0.03084 | 0.03084 | 0.99674 | -0.06245 | 0.99699 | -0.057687 | 8.4726
7 | -0.020663 | -0.0051803 | 0.020668 | 0.0051835 | 5.3314e-06 | 3.2171e-06 | 0.03084 | 0.03084 | 0.03084 | 0.99699 | -0.057687 | 0.99727 | -0.052274 | 8.4726
8 | 0.021697 | 0.0054408 | -0.021691 | -0.0054371 | 6.0928e-06 | 3.701e-06 | 0.032529 | 0.032529 | 0.032529 | 0.99255 | -0.14312 | 0.99225 | -0.14902 | 8.9365
9 | -0.070203 | -0.017639 | 0.070261 | 0.017676 | 5.7866e-05 | 3.6854e-05 | 0.10526 | 0.10526 | 0.10526 | 0.99255 | -0.14312 | 0.99344 | -0.12587 | 28.9186
10 | 0.010885 | 0.0027289 | -0.010885 | -0.0027287 | 3.591e-07 | 1.8341e-07 | 0.016324 | 0.016324 | 0.016324 | 0.99225 | -0.14902 | 0.99221 | -0.14971 | 4.4846
11 | -0.10096 | -0.02537 | 0.10116 | 0.025495 | 0.00019661 | 0.00012553 | 0.15125 | 0.15125 | 0.15125 | 0.99344 | -0.12587 | 0.99556 | -0.08516 | 41.5512
12 | -0.04304 | -0.010792 | 0.043071 | 0.010811 | 3.0804e-05 | 1.9454e-05 | 0.064221 | 0.064221 | 0.064221 | 0.99727 | -0.052274 | 0.99805 | -0.037267 | 17.6433
13 | 0.022372 | 0.0056085 | -0.022367 | -0.0056058 | 4.3596e-06 | 2.6541e-06 | 0.033381 | 0.033381 | 0.033381 | 0.99727 | -0.052274 | 0.99706 | -0.056364 | 9.1707
14 | -0.33687 | -0.085228 | 0.33747 | 0.085613 | 0.0006036 | 0.00038555 | 0.50253 | 0.50253 | 0.50253 | 0.99805 | -0.037267 | 1 | 0 | 46.0193
15 | 0.2938 | 0.074416 | -0.29344 | -0.074187 | 0.00035917 | 0.00022928 | 0.43831 | 0.43831 | 0.43831 | 0.99805 | -0.037267 | 0.99671 | -0.062755 | 40.1382
16 | 0.020775 | 0.0052107 | -0.020772 | -0.0052087 | 3.2416e-06 | 1.9603e-06 | 0.031206 | 0.031206 | 0.031206 | 0.99065 | -0.17989 | 0.99048 | -0.18317 | 8.5732
17 | -0.037464 | -0.0093929 | 0.037488 | 0.0094081 | 2.4299e-05 | 1.5284e-05 | 0.056094 | 0.056094 | 0.056094 | 0.99383 | -0.1183 | 0.99453 | -0.10469 | 15.4105
18 | 0.037464 | 0.0093929 | -0.037454 | -0.009387 | 9.3421e-06 | 5.8764e-06 | 0.056094 | 0.056094 | 0.056094 | 0.99383 | -0.1183 | 0.99355 | -0.12353 | 15.4105
19 | -0.27198 | -0.068596 | 0.27248 | 0.068917 | 0.00050279 | 0.00032084 | 0.40708 | 0.40708 | 0.40708 | 0.99453 | -0.10469 | 0.99654 | -0.066153 | 37.2788
20 | 0.23449 | 0.059188 | -0.23414 | -0.058963 | 0.00035309 | 0.00022509 | 0.35099 | 0.35099 | 0.35099 | 0.99453 | -0.10469 | 0.99289 | -0.13618 | 32.142
21 | 0.1609 | 0.040695 | -0.16065 | -0.040539 | 0.00024417 | 0.00015567 | 0.23955 | 0.23955 | 0.23955 | 1 | 0 | 0.99834 | -0.031684 | 32.9048
22 | 0.27252 | 0.068945 | -0.27248 | -0.068917 | 4.4431e-05 | 2.8352e-05 | 0.40708 | 0.40708 | 0.40708 | 0.99671 | -0.062755 | 0.99654 | -0.066153 | 37.2788
23 | 0.18087 | 0.045613 | -0.18072 | -0.04552 | 0.00014696 | 9.3434e-05 | 0.27116 | 0.27116 | 0.27116 | 0.99289 | -0.13618 | 0.99201 | -0.15317 | 24.8319
24 | 0.010885 | 0.0027287 | -0.010884 | -0.0027281 | 1.1345e-06 | 5.7945e-07 | 0.016324 | 0.016324 | 0.016324 | 0.99221 | -0.14971 | 0.9921 | -0.1519 | 4.4846
25 | -0.13364 | -0.033635 | 0.13398 | 0.033854 | 0.00034251 | 0.00021891 | 0.19979 | 0.19979 | 0.19979 | 0.99556 | -0.08516 | 0.99834 | -0.031684 | 54.8875
26 | -0.0051363 | -0.0012873 | 0.0051364 | 0.0012873 | 9.3778e-08 | 5.6484e-09 | 0.0077052 | 0.0077052 | 0.0077052 | 0.9919 | -0.15569 | 0.99192 | -0.1553 | 2.1168
27 | -0.010882 | -0.0027272 | 0.010884 | 0.0027281 | 1.7658e-06 | 9.0196e-07 | 0.016324 | 0.016324 | 0.016324 | 0.99192 | -0.1553 | 0.9921 | -0.1519 | 4.4846
28 | 0.019174 | 0.0048084 | -0.019169 | -0.0048052 | 5.3403e-06 | 3.197e-06 | 0.028806 | 0.028807 | 0.028807 | 0.99048 | -0.18317 | 0.99018 | -0.18901 | 7.9139
29 | -0.015017 | -0.0037636 | 0.01502 | 0.0037654 | 3.2008e-06 | 1.8331e-06 | 0.022572 | 0.022572 | 0.022572 | 0.98995 | -0.19349 | 0.99018 | -0.18901 | 6.2011
30 | 0.17154 | 0.043218 | -0.17149 | -0.043185 | 5.1248e-05 | 3.2559e-05 | 0.25738 | 0.25738 | 0.25738 | 0.99201 | -0.15317 | 0.99169 | -0.15942 | 23.57
31 | -0.0071763 | -0.0017986 | 0.0071767 | 0.0017987 | 3.1092e-07 | 1.0859e-07 | 0.010823 | 0.010823 | 0.010823 | 0.98665 | -0.25728 | 0.98669 | -0.25637 | 2.9734
32 | 0.0071763 | 0.0017986 | -0.0071756 | -0.0017984 | 7.1187e-07 | 2.4865e-07 | 0.010823 | 0.010823 | 0.010823 | 0.98665 | -0.25728 | 0.98654 | -0.25936 | 2.9734
33 | -0.0071767 | -0.0017987 | 0.0071769 | 0.0017988 | 2.2502e-07 | 7.8583e-08 | 0.010823 | 0.010823 | 0.010823 | 0.98669 | -0.25637 | 0.98673 | -0.25571 | 2.9734
34 | 0.0050654 | 0.0012695 | -0.0050653 | -0.0012695 | 1.0759e-07 | 6.1019e-09 | 0.0076402 | 0.0076403 | 0.0076403 | 0.98654 | -0.25936 | 0.98652 | -0.25981 | 2.099
35 | -0.0097467 | -0.0024429 | 0.0097476 | 0.0024433 | 8.8485e-07 | 4.2678e-07 | 0.014698 | 0.014698 | 0.014698 | 0.98673 | -0.25571 | 0.98682 | -0.25381 | 4.038
36 | -0.0039762 | -0.00099654 | 0.0039765 | 0.00099645 | 2.6124e-07 | -8.2359e-08 | 0.0059839 | 0.0059839 | 0.0059839 | 0.98876 | -0.21619 | 0.98883 | -0.21481 | 1.6439
37 | 0.0050633 | 0.0012688 | -0.0050625 | -0.0012688 | 7.4126e-07 | 3.7705e-08 | 0.0076193 | 0.0076195 | 0.0076195 | 0.98883 | -0.21481 | 0.98867 | -0.21788 | 2.0933
38 | -0.0090398 | -0.0022653 | 0.0090412 | 0.0022659 | 1.4518e-06 | 6.607e-07 | 0.013603 | 0.013603 | 0.013603 | 0.98883 | -0.21481 | 0.989 | -0.21144 | 3.7371
39 | -0.014283 | -0.0035797 | 0.014286 | 0.0035814 | 2.9633e-06 | 1.6769e-06 | 0.02149 | 0.02149 | 0.02149 | 0.989 | -0.21144 | 0.98923 | -0.20708 | 5.9038
40 | -0.023078 | -0.0057849 | 0.023079 | 0.0057855 | 1.0015e-06 | 6.1248e-07 | 0.034715 | 0.034715 | 0.034715 | 0.98923 | -0.20708 | 0.98928 | -0.20617 | 9.5371
41 | -0.024868 | -0.0062337 | 0.02488 | 0.0062411 | 1.2017e-05 | 7.3969e-06 | 0.037405 | 0.037405 | 0.037405 | 0.98928 | -0.20617 | 0.9898 | -0.19604 | 10.2761
42 | -0.14984 | -0.037653 | 0.14991 | 0.037698 | 7.0105e-05 | 4.4678e-05 | 0.2253 | 0.2253 | 0.2253 | 0.9898 | -0.19604 | 0.9903 | -0.18624 | 30.948
43 | 0.11074 | 0.027847 | -0.11059 | -0.02775 | 0.00015158 | 9.6822e-05 | 0.16652 | 0.16652 | 0.16652 | 0.9898 | -0.19604 | 0.98832 | -0.22474 | 45.7471
44 | 0.014219 | 0.0035649 | -0.014215 | -0.0035627 | 3.9023e-06 | 2.2049e-06 | 0.021377 | 0.021377 | 0.021377 | 0.9898 | -0.19604 | 0.9895 | -0.2018 | 5.8728
45 | -0.16295 | -0.040966 | 0.16316 | 0.041098 | 0.00020898 | 0.00013267 | 0.24489 | 0.24489 | 0.24489 | 0.9903 | -0.18624 | 0.99169 | -0.15942 | 22.4261
46 | 0.09439 | 0.02369 | -0.094359 | -0.02367 | 3.0911e-05 | 1.9731e-05 | 0.14213 | 0.14213 | 0.14213 | 0.98832 | -0.22474 | 0.98796 | -0.23161 | 39.0454
47 | 0.0067195 | 0.0016841 | -0.0067192 | -0.001684 | 3.1658e-07 | 9.6414e-08 | 0.010105 | 0.010105 | 0.010105 | 0.9895 | -0.2018 | 0.98945 | -0.20278 | 2.7761
48 | 0.066398 | 0.016663 | -0.066365 | -0.016642 | 3.2783e-05 | 2.0869e-05 | 0.10001 | 0.10001 | 0.10001 | 0.98796 | -0.23161 | 0.98743 | -0.24196 | 27.4761
49 | 0.058248 | 0.014607 | -0.058239 | -0.014601 | 9.7239e-06 | 6.1802e-06 | 0.087781 | 0.087781 | 0.087781 | 0.98743 | -0.24196 | 0.98725 | -0.24547 | 24.1156
50 | 0.033567 | 0.0084179 | -0.033566 | -0.0084169 | 1.5916e-06 | 9.9745e-07 | 0.050596 | 0.050596 | 0.050596 | 0.98725 | -0.24547 | 0.9872 | -0.24646 | 13.8999
51 | 0.014855 | 0.0037241 | -0.014852 | -0.0037222 | 3.414e-06 | 1.9532e-06 | 0.0224 | 0.0224 | 0.0224 | 0.98682 | -0.25381 | 0.98658 | -0.25863 | 6.1539
52 | -0.024603 | -0.0061674 | 0.024611 | 0.0061727 | 8.6117e-06 | 5.2982e-06 | 0.037098 | 0.037098 | 0.037098 | 0.98682 | -0.25381 | 0.9872 | -0.24646 | 10.1919

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51509 | 0.13008

## res_load
| p_mw | q_mvar
0 | 0.0048487 | 0.0012152
1 | 0.017351 | 0.0043486
2 | 0.0018016 | 0.00045153
3 | 0.0018497 | 0.00046359
4 | 0.020658 | 0.0051774
5 | 0.010806 | 0.0027082
6 | 0.030699 | 0.007694
7 | 0.022367 | 0.0056058
8 | 0.0017809 | 0.00044634
9 | 0.037454 | 0.009387
10 | 0.015067 | 0.0037762
11 | 0.020915 | 0.0052419
12 | 0.053265 | 0.01335
13 | 0.032479 | 0.0081399
14 | 0.0051363 | 0.0012873
15 | 0.0057454 | 0.0014399
16 | 0.0015975 | 0.00040037
17 | 0.015017 | 0.0037636
18 | 0.0041487 | 0.0010398
19 | 0.026673 | 0.006685
20 | 0.0091862 | 0.0023023
21 | 0.0021102 | 0.00052887
22 | 0.0025698 | 0.00064406
23 | 0.0039762 | 0.00099654
24 | 0.0050653 | 0.0012695
25 | 0.0052419 | 0.0013138
26 | 0.0087922 | 0.0022035
27 | 0.0017883 | 0.00044818
28 | 0.0050625 | 0.0012688
29 | 0.013039 | 0.0032678
30 | 0.016202 | 0.0040606
31 | 0.0074958 | 0.0018786
32 | 0.0083255 | 0.0020866
33 | 0.02796 | 0.0070076
34 | 0.0067192 | 0.001684
35 | 0.0081172 | 0.0020344
36 | 0.024671 | 0.0061832
37 | 0.0089545 | 0.0022442
38 | 0.014852 | 0.0037222

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1