## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-29_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_121-29_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_121-29_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_121-29_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_121-29_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_121-29_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_121-29_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_121-29_0_5_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_121-29_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_121-29_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_121-29_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_121-29_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_121-29_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_121-29_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_121-29_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_121-29_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_121-29_0_5_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_121-29_0_5_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_121-29_0_5_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_121-29_0_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_121-29_0_5_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_121-29_0_5_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_121-29_0_5_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_121-29_0_5_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_121-29_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_121-29_0_5_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_121-29_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_121-29_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_121-29_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_121-29_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_121-29_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_121-29_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_121-29_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_121-29_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_121-29_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_121-29_0_5_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_121-29_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_121-29_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_121-29_0_5_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_121-29_0_5_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_121-29_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_121-29_0_5_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_121-29_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_121-29_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_121-29_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_121-29_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_MV_6_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-29_0_5_load_0 | 0 | 0.0027812 | 0.00069703 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-29_0_5_load_1 | 1 | 0.00048686 | 0.00012202 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-29_0_5_load_4 | 4 | 0.024182 | 0.0060606 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-29_0_5_load_5 | 5 | 0.00018229 | 4.5687e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-29_0_5_load_6 | 6 | 0.057559 | 0.014426 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-29_0_5_load_15 | 7 | 0.00073419 | 0.00018401 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-29_0_5_load_7 | 9 | 0.026649 | 0.0066788 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-29_0_5_load_8 | 10 | 0.088484 | 0.022176 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-29_0_5_load_11 | 12 | 0.0018493 | 0.00046348 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-29_0_5_load_14 | 14 | 0.083519 | 0.020932 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-29_0_5_load_34 | 17 | 0.045286 | 0.01135 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-29_0_5_load_26 | 19 | 0.00077722 | 0.00019479 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-29_0_5_load_47 | 20 | 0.0030961 | 0.00077597 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-29_0_5_load_49 | 21 | 0.014306 | 0.0035855 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-29_0_5_load_33 | 22 | 0.011109 | 0.0027841 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-29_0_5_load_46 | 25 | 0.01135 | 0.0028447 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-29_0_5_load_17 | 26 | 0.035843 | 0.0089831 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-29_0_5_load_18 | 27 | 0.017855 | 0.0044749 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-29_0_5_load_19 | 28 | 0.00066011 | 0.00016544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-29_0_5_load_24 | 29 | 0.00046622 | 0.00011685 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-29_0_5_load_22 | 30 | 0.00093009 | 0.0002331 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-29_0_5_load_23 | 32 | 0.00038518 | 9.6535e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-29_0_5_load_27 | 33 | 0.00040405 | 0.00010126 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-29_0_5_load_28 | 34 | 0.01815 | 0.0045488 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-29_0_5_load_45 | 35 | 0.003222 | 0.00080752 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-29_0_5_load_29 | 36 | 0.0069065 | 0.0017309 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-29_0_5_load_30 | 37 | 0.0022419 | 0.00056187 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-29_0_5_load_42 | 38 | 0.011588 | 0.0029042 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-29_0_5_load_50 | 39 | 0.0030629 | 0.00076763 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-29_0_5_load_44 | 40 | 0.0065424 | 0.0016397 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-29_0_5_load_48 | 41 | 0.016812 | 0.0042135 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-29_0_5_load_37 | 42 | 0.0022652 | 0.0005677 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-29_0_5_load_40 | 44 | 0.0038394 | 0.00096224 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_121-29_0_5_load_43 | 45 | 0.0030704 | 0.00076952 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-29_0_5_line_0 |  | 0 | 1 | 0.017089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-29_0_5_line_1 |  | 0 | 2 | 0.011537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-29_0_5_line_2 |  | 1 | 3 | 0.055418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-29_0_5_line_3 |  | 2 | 4 | 0.038194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_121-29_0_5_line_4 |  | 3 | 5 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-29_0_5_line_5 |  | 4 | 6 | 0.071882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_121-29_0_5_line_6 |  | 6 | 7 | 0.022868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_121-29_0_5_line_7 |  | 7 | 8 | 0.017643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-29_0_5_line_8 |  | 8 | 14 | 0.020944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-29_0_5_line_9 |  | 8 | 10 | 0.036584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_121-29_0_5_line_10 |  | 9 | 10 | 0.0065196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_121-29_0_5_line_11 |  | 9 | 11 | 0.036658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_121-29_0_5_line_12 |  | 11 | 12 | 0.030189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-29_0_5_line_13 |  | 11 | 13 | 0.024352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-29_0_5_line_14 |  | 12 | 15 | 0.040183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_121-29_0_5_line_15 |  | 13 | 16 | 0.012608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_121-29_0_5_line_16 |  | 13 | 17 | 0.025996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-29_0_5_line_17 |  | 14 | 18 | 0.032212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_121-29_0_5_line_18 |  | 15 | 19 | 0.032357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_121-29_0_5_line_19 |  | 15 | 20 | 0.044384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_121-29_0_5_line_20 |  | 16 | 21 | 0.021091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_121-29_0_5_line_21 |  | 18 | 22 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_121-29_0_5_line_22 |  | 18 | 23 | 0.015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_121-29_0_5_line_23 |  | 19 | 24 | 0.024414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_121-29_0_5_line_24 |  | 20 | 25 | 0.024818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_121-29_0_5_line_25 |  | 21 | 41 | 0.027661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-29_0_5_line_26 |  | 22 | 35 | 0.031471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_121-29_0_5_line_27 |  | 23 | 36 | 0.0662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_121-29_0_5_line_28 |  | 24 | 31 | 0.030191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_121-29_0_5_line_29 |  | 26 | 27 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_121-29_0_5_line_30 |  | 27 | 28 | 0.041631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-29_0_5_line_31 |  | 28 | 29 | 0.0056342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_121-29_0_5_line_32 |  | 29 | 30 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-29_0_5_line_33 |  | 30 | 31 | 0.0061178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-29_0_5_line_34 |  | 31 | 32 | 0.019577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-29_0_5_line_35 |  | 32 | 33 | 0.0011422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-29_0_5_line_36 |  | 33 | 34 | 0.029036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_121-29_0_5_line_37 |  | 35 | 40 | 0.0007998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_121-29_0_5_line_38 |  | 36 | 37 | 0.021457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_121-29_0_5_line_39 |  | 37 | 38 | 0.07662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_121-29_0_5_line_40 |  | 38 | 39 | 0.02901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_121-29_0_5_line_41 |  | 40 | 45 | 0.033697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_121-29_0_5_line_42 |  | 42 | 43 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_121-29_0_5_line_43 |  | 43 | 44 | 0.0076527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_121-29_0_5_line_44 |  | 44 | 45 | 0.022504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-29_0_5_trafo_7 | 0.63 MVA 20/0.4 kV | 46 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2702414.1031 | 1243252.8328 | 2702431.184 | 1243253.3675
1 | 2702402.5719 | 1243252.4717 | 2702414.1031 | 1243252.8328
2 | 2702486.5751 | 1243255.1017 | 2702431.184 | 1243253.3675
3 | 2702402.5719 | 1243252.4717 | 2702379.352 | 1243253.1494 | 2702364.4389 | 1243254.383
4 | 2702486.5751 | 1243255.1017 | 2702486.9121 | 1243243.4763
5 | 2702364.4389 | 1243254.383 | 2702323.3 | 1243257.7862 | 2702292.8016 | 1243260.3055
6 | 2702270.0114 | 1243262.1932 | 2702286.553 | 1243260.8217 | 2702292.8016 | 1243260.3055
7 | 2702254.2523 | 1243255.8946 | 2702256.9867 | 1243258.6549 | 2702260.6999 | 1243260.765 | 2702265.1084 | 1243262.0086 | 2702270.0114 | 1243262.1932 | 2702270.0114 | 1243262.1932
8 | 2702254.2523 | 1243255.8946 | 2702252.4399 | 1243253.1501 | 2702251.1764 | 1243249.7034 | 2702248.1716 | 1243236.0463
9 | 2702254.2523 | 1243255.8946 | 2702249.1026 | 1243258.1743 | 2702245.2562 | 1243260.7211 | 2702242.5056 | 1243262.4083 | 2702239.4891 | 1243263.7351 | 2702235.1309 | 1243264.8387 | 2702229.6873 | 1243265.3119 | 2702222.9686 | 1243265.6409 | 2702219.842 | 1243265.7877
10 | 2702213.3296 | 1243266.0934 | 2702219.842 | 1243265.7877
11 | 2702176.7114 | 1243267.8126 | 2702213.3296 | 1243266.0934
12 | 2702176.7114 | 1243267.8126 | 2702146.5465 | 1243269.0198
13 | 2702156.4132 | 1243255.9984 | 2702161.158 | 1243256.5917 | 2702168.7024 | 1243259.6684 | 2702176.7114 | 1243267.8126
14 | 2702106.3959 | 1243270.6267 | 2702146.5465 | 1243269.0198
15 | 2702143.898 | 1243254.4707 | 2702152.0302 | 1243255.467 | 2702156.4132 | 1243255.9984
16 | 2702156.4132 | 1243255.9984 | 2702153.8706 | 1243243.8564 | 2702153.3234 | 1243230.2767
17 | 2702241.2498 | 1243204.5863 | 2702248.1716 | 1243236.0463
18 | 2702106.3959 | 1243270.6267 | 2702074.0535 | 1243271.6076
19 | 2702106.3959 | 1243270.6267 | 2702104.158 | 1243226.2992
20 | 2702143.898 | 1243254.4707 | 2702135.2379 | 1243253.3986 | 2702134.8064 | 1243241.0414
21 | 2702241.2498 | 1243204.5863 | 2702238.736 | 1243192.7878
22 | 2702241.2498 | 1243204.5863 | 2702225.665 | 1243204.8291
23 | 2702049.6812 | 1243272.9529 | 2702064.2969 | 1243271.9035 | 2702074.0535 | 1243271.6076
24 | 2702102.9066 | 1243201.5132 | 2702104.158 | 1243226.2992
25 | 2702133.8412 | 1243213.3976 | 2702134.8064 | 1243241.0414
26 | 2702233.0398 | 1243161.8693 | 2702233.1087 | 1243164.2037 | 2702236.0255 | 1243180.0662 | 2702238.736 | 1243192.7878
27 | 2702225.665 | 1243204.8291 | 2702223.5987 | 1243170.3335 | 2702191.9895 | 1243171.7863
28 | 2702049.6812 | 1243272.9529 | 2702050.2947 | 1243285.184 | 2702053.2774 | 1243289.7722 | 2702060.4933 | 1243294.3665 | 2702063.9142 | 1243296.338
29 | 2702088.1556 | 1243370.2344 | 2702087.3486 | 1243357.7627
30 | 2702085.1209 | 1243316.2438 | 2702085.9236 | 1243320.2907 | 2702086.5435 | 1243345.3207 | 2702087.3486 | 1243357.7627
31 | 2702085.1209 | 1243316.2438 | 2702084.0247 | 1243310.7173 | 2702084.0247 | 1243310.7173
32 | 2702069.2782 | 1243299.2798 | 2702081.0787 | 1243305.7517 | 2702084.0247 | 1243310.7173
33 | 2702063.9142 | 1243296.338 | 2702069.2782 | 1243299.2798
34 | 2702063.9142 | 1243296.338 | 2702081.0787 | 1243305.7517
35 | 2702081.0787 | 1243305.7517 | 2702081.0787 | 1243305.7517 | 2702081.6615 | 1243306.734
36 | 2702086.2861 | 1243334.9305 | 2702085.9236 | 1243320.2907 | 2702084.0247 | 1243310.7173 | 2702081.6615 | 1243306.734
37 | 2702233.0398 | 1243161.8693 | 2702233.0161 | 1243161.0698
38 | 2702170.5551 | 1243172.7715 | 2702191.9895 | 1243171.7863
39 | 2702170.5551 | 1243172.7715 | 2702137.3564 | 1243103.7177
40 | 2702137.3564 | 1243103.7177 | 2702108.4065 | 1243105.578 | 2702108.4065 | 1243105.578
41 | 2702235.1686 | 1243127.6104 | 2702234.823 | 1243129.2284 | 2702232.4881 | 1243143.199 | 2702233.0161 | 1243161.0698
42 | 2702241.4678 | 1243098.1188 | 2702246.2871 | 1243077.8787
43 | 2702241.4678 | 1243098.1188 | 2702239.8693 | 1243105.6026
44 | 2702239.8693 | 1243105.6026 | 2702235.1686 | 1243127.6104

## bus_geodata
| x | y | coords
0 | 2702414.1031 | 1243252.8328
1 | 2702431.184 | 1243253.3675
2 | 2702402.5719 | 1243252.4717
3 | 2702486.5751 | 1243255.1017
4 | 2702364.4389 | 1243254.383
5 | 2702486.9121 | 1243243.4763
6 | 2702292.8016 | 1243260.3055
7 | 2702270.0114 | 1243262.1932
8 | 2702254.2523 | 1243255.8946
9 | 2702213.3296 | 1243266.0934
10 | 2702219.842 | 1243265.7877
11 | 2702176.7114 | 1243267.8126
12 | 2702146.5465 | 1243269.0198
13 | 2702156.4132 | 1243255.9984
14 | 2702248.1716 | 1243236.0463
15 | 2702106.3959 | 1243270.6267
16 | 2702143.898 | 1243254.4707
17 | 2702153.3234 | 1243230.2767
18 | 2702241.2498 | 1243204.5863
19 | 2702074.0535 | 1243271.6076
20 | 2702104.158 | 1243226.2992
21 | 2702134.8064 | 1243241.0414
22 | 2702238.736 | 1243192.7878
23 | 2702225.665 | 1243204.8291
24 | 2702049.6812 | 1243272.9529
25 | 2702102.9066 | 1243201.5132
26 | 2702088.1556 | 1243370.2344
27 | 2702087.3486 | 1243357.7627
28 | 2702085.1209 | 1243316.2438
29 | 2702084.0247 | 1243310.7173
30 | 2702069.2782 | 1243299.2798
31 | 2702063.9142 | 1243296.338
32 | 2702081.0787 | 1243305.7517
33 | 2702081.6615 | 1243306.734
34 | 2702086.2861 | 1243334.9305
35 | 2702233.0398 | 1243161.8693
36 | 2702191.9895 | 1243171.7863
37 | 2702170.5551 | 1243172.7715
38 | 2702137.3564 | 1243103.7177
39 | 2702108.4065 | 1243105.578
40 | 2702233.0161 | 1243161.0698
41 | 2702133.8412 | 1243213.3976
42 | 2702246.2871 | 1243077.8787
43 | 2702241.4678 | 1243098.1188
44 | 2702239.8693 | 1243105.6026
45 | 2702235.1686 | 1243127.6104
46 | 2702176.7114 | 1243267.8126

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9905 | -0.18274 | 0.0027812 | 0.00069703
1 | 0.99049 | -0.18295 | 0.00048686 | 0.00012202
2 | 0.99054 | -0.18204 | 0 | 0
3 | 0.99048 | -0.18313 | 0 | 0
4 | 0.99066 | -0.17969 | 0.024182 | 0.0060606
5 | 0.99048 | -0.18317 | 0.00018229 | 4.5687e-05
6 | 0.99248 | -0.14448 | 0.057559 | 0.014426
7 | 0.99426 | -0.11006 | 0.00073419 | 0.00018401
8 | 0.99565 | -0.083369 | 0 | 0
9 | 1 | 0 | -0.48511 | -0.12252
10 | 0.99938 | -0.011817 | 0.088484 | 0.022176
11 | 0.99717 | -0.053883 | 0 | 0
12 | 0.99461 | -0.10257 | 0.0018493 | 0.00046348
13 | 0.99547 | -0.086553 | 0 | 0
14 | 0.99302 | -0.13409 | 0.083519 | 0.020932
15 | 0.99128 | -0.16645 | 0 | 0
16 | 0.99512 | -0.093456 | 0 | 0
17 | 0.9944 | -0.10728 | 0.045286 | 0.01135
18 | 0.99143 | -0.16481 | 0 | 0
19 | 0.98902 | -0.20987 | 0.00077722 | 0.00019479
20 | 0.99069 | -0.17783 | 0.0030961 | 0.00077597
21 | 0.99452 | -0.10502 | 0.014306 | 0.0035855
22 | 0.99109 | -0.17124 | 0.011109 | 0.0027841
23 | 0.99109 | -0.17137 | 0 | 0
24 | 0.98734 | -0.24242 | 0 | 0
25 | 0.99044 | -0.18284 | 0.01135 | 0.0028447
26 | 0.98121 | -0.36189 | 0.035843 | 0.0089831
27 | 0.98162 | -0.35379 | 0.017855 | 0.0044749
28 | 0.98369 | -0.31343 | 0.00066011 | 0.00016544
29 | 0.98397 | -0.30792 | 0.00046622 | 0.00011685
30 | 0.98494 | -0.28896 | 0.00093009 | 0.0002331
31 | 0.98526 | -0.28283 | 0 | 0
32 | 0.98492 | -0.28949 | 0.00038518 | 9.6535e-05
33 | 0.9849 | -0.28987 | 0.00040405 | 0.00010126
34 | 0.98441 | -0.29934 | 0.01815 | 0.0045488
35 | 0.99055 | -0.18182 | 0.003222 | 0.00080752
36 | 0.98964 | -0.19937 | 0.0069065 | 0.0017309
37 | 0.98931 | -0.20582 | 0.0022419 | 0.00056187
38 | 0.98828 | -0.22584 | 0.011588 | 0.0029042
39 | 0.9882 | -0.22742 | 0.0030629 | 0.00076763
40 | 0.99054 | -0.18204 | 0.0065424 | 0.0016397
41 | 0.99409 | -0.11321 | 0.016812 | 0.0042135
42 | 0.99007 | -0.19113 | 0.0022652 | 0.0005677
43 | 0.99011 | -0.19029 | 0 | 0
44 | 0.99013 | -0.18998 | 0.0038394 | 0.00096224
45 | 0.99025 | -0.18754 | 0.0030704 | 0.00076952
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00066916 | 0.00016663 | -0.00066916 | -0.00016684 | 6.4718e-09 | -2.1582e-07 | 0.0010049 | 0.001005 | 0.001005 | 0.9905 | -0.18274 | 0.99049 | -0.18295 | 0.27609
1 | -0.0034503 | -0.00086366 | 0.0034505 | 0.00086358 | 1.1622e-07 | -7.412e-08 | 0.005183 | 0.005183 | 0.005183 | 0.9905 | -0.18274 | 0.99054 | -0.18204 | 1.4239
2 | 0.0001823 | 4.4825e-05 | -0.00018229 | -4.5538e-05 | 1.5566e-09 | -7.1229e-07 | 0.00027356 | 0.00027381 | 0.00027381 | 0.99049 | -0.18295 | 0.99048 | -0.18313 | 0.075223
3 | -0.0034505 | -0.00086358 | 0.0034508 | 0.00086334 | 3.8474e-07 | -2.4547e-07 | 0.005183 | 0.0051828 | 0.005183 | 0.99054 | -0.18204 | 0.99066 | -0.17969 | 1.4239
4 | 0.00018229 | 4.5538e-05 | -0.00018229 | -4.5687e-05 | 3.2704e-10 | -1.4948e-07 | 0.00027381 | 0.00027386 | 0.00027386 | 0.99048 | -0.18313 | 0.99048 | -0.18317 | 0.075237
5 | -0.027633 | -0.0069239 | 0.027679 | 0.0069527 | 4.6436e-05 | 2.8792e-05 | 0.041505 | 0.041505 | 0.041505 | 0.99066 | -0.17969 | 0.99248 | -0.14448 | 11.4025
6 | -0.085238 | -0.021378 | 0.085378 | 0.021468 | 0.00014007 | 8.9347e-05 | 0.1278 | 0.1278 | 0.1278 | 0.99248 | -0.14448 | 0.99426 | -0.11006 | 35.1104
7 | -0.086112 | -0.021652 | 0.086222 | 0.021722 | 0.00010993 | 7.0127e-05 | 0.1289 | 0.1289 | 0.1289 | 0.99426 | -0.11006 | 0.99565 | -0.083369 | 35.4123
8 | 0.13786 | 0.034738 | -0.13753 | -0.034525 | 0.00033361 | 0.00021324 | 0.2061 | 0.2061 | 0.2061 | 0.99565 | -0.083369 | 0.99302 | -0.13409 | 56.6209
9 | -0.22408 | -0.05646 | 0.22485 | 0.056951 | 0.00076981 | 0.00049172 | 0.335 | 0.335 | 0.335 | 0.99565 | -0.083369 | 0.99938 | -0.011817 | 46.0166
10 | 0.31351 | 0.079241 | -0.31334 | -0.079128 | 0.00017754 | 0.00011337 | 0.46675 | 0.46675 | 0.46675 | 1 | 0 | 0.99938 | -0.011817 | 42.7425
11 | 0.16995 | 0.043279 | -0.16951 | -0.042998 | 0.00044042 | 0.00028091 | 0.25313 | 0.25313 | 0.25313 | 1 | 0 | 0.99717 | -0.053883 | 34.7707
12 | 0.092907 | 0.023724 | -0.092689 | -0.023585 | 0.00021809 | 0.00013918 | 0.1388 | 0.1388 | 0.1388 | 0.99717 | -0.053883 | 0.99461 | -0.10257 | 38.1308
13 | 0.076602 | 0.019274 | -0.076483 | -0.019198 | 0.00011938 | 7.6085e-05 | 0.11434 | 0.11434 | 0.11434 | 0.99717 | -0.053883 | 0.99547 | -0.086553 | 31.4108
14 | 0.09084 | 0.023122 | -0.090561 | -0.022944 | 0.00027883 | 0.00017793 | 0.13603 | 0.13603 | 0.13603 | 0.99461 | -0.10257 | 0.99128 | -0.16645 | 37.3708
15 | 0.031152 | 0.0078199 | -0.031142 | -0.0078135 | 1.0254e-05 | 6.3987e-06 | 0.04657 | 0.04657 | 0.04657 | 0.99547 | -0.086553 | 0.99512 | -0.093456 | 12.794
16 | 0.04533 | 0.011378 | -0.045286 | -0.01135 | 4.4766e-05 | 2.8313e-05 | 0.067765 | 0.067765 | 0.067765 | 0.99547 | -0.086553 | 0.9944 | -0.10728 | 18.6168
17 | 0.054007 | 0.013593 | -0.053928 | -0.013543 | 7.9155e-05 | 5.0243e-05 | 0.080949 | 0.080949 | 0.080949 | 0.99302 | -0.13409 | 0.99143 | -0.16481 | 22.2388
18 | 0.076104 | 0.019317 | -0.075945 | -0.019216 | 0.0001586 | 0.00010109 | 0.11433 | 0.11433 | 0.11433 | 0.99128 | -0.16645 | 0.98902 | -0.20987 | 31.4085
19 | 0.014457 | 0.0036265 | -0.014449 | -0.0036221 | 7.8396e-06 | 4.4455e-06 | 0.021703 | 0.021703 | 0.021703 | 0.99128 | -0.16645 | 0.99069 | -0.17783 | 5.9624
20 | 0.031142 | 0.0078135 | -0.031125 | -0.0078028 | 1.7153e-05 | 1.0704e-05 | 0.04657 | 0.04657 | 0.04657 | 0.99512 | -0.093456 | 0.99452 | -0.10502 | 12.794
21 | 0.03007 | 0.0075432 | -0.030061 | -0.0075375 | 9.2153e-06 | 5.7423e-06 | 0.045134 | 0.045134 | 0.045134 | 0.99143 | -0.16481 | 0.99109 | -0.17124 | 12.3995
22 | 0.023858 | 0.0059995 | -0.02385 | -0.0059949 | 7.4755e-06 | 4.584e-06 | 0.035815 | 0.035815 | 0.035815 | 0.99143 | -0.16481 | 0.99109 | -0.17137 | 9.8393
23 | 0.075168 | 0.019021 | -0.075051 | -0.018947 | 0.00011723 | 7.4716e-05 | 0.11316 | 0.11316 | 0.11316 | 0.98902 | -0.20987 | 0.98734 | -0.24242 | 31.0873
24 | 0.011353 | 0.0028461 | -0.01135 | -0.0028447 | 2.7063e-06 | 1.4126e-06 | 0.017053 | 0.017053 | 0.017053 | 0.99069 | -0.17783 | 0.99044 | -0.18284 | 4.6848
25 | 0.016819 | 0.0042173 | -0.016812 | -0.0042135 | 6.5688e-06 | 3.8453e-06 | 0.025165 | 0.025165 | 0.025165 | 0.99452 | -0.10502 | 0.99409 | -0.11321 | 6.9135
26 | 0.018952 | 0.0047534 | -0.018943 | -0.0047477 | 9.5564e-06 | 5.7107e-06 | 0.028456 | 0.028456 | 0.028456 | 0.99109 | -0.17124 | 0.99055 | -0.18182 | 7.8176
27 | 0.02385 | 0.0059949 | -0.023819 | -0.0059754 | 3.1844e-05 | 1.9528e-05 | 0.035815 | 0.035815 | 0.035815 | 0.99109 | -0.17137 | 0.98964 | -0.19937 | 9.8394
28 | 0.075051 | 0.018947 | -0.074906 | -0.018854 | 0.00014497 | 9.2395e-05 | 0.11316 | 0.11316 | 0.11316 | 0.98734 | -0.24242 | 0.98526 | -0.28283 | 31.0873
29 | -0.035843 | -0.0089831 | 0.035857 | 0.0089918 | 1.3847e-05 | 8.7044e-06 | 0.054356 | 0.054356 | 0.054356 | 0.98121 | -0.36189 | 0.98162 | -0.35379 | 14.9331
30 | -0.053712 | -0.013467 | 0.053815 | 0.013532 | 0.0001035 | 6.5712e-05 | 0.081422 | 0.081422 | 0.081422 | 0.98162 | -0.35379 | 0.98369 | -0.31343 | 22.3688
31 | -0.054475 | -0.013698 | 0.05449 | 0.013707 | 1.4353e-05 | 9.1143e-06 | 0.082421 | 0.082421 | 0.082421 | 0.98369 | -0.31343 | 0.98397 | -0.30792 | 22.643
32 | -0.054956 | -0.013824 | 0.055006 | 0.013855 | 4.9835e-05 | 3.165e-05 | 0.083126 | 0.083126 | 0.083126 | 0.98397 | -0.30792 | 0.98494 | -0.28896 | 22.8367
33 | -0.055936 | -0.014089 | 0.055952 | 0.014099 | 1.6393e-05 | 1.0414e-05 | 0.084531 | 0.084531 | 0.084531 | 0.98494 | -0.28896 | 0.98526 | -0.28283 | 23.2227
34 | 0.018954 | 0.0047553 | -0.018948 | -0.0047517 | 6.0162e-06 | 3.6011e-06 | 0.028627 | 0.028627 | 0.028627 | 0.98526 | -0.28283 | 0.98492 | -0.28949 | 7.8646
35 | 0.018562 | 0.0046551 | -0.018562 | -0.0046549 | 3.369e-07 | 2.0108e-07 | 0.028045 | 0.028045 | 0.028045 | 0.98492 | -0.28949 | 0.9849 | -0.28987 | 7.7047
36 | 0.018158 | 0.0045537 | -0.01815 | -0.0045488 | 8.1954e-06 | 4.8757e-06 | 0.027435 | 0.027435 | 0.027435 | 0.9849 | -0.28987 | 0.98441 | -0.29934 | 7.5371
37 | 0.015721 | 0.0039402 | -0.015721 | -0.0039401 | 1.6727e-07 | 9.676e-08 | 0.023616 | 0.023616 | 0.023616 | 0.99055 | -0.18182 | 0.99054 | -0.18204 | 6.4879
38 | 0.016912 | 0.0042445 | -0.016907 | -0.0042414 | 5.2038e-06 | 3.0549e-06 | 0.025431 | 0.025431 | 0.025431 | 0.98964 | -0.19937 | 0.98931 | -0.20582 | 6.9865
39 | 0.014665 | 0.0036796 | -0.014651 | -0.0036716 | 1.3981e-05 | 7.9653e-06 | 0.022059 | 0.022059 | 0.022059 | 0.98931 | -0.20582 | 0.98828 | -0.22584 | 6.0602
40 | 0.0030631 | 0.0007674 | -0.0030629 | -0.00076763 | 2.3139e-07 | -2.236e-07 | 0.0046119 | 0.004612 | 0.004612 | 0.98828 | -0.22584 | 0.9882 | -0.22742 | 1.267
41 | 0.0091782 | 0.0023004 | -0.0091758 | -0.0022993 | 2.4023e-06 | 1.1038e-06 | 0.013788 | 0.013788 | 0.013788 | 0.99054 | -0.18204 | 0.99025 | -0.18754 | 3.7879
42 | -0.0022652 | -0.0005677 | 0.0022652 | 0.00056749 | 9.0424e-08 | -2.0971e-07 | 0.0034044 | 0.0034043 | 0.0034044 | 0.99007 | -0.19113 | 0.99011 | -0.19029 | 0.93527
43 | -0.0022652 | -0.00056749 | 0.0022653 | 0.00056741 | 3.3258e-08 | -7.7139e-08 | 0.0034043 | 0.0034043 | 0.0034043 | 0.99011 | -0.19029 | 0.99013 | -0.18998 | 0.93525
44 | -0.0061046 | -0.0015296 | 0.0061054 | 0.0015298 | 7.1028e-07 | 1.6511e-07 | 0.0091743 | 0.0091742 | 0.0091743 | 0.99013 | -0.18998 | 0.99025 | -0.18754 | 2.5204

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51176 | 0.1292

## res_load
| p_mw | q_mvar
0 | 0.0027812 | 0.00069703
1 | 0.00048686 | 0.00012202
2 | 0.024182 | 0.0060606
3 | 0.00018229 | 4.5687e-05
4 | 0.057559 | 0.014426
5 | 0.00073419 | 0.00018401
6 | 0.026649 | 0.0066788
7 | 0.088484 | 0.022176
8 | 0.0018493 | 0.00046348
9 | 0.083519 | 0.020932
10 | 0.045286 | 0.01135
11 | 0.00077722 | 0.00019479
12 | 0.0030961 | 0.00077597
13 | 0.014306 | 0.0035855
14 | 0.011109 | 0.0027841
15 | 0.01135 | 0.0028447
16 | 0.035843 | 0.0089831
17 | 0.017855 | 0.0044749
18 | 0.00066011 | 0.00016544
19 | 0.00046622 | 0.00011685
20 | 0.00093009 | 0.0002331
21 | 0.00038518 | 9.6535e-05
22 | 0.00040405 | 0.00010126
23 | 0.01815 | 0.0045488
24 | 0.003222 | 0.00080752
25 | 0.0069065 | 0.0017309
26 | 0.0022419 | 0.00056187
27 | 0.011588 | 0.0029042
28 | 0.0030629 | 0.00076763
29 | 0.0065424 | 0.0016397
30 | 0.016812 | 0.0042135
31 | 0.0022652 | 0.0005677
32 | 0.0038394 | 0.00096224
33 | 0.0030704 | 0.00076952

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1