## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-33_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_121-33_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_121-33_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_121-33_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_121-33_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_121-33_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_121-33_0_6_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_121-33_0_6_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_121-33_0_6_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_121-33_0_6_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_121-33_0_6_node_72 | 0.4 | n |  | TRUE
11 | bus_LV_121-33_0_6_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_121-33_0_6_node_92 | 0.4 | n |  | TRUE
13 | bus_LV_121-33_0_6_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_121-33_0_6_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_121-33_0_6_node_96 | 0.4 | n |  | TRUE
16 | bus_LV_121-33_0_6_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_121-33_0_6_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_121-33_0_6_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_121-33_0_6_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_121-33_0_6_node_93 | 0.4 | n |  | TRUE
21 | bus_LV_121-33_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_121-33_0_6_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_121-33_0_6_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_121-33_0_6_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_121-33_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_121-33_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_121-33_0_6_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_121-33_0_6_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_121-33_0_6_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_121-33_0_6_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_121-33_0_6_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_121-33_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_121-33_0_6_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_121-33_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_121-33_0_6_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_121-33_0_6_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_121-33_0_6_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_121-33_0_6_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_121-33_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_121-33_0_6_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_121-33_0_6_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_121-33_0_6_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_121-33_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_121-33_0_6_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_121-33_0_6_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_121-33_0_6_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_121-33_0_6_node_6 | 0.4 | n |  | TRUE
48 | bus_LV_121-33_0_6_node_7 | 0.4 | n |  | TRUE
49 | bus_LV_121-33_0_6_node_9 | 0.4 | n |  | TRUE
50 | bus_LV_121-33_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_121-33_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_121-33_0_6_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_121-33_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_121-33_0_6_node_11 | 0.4 | n |  | TRUE
55 | bus_LV_121-33_0_6_node_12 | 0.4 | n |  | TRUE
56 | bus_LV_121-33_0_6_node_13 | 0.4 | n |  | TRUE
57 | bus_LV_121-33_0_6_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_121-33_0_6_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_121-33_0_6_node_14 | 0.4 | n |  | TRUE
60 | bus_LV_121-33_0_6_node_15 | 0.4 | n |  | TRUE
61 | bus_LV_121-33_0_6_node_16 | 0.4 | n |  | TRUE
62 | bus_LV_121-33_0_6_node_17 | 0.4 | n |  | TRUE
63 | bus_LV_121-33_0_6_node_18 | 0.4 | n |  | TRUE
64 | bus_LV_121-33_0_6_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_121-33_0_6_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_121-33_0_6_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_121-33_0_6_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_121-33_0_6_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_121-33_0_6_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_121-33_0_6_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_121-33_0_6_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_121-33_0_6_node_89 | 0.4 | n |  | TRUE
73 | bus_LV_121-33_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_121-33_0_6_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_121-33_0_6_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_121-33_0_6_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_121-33_0_6_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_121-33_0_6_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_121-33_0_6_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_121-33_0_6_node_42 | 0.4 | n |  | TRUE
81 | bus_LV_121-33_0_6_node_46 | 0.4 | n |  | TRUE
82 | bus_LV_121-33_0_6_node_47 | 0.4 | n |  | TRUE
83 | bus_LV_121-33_0_6_node_48 | 0.4 | n |  | TRUE
84 | bus_LV_121-33_0_6_node_49 | 0.4 | n |  | TRUE
85 | bus_LV_121-33_0_6_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_121-33_0_6_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_121-33_0_6_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_121-33_0_6_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_121-33_0_6_node_68 | 0.4 | n |  | TRUE
90 | bus_LV_121-33_0_6_node_69 | 0.4 | n |  | TRUE
91 | bus_LV_121-33_0_6_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_121-33_0_6_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_121-33_0_6_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_121-33_0_6_node_87 | 0.4 | n |  | TRUE
95 | bus_MV_6_0_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-33_0_6_load_0 | 0 | 0.0010841 | 0.00027171 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-33_0_6_load_1 | 1 | 0.001775 | 0.00044486 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-33_0_6_load_5 | 5 | 0.0017194 | 0.00043091 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-33_0_6_load_39 | 6 | 0.0014322 | 0.00035895 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-33_0_6_load_38 | 7 | 0.0012377 | 0.00031019 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-33_0_6_load_91 | 8 | 0.0028253 | 0.00070809 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-33_0_6_load_37 | 9 | 0.0016206 | 0.00040616 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-33_0_6_load_72 | 10 | 0.0023385 | 0.00058609 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-33_0_6_load_92 | 12 | 0.023384 | 0.0058606 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-33_0_6_load_96 | 15 | 0.0085245 | 0.0021364 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-33_0_6_load_93 | 20 | 0.02458 | 0.0061604 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-33_0_6_load_8 | 23 | 0.00197 | 0.00049373 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-33_0_6_load_45 | 24 | 0.0049725 | 0.0012462 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-33_0_6_load_71 | 27 | 0.0066673 | 0.001671 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-33_0_6_load_88 | 28 | 0.057545 | 0.014422 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-33_0_6_load_78 | 31 | 0.01085 | 0.0027191 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-33_0_6_load_79 | 33 | 0.014156 | 0.0035478 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-33_0_6_load_62 | 36 | 0.0088219 | 0.002211 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-33_0_6_load_58 | 38 | 0.0098627 | 0.0024718 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-33_0_6_load_90 | 40 | 0.0074256 | 0.001861 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-33_0_6_load_80 | 42 | 0.028325 | 0.0070989 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-33_0_6_load_76 | 44 | 0.010506 | 0.002633 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-33_0_6_load_75 | 45 | 0.011028 | 0.0027639 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-33_0_6_load_84 | 46 | 0.0079704 | 0.0019976 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-33_0_6_load_6 | 47 | 0.0025203 | 0.00063164 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-33_0_6_load_7 | 48 | 0.0021628 | 0.00054206 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-33_0_6_load_41 | 51 | 0.0039105 | 0.00098005 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-33_0_6_load_51 | 52 | 0.016305 | 0.0040863 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-33_0_6_load_43 | 53 | 0.004774 | 0.0011965 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-33_0_6_load_11 | 54 | 0.0030724 | 0.00077001 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-33_0_6_load_12 | 55 | 0.0022863 | 0.000573 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-33_0_6_load_13 | 56 | 0.0022042 | 0.00055243 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-33_0_6_load_34 | 57 | 0.0027356 | 0.00068562 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_121-33_0_6_load_35 | 58 | 0.0068209 | 0.0017095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_121-33_0_6_load_14 | 59 | 0.0021164 | 0.00053041 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_121-33_0_6_load_15 | 60 | 0.0024781 | 0.00062108 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_121-33_0_6_load_16 | 61 | 0.001899 | 0.00047594 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_121-33_0_6_load_17 | 62 | 0.0021112 | 0.0005291 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_121-33_0_6_load_18 | 63 | 0.0020741 | 0.00051983 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_121-33_0_6_load_77 | 64 | 0.0028829 | 0.00072252 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_121-33_0_6_load_36 | 65 | 0.0027955 | 0.00070061 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_121-33_0_6_load_44 | 67 | 0.0040879 | 0.0010245 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_121-33_0_6_load_97 | 69 | 0.022175 | 0.0055575 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_121-33_0_6_load_94 | 70 | 0.0080742 | 0.0020236 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_121-33_0_6_load_95 | 71 | 0.0081702 | 0.0020476 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_121-33_0_6_load_89 | 72 | 0.0067511 | 0.001692 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_121-33_0_6_load_63 | 73 | 0.0026319 | 0.00065962 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_121-33_0_6_load_52 | 74 | 0.012273 | 0.003076 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_121-33_0_6_load_59 | 75 | 0.011094 | 0.0027804 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_121-33_0_6_load_86 | 76 | 0.015973 | 0.0040031 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_121-33_0_6_load_81 | 77 | 0.019263 | 0.0048277 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_121-33_0_6_load_85 | 78 | 0.0082944 | 0.0020788 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_121-33_0_6_load_73 | 79 | 0.0022494 | 0.00056374 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_121-33_0_6_load_42 | 80 | 0.011224 | 0.0028129 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_121-33_0_6_load_46 | 81 | 0.0086993 | 0.0021802 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_121-33_0_6_load_47 | 82 | 0.011665 | 0.0029234 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_121-33_0_6_load_48 | 83 | 0.0091241 | 0.0022867 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_121-33_0_6_load_49 | 84 | 0.007853 | 0.0019681 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_121-33_0_6_load_60 | 85 | 0.0028603 | 0.00071687 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_121-33_0_6_load_64 | 86 | 0.0022416 | 0.00056179 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_121-33_0_6_load_66 | 87 | 0.002686 | 0.00067317 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_121-33_0_6_load_67 | 88 | 0.002251 | 0.00056415 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_121-33_0_6_load_68 | 89 | 0.0023224 | 0.00058206 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_121-33_0_6_load_69 | 90 | 0.0023854 | 0.00059785 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_121-33_0_6_load_70 | 91 | 0.0024266 | 0.00060815 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_121-33_0_6_load_74 | 92 | 0.0022411 | 0.00056168 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_121-33_0_6_load_82 | 93 | 0.036042 | 0.009033 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_121-33_0_6_load_87 | 94 | 0.01848 | 0.0046314 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-33_0_6_line_0 |  | 0 | 1 | 0.011394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-33_0_6_line_1 |  | 0 | 2 | 0.0021671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-33_0_6_line_2 |  | 1 | 3 | 0.01808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-33_0_6_line_3 |  | 2 | 4 | 0.026359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_121-33_0_6_line_4 |  | 2 | 5 | 0.020118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-33_0_6_line_5 |  | 3 | 6 | 0.0039985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_121-33_0_6_line_6 |  | 3 | 7 | 0.026423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_121-33_0_6_line_7 |  | 4 | 8 | 0.036107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-33_0_6_line_8 |  | 5 | 9 | 0.024483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-33_0_6_line_9 |  | 6 | 10 | 0.025858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_121-33_0_6_line_10 |  | 10 | 79 | 0.00060495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_121-33_0_6_line_11 |  | 11 | 12 | 0.014189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_121-33_0_6_line_12 |  | 11 | 13 | 0.024802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-33_0_6_line_13 |  | 13 | 71 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-33_0_6_line_14 |  | 13 | 68 | 0.061789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_121-33_0_6_line_15 |  | 13 | 50 | 0.063289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_121-33_0_6_line_16 |  | 14 | 15 | 0.023995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-33_0_6_line_17 |  | 14 | 16 | 0.17432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_121-33_0_6_line_18 |  | 14 | 17 | 0.02492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_121-33_0_6_line_19 |  | 16 | 41 | 0.029448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_121-33_0_6_line_20 |  | 16 | 42 | 0.013259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_121-33_0_6_line_21 |  | 16 | 32 | 0.068612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_121-33_0_6_line_22 |  | 17 | 70 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_121-33_0_6_line_23 |  | 17 | 37 | 0.052334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_121-33_0_6_line_24 |  | 18 | 19 | 0.023873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_121-33_0_6_line_25 |  | 18 | 20 | 0.005349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-33_0_6_line_26 |  | 19 | 69 | 0.005615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_121-33_0_6_line_27 |  | 19 | 68 | 0.048364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_121-33_0_6_line_28 |  | 21 | 22 | 0.050707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_121-33_0_6_line_29 |  | 21 | 23 | 0.049124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_121-33_0_6_line_30 |  | 22 | 24 | 0.047462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-33_0_6_line_31 |  | 23 | 47 | 0.045064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_121-33_0_6_line_32 |  | 24 | 67 | 0.029333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-33_0_6_line_33 |  | 25 | 26 | 0.063836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-33_0_6_line_34 |  | 25 | 27 | 0.033264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-33_0_6_line_35 |  | 26 | 28 | 0.020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-33_0_6_line_36 |  | 28 | 68 | 0.034834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_121-33_0_6_line_37 |  | 29 | 30 | 0.028716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_121-33_0_6_line_38 |  | 29 | 31 | 0.020231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_121-33_0_6_line_39 |  | 30 | 46 | 0.016374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_121-33_0_6_line_40 |  | 31 | 44 | 0.023571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_121-33_0_6_line_41 |  | 32 | 33 | 0.046078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_121-33_0_6_line_42 |  | 34 | 35 | 0.024161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_121-33_0_6_line_43 |  | 34 | 36 | 0.040241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_121-33_0_6_line_44 |  | 34 | 37 | 0.032719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_121-33_0_6_line_45 |  | 34 | 38 | 0.041726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_121-33_0_6_line_46 |  | 35 | 72 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_121-33_0_6_line_47 |  | 35 | 39 | 0.023703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_121-33_0_6_line_48 |  | 36 | 73 | 0.022321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_121-33_0_6_line_49 |  | 37 | 74 | 0.03301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_121-33_0_6_line_50 |  | 38 | 75 | 0.03224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_121-33_0_6_line_51 |  | 39 | 40 | 0.015197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_121-33_0_6_line_52 |  | 41 | 76 | 0.036041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_121-33_0_6_line_53 |  | 42 | 77 | 0.037173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_121-33_0_6_line_54 |  | 43 | 44 | 0.027519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_121-33_0_6_line_55 |  | 43 | 45 | 0.01436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_121-33_0_6_line_56 |  | 45 | 66 | 0.021443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_121-33_0_6_line_57 |  | 46 | 78 | 0.026535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_121-33_0_6_line_58 |  | 47 | 48 | 0.039301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_121-33_0_6_line_59 |  | 49 | 50 | 0.007698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_121-33_0_6_line_60 |  | 49 | 51 | 0.021798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_121-33_0_6_line_61 |  | 50 | 52 | 0.032973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_121-33_0_6_line_62 |  | 51 | 53 | 0.02998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_121-33_0_6_line_63 |  | 52 | 74 | 0.048777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_121-33_0_6_line_64 |  | 53 | 80 | 0.017246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_121-33_0_6_line_65 |  | 54 | 55 | 0.0021285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_121-33_0_6_line_66 |  | 55 | 56 | 0.020185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_121-33_0_6_line_67 |  | 56 | 57 | 0.0042708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_121-33_0_6_line_68 |  | 57 | 58 | 0.0031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_121-33_0_6_line_69 |  | 58 | 65 | 0.0026755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_121-33_0_6_line_70 |  | 59 | 60 | 0.0050365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_121-33_0_6_line_71 |  | 59 | 61 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_121-33_0_6_line_72 |  | 60 | 62 | 0.0073198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_121-33_0_6_line_73 |  | 61 | 63 | 0.0081522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_121-33_0_6_line_74 |  | 62 | 64 | 0.0099325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_121-33_0_6_line_75 |  | 63 | 65 | 0.019341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_121-33_0_6_line_76 |  | 64 | 66 | 0.036655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_121-33_0_6_line_77 |  | 66 | 85 | 0.047279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_121-33_0_6_line_78 |  | 67 | 80 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_121-33_0_6_line_79 |  | 73 | 86 | 0.00097847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_121-33_0_6_line_80 |  | 75 | 85 | 0.00091143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_121-33_0_6_line_81 |  | 76 | 94 | 0.023109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_121-33_0_6_line_82 |  | 77 | 93 | 0.026259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_121-33_0_6_line_83 |  | 78 | 84 | 0.055146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_121-33_0_6_line_84 |  | 79 | 92 | 0.001302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_121-33_0_6_line_85 |  | 81 | 82 | 0.03011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_121-33_0_6_line_86 |  | 81 | 83 | 0.022196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_121-33_0_6_line_87 |  | 82 | 84 | 0.025107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_121-33_0_6_line_88 |  | 86 | 87 | 0.00051743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_121-33_0_6_line_89 |  | 87 | 88 | 0.0010354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_121-33_0_6_line_90 |  | 88 | 89 | 0.001581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_121-33_0_6_line_91 |  | 89 | 90 | 0.015485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_121-33_0_6_line_92 |  | 90 | 91 | 0.0016861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_121-33_0_6_line_93 |  | 91 | 92 | 0.0068038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-33_0_6_trafo_53 | 0.63 MVA 20/0.4 kV | 95 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2702751.5894 | 1243062.9235 | 2702756.1312 | 1243052.4739
1 | 2702750.7256 | 1243064.911 | 2702751.5894 | 1243062.9235
2 | 2702764.0517 | 1243036.2417 | 2702759.8829 | 1243043.8421 | 2702756.1312 | 1243052.4739
3 | 2702750.7256 | 1243064.911 | 2702740.2141 | 1243089.0922
4 | 2702750.7256 | 1243064.911 | 2702730.8666 | 1243061.6929
5 | 2702764.0517 | 1243036.2417 | 2702766.099 | 1243032.8072
6 | 2702764.0517 | 1243036.2417 | 2702778.6519 | 1243033.9484 | 2702790.2952 | 1243033.8445
7 | 2702704.1865 | 1243085.4324 | 2702740.2141 | 1243089.0922
8 | 2702706.6991 | 1243057.7767 | 2702730.8666 | 1243061.6929
9 | 2702766.099 | 1243032.8072 | 2702779.3391 | 1243010.5965
10 | 2702779.3391 | 1243010.5965 | 2702779.6488 | 1243010.0768
11 | 2702919.2164 | 1242943.6923 | 2702907.4399 | 1242935.7263
12 | 2702919.2164 | 1242943.6923 | 2702909.1234 | 1242966.357
13 | 2702909.1234 | 1242966.357 | 2702893.5973 | 1242956.2022
14 | 2702909.1234 | 1242966.357 | 2702898.6457 | 1242988.9818 | 2702901.4662 | 1242991.1212 | 2702920.2329 | 1243003.1671 | 2702915.0444 | 1243012.8847
15 | 2702883.852 | 1243021.1502 | 2702892.7543 | 1243005.6592 | 2702901.4662 | 1242991.1212 | 2702898.6457 | 1242988.9818 | 2702909.1234 | 1242966.357
16 | 2702895.4775 | 1242917.5603 | 2702872.6651 | 1242909.9145
17 | 2702895.4775 | 1242917.5603 | 2702902.21 | 1242907.7472 | 2702909.2862 | 1242897.7288 | 2702917.8304 | 1242901.58 | 2702940.0132 | 1242859.6989 | 2702951.0202 | 1242843.6218 | 2702954.56 | 1242840.0471 | 2702959.6292 | 1242836.777 | 2702958.1175 | 1242831.9693 | 2702975.1213 | 1242828.0057 | 2702995.4809 | 1242821.4872 | 2703000.1489 | 1242819.9893 | 2703003.2517 | 1242829.3838 | 2703005.1682 | 1242833.0866
18 | 2702881.3762 | 1242938.1318 | 2702895.4775 | 1242917.5603
19 | 2703020.3267 | 1242858.3137 | 2703010.5081 | 1242843.3984 | 2703005.1682 | 1242833.0866
20 | 2703005.1682 | 1242833.0866 | 2702997.22 | 1242836.707 | 2702992.7024 | 1242836.9686
21 | 2702959.3863 | 1242788.9357 | 2702970.1035 | 1242796.0939 | 2702986.222 | 1242807.8493 | 2702992.5301 | 1242814.2193 | 2702995.4809 | 1242821.4872 | 2703000.1489 | 1242819.9893 | 2703003.2517 | 1242829.3838 | 2703005.1682 | 1242833.0866
22 | 2702881.3762 | 1242938.1318 | 2702865.1108 | 1242933.1126
23 | 2702846.6292 | 1242951.2508 | 2702864.2022 | 1242963.6984 | 2702881.3762 | 1242938.1318
24 | 2702935.6561 | 1242969.1527 | 2702945.424 | 1242947.3608
25 | 2702940.6115 | 1242944.9977 | 2702945.424 | 1242947.3608
26 | 2702935.6561 | 1242969.1527 | 2702930.4622 | 1242966.9831
27 | 2702915.0444 | 1243012.8847 | 2702920.2329 | 1243003.1671 | 2702935.6561 | 1242969.1527
28 | 2702800.7681 | 1243165.022 | 2702755.1396 | 1243142.6255
29 | 2702755.1396 | 1243142.6255 | 2702773.4669 | 1243106.2924 | 2702776.9977 | 1243099.2926 | 2702777.276 | 1243098.7722
30 | 2702800.7681 | 1243165.022 | 2702810.9758 | 1243146.5956 | 2702812.8373 | 1243138.644 | 2702822.2674 | 1243123.0416
31 | 2702798.2586 | 1243058.8963 | 2702794.9446 | 1243065.733 | 2702777.276 | 1243098.7722
32 | 2702837.4405 | 1243097.9374 | 2702822.2674 | 1243123.0416
33 | 2702962.8038 | 1243041.4575 | 2702971.4014 | 1243046.5773 | 2702991.6012 | 1243065.7539 | 2702994.6338 | 1243060.9027 | 2702996.3293 | 1243058.1745 | 2703005.2304 | 1243043.6399
34 | 2703005.2304 | 1243043.6399 | 2703011.0215 | 1243047.1098 | 2703026.1861 | 1243025.3623
35 | 2702962.8038 | 1243041.4575 | 2702944.5872 | 1243031.0486
36 | 2702915.0444 | 1243012.8847 | 2702917.545 | 1243015.5968 | 2702944.5872 | 1243031.0486
37 | 2702614.7856 | 1242877.7583 | 2702616.0097 | 1242887.4091 | 2702613.2404 | 1242894.9671 | 2702605.7834 | 1242902.9888
38 | 2702614.7856 | 1242877.7583 | 2702633.9896 | 1242871.3946
39 | 2702605.7834 | 1242902.9888 | 2702608.9363 | 1242919.0565
40 | 2702633.9896 | 1242871.3946 | 2702656.3643 | 1242863.9803
41 | 2702959.3863 | 1242788.9357 | 2702949.2073 | 1242782.1316 | 2702934.8536 | 1242776.2781 | 2702928.7662 | 1242772.4362 | 2702923.653 | 1242766.4762 | 2702922.9684 | 1242763.2664
42 | 2702822.9567 | 1242929.1235 | 2702829.0454 | 1242924.6032 | 2702837.6755 | 1242910.4196
43 | 2702822.9567 | 1242929.1235 | 2702817.9079 | 1242935.5854 | 2702803.4055 | 1242964.1564
44 | 2702846.6292 | 1242951.2508 | 2702831.2252 | 1242940.1531 | 2702822.9567 | 1242929.1235
45 | 2702822.9567 | 1242929.1235 | 2702786.0722 | 1242909.6152
46 | 2702837.6755 | 1242910.4196 | 2702824.552 | 1242902.5194
47 | 2702849.8601 | 1242890.0705 | 2702837.6755 | 1242910.4196
48 | 2702803.4055 | 1242964.1564 | 2702793.3028 | 1242984.0597
49 | 2702846.6292 | 1242951.2508 | 2702828.4095 | 1242978.777
50 | 2702786.0722 | 1242909.6152 | 2702768.6586 | 1242900.4051 | 2702758.7314 | 1242892.7414
51 | 2702849.8601 | 1242890.0705 | 2702836.9125 | 1242882.051
52 | 2703020.3267 | 1242858.3137 | 2703018.2204 | 1242861.6242 | 2703020.2084 | 1242865.5617 | 2703024.7909 | 1242870.2894 | 2703027.3592 | 1242872.5913 | 2703028.0643 | 1242874.2159 | 2703027.6858 | 1242877.2895 | 2703024.0519 | 1242885.4105 | 2703022.0064 | 1242888.7417
53 | 2702992.7024 | 1242836.9686 | 2702990.1289 | 1242837.1176 | 2702983.461 | 1242835.8009 | 2702973.3759 | 1242838.8282 | 2702963.2764 | 1242842.2556 | 2702959.3385 | 1242847.5562
54 | 2702682.9422 | 1242858.0219 | 2702673.9432 | 1242858.1552 | 2702656.3643 | 1242863.9803
55 | 2702682.9422 | 1242858.0219 | 2702693.8475 | 1242859.5673 | 2702696.8199 | 1242861.1031
56 | 2702715.8698 | 1242870.9461 | 2702696.8199 | 1242861.1031
57 | 2702608.9363 | 1242919.0565 | 2702614.0456 | 1242945.0947
58 | 2702798.2586 | 1243058.8963 | 2702806.2818 | 1243042.3446 | 2702825.495 | 1243034.1006
59 | 2702883.852 | 1243021.1502 | 2702879.8669 | 1243027.7418
60 | 2702879.8669 | 1243027.7418 | 2702868.5916 | 1243046.3971
61 | 2702883.852 | 1243021.1502 | 2702854.6645 | 1243005.8103
62 | 2702868.5916 | 1243046.3971 | 2702853.0842 | 1243072.0544
63 | 2702854.6645 | 1243005.8103 | 2702821.9103 | 1242988.5959 | 2702828.4095 | 1242978.777
64 | 2702844.1637 | 1243086.8136 | 2702853.0842 | 1243072.0544
65 | 2702679.1308 | 1242995.0763 | 2702678.7077 | 1242992.9903
66 | 2702678.7077 | 1242992.9903 | 2702674.6952 | 1242973.2077
67 | 2702673.8462 | 1242969.0221 | 2702674.6952 | 1242973.2077
68 | 2702673.2182 | 1242965.9261 | 2702673.8462 | 1242969.0221
69 | 2702673.2182 | 1242965.9261 | 2702673.1979 | 1242965.8257 | 2702672.8423 | 1242963.2773
70 | 2702683.8036 | 1242919.8349 | 2702684.2714 | 1242919.2256 | 2702687.1526 | 1242916.0763
71 | 2702674.9369 | 1242936.1216 | 2702676.3317 | 1242931.9759 | 2702678.0896 | 1242928.259 | 2702680.8759 | 1242923.6481 | 2702683.8036 | 1242919.8349
72 | 2702687.1526 | 1242916.0763 | 2702688.7178 | 1242914.3655 | 2702692.1597 | 1242910.7373
73 | 2702674.9369 | 1242936.1216 | 2702674.9369 | 1242936.1216 | 2702673.6924 | 1242940.7593 | 2702673.0831 | 1242944.0539
74 | 2702698.8053 | 1242903.3618 | 2702696.1798 | 1242906.4996 | 2702692.1597 | 1242910.7373
75 | 2702672.8423 | 1242963.2773 | 2702672.263 | 1242959.1265 | 2702671.9978 | 1242953.4843 | 2702672.2326 | 1242950.8418 | 2702672.608 | 1242946.6228 | 2702673.0831 | 1242944.0539
76 | 2702715.8698 | 1242870.9461 | 2702702.3124 | 1242897.2541 | 2702699.399 | 1242902.6523 | 2702698.8053 | 1242903.3618
77 | 2702715.8698 | 1242870.9461 | 2702754.469 | 1242889.4509 | 2702758.0099 | 1242892.1844
78 | 2702844.1637 | 1243086.8136 | 2702837.4405 | 1243097.9374
79 | 2702792.8599 | 1242984.9322 | 2702793.3028 | 1242984.0597
80 | 2702758.7314 | 1242892.7414 | 2702758.0099 | 1242892.1844
81 | 2703022.0064 | 1242888.7417 | 2703018.2011 | 1242894.9386 | 2703010.8775 | 1242908.98
82 | 2702959.3385 | 1242847.5562 | 2702957.7957 | 1242849.6329 | 2702946.5372 | 1242870.4561
83 | 2702614.0456 | 1242945.0947 | 2702624.6641 | 1242999.2083
84 | 2702780.3155 | 1243008.9585 | 2702779.6488 | 1243010.0768
85 | 2702635.1431 | 1243053.4189 | 2702634.6705 | 1243050.2024 | 2702629.4986 | 1243023.8457
86 | 2702635.1431 | 1243053.4189 | 2702638.3696 | 1243075.3787
87 | 2702624.6641 | 1242999.2083 | 2702629.4986 | 1243023.8457
88 | 2702792.6257 | 1242985.3936 | 2702792.8599 | 1242984.9322
89 | 2702792.6257 | 1242985.3936 | 2702792.157 | 1242986.3169
90 | 2702791.4414 | 1242987.7267 | 2702792.157 | 1242986.3169
91 | 2702791.4414 | 1242987.7267 | 2702786.9113 | 1242996.6514 | 2702784.369 | 1243001.5017
92 | 2702783.5862 | 1243002.9951 | 2702784.369 | 1243001.5017
93 | 2702783.5862 | 1243002.9951 | 2702781.5165 | 1243006.9437 | 2702780.3155 | 1243008.9585

## bus_geodata
| x | y | coords
0 | 2702751.5894 | 1243062.9235
1 | 2702756.1312 | 1243052.4739
2 | 2702750.7256 | 1243064.911
3 | 2702764.0517 | 1243036.2417
4 | 2702740.2141 | 1243089.0922
5 | 2702730.8666 | 1243061.6929
6 | 2702766.099 | 1243032.8072
7 | 2702790.2952 | 1243033.8445
8 | 2702704.1865 | 1243085.4324
9 | 2702706.6991 | 1243057.7767
10 | 2702779.3391 | 1243010.5965
11 | 2702919.2164 | 1242943.6923
12 | 2702907.4399 | 1242935.7263
13 | 2702909.1234 | 1242966.357
14 | 2702895.4775 | 1242917.5603
15 | 2702872.6651 | 1242909.9145
16 | 2703005.1682 | 1242833.0866
17 | 2702881.3762 | 1242938.1318
18 | 2702945.424 | 1242947.3608
19 | 2702935.6561 | 1242969.1527
20 | 2702940.6115 | 1242944.9977
21 | 2702755.1396 | 1243142.6255
22 | 2702800.7681 | 1243165.022
23 | 2702777.276 | 1243098.7722
24 | 2702822.2674 | 1243123.0416
25 | 2703005.2304 | 1243043.6399
26 | 2702962.8038 | 1243041.4575
27 | 2703026.1861 | 1243025.3623
28 | 2702944.5872 | 1243031.0486
29 | 2702614.7856 | 1242877.7583
30 | 2702605.7834 | 1242902.9888
31 | 2702633.9896 | 1242871.3946
32 | 2702959.3863 | 1242788.9357
33 | 2702922.9684 | 1242763.2664
34 | 2702822.9567 | 1242929.1235
35 | 2702837.6755 | 1242910.4196
36 | 2702803.4055 | 1242964.1564
37 | 2702846.6292 | 1242951.2508
38 | 2702786.0722 | 1242909.6152
39 | 2702849.8601 | 1242890.0705
40 | 2702836.9125 | 1242882.051
41 | 2703020.3267 | 1242858.3137
42 | 2702992.7024 | 1242836.9686
43 | 2702682.9422 | 1242858.0219
44 | 2702656.3643 | 1242863.9803
45 | 2702696.8199 | 1242861.1031
46 | 2702608.9363 | 1242919.0565
47 | 2702798.2586 | 1243058.8963
48 | 2702825.495 | 1243034.1006
49 | 2702879.8669 | 1243027.7418
50 | 2702883.852 | 1243021.1502
51 | 2702868.5916 | 1243046.3971
52 | 2702854.6645 | 1243005.8103
53 | 2702853.0842 | 1243072.0544
54 | 2702679.1308 | 1242995.0763
55 | 2702678.7077 | 1242992.9903
56 | 2702674.6952 | 1242973.2077
57 | 2702673.8462 | 1242969.0221
58 | 2702673.2182 | 1242965.9261
59 | 2702683.8036 | 1242919.8349
60 | 2702687.1526 | 1242916.0763
61 | 2702674.9369 | 1242936.1216
62 | 2702692.1597 | 1242910.7373
63 | 2702673.0831 | 1242944.0539
64 | 2702698.8053 | 1242903.3618
65 | 2702672.8423 | 1242963.2773
66 | 2702715.8698 | 1242870.9461
67 | 2702837.4405 | 1243097.9374
68 | 2702915.0444 | 1243012.8847
69 | 2702930.4622 | 1242966.9831
70 | 2702865.1108 | 1242933.1126
71 | 2702893.5973 | 1242956.2022
72 | 2702824.552 | 1242902.5194
73 | 2702793.3028 | 1242984.0597
74 | 2702828.4095 | 1242978.777
75 | 2702758.7314 | 1242892.7414
76 | 2703022.0064 | 1242888.7417
77 | 2702959.3385 | 1242847.5562
78 | 2702614.0456 | 1242945.0947
79 | 2702779.6488 | 1243010.0768
80 | 2702844.1637 | 1243086.8136
81 | 2702635.1431 | 1243053.4189
82 | 2702629.4986 | 1243023.8457
83 | 2702638.3696 | 1243075.3787
84 | 2702624.6641 | 1242999.2083
85 | 2702758.0099 | 1242892.1844
86 | 2702792.8599 | 1242984.9322
87 | 2702792.6257 | 1242985.3936
88 | 2702792.157 | 1242986.3169
89 | 2702791.4414 | 1242987.7267
90 | 2702784.369 | 1243001.5017
91 | 2702783.5862 | 1243002.9951
92 | 2702780.3155 | 1243008.9585
93 | 2702946.5372 | 1242870.4561
94 | 2703010.8775 | 1242908.98
95 | 2702864.2022 | 1242963.6984

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99346 | -0.12518 | 0.0010841 | 0.00027171
1 | 0.99353 | -0.12372 | 0.001775 | 0.00044486
2 | 0.99345 | -0.12542 | 0 | 0
3 | 0.99368 | -0.12084 | 0 | 0
4 | 0.99338 | -0.12673 | 0 | 0
5 | 0.99339 | -0.1266 | 0.0017194 | 0.00043091
6 | 0.99372 | -0.12012 | 0.0014322 | 0.00035895
7 | 0.99365 | -0.12142 | 0.0012377 | 0.00031019
8 | 0.99329 | -0.12854 | 0.0028253 | 0.00070809
9 | 0.99335 | -0.12731 | 0.0016206 | 0.00040616
10 | 0.994 | -0.11478 | 0.0023385 | 0.00058609
11 | 0.98502 | -0.28635 | 0 | 0
12 | 0.98472 | -0.29232 | 0.023384 | 0.0058606
13 | 0.98556 | -0.27594 | 0 | 0
14 | 0.99478 | -0.098983 | 0 | 0
15 | 0.9946 | -0.10259 | 0.0085245 | 0.0021364
16 | 0.98413 | -0.30421 | 0 | 0
17 | 0.9964 | -0.068138 | 0 | 0
18 | 0.97655 | -0.4517 | 0 | 0
19 | 0.97709 | -0.44098 | 0 | 0
20 | 0.97642 | -0.4541 | 0.02458 | 0.0061604
21 | 0.98637 | -0.2608 | 0 | 0
22 | 0.98668 | -0.25475 | 0 | 0
23 | 0.98607 | -0.26666 | 0.00197 | 0.00049373
24 | 0.98697 | -0.24909 | 0.0049725 | 0.0012462
25 | 0.97659 | -0.45087 | 0 | 0
26 | 0.97698 | -0.44309 | 0 | 0
27 | 0.97638 | -0.45492 | 0.0066673 | 0.001671
28 | 0.97711 | -0.44053 | 0.057545 | 0.014422
29 | 0.97778 | -0.42674 | 0 | 0
30 | 0.97635 | -0.45485 | 0 | 0
31 | 0.9788 | -0.40699 | 0.01085 | 0.0027191
32 | 0.98323 | -0.32171 | 0 | 0
33 | 0.98263 | -0.33347 | 0.014156 | 0.0035478
34 | 0.99696 | -0.057711 | 0 | 0
35 | 0.99664 | -0.063721 | 0 | 0
36 | 0.99533 | -0.089023 | 0.0088219 | 0.002211
37 | 1 | 0 | -0.56766 | -0.14521
38 | 0.99418 | -0.11028 | 0.0098627 | 0.0024718
39 | 0.99648 | -0.06681 | 0 | 0
40 | 0.99638 | -0.068791 | 0.0074256 | 0.001861
41 | 0.98319 | -0.32248 | 0 | 0
42 | 0.9831 | -0.32418 | 0.028325 | 0.0070989
43 | 0.98213 | -0.34204 | 0 | 0
44 | 0.98021 | -0.37939 | 0.010506 | 0.002633
45 | 0.98313 | -0.3226 | 0.011028 | 0.0027639
46 | 0.97553 | -0.47091 | 0.0079704 | 0.0019976
47 | 0.98588 | -0.27044 | 0.0025203 | 0.00063164
48 | 0.9858 | -0.27197 | 0.0021628 | 0.00054206
49 | 0.98949 | -0.20023 | 0 | 0
50 | 0.98974 | -0.19535 | 0 | 0
51 | 0.98877 | -0.21407 | 0.0039105 | 0.00098005
52 | 0.99246 | -0.14323 | 0.016305 | 0.0040863
53 | 0.9879 | -0.23103 | 0.004774 | 0.0011965
54 | 0.98198 | -0.3454 | 0.0030724 | 0.00077001
55 | 0.98199 | -0.34528 | 0.0022863 | 0.000573
56 | 0.98209 | -0.34332 | 0.0022042 | 0.00055243
57 | 0.98212 | -0.34274 | 0.0027356 | 0.00068562
58 | 0.98215 | -0.34215 | 0.0068209 | 0.0017095
59 | 0.98312 | -0.32308 | 0.0021164 | 0.00053041
60 | 0.98324 | -0.32072 | 0.0024781 | 0.00062108
61 | 0.98271 | -0.33113 | 0.001899 | 0.00047594
62 | 0.98344 | -0.31696 | 0.0021112 | 0.0005291
63 | 0.98254 | -0.33437 | 0.0020741 | 0.00051983
64 | 0.98372 | -0.31149 | 0.0028829 | 0.00072252
65 | 0.98219 | -0.34133 | 0.0027955 | 0.00070061
66 | 0.98485 | -0.28941 | 0 | 0
67 | 0.98729 | -0.24299 | 0.0040879 | 0.0010245
68 | 0.97919 | -0.39978 | 0 | 0
69 | 0.97698 | -0.44325 | 0.022175 | 0.0055575
70 | 0.99628 | -0.070544 | 0.0080742 | 0.0020236
71 | 0.98542 | -0.27866 | 0.0081702 | 0.0020476
72 | 0.99655 | -0.065532 | 0.0067511 | 0.001692
73 | 0.99461 | -0.10296 | 0.0026319 | 0.00065962
74 | 0.99685 | -0.059665 | 0.012273 | 0.003076
75 | 0.9902 | -0.18645 | 0.011094 | 0.0027804
76 | 0.98205 | -0.3449 | 0.015973 | 0.0040031
77 | 0.9812 | -0.36133 | 0.019263 | 0.0048277
78 | 0.9744 | -0.49312 | 0.0082944 | 0.0020788
79 | 0.994 | -0.11463 | 0.0022494 | 0.00056374
80 | 0.98747 | -0.23934 | 0.011224 | 0.0028129
81 | 0.97129 | -0.55457 | 0.0086993 | 0.0021802
82 | 0.97179 | -0.54465 | 0.011665 | 0.0029234
83 | 0.9711 | -0.55831 | 0.0091241 | 0.0022867
84 | 0.97248 | -0.531 | 0.007853 | 0.0019681
85 | 0.99009 | -0.18843 | 0.0028603 | 0.00071687
86 | 0.99458 | -0.10353 | 0.0022416 | 0.00056179
87 | 0.99456 | -0.10381 | 0.002686 | 0.00067317
88 | 0.99454 | -0.10432 | 0.002251 | 0.00056415
89 | 0.9945 | -0.10503 | 0.0023224 | 0.00058206
90 | 0.99417 | -0.11141 | 0.0023854 | 0.00059785
91 | 0.99414 | -0.11203 | 0.0024266 | 0.00060815
92 | 0.99402 | -0.11425 | 0.0022411 | 0.00056168
93 | 0.98033 | -0.37848 | 0.036042 | 0.009033
94 | 0.98165 | -0.35262 | 0.01848 | 0.0046314
95 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0072501 | -0.0018159 | 0.0072506 | 0.0018161 | 5.0382e-07 | 1.749e-07 | 0.010859 | 0.010859 | 0.010859 | 0.99346 | -0.12518 | 0.99353 | -0.12372 | 2.9832
1 | 0.006166 | 0.0015442 | -0.0061659 | -0.0015442 | 6.9311e-08 | 1.6299e-08 | 0.0092351 | 0.0092351 | 0.0092351 | 0.99346 | -0.12518 | 0.99345 | -0.12542 | 2.5371
2 | -0.0090256 | -0.002261 | 0.0090269 | 0.0022615 | 1.2388e-06 | 5.5868e-07 | 0.013517 | 0.013517 | 0.013517 | 0.99353 | -0.12372 | 0.99368 | -0.12084 | 3.7135
3 | 0.0028257 | 0.00070755 | -0.0028256 | -0.00070778 | 1.7706e-07 | -2.2795e-07 | 0.0042323 | 0.0042324 | 0.0042324 | 0.99345 | -0.12542 | 0.99338 | -0.12673 | 1.1627
4 | 0.0033402 | 0.00083665 | -0.00334 | -0.00083679 | 1.8883e-07 | -1.3962e-07 | 0.0050029 | 0.005003 | 0.005003 | 0.99345 | -0.12542 | 0.99339 | -0.1266 | 1.3744
5 | -0.010265 | -0.0025714 | 0.010265 | 0.0025716 | 3.5425e-07 | 1.7492e-07 | 0.015371 | 0.015371 | 0.015371 | 0.99368 | -0.12084 | 0.99372 | -0.12012 | 4.2227
6 | 0.0012377 | 0.00030987 | -0.0012377 | -0.00031019 | 3.4036e-08 | -3.2049e-07 | 0.0018533 | 0.0018534 | 0.0018534 | 0.99368 | -0.12084 | 0.99365 | -0.12142 | 0.50919
7 | 0.0028256 | 0.00070778 | -0.0028253 | -0.00070809 | 2.4255e-07 | -3.1217e-07 | 0.0042324 | 0.0042325 | 0.0042325 | 0.99338 | -0.12673 | 0.99329 | -0.12854 | 1.1628
8 | 0.0016206 | 0.00040587 | -0.0016206 | -0.00040616 | 5.4104e-08 | -2.8232e-07 | 0.0024275 | 0.0024276 | 0.0024276 | 0.99339 | -0.1266 | 0.99335 | -0.12731 | 0.66692
9 | -0.011697 | -0.0029305 | 0.0117 | 0.0029321 | 2.9747e-06 | 1.5687e-06 | 0.017515 | 0.017515 | 0.017515 | 0.99372 | -0.12012 | 0.994 | -0.11478 | 4.8119
10 | -0.014039 | -0.0035182 | 0.014039 | 0.0035182 | 1.0019e-07 | 5.6283e-08 | 0.021016 | 0.021016 | 0.021016 | 0.994 | -0.11478 | 0.994 | -0.11463 | 5.7736
11 | 0.023391 | 0.0058647 | -0.023384 | -0.0058606 | 6.6437e-06 | 4.0714e-06 | 0.035336 | 0.035336 | 0.035336 | 0.98502 | -0.28635 | 0.98472 | -0.29232 | 9.7076
12 | -0.023391 | -0.0058647 | 0.023402 | 0.0058718 | 1.1613e-05 | 7.1165e-06 | 0.035336 | 0.035336 | 0.035336 | 0.98502 | -0.28635 | 0.98556 | -0.27594 | 9.7076
13 | 0.0081712 | 0.0020481 | -0.0081702 | -0.0020476 | 1.0567e-06 | 4.4042e-07 | 0.012337 | 0.012337 | 0.012337 | 0.98556 | -0.27594 | 0.98542 | -0.27866 | 3.3894
14 | 0.11187 | 0.028384 | -0.11121 | -0.027961 | 0.00066199 | 0.00042289 | 0.16903 | 0.16903 | 0.16903 | 0.98556 | -0.27594 | 0.97919 | -0.39978 | 46.4358
15 | -0.14344 | -0.036304 | 0.144 | 0.036659 | 0.00055723 | 0.00035501 | 0.2167 | 0.2167 | 0.2167 | 0.98556 | -0.27594 | 0.98974 | -0.19535 | 29.7663
16 | 0.0085259 | 0.0021371 | -0.0085245 | -0.0021364 | 1.4635e-06 | 6.2521e-07 | 0.012753 | 0.012753 | 0.012753 | 0.99478 | -0.098983 | 0.9946 | -0.10259 | 3.5037
17 | 0.13385 | 0.034167 | -0.13254 | -0.033331 | 0.0013132 | 0.00083596 | 0.20044 | 0.20044 | 0.20044 | 0.99478 | -0.098983 | 0.98413 | -0.30421 | 27.5333
18 | -0.14238 | -0.036304 | 0.14259 | 0.03644 | 0.00021237 | 0.00013527 | 0.21319 | 0.21319 | 0.21319 | 0.99478 | -0.098983 | 0.9964 | -0.068138 | 29.2849
19 | 0.034526 | 0.0086806 | -0.034496 | -0.0086617 | 3.0106e-05 | 1.8894e-05 | 0.052214 | 0.052214 | 0.052214 | 0.98413 | -0.30421 | 0.98319 | -0.32248 | 14.3444
20 | 0.083838 | 0.021092 | -0.083758 | -0.021041 | 7.9934e-05 | 5.099e-05 | 0.12679 | 0.12679 | 0.12679 | 0.98413 | -0.30421 | 0.9831 | -0.32418 | 34.8331
21 | 0.014176 | 0.003559 | -0.014164 | -0.0035523 | 1.1823e-05 | 6.6958e-06 | 0.021436 | 0.021436 | 0.021436 | 0.98413 | -0.30421 | 0.98323 | -0.32171 | 5.8891
22 | 0.0080751 | 0.002024 | -0.0080742 | -0.0020236 | 9.258e-07 | 3.7142e-07 | 0.012059 | 0.012059 | 0.012059 | 0.9964 | -0.068138 | 0.99628 | -0.070544 | 3.313
23 | -0.15067 | -0.038463 | 0.15116 | 0.038781 | 0.00049788 | 0.00031728 | 0.22525 | 0.22525 | 0.22525 | 0.9964 | -0.068138 | 1 | 0 | 30.9413
24 | -0.024583 | -0.0061622 | 0.024596 | 0.0061699 | 1.2562e-05 | 7.7407e-06 | 0.037459 | 0.037459 | 0.037459 | 0.97655 | -0.4517 | 0.97709 | -0.44098 | 10.291
25 | 0.024583 | 0.0061622 | -0.02458 | -0.0061604 | 2.8146e-06 | 1.7344e-06 | 0.037459 | 0.037459 | 0.037459 | 0.97655 | -0.4517 | 0.97642 | -0.4541 | 10.291
26 | 0.022177 | 0.0055589 | -0.022175 | -0.0055575 | 2.4018e-06 | 1.4668e-06 | 0.033774 | 0.033774 | 0.033774 | 0.97709 | -0.44098 | 0.97698 | -0.44325 | 9.2785
27 | -0.046773 | -0.011729 | 0.046865 | 0.011787 | 9.2026e-05 | 5.8289e-05 | 0.071233 | 0.071233 | 0.071233 | 0.97709 | -0.44098 | 0.97919 | -0.39978 | 19.5694
28 | -0.0066559 | -0.0016675 | 0.0066579 | 0.0016681 | 1.917e-06 | 5.7945e-07 | 0.010041 | 0.010041 | 0.010041 | 0.98637 | -0.2608 | 0.98668 | -0.25475 | 2.7585
29 | 0.0066559 | 0.0016675 | -0.0066541 | -0.001667 | 1.8572e-06 | 5.618e-07 | 0.010041 | 0.010041 | 0.010041 | 0.98637 | -0.2608 | 0.98607 | -0.26666 | 2.7585
30 | -0.0066579 | -0.0016681 | 0.0066597 | 0.0016687 | 1.7943e-06 | 5.4195e-07 | 0.010041 | 0.01004 | 0.010041 | 0.98668 | -0.25475 | 0.98697 | -0.24909 | 2.7584
31 | 0.0046841 | 0.0011733 | -0.0046833 | -0.0011733 | 8.443e-07 | -3.4393e-08 | 0.0070682 | 0.0070684 | 0.0070684 | 0.98607 | -0.26666 | 0.98588 | -0.27044 | 1.9419
32 | -0.011632 | -0.0029149 | 0.011636 | 0.0029167 | 3.383e-06 | 1.7901e-06 | 0.017537 | 0.017537 | 0.017537 | 0.98697 | -0.24909 | 0.98729 | -0.24299 | 4.8179
33 | -0.0066686 | -0.0016714 | 0.0066711 | 0.0016722 | 2.4714e-06 | 7.8266e-07 | 0.010161 | 0.010161 | 0.010161 | 0.97659 | -0.45087 | 0.97698 | -0.44309 | 2.7915
34 | 0.0066686 | 0.0016714 | -0.0066673 | -0.001671 | 1.2879e-06 | 4.0812e-07 | 0.010161 | 0.010161 | 0.010161 | 0.97659 | -0.45087 | 0.97638 | -0.45492 | 2.7915
35 | -0.0066711 | -0.0016722 | 0.0066719 | 0.0016724 | 8.1225e-07 | 2.5707e-07 | 0.010161 | 0.010161 | 0.010161 | 0.97698 | -0.44309 | 0.97711 | -0.44053 | 2.7914
36 | -0.064217 | -0.016095 | 0.064342 | 0.016174 | 0.00012493 | 7.9517e-05 | 0.097794 | 0.097794 | 0.097794 | 0.97711 | -0.44053 | 0.97919 | -0.39978 | 26.8664
37 | 0.053865 | 0.013598 | -0.053793 | -0.013552 | 7.2422e-05 | 4.5991e-05 | 0.082008 | 0.082009 | 0.082009 | 0.97778 | -0.42674 | 0.97635 | -0.45485 | 22.5298
38 | -0.053865 | -0.013598 | 0.053916 | 0.013631 | 5.1023e-05 | 3.24e-05 | 0.082008 | 0.082008 | 0.082008 | 0.97778 | -0.42674 | 0.9788 | -0.40699 | 22.5298
39 | 0.053793 | 0.013552 | -0.053751 | -0.013526 | 4.1296e-05 | 2.6225e-05 | 0.082009 | 0.082009 | 0.082009 | 0.97635 | -0.45485 | 0.97553 | -0.47091 | 22.5299
40 | -0.064765 | -0.01635 | 0.064851 | 0.016404 | 8.5764e-05 | 5.4592e-05 | 0.098502 | 0.098502 | 0.098502 | 0.9788 | -0.40699 | 0.98021 | -0.37939 | 27.0611
41 | 0.014164 | 0.0035523 | -0.014156 | -0.0035478 | 7.9403e-06 | 4.4977e-06 | 0.021436 | 0.021437 | 0.021437 | 0.98323 | -0.32171 | 0.98263 | -0.33347 | 5.8892
42 | 0.014183 | 0.0035561 | -0.014179 | -0.0035538 | 4.0605e-06 | 2.2838e-06 | 0.02117 | 0.02117 | 0.02117 | 0.99696 | -0.057711 | 0.99664 | -0.063721 | 5.8159
43 | 0.044399 | 0.011166 | -0.044332 | -0.011124 | 6.6296e-05 | 4.1906e-05 | 0.066281 | 0.066282 | 0.066282 | 0.99696 | -0.057711 | 0.99533 | -0.089023 | 18.2093
44 | -0.20414 | -0.052082 | 0.20471 | 0.052447 | 0.00057077 | 0.00036444 | 0.30502 | 0.30502 | 0.30502 | 0.99696 | -0.057711 | 1 | 0 | 41.8986
45 | 0.14556 | 0.03736 | -0.14519 | -0.037124 | 0.00037035 | 0.00023594 | 0.21757 | 0.21757 | 0.21757 | 0.99696 | -0.057711 | 0.99418 | -0.11028 | 29.8862
46 | 0.0067517 | 0.0016922 | -0.0067511 | -0.001692 | 5.8246e-07 | 1.7361e-07 | 0.010081 | 0.010081 | 0.010081 | 0.99664 | -0.063721 | 0.99655 | -0.065532 | 2.7694
47 | 0.0074274 | 0.0018617 | -0.0074263 | -0.0018613 | 1.0931e-06 | 3.9074e-07 | 0.011089 | 0.011089 | 0.011089 | 0.99664 | -0.063721 | 0.99648 | -0.06681 | 3.0466
48 | 0.035511 | 0.0089131 | -0.035487 | -0.0088983 | 2.3594e-05 | 1.4811e-05 | 0.053093 | 0.053093 | 0.053093 | 0.99533 | -0.089023 | 0.99461 | -0.10296 | 14.586
49 | 0.21013 | 0.05398 | -0.20953 | -0.053592 | 0.00060694 | 0.00038758 | 0.31315 | 0.31315 | 0.31315 | 1 | 0 | 0.99685 | -0.059665 | 43.015
50 | 0.13533 | 0.034652 | -0.13483 | -0.034335 | 0.00049729 | 0.00031785 | 0.20281 | 0.20281 | 0.20281 | 0.99418 | -0.11028 | 0.9902 | -0.18645 | 55.7171
51 | 0.0074263 | 0.0018613 | -0.0074256 | -0.001861 | 7.0083e-07 | 2.5058e-07 | 0.011089 | 0.01109 | 0.01109 | 0.99648 | -0.06681 | 0.99638 | -0.068791 | 3.0466
52 | 0.034496 | 0.0086617 | -0.034459 | -0.0086386 | 3.6847e-05 | 2.3126e-05 | 0.052214 | 0.052214 | 0.052214 | 0.98319 | -0.32248 | 0.98205 | -0.3449 | 14.3445
53 | 0.055433 | 0.013942 | -0.055335 | -0.013879 | 9.8172e-05 | 6.2359e-05 | 0.08392 | 0.08392 | 0.08392 | 0.9831 | -0.32418 | 0.9812 | -0.36133 | 23.055
54 | 0.075492 | 0.019124 | -0.075357 | -0.019037 | 0.00013518 | 8.6165e-05 | 0.11445 | 0.11445 | 0.11445 | 0.98213 | -0.34204 | 0.98021 | -0.37939 | 31.4425
55 | -0.075492 | -0.019124 | 0.075563 | 0.019168 | 7.0538e-05 | 4.4962e-05 | 0.11445 | 0.11445 | 0.11445 | 0.98213 | -0.34204 | 0.98313 | -0.3226 | 31.4425
56 | -0.086591 | -0.021932 | 0.086729 | 0.022021 | 0.00013829 | 8.8233e-05 | 0.13114 | 0.13114 | 0.13114 | 0.98313 | -0.3226 | 0.98485 | -0.28941 | 36.028
57 | 0.045781 | 0.011528 | -0.045732 | -0.011498 | 4.8551e-05 | 3.0741e-05 | 0.069851 | 0.069851 | 0.069851 | 0.97553 | -0.47091 | 0.9744 | -0.49312 | 19.1899
58 | 0.002163 | 0.00054166 | -0.0021628 | -0.00054206 | 1.5707e-07 | -4.0058e-07 | 0.0032645 | 0.0032647 | 0.0032647 | 0.98588 | -0.27044 | 0.9858 | -0.27197 | 0.89689
59 | -0.035694 | -0.0089696 | 0.035702 | 0.0089749 | 8.3202e-06 | 5.226e-06 | 0.053686 | 0.053686 | 0.053686 | 0.98949 | -0.20023 | 0.98974 | -0.19535 | 14.7489
60 | 0.035694 | 0.0089696 | -0.03567 | -0.0089548 | 2.356e-05 | 1.4798e-05 | 0.053686 | 0.053686 | 0.053686 | 0.98949 | -0.20023 | 0.98877 | -0.21407 | 14.7489
61 | -0.1797 | -0.045634 | 0.18015 | 0.045922 | 0.00045198 | 0.00028842 | 0.27038 | 0.27038 | 0.27038 | 0.98974 | -0.19535 | 0.99246 | -0.14323 | 37.1406
62 | 0.03176 | 0.0079748 | -0.031734 | -0.0079587 | 2.5688e-05 | 1.6056e-05 | 0.047801 | 0.047801 | 0.047801 | 0.98877 | -0.21407 | 0.9879 | -0.23103 | 13.1322
63 | -0.19646 | -0.050009 | 0.19725 | 0.050516 | 0.00079499 | 0.00050752 | 0.29483 | 0.29483 | 0.29483 | 0.99246 | -0.14323 | 0.99685 | -0.059665 | 40.4985
64 | 0.02696 | 0.0067623 | -0.02695 | -0.0067557 | 1.0666e-05 | 6.6054e-06 | 0.040611 | 0.040611 | 0.040611 | 0.9879 | -0.23103 | 0.98747 | -0.23934 | 11.1568
65 | -0.0030724 | -0.00077001 | 0.0030724 | 0.00077 | 1.73e-08 | -1.5855e-08 | 0.0046557 | 0.0046556 | 0.0046557 | 0.98198 | -0.3454 | 0.98199 | -0.34528 | 1.279
66 | -0.0053587 | -0.001343 | 0.0053592 | 0.0013431 | 4.991e-07 | 6.4034e-08 | 0.0081201 | 0.00812 | 0.0081201 | 0.98199 | -0.34528 | 0.98209 | -0.34332 | 2.2308
67 | -0.0075634 | -0.0018955 | 0.0075637 | 0.0018956 | 2.1033e-07 | 8.0566e-08 | 0.01146 | 0.01146 | 0.01146 | 0.98209 | -0.34332 | 0.98212 | -0.34274 | 3.1483
68 | -0.010299 | -0.0025812 | 0.0103 | 0.0025813 | 2.8847e-07 | 1.4464e-07 | 0.015605 | 0.015605 | 0.015605 | 0.98212 | -0.34274 | 0.98215 | -0.34215 | 4.287
69 | -0.017121 | -0.0042908 | 0.017121 | 0.0042912 | 6.7504e-07 | 3.9817e-07 | 0.025939 | 0.025939 | 0.025939 | 0.98215 | -0.34215 | 0.98219 | -0.34133 | 7.126
70 | -0.026025 | -0.0065297 | 0.026028 | 0.0065315 | 2.931e-06 | 1.8119e-06 | 0.039393 | 0.039393 | 0.039393 | 0.98312 | -0.32308 | 0.98324 | -0.32072 | 10.8224
71 | 0.023909 | 0.0059993 | -0.0239 | -0.0059936 | 9.175e-06 | 5.6352e-06 | 0.03619 | 0.03619 | 0.03619 | 0.98312 | -0.32308 | 0.98271 | -0.33113 | 9.9424
72 | -0.028506 | -0.0071526 | 0.028511 | 0.0071558 | 5.1094e-06 | 3.1772e-06 | 0.043144 | 0.043144 | 0.043144 | 0.98324 | -0.32072 | 0.98344 | -0.31696 | 11.8527
73 | 0.022001 | 0.0055177 | -0.021997 | -0.0055156 | 3.393e-06 | 2.0682e-06 | 0.033315 | 0.033315 | 0.033315 | 0.98271 | -0.33113 | 0.98254 | -0.33437 | 9.1524
74 | -0.030623 | -0.0076849 | 0.030631 | 0.0076899 | 7.9977e-06 | 4.9925e-06 | 0.046338 | 0.046338 | 0.046338 | 0.98344 | -0.31696 | 0.98372 | -0.31149 | 12.7303
75 | 0.019923 | 0.0049958 | -0.019917 | -0.0049918 | 6.6033e-06 | 3.9812e-06 | 0.030174 | 0.030174 | 0.030174 | 0.98254 | -0.33437 | 0.98219 | -0.34133 | 8.2895
76 | -0.033514 | -0.0084124 | 0.033549 | 0.0084345 | 3.5331e-05 | 2.2146e-05 | 0.050699 | 0.050699 | 0.050699 | 0.98372 | -0.31149 | 0.98485 | -0.28941 | 13.9283
77 | -0.12028 | -0.030455 | 0.12086 | 0.03083 | 0.00058625 | 0.00037459 | 0.18184 | 0.18184 | 0.18184 | 0.98485 | -0.28941 | 0.99009 | -0.18843 | 49.9562
78 | -0.015723 | -0.0039412 | 0.015726 | 0.0039428 | 2.7373e-06 | 1.5856e-06 | 0.023698 | 0.023698 | 0.023698 | 0.98729 | -0.24299 | 0.98747 | -0.23934 | 6.5105
79 | 0.032855 | 0.0082386 | -0.032854 | -0.0082381 | 8.8659e-07 | 5.5472e-07 | 0.049155 | 0.049155 | 0.049155 | 0.99461 | -0.10296 | 0.99458 | -0.10353 | 13.5043
80 | 0.12374 | 0.031554 | -0.12372 | -0.031547 | 1.1842e-05 | 7.5672e-06 | 0.18614 | 0.18614 | 0.18614 | 0.9902 | -0.18645 | 0.99009 | -0.18843 | 51.1371
81 | 0.018486 | 0.0046355 | -0.01848 | -0.0046314 | 6.7997e-06 | 4.0595e-06 | 0.028012 | 0.028012 | 0.028012 | 0.98205 | -0.3449 | 0.98165 | -0.35262 | 7.6956
82 | 0.036072 | 0.0090516 | -0.036042 | -0.009033 | 2.9472e-05 | 1.853e-05 | 0.054708 | 0.054708 | 0.054708 | 0.9812 | -0.36133 | 0.98033 | -0.37848 | 15.0296
83 | 0.037438 | 0.0094189 | -0.03737 | -0.0093763 | 6.7625e-05 | 4.2594e-05 | 0.057185 | 0.057185 | 0.057185 | 0.9744 | -0.49312 | 0.97248 | -0.531 | 15.7102
84 | -0.016288 | -0.004082 | 0.016288 | 0.0040821 | 2.9028e-07 | 1.689e-07 | 0.024383 | 0.024383 | 0.024383 | 0.994 | -0.11463 | 0.99402 | -0.11425 | 6.6987
85 | -0.017825 | -0.0044677 | 0.017833 | 0.0044727 | 8.4203e-06 | 5.0162e-06 | 0.027308 | 0.027308 | 0.027308 | 0.97129 | -0.55457 | 0.97179 | -0.54465 | 7.5022
86 | 0.0091258 | 0.0022875 | -0.0091241 | -0.0022867 | 1.6269e-06 | 7.6657e-07 | 0.013981 | 0.013981 | 0.013981 | 0.97129 | -0.55457 | 0.9711 | -0.55831 | 3.8409
87 | -0.029498 | -0.0073962 | 0.029517 | 0.0074082 | 1.9209e-05 | 1.1983e-05 | 0.045169 | 0.045169 | 0.045169 | 0.97179 | -0.54465 | 0.97248 | -0.531 | 12.4091
88 | 0.030613 | 0.0076763 | -0.030612 | -0.007676 | 4.0705e-07 | 2.538e-07 | 0.045802 | 0.045802 | 0.045802 | 0.99458 | -0.10353 | 0.99456 | -0.10381 | 12.5829
89 | 0.027926 | 0.0070029 | -0.027926 | -0.0070025 | 6.779e-07 | 4.2042e-07 | 0.041783 | 0.041783 | 0.041783 | 0.99456 | -0.10381 | 0.99454 | -0.10432 | 11.4789
90 | 0.025675 | 0.0064383 | -0.025674 | -0.0064378 | 8.7493e-07 | 5.3944e-07 | 0.038415 | 0.038415 | 0.038415 | 0.99454 | -0.10432 | 0.9945 | -0.10503 | 10.5536
91 | 0.023351 | 0.0058557 | -0.023344 | -0.0058514 | 7.0891e-06 | 4.3362e-06 | 0.03494 | 0.03494 | 0.03494 | 0.9945 | -0.10503 | 0.99417 | -0.11141 | 9.599
92 | 0.020959 | 0.0052535 | -0.020958 | -0.0052531 | 6.2222e-07 | 3.7636e-07 | 0.03137 | 0.03137 | 0.03137 | 0.99417 | -0.11141 | 0.99414 | -0.11203 | 8.6181
93 | 0.018532 | 0.004645 | -0.01853 | -0.0046438 | 1.963e-06 | 1.1681e-06 | 0.027738 | 0.027738 | 0.027738 | 0.99414 | -0.11203 | 0.99402 | -0.11425 | 7.6203

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56766 | 0.14521

## res_load
| p_mw | q_mvar
0 | 0.0010841 | 0.00027171
1 | 0.001775 | 0.00044486
2 | 0.0017194 | 0.00043091
3 | 0.0014322 | 0.00035895
4 | 0.0012377 | 0.00031019
5 | 0.0028253 | 0.00070809
6 | 0.0016206 | 0.00040616
7 | 0.0023385 | 0.00058609
8 | 0.023384 | 0.0058606
9 | 0.0085245 | 0.0021364
10 | 0.02458 | 0.0061604
11 | 0.00197 | 0.00049373
12 | 0.0049725 | 0.0012462
13 | 0.0066673 | 0.001671
14 | 0.057545 | 0.014422
15 | 0.01085 | 0.0027191
16 | 0.014156 | 0.0035478
17 | 0.0088219 | 0.002211
18 | 0.0098627 | 0.0024718
19 | 0.0074256 | 0.001861
20 | 0.028325 | 0.0070989
21 | 0.010506 | 0.002633
22 | 0.011028 | 0.0027639
23 | 0.0079704 | 0.0019976
24 | 0.0025203 | 0.00063164
25 | 0.0021628 | 0.00054206
26 | 0.0039105 | 0.00098005
27 | 0.016305 | 0.0040863
28 | 0.004774 | 0.0011965
29 | 0.0030724 | 0.00077001
30 | 0.0022863 | 0.000573
31 | 0.0022042 | 0.00055243
32 | 0.0027356 | 0.00068562
33 | 0.0068209 | 0.0017095
34 | 0.0021164 | 0.00053041
35 | 0.0024781 | 0.00062108
36 | 0.001899 | 0.00047594
37 | 0.0021112 | 0.0005291
38 | 0.0020741 | 0.00051983
39 | 0.0028829 | 0.00072252
40 | 0.0027955 | 0.00070061
41 | 0.0040879 | 0.0010245
42 | 0.022175 | 0.0055575
43 | 0.0080742 | 0.0020236
44 | 0.0081702 | 0.0020476
45 | 0.0067511 | 0.001692
46 | 0.0026319 | 0.00065962
47 | 0.012273 | 0.003076
48 | 0.011094 | 0.0027804
49 | 0.015973 | 0.0040031
50 | 0.019263 | 0.0048277
51 | 0.0082944 | 0.0020788
52 | 0.0022494 | 0.00056374
53 | 0.011224 | 0.0028129
54 | 0.0086993 | 0.0021802
55 | 0.011665 | 0.0029234
56 | 0.0091241 | 0.0022867
57 | 0.007853 | 0.0019681
58 | 0.0028603 | 0.00071687
59 | 0.0022416 | 0.00056179
60 | 0.002686 | 0.00067317
61 | 0.002251 | 0.00056415
62 | 0.0023224 | 0.00058206
63 | 0.0023854 | 0.00059785
64 | 0.0024266 | 0.00060815
65 | 0.0022411 | 0.00056168
66 | 0.036042 | 0.009033
67 | 0.01848 | 0.0046314

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1