## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-47_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_121-47_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_121-47_0_5_node_54 | 0.4 | n |  | TRUE
3 | bus_LV_121-47_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_121-47_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_121-47_0_5_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_121-47_0_5_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_121-47_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_121-47_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_121-47_0_5_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_121-47_0_5_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_121-47_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_121-47_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_121-47_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_121-47_0_5_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_121-47_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_121-47_0_5_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_121-47_0_5_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_121-47_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_121-47_0_5_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_121-47_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_121-47_0_5_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_121-47_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_121-47_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_121-47_0_5_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_121-47_0_5_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_121-47_0_5_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_121-47_0_5_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_121-47_0_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_121-47_0_5_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_121-47_0_5_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_121-47_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_121-47_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_121-47_0_5_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_121-47_0_5_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_121-47_0_5_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_121-47_0_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_121-47_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_121-47_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_121-47_0_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_121-47_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_121-47_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_121-47_0_5_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_121-47_0_5_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_121-47_0_5_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_121-47_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_121-47_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_121-47_0_5_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_121-47_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_121-47_0_5_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_121-47_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_121-47_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_121-47_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_121-47_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_121-47_0_5_node_55 | 0.4 | n |  | TRUE
55 | bus_MV_6_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-47_0_5_load_0 | 0 | 0.00040518 | 0.00010155 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-47_0_5_load_3 | 4 | 0.0039235 | 0.00098332 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-47_0_5_load_53 | 5 | 0.0025578 | 0.00064105 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-47_0_5_load_2 | 6 | 0.0062005 | 0.001554 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-47_0_5_load_4 | 7 | 0.003551 | 0.00088996 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-47_0_5_load_6 | 8 | 0.022947 | 0.005751 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-47_0_5_load_49 | 9 | 0.014879 | 0.003729 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-47_0_5_load_18 | 10 | 0.0062945 | 0.0015776 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-47_0_5_load_7 | 11 | 0.013241 | 0.0033185 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-47_0_5_load_8 | 12 | 0.018071 | 0.004529 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-47_0_5_load_10 | 13 | 0.012676 | 0.0031768 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-47_0_5_load_52 | 14 | 0.017446 | 0.0043725 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-47_0_5_load_39 | 16 | 0.00069029 | 0.000173 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-47_0_5_load_46 | 17 | 0.00051618 | 0.00012937 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-47_0_5_load_47 | 19 | 0.053942 | 0.013519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-47_0_5_load_41 | 21 | 0.002348 | 0.00058846 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-47_0_5_load_32 | 23 | 0.0081748 | 0.0020488 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-47_0_5_load_29 | 25 | 0.005077 | 0.0012724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-47_0_5_load_38 | 26 | 0.00078335 | 0.00019632 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-47_0_5_load_36 | 28 | 0.040128 | 0.010057 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-47_0_5_load_25 | 29 | 0.0018874 | 0.00047302 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-47_0_5_load_40 | 30 | 0.00074003 | 0.00018547 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-47_0_5_load_30 | 32 | 0.0077255 | 0.0019362 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-47_0_5_load_14 | 33 | 0.0086658 | 0.0021718 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-47_0_5_load_19 | 37 | 0.0066745 | 0.0016728 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-47_0_5_load_48 | 39 | 0.0065693 | 0.0016464 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-47_0_5_load_31 | 40 | 0.0038969 | 0.00097665 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-47_0_5_load_20 | 41 | 0.0028001 | 0.00070178 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-47_0_5_load_21 | 42 | 0.015658 | 0.0039244 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-47_0_5_load_23 | 43 | 0.029938 | 0.0075032 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-47_0_5_load_50 | 44 | 0.0057617 | 0.001444 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-47_0_5_load_37 | 45 | 0.014874 | 0.0037277 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-47_0_5_load_34 | 46 | 0.039243 | 0.0098352 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_121-47_0_5_load_51 | 47 | 0.0095743 | 0.0023996 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_121-47_0_5_load_35 | 48 | 0.025755 | 0.0064549 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_121-47_0_5_load_26 | 49 | 0.0017104 | 0.00042866 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_121-47_0_5_load_28 | 50 | 0.00085731 | 0.00021486 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_121-47_0_5_load_42 | 51 | 0.0028117 | 0.00070467 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_121-47_0_5_load_44 | 52 | 0.0083344 | 0.0020888 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_121-47_0_5_load_45 | 53 | 0.0024142 | 0.00060505 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_121-47_0_5_load_55 | 54 | 0.0027127 | 0.00067986 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-47_0_5_line_0 |  | 0 | 1 | 0.019996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-47_0_5_line_1 |  | 1 | 2 | 0.41006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-47_0_5_line_2 |  | 1 | 3 | 0.29452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-47_0_5_line_3 |  | 2 | 5 | 0.08001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_121-47_0_5_line_4 |  | 3 | 4 | 0.050548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-47_0_5_line_5 |  | 4 | 6 | 0.027107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_121-47_0_5_line_6 |  | 6 | 7 | 0.02041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_121-47_0_5_line_7 |  | 7 | 8 | 0.1053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-47_0_5_line_8 |  | 8 | 9 | 0.024703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-47_0_5_line_9 |  | 9 | 10 | 0.0084667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_121-47_0_5_line_10 |  | 10 | 34 | 0.016897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_121-47_0_5_line_11 |  | 11 | 12 | 0.017713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_121-47_0_5_line_12 |  | 12 | 13 | 0.023685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-47_0_5_line_13 |  | 13 | 14 | 0.006018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_121-47_0_5_line_14 |  | 14 | 23 | 0.042456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_121-47_0_5_line_15 |  | 15 | 16 | 0.021342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_121-47_0_5_line_16 |  | 15 | 17 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_121-47_0_5_line_17 |  | 16 | 26 | 0.0074171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_121-47_0_5_line_18 |  | 17 | 27 | 0.012245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_121-47_0_5_line_19 |  | 18 | 19 | 0.038984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_121-47_0_5_line_20 |  | 18 | 20 | 0.011023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_121-47_0_5_line_21 |  | 18 | 21 | 0.019381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_121-47_0_5_line_22 |  | 19 | 28 | 0.034679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_121-47_0_5_line_23 |  | 20 | 29 | 0.02786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_121-47_0_5_line_24 |  | 21 | 30 | 0.02873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_121-47_0_5_line_25 |  | 22 | 23 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-47_0_5_line_26 |  | 22 | 24 | 0.058397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_121-47_0_5_line_27 |  | 22 | 25 | 0.051734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_121-47_0_5_line_28 |  | 24 | 31 | 0.002663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_121-47_0_5_line_29 |  | 25 | 32 | 0.023453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_121-47_0_5_line_30 |  | 26 | 30 | 0.0079364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-47_0_5_line_31 |  | 27 | 53 | 0.05824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_121-47_0_5_line_32 |  | 27 | 51 | 0.023157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-47_0_5_line_33 |  | 28 | 48 | 0.005418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-47_0_5_line_34 |  | 29 | 49 | 0.030075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-47_0_5_line_35 |  | 31 | 45 | 0.096993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-47_0_5_line_36 |  | 31 | 46 | 0.039904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_121-47_0_5_line_37 |  | 32 | 40 | 0.024398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_121-47_0_5_line_38 |  | 33 | 34 | 0.034457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_121-47_0_5_line_39 |  | 33 | 35 | 0.030143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_121-47_0_5_line_40 |  | 34 | 36 | 0.016536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_121-47_0_5_line_41 |  | 35 | 37 | 0.01986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_121-47_0_5_line_42 |  | 36 | 38 | 0.004588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_121-47_0_5_line_43 |  | 36 | 39 | 0.031276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_121-47_0_5_line_44 |  | 37 | 40 | 0.020809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_121-47_0_5_line_45 |  | 38 | 41 | 0.036639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_121-47_0_5_line_46 |  | 41 | 42 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_121-47_0_5_line_47 |  | 42 | 43 | 0.010739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_121-47_0_5_line_48 |  | 43 | 44 | 0.002147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_121-47_0_5_line_49 |  | 44 | 47 | 0.019906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_121-47_0_5_line_50 |  | 46 | 48 | 0.054277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_121-47_0_5_line_51 |  | 49 | 50 | 0.016751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_121-47_0_5_line_52 |  | 51 | 52 | 0.030456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_121-47_0_5_line_53 |  | 52 | 54 | 0.17385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-47_0_5_trafo_24 | 0.63 MVA 20/0.4 kV | 55 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2704244.9914 | 1241748.3808 | 2704262.2724 | 1241758.4414
1 | 2704244.9914 | 1241748.3808 | 2704025.8834 | 1241401.768
2 | 2704065.9037 | 1241982.1975 | 2704244.9914 | 1241748.3808
3 | 2704025.8834 | 1241401.768 | 2704024.1104 | 1241398.9459 | 2703992.7523 | 1241368.206 | 2703984.3148 | 1241359.0399 | 2703975.1827 | 1241344.6355 | 2703972.893 | 1241342.3262
4 | 2704065.9037 | 1241982.1975 | 2704049.5844 | 1242009.4547 | 2704040.1794 | 1242025.7085
5 | 2704026.6031 | 1242049.171 | 2704040.1794 | 1242025.7085
6 | 2704026.6031 | 1242049.171 | 2704016.3811 | 1242066.8364
7 | 2703964.1724 | 1242158.2763 | 2703977.9077 | 1242134.2511 | 2704011.29 | 1242075.6349 | 2704016.3811 | 1242066.8364
8 | 2703951.8055 | 1242179.6602 | 2703962.5878 | 1242161.048 | 2703964.1724 | 1242158.2763
9 | 2703951.8055 | 1242179.6602 | 2703947.5614 | 1242186.9864
10 | 2703937.602 | 1242200.5188 | 2703943.4694 | 1242194.0499 | 2703947.5614 | 1242186.9864
11 | 2703741.6133 | 1242341.6864 | 2703757.4538 | 1242336.0831 | 2703758.3295 | 1242335.8321
12 | 2703780.7943 | 1242334.5853 | 2703773.7333 | 1242336.468 | 2703766.7398 | 1242333.4212 | 2703758.3295 | 1242335.8321
13 | 2703786.6091 | 1242333.0349 | 2703780.7943 | 1242334.5853
14 | 2703786.6091 | 1242333.0349 | 2703786.6091 | 1242333.0349 | 2703799.2434 | 1242327.4182 | 2703806.4365 | 1242319.0597 | 2703803.239 | 1242301.7502
15 | 2703615.6449 | 1242373.9573 | 2703634.4272 | 1242363.8225
16 | 2703615.6449 | 1242373.9573 | 2703607.6544 | 1242358.1109
17 | 2703640.9547 | 1242360.3003 | 2703634.4272 | 1242363.8225
18 | 2703599.7751 | 1242348.8274 | 2703606.7295 | 1242356.2768 | 2703607.6544 | 1242358.1109
19 | 2703690.2791 | 1242333.685 | 2703724.5106 | 1242315.0308
20 | 2703685.2336 | 1242323.8782 | 2703690.2791 | 1242333.685
21 | 2703690.2791 | 1242333.685 | 2703673.2231 | 1242342.8884
22 | 2703724.5106 | 1242315.0308 | 2703754.9618 | 1242298.4366
23 | 2703685.2336 | 1242323.8782 | 2703682.5497 | 1242318.6717 | 2703679.271 | 1242303.814 | 2703680.7829 | 1242297.1968
24 | 2703673.2231 | 1242342.8884 | 2703647.9392 | 1242356.5315
25 | 2703803.1443 | 1242284.6866 | 2703802.113 | 1242295.6548 | 2703803.239 | 1242301.7502
26 | 2703803.1443 | 1242284.6866 | 2703799.1923 | 1242278.0679 | 2703843.932 | 1242254.2431
27 | 2703803.1443 | 1242284.6866 | 2703841.3377 | 1242276.7485 | 2703853.9391 | 1242274.9819
28 | 2703843.932 | 1242254.2431 | 2703842.6497 | 1242251.9078
29 | 2703853.9391 | 1242274.9819 | 2703877.1645 | 1242271.726
30 | 2703640.9547 | 1242360.3003 | 2703647.9392 | 1242356.5315
31 | 2703599.7751 | 1242348.8274 | 2703573.6422 | 1242345.9357 | 2703561.2737 | 1242344.5744 | 2703542.0356 | 1242347.7857
32 | 2703599.7751 | 1242348.8274 | 2703598.841 | 1242339.9709 | 2703592.5815 | 1242327.1676
33 | 2703759.7193 | 1242295.844 | 2703754.9618 | 1242298.4366
34 | 2703677.9136 | 1242271.4526 | 2703681.5352 | 1242273.341 | 2703685.2731 | 1242279.6668 | 2703685.9547 | 1242285.2274 | 2703680.802 | 1242297.1133 | 2703680.7829 | 1242297.1968
35 | 2703842.6497 | 1242251.9078 | 2703841.3161 | 1242249.4825 | 2703827.8614 | 1242225.0726 | 2703824.1991 | 1242218.7481 | 2703819.6244 | 1242210.1281 | 2703816.2202 | 1242207.6332 | 2703811.1363 | 1242206.499 | 2703805.6806 | 1242207.1708 | 2703772.2783 | 1242215.2265
36 | 2703842.6497 | 1242251.9078 | 2703826.1469 | 1242260.3812 | 2703817.9346 | 1242263.0285 | 2703808.8744 | 1242267.0398 | 2703806.3348 | 1242268.2574
37 | 2703901.3261 | 1242268.3388 | 2703877.1645 | 1242271.726
38 | 2703937.602 | 1242200.5188 | 2703942.9494 | 1242206.8952 | 2703944.0921 | 1242213.7427 | 2703944.4162 | 1242219.4084 | 2703942.6988 | 1242232.8167
39 | 2703941.601 | 1242262.6927 | 2703940.1502 | 1242252.7151 | 2703942.6988 | 1242232.8167
40 | 2703937.602 | 1242200.5188 | 2703925.1244 | 1242211.4088
41 | 2703941.601 | 1242262.6927 | 2703921.9336 | 1242265.4498
42 | 2703925.1244 | 1242211.4088 | 2703922.774 | 1242207.4645
43 | 2703925.1244 | 1242211.4088 | 2703897.4571 | 1242225.9923
44 | 2703921.9336 | 1242265.4498 | 2703901.3261 | 1242268.3388
45 | 2703922.774 | 1242207.4645 | 2703921.9074 | 1242206.0038 | 2703925.9156 | 1242186.5366 | 2703924.2615 | 1242172.1965 | 2703924.1918 | 1242171.5702
46 | 2703922.5443 | 1242156.7639 | 2703924.1918 | 1242171.5702
47 | 2703922.5443 | 1242156.7639 | 2703922.4651 | 1242156.0525 | 2703925.2118 | 1242147.7386 | 2703926.0164 | 1242146.7597
48 | 2703927.3795 | 1242145.1009 | 2703926.0164 | 1242146.7597
49 | 2703927.3795 | 1242145.1009 | 2703940.018 | 1242129.7221
50 | 2703759.7193 | 1242295.844 | 2703789.7847 | 1242279.46 | 2703798.4881 | 1242272.9405 | 2703803.0794 | 1242269.8183 | 2703806.3348 | 1242268.2574
51 | 2703661.5526 | 1242271.1125 | 2703670.4526 | 1242269.778 | 2703675.9306 | 1242270.4186 | 2703677.9136 | 1242271.4526
52 | 2703586.905 | 1242297.8299 | 2703587.8471 | 1242317.4838 | 2703592.5815 | 1242327.1676
53 | 2703586.905 | 1242297.8299 | 2703535.319 | 1242131.8121

## bus_geodata
| x | y | coords
0 | 2704262.2724 | 1241758.4414
1 | 2704244.9914 | 1241748.3808
2 | 2704025.8834 | 1241401.768
3 | 2704065.9037 | 1241982.1975
4 | 2704040.1794 | 1242025.7085
5 | 2703972.893 | 1241342.3262
6 | 2704026.6031 | 1242049.171
7 | 2704016.3811 | 1242066.8364
8 | 2703964.1724 | 1242158.2763
9 | 2703951.8055 | 1242179.6602
10 | 2703947.5614 | 1242186.9864
11 | 2703741.6133 | 1242341.6864
12 | 2703758.3295 | 1242335.8321
13 | 2703780.7943 | 1242334.5853
14 | 2703786.6091 | 1242333.0349
15 | 2703615.6449 | 1242373.9573
16 | 2703634.4272 | 1242363.8225
17 | 2703607.6544 | 1242358.1109
18 | 2703690.2791 | 1242333.685
19 | 2703724.5106 | 1242315.0308
20 | 2703685.2336 | 1242323.8782
21 | 2703673.2231 | 1242342.8884
22 | 2703803.1443 | 1242284.6866
23 | 2703803.239 | 1242301.7502
24 | 2703843.932 | 1242254.2431
25 | 2703853.9391 | 1242274.9819
26 | 2703640.9547 | 1242360.3003
27 | 2703599.7751 | 1242348.8274
28 | 2703754.9618 | 1242298.4366
29 | 2703680.7829 | 1242297.1968
30 | 2703647.9392 | 1242356.5315
31 | 2703842.6497 | 1242251.9078
32 | 2703877.1645 | 1242271.726
33 | 2703942.6988 | 1242232.8167
34 | 2703937.602 | 1242200.5188
35 | 2703941.601 | 1242262.6927
36 | 2703925.1244 | 1242211.4088
37 | 2703921.9336 | 1242265.4498
38 | 2703922.774 | 1242207.4645
39 | 2703897.4571 | 1242225.9923
40 | 2703901.3261 | 1242268.3388
41 | 2703924.1918 | 1242171.5702
42 | 2703922.5443 | 1242156.7639
43 | 2703926.0164 | 1242146.7597
44 | 2703927.3795 | 1242145.1009
45 | 2703772.2783 | 1242215.2265
46 | 2703806.3348 | 1242268.2574
47 | 2703940.018 | 1242129.7221
48 | 2703759.7193 | 1242295.844
49 | 2703677.9136 | 1242271.4526
50 | 2703661.5526 | 1242271.1125
51 | 2703592.5815 | 1242327.1676
52 | 2703586.905 | 1242297.8299
53 | 2703542.0356 | 1242347.7857
54 | 2703535.319 | 1242131.8121
55 | 2703843.932 | 1242254.2431

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97187 | -0.54276 | 0.00040518 | 0.00010155
1 | 0.97188 | -0.54261 | 0 | 0
2 | 0.9709 | -0.56205 | 0 | 0
3 | 0.97269 | -0.5264 | 0 | 0
4 | 0.97283 | -0.52362 | 0.0039235 | 0.00098332
5 | 0.97071 | -0.56584 | 0.0025578 | 0.00064105
6 | 0.973 | -0.52017 | 0.0062005 | 0.001554
7 | 0.97325 | -0.51524 | 0.003551 | 0.00088996
8 | 0.97488 | -0.483 | 0.022947 | 0.005751
9 | 0.97579 | -0.46507 | 0.014879 | 0.003729
10 | 0.97622 | -0.45663 | 0.0062945 | 0.0015776
11 | 0.98879 | -0.21424 | 0.013241 | 0.0033185
12 | 0.98901 | -0.21006 | 0.018071 | 0.004529
13 | 0.98968 | -0.19686 | 0.012676 | 0.0031768
14 | 0.98993 | -0.19215 | 0.017446 | 0.0043725
15 | 0.98749 | -0.24106 | 0 | 0
16 | 0.98782 | -0.23466 | 0.00069029 | 0.000173
17 | 0.98722 | -0.24639 | 0.00051618 | 0.00012937
18 | 0.98895 | -0.21262 | 0 | 0
19 | 0.98988 | -0.1947 | 0.053942 | 0.013519
20 | 0.98891 | -0.2135 | 0 | 0
21 | 0.98857 | -0.22 | 0.002348 | 0.00058846
22 | 0.99342 | -0.12468 | 0 | 0
23 | 0.99232 | -0.14587 | 0.0081748 | 0.0020488
24 | 0.99971 | -0.0054034 | 0 | 0
25 | 0.98949 | -0.19951 | 0.005077 | 0.0012724
26 | 0.98794 | -0.23234 | 0.00078335 | 0.00019632
27 | 0.98703 | -0.24996 | 0 | 0
28 | 0.99241 | -0.14562 | 0.040128 | 0.010057
29 | 0.98879 | -0.21571 | 0.0018874 | 0.00047302
30 | 0.98807 | -0.22975 | 0.00074003 | 0.00018547
31 | 1 | 0 | -0.43984 | -0.11202
32 | 0.98777 | -0.23256 | 0.0077255 | 0.0019362
33 | 0.98139 | -0.35576 | 0.0086658 | 0.0021718
34 | 0.97718 | -0.43786 | 0 | 0
35 | 0.98335 | -0.31772 | 0 | 0
36 | 0.9761 | -0.45911 | 0 | 0
37 | 0.98464 | -0.29273 | 0.0066745 | 0.0016728
38 | 0.97582 | -0.46446 | 0 | 0
39 | 0.9759 | -0.46286 | 0.0065693 | 0.0016464
40 | 0.98606 | -0.26538 | 0.0038969 | 0.00097665
41 | 0.97364 | -0.50729 | 0.0028001 | 0.00070178
42 | 0.9728 | -0.524 | 0.015658 | 0.0039244
43 | 0.97235 | -0.53296 | 0.029938 | 0.0075032
44 | 0.97231 | -0.53357 | 0.0057617 | 0.001444
45 | 0.99869 | -0.025181 | 0.014874 | 0.0037277
46 | 0.99663 | -0.064517 | 0.039243 | 0.0098352
47 | 0.97214 | -0.53708 | 0.0095743 | 0.0023996
48 | 0.99301 | -0.13413 | 0.025755 | 0.0064549
49 | 0.98872 | -0.21709 | 0.0017104 | 0.00042866
50 | 0.98871 | -0.21734 | 0.00085731 | 0.00021486
51 | 0.98674 | -0.25571 | 0.0028117 | 0.00070467
52 | 0.98643 | -0.26173 | 0.0083344 | 0.0020888
53 | 0.9869 | -0.25248 | 0.0024142 | 0.00060505
54 | 0.986 | -0.27019 | 0.0027127 | 0.00067986
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00040518 | -0.00010155 | 0.00040518 | 0.0001013 | 2.8855e-09 | -2.4594e-07 | 0.00062037 | 0.00062028 | 0.00062037 | 0.97187 | -0.54276 | 0.97188 | -0.54261 | 0.17043
1 | 0.0025606 | 0.00063679 | -0.0025583 | -0.00064036 | 2.3625e-06 | -3.5642e-06 | 0.0039188 | 0.0039206 | 0.0039206 | 0.97188 | -0.54261 | 0.9709 | -0.56205 | 1.0771
2 | -0.0029658 | -0.00073809 | 0.0029681 | 0.0007359 | 2.2748e-06 | -2.1968e-06 | 0.004539 | 0.0045377 | 0.004539 | 0.97188 | -0.54261 | 0.97269 | -0.5264 | 1.247
3 | 0.0025583 | 0.00064036 | -0.0025578 | -0.00064105 | 4.6123e-07 | -6.9409e-07 | 0.0039206 | 0.0039209 | 0.0039209 | 0.9709 | -0.56205 | 0.97071 | -0.56584 | 1.0772
4 | -0.0029681 | -0.0007359 | 0.0029685 | 0.00073552 | 3.9029e-07 | -3.7773e-07 | 0.0045377 | 0.0045375 | 0.0045377 | 0.97269 | -0.5264 | 0.97283 | -0.52362 | 1.2466
5 | -0.006892 | -0.0017188 | 0.0068931 | 0.0017192 | 1.129e-06 | 3.8593e-07 | 0.010539 | 0.010539 | 0.010539 | 0.97283 | -0.52362 | 0.973 | -0.52017 | 2.8953
6 | -0.013094 | -0.0032732 | 0.013097 | 0.0032749 | 3.0679e-06 | 1.7099e-06 | 0.020021 | 0.020021 | 0.020021 | 0.973 | -0.52017 | 0.97325 | -0.51524 | 5.5003
7 | -0.016648 | -0.0041649 | 0.016673 | 0.0041799 | 2.5575e-05 | 1.5057e-05 | 0.02545 | 0.02545 | 0.02545 | 0.97325 | -0.51524 | 0.97488 | -0.483 | 6.9918
8 | -0.03962 | -0.0099309 | 0.039654 | 0.0099523 | 3.3878e-05 | 2.1373e-05 | 0.060474 | 0.060474 | 0.060474 | 0.97488 | -0.483 | 0.97579 | -0.46507 | 16.6138
9 | -0.054533 | -0.013681 | 0.054555 | 0.013695 | 2.1959e-05 | 1.3948e-05 | 0.083163 | 0.083163 | 0.083163 | 0.97579 | -0.46507 | 0.97622 | -0.45663 | 22.8471
10 | -0.060849 | -0.015273 | 0.060904 | 0.015307 | 5.4517e-05 | 3.4679e-05 | 0.092758 | 0.092758 | 0.092758 | 0.97622 | -0.45663 | 0.97718 | -0.43786 | 25.4829
11 | -0.013241 | -0.0033185 | 0.013244 | 0.00332 | 2.6374e-06 | 1.4607e-06 | 0.019926 | 0.019926 | 0.019926 | 0.98879 | -0.21424 | 0.98901 | -0.21006 | 5.4742
12 | -0.031314 | -0.0078489 | 0.031334 | 0.0078612 | 1.9716e-05 | 1.2314e-05 | 0.047115 | 0.047115 | 0.047115 | 0.98901 | -0.21006 | 0.98968 | -0.19686 | 12.9436
13 | -0.04401 | -0.011038 | 0.04402 | 0.011044 | 9.8818e-06 | 6.247e-06 | 0.066173 | 0.066173 | 0.066173 | 0.98968 | -0.19686 | 0.98993 | -0.19215 | 18.1793
14 | -0.061466 | -0.015417 | 0.061602 | 0.015503 | 0.00013592 | 8.6443e-05 | 0.092397 | 0.092397 | 0.092397 | 0.98993 | -0.19215 | 0.99232 | -0.14587 | 25.3839
15 | -0.016805 | -0.0042136 | 0.01681 | 0.0042166 | 5.1321e-06 | 3.0114e-06 | 0.025323 | 0.025323 | 0.025323 | 0.98749 | -0.24106 | 0.98782 | -0.23466 | 6.9568
16 | 0.016805 | 0.0042136 | -0.0168 | -0.0042111 | 4.2676e-06 | 2.5043e-06 | 0.025323 | 0.025323 | 0.025323 | 0.98749 | -0.24106 | 0.98722 | -0.24639 | 6.9569
17 | -0.0175 | -0.0043896 | 0.017502 | 0.0043907 | 1.9331e-06 | 1.1422e-06 | 0.026363 | 0.026363 | 0.026363 | 0.98782 | -0.23466 | 0.98794 | -0.23234 | 7.2425
18 | 0.016284 | 0.0040817 | -0.016281 | -0.0040801 | 2.7664e-06 | 1.614e-06 | 0.024545 | 0.024545 | 0.024545 | 0.98722 | -0.24639 | 0.98703 | -0.24996 | 6.7431
19 | -0.025848 | -0.0064882 | 0.02587 | 0.0065018 | 2.2116e-05 | 1.3654e-05 | 0.038895 | 0.038895 | 0.038895 | 0.98895 | -0.21262 | 0.98988 | -0.1947 | 10.6855
20 | 0.0044559 | 0.001116 | -0.0044557 | -0.001116 | 1.8579e-07 | -2.2522e-08 | 0.0067042 | 0.0067043 | 0.0067043 | 0.98895 | -0.21262 | 0.98891 | -0.2135 | 1.8418
21 | 0.021392 | 0.0053722 | -0.021384 | -0.0053676 | 7.5313e-06 | 4.5714e-06 | 0.032191 | 0.032191 | 0.032191 | 0.98895 | -0.21262 | 0.98857 | -0.22 | 8.8437
22 | -0.079812 | -0.020021 | 0.079999 | 0.02014 | 0.00018721 | 0.00011937 | 0.11998 | 0.11998 | 0.11998 | 0.98988 | -0.1947 | 0.99241 | -0.14562 | 32.9623
23 | 0.0044557 | 0.001116 | -0.0044552 | -0.0011161 | 4.696e-07 | -5.6859e-08 | 0.0067043 | 0.0067044 | 0.0067044 | 0.98891 | -0.2135 | 0.98879 | -0.21571 | 1.8419
24 | 0.019036 | 0.0047792 | -0.019028 | -0.0047739 | 8.8475e-06 | 5.2942e-06 | 0.028657 | 0.028657 | 0.028657 | 0.98857 | -0.22 | 0.98807 | -0.22975 | 7.8728
25 | 0.069847 | 0.017597 | -0.069777 | -0.017552 | 7.0707e-05 | 4.503e-05 | 0.10466 | 0.10466 | 0.10466 | 0.99342 | -0.12468 | 0.99232 | -0.14587 | 28.7515
26 | -0.23562 | -0.060164 | 0.23699 | 0.061037 | 0.0013669 | 0.0008733 | 0.35332 | 0.35332 | 0.35332 | 0.99342 | -0.12468 | 0.99971 | -0.0054034 | 48.5336
27 | 0.16577 | 0.042567 | -0.16517 | -0.042184 | 0.00059983 | 0.00038256 | 0.24867 | 0.24867 | 0.24867 | 0.99342 | -0.12468 | 0.98949 | -0.19951 | 34.1581
28 | -0.23699 | -0.061037 | 0.23705 | 0.061077 | 6.2333e-05 | 3.9823e-05 | 0.35332 | 0.35332 | 0.35332 | 0.99971 | -0.0054034 | 1 | 0 | 48.5336
29 | 0.16009 | 0.040912 | -0.15984 | -0.040749 | 0.00025548 | 0.0001629 | 0.24104 | 0.24104 | 0.24104 | 0.98949 | -0.19951 | 0.98777 | -0.23256 | 33.1094
30 | -0.018285 | -0.0045871 | 0.018287 | 0.0045884 | 2.2577e-06 | 1.3433e-06 | 0.027542 | 0.027542 | 0.027542 | 0.98794 | -0.23234 | 0.98807 | -0.22975 | 7.5666
31 | 0.0024145 | 0.00060449 | -0.0024142 | -0.00060505 | 2.8935e-07 | -5.591e-07 | 0.0036397 | 0.00364 | 0.00364 | 0.98703 | -0.24996 | 0.9869 | -0.25248 | 1
32 | 0.013867 | 0.0034756 | -0.013863 | -0.0034735 | 3.7952e-06 | 2.133e-06 | 0.020905 | 0.020905 | 0.020905 | 0.98703 | -0.24996 | 0.98674 | -0.25571 | 5.7432
33 | -0.12013 | -0.030197 | 0.12019 | 0.030239 | 6.5938e-05 | 4.213e-05 | 0.18015 | 0.18015 | 0.18015 | 0.99241 | -0.14562 | 0.99301 | -0.13413 | 49.4916
34 | 0.0025679 | 0.00064304 | -0.0025677 | -0.00064331 | 1.684e-07 | -2.7796e-07 | 0.0038641 | 0.0038643 | 0.0038643 | 0.98879 | -0.21571 | 0.98872 | -0.21709 | 1.0616
35 | 0.014892 | 0.0037379 | -0.014874 | -0.0037277 | 1.7863e-05 | 1.0162e-05 | 0.022161 | 0.022162 | 0.022162 | 1 | 0 | 0.99869 | -0.025181 | 6.0883
36 | 0.18625 | 0.047207 | -0.18568 | -0.04684 | 0.00057548 | 0.00036726 | 0.27733 | 0.27733 | 0.27733 | 1 | 0 | 0.99663 | -0.064517 | 38.0954
37 | 0.15211 | 0.038813 | -0.15187 | -0.03866 | 0.00024073 | 0.00015345 | 0.2294 | 0.2294 | 0.2294 | 0.98777 | -0.23256 | 0.98606 | -0.26538 | 31.5108
38 | 0.13201 | 0.033442 | -0.1315 | -0.033111 | 0.00051837 | 0.00033132 | 0.20029 | 0.20029 | 0.20029 | 0.98139 | -0.35576 | 0.97718 | -0.43786 | 55.0255
39 | -0.14068 | -0.035614 | 0.14094 | 0.035778 | 0.00025746 | 0.00016401 | 0.21343 | 0.21343 | 0.21343 | 0.98139 | -0.35576 | 0.98335 | -0.31772 | 29.3176
40 | 0.070592 | 0.017803 | -0.07052 | -0.017757 | 7.1707e-05 | 4.5686e-05 | 0.10754 | 0.10754 | 0.10754 | 0.97718 | -0.43786 | 0.9761 | -0.45911 | 29.5426
41 | -0.14094 | -0.035778 | 0.14111 | 0.035886 | 0.00016963 | 0.00010806 | 0.21343 | 0.21343 | 0.21343 | 0.98335 | -0.31772 | 0.98464 | -0.29273 | 29.3175
42 | 0.06395 | 0.016111 | -0.063933 | -0.0161 | 1.6362e-05 | 1.0414e-05 | 0.097519 | 0.097519 | 0.097519 | 0.9761 | -0.45911 | 0.97582 | -0.46446 | 26.7908
43 | 0.0065705 | 0.0016468 | -0.0065693 | -0.0016464 | 1.1767e-06 | 3.6224e-07 | 0.010016 | 0.010017 | 0.010017 | 0.9761 | -0.45911 | 0.9759 | -0.46286 | 2.7518
44 | -0.14778 | -0.037559 | 0.14798 | 0.037683 | 0.00019493 | 0.00012422 | 0.22352 | 0.22352 | 0.22352 | 0.98464 | -0.29273 | 0.98606 | -0.26538 | 30.703
45 | 0.063933 | 0.0161 | -0.063803 | -0.016017 | 0.00013066 | 8.3168e-05 | 0.097519 | 0.097519 | 0.097519 | 0.97582 | -0.46446 | 0.97364 | -0.50729 | 26.7909
46 | 0.061002 | 0.015315 | -0.060954 | -0.015284 | 4.8568e-05 | 3.0898e-05 | 0.093239 | 0.093239 | 0.093239 | 0.97364 | -0.50729 | 0.9728 | -0.524 | 25.6152
47 | 0.045296 | 0.01136 | -0.045276 | -0.011348 | 1.9333e-05 | 1.224e-05 | 0.069288 | 0.069288 | 0.069288 | 0.9728 | -0.524 | 0.97235 | -0.53296 | 19.0352
48 | 0.015338 | 0.0038446 | -0.015338 | -0.0038444 | 4.436e-07 | 2.5728e-07 | 0.023473 | 0.023473 | 0.023473 | 0.97235 | -0.53296 | 0.97231 | -0.53357 | 6.4485
49 | 0.0095759 | 0.0024003 | -0.0095743 | -0.0023996 | 1.6032e-06 | 7.7919e-07 | 0.014655 | 0.014655 | 0.014655 | 0.97231 | -0.53357 | 0.97214 | -0.53708 | 4.0261
50 | 0.14644 | 0.037005 | -0.14595 | -0.036694 | 0.00048695 | 0.00031024 | 0.21874 | 0.21874 | 0.21874 | 0.99663 | -0.064517 | 0.99301 | -0.13413 | 30.0472
51 | 0.00085732 | 0.00021465 | -0.00085731 | -0.00021486 | 1.0457e-08 | -2.0814e-07 | 0.0012902 | 0.0012903 | 0.0012903 | 0.98872 | -0.21709 | 0.98871 | -0.21734 | 0.35447
52 | 0.011051 | 0.0027688 | -0.011048 | -0.0027671 | 3.172e-06 | 1.6412e-06 | 0.016665 | 0.016665 | 0.016665 | 0.98674 | -0.25571 | 0.98643 | -0.26173 | 4.5784
53 | 0.0027138 | 0.00067834 | -0.0027127 | -0.00067986 | 1.0924e-06 | -1.5192e-06 | 0.004093 | 0.0040938 | 0.0040938 | 0.98643 | -0.26173 | 0.986 | -0.27019 | 1.1247

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43984 | 0.11202

## res_load
| p_mw | q_mvar
0 | 0.00040518 | 0.00010155
1 | 0.0039235 | 0.00098332
2 | 0.0025578 | 0.00064105
3 | 0.0062005 | 0.001554
4 | 0.003551 | 0.00088996
5 | 0.022947 | 0.005751
6 | 0.014879 | 0.003729
7 | 0.0062945 | 0.0015776
8 | 0.013241 | 0.0033185
9 | 0.018071 | 0.004529
10 | 0.012676 | 0.0031768
11 | 0.017446 | 0.0043725
12 | 0.00069029 | 0.000173
13 | 0.00051618 | 0.00012937
14 | 0.053942 | 0.013519
15 | 0.002348 | 0.00058846
16 | 0.0081748 | 0.0020488
17 | 0.005077 | 0.0012724
18 | 0.00078335 | 0.00019632
19 | 0.040128 | 0.010057
20 | 0.0018874 | 0.00047302
21 | 0.00074003 | 0.00018547
22 | 0.0077255 | 0.0019362
23 | 0.0086658 | 0.0021718
24 | 0.0066745 | 0.0016728
25 | 0.0065693 | 0.0016464
26 | 0.0038969 | 0.00097665
27 | 0.0028001 | 0.00070178
28 | 0.015658 | 0.0039244
29 | 0.029938 | 0.0075032
30 | 0.0057617 | 0.001444
31 | 0.014874 | 0.0037277
32 | 0.039243 | 0.0098352
33 | 0.0095743 | 0.0023996
34 | 0.025755 | 0.0064549
35 | 0.0017104 | 0.00042866
36 | 0.00085731 | 0.00021486
37 | 0.0028117 | 0.00070467
38 | 0.0083344 | 0.0020888
39 | 0.0024142 | 0.00060505
40 | 0.0027127 | 0.00067986

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1