## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_121-48_1_3_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_121-48_1_3_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_121-48_1_3_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_121-48_1_3_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_121-48_1_3_node_78 | 0.4 | n |  | TRUE
5 | bus_LV_121-48_1_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_121-48_1_3_node_118 | 0.4 | n |  | TRUE
7 | bus_LV_121-48_1_3_node_116 | 0.4 | n |  | TRUE
8 | bus_LV_121-48_1_3_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_121-48_1_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_121-48_1_3_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_121-48_1_3_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_121-48_1_3_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_121-48_1_3_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_121-48_1_3_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_121-48_1_3_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_121-48_1_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_121-48_1_3_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_121-48_1_3_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_121-48_1_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_121-48_1_3_node_117 | 0.4 | n |  | TRUE
21 | bus_LV_121-48_1_3_node_121 | 0.4 | n |  | TRUE
22 | bus_LV_121-48_1_3_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_121-48_1_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_121-48_1_3_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_121-48_1_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_121-48_1_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_121-48_1_3_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_121-48_1_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_121-48_1_3_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_121-48_1_3_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_121-48_1_3_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_121-48_1_3_node_176 | 0.4 | n |  | TRUE
33 | bus_LV_121-48_1_3_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_121-48_1_3_node_178 | 0.4 | n |  | TRUE
35 | bus_LV_121-48_1_3_node_177 | 0.4 | n |  | TRUE
36 | bus_LV_121-48_1_3_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_121-48_1_3_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_121-48_1_3_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_121-48_1_3_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_121-48_1_3_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_121-48_1_3_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_121-48_1_3_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_121-48_1_3_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_121-48_1_3_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_121-48_1_3_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_121-48_1_3_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_121-48_1_3_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_121-48_1_3_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_121-48_1_3_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_121-48_1_3_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_121-48_1_3_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_121-48_1_3_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_121-48_1_3_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_121-48_1_3_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_121-48_1_3_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_121-48_1_3_node_110 | 0.4 | n |  | TRUE
57 | bus_LV_121-48_1_3_node_111 | 0.4 | n |  | TRUE
58 | bus_LV_121-48_1_3_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_121-48_1_3_node_113 | 0.4 | n |  | TRUE
60 | bus_LV_121-48_1_3_node_114 | 0.4 | n |  | TRUE
61 | bus_LV_121-48_1_3_node_133 | 0.4 | n |  | TRUE
62 | bus_LV_121-48_1_3_node_120 | 0.4 | n |  | TRUE
63 | bus_LV_121-48_1_3_node_179 | 0.4 | n |  | TRUE
64 | bus_LV_121-48_1_3_node_180 | 0.4 | n |  | TRUE
65 | bus_LV_121-48_1_3_node_181 | 0.4 | n |  | TRUE
66 | bus_LV_121-48_1_3_node_182 | 0.4 | n |  | TRUE
67 | bus_LV_121-48_1_3_node_183 | 0.4 | n |  | TRUE
68 | bus_LV_121-48_1_3_node_185 | 0.4 | n |  | TRUE
69 | bus_LV_121-48_1_3_node_184 | 0.4 | n |  | TRUE
70 | bus_LV_121-48_1_3_node_186 | 0.4 | n |  | TRUE
71 | bus_LV_121-48_1_3_node_207 | 0.4 | n |  | TRUE
72 | bus_LV_121-48_1_3_node_197 | 0.4 | n |  | TRUE
73 | bus_LV_121-48_1_3_node_187 | 0.4 | n |  | TRUE
74 | bus_LV_121-48_1_3_node_188 | 0.4 | n |  | TRUE
75 | bus_LV_121-48_1_3_node_189 | 0.4 | n |  | TRUE
76 | bus_LV_121-48_1_3_node_190 | 0.4 | n |  | TRUE
77 | bus_LV_121-48_1_3_node_191 | 0.4 | n |  | TRUE
78 | bus_LV_121-48_1_3_node_192 | 0.4 | n |  | TRUE
79 | bus_LV_121-48_1_3_node_193 | 0.4 | n |  | TRUE
80 | bus_LV_121-48_1_3_node_194 | 0.4 | n |  | TRUE
81 | bus_LV_121-48_1_3_node_195 | 0.4 | n |  | TRUE
82 | bus_LV_121-48_1_3_node_196 | 0.4 | n |  | TRUE
83 | bus_LV_121-48_1_3_node_206 | 0.4 | n |  | TRUE
84 | bus_MV_6_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_121-48_1_3_load_7 | 0 | 0.0067019 | 0.0016797 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_121-48_1_3_load_8 | 1 | 0.00033876 | 8.4902e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_121-48_1_3_load_9 | 2 | 0.0014079 | 0.00035284 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_121-48_1_3_load_10 | 3 | 0.00037283 | 9.3441e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_121-48_1_3_load_118 | 6 | 0.0022198 | 0.00055633 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_121-48_1_3_load_116 | 7 | 0.0022076 | 0.00055329 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_121-48_1_3_load_36 | 8 | 0.011692 | 0.0029303 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_121-48_1_3_load_37 | 9 | 0.0047441 | 0.001189 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_121-48_1_3_load_39 | 11 | 0.0028145 | 0.00070538 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_121-48_1_3_load_40 | 12 | 0.0013582 | 0.00034041 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_121-48_1_3_load_41 | 13 | 0.0027633 | 0.00069254 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_121-48_1_3_load_42 | 15 | 0.0014051 | 0.00035214 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_121-48_1_3_load_46 | 16 | 0.0048967 | 0.0012272 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_121-48_1_3_load_44 | 18 | 0.0021281 | 0.00053336 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_121-48_1_3_load_117 | 20 | 0.0024937 | 0.00062499 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_121-48_1_3_load_121 | 21 | 0.0010875 | 0.00027256 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_121-48_1_3_load_47 | 22 | 0.0017833 | 0.00044692 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_121-48_1_3_load_75 | 24 | 0.003802 | 0.00095288 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_121-48_1_3_load_49 | 25 | 0.002316 | 0.00058044 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_121-48_1_3_load_56 | 27 | 0.0014982 | 0.00037549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_121-48_1_3_load_54 | 28 | 0.0030422 | 0.00076245 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_121-48_1_3_load_55 | 30 | 0.00081646 | 0.00020462 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_121-48_1_3_load_59 | 31 | 0.00099975 | 0.00025056 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_121-48_1_3_load_176 | 32 | 0.0013173 | 0.00033014 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_121-48_1_3_load_177 | 35 | 0.0014907 | 0.00037359 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_121-48_1_3_load_57 | 36 | 0.0020292 | 0.00050857 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_121-48_1_3_load_58 | 37 | 0.0022183 | 0.00055595 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_121-48_1_3_load_60 | 38 | 0.0025374 | 0.00063594 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_121-48_1_3_load_66 | 39 | 0.0021365 | 0.00053545 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_121-48_1_3_load_61 | 40 | 0.00098374 | 0.00024655 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_121-48_1_3_load_62 | 41 | 0.0021878 | 0.00054831 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_121-48_1_3_load_63 | 42 | 0.0021281 | 0.00053336 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_121-48_1_3_load_64 | 43 | 0.0010293 | 0.00025796 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_121-48_1_3_load_65 | 44 | 0.0021844 | 0.00054747 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_121-48_1_3_load_69 | 45 | 0.0021274 | 0.00053317 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_121-48_1_3_load_67 | 46 | 0.0022097 | 0.00055379 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_121-48_1_3_load_68 | 47 | 0.0023156 | 0.00058034 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_121-48_1_3_load_71 | 48 | 0.0023023 | 0.00057701 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_121-48_1_3_load_70 | 49 | 0.0021729 | 0.00054457 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_121-48_1_3_load_115 | 50 | 0.0022081 | 0.00055341 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_121-48_1_3_load_72 | 51 | 0.0022343 | 0.00055998 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_121-48_1_3_load_73 | 52 | 0.0023255 | 0.00058283 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_121-48_1_3_load_74 | 53 | 0.0034164 | 0.00085623 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_121-48_1_3_load_76 | 54 | 0.0034293 | 0.00085945 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_121-48_1_3_load_77 | 55 | 0.0083631 | 0.002096 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_121-48_1_3_load_110 | 56 | 0.0021874 | 0.0005482 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_121-48_1_3_load_111 | 57 | 0.0012495 | 0.00031316 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_121-48_1_3_load_112 | 58 | 0.002127 | 0.00053306 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_121-48_1_3_load_113 | 59 | 0.001347 | 0.00033759 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_121-48_1_3_load_114 | 60 | 0.0022392 | 0.00056119 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_121-48_1_3_load_133 | 61 | 0.013504 | 0.0033845 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_121-48_1_3_load_120 | 62 | 0.0022363 | 0.00056047 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_121-48_1_3_load_179 | 63 | 0.0021084 | 0.0005284 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_121-48_1_3_load_181 | 65 | 0.0022289 | 0.00055862 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_121-48_1_3_load_182 | 66 | 0.0033734 | 0.00084545 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_121-48_1_3_load_183 | 67 | 0.0030985 | 0.00077656 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_121-48_1_3_load_184 | 69 | 0.0095055 | 0.0023823 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_121-48_1_3_load_186 | 70 | 0.0017137 | 0.0004295 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_121-48_1_3_load_197 | 72 | 0.0016296 | 0.00040842 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_121-48_1_3_load_187 | 73 | 0.0045732 | 0.0011461 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_121-48_1_3_load_188 | 74 | 0.0022202 | 0.00055643 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_121-48_1_3_load_189 | 75 | 0.0012405 | 0.00031091 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_121-48_1_3_load_190 | 76 | 0.0045724 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_121-48_1_3_load_191 | 77 | 0.0011842 | 0.00029678 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_121-48_1_3_load_192 | 78 | 0.0022186 | 0.00055604 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_121-48_1_3_load_193 | 79 | 0.0012412 | 0.00031108 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_121-48_1_3_load_194 | 80 | 0.0011842 | 0.00029678 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_121-48_1_3_load_195 | 81 | 0.002933 | 0.00073508 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_121-48_1_3_load_196 | 82 | 0.0057567 | 0.0014428 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_121-48_1_3_load_206 | 83 | 0.00064285 | 0.00016111 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_121-48_1_3_line_0 |  | 0 | 1 | 0.049786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_121-48_1_3_line_1 |  | 0 | 2 | 0.038368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_121-48_1_3_line_2 |  | 1 | 3 | 0.020589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_121-48_1_3_line_3 |  | 3 | 4 | 0.015781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_121-48_1_3_line_4 |  | 4 | 55 | 0.03474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_121-48_1_3_line_5 |  | 5 | 6 | 0.020777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_121-48_1_3_line_6 |  | 5 | 7 | 0.036609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_121-48_1_3_line_7 |  | 6 | 62 | 0.0022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_121-48_1_3_line_8 |  | 7 | 60 | 0.0087184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_121-48_1_3_line_9 |  | 8 | 9 | 0.005908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_121-48_1_3_line_10 |  | 8 | 10 | 0.028706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_121-48_1_3_line_11 |  | 9 | 11 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_121-48_1_3_line_12 |  | 10 | 12 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_121-48_1_3_line_13 |  | 10 | 13 | 0.025831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_121-48_1_3_line_14 |  | 11 | 14 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_121-48_1_3_line_15 |  | 12 | 15 | 0.0044525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_121-48_1_3_line_16 |  | 13 | 16 | 0.0088037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_121-48_1_3_line_17 |  | 14 | 26 | 0.17249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_121-48_1_3_line_18 |  | 14 | 25 | 0.017047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_121-48_1_3_line_19 |  | 15 | 17 | 0.050908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_121-48_1_3_line_20 |  | 16 | 22 | 0.014609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_121-48_1_3_line_21 |  | 17 | 18 | 0.023671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_121-48_1_3_line_22 |  | 17 | 19 | 0.003574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_121-48_1_3_line_23 |  | 18 | 20 | 0.0065755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_121-48_1_3_line_24 |  | 19 | 21 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_121-48_1_3_line_25 |  | 20 | 44 | 0.00071681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_121-48_1_3_line_26 |  | 21 | 62 | 7.939e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_121-48_1_3_line_27 |  | 22 | 23 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_121-48_1_3_line_28 |  | 23 | 24 | 0.0052956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_121-48_1_3_line_29 |  | 24 | 54 | 0.027462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_121-48_1_3_line_30 |  | 26 | 27 | 0.00651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_121-48_1_3_line_31 |  | 26 | 28 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_121-48_1_3_line_32 |  | 28 | 30 | 0.010517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_121-48_1_3_line_33 |  | 29 | 30 | 0.0090821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_121-48_1_3_line_34 |  | 29 | 31 | 0.020358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_121-48_1_3_line_35 |  | 29 | 32 | 0.017994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_121-48_1_3_line_36 |  | 31 | 36 | 0.012483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_121-48_1_3_line_37 |  | 32 | 35 | 0.0016958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_121-48_1_3_line_38 |  | 33 | 34 | 0.007152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_121-48_1_3_line_39 |  | 33 | 35 | 0.025371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_121-48_1_3_line_40 |  | 34 | 63 | 0.020079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_121-48_1_3_line_41 |  | 36 | 37 | 0.003386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_121-48_1_3_line_42 |  | 37 | 38 | 0.020499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_121-48_1_3_line_43 |  | 38 | 39 | 0.0054869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_121-48_1_3_line_44 |  | 39 | 46 | 0.013254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_121-48_1_3_line_45 |  | 40 | 41 | 0.00051414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_121-48_1_3_line_46 |  | 40 | 42 | 0.0081186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_121-48_1_3_line_47 |  | 41 | 43 | 0.0042969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_121-48_1_3_line_48 |  | 42 | 44 | 0.016893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_121-48_1_3_line_49 |  | 43 | 45 | 0.015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_121-48_1_3_line_50 |  | 45 | 49 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_121-48_1_3_line_51 |  | 46 | 47 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_121-48_1_3_line_52 |  | 47 | 48 | 0.0099794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_121-48_1_3_line_53 |  | 48 | 51 | 0.0066141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_121-48_1_3_line_54 |  | 49 | 50 | 0.042805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_121-48_1_3_line_55 |  | 50 | 61 | 0.021385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_121-48_1_3_line_56 |  | 51 | 52 | 0.0077681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_121-48_1_3_line_57 |  | 52 | 53 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_121-48_1_3_line_58 |  | 54 | 55 | 0.033077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_121-48_1_3_line_59 |  | 56 | 57 | 0.027505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_121-48_1_3_line_60 |  | 56 | 58 | 0.010879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_121-48_1_3_line_61 |  | 57 | 59 | 0.0052268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_121-48_1_3_line_62 |  | 58 | 60 | 0.020227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_121-48_1_3_line_63 |  | 63 | 64 | 0.029909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_121-48_1_3_line_64 |  | 64 | 65 | 0.0089689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_121-48_1_3_line_65 |  | 64 | 66 | 0.045369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_121-48_1_3_line_66 |  | 65 | 67 | 0.0026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_121-48_1_3_line_67 |  | 66 | 68 | 0.098643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_121-48_1_3_line_68 |  | 67 | 69 | 0.007998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_121-48_1_3_line_69 |  | 68 | 70 | 0.0082327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_121-48_1_3_line_70 |  | 68 | 71 | 0.2969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_121-48_1_3_line_71 |  | 70 | 72 | 0.0072172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_121-48_1_3_line_72 |  | 71 | 83 | 0.030432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_121-48_1_3_line_73 |  | 72 | 76 | 0.040749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_121-48_1_3_line_74 |  | 73 | 74 | 0.00049357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_121-48_1_3_line_75 |  | 73 | 75 | 0.0052687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_121-48_1_3_line_76 |  | 74 | 76 | 0.010955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_121-48_1_3_line_77 |  | 75 | 77 | 0.0054227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_121-48_1_3_line_78 |  | 77 | 78 | 0.00020084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_121-48_1_3_line_79 |  | 78 | 79 | 0.0057623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_121-48_1_3_line_80 |  | 79 | 80 | 0.0054248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_121-48_1_3_line_81 |  | 80 | 81 | 0.00086922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_121-48_1_3_line_82 |  | 81 | 82 | 0.0054937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_121-48_1_3_trafo_47 | 0.63 MVA 20/0.4 kV | 84 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2704703.9216 | 1243063.4657 | 2704657.3033 | 1243057.5231 | 2704654.5441 | 1243057.1096
1 | 2704703.9216 | 1243063.4657 | 2704716.3352 | 1243065.0481 | 2704741.8603 | 1243069.1578
2 | 2704654.5441 | 1243057.1096 | 2704650.8263 | 1243056.5525 | 2704639.4138 | 1243056.3734 | 2704634.0769 | 1243055.453
3 | 2704619.6018 | 1243049.7856 | 2704627.4901 | 1243054.3171 | 2704634.0769 | 1243055.453
4 | 2704619.6018 | 1243049.7856 | 2704610.9402 | 1243054.3698 | 2704596.3497 | 1243059.4944 | 2704587.5628 | 1243063.0423
5 | 2704400.4497 | 1243086.7994 | 2704414.214 | 1243102.3636
6 | 2704400.4497 | 1243086.7994 | 2704411.7606 | 1243076.4348 | 2704420.0688 | 1243068.7194 | 2704427.5639 | 1243062.2064
7 | 2704415.7175 | 1243104.0638 | 2704414.214 | 1243102.3636
8 | 2704434.1965 | 1243056.549 | 2704431.8461 | 1243058.4853 | 2704427.5639 | 1243062.2064
9 | 2704459.8333 | 1243159.0825 | 2704462.0076 | 1243158.2162 | 2704465.2691 | 1243156.7707
10 | 2704491.0497 | 1243144.2277 | 2704486.8398 | 1243145.8882 | 2704478.7763 | 1243150.0162 | 2704472.8424 | 1243153.4143 | 2704465.2691 | 1243156.7707
11 | 2704459.8333 | 1243159.0825 | 2704445.077 | 1243164.9619
12 | 2704491.0497 | 1243144.2277 | 2704477.2508 | 1243139.1421
13 | 2704491.0497 | 1243144.2277 | 2704514.1975 | 1243132.7629
14 | 2704433.0084 | 1243169.7704 | 2704445.077 | 1243164.9619
15 | 2704477.2508 | 1243139.1421 | 2704473.073 | 1243137.6023
16 | 2704514.1975 | 1243132.7629 | 2704515.4393 | 1243132.1478 | 2704521.6135 | 1243128.0362
17 | 2704433.0084 | 1243169.7704 | 2704433.35 | 1243191.5823 | 2704436.6315 | 1243192.8411 | 2704437.8675 | 1243208.5084 | 2704430.8375 | 1243227.7886 | 2704429.2992 | 1243234.4334 | 2704428.9849 | 1243240.6883 | 2704432.2567 | 1243250.6537 | 2704437.7082 | 1243263.4818 | 2704442.2654 | 1243269.1331 | 2704444.655 | 1243272.0997 | 2704448.7384 | 1243276.753 | 2704461.6799 | 1243263.9263 | 2704483.302 | 1243243.2686 | 2704489.2038 | 1243237.8239
18 | 2704433.0084 | 1243169.7704 | 2704416.9064 | 1243175.3665
19 | 2704430.7022 | 1243113.5637 | 2704436.9619 | 1243124.2934 | 2704473.073 | 1243137.6023
20 | 2704533.2694 | 1243119.2835 | 2704528.681 | 1243123.3297 | 2704521.6135 | 1243128.0362
21 | 2704430.7022 | 1243113.5637 | 2704443.1551 | 1243111.3256 | 2704453.19 | 1243106.7755
22 | 2704427.1756 | 1243114.2022 | 2704430.7022 | 1243113.5637
23 | 2704459.213 | 1243104.1484 | 2704458.3815 | 1243104.4215 | 2704453.19 | 1243106.7755
24 | 2704427.1756 | 1243114.2022 | 2704421.3675 | 1243110.4526 | 2704415.7701 | 1243104.1232
25 | 2704459.213 | 1243104.1484 | 2704459.8941 | 1243103.9246
26 | 2704415.7701 | 1243104.1232 | 2704415.7175 | 1243104.0638
27 | 2704542.7511 | 1243109.9782 | 2704537.9653 | 1243115.1424 | 2704533.2694 | 1243119.2835
28 | 2704542.7511 | 1243109.9782 | 2704546.079 | 1243105.859
29 | 2704546.079 | 1243105.859 | 2704546.3294 | 1243105.5489 | 2704562.1256 | 1243083.5731
30 | 2704489.2038 | 1243237.8239 | 2704485.6257 | 1243232.3788
31 | 2704489.2038 | 1243237.8239 | 2704496.0365 | 1243233.185 | 2704498.734 | 1243231.976 | 2704501.5513 | 1243232.5483 | 2704503.0384 | 1243233.9164
32 | 2704503.0384 | 1243233.9164 | 2704503.597 | 1243234.4302 | 2704509.6989 | 1243242.0449
33 | 2704515.2734 | 1243249.2141 | 2704512.0297 | 1243244.9536 | 2704509.6989 | 1243242.0449
34 | 2704515.2734 | 1243249.2141 | 2704524.9252 | 1243243.7576 | 2704531.1047 | 1243236.8472
35 | 2704515.2734 | 1243249.2141 | 2704518.4152 | 1243254.1066 | 2704521.6262 | 1243261.5022 | 2704522.9281 | 1243265.408
36 | 2704531.1047 | 1243236.8472 | 2704539.4259 | 1243227.5418
37 | 2704522.9281 | 1243265.408 | 2704523.4643 | 1243267.0167
38 | 2704523.2685 | 1243292.2774 | 2704530.1245 | 1243290.1743
39 | 2704523.2685 | 1243292.2774 | 2704523.9462 | 1243285.9956 | 2704524.4929 | 1243275.9974 | 2704523.4643 | 1243267.0167
40 | 2704530.1245 | 1243290.1743 | 2704540.8424 | 1243286.4158 | 2704549.3674 | 1243284.5771
41 | 2704539.4259 | 1243227.5418 | 2704541.683 | 1243225.0178
42 | 2704541.683 | 1243225.0178 | 2704544.7292 | 1243221.6114 | 2704552.7534 | 1243217.1381 | 2704558.4506 | 1243213.5329
43 | 2704563.0871 | 1243210.5989 | 2704558.4506 | 1243213.5329
44 | 2704563.0871 | 1243210.5989 | 2704569.4046 | 1243206.6011 | 2704574.3739 | 1243203.6531
45 | 2704483.6564 | 1243096.1186 | 2704484.1449 | 1243095.9581
46 | 2704483.6564 | 1243096.1186 | 2704475.9433 | 1243098.6524
47 | 2704488.2271 | 1243094.6171 | 2704484.1449 | 1243095.9581
48 | 2704475.9433 | 1243098.6524 | 2704459.8941 | 1243103.9246
49 | 2704488.2271 | 1243094.6171 | 2704488.2271 | 1243094.6171 | 2704501.6915 | 1243087.9014
50 | 2704512.2129 | 1243080.6722 | 2704506.5091 | 1243085.4986 | 2704501.6915 | 1243087.9014
51 | 2704587.7098 | 1243195.742 | 2704574.3739 | 1243203.6531
52 | 2704587.7098 | 1243195.742 | 2704590.0473 | 1243194.3553 | 2704595.6646 | 1243189.7536
53 | 2704600.7811 | 1243185.5622 | 2704595.6646 | 1243189.7536
54 | 2704526.2536 | 1243047.3447 | 2704529.2595 | 1243051.9175 | 2704531.5759 | 1243061.1766 | 2704528.059 | 1243067.2639 | 2704512.2129 | 1243080.6722
55 | 2704526.2536 | 1243047.3447 | 2704540.6789 | 1243031.5583
56 | 2704600.7811 | 1243185.5622 | 2704602.8037 | 1243183.9053 | 2704606.5623 | 1243180.3795
57 | 2704613.7146 | 1243172.2219 | 2704609.6452 | 1243177.4876 | 2704606.5623 | 1243180.3795
58 | 2704587.5628 | 1243063.0423 | 2704587.5628 | 1243063.0423 | 2704580.7028 | 1243066.6465 | 2704573.4295 | 1243071.8223 | 2704565.6195 | 1243078.7123 | 2704562.1256 | 1243083.5731
59 | 2704459.2073 | 1243038.1126 | 2704473.149 | 1243030.0234 | 2704480.7935 | 1243026.5219 | 2704483.499 | 1243025.2777
60 | 2704459.2073 | 1243038.1126 | 2704458.6595 | 1243038.4305 | 2704450.6134 | 1243043.7041 | 2704450.11 | 1243044.0747
61 | 2704483.499 | 1243025.2777 | 2704488.2477 | 1243023.0939
62 | 2704450.11 | 1243044.0747 | 2704442.8545 | 1243049.4164 | 2704434.1965 | 1243056.549
63 | 2704578.8592 | 1243279.6248 | 2704552.9007 | 1243283.8151 | 2704549.3674 | 1243284.5771
64 | 2704578.8592 | 1243279.6248 | 2704585.4423 | 1243273.5334
65 | 2704578.8592 | 1243279.6248 | 2704584.3849 | 1243283.9366 | 2704595.3723 | 1243285.4759 | 2704612.7037 | 1243283.9358 | 2704621.9095 | 1243280.3878
66 | 2704585.4423 | 1243273.5334 | 2704587.3523 | 1243271.7661
67 | 2704713.9527 | 1243244.9133 | 2704621.9095 | 1243280.3878
68 | 2704593.2228 | 1243266.3342 | 2704587.3523 | 1243271.7661
69 | 2704713.9527 | 1243244.9133 | 2704705.7862 | 1243245.9559
70 | 2704713.9527 | 1243244.9133 | 2704880.571 | 1243490.648
71 | 2704698.6572 | 1243247.0284 | 2704699.9506 | 1243246.701 | 2704705.7862 | 1243245.9559
72 | 2704880.571 | 1243490.648 | 2704888.2253 | 1243488.2815 | 2704902.9611 | 1243486.8631 | 2704909.8716 | 1243483.6609
73 | 2704660.881 | 1243250.2099 | 2704666.318 | 1243255.2143 | 2704698.6572 | 1243247.0284
74 | 2704652.4863 | 1243242.4256 | 2704652.8479 | 1243242.7616
75 | 2704652.4863 | 1243242.4256 | 2704648.6264 | 1243238.8395
76 | 2704660.881 | 1243250.2099 | 2704659.1617 | 1243248.6274 | 2704652.8479 | 1243242.7616
77 | 2704648.6264 | 1243238.8395 | 2704644.6536 | 1243235.1486
78 | 2704644.5065 | 1243235.0119 | 2704644.6536 | 1243235.1486
79 | 2704644.5065 | 1243235.0119 | 2704640.2849 | 1243231.0898
80 | 2704640.2849 | 1243231.0898 | 2704636.3106 | 1243227.3975
81 | 2704635.6738 | 1243226.8059 | 2704636.3106 | 1243227.3975
82 | 2704631.6491 | 1243223.0667 | 2704635.6738 | 1243226.8059

## bus_geodata
| x | y | coords
0 | 2704703.9216 | 1243063.4657
1 | 2704654.5441 | 1243057.1096
2 | 2704741.8603 | 1243069.1578
3 | 2704634.0769 | 1243055.453
4 | 2704619.6018 | 1243049.7856
5 | 2704400.4497 | 1243086.7994
6 | 2704414.214 | 1243102.3636
7 | 2704427.5639 | 1243062.2064
8 | 2704465.2691 | 1243156.7707
9 | 2704459.8333 | 1243159.0825
10 | 2704491.0497 | 1243144.2277
11 | 2704445.077 | 1243164.9619
12 | 2704477.2508 | 1243139.1421
13 | 2704514.1975 | 1243132.7628
14 | 2704433.0084 | 1243169.7704
15 | 2704473.073 | 1243137.6023
16 | 2704521.6135 | 1243128.0362
17 | 2704430.7022 | 1243113.5637
18 | 2704453.19 | 1243106.7755
19 | 2704427.1756 | 1243114.2022
20 | 2704459.213 | 1243104.1484
21 | 2704415.7701 | 1243104.1232
22 | 2704533.2694 | 1243119.2835
23 | 2704542.7511 | 1243109.9782
24 | 2704546.079 | 1243105.859
25 | 2704416.9064 | 1243175.3665
26 | 2704489.2038 | 1243237.8239
27 | 2704485.6257 | 1243232.3788
28 | 2704503.0384 | 1243233.9164
29 | 2704515.2734 | 1243249.2141
30 | 2704509.6989 | 1243242.0449
31 | 2704531.1047 | 1243236.8472
32 | 2704522.9281 | 1243265.408
33 | 2704523.2685 | 1243292.2774
34 | 2704530.1245 | 1243290.1743
35 | 2704523.4643 | 1243267.0167
36 | 2704539.4259 | 1243227.5418
37 | 2704541.683 | 1243225.0178
38 | 2704558.4505 | 1243213.5329
39 | 2704563.0871 | 1243210.5989
40 | 2704483.6564 | 1243096.1186
41 | 2704484.1449 | 1243095.9581
42 | 2704475.9433 | 1243098.6524
43 | 2704488.2271 | 1243094.6171
44 | 2704459.8941 | 1243103.9246
45 | 2704501.6915 | 1243087.9014
46 | 2704574.3739 | 1243203.6531
47 | 2704587.7098 | 1243195.742
48 | 2704595.6646 | 1243189.7536
49 | 2704512.2129 | 1243080.6722
50 | 2704526.2536 | 1243047.3447
51 | 2704600.7811 | 1243185.5622
52 | 2704606.5623 | 1243180.3795
53 | 2704613.7146 | 1243172.2219
54 | 2704562.1256 | 1243083.5731
55 | 2704587.5628 | 1243063.0423
56 | 2704459.2073 | 1243038.1126
57 | 2704483.499 | 1243025.2777
58 | 2704450.11 | 1243044.0747
59 | 2704488.2477 | 1243023.0939
60 | 2704434.1965 | 1243056.549
61 | 2704540.6789 | 1243031.5583
62 | 2704415.7175 | 1243104.0638
63 | 2704549.3674 | 1243284.5771
64 | 2704578.8592 | 1243279.6248
65 | 2704585.4423 | 1243273.5334
66 | 2704621.9095 | 1243280.3878
67 | 2704587.3523 | 1243271.7661
68 | 2704713.9527 | 1243244.9133
69 | 2704593.2228 | 1243266.3342
70 | 2704705.7862 | 1243245.9559
71 | 2704880.571 | 1243490.648
72 | 2704698.6572 | 1243247.0284
73 | 2704652.4863 | 1243242.4256
74 | 2704652.8479 | 1243242.7616
75 | 2704648.6264 | 1243238.8395
76 | 2704660.881 | 1243250.2099
77 | 2704644.6536 | 1243235.1486
78 | 2704644.5065 | 1243235.0119
79 | 2704640.2849 | 1243231.0898
80 | 2704636.3106 | 1243227.3975
81 | 2704635.6738 | 1243226.8059
82 | 2704631.6491 | 1243223.0667
83 | 2704909.8716 | 1243483.6609
84 | 2704542.7511 | 1243109.9782

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99763 | -0.045649 | 0.0067019 | 0.0016797
1 | 0.99799 | -0.038579 | 0.00033876 | 8.4902e-05
2 | 0.99758 | -0.046596 | 0.0014079 | 0.00035284
3 | 0.99815 | -0.035535 | 0.00037283 | 9.3441e-05
4 | 0.99828 | -0.033098 | 0 | 0
5 | 0.99255 | -0.14258 | 0 | 0
6 | 0.99276 | -0.13841 | 0.0022198 | 0.00055633
7 | 0.99217 | -0.14995 | 0.0022076 | 0.00055329
8 | 0.99493 | -0.096301 | 0.011692 | 0.0029303
9 | 0.99467 | -0.1012 | 0.0047441 | 0.001189
10 | 0.99634 | -0.06957 | 0 | 0
11 | 0.99402 | -0.11373 | 0.0028145 | 0.00070538
12 | 0.99563 | -0.083219 | 0.0013582 | 0.00034041
13 | 0.99823 | -0.033638 | 0.0027633 | 0.00069254
14 | 0.99349 | -0.12367 | 0 | 0
15 | 0.99542 | -0.087249 | 0.0014051 | 0.00035214
16 | 0.99888 | -0.02121 | 0.0048967 | 0.0012272
17 | 0.99309 | -0.13218 | 0 | 0
18 | 0.99237 | -0.14606 | 0.0021281 | 0.00053336
19 | 0.99303 | -0.13325 | 0 | 0
20 | 0.99218 | -0.14967 | 0.0024937 | 0.00062499
21 | 0.99279 | -0.13784 | 0.0010875 | 0.00027256
22 | 1 | 0 | -0.19467 | -0.049228
23 | 0.99971 | -0.0056641 | 0 | 0
24 | 0.99959 | -0.0079199 | 0.003802 | 0.00095288
25 | 0.99346 | -0.12437 | 0.002316 | 0.00058044
26 | 0.98675 | -0.25301 | 0 | 0
27 | 0.98674 | -0.25318 | 0.0014982 | 0.00037549
28 | 0.98551 | -0.27693 | 0.0030422 | 0.00076245
29 | 0.98407 | -0.3049 | 0 | 0
30 | 0.98473 | -0.292 | 0.00081646 | 0.00020462
31 | 0.9836 | -0.31397 | 0.00099975 | 0.00025056
32 | 0.98316 | -0.32249 | 0.0013173 | 0.00033014
33 | 0.98186 | -0.34768 | 0 | 0
34 | 0.98152 | -0.35433 | 0 | 0
35 | 0.98308 | -0.32411 | 0.0014907 | 0.00037359
36 | 0.98333 | -0.31931 | 0.0020292 | 0.00050857
37 | 0.98326 | -0.32063 | 0.0022183 | 0.00055595
38 | 0.98289 | -0.32783 | 0.0025374 | 0.00063594
39 | 0.98281 | -0.32951 | 0.0021365 | 0.00053545
40 | 0.99158 | -0.1614 | 0.00098374 | 0.00024655
41 | 0.99157 | -0.16161 | 0.0021878 | 0.00054831
42 | 0.99176 | -0.15792 | 0.0021281 | 0.00053336
43 | 0.99148 | -0.16322 | 0.0010293 | 0.00025796
44 | 0.99216 | -0.15003 | 0.0021844 | 0.00054747
45 | 0.99121 | -0.16856 | 0.0021274 | 0.00053317
46 | 0.98263 | -0.33305 | 0.0022097 | 0.00055379
47 | 0.98245 | -0.33658 | 0.0023156 | 0.00058034
48 | 0.98235 | -0.33843 | 0.0023023 | 0.00057701
49 | 0.991 | -0.17264 | 0.0021729 | 0.00054457
50 | 0.99038 | -0.18458 | 0.0022081 | 0.00055341
51 | 0.9823 | -0.33938 | 0.0022343 | 0.00055998
52 | 0.98226 | -0.34019 | 0.0023255 | 0.00058283
53 | 0.98223 | -0.34086 | 0.0034164 | 0.00085623
54 | 0.99907 | -0.017803 | 0.0034293 | 0.00085945
55 | 0.99856 | -0.027737 | 0.0083631 | 0.002096
56 | 0.99192 | -0.15476 | 0.0021874 | 0.0005482
57 | 0.99186 | -0.15602 | 0.0012495 | 0.00031316
58 | 0.99197 | -0.15383 | 0.002127 | 0.00053306
59 | 0.99185 | -0.15615 | 0.001347 | 0.00033759
60 | 0.9921 | -0.15136 | 0.0022392 | 0.00056119
61 | 0.99012 | -0.18972 | 0.013504 | 0.0033845
62 | 0.99279 | -0.13786 | 0.0022363 | 0.00056047
63 | 0.98056 | -0.37304 | 0.0021084 | 0.0005284
64 | 0.97919 | -0.39982 | 0 | 0
65 | 0.97907 | -0.40224 | 0.0022289 | 0.00055862
66 | 0.97773 | -0.42832 | 0.0033734 | 0.00084545
67 | 0.97904 | -0.40284 | 0.0030985 | 0.00077656
68 | 0.97487 | -0.48446 | 0 | 0
69 | 0.97897 | -0.40422 | 0.0095055 | 0.0023823
70 | 0.97464 | -0.48907 | 0.0017137 | 0.0004295
71 | 0.9747 | -0.488 | 0 | 0
72 | 0.97445 | -0.49287 | 0.0016296 | 0.00040842
73 | 0.97318 | -0.51792 | 0.0045732 | 0.0011461
74 | 0.97319 | -0.51773 | 0.0022202 | 0.00055643
75 | 0.9731 | -0.51944 | 0.0012405 | 0.00031091
76 | 0.97342 | -0.51319 | 0.0045724 | 0.001146
77 | 0.97303 | -0.52089 | 0.0011842 | 0.00029678
78 | 0.97302 | -0.52094 | 0.0022186 | 0.00055604
79 | 0.97296 | -0.52212 | 0.0012412 | 0.00031108
80 | 0.97291 | -0.52311 | 0.0011842 | 0.00029678
81 | 0.97291 | -0.52325 | 0.002933 | 0.00073508
82 | 0.97288 | -0.52383 | 0.0057567 | 0.0014428
83 | 0.97468 | -0.48836 | 0.00064285 | 0.00016111
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0081098 | -0.002032 | 0.0081126 | 0.0020331 | 2.7316e-06 | 1.0979e-06 | 0.012096 | 0.012096 | 0.012096 | 0.99763 | -0.045649 | 0.99799 | -0.038579 | 3.3231
1 | 0.0014079 | 0.00035238 | -0.0014079 | -0.00035284 | 6.3447e-08 | -4.6034e-07 | 0.0020998 | 0.0021 | 0.0021 | 0.99763 | -0.045649 | 0.99758 | -0.046596 | 0.57693
2 | -0.0084513 | -0.002118 | 0.0084525 | 0.0021186 | 1.2259e-06 | 5.1553e-07 | 0.012601 | 0.012601 | 0.012601 | 0.99799 | -0.038579 | 0.99815 | -0.035535 | 3.4618
3 | -0.0088254 | -0.002212 | 0.0088264 | 0.0022124 | 1.0244e-06 | 4.493e-07 | 0.013157 | 0.013157 | 0.013157 | 0.99815 | -0.035535 | 0.99828 | -0.033098 | 3.6145
4 | -0.0088264 | -0.0022124 | 0.0088287 | 0.0022134 | 2.255e-06 | 9.8887e-07 | 0.013157 | 0.013156 | 0.013157 | 0.99828 | -0.033098 | 0.99856 | -0.027737 | 3.6144
5 | -0.011363 | -0.0028488 | 0.011366 | 0.00285 | 2.2613e-06 | 1.1787e-06 | 0.017036 | 0.017036 | 0.017036 | 0.99255 | -0.14258 | 0.99276 | -0.13841 | 4.6803
6 | 0.011363 | 0.0028488 | -0.011359 | -0.0028467 | 3.9845e-06 | 2.0771e-06 | 0.017036 | 0.017036 | 0.017036 | 0.99255 | -0.14258 | 0.99217 | -0.14995 | 4.6803
7 | -0.013586 | -0.0034063 | 0.013586 | 0.0034065 | 3.5293e-07 | 1.9653e-07 | 0.020363 | 0.020363 | 0.020363 | 0.99276 | -0.13841 | 0.99279 | -0.13786 | 5.5943
8 | 0.0091518 | 0.0022934 | -0.0091512 | -0.0022931 | 6.1592e-07 | 2.816e-07 | 0.013725 | 0.013726 | 0.013726 | 0.99217 | -0.14995 | 0.9921 | -0.15136 | 3.7707
9 | 0.095492 | 0.024424 | -0.09547 | -0.024409 | 2.265e-05 | 1.4343e-05 | 0.14299 | 0.14299 | 0.14299 | 0.99493 | -0.096301 | 0.99467 | -0.1012 | 19.6418
10 | -0.10718 | -0.027354 | 0.10732 | 0.027442 | 0.00013861 | 8.7967e-05 | 0.16048 | 0.16048 | 0.16048 | 0.99493 | -0.096301 | 0.99634 | -0.06957 | 22.0438
11 | 0.090725 | 0.02322 | -0.09067 | -0.023185 | 5.5003e-05 | 3.479e-05 | 0.1359 | 0.1359 | 0.1359 | 0.99467 | -0.1012 | 0.99402 | -0.11373 | 18.667
12 | 0.053042 | 0.013378 | -0.053007 | -0.013356 | 3.4634e-05 | 2.1975e-05 | 0.079248 | 0.079248 | 0.079248 | 0.99634 | -0.06957 | 0.99563 | -0.083219 | 21.7713
13 | -0.16036 | -0.04082 | 0.16064 | 0.040998 | 0.00027834 | 0.00017747 | 0.23973 | 0.23973 | 0.23973 | 0.99634 | -0.06957 | 0.99823 | -0.033638 | 32.9294
14 | 0.087856 | 0.02248 | -0.087814 | -0.022453 | 4.2239e-05 | 2.6696e-05 | 0.13168 | 0.13168 | 0.13168 | 0.99402 | -0.11373 | 0.99349 | -0.12367 | 18.0883
15 | 0.051649 | 0.013016 | -0.051639 | -0.01301 | 9.9557e-06 | 6.3138e-06 | 0.077218 | 0.077218 | 0.077218 | 0.99563 | -0.083219 | 0.99542 | -0.087249 | 21.2137
16 | -0.16341 | -0.04169 | 0.1635 | 0.041753 | 9.8151e-05 | 6.2586e-05 | 0.24384 | 0.24384 | 0.24384 | 0.99823 | -0.033638 | 0.99888 | -0.02121 | 33.4952
17 | 0.085498 | 0.021873 | -0.084966 | -0.021537 | 0.00053168 | 0.00033584 | 0.12821 | 0.12822 | 0.12822 | 0.99349 | -0.12367 | 0.98675 | -0.25301 | 17.612
18 | 0.0023161 | 0.00058027 | -0.002316 | -0.00058044 | 7.6922e-08 | -1.715e-07 | 0.0034688 | 0.0034689 | 0.0034689 | 0.99349 | -0.12367 | 0.99346 | -0.12437 | 0.953
19 | 0.050234 | 0.012657 | -0.050127 | -0.012589 | 0.00010772 | 6.8281e-05 | 0.075117 | 0.075118 | 0.075118 | 0.99542 | -0.087249 | 0.99309 | -0.13218 | 20.6367
20 | -0.1684 | -0.04298 | 0.16857 | 0.04309 | 0.00017276 | 0.00011018 | 0.25114 | 0.25114 | 0.25114 | 0.99888 | -0.02121 | 1 | 0 | 34.4971
21 | 0.033212 | 0.0083469 | -0.03319 | -0.0083331 | 2.199e-05 | 1.3768e-05 | 0.049773 | 0.049773 | 0.049773 | 0.99309 | -0.13218 | 0.99237 | -0.14606 | 13.6738
22 | 0.016914 | 0.0042422 | -0.016913 | -0.0042417 | 8.6093e-07 | 5.0476e-07 | 0.025345 | 0.025345 | 0.025345 | 0.99309 | -0.13218 | 0.99303 | -0.13325 | 6.9629
23 | 0.031062 | 0.0077998 | -0.031057 | -0.0077964 | 5.3504e-06 | 3.3393e-06 | 0.046582 | 0.046582 | 0.046582 | 0.99237 | -0.14606 | 0.99218 | -0.14967 | 12.7972
24 | 0.016913 | 0.0042417 | -0.01691 | -0.0042395 | 3.7007e-06 | 2.1697e-06 | 0.025345 | 0.025345 | 0.025345 | 0.99303 | -0.13325 | 0.99279 | -0.13784 | 6.9629
25 | 0.028563 | 0.0071715 | -0.028563 | -0.0071711 | 4.9336e-07 | 3.065e-07 | 0.042842 | 0.042842 | 0.042842 | 0.99218 | -0.14967 | 0.99216 | -0.15003 | 11.7697
26 | 0.015822 | 0.003967 | -0.015822 | -0.003967 | 1.6743e-08 | 9.6892e-09 | 0.023715 | 0.023715 | 0.023715 | 0.99279 | -0.13784 | 0.99279 | -0.13786 | 6.5151
27 | 0.02445 | 0.0061381 | -0.024444 | -0.006134 | 6.604e-06 | 4.0521e-06 | 0.036386 | 0.036386 | 0.036386 | 1 | 0 | 0.99971 | -0.0056641 | 9.9961
28 | 0.024444 | 0.006134 | -0.024441 | -0.0061324 | 2.6291e-06 | 1.6132e-06 | 0.036386 | 0.036386 | 0.036386 | 0.99971 | -0.0056641 | 0.99959 | -0.0079199 | 9.9961
29 | 0.020639 | 0.0051795 | -0.020629 | -0.0051736 | 9.7227e-06 | 5.8627e-06 | 0.030726 | 0.030726 | 0.030726 | 0.99959 | -0.0079199 | 0.99907 | -0.017803 | 8.4412
30 | 0.0014982 | 0.00037541 | -0.0014982 | -0.00037549 | 1.2461e-08 | -7.5182e-08 | 0.0022593 | 0.0022593 | 0.0022593 | 0.98675 | -0.25301 | 0.98674 | -0.25318 | 0.62069
31 | 0.083468 | 0.021162 | -0.083372 | -0.021101 | 9.5845e-05 | 6.1135e-05 | 0.12596 | 0.12596 | 0.12596 | 0.98675 | -0.25301 | 0.98551 | -0.27693 | 34.6034
32 | 0.08033 | 0.020338 | -0.080272 | -0.020301 | 5.8089e-05 | 3.7043e-05 | 0.12136 | 0.12136 | 0.12136 | 0.98551 | -0.27693 | 0.98473 | -0.292 | 33.3415
33 | -0.079406 | -0.020065 | 0.079455 | 0.020097 | 4.9149e-05 | 3.134e-05 | 0.12013 | 0.12013 | 0.12013 | 0.98407 | -0.3049 | 0.98473 | -0.292 | 33.0025
34 | 0.024757 | 0.0062158 | -0.024747 | -0.0062092 | 1.0701e-05 | 6.5902e-06 | 0.03744 | 0.03744 | 0.03744 | 0.98407 | -0.3049 | 0.9836 | -0.31397 | 10.2856
35 | 0.054649 | 0.013849 | -0.054603 | -0.01382 | 4.6139e-05 | 2.93e-05 | 0.08269 | 0.08269 | 0.08269 | 0.98407 | -0.3049 | 0.98316 | -0.32249 | 22.717
36 | 0.023747 | 0.0059586 | -0.023741 | -0.0059549 | 6.0424e-06 | 3.7087e-06 | 0.035927 | 0.035927 | 0.035927 | 0.9836 | -0.31397 | 0.98333 | -0.31931 | 9.8702
37 | 0.053285 | 0.01349 | -0.053281 | -0.013487 | 4.1409e-06 | 2.6287e-06 | 0.080696 | 0.080696 | 0.080696 | 0.98316 | -0.32249 | 0.98308 | -0.32411 | 22.1693
38 | 0.051732 | 0.013077 | -0.051715 | -0.013066 | 1.6502e-05 | 1.0471e-05 | 0.07844 | 0.07844 | 0.07844 | 0.98186 | -0.34768 | 0.98152 | -0.35433 | 21.5494
39 | -0.051732 | -0.013077 | 0.05179 | 0.013114 | 5.8538e-05 | 3.7143e-05 | 0.07844 | 0.07844 | 0.07844 | 0.98186 | -0.34768 | 0.98308 | -0.32411 | 21.5494
40 | 0.051715 | 0.013066 | -0.051669 | -0.013037 | 4.6328e-05 | 2.9397e-05 | 0.07844 | 0.07844 | 0.07844 | 0.98152 | -0.35433 | 0.98056 | -0.37304 | 21.5495
41 | 0.021712 | 0.0054463 | -0.02171 | -0.0054455 | 1.3708e-06 | 8.3436e-07 | 0.032857 | 0.032857 | 0.032857 | 0.98333 | -0.31931 | 0.98326 | -0.32063 | 9.0266
42 | 0.019492 | 0.0048896 | -0.019485 | -0.0048855 | 6.6895e-06 | 4.0214e-06 | 0.0295 | 0.0295 | 0.0295 | 0.98326 | -0.32063 | 0.98289 | -0.32783 | 8.1043
43 | 0.016948 | 0.0042496 | -0.016946 | -0.0042488 | 1.3546e-06 | 7.9741e-07 | 0.025658 | 0.025658 | 0.025658 | 0.98289 | -0.32783 | 0.98281 | -0.32951 | 7.049
44 | 0.01481 | 0.0037133 | -0.014808 | -0.0037119 | 2.4992e-06 | 1.4315e-06 | 0.022424 | 0.022424 | 0.022424 | 0.98281 | -0.32951 | 0.98263 | -0.33305 | 6.1604
45 | 0.023252 | 0.0058352 | -0.023252 | -0.005835 | 2.3479e-07 | 1.4363e-07 | 0.034896 | 0.034896 | 0.034896 | 0.99158 | -0.1614 | 0.99157 | -0.16161 | 9.5869
46 | -0.024236 | -0.0060817 | 0.02424 | 0.0060842 | 4.0278e-06 | 2.473e-06 | 0.036373 | 0.036373 | 0.036373 | 0.99158 | -0.1614 | 0.99176 | -0.15792 | 9.9925
47 | 0.021064 | 0.0052867 | -0.021063 | -0.0052857 | 1.6104e-06 | 9.7521e-07 | 0.031613 | 0.031613 | 0.031613 | 0.99157 | -0.16161 | 0.99148 | -0.16322 | 8.685
48 | -0.026368 | -0.0066175 | 0.026378 | 0.0066237 | 9.9169e-06 | 6.1288e-06 | 0.039566 | 0.039566 | 0.039566 | 0.99176 | -0.15792 | 0.99216 | -0.15003 | 10.8697
49 | 0.020033 | 0.0050278 | -0.020028 | -0.0050247 | 5.1014e-06 | 3.0709e-06 | 0.030069 | 0.030069 | 0.030069 | 0.99148 | -0.16322 | 0.99121 | -0.16856 | 8.2606
50 | 0.017901 | 0.0044915 | -0.017897 | -0.0044895 | 3.4819e-06 | 2.0627e-06 | 0.026875 | 0.026875 | 0.026875 | 0.99121 | -0.16856 | 0.991 | -0.17264 | 7.3833
51 | 0.012598 | 0.0031581 | -0.012596 | -0.003157 | 2.1163e-06 | 1.158e-06 | 0.019078 | 0.019078 | 0.019078 | 0.98263 | -0.33305 | 0.98245 | -0.33658 | 5.2411
52 | 0.01028 | 0.0025766 | -0.010279 | -0.0025762 | 9.0727e-07 | 4.543e-07 | 0.01557 | 0.01557 | 0.01557 | 0.98245 | -0.33658 | 0.98235 | -0.33843 | 4.2776
53 | 0.007977 | 0.0019992 | -0.0079766 | -0.001999 | 3.6213e-07 | 1.4803e-07 | 0.012083 | 0.012083 | 0.012083 | 0.98235 | -0.33843 | 0.9823 | -0.33938 | 3.3195
54 | 0.015725 | 0.0039449 | -0.015716 | -0.0039397 | 8.9497e-06 | 5.1766e-06 | 0.023612 | 0.023613 | 0.023613 | 0.991 | -0.17264 | 0.99038 | -0.18458 | 6.487
55 | 0.013508 | 0.0033863 | -0.013504 | -0.0033845 | 3.303e-06 | 1.8388e-06 | 0.020295 | 0.020295 | 0.020295 | 0.99038 | -0.18458 | 0.99012 | -0.18972 | 5.5756
56 | 0.0057423 | 0.001439 | -0.005742 | -0.001439 | 2.2041e-07 | 4.2731e-08 | 0.0086985 | 0.0086985 | 0.0086985 | 0.9823 | -0.33938 | 0.98226 | -0.34019 | 2.3897
57 | 0.0034165 | 0.00085617 | -0.0034164 | -0.00085623 | 1.0931e-07 | -6.7779e-08 | 0.0051756 | 0.0051757 | 0.0051757 | 0.98226 | -0.34019 | 0.98223 | -0.34086 | 1.4219
58 | 0.0172 | 0.0043142 | -0.017192 | -0.0043094 | 8.1409e-06 | 4.7773e-06 | 0.025619 | 0.025619 | 0.025619 | 0.99907 | -0.017803 | 0.99856 | -0.027737 | 7.0381
59 | 0.0025967 | 0.00065043 | -0.0025965 | -0.00065069 | 1.565e-07 | -2.5485e-07 | 0.0038953 | 0.0038954 | 0.0038954 | 0.99192 | -0.15476 | 0.99186 | -0.15602 | 1.0702
60 | -0.004784 | -0.0011986 | 0.0047843 | 0.0011986 | 2.1011e-07 | -5.9623e-09 | 0.0071766 | 0.0071765 | 0.0071766 | 0.99192 | -0.15476 | 0.99197 | -0.15383 | 1.9716
61 | 0.001347 | 0.00033752 | -0.001347 | -0.00033759 | 8.0042e-09 | -6.2337e-08 | 0.0020208 | 0.0020208 | 0.0020208 | 0.99186 | -0.15602 | 0.99185 | -0.15615 | 0.55517
62 | -0.0069112 | -0.0017317 | 0.006912 | 0.001732 | 8.1523e-07 | 2.6059e-07 | 0.010367 | 0.010367 | 0.010367 | 0.99197 | -0.15383 | 0.9921 | -0.15136 | 2.8481
63 | 0.049561 | 0.012508 | -0.049497 | -0.012468 | 6.3495e-05 | 4.026e-05 | 0.075241 | 0.075241 | 0.075241 | 0.98056 | -0.37304 | 0.97919 | -0.39982 | 20.6705
64 | 0.014836 | 0.003719 | -0.014834 | -0.003718 | 1.7095e-06 | 9.813e-07 | 0.022545 | 0.022545 | 0.022545 | 0.97919 | -0.39982 | 0.97907 | -0.40224 | 6.1937
65 | 0.034662 | 0.0087492 | -0.034614 | -0.0087195 | 4.7244e-05 | 2.9666e-05 | 0.052696 | 0.052696 | 0.052696 | 0.97919 | -0.39982 | 0.97773 | -0.42832 | 14.4769
66 | 0.012605 | 0.0031594 | -0.012605 | -0.0031592 | 3.5814e-07 | 1.9649e-07 | 0.019158 | 0.019158 | 0.019158 | 0.97907 | -0.40224 | 0.97904 | -0.40284 | 5.2631
67 | 0.031241 | 0.0078741 | -0.031157 | -0.0078217 | 8.3679e-05 | 5.2321e-05 | 0.047562 | 0.047562 | 0.047562 | 0.97773 | -0.42832 | 0.97487 | -0.48446 | 13.0666
68 | 0.0095061 | 0.0023826 | -0.0095055 | -0.0023823 | 6.261e-07 | 3.0014e-07 | 0.014448 | 0.014448 | 0.014448 | 0.97904 | -0.40284 | 0.97897 | -0.40422 | 3.9693
69 | 0.030514 | 0.0076646 | -0.030508 | -0.0076604 | 6.6991e-06 | 4.1848e-06 | 0.046582 | 0.046582 | 0.046582 | 0.97487 | -0.48446 | 0.97464 | -0.48907 | 12.7973
70 | 0.00064296 | 0.00015711 | -0.00064286 | -0.00016074 | 1.0706e-07 | -3.6326e-06 | 0.00097997 | 0.00098128 | 0.00098128 | 0.97487 | -0.48446 | 0.9747 | -0.488 | 0.26958
71 | 0.028794 | 0.0072309 | -0.028789 | -0.0072277 | 5.2316e-06 | 3.2583e-06 | 0.043966 | 0.043966 | 0.043966 | 0.97464 | -0.48907 | 0.97445 | -0.49287 | 12.0786
72 | 0.00064286 | 0.00016074 | -0.00064285 | -0.00016111 | 1.099e-08 | -3.7226e-07 | 0.00098128 | 0.00098142 | 0.00098142 | 0.9747 | -0.488 | 0.97468 | -0.48836 | 0.26962
73 | 0.027159 | 0.0068193 | -0.027133 | -0.0068029 | 2.6289e-05 | 1.6318e-05 | 0.041477 | 0.041478 | 0.041478 | 0.97445 | -0.49287 | 0.97342 | -0.51319 | 11.395
74 | -0.020335 | -0.0050975 | 0.020335 | 0.0050976 | 1.7894e-07 | 1.0839e-07 | 0.031093 | 0.031093 | 0.031093 | 0.97318 | -0.51792 | 0.97319 | -0.51773 | 8.5421
75 | 0.015762 | 0.0039513 | -0.015761 | -0.0039506 | 1.1476e-06 | 6.6902e-07 | 0.024101 | 0.024101 | 0.024101 | 0.97318 | -0.51792 | 0.9731 | -0.51944 | 6.6211
76 | -0.022555 | -0.005654 | 0.02256 | 0.005657 | 4.8862e-06 | 2.991e-06 | 0.034488 | 0.034488 | 0.034488 | 0.97319 | -0.51773 | 0.97342 | -0.51319 | 9.4747
77 | 0.01452 | 0.0036397 | -0.014519 | -0.0036392 | 1.0025e-06 | 5.7427e-07 | 0.022204 | 0.022204 | 0.022204 | 0.9731 | -0.51944 | 0.97303 | -0.52089 | 6.1
78 | 0.013335 | 0.0033424 | -0.013335 | -0.0033424 | 3.1321e-08 | 1.7552e-08 | 0.020393 | 0.020393 | 0.020393 | 0.97303 | -0.52089 | 0.97302 | -0.52094 | 5.6025
79 | 0.011116 | 0.0027863 | -0.011116 | -0.002786 | 6.2449e-07 | 3.2811e-07 | 0.017 | 0.017 | 0.017 | 0.97302 | -0.52094 | 0.97296 | -0.52212 | 4.6703
80 | 0.0098745 | 0.0024749 | -0.0098741 | -0.0024747 | 4.6395e-07 | 2.2956e-07 | 0.015102 | 0.015102 | 0.015102 | 0.97296 | -0.52212 | 0.97291 | -0.52311 | 4.1489
81 | 0.0086899 | 0.0021779 | -0.0086898 | -0.0021779 | 5.7578e-08 | 2.6056e-08 | 0.013291 | 0.013291 | 0.013291 | 0.97291 | -0.52311 | 0.97291 | -0.52325 | 3.6513
82 | 0.0057568 | 0.0014428 | -0.0057567 | -0.0014428 | 1.5971e-07 | 3.3997e-08 | 0.0088048 | 0.0088049 | 0.0088049 | 0.97291 | -0.52325 | 0.97288 | -0.52383 | 2.4189

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19646 | 0.049675

## res_load
| p_mw | q_mvar
0 | 0.0067019 | 0.0016797
1 | 0.00033876 | 8.4902e-05
2 | 0.0014079 | 0.00035284
3 | 0.00037283 | 9.3441e-05
4 | 0.0022198 | 0.00055633
5 | 0.0022076 | 0.00055329
6 | 0.011692 | 0.0029303
7 | 0.0047441 | 0.001189
8 | 0.0028145 | 0.00070538
9 | 0.0013582 | 0.00034041
10 | 0.0027633 | 0.00069254
11 | 0.0014051 | 0.00035214
12 | 0.0048967 | 0.0012272
13 | 0.0021281 | 0.00053336
14 | 0.0024937 | 0.00062499
15 | 0.0010875 | 0.00027256
16 | 0.0017833 | 0.00044692
17 | 0.003802 | 0.00095288
18 | 0.002316 | 0.00058044
19 | 0.0014982 | 0.00037549
20 | 0.0030422 | 0.00076245
21 | 0.00081646 | 0.00020462
22 | 0.00099975 | 0.00025056
23 | 0.0013173 | 0.00033014
24 | 0.0014907 | 0.00037359
25 | 0.0020292 | 0.00050857
26 | 0.0022183 | 0.00055595
27 | 0.0025374 | 0.00063594
28 | 0.0021365 | 0.00053545
29 | 0.00098374 | 0.00024655
30 | 0.0021878 | 0.00054831
31 | 0.0021281 | 0.00053336
32 | 0.0010293 | 0.00025796
33 | 0.0021844 | 0.00054747
34 | 0.0021274 | 0.00053317
35 | 0.0022097 | 0.00055379
36 | 0.0023156 | 0.00058034
37 | 0.0023023 | 0.00057701
38 | 0.0021729 | 0.00054457
39 | 0.0022081 | 0.00055341
40 | 0.0022343 | 0.00055998
41 | 0.0023255 | 0.00058283
42 | 0.0034164 | 0.00085623
43 | 0.0034293 | 0.00085945
44 | 0.0083631 | 0.002096
45 | 0.0021874 | 0.0005482
46 | 0.0012495 | 0.00031316
47 | 0.002127 | 0.00053306
48 | 0.001347 | 0.00033759
49 | 0.0022392 | 0.00056119
50 | 0.013504 | 0.0033845
51 | 0.0022363 | 0.00056047
52 | 0.0021084 | 0.0005284
53 | 0.0022289 | 0.00055862
54 | 0.0033734 | 0.00084545
55 | 0.0030985 | 0.00077656
56 | 0.0095055 | 0.0023823
57 | 0.0017137 | 0.0004295
58 | 0.0016296 | 0.00040842
59 | 0.0045732 | 0.0011461
60 | 0.0022202 | 0.00055643
61 | 0.0012405 | 0.00031091
62 | 0.0045724 | 0.001146
63 | 0.0011842 | 0.00029678
64 | 0.0022186 | 0.00055604
65 | 0.0012412 | 0.00031108
66 | 0.0011842 | 0.00029678
67 | 0.002933 | 0.00073508
68 | 0.0057567 | 0.0014428
69 | 0.00064285 | 0.00016111

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1